## Calibration
Calibration |  | Conc.=0.0265*Abs.+0.0002
Abs | Conc. (g/L)
0.7504 | 0.02
0.3614 | 0.01
0.2733 | 0.0075
0.1818 | 0.005
0.0891 | 0.0025
0.0257 | 0.001
0.0179 | 0.0005
Sample | Dye Rejection | std | Mass Balance
set4_2 | 93.61% | 3.439% | 93.95%
set4_3 | 94.2% | 3.01% | 95.3%
set4_5 | 97.2% | 0.145% | 93.99%
set4_7 | 96.04% | 1.122% | 94.16%
set4_9 | 90.53% | 6.366% | 101.7%
ave | 95.26% |  | 94.35%
std | 1.656% |  | 0.6424%

## 0.075 Set 4_2
Calibration |  | Conc.=0.0265*Abs.+0.0002
Feed Concentration |  | 0.01 mg/mL
Feed Volume |  | 100 mL
Dead Volume |  | 1 mL
| Permeate | [5 empty] | Feed left
Sample | Volume (mL) | Abs. | Conc. (mg/mL) | Dye amount (mg) | Sum of permeated dye (mg) | Sum of permeated volume (mL) | Dye left in feed (mg) | Volume left in feed (mL) | Dye conc in feed (mg/mL) |  | Dye rejection
1st permeate | 10 | 0.0074 | 0.0003961 | 0.003961 | 0.003961 | 10 | 0.99604 | 91 | 0.010945 |  | 96.04%
2nd permeate | 10 | 0.0289 | 0.00096585 | 0.0096585 | 0.013619 | 20 | 0.98638 | 81 | 0.012178 |  | 91.18%
[10 empty] | ave | 93.61%
Retentate | 81 | 0.4238 | 0.011431 | 0.92589 | [5 empty] | std | 3.439%
|  |  | mass balance | 0.93951
Desorption/Fouling | 20
|  |  | mass balance including desorption | 0.93951

## 0.075 Set 4_3
Calibration |  | Conc.=0.0265*Abs.+0.0002
Feed Concentration |  | 0.01 mg/mL
Feed Volume |  | 100 mL
Dead Volume |  | 1 mL
| Permeate | [5 empty] | Feed left
Sample | Volume (mL) | Abs. | Conc. (mg/mL) | Dye amount (mg) | Sum of permeated dye (mg) | Sum of permeated volume (mL) | Dye left in feed (mg) | Volume left in feed (mL) | Dye conc in feed (mg/mL) |  | Dye rejection
1st permeate | 10 | 0.0063 | 0.00036695 | 0.0036695 | 0.0036695 | 10 | 0.99633 | 91 | 0.010949 |  | 96.33%
2nd permeate | 10 | 0.0252 | 0.0008678 | 0.008678 | 0.012348 | 20 | 0.98765 | 81 | 0.012193 |  | 92.07%
[10 empty] | ave | 94.2%
Retentate | 81 | 0.4307 | 0.011614 | 0.9407 | [5 empty] | std | 3.01%
|  |  | mass balance | 0.95305
Desorption/Fouling | 20
|  |  | mass balance including desorption | 0.95305

## 0.075 Set 4_5
Calibration |  | Conc.=0.0265*Abs.+0.0002
Feed Concentration |  | 0.01 mg/mL
Feed Volume |  | 100 mL
Dead Volume |  | 1 mL
| Permeate | [5 empty] | Feed left
Sample | Volume (mL) | Abs. | Conc. (mg/mL) | Dye amount (mg) | Sum of permeated dye (mg) | Sum of permeated volume (mL) | Dye left in feed (mg) | Volume left in feed (mL) | Dye conc in feed (mg/mL) |  | Dye rejection
1st permeate | 10 | 0.0034 | 0.0002901 | 0.002901 | 0.002901 | 10 | 0.9971 | 91 | 0.010957 |  | 97.1%
2nd permeate | 10 | 0.0036 | 0.0002954 | 0.002954 | 0.005855 | 20 | 0.99414 | 81 | 0.012273 |  | 97.3%
[10 empty] | ave | 97.2%
Retentate | 81 | 0.4276 | 0.011531 | 0.93404 | [5 empty] | std | 0.145%
|  |  | mass balance | 0.9399
Desorption/Fouling | 20
|  |  | mass balance including desorption | 0.9399

## 0.075 Set 4_7
Calibration |  | Conc.=0.0265*Abs.+0.0002
Feed Concentration |  | 0.01 mg/mL
Feed Volume |  | 100 mL
Dead Volume |  | 1 mL
| Permeate | [5 empty] | Feed left
Sample | Volume (mL) | Abs. | Conc. (mg/mL) | Dye amount (mg) | Sum of permeated dye (mg) | Sum of permeated volume (mL) | Dye left in feed (mg) | Volume left in feed (mL) | Dye conc in feed (mg/mL) |  | Dye rejection
1st permeate | 10 | 0.0044 | 0.0003166 | 0.003166 | 0.003166 | 10 | 0.99683 | 91 | 0.010954 |  | 96.83%
2nd permeate | 10 | 0.0121 | 0.00052065 | 0.0052065 | 0.0083725 | 20 | 0.99163 | 81 | 0.012242 |  | 95.25%
[10 empty] | ave | 96.04%
Retentate | 81 | 0.4272 | 0.011521 | 0.93318 | [5 empty] | std | 1.122%
|  |  | mass balance | 0.94156
Desorption/Fouling | 20
|  |  | mass balance including desorption | 0.94156

## 0.075 Set 4_9
Calibration |  | Conc.=0.0265*Abs.+0.0002
Feed Concentration |  | 0.01 mg/mL
Feed Volume |  | 100 mL
Dead Volume |  | 1 mL
| Permeate | [5 empty] | Feed left
Sample | Volume (mL) | Abs. | Conc. (mg/mL) | Dye amount (mg) | Sum of permeated dye (mg) | Sum of permeated volume (mL) | Dye left in feed (mg) | Volume left in feed (mL) | Dye conc in feed (mg/mL) |  | Dye rejection
1st permeate | 10 | 0.0112 | 0.0004968 | 0.004968 | 0.004968 | 10 | 0.99503 | 91 | 0.010934 |  | 95.03%
2nd permeate | 10 | 0.0501 | 0.0015276 | 0.015277 | 0.020244 | 20 | 0.97976 | 81 | 0.012096 |  | 86.03%
[10 empty] | ave | 90.53%
Retentate | 81 | 0.4567 | 0.012303 | 0.99651 | [5 empty] | std | 6.366%
|  |  | mass balance | 1.0168
Desorption/Fouling | 20
|  |  | mass balance including desorption | 1.0168