## Data
Wavelength / cm-1 | Transmittance / % | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1
4000 | 101.257 |  | Baseline @ 1105 |  | Baseline @ 1735 |  | Baseline @ 2900 |  | Peak @ 1105 |  | Peak @ 1735 |  | Peak @ 2900
3999 | 101.2586 | 850 | 95.4206 | 1525 | 99.2976 | 2670 | 100.6732 | 1105 | 86.2838 | 1735 | 98.3881 | 2900 | 98.281
3998 | 101.2588 | 1190 | 96.4145 | 1780 | 100.849 | 3010 | 100.1122 | 1105 | 96.166 | 1735 | 100.5752 | 2900 | 100.2937
3997 | 101.2573
3996 | 101.2555
3995 | 101.2548
3994 | 101.2562
3993 | 101.2591
3992 | 101.2623
3991 | 101.2645
3990 | 101.2652
3989 | 101.2646
3988 | 101.2632
3987 | 101.2619
3986 | 101.2615
3985 | 101.2624
3984 | 101.2638
3983 | 101.2649
3982 | 101.2654
3981 | 101.2662
3980 | 101.2671
3979 | 101.2677
3978 | 101.2677
3977 | 101.2674 |  |  | Baseline range |  |  | Transmittance |  |  |  | Equation of base line |  |  | Transmittance at peak value wavelength | Peak Intensity |  | Ratio
3976 | 101.2667 |  | Peak value
3975 | 101.2652 |  | Wavelength
3974 | 101.2633 |  | x1 | x2 | x3 |  | y1 | y2 | y3 |  | m | c
3973 | 101.2618 | [15 empty] | Lyceum
3972 | 101.2611 |  | 1105 | 850 | 1190 |  | 86.2838 | 95.4206 | 96.4145 |  | 0.0029233 | 92.9358 |  | 96.166 | 9.8822 | R1 | 0.22132
3971 | 101.2609 |  | 1735 | 1525 | 1780 |  | 98.3881 | 99.2976 | 100.849 |  | 0.006084 | 90.0196 |  | 100.5752 | 2.1871 | R2 | 1.0866
3970 | 101.2614 |  | 2900 | 2670 | 3010 |  | 98.281 | 100.6732 | 100.1122 |  | -0.00165 | 105.0787 |  | 100.2937 | 2.0127
3969 | 101.2631
3968 | 101.266 |  | From paper
3967 | 101.269 |  | 1105 | 765 | 1185
3966 | 101.2709 |  | 1735 | 1485 | 1780
3965 | 101.2715 |  | 2900 | 2630 | 3000
3964 | 101.2711
3963 | 101.2707
3962 | 101.2715
3961 | 101.2732
3960 | 101.2741
3959 | 101.2733
3958 | 101.2713
3957 | 101.2692
3956 | 101.267
3955 | 101.2644
3954 | 101.2623
3953 | 101.2622
3952 | 101.2648
3951 | 101.2686
3950 | 101.2718
3949 | 101.2737
3948 | 101.2745
3947 | 101.2739
3946 | 101.2703
3945 | 101.2645
3944 | 101.2607
3943 | 101.2632
3942 | 101.271
3941 | 101.2778
3940 | 101.2785
3939 | 101.2741
3938 | 101.2699
3937 | 101.2686
3936 | 101.2688
3935 | 101.2681
3934 | 101.2676
3933 | 101.2697
3932 | 101.273
3931 | 101.2731
3930 | 101.269
3929 | 101.2641
3928 | 101.2607
3927 | 101.2585
3926 | 101.258
3925 | 101.2611
3924 | 101.2657
3923 | 101.2667
3922 | 101.2631
3921 | 101.2605
3920 | 101.2633
3919 | 101.2696
3918 | 101.275
3917 | 101.2785
3916 | 101.2809
3915 | 101.2816
3914 | 101.2803
3913 | 101.278
3912 | 101.276
3911 | 101.2735
3910 | 101.269
3909 | 101.2626
3908 | 101.2547
3907 | 101.2444
3906 | 101.2321
3905 | 101.2231
3904 | 101.2222
3903 | 101.2275
3902 | 101.2326
3901 | 101.2361
3900 | 101.2415
3899 | 101.2494
3898 | 101.2546
3897 | 101.2546
3896 | 101.2523
3895 | 101.2518
3894 | 101.2513
3893 | 101.2465
3892 | 101.2412
3891 | 101.2427
3890 | 101.2509
3889 | 101.2558
3888 | 101.2471
3887 | 101.2315
3886 | 101.2267
3885 | 101.2344
3884 | 101.2388
3883 | 101.2293
3882 | 101.214
3881 | 101.2115
3880 | 101.2267
3879 | 101.2452
3878 | 101.2507
3877 | 101.2382
3876 | 101.2183
3875 | 101.2092
3874 | 101.2172
3873 | 101.2257
3872 | 101.2153
3871 | 101.1951
3870 | 101.1913
3869 | 101.206
3868 | 101.2156
3867 | 101.2066
3866 | 101.1942
3865 | 101.1997
3864 | 101.2202
3863 | 101.2354
3862 | 101.2355
3861 | 101.2272
3860 | 101.2206
3859 | 101.2205
3858 | 101.2266
3857 | 101.2296
3856 | 101.2135
3855 | 101.1857
3854 | 101.1784
3853 | 101.1964
3852 | 101.2139
3851 | 101.2181
3850 | 101.2173
3849 | 101.222
3848 | 101.2314
3847 | 101.2375
3846 | 101.2331
3845 | 101.219
3844 | 101.2038
3843 | 101.1949
3842 | 101.1901
3841 | 101.1825
3840 | 101.1711
3839 | 101.1623
3838 | 101.1616
3837 | 101.1678
3836 | 101.1773
3835 | 101.1871
3834 | 101.1952
3833 | 101.2026
3832 | 101.212
3831 | 101.2228
3830 | 101.2293
3829 | 101.2256
3828 | 101.2132
3827 | 101.2032
3826 | 101.2031
3825 | 101.2056
3824 | 101.193
3823 | 101.1608
3822 | 101.1347
3821 | 101.138
3820 | 101.1604
3819 | 101.1751
3818 | 101.1712
3817 | 101.169
3816 | 101.1916
3815 | 101.2262
3814 | 101.2444
3813 | 101.2411
3812 | 101.2348
3811 | 101.2394
3810 | 101.2451
3809 | 101.2327
3808 | 101.2059
3807 | 101.1878
3806 | 101.1871
3805 | 101.1892
3804 | 101.1748
3803 | 101.1489
3802 | 101.1411
3801 | 101.1595
3800 | 101.1801
3799 | 101.1856
3798 | 101.1839
3797 | 101.1944
3796 | 101.2214
3795 | 101.2494
3794 | 101.2644
3793 | 101.2679
3792 | 101.2693
3791 | 101.2721
3790 | 101.2732
3789 | 101.2705
3788 | 101.265
3787 | 101.2582
3786 | 101.2515
3785 | 101.247
3784 | 101.2449
3783 | 101.241
3782 | 101.2311
3781 | 101.219
3780 | 101.2152
3779 | 101.2242
3778 | 101.2374
3777 | 101.2437
3776 | 101.242
3775 | 101.24
3774 | 101.2406
3773 | 101.2364
3772 | 101.2214
3771 | 101.2042
3770 | 101.1975
3769 | 101.2008
3768 | 101.2029
3767 | 101.199
3766 | 101.1966
3765 | 101.2026
3764 | 101.2101
3763 | 101.206
3762 | 101.1898
3761 | 101.1745
3760 | 101.1682
3759 | 101.1645
3758 | 101.1561
3757 | 101.1454
3756 | 101.1357
3755 | 101.1244
3754 | 101.1092
3753 | 101.0945
3752 | 101.0821
3751 | 101.0675
3750 | 101.0539
3749 | 101.0538
3748 | 101.0709
3747 | 101.0846
3746 | 101.0817
3745 | 101.0876
3744 | 101.112
3743 | 101.1249
3742 | 101.1108
3741 | 101.0873
3740 | 101.0761
3739 | 101.0769
3738 | 101.0763
3737 | 101.0748
3736 | 101.0841
3735 | 101.1007
3734 | 101.1076
3733 | 101.1024
3732 | 101.1
3731 | 101.1098
3730 | 101.1248
3729 | 101.1334
3728 | 101.1354
3727 | 101.1407
3726 | 101.1496
3725 | 101.1523
3724 | 101.1455
3723 | 101.1383
3722 | 101.1387
3721 | 101.1441
3720 | 101.1467
3719 | 101.1431
3718 | 101.1375
3717 | 101.1337
3716 | 101.1282
3715 | 101.1146
3714 | 101.093
3713 | 101.0729
3712 | 101.0617
3711 | 101.0579
3710 | 101.057
3709 | 101.0576
3708 | 101.061
3707 | 101.0678
3706 | 101.0753
3705 | 101.0799
3704 | 101.0805
3703 | 101.0798
3702 | 101.0816
3701 | 101.0855
3700 | 101.0865
3699 | 101.0805
3698 | 101.07
3697 | 101.0608
3696 | 101.0525
3695 | 101.0384
3694 | 101.0169
3693 | 100.9961
3692 | 100.9839
3691 | 100.9777
3690 | 100.9723
3689 | 100.9705
3688 | 100.9765
3687 | 100.9872
3686 | 100.9965
3685 | 101.0022
3684 | 101.0061
3683 | 101.0053
3682 | 100.9924
3681 | 100.9695
3680 | 100.9498
3679 | 100.9371
3678 | 100.915
3677 | 100.8777
3676 | 100.8502
3675 | 100.8477
3674 | 100.8543
3673 | 100.8505
3672 | 100.8368
3671 | 100.8349
3670 | 100.8559
3669 | 100.8807
3668 | 100.8906
3667 | 100.89
3666 | 100.892
3665 | 100.9008
3664 | 100.9096
3663 | 100.9103
3662 | 100.9022
3661 | 100.8907
3660 | 100.8788
3659 | 100.8625
3658 | 100.8371
3657 | 100.8076
3656 | 100.7814
3655 | 100.758
3654 | 100.7323
3653 | 100.7024
3652 | 100.675
3651 | 100.6608
3650 | 100.6569
3649 | 100.649
3648 | 100.6356
3647 | 100.6288
3646 | 100.634
3645 | 100.6445
3644 | 100.6532
3643 | 100.659
3642 | 100.6627
3641 | 100.6606
3640 | 100.6494
3639 | 100.6329
3638 | 100.6177
3637 | 100.6027
3636 | 100.5818
3635 | 100.5558
3634 | 100.5344
3633 | 100.5228
3632 | 100.5129
3631 | 100.4927
3630 | 100.4693
3629 | 100.4553
3628 | 100.4424
3627 | 100.4197
3626 | 100.3943
3625 | 100.3787
3624 | 100.3765
3623 | 100.3783
3622 | 100.3713
3621 | 100.3516
3620 | 100.3264
3619 | 100.3028
3618 | 100.2825
3617 | 100.2649
3616 | 100.2505
3615 | 100.2405
3614 | 100.2368
3613 | 100.238
3612 | 100.2383
3611 | 100.2318
3610 | 100.219
3609 | 100.2056
3608 | 100.1942
3607 | 100.182
3606 | 100.1674
3605 | 100.1536
3604 | 100.1446
3603 | 100.1395
3602 | 100.1335
3601 | 100.1237
3600 | 100.1105
3599 | 100.0963
3598 | 100.0843
3597 | 100.075
3596 | 100.0661
3595 | 100.0548
3594 | 100.0405
3593 | 100.0269
3592 | 100.0183
3591 | 100.015
3590 | 100.0123
3589 | 100.0053
3588 | 99.9917
3587 | 99.9705
3586 | 99.9451
3585 | 99.9228
3584 | 99.909
3583 | 99.903
3582 | 99.8997
3581 | 99.8944
3580 | 99.8852
3579 | 99.8729
3578 | 99.8588
3577 | 99.8439
3576 | 99.828
3575 | 99.8109
3574 | 99.7921
3573 | 99.7728
3572 | 99.7556
3571 | 99.7417
3570 | 99.7285
3569 | 99.7123
3568 | 99.6907
3567 | 99.6618
3566 | 99.6272
3565 | 99.5943
3564 | 99.5714
3563 | 99.5607
3562 | 99.5566
3561 | 99.5514
3560 | 99.5408
3559 | 99.5253
3558 | 99.5078
3557 | 99.4908
3556 | 99.4746
3555 | 99.4572
3554 | 99.4373
3553 | 99.4152
3552 | 99.3934
3551 | 99.3742
3550 | 99.3585
3549 | 99.3461
3548 | 99.3356
3547 | 99.3236
3546 | 99.3064
3545 | 99.2839
3544 | 99.261
3543 | 99.2431
3542 | 99.2318
3541 | 99.225
3540 | 99.2194
3539 | 99.212
3538 | 99.2012
3537 | 99.1874
3536 | 99.1727
3535 | 99.159
3534 | 99.1465
3533 | 99.1345
3532 | 99.122
3531 | 99.1085
3530 | 99.0938
3529 | 99.0791
3528 | 99.0666
3527 | 99.0567
3526 | 99.0479
3525 | 99.0388
3524 | 99.0297
3523 | 99.021
3522 | 99.0123
3521 | 99.0026
3520 | 98.9922
3519 | 98.9823
3518 | 98.9737
3517 | 98.9659
3516 | 98.958
3515 | 98.9495
3514 | 98.9397
3513 | 98.928
3512 | 98.9136
3511 | 98.8965
3510 | 98.8775
3509 | 98.8585
3508 | 98.8422
3507 | 98.8301
3506 | 98.8213
3505 | 98.8133
3504 | 98.8033
3503 | 98.7898
3502 | 98.7734
3501 | 98.7569
3500 | 98.7433
3499 | 98.7332
3498 | 98.7244
3497 | 98.7136
3496 | 98.6994
3495 | 98.6821
3494 | 98.6637
3493 | 98.6466
3492 | 98.6322
3491 | 98.6202
3490 | 98.6084
3489 | 98.594
3488 | 98.5762
3487 | 98.556
3486 | 98.5358
3485 | 98.5176
3484 | 98.5022
3483 | 98.4884
3482 | 98.4742
3481 | 98.4585
3480 | 98.4421
3479 | 98.4264
3478 | 98.4115
3477 | 98.3966
3476 | 98.3807
3475 | 98.3632
3474 | 98.344
3473 | 98.3237
3472 | 98.304
3471 | 98.2865
3470 | 98.2716
3469 | 98.2584
3468 | 98.2453
3467 | 98.2311
3466 | 98.2153
3465 | 98.1978
3464 | 98.1794
3463 | 98.161
3462 | 98.1428
3461 | 98.1248
3460 | 98.1069
3459 | 98.0888
3458 | 98.07
3457 | 98.0501
3456 | 98.0299
3455 | 98.0102
3454 | 97.991
3453 | 97.9718
3452 | 97.9518
3451 | 97.9311
3450 | 97.9096
3449 | 97.8872
3448 | 97.8643
3447 | 97.841
3446 | 97.8174
3445 | 97.7944
3444 | 97.7737
3443 | 97.756
3442 | 97.74
3441 | 97.7234
3440 | 97.705
3439 | 97.6854
3438 | 97.6656
3437 | 97.646
3436 | 97.6263
3435 | 97.606
3434 | 97.5841
3433 | 97.5603
3432 | 97.5353
3431 | 97.5103
3430 | 97.4859
3429 | 97.4621
3428 | 97.4396
3427 | 97.4187
3426 | 97.3991
3425 | 97.3795
3424 | 97.3589
3423 | 97.3361
3422 | 97.3106
3421 | 97.2832
3420 | 97.256
3419 | 97.2315
3418 | 97.2107
3417 | 97.1929
3416 | 97.1759
3415 | 97.1576
3414 | 97.1364
3413 | 97.1133
3412 | 97.091
3411 | 97.0712
3410 | 97.0536
3409 | 97.0362
3408 | 97.0184
3407 | 97.0005
3406 | 96.9832
3405 | 96.9669
3404 | 96.9514
3403 | 96.9366
3402 | 96.923
3401 | 96.9109
3400 | 96.9005
3399 | 96.8911
3398 | 96.8814
3397 | 96.8707
3396 | 96.8595
3395 | 96.8488
3394 | 96.8385
3393 | 96.828
3392 | 96.8173
3391 | 96.8068
3390 | 96.7973
3389 | 96.789
3388 | 96.7812
3387 | 96.7731
3386 | 96.7648
3385 | 96.7564
3384 | 96.7481
3383 | 96.7388
3382 | 96.7278
3381 | 96.7156
3380 | 96.7035
3379 | 96.6926
3378 | 96.6829
3377 | 96.674
3376 | 96.6654
3375 | 96.6562
3374 | 96.645
3373 | 96.6313
3372 | 96.6159
3371 | 96.6005
3370 | 96.5873
3369 | 96.577
3368 | 96.5688
3367 | 96.56
3366 | 96.5483
3365 | 96.534
3364 | 96.5195
3363 | 96.5066
3362 | 96.4951
3361 | 96.4841
3360 | 96.473
3359 | 96.4621
3358 | 96.4514
3357 | 96.4404
3356 | 96.4288
3355 | 96.4164
3354 | 96.4034
3353 | 96.391
3352 | 96.3803
3351 | 96.3715
3350 | 96.3633
3349 | 96.3543
3348 | 96.3444
3347 | 96.3346
3346 | 96.3259
3345 | 96.3186
3344 | 96.3129
3343 | 96.3079
3342 | 96.3029
3341 | 96.2973
3340 | 96.2919
3339 | 96.2879
3338 | 96.2859
3337 | 96.2856
3336 | 96.2863
3335 | 96.2878
3334 | 96.2902
3333 | 96.2937
3332 | 96.2985
3331 | 96.3043
3330 | 96.3106
3329 | 96.3169
3328 | 96.323
3327 | 96.329
3326 | 96.3356
3325 | 96.3435
3324 | 96.3528
3323 | 96.3626
3322 | 96.3711
3321 | 96.3776
3320 | 96.3824
3319 | 96.3861
3318 | 96.3895
3317 | 96.3933
3316 | 96.3984
3315 | 96.4042
3314 | 96.4095
3313 | 96.4136
3312 | 96.4175
3311 | 96.4222
3310 | 96.4271
3309 | 96.4306
3308 | 96.4318
3307 | 96.4316
3306 | 96.4314
3305 | 96.4318
3304 | 96.4324
3303 | 96.4329
3302 | 96.4331
3301 | 96.4334
3300 | 96.4337
3299 | 96.4338
3298 | 96.4337
3297 | 96.4338
3296 | 96.4348
3295 | 96.437
3294 | 96.4399
3293 | 96.4429
3292 | 96.4455
3291 | 96.4479
3290 | 96.4503
3289 | 96.4532
3288 | 96.457
3287 | 96.4618
3286 | 96.4667
3285 | 96.4713
3284 | 96.4758
3283 | 96.481
3282 | 96.4875
3281 | 96.4951
3280 | 96.5031
3279 | 96.5109
3278 | 96.5184
3277 | 96.5266
3276 | 96.5363
3275 | 96.5481
3274 | 96.5616
3273 | 96.5762
3272 | 96.5909
3271 | 96.6053
3270 | 96.6193
3269 | 96.6335
3268 | 96.6487
3267 | 96.6646
3266 | 96.6805
3265 | 96.6963
3264 | 96.7119
3263 | 96.7276
3262 | 96.7433
3261 | 96.759
3260 | 96.7751
3259 | 96.7919
3258 | 96.8094
3257 | 96.8272
3256 | 96.8449
3255 | 96.8615
3254 | 96.8772
3253 | 96.893
3252 | 96.9103
3251 | 96.9294
3250 | 96.9493
3249 | 96.9689
3248 | 96.9874
3247 | 97.0051
3246 | 97.0223
3245 | 97.0396
3244 | 97.0573
3243 | 97.0749
3242 | 97.0923
3241 | 97.1098
3240 | 97.1276
3239 | 97.1452
3238 | 97.1617
3237 | 97.1771
3236 | 97.1925
3235 | 97.2088
3234 | 97.2259
3233 | 97.2439
3232 | 97.2628
3231 | 97.2825
3230 | 97.302
3229 | 97.3203
3228 | 97.3374
3227 | 97.3543
3226 | 97.3714
3225 | 97.3888
3224 | 97.4061
3223 | 97.4234
3222 | 97.4406
3221 | 97.4582
3220 | 97.4768
3219 | 97.4968
3218 | 97.5175
3217 | 97.5378
3216 | 97.5568
3215 | 97.5745
3214 | 97.5911
3213 | 97.6073
3212 | 97.6239
3211 | 97.6412
3210 | 97.6592
3209 | 97.6775
3208 | 97.6963
3207 | 97.7159
3206 | 97.7358
3205 | 97.7557
3204 | 97.7752
3203 | 97.7946
3202 | 97.8138
3201 | 97.8324
3200 | 97.8501
3199 | 97.8667
3198 | 97.8825
3197 | 97.8985
3196 | 97.9154
3195 | 97.9332
3194 | 97.9516
3193 | 97.9706
3192 | 97.9907
3191 | 98.0112
3190 | 98.0305
3189 | 98.0473
3188 | 98.0626
3187 | 98.0778
3186 | 98.0937
3185 | 98.1106
3184 | 98.1286
3183 | 98.1477
3182 | 98.1671
3181 | 98.1856
3180 | 98.2029
3179 | 98.2194
3178 | 98.2359
3177 | 98.2531
3176 | 98.2712
3175 | 98.2903
3174 | 98.3099
3173 | 98.3296
3172 | 98.3495
3171 | 98.3694
3170 | 98.388
3169 | 98.4046
3168 | 98.4196
3167 | 98.4345
3166 | 98.451
3165 | 98.4697
3164 | 98.4904
3163 | 98.5123
3162 | 98.5335
3161 | 98.5527
3160 | 98.5695
3159 | 98.5849
3158 | 98.6003
3157 | 98.6162
3156 | 98.6333
3155 | 98.6518
3154 | 98.6715
3153 | 98.692
3152 | 98.7123
3151 | 98.7317
3150 | 98.7493
3149 | 98.7652
3148 | 98.7802
3147 | 98.7947
3146 | 98.8088
3145 | 98.8233
3144 | 98.8394
3143 | 98.8576
3142 | 98.8767
3141 | 98.8955
3140 | 98.9137
3139 | 98.9314
3138 | 98.948
3137 | 98.9624
3136 | 98.9752
3135 | 98.9883
3134 | 99.0029
3133 | 99.0191
3132 | 99.0365
3131 | 99.0544
3130 | 99.0714
3129 | 99.0862
3128 | 99.0991
3127 | 99.112
3126 | 99.1261
3125 | 99.1415
3124 | 99.1578
3123 | 99.1752
3122 | 99.1936
3121 | 99.2121
3120 | 99.2295
3119 | 99.2459
3118 | 99.2616
3117 | 99.2771
3116 | 99.2918
3115 | 99.3051
3114 | 99.3171
3113 | 99.3289
3112 | 99.3419
3111 | 99.3568
3110 | 99.3724
3109 | 99.387
3108 | 99.4004
3107 | 99.4131
3106 | 99.4253
3105 | 99.4371
3104 | 99.449
3103 | 99.4618
3102 | 99.4755
3101 | 99.4893
3100 | 99.5021
3099 | 99.5138
3098 | 99.5252
3097 | 99.5369
3096 | 99.549
3095 | 99.5613
3094 | 99.5734
3093 | 99.5857
3092 | 99.5985
3091 | 99.6116
3090 | 99.6236
3089 | 99.6339
3088 | 99.6432
3087 | 99.6526
3086 | 99.6627
3085 | 99.6735
3084 | 99.6845
3083 | 99.6953
3082 | 99.7056
3081 | 99.7153
3080 | 99.7252
3079 | 99.735
3078 | 99.7438
3077 | 99.751
3076 | 99.7575
3075 | 99.765
3074 | 99.7736
3073 | 99.7827
3072 | 99.7914
3071 | 99.7996
3070 | 99.8071
3069 | 99.8143
3068 | 99.8218
3067 | 99.8299
3066 | 99.8379
3065 | 99.8451
3064 | 99.8519
3063 | 99.859
3062 | 99.8667
3061 | 99.8753
3060 | 99.885
3059 | 99.8955
3058 | 99.9057
3057 | 99.9142
3056 | 99.9212
3055 | 99.9279
3054 | 99.9351
3053 | 99.943
3052 | 99.9514
3051 | 99.96
3050 | 99.9676
3049 | 99.9734
3048 | 99.9785
3047 | 99.9842
3046 | 99.9909
3045 | 99.998
3044 | 100.0052
3043 | 100.0124
3042 | 100.0193
3041 | 100.0247
3040 | 100.0283
3039 | 100.0311
3038 | 100.0341
3037 | 100.0379
3036 | 100.0425
3035 | 100.0476
3034 | 100.0529
3033 | 100.0577
3032 | 100.062
3031 | 100.0662
3030 | 100.07
3029 | 100.0732
3028 | 100.0761
3027 | 100.079
3026 | 100.082
3025 | 100.0846
3024 | 100.0866
3023 | 100.0887
3022 | 100.0911
3021 | 100.0936
3020 | 100.096
3019 | 100.0982
3018 | 100.0997
3017 | 100.1004
3016 | 100.1007
3015 | 100.1015
3014 | 100.1033
3013 | 100.1061
3012 | 100.1092
3011 | 100.1117
3010 | 100.1122
3009 | 100.1104
3008 | 100.107
3007 | 100.1034
3006 | 100.0997
3005 | 100.0959
3004 | 100.0924
3003 | 100.0902
3002 | 100.0898
3001 | 100.0909
3000 | 100.0924
2999 | 100.093
2998 | 100.0917
2997 | 100.0883
2996 | 100.0834
2995 | 100.0779
2994 | 100.0723
2993 | 100.0662
2992 | 100.0595
2991 | 100.0522
2990 | 100.0438
2989 | 100.034
2988 | 100.0226
2987 | 100.0098
2986 | 99.9952
2985 | 99.9789
2984 | 99.9612
2983 | 99.9429
2982 | 99.9236
2981 | 99.9023
2980 | 99.8785
2979 | 99.8523
2978 | 99.8232
2977 | 99.7905
2976 | 99.7542
2975 | 99.7148
2974 | 99.6727
2973 | 99.6275
2972 | 99.5793
2971 | 99.5281
2970 | 99.4738
2969 | 99.4166
2968 | 99.3574
2967 | 99.2974
2966 | 99.2372
2965 | 99.1766
2964 | 99.1158
2963 | 99.0562
2962 | 98.9993
2961 | 98.9464
2960 | 98.8977
2959 | 98.8533
2958 | 98.8137
2957 | 98.7796
2956 | 98.7518
2955 | 98.7309
2954 | 98.7166
2953 | 98.7079
2952 | 98.7034
2951 | 98.7018
2950 | 98.7013
2949 | 98.6994
2948 | 98.6946
2947 | 98.6856
2946 | 98.6713
2945 | 98.6503
2944 | 98.6213
2943 | 98.5836
2942 | 98.538
2941 | 98.4856
2940 | 98.4274
2939 | 98.363
2938 | 98.2923
2937 | 98.2158
2936 | 98.1351
2935 | 98.0522
2934 | 97.9681
2933 | 97.884
2932 | 97.8007
2931 | 97.7188
2930 | 97.6379
2929 | 97.5589
2928 | 97.4841
2927 | 97.4172
2926 | 97.3614
2925 | 97.3194
2924 | 97.2936
2923 | 97.2852
2922 | 97.2934
2921 | 97.3157
2920 | 97.3498
2919 | 97.3946
2918 | 97.4497
2917 | 97.5141
2916 | 97.5854
2915 | 97.6599
2914 | 97.734
2913 | 97.8046
2912 | 97.8697
2911 | 97.9281
2910 | 97.9796
2909 | 98.025
2908 | 98.0652
2907 | 98.1009
2906 | 98.1322
2905 | 98.1598
2904 | 98.185
2903 | 98.209
2902 | 98.2326
2901 | 98.2563
2900 | 98.281
2899 | 98.3067
2898 | 98.3334
2897 | 98.361
2896 | 98.3897
2895 | 98.4191
2894 | 98.4484
2893 | 98.4774
2892 | 98.5072
2891 | 98.5385
2890 | 98.5709
2889 | 98.6028
2888 | 98.6327
2887 | 98.6601
2886 | 98.6847
2885 | 98.7068
2884 | 98.7268
2883 | 98.7446
2882 | 98.7585
2881 | 98.767
2880 | 98.7695
2879 | 98.7664
2878 | 98.7578
2877 | 98.7441
2876 | 98.727
2875 | 98.7098
2874 | 98.695
2873 | 98.6843
2872 | 98.6785
2871 | 98.6781
2870 | 98.6832
2869 | 98.6924
2868 | 98.7033
2867 | 98.7129
2866 | 98.7178
2865 | 98.7157
2864 | 98.7057
2863 | 98.6882
2862 | 98.6635
2861 | 98.6321
2860 | 98.5944
2859 | 98.552
2858 | 98.5074
2857 | 98.4645
2856 | 98.4283
2855 | 98.4033
2854 | 98.3927
2853 | 98.3983
2852 | 98.4221
2851 | 98.4658
2850 | 98.53
2849 | 98.6132
2848 | 98.7108
2847 | 98.8169
2846 | 98.9252
2845 | 99.0306
2844 | 99.1298
2843 | 99.2213
2842 | 99.3047
2841 | 99.3806
2840 | 99.4506
2839 | 99.5158
2838 | 99.5758
2837 | 99.6303
2836 | 99.6793
2835 | 99.7234
2834 | 99.7635
2833 | 99.8001
2832 | 99.8339
2831 | 99.8653
2830 | 99.8943
2829 | 99.9205
2828 | 99.9441
2827 | 99.9659
2826 | 99.9863
2825 | 100.0055
2824 | 100.0239
2823 | 100.0419
2822 | 100.0595
2821 | 100.0759
2820 | 100.091
2819 | 100.1047
2818 | 100.1172
2817 | 100.1289
2816 | 100.1403
2815 | 100.1518
2814 | 100.1631
2813 | 100.1743
2812 | 100.1859
2811 | 100.1982
2810 | 100.2099
2809 | 100.2196
2808 | 100.2272
2807 | 100.2342
2806 | 100.2423
2805 | 100.2516
2804 | 100.2614
2803 | 100.2709
2802 | 100.2797
2801 | 100.2882
2800 | 100.2967
2799 | 100.3048
2798 | 100.3118
2797 | 100.3174
2796 | 100.3227
2795 | 100.3286
2794 | 100.3347
2793 | 100.3402
2792 | 100.3453
2791 | 100.3509
2790 | 100.357
2789 | 100.3632
2788 | 100.369
2787 | 100.374
2786 | 100.3781
2785 | 100.3814
2784 | 100.3847
2783 | 100.3887
2782 | 100.3933
2781 | 100.3978
2780 | 100.402
2779 | 100.406
2778 | 100.4097
2777 | 100.4136
2776 | 100.4183
2775 | 100.4237
2774 | 100.4285
2773 | 100.4318
2772 | 100.4338
2771 | 100.4358
2770 | 100.4383
2769 | 100.4409
2768 | 100.4439
2767 | 100.4473
2766 | 100.4508
2765 | 100.4535
2764 | 100.4555
2763 | 100.4571
2762 | 100.4586
2761 | 100.4598
2760 | 100.4612
2759 | 100.4637
2758 | 100.4668
2757 | 100.4697
2756 | 100.4719
2755 | 100.4737
2754 | 100.4751
2753 | 100.4759
2752 | 100.4766
2751 | 100.4783
2750 | 100.4811
2749 | 100.484
2748 | 100.4858
2747 | 100.4868
2746 | 100.4873
2745 | 100.4882
2744 | 100.4896
2743 | 100.4915
2742 | 100.493
2741 | 100.4934
2740 | 100.4932
2739 | 100.4936
2738 | 100.4955
2737 | 100.4983
2736 | 100.5012
2735 | 100.5033
2734 | 100.5045
2733 | 100.505
2732 | 100.5058
2731 | 100.5073
2730 | 100.5091
2729 | 100.5106
2728 | 100.5122
2727 | 100.5146
2726 | 100.5179
2725 | 100.5214
2724 | 100.5243
2723 | 100.5266
2722 | 100.5284
2721 | 100.5302
2720 | 100.5326
2719 | 100.5363
2718 | 100.5411
2717 | 100.5458
2716 | 100.5498
2715 | 100.5532
2714 | 100.5563
2713 | 100.5593
2712 | 100.5627
2711 | 100.5665
2710 | 100.5705
2709 | 100.574
2708 | 100.5775
2707 | 100.5811
2706 | 100.5845
2705 | 100.5871
2704 | 100.589
2703 | 100.591
2702 | 100.5934
2701 | 100.5963
2700 | 100.5994
2699 | 100.603
2698 | 100.6064
2697 | 100.6093
2696 | 100.612
2695 | 100.6153
2694 | 100.6191
2693 | 100.6226
2692 | 100.6252
2691 | 100.627
2690 | 100.629
2689 | 100.6313
2688 | 100.6341
2687 | 100.6373
2686 | 100.6406
2685 | 100.6436
2684 | 100.646
2683 | 100.6478
2682 | 100.6493
2681 | 100.6511
2680 | 100.654
2679 | 100.6577
2678 | 100.6613
2677 | 100.6639
2676 | 100.6656
2675 | 100.667
2674 | 100.6678
2673 | 100.6682
2672 | 100.6688
2671 | 100.6706
2670 | 100.6732
2669 | 100.6756
2668 | 100.6775
2667 | 100.6795
2666 | 100.682
2665 | 100.6849
2664 | 100.6879
2663 | 100.6907
2662 | 100.6931
2661 | 100.6945
2660 | 100.6954
2659 | 100.6966
2658 | 100.6983
2657 | 100.7004
2656 | 100.7024
2655 | 100.7042
2654 | 100.7056
2653 | 100.7067
2652 | 100.7078
2651 | 100.7094
2650 | 100.7113
2649 | 100.7134
2648 | 100.7158
2647 | 100.7184
2646 | 100.7203
2645 | 100.7211
2644 | 100.7211
2643 | 100.721
2642 | 100.7208
2641 | 100.7203
2640 | 100.7202
2639 | 100.7215
2638 | 100.7241
2637 | 100.7267
2636 | 100.7285
2635 | 100.7301
2634 | 100.732
2633 | 100.7341
2632 | 100.7363
2631 | 100.7383
2630 | 100.7397
2629 | 100.7397
2628 | 100.7387
2627 | 100.7376
2626 | 100.7368
2625 | 100.7367
2624 | 100.7376
2623 | 100.7399
2622 | 100.7432
2621 | 100.7465
2620 | 100.749
2619 | 100.7505
2618 | 100.751
2617 | 100.7505
2616 | 100.7501
2615 | 100.7505
2614 | 100.7515
2613 | 100.7523
2612 | 100.7525
2611 | 100.7524
2610 | 100.7522
2609 | 100.7524
2608 | 100.7534
2607 | 100.7554
2606 | 100.7576
2605 | 100.7592
2604 | 100.7604
2603 | 100.7619
2602 | 100.7629
2601 | 100.7629
2600 | 100.7621
2599 | 100.7615
2598 | 100.7614
2597 | 100.7616
2596 | 100.7623
2595 | 100.7637
2594 | 100.7657
2593 | 100.7676
2592 | 100.769
2591 | 100.7701
2590 | 100.7704
2589 | 100.7699
2588 | 100.7695
2587 | 100.7703
2586 | 100.7722
2585 | 100.7736
2584 | 100.7742
2583 | 100.7748
2582 | 100.7759
2581 | 100.7775
2580 | 100.7798
2579 | 100.7823
2578 | 100.7842
2577 | 100.7847
2576 | 100.7839
2575 | 100.7829
2574 | 100.7821
2573 | 100.7816
2572 | 100.7821
2571 | 100.7839
2570 | 100.7861
2569 | 100.7874
2568 | 100.7881
2567 | 100.789
2566 | 100.7901
2565 | 100.7904
2564 | 100.7896
2563 | 100.7883
2562 | 100.787
2561 | 100.7861
2560 | 100.7861
2559 | 100.787
2558 | 100.7881
2557 | 100.7888
2556 | 100.7899
2555 | 100.7918
2554 | 100.7932
2553 | 100.7931
2552 | 100.7924
2551 | 100.7925
2550 | 100.7935
2549 | 100.7944
2548 | 100.7949
2547 | 100.7953
2546 | 100.7949
2545 | 100.7933
2544 | 100.792
2543 | 100.7925
2542 | 100.7942
2541 | 100.795
2540 | 100.7947
2539 | 100.7947
2538 | 100.7956
2537 | 100.7969
2536 | 100.7984
2535 | 100.8003
2534 | 100.8023
2533 | 100.8035
2532 | 100.8041
2531 | 100.8049
2530 | 100.8055
2529 | 100.8048
2528 | 100.8033
2527 | 100.8024
2526 | 100.8033
2525 | 100.8055
2524 | 100.8085
2523 | 100.8116
2522 | 100.8135
2521 | 100.8135
2520 | 100.812
2519 | 100.8103
2518 | 100.8087
2517 | 100.807
2516 | 100.806
2515 | 100.8067
2514 | 100.8087
2513 | 100.8105
2512 | 100.8117
2511 | 100.8124
2510 | 100.8123
2509 | 100.8112
2508 | 100.8111
2507 | 100.8138
2506 | 100.8186
2505 | 100.8228
2504 | 100.8249
2503 | 100.8254
2502 | 100.8255
2501 | 100.826
2500 | 100.8278
2499 | 100.8318
2498 | 100.8367
2497 | 100.8405
2496 | 100.8423
2495 | 100.8433
2494 | 100.8439
2493 | 100.844
2492 | 100.8443
2491 | 100.8461
2490 | 100.8496
2489 | 100.8531
2488 | 100.8556
2487 | 100.8573
2486 | 100.8586
2485 | 100.8589
2484 | 100.8586
2483 | 100.8587
2482 | 100.8594
2481 | 100.8604
2480 | 100.8616
2479 | 100.8629
2478 | 100.8642
2477 | 100.865
2476 | 100.8662
2475 | 100.8689
2474 | 100.8721
2473 | 100.8744
2472 | 100.8755
2471 | 100.8772
2470 | 100.8802
2469 | 100.8833
2468 | 100.8852
2467 | 100.8858
2466 | 100.8856
2465 | 100.8857
2464 | 100.887
2463 | 100.8901
2462 | 100.8938
2461 | 100.8963
2460 | 100.8972
2459 | 100.8979
2458 | 100.8987
2457 | 100.8989
2456 | 100.8984
2455 | 100.8975
2454 | 100.8966
2453 | 100.8959
2452 | 100.8961
2451 | 100.8979
2450 | 100.9004
2449 | 100.9018
2448 | 100.9014
2447 | 100.9003
2446 | 100.8996
2445 | 100.8999
2444 | 100.9019
2443 | 100.9058
2442 | 100.9102
2441 | 100.9135
2440 | 100.9155
2439 | 100.9171
2438 | 100.9185
2437 | 100.9186
2436 | 100.9174
2435 | 100.9167
2434 | 100.9175
2433 | 100.9193
2432 | 100.9214
2431 | 100.9232
2430 | 100.9247
2429 | 100.9262
2428 | 100.9288
2427 | 100.9325
2426 | 100.9353
2425 | 100.9355
2424 | 100.9339
2423 | 100.9328
2422 | 100.9331
2421 | 100.9343
2420 | 100.9359
2419 | 100.9379
2418 | 100.9398
2417 | 100.9407
2416 | 100.9409
2415 | 100.9416
2414 | 100.9433
2413 | 100.945
2412 | 100.9466
2411 | 100.9487
2410 | 100.9517
2409 | 100.9544
2408 | 100.9562
2407 | 100.9574
2406 | 100.9582
2405 | 100.9589
2404 | 100.9597
2403 | 100.9612
2402 | 100.9627
2401 | 100.9635
2400 | 100.9635
2399 | 100.9636
2398 | 100.9643
2397 | 100.9652
2396 | 100.9663
2395 | 100.9678
2394 | 100.9694
2393 | 100.9703
2392 | 100.971
2391 | 100.972
2390 | 100.9732
2389 | 100.9739
2388 | 100.9739
2387 | 100.9734
2386 | 100.9721
2385 | 100.9696
2384 | 100.9664
2383 | 100.9633
2382 | 100.9606
2381 | 100.9579
2380 | 100.9557
2379 | 100.9545
2378 | 100.9538
2377 | 100.9527
2376 | 100.9513
2375 | 100.9504
2374 | 100.9495
2373 | 100.9479
2372 | 100.9472
2371 | 100.9496
2370 | 100.9542
2369 | 100.9572
2368 | 100.9572
2367 | 100.9563
2366 | 100.9557
2365 | 100.9541
2364 | 100.9514
2363 | 100.9491
2362 | 100.9476
2361 | 100.9464
2360 | 100.946
2359 | 100.9472
2358 | 100.9486
2357 | 100.9487
2356 | 100.9494
2355 | 100.952
2354 | 100.954
2353 | 100.9514
2352 | 100.9448
2351 | 100.9393
2350 | 100.9384
2349 | 100.9426
2348 | 100.9497
2347 | 100.955
2346 | 100.9518
2345 | 100.9357
2344 | 100.9124
2343 | 100.8916
2342 | 100.8781
2341 | 100.8712
2340 | 100.8718
2339 | 100.882
2338 | 100.9
2337 | 100.9202
2336 | 100.938
2335 | 100.9521
2334 | 100.9613
2333 | 100.9649
2332 | 100.9652
2331 | 100.9656
2330 | 100.966
2329 | 100.9652
2328 | 100.9642
2327 | 100.9659
2326 | 100.9707
2325 | 100.9762
2324 | 100.9806
2323 | 100.9835
2322 | 100.9846
2321 | 100.9839
2320 | 100.983
2319 | 100.9843
2318 | 100.9877
2317 | 100.9914
2316 | 100.9947
2315 | 100.9977
2314 | 100.9992
2313 | 100.9981
2312 | 100.9962
2311 | 100.9963
2310 | 100.9987
2309 | 101.0015
2308 | 101.0043
2307 | 101.0076
2306 | 101.0108
2305 | 101.012
2304 | 101.0114
2303 | 101.0112
2302 | 101.0125
2301 | 101.0143
2300 | 101.016
2299 | 101.0171
2298 | 101.0173
2297 | 101.0166
2296 | 101.0166
2295 | 101.0193
2294 | 101.0242
2293 | 101.0286
2292 | 101.031
2291 | 101.0316
2290 | 101.0307
2289 | 101.0288
2288 | 101.0274
2287 | 101.0276
2286 | 101.0282
2285 | 101.0272
2284 | 101.0247
2283 | 101.0226
2282 | 101.0215
2281 | 101.0205
2280 | 101.02
2279 | 101.0212
2278 | 101.0229
2277 | 101.0225
2276 | 101.0198
2275 | 101.0172
2274 | 101.0162
2273 | 101.016
2272 | 101.0157
2271 | 101.0151
2270 | 101.0135
2269 | 101.0108
2268 | 101.0089
2267 | 101.0094
2266 | 101.0105
2265 | 101.0091
2264 | 101.0057
2263 | 101.0036
2262 | 101.0036
2261 | 101.0032
2260 | 101.001
2259 | 100.9982
2258 | 100.9954
2257 | 100.9928
2256 | 100.9918
2255 | 100.9939
2254 | 100.9973
2253 | 100.9985
2252 | 100.9968
2251 | 100.9947
2250 | 100.9933
2249 | 100.9913
2248 | 100.9887
2247 | 100.9876
2246 | 100.9884
2245 | 100.9889
2244 | 100.988
2243 | 100.9865
2242 | 100.9854
2241 | 100.9845
2240 | 100.985
2239 | 100.9878
2238 | 100.991
2237 | 100.9914
2236 | 100.9891
2235 | 100.9867
2234 | 100.9851
2233 | 100.983
2232 | 100.9807
2231 | 100.9806
2230 | 100.9831
2229 | 100.986
2228 | 100.9885
2227 | 100.9913
2226 | 100.9938
2225 | 100.9939
2224 | 100.992
2223 | 100.9906
2222 | 100.99
2221 | 100.9885
2220 | 100.9863
2219 | 100.9861
2218 | 100.9882
2217 | 100.9904
2216 | 100.9918
2215 | 100.9937
2214 | 100.996
2213 | 100.9964
2212 | 100.9945
2211 | 100.9928
2210 | 100.9923
2209 | 100.9916
2208 | 100.9907
2207 | 100.9912
2206 | 100.9932
2205 | 100.9945
2204 | 100.9949
2203 | 100.9958
2202 | 100.997
2201 | 100.9968
2200 | 100.9953
2199 | 100.9949
2198 | 100.9953
2197 | 100.9935
2196 | 100.9892
2195 | 100.986
2194 | 100.9862
2193 | 100.9879
2192 | 100.9889
2191 | 100.9891
2190 | 100.9889
2189 | 100.9881
2188 | 100.9871
2187 | 100.9866
2186 | 100.9849
2185 | 100.9808
2184 | 100.9773
2183 | 100.9784
2182 | 100.9832
2181 | 100.9867
2180 | 100.9866
2179 | 100.9852
2178 | 100.9838
2177 | 100.9817
2176 | 100.9799
2175 | 100.9804
2174 | 100.9818
2173 | 100.9803
2172 | 100.9761
2171 | 100.9731
2170 | 100.9731
2169 | 100.9735
2168 | 100.9727
2167 | 100.9715
2166 | 100.97
2165 | 100.9669
2164 | 100.9635
2163 | 100.9624
2162 | 100.9631
2161 | 100.9622
2160 | 100.9594
2159 | 100.958
2158 | 100.9585
2157 | 100.9586
2156 | 100.958
2155 | 100.959
2154 | 100.9617
2153 | 100.9636
2152 | 100.9644
2151 | 100.9657
2150 | 100.9673
2149 | 100.968
2148 | 100.9695
2147 | 100.9747
2146 | 100.982
2145 | 100.9865
2144 | 100.986
2143 | 100.9834
2142 | 100.9811
2141 | 100.9797
2140 | 100.9802
2139 | 100.9832
2138 | 100.9868
2137 | 100.9885
2136 | 100.9893
2135 | 100.9916
2134 | 100.9945
2133 | 100.9948
2132 | 100.993
2131 | 100.9929
2130 | 100.9954
2129 | 100.9977
2128 | 100.9984
2127 | 100.9986
2126 | 100.9992
2125 | 100.9997
2124 | 101.0006
2123 | 101.0027
2122 | 101.0049
2121 | 101.005
2120 | 101.0045
2119 | 101.0062
2118 | 101.0097
2117 | 101.0114
2116 | 101.0107
2115 | 101.0107
2114 | 101.0133
2113 | 101.0165
2112 | 101.0189
2111 | 101.0208
2110 | 101.022
2109 | 101.0215
2108 | 101.0199
2107 | 101.0192
2106 | 101.0196
2105 | 101.0192
2104 | 101.018
2103 | 101.0184
2102 | 101.021
2101 | 101.0237
2100 | 101.0254
2099 | 101.027
2098 | 101.0292
2097 | 101.0317
2096 | 101.035
2095 | 101.0393
2094 | 101.0421
2093 | 101.0411
2092 | 101.0384
2091 | 101.0379
2090 | 101.0397
2089 | 101.0409
2088 | 101.0414
2087 | 101.0437
2086 | 101.0476
2085 | 101.0498
2084 | 101.0495
2083 | 101.0499
2082 | 101.0524
2081 | 101.0548
2080 | 101.0556
2079 | 101.0567
2078 | 101.0591
2077 | 101.0612
2076 | 101.0628
2075 | 101.0648
2074 | 101.0664
2073 | 101.0656
2072 | 101.064
2071 | 101.0659
2070 | 101.0723
2069 | 101.0788
2068 | 101.0821
2067 | 101.0831
2066 | 101.083
2065 | 101.081
2064 | 101.078
2063 | 101.0769
2062 | 101.0784
2061 | 101.0802
2060 | 101.0809
2059 | 101.082
2058 | 101.0842
2057 | 101.0862
2056 | 101.0882
2055 | 101.0912
2054 | 101.0932
2053 | 101.0911
2052 | 101.0859
2051 | 101.083
2050 | 101.085
2049 | 101.0892
2048 | 101.093
2047 | 101.0971
2046 | 101.101
2045 | 101.1026
2044 | 101.1032
2043 | 101.1062
2042 | 101.1107
2041 | 101.1122
2040 | 101.11
2039 | 101.109
2038 | 101.1117
2037 | 101.1149
2036 | 101.1166
2035 | 101.1187
2034 | 101.1211
2033 | 101.1204
2032 | 101.1168
2031 | 101.1155
2030 | 101.1194
2029 | 101.1256
2028 | 101.1313
2027 | 101.1367
2026 | 101.1411
2025 | 101.1418
2024 | 101.1401
2023 | 101.1414
2022 | 101.1473
2021 | 101.1539
2020 | 101.1582
2019 | 101.1613
2018 | 101.1636
2017 | 101.1629
2016 | 101.1592
2015 | 101.1562
2014 | 101.1552
2013 | 101.1547
2012 | 101.1557
2011 | 101.1616
2010 | 101.1713
2009 | 101.1789
2008 | 101.1823
2007 | 101.1848
2006 | 101.1883
2005 | 101.1897
2004 | 101.1878
2003 | 101.1854
2002 | 101.1846
2001 | 101.1842
2000 | 101.184
1999 | 101.1858
1998 | 101.19
1997 | 101.1936
1996 | 101.196
1995 | 101.2002
1994 | 101.2077
1993 | 101.2151
1992 | 101.2186
1991 | 101.2183
1990 | 101.2163
1989 | 101.2134
1988 | 101.2109
1987 | 101.2102
1986 | 101.2106
1985 | 101.2106
1984 | 101.2105
1983 | 101.2121
1982 | 101.2141
1981 | 101.2138
1980 | 101.2118
1979 | 101.2118
1978 | 101.2145
1977 | 101.2167
1976 | 101.2172
1975 | 101.2182
1974 | 101.22
1973 | 101.2205
1972 | 101.2204
1971 | 101.2224
1970 | 101.2266
1969 | 101.2295
1968 | 101.2293
1967 | 101.227
1966 | 101.2231
1965 | 101.2181
1964 | 101.2144
1963 | 101.2146
1962 | 101.2166
1961 | 101.2165
1960 | 101.2145
1959 | 101.2138
1958 | 101.2137
1957 | 101.2105
1956 | 101.205
1955 | 101.2018
1954 | 101.2018
1953 | 101.2013
1952 | 101.1987
1951 | 101.1965
1950 | 101.1964
1949 | 101.1971
1948 | 101.198
1947 | 101.1994
1946 | 101.2003
1945 | 101.1998
1944 | 101.1998
1943 | 101.202
1942 | 101.2032
1941 | 101.1999
1940 | 101.1944
1939 | 101.192
1938 | 101.1932
1937 | 101.1944
1936 | 101.1942
1935 | 101.1945
1934 | 101.1951
1933 | 101.1936
1932 | 101.1906
1931 | 101.1895
1930 | 101.1905
1929 | 101.1907
1928 | 101.1892
1927 | 101.1883
1926 | 101.1892
1925 | 101.1913
1924 | 101.1953
1923 | 101.2005
1922 | 101.2028
1921 | 101.2003
1920 | 101.1978
1919 | 101.2007
1918 | 101.2052
1917 | 101.2034
1916 | 101.1959
1915 | 101.1906
1914 | 101.1906
1913 | 101.1916
1912 | 101.1911
1911 | 101.1908
1910 | 101.1915
1909 | 101.1911
1908 | 101.1892
1907 | 101.1886
1906 | 101.1889
1905 | 101.1865
1904 | 101.1822
1903 | 101.1803
1902 | 101.1818
1901 | 101.1836
1900 | 101.184
1899 | 101.1849
1898 | 101.1867
1897 | 101.1871
1896 | 101.1857
1895 | 101.1845
1894 | 101.1832
1893 | 101.1797
1892 | 101.1758
1891 | 101.1761
1890 | 101.1802
1889 | 101.1823
1888 | 101.1803
1887 | 101.1781
1886 | 101.1781
1885 | 101.1783
1884 | 101.177
1883 | 101.1754
1882 | 101.1744
1881 | 101.1728
1880 | 101.1704
1879 | 101.169
1878 | 101.1693
1877 | 101.1689
1876 | 101.167
1875 | 101.166
1874 | 101.1664
1873 | 101.1659
1872 | 101.1649
1871 | 101.167
1870 | 101.1731
1869 | 101.1769
1868 | 101.1737
1867 | 101.1673
1866 | 101.1628
1865 | 101.1609
1864 | 101.1606
1863 | 101.1617
1862 | 101.1628
1861 | 101.1619
1860 | 101.1595
1859 | 101.1577
1858 | 101.1574
1857 | 101.1567
1856 | 101.1558
1855 | 101.1564
1854 | 101.1583
1853 | 101.159
1852 | 101.1574
1851 | 101.1549
1850 | 101.1539
1849 | 101.1531
1848 | 101.1516
1847 | 101.1508
1846 | 101.1532
1845 | 101.1584
1844 | 101.1625
1843 | 101.1614
1842 | 101.1544
1841 | 101.1452
1840 | 101.1383
1839 | 101.1359
1838 | 101.1354
1837 | 101.1329
1836 | 101.129
1835 | 101.127
1834 | 101.1264
1833 | 101.124
1832 | 101.1194
1831 | 101.117
1830 | 101.1183
1829 | 101.118
1828 | 101.1127
1827 | 101.1058
1826 | 101.1036
1825 | 101.1058
1824 | 101.1076
1823 | 101.1064
1822 | 101.1034
1821 | 101.0993
1820 | 101.0946
1819 | 101.0912
1818 | 101.0897
1817 | 101.0879
1816 | 101.0844
1815 | 101.0797
1814 | 101.0747
1813 | 101.0691
1812 | 101.0635
1811 | 101.0599
1810 | 101.0579
1809 | 101.0549
1808 | 101.0508
1807 | 101.0472
1806 | 101.0436
1805 | 101.0374
1804 | 101.0286
1803 | 101.0203
1802 | 101.0145
1801 | 101.0091
1800 | 101.0023
1799 | 100.9966
1798 | 100.9932
1797 | 100.9905
1796 | 100.9866
1795 | 100.9814
1794 | 100.976
1793 | 100.9712
1792 | 100.9666
1791 | 100.9623
1790 | 100.957
1789 | 100.9485
1788 | 100.9375
1787 | 100.9276
1786 | 100.9211
1785 | 100.9159
1784 | 100.9078
1783 | 100.8944
1782 | 100.8784
1781 | 100.8631
1780 | 100.849
1779 | 100.8358
1778 | 100.822
1777 | 100.8083
1776 | 100.7953
1775 | 100.7814
1774 | 100.7627
1773 | 100.7344
1772 | 100.6942
1771 | 100.6487
1770 | 100.6059
1769 | 100.5657
1768 | 100.5253
1767 | 100.4817
1766 | 100.4325
1765 | 100.3766
1764 | 100.3146
1763 | 100.2484
1762 | 100.1793
1761 | 100.1066
1760 | 100.0312
1759 | 99.955
1758 | 99.877
1757 | 99.7971
1756 | 99.7177
1755 | 99.6443
1754 | 99.5781
1753 | 99.5122
1752 | 99.4372
1751 | 99.3484
1750 | 99.2483
1749 | 99.1454
1748 | 99.0493
1747 | 98.9645
1746 | 98.8889
1745 | 98.8171
1744 | 98.7469
1743 | 98.6811
1742 | 98.6193
1741 | 98.5573
1740 | 98.4965
1739 | 98.4462
1738 | 98.4135
1737 | 98.3973
1736 | 98.391
1735 | 98.3881
1734 | 98.3768
1733 | 98.3495
1732 | 98.3166
1731 | 98.2962
1730 | 98.2968
1729 | 98.3147
1728 | 98.3417
1727 | 98.3734
1726 | 98.4099
1725 | 98.4509
1724 | 98.4967
1723 | 98.548
1722 | 98.6013
1721 | 98.6547
1720 | 98.7136
1719 | 98.7863
1718 | 98.8667
1717 | 98.9333
1716 | 98.979
1715 | 99.018
1714 | 99.0624
1713 | 99.1106
1712 | 99.1574
1711 | 99.2027
1710 | 99.2468
1709 | 99.2856
1708 | 99.3158
1707 | 99.3423
1706 | 99.3723
1705 | 99.4048
1704 | 99.435
1703 | 99.4595
1702 | 99.4781
1701 | 99.4988
1700 | 99.5217
1699 | 99.5339
1698 | 99.5308
1697 | 99.5162
1696 | 99.4954
1695 | 99.4698
1694 | 99.4343
1693 | 99.3923
1692 | 99.3537
1691 | 99.3213
1690 | 99.2916
1689 | 99.2659
1688 | 99.2501
1687 | 99.2417
1686 | 99.2253
1685 | 99.1827
1684 | 99.1138
1683 | 99.0454
1682 | 98.9938
1681 | 98.9539
1680 | 98.9209
1679 | 98.8906
1678 | 98.8583
1677 | 98.819
1676 | 98.7731
1675 | 98.7266
1674 | 98.6825
1673 | 98.6373
1672 | 98.5884
1671 | 98.5374
1670 | 98.4838
1669 | 98.4297
1668 | 98.3803
1667 | 98.3375
1666 | 98.2978
1665 | 98.2543
1664 | 98.2044
1663 | 98.1521
1662 | 98.1037
1661 | 98.0616
1660 | 98.0231
1659 | 97.9887
1658 | 97.9617
1657 | 97.9468
1656 | 97.9437
1655 | 97.9474
1654 | 97.9438
1653 | 97.9133
1652 | 97.8636
1651 | 97.8057
1650 | 97.7533
1649 | 97.7213
1648 | 97.7046
1647 | 97.6927
1646 | 97.6846
1645 | 97.6769
1644 | 97.6632
1643 | 97.648
1642 | 97.6378
1641 | 97.632
1640 | 97.6271
1639 | 97.6248
1638 | 97.6253
1637 | 97.623
1636 | 97.6131
1635 | 97.6048
1634 | 97.6048
1633 | 97.6049
1632 | 97.6043
1631 | 97.6048
1630 | 97.6056
1629 | 97.6052
1628 | 97.6051
1627 | 97.6078
1626 | 97.612
1625 | 97.6133
1624 | 97.6113
1623 | 97.6134
1622 | 97.6269
1621 | 97.6512
1620 | 97.6838
1619 | 97.726
1618 | 97.7762
1617 | 97.8261
1616 | 97.865
1615 | 97.8895
1614 | 97.9074
1613 | 97.9267
1612 | 97.9484
1611 | 97.9686
1610 | 97.9846
1609 | 97.9959
1608 | 98.0025
1607 | 98.0051
1606 | 98.0048
1605 | 98.0016
1604 | 97.9932
1603 | 97.9802
1602 | 97.9646
1601 | 97.9458
1600 | 97.9224
1599 | 97.8955
1598 | 97.8683
1597 | 97.8424
1596 | 97.8192
1595 | 97.804
1594 | 97.8033
1593 | 97.8193
1592 | 97.8506
1591 | 97.8972
1590 | 97.9595
1589 | 98.0341
1588 | 98.115
1587 | 98.199
1586 | 98.2843
1585 | 98.3683
1584 | 98.4476
1583 | 98.5211
1582 | 98.5908
1581 | 98.657
1580 | 98.7201
1579 | 98.7839
1578 | 98.8522
1577 | 98.9225
1576 | 98.9872
1575 | 99.0377
1574 | 99.072
1573 | 99.0979
1572 | 99.1241
1571 | 99.1551
1570 | 99.1928
1569 | 99.2347
1568 | 99.2718
1567 | 99.2978
1566 | 99.3167
1565 | 99.3374
1564 | 99.3647
1563 | 99.397
1562 | 99.4268
1561 | 99.4425
1560 | 99.4471
1559 | 99.4409
1558 | 99.4398
1557 | 99.4432
1556 | 99.4368
1555 | 99.4302
1554 | 99.4275
1553 | 99.4215
1552 | 99.4074
1551 | 99.3926
1550 | 99.3841
1549 | 99.3796
1548 | 99.3727
1547 | 99.36
1546 | 99.3448
1545 | 99.3314
1544 | 99.3211
1543 | 99.3146
1542 | 99.3111
1541 | 99.3045
1540 | 99.296
1539 | 99.2983
1538 | 99.3025
1537 | 99.2949
1536 | 99.2848
1535 | 99.2819
1534 | 99.2899
1533 | 99.3062
1532 | 99.3239
1531 | 99.3363
1530 | 99.3386
1529 | 99.3323
1528 | 99.3231
1527 | 99.3153
1526 | 99.3081
1525 | 99.2976
1524 | 99.2813
1523 | 99.2572
1522 | 99.2209
1521 | 99.1722
1520 | 99.1164
1519 | 99.0544
1518 | 98.9867
1517 | 98.9173
1516 | 98.8546
1515 | 98.8019
1514 | 98.7503
1513 | 98.6927
1512 | 98.6323
1511 | 98.5775
1510 | 98.5314
1509 | 98.4896
1508 | 98.4428
1507 | 98.3827
1506 | 98.3317
1505 | 98.3063
1504 | 98.2913
1503 | 98.2875
1502 | 98.2992
1501 | 98.3238
1500 | 98.3607
1499 | 98.4125
1498 | 98.4777
1497 | 98.5479
1496 | 98.6157
1495 | 98.6734
1494 | 98.7134
1493 | 98.7372
1492 | 98.7547
1491 | 98.776
1490 | 98.7972
1489 | 98.806
1488 | 98.8018
1487 | 98.7917
1486 | 98.7742
1485 | 98.745
1484 | 98.704
1483 | 98.6534
1482 | 98.5941
1481 | 98.5253
1480 | 98.4512
1479 | 98.3739
1478 | 98.289
1477 | 98.1907
1476 | 98.0821
1475 | 97.964
1474 | 97.8195
1473 | 97.6288
1472 | 97.4088
1471 | 97.2027
1470 | 97.0239
1469 | 96.861
1468 | 96.7083
1467 | 96.5658
1466 | 96.4307
1465 | 96.3057
1464 | 96.2057
1463 | 96.1404
1462 | 96.0999
1461 | 96.0721
1460 | 96.0538
1459 | 96.0423
1458 | 96.0276
1457 | 96.0061
1456 | 95.9921
1455 | 95.9893
1454 | 95.9951
1453 | 96.0134
1452 | 96.0442
1451 | 96.0817
1450 | 96.1197
1449 | 96.1577
1448 | 96.2002
1447 | 96.2471
1446 | 96.2924
1445 | 96.331
1444 | 96.3615
1443 | 96.3849
1442 | 96.3999
1441 | 96.4046
1440 | 96.3987
1439 | 96.3813
1438 | 96.347
1437 | 96.2907
1436 | 96.2196
1435 | 96.148
1434 | 96.0793
1433 | 96.0087
1432 | 95.9338
1431 | 95.8571
1430 | 95.7829
1429 | 95.7166
1428 | 95.6648
1427 | 95.6289
1426 | 95.6038
1425 | 95.5876
1424 | 95.585
1423 | 95.6022
1422 | 95.6369
1421 | 95.6835
1420 | 95.746
1419 | 95.8292
1418 | 95.9223
1417 | 96.0127
1416 | 96.1021
1415 | 96.1953
1414 | 96.2902
1413 | 96.3824
1412 | 96.471
1411 | 96.5561
1410 | 96.6355
1409 | 96.7063
1408 | 96.7692
1407 | 96.8254
1406 | 96.8759
1405 | 96.9233
1404 | 96.9686
1403 | 97.0089
1402 | 97.0401
1401 | 97.063
1400 | 97.0829
1399 | 97.1034
1398 | 97.123
1397 | 97.1387
1396 | 97.1494
1395 | 97.155
1394 | 97.1557
1393 | 97.1504
1392 | 97.1366
1391 | 97.113
1390 | 97.0783
1389 | 97.0289
1388 | 96.9602
1387 | 96.8718
1386 | 96.7705
1385 | 96.6631
1384 | 96.5494
1383 | 96.4272
1382 | 96.2968
1381 | 96.1619
1380 | 96.0284
1379 | 95.9049
1378 | 95.7995
1377 | 95.7144
1376 | 95.6459
1375 | 95.5898
1374 | 95.5459
1373 | 95.5155
1372 | 95.4969
1371 | 95.4866
1370 | 95.4831
1369 | 95.4873
1368 | 95.5003
1367 | 95.5216
1366 | 95.5498
1365 | 95.5839
1364 | 95.6256
1363 | 95.6782
1362 | 95.7428
1361 | 95.8163
1360 | 95.8941
1359 | 95.9723
1358 | 96.048
1357 | 96.1187
1356 | 96.1839
1355 | 96.244
1354 | 96.2991
1353 | 96.3472
1352 | 96.387
1351 | 96.4169
1350 | 96.4346
1349 | 96.4386
1348 | 96.428
1347 | 96.4028
1346 | 96.3631
1345 | 96.3099
1344 | 96.2462
1343 | 96.1761
1342 | 96.1012
1341 | 96.0218
1340 | 95.9387
1339 | 95.856
1338 | 95.7783
1337 | 95.7082
1336 | 95.6466
1335 | 95.5954
1334 | 95.5557
1333 | 95.5274
1332 | 95.5094
1331 | 95.4998
1330 | 95.495
1329 | 95.4902
1328 | 95.4813
1327 | 95.4654
1326 | 95.4403
1325 | 95.404
1324 | 95.3569
1323 | 95.3012
1322 | 95.2398
1321 | 95.1755
1320 | 95.1124
1319 | 95.0572
1318 | 95.0168
1317 | 94.996
1316 | 94.9977
1315 | 95.0236
1314 | 95.0737
1313 | 95.1455
1312 | 95.2356
1311 | 95.3406
1310 | 95.4566
1309 | 95.5795
1308 | 95.7059
1307 | 95.833
1306 | 95.9581
1305 | 96.079
1304 | 96.195
1303 | 96.3053
1302 | 96.4086
1301 | 96.5034
1300 | 96.5892
1299 | 96.6656
1298 | 96.7317
1297 | 96.786
1296 | 96.8282
1295 | 96.8591
1294 | 96.8799
1293 | 96.8926
1292 | 96.8986
1291 | 96.8987
1290 | 96.8919
1289 | 96.8765
1288 | 96.8516
1287 | 96.8174
1286 | 96.7742
1285 | 96.7231
1284 | 96.6665
1283 | 96.6081
1282 | 96.5513
1281 | 96.498
1280 | 96.4479
1279 | 96.3994
1278 | 96.35
1277 | 96.2973
1276 | 96.2407
1275 | 96.1811
1274 | 96.1198
1273 | 96.0583
1272 | 95.9982
1271 | 95.9413
1270 | 95.8871
1269 | 95.8326
1268 | 95.7743
1267 | 95.7083
1266 | 95.6318
1265 | 95.5435
1264 | 95.4467
1263 | 95.3482
1262 | 95.2543
1261 | 95.1682
1260 | 95.0909
1259 | 95.0224
1258 | 94.9605
1257 | 94.9013
1256 | 94.8418
1255 | 94.7809
1254 | 94.7176
1253 | 94.6501
1252 | 94.578
1251 | 94.5035
1250 | 94.4291
1249 | 94.3561
1248 | 94.2868
1247 | 94.2248
1246 | 94.1725
1245 | 94.13
1244 | 94.0964
1243 | 94.0714
1242 | 94.0538
1241 | 94.0412
1240 | 94.0322
1239 | 94.027
1238 | 94.0254
1237 | 94.0263
1236 | 94.0306
1235 | 94.0414
1234 | 94.0606
1233 | 94.088
1232 | 94.1234
1231 | 94.1673
1230 | 94.2197
1229 | 94.2789
1228 | 94.3441
1227 | 94.4158
1226 | 94.4929
1225 | 94.5738
1224 | 94.6576
1223 | 94.745
1222 | 94.8355
1221 | 94.9279
1220 | 95.0225
1219 | 95.1205
1218 | 95.2216
1217 | 95.3232
1216 | 95.4232
1215 | 95.5197
1214 | 95.6087
1213 | 95.6847
1212 | 95.7437
1211 | 95.7842
1210 | 95.8072
1209 | 95.8155
1208 | 95.8151
1207 | 95.8136
1206 | 95.8169
1205 | 95.8275
1204 | 95.8456
1203 | 95.8714
1202 | 95.9046
1201 | 95.9446
1200 | 95.992
1199 | 96.0471
1198 | 96.1081
1197 | 96.1709
1196 | 96.2317
1195 | 96.2876
1194 | 96.3361
1193 | 96.3744
1192 | 96.4008
1191 | 96.4146
1190 | 96.4145
1189 | 96.3997
1188 | 96.3707
1187 | 96.3286
1186 | 96.2742
1185 | 96.207
1184 | 96.1277
1183 | 96.0378
1182 | 95.9379
1181 | 95.8265
1180 | 95.7019
1179 | 95.5634
1178 | 95.4102
1177 | 95.2406
1176 | 95.0538
1175 | 94.8499
1174 | 94.6287
1173 | 94.3892
1172 | 94.1321
1171 | 93.8611
1170 | 93.5804
1169 | 93.2931
1168 | 93.0049
1167 | 92.7253
1166 | 92.4635
1165 | 92.2257
1164 | 92.0174
1163 | 91.8446
1162 | 91.7086
1161 | 91.606
1160 | 91.5333
1159 | 91.4898
1158 | 91.472
1157 | 91.4726
1156 | 91.4871
1155 | 91.5158
1154 | 91.5576
1153 | 91.6076
1152 | 91.6617
1151 | 91.7189
1150 | 91.7773
1149 | 91.8334
1148 | 91.8867
1147 | 91.9402
1146 | 91.9939
1145 | 92.0436
1144 | 92.0857
1143 | 92.119
1142 | 92.1395
1141 | 92.1394
1140 | 92.1128
1139 | 92.0574
1138 | 91.9706
1137 | 91.8488
1136 | 91.6942
1135 | 91.5154
1134 | 91.3205
1133 | 91.1129
1132 | 90.8952
1131 | 90.6717
1130 | 90.4435
1129 | 90.208
1128 | 89.9667
1127 | 89.7281
1126 | 89.5005
1125 | 89.2876
1124 | 89.0936
1123 | 88.9243
1122 | 88.7786
1121 | 88.6453
1120 | 88.5122
1119 | 88.3713
1118 | 88.2137
1117 | 88.0303
1116 | 87.8215
1115 | 87.6003
1114 | 87.3807
1113 | 87.1707
1112 | 86.9788
1111 | 86.8154
1110 | 86.6825
1109 | 86.5716
1108 | 86.4757
1107 | 86.3957
1106 | 86.3326
1105 | 86.2838
1104 | 86.2514
1103 | 86.2429
1102 | 86.2606
1101 | 86.2971
1100 | 86.3463
1099 | 86.4065
1098 | 86.4732
1097 | 86.5371
1096 | 86.594
1095 | 86.6472
1094 | 86.6967
1093 | 86.7364
1092 | 86.7634
1091 | 86.7806
1090 | 86.7884
1089 | 86.7814
1088 | 86.7577
1087 | 86.7217
1086 | 86.6747
1085 | 86.6117
1084 | 86.5299
1083 | 86.4317
1082 | 86.3182
1081 | 86.1869
1080 | 86.0409
1079 | 85.891
1078 | 85.7452
1077 | 85.6042
1076 | 85.4686
1075 | 85.3418
1074 | 85.2207
1073 | 85.0942
1072 | 84.9533
1071 | 84.7961
1070 | 84.6187
1069 | 84.412
1068 | 84.1707
1067 | 83.8981
1066 | 83.5966
1065 | 83.2642
1064 | 82.9046
1063 | 82.5326
1062 | 82.1636
1061 | 81.8079
1060 | 81.4777
1059 | 81.1873
1058 | 80.9406
1057 | 80.7286
1056 | 80.5435
1055 | 80.387
1054 | 80.2594
1053 | 80.1548
1052 | 80.071
1051 | 80.0124
1050 | 79.9776
1049 | 79.9564
1048 | 79.9435
1047 | 79.9416
1046 | 79.9472
1045 | 79.9461
1044 | 79.9273
1043 | 79.8879
1042 | 79.8229
1041 | 79.722
1040 | 79.5822
1039 | 79.4138
1038 | 79.2281
1037 | 79.0321
1036 | 78.8381
1035 | 78.6656
1034 | 78.5292
1033 | 78.4322
1032 | 78.377
1031 | 78.3687
1030 | 78.4055
1029 | 78.477
1028 | 78.5758
1027 | 78.7013
1026 | 78.8494
1025 | 79.0095
1024 | 79.1756
1023 | 79.3492
1022 | 79.5294
1021 | 79.7099
1020 | 79.8879
1019 | 80.0659
1018 | 80.2422
1017 | 80.4078
1016 | 80.5567
1015 | 80.6902
1014 | 80.8088
1013 | 80.9096
1012 | 80.9927
1011 | 81.0628
1010 | 81.1228
1009 | 81.172
1008 | 81.2133
1007 | 81.2546
1006 | 81.3017
1005 | 81.3558
1004 | 81.4211
1003 | 81.5058
1002 | 81.6138
1001 | 81.7421
1000 | 81.8863
999 | 82.0434
998 | 82.2059
997 | 82.3624
996 | 82.5053
995 | 82.634
994 | 82.7492
993 | 82.8496
992 | 82.9364
991 | 83.015
990 | 83.0893
989 | 83.1613
988 | 83.2372
987 | 83.3305
986 | 83.4558
985 | 83.6248
984 | 83.8463
983 | 84.1254
982 | 84.4571
981 | 84.8274
980 | 85.2202
979 | 85.6226
978 | 86.0222
977 | 86.4078
976 | 86.773
975 | 87.1171
974 | 87.4398
973 | 87.7394
972 | 88.0173
971 | 88.2775
970 | 88.523
969 | 88.7542
968 | 88.9727
967 | 89.1829
966 | 89.3878
965 | 89.5881
964 | 89.7852
963 | 89.9818
962 | 90.1791
961 | 90.3754
960 | 90.5703
959 | 90.7658
958 | 90.9625
957 | 91.1585
956 | 91.3517
955 | 91.5416
954 | 91.7269
953 | 91.9049
952 | 92.0736
951 | 92.2332
950 | 92.3837
949 | 92.5238
948 | 92.6529
947 | 92.7722
946 | 92.8824
945 | 92.9828
944 | 93.0742
943 | 93.1592
942 | 93.2394
941 | 93.3147
940 | 93.3843
939 | 93.4481
938 | 93.5049
937 | 93.5529
936 | 93.592
935 | 93.6249
934 | 93.6535
933 | 93.6777
932 | 93.6966
931 | 93.7103
930 | 93.7184
929 | 93.7194
928 | 93.712
927 | 93.6963
926 | 93.6727
925 | 93.6414
924 | 93.6042
923 | 93.5642
922 | 93.5244
921 | 93.487
920 | 93.4556
919 | 93.4348
918 | 93.4273
917 | 93.432
916 | 93.4464
915 | 93.4685
914 | 93.4953
913 | 93.5221
912 | 93.5453
911 | 93.5628
910 | 93.5727
909 | 93.5717
908 | 93.5569
907 | 93.5276
906 | 93.485
905 | 93.4324
904 | 93.3761
903 | 93.3231
902 | 93.2769
901 | 93.2378
900 | 93.2073
899 | 93.1899
898 | 93.189
897 | 93.2058
896 | 93.2413
895 | 93.2967
894 | 93.3708
893 | 93.4583
892 | 93.5544
891 | 93.6564
890 | 93.762
889 | 93.867
888 | 93.9671
887 | 94.0596
886 | 94.1414
885 | 94.2102
884 | 94.2667
883 | 94.313
882 | 94.3491
881 | 94.3715
880 | 94.3785
879 | 94.3744
878 | 94.3664
877 | 94.3625
876 | 94.3713
875 | 94.4017
874 | 94.4587
873 | 94.5407
872 | 94.6414
871 | 94.7521
870 | 94.8626
869 | 94.963
868 | 95.049
867 | 95.1222
866 | 95.1855
865 | 95.2393
864 | 95.2834
863 | 95.3192
862 | 95.3493
861 | 95.3761
860 | 95.4018
859 | 95.4276
858 | 95.4508
857 | 95.466
856 | 95.4697
855 | 95.4641
854 | 95.4543
853 | 95.4436
852 | 95.4343
851 | 95.427
850 | 95.4206
849 | 95.4121
848 | 95.3992
847 | 95.3822
846 | 95.3629
845 | 95.3433
844 | 95.3257
843 | 95.3107
842 | 95.2946
841 | 95.2725
840 | 95.2446
839 | 95.2161
838 | 95.1919
837 | 95.1715
836 | 95.1525
835 | 95.1343
834 | 95.1176
833 | 95.1026
832 | 95.0901
831 | 95.0815
830 | 95.0767
829 | 95.073
828 | 95.0684
827 | 95.0634
826 | 95.0587
825 | 95.0528
824 | 95.0449
823 | 95.0366
822 | 95.0293
821 | 95.0229
820 | 95.0171
819 | 95.0121
818 | 95.0074
817 | 95.0021
816 | 94.9976
815 | 94.9967
814 | 94.9977
813 | 94.9956
812 | 94.9879
811 | 94.9776
810 | 94.9675
809 | 94.9566
808 | 94.9433
807 | 94.9283
806 | 94.9125
805 | 94.8948
804 | 94.875
803 | 94.8546
802 | 94.8347
801 | 94.8145
800 | 94.7945
799 | 94.7771
798 | 94.7629
797 | 94.7492
796 | 94.7349
795 | 94.7217
794 | 94.7101
793 | 94.6974
792 | 94.6825
791 | 94.6671
790 | 94.6522
789 | 94.6355
788 | 94.6159
787 | 94.595
786 | 94.5729
785 | 94.5476
784 | 94.519
783 | 94.4907
782 | 94.4644
781 | 94.4384
780 | 94.4118
779 | 94.3868
778 | 94.3644
777 | 94.3416
776 | 94.3163
775 | 94.29
774 | 94.2637
773 | 94.2353
772 | 94.2033
771 | 94.1691
770 | 94.1333
769 | 94.0945
768 | 94.0529
767 | 94.0115
766 | 93.9714
765 | 93.9296
764 | 93.8846
763 | 93.8384
762 | 93.7923
761 | 93.7442
760 | 93.6931
759 | 93.642
758 | 93.5929
757 | 93.5436
756 | 93.4927
755 | 93.4419
754 | 93.3918
753 | 93.3398
752 | 93.2847
751 | 93.2303
750 | 93.179
749 | 93.1286
748 | 93.0767
747 | 93.0257
746 | 92.9772
745 | 92.9289
744 | 92.8793
743 | 92.8308
742 | 92.7843
741 | 92.7365
740 | 92.685
739 | 92.6328
738 | 92.5822
737 | 92.5302
736 | 92.4742
735 | 92.4156
734 | 92.3545
733 | 92.2863
732 | 92.2087
731 | 92.1251
730 | 92.0397
729 | 91.9518
728 | 91.8599
727 | 91.7664
726 | 91.6723
725 | 91.5751
724 | 91.4735
723 | 91.3705
722 | 91.2685
721 | 91.1668
720 | 91.0681
719 | 90.9795
718 | 90.9018
717 | 90.8259
716 | 90.7449
715 | 90.6615
714 | 90.5816
713 | 90.5068
712 | 90.4377
711 | 90.3778
710 | 90.3265
709 | 90.2768
708 | 90.2239
707 | 90.1701
706 | 90.1182
705 | 90.0656
704 | 90.0118
703 | 89.9619
702 | 89.9178
701 | 89.8732
700 | 89.8243
699 | 89.7764
698 | 89.7341
697 | 89.6938
696 | 89.652
695 | 89.6126
694 | 89.5779
693 | 89.5421
692 | 89.5015
691 | 89.4603
690 | 89.4204
689 | 89.3748
688 | 89.3205
687 | 89.2648
686 | 89.2093
685 | 89.1419
684 | 89.055
683 | 88.9552
682 | 88.8464
681 | 88.7189
680 | 88.5652
679 | 88.3919
678 | 88.2038
677 | 87.994
676 | 87.7619
675 | 87.5201
674 | 87.2792
673 | 87.0415
672 | 86.8179
671 | 86.6142
670 | 86.4131
669 | 86.1728
668 | 85.9139
667 | 85.7597
666 | 85.7315
665 | 85.7304
664 | 85.7021
663 | 85.6529
662 | 85.6099
661 | 85.5847
660 | 85.5786
659 | 85.6046
658 | 85.6711
657 | 85.7665
656 | 85.8775
655 | 86.0034
654 | 86.1367
653 | 86.253
652 | 86.3361
651 | 86.3934
650 | 86.4363
649 | 86.4615
648 | 86.4648
647 | 86.4557
646 | 86.4418
645 | 86.4161
644 | 86.3763
643 | 86.337
642 | 86.305
641 | 86.2631
640 | 86.2014
639 | 86.143
638 | 86.1097
637 | 86.0846
636 | 86.0419
635 | 85.9874
634 | 85.9346
633 | 85.8701
632 | 85.7822
631 | 85.6975
630 | 85.648
629 | 85.6259
628 | 85.6066
627 | 85.5876
626 | 85.5677
625 | 85.5241
624 | 85.4555
623 | 85.409
622 | 85.416
621 | 85.4473
620 | 85.4833
619 | 85.5604
618 | 85.6881
617 | 85.7979
616 | 85.8343
615 | 85.8299
614 | 85.846
613 | 85.881
612 | 85.889
611 | 85.8592
610 | 85.8286
609 | 85.8344
608 | 85.892
607 | 85.9928
606 | 86.0888
605 | 86.1235
604 | 86.1029
603 | 86.1085
602 | 86.2159
601 | 86.4265
600 | 86.7042

## Sample Details
Setting | Value
Filesname | NH-5
Creation Date
Analyst | mas-storage
X-Axis Units | cm-1
X-Axis start value | 4000
X-Axis end value | 600
Data interval | -1
Number of points | 3401
Y-Axis Units | %T
Description | 7Sample 1316 By mas-storage Date Wednesday, July 28 2021

## Instrument Details
Setting | Value
Instrument Model | Frontier FT-IR
Instrument Serial Number | 91175
Software Revision | CPU32 Main 00.09.9908 05-May-2009 15:52:12
Number of Scans | 32
Resolution | 4
Detector
Source | MIR
Beam Splitter | OptKBr
Apodization | Strong
Spectrum Type | Spectrum
Beam Type | Ratio
Phase Correction | Magnitude
Scan Speed | 1
IGram Type | Double
Scan Driection | Combined
Zero Crossing | 0
JStop | 8.94
IR-Laser Wavenumber | 15798.001999451375
Manufacturer | PIKE Technologies Inc.
Part Number | L1200385
Serial Number | 19250
Description | Miracle Accessory
Default Scan Range | 4000 450
Accessory Type | Miracle ATR
Temperature / °C
Slide Holder Option

## Quality Checks
Setting | Value
Water Vapor | Passed
Carbon Dioxide | Passed
Baseline Low | Passed
Baseline High | Passed
Baseline Slope | Passed
Strong Bands | Passed
Weak Bands | Warning
High Noise | Passed
Fringes | Warning
Vignetting | Passed
Blocked Beam | Passed
Negative Bands | Passed
Zero Transmission | Passed
Stray Light | Passed
Window Cuttoff | Passed