## Data
Wavelength / cm-1 | Transmittance / % | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1
4000 | 101.366 |  | Baseline @ 1105 |  | Baseline @ 1735 |  | Baseline @ 2900 |  | Peak @ 1105 |  | Peak @ 1735 |  | Peak @ 2900
3999 | 101.367 | 850 | 94.3782 | 1530 | 99.2409 | 2670 | 100.6271 | 1105 | 84.3205 | 1735 | 97.9332 | 2900 | 97.8139
3998 | 101.3678 | 1190 | 95.8554 | 1780 | 100.7891 | 3010 | 99.9618 | 1105 | 95.4861 | 1735 | 100.5104 | 2900 | 100.1771
3997 | 101.3679
3996 | 101.3674
3995 | 101.3663
3994 | 101.3656
3993 | 101.3658
3992 | 101.3667
3991 | 101.3677
3990 | 101.3685
3989 | 101.369
3988 | 101.3689
3987 | 101.368
3986 | 101.3672
3985 | 101.3677
3984 | 101.3698
3983 | 101.3727
3982 | 101.3755
3981 | 101.3782
3980 | 101.3799
3979 | 101.3798
3978 | 101.3777
3977 | 101.3754 |  |  | Baseline range |  |  | Transmittance |  |  |  | Equation of base line |  |  | Transmittance at peak value wavelength | Peak Intensity |  | Ratio
3976 | 101.3743 |  | Peak value
3975 | 101.3749 |  | Wavelength
3974 | 101.376 |  | x1 | x2 | x3 |  | y1 | y2 | y3 |  | m | c
3973 | 101.3766 | [15 empty] | Lyceum
3972 | 101.3765 |  | 1105 | 850 | 1190 |  | 84.3205 | 94.3782 | 95.8554 |  | 0.0043449 | 90.685 |  | 95.4861 | 11.1656 | R1 | 0.23082
3971 | 101.3758 |  | 1735 | 1530 | 1780 |  | 97.9332 | 99.2409 | 100.7891 |  | 0.006193 | 89.7657 |  | 100.5104 | 2.5773 | R2 | 1.0906
3970 | 101.3755 |  | 2900 | 2670 | 3010 |  | 97.8139 | 100.6271 | 99.9618 |  | -0.0019568 | 105.8518 |  | 100.1771 | 2.3632
3969 | 101.3758
3968 | 101.3759 |  | From paper
3967 | 101.3745 |  | 1105 | 765 | 1185
3966 | 101.3716 |  | 1735 | 1485 | 1780
3965 | 101.3687 |  | 2900 | 2630 | 3000
3964 | 101.3677
3963 | 101.3691
3962 | 101.3728
3961 | 101.3777
3960 | 101.382
3959 | 101.3835
3958 | 101.3821
3957 | 101.3793
3956 | 101.3764
3955 | 101.3735
3954 | 101.3704
3953 | 101.3674
3952 | 101.3654
3951 | 101.3654
3950 | 101.3682
3949 | 101.3734
3948 | 101.3786
3947 | 101.3809
3946 | 101.3799
3945 | 101.3779
3944 | 101.3778
3943 | 101.3815
3942 | 101.3879
3941 | 101.3936
3940 | 101.3949
3939 | 101.3908
3938 | 101.3838
3937 | 101.3776
3936 | 101.3738
3935 | 101.3723
3934 | 101.3733
3933 | 101.3786
3932 | 101.3882
3931 | 101.3971
3930 | 101.3999
3929 | 101.3958
3928 | 101.3892
3927 | 101.3847
3926 | 101.383
3925 | 101.3839
3924 | 101.387
3923 | 101.3895
3922 | 101.388
3921 | 101.3824
3920 | 101.3779
3919 | 101.3792
3918 | 101.3859
3917 | 101.3939
3916 | 101.4
3915 | 101.4031
3914 | 101.4033
3913 | 101.4015
3912 | 101.3992
3911 | 101.3971
3910 | 101.3935
3909 | 101.3868
3908 | 101.378
3907 | 101.3698
3906 | 101.3644
3905 | 101.3625
3904 | 101.3653
3903 | 101.3729
3902 | 101.3831
3901 | 101.3929
3900 | 101.4005
3899 | 101.4066
3898 | 101.4109
3897 | 101.4108
3896 | 101.4053
3895 | 101.3977
3894 | 101.3936
3893 | 101.3952
3892 | 101.3989
3891 | 101.4003
3890 | 101.3988
3889 | 101.3971
3888 | 101.3961
3887 | 101.3928
3886 | 101.3884
3885 | 101.3869
3884 | 101.3859
3883 | 101.3803
3882 | 101.3726
3881 | 101.3719
3880 | 101.3824
3879 | 101.3963
3878 | 101.403
3877 | 101.4003
3876 | 101.3911
3875 | 101.3796
3874 | 101.372
3873 | 101.373
3872 | 101.379
3871 | 101.3819
3870 | 101.3825
3869 | 101.3877
3868 | 101.3954
3867 | 101.3951
3866 | 101.3837
3865 | 101.373
3864 | 101.3766
3863 | 101.39
3862 | 101.3992
3861 | 101.4003
3860 | 101.3987
3859 | 101.4003
3858 | 101.4081
3857 | 101.4221
3856 | 101.434
3855 | 101.4301
3854 | 101.4194
3853 | 101.4245
3852 | 101.4374
3851 | 101.4371
3850 | 101.4226
3849 | 101.4055
3848 | 101.3944
3847 | 101.3887
3846 | 101.3829
3845 | 101.375
3844 | 101.3676
3843 | 101.3647
3842 | 101.3684
3841 | 101.3759
3840 | 101.3811
3839 | 101.3824
3838 | 101.3825
3837 | 101.3841
3836 | 101.3863
3835 | 101.3883
3834 | 101.3903
3833 | 101.3913
3832 | 101.3907
3831 | 101.3893
3830 | 101.3878
3829 | 101.3863
3828 | 101.3839
3827 | 101.3793
3826 | 101.374
3825 | 101.3719
3824 | 101.3723
3823 | 101.3693
3822 | 101.3606
3821 | 101.3565
3820 | 101.3642
3819 | 101.3773
3818 | 101.3862
3817 | 101.3855
3816 | 101.3838
3815 | 101.3911
3814 | 101.4016
3813 | 101.4033
3812 | 101.3954
3811 | 101.3877
3810 | 101.3877
3809 | 101.3908
3808 | 101.3876
3807 | 101.3787
3806 | 101.3727
3805 | 101.373
3804 | 101.3756
3803 | 101.3717
3802 | 101.3614
3801 | 101.3569
3800 | 101.3603
3799 | 101.3623
3798 | 101.3594
3797 | 101.3568
3796 | 101.3611
3795 | 101.3713
3794 | 101.3798
3793 | 101.3816
3792 | 101.3794
3791 | 101.3773
3790 | 101.3755
3789 | 101.372
3788 | 101.3679
3787 | 101.3665
3786 | 101.3684
3785 | 101.371
3784 | 101.3712
3783 | 101.3678
3782 | 101.3606
3781 | 101.3508
3780 | 101.3428
3779 | 101.342
3778 | 101.3481
3777 | 101.3552
3776 | 101.3577
3775 | 101.3557
3774 | 101.3535
3773 | 101.3537
3772 | 101.3532
3771 | 101.3475
3770 | 101.3391
3769 | 101.3337
3768 | 101.3331
3767 | 101.3353
3766 | 101.3379
3765 | 101.3401
3764 | 101.3419
3763 | 101.3404
3762 | 101.3323
3761 | 101.3205
3760 | 101.314
3759 | 101.3167
3758 | 101.321
3757 | 101.3211
3756 | 101.3206
3755 | 101.3231
3754 | 101.3246
3753 | 101.319
3752 | 101.3102
3751 | 101.3055
3750 | 101.3008
3749 | 101.2907
3748 | 101.2836
3747 | 101.2895
3746 | 101.2993
3745 | 101.3036
3744 | 101.3111
3743 | 101.3186
3742 | 101.3104
3741 | 101.2859
3740 | 101.2584
3739 | 101.2405
3738 | 101.2332
3737 | 101.2322
3736 | 101.24
3735 | 101.2581
3734 | 101.2758
3733 | 101.2791
3732 | 101.2683
3731 | 101.2545
3730 | 101.2452
3729 | 101.2404
3728 | 101.2369
3727 | 101.2355
3726 | 101.2394
3725 | 101.246
3724 | 101.2488
3723 | 101.2463
3722 | 101.2433
3721 | 101.2439
3720 | 101.2474
3719 | 101.2509
3718 | 101.251
3717 | 101.2485
3716 | 101.2468
3715 | 101.2457
3714 | 101.2406
3713 | 101.2283
3712 | 101.2127
3711 | 101.2003
3710 | 101.1931
3709 | 101.1895
3708 | 101.1873
3707 | 101.185
3706 | 101.1822
3705 | 101.1789
3704 | 101.1751
3703 | 101.1712
3702 | 101.1683
3701 | 101.1659
3700 | 101.1631
3699 | 101.1598
3698 | 101.1564
3697 | 101.1534
3696 | 101.1523
3695 | 101.1526
3694 | 101.1512
3693 | 101.1478
3692 | 101.1452
3691 | 101.1446
3690 | 101.1437
3689 | 101.141
3688 | 101.1378
3687 | 101.1348
3686 | 101.1321
3685 | 101.1282
3684 | 101.1226
3683 | 101.1175
3682 | 101.1133
3681 | 101.107
3680 | 101.0983
3679 | 101.0923
3678 | 101.0904
3677 | 101.0831
3676 | 101.0681
3675 | 101.0561
3674 | 101.0481
3673 | 101.0382
3672 | 101.0254
3671 | 101.0123
3670 | 101.0068
3669 | 101.0089
3668 | 101.0062
3667 | 100.9944
3666 | 100.9811
3665 | 100.9726
3664 | 100.9688
3663 | 100.9653
3662 | 100.9575
3661 | 100.9446
3660 | 100.93
3659 | 100.9166
3658 | 100.9038
3657 | 100.8885
3656 | 100.8708
3655 | 100.8527
3654 | 100.8364
3653 | 100.8229
3652 | 100.8088
3651 | 100.7906
3650 | 100.7712
3649 | 100.7544
3648 | 100.7385
3647 | 100.7224
3646 | 100.7077
3645 | 100.6954
3644 | 100.6847
3643 | 100.6744
3642 | 100.6642
3641 | 100.6538
3640 | 100.6413
3639 | 100.6251
3638 | 100.6067
3637 | 100.5894
3636 | 100.5734
3635 | 100.556
3634 | 100.5372
3633 | 100.5213
3632 | 100.5106
3631 | 100.4979
3630 | 100.4739
3629 | 100.4438
3628 | 100.4171
3627 | 100.3925
3626 | 100.3687
3625 | 100.3489
3624 | 100.3354
3623 | 100.3265
3622 | 100.3169
3621 | 100.3004
3620 | 100.2765
3619 | 100.2497
3618 | 100.2238
3617 | 100.2018
3616 | 100.1863
3615 | 100.1765
3614 | 100.1683
3613 | 100.1588
3612 | 100.1472
3611 | 100.1331
3610 | 100.1158
3609 | 100.096
3608 | 100.0755
3607 | 100.0558
3606 | 100.0368
3605 | 100.0198
3604 | 100.0066
3603 | 99.9968
3602 | 99.9864
3601 | 99.9715
3600 | 99.9528
3599 | 99.934
3598 | 99.9179
3597 | 99.9052
3596 | 99.8942
3595 | 99.882
3594 | 99.8672
3593 | 99.8511
3592 | 99.8371
3591 | 99.8273
3590 | 99.8192
3589 | 99.8082
3588 | 99.7916
3587 | 99.7702
3586 | 99.7461
3585 | 99.7228
3584 | 99.7031
3583 | 99.6871
3582 | 99.6722
3581 | 99.6559
3580 | 99.6378
3579 | 99.619
3578 | 99.6002
3577 | 99.5815
3576 | 99.5634
3575 | 99.5461
3574 | 99.5286
3573 | 99.5099
3572 | 99.4901
3571 | 99.4707
3570 | 99.4514
3569 | 99.4288
3568 | 99.3993
3567 | 99.3635
3566 | 99.3256
3565 | 99.2914
3564 | 99.2653
3563 | 99.247
3562 | 99.2331
3561 | 99.2195
3560 | 99.2034
3559 | 99.1839
3558 | 99.1614
3557 | 99.1375
3556 | 99.1141
3555 | 99.0917
3554 | 99.0685
3553 | 99.0417
3552 | 99.0119
3551 | 98.9828
3550 | 98.9586
3549 | 98.9402
3548 | 98.925
3547 | 98.9091
3546 | 98.889
3545 | 98.8646
3544 | 98.8398
3543 | 98.8194
3542 | 98.8047
3541 | 98.7935
3540 | 98.7826
3539 | 98.7693
3538 | 98.7525
3537 | 98.7325
3536 | 98.7117
3535 | 98.6933
3534 | 98.6789
3533 | 98.6675
3532 | 98.6564
3531 | 98.643
3530 | 98.6257
3529 | 98.6051
3528 | 98.5839
3527 | 98.5655
3526 | 98.5514
3525 | 98.5402
3524 | 98.5293
3523 | 98.5169
3522 | 98.5031
3521 | 98.4891
3520 | 98.4758
3519 | 98.463
3518 | 98.4501
3517 | 98.4369
3516 | 98.4239
3515 | 98.4105
3514 | 98.3961
3513 | 98.3802
3512 | 98.363
3511 | 98.3444
3510 | 98.3243
3509 | 98.3038
3508 | 98.2854
3507 | 98.2711
3506 | 98.26
3505 | 98.2479
3504 | 98.2312
3503 | 98.2096
3502 | 98.1863
3501 | 98.1656
3500 | 98.15
3499 | 98.138
3498 | 98.1252
3497 | 98.1079
3496 | 98.0855
3495 | 98.0603
3494 | 98.0355
3493 | 98.0135
3492 | 97.9948
3491 | 97.9785
3490 | 97.9628
3489 | 97.9462
3488 | 97.9281
3487 | 97.9084
3486 | 97.8872
3485 | 97.8651
3484 | 97.843
3483 | 97.8211
3482 | 97.799
3481 | 97.7763
3480 | 97.7536
3479 | 97.7322
3478 | 97.7124
3477 | 97.6934
3476 | 97.6737
3475 | 97.6523
3474 | 97.629
3473 | 97.6051
3472 | 97.5822
3471 | 97.5614
3470 | 97.5422
3469 | 97.5232
3468 | 97.5031
3467 | 97.481
3466 | 97.457
3465 | 97.4323
3464 | 97.4077
3463 | 97.3831
3462 | 97.3583
3461 | 97.3334
3460 | 97.3091
3459 | 97.2855
3458 | 97.2614
3457 | 97.2356
3456 | 97.2088
3455 | 97.1823
3454 | 97.1572
3453 | 97.1336
3452 | 97.1115
3451 | 97.0909
3450 | 97.0703
3449 | 97.0469
3448 | 97.0179
3447 | 96.9846
3446 | 96.9511
3445 | 96.9218
3444 | 96.8972
3443 | 96.8736
3442 | 96.8466
3441 | 96.8157
3440 | 96.7841
3439 | 96.7556
3438 | 96.7313
3437 | 96.7093
3436 | 96.6871
3435 | 96.6629
3434 | 96.6357
3433 | 96.6059
3432 | 96.5754
3431 | 96.5462
3430 | 96.5188
3429 | 96.492
3428 | 96.4649
3427 | 96.4376
3426 | 96.4108
3425 | 96.385
3424 | 96.3595
3423 | 96.3325
3422 | 96.3019
3421 | 96.2677
3420 | 96.2325
3419 | 96.1995
3418 | 96.1701
3417 | 96.1436
3416 | 96.1183
3415 | 96.0928
3414 | 96.0664
3413 | 96.0396
3412 | 96.0132
3411 | 95.9882
3410 | 95.9642
3409 | 95.9402
3408 | 95.9163
3407 | 95.893
3406 | 95.8709
3405 | 95.8503
3404 | 95.831
3403 | 95.8124
3402 | 95.7939
3401 | 95.7761
3400 | 95.7605
3399 | 95.7477
3398 | 95.7364
3397 | 95.7249
3396 | 95.7129
3395 | 95.7004
3394 | 95.6868
3393 | 95.6712
3392 | 95.6544
3391 | 95.6391
3390 | 95.6274
3389 | 95.6192
3388 | 95.6124
3387 | 95.6042
3386 | 95.5936
3385 | 95.581
3384 | 95.5675
3383 | 95.5539
3382 | 95.5401
3381 | 95.5262
3380 | 95.5126
3379 | 95.4994
3378 | 95.4861
3377 | 95.4725
3376 | 95.4584
3375 | 95.444
3374 | 95.4291
3373 | 95.4139
3372 | 95.3987
3371 | 95.3837
3370 | 95.3691
3369 | 95.3546
3368 | 95.3401
3367 | 95.325
3366 | 95.3089
3365 | 95.2926
3364 | 95.2773
3363 | 95.2633
3362 | 95.2494
3361 | 95.2349
3360 | 95.22
3359 | 95.2053
3358 | 95.1903
3357 | 95.1744
3356 | 95.158
3355 | 95.1418
3354 | 95.1266
3353 | 95.1129
3352 | 95.1008
3351 | 95.0901
3350 | 95.0803
3349 | 95.0709
3348 | 95.0616
3347 | 95.0518
3346 | 95.0415
3345 | 95.0312
3344 | 95.022
3343 | 95.0145
3342 | 95.0081
3341 | 95.002
3340 | 94.997
3339 | 94.9942
3338 | 94.9941
3337 | 94.996
3336 | 94.9993
3335 | 95.0033
3334 | 95.0081
3333 | 95.0141
3332 | 95.022
3331 | 95.0318
3330 | 95.0421
3329 | 95.0518
3328 | 95.0608
3327 | 95.07
3326 | 95.0799
3325 | 95.0905
3324 | 95.1015
3323 | 95.112
3322 | 95.1214
3321 | 95.1304
3320 | 95.14
3319 | 95.1506
3318 | 95.1612
3317 | 95.1713
3316 | 95.1809
3315 | 95.1901
3314 | 95.198
3313 | 95.2041
3312 | 95.209
3311 | 95.2133
3310 | 95.2168
3309 | 95.2189
3308 | 95.2198
3307 | 95.221
3306 | 95.2234
3305 | 95.2268
3304 | 95.2302
3303 | 95.2329
3302 | 95.235
3301 | 95.2367
3300 | 95.2381
3299 | 95.239
3298 | 95.2394
3297 | 95.2406
3296 | 95.2441
3295 | 95.2499
3294 | 95.2567
3293 | 95.263
3292 | 95.2688
3291 | 95.2743
3290 | 95.2797
3289 | 95.2852
3288 | 95.2911
3287 | 95.2976
3286 | 95.3047
3285 | 95.3123
3284 | 95.3208
3283 | 95.3303
3282 | 95.3407
3281 | 95.3519
3280 | 95.3643
3279 | 95.3778
3278 | 95.3918
3277 | 95.4056
3276 | 95.419
3275 | 95.4326
3274 | 95.4473
3273 | 95.4632
3272 | 95.4807
3271 | 95.4998
3270 | 95.5202
3269 | 95.5418
3268 | 95.5644
3267 | 95.5873
3266 | 95.61
3265 | 95.6322
3264 | 95.6545
3263 | 95.6768
3262 | 95.6989
3261 | 95.7205
3260 | 95.7421
3259 | 95.7642
3258 | 95.787
3257 | 95.8096
3256 | 95.8315
3255 | 95.8528
3254 | 95.8745
3253 | 95.8976
3252 | 95.9226
3251 | 95.9484
3250 | 95.9737
3249 | 95.998
3248 | 96.0218
3247 | 96.0451
3246 | 96.0676
3245 | 96.0897
3244 | 96.112
3243 | 96.1351
3242 | 96.1585
3241 | 96.1818
3240 | 96.2051
3239 | 96.2283
3238 | 96.2507
3237 | 96.2722
3236 | 96.294
3235 | 96.317
3234 | 96.3411
3233 | 96.3654
3232 | 96.3896
3231 | 96.4137
3230 | 96.4375
3229 | 96.4607
3228 | 96.4832
3227 | 96.5052
3226 | 96.5268
3225 | 96.5489
3224 | 96.5728
3223 | 96.5987
3222 | 96.6254
3221 | 96.6513
3220 | 96.6758
3219 | 96.6993
3218 | 96.7226
3217 | 96.7465
3216 | 96.7707
3215 | 96.7942
3214 | 96.8163
3213 | 96.8373
3212 | 96.8588
3211 | 96.8817
3210 | 96.9056
3209 | 96.9298
3208 | 96.9543
3207 | 96.9795
3206 | 97.0049
3205 | 97.0294
3204 | 97.0528
3203 | 97.0756
3202 | 97.0985
3201 | 97.1217
3200 | 97.1447
3199 | 97.1672
3198 | 97.1888
3197 | 97.2099
3196 | 97.2314
3195 | 97.2541
3194 | 97.2781
3193 | 97.3033
3192 | 97.3296
3191 | 97.3556
3190 | 97.3798
3189 | 97.4017
3188 | 97.4226
3187 | 97.4439
3186 | 97.466
3185 | 97.4884
3184 | 97.511
3183 | 97.534
3182 | 97.5571
3181 | 97.58
3180 | 97.6025
3179 | 97.6243
3178 | 97.6453
3177 | 97.6659
3176 | 97.6875
3175 | 97.711
3174 | 97.7362
3173 | 97.762
3172 | 97.7877
3171 | 97.8125
3170 | 97.8352
3169 | 97.8558
3168 | 97.8759
3167 | 97.8973
3166 | 97.9202
3165 | 97.9435
3164 | 97.9666
3163 | 97.9896
3162 | 98.0126
3161 | 98.0353
3160 | 98.0576
3159 | 98.0798
3158 | 98.1017
3157 | 98.1231
3156 | 98.1448
3155 | 98.1674
3154 | 98.1907
3153 | 98.2137
3152 | 98.236
3151 | 98.2582
3150 | 98.2809
3149 | 98.3038
3148 | 98.326
3147 | 98.3466
3146 | 98.3658
3145 | 98.3852
3144 | 98.4061
3143 | 98.4283
3142 | 98.4503
3141 | 98.4715
3140 | 98.4927
3139 | 98.5147
3138 | 98.5365
3137 | 98.5568
3136 | 98.5752
3135 | 98.5929
3134 | 98.6108
3133 | 98.6296
3132 | 98.6496
3131 | 98.6708
3130 | 98.6919
3129 | 98.7116
3128 | 98.7298
3127 | 98.7477
3126 | 98.7662
3125 | 98.7852
3124 | 98.8048
3123 | 98.8252
3122 | 98.8466
3121 | 98.8684
3120 | 98.8898
3119 | 98.91
3118 | 98.9286
3117 | 98.9455
3116 | 98.9611
3115 | 98.9763
3114 | 98.9916
3113 | 99.0076
3112 | 99.0248
3111 | 99.0435
3110 | 99.0627
3109 | 99.0814
3108 | 99.0992
3107 | 99.1165
3106 | 99.1332
3105 | 99.1496
3104 | 99.1661
3103 | 99.1831
3102 | 99.2002
3101 | 99.2163
3100 | 99.2311
3099 | 99.2457
3098 | 99.2606
3097 | 99.2757
3096 | 99.2901
3095 | 99.3033
3094 | 99.3158
3093 | 99.3282
3092 | 99.3413
3091 | 99.3549
3090 | 99.3685
3089 | 99.3815
3088 | 99.3944
3087 | 99.4081
3086 | 99.4228
3085 | 99.4381
3084 | 99.4531
3083 | 99.4668
3082 | 99.4783
3081 | 99.4883
3080 | 99.4982
3079 | 99.5092
3078 | 99.5206
3077 | 99.5315
3076 | 99.5421
3075 | 99.5532
3074 | 99.5644
3073 | 99.575
3072 | 99.5849
3071 | 99.595
3070 | 99.6055
3069 | 99.6162
3068 | 99.627
3067 | 99.6381
3066 | 99.6489
3065 | 99.6586
3064 | 99.6674
3063 | 99.6764
3062 | 99.6862
3061 | 99.6969
3060 | 99.7083
3059 | 99.7199
3058 | 99.7302
3057 | 99.7382
3056 | 99.7452
3055 | 99.7532
3054 | 99.7627
3053 | 99.7724
3052 | 99.7813
3051 | 99.7892
3050 | 99.7964
3049 | 99.8035
3048 | 99.8114
3047 | 99.8209
3046 | 99.831
3045 | 99.8399
3044 | 99.8467
3043 | 99.8522
3042 | 99.8572
3041 | 99.862
3040 | 99.8669
3039 | 99.8722
3038 | 99.8779
3037 | 99.8836
3036 | 99.8893
3035 | 99.8951
3034 | 99.9006
3033 | 99.9053
3032 | 99.9094
3031 | 99.9139
3030 | 99.9192
3029 | 99.9247
3028 | 99.9298
3027 | 99.934
3026 | 99.9368
3025 | 99.9378
3024 | 99.938
3023 | 99.9391
3022 | 99.9421
3021 | 99.946
3020 | 99.9498
3019 | 99.9529
3018 | 99.9548
3017 | 99.9556
3016 | 99.956
3015 | 99.9572
3014 | 99.9595
3013 | 99.9619
3012 | 99.9633
3011 | 99.9633
3010 | 99.9618
3009 | 99.9594
3008 | 99.9566
3007 | 99.9541
3006 | 99.9516
3005 | 99.9486
3004 | 99.945
3003 | 99.9417
3002 | 99.9399
3001 | 99.9397
3000 | 99.9405
2999 | 99.9411
2998 | 99.94
2997 | 99.9364
2996 | 99.931
2995 | 99.9248
2994 | 99.9187
2993 | 99.9127
2992 | 99.9063
2991 | 99.8985
2990 | 99.8882
2989 | 99.8753
2988 | 99.8607
2987 | 99.8455
2986 | 99.8295
2985 | 99.8123
2984 | 99.7934
2983 | 99.7726
2982 | 99.7494
2981 | 99.7235
2980 | 99.6953
2979 | 99.6647
2978 | 99.631
2977 | 99.5936
2976 | 99.5529
2975 | 99.5093
2974 | 99.4625
2973 | 99.4118
2972 | 99.3574
2971 | 99.3
2970 | 99.2398
2969 | 99.1761
2968 | 99.1099
2967 | 99.0424
2966 | 98.9745
2965 | 98.9062
2964 | 98.8383
2963 | 98.7722
2962 | 98.7098
2961 | 98.6518
2960 | 98.5987
2959 | 98.5508
2958 | 98.508
2957 | 98.4706
2956 | 98.4393
2955 | 98.4143
2954 | 98.3949
2953 | 98.3797
2952 | 98.3686
2951 | 98.3612
2950 | 98.3563
2949 | 98.3506
2948 | 98.3414
2947 | 98.3267
2946 | 98.3054
2945 | 98.2763
2944 | 98.2392
2943 | 98.1946
2942 | 98.1433
2941 | 98.0858
2940 | 98.022
2939 | 97.9514
2938 | 97.874
2937 | 97.7903
2936 | 97.7017
2935 | 97.6101
2934 | 97.5172
2933 | 97.4246
2932 | 97.3329
2931 | 97.242
2930 | 97.1516
2929 | 97.0631
2928 | 96.9797
2927 | 96.9049
2926 | 96.8415
2925 | 96.792
2924 | 96.7601
2923 | 96.7483
2922 | 96.7562
2921 | 96.7802
2920 | 96.8163
2919 | 96.8628
2918 | 96.9201
2917 | 96.9889
2916 | 97.0674
2915 | 97.1511
2914 | 97.2343
2913 | 97.3124
2912 | 97.383
2911 | 97.4451
2910 | 97.4993
2909 | 97.5467
2908 | 97.5889
2907 | 97.6267
2906 | 97.6599
2905 | 97.6887
2904 | 97.7141
2903 | 97.7379
2902 | 97.7618
2901 | 97.7869
2900 | 97.8139
2899 | 97.8428
2898 | 97.8729
2897 | 97.9036
2896 | 97.9353
2895 | 97.968
2894 | 98.0017
2893 | 98.0359
2892 | 98.0706
2891 | 98.1059
2890 | 98.1412
2889 | 98.1758
2888 | 98.2094
2887 | 98.2418
2886 | 98.2723
2885 | 98.2997
2884 | 98.3234
2883 | 98.3428
2882 | 98.3576
2881 | 98.3674
2880 | 98.372
2879 | 98.371
2878 | 98.364
2877 | 98.3514
2876 | 98.3356
2875 | 98.3198
2874 | 98.3061
2873 | 98.2962
2872 | 98.2917
2871 | 98.2943
2870 | 98.3034
2869 | 98.3168
2868 | 98.3316
2867 | 98.3446
2866 | 98.3527
2865 | 98.353
2864 | 98.3445
2863 | 98.3277
2862 | 98.3031
2861 | 98.2713
2860 | 98.2326
2859 | 98.1889
2858 | 98.1424
2857 | 98.0971
2856 | 98.0582
2855 | 98.0314
2854 | 98.0208
2853 | 98.0286
2852 | 98.0567
2851 | 98.1068
2850 | 98.1798
2849 | 98.2741
2848 | 98.3848
2847 | 98.5052
2846 | 98.6282
2845 | 98.7478
2844 | 98.8605
2843 | 98.9645
2842 | 99.0594
2841 | 99.1456
2840 | 99.2242
2839 | 99.2962
2838 | 99.3621
2837 | 99.4222
2836 | 99.4771
2835 | 99.5272
2834 | 99.5727
2833 | 99.6138
2832 | 99.6513
2831 | 99.6862
2830 | 99.719
2829 | 99.7494
2828 | 99.7775
2827 | 99.8038
2826 | 99.8285
2825 | 99.852
2824 | 99.8743
2823 | 99.8952
2822 | 99.9146
2821 | 99.9326
2820 | 99.95
2819 | 99.9668
2818 | 99.982
2817 | 99.9956
2816 | 100.0087
2815 | 100.0228
2814 | 100.0375
2813 | 100.0516
2812 | 100.0644
2811 | 100.0765
2810 | 100.0882
2809 | 100.0991
2808 | 100.1095
2807 | 100.1198
2806 | 100.1307
2805 | 100.1417
2804 | 100.1525
2803 | 100.1625
2802 | 100.1717
2801 | 100.1805
2800 | 100.1896
2799 | 100.1988
2798 | 100.2072
2797 | 100.2138
2796 | 100.2197
2795 | 100.2264
2794 | 100.2343
2793 | 100.2426
2792 | 100.2509
2791 | 100.2589
2790 | 100.2663
2789 | 100.2725
2788 | 100.2778
2787 | 100.2828
2786 | 100.2873
2785 | 100.291
2784 | 100.2941
2783 | 100.2975
2782 | 100.3017
2781 | 100.3063
2780 | 100.3113
2779 | 100.3167
2778 | 100.3223
2777 | 100.3278
2776 | 100.3334
2775 | 100.3391
2774 | 100.3444
2773 | 100.3484
2772 | 100.3512
2771 | 100.3535
2770 | 100.3559
2769 | 100.3584
2768 | 100.3613
2767 | 100.365
2766 | 100.3689
2765 | 100.3717
2764 | 100.3736
2763 | 100.3756
2762 | 100.378
2761 | 100.3806
2760 | 100.3834
2759 | 100.3868
2758 | 100.3905
2757 | 100.3936
2756 | 100.3955
2755 | 100.3966
2754 | 100.3973
2753 | 100.3982
2752 | 100.4
2751 | 100.4036
2750 | 100.4081
2749 | 100.412
2748 | 100.4142
2747 | 100.4151
2746 | 100.4153
2745 | 100.4152
2744 | 100.4152
2743 | 100.4155
2742 | 100.4163
2741 | 100.4172
2740 | 100.4186
2739 | 100.4209
2738 | 100.4239
2737 | 100.4271
2736 | 100.4299
2735 | 100.4318
2734 | 100.4327
2733 | 100.4328
2732 | 100.4332
2731 | 100.4347
2730 | 100.4371
2729 | 100.4398
2728 | 100.443
2727 | 100.4466
2726 | 100.4502
2725 | 100.4529
2724 | 100.4551
2723 | 100.4576
2722 | 100.4606
2721 | 100.4634
2720 | 100.466
2719 | 100.4692
2718 | 100.4736
2717 | 100.4785
2716 | 100.4833
2715 | 100.4873
2714 | 100.4905
2713 | 100.4932
2712 | 100.4964
2711 | 100.5006
2710 | 100.5052
2709 | 100.5092
2708 | 100.5127
2707 | 100.5163
2706 | 100.52
2705 | 100.5236
2704 | 100.5272
2703 | 100.5312
2702 | 100.5356
2701 | 100.5398
2700 | 100.5438
2699 | 100.5477
2698 | 100.5516
2697 | 100.5547
2696 | 100.5576
2695 | 100.5611
2694 | 100.5653
2693 | 100.5694
2692 | 100.5722
2691 | 100.5743
2690 | 100.5764
2689 | 100.5791
2688 | 100.5823
2687 | 100.5856
2686 | 100.5888
2685 | 100.592
2684 | 100.5954
2683 | 100.5991
2682 | 100.6025
2681 | 100.6052
2680 | 100.6074
2679 | 100.6102
2678 | 100.6136
2677 | 100.617
2676 | 100.6198
2675 | 100.6216
2674 | 100.6222
2673 | 100.622
2672 | 100.6223
2671 | 100.6241
2670 | 100.6271
2669 | 100.6303
2668 | 100.633
2667 | 100.6353
2666 | 100.6376
2665 | 100.6398
2664 | 100.6421
2663 | 100.6446
2662 | 100.6469
2661 | 100.6482
2660 | 100.6486
2659 | 100.6489
2658 | 100.6497
2657 | 100.651
2656 | 100.6524
2655 | 100.654
2654 | 100.6558
2653 | 100.6577
2652 | 100.6595
2651 | 100.6612
2650 | 100.6625
2649 | 100.6639
2648 | 100.6657
2647 | 100.6681
2646 | 100.6701
2645 | 100.6711
2644 | 100.6716
2643 | 100.6723
2642 | 100.673
2641 | 100.6734
2640 | 100.6742
2639 | 100.6761
2638 | 100.6785
2637 | 100.6803
2636 | 100.6812
2635 | 100.6821
2634 | 100.6834
2633 | 100.6847
2632 | 100.6861
2631 | 100.6876
2630 | 100.689
2629 | 100.6896
2628 | 100.6899
2627 | 100.6905
2626 | 100.6911
2625 | 100.6912
2624 | 100.6913
2623 | 100.6929
2622 | 100.6961
2621 | 100.6998
2620 | 100.7028
2619 | 100.7049
2618 | 100.7058
2617 | 100.7057
2616 | 100.7055
2615 | 100.7063
2614 | 100.708
2613 | 100.7099
2612 | 100.7118
2611 | 100.7134
2610 | 100.714
2609 | 100.7134
2608 | 100.713
2607 | 100.7141
2606 | 100.7162
2605 | 100.718
2604 | 100.7192
2603 | 100.7205
2602 | 100.722
2601 | 100.7231
2600 | 100.7239
2599 | 100.7247
2598 | 100.7252
2597 | 100.725
2596 | 100.7246
2595 | 100.7255
2594 | 100.7275
2593 | 100.7293
2592 | 100.7306
2591 | 100.7314
2590 | 100.7319
2589 | 100.7321
2588 | 100.7329
2587 | 100.7355
2586 | 100.7387
2585 | 100.7406
2584 | 100.7408
2583 | 100.7407
2582 | 100.7417
2581 | 100.7436
2580 | 100.7456
2579 | 100.7474
2578 | 100.7484
2577 | 100.7484
2576 | 100.7483
2575 | 100.749
2574 | 100.7503
2573 | 100.7511
2572 | 100.7514
2571 | 100.7517
2570 | 100.7523
2569 | 100.7525
2568 | 100.7526
2567 | 100.7535
2566 | 100.7554
2565 | 100.7578
2564 | 100.7603
2563 | 100.7626
2562 | 100.7639
2561 | 100.7637
2560 | 100.7631
2559 | 100.7631
2558 | 100.7635
2557 | 100.7634
2556 | 100.7633
2555 | 100.7638
2554 | 100.7649
2553 | 100.7658
2552 | 100.7666
2551 | 100.7672
2550 | 100.7668
2549 | 100.7655
2548 | 100.765
2547 | 100.7665
2546 | 100.7688
2545 | 100.7702
2544 | 100.7712
2543 | 100.7733
2542 | 100.7761
2541 | 100.7777
2540 | 100.7778
2539 | 100.7777
2538 | 100.7778
2537 | 100.7778
2536 | 100.7781
2535 | 100.779
2534 | 100.7796
2533 | 100.7791
2532 | 100.7786
2531 | 100.7799
2530 | 100.7824
2529 | 100.7841
2528 | 100.7849
2527 | 100.7862
2526 | 100.7888
2525 | 100.7915
2524 | 100.7934
2523 | 100.7946
2522 | 100.7945
2521 | 100.7927
2520 | 100.79
2519 | 100.7884
2518 | 100.7883
2517 | 100.7886
2516 | 100.789
2515 | 100.7901
2514 | 100.7921
2513 | 100.794
2512 | 100.7958
2511 | 100.7976
2510 | 100.7992
2509 | 100.8003
2508 | 100.8021
2507 | 100.8058
2506 | 100.8103
2505 | 100.8134
2504 | 100.8145
2503 | 100.8151
2502 | 100.8161
2501 | 100.817
2500 | 100.8179
2499 | 100.8201
2498 | 100.8232
2497 | 100.826
2496 | 100.8282
2495 | 100.8308
2494 | 100.8339
2493 | 100.8368
2492 | 100.8388
2491 | 100.8403
2490 | 100.8414
2489 | 100.8421
2488 | 100.843
2487 | 100.845
2486 | 100.8477
2485 | 100.8499
2484 | 100.8515
2483 | 100.853
2482 | 100.8546
2481 | 100.8557
2480 | 100.8566
2479 | 100.858
2478 | 100.8594
2477 | 100.86
2476 | 100.8608
2475 | 100.8633
2474 | 100.867
2473 | 100.8696
2472 | 100.8704
2471 | 100.8712
2470 | 100.8731
2469 | 100.8759
2468 | 100.8786
2467 | 100.8811
2466 | 100.8832
2465 | 100.8847
2464 | 100.8867
2463 | 100.8898
2462 | 100.8929
2461 | 100.8942
2460 | 100.8938
2459 | 100.8936
2458 | 100.8945
2457 | 100.8959
2456 | 100.8973
2455 | 100.8983
2454 | 100.8983
2453 | 100.8972
2452 | 100.8965
2451 | 100.8979
2450 | 100.9007
2449 | 100.903
2448 | 100.9039
2447 | 100.9045
2446 | 100.9054
2445 | 100.9067
2444 | 100.9089
2443 | 100.9124
2442 | 100.9159
2441 | 100.9175
2440 | 100.9176
2439 | 100.918
2438 | 100.9198
2437 | 100.922
2436 | 100.9242
2435 | 100.9265
2434 | 100.9283
2433 | 100.9288
2432 | 100.9283
2431 | 100.9281
2430 | 100.9287
2429 | 100.9299
2428 | 100.9319
2427 | 100.9352
2426 | 100.9383
2425 | 100.9395
2424 | 100.9394
2423 | 100.9403
2422 | 100.9423
2421 | 100.9443
2420 | 100.9457
2419 | 100.9473
2418 | 100.9496
2417 | 100.9518
2416 | 100.9537
2415 | 100.9558
2414 | 100.9579
2413 | 100.9591
2412 | 100.9598
2411 | 100.9614
2410 | 100.964
2409 | 100.9666
2408 | 100.9688
2407 | 100.971
2406 | 100.9731
2405 | 100.9744
2404 | 100.9754
2403 | 100.9769
2402 | 100.9788
2401 | 100.9801
2400 | 100.9808
2399 | 100.9817
2398 | 100.9825
2397 | 100.9828
2396 | 100.9829
2395 | 100.9838
2394 | 100.9852
2393 | 100.9862
2392 | 100.9868
2391 | 100.9881
2390 | 100.9898
2389 | 100.9909
2388 | 100.9913
2387 | 100.9913
2386 | 100.9901
2385 | 100.9862
2384 | 100.9798
2383 | 100.9724
2382 | 100.9651
2381 | 100.9577
2380 | 100.9503
2379 | 100.9435
2378 | 100.9365
2377 | 100.9286
2376 | 100.9211
2375 | 100.9167
2374 | 100.9154
2373 | 100.9149
2372 | 100.9143
2371 | 100.9151
2370 | 100.9175
2369 | 100.9191
2368 | 100.9189
2367 | 100.9185
2366 | 100.9181
2365 | 100.915
2364 | 100.9089
2363 | 100.9036
2362 | 100.8999
2361 | 100.8961
2360 | 100.8935
2359 | 100.893
2358 | 100.8934
2357 | 100.8922
2356 | 100.89
2355 | 100.8907
2354 | 100.8917
2353 | 100.8901
2352 | 100.8874
2351 | 100.8914
2350 | 100.9019
2349 | 100.905
2348 | 100.8895
2347 | 100.8547
2346 | 100.8128
2345 | 100.7795
2344 | 100.7625
2343 | 100.7619
2342 | 100.7673
2341 | 100.7755
2340 | 100.7894
2339 | 100.8136
2338 | 100.8476
2337 | 100.8833
2336 | 100.9148
2335 | 100.9382
2334 | 100.954
2333 | 100.9614
2332 | 100.965
2331 | 100.9677
2330 | 100.9726
2329 | 100.9745
2328 | 100.9765
2327 | 100.978
2326 | 100.9802
2325 | 100.9804
2324 | 100.9802
2323 | 100.9844
2322 | 100.9918
2321 | 100.9992
2320 | 101.0041
2319 | 101.0082
2318 | 101.0134
2317 | 101.0172
2316 | 101.0199
2315 | 101.0201
2314 | 101.0195
2313 | 101.0162
2312 | 101.0145
2311 | 101.0153
2310 | 101.0198
2309 | 101.0231
2308 | 101.0259
2307 | 101.0285
2306 | 101.0321
2305 | 101.0338
2304 | 101.0338
2303 | 101.0331
2302 | 101.034
2301 | 101.0352
2300 | 101.0372
2299 | 101.0392
2298 | 101.0409
2297 | 101.0398
2296 | 101.0377
2295 | 101.037
2294 | 101.0391
2293 | 101.0416
2292 | 101.0432
2291 | 101.0442
2290 | 101.0449
2289 | 101.0444
2288 | 101.043
2287 | 101.0422
2286 | 101.0424
2285 | 101.0426
2284 | 101.0429
2283 | 101.0438
2282 | 101.0444
2281 | 101.043
2280 | 101.0403
2279 | 101.0387
2278 | 101.0387
2277 | 101.038
2276 | 101.036
2275 | 101.0346
2274 | 101.0349
2273 | 101.0361
2272 | 101.0373
2271 | 101.0386
2270 | 101.0391
2269 | 101.038
2268 | 101.0366
2267 | 101.0363
2266 | 101.0361
2265 | 101.0334
2264 | 101.0291
2263 | 101.027
2262 | 101.0281
2261 | 101.0299
2260 | 101.0305
2259 | 101.0301
2258 | 101.0284
2257 | 101.0254
2256 | 101.023
2255 | 101.0241
2254 | 101.0275
2253 | 101.0292
2252 | 101.0282
2251 | 101.027
2250 | 101.0267
2249 | 101.0262
2248 | 101.0257
2247 | 101.0267
2246 | 101.0285
2245 | 101.0283
2244 | 101.0259
2243 | 101.0241
2242 | 101.024
2241 | 101.024
2240 | 101.0234
2239 | 101.0238
2238 | 101.0252
2237 | 101.0257
2236 | 101.0249
2235 | 101.0242
2234 | 101.0237
2233 | 101.0222
2232 | 101.0204
2231 | 101.0205
2230 | 101.0223
2229 | 101.0235
2228 | 101.0244
2227 | 101.0273
2226 | 101.0316
2225 | 101.0342
2224 | 101.0346
2223 | 101.0352
2222 | 101.0359
2221 | 101.0343
2220 | 101.0307
2219 | 101.0288
2218 | 101.0297
2217 | 101.0309
2216 | 101.0309
2215 | 101.0313
2214 | 101.0326
2213 | 101.0336
2212 | 101.034
2211 | 101.0353
2210 | 101.0364
2209 | 101.0354
2208 | 101.0334
2207 | 101.0337
2206 | 101.0364
2205 | 101.038
2204 | 101.0375
2203 | 101.0369
2202 | 101.0367
2201 | 101.0354
2200 | 101.0337
2199 | 101.0338
2198 | 101.0346
2197 | 101.0325
2196 | 101.0279
2195 | 101.0257
2194 | 101.0276
2193 | 101.0302
2192 | 101.0307
2191 | 101.0297
2190 | 101.0279
2189 | 101.0254
2188 | 101.0241
2187 | 101.0259
2186 | 101.0282
2185 | 101.0265
2184 | 101.0222
2183 | 101.0213
2182 | 101.0253
2181 | 101.0294
2180 | 101.0306
2179 | 101.0304
2178 | 101.0301
2177 | 101.0287
2176 | 101.027
2175 | 101.0276
2174 | 101.0295
2173 | 101.0288
2172 | 101.0253
2171 | 101.0233
2170 | 101.0239
2169 | 101.0233
2168 | 101.0202
2167 | 101.0182
2166 | 101.0189
2165 | 101.019
2164 | 101.0167
2163 | 101.0136
2162 | 101.0116
2161 | 101.0103
2160 | 101.0109
2159 | 101.0153
2158 | 101.0213
2157 | 101.0243
2156 | 101.0243
2155 | 101.0258
2154 | 101.0293
2153 | 101.0307
2152 | 101.0286
2151 | 101.0258
2150 | 101.0236
2149 | 101.021
2148 | 101.0188
2147 | 101.0203
2146 | 101.0248
2145 | 101.0278
2144 | 101.0277
2143 | 101.0269
2142 | 101.0266
2141 | 101.025
2140 | 101.0226
2139 | 101.0223
2138 | 101.0245
2137 | 101.0265
2136 | 101.0271
2135 | 101.0284
2134 | 101.0303
2133 | 101.0303
2132 | 101.0282
2131 | 101.0264
2130 | 101.0262
2129 | 101.0263
2128 | 101.0267
2127 | 101.0285
2126 | 101.0308
2125 | 101.0316
2124 | 101.0311
2123 | 101.0313
2122 | 101.0317
2121 | 101.0304
2120 | 101.0283
2119 | 101.0276
2118 | 101.0279
2117 | 101.0261
2116 | 101.0221
2115 | 101.0196
2114 | 101.0202
2113 | 101.0225
2112 | 101.0254
2111 | 101.0296
2110 | 101.0334
2109 | 101.0338
2108 | 101.0314
2107 | 101.0301
2106 | 101.0313
2105 | 101.0331
2104 | 101.0346
2103 | 101.0367
2102 | 101.0391
2101 | 101.0396
2100 | 101.0391
2099 | 101.0407
2098 | 101.0448
2097 | 101.0487
2096 | 101.0518
2095 | 101.0555
2094 | 101.0588
2093 | 101.0592
2092 | 101.0571
2091 | 101.0561
2090 | 101.0566
2089 | 101.0564
2088 | 101.0557
2087 | 101.0578
2086 | 101.0627
2085 | 101.0659
2084 | 101.0656
2083 | 101.0647
2082 | 101.0654
2081 | 101.066
2080 | 101.0656
2079 | 101.066
2078 | 101.0679
2077 | 101.0702
2076 | 101.073
2075 | 101.0774
2074 | 101.0819
2073 | 101.0835
2072 | 101.0829
2071 | 101.0845
2070 | 101.0886
2069 | 101.0915
2068 | 101.0922
2067 | 101.0944
2066 | 101.099
2065 | 101.102
2064 | 101.1012
2063 | 101.0991
2062 | 101.098
2061 | 101.0966
2060 | 101.0948
2059 | 101.0954
2058 | 101.099
2057 | 101.1027
2056 | 101.1052
2055 | 101.1082
2054 | 101.111
2053 | 101.1104
2052 | 101.1067
2051 | 101.1054
2050 | 101.1094
2049 | 101.1154
2048 | 101.1203
2047 | 101.1247
2046 | 101.1293
2045 | 101.133
2044 | 101.1362
2043 | 101.1412
2042 | 101.1466
2041 | 101.1475
2040 | 101.1439
2039 | 101.1412
2038 | 101.1425
2037 | 101.1454
2036 | 101.1491
2035 | 101.1558
2034 | 101.1642
2033 | 101.169
2032 | 101.1694
2031 | 101.1712
2030 | 101.1772
2029 | 101.1832
2028 | 101.1865
2027 | 101.189
2026 | 101.1923
2025 | 101.1945
2024 | 101.1956
2023 | 101.1986
2022 | 101.2033
2021 | 101.2058
2020 | 101.2061
2019 | 101.2078
2018 | 101.2109
2017 | 101.211
2016 | 101.2076
2015 | 101.2055
2014 | 101.2064
2013 | 101.2074
2012 | 101.2088
2011 | 101.2146
2010 | 101.2243
2009 | 101.2319
2008 | 101.2356
2007 | 101.2401
2006 | 101.2467
2005 | 101.2506
2004 | 101.2494
2003 | 101.2472
2002 | 101.246
2001 | 101.2436
2000 | 101.2398
1999 | 101.2384
1998 | 101.2401
1997 | 101.2413
1996 | 101.2414
1995 | 101.2453
1994 | 101.2552
1993 | 101.2653
1992 | 101.2692
1991 | 101.267
1990 | 101.2622
1989 | 101.257
1988 | 101.2532
1987 | 101.253
1986 | 101.2553
1985 | 101.257
1984 | 101.2582
1983 | 101.2614
1982 | 101.2659
1981 | 101.2675
1980 | 101.2669
1979 | 101.2692
1978 | 101.2756
1977 | 101.2811
1976 | 101.283
1975 | 101.2838
1974 | 101.2841
1973 | 101.2814
1972 | 101.2769
1971 | 101.276
1970 | 101.2808
1969 | 101.2873
1968 | 101.2912
1967 | 101.2917
1966 | 101.2881
1965 | 101.2802
1964 | 101.2726
1963 | 101.2705
1962 | 101.2727
1961 | 101.273
1960 | 101.2701
1959 | 101.2678
1958 | 101.2667
1957 | 101.2628
1956 | 101.2565
1955 | 101.253
1954 | 101.2538
1953 | 101.2542
1952 | 101.2513
1951 | 101.2471
1950 | 101.2435
1949 | 101.24
1948 | 101.2374
1947 | 101.2374
1946 | 101.239
1945 | 101.2399
1944 | 101.2419
1943 | 101.2471
1942 | 101.2515
1941 | 101.2482
1940 | 101.2386
1939 | 101.2307
1938 | 101.2282
1937 | 101.2278
1936 | 101.227
1935 | 101.2273
1934 | 101.2286
1933 | 101.2282
1932 | 101.226
1931 | 101.2257
1930 | 101.227
1929 | 101.2263
1928 | 101.2229
1927 | 101.22
1926 | 101.2192
1925 | 101.2195
1924 | 101.222
1923 | 101.227
1922 | 101.2297
1921 | 101.226
1920 | 101.2212
1919 | 101.2241
1918 | 101.2323
1917 | 101.234
1916 | 101.2253
1915 | 101.215
1914 | 101.2098
1913 | 101.2076
1912 | 101.2056
1911 | 101.2062
1910 | 101.21
1909 | 101.2127
1908 | 101.2115
1907 | 101.2093
1906 | 101.2085
1905 | 101.2063
1904 | 101.2014
1903 | 101.1972
1902 | 101.1956
1901 | 101.1944
1900 | 101.1922
1899 | 101.191
1898 | 101.1917
1897 | 101.1922
1896 | 101.1917
1895 | 101.1925
1894 | 101.1932
1893 | 101.1898
1892 | 101.1836
1891 | 101.1821
1890 | 101.1887
1889 | 101.1969
1888 | 101.1991
1887 | 101.1961
1886 | 101.1922
1885 | 101.188
1884 | 101.1832
1883 | 101.1795
1882 | 101.1779
1881 | 101.1765
1880 | 101.1743
1879 | 101.173
1878 | 101.1738
1877 | 101.1744
1876 | 101.1729
1875 | 101.171
1874 | 101.1689
1873 | 101.1638
1872 | 101.1566
1871 | 101.1542
1870 | 101.1623
1869 | 101.1764
1868 | 101.1865
1867 | 101.1883
1866 | 101.1837
1865 | 101.1757
1864 | 101.1672
1863 | 101.1619
1862 | 101.1607
1861 | 101.1612
1860 | 101.1608
1859 | 101.16
1858 | 101.1595
1857 | 101.1576
1856 | 101.1538
1855 | 101.1505
1854 | 101.1494
1853 | 101.1486
1852 | 101.1462
1851 | 101.1429
1850 | 101.1409
1849 | 101.1386
1848 | 101.1336
1847 | 101.128
1846 | 101.1291
1845 | 101.1423
1844 | 101.1626
1843 | 101.1756
1842 | 101.1711
1841 | 101.1532
1840 | 101.1345
1839 | 101.1244
1838 | 101.1227
1837 | 101.1225
1836 | 101.1203
1835 | 101.117
1834 | 101.1112
1833 | 101.1006
1832 | 101.0898
1831 | 101.0896
1830 | 101.1023
1829 | 101.1136
1828 | 101.1103
1827 | 101.0983
1826 | 101.0931
1825 | 101.0992
1824 | 101.1064
1823 | 101.1054
1822 | 101.0967
1821 | 101.086
1820 | 101.0774
1819 | 101.0729
1818 | 101.0721
1817 | 101.0714
1816 | 101.0673
1815 | 101.059
1814 | 101.0485
1813 | 101.0387
1812 | 101.033
1811 | 101.033
1810 | 101.0358
1809 | 101.0351
1808 | 101.0289
1807 | 101.0202
1806 | 101.0111
1805 | 101.0005
1804 | 100.9884
1803 | 100.9789
1802 | 100.9762
1801 | 100.978
1800 | 100.9777
1799 | 100.9729
1798 | 100.9646
1797 | 100.9527
1796 | 100.9368
1795 | 100.92
1794 | 100.9104
1793 | 100.9153
1792 | 100.9311
1791 | 100.9438
1790 | 100.9411
1789 | 100.9226
1788 | 100.8971
1787 | 100.8758
1786 | 100.8647
1785 | 100.8597
1784 | 100.8518
1783 | 100.8361
1782 | 100.8172
1781 | 100.8016
1780 | 100.7891
1779 | 100.7744
1778 | 100.7534
1777 | 100.7256
1776 | 100.6929
1775 | 100.6579
1774 | 100.6267
1773 | 100.605
1772 | 100.5886
1771 | 100.5639
1770 | 100.5231
1769 | 100.4706
1768 | 100.4152
1767 | 100.3586
1766 | 100.294
1765 | 100.2179
1764 | 100.1359
1763 | 100.0574
1762 | 99.9839
1761 | 99.9078
1760 | 99.8231
1759 | 99.7324
1758 | 99.6401
1757 | 99.5485
1756 | 99.4582
1755 | 99.3703
1754 | 99.2846
1753 | 99.1991
1752 | 99.1108
1751 | 99.0173
1750 | 98.9169
1749 | 98.8109
1748 | 98.7064
1747 | 98.61
1746 | 98.5218
1745 | 98.4375
1744 | 98.3556
1743 | 98.2795
1742 | 98.2105
1741 | 98.1436
1740 | 98.0772
1739 | 98.0182
1738 | 97.9747
1737 | 97.9485
1736 | 97.9373
1735 | 97.9332
1734 | 97.9207
1733 | 97.895
1732 | 97.8709
1731 | 97.8617
1730 | 97.8695
1729 | 97.8889
1728 | 97.9153
1727 | 97.9476
1726 | 97.9865
1725 | 98.0315
1724 | 98.0822
1723 | 98.1377
1722 | 98.1931
1721 | 98.2456
1720 | 98.3017
1719 | 98.3737
1718 | 98.4623
1717 | 98.549
1716 | 98.6202
1715 | 98.6802
1714 | 98.736
1713 | 98.7876
1712 | 98.8354
1711 | 98.8834
1710 | 98.9317
1709 | 98.9754
1708 | 99.012
1707 | 99.0478
1706 | 99.0894
1705 | 99.1297
1704 | 99.1564
1703 | 99.1705
1702 | 99.1863
1701 | 99.2181
1700 | 99.256
1699 | 99.2712
1698 | 99.2575
1697 | 99.2355
1696 | 99.2244
1695 | 99.2196
1694 | 99.1994
1693 | 99.1587
1692 | 99.1117
1691 | 99.0709
1690 | 99.0355
1689 | 98.9991
1688 | 98.9613
1687 | 98.9267
1686 | 98.897
1685 | 98.8673
1684 | 98.8322
1683 | 98.7936
1682 | 98.7511
1681 | 98.7046
1680 | 98.6597
1679 | 98.6198
1678 | 98.5818
1677 | 98.5402
1676 | 98.4944
1675 | 98.4479
1674 | 98.4014
1673 | 98.3509
1672 | 98.2964
1671 | 98.2427
1670 | 98.1892
1669 | 98.1326
1668 | 98.0758
1667 | 98.0246
1666 | 97.9787
1665 | 97.9317
1664 | 97.8794
1663 | 97.8241
1662 | 97.7712
1661 | 97.723
1660 | 97.6781
1659 | 97.6375
1658 | 97.6032
1657 | 97.5765
1656 | 97.5592
1655 | 97.5515
1654 | 97.5393
1653 | 97.4942
1652 | 97.4331
1651 | 97.3866
1650 | 97.3565
1649 | 97.3369
1648 | 97.3201
1647 | 97.3006
1646 | 97.2825
1645 | 97.2679
1644 | 97.2547
1643 | 97.2441
1642 | 97.2369
1641 | 97.2303
1640 | 97.2222
1639 | 97.2163
1638 | 97.2147
1637 | 97.2108
1636 | 97.1959
1635 | 97.1773
1634 | 97.1686
1633 | 97.1671
1632 | 97.1683
1631 | 97.172
1630 | 97.1754
1629 | 97.1738
1628 | 97.1668
1627 | 97.1605
1626 | 97.1584
1625 | 97.1563
1624 | 97.1494
1623 | 97.1419
1622 | 97.1432
1621 | 97.1568
1620 | 97.1807
1619 | 97.2154
1618 | 97.2607
1617 | 97.3089
1616 | 97.3497
1615 | 97.382
1614 | 97.4109
1613 | 97.4389
1612 | 97.4647
1611 | 97.4857
1610 | 97.501
1609 | 97.5104
1608 | 97.5142
1607 | 97.5143
1606 | 97.5126
1605 | 97.5078
1604 | 97.4973
1603 | 97.4816
1602 | 97.4624
1601 | 97.4385
1600 | 97.4078
1599 | 97.3726
1598 | 97.3378
1597 | 97.3058
1596 | 97.2783
1595 | 97.261
1594 | 97.2612
1593 | 97.2811
1592 | 97.3196
1591 | 97.3771
1590 | 97.4536
1589 | 97.5441
1588 | 97.6417
1587 | 97.7433
1586 | 97.8472
1585 | 97.9497
1584 | 98.0467
1583 | 98.1378
1582 | 98.2243
1581 | 98.3033
1580 | 98.3707
1579 | 98.4305
1578 | 98.4959
1577 | 98.5792
1576 | 98.6764
1575 | 98.7638
1574 | 98.8227
1573 | 98.8585
1572 | 98.8886
1571 | 98.9293
1570 | 98.9864
1569 | 99.0485
1568 | 99.0971
1567 | 99.127
1566 | 99.148
1565 | 99.169
1564 | 99.1896
1563 | 99.2026
1562 | 99.2054
1561 | 99.2039
1560 | 99.2187
1559 | 99.2647
1558 | 99.3183
1557 | 99.3379
1556 | 99.3268
1555 | 99.314
1554 | 99.3107
1553 | 99.308
1552 | 99.2975
1551 | 99.2857
1550 | 99.2801
1549 | 99.276
1548 | 99.2644
1547 | 99.2438
1546 | 99.2201
1545 | 99.1987
1544 | 99.1782
1543 | 99.1564
1542 | 99.1359
1541 | 99.128
1540 | 99.1479
1539 | 99.1883
1538 | 99.2144
1537 | 99.2108
1536 | 99.1944
1535 | 99.1873
1534 | 99.201
1533 | 99.2277
1532 | 99.2476
1531 | 99.2508
1530 | 99.2409
1529 | 99.2245
1528 | 99.2082
1527 | 99.1949
1526 | 99.1799
1525 | 99.1554
1524 | 99.1192
1523 | 99.0754
1522 | 99.0278
1521 | 98.977
1520 | 98.9202
1519 | 98.8521
1518 | 98.7715
1517 | 98.6848
1516 | 98.6034
1515 | 98.5306
1514 | 98.458
1513 | 98.3796
1512 | 98.2999
1511 | 98.2256
1510 | 98.1577
1509 | 98.0926
1508 | 98.0285
1507 | 97.966
1506 | 97.9173
1505 | 97.8931
1504 | 97.8883
1503 | 97.8991
1502 | 97.9248
1501 | 97.9632
1500 | 98.0141
1499 | 98.079
1498 | 98.157
1497 | 98.244
1496 | 98.3336
1495 | 98.4138
1494 | 98.4718
1493 | 98.5091
1492 | 98.5394
1491 | 98.5757
1490 | 98.6129
1489 | 98.6352
1488 | 98.6387
1487 | 98.6308
1486 | 98.6112
1485 | 98.5762
1484 | 98.5284
1483 | 98.4722
1482 | 98.4078
1481 | 98.3333
1480 | 98.2525
1479 | 98.1683
1478 | 98.074
1477 | 97.9612
1476 | 97.833
1475 | 97.6942
1474 | 97.5285
1473 | 97.3133
1472 | 97.0654
1471 | 96.8321
1470 | 96.6304
1469 | 96.4495
1468 | 96.284
1467 | 96.1325
1466 | 95.9871
1465 | 95.8456
1464 | 95.7274
1463 | 95.6528
1462 | 95.616
1461 | 95.5999
1460 | 95.5937
1459 | 95.5888
1458 | 95.5672
1457 | 95.5205
1456 | 95.4803
1455 | 95.4755
1454 | 95.4988
1453 | 95.5359
1452 | 95.5801
1451 | 95.6288
1450 | 95.6798
1449 | 95.73
1448 | 95.7797
1447 | 95.8297
1446 | 95.8793
1445 | 95.9258
1444 | 95.9654
1443 | 95.9945
1442 | 96.0105
1441 | 96.0142
1440 | 96.0099
1439 | 95.9972
1438 | 95.9617
1437 | 95.8842
1436 | 95.7747
1435 | 95.6708
1434 | 95.5884
1433 | 95.5145
1432 | 95.4351
1431 | 95.3464
1430 | 95.253
1429 | 95.1645
1428 | 95.0949
1427 | 95.0517
1426 | 95.0274
1425 | 95.0105
1424 | 95.0017
1423 | 95.0152
1422 | 95.0591
1421 | 95.1267
1420 | 95.2067
1419 | 95.2917
1418 | 95.3811
1417 | 95.479
1416 | 95.588
1415 | 95.7044
1414 | 95.8201
1413 | 95.9297
1412 | 96.032
1411 | 96.1268
1410 | 96.2135
1409 | 96.2921
1408 | 96.3641
1407 | 96.4291
1406 | 96.4854
1405 | 96.5335
1404 | 96.5761
1403 | 96.6153
1402 | 96.6516
1401 | 96.6843
1400 | 96.7118
1399 | 96.7332
1398 | 96.7509
1397 | 96.7673
1396 | 96.7798
1395 | 96.7829
1394 | 96.7749
1393 | 96.7596
1392 | 96.7384
1391 | 96.7089
1390 | 96.6676
1389 | 96.6085
1388 | 96.5241
1387 | 96.4137
1386 | 96.2891
1385 | 96.1614
1384 | 96.0298
1383 | 95.888
1382 | 95.7358
1381 | 95.5788
1380 | 95.4239
1379 | 95.2793
1378 | 95.1549
1377 | 95.0556
1376 | 94.9754
1375 | 94.9035
1374 | 94.8372
1373 | 94.7837
1372 | 94.7501
1371 | 94.7348
1370 | 94.7308
1369 | 94.7328
1368 | 94.7416
1367 | 94.7616
1366 | 94.795
1365 | 94.8379
1364 | 94.8852
1363 | 94.9355
1362 | 94.9928
1361 | 95.0616
1360 | 95.1414
1359 | 95.2265
1358 | 95.3101
1357 | 95.3874
1356 | 95.4576
1355 | 95.5215
1354 | 95.5793
1353 | 95.6301
1352 | 95.6727
1351 | 95.7052
1350 | 95.7241
1349 | 95.7274
1348 | 95.7147
1347 | 95.6867
1346 | 95.6429
1345 | 95.5841
1344 | 95.5147
1343 | 95.4397
1342 | 95.3595
1341 | 95.2703
1340 | 95.1706
1339 | 95.0662
1338 | 94.9672
1337 | 94.8798
1336 | 94.8061
1335 | 94.7465
1334 | 94.7011
1333 | 94.6686
1332 | 94.6473
1331 | 94.6347
1330 | 94.6272
1329 | 94.6199
1328 | 94.6086
1327 | 94.5901
1326 | 94.5616
1325 | 94.5207
1324 | 94.4676
1323 | 94.4055
1322 | 94.3382
1321 | 94.2685
1320 | 94.2002
1319 | 94.1395
1318 | 94.0946
1317 | 94.0726
1316 | 94.0776
1315 | 94.1107
1314 | 94.1702
1313 | 94.2532
1312 | 94.3568
1311 | 94.478
1310 | 94.6121
1309 | 94.754
1308 | 94.8996
1307 | 95.0458
1306 | 95.1902
1305 | 95.3304
1304 | 95.4651
1303 | 95.593
1302 | 95.7125
1301 | 95.8223
1300 | 95.9217
1299 | 96.0103
1298 | 96.0869
1297 | 96.1502
1296 | 96.2
1295 | 96.2371
1294 | 96.263
1293 | 96.2794
1292 | 96.288
1291 | 96.2895
1290 | 96.2827
1289 | 96.2659
1288 | 96.2378
1287 | 96.1979
1286 | 96.1471
1285 | 96.087
1284 | 96.021
1283 | 95.9533
1282 | 95.8882
1281 | 95.8275
1280 | 95.7708
1279 | 95.7151
1278 | 95.6572
1277 | 95.5947
1276 | 95.5278
1275 | 95.4584
1274 | 95.388
1273 | 95.318
1272 | 95.2498
1271 | 95.1852
1270 | 95.1242
1269 | 95.0641
1268 | 95.0008
1267 | 94.9292
1266 | 94.8452
1265 | 94.7473
1264 | 94.6392
1263 | 94.5288
1262 | 94.4229
1261 | 94.3253
1260 | 94.2372
1259 | 94.1589
1258 | 94.0884
1257 | 94.0215
1256 | 93.9545
1255 | 93.8855
1254 | 93.8129
1253 | 93.7347
1252 | 93.6513
1251 | 93.5653
1250 | 93.4793
1249 | 93.3945
1248 | 93.3134
1247 | 93.2401
1246 | 93.1776
1245 | 93.1256
1244 | 93.0833
1243 | 93.0505
1242 | 93.0258
1241 | 93.0066
1240 | 92.9912
1239 | 92.9797
1238 | 92.9722
1237 | 92.9678
1236 | 92.9676
1235 | 92.9748
1234 | 92.9918
1233 | 93.0186
1232 | 93.055
1231 | 93.1019
1230 | 93.1592
1229 | 93.2253
1228 | 93.2994
1227 | 93.3815
1226 | 93.4708
1225 | 93.5652
1224 | 93.6641
1223 | 93.768
1222 | 93.876
1221 | 93.9864
1220 | 94.0991
1219 | 94.2156
1218 | 94.3354
1217 | 94.4557
1216 | 94.5733
1215 | 94.6859
1214 | 94.789
1213 | 94.877
1212 | 94.9451
1211 | 94.9917
1210 | 95.018
1209 | 95.0278
1208 | 95.0285
1207 | 95.0294
1206 | 95.0368
1205 | 95.0528
1204 | 95.0771
1203 | 95.11
1202 | 95.1523
1201 | 95.2045
1200 | 95.2673
1199 | 95.34
1198 | 95.4196
1197 | 95.5011
1196 | 95.5807
1195 | 95.6554
1194 | 95.7219
1193 | 95.7769
1192 | 95.8183
1191 | 95.8447
1190 | 95.8554
1189 | 95.8498
1188 | 95.8285
1187 | 95.7926
1186 | 95.7425
1185 | 95.6782
1184 | 95.6
1183 | 95.5092
1182 | 95.4061
1181 | 95.2895
1180 | 95.1575
1179 | 95.008
1178 | 94.8392
1177 | 94.649
1176 | 94.4367
1175 | 94.2028
1174 | 93.947
1173 | 93.6684
1172 | 93.3684
1171 | 93.0513
1170 | 92.7227
1169 | 92.388
1168 | 92.0554
1167 | 91.7361
1166 | 91.4397
1165 | 91.1716
1164 | 90.9374
1163 | 90.7432
1162 | 90.5905
1161 | 90.4748
1160 | 90.3915
1159 | 90.3391
1158 | 90.3142
1157 | 90.3105
1156 | 90.3235
1155 | 90.3527
1154 | 90.3953
1153 | 90.4457
1152 | 90.5
1151 | 90.5585
1150 | 90.6194
1149 | 90.6784
1148 | 90.735
1147 | 90.7921
1146 | 90.8498
1145 | 90.9036
1144 | 90.9499
1143 | 90.9873
1142 | 91.011
1141 | 91.0116
1140 | 90.9817
1139 | 90.9185
1138 | 90.8194
1137 | 90.6815
1136 | 90.5079
1135 | 90.3078
1134 | 90.0898
1133 | 89.8569
1132 | 89.6121
1131 | 89.3603
1130 | 89.103
1129 | 88.8375
1128 | 88.5659
1127 | 88.2986
1126 | 88.0453
1125 | 87.8101
1124 | 87.5964
1123 | 87.409
1122 | 87.2454
1121 | 87.0931
1120 | 86.9392
1119 | 86.7752
1118 | 86.5918
1117 | 86.3787
1116 | 86.1368
1115 | 85.8807
1114 | 85.6262
1113 | 85.3824
1112 | 85.1588
1111 | 84.9662
1110 | 84.8063
1109 | 84.67
1108 | 84.5512
1107 | 84.4527
1106 | 84.3767
1105 | 84.3205
1104 | 84.2859
1103 | 84.2811
1102 | 84.3069
1101 | 84.3542
1100 | 84.4156
1099 | 84.4905
1098 | 84.5745
1097 | 84.6573
1096 | 84.7336
1095 | 84.8061
1094 | 84.8748
1093 | 84.9339
1092 | 84.9805
1091 | 85.0176
1090 | 85.0441
1089 | 85.0528
1088 | 85.0415
1087 | 85.0152
1086 | 84.9752
1085 | 84.9153
1084 | 84.832
1083 | 84.7287
1082 | 84.607
1081 | 84.4648
1080 | 84.3056
1079 | 84.1407
1078 | 83.979
1077 | 83.8213
1076 | 83.6686
1075 | 83.5242
1074 | 83.3839
1073 | 83.2346
1072 | 83.0665
1071 | 82.8779
1070 | 82.6645
1069 | 82.4155
1068 | 82.125
1067 | 81.7969
1066 | 81.4348
1065 | 81.0385
1064 | 80.6153
1063 | 80.1838
1062 | 79.7609
1061 | 79.3557
1060 | 78.9793
1059 | 78.6471
1058 | 78.3645
1057 | 78.1223
1056 | 77.9131
1055 | 77.7394
1054 | 77.602
1053 | 77.4935
1052 | 77.4107
1051 | 77.3579
1050 | 77.3332
1049 | 77.3248
1048 | 77.3256
1047 | 77.3378
1046 | 77.3566
1045 | 77.3653
1044 | 77.3504
1043 | 77.3082
1042 | 77.2334
1041 | 77.1155
1040 | 76.9526
1039 | 76.7562
1038 | 76.5396
1037 | 76.3119
1036 | 76.0876
1035 | 75.8883
1034 | 75.7289
1033 | 75.612
1032 | 75.5396
1031 | 75.5175
1030 | 75.5442
1029 | 75.6087
1028 | 75.7039
1027 | 75.8293
1026 | 75.9795
1025 | 76.1421
1024 | 76.3108
1023 | 76.4884
1022 | 76.6748
1021 | 76.8629
1020 | 77.0492
1019 | 77.2363
1018 | 77.4221
1017 | 77.5968
1016 | 77.7539
1015 | 77.8949
1014 | 78.0204
1013 | 78.127
1012 | 78.2144
1011 | 78.2883
1010 | 78.3517
1009 | 78.4041
1008 | 78.4488
1007 | 78.4953
1006 | 78.5499
1005 | 78.6138
1004 | 78.6911
1003 | 78.7902
1002 | 78.9153
1001 | 79.0616
1000 | 79.2228
999 | 79.3943
998 | 79.5674
997 | 79.7295
996 | 79.873
995 | 79.9983
994 | 80.1068
993 | 80.1978
992 | 80.2735
991 | 80.3401
990 | 80.4024
989 | 80.4631
988 | 80.5307
987 | 80.6217
986 | 80.7532
985 | 80.9372
984 | 81.1823
983 | 81.4924
982 | 81.8608
981 | 82.271
980 | 82.7053
979 | 83.15
978 | 83.592
977 | 84.0189
976 | 84.4237
975 | 84.8056
974 | 85.1642
973 | 85.4974
972 | 85.8064
971 | 86.096
970 | 86.3698
969 | 86.628
968 | 86.8719
967 | 87.1058
966 | 87.3333
965 | 87.5554
964 | 87.7738
963 | 87.9915
962 | 88.2101
961 | 88.4285
960 | 88.6468
959 | 88.8668
958 | 89.0885
957 | 89.3091
956 | 89.5265
955 | 89.7406
954 | 89.9504
953 | 90.1531
952 | 90.347
951 | 90.5325
950 | 90.7095
949 | 90.8759
948 | 91.0305
947 | 91.174
946 | 91.3066
945 | 91.4286
944 | 91.5414
943 | 91.6477
942 | 91.7483
941 | 91.8413
940 | 91.9254
939 | 92.0011
938 | 92.0687
937 | 92.1277
936 | 92.1784
935 | 92.2228
934 | 92.2614
933 | 92.2935
932 | 92.3194
931 | 92.3409
930 | 92.3579
929 | 92.3682
928 | 92.3704
927 | 92.3654
926 | 92.3536
925 | 92.3343
924 | 92.309
923 | 92.282
922 | 92.2574
921 | 92.2374
920 | 92.2244
919 | 92.2219
918 | 92.2315
917 | 92.2517
916 | 92.2794
915 | 92.3115
914 | 92.3442
913 | 92.373
912 | 92.3957
911 | 92.4114
910 | 92.418
909 | 92.4112
908 | 92.3881
907 | 92.3495
906 | 92.2979
905 | 92.2363
904 | 92.1691
903 | 92.1027
902 | 92.0416
901 | 91.9885
900 | 91.9461
899 | 91.9192
898 | 91.9115
897 | 91.9245
896 | 91.9593
895 | 92.0168
894 | 92.095
893 | 92.1884
892 | 92.2921
891 | 92.403
890 | 92.5176
889 | 92.6315
888 | 92.7413
887 | 92.8449
886 | 92.9397
885 | 93.0233
884 | 93.0964
883 | 93.1611
882 | 93.2164
881 | 93.2587
880 | 93.2868
879 | 93.3059
878 | 93.3231
877 | 93.3442
876 | 93.3745
875 | 93.4197
874 | 93.4828
873 | 93.5623
872 | 93.6536
871 | 93.7511
870 | 93.8471
869 | 93.9341
868 | 94.0087
867 | 94.0727
866 | 94.1292
865 | 94.1793
864 | 94.2236
863 | 94.2626
862 | 94.2964
861 | 94.3249
860 | 94.3494
859 | 94.3715
858 | 94.3903
857 | 94.4027
856 | 94.4081
855 | 94.4092
854 | 94.4076
853 | 94.4025
852 | 94.3943
851 | 94.3856
850 | 94.3782
849 | 94.3702
848 | 94.3595
847 | 94.3461
846 | 94.3304
845 | 94.3129
844 | 94.2946
843 | 94.2772
842 | 94.2592
841 | 94.2373
840 | 94.2113
839 | 94.1856
838 | 94.164
837 | 94.146
836 | 94.13
835 | 94.1161
834 | 94.1049
833 | 94.0958
832 | 94.0888
831 | 94.0858
830 | 94.0877
829 | 94.0925
828 | 94.0977
827 | 94.1021
826 | 94.1035
825 | 94.0998
824 | 94.0919
823 | 94.0848
822 | 94.0817
821 | 94.081
820 | 94.0804
819 | 94.0794
818 | 94.079
817 | 94.0795
816 | 94.082
815 | 94.0873
814 | 94.0931
813 | 94.0949
812 | 94.0912
811 | 94.0847
810 | 94.0781
809 | 94.0714
808 | 94.0644
807 | 94.0575
806 | 94.0495
805 | 94.0378
804 | 94.0226
803 | 94.0072
802 | 93.9933
801 | 93.9795
800 | 93.9651
799 | 93.9515
798 | 93.938
797 | 93.9221
796 | 93.9033
795 | 93.8846
794 | 93.8671
793 | 93.8487
792 | 93.828
791 | 93.8068
790 | 93.786
789 | 93.7641
788 | 93.7406
787 | 93.7169
786 | 93.6928
785 | 93.6658
784 | 93.6361
783 | 93.6069
782 | 93.5798
781 | 93.5527
780 | 93.5248
779 | 93.4981
778 | 93.4734
777 | 93.448
776 | 93.4202
775 | 93.3915
774 | 93.3621
773 | 93.3295
772 | 93.2929
771 | 93.2548
770 | 93.2169
769 | 93.1769
768 | 93.1339
767 | 93.0899
766 | 93.046
765 | 93.0001
764 | 92.9517
763 | 92.9033
762 | 92.8556
761 | 92.8059
760 | 92.7535
759 | 92.7011
758 | 92.6505
757 | 92.5991
756 | 92.5454
755 | 92.4915
754 | 92.4381
753 | 92.3832
752 | 92.3264
751 | 92.2713
750 | 92.2192
749 | 92.1673
748 | 92.1142
747 | 92.0621
746 | 92.0112
745 | 91.9584
744 | 91.9037
743 | 91.8511
742 | 91.8019
741 | 91.7521
740 | 91.6992
739 | 91.6461
738 | 91.5943
737 | 91.5402
736 | 91.4812
735 | 91.4187
734 | 91.3528
733 | 91.2795
732 | 91.1973
731 | 91.1103
730 | 91.0214
729 | 90.9287
728 | 90.8316
727 | 90.7327
726 | 90.6325
725 | 90.5278
724 | 90.419
723 | 90.3102
722 | 90.2013
721 | 90.089
720 | 89.9779
719 | 89.8801
718 | 89.7989
717 | 89.7236
716 | 89.6442
715 | 89.5622
714 | 89.4822
713 | 89.4043
712 | 89.3296
711 | 89.2627
710 | 89.2042
709 | 89.147
708 | 89.0867
707 | 89.0266
706 | 88.9691
705 | 88.9105
704 | 88.8503
703 | 88.7949
702 | 88.7465
701 | 88.6985
700 | 88.647
699 | 88.5971
698 | 88.5521
697 | 88.5076
696 | 88.4617
695 | 88.4202
694 | 88.3848
693 | 88.3476
692 | 88.3045
691 | 88.2599
690 | 88.2133
689 | 88.1557
688 | 88.0864
687 | 88.0173
686 | 87.9512
685 | 87.8741
684 | 87.7773
683 | 87.6675
682 | 87.5465
681 | 87.4026
680 | 87.2307
679 | 87.0396
678 | 86.8305
677 | 86.593
676 | 86.3299
675 | 86.0596
674 | 85.7937
673 | 85.5395
672 | 85.3274
671 | 85.1719
670 | 85.02
669 | 84.7278
668 | 84.2755
667 | 83.9632
666 | 83.9255
665 | 83.9837
664 | 84.0109
663 | 83.9877
662 | 83.9462
661 | 83.9161
660 | 83.905
659 | 83.926
658 | 83.9927
657 | 84.0989
656 | 84.227
655 | 84.3697
654 | 84.52
653 | 84.6567
652 | 84.7618
651 | 84.839
650 | 84.9
649 | 84.9435
648 | 84.9642
647 | 84.9701
646 | 84.9701
645 | 84.9578
644 | 84.9289
643 | 84.8983
642 | 84.8776
641 | 84.8515
640 | 84.8043
639 | 84.7511
638 | 84.7134
637 | 84.6811
636 | 84.635
635 | 84.5829
634 | 84.5371
633 | 84.4807
632 | 84.4001
631 | 84.3227
630 | 84.2775
629 | 84.2467
628 | 84.1994
627 | 84.1453
626 | 84.1075
625 | 84.0745
624 | 84.0315
623 | 84.0062
622 | 84.0198
621 | 84.0399
620 | 84.0446
619 | 84.0781
618 | 84.1732
617 | 84.2823
616 | 84.351
615 | 84.3969
614 | 84.4604
613 | 84.5276
612 | 84.555
611 | 84.5338
610 | 84.4888
609 | 84.4425
608 | 84.418
607 | 84.4422
606 | 84.4997
605 | 84.5346
604 | 84.5371
603 | 84.5779
602 | 84.7172
601 | 84.933
600 | 85.1822

## Sample Details
Setting | Value
Filesname | NH-7
Creation Date
Analyst | mas-storage
X-Axis Units | cm-1
X-Axis start value | 4000
X-Axis end value | 600
Data interval | -1
Number of points | 3401
Y-Axis Units | %T
Description | 7Sample 1318 By mas-storage Date Wednesday, July 28 2021

## Instrument Details
Setting | Value
Instrument Model | Frontier FT-IR
Instrument Serial Number | 91175
Software Revision | CPU32 Main 00.09.9908 05-May-2009 15:52:12
Number of Scans | 32
Resolution | 4
Detector
Source | MIR
Beam Splitter | OptKBr
Apodization | Strong
Spectrum Type | Spectrum
Beam Type | Ratio
Phase Correction | Magnitude
Scan Speed | 1
IGram Type | Double
Scan Driection | Combined
Zero Crossing | 0
JStop | 8.94
IR-Laser Wavenumber | 15798.001999451375
Manufacturer | PIKE Technologies Inc.
Part Number | L1200385
Serial Number | 19250
Description | Miracle Accessory
Default Scan Range | 4000 450
Accessory Type | Miracle ATR
Temperature / °C
Slide Holder Option

## Quality Checks
Setting | Value
Water Vapor | Passed
Carbon Dioxide | Passed
Baseline Low | Passed
Baseline High | Passed
Baseline Slope | Passed
Strong Bands | Passed
Weak Bands | Warning
High Noise | Passed
Fringes | Warning
Vignetting | Passed
Blocked Beam | Passed
Negative Bands | Passed
Zero Transmission | Passed
Stray Light | Passed
Window Cuttoff | Passed