## Data
Wavelength / cm-1 | Transmittance / % | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1
4000 | 101.1325 |  | Baseline @ 1105 |  | Baseline @ 1735 |  | Baseline @ 2900 |  | Peak @ 1105 |  | Peak @ 1735 |  | Peak @ 2900
3999 | 101.1331 | 850 | 94.1291 | 1525 | 98.7108 | 2670 | 100.5309 | 1105 | 82.7772 | 1735 | 98.0017 | 2900 | 97.2975
3998 | 101.1331 | 1190 | 95.4355 | 1780 | 100.9486 | 3010 | 99.6628 | 1105 | 95.1089 | 1735 | 100.5537 | 2900 | 99.9436
3997 | 101.133
3996 | 101.1332
3995 | 101.1335
3994 | 101.1337
3993 | 101.1343
3992 | 101.1359
3991 | 101.1382
3990 | 101.141
3989 | 101.1431
3988 | 101.1437
3987 | 101.1424
3986 | 101.1406
3985 | 101.1396
3984 | 101.1401
3983 | 101.1415
3982 | 101.1435
3981 | 101.1459
3980 | 101.148
3979 | 101.1486
3978 | 101.1475
3977 | 101.1458 |  |  | Baseline range |  |  | Transmittance |  |  |  | Equation of base line |  |  | Transmittance at peak value wavelength | Peak Intensity |  | Ratio
3976 | 101.1447 |  | Peak value
3975 | 101.1442 |  | Wavelength
3974 | 101.1437 |  | x1 | x2 | x3 |  | y1 | y2 | y3 |  | m | c
3973 | 101.1431 | [15 empty] | Lyceum
3972 | 101.1432 |  | 1105 | 850 | 1190 |  | 82.7772 | 94.1291 | 95.4355 |  | 0.0038423 | 90.8632 |  | 95.1089 | 12.3317 | R1 | 0.20695
3971 | 101.1444 |  | 1735 | 1525 | 1780 |  | 98.0017 | 98.7108 | 100.9486 |  | 0.0087756 | 85.328 |  | 100.5537 | 2.552 | R2 | 0.96443
3970 | 101.1473 |  | 2900 | 2670 | 3010 |  | 97.2975 | 100.5309 | 99.6628 |  | -0.0025534 | 107.3484 |  | 99.9436 | 2.6461
3969 | 101.1512
3968 | 101.1543 |  | From paper
3967 | 101.1543 |  | 1105 | 765 | 1185
3966 | 101.1511 |  | 1735 | 1485 | 1780
3965 | 101.1466 |  | 2900 | 2630 | 3000
3964 | 101.1436
3963 | 101.1433
3962 | 101.1455
3961 | 101.149
3960 | 101.152
3959 | 101.1534
3958 | 101.1534
3957 | 101.1528
3956 | 101.1515
3955 | 101.1484
3954 | 101.1434
3953 | 101.1381
3952 | 101.135
3951 | 101.1359
3950 | 101.1414
3949 | 101.1493
3948 | 101.1553
3947 | 101.1559
3946 | 101.1511
3945 | 101.145
3944 | 101.1426
3943 | 101.1465
3942 | 101.1547
3941 | 101.1621
3940 | 101.1647
3939 | 101.162
3938 | 101.1566
3937 | 101.1516
3936 | 101.1483
3935 | 101.1466
3934 | 101.1475
3933 | 101.1526
3932 | 101.1605
3931 | 101.1658
3930 | 101.1643
3929 | 101.1576
3928 | 101.151
3927 | 101.1481
3926 | 101.1485
3925 | 101.1506
3924 | 101.1526
3923 | 101.1519
3922 | 101.1474
3921 | 101.1422
3920 | 101.1415
3919 | 101.1474
3918 | 101.157
3917 | 101.1662
3916 | 101.1732
3915 | 101.177
3914 | 101.1776
3913 | 101.1763
3912 | 101.1753
3911 | 101.1743
3910 | 101.1706
3909 | 101.1619
3908 | 101.149
3907 | 101.1352
3906 | 101.1234
3905 | 101.1164
3904 | 101.1167
3903 | 101.1239
3902 | 101.1345
3901 | 101.1449
3900 | 101.154
3899 | 101.162
3898 | 101.1671
3897 | 101.1666
3896 | 101.1609
3895 | 101.1543
3894 | 101.1518
3893 | 101.1538
3892 | 101.1568
3891 | 101.1574
3890 | 101.1555
3889 | 101.1527
3888 | 101.1494
3887 | 101.1448
3886 | 101.1419
3885 | 101.1425
3884 | 101.1413
3883 | 101.1345
3882 | 101.1283
3881 | 101.1326
3880 | 101.1483
3879 | 101.164
3878 | 101.1695
3877 | 101.1648
3876 | 101.1544
3875 | 101.1431
3874 | 101.1358
3873 | 101.1339
3872 | 101.1323
3871 | 101.1272
3870 | 101.1246
3869 | 101.1299
3868 | 101.1371
3867 | 101.1363
3866 | 101.1284
3865 | 101.1256
3864 | 101.1349
3863 | 101.1476
3862 | 101.1536
3861 | 101.1542
3860 | 101.155
3859 | 101.1582
3858 | 101.1636
3857 | 101.1708
3856 | 101.1726
3855 | 101.1601
3854 | 101.1466
3853 | 101.1513
3852 | 101.1639
3851 | 101.167
3850 | 101.1617
3849 | 101.157
3848 | 101.1573
3847 | 101.1592
3846 | 101.1573
3845 | 101.1499
3844 | 101.1397
3843 | 101.1308
3842 | 101.1254
3841 | 101.1224
3840 | 101.1194
3839 | 101.117
3838 | 101.1172
3837 | 101.1194
3836 | 101.1223
3835 | 101.1266
3834 | 101.1329
3833 | 101.1397
3832 | 101.1454
3831 | 101.1486
3830 | 101.1493
3829 | 101.1482
3828 | 101.146
3827 | 101.1431
3826 | 101.1403
3825 | 101.1374
3824 | 101.1315
3823 | 101.1182
3822 | 101.102
3821 | 101.0963
3820 | 101.1034
3819 | 101.1136
3818 | 101.1191
3817 | 101.121
3816 | 101.1301
3815 | 101.1489
3814 | 101.1651
3813 | 101.1689
3812 | 101.1648
3811 | 101.1625
3810 | 101.1649
3809 | 101.1642
3808 | 101.1542
3807 | 101.1409
3806 | 101.1325
3805 | 101.1281
3804 | 101.1224
3803 | 101.1105
3802 | 101.0994
3801 | 101.0995
3800 | 101.1057
3799 | 101.1081
3798 | 101.108
3797 | 101.114
3796 | 101.1301
3795 | 101.1499
3794 | 101.1634
3793 | 101.168
3792 | 101.1685
3791 | 101.1691
3790 | 101.1689
3789 | 101.166
3788 | 101.1619
3787 | 101.1587
3786 | 101.1569
3785 | 101.155
3784 | 101.1521
3783 | 101.1472
3782 | 101.1394
3781 | 101.1293
3780 | 101.1221
3779 | 101.1226
3778 | 101.1295
3777 | 101.1369
3776 | 101.1404
3775 | 101.1404
3774 | 101.1396
3773 | 101.1379
3772 | 101.132
3771 | 101.121
3770 | 101.1104
3769 | 101.1043
3768 | 101.1026
3767 | 101.104
3766 | 101.1089
3765 | 101.1167
3764 | 101.1233
3763 | 101.1226
3762 | 101.1122
3761 | 101.0981
3760 | 101.0896
3759 | 101.0875
3758 | 101.0841
3757 | 101.0771
3756 | 101.0714
3755 | 101.0694
3754 | 101.0662
3753 | 101.0581
3752 | 101.0493
3751 | 101.044
3750 | 101.0377
3749 | 101.0278
3748 | 101.0232
3747 | 101.031
3746 | 101.0426
3745 | 101.0541
3744 | 101.0707
3743 | 101.0795
3742 | 101.0667
3741 | 101.0394
3740 | 101.0142
3739 | 101.0007
3738 | 100.9952
3737 | 100.9933
3736 | 100.9993
3735 | 101.0145
3734 | 101.0277
3733 | 101.029
3732 | 101.0224
3731 | 101.0174
3730 | 101.0168
3729 | 101.0182
3728 | 101.0194
3727 | 101.0228
3726 | 101.0295
3725 | 101.0347
3724 | 101.0338
3723 | 101.0295
3722 | 101.0277
3721 | 101.0296
3720 | 101.0323
3719 | 101.0329
3718 | 101.0303
3717 | 101.0262
3716 | 101.0221
3715 | 101.0169
3714 | 101.0071
3713 | 100.9918
3712 | 100.9753
3711 | 100.9625
3710 | 100.9548
3709 | 100.9522
3708 | 100.9536
3707 | 100.957
3706 | 100.9602
3705 | 100.9611
3704 | 100.9587
3703 | 100.9541
3702 | 100.9495
3701 | 100.9456
3700 | 100.9418
3699 | 100.9382
3698 | 100.935
3697 | 100.9327
3696 | 100.9306
3695 | 100.9255
3694 | 100.9145
3693 | 100.8998
3692 | 100.8869
3691 | 100.8783
3690 | 100.8733
3689 | 100.8721
3688 | 100.8755
3687 | 100.8816
3686 | 100.8879
3685 | 100.8923
3684 | 100.8945
3683 | 100.8947
3682 | 100.8904
3681 | 100.8783
3680 | 100.8612
3679 | 100.8457
3678 | 100.8317
3677 | 100.8118
3676 | 100.7904
3675 | 100.7786
3674 | 100.7713
3673 | 100.7607
3672 | 100.7479
3671 | 100.7395
3670 | 100.7423
3669 | 100.7499
3668 | 100.7493
3667 | 100.7412
3666 | 100.7352
3665 | 100.7353
3664 | 100.7377
3663 | 100.7363
3662 | 100.7278
3661 | 100.7136
3660 | 100.6971
3659 | 100.6805
3658 | 100.6624
3657 | 100.6416
3656 | 100.6192
3655 | 100.5964
3654 | 100.5744
3653 | 100.5546
3652 | 100.5357
3651 | 100.5153
3650 | 100.4934
3649 | 100.4709
3648 | 100.4498
3647 | 100.4347
3646 | 100.4274
3645 | 100.4244
3644 | 100.4219
3643 | 100.4186
3642 | 100.414
3641 | 100.4072
3640 | 100.3957
3639 | 100.3789
3638 | 100.3597
3637 | 100.3412
3636 | 100.3231
3635 | 100.3024
3634 | 100.2799
3633 | 100.2598
3632 | 100.244
3631 | 100.2271
3630 | 100.2033
3629 | 100.1765
3628 | 100.1493
3627 | 100.1195
3626 | 100.0909
3625 | 100.07
3624 | 100.0575
3623 | 100.0487
3622 | 100.0363
3621 | 100.0158
3620 | 99.9892
3619 | 99.961
3618 | 99.9334
3617 | 99.9084
3616 | 99.8891
3615 | 99.8758
3614 | 99.8658
3613 | 99.8565
3612 | 99.8463
3611 | 99.8344
3610 | 99.8206
3609 | 99.8059
3608 | 99.7906
3607 | 99.7732
3606 | 99.7534
3605 | 99.7343
3604 | 99.7193
3603 | 99.7085
3602 | 99.6973
3601 | 99.6814
3600 | 99.6611
3599 | 99.64
3598 | 99.6219
3597 | 99.6083
3596 | 99.5972
3595 | 99.5842
3594 | 99.5666
3593 | 99.5457
3592 | 99.5263
3591 | 99.5123
3590 | 99.502
3589 | 99.4901
3588 | 99.4721
3587 | 99.4471
3586 | 99.4186
3585 | 99.3927
3584 | 99.3744
3583 | 99.3631
3582 | 99.3539
3581 | 99.3418
3580 | 99.3251
3579 | 99.3046
3578 | 99.2822
3577 | 99.2595
3576 | 99.2374
3575 | 99.2161
3574 | 99.1944
3573 | 99.1717
3572 | 99.1492
3571 | 99.129
3570 | 99.1106
3569 | 99.0896
3568 | 99.0612
3567 | 99.0242
3566 | 98.9817
3565 | 98.9411
3564 | 98.909
3563 | 98.8876
3562 | 98.8737
3561 | 98.8615
3560 | 98.8465
3559 | 98.8273
3558 | 98.8047
3557 | 98.7811
3556 | 98.7582
3555 | 98.736
3554 | 98.712
3553 | 98.6841
3552 | 98.6533
3551 | 98.6238
3550 | 98.5994
3549 | 98.5807
3548 | 98.5644
3547 | 98.5461
3546 | 98.5222
3545 | 98.4934
3544 | 98.4645
3543 | 98.4408
3542 | 98.4236
3541 | 98.4109
3540 | 98.3996
3539 | 98.3867
3538 | 98.3702
3537 | 98.3499
3536 | 98.3281
3535 | 98.308
3534 | 98.2909
3533 | 98.2758
3532 | 98.2607
3531 | 98.2442
3530 | 98.2257
3529 | 98.2053
3528 | 98.1846
3527 | 98.1654
3526 | 98.1489
3525 | 98.1342
3524 | 98.1199
3523 | 98.1051
3522 | 98.0899
3521 | 98.0748
3520 | 98.0596
3519 | 98.0439
3518 | 98.0274
3517 | 98.0111
3516 | 97.9953
3515 | 97.9798
3514 | 97.9635
3513 | 97.9464
3512 | 97.9284
3511 | 97.909
3510 | 97.8872
3509 | 97.8639
3508 | 97.8424
3507 | 97.8255
3506 | 97.8123
3505 | 97.7985
3504 | 97.7802
3503 | 97.7566
3502 | 97.7308
3501 | 97.7073
3500 | 97.6888
3499 | 97.6741
3498 | 97.6596
3497 | 97.6419
3496 | 97.6204
3495 | 97.5963
3494 | 97.5715
3493 | 97.5475
3492 | 97.5259
3491 | 97.5073
3490 | 97.4901
3489 | 97.4719
3488 | 97.4511
3487 | 97.4282
3486 | 97.405
3485 | 97.383
3484 | 97.3619
3483 | 97.3405
3482 | 97.3174
3481 | 97.2927
3480 | 97.2685
3479 | 97.2468
3478 | 97.2277
3477 | 97.2089
3476 | 97.1878
3475 | 97.1636
3474 | 97.1371
3473 | 97.1107
3472 | 97.0863
3471 | 97.0642
3470 | 97.0437
3469 | 97.0235
3468 | 97.002
3467 | 96.9785
3466 | 96.9535
3465 | 96.9288
3464 | 96.9059
3463 | 96.8843
3462 | 96.8622
3461 | 96.8385
3460 | 96.8139
3459 | 96.7893
3458 | 96.7645
3457 | 96.7387
3456 | 96.7118
3455 | 96.685
3454 | 96.6592
3453 | 96.6348
3452 | 96.612
3451 | 96.5907
3450 | 96.5695
3449 | 96.5455
3448 | 96.5159
3447 | 96.4817
3446 | 96.4467
3445 | 96.4158
3444 | 96.3905
3443 | 96.3683
3442 | 96.3452
3441 | 96.3194
3440 | 96.2924
3439 | 96.2665
3438 | 96.242
3437 | 96.218
3436 | 96.1935
3435 | 96.168
3434 | 96.1413
3433 | 96.1127
3432 | 96.0829
3431 | 96.0529
3430 | 96.0241
3429 | 95.9968
3428 | 95.9705
3427 | 95.9441
3426 | 95.917
3425 | 95.8898
3424 | 95.8632
3423 | 95.8363
3422 | 95.8071
3421 | 95.7753
3420 | 95.7432
3419 | 95.7139
3418 | 95.688
3417 | 95.6636
3416 | 95.6384
3415 | 95.6116
3414 | 95.5838
3413 | 95.556
3412 | 95.5298
3411 | 95.5055
3410 | 95.4822
3409 | 95.4591
3408 | 95.4357
3407 | 95.413
3406 | 95.3917
3405 | 95.3724
3404 | 95.3543
3403 | 95.3365
3402 | 95.3185
3401 | 95.3011
3400 | 95.286
3399 | 95.2738
3398 | 95.2628
3397 | 95.2517
3396 | 95.2402
3395 | 95.2285
3394 | 95.2157
3393 | 95.2006
3392 | 95.184
3391 | 95.1686
3390 | 95.1563
3389 | 95.1471
3388 | 95.1393
3387 | 95.131
3386 | 95.1214
3385 | 95.1105
3384 | 95.099
3383 | 95.0871
3382 | 95.0748
3381 | 95.0623
3380 | 95.0498
3379 | 95.0373
3378 | 95.0248
3377 | 95.0124
3376 | 95.0004
3375 | 94.9884
3374 | 94.9754
3373 | 94.961
3372 | 94.9454
3371 | 94.9299
3370 | 94.9154
3369 | 94.9026
3368 | 94.891
3367 | 94.8792
3366 | 94.8663
3365 | 94.8522
3364 | 94.8382
3363 | 94.8252
3362 | 94.8132
3361 | 94.8016
3360 | 94.7902
3359 | 94.7789
3358 | 94.7674
3357 | 94.7552
3356 | 94.7423
3355 | 94.7287
3354 | 94.7151
3353 | 94.7022
3352 | 94.6907
3351 | 94.6803
3350 | 94.6705
3349 | 94.6615
3348 | 94.6537
3347 | 94.647
3346 | 94.6405
3345 | 94.6336
3344 | 94.6269
3343 | 94.6213
3342 | 94.6173
3341 | 94.6149
3340 | 94.6137
3339 | 94.6134
3338 | 94.6132
3337 | 94.6134
3336 | 94.6146
3335 | 94.6179
3334 | 94.6233
3333 | 94.6306
3332 | 94.6389
3331 | 94.6474
3330 | 94.6554
3329 | 94.6631
3328 | 94.6711
3327 | 94.6795
3326 | 94.6879
3325 | 94.6957
3324 | 94.7033
3323 | 94.7108
3322 | 94.7183
3321 | 94.7257
3320 | 94.7331
3319 | 94.7404
3318 | 94.7472
3317 | 94.7533
3316 | 94.7593
3315 | 94.7647
3314 | 94.7687
3313 | 94.7709
3312 | 94.7721
3311 | 94.7737
3310 | 94.7758
3309 | 94.7773
3308 | 94.7777
3307 | 94.7774
3306 | 94.7769
3305 | 94.7769
3304 | 94.7774
3303 | 94.7784
3302 | 94.7793
3301 | 94.78
3300 | 94.7799
3299 | 94.7789
3298 | 94.7774
3297 | 94.7765
3296 | 94.7777
3295 | 94.7817
3294 | 94.7875
3293 | 94.7935
3292 | 94.7986
3291 | 94.802
3290 | 94.8038
3289 | 94.8053
3288 | 94.8084
3287 | 94.814
3286 | 94.8216
3285 | 94.8302
3284 | 94.8391
3283 | 94.8485
3282 | 94.8587
3281 | 94.8701
3280 | 94.8828
3279 | 94.8959
3278 | 94.9084
3277 | 94.9195
3276 | 94.9301
3275 | 94.9415
3274 | 94.9546
3273 | 94.9701
3272 | 94.9877
3271 | 95.0067
3270 | 95.026
3269 | 95.0451
3268 | 95.0639
3267 | 95.0829
3266 | 95.1024
3265 | 95.1229
3264 | 95.1441
3263 | 95.1654
3262 | 95.186
3261 | 95.2067
3260 | 95.2285
3259 | 95.252
3258 | 95.2758
3257 | 95.2984
3256 | 95.3191
3255 | 95.3384
3254 | 95.3579
3253 | 95.3789
3252 | 95.402
3251 | 95.4264
3250 | 95.4508
3249 | 95.4743
3248 | 95.4968
3247 | 95.518
3246 | 95.5379
3245 | 95.5577
3244 | 95.5788
3243 | 95.6015
3242 | 95.625
3241 | 95.6484
3240 | 95.672
3239 | 95.6956
3238 | 95.7184
3237 | 95.7394
3236 | 95.7591
3235 | 95.7792
3234 | 95.8008
3233 | 95.8239
3232 | 95.8479
3231 | 95.8722
3230 | 95.896
3229 | 95.919
3228 | 95.9413
3227 | 95.9631
3226 | 95.9846
3225 | 96.0062
3224 | 96.0286
3223 | 96.0522
3222 | 96.0763
3221 | 96.1004
3220 | 96.1248
3219 | 96.1501
3218 | 96.1763
3217 | 96.2026
3216 | 96.2279
3215 | 96.2515
3214 | 96.2735
3213 | 96.2949
3212 | 96.3167
3211 | 96.3393
3210 | 96.3621
3209 | 96.3848
3208 | 96.4081
3207 | 96.4329
3206 | 96.4589
3205 | 96.4853
3204 | 96.5107
3203 | 96.5346
3202 | 96.5575
3201 | 96.5804
3200 | 96.6041
3199 | 96.628
3198 | 96.6509
3197 | 96.6726
3196 | 96.6943
3195 | 96.7173
3194 | 96.7423
3193 | 96.7687
3192 | 96.7958
3191 | 96.8229
3190 | 96.849
3189 | 96.8742
3188 | 96.8989
3187 | 96.9228
3186 | 96.9451
3185 | 96.9656
3184 | 96.9858
3183 | 97.0076
3182 | 97.0317
3181 | 97.0571
3180 | 97.0825
3179 | 97.1066
3178 | 97.1292
3177 | 97.1509
3176 | 97.1733
3175 | 97.1974
3174 | 97.2233
3173 | 97.2505
3172 | 97.2783
3171 | 97.3056
3170 | 97.331
3169 | 97.3537
3168 | 97.3746
3167 | 97.3956
3166 | 97.4181
3165 | 97.4423
3164 | 97.4679
3163 | 97.4943
3162 | 97.5202
3161 | 97.5447
3160 | 97.5678
3159 | 97.5909
3158 | 97.6146
3157 | 97.6387
3156 | 97.6622
3155 | 97.6852
3154 | 97.7083
3153 | 97.7318
3152 | 97.7558
3151 | 97.7799
3150 | 97.8036
3149 | 97.8271
3148 | 97.8504
3147 | 97.8732
3146 | 97.8957
3145 | 97.9182
3144 | 97.9414
3143 | 97.9647
3142 | 97.9873
3141 | 98.0091
3140 | 98.0313
3139 | 98.0547
3138 | 98.0782
3137 | 98.1006
3136 | 98.1217
3135 | 98.142
3134 | 98.1618
3133 | 98.1813
3132 | 98.2014
3131 | 98.2229
3130 | 98.2447
3129 | 98.2655
3128 | 98.285
3127 | 98.3044
3126 | 98.3245
3125 | 98.3451
3124 | 98.3658
3123 | 98.3872
3122 | 98.4098
3121 | 98.433
3120 | 98.4559
3119 | 98.4775
3118 | 98.4976
3117 | 98.5163
3116 | 98.5342
3115 | 98.5518
3114 | 98.5692
3113 | 98.5868
3112 | 98.6051
3111 | 98.6248
3110 | 98.6454
3109 | 98.6658
3108 | 98.6852
3107 | 98.7033
3106 | 98.7198
3105 | 98.7349
3104 | 98.7501
3103 | 98.7668
3102 | 98.7845
3101 | 98.8016
3100 | 98.8174
3099 | 98.8327
3098 | 98.8486
3097 | 98.8649
3096 | 98.8811
3095 | 98.8968
3094 | 98.9126
3093 | 98.9286
3092 | 98.9447
3091 | 98.9601
3090 | 98.9742
3089 | 98.9875
3088 | 99.0012
3087 | 99.0161
3086 | 99.0317
3085 | 99.0469
3084 | 99.0612
3083 | 99.0746
3082 | 99.0871
3081 | 99.0989
3080 | 99.1105
3079 | 99.1224
3078 | 99.1342
3077 | 99.1458
3076 | 99.1576
3075 | 99.17
3074 | 99.1822
3073 | 99.1932
3072 | 99.203
3071 | 99.2126
3070 | 99.2226
3069 | 99.2333
3068 | 99.245
3067 | 99.2576
3066 | 99.27
3065 | 99.2814
3064 | 99.2921
3063 | 99.3034
3062 | 99.3156
3061 | 99.3281
3060 | 99.3402
3059 | 99.3515
3058 | 99.3621
3057 | 99.3721
3056 | 99.3821
3055 | 99.3927
3054 | 99.4037
3053 | 99.4143
3052 | 99.424
3051 | 99.4334
3050 | 99.4424
3049 | 99.4514
3048 | 99.461
3047 | 99.4716
3046 | 99.4823
3045 | 99.4919
3044 | 99.5002
3043 | 99.508
3042 | 99.5154
3041 | 99.5224
3040 | 99.5295
3039 | 99.5373
3038 | 99.5453
3037 | 99.5523
3036 | 99.5579
3035 | 99.5631
3034 | 99.5685
3033 | 99.574
3032 | 99.5792
3031 | 99.5847
3030 | 99.5908
3029 | 99.5974
3028 | 99.604
3027 | 99.6103
3026 | 99.6154
3025 | 99.6187
3024 | 99.6207
3023 | 99.6226
3022 | 99.6256
3021 | 99.6293
3020 | 99.6326
3019 | 99.635
3018 | 99.6371
3017 | 99.6398
3016 | 99.6439
3015 | 99.6491
3014 | 99.6545
3013 | 99.659
3012 | 99.6619
3011 | 99.6632
3010 | 99.6628
3009 | 99.661
3008 | 99.6591
3007 | 99.6577
3006 | 99.6565
3005 | 99.6549
3004 | 99.6526
3003 | 99.6501
3002 | 99.6481
3001 | 99.6465
3000 | 99.6455
2999 | 99.6448
2998 | 99.6432
2997 | 99.6397
2996 | 99.6343
2995 | 99.6279
2994 | 99.6211
2993 | 99.6136
2992 | 99.6047
2991 | 99.5937
2990 | 99.58
2989 | 99.5643
2988 | 99.5481
2987 | 99.5321
2986 | 99.5153
2985 | 99.4964
2984 | 99.4753
2983 | 99.4522
2982 | 99.4269
2981 | 99.3984
2980 | 99.3666
2979 | 99.3324
2978 | 99.2957
2977 | 99.2555
2976 | 99.2111
2975 | 99.1624
2974 | 99.11
2973 | 99.0543
2972 | 98.9955
2971 | 98.933
2970 | 98.8657
2969 | 98.7935
2968 | 98.7178
2967 | 98.6409
2966 | 98.5637
2965 | 98.4865
2964 | 98.4095
2963 | 98.3343
2962 | 98.2621
2961 | 98.1932
2960 | 98.1283
2959 | 98.0688
2958 | 98.0163
2957 | 97.9717
2956 | 97.9351
2955 | 97.9063
2954 | 97.8846
2953 | 97.8694
2952 | 97.86
2951 | 97.855
2950 | 97.8519
2949 | 97.847
2948 | 97.8374
2947 | 97.8208
2946 | 97.796
2945 | 97.7617
2944 | 97.7176
2943 | 97.6642
2942 | 97.6029
2941 | 97.5348
2940 | 97.4598
2939 | 97.3771
2938 | 97.2861
2937 | 97.1875
2936 | 97.0837
2935 | 96.9772
2934 | 96.8698
2933 | 96.7626
2932 | 96.6556
2931 | 96.5488
2930 | 96.4423
2929 | 96.3384
2928 | 96.2414
2927 | 96.1554
2926 | 96.083
2925 | 96.0263
2924 | 95.9883
2923 | 95.9718
2922 | 95.9778
2921 | 96.0037
2920 | 96.0459
2919 | 96.1023
2918 | 96.172
2917 | 96.2542
2916 | 96.3465
2915 | 96.4449
2914 | 96.5447
2913 | 96.6417
2912 | 96.7323
2911 | 96.8134
2910 | 96.8836
2909 | 96.9437
2908 | 96.9958
2907 | 97.0424
2906 | 97.0851
2905 | 97.1245
2904 | 97.1611
2903 | 97.1955
2902 | 97.2289
2901 | 97.2625
2900 | 97.2975
2899 | 97.3341
2898 | 97.3718
2897 | 97.4097
2896 | 97.4475
2895 | 97.4852
2894 | 97.5231
2893 | 97.5622
2892 | 97.603
2891 | 97.6453
2890 | 97.6872
2889 | 97.7275
2888 | 97.7657
2887 | 97.8023
2886 | 97.8371
2885 | 97.8692
2884 | 97.8978
2883 | 97.9219
2882 | 97.9406
2881 | 97.9535
2880 | 97.9602
2879 | 97.9605
2878 | 97.9539
2877 | 97.9406
2876 | 97.9232
2875 | 97.9053
2874 | 97.8905
2873 | 97.8809
2872 | 97.8777
2871 | 97.8814
2870 | 97.8911
2869 | 97.9053
2868 | 97.9214
2867 | 97.9359
2866 | 97.9447
2865 | 97.9449
2864 | 97.9351
2863 | 97.9154
2862 | 97.8858
2861 | 97.8464
2860 | 97.798
2859 | 97.7426
2858 | 97.6838
2857 | 97.6265
2856 | 97.577
2855 | 97.5416
2854 | 97.5245
2853 | 97.5291
2852 | 97.558
2851 | 97.6143
2850 | 97.6988
2849 | 97.8095
2848 | 97.9405
2847 | 98.0834
2846 | 98.2291
2845 | 98.3699
2844 | 98.5012
2843 | 98.6215
2842 | 98.7307
2841 | 98.8299
2840 | 98.9202
2839 | 99.0025
2838 | 99.0772
2837 | 99.1453
2836 | 99.2077
2835 | 99.2653
2834 | 99.3175
2833 | 99.364
2832 | 99.4056
2831 | 99.4439
2830 | 99.4793
2829 | 99.5119
2828 | 99.5419
2827 | 99.57
2826 | 99.5963
2825 | 99.6209
2824 | 99.6439
2823 | 99.6664
2822 | 99.6887
2821 | 99.7104
2820 | 99.731
2819 | 99.7497
2818 | 99.7663
2817 | 99.7813
2816 | 99.796
2815 | 99.8115
2814 | 99.8274
2813 | 99.8428
2812 | 99.8575
2811 | 99.8718
2810 | 99.8854
2809 | 99.8978
2808 | 99.9087
2807 | 99.9192
2806 | 99.9301
2805 | 99.9418
2804 | 99.9538
2803 | 99.9651
2802 | 99.9753
2801 | 99.9846
2800 | 99.9947
2799 | 100.0061
2798 | 100.0175
2797 | 100.0275
2796 | 100.0361
2795 | 100.0442
2794 | 100.0524
2793 | 100.0605
2792 | 100.0686
2791 | 100.077
2790 | 100.0853
2789 | 100.0928
2788 | 100.0996
2787 | 100.1062
2786 | 100.1125
2785 | 100.1181
2784 | 100.1232
2783 | 100.1286
2782 | 100.1342
2781 | 100.1396
2780 | 100.1447
2779 | 100.1499
2778 | 100.1556
2777 | 100.1616
2776 | 100.1678
2775 | 100.1741
2774 | 100.1798
2773 | 100.1842
2772 | 100.1879
2771 | 100.1916
2770 | 100.1956
2769 | 100.1995
2768 | 100.2035
2767 | 100.208
2766 | 100.2127
2765 | 100.2167
2764 | 100.22
2763 | 100.2229
2762 | 100.2254
2761 | 100.2278
2760 | 100.2306
2759 | 100.2343
2758 | 100.2386
2757 | 100.2423
2756 | 100.2451
2755 | 100.2474
2754 | 100.2495
2753 | 100.2513
2752 | 100.2538
2751 | 100.2579
2750 | 100.2632
2749 | 100.2681
2748 | 100.2711
2747 | 100.2722
2746 | 100.2723
2745 | 100.2724
2744 | 100.2733
2743 | 100.2755
2742 | 100.278
2741 | 100.2801
2740 | 100.2816
2739 | 100.2833
2738 | 100.2854
2737 | 100.2877
2736 | 100.2902
2735 | 100.2931
2734 | 100.2958
2733 | 100.2976
2732 | 100.299
2731 | 100.301
2730 | 100.3039
2729 | 100.307
2728 | 100.3103
2727 | 100.3141
2726 | 100.3181
2725 | 100.3216
2724 | 100.325
2723 | 100.3288
2722 | 100.333
2721 | 100.3373
2720 | 100.3416
2719 | 100.3466
2718 | 100.3521
2717 | 100.3572
2716 | 100.3615
2715 | 100.3656
2714 | 100.3698
2713 | 100.374
2712 | 100.3782
2711 | 100.3825
2710 | 100.3869
2709 | 100.3914
2708 | 100.3961
2707 | 100.4012
2706 | 100.406
2705 | 100.4096
2704 | 100.4125
2703 | 100.4157
2702 | 100.4198
2701 | 100.4243
2700 | 100.4289
2699 | 100.4336
2698 | 100.4376
2697 | 100.4405
2696 | 100.4427
2695 | 100.4453
2694 | 100.4486
2693 | 100.4517
2692 | 100.4544
2691 | 100.4577
2690 | 100.462
2689 | 100.4669
2688 | 100.4715
2687 | 100.4759
2686 | 100.4798
2685 | 100.483
2684 | 100.4856
2683 | 100.4882
2682 | 100.4911
2681 | 100.4944
2680 | 100.4983
2679 | 100.503
2678 | 100.5079
2677 | 100.512
2676 | 100.5152
2675 | 100.5179
2674 | 100.5202
2673 | 100.5221
2672 | 100.524
2671 | 100.527
2670 | 100.5309
2669 | 100.5347
2668 | 100.5379
2667 | 100.541
2666 | 100.5445
2665 | 100.5485
2664 | 100.5527
2663 | 100.5566
2662 | 100.5596
2661 | 100.5611
2660 | 100.5619
2659 | 100.5634
2658 | 100.5659
2657 | 100.5692
2656 | 100.5731
2655 | 100.5776
2654 | 100.5818
2653 | 100.5849
2652 | 100.5867
2651 | 100.5881
2650 | 100.5901
2649 | 100.5928
2648 | 100.5964
2647 | 100.6007
2646 | 100.6051
2645 | 100.6086
2644 | 100.6111
2643 | 100.6131
2642 | 100.6147
2641 | 100.6159
2640 | 100.6174
2639 | 100.6197
2638 | 100.6226
2637 | 100.6249
2636 | 100.6267
2635 | 100.629
2634 | 100.6319
2633 | 100.6349
2632 | 100.6379
2631 | 100.6411
2630 | 100.6441
2629 | 100.646
2628 | 100.6469
2627 | 100.648
2626 | 100.6491
2625 | 100.6494
2624 | 100.6493
2623 | 100.6504
2622 | 100.6537
2621 | 100.6583
2620 | 100.6631
2619 | 100.6677
2618 | 100.6718
2617 | 100.6749
2616 | 100.6769
2615 | 100.6784
2614 | 100.6797
2613 | 100.6806
2612 | 100.6815
2611 | 100.6829
2610 | 100.6844
2609 | 100.6853
2608 | 100.6856
2607 | 100.6866
2606 | 100.6887
2605 | 100.6913
2604 | 100.6938
2603 | 100.6963
2602 | 100.6983
2601 | 100.6991
2600 | 100.6989
2599 | 100.6991
2598 | 100.7005
2597 | 100.7023
2596 | 100.7039
2595 | 100.7055
2594 | 100.7073
2593 | 100.7091
2592 | 100.7115
2591 | 100.7149
2590 | 100.7187
2589 | 100.7217
2588 | 100.7235
2587 | 100.7247
2586 | 100.7253
2585 | 100.7252
2584 | 100.7253
2583 | 100.7268
2582 | 100.7302
2581 | 100.7341
2580 | 100.7373
2579 | 100.7393
2578 | 100.74
2577 | 100.74
2576 | 100.7406
2575 | 100.7427
2574 | 100.7456
2573 | 100.7475
2572 | 100.7482
2571 | 100.7489
2570 | 100.7503
2569 | 100.7523
2568 | 100.7546
2567 | 100.7575
2566 | 100.7603
2565 | 100.7624
2564 | 100.7639
2563 | 100.7652
2562 | 100.7661
2561 | 100.766
2560 | 100.7654
2559 | 100.7652
2558 | 100.7652
2557 | 100.7651
2556 | 100.7655
2555 | 100.7678
2554 | 100.7716
2553 | 100.7752
2552 | 100.7775
2551 | 100.7786
2550 | 100.779
2549 | 100.779
2548 | 100.7799
2547 | 100.7825
2546 | 100.7851
2545 | 100.7862
2544 | 100.7862
2543 | 100.7874
2542 | 100.79
2541 | 100.7927
2540 | 100.7945
2539 | 100.7963
2538 | 100.7987
2537 | 100.8008
2536 | 100.8025
2535 | 100.8039
2534 | 100.8047
2533 | 100.8043
2532 | 100.8032
2531 | 100.803
2530 | 100.804
2529 | 100.8052
2528 | 100.8058
2527 | 100.8068
2526 | 100.8087
2525 | 100.8117
2524 | 100.8153
2523 | 100.8189
2522 | 100.821
2521 | 100.8202
2520 | 100.8173
2519 | 100.8147
2518 | 100.814
2517 | 100.8151
2516 | 100.8176
2515 | 100.8211
2514 | 100.8247
2513 | 100.8274
2512 | 100.829
2511 | 100.8301
2510 | 100.8306
2509 | 100.8309
2508 | 100.8321
2507 | 100.8352
2506 | 100.8389
2505 | 100.8413
2504 | 100.8424
2503 | 100.8438
2502 | 100.8462
2501 | 100.8491
2500 | 100.8525
2499 | 100.857
2498 | 100.862
2497 | 100.8663
2496 | 100.87
2495 | 100.8736
2494 | 100.8764
2493 | 100.8772
2492 | 100.8772
2491 | 100.8783
2490 | 100.8805
2489 | 100.8824
2488 | 100.8835
2487 | 100.885
2486 | 100.8869
2485 | 100.8881
2484 | 100.8885
2483 | 100.8897
2482 | 100.8924
2481 | 100.8956
2480 | 100.8985
2479 | 100.901
2478 | 100.9032
2477 | 100.9052
2476 | 100.9083
2475 | 100.9131
2474 | 100.9177
2473 | 100.9197
2472 | 100.9192
2471 | 100.9195
2470 | 100.9218
2469 | 100.925
2468 | 100.9272
2467 | 100.9287
2466 | 100.9299
2465 | 100.9312
2464 | 100.9334
2463 | 100.9372
2462 | 100.9411
2461 | 100.9435
2460 | 100.9443
2459 | 100.9457
2458 | 100.9482
2457 | 100.9507
2456 | 100.9523
2455 | 100.9534
2454 | 100.9542
2453 | 100.9545
2452 | 100.9548
2451 | 100.9566
2450 | 100.9596
2449 | 100.9621
2448 | 100.9633
2447 | 100.9638
2446 | 100.9643
2445 | 100.9648
2444 | 100.9654
2443 | 100.967
2442 | 100.9698
2441 | 100.9728
2440 | 100.976
2439 | 100.9797
2438 | 100.9831
2437 | 100.985
2436 | 100.9856
2435 | 100.9858
2434 | 100.9864
2433 | 100.9868
2432 | 100.9874
2431 | 100.9889
2430 | 100.9911
2429 | 100.9936
2428 | 100.9964
2427 | 100.9997
2426 | 101.0024
2425 | 101.0036
2424 | 101.0045
2423 | 101.0063
2422 | 101.0087
2421 | 101.0097
2420 | 101.0096
2419 | 101.0105
2418 | 101.0132
2417 | 101.0166
2416 | 101.0197
2415 | 101.0223
2414 | 101.0241
2413 | 101.0245
2412 | 101.0244
2411 | 101.0256
2410 | 101.0289
2409 | 101.0333
2408 | 101.0379
2407 | 101.0421
2406 | 101.0454
2405 | 101.0473
2404 | 101.0486
2403 | 101.05
2402 | 101.0514
2401 | 101.0522
2400 | 101.0527
2399 | 101.0538
2398 | 101.0549
2397 | 101.0553
2396 | 101.0552
2395 | 101.0559
2394 | 101.057
2393 | 101.0575
2392 | 101.0578
2391 | 101.0591
2390 | 101.0613
2389 | 101.0629
2388 | 101.0633
2387 | 101.063
2386 | 101.0616
2385 | 101.0584
2384 | 101.0535
2383 | 101.0481
2382 | 101.0428
2381 | 101.0376
2380 | 101.0325
2379 | 101.0278
2378 | 101.0232
2377 | 101.0177
2376 | 101.0124
2375 | 101.0091
2374 | 101.0077
2373 | 101.0065
2372 | 101.0062
2371 | 101.0086
2370 | 101.013
2369 | 101.0158
2368 | 101.0156
2367 | 101.0137
2366 | 101.0103
2365 | 101.005
2364 | 100.9989
2363 | 100.9944
2362 | 100.9926
2361 | 100.992
2360 | 100.9921
2359 | 100.9939
2358 | 100.9939
2357 | 100.99
2356 | 100.9861
2355 | 100.9855
2354 | 100.9873
2353 | 100.9857
2352 | 100.9791
2351 | 100.9706
2350 | 100.9668
2349 | 100.9717
2348 | 100.9784
2347 | 100.9766
2346 | 100.9575
2345 | 100.9221
2344 | 100.8846
2343 | 100.8599
2342 | 100.8538
2341 | 100.8577
2340 | 100.8694
2339 | 100.8929
2338 | 100.9263
2337 | 100.9617
2336 | 100.9909
2335 | 101.0131
2334 | 101.0282
2333 | 101.0372
2332 | 101.0412
2331 | 101.0445
2330 | 101.0467
2329 | 101.049
2328 | 101.0496
2327 | 101.0537
2326 | 101.0603
2325 | 101.0676
2324 | 101.0738
2323 | 101.0798
2322 | 101.0874
2321 | 101.0941
2320 | 101.099
2319 | 101.103
2318 | 101.1065
2317 | 101.1101
2316 | 101.1129
2315 | 101.1167
2314 | 101.1186
2313 | 101.1187
2312 | 101.1163
2311 | 101.1158
2310 | 101.116
2309 | 101.1165
2308 | 101.1159
2307 | 101.1177
2306 | 101.121
2305 | 101.1243
2304 | 101.1257
2303 | 101.1268
2302 | 101.1276
2301 | 101.1284
2300 | 101.1288
2299 | 101.1306
2298 | 101.1329
2297 | 101.1347
2296 | 101.1352
2295 | 101.137
2294 | 101.1404
2293 | 101.1438
2292 | 101.1454
2291 | 101.1457
2290 | 101.1453
2289 | 101.1443
2288 | 101.144
2287 | 101.1458
2286 | 101.149
2285 | 101.1511
2284 | 101.1514
2283 | 101.1509
2282 | 101.15
2281 | 101.1477
2280 | 101.1449
2279 | 101.1438
2278 | 101.1449
2277 | 101.1457
2276 | 101.145
2275 | 101.1442
2274 | 101.1444
2273 | 101.1452
2272 | 101.146
2271 | 101.1469
2270 | 101.1476
2269 | 101.1472
2268 | 101.1465
2267 | 101.1466
2266 | 101.1467
2265 | 101.1451
2264 | 101.143
2263 | 101.1431
2262 | 101.1454
2261 | 101.1474
2260 | 101.1482
2259 | 101.1486
2258 | 101.1481
2257 | 101.1456
2256 | 101.1427
2255 | 101.1425
2254 | 101.1444
2253 | 101.1448
2252 | 101.1426
2251 | 101.1408
2250 | 101.1405
2249 | 101.1402
2248 | 101.1392
2247 | 101.1394
2246 | 101.1413
2245 | 101.1434
2244 | 101.1448
2243 | 101.1463
2242 | 101.1474
2241 | 101.1467
2240 | 101.1452
2239 | 101.1456
2238 | 101.1468
2237 | 101.1456
2236 | 101.142
2235 | 101.1399
2234 | 101.141
2233 | 101.1429
2232 | 101.1443
2231 | 101.1463
2230 | 101.1489
2229 | 101.1503
2228 | 101.1509
2227 | 101.1526
2226 | 101.1548
2225 | 101.1546
2224 | 101.153
2223 | 101.1536
2222 | 101.1562
2221 | 101.1567
2220 | 101.1539
2219 | 101.1518
2218 | 101.1526
2217 | 101.1542
2216 | 101.1545
2215 | 101.1547
2214 | 101.1555
2213 | 101.1547
2212 | 101.1521
2211 | 101.1502
2210 | 101.1504
2209 | 101.1512
2208 | 101.1513
2207 | 101.1517
2206 | 101.152
2205 | 101.1509
2204 | 101.1498
2203 | 101.1517
2202 | 101.1557
2201 | 101.1579
2200 | 101.1571
2199 | 101.1564
2198 | 101.1565
2197 | 101.1554
2196 | 101.1535
2195 | 101.1542
2194 | 101.1582
2193 | 101.1617
2192 | 101.1625
2191 | 101.1622
2190 | 101.1622
2189 | 101.1615
2188 | 101.1605
2187 | 101.1607
2186 | 101.161
2185 | 101.1585
2184 | 101.1546
2183 | 101.1547
2182 | 101.1597
2181 | 101.1643
2180 | 101.1652
2179 | 101.1638
2178 | 101.1622
2177 | 101.1602
2176 | 101.1581
2175 | 101.1575
2174 | 101.157
2173 | 101.1535
2172 | 101.1483
2171 | 101.1464
2170 | 101.1493
2169 | 101.1525
2168 | 101.1522
2167 | 101.15
2166 | 101.1481
2165 | 101.1465
2164 | 101.1452
2163 | 101.1447
2162 | 101.1434
2161 | 101.1393
2160 | 101.1348
2159 | 101.1345
2158 | 101.138
2157 | 101.1405
2156 | 101.141
2155 | 101.1429
2154 | 101.1469
2153 | 101.1503
2152 | 101.1519
2151 | 101.1527
2150 | 101.1519
2149 | 101.1483
2148 | 101.1453
2147 | 101.148
2146 | 101.156
2145 | 101.1636
2144 | 101.1679
2143 | 101.1697
2142 | 101.1691
2141 | 101.1646
2140 | 101.1583
2139 | 101.1554
2138 | 101.157
2137 | 101.1601
2136 | 101.1623
2135 | 101.1643
2134 | 101.1655
2133 | 101.1646
2132 | 101.163
2131 | 101.1632
2130 | 101.1643
2129 | 101.1636
2128 | 101.1618
2127 | 101.1621
2126 | 101.1647
2125 | 101.1669
2124 | 101.1684
2123 | 101.171
2122 | 101.1738
2121 | 101.1739
2120 | 101.1719
2119 | 101.1718
2118 | 101.1742
2117 | 101.1758
2116 | 101.1759
2115 | 101.1772
2114 | 101.1806
2113 | 101.1829
2112 | 101.1818
2111 | 101.1795
2110 | 101.1783
2109 | 101.1784
2108 | 101.1795
2107 | 101.1821
2106 | 101.1854
2105 | 101.1876
2104 | 101.1891
2103 | 101.1918
2102 | 101.1945
2101 | 101.1948
2100 | 101.1938
2099 | 101.1951
2098 | 101.1997
2097 | 101.2046
2096 | 101.2082
2095 | 101.2113
2094 | 101.2128
2093 | 101.2115
2092 | 101.2096
2091 | 101.2108
2090 | 101.2144
2089 | 101.2165
2088 | 101.2169
2087 | 101.2189
2086 | 101.2227
2085 | 101.2251
2084 | 101.2255
2083 | 101.2272
2082 | 101.2305
2081 | 101.2322
2080 | 101.2312
2079 | 101.2309
2078 | 101.2327
2077 | 101.2349
2076 | 101.2373
2075 | 101.2416
2074 | 101.2466
2073 | 101.2483
2072 | 101.2472
2071 | 101.2486
2070 | 101.2544
2069 | 101.2604
2068 | 101.264
2067 | 101.267
2066 | 101.2704
2065 | 101.2722
2064 | 101.2715
2063 | 101.2715
2062 | 101.2731
2061 | 101.2737
2060 | 101.2729
2059 | 101.2734
2058 | 101.276
2057 | 101.2785
2056 | 101.2808
2055 | 101.285
2054 | 101.2895
2053 | 101.2894
2052 | 101.2849
2051 | 101.2824
2050 | 101.2858
2049 | 101.2925
2048 | 101.2995
2047 | 101.3075
2046 | 101.3154
2045 | 101.3191
2044 | 101.3185
2043 | 101.3182
2042 | 101.3199
2041 | 101.3197
2040 | 101.3163
2039 | 101.3142
2038 | 101.3167
2037 | 101.3219
2036 | 101.3285
2035 | 101.337
2034 | 101.3447
2033 | 101.3469
2032 | 101.3451
2031 | 101.346
2030 | 101.3513
2029 | 101.3553
2028 | 101.3555
2027 | 101.3567
2026 | 101.3615
2025 | 101.367
2024 | 101.371
2023 | 101.3749
2022 | 101.3789
2021 | 101.3808
2020 | 101.3824
2019 | 101.3879
2018 | 101.3955
2017 | 101.3983
2016 | 101.395
2015 | 101.3915
2014 | 101.3906
2013 | 101.3899
2012 | 101.3897
2011 | 101.3945
2010 | 101.4041
2009 | 101.413
2008 | 101.4191
2007 | 101.4257
2006 | 101.4324
2005 | 101.4343
2004 | 101.4307
2003 | 101.4273
2002 | 101.4266
2001 | 101.4255
2000 | 101.4235
1999 | 101.4242
1998 | 101.4281
1997 | 101.4307
1996 | 101.4317
1995 | 101.4367
1994 | 101.447
1993 | 101.4554
1992 | 101.4562
1991 | 101.4524
1990 | 101.4489
1989 | 101.4455
1988 | 101.4413
1987 | 101.4388
1986 | 101.4395
1985 | 101.4413
1984 | 101.4432
1983 | 101.4469
1982 | 101.4519
1981 | 101.4547
1980 | 101.4555
1979 | 101.4585
1978 | 101.4643
1977 | 101.4684
1976 | 101.4689
1975 | 101.4687
1974 | 101.4685
1973 | 101.4655
1972 | 101.4613
1971 | 101.4619
1970 | 101.4688
1969 | 101.4766
1968 | 101.4801
1967 | 101.4789
1966 | 101.4736
1965 | 101.4652
1964 | 101.4581
1963 | 101.4569
1962 | 101.4594
1961 | 101.4594
1960 | 101.4563
1959 | 101.4545
1958 | 101.454
1957 | 101.4501
1956 | 101.4431
1955 | 101.4388
1954 | 101.4388
1953 | 101.4386
1952 | 101.4356
1951 | 101.433
1950 | 101.433
1949 | 101.4338
1948 | 101.4339
1947 | 101.4341
1946 | 101.4344
1945 | 101.4344
1944 | 101.4363
1943 | 101.4405
1942 | 101.4413
1941 | 101.4342
1940 | 101.4236
1939 | 101.418
1938 | 101.4188
1937 | 101.4202
1936 | 101.4196
1935 | 101.4194
1934 | 101.4202
1933 | 101.4189
1932 | 101.4159
1931 | 101.4152
1930 | 101.4173
1929 | 101.4185
1928 | 101.4172
1927 | 101.4158
1926 | 101.4161
1925 | 101.4177
1924 | 101.4208
1923 | 101.4239
1922 | 101.4226
1921 | 101.4155
1920 | 101.4095
1919 | 101.412
1918 | 101.419
1917 | 101.4193
1916 | 101.4118
1915 | 101.4051
1914 | 101.4037
1913 | 101.4043
1912 | 101.4047
1911 | 101.4072
1910 | 101.4112
1909 | 101.4114
1908 | 101.4065
1907 | 101.402
1906 | 101.4008
1905 | 101.3994
1904 | 101.396
1903 | 101.3937
1902 | 101.3945
1901 | 101.3951
1900 | 101.3938
1899 | 101.3929
1898 | 101.394
1897 | 101.3951
1896 | 101.3947
1895 | 101.3939
1894 | 101.3922
1893 | 101.388
1892 | 101.3835
1891 | 101.3845
1890 | 101.3904
1889 | 101.3935
1888 | 101.391
1887 | 101.3878
1886 | 101.3866
1885 | 101.3846
1884 | 101.3798
1883 | 101.3754
1882 | 101.3741
1881 | 101.3736
1880 | 101.3717
1879 | 101.3698
1878 | 101.369
1877 | 101.3677
1876 | 101.3655
1875 | 101.3648
1874 | 101.3649
1873 | 101.3621
1872 | 101.3573
1871 | 101.3586
1870 | 101.3708
1869 | 101.3846
1868 | 101.3881
1867 | 101.3826
1866 | 101.3748
1865 | 101.3669
1864 | 101.3597
1863 | 101.3556
1862 | 101.3547
1861 | 101.3545
1860 | 101.3531
1859 | 101.3522
1858 | 101.352
1857 | 101.3503
1856 | 101.3464
1855 | 101.3435
1854 | 101.3431
1853 | 101.3425
1852 | 101.3394
1851 | 101.3362
1850 | 101.3354
1849 | 101.3345
1848 | 101.3295
1847 | 101.3225
1846 | 101.3203
1845 | 101.3261
1844 | 101.3353
1843 | 101.3406
1842 | 101.3379
1841 | 101.3285
1840 | 101.3187
1839 | 101.3148
1838 | 101.3152
1837 | 101.3138
1836 | 101.3085
1835 | 101.3021
1834 | 101.2953
1833 | 101.2869
1832 | 101.2813
1831 | 101.2859
1830 | 101.2958
1829 | 101.297
1828 | 101.2855
1827 | 101.271
1826 | 101.2651
1825 | 101.2687
1824 | 101.2736
1823 | 101.2746
1822 | 101.2712
1821 | 101.2646
1820 | 101.2568
1819 | 101.251
1818 | 101.2485
1817 | 101.2466
1816 | 101.2421
1815 | 101.2352
1814 | 101.228
1813 | 101.2223
1812 | 101.2189
1811 | 101.217
1810 | 101.2144
1809 | 101.2089
1808 | 101.2011
1807 | 101.1932
1806 | 101.1849
1805 | 101.1731
1804 | 101.1583
1803 | 101.147
1802 | 101.1438
1801 | 101.1451
1800 | 101.1442
1799 | 101.1405
1798 | 101.1356
1797 | 101.1281
1796 | 101.1152
1795 | 101.0991
1794 | 101.0865
1793 | 101.0826
1792 | 101.0843
1791 | 101.0852
1790 | 101.0808
1789 | 101.0679
1788 | 101.0476
1787 | 101.0274
1786 | 101.0145
1785 | 101.0079
1784 | 101.0015
1783 | 100.9914
1782 | 100.9792
1781 | 100.9654
1780 | 100.9486
1779 | 100.9289
1778 | 100.9071
1777 | 100.883
1776 | 100.8576
1775 | 100.834
1774 | 100.8138
1773 | 100.7904
1772 | 100.7507
1771 | 100.6951
1770 | 100.6355
1769 | 100.5783
1768 | 100.5256
1767 | 100.4746
1766 | 100.4178
1765 | 100.3495
1764 | 100.272
1763 | 100.1923
1762 | 100.1123
1761 | 100.0289
1760 | 99.9422
1759 | 99.854
1758 | 99.7637
1757 | 99.6695
1756 | 99.5741
1755 | 99.4846
1754 | 99.4016
1753 | 99.3191
1752 | 99.2324
1751 | 99.1405
1750 | 99.0418
1749 | 98.9352
1748 | 98.8259
1747 | 98.7236
1746 | 98.6318
1745 | 98.5452
1744 | 98.4596
1743 | 98.3778
1742 | 98.3024
1741 | 98.2301
1740 | 98.1585
1739 | 98.0939
1738 | 98.0455
1737 | 98.0162
1736 | 98.0035
1735 | 98.0017
1734 | 97.99
1733 | 97.9605
1732 | 97.9307
1731 | 97.9149
1730 | 97.9163
1729 | 97.9305
1728 | 97.9533
1727 | 97.9845
1726 | 98.0231
1725 | 98.0672
1724 | 98.1154
1723 | 98.1667
1722 | 98.2173
1721 | 98.2676
1720 | 98.3301
1719 | 98.4189
1718 | 98.5194
1717 | 98.5968
1716 | 98.6446
1715 | 98.6829
1714 | 98.7274
1713 | 98.7782
1712 | 98.8293
1711 | 98.8792
1710 | 98.9269
1709 | 98.9684
1708 | 99.0028
1707 | 99.0372
1706 | 99.0729
1705 | 99.0985
1704 | 99.1071
1703 | 99.103
1702 | 99.0975
1701 | 99.1079
1700 | 99.1336
1699 | 99.1561
1698 | 99.1629
1697 | 99.1473
1696 | 99.1075
1695 | 99.0569
1694 | 99.0062
1693 | 98.9551
1692 | 98.9071
1691 | 98.8632
1690 | 98.8183
1689 | 98.7707
1688 | 98.7295
1687 | 98.7013
1686 | 98.677
1685 | 98.6313
1684 | 98.5374
1683 | 98.4341
1682 | 98.3641
1681 | 98.3121
1680 | 98.2593
1679 | 98.2019
1678 | 98.141
1677 | 98.0751
1676 | 98.0037
1675 | 97.9331
1674 | 97.8708
1673 | 97.814
1672 | 97.7556
1671 | 97.692
1670 | 97.6161
1669 | 97.5277
1668 | 97.4446
1667 | 97.3792
1666 | 97.3255
1665 | 97.2707
1664 | 97.207
1663 | 97.134
1662 | 97.0591
1661 | 96.9929
1660 | 96.9372
1659 | 96.89
1658 | 96.8489
1657 | 96.8163
1656 | 96.7993
1655 | 96.8059
1654 | 96.81
1653 | 96.7466
1652 | 96.6567
1651 | 96.5983
1650 | 96.5636
1649 | 96.5515
1648 | 96.5465
1647 | 96.5204
1646 | 96.4795
1645 | 96.4506
1644 | 96.4345
1643 | 96.4242
1642 | 96.4189
1641 | 96.4143
1640 | 96.4081
1639 | 96.407
1638 | 96.415
1637 | 96.42
1636 | 96.3962
1635 | 96.3551
1634 | 96.3356
1633 | 96.3382
1632 | 96.3474
1631 | 96.3581
1630 | 96.3686
1629 | 96.3758
1628 | 96.3772
1627 | 96.3779
1626 | 96.3846
1625 | 96.3962
1624 | 96.407
1623 | 96.4164
1622 | 96.4335
1621 | 96.4654
1620 | 96.5128
1619 | 96.5774
1618 | 96.6552
1617 | 96.7253
1616 | 96.7693
1615 | 96.7966
1614 | 96.825
1613 | 96.8607
1612 | 96.9001
1611 | 96.9371
1610 | 96.9688
1609 | 96.9932
1608 | 97.0083
1607 | 97.0165
1606 | 97.0221
1605 | 97.0259
1604 | 97.0246
1603 | 97.0175
1602 | 97.0052
1601 | 96.9867
1600 | 96.9613
1599 | 96.9325
1598 | 96.9054
1597 | 96.8821
1596 | 96.8631
1595 | 96.8525
1594 | 96.8573
1593 | 96.8809
1592 | 96.9229
1591 | 96.9836
1590 | 97.0625
1589 | 97.1548
1588 | 97.2538
1587 | 97.3562
1586 | 97.4605
1585 | 97.5627
1584 | 97.6587
1583 | 97.7488
1582 | 97.8343
1581 | 97.9131
1580 | 97.9858
1579 | 98.0615
1578 | 98.1511
1577 | 98.2497
1576 | 98.3354
1575 | 98.3961
1574 | 98.4369
1573 | 98.4695
1572 | 98.506
1571 | 98.5555
1570 | 98.6147
1569 | 98.6709
1568 | 98.7171
1567 | 98.7534
1566 | 98.7832
1565 | 98.8094
1564 | 98.8322
1563 | 98.8476
1562 | 98.8557
1561 | 98.859
1560 | 98.889
1559 | 98.909
1558 | 98.8983
1557 | 98.8948
1556 | 98.8896
1555 | 98.8799
1554 | 98.8712
1553 | 98.8588
1552 | 98.8414
1551 | 98.8236
1550 | 98.8085
1549 | 98.7924
1548 | 98.771
1547 | 98.7437
1546 | 98.717
1545 | 98.6962
1544 | 98.6795
1543 | 98.6676
1542 | 98.6673
1541 | 98.6762
1540 | 98.6728
1539 | 98.6652
1538 | 98.6647
1537 | 98.6574
1536 | 98.6483
1535 | 98.654
1534 | 98.6766
1533 | 98.7037
1532 | 98.7271
1531 | 98.7443
1530 | 98.7503
1529 | 98.7458
1528 | 98.738
1527 | 98.7314
1526 | 98.7237
1525 | 98.7108
1524 | 98.6918
1523 | 98.6664
1522 | 98.6237
1521 | 98.5579
1520 | 98.4853
1519 | 98.4158
1518 | 98.3432
1517 | 98.2606
1516 | 98.1755
1515 | 98.1013
1514 | 98.0348
1513 | 97.9669
1512 | 97.9009
1511 | 97.8433
1510 | 97.7991
1509 | 97.7701
1508 | 97.7538
1507 | 97.712
1506 | 97.6541
1505 | 97.6338
1504 | 97.6418
1503 | 97.6607
1502 | 97.6919
1501 | 97.7337
1500 | 97.789
1499 | 97.8624
1498 | 97.9521
1497 | 98.0473
1496 | 98.1392
1495 | 98.2187
1494 | 98.2753
1493 | 98.3097
1492 | 98.3377
1491 | 98.375
1490 | 98.4131
1489 | 98.4302
1488 | 98.4252
1487 | 98.4089
1486 | 98.3825
1485 | 98.3425
1484 | 98.2892
1483 | 98.2257
1482 | 98.1505
1481 | 98.0609
1480 | 97.9618
1479 | 97.8574
1478 | 97.7427
1477 | 97.6114
1476 | 97.4679
1475 | 97.3158
1474 | 97.1357
1473 | 96.8975
1472 | 96.6187
1471 | 96.3609
1470 | 96.1462
1469 | 95.956
1468 | 95.7789
1467 | 95.6143
1466 | 95.4586
1465 | 95.3104
1464 | 95.1892
1463 | 95.1149
1462 | 95.0774
1461 | 95.0565
1460 | 95.0442
1459 | 95.0361
1458 | 95.0125
1457 | 94.9591
1456 | 94.9164
1455 | 94.9165
1454 | 94.9428
1453 | 94.9801
1452 | 95.0234
1451 | 95.0698
1450 | 95.1177
1449 | 95.1668
1448 | 95.2193
1447 | 95.2755
1446 | 95.3324
1445 | 95.3848
1444 | 95.4284
1443 | 95.461
1442 | 95.4805
1441 | 95.4852
1440 | 95.4754
1439 | 95.4496
1438 | 95.4026
1437 | 95.3297
1436 | 95.2443
1435 | 95.1707
1434 | 95.1109
1433 | 95.0494
1432 | 94.9777
1431 | 94.8972
1430 | 94.8127
1429 | 94.7322
1428 | 94.6679
1427 | 94.6265
1426 | 94.6023
1425 | 94.5862
1424 | 94.5769
1423 | 94.5829
1422 | 94.6089
1421 | 94.6518
1420 | 94.7123
1419 | 94.7893
1418 | 94.8751
1417 | 94.9677
1416 | 95.0692
1415 | 95.1768
1414 | 95.2839
1413 | 95.3861
1412 | 95.4831
1411 | 95.5748
1410 | 95.6595
1409 | 95.7365
1408 | 95.8073
1407 | 95.8727
1406 | 95.9322
1405 | 95.9858
1404 | 96.035
1403 | 96.0799
1402 | 96.1184
1401 | 96.1503
1400 | 96.1783
1399 | 96.2035
1398 | 96.2258
1397 | 96.2444
1396 | 96.2561
1395 | 96.2574
1394 | 96.2501
1393 | 96.2391
1392 | 96.222
1391 | 96.1927
1390 | 96.1471
1389 | 96.0826
1388 | 95.9953
1387 | 95.8854
1386 | 95.7631
1385 | 95.6383
1384 | 95.5089
1383 | 95.3686
1382 | 95.2175
1381 | 95.0611
1380 | 94.907
1379 | 94.7645
1378 | 94.6447
1377 | 94.5521
1376 | 94.4808
1375 | 94.4201
1374 | 94.3655
1373 | 94.323
1372 | 94.2995
1371 | 94.2923
1370 | 94.2942
1369 | 94.3002
1368 | 94.3103
1367 | 94.3285
1366 | 94.3568
1365 | 94.3941
1364 | 94.4388
1363 | 94.4903
1362 | 94.5508
1361 | 94.6246
1360 | 94.7111
1359 | 94.8037
1358 | 94.8942
1357 | 94.9772
1356 | 95.0511
1355 | 95.1162
1354 | 95.1724
1353 | 95.2189
1352 | 95.2554
1351 | 95.2806
1350 | 95.2917
1349 | 95.2868
1348 | 95.266
1347 | 95.2302
1346 | 95.1795
1345 | 95.1146
1344 | 95.0398
1343 | 94.9601
1342 | 94.8771
1341 | 94.7881
1340 | 94.6912
1339 | 94.5905
1338 | 94.4951
1337 | 94.4113
1336 | 94.3412
1335 | 94.2848
1334 | 94.2423
1333 | 94.2126
1332 | 94.1942
1331 | 94.1848
1330 | 94.1806
1329 | 94.1766
1328 | 94.1683
1327 | 94.1525
1326 | 94.126
1325 | 94.0859
1324 | 94.0321
1323 | 93.9679
1322 | 93.8976
1321 | 93.8243
1320 | 93.7515
1319 | 93.6853
1318 | 93.6342
1317 | 93.6058
1316 | 93.605
1315 | 93.6336
1314 | 93.6901
1313 | 93.7708
1312 | 93.8724
1311 | 93.9921
1310 | 94.1258
1309 | 94.268
1308 | 94.4138
1307 | 94.56
1306 | 94.7041
1305 | 94.8443
1304 | 94.9796
1303 | 95.1091
1302 | 95.2313
1301 | 95.3452
1300 | 95.4502
1299 | 95.5455
1298 | 95.6294
1297 | 95.6996
1296 | 95.755
1295 | 95.7963
1294 | 95.8255
1293 | 95.8453
1292 | 95.8577
1291 | 95.8631
1290 | 95.8601
1289 | 95.8466
1288 | 95.8214
1287 | 95.785
1286 | 95.738
1285 | 95.6816
1284 | 95.618
1283 | 95.5504
1282 | 95.4824
1281 | 95.4161
1280 | 95.3513
1279 | 95.2865
1278 | 95.2189
1277 | 95.147
1276 | 95.0714
1275 | 94.9945
1274 | 94.9185
1273 | 94.8442
1272 | 94.7728
1271 | 94.7053
1270 | 94.6415
1269 | 94.5783
1268 | 94.5114
1267 | 94.4365
1266 | 94.3493
1265 | 94.2485
1264 | 94.1377
1263 | 94.0252
1262 | 93.9182
1261 | 93.8198
1260 | 93.7309
1259 | 93.6516
1258 | 93.5797
1257 | 93.511
1256 | 93.4417
1255 | 93.3699
1254 | 93.2937
1253 | 93.2114
1252 | 93.1234
1251 | 93.0326
1250 | 92.942
1249 | 92.8532
1248 | 92.7689
1247 | 92.6933
1246 | 92.629
1245 | 92.5756
1244 | 92.5326
1243 | 92.5004
1242 | 92.4779
1241 | 92.462
1240 | 92.4504
1239 | 92.4432
1238 | 92.4407
1237 | 92.4423
1236 | 92.4491
1235 | 92.4643
1234 | 92.4899
1233 | 92.5251
1232 | 92.5694
1231 | 92.6235
1230 | 92.6871
1229 | 92.7587
1228 | 92.8377
1227 | 92.9243
1226 | 93.0173
1225 | 93.1141
1224 | 93.2138
1223 | 93.3174
1222 | 93.4249
1221 | 93.5348
1220 | 93.6469
1219 | 93.7615
1218 | 93.878
1217 | 93.994
1216 | 94.1071
1215 | 94.215
1214 | 94.3131
1213 | 94.3953
1212 | 94.4572
1211 | 94.4977
1210 | 94.5184
1209 | 94.5238
1208 | 94.522
1207 | 94.5227
1206 | 94.5329
1205 | 94.5545
1204 | 94.5869
1203 | 94.6294
1202 | 94.6813
1201 | 94.7422
1200 | 94.8125
1199 | 94.8925
1198 | 94.9797
1197 | 95.0688
1196 | 95.1548
1195 | 95.2342
1194 | 95.3036
1193 | 95.3601
1192 | 95.4016
1191 | 95.4271
1190 | 95.4355
1189 | 95.426
1188 | 95.3994
1187 | 95.3572
1186 | 95.3
1185 | 95.2281
1184 | 95.142
1183 | 95.0431
1182 | 94.9313
1181 | 94.805
1180 | 94.6624
1179 | 94.502
1178 | 94.3223
1177 | 94.1214
1176 | 93.8982
1175 | 93.6525
1174 | 93.3841
1173 | 93.0922
1172 | 92.7785
1171 | 92.4473
1170 | 92.1042
1169 | 91.7546
1168 | 91.408
1167 | 91.0778
1166 | 90.7754
1165 | 90.5069
1164 | 90.277
1163 | 90.0902
1162 | 89.9461
1161 | 89.8381
1160 | 89.7603
1159 | 89.7104
1158 | 89.6841
1157 | 89.674
1156 | 89.6758
1155 | 89.6899
1154 | 89.7147
1153 | 89.7438
1152 | 89.7729
1151 | 89.8016
1150 | 89.8284
1149 | 89.8495
1148 | 89.8651
1147 | 89.8799
1146 | 89.8956
1145 | 89.909
1144 | 89.918
1143 | 89.9224
1142 | 89.9171
1141 | 89.8915
1140 | 89.837
1139 | 89.7508
1138 | 89.6299
1137 | 89.4705
1136 | 89.274
1135 | 89.0503
1134 | 88.8084
1133 | 88.5522
1132 | 88.2852
1131 | 88.0128
1130 | 87.736
1129 | 87.4513
1128 | 87.1608
1127 | 86.876
1126 | 86.6075
1125 | 86.359
1124 | 86.1344
1123 | 85.9403
1122 | 85.7749
1121 | 85.6243
1120 | 85.4733
1119 | 85.3122
1118 | 85.1303
1117 | 84.9165
1116 | 84.6713
1115 | 84.4111
1114 | 84.1536
1113 | 83.9091
1112 | 83.6868
1111 | 83.4968
1110 | 83.3388
1109 | 83.2006
1108 | 83.0736
1107 | 82.9601
1106 | 82.8623
1105 | 82.7772
1104 | 82.7065
1103 | 82.6591
1102 | 82.6379
1101 | 82.6349
1100 | 82.6439
1099 | 82.6651
1098 | 82.6949
1097 | 82.7231
1096 | 82.7445
1095 | 82.7625
1094 | 82.7769
1093 | 82.7804
1092 | 82.7703
1091 | 82.7515
1090 | 82.7258
1089 | 82.6878
1088 | 82.6367
1087 | 82.5785
1086 | 82.5144
1085 | 82.4362
1084 | 82.3393
1083 | 82.2268
1082 | 82.1001
1081 | 81.9553
1080 | 81.7944
1079 | 81.6288
1078 | 81.4674
1077 | 81.3111
1076 | 81.1617
1075 | 81.024
1074 | 80.8939
1073 | 80.7571
1072 | 80.603
1071 | 80.4299
1070 | 80.233
1069 | 80.0007
1068 | 79.7263
1067 | 79.4139
1066 | 79.0664
1065 | 78.6819
1064 | 78.2669
1063 | 77.8417
1062 | 77.4261
1061 | 77.0316
1060 | 76.6703
1059 | 76.3576
1058 | 76.0971
1057 | 75.8769
1056 | 75.6884
1055 | 75.5337
1054 | 75.4124
1053 | 75.3145
1052 | 75.2343
1051 | 75.1753
1050 | 75.135
1049 | 75.1007
1048 | 75.0663
1047 | 75.0362
1046 | 75.0082
1045 | 74.9677
1044 | 74.9044
1043 | 74.8188
1042 | 74.709
1041 | 74.566
1040 | 74.3889
1039 | 74.1905
1038 | 73.9835
1037 | 73.7743
1036 | 73.5748
1035 | 73.4054
1034 | 73.2795
1033 | 73.197
1032 | 73.1574
1031 | 73.1655
1030 | 73.2192
1029 | 73.3071
1028 | 73.4219
1027 | 73.565
1026 | 73.7335
1025 | 73.9169
1024 | 74.1102
1023 | 74.3169
1022 | 74.5368
1021 | 74.7623
1020 | 74.9898
1019 | 75.2228
1018 | 75.4594
1017 | 75.6889
1016 | 75.903
1015 | 76.1016
1014 | 76.283
1013 | 76.4402
1012 | 76.5694
1011 | 76.6735
1010 | 76.755
1009 | 76.815
1008 | 76.8605
1007 | 76.9049
1006 | 76.9584
1005 | 77.0251
1004 | 77.1119
1003 | 77.2296
1002 | 77.384
1001 | 77.5718
1000 | 77.7877
999 | 78.0265
998 | 78.2777
997 | 78.526
996 | 78.7608
995 | 78.9796
994 | 79.181
993 | 79.3611
992 | 79.5187
991 | 79.6574
990 | 79.7801
989 | 79.8884
988 | 79.9905
987 | 80.104
986 | 80.2487
985 | 80.4406
984 | 80.6931
983 | 81.0144
982 | 81.3997
981 | 81.8325
980 | 82.294
979 | 82.7691
978 | 83.2434
977 | 83.7034
976 | 84.1413
975 | 84.5558
974 | 84.9461
973 | 85.3102
972 | 85.6493
971 | 85.9677
970 | 86.2689
969 | 86.5532
968 | 86.8222
967 | 87.0802
966 | 87.3298
965 | 87.5709
964 | 87.8044
963 | 88.0334
962 | 88.259
961 | 88.4797
960 | 88.6946
959 | 88.9056
958 | 89.1131
957 | 89.3157
956 | 89.5121
955 | 89.7021
954 | 89.885
953 | 90.0581
952 | 90.2209
951 | 90.3749
950 | 90.521
949 | 90.6577
948 | 90.7845
947 | 90.903
946 | 91.0146
945 | 91.1186
944 | 91.215
943 | 91.3051
942 | 91.3896
941 | 91.4683
940 | 91.542
939 | 91.6119
938 | 91.6773
937 | 91.7363
936 | 91.7891
935 | 91.8383
934 | 91.8847
933 | 91.927
932 | 91.9642
931 | 91.9976
930 | 92.0272
929 | 92.0516
928 | 92.0699
927 | 92.0837
926 | 92.0938
925 | 92.0991
924 | 92.0997
923 | 92.0978
922 | 92.095
921 | 92.0916
920 | 92.0881
919 | 92.0861
918 | 92.0861
917 | 92.0862
916 | 92.0851
915 | 92.0833
914 | 92.0806
913 | 92.0763
912 | 92.0698
911 | 92.0615
910 | 92.0486
909 | 92.0256
908 | 91.9883
907 | 91.9364
906 | 91.8714
905 | 91.7954
904 | 91.7121
903 | 91.6279
902 | 91.5487
901 | 91.4793
900 | 91.4257
899 | 91.3946
898 | 91.39
897 | 91.4115
896 | 91.4587
895 | 91.5318
894 | 91.6288
893 | 91.7434
892 | 91.8687
891 | 91.9998
890 | 92.1331
889 | 92.2651
888 | 92.3927
887 | 92.5137
886 | 92.6248
885 | 92.723
884 | 92.8084
883 | 92.8827
882 | 92.9453
881 | 92.9939
880 | 93.0291
879 | 93.0561
878 | 93.0809
877 | 93.1076
876 | 93.1417
875 | 93.1903
874 | 93.2568
873 | 93.3385
872 | 93.4302
871 | 93.5264
870 | 93.621
869 | 93.7078
868 | 93.7835
867 | 93.8493
866 | 93.9073
865 | 93.9581
864 | 94.0019
863 | 94.0393
862 | 94.0702
861 | 94.095
860 | 94.1162
859 | 94.1366
858 | 94.1547
857 | 94.1664
856 | 94.1699
855 | 94.1678
854 | 94.1624
853 | 94.1539
852 | 94.144
851 | 94.1357
850 | 94.1291
849 | 94.1197
848 | 94.1041
847 | 94.0835
846 | 94.0611
845 | 94.0377
844 | 94.0138
843 | 93.9899
842 | 93.9642
841 | 93.9335
840 | 93.8977
839 | 93.8612
838 | 93.828
837 | 93.7976
836 | 93.7687
835 | 93.742
834 | 93.7183
833 | 93.6963
832 | 93.6759
831 | 93.6599
830 | 93.6494
829 | 93.6421
828 | 93.6351
827 | 93.6282
826 | 93.6213
825 | 93.613
824 | 93.6024
823 | 93.5918
822 | 93.5827
821 | 93.5741
820 | 93.5651
819 | 93.5566
818 | 93.5496
817 | 93.5435
816 | 93.5385
815 | 93.5353
814 | 93.5323
813 | 93.5254
812 | 93.5139
811 | 93.5011
810 | 93.4891
809 | 93.4766
808 | 93.462
807 | 93.4461
806 | 93.429
805 | 93.4088
804 | 93.3855
803 | 93.3622
802 | 93.3407
801 | 93.3195
800 | 93.298
799 | 93.2777
798 | 93.2585
797 | 93.2379
796 | 93.2151
795 | 93.1925
794 | 93.1705
793 | 93.1461
792 | 93.1179
791 | 93.0882
790 | 93.058
789 | 93.0259
788 | 92.9911
787 | 92.9555
786 | 92.9191
785 | 92.8794
784 | 92.8367
783 | 92.7956
782 | 92.7584
781 | 92.7228
780 | 92.6871
779 | 92.6529
778 | 92.6209
777 | 92.5882
776 | 92.5528
775 | 92.5161
774 | 92.478
773 | 92.4353
772 | 92.3862
771 | 92.3336
770 | 92.2793
769 | 92.2217
768 | 92.1601
767 | 92.0973
766 | 92.0344
765 | 91.9693
764 | 91.9014
763 | 91.8337
762 | 91.7674
761 | 91.6996
760 | 91.6299
759 | 91.5626
758 | 91.5002
757 | 91.4399
756 | 91.3798
755 | 91.3222
754 | 91.268
753 | 91.2137
752 | 91.1577
751 | 91.1028
750 | 91.0508
749 | 90.9992
748 | 90.9469
747 | 90.8963
746 | 90.8479
745 | 90.7973
744 | 90.743
743 | 90.6884
742 | 90.6355
741 | 90.5807
740 | 90.5218
739 | 90.4622
738 | 90.4037
737 | 90.3425
736 | 90.2757
735 | 90.2047
734 | 90.1294
733 | 90.045
732 | 89.9501
731 | 89.8493
730 | 89.7461
729 | 89.6382
728 | 89.5245
727 | 89.4085
726 | 89.2916
725 | 89.1702
724 | 89.0435
723 | 88.9154
722 | 88.7873
721 | 88.6573
720 | 88.5307
719 | 88.4192
718 | 88.3244
717 | 88.2337
716 | 88.1371
715 | 88.0378
714 | 87.9414
713 | 87.8466
712 | 87.7523
711 | 87.6637
710 | 87.5835
709 | 87.506
708 | 87.4268
707 | 87.3491
706 | 87.2749
705 | 87.1993
704 | 87.1217
703 | 87.0501
702 | 86.988
701 | 86.9282
700 | 86.865
699 | 86.8041
698 | 86.7507
697 | 86.7008
696 | 86.6517
695 | 86.6081
694 | 86.5704
693 | 86.5291
692 | 86.479
691 | 86.4266
690 | 86.3741
689 | 86.3123
688 | 86.2378
687 | 86.1606
686 | 86.0841
685 | 85.9948
684 | 85.884
683 | 85.7598
682 | 85.6247
681 | 85.4654
680 | 85.2743
679 | 85.0609
678 | 84.8298
677 | 84.5712
676 | 84.2864
675 | 83.9936
674 | 83.7044
673 | 83.4209
672 | 83.1642
671 | 82.9489
670 | 82.7393
669 | 82.4324
668 | 82.0228
667 | 81.7439
666 | 81.6844
665 | 81.6868
664 | 81.6532
663 | 81.5841
662 | 81.5178
661 | 81.4776
660 | 81.4637
659 | 81.4856
658 | 81.5542
657 | 81.6605
656 | 81.7882
655 | 81.933
654 | 82.0844
653 | 82.2159
652 | 82.3106
651 | 82.3787
650 | 82.4344
649 | 82.4721
648 | 82.4843
647 | 82.4809
646 | 82.4702
645 | 82.442
644 | 82.3913
643 | 82.3384
642 | 82.2998
641 | 82.2605
640 | 82.206
639 | 82.1545
638 | 82.1246
637 | 82.0969
636 | 82.0471
635 | 81.9896
634 | 81.9455
633 | 81.9015
632 | 81.8425
631 | 81.79
630 | 81.7631
629 | 81.736
628 | 81.6827
627 | 81.628
626 | 81.6068
625 | 81.6062
624 | 81.6044
623 | 81.621
622 | 81.6708
621 | 81.7244
620 | 81.7734
619 | 81.8682
618 | 82.0258
617 | 82.1715
616 | 82.2309
615 | 82.2159
614 | 82.1908
613 | 82.1912
612 | 82.2149
611 | 82.253
610 | 82.2899
609 | 82.3083
608 | 82.3194
607 | 82.354
606 | 82.4081
605 | 82.4428
604 | 82.4585
603 | 82.5193
602 | 82.6795
601 | 82.9331
600 | 83.2534

## Sample Details
Setting | Value
Filesname | NH-8
Creation Date
Analyst | mas-storage
X-Axis Units | cm-1
X-Axis start value | 4000
X-Axis end value | 600
Data interval | -1
Number of points | 3401
Y-Axis Units | %T
Description | 7Sample 1319 By mas-storage Date Wednesday, July 28 2021

## Instrument Details
Setting | Value
Instrument Model | Frontier FT-IR
Instrument Serial Number | 91175
Software Revision | CPU32 Main 00.09.9908 05-May-2009 15:52:12
Number of Scans | 32
Resolution | 4
Detector
Source | MIR
Beam Splitter | OptKBr
Apodization | Strong
Spectrum Type | Spectrum
Beam Type | Ratio
Phase Correction | Magnitude
Scan Speed | 1
IGram Type | Double
Scan Driection | Combined
Zero Crossing | 0
JStop | 8.94
IR-Laser Wavenumber | 15798.001999451375
Manufacturer | PIKE Technologies Inc.
Part Number | L1200385
Serial Number | 19250
Description | Miracle Accessory
Default Scan Range | 4000 450
Accessory Type | Miracle ATR
Temperature / °C
Slide Holder Option

## Quality Checks
Setting | Value
Water Vapor | Passed
Carbon Dioxide | Passed
Baseline Low | Passed
Baseline High | Passed
Baseline Slope | Passed
Strong Bands | Passed
Weak Bands | Warning
High Noise | Passed
Fringes | Warning
Vignetting | Passed
Blocked Beam | Passed
Negative Bands | Passed
Zero Transmission | Passed
Stray Light | Passed
Window Cuttoff | Passed