## Data
Wavelength / cm-1 | Transmittance / % | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1
4000 | 97.8808 |  | Baseline @ 1105 |  | Baseline @ 1735 |  | Baseline @ 2900 |  | Peak @ 1105 |  | Peak @ 1735 |  | Peak @ 2900
3999 | 97.8826 | 850 | 96.5211 | 1525 | 98.4555 | 2650 | 98.5541 | 1105 | 83.2534 | 1735 | 98.6775 | 2900 | 97.5714
3998 | 97.884 | 1210 | 96.9246 | 1780 | 99.3413 | 3000 | 98.0497 | 1105 | 96.8069 | 1735 | 99.185 | 2900 | 98.1938
3997 | 97.8851
3996 | 97.8862
3995 | 97.8872
3994 | 97.8885
3993 | 97.8913
3992 | 97.8956
3991 | 97.8996
3990 | 97.9014
3989 | 97.9007
3988 | 97.8987
3987 | 97.8968
3986 | 97.8956
3985 | 97.8953
3984 | 97.896
3983 | 97.8974
3982 | 97.899
3981 | 97.9004
3980 | 97.9015
3979 | 97.9027
3978 | 97.9042
3977 | 97.9057 |  |  | Baseline range |  |  | Transmittance |  |  |  | Equation of base line |  |  | Transmittance at peak value wavelength | Peak Intensity |  | Ratio
3976 | 97.9068 |  | Peak value
3975 | 97.9071 |  | Wavelength
3974 | 97.9071 |  | x1 | x2 | x3 |  | y1 | y2 | y3 |  | m | c
3973 | 97.9071 | [15 empty] | Lyceum
3972 | 97.9073 |  | 1105 | 850 | 1210 |  | 83.2534 | 96.5211 | 96.9246 |  | 0.0011209 | 95.5684 |  | 96.8069 | 13.5536 | R1 | 0.037443
3971 | 97.9072 |  | 1735 | 1525 | 1780 |  | 98.6775 | 98.4555 | 99.3413 |  | 0.0034741 | 93.1575 |  | 99.185 | 0.50749 | R2 | 0.81529
3970 | 97.9069 |  | 2900 | 2650 | 3000 |  | 97.5714 | 98.5541 | 98.0497 |  | -0.0014411 | 102.373 |  | 98.1938 | 0.62247
3969 | 97.9069
3968 | 97.9075 |  | From paper
3967 | 97.9085 |  | 1105 | 765 | 1185
3966 | 97.9097 |  | 1735 | 1485 | 1780
3965 | 97.9112 |  | 2900 | 2630 | 3000
3964 | 97.9132
3963 | 97.9155
3962 | 97.9178
3961 | 97.9202
3960 | 97.9228
3959 | 97.9255
3958 | 97.9267
3957 | 97.9252
3956 | 97.9209
3955 | 97.9153
3954 | 97.9102
3953 | 97.9071
3952 | 97.907
3951 | 97.9106
3950 | 97.9175
3949 | 97.9255
3948 | 97.9314
3947 | 97.9334
3946 | 97.9333
3945 | 97.9342
3944 | 97.9363
3943 | 97.9367
3942 | 97.9347
3941 | 97.9338
3940 | 97.937
3939 | 97.9406
3938 | 97.938
3937 | 97.9289
3936 | 97.9205
3935 | 97.9195
3934 | 97.925
3933 | 97.9306
3932 | 97.9324
3931 | 97.9318
3930 | 97.9314
3929 | 97.9312
3928 | 97.9295
3927 | 97.9263
3926 | 97.9228
3925 | 97.9192
3924 | 97.9156
3923 | 97.915
3922 | 97.9199
3921 | 97.9275
3920 | 97.9326
3919 | 97.9361
3918 | 97.9418
3917 | 97.9494
3916 | 97.9548
3915 | 97.957
3914 | 97.959
3913 | 97.9604
3912 | 97.9565
3911 | 97.9456
3910 | 97.932
3909 | 97.9197
3908 | 97.9098
3907 | 97.9021
3906 | 97.8975
3905 | 97.8958
3904 | 97.8952
3903 | 97.8967
3902 | 97.9049
3901 | 97.9209
3900 | 97.9356
3899 | 97.9392
3898 | 97.9335
3897 | 97.9284
3896 | 97.9258
3895 | 97.92
3894 | 97.9106
3893 | 97.9055
3892 | 97.9062
3891 | 97.9036
3890 | 97.8945
3889 | 97.8906
3888 | 97.9021
3887 | 97.9177
3886 | 97.9155
3885 | 97.8926
3884 | 97.8707
3883 | 97.873
3882 | 97.8958
3881 | 97.9121
3880 | 97.9068
3879 | 97.8919
3878 | 97.8879
3877 | 97.8996
3876 | 97.9102
3875 | 97.9
3874 | 97.8707
3873 | 97.8443
3872 | 97.8418
3871 | 97.8593
3870 | 97.8672
3869 | 97.8486
3868 | 97.8246
3867 | 97.8246
3866 | 97.8423
3865 | 97.8488
3864 | 97.841
3863 | 97.8417
3862 | 97.8609
3861 | 97.8833
3860 | 97.8905
3859 | 97.8805
3858 | 97.8611
3857 | 97.8391
3856 | 97.8218
3855 | 97.8154
3854 | 97.8138
3853 | 97.8022
3852 | 97.786
3851 | 97.7932
3850 | 97.8245
3849 | 97.8423
3848 | 97.8336
3847 | 97.826
3846 | 97.8349
3845 | 97.8489
3844 | 97.8531
3843 | 97.8434
3842 | 97.8243
3841 | 97.8044
3840 | 97.7902
3839 | 97.7797
3838 | 97.7671
3837 | 97.7528
3836 | 97.7444
3835 | 97.7479
3834 | 97.7625
3833 | 97.7823
3832 | 97.8006
3831 | 97.8138
3830 | 97.824
3829 | 97.8373
3828 | 97.8529
3827 | 97.8603
3826 | 97.8501
3825 | 97.8269
3824 | 97.8064
3823 | 97.7978
3822 | 97.7914
3821 | 97.7714
3820 | 97.7411
3819 | 97.7274
3818 | 97.7479
3817 | 97.7808
3816 | 97.795
3815 | 97.7939
3814 | 97.8053
3813 | 97.8412
3812 | 97.8759
3811 | 97.8805
3810 | 97.8662
3809 | 97.8618
3808 | 97.8691
3807 | 97.8654
3806 | 97.8363
3805 | 97.7988
3804 | 97.78
3803 | 97.7808
3802 | 97.7775
3801 | 97.7578
3800 | 97.7375
3799 | 97.7437
3798 | 97.7782
3797 | 97.8106
3796 | 97.8251
3795 | 97.8386
3794 | 97.866
3793 | 97.9021
3792 | 97.9302
3791 | 97.9425
3790 | 97.9453
3789 | 97.9463
3788 | 97.9474
3787 | 97.9487
3786 | 97.9509
3785 | 97.951
3784 | 97.9442
3783 | 97.9307
3782 | 97.917
3781 | 97.908
3780 | 97.9022
3779 | 97.8972
3778 | 97.8966
3777 | 97.9058
3776 | 97.9217
3775 | 97.9315
3774 | 97.9281
3773 | 97.9188
3772 | 97.9148
3771 | 97.9149
3770 | 97.9082
3769 | 97.8927
3768 | 97.8821
3767 | 97.8869
3766 | 97.8975
3765 | 97.8968
3764 | 97.8843
3763 | 97.8739
3762 | 97.8726
3761 | 97.8719
3760 | 97.8632
3759 | 97.8501
3758 | 97.8399
3757 | 97.8307
3756 | 97.8166
3755 | 97.7981
3754 | 97.7789
3753 | 97.7584
3752 | 97.7362
3751 | 97.715
3750 | 97.692
3749 | 97.6618
3748 | 97.6329
3747 | 97.63
3746 | 97.6643
3745 | 97.7089
3744 | 97.7277
3743 | 97.7248
3742 | 97.7405
3741 | 97.7802
3740 | 97.7937
3739 | 97.7684
3738 | 97.7514
3737 | 97.7635
3736 | 97.7822
3735 | 97.7872
3734 | 97.7864
3733 | 97.7952
3732 | 97.8064
3731 | 97.8064
3730 | 97.8034
3729 | 97.8149
3728 | 97.8388
3727 | 97.8595
3726 | 97.8694
3725 | 97.8753
3724 | 97.8856
3723 | 97.8968
3722 | 97.898
3721 | 97.8897
3720 | 97.8829
3719 | 97.8826
3718 | 97.8832
3717 | 97.8777
3716 | 97.8665
3715 | 97.8546
3714 | 97.8422
3713 | 97.8237
3712 | 97.798
3711 | 97.7734
3710 | 97.7613
3709 | 97.764
3708 | 97.7741
3707 | 97.7844
3706 | 97.794
3705 | 97.8053
3704 | 97.8191
3703 | 97.8331
3702 | 97.8428
3701 | 97.8464
3700 | 97.8478
3699 | 97.8531
3698 | 97.8616
3697 | 97.8642
3696 | 97.8537
3695 | 97.8341
3694 | 97.8121
3693 | 97.7874
3692 | 97.7581
3691 | 97.7314
3690 | 97.717
3689 | 97.7133
3688 | 97.7106
3687 | 97.7088
3686 | 97.7194
3685 | 97.7435
3684 | 97.7645
3683 | 97.772
3682 | 97.7726
3681 | 97.7701
3680 | 97.7578
3679 | 97.732
3678 | 97.7048
3677 | 97.69
3676 | 97.6773
3675 | 97.6431
3674 | 97.5941
3673 | 97.5697
3672 | 97.5842
3671 | 97.607
3670 | 97.6134
3669 | 97.6119
3668 | 97.624
3667 | 97.6569
3666 | 97.692
3665 | 97.7122
3664 | 97.7232
3663 | 97.734
3662 | 97.7428
3661 | 97.7427
3660 | 97.7324
3659 | 97.7197
3658 | 97.712
3657 | 97.7055
3656 | 97.6882
3655 | 97.6576
3654 | 97.6275
3653 | 97.6084
3652 | 97.5933
3651 | 97.5728
3650 | 97.5485
3649 | 97.5283
3648 | 97.5201
3647 | 97.5227
3646 | 97.5275
3645 | 97.535
3644 | 97.5499
3643 | 97.5669
3642 | 97.5781
3641 | 97.5823
3640 | 97.5833
3639 | 97.5816
3638 | 97.5743
3637 | 97.5617
3636 | 97.5496
3635 | 97.5388
3634 | 97.5216
3633 | 97.4964
3632 | 97.4751
3631 | 97.47
3630 | 97.4735
3629 | 97.4633
3628 | 97.4317
3627 | 97.4042
3626 | 97.4039
3625 | 97.4101
3624 | 97.3943
3623 | 97.3655
3622 | 97.3466
3621 | 97.3418
3620 | 97.3389
3619 | 97.3258
3618 | 97.3034
3617 | 97.2828
3616 | 97.2722
3615 | 97.2681
3614 | 97.2616
3613 | 97.2494
3612 | 97.2373
3611 | 97.233
3610 | 97.2362
3609 | 97.2372
3608 | 97.2282
3607 | 97.212
3606 | 97.1967
3605 | 97.184
3604 | 97.1695
3603 | 97.1511
3602 | 97.1312
3601 | 97.1113
3600 | 97.0912
3599 | 97.0724
3598 | 97.0586
3597 | 97.0503
3596 | 97.0443
3595 | 97.037
3594 | 97.0258
3593 | 97.011
3592 | 96.9966
3591 | 96.9864
3590 | 96.9807
3589 | 96.9748
3588 | 96.9604
3587 | 96.9337
3586 | 96.9026
3585 | 96.8774
3584 | 96.8575
3583 | 96.8342
3582 | 96.8046
3581 | 96.7735
3580 | 96.746
3579 | 96.7223
3578 | 96.6996
3577 | 96.675
3576 | 96.6477
3575 | 96.6182
3574 | 96.5874
3573 | 96.5559
3572 | 96.5261
3571 | 96.5012
3570 | 96.4829
3569 | 96.467
3568 | 96.4432
3567 | 96.4033
3566 | 96.3516
3565 | 96.3019
3564 | 96.2614
3563 | 96.2252
3562 | 96.187
3561 | 96.1467
3560 | 96.1081
3559 | 96.0741
3558 | 96.0442
3557 | 96.0156
3556 | 95.9853
3555 | 95.9521
3554 | 95.9165
3553 | 95.8791
3552 | 95.841
3551 | 95.805
3550 | 95.7757
3549 | 95.7546
3548 | 95.7374
3547 | 95.7177
3546 | 95.6924
3545 | 95.6639
3544 | 95.6369
3543 | 95.6138
3542 | 95.5936
3541 | 95.575
3540 | 95.5581
3539 | 95.5437
3538 | 95.5318
3537 | 95.5217
3536 | 95.5129
3535 | 95.5056
3534 | 95.4999
3533 | 95.4946
3532 | 95.4876
3531 | 95.479
3530 | 95.471
3529 | 95.4661
3528 | 95.4645
3527 | 95.4654
3526 | 95.469
3525 | 95.4759
3524 | 95.4842
3523 | 95.4912
3522 | 95.4967
3521 | 95.5025
3520 | 95.5092
3519 | 95.5148
3518 | 95.5181
3517 | 95.5206
3516 | 95.5253
3515 | 95.5326
3514 | 95.5403
3513 | 95.5471
3512 | 95.5539
3511 | 95.5609
3510 | 95.567
3509 | 95.5716
3508 | 95.5768
3507 | 95.5854
3506 | 95.5966
3505 | 95.6068
3504 | 95.6122
3503 | 95.6131
3502 | 95.6133
3501 | 95.6171
3500 | 95.625
3499 | 95.6338
3498 | 95.6395
3497 | 95.6403
3496 | 95.6372
3495 | 95.6328
3494 | 95.6294
3493 | 95.6282
3492 | 95.6292
3491 | 95.6325
3490 | 95.6378
3489 | 95.6446
3488 | 95.6511
3487 | 95.6551
3486 | 95.6562
3485 | 95.656
3484 | 95.6568
3483 | 95.6586
3482 | 95.6603
3481 | 95.6611
3480 | 95.6619
3479 | 95.6637
3478 | 95.6666
3477 | 95.67
3476 | 95.6727
3475 | 95.674
3474 | 95.6735
3473 | 95.6718
3472 | 95.6694
3471 | 95.6668
3470 | 95.6643
3469 | 95.6622
3468 | 95.6601
3467 | 95.6568
3466 | 95.6516
3465 | 95.6459
3464 | 95.6414
3463 | 95.6375
3462 | 95.6324
3461 | 95.625
3460 | 95.6163
3459 | 95.6072
3458 | 95.597
3457 | 95.5846
3456 | 95.5704
3455 | 95.5562
3454 | 95.5432
3453 | 95.5304
3452 | 95.516
3451 | 95.4994
3450 | 95.4816
3449 | 95.4635
3448 | 95.4441
3447 | 95.4217
3446 | 95.3976
3445 | 95.3757
3444 | 95.3573
3443 | 95.3394
3442 | 95.3182
3441 | 95.2933
3440 | 95.2673
3439 | 95.2415
3438 | 95.2142
3437 | 95.1842
3436 | 95.1523
3435 | 95.12
3434 | 95.088
3433 | 95.0556
3432 | 95.0219
3431 | 94.9862
3430 | 94.9484
3429 | 94.9092
3428 | 94.8696
3427 | 94.8304
3426 | 94.7917
3425 | 94.7527
3424 | 94.7123
3423 | 94.6696
3422 | 94.6238
3421 | 94.5753
3420 | 94.5257
3419 | 94.4772
3418 | 94.4313
3417 | 94.3871
3416 | 94.3431
3415 | 94.2981
3414 | 94.2525
3413 | 94.2086
3412 | 94.1683
3411 | 94.1322
3410 | 94.099
3409 | 94.0674
3408 | 94.0373
3407 | 94.0098
3406 | 93.9864
3405 | 93.9671
3404 | 93.9511
3403 | 93.9366
3402 | 93.9233
3401 | 93.913
3400 | 93.9089
3399 | 93.913
3398 | 93.9235
3397 | 93.9367
3396 | 93.9501
3395 | 93.9635
3394 | 93.9772
3393 | 93.9917
3392 | 94.0075
3391 | 94.0261
3390 | 94.0484
3389 | 94.0737
3388 | 94.0999
3387 | 94.1257
3386 | 94.1509
3385 | 94.1756
3384 | 94.1996
3383 | 94.2229
3382 | 94.2463
3381 | 94.2703
3380 | 94.2944
3379 | 94.3172
3378 | 94.3381
3377 | 94.3579
3376 | 94.3779
3375 | 94.3982
3374 | 94.4174
3373 | 94.4338
3372 | 94.4468
3371 | 94.4578
3370 | 94.4694
3369 | 94.4832
3368 | 94.4991
3367 | 94.5152
3366 | 94.5294
3365 | 94.5411
3364 | 94.551
3363 | 94.56
3362 | 94.5687
3361 | 94.5769
3360 | 94.5838
3359 | 94.5885
3358 | 94.5908
3357 | 94.5919
3356 | 94.5937
3355 | 94.597
3354 | 94.6009
3353 | 94.6044
3352 | 94.607
3351 | 94.6088
3350 | 94.6103
3349 | 94.6122
3348 | 94.6149
3347 | 94.6181
3346 | 94.6205
3345 | 94.621
3344 | 94.6198
3343 | 94.6174
3342 | 94.6151
3341 | 94.6138
3340 | 94.6147
3339 | 94.6181
3338 | 94.6238
3337 | 94.631
3336 | 94.639
3335 | 94.6471
3334 | 94.6543
3333 | 94.6605
3332 | 94.6662
3331 | 94.6723
3330 | 94.6792
3329 | 94.6865
3328 | 94.6934
3327 | 94.6992
3326 | 94.704
3325 | 94.7086
3324 | 94.7143
3323 | 94.7217
3322 | 94.7298
3321 | 94.7374
3320 | 94.7438
3319 | 94.7491
3318 | 94.7541
3317 | 94.7594
3316 | 94.7654
3315 | 94.7719
3314 | 94.7779
3313 | 94.7827
3312 | 94.7865
3311 | 94.7898
3310 | 94.7925
3309 | 94.7937
3308 | 94.7935
3307 | 94.7931
3306 | 94.7942
3305 | 94.7973
3304 | 94.8017
3303 | 94.8067
3302 | 94.8117
3301 | 94.8159
3300 | 94.8181
3299 | 94.8178
3298 | 94.8158
3297 | 94.814
3296 | 94.8136
3295 | 94.8154
3294 | 94.819
3293 | 94.8235
3292 | 94.8279
3291 | 94.8317
3290 | 94.8349
3289 | 94.8381
3288 | 94.8416
3287 | 94.8447
3286 | 94.847
3285 | 94.8486
3284 | 94.8505
3283 | 94.8532
3282 | 94.8565
3281 | 94.8599
3280 | 94.8631
3279 | 94.8663
3278 | 94.8696
3277 | 94.8729
3276 | 94.876
3275 | 94.8792
3274 | 94.8827
3273 | 94.8868
3272 | 94.8917
3271 | 94.8972
3270 | 94.9038
3269 | 94.912
3268 | 94.9218
3267 | 94.9322
3266 | 94.942
3265 | 94.9505
3264 | 94.958
3263 | 94.9649
3262 | 94.9719
3261 | 94.9794
3260 | 94.9873
3259 | 94.9953
3258 | 95.0025
3257 | 95.0085
3256 | 95.0137
3255 | 95.019
3254 | 95.0251
3253 | 95.0321
3252 | 95.0393
3251 | 95.046
3250 | 95.0517
3249 | 95.0569
3248 | 95.0621
3247 | 95.0673
3246 | 95.0728
3245 | 95.0792
3244 | 95.0875
3243 | 95.0976
3242 | 95.1092
3241 | 95.1222
3240 | 95.1367
3239 | 95.1527
3238 | 95.1693
3237 | 95.1855
3236 | 95.201
3235 | 95.2162
3234 | 95.2324
3233 | 95.2505
3232 | 95.2702
3231 | 95.2905
3230 | 95.3107
3229 | 95.3307
3228 | 95.3507
3227 | 95.3704
3226 | 95.3892
3225 | 95.4068
3224 | 95.4233
3223 | 95.4392
3222 | 95.4549
3221 | 95.4708
3220 | 95.4873
3219 | 95.5042
3218 | 95.5214
3217 | 95.539
3216 | 95.5565
3215 | 95.5731
3214 | 95.5884
3213 | 95.6035
3212 | 95.6192
3211 | 95.6349
3210 | 95.6498
3209 | 95.6643
3208 | 95.6805
3207 | 95.6995
3206 | 95.7203
3205 | 95.7404
3204 | 95.7581
3203 | 95.7738
3202 | 95.7887
3201 | 95.8042
3200 | 95.82
3199 | 95.8355
3198 | 95.8504
3197 | 95.8651
3196 | 95.8803
3195 | 95.896
3194 | 95.9123
3193 | 95.9299
3192 | 95.9491
3191 | 95.9691
3190 | 95.9878
3189 | 96.0041
3188 | 96.0185
3187 | 96.0324
3186 | 96.0469
3185 | 96.0618
3184 | 96.077
3183 | 96.0922
3182 | 96.1075
3181 | 96.1233
3180 | 96.1396
3179 | 96.1564
3178 | 96.173
3177 | 96.1899
3176 | 96.2075
3175 | 96.2264
3174 | 96.2459
3173 | 96.2653
3172 | 96.2843
3171 | 96.3024
3170 | 96.3192
3169 | 96.3346
3168 | 96.349
3167 | 96.3638
3166 | 96.3799
3165 | 96.3979
3164 | 96.4174
3163 | 96.4376
3162 | 96.4573
3161 | 96.476
3160 | 96.4934
3159 | 96.5099
3158 | 96.5258
3157 | 96.5419
3156 | 96.5582
3155 | 96.5747
3154 | 96.5908
3153 | 96.6063
3152 | 96.6218
3151 | 96.6383
3150 | 96.6566
3149 | 96.6761
3148 | 96.6955
3147 | 96.7134
3146 | 96.73
3145 | 96.7467
3144 | 96.7647
3143 | 96.7833
3142 | 96.801
3141 | 96.8174
3140 | 96.8334
3139 | 96.8499
3138 | 96.8667
3137 | 96.883
3136 | 96.8988
3135 | 96.9146
3134 | 96.9307
3133 | 96.9473
3132 | 96.9645
3131 | 96.9823
3130 | 96.9999
3129 | 97.0167
3128 | 97.0325
3127 | 97.048
3126 | 97.0636
3125 | 97.0795
3124 | 97.0955
3123 | 97.112
3122 | 97.1293
3121 | 97.1472
3120 | 97.1649
3119 | 97.1818
3118 | 97.1981
3117 | 97.2141
3116 | 97.2299
3115 | 97.2454
3114 | 97.2606
3113 | 97.2762
3112 | 97.2924
3111 | 97.3087
3110 | 97.3248
3109 | 97.3408
3108 | 97.3571
3107 | 97.3739
3106 | 97.39
3105 | 97.4049
3104 | 97.4187
3103 | 97.4324
3102 | 97.4465
3101 | 97.4605
3100 | 97.4739
3099 | 97.487
3098 | 97.5005
3097 | 97.5142
3096 | 97.5275
3095 | 97.5396
3094 | 97.5511
3093 | 97.5628
3092 | 97.575
3091 | 97.5878
3090 | 97.6004
3089 | 97.6126
3088 | 97.6243
3087 | 97.636
3086 | 97.6477
3085 | 97.6589
3084 | 97.6689
3083 | 97.6775
3082 | 97.6854
3081 | 97.6938
3080 | 97.7035
3079 | 97.7136
3078 | 97.7231
3077 | 97.7319
3076 | 97.7411
3075 | 97.7512
3074 | 97.7616
3073 | 97.7715
3072 | 97.7806
3071 | 97.7885
3070 | 97.7952
3069 | 97.8009
3068 | 97.8065
3067 | 97.813
3066 | 97.8206
3065 | 97.8285
3064 | 97.8363
3063 | 97.8439
3062 | 97.8515
3061 | 97.8591
3060 | 97.8668
3059 | 97.8744
3058 | 97.8815
3057 | 97.8873
3056 | 97.8921
3055 | 97.8966
3054 | 97.9015
3053 | 97.9068
3052 | 97.9124
3051 | 97.9178
3050 | 97.9226
3049 | 97.9267
3048 | 97.9308
3047 | 97.9352
3046 | 97.94
3045 | 97.9445
3044 | 97.9484
3043 | 97.952
3042 | 97.9553
3041 | 97.9586
3040 | 97.9623
3039 | 97.9667
3038 | 97.9714
3037 | 97.9752
3036 | 97.9775
3035 | 97.9787
3034 | 97.9802
3033 | 97.9828
3032 | 97.9867
3031 | 97.9912
3030 | 97.9954
3029 | 97.999
3028 | 98.0022
3027 | 98.0049
3026 | 98.0068
3025 | 98.0076
3024 | 98.008
3023 | 98.0098
3022 | 98.0141
3021 | 98.0196
3020 | 98.0242
3019 | 98.0262
3018 | 98.0262
3017 | 98.0258
3016 | 98.0261
3015 | 98.0273
3014 | 98.0289
3013 | 98.0303
3012 | 98.0316
3011 | 98.033
3010 | 98.0347
3009 | 98.0365
3008 | 98.0384
3007 | 98.0404
3006 | 98.0425
3005 | 98.0444
3004 | 98.0459
3003 | 98.0469
3002 | 98.0478
3001 | 98.0487
3000 | 98.0497
2999 | 98.0505
2998 | 98.0507
2997 | 98.05
2996 | 98.0488
2995 | 98.0476
2994 | 98.0466
2993 | 98.0464
2992 | 98.0469
2991 | 98.0475
2990 | 98.0472
2989 | 98.0457
2988 | 98.0437
2987 | 98.0419
2986 | 98.0402
2985 | 98.0384
2984 | 98.0365
2983 | 98.0343
2982 | 98.0316
2981 | 98.028
2980 | 98.0234
2979 | 98.0179
2978 | 98.0117
2977 | 98.0047
2976 | 97.9969
2975 | 97.9881
2974 | 97.9784
2973 | 97.9684
2972 | 97.9584
2971 | 97.9482
2970 | 97.9367
2969 | 97.9236
2968 | 97.9088
2967 | 97.8928
2966 | 97.8754
2965 | 97.8563
2964 | 97.8362
2963 | 97.8163
2962 | 97.7973
2961 | 97.7795
2960 | 97.7626
2959 | 97.7465
2958 | 97.7315
2957 | 97.718
2956 | 97.7063
2955 | 97.6962
2954 | 97.6872
2953 | 97.6787
2952 | 97.6711
2951 | 97.665
2950 | 97.66
2949 | 97.6545
2948 | 97.6473
2947 | 97.6385
2946 | 97.6287
2945 | 97.6177
2944 | 97.6047
2943 | 97.5893
2942 | 97.5728
2941 | 97.5569
2940 | 97.5422
2939 | 97.5281
2938 | 97.5134
2937 | 97.4978
2936 | 97.4817
2935 | 97.466
2934 | 97.4514
2933 | 97.4387
2932 | 97.4281
2931 | 97.419
2930 | 97.4106
2929 | 97.4028
2928 | 97.3961
2927 | 97.3912
2926 | 97.3888
2925 | 97.3895
2924 | 97.3944
2923 | 97.4037
2922 | 97.4164
2921 | 97.4307
2920 | 97.4453
2919 | 97.4598
2918 | 97.4744
2917 | 97.4889
2916 | 97.5026
2915 | 97.5142
2914 | 97.5233
2913 | 97.5305
2912 | 97.5368
2911 | 97.5431
2910 | 97.5493
2909 | 97.5548
2908 | 97.5593
2907 | 97.5629
2906 | 97.5657
2905 | 97.5675
2904 | 97.5682
2903 | 97.5677
2902 | 97.567
2901 | 97.5679
2900 | 97.5714
2899 | 97.5764
2898 | 97.5815
2897 | 97.5862
2896 | 97.5913
2895 | 97.5968
2894 | 97.6018
2893 | 97.6055
2892 | 97.6085
2891 | 97.6119
2890 | 97.6162
2889 | 97.6212
2888 | 97.6262
2887 | 97.6312
2886 | 97.636
2885 | 97.6407
2884 | 97.6456
2883 | 97.6504
2882 | 97.654
2881 | 97.6559
2880 | 97.6561
2879 | 97.6548
2878 | 97.6522
2877 | 97.6487
2876 | 97.6451
2875 | 97.6424
2874 | 97.6415
2873 | 97.6428
2872 | 97.6467
2871 | 97.6527
2870 | 97.6597
2869 | 97.6664
2868 | 97.6726
2867 | 97.6788
2866 | 97.6847
2865 | 97.6902
2864 | 97.6949
2863 | 97.6985
2862 | 97.7007
2861 | 97.7014
2860 | 97.7015
2859 | 97.7018
2858 | 97.7027
2857 | 97.7046
2856 | 97.7085
2855 | 97.7156
2854 | 97.7265
2853 | 97.741
2852 | 97.759
2851 | 97.7807
2850 | 97.8055
2849 | 97.8324
2848 | 97.8598
2847 | 97.887
2846 | 97.9133
2845 | 97.9382
2844 | 97.9615
2843 | 97.983
2842 | 98.0024
2841 | 98.0199
2840 | 98.0359
2839 | 98.0511
2838 | 98.0658
2837 | 98.0801
2836 | 98.0938
2835 | 98.1064
2834 | 98.1175
2833 | 98.1272
2832 | 98.1361
2831 | 98.1449
2830 | 98.1536
2829 | 98.1617
2828 | 98.1687
2827 | 98.1749
2826 | 98.1806
2825 | 98.1868
2824 | 98.1936
2823 | 98.2009
2822 | 98.2081
2821 | 98.2148
2820 | 98.2211
2819 | 98.2267
2818 | 98.2311
2817 | 98.2343
2816 | 98.2373
2815 | 98.241
2814 | 98.2455
2813 | 98.2502
2812 | 98.2547
2811 | 98.2587
2810 | 98.2622
2809 | 98.2647
2808 | 98.2668
2807 | 98.2694
2806 | 98.2728
2805 | 98.2771
2804 | 98.2814
2803 | 98.2853
2802 | 98.2884
2801 | 98.2913
2800 | 98.2947
2799 | 98.2985
2798 | 98.3021
2797 | 98.3051
2796 | 98.3077
2795 | 98.3104
2794 | 98.3133
2793 | 98.3161
2792 | 98.3192
2791 | 98.3225
2790 | 98.3257
2789 | 98.328
2788 | 98.3298
2787 | 98.3318
2786 | 98.3343
2785 | 98.3367
2784 | 98.3386
2783 | 98.3401
2782 | 98.3417
2781 | 98.3436
2780 | 98.3458
2779 | 98.3485
2778 | 98.3513
2777 | 98.3542
2776 | 98.3572
2775 | 98.3599
2774 | 98.3624
2773 | 98.3646
2772 | 98.3668
2771 | 98.3689
2770 | 98.3707
2769 | 98.3721
2768 | 98.3741
2767 | 98.3767
2766 | 98.3792
2765 | 98.3806
2764 | 98.381
2763 | 98.3815
2762 | 98.3824
2761 | 98.3838
2760 | 98.3857
2759 | 98.3883
2758 | 98.3908
2757 | 98.3925
2756 | 98.3931
2755 | 98.3932
2754 | 98.3933
2753 | 98.3935
2752 | 98.3941
2751 | 98.3953
2750 | 98.3969
2749 | 98.3983
2748 | 98.399
2747 | 98.3994
2746 | 98.4001
2745 | 98.4014
2744 | 98.4029
2743 | 98.404
2742 | 98.4043
2741 | 98.4038
2740 | 98.4033
2739 | 98.4036
2738 | 98.4048
2737 | 98.4066
2736 | 98.4088
2735 | 98.4109
2734 | 98.4125
2733 | 98.4138
2732 | 98.4151
2731 | 98.4169
2730 | 98.4187
2729 | 98.4196
2728 | 98.4197
2727 | 98.4199
2726 | 98.4208
2725 | 98.4225
2724 | 98.4248
2723 | 98.4273
2722 | 98.4293
2721 | 98.4305
2720 | 98.4313
2719 | 98.4328
2718 | 98.4354
2717 | 98.4388
2716 | 98.4418
2715 | 98.4438
2714 | 98.4449
2713 | 98.4455
2712 | 98.4463
2711 | 98.448
2710 | 98.4503
2709 | 98.4527
2708 | 98.4548
2707 | 98.4564
2706 | 98.4573
2705 | 98.4579
2704 | 98.4589
2703 | 98.461
2702 | 98.464
2701 | 98.4671
2700 | 98.4696
2699 | 98.472
2698 | 98.4745
2697 | 98.4767
2696 | 98.4784
2695 | 98.4797
2694 | 98.4811
2693 | 98.4827
2692 | 98.4844
2691 | 98.4863
2690 | 98.4885
2689 | 98.4912
2688 | 98.4941
2687 | 98.497
2686 | 98.4995
2685 | 98.5014
2684 | 98.5022
2683 | 98.5023
2682 | 98.5022
2681 | 98.5026
2680 | 98.504
2679 | 98.5063
2678 | 98.5087
2677 | 98.511
2676 | 98.5131
2675 | 98.5151
2674 | 98.5166
2673 | 98.5174
2672 | 98.5179
2671 | 98.5185
2670 | 98.5194
2669 | 98.5204
2668 | 98.522
2667 | 98.5245
2666 | 98.5276
2665 | 98.5305
2664 | 98.5326
2663 | 98.534
2662 | 98.535
2661 | 98.536
2660 | 98.5372
2659 | 98.539
2658 | 98.5415
2657 | 98.5448
2656 | 98.548
2655 | 98.5505
2654 | 98.5519
2653 | 98.5523
2652 | 98.5524
2651 | 98.5529
2650 | 98.5541
2649 | 98.5562
2648 | 98.5591
2647 | 98.5621
2646 | 98.5643
2645 | 98.5656
2644 | 98.5664
2643 | 98.5668
2642 | 98.5666
2641 | 98.5658
2640 | 98.5652
2639 | 98.5655
2638 | 98.5665
2637 | 98.5674
2636 | 98.5678
2635 | 98.5681
2634 | 98.5687
2633 | 98.5697
2632 | 98.5713
2631 | 98.5735
2630 | 98.5756
2629 | 98.5769
2628 | 98.577
2627 | 98.5761
2626 | 98.5747
2625 | 98.5734
2624 | 98.5731
2623 | 98.5743
2622 | 98.5765
2621 | 98.5789
2620 | 98.5812
2619 | 98.5832
2618 | 98.5848
2617 | 98.5857
2616 | 98.5858
2615 | 98.5854
2614 | 98.5848
2613 | 98.5844
2612 | 98.5843
2611 | 98.5845
2610 | 98.5849
2609 | 98.5852
2608 | 98.5858
2607 | 98.5869
2606 | 98.5885
2605 | 98.5904
2604 | 98.5925
2603 | 98.5947
2602 | 98.5962
2601 | 98.5968
2600 | 98.5968
2599 | 98.597
2598 | 98.597
2597 | 98.5966
2596 | 98.596
2595 | 98.5962
2594 | 98.5974
2593 | 98.5988
2592 | 98.5995
2591 | 98.5997
2590 | 98.5999
2589 | 98.6003
2588 | 98.6011
2587 | 98.602
2586 | 98.6024
2585 | 98.6022
2584 | 98.6021
2583 | 98.603
2582 | 98.6056
2581 | 98.6089
2580 | 98.6117
2579 | 98.6129
2578 | 98.6126
2577 | 98.6124
2576 | 98.6134
2575 | 98.6153
2574 | 98.6169
2573 | 98.6174
2572 | 98.6175
2571 | 98.6177
2570 | 98.618
2569 | 98.6183
2568 | 98.6193
2567 | 98.6214
2566 | 98.6238
2565 | 98.6256
2564 | 98.6266
2563 | 98.6269
2562 | 98.6263
2561 | 98.6253
2560 | 98.6249
2559 | 98.6257
2558 | 98.6267
2557 | 98.6268
2556 | 98.6264
2555 | 98.6268
2554 | 98.6287
2553 | 98.6313
2552 | 98.6337
2551 | 98.6352
2550 | 98.6355
2549 | 98.6354
2548 | 98.6358
2547 | 98.6376
2546 | 98.6396
2545 | 98.6409
2544 | 98.6415
2543 | 98.6421
2542 | 98.6429
2541 | 98.6435
2540 | 98.6439
2539 | 98.6443
2538 | 98.6448
2537 | 98.6452
2536 | 98.6462
2535 | 98.6485
2534 | 98.6515
2533 | 98.6538
2532 | 98.6551
2531 | 98.6559
2530 | 98.6567
2529 | 98.6574
2528 | 98.6582
2527 | 98.6592
2526 | 98.6606
2525 | 98.6625
2524 | 98.6648
2523 | 98.6672
2522 | 98.6681
2521 | 98.6668
2520 | 98.6644
2519 | 98.6629
2518 | 98.6631
2517 | 98.6644
2516 | 98.6664
2515 | 98.6686
2514 | 98.6706
2513 | 98.6718
2512 | 98.6723
2511 | 98.6727
2510 | 98.6731
2509 | 98.6736
2508 | 98.6749
2507 | 98.6776
2506 | 98.681
2505 | 98.6836
2504 | 98.6853
2503 | 98.6867
2502 | 98.6885
2501 | 98.6904
2500 | 98.6927
2499 | 98.6954
2498 | 98.6984
2497 | 98.7011
2496 | 98.7035
2495 | 98.7058
2494 | 98.7079
2493 | 98.7091
2492 | 98.7099
2491 | 98.7115
2490 | 98.7137
2489 | 98.7153
2488 | 98.7157
2487 | 98.7159
2486 | 98.7163
2485 | 98.7167
2484 | 98.7168
2483 | 98.7171
2482 | 98.7183
2481 | 98.7203
2480 | 98.7229
2479 | 98.7254
2478 | 98.7274
2477 | 98.7291
2476 | 98.7311
2475 | 98.734
2474 | 98.737
2473 | 98.7389
2472 | 98.7397
2471 | 98.7406
2470 | 98.7426
2469 | 98.7449
2468 | 98.7465
2467 | 98.7475
2466 | 98.7487
2465 | 98.7512
2464 | 98.7549
2463 | 98.7586
2462 | 98.7615
2461 | 98.7634
2460 | 98.7653
2459 | 98.7679
2458 | 98.7704
2457 | 98.7719
2456 | 98.7722
2455 | 98.7718
2454 | 98.7711
2453 | 98.7704
2452 | 98.7704
2451 | 98.7716
2450 | 98.7733
2449 | 98.774
2448 | 98.7735
2447 | 98.7727
2446 | 98.7727
2445 | 98.7741
2444 | 98.7767
2443 | 98.7801
2442 | 98.7834
2441 | 98.7861
2440 | 98.7883
2439 | 98.7906
2438 | 98.7927
2437 | 98.794
2436 | 98.7947
2435 | 98.7955
2434 | 98.797
2433 | 98.7985
2432 | 98.7999
2431 | 98.8009
2430 | 98.8014
2429 | 98.8017
2428 | 98.8024
2427 | 98.8042
2426 | 98.8064
2425 | 98.8079
2424 | 98.8088
2423 | 98.8099
2422 | 98.8112
2421 | 98.8122
2420 | 98.8128
2419 | 98.8138
2418 | 98.8158
2417 | 98.8184
2416 | 98.8211
2415 | 98.8241
2414 | 98.827
2413 | 98.8292
2412 | 98.8304
2411 | 98.8313
2410 | 98.8329
2409 | 98.8351
2408 | 98.8371
2407 | 98.8383
2406 | 98.839
2405 | 98.8397
2404 | 98.8411
2403 | 98.8432
2402 | 98.8453
2401 | 98.8471
2400 | 98.8482
2399 | 98.8486
2398 | 98.8483
2397 | 98.8482
2396 | 98.8492
2395 | 98.8512
2394 | 98.8529
2393 | 98.8531
2392 | 98.8523
2391 | 98.8517
2390 | 98.8512
2389 | 98.8503
2388 | 98.849
2387 | 98.8474
2386 | 98.8453
2385 | 98.8423
2384 | 98.8389
2383 | 98.8355
2382 | 98.8323
2381 | 98.8292
2380 | 98.8268
2379 | 98.826
2378 | 98.8263
2377 | 98.8264
2376 | 98.8254
2375 | 98.8229
2374 | 98.8185
2373 | 98.8128
2372 | 98.808
2371 | 98.8059
2370 | 98.8057
2369 | 98.805
2368 | 98.8025
2367 | 98.7991
2366 | 98.7943
2365 | 98.7876
2364 | 98.781
2363 | 98.7764
2362 | 98.7732
2361 | 98.7703
2360 | 98.7668
2359 | 98.7633
2358 | 98.7597
2357 | 98.7556
2356 | 98.753
2355 | 98.7522
2354 | 98.751
2353 | 98.7467
2352 | 98.742
2351 | 98.7421
2350 | 98.7468
2349 | 98.7523
2348 | 98.753
2347 | 98.7446
2346 | 98.723
2345 | 98.6862
2344 | 98.6423
2343 | 98.603
2342 | 98.5778
2341 | 98.5718
2340 | 98.5879
2339 | 98.6259
2338 | 98.6773
2337 | 98.7286
2336 | 98.7688
2335 | 98.7954
2334 | 98.8102
2333 | 98.8173
2332 | 98.8192
2331 | 98.8193
2330 | 98.8171
2329 | 98.8154
2328 | 98.8169
2327 | 98.8241
2326 | 98.8351
2325 | 98.8445
2324 | 98.8501
2323 | 98.8522
2322 | 98.8525
2321 | 98.8511
2320 | 98.8485
2319 | 98.8467
2318 | 98.8467
2317 | 98.8494
2316 | 98.853
2315 | 98.8569
2314 | 98.8587
2313 | 98.8588
2312 | 98.8576
2311 | 98.8573
2310 | 98.8573
2309 | 98.8578
2308 | 98.8587
2307 | 98.8616
2306 | 98.8659
2305 | 98.8699
2304 | 98.8724
2303 | 98.8748
2302 | 98.8779
2301 | 98.8822
2300 | 98.8865
2299 | 98.8903
2298 | 98.8925
2297 | 98.8933
2296 | 98.8939
2295 | 98.8964
2294 | 98.901
2293 | 98.9066
2292 | 98.9113
2291 | 98.9146
2290 | 98.9164
2289 | 98.9173
2288 | 98.9187
2287 | 98.9208
2286 | 98.9227
2285 | 98.923
2284 | 98.9217
2283 | 98.9199
2282 | 98.9178
2281 | 98.9152
2280 | 98.9126
2279 | 98.9111
2278 | 98.9103
2277 | 98.9088
2276 | 98.9061
2275 | 98.9035
2274 | 98.9018
2273 | 98.9012
2272 | 98.9017
2271 | 98.9024
2270 | 98.9023
2269 | 98.9005
2268 | 98.8978
2267 | 98.8956
2266 | 98.8934
2265 | 98.8905
2264 | 98.8874
2263 | 98.8852
2262 | 98.884
2261 | 98.8831
2260 | 98.8824
2259 | 98.8822
2258 | 98.8816
2257 | 98.8796
2256 | 98.8768
2255 | 98.8749
2254 | 98.8739
2253 | 98.8731
2252 | 98.8729
2251 | 98.8744
2250 | 98.8768
2249 | 98.8781
2248 | 98.8777
2247 | 98.8775
2246 | 98.8784
2245 | 98.8794
2244 | 98.8796
2243 | 98.8792
2242 | 98.8785
2241 | 98.8781
2240 | 98.8786
2239 | 98.8799
2238 | 98.8802
2237 | 98.8777
2236 | 98.8736
2235 | 98.8711
2234 | 98.8717
2233 | 98.8742
2232 | 98.8774
2231 | 98.8807
2230 | 98.8833
2229 | 98.8845
2228 | 98.8851
2227 | 98.8864
2226 | 98.8879
2225 | 98.8888
2224 | 98.8897
2223 | 98.8913
2222 | 98.8926
2221 | 98.8912
2220 | 98.8877
2219 | 98.8854
2218 | 98.8856
2217 | 98.887
2216 | 98.8888
2215 | 98.8913
2214 | 98.8939
2213 | 98.8953
2212 | 98.8953
2211 | 98.8949
2210 | 98.8945
2209 | 98.8938
2208 | 98.8941
2207 | 98.8969
2206 | 98.901
2205 | 98.9036
2204 | 98.9041
2203 | 98.9044
2202 | 98.9049
2201 | 98.9048
2200 | 98.9044
2199 | 98.9056
2198 | 98.908
2197 | 98.909
2196 | 98.9078
2195 | 98.9068
2194 | 98.9081
2193 | 98.9111
2192 | 98.9148
2191 | 98.9186
2190 | 98.9222
2189 | 98.9247
2188 | 98.9266
2187 | 98.9284
2186 | 98.9287
2185 | 98.9255
2184 | 98.9201
2183 | 98.9172
2182 | 98.9192
2181 | 98.9247
2180 | 98.931
2179 | 98.9369
2178 | 98.941
2177 | 98.9419
2176 | 98.9406
2175 | 98.9396
2174 | 98.9397
2173 | 98.9398
2172 | 98.9399
2171 | 98.9411
2170 | 98.9439
2169 | 98.9471
2168 | 98.9508
2167 | 98.9554
2166 | 98.96
2165 | 98.9622
2164 | 98.9614
2163 | 98.959
2162 | 98.9541
2161 | 98.9442
2160 | 98.9296
2159 | 98.9154
2158 | 98.9074
2157 | 98.9069
2156 | 98.9126
2155 | 98.9225
2154 | 98.9341
2153 | 98.9452
2152 | 98.9545
2151 | 98.9618
2150 | 98.967
2149 | 98.9703
2148 | 98.9742
2147 | 98.9809
2146 | 98.9892
2145 | 98.9968
2144 | 99.0024
2143 | 99.0064
2142 | 99.0085
2141 | 99.0083
2140 | 99.0078
2139 | 99.0095
2138 | 99.0125
2137 | 99.0146
2136 | 99.0155
2135 | 99.0169
2134 | 99.0192
2133 | 99.0213
2132 | 99.0239
2131 | 99.0285
2130 | 99.0347
2129 | 99.0405
2128 | 99.0452
2127 | 99.0501
2126 | 99.0551
2125 | 99.0589
2124 | 99.0615
2123 | 99.0646
2122 | 99.0686
2121 | 99.0724
2120 | 99.0758
2119 | 99.0792
2118 | 99.0819
2117 | 99.0826
2116 | 99.0821
2115 | 99.0831
2114 | 99.0867
2113 | 99.0917
2112 | 99.0966
2111 | 99.1005
2110 | 99.1026
2109 | 99.1023
2108 | 99.1009
2107 | 99.101
2106 | 99.1036
2105 | 99.1081
2104 | 99.1138
2103 | 99.1201
2102 | 99.1257
2101 | 99.1295
2100 | 99.1326
2099 | 99.1369
2098 | 99.1423
2097 | 99.147
2096 | 99.1505
2095 | 99.1535
2094 | 99.1565
2093 | 99.1591
2092 | 99.1624
2091 | 99.1673
2090 | 99.1723
2089 | 99.1759
2088 | 99.1787
2087 | 99.1827
2086 | 99.1873
2085 | 99.1904
2084 | 99.1922
2083 | 99.1949
2082 | 99.1985
2081 | 99.2006
2080 | 99.2007
2079 | 99.2006
2078 | 99.2015
2077 | 99.2032
2076 | 99.2065
2075 | 99.2117
2074 | 99.2167
2073 | 99.2186
2072 | 99.218
2071 | 99.2185
2070 | 99.2211
2069 | 99.2237
2068 | 99.2258
2067 | 99.2285
2066 | 99.2315
2065 | 99.2321
2064 | 99.2302
2063 | 99.2291
2062 | 99.2306
2061 | 99.2328
2060 | 99.2338
2059 | 99.2344
2058 | 99.2359
2057 | 99.2387
2056 | 99.2428
2055 | 99.2478
2054 | 99.2521
2053 | 99.2538
2052 | 99.254
2051 | 99.2549
2050 | 99.2558
2049 | 99.2542
2048 | 99.251
2047 | 99.2497
2046 | 99.2516
2045 | 99.2545
2044 | 99.2576
2043 | 99.2609
2042 | 99.2624
2041 | 99.2591
2040 | 99.2528
2039 | 99.2489
2038 | 99.2493
2037 | 99.251
2036 | 99.2516
2035 | 99.2522
2034 | 99.2527
2033 | 99.2513
2032 | 99.2492
2031 | 99.2505
2030 | 99.2561
2029 | 99.2621
2028 | 99.2655
2027 | 99.2676
2026 | 99.27
2025 | 99.2727
2024 | 99.2761
2023 | 99.2814
2022 | 99.2874
2021 | 99.2915
2020 | 99.2939
2019 | 99.2963
2018 | 99.298
2017 | 99.2963
2016 | 99.2923
2015 | 99.2905
2014 | 99.2929
2013 | 99.2977
2012 | 99.3045
2011 | 99.3145
2010 | 99.325
2009 | 99.3303
2008 | 99.329
2007 | 99.3261
2006 | 99.3254
2005 | 99.3261
2004 | 99.3275
2003 | 99.3311
2002 | 99.3371
2001 | 99.3432
2000 | 99.3487
1999 | 99.3558
1998 | 99.3635
1997 | 99.3688
1996 | 99.3726
1995 | 99.3797
1994 | 99.3898
1993 | 99.3952
1992 | 99.3906
1991 | 99.381
1990 | 99.3755
1989 | 99.3765
1988 | 99.3798
1987 | 99.3819
1986 | 99.3828
1985 | 99.3846
1984 | 99.3891
1983 | 99.3963
1982 | 99.4032
1981 | 99.4054
1980 | 99.4016
1979 | 99.3945
1978 | 99.3874
1977 | 99.382
1976 | 99.379
1975 | 99.3789
1974 | 99.3797
1973 | 99.3796
1972 | 99.3801
1971 | 99.3849
1970 | 99.3943
1969 | 99.4038
1968 | 99.4089
1967 | 99.409
1966 | 99.4059
1965 | 99.4023
1964 | 99.4014
1963 | 99.4044
1962 | 99.4095
1961 | 99.4136
1960 | 99.4164
1959 | 99.4191
1958 | 99.4214
1957 | 99.4218
1956 | 99.4213
1955 | 99.4223
1954 | 99.4246
1953 | 99.4261
1952 | 99.4262
1951 | 99.4266
1950 | 99.4286
1949 | 99.4311
1948 | 99.4335
1947 | 99.4363
1946 | 99.4408
1945 | 99.4477
1944 | 99.4555
1943 | 99.4601
1942 | 99.4573
1941 | 99.4491
1940 | 99.4431
1939 | 99.4439
1938 | 99.4481
1937 | 99.4511
1936 | 99.4527
1935 | 99.4553
1934 | 99.4579
1933 | 99.4584
1932 | 99.458
1931 | 99.459
1930 | 99.4613
1929 | 99.4622
1928 | 99.4618
1927 | 99.4628
1926 | 99.4668
1925 | 99.4725
1924 | 99.4771
1923 | 99.4783
1922 | 99.4769
1921 | 99.4772
1920 | 99.4832
1919 | 99.491
1918 | 99.4918
1917 | 99.4827
1916 | 99.4723
1915 | 99.4695
1914 | 99.473
1913 | 99.4764
1912 | 99.4786
1911 | 99.4819
1910 | 99.4856
1909 | 99.4861
1908 | 99.4837
1907 | 99.4819
1906 | 99.4808
1905 | 99.4779
1904 | 99.4741
1903 | 99.4735
1902 | 99.4768
1901 | 99.4802
1900 | 99.4816
1899 | 99.4824
1898 | 99.4839
1897 | 99.4848
1896 | 99.4841
1895 | 99.4822
1894 | 99.48
1893 | 99.4789
1892 | 99.4809
1891 | 99.4858
1890 | 99.4889
1889 | 99.4865
1888 | 99.4816
1887 | 99.4802
1886 | 99.4826
1885 | 99.4838
1884 | 99.4821
1883 | 99.4811
1882 | 99.4823
1881 | 99.4835
1880 | 99.4824
1879 | 99.4802
1878 | 99.4781
1877 | 99.4761
1876 | 99.4751
1875 | 99.4759
1874 | 99.4774
1873 | 99.4788
1872 | 99.4815
1871 | 99.4864
1870 | 99.4907
1869 | 99.4909
1868 | 99.4879
1867 | 99.4855
1866 | 99.4846
1865 | 99.4835
1864 | 99.4815
1863 | 99.4805
1862 | 99.4809
1861 | 99.4804
1860 | 99.4787
1859 | 99.4781
1858 | 99.4787
1857 | 99.4784
1856 | 99.477
1855 | 99.4766
1854 | 99.4773
1853 | 99.4769
1852 | 99.4758
1851 | 99.4766
1850 | 99.478
1849 | 99.4771
1848 | 99.4759
1847 | 99.4799
1846 | 99.4883
1845 | 99.4931
1844 | 99.4884
1843 | 99.4777
1842 | 99.4686
1841 | 99.4648
1840 | 99.4644
1839 | 99.465
1838 | 99.4657
1837 | 99.466
1836 | 99.465
1835 | 99.4629
1834 | 99.4605
1833 | 99.4583
1832 | 99.4573
1831 | 99.4585
1830 | 99.4612
1829 | 99.4636
1828 | 99.4645
1827 | 99.4655
1826 | 99.4647
1825 | 99.4592
1824 | 99.452
1823 | 99.4483
1822 | 99.4484
1821 | 99.4481
1820 | 99.4456
1819 | 99.4423
1818 | 99.4377
1817 | 99.4307
1816 | 99.4238
1815 | 99.4212
1814 | 99.4222
1813 | 99.4224
1812 | 99.4209
1811 | 99.4203
1810 | 99.4212
1809 | 99.4203
1808 | 99.416
1807 | 99.4113
1806 | 99.4095
1805 | 99.4103
1804 | 99.4107
1803 | 99.4084
1802 | 99.4022
1801 | 99.3941
1800 | 99.3899
1799 | 99.3919
1798 | 99.3957
1797 | 99.3956
1796 | 99.3922
1795 | 99.3906
1794 | 99.3923
1793 | 99.3936
1792 | 99.3921
1791 | 99.3869
1790 | 99.3795
1789 | 99.3744
1788 | 99.3733
1787 | 99.374
1786 | 99.3717
1785 | 99.3633
1784 | 99.3524
1783 | 99.3465
1782 | 99.3463
1781 | 99.3456
1780 | 99.3413
1779 | 99.3357
1778 | 99.3308
1777 | 99.3247
1776 | 99.3169
1775 | 99.3101
1774 | 99.3038
1773 | 99.2971
1772 | 99.2946
1771 | 99.2962
1770 | 99.2932
1769 | 99.2787
1768 | 99.2516
1767 | 99.2215
1766 | 99.2007
1765 | 99.1897
1764 | 99.1795
1763 | 99.1634
1762 | 99.1422
1761 | 99.1196
1760 | 99.0989
1759 | 99.0811
1758 | 99.0615
1757 | 99.034
1756 | 99.0035
1755 | 98.9822
1754 | 98.9728
1753 | 98.9634
1752 | 98.9413
1751 | 98.9079
1750 | 98.8759
1749 | 98.8524
1748 | 98.8341
1747 | 98.8178
1746 | 98.8012
1745 | 98.7817
1744 | 98.7585
1743 | 98.7354
1742 | 98.7177
1741 | 98.7052
1740 | 98.6943
1739 | 98.684
1738 | 98.6774
1737 | 98.677
1736 | 98.679
1735 | 98.6775
1734 | 98.6735
1733 | 98.6661
1732 | 98.6556
1731 | 98.6491
1730 | 98.6459
1729 | 98.642
1728 | 98.6388
1727 | 98.6413
1726 | 98.6482
1725 | 98.6548
1724 | 98.6601
1723 | 98.6664
1722 | 98.6758
1721 | 98.687
1720 | 98.6981
1719 | 98.7107
1718 | 98.7301
1717 | 98.7535
1716 | 98.7685
1715 | 98.7732
1714 | 98.7733
1713 | 98.7711
1712 | 98.7688
1711 | 98.7688
1710 | 98.7687
1709 | 98.7644
1708 | 98.7574
1707 | 98.7534
1706 | 98.7531
1705 | 98.7519
1704 | 98.7485
1703 | 98.7469
1702 | 98.7393
1701 | 98.7086
1700 | 98.6652
1699 | 98.6356
1698 | 98.6199
1697 | 98.5969
1696 | 98.5458
1695 | 98.4699
1694 | 98.3911
1693 | 98.3205
1692 | 98.2484
1691 | 98.1635
1690 | 98.0642
1689 | 97.9577
1688 | 97.8594
1687 | 97.7796
1686 | 97.7115
1685 | 97.6463
1684 | 97.5993
1683 | 97.5797
1682 | 97.5779
1681 | 97.5916
1680 | 97.6142
1679 | 97.6419
1678 | 97.6744
1677 | 97.7066
1676 | 97.7325
1675 | 97.7519
1674 | 97.7658
1673 | 97.7738
1672 | 97.7766
1671 | 97.7752
1670 | 97.7743
1669 | 97.7726
1668 | 97.761
1667 | 97.7406
1666 | 97.7191
1665 | 97.6982
1664 | 97.6759
1663 | 97.6558
1662 | 97.6412
1661 | 97.6262
1660 | 97.6069
1659 | 97.585
1658 | 97.5648
1657 | 97.5507
1656 | 97.5436
1655 | 97.5369
1654 | 97.5295
1653 | 97.5376
1652 | 97.5312
1651 | 97.4946
1650 | 97.4648
1649 | 97.4447
1648 | 97.4283
1647 | 97.4217
1646 | 97.4208
1645 | 97.4086
1644 | 97.3854
1643 | 97.3627
1642 | 97.3421
1641 | 97.3192
1640 | 97.2938
1639 | 97.2697
1638 | 97.2483
1637 | 97.2241
1636 | 97.1956
1635 | 97.1617
1634 | 97.1139
1633 | 97.0535
1632 | 96.9825
1631 | 96.8974
1630 | 96.7944
1629 | 96.6689
1628 | 96.52
1627 | 96.3558
1626 | 96.1846
1625 | 96.0039
1624 | 95.8112
1623 | 95.6297
1622 | 95.4981
1621 | 95.4311
1620 | 95.4211
1619 | 95.466
1618 | 95.5809
1617 | 95.7761
1616 | 96.0084
1615 | 96.2079
1614 | 96.3593
1613 | 96.4854
1612 | 96.5997
1611 | 96.705
1610 | 96.8013
1609 | 96.8876
1608 | 96.9598
1607 | 97.0167
1606 | 97.0615
1605 | 97.0978
1604 | 97.1269
1603 | 97.1495
1602 | 97.1675
1601 | 97.1817
1600 | 97.1902
1599 | 97.1927
1598 | 97.1923
1597 | 97.1928
1596 | 97.1956
1595 | 97.202
1594 | 97.2142
1593 | 97.2333
1592 | 97.2578
1591 | 97.2878
1590 | 97.3254
1589 | 97.3706
1588 | 97.4198
1587 | 97.4696
1586 | 97.5203
1585 | 97.5711
1584 | 97.6201
1583 | 97.6669
1582 | 97.7115
1581 | 97.7537
1580 | 97.7927
1579 | 97.8299
1578 | 97.869
1577 | 97.9169
1576 | 97.9749
1575 | 98.0247
1574 | 98.0534
1573 | 98.0705
1572 | 98.0849
1571 | 98.0999
1570 | 98.1244
1569 | 98.1584
1568 | 98.1859
1567 | 98.2007
1566 | 98.2102
1565 | 98.2213
1564 | 98.2363
1563 | 98.2563
1562 | 98.274
1561 | 98.2813
1560 | 98.2711
1559 | 98.2916
1558 | 98.3455
1557 | 98.3682
1556 | 98.3684
1555 | 98.3651
1554 | 98.3588
1553 | 98.3567
1552 | 98.3605
1551 | 98.3642
1550 | 98.3638
1549 | 98.3638
1548 | 98.3695
1547 | 98.3778
1546 | 98.3808
1545 | 98.3771
1544 | 98.3741
1543 | 98.3757
1542 | 98.3813
1541 | 98.3975
1540 | 98.4381
1539 | 98.4781
1538 | 98.4859
1537 | 98.4787
1536 | 98.4737
1535 | 98.4698
1534 | 98.4691
1533 | 98.4762
1532 | 98.4853
1531 | 98.4887
1530 | 98.4883
1529 | 98.4864
1528 | 98.4832
1527 | 98.4771
1526 | 98.4666
1525 | 98.4555
1524 | 98.4494
1523 | 98.4442
1522 | 98.4312
1521 | 98.4062
1520 | 98.3737
1519 | 98.3436
1518 | 98.3156
1517 | 98.282
1516 | 98.2424
1515 | 98.2026
1514 | 98.1654
1513 | 98.1275
1512 | 98.0882
1511 | 98.0546
1510 | 98.0281
1509 | 98.0023
1508 | 97.9696
1507 | 97.9452
1506 | 97.9375
1505 | 97.9303
1504 | 97.9264
1503 | 97.9315
1502 | 97.9391
1501 | 97.9476
1500 | 97.962
1499 | 97.988
1498 | 98.0243
1497 | 98.0662
1496 | 98.1081
1495 | 98.1448
1494 | 98.1755
1493 | 98.2009
1492 | 98.2209
1491 | 98.2366
1490 | 98.2492
1489 | 98.2571
1488 | 98.2593
1487 | 98.2565
1486 | 98.2479
1485 | 98.2323
1484 | 98.2123
1483 | 98.1897
1482 | 98.1626
1481 | 98.1314
1480 | 98.1005
1479 | 98.0715
1478 | 98.0375
1477 | 97.9936
1476 | 97.9429
1475 | 97.8896
1474 | 97.8262
1473 | 97.7435
1472 | 97.6484
1471 | 97.557
1470 | 97.4777
1469 | 97.4083
1468 | 97.3439
1467 | 97.2833
1466 | 97.2268
1465 | 97.1767
1464 | 97.1382
1463 | 97.1112
1462 | 97.0921
1461 | 97.078
1460 | 97.0687
1459 | 97.065
1458 | 97.0664
1457 | 97.0697
1456 | 97.0665
1455 | 97.062
1454 | 97.0665
1453 | 97.0763
1452 | 97.0874
1451 | 97.1012
1450 | 97.1184
1449 | 97.1378
1448 | 97.1582
1447 | 97.1802
1446 | 97.2007
1445 | 97.2166
1444 | 97.2275
1443 | 97.2331
1442 | 97.2335
1441 | 97.231
1440 | 97.2281
1439 | 97.2219
1438 | 97.2029
1437 | 97.1651
1436 | 97.1175
1435 | 97.0758
1434 | 97.0426
1433 | 97.0085
1432 | 96.9672
1431 | 96.9225
1430 | 96.8807
1429 | 96.8436
1428 | 96.8121
1427 | 96.7895
1426 | 96.7748
1425 | 96.7647
1424 | 96.7618
1423 | 96.771
1422 | 96.7913
1421 | 96.8176
1420 | 96.8499
1419 | 96.8927
1418 | 96.9415
1417 | 96.9874
1416 | 97.0316
1415 | 97.0779
1414 | 97.1255
1413 | 97.1725
1412 | 97.2169
1411 | 97.2573
1410 | 97.2933
1409 | 97.3269
1408 | 97.3589
1407 | 97.388
1406 | 97.4127
1405 | 97.4328
1404 | 97.4505
1403 | 97.4678
1402 | 97.4851
1401 | 97.5007
1400 | 97.513
1399 | 97.5233
1398 | 97.5333
1397 | 97.5424
1396 | 97.5477
1395 | 97.5474
1394 | 97.5427
1393 | 97.5371
1392 | 97.5326
1391 | 97.5273
1390 | 97.5174
1389 | 97.499
1388 | 97.4689
1387 | 97.4279
1386 | 97.3826
1385 | 97.3392
1384 | 97.297
1383 | 97.2514
1382 | 97.2018
1381 | 97.1513
1380 | 97.1015
1379 | 97.0535
1378 | 97.0101
1377 | 96.9743
1376 | 96.9447
1375 | 96.9173
1374 | 96.8893
1373 | 96.8621
1372 | 96.8393
1371 | 96.8237
1370 | 96.8144
1369 | 96.8097
1368 | 96.8098
1367 | 96.8156
1366 | 96.8267
1365 | 96.8409
1364 | 96.8561
1363 | 96.873
1362 | 96.8935
1361 | 96.9192
1360 | 96.9502
1359 | 96.9847
1358 | 97.0197
1357 | 97.0527
1356 | 97.0828
1355 | 97.1096
1354 | 97.1331
1353 | 97.1527
1352 | 97.1678
1351 | 97.1774
1350 | 97.1807
1349 | 97.1762
1348 | 97.1638
1347 | 97.1436
1346 | 97.1156
1345 | 97.081
1344 | 97.0428
1343 | 97.0039
1342 | 96.9638
1341 | 96.9198
1340 | 96.8699
1339 | 96.8164
1338 | 96.7646
1337 | 96.719
1336 | 96.6813
1335 | 96.6518
1334 | 96.6299
1333 | 96.6141
1332 | 96.6025
1331 | 96.5937
1330 | 96.5863
1329 | 96.5783
1328 | 96.5676
1327 | 96.5527
1326 | 96.5326
1325 | 96.5066
1324 | 96.4754
1323 | 96.441
1322 | 96.4058
1321 | 96.3715
1320 | 96.34
1319 | 96.3137
1318 | 96.2953
1317 | 96.2875
1316 | 96.2921
1315 | 96.3101
1314 | 96.3411
1313 | 96.3837
1312 | 96.4361
1311 | 96.4971
1310 | 96.5644
1309 | 96.6358
1308 | 96.7091
1307 | 96.7831
1306 | 96.8566
1305 | 96.9282
1304 | 96.9966
1303 | 97.0611
1302 | 97.1212
1301 | 97.1771
1300 | 97.2286
1299 | 97.275
1298 | 97.3152
1297 | 97.3485
1296 | 97.3753
1295 | 97.3964
1294 | 97.4129
1293 | 97.4258
1292 | 97.4356
1291 | 97.4426
1290 | 97.4463
1289 | 97.4456
1288 | 97.4398
1287 | 97.4288
1286 | 97.4135
1285 | 97.3948
1284 | 97.3741
1283 | 97.3529
1282 | 97.3328
1281 | 97.3149
1280 | 97.2989
1279 | 97.2841
1278 | 97.2699
1277 | 97.2564
1276 | 97.2439
1275 | 97.2333
1274 | 97.226
1273 | 97.2241
1272 | 97.2296
1271 | 97.2438
1270 | 97.2662
1269 | 97.2935
1268 | 97.3194
1267 | 97.3358
1266 | 97.3356
1265 | 97.3165
1264 | 97.2817
1263 | 97.2381
1262 | 97.1924
1261 | 97.1481
1260 | 97.1058
1259 | 97.0644
1258 | 97.0224
1257 | 96.9788
1256 | 96.9334
1255 | 96.8867
1254 | 96.8387
1253 | 96.7896
1252 | 96.7402
1251 | 96.6918
1250 | 96.6461
1249 | 96.6038
1248 | 96.5658
1247 | 96.5334
1246 | 96.5071
1245 | 96.4863
1244 | 96.4701
1243 | 96.4578
1242 | 96.4491
1241 | 96.4429
1240 | 96.4384
1239 | 96.4352
1238 | 96.4326
1237 | 96.4305
1236 | 96.4295
1235 | 96.4309
1234 | 96.4357
1233 | 96.4442
1232 | 96.4563
1231 | 96.4721
1230 | 96.4913
1229 | 96.5135
1228 | 96.5382
1227 | 96.5653
1226 | 96.5943
1225 | 96.6243
1224 | 96.6548
1223 | 96.6858
1222 | 96.7169
1221 | 96.7476
1220 | 96.778
1219 | 96.8084
1218 | 96.839
1217 | 96.869
1216 | 96.8973
1215 | 96.9223
1214 | 96.9414
1213 | 96.9518
1212 | 96.9523
1211 | 96.9429
1210 | 96.9246
1209 | 96.8996
1208 | 96.8711
1207 | 96.8429
1206 | 96.818
1205 | 96.7968
1204 | 96.7788
1203 | 96.7636
1202 | 96.7511
1201 | 96.7408
1200 | 96.7327
1199 | 96.7266
1198 | 96.7208
1197 | 96.7122
1196 | 96.6978
1195 | 96.6757
1194 | 96.6449
1193 | 96.6041
1192 | 96.5521
1191 | 96.4877
1190 | 96.4097
1189 | 96.3167
1188 | 96.2076
1187 | 96.0827
1186 | 95.9425
1185 | 95.7864
1184 | 95.614
1183 | 95.4263
1182 | 95.2248
1181 | 95.0103
1180 | 94.7832
1179 | 94.5445
1178 | 94.2952
1177 | 94.0348
1176 | 93.7633
1175 | 93.4819
1174 | 93.1913
1173 | 92.8907
1172 | 92.5807
1171 | 92.2642
1170 | 91.9445
1169 | 91.6231
1168 | 91.3034
1167 | 90.9925
1166 | 90.6955
1165 | 90.414
1164 | 90.1496
1163 | 89.9061
1162 | 89.6841
1161 | 89.4788
1160 | 89.2867
1159 | 89.1077
1158 | 88.9392
1157 | 88.7737
1156 | 88.6074
1155 | 88.4426
1154 | 88.2802
1153 | 88.1154
1152 | 87.9447
1151 | 87.7702
1150 | 87.5933
1149 | 87.411
1148 | 87.2233
1147 | 87.036
1146 | 86.8525
1145 | 86.6703
1144 | 86.49
1143 | 86.3184
1142 | 86.1592
1141 | 86.0082
1140 | 85.8624
1139 | 85.7248
1138 | 85.5951
1137 | 85.4668
1136 | 85.3366
1135 | 85.2082
1134 | 85.0825
1133 | 84.9533
1132 | 84.8169
1131 | 84.677
1130 | 84.5344
1129 | 84.3834
1128 | 84.2231
1127 | 84.0622
1126 | 83.9071
1125 | 83.7563
1124 | 83.6109
1123 | 83.4786
1122 | 83.3613
1121 | 83.2513
1120 | 83.143
1119 | 83.038
1118 | 82.935
1117 | 82.8269
1116 | 82.7151
1115 | 82.6134
1114 | 82.5336
1113 | 82.4786
1112 | 82.4535
1111 | 82.4692
1110 | 82.5289
1109 | 82.6231
1108 | 82.7442
1107 | 82.8925
1106 | 83.0654
1105 | 83.2534
1104 | 83.4527
1103 | 83.6674
1102 | 83.8968
1101 | 84.1314
1100 | 84.366
1099 | 84.6037
1098 | 84.8442
1097 | 85.0804
1096 | 85.309
1095 | 85.5337
1094 | 85.7542
1093 | 85.9642
1092 | 86.1613
1091 | 86.3498
1090 | 86.5311
1089 | 86.7002
1088 | 86.8553
1087 | 87.0006
1086 | 87.1363
1085 | 87.256
1084 | 87.3555
1083 | 87.4364
1082 | 87.4994
1081 | 87.5412
1080 | 87.5627
1079 | 87.5716
1078 | 87.5746
1077 | 87.5732
1076 | 87.5689
1075 | 87.5654
1074 | 87.5614
1073 | 87.5483
1072 | 87.5203
1071 | 87.4772
1070 | 87.4177
1069 | 87.3352
1068 | 87.2255
1067 | 87.091
1066 | 86.9349
1065 | 86.758
1064 | 86.5654
1063 | 86.3695
1062 | 86.1826
1061 | 86.0117
1060 | 85.8642
1059 | 85.7491
1058 | 85.668
1057 | 85.6127
1056 | 85.5759
1055 | 85.5576
1054 | 85.5576
1053 | 85.5718
1052 | 85.5977
1051 | 85.6364
1050 | 85.6854
1049 | 85.7359
1048 | 85.7829
1047 | 85.8273
1046 | 85.8671
1045 | 85.8944
1044 | 85.9036
1043 | 85.8947
1042 | 85.8668
1041 | 85.8157
1040 | 85.7417
1039 | 85.6528
1038 | 85.5581
1037 | 85.4641
1036 | 85.3797
1035 | 85.3177
1034 | 85.2867
1033 | 85.2877
1032 | 85.3206
1031 | 85.3863
1030 | 85.4816
1029 | 85.5989
1028 | 85.7335
1027 | 85.8859
1026 | 86.0545
1025 | 86.2337
1024 | 86.4199
1023 | 86.6131
1022 | 86.8106
1021 | 87.0061
1020 | 87.1959
1019 | 87.3788
1018 | 87.5499
1017 | 87.6988
1016 | 87.818
1015 | 87.9071
1014 | 87.9686
1013 | 88.0046
1012 | 88.0182
1011 | 88.0142
1010 | 87.9945
1009 | 87.9571
1008 | 87.9003
1007 | 87.8288
1006 | 87.7559
1005 | 87.7031
1004 | 87.6927
1003 | 87.7359
1002 | 87.8246
1001 | 87.9385
1000 | 88.0606
999 | 88.1833
998 | 88.3024
997 | 88.4123
996 | 88.5097
995 | 88.5949
994 | 88.6686
993 | 88.7301
992 | 88.7797
991 | 88.8204
990 | 88.8549
989 | 88.8848
988 | 88.9158
987 | 88.958
986 | 89.0224
985 | 89.1171
984 | 89.2477
983 | 89.4169
982 | 89.6207
981 | 89.8494
980 | 90.0924
979 | 90.3411
978 | 90.5873
977 | 90.8236
976 | 91.0462
975 | 91.2554
974 | 91.4514
973 | 91.6338
972 | 91.8033
971 | 91.9631
970 | 92.1154
969 | 92.26
968 | 92.3975
967 | 92.5303
966 | 92.6605
965 | 92.789
964 | 92.9163
963 | 93.0437
962 | 93.1712
961 | 93.2981
960 | 93.424
959 | 93.55
958 | 93.676
957 | 93.8008
956 | 93.9238
955 | 94.0453
954 | 94.1646
953 | 94.2797
952 | 94.3897
951 | 94.4954
950 | 94.5976
949 | 94.6955
948 | 94.7884
947 | 94.8768
946 | 94.9609
945 | 95.0397
944 | 95.1126
943 | 95.1794
942 | 95.2404
941 | 95.2956
940 | 95.3459
939 | 95.3923
938 | 95.435
937 | 95.4733
936 | 95.5076
935 | 95.5396
934 | 95.5703
933 | 95.5988
932 | 95.6252
931 | 95.6503
930 | 95.6743
929 | 95.6963
928 | 95.716
927 | 95.7346
926 | 95.7527
925 | 95.7697
924 | 95.785
923 | 95.7992
922 | 95.8123
921 | 95.8233
920 | 95.8313
919 | 95.8367
918 | 95.84
917 | 95.8401
916 | 95.8361
915 | 95.8279
914 | 95.8161
913 | 95.8014
912 | 95.7849
911 | 95.7678
910 | 95.7487
909 | 95.7244
908 | 95.692
907 | 95.6517
906 | 95.6043
905 | 95.5506
904 | 95.4927
903 | 95.4346
902 | 95.3803
901 | 95.3322
900 | 95.2925
899 | 95.2651
898 | 95.2527
897 | 95.2562
896 | 95.2744
895 | 95.3065
894 | 95.3508
893 | 95.4046
892 | 95.4652
891 | 95.5305
890 | 95.5983
889 | 95.6661
888 | 95.7321
887 | 95.7947
886 | 95.8518
885 | 95.9014
884 | 95.9447
883 | 95.9842
882 | 96.0204
881 | 96.0503
880 | 96.0723
879 | 96.0891
878 | 96.1056
877 | 96.1247
876 | 96.1479
875 | 96.1766
874 | 96.2117
873 | 96.2521
872 | 96.2949
871 | 96.3374
870 | 96.3771
869 | 96.4116
868 | 96.4402
867 | 96.4638
866 | 96.4838
865 | 96.5013
864 | 96.5161
863 | 96.5273
862 | 96.5337
861 | 96.536
860 | 96.5376
859 | 96.5416
858 | 96.5472
857 | 96.5508
856 | 96.5495
855 | 96.5439
854 | 96.5359
853 | 96.5273
852 | 96.5209
851 | 96.519
850 | 96.5211
849 | 96.5233
848 | 96.5221
847 | 96.5169
846 | 96.5084
845 | 96.4979
844 | 96.4877
843 | 96.4796
842 | 96.4722
841 | 96.4622
840 | 96.4493
839 | 96.4377
838 | 96.4307
837 | 96.4273
836 | 96.4251
835 | 96.4241
834 | 96.4255
833 | 96.4297
832 | 96.4374
831 | 96.4501
830 | 96.4677
829 | 96.4874
828 | 96.5065
827 | 96.5249
826 | 96.5428
825 | 96.5582
824 | 96.5693
823 | 96.5763
822 | 96.5801
821 | 96.5801
820 | 96.576
819 | 96.5698
818 | 96.5638
817 | 96.5589
816 | 96.5556
815 | 96.5538
814 | 96.5516
813 | 96.5462
812 | 96.5376
811 | 96.5287
810 | 96.5219
809 | 96.5167
808 | 96.5123
807 | 96.5093
806 | 96.5069
805 | 96.5025
804 | 96.4946
803 | 96.4852
802 | 96.4759
801 | 96.4652
800 | 96.4511
799 | 96.4336
798 | 96.4124
797 | 96.3861
796 | 96.3549
795 | 96.3215
794 | 96.2875
793 | 96.252
792 | 96.2145
791 | 96.1774
790 | 96.1425
789 | 96.1089
788 | 96.0752
787 | 96.0426
786 | 96.012
785 | 95.9826
784 | 95.954
783 | 95.9277
782 | 95.9042
781 | 95.8815
780 | 95.8584
779 | 95.8364
778 | 95.8164
777 | 95.7965
776 | 95.7751
775 | 95.7532
774 | 95.7314
773 | 95.708
772 | 95.6822
771 | 95.6561
770 | 95.6307
769 | 95.6046
768 | 95.5768
767 | 95.5494
766 | 95.5234
765 | 95.4968
764 | 95.4684
763 | 95.4397
762 | 95.4118
761 | 95.3827
760 | 95.352
759 | 95.3221
758 | 95.2943
757 | 95.2666
756 | 95.2376
755 | 95.2091
754 | 95.1816
753 | 95.1522
752 | 95.1188
751 | 95.0841
750 | 95.0507
749 | 95.0178
748 | 94.9847
747 | 94.9531
746 | 94.9231
745 | 94.8911
744 | 94.8551
743 | 94.8183
742 | 94.7831
741 | 94.7472
740 | 94.7086
739 | 94.6696
738 | 94.6325
737 | 94.5949
736 | 94.5545
735 | 94.513
734 | 94.4716
733 | 94.4271
732 | 94.377
731 | 94.3239
730 | 94.2704
729 | 94.2151
728 | 94.1567
727 | 94.098
726 | 94.0407
725 | 93.9823
724 | 93.9202
723 | 93.8558
722 | 93.7906
721 | 93.7238
720 | 93.6579
719 | 93.5994
718 | 93.5485
717 | 93.4974
716 | 93.4412
715 | 93.3844
714 | 93.3319
713 | 93.2817
712 | 93.2314
711 | 93.1842
710 | 93.1426
709 | 93.1018
708 | 93.0582
707 | 93.0153
706 | 92.9759
705 | 92.9353
704 | 92.891
703 | 92.8486
702 | 92.8113
701 | 92.7725
700 | 92.7274
699 | 92.6821
698 | 92.6424
697 | 92.6036
696 | 92.5605
695 | 92.5176
694 | 92.4788
693 | 92.4371
692 | 92.3856
691 | 92.3281
690 | 92.2674
689 | 92.1945
688 | 92.1042
687 | 92.0058
686 | 91.9038
685 | 91.7832
684 | 91.6303
683 | 91.45
682 | 91.2457
681 | 91.0029
680 | 90.7092
679 | 90.3711
678 | 89.9924
677 | 89.5594
676 | 89.0663
675 | 88.5296
674 | 87.9651
673 | 87.3879
672 | 86.8337
671 | 86.3373
670 | 85.9042
669 | 85.5551
668 | 85.4279
667 | 85.6084
666 | 85.9547
665 | 86.346
664 | 86.7737
663 | 87.2292
662 | 87.6694
661 | 88.0498
660 | 88.3656
659 | 88.6277
658 | 88.8449
657 | 89.0274
656 | 89.1849
655 | 89.3162
654 | 89.4175
653 | 89.4925
652 | 89.5462
651 | 89.5769
650 | 89.5852
649 | 89.579
648 | 89.5631
647 | 89.533
646 | 89.4842
645 | 89.421
644 | 89.3513
643 | 89.2805
642 | 89.2104
641 | 89.1403
640 | 89.0708
639 | 89.0071
638 | 88.9533
637 | 88.9058
636 | 88.8572
635 | 88.8032
634 | 88.738
633 | 88.6525
632 | 88.5473
631 | 88.4437
630 | 88.3643
629 | 88.3058
628 | 88.2498
627 | 88.1899
626 | 88.1307
625 | 88.0726
624 | 88.0198
623 | 87.9909
622 | 87.9977
621 | 88.0297
620 | 88.0784
619 | 88.1526
618 | 88.2445
617 | 88.3126
616 | 88.3124
615 | 88.235
614 | 88.1177
613 | 87.9993
612 | 87.8719
611 | 87.6989
610 | 87.4728
609 | 87.2321
608 | 87.02
607 | 86.8459
606 | 86.6836
605 | 86.5117
604 | 86.3602
603 | 86.3073
602 | 86.4191
601 | 86.7054
600 | 87.1392

## Sample Details
Setting | Value
Filesname | NHwF-1
Creation Date
Analyst | mas-storage
X-Axis Units | cm-1
X-Axis start value | 4000
X-Axis end value | 600
Data interval | -1
Number of points | 3401
Y-Axis Units | %T
Description | 7Sample 1322 By mas-storage Date Wednesday, July 28 2021

## Instrument Details
Setting | Value
Instrument Model | Frontier FT-IR
Instrument Serial Number | 91175
Software Revision | CPU32 Main 00.09.9908 05-May-2009 15:52:12
Number of Scans | 32
Resolution | 4
Detector
Source | MIR
Beam Splitter | OptKBr
Apodization | Strong
Spectrum Type | Spectrum
Beam Type | Ratio
Phase Correction | Magnitude
Scan Speed | 1
IGram Type | Double
Scan Driection | Combined
Zero Crossing | 0
JStop | 8.94
IR-Laser Wavenumber | 15798.001999451375
Manufacturer | PIKE Technologies Inc.
Part Number | L1200385
Serial Number | 19250
Description | Miracle Accessory
Default Scan Range | 4000 450
Accessory Type | Miracle ATR
Temperature / °C
Slide Holder Option

## Quality Checks
Setting | Value
Water Vapor | Passed
Carbon Dioxide | Passed
Baseline Low | Passed
Baseline High | Passed
Baseline Slope | Passed
Strong Bands | Passed
Weak Bands | Warning
High Noise | Passed
Fringes | Warning
Vignetting | Passed
Blocked Beam | Passed
Negative Bands | Passed
Zero Transmission | Passed
Stray Light | Passed
Window Cuttoff | Passed