## Data
Wavelength / cm-1 | Transmittance / % | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1
4000 | 97.8216 |  | Baseline @ 1105 |  | Baseline @ 1735 |  | Baseline @ 2900 |  | Peak @ 1105 |  | Peak @ 1735 |  | Peak @ 2900
3999 | 97.8236 | 850 | 95.8347 | 1525 | 98.61 | 2670 | 98.4921 | 1105 | 72.6073 | 1735 | 98.7439 | 2900 | 97.7535
3998 | 97.8245 | 1210 | 96.8849 | 1780 | 99.3282 | 3000 | 98.0543 | 1105 | 96.5786 | 1735 | 99.2014 | 2900 | 98.1869
3997 | 97.8243
3996 | 97.8235
3995 | 97.8226
3994 | 97.8223
3993 | 97.8234
3992 | 97.8265
3991 | 97.8313
3990 | 97.8361
3989 | 97.8391
3988 | 97.8394
3987 | 97.8375
3986 | 97.8356
3985 | 97.8353
3984 | 97.8366
3983 | 97.8385
3982 | 97.8401
3981 | 97.8415
3980 | 97.8425
3979 | 97.8424
3978 | 97.841
3977 | 97.839 |  |  | Baseline range |  |  | Transmittance |  |  |  | Equation of base line |  |  | Transmittance at peak value wavelength | Peak Intensity |  | Ratio
3976 | 97.8375 |  | Peak value
3975 | 97.8364 |  | Wavelength
3974 | 97.8355 |  | x1 | x2 | x3 |  | y1 | y2 | y3 |  | m | c
3973 | 97.8348 | [15 empty] | Lyceum
3972 | 97.8346 |  | 1105 | 850 | 1210 |  | 72.6073 | 95.8347 | 96.8849 |  | 0.0029172 | 93.3551 |  | 96.5786 | 23.9713 | R1 | 0.019086
3971 | 97.835 |  | 1735 | 1525 | 1780 |  | 98.7439 | 98.61 | 99.3282 |  | 0.0028164 | 94.315 |  | 99.2014 | 0.45752 | R2 | 1.0556
3970 | 97.8365 |  | 2900 | 2670 | 3000 |  | 97.7535 | 98.4921 | 98.0543 |  | -0.0013269 | 102.035 |  | 98.1869 | 0.43341
3969 | 97.8391
3968 | 97.8421 |  | From paper
3967 | 97.8438 |  | 1105 | 765 | 1185
3966 | 97.8435 |  | 1735 | 1485 | 1780
3965 | 97.8421 |  | 2900 | 2630 | 3000
3964 | 97.8413
3963 | 97.8425
3962 | 97.8455
3961 | 97.849
3960 | 97.8521
3959 | 97.8541
3958 | 97.855
3957 | 97.8549
3956 | 97.8532
3955 | 97.849
3954 | 97.8426
3953 | 97.8355
3952 | 97.83
3951 | 97.8282
3950 | 97.8314
3949 | 97.8383
3948 | 97.8441
3947 | 97.8437
3946 | 97.8366
3945 | 97.8287
3944 | 97.8274
3943 | 97.8346
3942 | 97.8454
3941 | 97.853
3940 | 97.8554
3939 | 97.8544
3938 | 97.8521
3937 | 97.8482
3936 | 97.8421
3935 | 97.8356
3934 | 97.8329
3933 | 97.8367
3932 | 97.8449
3931 | 97.8514
3930 | 97.8514
3929 | 97.8455
3928 | 97.8384
3927 | 97.8352
3926 | 97.8378
3925 | 97.844
3924 | 97.8488
3923 | 97.848
3922 | 97.8415
3921 | 97.8337
3920 | 97.8302
3919 | 97.8338
3918 | 97.8432
3917 | 97.8546
3916 | 97.8638
3915 | 97.8689
3914 | 97.8709
3913 | 97.8729
3912 | 97.877
3911 | 97.8812
3910 | 97.8806
3909 | 97.8709
3908 | 97.852
3907 | 97.8282
3906 | 97.8055
3905 | 97.7883
3904 | 97.7776
3903 | 97.7717
3902 | 97.7711
3901 | 97.779
3900 | 97.7963
3899 | 97.8181
3898 | 97.8361
3897 | 97.8446
3896 | 97.8435
3895 | 97.8368
3894 | 97.831
3893 | 97.8315
3892 | 97.839
3891 | 97.846
3890 | 97.8429
3889 | 97.8296
3888 | 97.8173
3887 | 97.8179
3886 | 97.8301
3885 | 97.8375
3884 | 97.825
3883 | 97.7984
3882 | 97.7811
3881 | 97.791
3880 | 97.8209
3879 | 97.8458
3878 | 97.8503
3877 | 97.8412
3876 | 97.8333
3875 | 97.8306
3874 | 97.8246
3873 | 97.8086
3872 | 97.789
3871 | 97.7804
3870 | 97.7883
3869 | 97.8003
3868 | 97.8008
3867 | 97.7902
3866 | 97.7815
3865 | 97.7853
3864 | 97.7993
3863 | 97.8133
3862 | 97.823
3861 | 97.8329
3860 | 97.8453
3859 | 97.8559
3858 | 97.8582
3857 | 97.8494
3856 | 97.831
3855 | 97.8081
3854 | 97.7915
3853 | 97.7872
3852 | 97.7879
3851 | 97.789
3850 | 97.7969
3849 | 97.8152
3848 | 97.8381
3847 | 97.8553
3846 | 97.8599
3845 | 97.8531
3844 | 97.8403
3843 | 97.8249
3842 | 97.8078
3841 | 97.7906
3840 | 97.7766
3839 | 97.769
3838 | 97.7669
3837 | 97.7666
3836 | 97.7656
3835 | 97.7665
3834 | 97.7742
3833 | 97.7908
3832 | 97.8123
3831 | 97.8307
3830 | 97.8398
3829 | 97.8418
3828 | 97.8445
3827 | 97.8508
3826 | 97.8537
3825 | 97.844
3824 | 97.8215
3823 | 97.7972
3822 | 97.7835
3821 | 97.7813
3820 | 97.7781
3819 | 97.7675
3818 | 97.7613
3817 | 97.7756
3816 | 97.8106
3815 | 97.848
3814 | 97.8705
3813 | 97.8789
3812 | 97.8836
3811 | 97.8885
3810 | 97.8894
3809 | 97.8832
3808 | 97.8738
3807 | 97.8647
3806 | 97.8512
3805 | 97.8279
3804 | 97.8021
3803 | 97.7879
3802 | 97.7913
3801 | 97.8009
3800 | 97.7988
3799 | 97.7862
3798 | 97.7828
3797 | 97.8026
3796 | 97.8388
3795 | 97.8729
3794 | 97.8936
3793 | 97.9041
3792 | 97.9127
3791 | 97.9217
3790 | 97.9269
3789 | 97.925
3788 | 97.9181
3787 | 97.9114
3786 | 97.9084
3785 | 97.9081
3784 | 97.9053
3783 | 97.896
3782 | 97.8813
3781 | 97.8679
3780 | 97.8625
3779 | 97.8662
3778 | 97.8747
3777 | 97.8845
3776 | 97.8953
3775 | 97.9057
3774 | 97.9102
3773 | 97.9045
3772 | 97.8908
3771 | 97.8756
3770 | 97.8625
3769 | 97.8496
3768 | 97.837
3767 | 97.832
3766 | 97.8407
3765 | 97.8568
3764 | 97.8661
3763 | 97.8612
3762 | 97.8472
3761 | 97.8344
3760 | 97.8287
3759 | 97.8272
3758 | 97.8241
3757 | 97.8179
3756 | 97.8118
3755 | 97.8076
3754 | 97.8022
3753 | 97.7904
3752 | 97.7718
3751 | 97.7523
3750 | 97.7351
3749 | 97.7159
3748 | 97.6953
3747 | 97.6839
3746 | 97.6951
3745 | 97.7324
3744 | 97.7753
3743 | 97.7918
3742 | 97.7777
3741 | 97.7555
3740 | 97.7421
3739 | 97.7371
3738 | 97.7338
3737 | 97.7311
3736 | 97.7319
3735 | 97.7341
3734 | 97.7339
3733 | 97.7348
3732 | 97.7431
3731 | 97.7575
3730 | 97.7707
3729 | 97.7807
3728 | 97.792
3727 | 97.8069
3726 | 97.8195
3725 | 97.8219
3724 | 97.8155
3723 | 97.8096
3722 | 97.8104
3721 | 97.816
3720 | 97.8229
3719 | 97.8304
3718 | 97.8377
3717 | 97.842
3716 | 97.8401
3715 | 97.8322
3714 | 97.8191
3713 | 97.8001
3712 | 97.7747
3711 | 97.7484
3710 | 97.732
3709 | 97.7335
3708 | 97.751
3707 | 97.7745
3706 | 97.7932
3705 | 97.8025
3704 | 97.8047
3703 | 97.8056
3702 | 97.809
3701 | 97.8133
3700 | 97.8154
3699 | 97.8162
3698 | 97.8196
3697 | 97.8256
3696 | 97.8284
3695 | 97.8217
3694 | 97.8044
3693 | 97.7808
3692 | 97.7548
3691 | 97.7278
3690 | 97.7038
3689 | 97.6908
3688 | 97.692
3687 | 97.7021
3686 | 97.717
3685 | 97.7361
3684 | 97.7565
3683 | 97.7724
3682 | 97.7786
3681 | 97.7733
3680 | 97.7568
3679 | 97.7303
3678 | 97.6972
3677 | 97.6655
3676 | 97.6447
3675 | 97.6321
3674 | 97.6122
3673 | 97.5846
3672 | 97.5686
3671 | 97.5785
3670 | 97.6071
3669 | 97.6322
3668 | 97.6422
3667 | 97.647
3666 | 97.6601
3665 | 97.6816
3664 | 97.7021
3663 | 97.7139
3662 | 97.7146
3661 | 97.7047
3660 | 97.686
3659 | 97.6633
3658 | 97.6445
3657 | 97.6341
3656 | 97.6257
3655 | 97.6067
3654 | 97.5743
3653 | 97.539
3652 | 97.5122
3651 | 97.4923
3650 | 97.4685
3649 | 97.4388
3648 | 97.4162
3647 | 97.4134
3646 | 97.4284
3645 | 97.4509
3644 | 97.4739
3643 | 97.4945
3642 | 97.5094
3641 | 97.5148
3640 | 97.5103
3639 | 97.4987
3638 | 97.4836
3637 | 97.4669
3636 | 97.4506
3635 | 97.4354
3634 | 97.418
3633 | 97.3924
3632 | 97.3572
3631 | 97.3201
3630 | 97.2919
3629 | 97.2744
3628 | 97.2567
3627 | 97.2328
3626 | 97.2128
3625 | 97.2062
3624 | 97.2077
3623 | 97.2038
3622 | 97.1862
3621 | 97.1572
3620 | 97.1246
3619 | 97.0922
3618 | 97.0586
3617 | 97.0249
3616 | 96.9988
3615 | 96.9862
3614 | 96.9839
3613 | 96.9816
3612 | 96.9706
3611 | 96.9515
3610 | 96.9321
3609 | 96.9179
3608 | 96.906
3607 | 96.8901
3606 | 96.8693
3605 | 96.8487
3604 | 96.8325
3603 | 96.8193
3602 | 96.8031
3601 | 96.7787
3600 | 96.7462
3599 | 96.7108
3598 | 96.6785
3597 | 96.6531
3596 | 96.6338
3595 | 96.6154
3594 | 96.5927
3593 | 96.5641
3592 | 96.5321
3591 | 96.5008
3590 | 96.4726
3589 | 96.4456
3588 | 96.4134
3587 | 96.371
3586 | 96.3217
3585 | 96.2761
3584 | 96.2422
3583 | 96.2189
3582 | 96.1986
3581 | 96.1737
3580 | 96.1408
3579 | 96.1008
3578 | 96.0561
3577 | 96.0086
3576 | 95.9592
3575 | 95.9084
3574 | 95.8564
3573 | 95.8031
3572 | 95.7486
3571 | 95.6929
3570 | 95.6348
3569 | 95.5716
3568 | 95.4983
3567 | 95.4127
3566 | 95.321
3565 | 95.2362
3564 | 95.1686
3563 | 95.1184
3562 | 95.0773
3561 | 95.0352
3560 | 94.9858
3559 | 94.9288
3558 | 94.867
3557 | 94.8039
3556 | 94.7414
3555 | 94.6796
3554 | 94.6162
3553 | 94.549
3552 | 94.479
3551 | 94.411
3550 | 94.3504
3549 | 94.2995
3548 | 94.2543
3547 | 94.2073
3546 | 94.1529
3545 | 94.0928
3544 | 94.0359
3543 | 93.9909
3542 | 93.9603
3541 | 93.9401
3540 | 93.9241
3539 | 93.9075
3538 | 93.8883
3537 | 93.8669
3536 | 93.8455
3535 | 93.8266
3534 | 93.8124
3533 | 93.8033
3532 | 93.7979
3531 | 93.7934
3530 | 93.7871
3529 | 93.779
3528 | 93.7713
3527 | 93.7674
3526 | 93.7698
3525 | 93.7788
3524 | 93.7925
3523 | 93.8079
3522 | 93.8238
3521 | 93.8413
3520 | 93.8618
3519 | 93.8853
3518 | 93.9096
3517 | 93.9328
3516 | 93.9549
3515 | 93.9769
3514 | 93.9994
3513 | 94.0229
3512 | 94.0472
3511 | 94.0719
3510 | 94.0959
3509 | 94.1191
3508 | 94.1427
3507 | 94.1678
3506 | 94.1941
3505 | 94.2187
3504 | 94.2388
3503 | 94.2545
3502 | 94.269
3501 | 94.2866
3500 | 94.3085
3499 | 94.3325
3498 | 94.3553
3497 | 94.3748
3496 | 94.3909
3495 | 94.4048
3494 | 94.4179
3493 | 94.4318
3492 | 94.4478
3491 | 94.466
3490 | 94.4861
3489 | 94.5071
3488 | 94.5286
3487 | 94.5501
3486 | 94.5709
3485 | 94.5912
3484 | 94.6116
3483 | 94.6322
3482 | 94.6527
3481 | 94.6732
3480 | 94.6942
3479 | 94.7165
3478 | 94.7398
3477 | 94.763
3476 | 94.7842
3475 | 94.8018
3474 | 94.8152
3473 | 94.8252
3472 | 94.8336
3471 | 94.842
3470 | 94.8508
3469 | 94.8597
3468 | 94.8681
3467 | 94.8755
3466 | 94.8815
3465 | 94.8861
3464 | 94.8896
3463 | 94.8918
3462 | 94.8921
3461 | 94.8898
3460 | 94.8853
3459 | 94.8791
3458 | 94.8718
3457 | 94.8634
3456 | 94.8539
3455 | 94.8431
3454 | 94.8309
3453 | 94.8172
3452 | 94.8015
3451 | 94.7827
3450 | 94.7601
3449 | 94.7333
3448 | 94.7028
3447 | 94.6698
3446 | 94.6362
3445 | 94.6045
3444 | 94.5755
3443 | 94.547
3442 | 94.5151
3441 | 94.4775
3440 | 94.4346
3439 | 94.3887
3438 | 94.3414
3437 | 94.2926
3436 | 94.2416
3435 | 94.1879
3434 | 94.1312
3433 | 94.0715
3432 | 94.0085
3431 | 93.9419
3430 | 93.8727
3429 | 93.8024
3428 | 93.7324
3427 | 93.6624
3426 | 93.5906
3425 | 93.5156
3424 | 93.4365
3423 | 93.353
3422 | 93.2646
3421 | 93.1726
3420 | 93.0803
3419 | 92.9912
3418 | 92.9069
3417 | 92.8264
3416 | 92.747
3415 | 92.6666
3414 | 92.5852
3413 | 92.5055
3412 | 92.4304
3411 | 92.3615
3410 | 92.2988
3409 | 92.2419
3408 | 92.1908
3407 | 92.1463
3406 | 92.1084
3405 | 92.077
3404 | 92.0513
3403 | 92.0309
3402 | 92.0159
3401 | 92.0087
3400 | 92.0121
3399 | 92.0274
3398 | 92.0527
3397 | 92.0846
3396 | 92.1204
3395 | 92.1589
3394 | 92.1992
3393 | 92.241
3392 | 92.2857
3391 | 92.3364
3390 | 92.3956
3389 | 92.4625
3388 | 92.5327
3387 | 92.6018
3386 | 92.6682
3385 | 92.7332
3384 | 92.7985
3383 | 92.8642
3382 | 92.9293
3381 | 92.9929
3380 | 93.0551
3379 | 93.1158
3378 | 93.1753
3377 | 93.2334
3376 | 93.2899
3375 | 93.3442
3374 | 93.3954
3373 | 93.4431
3372 | 93.487
3371 | 93.5281
3370 | 93.5679
3369 | 93.6078
3368 | 93.6478
3367 | 93.6866
3366 | 93.7226
3365 | 93.7559
3364 | 93.7875
3363 | 93.8179
3362 | 93.8466
3361 | 93.8725
3360 | 93.8951
3359 | 93.915
3358 | 93.9333
3357 | 93.9512
3356 | 93.9684
3355 | 93.9842
3354 | 93.9983
3353 | 94.011
3352 | 94.0227
3351 | 94.0336
3350 | 94.0443
3349 | 94.0556
3348 | 94.0683
3347 | 94.0818
3346 | 94.0944
3345 | 94.1052
3344 | 94.1145
3343 | 94.1232
3342 | 94.1317
3341 | 94.1398
3340 | 94.1476
3339 | 94.1562
3338 | 94.1668
3337 | 94.1797
3336 | 94.1944
3335 | 94.2095
3334 | 94.224
3333 | 94.2376
3332 | 94.2503
3331 | 94.2618
3330 | 94.2718
3329 | 94.2808
3328 | 94.2897
3327 | 94.2992
3326 | 94.3095
3325 | 94.3211
3324 | 94.3347
3323 | 94.3496
3322 | 94.3641
3321 | 94.3768
3320 | 94.3878
3319 | 94.3981
3318 | 94.4085
3317 | 94.4192
3316 | 94.4302
3315 | 94.4414
3314 | 94.4523
3313 | 94.4621
3312 | 94.4705
3311 | 94.4777
3310 | 94.4837
3309 | 94.4881
3308 | 94.4915
3307 | 94.4954
3306 | 94.5018
3305 | 94.5115
3304 | 94.5231
3303 | 94.5345
3302 | 94.5442
3301 | 94.5523
3300 | 94.5596
3299 | 94.5666
3298 | 94.5727
3297 | 94.5776
3296 | 94.5815
3295 | 94.5855
3294 | 94.5907
3293 | 94.5978
3292 | 94.6057
3291 | 94.6133
3290 | 94.6198
3289 | 94.6257
3288 | 94.6312
3287 | 94.6366
3286 | 94.6419
3285 | 94.6471
3284 | 94.6527
3283 | 94.6587
3282 | 94.6649
3281 | 94.6711
3280 | 94.6773
3279 | 94.6835
3278 | 94.6889
3277 | 94.6932
3276 | 94.6964
3275 | 94.6991
3274 | 94.7021
3273 | 94.7061
3272 | 94.711
3271 | 94.7168
3270 | 94.724
3269 | 94.7332
3268 | 94.7441
3267 | 94.7556
3266 | 94.7665
3265 | 94.7762
3264 | 94.7847
3263 | 94.7921
3262 | 94.7987
3261 | 94.8048
3260 | 94.8106
3259 | 94.8156
3258 | 94.8193
3257 | 94.8211
3256 | 94.8213
3255 | 94.8204
3254 | 94.8196
3253 | 94.8195
3252 | 94.8201
3251 | 94.8209
3250 | 94.821
3249 | 94.82
3248 | 94.818
3247 | 94.8158
3246 | 94.8151
3245 | 94.8178
3244 | 94.8249
3243 | 94.8358
3242 | 94.8496
3241 | 94.8657
3240 | 94.8842
3239 | 94.9043
3238 | 94.9252
3237 | 94.9471
3236 | 94.9705
3235 | 94.9953
3234 | 95.0207
3233 | 95.0462
3232 | 95.072
3231 | 95.0982
3230 | 95.1244
3229 | 95.1502
3228 | 95.1749
3227 | 95.1984
3226 | 95.2203
3225 | 95.2411
3224 | 95.2615
3223 | 95.2821
3222 | 95.3028
3221 | 95.3234
3220 | 95.3443
3219 | 95.3656
3218 | 95.387
3217 | 95.4073
3216 | 95.4254
3215 | 95.4417
3214 | 95.4573
3213 | 95.4739
3212 | 95.4919
3211 | 95.511
3210 | 95.5302
3209 | 95.549
3208 | 95.5677
3207 | 95.5868
3206 | 95.6066
3205 | 95.6264
3204 | 95.6453
3203 | 95.6628
3202 | 95.6789
3201 | 95.6944
3200 | 95.7101
3199 | 95.7261
3198 | 95.7424
3197 | 95.7589
3196 | 95.7757
3195 | 95.7929
3194 | 95.8111
3193 | 95.8307
3192 | 95.8518
3191 | 95.8726
3190 | 95.8914
3189 | 95.9085
3188 | 95.9253
3187 | 95.943
3186 | 95.9614
3185 | 95.9793
3184 | 95.9965
3183 | 96.0137
3182 | 96.0311
3181 | 96.0486
3180 | 96.066
3179 | 96.0835
3178 | 96.1013
3177 | 96.1195
3176 | 96.1385
3175 | 96.1584
3174 | 96.1791
3173 | 96.2002
3172 | 96.221
3171 | 96.2408
3170 | 96.259
3169 | 96.2756
3168 | 96.2914
3167 | 96.3077
3166 | 96.3254
3165 | 96.3446
3164 | 96.3649
3163 | 96.3861
3162 | 96.4076
3161 | 96.4286
3160 | 96.4484
3159 | 96.4663
3158 | 96.4824
3157 | 96.4976
3156 | 96.5132
3155 | 96.53
3154 | 96.548
3153 | 96.566
3152 | 96.584
3151 | 96.6025
3150 | 96.6226
3149 | 96.6443
3148 | 96.6658
3147 | 96.6855
3146 | 96.7031
3145 | 96.7195
3144 | 96.7363
3143 | 96.7537
3142 | 96.7712
3141 | 96.7885
3140 | 96.8059
3139 | 96.8238
3138 | 96.8421
3137 | 96.8597
3136 | 96.8763
3135 | 96.8918
3134 | 96.9076
3133 | 96.9248
3132 | 96.9442
3131 | 96.9645
3130 | 96.9835
3129 | 96.9997
3128 | 97.0142
3127 | 97.0288
3126 | 97.0446
3125 | 97.0616
3124 | 97.0789
3123 | 97.0966
3122 | 97.1146
3121 | 97.1324
3120 | 97.1494
3119 | 97.1656
3118 | 97.1817
3117 | 97.198
3116 | 97.2147
3115 | 97.2312
3114 | 97.2475
3113 | 97.2639
3112 | 97.2807
3111 | 97.2978
3110 | 97.315
3109 | 97.3322
3108 | 97.3495
3107 | 97.3664
3106 | 97.3822
3105 | 97.3966
3104 | 97.4103
3103 | 97.424
3102 | 97.4378
3101 | 97.451
3100 | 97.4633
3099 | 97.4758
3098 | 97.4894
3097 | 97.5042
3096 | 97.5193
3095 | 97.5337
3094 | 97.5469
3093 | 97.5589
3092 | 97.57
3091 | 97.5807
3090 | 97.5916
3089 | 97.6036
3088 | 97.617
3087 | 97.6307
3086 | 97.6428
3085 | 97.6524
3084 | 97.6606
3083 | 97.669
3082 | 97.6782
3081 | 97.6879
3080 | 97.6977
3079 | 97.7078
3078 | 97.7182
3077 | 97.7292
3076 | 97.7407
3075 | 97.7524
3074 | 97.7633
3073 | 97.7725
3072 | 97.78
3071 | 97.7864
3070 | 97.7922
3069 | 97.798
3068 | 97.8046
3067 | 97.8124
3066 | 97.8208
3065 | 97.8286
3064 | 97.8355
3063 | 97.8424
3062 | 97.8501
3061 | 97.8584
3060 | 97.8663
3059 | 97.8733
3058 | 97.879
3057 | 97.8834
3056 | 97.8868
3055 | 97.8903
3054 | 97.8946
3053 | 97.9001
3052 | 97.9062
3051 | 97.9118
3050 | 97.9163
3049 | 97.9201
3048 | 97.9241
3047 | 97.9288
3046 | 97.9339
3045 | 97.9388
3044 | 97.9433
3043 | 97.9472
3042 | 97.9503
3041 | 97.9526
3040 | 97.9546
3039 | 97.9577
3038 | 97.9621
3037 | 97.9666
3036 | 97.9699
3035 | 97.9719
3034 | 97.9737
3033 | 97.9766
3032 | 97.9811
3031 | 97.9861
3030 | 97.9906
3029 | 97.9943
3028 | 97.9981
3027 | 98.0024
3026 | 98.006
3025 | 98.0076
3024 | 98.0078
3023 | 98.0084
3022 | 98.0107
3021 | 98.0142
3020 | 98.0173
3019 | 98.0192
3018 | 98.0202
3017 | 98.0211
3016 | 98.0225
3015 | 98.0242
3014 | 98.0261
3013 | 98.0284
3012 | 98.0313
3011 | 98.0348
3010 | 98.0379
3009 | 98.04
3008 | 98.0413
3007 | 98.0427
3006 | 98.0447
3005 | 98.0468
3004 | 98.0485
3003 | 98.0494
3002 | 98.0502
3001 | 98.0516
3000 | 98.0543
2999 | 98.0575
2998 | 98.0604
2997 | 98.0621
2996 | 98.0627
2995 | 98.0627
2994 | 98.0623
2993 | 98.0618
2992 | 98.0616
2991 | 98.0617
2990 | 98.0619
2989 | 98.0622
2988 | 98.063
2987 | 98.0644
2986 | 98.0654
2985 | 98.0653
2984 | 98.0644
2983 | 98.0634
2982 | 98.0623
2981 | 98.0606
2980 | 98.0581
2979 | 98.0553
2978 | 98.0523
2977 | 98.0488
2976 | 98.0446
2975 | 98.0402
2974 | 98.0361
2973 | 98.0317
2972 | 98.0264
2971 | 98.0194
2970 | 98.0106
2969 | 98.0002
2968 | 97.9888
2967 | 97.9772
2966 | 97.9651
2965 | 97.9514
2964 | 97.9359
2963 | 97.9195
2962 | 97.9034
2961 | 97.8882
2960 | 97.8735
2959 | 97.8593
2958 | 97.8459
2957 | 97.8342
2956 | 97.8248
2955 | 97.8176
2954 | 97.8114
2953 | 97.8051
2952 | 97.7985
2951 | 97.7924
2950 | 97.7875
2949 | 97.7831
2948 | 97.7781
2947 | 97.7716
2946 | 97.7637
2945 | 97.755
2944 | 97.7457
2943 | 97.736
2942 | 97.7261
2941 | 97.7162
2940 | 97.7067
2939 | 97.6972
2938 | 97.6871
2937 | 97.6762
2936 | 97.6653
2935 | 97.6556
2934 | 97.6479
2933 | 97.6424
2932 | 97.6384
2931 | 97.6345
2930 | 97.6297
2929 | 97.6239
2928 | 97.6189
2927 | 97.6169
2926 | 97.6187
2925 | 97.6241
2924 | 97.633
2923 | 97.6453
2922 | 97.6604
2921 | 97.6769
2920 | 97.6928
2919 | 97.7073
2918 | 97.7206
2917 | 97.7326
2916 | 97.7424
2915 | 97.7494
2914 | 97.7532
2913 | 97.7549
2912 | 97.7557
2911 | 97.7566
2910 | 97.7576
2909 | 97.7584
2908 | 97.7587
2907 | 97.7584
2906 | 97.7575
2905 | 97.7564
2904 | 97.7551
2903 | 97.7536
2902 | 97.7522
2901 | 97.7519
2900 | 97.7535
2899 | 97.757
2898 | 97.7611
2897 | 97.7649
2896 | 97.768
2895 | 97.7704
2894 | 97.7722
2893 | 97.7737
2892 | 97.7755
2891 | 97.7781
2890 | 97.7812
2889 | 97.7841
2888 | 97.7863
2887 | 97.7878
2886 | 97.789
2885 | 97.7908
2884 | 97.7936
2883 | 97.7972
2882 | 97.8003
2881 | 97.8018
2880 | 97.8017
2879 | 97.8003
2878 | 97.7979
2877 | 97.7949
2876 | 97.7921
2875 | 97.7908
2874 | 97.791
2873 | 97.7922
2872 | 97.794
2871 | 97.7968
2870 | 97.801
2869 | 97.8067
2868 | 97.8134
2867 | 97.8204
2866 | 97.8269
2865 | 97.8322
2864 | 97.8361
2863 | 97.8389
2862 | 97.8408
2861 | 97.8422
2860 | 97.8434
2859 | 97.8447
2858 | 97.8467
2857 | 97.8504
2856 | 97.8573
2855 | 97.8686
2854 | 97.8837
2853 | 97.9009
2852 | 97.919
2851 | 97.9377
2850 | 97.9572
2849 | 97.9768
2848 | 97.996
2847 | 98.0138
2846 | 98.0302
2845 | 98.0452
2844 | 98.0591
2843 | 98.072
2842 | 98.0836
2841 | 98.094
2840 | 98.1037
2839 | 98.1131
2838 | 98.1224
2837 | 98.1319
2836 | 98.1416
2835 | 98.1509
2834 | 98.159
2833 | 98.1657
2832 | 98.1722
2831 | 98.1792
2830 | 98.1862
2829 | 98.1923
2828 | 98.1974
2827 | 98.2023
2826 | 98.2074
2825 | 98.2124
2824 | 98.2173
2823 | 98.2226
2822 | 98.2283
2821 | 98.2338
2820 | 98.2384
2819 | 98.2417
2818 | 98.2437
2817 | 98.2448
2816 | 98.2461
2815 | 98.2482
2814 | 98.2511
2813 | 98.2542
2812 | 98.2571
2811 | 98.2596
2810 | 98.2618
2809 | 98.2637
2808 | 98.2657
2807 | 98.2687
2806 | 98.2728
2805 | 98.2775
2804 | 98.2819
2803 | 98.2854
2802 | 98.2879
2801 | 98.2898
2800 | 98.2917
2799 | 98.2938
2798 | 98.2955
2797 | 98.2966
2796 | 98.2978
2795 | 98.3005
2794 | 98.3047
2793 | 98.3094
2792 | 98.3135
2791 | 98.3169
2790 | 98.3196
2789 | 98.3219
2788 | 98.3238
2787 | 98.3258
2786 | 98.3273
2785 | 98.3282
2784 | 98.3287
2783 | 98.33
2782 | 98.3325
2781 | 98.3356
2780 | 98.3385
2779 | 98.3409
2778 | 98.3431
2777 | 98.3454
2776 | 98.3479
2775 | 98.3506
2774 | 98.353
2773 | 98.3548
2772 | 98.356
2771 | 98.3572
2770 | 98.3582
2769 | 98.3589
2768 | 98.3595
2767 | 98.3602
2766 | 98.3609
2765 | 98.3616
2764 | 98.3624
2763 | 98.3637
2762 | 98.3655
2761 | 98.3673
2760 | 98.3692
2759 | 98.3716
2758 | 98.3742
2757 | 98.3761
2756 | 98.3766
2755 | 98.376
2754 | 98.3751
2753 | 98.3746
2752 | 98.375
2751 | 98.3765
2750 | 98.3788
2749 | 98.381
2748 | 98.3823
2747 | 98.3828
2746 | 98.3833
2745 | 98.3843
2744 | 98.3859
2743 | 98.3875
2742 | 98.3885
2741 | 98.389
2740 | 98.3893
2739 | 98.3899
2738 | 98.391
2737 | 98.3925
2736 | 98.3943
2735 | 98.3963
2734 | 98.3981
2733 | 98.3995
2732 | 98.4008
2731 | 98.4024
2730 | 98.4042
2729 | 98.4053
2728 | 98.4056
2727 | 98.4056
2726 | 98.4059
2725 | 98.4068
2724 | 98.4083
2723 | 98.4105
2722 | 98.4127
2721 | 98.4144
2720 | 98.4157
2719 | 98.4172
2718 | 98.4195
2717 | 98.4223
2716 | 98.4248
2715 | 98.4266
2714 | 98.4276
2713 | 98.4283
2712 | 98.4297
2711 | 98.4321
2710 | 98.4349
2709 | 98.437
2708 | 98.4378
2707 | 98.4377
2706 | 98.4374
2705 | 98.4374
2704 | 98.4382
2703 | 98.4399
2702 | 98.4424
2701 | 98.4449
2700 | 98.4474
2699 | 98.4497
2698 | 98.4518
2697 | 98.4535
2696 | 98.4551
2695 | 98.457
2694 | 98.4593
2693 | 98.4613
2692 | 98.4629
2691 | 98.4645
2690 | 98.4664
2689 | 98.4686
2688 | 98.4703
2687 | 98.4716
2686 | 98.4728
2685 | 98.4742
2684 | 98.4757
2683 | 98.4767
2682 | 98.4771
2681 | 98.477
2680 | 98.4777
2679 | 98.4796
2678 | 98.4826
2677 | 98.4854
2676 | 98.4872
2675 | 98.4882
2674 | 98.4886
2673 | 98.4889
2672 | 98.4893
2671 | 98.4903
2670 | 98.4921
2669 | 98.4944
2668 | 98.4966
2667 | 98.4989
2666 | 98.5013
2665 | 98.5037
2664 | 98.5058
2663 | 98.5075
2662 | 98.5087
2661 | 98.5097
2660 | 98.5107
2659 | 98.5122
2658 | 98.514
2657 | 98.5162
2656 | 98.5185
2655 | 98.5208
2654 | 98.5227
2653 | 98.5237
2652 | 98.5236
2651 | 98.5231
2650 | 98.5231
2649 | 98.5243
2648 | 98.5269
2647 | 98.5303
2646 | 98.5337
2645 | 98.5364
2644 | 98.5381
2643 | 98.5386
2642 | 98.5375
2641 | 98.5356
2640 | 98.5343
2639 | 98.5351
2638 | 98.5375
2637 | 98.5401
2636 | 98.5421
2635 | 98.5437
2634 | 98.5455
2633 | 98.5478
2632 | 98.5505
2631 | 98.5533
2630 | 98.5554
2629 | 98.5563
2628 | 98.556
2627 | 98.5551
2626 | 98.554
2625 | 98.553
2624 | 98.5529
2623 | 98.5539
2622 | 98.5556
2621 | 98.5573
2620 | 98.5588
2619 | 98.5605
2618 | 98.5623
2617 | 98.5639
2616 | 98.5649
2615 | 98.5656
2614 | 98.5662
2613 | 98.5669
2612 | 98.5681
2611 | 98.5697
2610 | 98.5712
2609 | 98.5722
2608 | 98.573
2607 | 98.5743
2606 | 98.5761
2605 | 98.5781
2604 | 98.5803
2603 | 98.5828
2602 | 98.585
2601 | 98.5859
2600 | 98.5856
2599 | 98.585
2598 | 98.5842
2597 | 98.5834
2596 | 98.5828
2595 | 98.5832
2594 | 98.5843
2593 | 98.5855
2592 | 98.5866
2591 | 98.5875
2590 | 98.5883
2589 | 98.5887
2588 | 98.589
2587 | 98.5898
2586 | 98.5911
2585 | 98.5922
2584 | 98.5931
2583 | 98.5946
2582 | 98.5974
2581 | 98.6009
2580 | 98.6039
2579 | 98.6056
2578 | 98.6063
2577 | 98.6066
2576 | 98.6076
2575 | 98.6094
2574 | 98.6115
2573 | 98.6132
2572 | 98.6147
2571 | 98.6159
2570 | 98.6164
2569 | 98.616
2568 | 98.6152
2567 | 98.6152
2566 | 98.6163
2565 | 98.6179
2564 | 98.6199
2563 | 98.6217
2562 | 98.6228
2561 | 98.623
2560 | 98.6232
2559 | 98.624
2558 | 98.6248
2557 | 98.6246
2556 | 98.6237
2555 | 98.6235
2554 | 98.6249
2553 | 98.6276
2552 | 98.6301
2551 | 98.6313
2550 | 98.6307
2549 | 98.6293
2548 | 98.6294
2547 | 98.6319
2546 | 98.6355
2545 | 98.638
2544 | 98.6394
2543 | 98.6407
2542 | 98.6423
2541 | 98.6437
2540 | 98.6447
2539 | 98.6457
2538 | 98.6472
2537 | 98.6486
2536 | 98.6502
2535 | 98.6518
2534 | 98.6529
2533 | 98.6528
2532 | 98.6522
2531 | 98.6525
2530 | 98.6534
2529 | 98.6539
2528 | 98.6539
2527 | 98.6548
2526 | 98.6576
2525 | 98.6616
2524 | 98.6654
2523 | 98.6679
2522 | 98.6685
2521 | 98.6674
2520 | 98.6657
2519 | 98.6651
2518 | 98.6661
2517 | 98.6676
2516 | 98.6684
2515 | 98.6686
2514 | 98.6688
2513 | 98.6698
2512 | 98.6719
2511 | 98.6748
2510 | 98.6773
2509 | 98.6788
2508 | 98.6802
2507 | 98.6828
2506 | 98.6863
2505 | 98.6889
2504 | 98.6899
2503 | 98.6898
2502 | 98.6896
2501 | 98.6895
2500 | 98.6901
2499 | 98.692
2498 | 98.6954
2497 | 98.6992
2496 | 98.7024
2495 | 98.7046
2494 | 98.706
2493 | 98.7068
2492 | 98.708
2491 | 98.7103
2490 | 98.7135
2489 | 98.7165
2488 | 98.7187
2487 | 98.7203
2486 | 98.7216
2485 | 98.7225
2484 | 98.723
2483 | 98.7234
2482 | 98.7241
2481 | 98.725
2480 | 98.7263
2479 | 98.7277
2478 | 98.7285
2477 | 98.7288
2476 | 98.7299
2475 | 98.733
2474 | 98.7373
2473 | 98.7408
2472 | 98.7428
2471 | 98.7443
2470 | 98.7462
2469 | 98.7479
2468 | 98.7485
2467 | 98.7485
2466 | 98.7489
2465 | 98.7504
2464 | 98.7532
2463 | 98.7566
2462 | 98.7592
2461 | 98.7602
2460 | 98.7606
2459 | 98.762
2458 | 98.7646
2457 | 98.7672
2456 | 98.7686
2455 | 98.7685
2454 | 98.7676
2453 | 98.7669
2452 | 98.7679
2451 | 98.771
2450 | 98.7744
2449 | 98.7759
2448 | 98.7753
2447 | 98.7743
2446 | 98.7749
2445 | 98.7769
2444 | 98.7797
2443 | 98.7827
2442 | 98.7851
2441 | 98.7865
2440 | 98.7876
2439 | 98.7895
2438 | 98.7923
2437 | 98.7946
2436 | 98.7957
2435 | 98.7959
2434 | 98.7959
2433 | 98.796
2432 | 98.7961
2431 | 98.7962
2430 | 98.7963
2429 | 98.7971
2428 | 98.7994
2427 | 98.8029
2426 | 98.8059
2425 | 98.8067
2424 | 98.8061
2423 | 98.8061
2422 | 98.8072
2421 | 98.8085
2420 | 98.8093
2419 | 98.81
2418 | 98.8107
2417 | 98.811
2416 | 98.8112
2415 | 98.8122
2414 | 98.8143
2413 | 98.8162
2412 | 98.8175
2411 | 98.819
2410 | 98.8214
2409 | 98.8244
2408 | 98.8268
2407 | 98.8285
2406 | 98.8295
2405 | 98.8303
2404 | 98.8313
2403 | 98.8329
2402 | 98.8346
2401 | 98.8354
2400 | 98.8351
2399 | 98.8343
2398 | 98.8333
2397 | 98.8323
2396 | 98.8316
2395 | 98.832
2394 | 98.8331
2393 | 98.8336
2392 | 98.8331
2391 | 98.8326
2390 | 98.8325
2389 | 98.832
2388 | 98.8302
2387 | 98.8266
2386 | 98.8219
2385 | 98.8166
2384 | 98.8113
2383 | 98.8069
2382 | 98.8041
2381 | 98.8026
2380 | 98.8019
2379 | 98.8011
2378 | 98.7993
2377 | 98.7963
2376 | 98.7926
2375 | 98.7882
2374 | 98.7825
2373 | 98.7754
2372 | 98.7695
2371 | 98.7673
2370 | 98.7686
2369 | 98.7701
2368 | 98.7695
2367 | 98.7663
2366 | 98.7608
2365 | 98.7535
2364 | 98.7452
2363 | 98.7378
2362 | 98.7319
2361 | 98.727
2360 | 98.7233
2359 | 98.7209
2358 | 98.7186
2357 | 98.7155
2356 | 98.7119
2355 | 98.7086
2354 | 98.7035
2353 | 98.6981
2352 | 98.6967
2351 | 98.7015
2350 | 98.7117
2349 | 98.7247
2348 | 98.7373
2347 | 98.7392
2346 | 98.7174
2345 | 98.6697
2344 | 98.6088
2343 | 98.5541
2342 | 98.5166
2341 | 98.5003
2340 | 98.5067
2339 | 98.5357
2338 | 98.5818
2337 | 98.6332
2336 | 98.6777
2335 | 98.7078
2334 | 98.7226
2333 | 98.7254
2332 | 98.722
2331 | 98.7159
2330 | 98.7098
2329 | 98.7035
2328 | 98.7002
2327 | 98.7018
2326 | 98.7085
2325 | 98.7168
2324 | 98.7233
2323 | 98.7272
2322 | 98.7284
2321 | 98.7279
2320 | 98.7277
2319 | 98.7297
2318 | 98.7348
2317 | 98.7409
2316 | 98.7466
2315 | 98.7503
2314 | 98.7516
2313 | 98.7502
2312 | 98.7488
2311 | 98.7494
2310 | 98.753
2309 | 98.758
2308 | 98.7638
2307 | 98.7703
2306 | 98.777
2305 | 98.7824
2304 | 98.7864
2303 | 98.7896
2302 | 98.7932
2301 | 98.7968
2300 | 98.8006
2299 | 98.8046
2298 | 98.809
2297 | 98.8127
2296 | 98.8163
2295 | 98.8211
2294 | 98.8277
2293 | 98.8348
2292 | 98.8412
2291 | 98.846
2290 | 98.8488
2289 | 98.8498
2288 | 98.8503
2287 | 98.8515
2286 | 98.8531
2285 | 98.8542
2284 | 98.8553
2283 | 98.8576
2282 | 98.8607
2281 | 98.8632
2280 | 98.8643
2279 | 98.8646
2278 | 98.8637
2277 | 98.8612
2276 | 98.8576
2275 | 98.8548
2274 | 98.8538
2273 | 98.8536
2272 | 98.853
2271 | 98.8521
2270 | 98.8507
2269 | 98.8489
2268 | 98.8476
2267 | 98.8476
2266 | 98.8477
2265 | 98.8458
2264 | 98.842
2263 | 98.8387
2262 | 98.8372
2261 | 98.8372
2260 | 98.838
2259 | 98.839
2258 | 98.8382
2257 | 98.8346
2256 | 98.83
2255 | 98.8275
2254 | 98.8271
2253 | 98.8269
2252 | 98.8263
2251 | 98.8268
2250 | 98.8283
2249 | 98.8288
2248 | 98.8275
2247 | 98.8263
2246 | 98.8261
2245 | 98.826
2244 | 98.8251
2243 | 98.8244
2242 | 98.8251
2241 | 98.8275
2240 | 98.8318
2239 | 98.8378
2238 | 98.8438
2237 | 98.8475
2236 | 98.8484
2235 | 98.8483
2234 | 98.8484
2233 | 98.848
2232 | 98.8474
2231 | 98.8483
2230 | 98.8514
2229 | 98.8556
2228 | 98.8604
2227 | 98.8657
2226 | 98.8702
2225 | 98.8712
2224 | 98.869
2223 | 98.8665
2222 | 98.8661
2221 | 98.8676
2220 | 98.8711
2219 | 98.8769
2218 | 98.8833
2217 | 98.8871
2216 | 98.8869
2215 | 98.8853
2214 | 98.8847
2213 | 98.8852
2212 | 98.8862
2211 | 98.8878
2210 | 98.8898
2209 | 98.8919
2208 | 98.8947
2207 | 98.8991
2206 | 98.9039
2205 | 98.9065
2204 | 98.9072
2203 | 98.9088
2202 | 98.912
2201 | 98.9156
2200 | 98.9186
2199 | 98.9221
2198 | 98.9257
2197 | 98.9277
2196 | 98.9286
2195 | 98.9313
2194 | 98.9373
2193 | 98.9441
2192 | 98.9498
2191 | 98.9549
2190 | 98.9603
2189 | 98.9653
2188 | 98.9697
2187 | 98.9736
2186 | 98.9759
2185 | 98.9754
2184 | 98.9741
2183 | 98.9764
2182 | 98.9835
2181 | 98.9919
2180 | 98.9985
2179 | 99.0037
2178 | 99.0079
2177 | 99.0102
2176 | 99.0108
2175 | 99.0119
2174 | 99.0141
2173 | 99.0163
2172 | 99.0185
2171 | 99.0226
2170 | 99.0288
2169 | 99.0345
2168 | 99.0382
2167 | 99.0413
2166 | 99.0452
2165 | 99.0496
2164 | 99.0541
2163 | 99.0587
2162 | 99.0612
2161 | 99.0587
2160 | 99.0517
2159 | 99.0445
2158 | 99.0395
2157 | 99.036
2156 | 99.0349
2155 | 99.0385
2154 | 99.0459
2153 | 99.0523
2152 | 99.0553
2151 | 99.0563
2150 | 99.0568
2149 | 99.0564
2148 | 99.0559
2147 | 99.0582
2146 | 99.0639
2145 | 99.0697
2144 | 99.0729
2143 | 99.0739
2142 | 99.074
2141 | 99.0727
2140 | 99.0704
2139 | 99.0685
2138 | 99.0676
2137 | 99.0672
2136 | 99.0675
2135 | 99.0697
2134 | 99.0727
2133 | 99.0737
2132 | 99.0725
2131 | 99.0719
2130 | 99.074
2129 | 99.0772
2128 | 99.0803
2127 | 99.0832
2126 | 99.0861
2125 | 99.0878
2124 | 99.0876
2123 | 99.0865
2122 | 99.0851
2121 | 99.0836
2120 | 99.0826
2119 | 99.0832
2118 | 99.0849
2117 | 99.0857
2116 | 99.0859
2115 | 99.0875
2114 | 99.0916
2113 | 99.0965
2112 | 99.1004
2111 | 99.1033
2110 | 99.1059
2109 | 99.1083
2108 | 99.111
2107 | 99.1156
2106 | 99.1223
2105 | 99.13
2104 | 99.138
2103 | 99.1465
2102 | 99.155
2101 | 99.1627
2100 | 99.17
2099 | 99.1782
2098 | 99.1865
2097 | 99.1928
2096 | 99.1965
2095 | 99.1992
2094 | 99.2017
2093 | 99.2039
2092 | 99.207
2091 | 99.2125
2090 | 99.2198
2089 | 99.2264
2088 | 99.2317
2087 | 99.2367
2086 | 99.2412
2085 | 99.2442
2084 | 99.2468
2083 | 99.2519
2082 | 99.2595
2081 | 99.2666
2080 | 99.2712
2079 | 99.2746
2078 | 99.2784
2077 | 99.2826
2076 | 99.2872
2075 | 99.2921
2074 | 99.2956
2073 | 99.2959
2072 | 99.295
2071 | 99.297
2070 | 99.3025
2069 | 99.3085
2068 | 99.3131
2067 | 99.3176
2066 | 99.322
2065 | 99.3242
2064 | 99.3242
2063 | 99.3246
2062 | 99.3268
2061 | 99.3291
2060 | 99.3308
2059 | 99.3339
2058 | 99.339
2057 | 99.3437
2056 | 99.3466
2055 | 99.349
2054 | 99.3519
2053 | 99.3546
2052 | 99.357
2051 | 99.3605
2050 | 99.3653
2049 | 99.3692
2048 | 99.3721
2047 | 99.3757
2046 | 99.3802
2045 | 99.3836
2044 | 99.3856
2043 | 99.3876
2042 | 99.389
2041 | 99.3872
2040 | 99.3837
2039 | 99.383
2038 | 99.3866
2037 | 99.3924
2036 | 99.3996
2035 | 99.4091
2034 | 99.4181
2033 | 99.4208
2032 | 99.4169
2031 | 99.4128
2030 | 99.4125
2029 | 99.4139
2028 | 99.4153
2027 | 99.4189
2026 | 99.4256
2025 | 99.4322
2024 | 99.4361
2023 | 99.4383
2022 | 99.4403
2021 | 99.4415
2020 | 99.4434
2019 | 99.4482
2018 | 99.4541
2017 | 99.4558
2016 | 99.4527
2015 | 99.4501
2014 | 99.4511
2013 | 99.4543
2012 | 99.4589
2011 | 99.4666
2010 | 99.4765
2009 | 99.4836
2008 | 99.4862
2007 | 99.4874
2006 | 99.489
2005 | 99.489
2004 | 99.4871
2003 | 99.4875
2002 | 99.4921
2001 | 99.4979
2000 | 99.5024
1999 | 99.5061
1998 | 99.5095
1997 | 99.5118
1996 | 99.5134
1995 | 99.5178
1994 | 99.5251
1993 | 99.5304
1992 | 99.5297
1991 | 99.5253
1990 | 99.5218
1989 | 99.5207
1988 | 99.5211
1987 | 99.5224
1986 | 99.5242
1985 | 99.5257
1984 | 99.5279
1983 | 99.533
1982 | 99.5404
1981 | 99.5468
1980 | 99.5505
1979 | 99.5524
1978 | 99.5529
1977 | 99.5511
1976 | 99.5471
1975 | 99.543
1974 | 99.5396
1973 | 99.5368
1972 | 99.5366
1971 | 99.5414
1970 | 99.5499
1969 | 99.5577
1968 | 99.5615
1967 | 99.5614
1966 | 99.5579
1965 | 99.5525
1964 | 99.5497
1963 | 99.5524
1962 | 99.5573
1961 | 99.5586
1960 | 99.5557
1959 | 99.5527
1958 | 99.5511
1957 | 99.5491
1956 | 99.5473
1955 | 99.549
1954 | 99.5539
1953 | 99.5577
1952 | 99.558
1951 | 99.5563
1950 | 99.554
1949 | 99.5513
1948 | 99.5496
1947 | 99.5507
1946 | 99.5542
1945 | 99.5581
1944 | 99.5623
1943 | 99.5658
1942 | 99.5652
1941 | 99.5588
1940 | 99.5516
1939 | 99.5498
1938 | 99.5524
1937 | 99.5535
1936 | 99.5513
1935 | 99.5491
1934 | 99.5491
1933 | 99.549
1932 | 99.5481
1931 | 99.5484
1930 | 99.5496
1929 | 99.5496
1928 | 99.5479
1927 | 99.5465
1926 | 99.5458
1925 | 99.5444
1924 | 99.5439
1923 | 99.5462
1922 | 99.5493
1921 | 99.551
1920 | 99.5539
1919 | 99.5602
1918 | 99.5647
1917 | 99.5596
1916 | 99.5478
1915 | 99.5396
1914 | 99.539
1913 | 99.5414
1912 | 99.5421
1911 | 99.5421
1910 | 99.5424
1909 | 99.5417
1908 | 99.5404
1907 | 99.541
1906 | 99.543
1905 | 99.542
1904 | 99.5377
1903 | 99.5346
1902 | 99.5344
1901 | 99.5347
1900 | 99.5337
1899 | 99.5332
1898 | 99.5342
1897 | 99.5346
1896 | 99.534
1895 | 99.534
1894 | 99.5346
1893 | 99.5336
1892 | 99.5318
1891 | 99.5329
1890 | 99.5362
1889 | 99.5368
1888 | 99.5334
1887 | 99.5302
1886 | 99.5296
1885 | 99.5292
1884 | 99.5272
1883 | 99.5255
1882 | 99.5256
1881 | 99.5261
1880 | 99.5251
1879 | 99.5234
1878 | 99.5222
1877 | 99.5207
1876 | 99.5187
1875 | 99.5183
1874 | 99.5194
1873 | 99.5198
1872 | 99.5198
1871 | 99.5224
1870 | 99.5271
1869 | 99.5281
1868 | 99.5228
1867 | 99.5159
1866 | 99.5116
1865 | 99.5094
1864 | 99.5077
1863 | 99.5071
1862 | 99.5079
1861 | 99.5089
1860 | 99.5095
1859 | 99.5104
1858 | 99.5112
1857 | 99.51
1856 | 99.5069
1855 | 99.505
1854 | 99.5051
1853 | 99.5051
1852 | 99.5037
1851 | 99.5014
1850 | 99.5
1849 | 99.4994
1848 | 99.4991
1847 | 99.5005
1846 | 99.5052
1845 | 99.5116
1844 | 99.5149
1843 | 99.5123
1842 | 99.5036
1841 | 99.4917
1840 | 99.4823
1839 | 99.4789
1838 | 99.4795
1837 | 99.4793
1836 | 99.4774
1835 | 99.4763
1834 | 99.4759
1833 | 99.4745
1832 | 99.4723
1831 | 99.4718
1830 | 99.4731
1829 | 99.4716
1828 | 99.4655
1827 | 99.4596
1826 | 99.4601
1825 | 99.4655
1824 | 99.4689
1823 | 99.4674
1822 | 99.4631
1821 | 99.4584
1820 | 99.4538
1819 | 99.4501
1818 | 99.4478
1817 | 99.4451
1816 | 99.4409
1815 | 99.4352
1814 | 99.4287
1813 | 99.4219
1812 | 99.4157
1811 | 99.4122
1810 | 99.4111
1809 | 99.4097
1808 | 99.4078
1807 | 99.4067
1806 | 99.4059
1805 | 99.4028
1804 | 99.3976
1803 | 99.3938
1802 | 99.3933
1801 | 99.3936
1800 | 99.3905
1799 | 99.3849
1798 | 99.3794
1797 | 99.3751
1796 | 99.3719
1795 | 99.3697
1794 | 99.3692
1793 | 99.3711
1792 | 99.3747
1791 | 99.3784
1790 | 99.3779
1789 | 99.3716
1788 | 99.3626
1787 | 99.3567
1786 | 99.3565
1785 | 99.3587
1784 | 99.3582
1783 | 99.3518
1782 | 99.3418
1781 | 99.3334
1780 | 99.3282
1779 | 99.3252
1778 | 99.3215
1777 | 99.3159
1776 | 99.3094
1775 | 99.3027
1774 | 99.2969
1773 | 99.2914
1772 | 99.2843
1771 | 99.2758
1770 | 99.266
1769 | 99.2558
1768 | 99.2492
1767 | 99.2443
1766 | 99.2332
1765 | 99.2129
1764 | 99.1899
1763 | 99.1728
1762 | 99.162
1761 | 99.1494
1760 | 99.1291
1759 | 99.1048
1758 | 99.0826
1757 | 99.0651
1756 | 99.0497
1755 | 99.0319
1754 | 99.0112
1753 | 98.9907
1752 | 98.9729
1751 | 98.9559
1750 | 98.9332
1749 | 98.9022
1748 | 98.871
1747 | 98.8474
1746 | 98.8307
1745 | 98.816
1744 | 98.8022
1743 | 98.7925
1742 | 98.7854
1741 | 98.7748
1740 | 98.7617
1739 | 98.753
1738 | 98.7474
1737 | 98.7405
1736 | 98.7366
1735 | 98.7439
1734 | 98.7554
1733 | 98.7527
1732 | 98.7315
1731 | 98.708
1730 | 98.6966
1729 | 98.6963
1728 | 98.699
1727 | 98.7009
1726 | 98.7034
1725 | 98.7055
1724 | 98.7069
1723 | 98.7122
1722 | 98.7211
1721 | 98.7275
1720 | 98.7304
1719 | 98.7367
1718 | 98.7486
1717 | 98.7582
1716 | 98.7602
1715 | 98.7588
1714 | 98.7589
1713 | 98.7578
1712 | 98.7536
1711 | 98.7499
1710 | 98.7484
1709 | 98.7445
1708 | 98.7326
1707 | 98.7151
1706 | 98.6994
1705 | 98.6872
1704 | 98.6763
1703 | 98.6665
1702 | 98.6595
1701 | 98.645
1700 | 98.6047
1699 | 98.5423
1698 | 98.469
1697 | 98.3879
1696 | 98.3005
1695 | 98.2073
1694 | 98.1028
1693 | 97.9819
1692 | 97.8443
1691 | 97.6901
1690 | 97.5171
1689 | 97.3349
1688 | 97.1661
1687 | 97.0268
1686 | 96.9125
1685 | 96.8039
1684 | 96.7133
1683 | 96.6858
1682 | 96.7218
1681 | 96.7987
1680 | 96.9063
1679 | 97.0299
1678 | 97.1517
1677 | 97.2668
1676 | 97.3801
1675 | 97.4856
1674 | 97.5663
1673 | 97.616
1672 | 97.6471
1671 | 97.6756
1670 | 97.7061
1669 | 97.7351
1668 | 97.7575
1667 | 97.7705
1666 | 97.7764
1665 | 97.7771
1664 | 97.773
1663 | 97.7654
1662 | 97.7577
1661 | 97.7519
1660 | 97.7448
1659 | 97.7371
1658 | 97.7324
1657 | 97.7325
1656 | 97.7375
1655 | 97.7484
1654 | 97.7559
1653 | 97.7408
1652 | 97.7134
1651 | 97.6785
1650 | 97.6392
1649 | 97.6053
1648 | 97.5774
1647 | 97.5537
1646 | 97.5392
1645 | 97.5284
1644 | 97.5096
1643 | 97.483
1642 | 97.4539
1641 | 97.4239
1640 | 97.3897
1639 | 97.3515
1638 | 97.3077
1637 | 97.2456
1636 | 97.1488
1635 | 97.0304
1634 | 96.9142
1633 | 96.7934
1632 | 96.6541
1631 | 96.4878
1630 | 96.2792
1629 | 96.0067
1628 | 95.6683
1627 | 95.2968
1626 | 94.9236
1625 | 94.5401
1624 | 94.1271
1623 | 93.7283
1622 | 93.4433
1621 | 93.3202
1620 | 93.3337
1619 | 93.4632
1618 | 93.7251
1617 | 94.1217
1616 | 94.576
1615 | 94.9843
1614 | 95.3197
1613 | 95.6123
1612 | 95.8831
1611 | 96.1294
1610 | 96.3449
1609 | 96.5305
1608 | 96.689
1607 | 96.8208
1606 | 96.9299
1605 | 97.0225
1604 | 97.1007
1603 | 97.1649
1602 | 97.219
1601 | 97.2664
1600 | 97.3057
1599 | 97.3354
1598 | 97.3587
1597 | 97.3797
1596 | 97.3996
1595 | 97.4192
1594 | 97.4427
1593 | 97.4733
1592 | 97.5093
1591 | 97.5485
1590 | 97.5923
1589 | 97.6422
1588 | 97.6947
1587 | 97.7461
1586 | 97.7962
1585 | 97.8467
1584 | 97.8965
1583 | 97.9428
1582 | 97.9872
1581 | 98.0308
1580 | 98.0701
1579 | 98.1032
1578 | 98.135
1577 | 98.1716
1576 | 98.212
1575 | 98.2497
1574 | 98.2773
1573 | 98.296
1572 | 98.3124
1571 | 98.3288
1570 | 98.3442
1569 | 98.361
1568 | 98.3778
1567 | 98.3891
1566 | 98.3967
1565 | 98.407
1564 | 98.4226
1563 | 98.4414
1562 | 98.4638
1561 | 98.4892
1560 | 98.5046
1559 | 98.4985
1558 | 98.5054
1557 | 98.5192
1556 | 98.5176
1555 | 98.5139
1554 | 98.5187
1553 | 98.5257
1552 | 98.5257
1551 | 98.5232
1550 | 98.5276
1549 | 98.5386
1548 | 98.548
1547 | 98.551
1546 | 98.5516
1545 | 98.5562
1544 | 98.5648
1543 | 98.5722
1542 | 98.573
1541 | 98.5674
1540 | 98.5706
1539 | 98.5952
1538 | 98.62
1537 | 98.626
1536 | 98.6204
1535 | 98.6139
1534 | 98.6112
1533 | 98.6155
1532 | 98.6237
1531 | 98.6282
1530 | 98.6261
1529 | 98.6201
1528 | 98.6148
1527 | 98.6126
1526 | 98.6125
1525 | 98.61
1524 | 98.5998
1523 | 98.5813
1522 | 98.5601
1521 | 98.5462
1520 | 98.5368
1519 | 98.5153
1518 | 98.4784
1517 | 98.4389
1516 | 98.4105
1515 | 98.3906
1514 | 98.3671
1513 | 98.3371
1512 | 98.3059
1511 | 98.277
1510 | 98.2488
1509 | 98.2194
1508 | 98.1888
1507 | 98.1602
1506 | 98.1472
1505 | 98.1477
1504 | 98.1455
1503 | 98.1418
1502 | 98.1444
1501 | 98.1552
1500 | 98.1717
1499 | 98.1904
1498 | 98.2119
1497 | 98.2406
1496 | 98.2796
1495 | 98.3198
1494 | 98.3479
1493 | 98.3627
1492 | 98.372
1491 | 98.3817
1490 | 98.3907
1489 | 98.3968
1488 | 98.4006
1487 | 98.4024
1486 | 98.3994
1485 | 98.3903
1484 | 98.3759
1483 | 98.3563
1482 | 98.3333
1481 | 98.3094
1480 | 98.2864
1479 | 98.2624
1478 | 98.2338
1477 | 98.1991
1476 | 98.1605
1475 | 98.1171
1474 | 98.0604
1473 | 97.9854
1472 | 97.9038
1471 | 97.8314
1470 | 97.7684
1469 | 97.7109
1468 | 97.6601
1467 | 97.6148
1466 | 97.5687
1465 | 97.5215
1464 | 97.4823
1463 | 97.4569
1462 | 97.4414
1461 | 97.4314
1460 | 97.4255
1459 | 97.4214
1458 | 97.4149
1457 | 97.4085
1456 | 97.4103
1455 | 97.414
1454 | 97.414
1453 | 97.4174
1452 | 97.4294
1451 | 97.4472
1450 | 97.4648
1449 | 97.4798
1448 | 97.4954
1447 | 97.5122
1446 | 97.5268
1445 | 97.5377
1444 | 97.5449
1443 | 97.5497
1442 | 97.5534
1441 | 97.5566
1440 | 97.5598
1439 | 97.5622
1438 | 97.5589
1437 | 97.5425
1436 | 97.514
1435 | 97.4807
1434 | 97.446
1433 | 97.4106
1432 | 97.375
1431 | 97.3385
1430 | 97.3017
1429 | 97.2685
1428 | 97.2445
1427 | 97.2295
1426 | 97.2185
1425 | 97.2106
1424 | 97.2103
1423 | 97.2227
1422 | 97.2468
1421 | 97.2782
1420 | 97.314
1419 | 97.3529
1418 | 97.393
1417 | 97.4319
1416 | 97.4713
1415 | 97.5138
1414 | 97.5572
1413 | 97.5984
1412 | 97.6364
1411 | 97.672
1410 | 97.7051
1409 | 97.7343
1408 | 97.7595
1407 | 97.781
1406 | 97.7987
1405 | 97.8153
1404 | 97.8335
1403 | 97.8524
1402 | 97.8687
1401 | 97.8803
1400 | 97.8883
1399 | 97.895
1398 | 97.9021
1397 | 97.9086
1396 | 97.9144
1395 | 97.9197
1394 | 97.9239
1393 | 97.9253
1392 | 97.9224
1391 | 97.9157
1390 | 97.9063
1389 | 97.893
1388 | 97.8728
1387 | 97.8453
1386 | 97.8134
1385 | 97.7798
1384 | 97.7446
1383 | 97.7071
1382 | 97.6675
1381 | 97.6268
1380 | 97.5865
1379 | 97.5492
1378 | 97.5163
1377 | 97.4867
1376 | 97.4574
1375 | 97.4273
1374 | 97.4001
1373 | 97.3797
1372 | 97.3656
1371 | 97.3548
1370 | 97.3461
1369 | 97.3412
1368 | 97.3414
1367 | 97.346
1366 | 97.3533
1365 | 97.3616
1364 | 97.3708
1363 | 97.3832
1362 | 97.4023
1361 | 97.4288
1360 | 97.4593
1359 | 97.4901
1358 | 97.5194
1357 | 97.5467
1356 | 97.5721
1355 | 97.5954
1354 | 97.6164
1353 | 97.6342
1352 | 97.6476
1351 | 97.6553
1350 | 97.6564
1349 | 97.6516
1348 | 97.6409
1347 | 97.6235
1346 | 97.5992
1345 | 97.5686
1344 | 97.5337
1343 | 97.4958
1342 | 97.4548
1341 | 97.4104
1340 | 97.3639
1339 | 97.3188
1338 | 97.2784
1337 | 97.2436
1336 | 97.2143
1335 | 97.1904
1334 | 97.1722
1333 | 97.1594
1332 | 97.1511
1331 | 97.1457
1330 | 97.1417
1329 | 97.137
1328 | 97.13
1327 | 97.1189
1326 | 97.1025
1325 | 97.0803
1324 | 97.0527
1323 | 97.0212
1322 | 96.9876
1321 | 96.9531
1320 | 96.9195
1319 | 96.8898
1318 | 96.868
1317 | 96.8569
1316 | 96.8573
1315 | 96.8694
1314 | 96.8934
1313 | 96.9288
1312 | 96.974
1311 | 97.0264
1310 | 97.0835
1309 | 97.1434
1308 | 97.2052
1307 | 97.2676
1306 | 97.3295
1305 | 97.3895
1304 | 97.4466
1303 | 97.5
1302 | 97.5496
1301 | 97.5956
1300 | 97.6379
1299 | 97.6758
1298 | 97.7085
1297 | 97.7358
1296 | 97.7575
1295 | 97.7737
1294 | 97.7852
1293 | 97.7937
1292 | 97.8004
1291 | 97.8054
1290 | 97.8082
1289 | 97.8077
1288 | 97.8033
1287 | 97.7948
1286 | 97.7826
1285 | 97.7672
1284 | 97.7497
1283 | 97.7312
1282 | 97.7137
1281 | 97.6982
1280 | 97.6846
1279 | 97.6717
1278 | 97.6587
1277 | 97.6461
1276 | 97.6347
1275 | 97.6256
1274 | 97.62
1273 | 97.6196
1272 | 97.6266
1271 | 97.6425
1270 | 97.6671
1269 | 97.6971
1268 | 97.7259
1267 | 97.7453
1266 | 97.7486
1265 | 97.7332
1264 | 97.702
1263 | 97.661
1262 | 97.6164
1261 | 97.572
1260 | 97.5286
1259 | 97.4853
1258 | 97.441
1257 | 97.3948
1256 | 97.3462
1255 | 97.2953
1254 | 97.2427
1253 | 97.1895
1252 | 97.1364
1251 | 97.0847
1250 | 97.0354
1249 | 96.9896
1248 | 96.948
1247 | 96.9114
1246 | 96.8801
1245 | 96.8541
1244 | 96.8328
1243 | 96.8156
1242 | 96.8014
1241 | 96.789
1240 | 96.7773
1239 | 96.7659
1238 | 96.7552
1237 | 96.7457
1236 | 96.7378
1235 | 96.7325
1234 | 96.73
1233 | 96.7301
1232 | 96.7327
1231 | 96.7379
1230 | 96.7455
1229 | 96.7552
1228 | 96.7669
1227 | 96.7806
1226 | 96.7959
1225 | 96.8121
1224 | 96.8284
1223 | 96.8446
1222 | 96.8606
1221 | 96.876
1220 | 96.891
1219 | 96.9061
1218 | 96.9212
1217 | 96.9358
1216 | 96.9484
1215 | 96.9576
1214 | 96.9611
1213 | 96.9565
1212 | 96.9423
1211 | 96.9182
1210 | 96.8849
1209 | 96.8438
1208 | 96.7976
1207 | 96.7499
1206 | 96.7032
1205 | 96.6579
1204 | 96.613
1203 | 96.5673
1202 | 96.5205
1201 | 96.4717
1200 | 96.4203
1199 | 96.3659
1198 | 96.307
1197 | 96.2413
1196 | 96.1664
1195 | 96.0806
1194 | 95.9826
1193 | 95.8706
1192 | 95.7431
1191 | 95.5994
1190 | 95.439
1189 | 95.2603
1188 | 95.0622
1187 | 94.8447
1186 | 94.6073
1185 | 94.3491
1184 | 94.0697
1183 | 93.771
1182 | 93.4555
1181 | 93.1239
1180 | 92.7774
1179 | 92.4195
1178 | 92.0523
1177 | 91.6753
1176 | 91.2879
1175 | 90.8928
1174 | 90.4917
1173 | 90.0827
1172 | 89.6645
1171 | 89.2395
1170 | 88.8102
1169 | 88.3764
1168 | 87.94
1167 | 87.5077
1166 | 87.0843
1165 | 86.6693
1164 | 86.2629
1163 | 85.8696
1162 | 85.4897
1161 | 85.1166
1160 | 84.7453
1159 | 84.3769
1158 | 84.0095
1157 | 83.6349
1156 | 83.2495
1155 | 82.859
1154 | 82.4658
1153 | 82.0632
1152 | 81.6474
1151 | 81.2239
1150 | 80.796
1149 | 80.3586
1148 | 79.9114
1147 | 79.4643
1146 | 79.0237
1145 | 78.5866
1144 | 78.1547
1143 | 77.7403
1142 | 77.3503
1141 | 76.9789
1140 | 76.6239
1139 | 76.294
1138 | 75.9924
1137 | 75.709
1136 | 75.4384
1135 | 75.1867
1134 | 74.9547
1133 | 74.7293
1132 | 74.5025
1131 | 74.2802
1130 | 74.0629
1129 | 73.839
1128 | 73.6038
1127 | 73.3691
1126 | 73.1428
1125 | 72.9195
1124 | 72.699
1123 | 72.4943
1122 | 72.3108
1121 | 72.1375
1120 | 71.9677
1119 | 71.8091
1118 | 71.664
1117 | 71.5228
1116 | 71.3859
1115 | 71.2721
1114 | 71.1955
1113 | 71.1559
1112 | 71.1579
1111 | 71.2181
1110 | 71.3416
1109 | 71.5143
1108 | 71.7267
1107 | 71.9834
1106 | 72.2822
1105 | 72.6073
1104 | 72.9503
1103 | 73.3178
1102 | 73.7097
1101 | 74.1127
1100 | 74.5198
1099 | 74.9376
1098 | 75.3672
1097 | 75.7976
1096 | 76.2242
1095 | 76.6535
1094 | 77.0863
1093 | 77.5128
1092 | 77.9286
1091 | 78.3405
1090 | 78.7498
1089 | 79.1477
1088 | 79.53
1087 | 79.9016
1086 | 80.2628
1085 | 80.604
1084 | 80.92
1083 | 81.2143
1082 | 81.4877
1081 | 81.7342
1080 | 81.9534
1079 | 82.1544
1078 | 82.3449
1077 | 82.5253
1076 | 82.6971
1075 | 82.8651
1074 | 83.0276
1073 | 83.1746
1072 | 83.2999
1071 | 83.4049
1070 | 83.4884
1069 | 83.5424
1068 | 83.5627
1067 | 83.5531
1066 | 83.517
1065 | 83.4545
1064 | 83.3712
1063 | 83.2825
1062 | 83.2019
1061 | 83.1356
1060 | 83.0899
1059 | 83.0736
1058 | 83.0884
1057 | 83.1262
1056 | 83.1803
1055 | 83.2501
1054 | 83.3337
1053 | 83.4241
1052 | 83.5184
1051 | 83.6193
1050 | 83.725
1049 | 83.8269
1048 | 83.9213
1047 | 84.0117
1046 | 84.0977
1045 | 84.1708
1044 | 84.2249
1043 | 84.2606
1042 | 84.277
1041 | 84.2696
1040 | 84.2384
1039 | 84.1919
1038 | 84.1391
1037 | 84.086
1036 | 84.0413
1035 | 84.0173
1034 | 84.0217
1033 | 84.0542
1032 | 84.1146
1031 | 84.2046
1030 | 84.3216
1029 | 84.4582
1028 | 84.6102
1027 | 84.779
1026 | 84.9633
1025 | 85.1571
1024 | 85.3565
1023 | 85.5619
1022 | 85.7715
1021 | 85.9794
1020 | 86.1818
1019 | 86.3775
1018 | 86.5616
1017 | 86.7241
1016 | 86.8576
1015 | 86.9614
1014 | 87.0372
1013 | 87.0859
1012 | 87.1086
1011 | 87.1073
1010 | 87.0793
1009 | 87.0155
1008 | 86.907
1007 | 86.7578
1006 | 86.5963
1005 | 86.4736
1004 | 86.4418
1003 | 86.5211
1002 | 86.6857
1001 | 86.8851
1000 | 87.0805
999 | 87.2585
998 | 87.4187
997 | 87.5603
996 | 87.6836
995 | 87.7909
994 | 87.8834
993 | 87.9594
992 | 88.0189
991 | 88.0654
990 | 88.1016
989 | 88.1291
988 | 88.1538
987 | 88.187
986 | 88.2402
985 | 88.3215
984 | 88.4369
983 | 88.5906
982 | 88.78
981 | 88.9957
980 | 89.2269
979 | 89.4655
978 | 89.7036
977 | 89.9335
976 | 90.1512
975 | 90.3573
974 | 90.5524
973 | 90.7351
972 | 90.9053
971 | 91.0658
970 | 91.2184
969 | 91.3632
968 | 91.5007
967 | 91.6338
966 | 91.7641
965 | 91.8915
964 | 92.0165
963 | 92.1411
962 | 92.2656
961 | 92.3886
960 | 92.5099
959 | 92.6311
958 | 92.7529
957 | 92.8732
956 | 92.9908
955 | 93.106
954 | 93.2187
953 | 93.3271
952 | 93.4301
951 | 93.5295
950 | 93.6266
949 | 93.7207
948 | 93.8105
947 | 93.8962
946 | 93.9778
945 | 94.0542
944 | 94.1247
943 | 94.1901
942 | 94.2511
941 | 94.3074
940 | 94.3594
939 | 94.4082
938 | 94.4539
937 | 94.4954
936 | 94.5327
935 | 94.568
934 | 94.6028
933 | 94.6364
932 | 94.6677
931 | 94.697
930 | 94.7249
929 | 94.7514
928 | 94.7764
927 | 94.8004
926 | 94.8232
925 | 94.8439
924 | 94.8628
923 | 94.8813
922 | 94.8994
921 | 94.9156
920 | 94.929
919 | 94.9403
918 | 94.9495
917 | 94.9551
916 | 94.9562
915 | 94.954
914 | 94.9494
913 | 94.9425
912 | 94.9338
911 | 94.9248
910 | 94.9154
909 | 94.9027
908 | 94.8843
907 | 94.8595
906 | 94.8284
905 | 94.7911
904 | 94.7495
903 | 94.7075
902 | 94.6688
901 | 94.6354
900 | 94.6092
899 | 94.5926
898 | 94.5869
897 | 94.5919
896 | 94.6079
895 | 94.6367
894 | 94.6782
893 | 94.7284
892 | 94.783
891 | 94.8394
890 | 94.8959
889 | 94.9509
888 | 95.0035
887 | 95.0535
886 | 95.0993
885 | 95.139
884 | 95.1732
883 | 95.2039
882 | 95.2311
881 | 95.2516
880 | 95.264
879 | 95.2716
878 | 95.2792
877 | 95.2898
876 | 95.3057
875 | 95.3298
874 | 95.3638
873 | 95.4073
872 | 95.4584
871 | 95.5144
870 | 95.5702
869 | 95.6201
868 | 95.6612
867 | 95.6948
866 | 95.7228
865 | 95.7456
864 | 95.764
863 | 95.7794
862 | 95.7925
861 | 95.8031
860 | 95.8122
859 | 95.8214
858 | 95.83
857 | 95.8354
856 | 95.8361
855 | 95.8339
854 | 95.8308
853 | 95.8276
852 | 95.8262
851 | 95.8291
850 | 95.8347
849 | 95.8385
848 | 95.8381
847 | 95.8354
846 | 95.8322
845 | 95.8284
844 | 95.8241
843 | 95.821
842 | 95.8183
841 | 95.8127
840 | 95.8036
839 | 95.7958
838 | 95.7929
837 | 95.7932
836 | 95.7937
835 | 95.7946
834 | 95.7978
833 | 95.8037
832 | 95.8129
831 | 95.8273
830 | 95.8469
829 | 95.8688
828 | 95.8902
827 | 95.9115
826 | 95.9329
825 | 95.9515
824 | 95.965
823 | 95.9746
822 | 95.9819
821 | 95.9861
820 | 95.9868
819 | 95.986
818 | 95.9853
817 | 95.9842
816 | 95.9829
815 | 95.9832
814 | 95.984
813 | 95.9816
812 | 95.9747
811 | 95.9668
810 | 95.9616
809 | 95.9583
808 | 95.955
807 | 95.9524
806 | 95.9506
805 | 95.9471
804 | 95.9407
803 | 95.9334
802 | 95.9266
801 | 95.9181
800 | 95.906
799 | 95.8911
798 | 95.874
797 | 95.8524
796 | 95.8261
795 | 95.7979
794 | 95.7698
793 | 95.74
792 | 95.7076
791 | 95.6754
790 | 95.6451
789 | 95.6154
788 | 95.5857
787 | 95.5581
786 | 95.5334
785 | 95.5092
784 | 95.4841
783 | 95.4609
782 | 95.4407
781 | 95.4213
780 | 95.4008
779 | 95.3813
778 | 95.3643
777 | 95.3473
776 | 95.3287
775 | 95.3103
774 | 95.2932
773 | 95.2749
772 | 95.2537
771 | 95.2318
770 | 95.2107
769 | 95.1881
768 | 95.1631
767 | 95.1381
766 | 95.1146
765 | 95.0897
764 | 95.0622
763 | 95.0349
762 | 95.0091
761 | 94.9816
760 | 94.9511
759 | 94.9213
758 | 94.8945
757 | 94.8677
756 | 94.8385
755 | 94.8093
754 | 94.7815
753 | 94.7519
752 | 94.7188
751 | 94.6859
750 | 94.6558
749 | 94.6252
748 | 94.5923
747 | 94.5604
746 | 94.5316
745 | 94.5015
744 | 94.467
743 | 94.4316
742 | 94.3982
741 | 94.3639
740 | 94.3265
739 | 94.2891
738 | 94.2544
737 | 94.2192
736 | 94.1806
735 | 94.1413
734 | 94.1024
733 | 94.0593
732 | 94.0091
731 | 93.9563
730 | 93.9045
729 | 93.8507
728 | 93.7925
727 | 93.7338
726 | 93.6768
725 | 93.6177
724 | 93.5542
723 | 93.4896
722 | 93.4243
721 | 93.3542
720 | 93.2811
719 | 93.2157
718 | 93.1604
717 | 93.104
716 | 93.0384
715 | 92.9702
714 | 92.9076
713 | 92.8491
712 | 92.792
711 | 92.7417
710 | 92.6996
709 | 92.6565
708 | 92.606
707 | 92.5547
706 | 92.5076
705 | 92.4581
704 | 92.4023
703 | 92.3493
702 | 92.3046
701 | 92.2579
700 | 92.2012
699 | 92.1425
698 | 92.0895
697 | 92.0342
696 | 91.9701
695 | 91.9057
694 | 91.8461
693 | 91.7785
692 | 91.6932
691 | 91.5992
690 | 91.5014
689 | 91.3832
688 | 91.2345
687 | 91.0697
686 | 90.8949
685 | 90.6844
684 | 90.4172
683 | 90.1029
682 | 89.7454
681 | 89.3162
680 | 88.7935
679 | 88.1901
678 | 87.5106
677 | 86.7291
676 | 85.8357
675 | 84.8564
674 | 83.8176
673 | 82.7509
672 | 81.737
671 | 80.8463
670 | 80.0693
669 | 79.3645
668 | 78.9272
667 | 79.0761
666 | 79.7075
665 | 80.5566
664 | 81.5412
663 | 82.6074
662 | 83.6438
661 | 84.5496
660 | 85.3067
659 | 85.928
658 | 86.4258
657 | 86.8309
656 | 87.1724
655 | 87.4482
654 | 87.6516
653 | 87.8018
652 | 87.9157
651 | 87.9846
650 | 88.0057
649 | 88.0013
648 | 87.9854
647 | 87.9453
646 | 87.8744
645 | 87.7901
644 | 87.7045
643 | 87.61
642 | 87.503
641 | 87.3968
640 | 87.299
639 | 87.2021
638 | 87.1022
637 | 87.0072
636 | 86.9189
635 | 86.8277
634 | 86.7279
633 | 86.6204
632 | 86.5034
631 | 86.3766
630 | 86.2498
629 | 86.1316
628 | 86.0172
627 | 85.9011
626 | 85.7915
625 | 85.6997
624 | 85.6256
623 | 85.5623
622 | 85.5093
621 | 85.4757
620 | 85.4742
619 | 85.505
618 | 85.5393
617 | 85.5311
616 | 85.4412
615 | 85.2577
614 | 85.0108
613 | 84.736
612 | 84.4217
611 | 84.0322
610 | 83.5716
609 | 83.0838
608 | 82.6045
607 | 82.1472
606 | 81.7103
605 | 81.2932
604 | 80.9361
603 | 80.7346
602 | 80.7736
601 | 81.0613
600 | 81.5593

## Sample Details
Setting | Value
Filesname | NHwF-3
Creation Date
Analyst | mas-storage
X-Axis Units | cm-1
X-Axis start value | 4000
X-Axis end value | 600
Data interval | -1
Number of points | 3401
Y-Axis Units | %T
Description | 7Sample 1324 By mas-storage Date Wednesday, July 28 2021

## Instrument Details
Setting | Value
Instrument Model | Frontier FT-IR
Instrument Serial Number | 91175
Software Revision | CPU32 Main 00.09.9908 05-May-2009 15:52:12
Number of Scans | 32
Resolution | 4
Detector
Source | MIR
Beam Splitter | OptKBr
Apodization | Strong
Spectrum Type | Spectrum
Beam Type | Ratio
Phase Correction | Magnitude
Scan Speed | 1
IGram Type | Double
Scan Driection | Combined
Zero Crossing | 0
JStop | 8.94
IR-Laser Wavenumber | 15798.001999451375
Manufacturer | PIKE Technologies Inc.
Part Number | L1200385
Serial Number | 19250
Description | Miracle Accessory
Default Scan Range | 4000 450
Accessory Type | Miracle ATR
Temperature / °C
Slide Holder Option

## Quality Checks
Setting | Value
Water Vapor | Passed
Carbon Dioxide | Passed
Baseline Low | Passed
Baseline High | Passed
Baseline Slope | Passed
Strong Bands | Passed
Weak Bands | Caution
High Noise | Passed
Fringes | Warning
Vignetting | Passed
Blocked Beam | Passed
Negative Bands | Passed
Zero Transmission | Passed
Stray Light | Passed
Window Cuttoff | Passed