## Data
Wavelength / cm-1 | Transmittance / % | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1
4000 | 97.402 |  | Baseline @ 1105 |  | Baseline @ 1735 |  | Baseline @ 2900 |  | Peak @ 1105 |  | Peak @ 1735 |  | Peak @ 2900
3999 | 97.4029 | 850 | 96.3185 | 1525 | 98.2177 | 2670 | 98.1312 | 1105 | 80.9097 | 1735 | 98.4182 | 2900 | 97.3173
3998 | 97.4034 | 1210 | 96.7302 | 1780 | 99.0618 | 3000 | 97.6817 | 1105 | 96.6101 | 1735 | 98.9128 | 2900 | 97.8179
3997 | 97.4031
3996 | 97.4021
3995 | 97.4012
3994 | 97.4007
3993 | 97.4006
3992 | 97.4006
3991 | 97.4008
3990 | 97.4019
3989 | 97.4039
3988 | 97.4057
3987 | 97.4064
3986 | 97.4067
3985 | 97.4083
3984 | 97.4116
3983 | 97.4155
3982 | 97.419
3981 | 97.4218
3980 | 97.4238
3979 | 97.424
3978 | 97.4221
3977 | 97.419 |  |  | Baseline range |  |  | Transmittance |  |  |  | Equation of base line |  |  | Transmittance at peak value wavelength | Peak Intensity |  | Ratio
3976 | 97.4164 |  | Peak value
3975 | 97.415 |  | Wavelength
3974 | 97.4147 |  | x1 | x2 | x3 |  | y1 | y2 | y3 |  | m | c
3973 | 97.4148 | [15 empty] | Lyceum
3972 | 97.4147 |  | 1105 | 850 | 1210 |  | 80.9097 | 96.3185 | 96.7302 |  | 0.0011437 | 95.3464 |  | 96.6101 | 15.7005 | R1 | 0.031503
3971 | 97.414 |  | 1735 | 1525 | 1780 |  | 98.4182 | 98.2177 | 99.0618 |  | 0.0033101 | 93.1699 |  | 98.9128 | 0.49462 | R2 | 0.98808
3970 | 97.4135 |  | 2900 | 2670 | 3000 |  | 97.3173 | 98.1312 | 97.6817 |  | -0.0013619 | 101.7674 |  | 97.8179 | 0.50058
3969 | 97.4145
3968 | 97.4174 |  | From paper
3967 | 97.4211 |  | 1105 | 765 | 1185
3966 | 97.4239 |  | 1735 | 1485 | 1780
3965 | 97.425 |  | 2900 | 2630 | 3000
3964 | 97.4245
3963 | 97.4236
3962 | 97.4237
3961 | 97.4257
3960 | 97.4283
3959 | 97.4293
3958 | 97.4284
3957 | 97.4269
3956 | 97.4261
3955 | 97.4257
3954 | 97.4254
3953 | 97.4253
3952 | 97.4254
3951 | 97.4258
3950 | 97.4263
3949 | 97.4272
3948 | 97.4289
3947 | 97.431
3946 | 97.4317
3945 | 97.4289
3944 | 97.4238
3943 | 97.4208
3942 | 97.4236
3941 | 97.4304
3940 | 97.4353
3939 | 97.4354
3938 | 97.4336
3937 | 97.4347
3936 | 97.4383
3935 | 97.4398
3934 | 97.4371
3933 | 97.4342
3932 | 97.4353
3931 | 97.4396
3930 | 97.4431
3929 | 97.4442
3928 | 97.444
3927 | 97.4424
3926 | 97.4391
3925 | 97.4371
3924 | 97.4403
3923 | 97.4461
3922 | 97.4476
3921 | 97.4442
3920 | 97.4416
3919 | 97.443
3918 | 97.4456
3917 | 97.4469
3916 | 97.4494
3915 | 97.4542
3914 | 97.4578
3913 | 97.4583
3912 | 97.4583
3911 | 97.4607
3910 | 97.4638
3909 | 97.4645
3908 | 97.4616
3907 | 97.4553
3906 | 97.4468
3905 | 97.4382
3904 | 97.4342
3903 | 97.4373
3902 | 97.4437
3901 | 97.4469
3900 | 97.4471
3899 | 97.4504
3898 | 97.4584
3897 | 97.4651
3896 | 97.4648
3895 | 97.4601
3894 | 97.4558
3893 | 97.4527
3892 | 97.4481
3891 | 97.4459
3890 | 97.4536
3889 | 97.466
3888 | 97.4682
3887 | 97.4552
3886 | 97.4406
3885 | 97.4413
3884 | 97.4528
3883 | 97.4553
3882 | 97.4444
3881 | 97.4356
3880 | 97.4417
3879 | 97.459
3878 | 97.4725
3877 | 97.4719
3876 | 97.4601
3875 | 97.4496
3874 | 97.4524
3873 | 97.4651
3872 | 97.4688
3871 | 97.4538
3870 | 97.4369
3869 | 97.4414
3868 | 97.4593
3867 | 97.461
3866 | 97.4423
3865 | 97.4306
3864 | 97.442
3863 | 97.4613
3862 | 97.468
3861 | 97.4644
3860 | 97.4629
3859 | 97.4685
3858 | 97.4787
3857 | 97.4894
3856 | 97.4957
3855 | 97.4917
3854 | 97.482
3853 | 97.4836
3852 | 97.4987
3851 | 97.5065
3850 | 97.4963
3849 | 97.4815
3848 | 97.4753
3847 | 97.476
3846 | 97.4745
3845 | 97.4679
3844 | 97.4592
3843 | 97.4541
3842 | 97.4542
3841 | 97.4552
3840 | 97.4534
3839 | 97.4514
3838 | 97.453
3837 | 97.4576
3836 | 97.4628
3835 | 97.4666
3834 | 97.4684
3833 | 97.4685
3832 | 97.469
3831 | 97.472
3830 | 97.4753
3829 | 97.4743
3828 | 97.4674
3827 | 97.4594
3826 | 97.4587
3825 | 97.4657
3824 | 97.4684
3823 | 97.458
3822 | 97.4427
3821 | 97.4416
3820 | 97.4607
3819 | 97.4801
3818 | 97.4808
3817 | 97.4695
3816 | 97.4706
3815 | 97.4952
3814 | 97.5223
3813 | 97.5256
3812 | 97.5099
3811 | 97.498
3810 | 97.4984
3809 | 97.4988
3808 | 97.4875
3807 | 97.4736
3806 | 97.4729
3805 | 97.4808
3804 | 97.4795
3803 | 97.4667
3802 | 97.4583
3801 | 97.4686
3800 | 97.4879
3799 | 97.4916
3798 | 97.4772
3797 | 97.4658
3796 | 97.4743
3795 | 97.4962
3794 | 97.5126
3793 | 97.5155
3792 | 97.513
3791 | 97.5135
3790 | 97.5155
3789 | 97.5141
3788 | 97.5105
3787 | 97.5086
3786 | 97.5089
3785 | 97.5093
3784 | 97.5092
3783 | 97.5074
3782 | 97.501
3781 | 97.4913
3780 | 97.4852
3779 | 97.4887
3778 | 97.4991
3777 | 97.5071
3776 | 97.5074
3775 | 97.5043
3774 | 97.5051
3773 | 97.5087
3772 | 97.5067
3771 | 97.4974
3770 | 97.4893
3769 | 97.4884
3768 | 97.4894
3767 | 97.4853
3766 | 97.4789
3765 | 97.4793
3764 | 97.488
3763 | 97.494
3762 | 97.4872
3761 | 97.4754
3760 | 97.4726
3759 | 97.4772
3758 | 97.4762
3757 | 97.4684
3756 | 97.4629
3755 | 97.461
3754 | 97.457
3753 | 97.4531
3752 | 97.4574
3751 | 97.4652
3750 | 97.4631
3749 | 97.4566
3748 | 97.4615
3747 | 97.4722
3746 | 97.47
3745 | 97.4512
3744 | 97.4409
3743 | 97.4535
3742 | 97.4606
3741 | 97.4447
3740 | 97.4267
3739 | 97.4254
3738 | 97.4324
3737 | 97.4324
3736 | 97.4304
3735 | 97.4385
3734 | 97.4497
3733 | 97.4503
3732 | 97.4453
3731 | 97.4485
3730 | 97.4597
3729 | 97.466
3728 | 97.4621
3727 | 97.4562
3726 | 97.4576
3725 | 97.4619
3724 | 97.4599
3723 | 97.4547
3722 | 97.455
3721 | 97.4615
3720 | 97.4676
3719 | 97.4676
3718 | 97.4632
3717 | 97.4603
3716 | 97.4609
3715 | 97.46
3714 | 97.4541
3713 | 97.4473
3712 | 97.4442
3711 | 97.4422
3710 | 97.4371
3709 | 97.4303
3708 | 97.4262
3707 | 97.4273
3706 | 97.4324
3705 | 97.4377
3704 | 97.4405
3703 | 97.4412
3702 | 97.4412
3701 | 97.4408
3700 | 97.44
3699 | 97.4373
3698 | 97.4308
3697 | 97.424
3696 | 97.4215
3695 | 97.4205
3694 | 97.4141
3693 | 97.4035
3692 | 97.3978
3691 | 97.3999
3690 | 97.4018
3689 | 97.3955
3688 | 97.3869
3687 | 97.3865
3686 | 97.3912
3685 | 97.3917
3684 | 97.389
3683 | 97.3886
3682 | 97.3894
3681 | 97.3849
3680 | 97.3775
3679 | 97.376
3678 | 97.3769
3677 | 97.3678
3676 | 97.3495
3675 | 97.3394
3674 | 97.3424
3673 | 97.3417
3672 | 97.3288
3671 | 97.317
3670 | 97.32
3669 | 97.3308
3668 | 97.3312
3667 | 97.3199
3666 | 97.3103
3665 | 97.3113
3664 | 97.3197
3663 | 97.3266
3662 | 97.3265
3661 | 97.3212
3660 | 97.3152
3659 | 97.3087
3658 | 97.2982
3657 | 97.282
3656 | 97.2661
3655 | 97.2562
3654 | 97.2482
3653 | 97.2351
3652 | 97.2203
3651 | 97.2136
3650 | 97.2144
3649 | 97.2079
3648 | 97.1866
3647 | 97.1647
3646 | 97.1554
3645 | 97.1563
3644 | 97.1594
3643 | 97.1614
3642 | 97.1635
3641 | 97.1648
3640 | 97.161
3639 | 97.1503
3638 | 97.1383
3637 | 97.1288
3636 | 97.1183
3635 | 97.1028
3634 | 97.0877
3633 | 97.0812
3632 | 97.0793
3631 | 97.0694
3630 | 97.0456
3629 | 97.0163
3628 | 96.9931
3627 | 96.9753
3626 | 96.9571
3625 | 96.9414
3624 | 96.935
3623 | 96.936
3622 | 96.9337
3621 | 96.9195
3620 | 96.8958
3619 | 96.8692
3618 | 96.8439
3617 | 96.8224
3616 | 96.8061
3615 | 96.7949
3614 | 96.7888
3613 | 96.7869
3612 | 96.7852
3611 | 96.7776
3610 | 96.7612
3609 | 96.7398
3608 | 96.7194
3607 | 96.7014
3606 | 96.6837
3605 | 96.6666
3604 | 96.6534
3603 | 96.6444
3602 | 96.6353
3601 | 96.622
3600 | 96.6052
3599 | 96.5866
3598 | 96.5671
3597 | 96.5475
3596 | 96.5281
3595 | 96.5081
3594 | 96.4878
3593 | 96.4694
3592 | 96.4547
3591 | 96.4423
3590 | 96.427
3589 | 96.4038
3588 | 96.3711
3587 | 96.3318
3586 | 96.2924
3585 | 96.2596
3584 | 96.2363
3583 | 96.2197
3582 | 96.2041
3581 | 96.1846
3580 | 96.1604
3579 | 96.1331
3578 | 96.1038
3577 | 96.0725
3576 | 96.039
3575 | 96.0035
3574 | 95.9667
3573 | 95.9309
3572 | 95.8986
3571 | 95.8707
3570 | 95.8425
3569 | 95.8058
3568 | 95.7545
3567 | 95.6902
3566 | 95.622
3565 | 95.5616
3564 | 95.5155
3563 | 95.4817
3562 | 95.4529
3561 | 95.4219
3560 | 95.3855
3559 | 95.345
3558 | 95.3032
3557 | 95.2619
3556 | 95.2214
3555 | 95.1809
3554 | 95.1382
3553 | 95.0926
3552 | 95.0476
3551 | 95.0083
3550 | 94.9767
3549 | 94.9492
3548 | 94.9197
3547 | 94.8838
3546 | 94.8416
3545 | 94.7982
3544 | 94.761
3543 | 94.7346
3542 | 94.718
3541 | 94.7072
3540 | 94.6985
3539 | 94.6888
3538 | 94.6761
3537 | 94.6603
3536 | 94.6445
3535 | 94.6329
3534 | 94.6275
3533 | 94.6264
3532 | 94.6263
3531 | 94.6245
3530 | 94.6204
3529 | 94.6155
3528 | 94.6121
3527 | 94.6117
3526 | 94.6137
3525 | 94.6165
3524 | 94.6197
3523 | 94.6246
3522 | 94.6323
3521 | 94.6422
3520 | 94.653
3519 | 94.6644
3518 | 94.6767
3517 | 94.6901
3516 | 94.7038
3515 | 94.7171
3514 | 94.7303
3513 | 94.7443
3512 | 94.7584
3511 | 94.7704
3510 | 94.7789
3509 | 94.7858
3508 | 94.795
3507 | 94.8088
3506 | 94.8255
3505 | 94.8406
3504 | 94.8508
3503 | 94.8551
3502 | 94.8562
3501 | 94.8587
3500 | 94.8657
3499 | 94.877
3498 | 94.8893
3497 | 94.899
3496 | 94.9044
3495 | 94.9064
3494 | 94.9075
3493 | 94.91
3492 | 94.9152
3491 | 94.9233
3490 | 94.9332
3489 | 94.9431
3488 | 94.9511
3487 | 94.9568
3486 | 94.9615
3485 | 94.9675
3484 | 94.9762
3483 | 94.986
3482 | 94.9941
3481 | 94.9997
3480 | 95.0045
3479 | 95.0112
3478 | 95.0204
3477 | 95.0302
3476 | 95.0379
3475 | 95.0422
3474 | 95.0433
3473 | 95.0432
3472 | 95.0434
3471 | 95.0444
3470 | 95.0455
3469 | 95.0457
3468 | 95.0446
3467 | 95.0427
3466 | 95.0408
3465 | 95.0391
3464 | 95.0371
3463 | 95.0337
3462 | 95.0278
3461 | 95.0194
3460 | 95.0097
3459 | 95.0001
3458 | 94.9911
3457 | 94.9816
3456 | 94.9705
3455 | 94.9575
3454 | 94.9437
3453 | 94.9298
3452 | 94.9165
3451 | 94.9035
3450 | 94.8897
3449 | 94.8728
3448 | 94.8509
3447 | 94.8242
3446 | 94.7956
3445 | 94.7683
3444 | 94.7441
3443 | 94.7216
3442 | 94.6978
3441 | 94.6704
3440 | 94.639
3439 | 94.6051
3438 | 94.5704
3437 | 94.5354
3436 | 94.4997
3435 | 94.4628
3434 | 94.4247
3433 | 94.385
3432 | 94.3433
3431 | 94.2994
3430 | 94.2533
3429 | 94.2057
3428 | 94.1576
3427 | 94.1096
3426 | 94.0615
3425 | 94.0125
3424 | 93.9617
3423 | 93.9082
3422 | 93.8513
3421 | 93.7917
3420 | 93.7313
3419 | 93.6723
3418 | 93.6158
3417 | 93.5614
3416 | 93.5076
3415 | 93.4533
3414 | 93.3984
3413 | 93.3442
3412 | 93.2928
3411 | 93.246
3410 | 93.2038
3409 | 93.1652
3408 | 93.1297
3407 | 93.0979
3406 | 93.0711
3405 | 93.05
3404 | 93.0335
3403 | 93.0202
3402 | 93.0098
3401 | 93.0046
3400 | 93.0065
3399 | 93.0159
3398 | 93.0309
3397 | 93.0494
3396 | 93.0698
3395 | 93.0911
3394 | 93.1124
3393 | 93.1342
3392 | 93.1581
3391 | 93.186
3390 | 93.219
3389 | 93.2568
3388 | 93.2979
3387 | 93.3395
3386 | 93.3795
3385 | 93.4168
3384 | 93.4523
3383 | 93.4869
3382 | 93.521
3381 | 93.5545
3380 | 93.5873
3379 | 93.6192
3378 | 93.6505
3377 | 93.6819
3376 | 93.7128
3375 | 93.742
3374 | 93.7681
3373 | 93.7913
3372 | 93.813
3371 | 93.8342
3370 | 93.8559
3369 | 93.8782
3368 | 93.9011
3367 | 93.9234
3366 | 93.9436
3365 | 93.9606
3364 | 93.9747
3363 | 93.9873
3362 | 94
3361 | 94.0132
3360 | 94.0261
3359 | 94.0374
3358 | 94.0466
3357 | 94.0547
3356 | 94.0628
3355 | 94.071
3354 | 94.0782
3353 | 94.0839
3352 | 94.0884
3351 | 94.0923
3350 | 94.096
3349 | 94.1002
3348 | 94.1057
3347 | 94.1123
3346 | 94.1194
3345 | 94.1261
3344 | 94.132
3343 | 94.1367
3342 | 94.1404
3341 | 94.1432
3340 | 94.1458
3339 | 94.1491
3338 | 94.154
3337 | 94.161
3336 | 94.1701
3335 | 94.1801
3334 | 94.1899
3333 | 94.1993
3332 | 94.2089
3331 | 94.2185
3330 | 94.2276
3329 | 94.2357
3328 | 94.2424
3327 | 94.2475
3326 | 94.2517
3325 | 94.2564
3324 | 94.263
3323 | 94.2712
3322 | 94.2798
3321 | 94.2874
3320 | 94.294
3319 | 94.3001
3318 | 94.3058
3317 | 94.3115
3316 | 94.3177
3315 | 94.3244
3314 | 94.3309
3313 | 94.3361
3312 | 94.3394
3311 | 94.3416
3310 | 94.3431
3309 | 94.3439
3308 | 94.3439
3307 | 94.3436
3306 | 94.3439
3305 | 94.3462
3304 | 94.3508
3303 | 94.3571
3302 | 94.364
3301 | 94.3705
3300 | 94.3759
3299 | 94.3795
3298 | 94.3813
3297 | 94.3816
3296 | 94.3811
3295 | 94.3809
3294 | 94.3817
3293 | 94.3846
3292 | 94.3891
3291 | 94.3942
3290 | 94.3984
3289 | 94.4017
3288 | 94.4051
3287 | 94.4093
3286 | 94.414
3285 | 94.4184
3284 | 94.4225
3283 | 94.4264
3282 | 94.4306
3281 | 94.4349
3280 | 94.4389
3279 | 94.4422
3278 | 94.4443
3277 | 94.4456
3276 | 94.447
3275 | 94.4496
3274 | 94.4537
3273 | 94.4586
3272 | 94.463
3271 | 94.4668
3270 | 94.4714
3269 | 94.4782
3268 | 94.4875
3267 | 94.4976
3266 | 94.5065
3265 | 94.5135
3264 | 94.5193
3263 | 94.5249
3262 | 94.5311
3261 | 94.5385
3260 | 94.5467
3259 | 94.5548
3258 | 94.5615
3257 | 94.5665
3256 | 94.5696
3255 | 94.5716
3254 | 94.5733
3253 | 94.5761
3252 | 94.5802
3251 | 94.5847
3250 | 94.5888
3249 | 94.5928
3248 | 94.5967
3247 | 94.6002
3246 | 94.6032
3245 | 94.607
3244 | 94.6139
3243 | 94.6241
3242 | 94.6367
3241 | 94.6508
3240 | 94.6663
3239 | 94.683
3238 | 94.7002
3237 | 94.7172
3236 | 94.7343
3235 | 94.7524
3234 | 94.7717
3233 | 94.7915
3232 | 94.8115
3231 | 94.8319
3230 | 94.8531
3229 | 94.8747
3228 | 94.8956
3227 | 94.915
3226 | 94.9331
3225 | 94.951
3224 | 94.9696
3223 | 94.9888
3222 | 95.0077
3221 | 95.0261
3220 | 95.0439
3219 | 95.0617
3218 | 95.0798
3217 | 95.0985
3216 | 95.1171
3215 | 95.1346
3214 | 95.1508
3213 | 95.166
3212 | 95.1813
3211 | 95.197
3210 | 95.2127
3209 | 95.2283
3208 | 95.2447
3207 | 95.2624
3206 | 95.2812
3205 | 95.2998
3204 | 95.3169
3203 | 95.3327
3202 | 95.348
3201 | 95.3643
3200 | 95.3814
3199 | 95.3983
3198 | 95.4143
3197 | 95.4295
3196 | 95.4447
3195 | 95.4603
3194 | 95.4766
3193 | 95.4941
3192 | 95.5126
3191 | 95.5311
3190 | 95.5484
3189 | 95.5649
3188 | 95.5818
3187 | 95.5993
3186 | 95.6165
3185 | 95.6328
3184 | 95.6484
3183 | 95.6643
3182 | 95.6808
3181 | 95.6977
3180 | 95.7145
3179 | 95.7313
3178 | 95.7486
3177 | 95.7666
3176 | 95.7851
3175 | 95.8035
3174 | 95.8215
3173 | 95.8394
3172 | 95.8579
3171 | 95.8768
3170 | 95.8949
3169 | 95.9115
3168 | 95.927
3167 | 95.9425
3166 | 95.9593
3165 | 95.9777
3164 | 95.9977
3163 | 96.0183
3162 | 96.0384
3161 | 96.0569
3160 | 96.0742
3159 | 96.0911
3158 | 96.1083
3157 | 96.1255
3156 | 96.1423
3155 | 96.1591
3154 | 96.1763
3153 | 96.1942
3152 | 96.2123
3151 | 96.2303
3150 | 96.2483
3149 | 96.2668
3148 | 96.2857
3147 | 96.304
3146 | 96.3212
3145 | 96.338
3144 | 96.3555
3143 | 96.3739
3142 | 96.3924
3141 | 96.4105
3140 | 96.4286
3139 | 96.4468
3138 | 96.4645
3137 | 96.4812
3136 | 96.4967
3135 | 96.5121
3134 | 96.5279
3133 | 96.5448
3132 | 96.5626
3131 | 96.5806
3130 | 96.598
3129 | 96.6143
3128 | 96.6303
3127 | 96.647
3126 | 96.665
3125 | 96.6836
3124 | 96.7023
3123 | 96.7206
3122 | 96.738
3121 | 96.7544
3120 | 96.7701
3119 | 96.7859
3118 | 96.8025
3117 | 96.8196
3116 | 96.837
3115 | 96.8542
3114 | 96.8717
3113 | 96.8896
3112 | 96.9078
3111 | 96.9257
3110 | 96.9428
3109 | 96.9589
3108 | 96.9746
3107 | 96.9904
3106 | 97.0061
3105 | 97.0212
3104 | 97.0358
3103 | 97.0502
3102 | 97.0645
3101 | 97.0782
3100 | 97.0912
3099 | 97.104
3098 | 97.1176
3097 | 97.1317
3096 | 97.1456
3095 | 97.1584
3094 | 97.1705
3093 | 97.1825
3092 | 97.195
3091 | 97.2075
3090 | 97.2201
3089 | 97.2329
3088 | 97.2465
3087 | 97.2604
3086 | 97.2732
3085 | 97.2842
3084 | 97.2937
3083 | 97.3026
3082 | 97.3115
3081 | 97.321
3080 | 97.3311
3079 | 97.3414
3078 | 97.3512
3077 | 97.3602
3076 | 97.3689
3075 | 97.3784
3074 | 97.3888
3073 | 97.3993
3072 | 97.4088
3071 | 97.4166
3070 | 97.4231
3069 | 97.4293
3068 | 97.4362
3067 | 97.4439
3066 | 97.4519
3065 | 97.4595
3064 | 97.4671
3063 | 97.4749
3062 | 97.4833
3061 | 97.4916
3060 | 97.4993
3059 | 97.5058
3058 | 97.5109
3057 | 97.5152
3056 | 97.5198
3055 | 97.5253
3054 | 97.5314
3053 | 97.5372
3052 | 97.5422
3051 | 97.5464
3050 | 97.5499
3049 | 97.5534
3048 | 97.5578
3047 | 97.5631
3046 | 97.5686
3045 | 97.5729
3044 | 97.5761
3043 | 97.5786
3042 | 97.5812
3041 | 97.5844
3040 | 97.5885
3039 | 97.5931
3038 | 97.5973
3037 | 97.5999
3036 | 97.6013
3035 | 97.6028
3034 | 97.6057
3033 | 97.6105
3032 | 97.6167
3031 | 97.6234
3030 | 97.6296
3029 | 97.6343
3028 | 97.6374
3027 | 97.6391
3026 | 97.6398
3025 | 97.6399
3024 | 97.6405
3023 | 97.6427
3022 | 97.6466
3021 | 97.651
3020 | 97.6543
3019 | 97.6558
3018 | 97.6558
3017 | 97.6554
3016 | 97.6556
3015 | 97.6565
3014 | 97.6577
3013 | 97.6587
3012 | 97.6599
3011 | 97.6619
3010 | 97.6647
3009 | 97.6677
3008 | 97.6701
3007 | 97.6717
3006 | 97.6729
3005 | 97.674
3004 | 97.675
3003 | 97.6759
3002 | 97.677
3001 | 97.6787
3000 | 97.6817
2999 | 97.6856
2998 | 97.6887
2997 | 97.6898
2996 | 97.689
2995 | 97.6878
2994 | 97.6872
2993 | 97.6873
2992 | 97.6878
2991 | 97.6883
2990 | 97.6888
2989 | 97.6891
2988 | 97.6893
2987 | 97.689
2986 | 97.6883
2985 | 97.6874
2984 | 97.6867
2983 | 97.6864
2982 | 97.686
2981 | 97.6848
2980 | 97.6825
2979 | 97.6796
2978 | 97.6768
2977 | 97.6741
2976 | 97.6709
2975 | 97.6668
2974 | 97.662
2973 | 97.6571
2972 | 97.6525
2971 | 97.6475
2970 | 97.6411
2969 | 97.6328
2968 | 97.6232
2967 | 97.6126
2966 | 97.6004
2965 | 97.586
2964 | 97.5697
2963 | 97.5525
2962 | 97.5353
2961 | 97.5188
2960 | 97.5036
2959 | 97.4906
2958 | 97.4795
2957 | 97.4693
2956 | 97.459
2955 | 97.448
2954 | 97.4364
2953 | 97.4252
2952 | 97.4154
2951 | 97.408
2950 | 97.4025
2949 | 97.3976
2948 | 97.3921
2947 | 97.3855
2946 | 97.3782
2945 | 97.3701
2944 | 97.3609
2943 | 97.3505
2942 | 97.3399
2941 | 97.3301
2940 | 97.3217
2939 | 97.314
2938 | 97.3057
2937 | 97.2963
2936 | 97.2866
2935 | 97.2778
2934 | 97.2711
2933 | 97.2666
2932 | 97.2636
2931 | 97.2607
2930 | 97.2573
2929 | 97.2539
2928 | 97.2516
2927 | 97.2512
2926 | 97.2525
2925 | 97.2555
2924 | 97.2613
2923 | 97.271
2922 | 97.2843
2921 | 97.2988
2920 | 97.312
2919 | 97.3229
2918 | 97.3323
2917 | 97.3407
2916 | 97.3471
2915 | 97.3501
2914 | 97.3493
2913 | 97.3462
2912 | 97.3426
2911 | 97.3396
2910 | 97.3369
2909 | 97.3341
2908 | 97.3317
2907 | 97.3296
2906 | 97.3275
2905 | 97.3246
2904 | 97.3212
2903 | 97.318
2902 | 97.3161
2901 | 97.316
2900 | 97.3173
2899 | 97.3192
2898 | 97.3206
2897 | 97.3214
2896 | 97.3223
2895 | 97.3239
2894 | 97.326
2893 | 97.3282
2892 | 97.3303
2891 | 97.3328
2890 | 97.336
2889 | 97.3398
2888 | 97.344
2887 | 97.348
2886 | 97.3515
2885 | 97.3543
2884 | 97.3566
2883 | 97.3588
2882 | 97.3609
2881 | 97.3629
2880 | 97.3646
2879 | 97.3655
2878 | 97.3649
2877 | 97.363
2876 | 97.3609
2875 | 97.3602
2874 | 97.3619
2873 | 97.3656
2872 | 97.3705
2871 | 97.3759
2870 | 97.3815
2869 | 97.3877
2868 | 97.3949
2867 | 97.4029
2866 | 97.4109
2865 | 97.4186
2864 | 97.426
2863 | 97.4331
2862 | 97.4394
2861 | 97.444
2860 | 97.447
2859 | 97.4494
2858 | 97.4531
2857 | 97.4594
2856 | 97.4691
2855 | 97.4822
2854 | 97.498
2853 | 97.5159
2852 | 97.5354
2851 | 97.5558
2850 | 97.5761
2849 | 97.5948
2848 | 97.6112
2847 | 97.6257
2846 | 97.6388
2845 | 97.6509
2844 | 97.662
2843 | 97.6718
2842 | 97.6805
2841 | 97.6888
2840 | 97.6973
2839 | 97.7063
2838 | 97.716
2837 | 97.7264
2836 | 97.7372
2835 | 97.7478
2834 | 97.7576
2833 | 97.766
2832 | 97.7737
2831 | 97.7813
2830 | 97.7887
2829 | 97.7958
2828 | 97.8023
2827 | 97.8086
2826 | 97.8149
2825 | 97.8211
2824 | 97.8271
2823 | 97.833
2822 | 97.8388
2821 | 97.8443
2820 | 97.8492
2819 | 97.8531
2818 | 97.8557
2817 | 97.8575
2816 | 97.8597
2815 | 97.8632
2814 | 97.8677
2813 | 97.8722
2812 | 97.8758
2811 | 97.8785
2810 | 97.8808
2809 | 97.8831
2808 | 97.8855
2807 | 97.8881
2806 | 97.8913
2805 | 97.895
2804 | 97.899
2803 | 97.9025
2802 | 97.9052
2801 | 97.9076
2800 | 97.9105
2799 | 97.9137
2798 | 97.9166
2797 | 97.9188
2796 | 97.9211
2795 | 97.9239
2794 | 97.9272
2793 | 97.9309
2792 | 97.9349
2791 | 97.9387
2790 | 97.9417
2789 | 97.9435
2788 | 97.9447
2787 | 97.9462
2786 | 97.9479
2785 | 97.9495
2784 | 97.9512
2783 | 97.9536
2782 | 97.9567
2781 | 97.9599
2780 | 97.9627
2779 | 97.9647
2778 | 97.9662
2777 | 97.9676
2776 | 97.9696
2775 | 97.9722
2774 | 97.9752
2773 | 97.9782
2772 | 97.9813
2771 | 97.9841
2770 | 97.9858
2769 | 97.9865
2768 | 97.9871
2767 | 97.9886
2766 | 97.9908
2765 | 97.9926
2764 | 97.9938
2763 | 97.995
2762 | 97.9965
2761 | 97.9978
2760 | 97.9988
2759 | 97.9994
2758 | 97.9998
2757 | 98
2756 | 98.0004
2755 | 98.0011
2754 | 98.0021
2753 | 98.0032
2752 | 98.0048
2751 | 98.0073
2750 | 98.01
2749 | 98.0121
2748 | 98.0128
2747 | 98.0128
2746 | 98.013
2745 | 98.0138
2744 | 98.0151
2743 | 98.0166
2742 | 98.0176
2741 | 98.0177
2740 | 98.0177
2739 | 98.0185
2738 | 98.0206
2737 | 98.0237
2736 | 98.0268
2735 | 98.0293
2734 | 98.0309
2733 | 98.0316
2732 | 98.0319
2731 | 98.0323
2730 | 98.0331
2729 | 98.0343
2728 | 98.0359
2727 | 98.0379
2726 | 98.0397
2725 | 98.0405
2724 | 98.0405
2723 | 98.0407
2722 | 98.0415
2721 | 98.0427
2720 | 98.0442
2719 | 98.0462
2718 | 98.0493
2717 | 98.0531
2716 | 98.0571
2715 | 98.0605
2714 | 98.0629
2713 | 98.0645
2712 | 98.0659
2711 | 98.0675
2710 | 98.0691
2709 | 98.0706
2708 | 98.0719
2707 | 98.0732
2706 | 98.0743
2705 | 98.0751
2704 | 98.0758
2703 | 98.0773
2702 | 98.0795
2701 | 98.082
2700 | 98.0843
2699 | 98.0864
2698 | 98.0884
2697 | 98.09
2696 | 98.0912
2695 | 98.0928
2694 | 98.0948
2693 | 98.0966
2692 | 98.0979
2691 | 98.0991
2690 | 98.1011
2689 | 98.1038
2688 | 98.1063
2687 | 98.1081
2686 | 98.1093
2685 | 98.1107
2684 | 98.1123
2683 | 98.1136
2682 | 98.1143
2681 | 98.1148
2680 | 98.1163
2679 | 98.1192
2678 | 98.1232
2677 | 98.1271
2676 | 98.13
2675 | 98.1314
2674 | 98.1312
2673 | 98.1299
2672 | 98.1288
2671 | 98.1291
2670 | 98.1312
2669 | 98.1342
2668 | 98.1373
2667 | 98.1401
2666 | 98.1423
2665 | 98.144
2664 | 98.1454
2663 | 98.1471
2662 | 98.1493
2661 | 98.1518
2660 | 98.1543
2659 | 98.1566
2658 | 98.1587
2657 | 98.1604
2656 | 98.162
2655 | 98.1636
2654 | 98.1654
2653 | 98.1669
2652 | 98.1682
2651 | 98.1698
2650 | 98.1723
2649 | 98.1759
2648 | 98.1801
2647 | 98.1837
2646 | 98.1858
2645 | 98.1866
2644 | 98.1868
2643 | 98.1872
2642 | 98.188
2641 | 98.1892
2640 | 98.1909
2639 | 98.1933
2638 | 98.1957
2637 | 98.1973
2636 | 98.1983
2635 | 98.1993
2634 | 98.2011
2633 | 98.2034
2632 | 98.2058
2631 | 98.2079
2630 | 98.2095
2629 | 98.2108
2628 | 98.212
2627 | 98.2134
2626 | 98.2146
2625 | 98.2152
2624 | 98.2154
2623 | 98.2159
2622 | 98.2174
2621 | 98.2198
2620 | 98.2225
2619 | 98.2249
2618 | 98.2264
2617 | 98.2271
2616 | 98.2276
2615 | 98.2287
2614 | 98.2306
2613 | 98.233
2612 | 98.2353
2611 | 98.2371
2610 | 98.2384
2609 | 98.2398
2608 | 98.2421
2607 | 98.2449
2606 | 98.2468
2605 | 98.2474
2604 | 98.2475
2603 | 98.2482
2602 | 98.2495
2601 | 98.2507
2600 | 98.252
2599 | 98.2536
2598 | 98.2553
2597 | 98.2564
2596 | 98.2569
2595 | 98.2576
2594 | 98.2591
2593 | 98.2612
2592 | 98.2632
2591 | 98.2643
2590 | 98.2642
2589 | 98.2637
2588 | 98.2643
2587 | 98.2668
2586 | 98.2703
2585 | 98.2728
2584 | 98.2734
2583 | 98.2733
2582 | 98.2741
2581 | 98.2766
2580 | 98.2801
2579 | 98.2833
2578 | 98.2854
2577 | 98.2867
2576 | 98.288
2575 | 98.2896
2574 | 98.291
2573 | 98.2915
2572 | 98.2918
2571 | 98.2924
2570 | 98.2935
2569 | 98.2947
2568 | 98.2961
2567 | 98.2982
2566 | 98.3006
2565 | 98.3026
2564 | 98.3042
2563 | 98.3055
2562 | 98.3064
2561 | 98.3067
2560 | 98.3069
2559 | 98.3076
2558 | 98.3084
2557 | 98.3087
2556 | 98.3082
2555 | 98.3081
2554 | 98.3093
2553 | 98.3119
2552 | 98.3152
2551 | 98.3179
2550 | 98.3191
2549 | 98.3192
2548 | 98.319
2547 | 98.3196
2546 | 98.3207
2545 | 98.3219
2544 | 98.3234
2543 | 98.3254
2542 | 98.3274
2541 | 98.3287
2540 | 98.3297
2539 | 98.331
2538 | 98.333
2537 | 98.3351
2536 | 98.3373
2535 | 98.3396
2534 | 98.3415
2533 | 98.3426
2532 | 98.3432
2531 | 98.3441
2530 | 98.3455
2529 | 98.3466
2528 | 98.3474
2527 | 98.3486
2526 | 98.3505
2525 | 98.3527
2524 | 98.3543
2523 | 98.3551
2522 | 98.3551
2521 | 98.3541
2520 | 98.353
2519 | 98.3526
2518 | 98.3537
2517 | 98.3559
2516 | 98.3586
2515 | 98.3612
2514 | 98.3632
2513 | 98.3644
2512 | 98.3652
2511 | 98.3662
2510 | 98.3678
2509 | 98.3699
2508 | 98.3725
2507 | 98.3753
2506 | 98.3778
2505 | 98.3794
2504 | 98.3806
2503 | 98.382
2502 | 98.3836
2501 | 98.3849
2500 | 98.3858
2499 | 98.3869
2498 | 98.3886
2497 | 98.3911
2496 | 98.3946
2495 | 98.3983
2494 | 98.4009
2493 | 98.4019
2492 | 98.4023
2491 | 98.4038
2490 | 98.4067
2489 | 98.4097
2488 | 98.4119
2487 | 98.4135
2486 | 98.4143
2485 | 98.4141
2484 | 98.4131
2483 | 98.412
2482 | 98.412
2481 | 98.4138
2480 | 98.4171
2479 | 98.421
2478 | 98.4238
2477 | 98.425
2476 | 98.4258
2475 | 98.4275
2474 | 98.4299
2473 | 98.4317
2472 | 98.4329
2471 | 98.4345
2470 | 98.4372
2469 | 98.4402
2468 | 98.4424
2467 | 98.4435
2466 | 98.4444
2465 | 98.4462
2464 | 98.4494
2463 | 98.4531
2462 | 98.4563
2461 | 98.4584
2460 | 98.4601
2459 | 98.462
2458 | 98.4637
2457 | 98.4648
2456 | 98.4655
2455 | 98.4666
2454 | 98.4679
2453 | 98.4685
2452 | 98.4684
2451 | 98.4688
2450 | 98.47
2449 | 98.4715
2448 | 98.4725
2447 | 98.4733
2446 | 98.4741
2445 | 98.4752
2444 | 98.477
2443 | 98.4791
2442 | 98.4807
2441 | 98.4812
2440 | 98.4812
2439 | 98.4817
2438 | 98.4834
2437 | 98.4859
2436 | 98.4888
2435 | 98.492
2434 | 98.495
2433 | 98.497
2432 | 98.4978
2431 | 98.4979
2430 | 98.498
2429 | 98.4987
2428 | 98.5001
2427 | 98.5023
2426 | 98.5042
2425 | 98.5048
2424 | 98.5047
2423 | 98.5052
2422 | 98.507
2421 | 98.5091
2420 | 98.5105
2419 | 98.5112
2418 | 98.5117
2417 | 98.5127
2416 | 98.5141
2415 | 98.5159
2414 | 98.5177
2413 | 98.519
2412 | 98.5202
2411 | 98.5217
2410 | 98.5239
2409 | 98.5266
2408 | 98.5294
2407 | 98.5317
2406 | 98.5328
2405 | 98.5326
2404 | 98.5318
2403 | 98.5315
2402 | 98.5321
2401 | 98.5334
2400 | 98.5353
2399 | 98.5368
2398 | 98.5372
2397 | 98.5361
2396 | 98.5347
2395 | 98.5339
2394 | 98.5337
2393 | 98.5335
2392 | 98.5332
2391 | 98.5333
2390 | 98.5336
2389 | 98.5333
2388 | 98.5315
2387 | 98.528
2386 | 98.5225
2385 | 98.5156
2384 | 98.5087
2383 | 98.5033
2382 | 98.4995
2381 | 98.4967
2380 | 98.4944
2379 | 98.4923
2378 | 98.4902
2377 | 98.4878
2376 | 98.4852
2375 | 98.4819
2374 | 98.4767
2373 | 98.4698
2372 | 98.4634
2371 | 98.4606
2370 | 98.4614
2369 | 98.4634
2368 | 98.4644
2367 | 98.4632
2366 | 98.4589
2365 | 98.4519
2364 | 98.4446
2363 | 98.4382
2362 | 98.4327
2361 | 98.4273
2360 | 98.4225
2359 | 98.4193
2358 | 98.4162
2357 | 98.4132
2356 | 98.4117
2355 | 98.4121
2354 | 98.4115
2353 | 98.4076
2352 | 98.4042
2351 | 98.4056
2350 | 98.4134
2349 | 98.4259
2348 | 98.4393
2347 | 98.4442
2346 | 98.4262
2345 | 98.3811
2344 | 98.3215
2343 | 98.2668
2342 | 98.2288
2341 | 98.2126
2340 | 98.2216
2339 | 98.2543
2338 | 98.3025
2337 | 98.3532
2336 | 98.3961
2335 | 98.4266
2334 | 98.4439
2333 | 98.449
2332 | 98.4458
2331 | 98.4391
2330 | 98.4328
2329 | 98.4286
2328 | 98.4281
2327 | 98.433
2326 | 98.442
2325 | 98.4527
2324 | 98.4615
2323 | 98.4673
2322 | 98.4701
2321 | 98.4708
2320 | 98.4715
2319 | 98.4738
2318 | 98.4792
2317 | 98.4869
2316 | 98.4955
2315 | 98.5026
2314 | 98.5056
2313 | 98.5041
2312 | 98.5016
2311 | 98.5022
2310 | 98.5067
2309 | 98.5129
2308 | 98.5191
2307 | 98.5257
2306 | 98.5326
2305 | 98.5392
2304 | 98.5451
2303 | 98.5506
2302 | 98.5558
2301 | 98.56
2300 | 98.5637
2299 | 98.5677
2298 | 98.5725
2297 | 98.5776
2296 | 98.5834
2295 | 98.5908
2294 | 98.5993
2293 | 98.6069
2292 | 98.612
2291 | 98.6152
2290 | 98.6176
2289 | 98.6204
2288 | 98.6242
2287 | 98.6292
2286 | 98.634
2285 | 98.6374
2284 | 98.6394
2283 | 98.6412
2282 | 98.6433
2281 | 98.6445
2280 | 98.6447
2279 | 98.6447
2278 | 98.6449
2277 | 98.6446
2276 | 98.6437
2275 | 98.6433
2274 | 98.6445
2273 | 98.6473
2272 | 98.6503
2271 | 98.6523
2270 | 98.6524
2269 | 98.6512
2268 | 98.6501
2267 | 98.6497
2266 | 98.649
2265 | 98.6471
2264 | 98.6452
2263 | 98.6447
2262 | 98.6451
2261 | 98.6448
2260 | 98.6436
2259 | 98.643
2258 | 98.6436
2257 | 98.6444
2256 | 98.6453
2255 | 98.6468
2254 | 98.6486
2253 | 98.6494
2252 | 98.6491
2251 | 98.6484
2250 | 98.6475
2249 | 98.6464
2248 | 98.6463
2247 | 98.6482
2246 | 98.6509
2245 | 98.6523
2244 | 98.6524
2243 | 98.6531
2242 | 98.655
2241 | 98.6573
2240 | 98.6601
2239 | 98.6642
2238 | 98.6688
2237 | 98.6719
2236 | 98.6726
2235 | 98.6721
2234 | 98.6709
2233 | 98.669
2232 | 98.6677
2231 | 98.6692
2230 | 98.6741
2229 | 98.68
2228 | 98.6848
2227 | 98.6881
2226 | 98.6901
2225 | 98.6909
2224 | 98.6916
2223 | 98.6933
2222 | 98.6956
2221 | 98.6972
2220 | 98.6981
2219 | 98.6999
2218 | 98.7027
2217 | 98.7052
2216 | 98.7068
2215 | 98.7086
2214 | 98.7109
2213 | 98.7128
2212 | 98.7142
2211 | 98.7159
2210 | 98.7178
2209 | 98.719
2208 | 98.7197
2207 | 98.7216
2206 | 98.7246
2205 | 98.7275
2204 | 98.73
2203 | 98.7327
2202 | 98.7353
2201 | 98.7363
2200 | 98.736
2199 | 98.7363
2198 | 98.738
2197 | 98.7405
2196 | 98.7443
2195 | 98.7505
2194 | 98.7578
2193 | 98.7631
2192 | 98.7655
2191 | 98.767
2190 | 98.7696
2189 | 98.7736
2188 | 98.7783
2187 | 98.7829
2186 | 98.7853
2185 | 98.7844
2184 | 98.783
2183 | 98.7846
2182 | 98.7895
2181 | 98.7944
2180 | 98.7977
2179 | 98.801
2178 | 98.8054
2177 | 98.8098
2176 | 98.8132
2175 | 98.8157
2174 | 98.8166
2173 | 98.8156
2172 | 98.8147
2171 | 98.8168
2170 | 98.8215
2169 | 98.8258
2168 | 98.8292
2167 | 98.8338
2166 | 98.8399
2165 | 98.8454
2164 | 98.849
2163 | 98.8515
2162 | 98.8522
2161 | 98.849
2160 | 98.8424
2159 | 98.8352
2158 | 98.829
2157 | 98.8234
2156 | 98.8194
2155 | 98.8191
2154 | 98.8227
2153 | 98.828
2152 | 98.8332
2151 | 98.8384
2150 | 98.8426
2149 | 98.8449
2148 | 98.8472
2147 | 98.8523
2146 | 98.8588
2145 | 98.8627
2144 | 98.8623
2143 | 98.8598
2142 | 98.8573
2141 | 98.8549
2140 | 98.8527
2139 | 98.8519
2138 | 98.8526
2137 | 98.8533
2136 | 98.8537
2135 | 98.8546
2134 | 98.8554
2133 | 98.8546
2132 | 98.8525
2131 | 98.8515
2130 | 98.8531
2129 | 98.8561
2128 | 98.8595
2127 | 98.8632
2126 | 98.8664
2125 | 98.868
2124 | 98.8683
2123 | 98.8691
2122 | 98.871
2121 | 98.8721
2120 | 98.8717
2119 | 98.8709
2118 | 98.8706
2117 | 98.8708
2116 | 98.8719
2115 | 98.8752
2114 | 98.8802
2113 | 98.8849
2112 | 98.8882
2111 | 98.8909
2110 | 98.8938
2109 | 98.897
2108 | 98.9003
2107 | 98.9043
2106 | 98.9087
2105 | 98.9132
2104 | 98.9183
2103 | 98.925
2102 | 98.9324
2101 | 98.9391
2100 | 98.9447
2099 | 98.95
2098 | 98.9548
2097 | 98.9583
2096 | 98.9614
2095 | 98.9649
2094 | 98.968
2093 | 98.9695
2092 | 98.9712
2091 | 98.9757
2090 | 98.9824
2089 | 98.9883
2088 | 98.9923
2087 | 98.9962
2086 | 99.0004
2085 | 99.0036
2084 | 99.0061
2083 | 99.0099
2082 | 99.0155
2081 | 99.0208
2080 | 99.0246
2079 | 99.0275
2078 | 99.0301
2077 | 99.0323
2076 | 99.035
2075 | 99.0396
2074 | 99.0443
2073 | 99.0465
2072 | 99.0471
2071 | 99.0499
2070 | 99.0568
2069 | 99.0649
2068 | 99.0716
2067 | 99.0767
2066 | 99.0802
2065 | 99.0809
2064 | 99.0793
2063 | 99.0782
2062 | 99.0792
2061 | 99.081
2060 | 99.0832
2059 | 99.0866
2058 | 99.0913
2057 | 99.0955
2056 | 99.0987
2055 | 99.1018
2054 | 99.1053
2053 | 99.1084
2052 | 99.1113
2051 | 99.1162
2050 | 99.1232
2049 | 99.1301
2048 | 99.1352
2047 | 99.1392
2046 | 99.1423
2045 | 99.1443
2044 | 99.1461
2043 | 99.1498
2042 | 99.1545
2041 | 99.1571
2040 | 99.158
2039 | 99.1601
2038 | 99.1643
2037 | 99.1684
2036 | 99.1716
2035 | 99.1755
2034 | 99.1795
2033 | 99.1811
2032 | 99.1808
2031 | 99.1823
2030 | 99.1866
2029 | 99.1905
2028 | 99.1914
2027 | 99.1908
2026 | 99.1901
2025 | 99.1897
2024 | 99.1909
2023 | 99.196
2022 | 99.2036
2021 | 99.2099
2020 | 99.2133
2019 | 99.2155
2018 | 99.2168
2017 | 99.2162
2016 | 99.2149
2015 | 99.2155
2014 | 99.2174
2013 | 99.2185
2012 | 99.2208
2011 | 99.2277
2010 | 99.2379
2009 | 99.2455
2008 | 99.2481
2007 | 99.2489
2006 | 99.2498
2005 | 99.2491
2004 | 99.2469
2003 | 99.246
2002 | 99.2476
2001 | 99.2497
2000 | 99.252
1999 | 99.2564
1998 | 99.2623
1997 | 99.2669
1996 | 99.2703
1995 | 99.2762
1994 | 99.2849
1993 | 99.291
1992 | 99.2903
1991 | 99.2853
1990 | 99.2811
1989 | 99.2797
1988 | 99.2801
1987 | 99.2824
1986 | 99.2861
1985 | 99.2905
1984 | 99.2955
1983 | 99.3021
1982 | 99.3091
1981 | 99.3138
1980 | 99.3154
1979 | 99.3154
1978 | 99.3145
1977 | 99.3122
1976 | 99.3098
1975 | 99.3094
1974 | 99.3104
1973 | 99.3099
1972 | 99.3085
1971 | 99.31
1970 | 99.3153
1969 | 99.3204
1968 | 99.3212
1967 | 99.3177
1966 | 99.3124
1965 | 99.308
1964 | 99.3069
1963 | 99.3095
1962 | 99.3119
1961 | 99.3105
1960 | 99.3067
1959 | 99.305
1958 | 99.3058
1957 | 99.3057
1956 | 99.3038
1955 | 99.3028
1954 | 99.3043
1953 | 99.3058
1952 | 99.305
1951 | 99.3031
1950 | 99.3019
1949 | 99.3017
1948 | 99.3027
1947 | 99.3049
1946 | 99.3072
1945 | 99.3089
1944 | 99.3103
1943 | 99.3109
1942 | 99.3077
1941 | 99.3
1940 | 99.2929
1939 | 99.2919
1938 | 99.2963
1937 | 99.3004
1936 | 99.3011
1935 | 99.3002
1934 | 99.2996
1933 | 99.2985
1932 | 99.297
1931 | 99.2966
1930 | 99.2967
1929 | 99.2956
1928 | 99.2932
1927 | 99.2915
1926 | 99.2913
1925 | 99.2916
1924 | 99.2922
1923 | 99.293
1922 | 99.2927
1921 | 99.2917
1920 | 99.2932
1919 | 99.2984
1918 | 99.3017
1917 | 99.2968
1916 | 99.2872
1915 | 99.281
1914 | 99.281
1913 | 99.2831
1912 | 99.2845
1911 | 99.286
1910 | 99.2872
1909 | 99.2861
1908 | 99.2836
1907 | 99.2833
1906 | 99.2854
1905 | 99.2861
1904 | 99.2836
1903 | 99.2812
1902 | 99.2804
1901 | 99.2793
1900 | 99.277
1899 | 99.2752
1898 | 99.2754
1897 | 99.2759
1896 | 99.2754
1895 | 99.2745
1894 | 99.2733
1893 | 99.2717
1892 | 99.271
1891 | 99.273
1890 | 99.2762
1889 | 99.2764
1888 | 99.2732
1887 | 99.27
1886 | 99.2687
1885 | 99.2676
1884 | 99.2655
1883 | 99.2645
1882 | 99.2651
1881 | 99.2657
1880 | 99.2647
1879 | 99.2627
1878 | 99.2608
1877 | 99.2589
1876 | 99.2565
1875 | 99.2552
1874 | 99.2552
1873 | 99.2558
1872 | 99.2574
1871 | 99.2614
1870 | 99.266
1869 | 99.2661
1868 | 99.2604
1867 | 99.2535
1866 | 99.2494
1865 | 99.248
1864 | 99.2478
1863 | 99.2485
1862 | 99.2494
1861 | 99.2494
1860 | 99.2487
1859 | 99.2481
1858 | 99.2475
1857 | 99.2455
1856 | 99.2423
1855 | 99.2404
1854 | 99.2402
1853 | 99.2403
1852 | 99.2398
1851 | 99.2386
1850 | 99.237
1849 | 99.2354
1848 | 99.2345
1847 | 99.2368
1846 | 99.2429
1845 | 99.2502
1844 | 99.254
1843 | 99.251
1842 | 99.2415
1841 | 99.2293
1840 | 99.2198
1839 | 99.2159
1838 | 99.2159
1837 | 99.2156
1836 | 99.214
1835 | 99.2133
1834 | 99.2132
1833 | 99.2123
1832 | 99.2108
1831 | 99.21
1830 | 99.2105
1829 | 99.2098
1828 | 99.2065
1827 | 99.2035
1826 | 99.2042
1825 | 99.2074
1824 | 99.2085
1823 | 99.2058
1822 | 99.2013
1821 | 99.1969
1820 | 99.193
1819 | 99.1892
1818 | 99.1852
1817 | 99.1801
1816 | 99.1746
1815 | 99.169
1814 | 99.163
1813 | 99.1567
1812 | 99.1514
1811 | 99.1491
1810 | 99.1488
1809 | 99.1473
1808 | 99.1444
1807 | 99.1418
1806 | 99.14
1805 | 99.1376
1804 | 99.1348
1803 | 99.1333
1802 | 99.1332
1801 | 99.1325
1800 | 99.1292
1799 | 99.124
1798 | 99.1188
1797 | 99.1141
1796 | 99.1109
1795 | 99.1095
1794 | 99.11
1793 | 99.1128
1792 | 99.1174
1791 | 99.1209
1790 | 99.119
1789 | 99.111
1788 | 99.1017
1787 | 99.0961
1786 | 99.0956
1785 | 99.0964
1784 | 99.0945
1783 | 99.0879
1782 | 99.0778
1781 | 99.0686
1780 | 99.0618
1779 | 99.057
1778 | 99.052
1777 | 99.0453
1776 | 99.038
1775 | 99.03
1774 | 99.0213
1773 | 99.0128
1772 | 99.0059
1771 | 99.0003
1770 | 98.9925
1769 | 98.9812
1768 | 98.9698
1767 | 98.9595
1766 | 98.9453
1765 | 98.9243
1764 | 98.9008
1763 | 98.8807
1762 | 98.8647
1761 | 98.8472
1760 | 98.8246
1759 | 98.7997
1758 | 98.7757
1757 | 98.7538
1756 | 98.7338
1755 | 98.7141
1754 | 98.694
1753 | 98.6737
1752 | 98.6539
1751 | 98.6326
1750 | 98.6061
1749 | 98.573
1748 | 98.5409
1747 | 98.5175
1746 | 98.5016
1745 | 98.488
1744 | 98.4745
1743 | 98.4639
1742 | 98.4556
1741 | 98.4446
1740 | 98.4311
1739 | 98.422
1738 | 98.4176
1737 | 98.4139
1736 | 98.4127
1735 | 98.4182
1734 | 98.4252
1733 | 98.4213
1732 | 98.4042
1731 | 98.3864
1730 | 98.3784
1729 | 98.3794
1728 | 98.3839
1727 | 98.3887
1726 | 98.3942
1725 | 98.3995
1724 | 98.4044
1723 | 98.4126
1722 | 98.424
1721 | 98.4331
1720 | 98.4377
1719 | 98.4426
1718 | 98.4526
1717 | 98.4661
1716 | 98.4779
1715 | 98.4861
1714 | 98.492
1713 | 98.4939
1712 | 98.492
1711 | 98.4901
1710 | 98.4898
1709 | 98.4878
1708 | 98.4807
1707 | 98.4698
1706 | 98.4602
1705 | 98.4544
1704 | 98.4509
1703 | 98.4486
1702 | 98.4477
1701 | 98.4406
1700 | 98.4138
1699 | 98.3663
1698 | 98.3059
1697 | 98.2399
1696 | 98.1768
1695 | 98.116
1694 | 98.0468
1693 | 97.9616
1692 | 97.8626
1691 | 97.7537
1690 | 97.6344
1689 | 97.5097
1688 | 97.3933
1687 | 97.2954
1686 | 97.2145
1685 | 97.1388
1684 | 97.0781
1683 | 97.0578
1682 | 97.0702
1681 | 97.0996
1680 | 97.1466
1679 | 97.207
1678 | 97.2702
1677 | 97.3288
1676 | 97.3821
1675 | 97.4271
1674 | 97.4558
1673 | 97.4662
1672 | 97.4657
1671 | 97.4649
1670 | 97.4674
1669 | 97.4708
1668 | 97.4702
1667 | 97.4636
1666 | 97.4532
1665 | 97.4402
1664 | 97.4237
1663 | 97.4051
1662 | 97.3877
1661 | 97.3722
1660 | 97.3555
1659 | 97.339
1658 | 97.3271
1657 | 97.3221
1656 | 97.3215
1655 | 97.3236
1654 | 97.3216
1653 | 97.3068
1652 | 97.2831
1651 | 97.2513
1650 | 97.2159
1649 | 97.1852
1648 | 97.1596
1647 | 97.1427
1646 | 97.1383
1645 | 97.1368
1644 | 97.1263
1643 | 97.1088
1642 | 97.0891
1641 | 97.0691
1640 | 97.0468
1639 | 97.0216
1638 | 96.9929
1637 | 96.9547
1636 | 96.9013
1635 | 96.841
1634 | 96.7816
1633 | 96.7133
1632 | 96.6294
1631 | 96.5284
1630 | 96.4031
1629 | 96.2403
1628 | 96.0379
1627 | 95.8153
1626 | 95.5905
1625 | 95.3577
1624 | 95.1058
1623 | 94.8636
1622 | 94.6923
1621 | 94.6184
1620 | 94.6242
1619 | 94.6983
1618 | 94.8542
1617 | 95.0972
1616 | 95.3798
1615 | 95.6332
1614 | 95.8374
1613 | 96.0106
1612 | 96.1673
1611 | 96.3087
1610 | 96.4323
1609 | 96.5391
1608 | 96.6297
1607 | 96.7044
1606 | 96.765
1605 | 96.8147
1604 | 96.854
1603 | 96.8839
1602 | 96.9084
1601 | 96.929
1600 | 96.9433
1599 | 96.95
1598 | 96.9526
1597 | 96.9547
1596 | 96.9574
1595 | 96.963
1594 | 96.9763
1593 | 96.9991
1592 | 97.0292
1591 | 97.0652
1590 | 97.1089
1589 | 97.1604
1588 | 97.2154
1587 | 97.2709
1586 | 97.327
1585 | 97.384
1584 | 97.44
1583 | 97.4926
1582 | 97.5434
1581 | 97.5925
1580 | 97.6359
1579 | 97.671
1578 | 97.7039
1577 | 97.7428
1576 | 97.7893
1575 | 97.8348
1574 | 97.8678
1573 | 97.8883
1572 | 97.9035
1571 | 97.9191
1570 | 97.9375
1569 | 97.9584
1568 | 97.9765
1567 | 97.9865
1566 | 97.9927
1565 | 98.0024
1564 | 98.0173
1563 | 98.0356
1562 | 98.0558
1561 | 98.0792
1560 | 98.0927
1559 | 98.0944
1558 | 98.1142
1557 | 98.1335
1556 | 98.1302
1555 | 98.1242
1554 | 98.127
1553 | 98.1356
1552 | 98.1395
1551 | 98.1401
1550 | 98.1451
1549 | 98.1554
1548 | 98.1657
1547 | 98.1718
1546 | 98.1757
1545 | 98.1814
1544 | 98.189
1543 | 98.1944
1542 | 98.1936
1541 | 98.1886
1540 | 98.1976
1539 | 98.2286
1538 | 98.2559
1537 | 98.2624
1536 | 98.2568
1535 | 98.2491
1534 | 98.2451
1533 | 98.2486
1532 | 98.2555
1531 | 98.2573
1530 | 98.2526
1529 | 98.2449
1528 | 98.2373
1527 | 98.2312
1526 | 98.2256
1525 | 98.2177
1524 | 98.2037
1523 | 98.182
1522 | 98.1566
1521 | 98.1368
1520 | 98.1221
1519 | 98.0982
1518 | 98.0595
1517 | 98.0156
1516 | 97.9799
1515 | 97.9524
1514 | 97.9224
1513 | 97.8866
1512 | 97.8495
1511 | 97.8155
1510 | 97.782
1509 | 97.7449
1508 | 97.7019
1507 | 97.6623
1506 | 97.6449
1505 | 97.6443
1504 | 97.6443
1503 | 97.6461
1502 | 97.6549
1501 | 97.6724
1500 | 97.6974
1499 | 97.7265
1498 | 97.7588
1497 | 97.7976
1496 | 97.8459
1495 | 97.8952
1494 | 97.9327
1493 | 97.9576
1492 | 97.9774
1491 | 97.9967
1490 | 98.0133
1489 | 98.0248
1488 | 98.0325
1487 | 98.0372
1486 | 98.0363
1485 | 98.0287
1484 | 98.016
1483 | 97.9984
1482 | 97.9763
1481 | 97.9516
1480 | 97.9275
1479 | 97.9034
1478 | 97.8743
1477 | 97.8366
1476 | 97.7916
1475 | 97.7401
1474 | 97.6737
1473 | 97.5868
1472 | 97.492
1471 | 97.4067
1470 | 97.332
1469 | 97.2638
1468 | 97.2029
1467 | 97.1485
1466 | 97.0934
1465 | 97.0366
1464 | 96.9889
1463 | 96.9582
1462 | 96.9412
1461 | 96.9326
1460 | 96.9295
1459 | 96.9285
1458 | 96.9242
1457 | 96.918
1456 | 96.9181
1455 | 96.9217
1454 | 96.9243
1453 | 96.9307
1452 | 96.9454
1451 | 96.9674
1450 | 96.9917
1449 | 97.0151
1448 | 97.0393
1447 | 97.065
1446 | 97.0881
1445 | 97.1066
1444 | 97.1202
1443 | 97.13
1442 | 97.1364
1441 | 97.1403
1440 | 97.1434
1439 | 97.1457
1438 | 97.1408
1437 | 97.1181
1436 | 97.0786
1435 | 97.034
1434 | 96.9902
1433 | 96.9467
1432 | 96.9025
1431 | 96.8571
1430 | 96.8115
1429 | 96.7692
1428 | 96.736
1427 | 96.7137
1426 | 96.6973
1425 | 96.6839
1424 | 96.6775
1423 | 96.6852
1422 | 96.7079
1421 | 96.7403
1420 | 96.7784
1419 | 96.8198
1418 | 96.8623
1417 | 96.9036
1416 | 96.9458
1415 | 96.9922
1414 | 97.0409
1413 | 97.088
1412 | 97.1318
1411 | 97.1727
1410 | 97.2108
1409 | 97.245
1408 | 97.2755
1407 | 97.3025
1406 | 97.3249
1405 | 97.3441
1404 | 97.3627
1403 | 97.3817
1402 | 97.3994
1401 | 97.4135
1400 | 97.4238
1399 | 97.4322
1398 | 97.4408
1397 | 97.449
1396 | 97.456
1395 | 97.4611
1394 | 97.4634
1393 | 97.4618
1392 | 97.4562
1391 | 97.4481
1390 | 97.4386
1389 | 97.425
1388 | 97.403
1387 | 97.3716
1386 | 97.3346
1385 | 97.2958
1384 | 97.2558
1383 | 97.214
1382 | 97.1707
1381 | 97.1267
1380 | 97.083
1379 | 97.0416
1378 | 97.0046
1377 | 96.9717
1376 | 96.9404
1375 | 96.9089
1374 | 96.8798
1373 | 96.8567
1372 | 96.8396
1371 | 96.8262
1370 | 96.8156
1369 | 96.8088
1368 | 96.8072
1367 | 96.8111
1366 | 96.8194
1365 | 96.8302
1364 | 96.8423
1363 | 96.8573
1362 | 96.8785
1361 | 96.9064
1360 | 96.9382
1359 | 96.9706
1358 | 97.0021
1357 | 97.0318
1356 | 97.0591
1355 | 97.0834
1354 | 97.1045
1353 | 97.1217
1352 | 97.134
1351 | 97.1399
1350 | 97.1385
1349 | 97.1304
1348 | 97.1158
1347 | 97.0944
1346 | 97.0659
1345 | 97.031
1344 | 96.9918
1343 | 96.9499
1342 | 96.9049
1341 | 96.8558
1340 | 96.8035
1339 | 96.7517
1338 | 96.7044
1337 | 96.6627
1336 | 96.6263
1335 | 96.5953
1334 | 96.5704
1333 | 96.5516
1332 | 96.5381
1331 | 96.5286
1330 | 96.5216
1329 | 96.5147
1328 | 96.5059
1327 | 96.4936
1326 | 96.4764
1325 | 96.4536
1324 | 96.4256
1323 | 96.3941
1322 | 96.3609
1321 | 96.3274
1320 | 96.2952
1319 | 96.2675
1318 | 96.2486
1317 | 96.2413
1316 | 96.2467
1315 | 96.2649
1314 | 96.2957
1313 | 96.3384
1312 | 96.3913
1311 | 96.4524
1310 | 96.5194
1309 | 96.5904
1308 | 96.6637
1307 | 96.7379
1306 | 96.8114
1305 | 96.8828
1304 | 96.9508
1303 | 97.0148
1302 | 97.0741
1301 | 97.1285
1300 | 97.1777
1299 | 97.2213
1298 | 97.259
1297 | 97.2906
1296 | 97.3162
1295 | 97.3362
1294 | 97.3519
1293 | 97.3645
1292 | 97.3746
1291 | 97.3822
1290 | 97.3866
1289 | 97.3872
1288 | 97.3834
1287 | 97.375
1286 | 97.3621
1285 | 97.346
1284 | 97.3278
1283 | 97.3091
1282 | 97.291
1281 | 97.2741
1280 | 97.2578
1279 | 97.2415
1278 | 97.2249
1277 | 97.2086
1276 | 97.1937
1275 | 97.1814
1274 | 97.1731
1273 | 97.1707
1272 | 97.1764
1271 | 97.1917
1270 | 97.216
1269 | 97.2459
1268 | 97.2751
1267 | 97.2958
1266 | 97.3011
1265 | 97.2879
1264 | 97.2584
1263 | 97.2183
1262 | 97.1738
1261 | 97.1287
1260 | 97.0836
1259 | 97.0376
1258 | 96.9899
1257 | 96.9396
1256 | 96.8865
1255 | 96.8309
1254 | 96.7738
1253 | 96.7164
1252 | 96.6598
1251 | 96.605
1250 | 96.5529
1249 | 96.5042
1248 | 96.4601
1247 | 96.4219
1246 | 96.3902
1245 | 96.3643
1244 | 96.3434
1243 | 96.3269
1242 | 96.3142
1241 | 96.3037
1240 | 96.2943
1239 | 96.286
1238 | 96.2792
1237 | 96.2738
1236 | 96.2699
1235 | 96.2683
1234 | 96.27
1233 | 96.275
1232 | 96.2833
1231 | 96.2946
1230 | 96.3091
1229 | 96.3268
1228 | 96.3473
1227 | 96.3706
1226 | 96.396
1225 | 96.423
1224 | 96.4512
1223 | 96.4803
1222 | 96.5099
1221 | 96.5395
1220 | 96.5696
1219 | 96.6008
1218 | 96.6325
1217 | 96.6636
1216 | 96.6929
1215 | 96.719
1214 | 96.7399
1213 | 96.7527
1212 | 96.7555
1211 | 96.7477
1210 | 96.7302
1209 | 96.7046
1208 | 96.6742
1207 | 96.6435
1206 | 96.6157
1205 | 96.5915
1204 | 96.5697
1203 | 96.5493
1202 | 96.5303
1201 | 96.5125
1200 | 96.4959
1199 | 96.4796
1198 | 96.4616
1197 | 96.4393
1196 | 96.4103
1195 | 96.3734
1194 | 96.3269
1193 | 96.2692
1192 | 96.1985
1191 | 96.1141
1190 | 96.0151
1189 | 95.9
1188 | 95.7679
1187 | 95.6193
1186 | 95.4545
1185 | 95.2726
1184 | 95.073
1183 | 94.8569
1182 | 94.626
1181 | 94.3812
1180 | 94.123
1179 | 93.8533
1178 | 93.5736
1177 | 93.2837
1176 | 92.9836
1175 | 92.675
1174 | 92.3594
1173 | 92.0358
1172 | 91.7042
1171 | 91.3676
1170 | 91.0292
1169 | 90.6902
1168 | 90.3532
1167 | 90.0239
1166 | 89.7069
1165 | 89.4021
1164 | 89.1098
1163 | 88.8332
1162 | 88.572
1161 | 88.3207
1160 | 88.075
1159 | 87.8351
1158 | 87.5996
1157 | 87.3621
1156 | 87.1193
1155 | 86.8749
1154 | 86.6303
1153 | 86.3803
1152 | 86.1219
1151 | 85.8589
1150 | 85.5941
1149 | 85.3244
1148 | 85.0495
1147 | 84.776
1146 | 84.5085
1145 | 84.2454
1144 | 83.988
1143 | 83.7445
1142 | 83.5187
1141 | 83.3056
1140 | 83.1021
1139 | 82.9127
1138 | 82.738
1137 | 82.5701
1136 | 82.4048
1135 | 82.2465
1134 | 82.096
1133 | 81.9452
1132 | 81.7896
1131 | 81.6334
1130 | 81.4777
1129 | 81.3156
1128 | 81.1458
1127 | 80.9782
1126 | 80.8199
1125 | 80.6683
1124 | 80.5241
1123 | 80.3966
1122 | 80.2892
1121 | 80.193
1120 | 80.1016
1119 | 80.018
1118 | 79.9422
1117 | 79.8671
1116 | 79.7931
1115 | 79.7342
1114 | 79.7016
1113 | 79.6967
1112 | 79.7241
1111 | 79.7951
1110 | 79.912
1109 | 80.0626
1108 | 80.238
1107 | 80.4401
1106 | 80.6674
1105 | 80.9097
1104 | 81.1617
1103 | 81.428
1102 | 81.7088
1101 | 81.9956
1100 | 82.2839
1099 | 82.5772
1098 | 82.8748
1097 | 83.1685
1096 | 83.454
1095 | 83.7353
1094 | 84.0128
1093 | 84.2798
1092 | 84.533
1091 | 84.7762
1090 | 85.0105
1089 | 85.2309
1088 | 85.4362
1087 | 85.6313
1086 | 85.8166
1085 | 85.985
1084 | 86.1314
1083 | 86.2575
1082 | 86.3647
1081 | 86.4512
1080 | 86.5186
1079 | 86.5745
1078 | 86.6246
1077 | 86.6692
1076 | 86.7091
1075 | 86.7477
1074 | 86.7833
1073 | 86.8077
1072 | 86.8156
1071 | 86.8072
1070 | 86.7805
1069 | 86.7285
1068 | 86.6476
1067 | 86.5415
1066 | 86.4146
1065 | 86.2687
1064 | 86.1097
1063 | 85.9512
1062 | 85.8053
1061 | 85.6784
1060 | 85.5765
1059 | 85.5069
1058 | 85.47
1057 | 85.457
1056 | 85.4603
1055 | 85.479
1054 | 85.5116
1053 | 85.5522
1052 | 85.5977
1051 | 85.6492
1050 | 85.7052
1049 | 85.7584
1048 | 85.8045
1047 | 85.8453
1046 | 85.8797
1045 | 85.9014
1044 | 85.9061
1043 | 85.8952
1042 | 85.869
1041 | 85.8239
1040 | 85.7606
1039 | 85.6868
1038 | 85.6106
1037 | 85.5367
1036 | 85.4722
1035 | 85.4278
1034 | 85.4107
1033 | 85.4215
1032 | 85.4602
1031 | 85.5277
1030 | 85.6214
1029 | 85.7346
1028 | 85.8638
1027 | 86.0103
1026 | 86.1731
1025 | 86.3469
1024 | 86.5286
1023 | 86.7184
1022 | 86.9138
1021 | 87.1086
1020 | 87.2984
1019 | 87.4818
1018 | 87.6536
1017 | 87.8039
1016 | 87.9247
1015 | 88.0142
1014 | 88.0738
1013 | 88.1044
1012 | 88.1081
1011 | 88.0892
1010 | 88.0494
1009 | 87.9863
1008 | 87.898
1007 | 87.7909
1006 | 87.6834
1005 | 87.6047
1004 | 87.5843
1003 | 87.6353
1002 | 87.7448
1001 | 87.8847
1000 | 88.0319
999 | 88.1766
998 | 88.3149
997 | 88.4423
996 | 88.5554
995 | 88.6544
994 | 88.7392
993 | 88.8083
992 | 88.8614
991 | 88.9012
990 | 88.9307
989 | 88.9522
988 | 88.9721
987 | 89.0017
986 | 89.0525
985 | 89.133
984 | 89.2498
983 | 89.4067
982 | 89.6009
981 | 89.8227
980 | 90.0609
979 | 90.3065
978 | 90.5514
977 | 90.7881
976 | 91.0129
975 | 91.2255
974 | 91.4259
973 | 91.613
972 | 91.787
971 | 91.9508
970 | 92.1064
969 | 92.2539
968 | 92.3935
967 | 92.5276
966 | 92.6583
965 | 92.786
964 | 92.9114
963 | 93.0358
962 | 93.1596
961 | 93.282
960 | 93.4027
959 | 93.523
958 | 93.643
957 | 93.7614
956 | 93.8774
955 | 93.9913
954 | 94.1026
953 | 94.2099
952 | 94.3122
951 | 94.4104
950 | 94.5055
949 | 94.5968
948 | 94.6837
947 | 94.7659
946 | 94.8436
945 | 94.9163
944 | 94.9839
943 | 95.0467
942 | 95.1043
941 | 95.1559
940 | 95.2018
939 | 95.2436
938 | 95.2819
937 | 95.3165
936 | 95.3479
935 | 95.3776
934 | 95.4064
933 | 95.4333
932 | 95.4571
931 | 95.4785
930 | 95.4981
929 | 95.516
928 | 95.5322
927 | 95.5473
926 | 95.5615
925 | 95.5741
924 | 95.5853
923 | 95.5958
922 | 95.6057
921 | 95.6136
920 | 95.6189
919 | 95.6219
918 | 95.623
917 | 95.6214
916 | 95.6157
915 | 95.6061
914 | 95.5934
913 | 95.5787
912 | 95.5632
911 | 95.5483
910 | 95.533
909 | 95.5148
908 | 95.4914
907 | 95.462
906 | 95.4263
905 | 95.3848
904 | 95.3396
903 | 95.2946
902 | 95.2531
901 | 95.2168
900 | 95.188
899 | 95.1695
898 | 95.1633
897 | 95.1695
896 | 95.1882
895 | 95.2198
894 | 95.2631
893 | 95.3144
892 | 95.3705
891 | 95.4299
890 | 95.4911
889 | 95.5512
888 | 95.6073
887 | 95.6584
886 | 95.7045
885 | 95.746
884 | 95.7841
883 | 95.8194
882 | 95.8505
881 | 95.8745
880 | 95.8911
879 | 95.9042
878 | 95.9177
877 | 95.9333
876 | 95.952
875 | 95.976
874 | 96.0075
873 | 96.0463
872 | 96.0902
871 | 96.1365
870 | 96.1813
869 | 96.2206
868 | 96.2525
867 | 96.2781
866 | 96.2991
865 | 96.3157
864 | 96.3273
863 | 96.3345
862 | 96.3392
861 | 96.3438
860 | 96.3503
859 | 96.3584
858 | 96.3646
857 | 96.3649
856 | 96.3588
855 | 96.3491
854 | 96.3387
853 | 96.3289
852 | 96.3217
851 | 96.3189
850 | 96.3185
849 | 96.3157
848 | 96.3078
847 | 96.2966
846 | 96.2851
845 | 96.2749
844 | 96.2663
843 | 96.2585
842 | 96.2494
841 | 96.2365
840 | 96.2211
839 | 96.2083
838 | 96.2012
837 | 96.198
836 | 96.1958
835 | 96.1947
834 | 96.1961
833 | 96.2
832 | 96.2064
831 | 96.2171
830 | 96.2332
829 | 96.2535
828 | 96.2762
827 | 96.3005
826 | 96.325
825 | 96.3465
824 | 96.3625
823 | 96.3737
822 | 96.3815
821 | 96.3854
820 | 96.3852
819 | 96.3826
818 | 96.3795
817 | 96.3764
816 | 96.3742
815 | 96.3738
814 | 96.374
813 | 96.3716
812 | 96.3652
811 | 96.3574
810 | 96.3511
809 | 96.3464
808 | 96.3423
807 | 96.3386
806 | 96.3349
805 | 96.3289
804 | 96.3196
803 | 96.3088
802 | 96.2974
801 | 96.2841
800 | 96.2675
799 | 96.2478
798 | 96.2251
797 | 96.1979
796 | 96.1662
795 | 96.1324
794 | 96.0977
793 | 96.0612
792 | 96.0231
791 | 95.9857
790 | 95.9507
789 | 95.917
788 | 95.8834
787 | 95.8511
786 | 95.8203
785 | 95.7894
784 | 95.7582
783 | 95.729
782 | 95.7032
781 | 95.6786
780 | 95.6538
779 | 95.6305
778 | 95.6098
777 | 95.5898
776 | 95.5688
775 | 95.5474
774 | 95.526
773 | 95.5028
772 | 95.4768
771 | 95.4502
770 | 95.4241
769 | 95.3975
768 | 95.3694
767 | 95.3414
766 | 95.3136
765 | 95.2838
764 | 95.2516
763 | 95.2193
762 | 95.1881
761 | 95.1556
760 | 95.1212
759 | 95.0879
758 | 95.0573
757 | 95.0268
756 | 94.9944
755 | 94.9619
754 | 94.93
753 | 94.8962
752 | 94.8595
751 | 94.8233
750 | 94.7895
749 | 94.756
748 | 94.7209
747 | 94.6863
746 | 94.6533
745 | 94.6192
744 | 94.5821
743 | 94.5449
742 | 94.5095
741 | 94.4737
740 | 94.4359
739 | 94.3983
738 | 94.3624
737 | 94.3256
736 | 94.2858
735 | 94.2449
734 | 94.2031
733 | 94.1569
732 | 94.1047
731 | 94.0501
730 | 93.996
729 | 93.9403
728 | 93.882
727 | 93.824
726 | 93.7672
725 | 93.7079
724 | 93.644
723 | 93.5779
722 | 93.5104
721 | 93.4391
720 | 93.3672
719 | 93.3038
718 | 93.2504
717 | 93.1973
716 | 93.138
715 | 93.0772
714 | 93.0202
713 | 92.965
712 | 92.9091
711 | 92.8571
710 | 92.8114
709 | 92.7666
708 | 92.7187
707 | 92.6719
706 | 92.6287
705 | 92.5836
704 | 92.5338
703 | 92.4864
702 | 92.4454
701 | 92.4035
700 | 92.3554
699 | 92.307
698 | 92.2633
697 | 92.2188
696 | 92.1696
695 | 92.1221
694 | 92.0789
693 | 92.0301
692 | 91.9692
691 | 91.9037
690 | 91.8369
689 | 91.7563
688 | 91.6553
687 | 91.5451
686 | 91.4302
685 | 91.2923
684 | 91.1162
683 | 90.9079
682 | 90.6702
681 | 90.3846
680 | 90.0378
679 | 89.6386
678 | 89.1877
677 | 88.6643
676 | 88.0615
675 | 87.3988
674 | 86.695
673 | 85.9734
672 | 85.2899
671 | 84.6935
670 | 84.1778
669 | 83.7261
668 | 83.4735
667 | 83.6198
666 | 84.0716
665 | 84.6396
664 | 85.258
663 | 85.8947
662 | 86.4907
661 | 86.9972
660 | 87.4116
659 | 87.7486
658 | 88.0198
657 | 88.2419
656 | 88.4305
655 | 88.5861
654 | 88.7055
653 | 88.794
652 | 88.8555
651 | 88.886
650 | 88.8877
649 | 88.8736
648 | 88.851
647 | 88.8148
646 | 88.7617
645 | 88.6964
644 | 88.6237
643 | 88.5448
642 | 88.4627
641 | 88.3819
640 | 88.3041
639 | 88.2326
638 | 88.1704
637 | 88.1129
636 | 88.0503
635 | 87.9823
634 | 87.9166
633 | 87.851
632 | 87.7728
631 | 87.6787
630 | 87.5803
629 | 87.4859
628 | 87.3952
627 | 87.3123
626 | 87.2445
625 | 87.1896
624 | 87.1443
623 | 87.1196
622 | 87.1271
621 | 87.1593
620 | 87.2038
619 | 87.2568
618 | 87.3075
617 | 87.3313
616 | 87.3037
615 | 87.2203
614 | 87.1053
613 | 86.9826
612 | 86.8392
611 | 86.6422
610 | 86.3881
609 | 86.1111
608 | 85.8449
607 | 85.5973
606 | 85.3514
605 | 85.0977
604 | 84.8751
603 | 84.7739
602 | 84.8705
601 | 85.1734
600 | 85.6502

## Sample Details
Setting | Value
Filesname | NHwF-4
Creation Date
Analyst | mas-storage
X-Axis Units | cm-1
X-Axis start value | 4000
X-Axis end value | 600
Data interval | -1
Number of points | 3401
Y-Axis Units | %T
Description | 7Sample 1325 By mas-storage Date Wednesday, July 28 2021

## Instrument Details
Setting | Value
Instrument Model | Frontier FT-IR
Instrument Serial Number | 91175
Software Revision | CPU32 Main 00.09.9908 05-May-2009 15:52:12
Number of Scans | 32
Resolution | 4
Detector
Source | MIR
Beam Splitter | OptKBr
Apodization | Strong
Spectrum Type | Spectrum
Beam Type | Ratio
Phase Correction | Magnitude
Scan Speed | 1
IGram Type | Double
Scan Driection | Combined
Zero Crossing | 0
JStop | 8.94
IR-Laser Wavenumber | 15798.001999451375
Manufacturer | PIKE Technologies Inc.
Part Number | L1200385
Serial Number | 19250
Description | Miracle Accessory
Default Scan Range | 4000 450
Accessory Type | Miracle ATR
Temperature / °C
Slide Holder Option

## Quality Checks
Setting | Value
Water Vapor | Passed
Carbon Dioxide | Passed
Baseline Low | Passed
Baseline High | Passed
Baseline Slope | Passed
Strong Bands | Passed
Weak Bands | Warning
High Noise | Passed
Fringes | Warning
Vignetting | Passed
Blocked Beam | Passed
Negative Bands | Passed
Zero Transmission | Passed
Stray Light | Passed
Window Cuttoff | Passed