## Data
Wavelength / cm-1 | Transmittance / % | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1
4000 | 97.3138 |  | Baseline @ 1105 |  | Baseline @ 1735 |  | Baseline @ 2900 |  | Peak @ 1105 |  | Peak @ 1735 |  | Peak @ 2900
3999 | 97.315 | 850 | 96.9431 | 1525 | 98.5772 | 2670 | 98.1635 | 1105 | 79.2021 | 1735 | 98.6314 | 2900 | 97.6946
3998 | 97.3158 | 1210 | 97.5735 | 1780 | 98.9614 | 2990 | 97.8325 | 1105 | 97.3897 | 1735 | 98.8936 | 2900 | 97.9256
3997 | 97.3162
3996 | 97.3168
3995 | 97.3179
3994 | 97.3195
3993 | 97.3215
3992 | 97.3236
3991 | 97.3259
3990 | 97.3278
3989 | 97.329
3988 | 97.3291
3987 | 97.3282
3986 | 97.3273
3985 | 97.3274
3984 | 97.3288
3983 | 97.3308
3982 | 97.3326
3981 | 97.3337
3980 | 97.334
3979 | 97.3336
3978 | 97.3329
3977 | 97.3329 |  |  | Baseline range |  |  | Transmittance |  |  |  | Equation of base line |  |  | Transmittance at peak value wavelength | Peak Intensity |  | Ratio
3976 | 97.3337 |  | Peak value
3975 | 97.3343 |  | Wavelength
3974 | 97.3339 |  | x1 | x2 | x3 |  | y1 | y2 | y3 |  | m | c
3973 | 97.3325 | [15 empty] | Lyceum
3972 | 97.3312 |  | 1105 | 850 | 1210 |  | 79.2021 | 96.9431 | 97.5735 |  | 0.0017511 | 95.4547 |  | 97.3897 | 18.1876 | R1 | 0.014415
3971 | 97.3308 |  | 1735 | 1525 | 1780 |  | 98.6314 | 98.5772 | 98.9614 |  | 0.0015068 | 96.2794 |  | 98.8936 | 0.26218 | R2 | 1.135
3970 | 97.3317 |  | 2900 | 2670 | 2990 |  | 97.6946 | 98.1635 | 97.8325 |  | -0.0010345 | 100.9257 |  | 97.9256 | 0.231
3969 | 97.3337
3968 | 97.3362 |  | From paper
3967 | 97.3378 |  | 1105 | 765 | 1185
3966 | 97.3377 |  | 1735 | 1485 | 1780
3965 | 97.3365 |  | 2900 | 2630 | 3000
3964 | 97.336
3963 | 97.3373
3962 | 97.3404
3961 | 97.3441
3960 | 97.3472
3959 | 97.3491
3958 | 97.35
3957 | 97.3501
3956 | 97.3488
3955 | 97.3454
3954 | 97.3402
3953 | 97.3346
3952 | 97.3303
3951 | 97.3287
3950 | 97.3307
3949 | 97.3363
3948 | 97.3428
3947 | 97.3453
3946 | 97.3417
3945 | 97.3355
3944 | 97.333
3943 | 97.3371
3942 | 97.3446
3941 | 97.35
3940 | 97.3511
3939 | 97.3499
3938 | 97.3486
3937 | 97.3469
3936 | 97.3432
3935 | 97.3382
3934 | 97.3355
3933 | 97.3386
3932 | 97.3465
3931 | 97.3537
3930 | 97.355
3929 | 97.35
3928 | 97.3428
3927 | 97.3385
3926 | 97.3394
3925 | 97.3435
3924 | 97.3465
3923 | 97.3446
3922 | 97.3374
3921 | 97.3291
3920 | 97.3245
3919 | 97.3269
3918 | 97.3355
3917 | 97.3473
3916 | 97.3579
3915 | 97.3648
3914 | 97.3681
3913 | 97.3709
3912 | 97.3757
3911 | 97.3816
3910 | 97.3835
3909 | 97.3764
3908 | 97.3593
3907 | 97.3362
3906 | 97.3136
3905 | 97.2965
3904 | 97.2859
3903 | 97.2806
3902 | 97.28
3901 | 97.2869
3900 | 97.3025
3899 | 97.3229
3898 | 97.3409
3897 | 97.3507
3896 | 97.3515
3895 | 97.3463
3894 | 97.3399
3893 | 97.337
3892 | 97.3399
3891 | 97.3445
3890 | 97.342
3889 | 97.3294
3888 | 97.3155
3887 | 97.3123
3886 | 97.3218
3885 | 97.3307
3884 | 97.3235
3883 | 97.3026
3882 | 97.2877
3881 | 97.2965
3880 | 97.3245
3879 | 97.3487
3878 | 97.3534
3877 | 97.3446
3876 | 97.3376
3875 | 97.3372
3874 | 97.3342
3873 | 97.3202
3872 | 97.3005
3871 | 97.2905
3870 | 97.2979
3869 | 97.3113
3868 | 97.3136
3867 | 97.3029
3866 | 97.2923
3865 | 97.2932
3864 | 97.305
3863 | 97.3185
3862 | 97.3292
3861 | 97.3405
3860 | 97.3546
3859 | 97.3664
3858 | 97.3684
3857 | 97.358
3856 | 97.3379
3855 | 97.3149
3854 | 97.299
3853 | 97.2977
3852 | 97.3025
3851 | 97.304
3850 | 97.3078
3849 | 97.3204
3848 | 97.3389
3847 | 97.3544
3846 | 97.3594
3845 | 97.3543
3844 | 97.3443
3843 | 97.3329
3842 | 97.3208
3841 | 97.3085
3840 | 97.2978
3839 | 97.2905
3838 | 97.2869
3837 | 97.2849
3836 | 97.2829
3835 | 97.2822
3834 | 97.2867
3833 | 97.2984
3832 | 97.3151
3831 | 97.3302
3830 | 97.3378
3829 | 97.3393
3828 | 97.3417
3827 | 97.3482
3826 | 97.352
3825 | 97.3436
3824 | 97.3226
3823 | 97.3003
3822 | 97.2886
3821 | 97.2886
3820 | 97.2883
3819 | 97.2792
3818 | 97.2706
3817 | 97.2787
3816 | 97.307
3815 | 97.3406
3814 | 97.3625
3813 | 97.3717
3812 | 97.3772
3811 | 97.383
3810 | 97.3851
3809 | 97.3804
3808 | 97.3724
3807 | 97.3653
3806 | 97.3546
3805 | 97.3341
3804 | 97.3103
3803 | 97.2973
3802 | 97.3019
3801 | 97.3141
3800 | 97.3158
3799 | 97.3038
3798 | 97.295
3797 | 97.3044
3796 | 97.3299
3795 | 97.3568
3794 | 97.375
3793 | 97.3864
3792 | 97.3975
3791 | 97.4095
3790 | 97.4173
3789 | 97.4169
3788 | 97.4102
3787 | 97.4027
3786 | 97.3985
3785 | 97.3966
3784 | 97.3926
3783 | 97.3827
3782 | 97.3678
3781 | 97.3539
3780 | 97.3469
3779 | 97.3484
3778 | 97.3554
3777 | 97.365
3776 | 97.3769
3775 | 97.3893
3774 | 97.3966
3773 | 97.3939
3772 | 97.3824
3771 | 97.368
3770 | 97.3546
3769 | 97.3419
3768 | 97.3301
3767 | 97.3259
3766 | 97.335
3765 | 97.3521
3764 | 97.3638
3763 | 97.3616
3762 | 97.3497
3761 | 97.338
3760 | 97.3323
3759 | 97.3313
3758 | 97.3299
3757 | 97.3258
3756 | 97.3211
3755 | 97.318
3754 | 97.315
3753 | 97.3069
3752 | 97.2905
3751 | 97.2706
3750 | 97.2527
3749 | 97.2336
3748 | 97.211
3747 | 97.1944
3746 | 97.1982
3745 | 97.2297
3744 | 97.2738
3743 | 97.2974
3742 | 97.29
3741 | 97.2709
3740 | 97.258
3739 | 97.2535
3738 | 97.2519
3737 | 97.2511
3736 | 97.2522
3735 | 97.2525
3734 | 97.2494
3733 | 97.2471
3732 | 97.2522
3731 | 97.2633
3730 | 97.273
3729 | 97.2796
3728 | 97.2889
3727 | 97.3041
3726 | 97.3192
3725 | 97.3249
3724 | 97.3207
3723 | 97.3147
3722 | 97.3135
3721 | 97.3162
3720 | 97.3201
3719 | 97.3253
3718 | 97.3318
3717 | 97.3364
3716 | 97.3361
3715 | 97.331
3714 | 97.3222
3713 | 97.3079
3712 | 97.2851
3711 | 97.2587
3710 | 97.241
3709 | 97.2415
3708 | 97.2588
3707 | 97.2828
3706 | 97.3028
3705 | 97.3134
3704 | 97.3161
3703 | 97.3153
3702 | 97.3151
3701 | 97.3155
3700 | 97.3151
3699 | 97.3152
3698 | 97.3197
3697 | 97.3279
3696 | 97.3336
3695 | 97.3302
3694 | 97.317
3693 | 97.2988
3692 | 97.2792
3691 | 97.2565
3690 | 97.2318
3689 | 97.2151
3688 | 97.2143
3687 | 97.2247
3686 | 97.2399
3685 | 97.2573
3684 | 97.2748
3683 | 97.2886
3682 | 97.2957
3681 | 97.2951
3680 | 97.2861
3679 | 97.2675
3678 | 97.241
3677 | 97.2131
3676 | 97.1934
3675 | 97.1833
3674 | 97.1689
3673 | 97.1452
3672 | 97.1283
3671 | 97.1331
3670 | 97.1552
3669 | 97.1765
3668 | 97.1858
3667 | 97.1901
3666 | 97.2019
3665 | 97.2225
3664 | 97.2434
3663 | 97.2565
3662 | 97.2586
3661 | 97.2499
3660 | 97.2325
3659 | 97.2114
3658 | 97.1946
3657 | 97.1873
3656 | 97.1842
3655 | 97.1728
3654 | 97.1482
3653 | 97.1206
3652 | 97.1018
3651 | 97.0886
3650 | 97.0673
3649 | 97.0366
3648 | 97.0145
3647 | 97.0144
3646 | 97.0314
3645 | 97.0538
3644 | 97.0754
3643 | 97.0951
3642 | 97.1104
3641 | 97.1172
3640 | 97.1141
3639 | 97.1042
3638 | 97.0912
3637 | 97.0768
3636 | 97.063
3635 | 97.0515
3634 | 97.0396
3633 | 97.021
3632 | 96.9936
3631 | 96.9637
3630 | 96.9405
3629 | 96.9259
3628 | 96.9121
3627 | 96.8928
3626 | 96.8764
3625 | 96.8727
3624 | 96.8788
3623 | 96.8823
3622 | 96.8743
3621 | 96.8556
3620 | 96.832
3619 | 96.8073
3618 | 96.7807
3617 | 96.753
3616 | 96.7303
3615 | 96.7179
3614 | 96.7141
3613 | 96.7109
3612 | 96.7019
3611 | 96.6875
3610 | 96.6734
3609 | 96.6631
3608 | 96.6539
3607 | 96.6415
3606 | 96.626
3605 | 96.612
3604 | 96.6029
3603 | 96.5968
3602 | 96.5882
3601 | 96.572
3600 | 96.548
3599 | 96.5201
3598 | 96.4934
3597 | 96.4717
3596 | 96.4553
3595 | 96.4412
3594 | 96.4253
3593 | 96.4048
3592 | 96.3805
3591 | 96.3557
3590 | 96.3339
3589 | 96.3136
3588 | 96.2886
3587 | 96.2544
3586 | 96.2149
3585 | 96.1794
3584 | 96.154
3583 | 96.137
3582 | 96.1219
3581 | 96.1027
3580 | 96.0778
3579 | 96.048
3578 | 96.0147
3577 | 95.9784
3576 | 95.9398
3575 | 95.9
3574 | 95.8599
3573 | 95.8194
3572 | 95.778
3571 | 95.7359
3570 | 95.6927
3569 | 95.6451
3568 | 95.5869
3567 | 95.5153
3566 | 95.4371
3565 | 95.3655
3564 | 95.3095
3563 | 95.2687
3562 | 95.2356
3561 | 95.2015
3560 | 95.1616
3559 | 95.1162
3558 | 95.0685
3557 | 95.022
3556 | 94.9774
3555 | 94.9331
3554 | 94.8856
3553 | 94.833
3552 | 94.7772
3551 | 94.7236
3550 | 94.6776
3549 | 94.6409
3548 | 94.6098
3547 | 94.5767
3546 | 94.5363
3545 | 94.4906
3544 | 94.448
3543 | 94.4164
3542 | 94.3976
3541 | 94.3881
3540 | 94.3826
3539 | 94.3768
3538 | 94.3686
3537 | 94.3579
3536 | 94.3463
3535 | 94.3374
3534 | 94.3342
3533 | 94.3374
3532 | 94.3442
3531 | 94.3496
3530 | 94.3504
3529 | 94.3471
3528 | 94.3438
3527 | 94.3454
3526 | 94.3544
3525 | 94.37
3524 | 94.3884
3523 | 94.4058
3522 | 94.4212
3521 | 94.4369
3520 | 94.4554
3519 | 94.4769
3518 | 94.4995
3517 | 94.522
3516 | 94.5448
3515 | 94.5685
3514 | 94.5927
3513 | 94.6167
3512 | 94.6397
3511 | 94.6605
3510 | 94.678
3509 | 94.6931
3508 | 94.7094
3507 | 94.7297
3506 | 94.7538
3505 | 94.7775
3504 | 94.7958
3503 | 94.8074
3502 | 94.8158
3501 | 94.8261
3500 | 94.841
3499 | 94.8593
3498 | 94.8776
3497 | 94.893
3496 | 94.9049
3495 | 94.9145
3494 | 94.9237
3493 | 94.9349
3492 | 94.9489
3491 | 94.9653
3490 | 94.9824
3489 | 94.9988
3488 | 95.0136
3487 | 95.0261
3486 | 95.037
3485 | 95.0483
3484 | 95.0616
3483 | 95.0765
3482 | 95.0912
3481 | 95.1047
3480 | 95.1179
3479 | 95.1327
3478 | 95.1496
3477 | 95.1678
3476 | 95.1849
3475 | 95.1984
3474 | 95.2075
3473 | 95.2131
3472 | 95.2176
3471 | 95.2229
3470 | 95.2297
3469 | 95.2371
3468 | 95.2437
3467 | 95.2483
3466 | 95.2504
3465 | 95.2511
3464 | 95.252
3463 | 95.2529
3462 | 95.2525
3461 | 95.2495
3460 | 95.244
3459 | 95.2376
3458 | 95.2309
3457 | 95.2237
3456 | 95.2151
3455 | 95.2045
3454 | 95.1924
3453 | 95.1801
3452 | 95.1686
3451 | 95.1572
3450 | 95.144
3449 | 95.1266
3448 | 95.1031
3447 | 95.0741
3446 | 95.0426
3445 | 95.0132
3444 | 94.9881
3443 | 94.9652
3442 | 94.94
3441 | 94.9095
3440 | 94.8747
3439 | 94.838
3438 | 94.8007
3437 | 94.7619
3436 | 94.7207
3435 | 94.6772
3434 | 94.6319
3433 | 94.5851
3432 | 94.5363
3431 | 94.4845
3430 | 94.4291
3429 | 94.3709
3428 | 94.3119
3427 | 94.2534
3426 | 94.1955
3425 | 94.1371
3424 | 94.0764
3423 | 94.0114
3422 | 93.9408
3421 | 93.8654
3420 | 93.7887
3419 | 93.715
3418 | 93.6463
3417 | 93.5825
3416 | 93.5215
3415 | 93.4615
3414 | 93.4013
3413 | 93.3413
3412 | 93.2833
3411 | 93.2293
3410 | 93.1806
3409 | 93.138
3408 | 93.1014
3407 | 93.0705
3406 | 93.0447
3405 | 93.0239
3404 | 93.0083
3403 | 92.998
3402 | 92.9931
3401 | 92.9946
3400 | 93.0045
3399 | 93.0237
3398 | 93.0506
3397 | 93.0817
3396 | 93.1145
3395 | 93.1484
3394 | 93.184
3393 | 93.2216
3392 | 93.262
3391 | 93.3066
3390 | 93.3566
3389 | 93.4111
3388 | 93.4679
3387 | 93.5249
3386 | 93.5813
3385 | 93.6364
3384 | 93.69
3383 | 93.7417
3382 | 93.792
3381 | 93.8416
3380 | 93.8907
3379 | 93.9384
3378 | 93.9845
3377 | 94.0295
3376 | 94.0736
3375 | 94.1161
3374 | 94.1559
3373 | 94.1922
3372 | 94.2254
3371 | 94.2564
3370 | 94.2869
3369 | 94.3184
3368 | 94.3508
3367 | 94.3823
3366 | 94.411
3365 | 94.4365
3364 | 94.4602
3363 | 94.4832
3362 | 94.5057
3361 | 94.5267
3360 | 94.5453
3359 | 94.5616
3358 | 94.5763
3357 | 94.5905
3356 | 94.6048
3355 | 94.619
3354 | 94.6322
3353 | 94.6437
3352 | 94.6534
3351 | 94.6617
3350 | 94.6695
3349 | 94.678
3348 | 94.6875
3347 | 94.6976
3346 | 94.7071
3345 | 94.7153
3344 | 94.7225
3343 | 94.7289
3342 | 94.735
3341 | 94.7407
3340 | 94.7466
3339 | 94.753
3338 | 94.76
3337 | 94.7675
3336 | 94.7758
3335 | 94.785
3334 | 94.7955
3333 | 94.8069
3332 | 94.8186
3331 | 94.8296
3330 | 94.8392
3329 | 94.8473
3328 | 94.8536
3327 | 94.8584
3326 | 94.8626
3325 | 94.8675
3324 | 94.874
3323 | 94.8817
3322 | 94.8897
3321 | 94.8973
3320 | 94.9045
3319 | 94.9117
3318 | 94.9187
3317 | 94.9251
3316 | 94.9308
3315 | 94.936
3314 | 94.9408
3313 | 94.9449
3312 | 94.9485
3311 | 94.9517
3310 | 94.955
3309 | 94.9583
3308 | 94.9616
3307 | 94.9649
3306 | 94.9689
3305 | 94.9739
3304 | 94.9796
3303 | 94.9856
3302 | 94.9915
3301 | 94.9975
3300 | 95.0032
3299 | 95.0076
3298 | 95.0102
3297 | 95.0116
3296 | 95.0129
3295 | 95.0152
3294 | 95.0188
3293 | 95.0231
3292 | 95.0265
3291 | 95.0285
3290 | 95.0296
3289 | 95.0315
3288 | 95.0344
3287 | 95.0372
3286 | 95.0388
3285 | 95.0389
3284 | 95.039
3283 | 95.04
3282 | 95.0425
3281 | 95.0463
3280 | 95.0506
3279 | 95.0542
3278 | 95.0559
3277 | 95.0555
3276 | 95.0536
3275 | 95.0515
3274 | 95.0504
3273 | 95.0508
3272 | 95.0522
3271 | 95.0542
3270 | 95.0569
3269 | 95.0609
3268 | 95.066
3267 | 95.0712
3266 | 95.0754
3265 | 95.0787
3264 | 95.0819
3263 | 95.0852
3262 | 95.089
3261 | 95.093
3260 | 95.0967
3259 | 95.099
3258 | 95.099
3257 | 95.097
3256 | 95.0939
3255 | 95.0907
3254 | 95.0879
3253 | 95.0857
3252 | 95.0834
3251 | 95.0806
3250 | 95.0773
3249 | 95.0742
3248 | 95.0712
3247 | 95.0683
3246 | 95.0659
3245 | 95.0661
3244 | 95.0707
3243 | 95.0801
3242 | 95.0929
3241 | 95.1079
3240 | 95.124
3239 | 95.1403
3238 | 95.1557
3237 | 95.1703
3236 | 95.1856
3235 | 95.2023
3234 | 95.2205
3233 | 95.2394
3232 | 95.2587
3231 | 95.2786
3230 | 95.2991
3229 | 95.3199
3228 | 95.3399
3227 | 95.3585
3226 | 95.3752
3225 | 95.3909
3224 | 95.4064
3223 | 95.4221
3222 | 95.4377
3221 | 95.4531
3220 | 95.4684
3219 | 95.4842
3218 | 95.5005
3217 | 95.5171
3216 | 95.5338
3215 | 95.5501
3214 | 95.5655
3213 | 95.5799
3212 | 95.5934
3211 | 95.6064
3210 | 95.6195
3209 | 95.6338
3208 | 95.65
3207 | 95.6677
3206 | 95.6853
3205 | 95.7013
3204 | 95.7154
3203 | 95.7287
3202 | 95.7425
3201 | 95.757
3200 | 95.7713
3199 | 95.7841
3198 | 95.7952
3197 | 95.8061
3196 | 95.8181
3195 | 95.8315
3194 | 95.8461
3193 | 95.862
3192 | 95.8793
3191 | 95.8975
3190 | 95.9152
3189 | 95.9318
3188 | 95.9472
3187 | 95.9619
3186 | 95.9762
3185 | 95.9906
3184 | 96.0055
3183 | 96.0208
3182 | 96.0356
3181 | 96.0495
3180 | 96.0628
3179 | 96.0761
3178 | 96.0899
3177 | 96.1046
3176 | 96.1206
3175 | 96.138
3174 | 96.1564
3173 | 96.1748
3172 | 96.1928
3171 | 96.2105
3170 | 96.2277
3169 | 96.2438
3168 | 96.2586
3167 | 96.2728
3166 | 96.2876
3165 | 96.304
3164 | 96.3219
3163 | 96.3406
3162 | 96.3588
3161 | 96.3758
3160 | 96.3911
3159 | 96.4053
3158 | 96.419
3157 | 96.4327
3156 | 96.4467
3155 | 96.4608
3154 | 96.475
3153 | 96.4893
3152 | 96.5044
3151 | 96.5209
3150 | 96.5392
3149 | 96.5586
3148 | 96.5777
3147 | 96.5952
3146 | 96.611
3145 | 96.6264
3144 | 96.6425
3143 | 96.6592
3142 | 96.6752
3141 | 96.6901
3140 | 96.7045
3139 | 96.7195
3138 | 96.7353
3137 | 96.7515
3136 | 96.7678
3135 | 96.7841
3134 | 96.8004
3133 | 96.8167
3132 | 96.833
3131 | 96.8494
3130 | 96.8657
3129 | 96.8816
3128 | 96.8971
3127 | 96.9123
3126 | 96.9272
3125 | 96.9414
3124 | 96.9548
3123 | 96.9685
3122 | 96.9835
3121 | 97.0001
3120 | 97.0172
3119 | 97.0339
3118 | 97.0494
3117 | 97.0638
3116 | 97.0778
3115 | 97.0924
3114 | 97.1082
3113 | 97.1253
3112 | 97.1429
3111 | 97.16
3110 | 97.1759
3109 | 97.191
3108 | 97.2061
3107 | 97.2216
3106 | 97.237
3105 | 97.2515
3104 | 97.2646
3103 | 97.2767
3102 | 97.2887
3101 | 97.3007
3100 | 97.3129
3099 | 97.3259
3098 | 97.3402
3097 | 97.355
3096 | 97.3687
3095 | 97.3806
3094 | 97.3913
3093 | 97.4023
3092 | 97.4141
3091 | 97.426
3090 | 97.4373
3089 | 97.4477
3088 | 97.4574
3087 | 97.4668
3086 | 97.476
3085 | 97.4853
3084 | 97.495
3083 | 97.5047
3082 | 97.5134
3081 | 97.5208
3080 | 97.5275
3079 | 97.5346
3078 | 97.5425
3077 | 97.5516
3076 | 97.562
3075 | 97.5735
3074 | 97.5848
3073 | 97.5947
3072 | 97.6023
3071 | 97.608
3070 | 97.6125
3069 | 97.6164
3068 | 97.6198
3067 | 97.6233
3066 | 97.6276
3065 | 97.6333
3064 | 97.6404
3063 | 97.6481
3062 | 97.6557
3061 | 97.6628
3060 | 97.6695
3059 | 97.6757
3058 | 97.6808
3057 | 97.6843
3056 | 97.6869
3055 | 97.6899
3054 | 97.6944
3053 | 97.7003
3052 | 97.7064
3051 | 97.7113
3050 | 97.7145
3049 | 97.7166
3048 | 97.7192
3047 | 97.7227
3046 | 97.7264
3045 | 97.7291
3044 | 97.7304
3043 | 97.7313
3042 | 97.7325
3041 | 97.7347
3040 | 97.7379
3039 | 97.742
3038 | 97.7461
3037 | 97.749
3036 | 97.75
3035 | 97.7498
3034 | 97.7501
3033 | 97.7519
3032 | 97.7549
3031 | 97.7584
3030 | 97.762
3029 | 97.7659
3028 | 97.7701
3027 | 97.7738
3026 | 97.7761
3025 | 97.7764
3024 | 97.7758
3023 | 97.7759
3022 | 97.7778
3021 | 97.7809
3020 | 97.7843
3019 | 97.7869
3018 | 97.7889
3017 | 97.7907
3016 | 97.7922
3015 | 97.7932
3014 | 97.7935
3013 | 97.7935
3012 | 97.7938
3011 | 97.7951
3010 | 97.7977
3009 | 97.8008
3008 | 97.8037
3007 | 97.806
3006 | 97.8075
3005 | 97.8087
3004 | 97.8097
3003 | 97.8108
3002 | 97.8125
3001 | 97.8147
3000 | 97.8173
2999 | 97.8198
2998 | 97.8217
2997 | 97.8229
2996 | 97.823
2995 | 97.8225
2994 | 97.8223
2993 | 97.8234
2992 | 97.8262
2991 | 97.8296
2990 | 97.8325
2989 | 97.8345
2988 | 97.8364
2987 | 97.8385
2986 | 97.8404
2985 | 97.8416
2984 | 97.8419
2983 | 97.8416
2982 | 97.8408
2981 | 97.8397
2980 | 97.8388
2979 | 97.8384
2978 | 97.8384
2977 | 97.8383
2976 | 97.838
2975 | 97.8377
2974 | 97.8371
2973 | 97.8357
2972 | 97.8332
2971 | 97.8294
2970 | 97.8247
2969 | 97.819
2968 | 97.8122
2967 | 97.804
2966 | 97.794
2965 | 97.7817
2964 | 97.7673
2963 | 97.752
2962 | 97.7369
2961 | 97.723
2960 | 97.7105
2959 | 97.6991
2958 | 97.6887
2957 | 97.6792
2956 | 97.6709
2955 | 97.6638
2954 | 97.6574
2953 | 97.6513
2952 | 97.646
2951 | 97.6427
2950 | 97.6418
2949 | 97.6421
2948 | 97.642
2947 | 97.6401
2946 | 97.636
2945 | 97.63
2944 | 97.6224
2943 | 97.6138
2942 | 97.6055
2941 | 97.5989
2940 | 97.5946
2939 | 97.5913
2938 | 97.5873
2937 | 97.5813
2936 | 97.5737
2935 | 97.566
2934 | 97.5599
2933 | 97.5567
2932 | 97.5559
2931 | 97.5556
2930 | 97.5545
2929 | 97.5528
2928 | 97.5517
2927 | 97.5523
2926 | 97.555
2925 | 97.5604
2924 | 97.5702
2923 | 97.5846
2922 | 97.6022
2921 | 97.6198
2920 | 97.6357
2919 | 97.6494
2918 | 97.662
2917 | 97.6735
2916 | 97.6834
2915 | 97.6905
2914 | 97.6943
2913 | 97.6958
2912 | 97.6963
2911 | 97.6964
2910 | 97.6965
2909 | 97.6967
2908 | 97.6974
2907 | 97.6985
2906 | 97.6994
2905 | 97.6991
2904 | 97.6976
2903 | 97.6953
2902 | 97.6935
2901 | 97.6933
2900 | 97.6946
2899 | 97.6966
2898 | 97.698
2897 | 97.6983
2896 | 97.6979
2895 | 97.6974
2894 | 97.6969
2893 | 97.6966
2892 | 97.6969
2891 | 97.6983
2890 | 97.7006
2889 | 97.7032
2888 | 97.7053
2887 | 97.7064
2886 | 97.7066
2885 | 97.7063
2884 | 97.7064
2883 | 97.707
2882 | 97.708
2881 | 97.7088
2880 | 97.7095
2879 | 97.7094
2878 | 97.7077
2877 | 97.7039
2876 | 97.6991
2875 | 97.6954
2874 | 97.6937
2873 | 97.6939
2872 | 97.6955
2871 | 97.6981
2870 | 97.7014
2869 | 97.7052
2868 | 97.7095
2867 | 97.7141
2866 | 97.7183
2865 | 97.7211
2864 | 97.7223
2863 | 97.7226
2862 | 97.723
2861 | 97.7238
2860 | 97.7247
2859 | 97.7258
2858 | 97.7273
2857 | 97.7303
2856 | 97.736
2855 | 97.7451
2854 | 97.7578
2853 | 97.7735
2852 | 97.7912
2851 | 97.8097
2850 | 97.8272
2849 | 97.8424
2848 | 97.8551
2847 | 97.8656
2846 | 97.8746
2845 | 97.8826
2844 | 97.8894
2843 | 97.8949
2842 | 97.8993
2841 | 97.903
2840 | 97.9069
2839 | 97.9115
2838 | 97.917
2837 | 97.923
2836 | 97.9289
2835 | 97.9342
2834 | 97.9387
2833 | 97.9426
2832 | 97.9463
2831 | 97.9499
2830 | 97.9532
2829 | 97.9559
2828 | 97.9584
2827 | 97.9609
2826 | 97.9639
2825 | 97.9674
2824 | 97.9711
2823 | 97.9746
2822 | 97.9777
2821 | 97.9804
2820 | 97.9829
2819 | 97.985
2818 | 97.9862
2817 | 97.9863
2816 | 97.9858
2815 | 97.9859
2814 | 97.987
2813 | 97.9891
2812 | 97.9915
2811 | 97.9936
2810 | 97.9949
2809 | 97.9958
2808 | 97.9968
2807 | 97.9982
2806 | 98.0001
2805 | 98.0026
2804 | 98.0052
2803 | 98.0074
2802 | 98.0088
2801 | 98.01
2800 | 98.0116
2799 | 98.0138
2798 | 98.0158
2797 | 98.0174
2796 | 98.019
2795 | 98.021
2794 | 98.0232
2793 | 98.025
2792 | 98.0262
2791 | 98.0274
2790 | 98.0288
2789 | 98.0306
2788 | 98.0329
2787 | 98.0358
2786 | 98.0385
2785 | 98.04
2784 | 98.0403
2783 | 98.0405
2782 | 98.0411
2781 | 98.0423
2780 | 98.0439
2779 | 98.0456
2778 | 98.0472
2777 | 98.0486
2776 | 98.0505
2775 | 98.0531
2774 | 98.056
2773 | 98.0585
2772 | 98.0603
2771 | 98.0616
2770 | 98.0626
2769 | 98.0635
2768 | 98.0645
2767 | 98.0656
2766 | 98.0662
2765 | 98.0659
2764 | 98.0651
2763 | 98.0649
2762 | 98.0656
2761 | 98.0671
2760 | 98.069
2759 | 98.0712
2758 | 98.0733
2757 | 98.0743
2756 | 98.0738
2755 | 98.0724
2754 | 98.0709
2753 | 98.07
2752 | 98.0702
2751 | 98.0718
2750 | 98.0745
2749 | 98.0771
2748 | 98.0783
2747 | 98.0784
2746 | 98.0786
2745 | 98.0797
2744 | 98.0816
2743 | 98.0831
2742 | 98.0836
2741 | 98.0835
2740 | 98.0835
2739 | 98.0841
2738 | 98.0855
2737 | 98.0873
2736 | 98.0893
2735 | 98.0911
2734 | 98.0925
2733 | 98.0935
2732 | 98.0944
2731 | 98.0954
2730 | 98.0963
2729 | 98.0968
2728 | 98.0973
2727 | 98.0981
2726 | 98.099
2725 | 98.1
2724 | 98.1008
2723 | 98.1018
2722 | 98.1031
2721 | 98.1043
2720 | 98.1054
2719 | 98.1068
2718 | 98.109
2717 | 98.1117
2716 | 98.1144
2715 | 98.1165
2714 | 98.1174
2713 | 98.1174
2712 | 98.1173
2711 | 98.1178
2710 | 98.1189
2709 | 98.1201
2708 | 98.1209
2707 | 98.1216
2706 | 98.1223
2705 | 98.1231
2704 | 98.1239
2703 | 98.125
2702 | 98.1265
2701 | 98.1284
2700 | 98.1305
2699 | 98.1328
2698 | 98.1348
2697 | 98.1361
2696 | 98.1369
2695 | 98.1378
2694 | 98.139
2693 | 98.1399
2692 | 98.1402
2691 | 98.1403
2690 | 98.1412
2689 | 98.1433
2688 | 98.146
2687 | 98.1483
2686 | 98.1498
2685 | 98.1507
2684 | 98.1514
2683 | 98.1519
2682 | 98.152
2681 | 98.152
2680 | 98.1524
2679 | 98.1534
2678 | 98.155
2677 | 98.1567
2676 | 98.1584
2675 | 98.1599
2674 | 98.1607
2673 | 98.1607
2672 | 98.1606
2671 | 98.1615
2670 | 98.1635
2669 | 98.166
2668 | 98.168
2667 | 98.1694
2666 | 98.1704
2665 | 98.1715
2664 | 98.1726
2663 | 98.1736
2662 | 98.1744
2661 | 98.1749
2660 | 98.1754
2659 | 98.1757
2658 | 98.176
2657 | 98.1765
2656 | 98.1774
2655 | 98.1788
2654 | 98.18
2653 | 98.1805
2652 | 98.1805
2651 | 98.1805
2650 | 98.1809
2649 | 98.182
2648 | 98.1836
2647 | 98.1854
2646 | 98.1865
2645 | 98.1869
2644 | 98.187
2643 | 98.1874
2642 | 98.1877
2641 | 98.1874
2640 | 98.1866
2639 | 98.1863
2638 | 98.1865
2637 | 98.1868
2636 | 98.1868
2635 | 98.1873
2634 | 98.1887
2633 | 98.1904
2632 | 98.1919
2631 | 98.1928
2630 | 98.1933
2629 | 98.1931
2628 | 98.1921
2627 | 98.1905
2626 | 98.1889
2625 | 98.1879
2624 | 98.1879
2623 | 98.1889
2622 | 98.1904
2621 | 98.1921
2620 | 98.1936
2619 | 98.1952
2618 | 98.197
2617 | 98.1988
2616 | 98.1998
2615 | 98.1995
2614 | 98.1983
2613 | 98.1971
2612 | 98.1967
2611 | 98.1974
2610 | 98.1984
2609 | 98.1993
2608 | 98.2
2607 | 98.2011
2606 | 98.2024
2605 | 98.2036
2604 | 98.2045
2603 | 98.2048
2602 | 98.2047
2601 | 98.2038
2600 | 98.2027
2599 | 98.202
2598 | 98.202
2597 | 98.2028
2596 | 98.204
2595 | 98.2055
2594 | 98.2068
2593 | 98.2077
2592 | 98.2081
2591 | 98.2081
2590 | 98.2078
2589 | 98.2075
2588 | 98.2074
2587 | 98.2079
2586 | 98.2089
2585 | 98.2102
2584 | 98.2115
2583 | 98.213
2582 | 98.2149
2581 | 98.2172
2580 | 98.2192
2579 | 98.2206
2578 | 98.2211
2577 | 98.2212
2576 | 98.2212
2575 | 98.2213
2574 | 98.221
2573 | 98.2204
2572 | 98.22
2571 | 98.2201
2570 | 98.2209
2569 | 98.2218
2568 | 98.2232
2567 | 98.2253
2566 | 98.228
2565 | 98.2307
2564 | 98.2327
2563 | 98.2334
2562 | 98.233
2561 | 98.2324
2560 | 98.2328
2559 | 98.2341
2558 | 98.2353
2557 | 98.2357
2556 | 98.2357
2555 | 98.236
2554 | 98.2369
2553 | 98.2384
2552 | 98.2399
2551 | 98.2407
2550 | 98.2405
2549 | 98.24
2548 | 98.2407
2547 | 98.2433
2546 | 98.2464
2545 | 98.2483
2544 | 98.2491
2543 | 98.2497
2542 | 98.2504
2541 | 98.2503
2540 | 98.2499
2539 | 98.2505
2538 | 98.2529
2537 | 98.2562
2536 | 98.2588
2535 | 98.2602
2534 | 98.2605
2533 | 98.2604
2532 | 98.2602
2531 | 98.2602
2530 | 98.2603
2529 | 98.2603
2528 | 98.2606
2527 | 98.2615
2526 | 98.2633
2525 | 98.2655
2524 | 98.2675
2523 | 98.2691
2522 | 98.2701
2521 | 98.2701
2520 | 98.2695
2519 | 98.269
2518 | 98.2694
2517 | 98.2703
2516 | 98.2713
2515 | 98.2721
2514 | 98.2733
2513 | 98.2754
2512 | 98.2781
2511 | 98.2802
2510 | 98.2806
2509 | 98.2803
2508 | 98.2812
2507 | 98.2838
2506 | 98.2865
2505 | 98.2875
2504 | 98.2871
2503 | 98.2869
2502 | 98.2878
2501 | 98.2893
2500 | 98.2907
2499 | 98.2923
2498 | 98.2942
2497 | 98.2965
2496 | 98.2991
2495 | 98.3021
2494 | 98.3047
2493 | 98.306
2492 | 98.306
2491 | 98.3059
2490 | 98.3071
2489 | 98.3095
2488 | 98.3127
2487 | 98.3161
2486 | 98.3185
2485 | 98.319
2484 | 98.3178
2483 | 98.3163
2482 | 98.3159
2481 | 98.3169
2480 | 98.3187
2479 | 98.3201
2478 | 98.321
2477 | 98.3215
2476 | 98.3228
2475 | 98.3252
2474 | 98.3285
2473 | 98.3315
2472 | 98.3339
2471 | 98.3361
2470 | 98.3386
2469 | 98.3412
2468 | 98.343
2467 | 98.3435
2466 | 98.3429
2465 | 98.3428
2464 | 98.3446
2463 | 98.3485
2462 | 98.3529
2461 | 98.3558
2460 | 98.3568
2459 | 98.3568
2458 | 98.3572
2457 | 98.3583
2456 | 98.3597
2455 | 98.3606
2454 | 98.3602
2453 | 98.3588
2452 | 98.3579
2451 | 98.3589
2450 | 98.3614
2449 | 98.3638
2448 | 98.365
2447 | 98.3654
2446 | 98.3661
2445 | 98.3674
2444 | 98.3695
2443 | 98.3722
2442 | 98.3752
2441 | 98.3776
2440 | 98.3792
2439 | 98.3801
2438 | 98.3803
2437 | 98.3796
2436 | 98.3785
2435 | 98.3778
2434 | 98.378
2433 | 98.3794
2432 | 98.3814
2431 | 98.3834
2430 | 98.3846
2429 | 98.3854
2428 | 98.3868
2427 | 98.3895
2426 | 98.3928
2425 | 98.3952
2424 | 98.3964
2423 | 98.3971
2422 | 98.3981
2421 | 98.3992
2420 | 98.4003
2419 | 98.4014
2418 | 98.4024
2417 | 98.4029
2416 | 98.4031
2415 | 98.4036
2414 | 98.4044
2413 | 98.4051
2412 | 98.4056
2411 | 98.4066
2410 | 98.4088
2409 | 98.4117
2408 | 98.4148
2407 | 98.4174
2406 | 98.4189
2405 | 98.4196
2404 | 98.4198
2403 | 98.4202
2402 | 98.4212
2401 | 98.4228
2400 | 98.4243
2399 | 98.4253
2398 | 98.4254
2397 | 98.4253
2396 | 98.4256
2395 | 98.4265
2394 | 98.4272
2393 | 98.4271
2392 | 98.4261
2391 | 98.4248
2390 | 98.4233
2389 | 98.4217
2388 | 98.4198
2387 | 98.4171
2386 | 98.4129
2385 | 98.4066
2384 | 98.3989
2383 | 98.3911
2382 | 98.3845
2381 | 98.3798
2380 | 98.3771
2379 | 98.3756
2378 | 98.3738
2377 | 98.371
2376 | 98.3676
2375 | 98.3641
2374 | 98.3605
2373 | 98.3564
2372 | 98.3527
2371 | 98.35
2370 | 98.3474
2369 | 98.3437
2368 | 98.339
2367 | 98.3345
2366 | 98.3303
2365 | 98.3261
2364 | 98.321
2363 | 98.3145
2362 | 98.3065
2361 | 98.2989
2360 | 98.2934
2359 | 98.2894
2358 | 98.2847
2357 | 98.2797
2356 | 98.2779
2355 | 98.28
2354 | 98.2813
2353 | 98.2776
2352 | 98.2711
2351 | 98.2676
2350 | 98.2713
2349 | 98.2827
2348 | 98.2974
2347 | 98.3025
2346 | 98.2828
2345 | 98.2356
2344 | 98.175
2343 | 98.1197
2342 | 98.0817
2341 | 98.067
2340 | 98.0785
2339 | 98.1149
2338 | 98.1678
2337 | 98.2236
2336 | 98.2698
2335 | 98.3001
2334 | 98.3148
2333 | 98.3178
2332 | 98.3147
2331 | 98.3103
2330 | 98.307
2329 | 98.3039
2328 | 98.3009
2327 | 98.2992
2326 | 98.2999
2325 | 98.3025
2324 | 98.3057
2323 | 98.3086
2322 | 98.3109
2321 | 98.3126
2320 | 98.3146
2319 | 98.3178
2318 | 98.3228
2317 | 98.3288
2316 | 98.3348
2315 | 98.3388
2314 | 98.3396
2313 | 98.3373
2312 | 98.3349
2311 | 98.3352
2310 | 98.3387
2309 | 98.3437
2308 | 98.3493
2307 | 98.3554
2306 | 98.3618
2305 | 98.3674
2304 | 98.372
2303 | 98.3761
2302 | 98.3802
2301 | 98.3846
2300 | 98.3896
2299 | 98.3951
2298 | 98.3999
2297 | 98.403
2296 | 98.4059
2295 | 98.411
2294 | 98.419
2293 | 98.4272
2292 | 98.4331
2291 | 98.4359
2290 | 98.4368
2289 | 98.4376
2288 | 98.4391
2287 | 98.4416
2286 | 98.4437
2285 | 98.4446
2284 | 98.4446
2283 | 98.4449
2282 | 98.4454
2281 | 98.4451
2280 | 98.4435
2279 | 98.4415
2278 | 98.4397
2277 | 98.4378
2276 | 98.4355
2275 | 98.4331
2274 | 98.4314
2273 | 98.4307
2272 | 98.431
2271 | 98.4314
2270 | 98.4307
2269 | 98.4285
2268 | 98.4263
2267 | 98.4257
2266 | 98.4259
2265 | 98.4248
2264 | 98.4214
2263 | 98.4171
2262 | 98.414
2261 | 98.4128
2260 | 98.4136
2259 | 98.4157
2258 | 98.4168
2257 | 98.4155
2256 | 98.4128
2255 | 98.4109
2254 | 98.4103
2253 | 98.4099
2252 | 98.4088
2251 | 98.4077
2250 | 98.4067
2249 | 98.4054
2248 | 98.4036
2247 | 98.4018
2246 | 98.4001
2245 | 98.3984
2244 | 98.3979
2243 | 98.4003
2242 | 98.4054
2241 | 98.4108
2240 | 98.4148
2239 | 98.4169
2238 | 98.4176
2237 | 98.4173
2236 | 98.417
2235 | 98.4172
2234 | 98.4175
2233 | 98.417
2232 | 98.4163
2231 | 98.4174
2230 | 98.421
2229 | 98.4256
2228 | 98.4295
2227 | 98.4318
2226 | 98.4325
2225 | 98.4318
2224 | 98.4312
2223 | 98.4317
2222 | 98.4326
2221 | 98.4321
2220 | 98.4307
2219 | 98.4304
2218 | 98.4321
2217 | 98.4346
2216 | 98.4368
2215 | 98.4387
2214 | 98.44
2213 | 98.4396
2212 | 98.4382
2211 | 98.4376
2210 | 98.4388
2209 | 98.4414
2208 | 98.445
2207 | 98.4491
2206 | 98.4525
2205 | 98.4537
2204 | 98.454
2203 | 98.4554
2202 | 98.4577
2201 | 98.4594
2200 | 98.4602
2199 | 98.4617
2198 | 98.464
2197 | 98.4655
2196 | 98.4658
2195 | 98.4671
2194 | 98.4711
2193 | 98.4771
2192 | 98.483
2191 | 98.4877
2190 | 98.4908
2189 | 98.4924
2188 | 98.4937
2187 | 98.4962
2186 | 98.4992
2185 | 98.5009
2184 | 98.5015
2183 | 98.5036
2182 | 98.5083
2181 | 98.5143
2180 | 98.5194
2179 | 98.5225
2178 | 98.5239
2177 | 98.5253
2176 | 98.5289
2175 | 98.5357
2174 | 98.5429
2173 | 98.5469
2172 | 98.5479
2171 | 98.5484
2170 | 98.5493
2169 | 98.5493
2168 | 98.548
2167 | 98.5472
2166 | 98.5476
2165 | 98.5483
2164 | 98.5487
2163 | 98.5493
2162 | 98.5487
2161 | 98.545
2160 | 98.5392
2159 | 98.5353
2158 | 98.5355
2157 | 98.5386
2156 | 98.5433
2155 | 98.5501
2154 | 98.5585
2153 | 98.5668
2152 | 98.5736
2151 | 98.5785
2150 | 98.5813
2149 | 98.5831
2148 | 98.5869
2147 | 98.5955
2146 | 98.6072
2145 | 98.6166
2144 | 98.6206
2143 | 98.6207
2142 | 98.6192
2141 | 98.6175
2140 | 98.6163
2139 | 98.617
2138 | 98.6197
2137 | 98.6233
2136 | 98.6275
2135 | 98.6323
2134 | 98.6368
2133 | 98.6395
2132 | 98.6409
2131 | 98.643
2130 | 98.6464
2129 | 98.65
2128 | 98.6531
2127 | 98.6564
2126 | 98.6594
2125 | 98.6614
2124 | 98.6624
2123 | 98.6635
2122 | 98.6648
2121 | 98.6655
2120 | 98.6657
2119 | 98.6667
2118 | 98.6686
2117 | 98.6702
2116 | 98.6712
2115 | 98.6733
2114 | 98.6771
2113 | 98.6816
2112 | 98.6855
2111 | 98.689
2110 | 98.6919
2109 | 98.6942
2108 | 98.6965
2107 | 98.6999
2106 | 98.7043
2105 | 98.709
2104 | 98.7145
2103 | 98.7212
2102 | 98.7283
2101 | 98.7338
2100 | 98.738
2099 | 98.7431
2098 | 98.7499
2097 | 98.757
2096 | 98.7635
2095 | 98.7695
2094 | 98.774
2093 | 98.7762
2092 | 98.7779
2091 | 98.7816
2090 | 98.7874
2089 | 98.7925
2088 | 98.7956
2087 | 98.7977
2086 | 98.7997
2085 | 98.8013
2084 | 98.8033
2083 | 98.8071
2082 | 98.8126
2081 | 98.8175
2080 | 98.8203
2079 | 98.8219
2078 | 98.8235
2077 | 98.8253
2076 | 98.8279
2075 | 98.8318
2074 | 98.8357
2073 | 98.8378
2072 | 98.8391
2071 | 98.8427
2070 | 98.8486
2069 | 98.8541
2068 | 98.8579
2067 | 98.8614
2066 | 98.8647
2065 | 98.8657
2064 | 98.8643
2063 | 98.8631
2062 | 98.8635
2061 | 98.8641
2060 | 98.8636
2059 | 98.8634
2058 | 98.8653
2057 | 98.8688
2056 | 98.8727
2055 | 98.876
2054 | 98.8774
2053 | 98.8755
2052 | 98.8719
2051 | 98.8699
2050 | 98.8711
2049 | 98.874
2048 | 98.8779
2047 | 98.883
2046 | 98.8885
2045 | 98.8925
2044 | 98.8953
2043 | 98.8985
2042 | 98.9005
2041 | 98.898
2040 | 98.8921
2039 | 98.888
2038 | 98.8888
2037 | 98.892
2036 | 98.8951
2035 | 98.8983
2034 | 98.9008
2033 | 98.9005
2032 | 98.898
2031 | 98.8981
2030 | 98.9028
2029 | 98.9092
2028 | 98.9138
2027 | 98.9176
2026 | 98.9216
2025 | 98.925
2024 | 98.927
2023 | 98.9287
2022 | 98.9311
2021 | 98.9335
2020 | 98.9363
2019 | 98.9408
2018 | 98.9456
2017 | 98.9472
2016 | 98.9453
2015 | 98.9436
2014 | 98.9445
2013 | 98.947
2012 | 98.951
2011 | 98.9577
2010 | 98.9662
2009 | 98.9727
2008 | 98.9762
2007 | 98.9793
2006 | 98.9828
2005 | 98.9844
2004 | 98.984
2003 | 98.9851
2002 | 98.9892
2001 | 98.9931
2000 | 98.9946
1999 | 98.9955
1998 | 98.9982
1997 | 99.0022
1996 | 99.0068
1995 | 99.0131
1994 | 99.0207
1993 | 99.0253
1992 | 99.024
1991 | 99.0197
1990 | 99.0178
1989 | 99.0194
1988 | 99.0221
1987 | 99.0235
1986 | 99.0235
1985 | 99.0229
1984 | 99.0231
1983 | 99.0244
1982 | 99.0259
1981 | 99.0257
1980 | 99.0248
1979 | 99.0249
1978 | 99.0259
1977 | 99.0259
1976 | 99.0247
1975 | 99.0243
1974 | 99.025
1973 | 99.0254
1972 | 99.0261
1971 | 99.0305
1970 | 99.0392
1969 | 99.0486
1968 | 99.054
1967 | 99.0539
1966 | 99.0503
1965 | 99.0467
1964 | 99.0462
1963 | 99.049
1962 | 99.0522
1961 | 99.0535
1960 | 99.0547
1959 | 99.0583
1958 | 99.0626
1957 | 99.064
1956 | 99.0628
1955 | 99.063
1954 | 99.0662
1953 | 99.0698
1952 | 99.0713
1951 | 99.0711
1950 | 99.0707
1949 | 99.0712
1948 | 99.0734
1947 | 99.0775
1946 | 99.0818
1945 | 99.0849
1944 | 99.0875
1943 | 99.0897
1942 | 99.0888
1941 | 99.084
1940 | 99.0798
1939 | 99.0806
1938 | 99.0853
1937 | 99.0895
1936 | 99.0917
1935 | 99.0936
1934 | 99.0953
1933 | 99.0948
1932 | 99.0927
1931 | 99.0922
1930 | 99.094
1929 | 99.0957
1928 | 99.0957
1927 | 99.0949
1926 | 99.0948
1925 | 99.0959
1924 | 99.0991
1923 | 99.1032
1922 | 99.1051
1921 | 99.1041
1920 | 99.1046
1919 | 99.1089
1918 | 99.1122
1917 | 99.1081
1916 | 99.0995
1915 | 99.0943
1914 | 99.095
1913 | 99.0975
1912 | 99.0988
1911 | 99.1001
1910 | 99.1014
1909 | 99.1006
1908 | 99.0981
1907 | 99.0974
1906 | 99.0993
1905 | 99.0999
1904 | 99.0978
1903 | 99.0961
1902 | 99.0967
1901 | 99.0978
1900 | 99.0974
1899 | 99.0967
1898 | 99.0972
1897 | 99.098
1896 | 99.0982
1895 | 99.098
1894 | 99.0976
1893 | 99.0967
1892 | 99.0967
1891 | 99.0999
1890 | 99.1043
1889 | 99.1048
1888 | 99.1011
1887 | 99.0982
1886 | 99.0988
1885 | 99.1003
1884 | 99.0996
1883 | 99.098
1882 | 99.0973
1881 | 99.0965
1880 | 99.0945
1879 | 99.0925
1878 | 99.092
1877 | 99.0921
1876 | 99.0916
1875 | 99.0911
1874 | 99.0906
1873 | 99.0893
1872 | 99.088
1871 | 99.0898
1870 | 99.0949
1869 | 99.0985
1868 | 99.0965
1867 | 99.0914
1866 | 99.0879
1865 | 99.0862
1864 | 99.0852
1863 | 99.0848
1862 | 99.0857
1861 | 99.0869
1860 | 99.0879
1859 | 99.0888
1858 | 99.0895
1857 | 99.0889
1856 | 99.087
1855 | 99.0856
1854 | 99.0855
1853 | 99.0849
1852 | 99.0832
1851 | 99.0813
1850 | 99.08
1849 | 99.0783
1848 | 99.0757
1847 | 99.0746
1846 | 99.0779
1845 | 99.0849
1844 | 99.0903
1843 | 99.0897
1842 | 99.0839
1841 | 99.0761
1840 | 99.0703
1839 | 99.0686
1838 | 99.0699
1837 | 99.0703
1836 | 99.0685
1835 | 99.0659
1834 | 99.0628
1833 | 99.0591
1832 | 99.0574
1831 | 99.0606
1830 | 99.0664
1829 | 99.0669
1828 | 99.0601
1827 | 99.0526
1826 | 99.0515
1825 | 99.0561
1824 | 99.0601
1823 | 99.0599
1822 | 99.0569
1821 | 99.0533
1820 | 99.0501
1819 | 99.0475
1818 | 99.0452
1817 | 99.0424
1816 | 99.0384
1815 | 99.0332
1814 | 99.0272
1813 | 99.0219
1812 | 99.019
1811 | 99.0188
1810 | 99.0194
1809 | 99.0183
1808 | 99.0156
1807 | 99.013
1806 | 99.0109
1805 | 99.0074
1804 | 99.0018
1803 | 98.9969
1802 | 98.9952
1801 | 98.9962
1800 | 98.997
1799 | 98.9963
1798 | 98.9942
1797 | 98.9908
1796 | 98.9858
1795 | 98.9806
1794 | 98.9782
1793 | 98.9816
1792 | 98.9891
1791 | 98.9949
1790 | 98.9948
1789 | 98.9892
1788 | 98.9813
1787 | 98.9755
1786 | 98.9742
1785 | 98.9753
1784 | 98.975
1783 | 98.9716
1782 | 98.9667
1781 | 98.9634
1780 | 98.9614
1779 | 98.9593
1778 | 98.9555
1777 | 98.9493
1776 | 98.941
1775 | 98.9321
1774 | 98.9261
1773 | 98.9261
1772 | 98.9298
1771 | 98.9304
1770 | 98.9246
1769 | 98.9159
1768 | 98.9106
1767 | 98.9088
1766 | 98.9034
1765 | 98.8902
1764 | 98.8741
1763 | 98.8635
1762 | 98.8598
1761 | 98.8551
1760 | 98.8438
1759 | 98.8291
1758 | 98.8159
1757 | 98.806
1756 | 98.7977
1755 | 98.7877
1754 | 98.7743
1753 | 98.7594
1752 | 98.7474
1751 | 98.7397
1750 | 98.7314
1749 | 98.7179
1748 | 98.7024
1747 | 98.6906
1746 | 98.6827
1745 | 98.6756
1744 | 98.6688
1743 | 98.6639
1742 | 98.6599
1741 | 98.6541
1740 | 98.6482
1739 | 98.6448
1738 | 98.6406
1737 | 98.6323
1736 | 98.6256
1735 | 98.6314
1734 | 98.6456
1733 | 98.6485
1732 | 98.6363
1731 | 98.6227
1730 | 98.6167
1729 | 98.6165
1728 | 98.6171
1727 | 98.6175
1726 | 98.6182
1725 | 98.6184
1724 | 98.6178
1723 | 98.6185
1722 | 98.6193
1721 | 98.6159
1720 | 98.6091
1719 | 98.6073
1718 | 98.6147
1717 | 98.6236
1716 | 98.6272
1715 | 98.6277
1714 | 98.6284
1713 | 98.6271
1712 | 98.6221
1711 | 98.6164
1710 | 98.6112
1709 | 98.6029
1708 | 98.5897
1707 | 98.5754
1706 | 98.5652
1705 | 98.5565
1704 | 98.5445
1703 | 98.5293
1702 | 98.5144
1701 | 98.4981
1700 | 98.4702
1699 | 98.4274
1698 | 98.3758
1697 | 98.3177
1696 | 98.2519
1695 | 98.1791
1694 | 98.1
1693 | 98.0122
1692 | 97.9117
1691 | 97.7954
1690 | 97.6616
1689 | 97.5188
1688 | 97.3885
1687 | 97.2852
1686 | 97.2041
1685 | 97.1284
1684 | 97.0625
1683 | 97.043
1682 | 97.0822
1681 | 97.1591
1680 | 97.2555
1679 | 97.3574
1678 | 97.4542
1677 | 97.5445
1676 | 97.6316
1675 | 97.7111
1674 | 97.7718
1673 | 97.8127
1672 | 97.8428
1671 | 97.8719
1670 | 97.902
1669 | 97.9285
1668 | 97.9475
1667 | 97.9595
1666 | 97.9669
1665 | 97.9714
1664 | 97.9735
1663 | 97.9738
1662 | 97.9727
1661 | 97.9708
1660 | 97.9681
1659 | 97.9654
1658 | 97.9639
1657 | 97.9638
1656 | 97.9651
1655 | 97.9702
1654 | 97.979
1653 | 97.9742
1652 | 97.9513
1651 | 97.9264
1650 | 97.9058
1649 | 97.8899
1648 | 97.8771
1647 | 97.8648
1646 | 97.8535
1645 | 97.8431
1644 | 97.8306
1643 | 97.8156
1642 | 97.7977
1641 | 97.7758
1640 | 97.7489
1639 | 97.7187
1638 | 97.6848
1637 | 97.6368
1636 | 97.5609
1635 | 97.4643
1634 | 97.3693
1633 | 97.2754
1632 | 97.1684
1631 | 97.0375
1630 | 96.8697
1629 | 96.6478
1628 | 96.3705
1627 | 96.0671
1626 | 95.7659
1625 | 95.4583
1624 | 95.1245
1623 | 94.7999
1622 | 94.5743
1621 | 94.4959
1620 | 94.5427
1619 | 94.6866
1618 | 94.9257
1617 | 95.2491
1616 | 95.5979
1615 | 95.91
1614 | 96.1772
1613 | 96.4169
1612 | 96.6352
1611 | 96.8278
1610 | 96.9937
1609 | 97.137
1608 | 97.2595
1607 | 97.3614
1606 | 97.4461
1605 | 97.5189
1604 | 97.5808
1603 | 97.632
1602 | 97.6759
1601 | 97.7151
1600 | 97.7483
1599 | 97.774
1598 | 97.7951
1597 | 97.8152
1596 | 97.8344
1595 | 97.8521
1594 | 97.8712
1593 | 97.8941
1592 | 97.9196
1591 | 97.9459
1590 | 97.9747
1589 | 98.0073
1588 | 98.0409
1587 | 98.0729
1586 | 98.104
1585 | 98.1353
1584 | 98.1662
1583 | 98.1949
1582 | 98.2221
1581 | 98.2478
1580 | 98.2694
1579 | 98.286
1578 | 98.3028
1577 | 98.326
1576 | 98.3529
1575 | 98.3752
1574 | 98.3895
1573 | 98.398
1572 | 98.4046
1571 | 98.4129
1570 | 98.4242
1569 | 98.4359
1568 | 98.444
1567 | 98.4477
1566 | 98.4507
1565 | 98.4566
1564 | 98.4646
1563 | 98.4709
1562 | 98.4743
1561 | 98.477
1560 | 98.4823
1559 | 98.4902
1558 | 98.5043
1557 | 98.5162
1556 | 98.5171
1555 | 98.5154
1554 | 98.518
1553 | 98.5224
1552 | 98.524
1551 | 98.5242
1550 | 98.528
1549 | 98.5351
1548 | 98.54
1547 | 98.5397
1546 | 98.5373
1545 | 98.5387
1544 | 98.5435
1543 | 98.5464
1542 | 98.5454
1541 | 98.5468
1540 | 98.5608
1539 | 98.5843
1538 | 98.6014
1537 | 98.6044
1536 | 98.5986
1535 | 98.5923
1534 | 98.5911
1533 | 98.5955
1532 | 98.6006
1531 | 98.601
1530 | 98.5966
1529 | 98.5904
1528 | 98.5851
1527 | 98.582
1526 | 98.5801
1525 | 98.5772
1524 | 98.57
1523 | 98.5579
1522 | 98.5449
1521 | 98.5367
1520 | 98.5322
1519 | 98.5229
1518 | 98.5058
1517 | 98.4862
1516 | 98.4703
1515 | 98.4569
1514 | 98.4401
1513 | 98.4192
1512 | 98.3983
1511 | 98.3788
1510 | 98.3579
1509 | 98.3351
1508 | 98.3146
1507 | 98.2991
1506 | 98.2907
1505 | 98.2907
1504 | 98.2936
1503 | 98.2953
1502 | 98.2969
1501 | 98.2999
1500 | 98.3055
1499 | 98.3131
1498 | 98.3229
1497 | 98.3388
1496 | 98.3636
1495 | 98.3907
1494 | 98.4101
1493 | 98.4198
1492 | 98.425
1491 | 98.4307
1490 | 98.4366
1489 | 98.4413
1488 | 98.4453
1487 | 98.4478
1486 | 98.4465
1485 | 98.4413
1484 | 98.4331
1483 | 98.4217
1482 | 98.4073
1481 | 98.3917
1480 | 98.3768
1479 | 98.3612
1478 | 98.342
1477 | 98.3189
1476 | 98.2937
1475 | 98.2657
1474 | 98.2294
1473 | 98.182
1472 | 98.1315
1471 | 98.0884
1470 | 98.0538
1469 | 98.0237
1468 | 97.9971
1467 | 97.9729
1466 | 97.9473
1465 | 97.9202
1464 | 97.8977
1463 | 97.8842
1462 | 97.878
1461 | 97.8755
1460 | 97.8748
1459 | 97.8732
1458 | 97.8669
1457 | 97.8566
1456 | 97.8532
1455 | 97.8606
1454 | 97.8721
1453 | 97.8841
1452 | 97.8975
1451 | 97.9118
1450 | 97.9248
1449 | 97.9353
1448 | 97.9451
1447 | 97.9559
1446 | 97.9658
1445 | 97.974
1444 | 97.9802
1443 | 97.9846
1442 | 97.9882
1441 | 97.9923
1440 | 97.9974
1439 | 98.0012
1438 | 97.9996
1437 | 97.9894
1436 | 97.9745
1435 | 97.9615
1434 | 97.9508
1433 | 97.9387
1432 | 97.9236
1431 | 97.9056
1430 | 97.8861
1429 | 97.8682
1428 | 97.8562
1427 | 97.8508
1426 | 97.8481
1425 | 97.8455
1424 | 97.8455
1423 | 97.8528
1422 | 97.8681
1421 | 97.8877
1420 | 97.9088
1419 | 97.93
1418 | 97.9521
1417 | 97.9775
1416 | 98.0073
1415 | 98.0393
1414 | 98.07
1413 | 98.0976
1412 | 98.1222
1411 | 98.1445
1410 | 98.1649
1409 | 98.1836
1408 | 98.201
1407 | 98.2161
1406 | 98.228
1405 | 98.238
1404 | 98.2486
1403 | 98.2604
1402 | 98.2712
1401 | 98.2789
1400 | 98.2835
1399 | 98.2865
1398 | 98.2897
1397 | 98.2938
1396 | 98.2978
1395 | 98.3006
1394 | 98.3021
1393 | 98.303
1392 | 98.3034
1391 | 98.3023
1390 | 98.2984
1389 | 98.2909
1388 | 98.2789
1387 | 98.263
1386 | 98.2458
1385 | 98.2295
1384 | 98.2128
1383 | 98.1942
1382 | 98.1739
1381 | 98.1531
1380 | 98.1325
1379 | 98.1132
1378 | 98.0971
1377 | 98.0841
1376 | 98.0721
1375 | 98.0586
1374 | 98.0448
1373 | 98.0341
1372 | 98.0281
1371 | 98.0249
1370 | 98.0223
1369 | 98.0201
1368 | 98.0198
1367 | 98.0222
1366 | 98.0273
1365 | 98.0337
1364 | 98.0401
1363 | 98.0474
1362 | 98.0579
1361 | 98.0739
1360 | 98.0941
1359 | 98.1154
1358 | 98.1355
1357 | 98.154
1356 | 98.1708
1355 | 98.1859
1354 | 98.1992
1353 | 98.2107
1352 | 98.2199
1351 | 98.2259
1350 | 98.228
1349 | 98.2268
1348 | 98.2224
1347 | 98.2143
1346 | 98.2021
1345 | 98.1863
1344 | 98.1683
1343 | 98.1486
1342 | 98.1269
1341 | 98.1021
1340 | 98.0744
1339 | 98.0459
1338 | 98.0202
1337 | 97.9992
1336 | 97.9826
1335 | 97.9694
1334 | 97.9592
1333 | 97.9516
1332 | 97.9456
1331 | 97.9402
1330 | 97.9348
1329 | 97.9292
1328 | 97.9228
1327 | 97.9148
1326 | 97.9046
1325 | 97.8922
1324 | 97.8781
1323 | 97.8629
1322 | 97.8473
1321 | 97.8318
1320 | 97.8168
1319 | 97.8037
1318 | 97.7946
1317 | 97.7915
1316 | 97.7951
1315 | 97.8049
1314 | 97.8205
1313 | 97.8417
1312 | 97.8681
1311 | 97.8984
1310 | 97.9313
1309 | 97.9655
1308 | 98
1307 | 98.0339
1306 | 98.0669
1305 | 98.099
1304 | 98.1299
1303 | 98.159
1302 | 98.1861
1301 | 98.2112
1300 | 98.2342
1299 | 98.2547
1298 | 98.2725
1297 | 98.2875
1296 | 98.2999
1295 | 98.3096
1294 | 98.3171
1293 | 98.3232
1292 | 98.3283
1291 | 98.3322
1290 | 98.3346
1289 | 98.3352
1288 | 98.3341
1287 | 98.3309
1286 | 98.326
1285 | 98.3198
1284 | 98.3128
1283 | 98.3054
1282 | 98.298
1281 | 98.2914
1280 | 98.2858
1279 | 98.2807
1278 | 98.2765
1277 | 98.2738
1276 | 98.2732
1275 | 98.2751
1274 | 98.2803
1273 | 98.2907
1272 | 98.3084
1271 | 98.3347
1270 | 98.3696
1269 | 98.4101
1268 | 98.4504
1267 | 98.4827
1266 | 98.4997
1265 | 98.4983
1264 | 98.4802
1263 | 98.4503
1262 | 98.4142
1261 | 98.3754
1260 | 98.3351
1259 | 98.2928
1258 | 98.2484
1257 | 98.2021
1256 | 98.154
1255 | 98.1049
1254 | 98.056
1253 | 98.0084
1252 | 97.9629
1251 | 97.9199
1250 | 97.8802
1249 | 97.8445
1248 | 97.813
1247 | 97.7854
1246 | 97.7618
1245 | 97.7416
1244 | 97.7244
1243 | 97.7095
1242 | 97.6966
1241 | 97.6857
1240 | 97.6761
1239 | 97.667
1238 | 97.658
1237 | 97.6492
1236 | 97.6409
1235 | 97.6337
1234 | 97.6278
1233 | 97.6233
1232 | 97.6203
1231 | 97.6188
1230 | 97.6188
1229 | 97.62
1228 | 97.6224
1227 | 97.6257
1226 | 97.6298
1225 | 97.6342
1224 | 97.6385
1223 | 97.6424
1222 | 97.6456
1221 | 97.6483
1220 | 97.6507
1219 | 97.6532
1218 | 97.6557
1217 | 97.6576
1216 | 97.6582
1215 | 97.6564
1214 | 97.651
1213 | 97.6406
1212 | 97.6244
1211 | 97.602
1210 | 97.5735
1209 | 97.5396
1208 | 97.5016
1207 | 97.4616
1206 | 97.4211
1205 | 97.38
1204 | 97.3372
1203 | 97.292
1202 | 97.244
1201 | 97.1931
1200 | 97.1392
1199 | 97.0816
1198 | 97.0195
1197 | 96.9509
1196 | 96.874
1195 | 96.7878
1194 | 96.6912
1193 | 96.5828
1192 | 96.4614
1191 | 96.3264
1190 | 96.1773
1189 | 96.0131
1188 | 95.8328
1187 | 95.6363
1186 | 95.4235
1185 | 95.1934
1184 | 94.9456
1183 | 94.6816
1182 | 94.4037
1181 | 94.1131
1180 | 93.8118
1179 | 93.5032
1178 | 93.1898
1177 | 92.8716
1176 | 92.5484
1175 | 92.2225
1174 | 91.8951
1173 | 91.5646
1172 | 91.2299
1171 | 90.8932
1170 | 90.5562
1169 | 90.2176
1168 | 89.8774
1167 | 89.5396
1166 | 89.2061
1165 | 88.8744
1164 | 88.544
1163 | 88.2184
1162 | 87.8986
1161 | 87.5789
1160 | 87.2552
1159 | 86.9295
1158 | 86.6025
1157 | 86.2694
1156 | 85.928
1155 | 85.5828
1154 | 85.2355
1153 | 84.8811
1152 | 84.5176
1151 | 84.151
1150 | 83.7849
1149 | 83.4153
1148 | 83.0416
1147 | 82.6721
1146 | 82.3129
1145 | 81.9616
1144 | 81.6193
1143 | 81.2967
1142 | 81.0008
1141 | 80.7277
1140 | 80.4751
1139 | 80.2486
1138 | 80.0493
1137 | 79.8685
1136 | 79.7008
1135 | 79.5506
1134 | 79.4172
1133 | 79.2889
1132 | 79.1585
1131 | 79.0295
1130 | 78.9019
1129 | 78.7661
1128 | 78.6186
1127 | 78.4693
1126 | 78.3244
1125 | 78.1793
1124 | 78.0331
1123 | 77.8962
1122 | 77.7741
1121 | 77.6613
1120 | 77.5559
1119 | 77.4666
1118 | 77.3963
1117 | 77.3378
1116 | 77.291
1115 | 77.2699
1114 | 77.2845
1113 | 77.3332
1112 | 77.4187
1111 | 77.5533
1110 | 77.7408
1109 | 77.9697
1108 | 78.2316
1107 | 78.5283
1106 | 78.8563
1105 | 79.2021
1104 | 79.5577
1103 | 79.9263
1102 | 80.3073
1101 | 80.6913
1100 | 81.075
1099 | 81.4638
1098 | 81.8589
1097 | 82.2527
1096 | 82.6421
1095 | 83.0318
1094 | 83.4219
1093 | 83.8048
1092 | 84.1769
1091 | 84.5418
1090 | 84.8993
1089 | 85.2421
1088 | 85.5671
1087 | 85.878
1086 | 86.1753
1085 | 86.4529
1084 | 86.7079
1083 | 86.9431
1082 | 87.1599
1081 | 87.355
1080 | 87.5293
1079 | 87.6893
1078 | 87.8396
1077 | 87.9797
1076 | 88.1107
1075 | 88.2367
1074 | 88.3576
1073 | 88.4677
1072 | 88.563
1071 | 88.6447
1070 | 88.712
1069 | 88.7596
1068 | 88.7845
1067 | 88.7897
1066 | 88.7787
1065 | 88.7528
1064 | 88.716
1063 | 88.6775
1062 | 88.6447
1061 | 88.6207
1060 | 88.6088
1059 | 88.6146
1058 | 88.6398
1057 | 88.6795
1056 | 88.7296
1055 | 88.7891
1054 | 88.856
1053 | 88.9254
1052 | 88.9949
1051 | 89.0665
1050 | 89.1393
1049 | 89.2085
1048 | 89.2715
1047 | 89.3304
1046 | 89.3855
1045 | 89.4324
1044 | 89.468
1043 | 89.4928
1042 | 89.5066
1041 | 89.5072
1040 | 89.4954
1039 | 89.4764
1038 | 89.4554
1037 | 89.4352
1036 | 89.4204
1035 | 89.4183
1034 | 89.4337
1033 | 89.4669
1032 | 89.5176
1031 | 89.5869
1030 | 89.6733
1029 | 89.7723
1028 | 89.8822
1027 | 90.0044
1026 | 90.1389
1025 | 90.2825
1024 | 90.4328
1023 | 90.5891
1022 | 90.7488
1021 | 90.9069
1020 | 91.0601
1019 | 91.2061
1018 | 91.3398
1017 | 91.4517
1016 | 91.5343
1015 | 91.5856
1014 | 91.6082
1013 | 91.606
1012 | 91.5834
1011 | 91.544
1010 | 91.4876
1009 | 91.4084
1008 | 91.3003
1007 | 91.1672
1006 | 91.0312
1005 | 90.9306
1004 | 90.9014
1003 | 90.9535
1002 | 91.0638
1001 | 91.1941
1000 | 91.3177
999 | 91.4271
998 | 91.5239
997 | 91.6092
996 | 91.6835
995 | 91.7484
994 | 91.8045
993 | 91.8507
992 | 91.8872
991 | 91.9166
990 | 91.9409
989 | 91.9614
988 | 91.9817
987 | 92.0085
986 | 92.0485
985 | 92.106
984 | 92.1846
983 | 92.2866
982 | 92.4102
981 | 92.5493
980 | 92.6974
979 | 92.8495
978 | 93.0009
977 | 93.1472
976 | 93.2864
975 | 93.4191
974 | 93.5451
973 | 93.6627
972 | 93.7721
971 | 93.875
970 | 93.9733
969 | 94.0666
968 | 94.1552
967 | 94.2405
966 | 94.3235
965 | 94.4045
964 | 94.4841
963 | 94.5633
962 | 94.6418
961 | 94.7183
960 | 94.793
959 | 94.8681
958 | 94.9444
957 | 95.0202
956 | 95.0938
955 | 95.1649
954 | 95.2335
953 | 95.2992
952 | 95.362
951 | 95.4227
950 | 95.482
949 | 95.5391
948 | 95.5938
947 | 95.6464
946 | 95.6971
945 | 95.7446
944 | 95.7883
943 | 95.8288
942 | 95.8664
941 | 95.9009
940 | 95.9323
939 | 95.9618
938 | 95.9896
937 | 96.0153
936 | 96.0389
935 | 96.0615
934 | 96.0837
933 | 96.1048
932 | 96.1245
931 | 96.1434
930 | 96.1617
929 | 96.179
928 | 96.1952
927 | 96.2108
926 | 96.2259
925 | 96.2396
924 | 96.252
923 | 96.2637
922 | 96.2753
921 | 96.2862
920 | 96.2958
919 | 96.3044
918 | 96.3116
917 | 96.3167
916 | 96.3194
915 | 96.3206
914 | 96.3204
913 | 96.3192
912 | 96.3174
911 | 96.3157
910 | 96.3127
909 | 96.3062
908 | 96.2955
907 | 96.282
906 | 96.2665
905 | 96.2486
904 | 96.2285
903 | 96.2085
902 | 96.1909
901 | 96.1772
900 | 96.1681
899 | 96.1646
898 | 96.1669
897 | 96.1745
896 | 96.1879
895 | 96.2086
894 | 96.2361
893 | 96.2675
892 | 96.3
891 | 96.3321
890 | 96.3638
889 | 96.3945
888 | 96.4236
887 | 96.451
886 | 96.4761
885 | 96.4981
884 | 96.5173
883 | 96.5343
882 | 96.5479
881 | 96.556
880 | 96.5583
879 | 96.5579
878 | 96.5585
877 | 96.5627
876 | 96.5727
875 | 96.5903
874 | 96.616
873 | 96.6488
872 | 96.6873
871 | 96.729
870 | 96.7696
869 | 96.804
868 | 96.8308
867 | 96.8523
866 | 96.8715
865 | 96.8884
864 | 96.9017
863 | 96.9107
862 | 96.9158
861 | 96.9186
860 | 96.922
859 | 96.9282
858 | 96.9358
857 | 96.9409
856 | 96.9418
855 | 96.9399
854 | 96.9372
853 | 96.9345
852 | 96.9337
851 | 96.9368
850 | 96.9431
849 | 96.9488
848 | 96.9512
847 | 96.9512
846 | 96.9505
845 | 96.9499
844 | 96.9498
843 | 96.9509
842 | 96.9514
841 | 96.949
840 | 96.9444
839 | 96.942
838 | 96.9447
837 | 96.9503
836 | 96.9561
835 | 96.9622
834 | 96.9699
833 | 96.9797
832 | 96.992
831 | 97.0085
830 | 97.03
829 | 97.055
828 | 97.0816
827 | 97.1089
826 | 97.1356
825 | 97.1587
824 | 97.1766
823 | 97.1905
822 | 97.2013
821 | 97.2083
820 | 97.2111
819 | 97.2119
818 | 97.2133
817 | 97.2157
816 | 97.2193
815 | 97.224
814 | 97.2287
813 | 97.2303
812 | 97.2281
811 | 97.2248
810 | 97.2229
809 | 97.2225
808 | 97.2227
807 | 97.2236
806 | 97.2247
805 | 97.2239
804 | 97.2204
803 | 97.2153
802 | 97.209
801 | 97.1998
800 | 97.1872
799 | 97.1723
798 | 97.1553
797 | 97.1342
796 | 97.1081
795 | 97.0794
794 | 97.0502
793 | 97.0197
792 | 96.988
791 | 96.9571
790 | 96.9288
789 | 96.9018
788 | 96.8754
787 | 96.8509
786 | 96.8287
785 | 96.807
784 | 96.7854
783 | 96.7662
782 | 96.7504
781 | 96.7359
780 | 96.721
779 | 96.7069
778 | 96.6941
777 | 96.6814
776 | 96.6679
775 | 96.6554
774 | 96.6444
773 | 96.6331
772 | 96.6202
771 | 96.607
770 | 96.594
769 | 96.5797
768 | 96.5636
767 | 96.5482
766 | 96.5342
765 | 96.5195
764 | 96.5028
763 | 96.4861
762 | 96.47
761 | 96.4523
760 | 96.4324
759 | 96.4134
758 | 96.3971
757 | 96.3811
756 | 96.3636
755 | 96.346
754 | 96.3293
753 | 96.3111
752 | 96.2904
751 | 96.2701
750 | 96.2518
749 | 96.2331
748 | 96.213
747 | 96.194
746 | 96.1772
745 | 96.1592
744 | 96.1379
743 | 96.116
742 | 96.0957
741 | 96.0748
740 | 96.0518
739 | 96.0291
738 | 96.0082
737 | 95.9862
736 | 95.9617
735 | 95.9375
734 | 95.9149
733 | 95.8901
732 | 95.8604
731 | 95.8285
730 | 95.797
729 | 95.7642
728 | 95.7287
727 | 95.6936
726 | 95.6602
725 | 95.6258
724 | 95.5886
723 | 95.55
722 | 95.5095
721 | 95.4644
720 | 95.418
719 | 95.3798
718 | 95.3508
717 | 95.3206
716 | 95.2821
715 | 95.2404
714 | 95.2022
713 | 95.1665
712 | 95.1313
711 | 95.1004
710 | 95.0748
709 | 95.0476
708 | 95.015
707 | 94.9822
706 | 94.9524
705 | 94.9198
704 | 94.8819
703 | 94.846
702 | 94.8155
701 | 94.782
700 | 94.7398
699 | 94.6958
698 | 94.6558
697 | 94.6135
696 | 94.5645
695 | 94.5158
694 | 94.471
693 | 94.4196
692 | 94.3542
691 | 94.2813
690 | 94.2027
689 | 94.1052
688 | 93.983
687 | 93.8486
686 | 93.7048
685 | 93.5297
684 | 93.3074
683 | 93.0456
682 | 92.7448
681 | 92.3814
680 | 91.9401
679 | 91.4312
678 | 90.8538
677 | 90.1841
676 | 89.4184
675 | 88.5838
674 | 87.7053
673 | 86.818
672 | 86.0044
671 | 85.331
670 | 84.7827
669 | 84.3059
668 | 84.0517
667 | 84.2949
666 | 84.9514
665 | 85.7823
664 | 86.6935
663 | 87.6158
662 | 88.4591
661 | 89.1673
660 | 89.7474
659 | 90.2142
658 | 90.5806
657 | 90.8765
656 | 91.1244
655 | 91.3186
654 | 91.4578
653 | 91.5644
652 | 91.6502
651 | 91.6999
650 | 91.7088
649 | 91.6995
648 | 91.6846
647 | 91.6504
646 | 91.5901
645 | 91.5196
644 | 91.4488
643 | 91.3701
642 | 91.2823
641 | 91.2003
640 | 91.1311
639 | 91.0675
638 | 91.0066
637 | 90.9519
636 | 90.8955
635 | 90.8207
634 | 90.7262
633 | 90.623
632 | 90.5129
631 | 90.3944
630 | 90.2814
629 | 90.1891
628 | 90.1098
627 | 90.0246
626 | 89.9311
625 | 89.8434
624 | 89.7699
623 | 89.7122
622 | 89.6743
621 | 89.6544
620 | 89.6362
619 | 89.6056
618 | 89.5709
617 | 89.5433
616 | 89.4972
615 | 89.3848
614 | 89.2002
613 | 88.9731
612 | 88.7002
611 | 88.3486
610 | 87.9272
609 | 87.4897
608 | 87.0719
607 | 86.6745
606 | 86.2888
605 | 85.9176
604 | 85.5941
603 | 85.3912
602 | 85.3864
601 | 85.6142
600 | 86.0665

## Sample Details
Setting | Value
Filesname | NHwF-6
Creation Date
Analyst | mas-storage
X-Axis Units | cm-1
X-Axis start value | 4000
X-Axis end value | 600
Data interval | -1
Number of points | 3401
Y-Axis Units | %T
Description | 7Sample 1327 By mas-storage Date Wednesday, July 28 2021

## Instrument Details
Setting | Value
Instrument Model | Frontier FT-IR
Instrument Serial Number | 91175
Software Revision | CPU32 Main 00.09.9908 05-May-2009 15:52:12
Number of Scans | 32
Resolution | 4
Detector
Source | MIR
Beam Splitter | OptKBr
Apodization | Strong
Spectrum Type | Spectrum
Beam Type | Ratio
Phase Correction | Magnitude
Scan Speed | 1
IGram Type | Double
Scan Driection | Combined
Zero Crossing | 0
JStop | 8.94
IR-Laser Wavenumber | 15798.001999451375
Manufacturer | PIKE Technologies Inc.
Part Number | L1200385
Serial Number | 19250
Description | Miracle Accessory
Default Scan Range | 4000 450
Accessory Type | Miracle ATR
Temperature / °C
Slide Holder Option

## Quality Checks
Setting | Value
Water Vapor | Passed
Carbon Dioxide | Passed
Baseline Low | Passed
Baseline High | Passed
Baseline Slope | Passed
Strong Bands | Passed
Weak Bands | Warning
High Noise | Passed
Fringes | Warning
Vignetting | Passed
Blocked Beam | Passed
Negative Bands | Passed
Zero Transmission | Passed
Stray Light | Passed
Window Cuttoff | Passed