## Data
Wavelength / cm-1 | Transmittance / % | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1
4000 | 97.1393 |  | Baseline @ 1105 |  | Baseline @ 1735 |  | Baseline @ 2900 |  | Peak @ 1105 |  | Peak @ 1735 |  | Peak @ 2900
3999 | 97.1413 | 800 | 96.8021 | 1525 | 98.4111 | 2670 | 97.9985 | 1105 | 78.8305 | 1735 | 98.4618 | 2900 | 97.3878
3998 | 97.1422 | 1210 | 97.2024 | 1780 | 98.921 | 3000 | 97.616 | 1105 | 97.0999 | 1735 | 98.8311 | 2900 | 97.7319
3997 | 97.1419
3996 | 97.141
3995 | 97.1405
3994 | 97.1408
3993 | 97.1418
3992 | 97.1439
3991 | 97.1474
3990 | 97.1514
3989 | 97.1542
3988 | 97.1544
3987 | 97.1522
3986 | 97.1498
3985 | 97.1488
3984 | 97.1495
3983 | 97.1508
3982 | 97.1524
3981 | 97.1544
3980 | 97.1565
3979 | 97.1578
3978 | 97.1583
3977 | 97.1585 |  |  | Baseline range |  |  | Transmittance |  |  |  | Equation of base line |  |  | Transmittance at peak value wavelength | Peak Intensity |  | Ratio
3976 | 97.1593 |  | Peak value
3975 | 97.1603 |  | Wavelength
3974 | 97.1606 |  | x1 | x2 | x3 |  | y1 | y2 | y3 |  | m | c
3973 | 97.1599 | [15 empty] | Lyceum
3972 | 97.1588 |  | 1105 | 800 | 1210 |  | 78.8305 | 96.8021 | 97.2024 |  | 0.00097648 | 96.0209 |  | 97.0999 | 18.2694 | R1 | 0.020214
3971 | 97.1582 |  | 1735 | 1525 | 1780 |  | 98.4618 | 98.4111 | 98.921 |  | 0.0019997 | 95.3616 |  | 98.8311 | 0.36929 | R2 | 1.0733
3970 | 97.1593 |  | 2900 | 2670 | 3000 |  | 97.3878 | 97.9985 | 97.616 |  | -0.001159 | 101.093 |  | 97.7319 | 0.34408
3969 | 97.1623
3968 | 97.1656 |  | From paper
3967 | 97.1673 |  | 1105 | 765 | 1185
3966 | 97.1661 |  | 1735 | 1485 | 1780
3965 | 97.1633 |  | 2900 | 2630 | 3000
3964 | 97.1611
3963 | 97.1615
3962 | 97.1646
3961 | 97.1686
3960 | 97.1712
3959 | 97.1715
3958 | 97.1704
3957 | 97.1696
3956 | 97.1693
3955 | 97.169
3954 | 97.1679
3953 | 97.1656
3952 | 97.162
3951 | 97.1579
3950 | 97.1556
3949 | 97.1575
3948 | 97.1625
3947 | 97.1657
3946 | 97.1627
3945 | 97.1554
3944 | 97.1514
3943 | 97.1556
3942 | 97.1653
3941 | 97.1732
3940 | 97.1759
3939 | 97.1761
3938 | 97.178
3937 | 97.1805
3936 | 97.1791
3935 | 97.172
3934 | 97.1641
3933 | 97.162
3932 | 97.1669
3931 | 97.174
3930 | 97.1779
3929 | 97.1772
3928 | 97.1737
3927 | 97.1709
3926 | 97.1722
3925 | 97.178
3924 | 97.1834
3923 | 97.1827
3922 | 97.1754
3921 | 97.1665
3920 | 97.161
3919 | 97.1603
3918 | 97.1638
3917 | 97.1712
3916 | 97.1807
3915 | 97.1881
3914 | 97.1919
3913 | 97.1944
3912 | 97.1985
3911 | 97.2041
3910 | 97.2071
3909 | 97.2036
3908 | 97.1922
3907 | 97.175
3906 | 97.1564
3905 | 97.1412
3904 | 97.1305
3903 | 97.1218
3902 | 97.1141
3901 | 97.1124
3900 | 97.1224
3899 | 97.1424
3898 | 97.1638
3897 | 97.1782
3896 | 97.1839
3895 | 97.1828
3894 | 97.1786
3893 | 97.1753
3892 | 97.1777
3891 | 97.1855
3890 | 97.1884
3889 | 97.1768
3888 | 97.1568
3887 | 97.1478
3886 | 97.1614
3885 | 97.1815
3884 | 97.1809
3883 | 97.1552
3882 | 97.1298
3881 | 97.1309
3880 | 97.1585
3879 | 97.1868
3878 | 97.1946
3877 | 97.1846
3876 | 97.1763
3875 | 97.1815
3874 | 97.19
3873 | 97.1829
3872 | 97.1584
3871 | 97.1387
3870 | 97.1435
3869 | 97.1615
3868 | 97.1654
3867 | 97.1505
3866 | 97.1387
3865 | 97.1467
3864 | 97.1656
3863 | 97.1768
3862 | 97.1779
3861 | 97.1805
3860 | 97.1921
3859 | 97.2085
3858 | 97.22
3857 | 97.2195
3856 | 97.2064
3855 | 97.1904
3854 | 97.1841
3853 | 97.1861
3852 | 97.1827
3851 | 97.1695
3850 | 97.159
3849 | 97.1631
3848 | 97.1788
3847 | 97.1948
3846 | 97.2026
3845 | 97.2023
3844 | 97.1995
3843 | 97.1966
3842 | 97.1906
3841 | 97.1805
3840 | 97.1705
3839 | 97.1655
3838 | 97.1647
3837 | 97.1631
3836 | 97.1578
3835 | 97.1512
3834 | 97.1489
3833 | 97.1558
3832 | 97.171
3831 | 97.1864
3830 | 97.1936
3829 | 97.1918
3828 | 97.1905
3827 | 97.1982
3826 | 97.2094
3825 | 97.2085
3824 | 97.1891
3823 | 97.1655
3822 | 97.1595
3821 | 97.1721
3820 | 97.1799
3819 | 97.1669
3818 | 97.1458
3817 | 97.1445
3816 | 97.1723
3815 | 97.2061
3814 | 97.2205
3813 | 97.2182
3812 | 97.218
3811 | 97.2266
3810 | 97.2334
3809 | 97.2295
3808 | 97.2225
3807 | 97.2235
3806 | 97.226
3805 | 97.2138
3804 | 97.1884
3803 | 97.1713
3802 | 97.1785
3801 | 97.1965
3800 | 97.1968
3799 | 97.1745
3798 | 97.1534
3797 | 97.1564
3796 | 97.1812
3795 | 97.2073
3794 | 97.2209
3793 | 97.226
3792 | 97.2324
3791 | 97.2418
3790 | 97.2487
3789 | 97.2492
3788 | 97.2455
3787 | 97.2423
3786 | 97.2429
3785 | 97.2466
3784 | 97.2484
3783 | 97.2423
3782 | 97.2284
3781 | 97.2147
3780 | 97.2093
3779 | 97.2119
3778 | 97.2154
3777 | 97.2167
3776 | 97.2201
3775 | 97.2299
3774 | 97.2406
3773 | 97.242
3772 | 97.2326
3771 | 97.2213
3770 | 97.2144
3769 | 97.2072
3768 | 97.1949
3767 | 97.1842
3766 | 97.1868
3765 | 97.2026
3764 | 97.2162
3763 | 97.2144
3762 | 97.2019
3761 | 97.1934
3760 | 97.1939
3759 | 97.1957
3758 | 97.193
3757 | 97.1883
3756 | 97.1856
3755 | 97.1854
3754 | 97.1878
3753 | 97.1917
3752 | 97.1902
3751 | 97.177
3750 | 97.1575
3749 | 97.1387
3748 | 97.1174
3747 | 97.092
3746 | 97.0766
3745 | 97.0927
3744 | 97.1345
3743 | 97.1605
3742 | 97.1509
3741 | 97.1287
3740 | 97.1177
3739 | 97.1172
3738 | 97.1158
3737 | 97.1139
3736 | 97.118
3735 | 97.1228
3734 | 97.1188
3733 | 97.1119
3732 | 97.1151
3731 | 97.1281
3730 | 97.1383
3729 | 97.1402
3728 | 97.143
3727 | 97.1558
3726 | 97.1723
3725 | 97.1785
3724 | 97.1727
3723 | 97.1658
3722 | 97.1654
3721 | 97.1689
3720 | 97.1714
3719 | 97.1734
3718 | 97.1779
3717 | 97.1839
3716 | 97.1863
3715 | 97.1837
3714 | 97.1799
3713 | 97.1767
3712 | 97.1671
3711 | 97.1461
3710 | 97.1221
3709 | 97.11
3708 | 97.1156
3707 | 97.1332
3706 | 97.1516
3705 | 97.1631
3704 | 97.1669
3703 | 97.1673
3702 | 97.1677
3701 | 97.1677
3700 | 97.1656
3699 | 97.1624
3698 | 97.1635
3697 | 97.1719
3696 | 97.1815
3695 | 97.1826
3694 | 97.1737
3693 | 97.1624
3692 | 97.1541
3691 | 97.1445
3690 | 97.1274
3689 | 97.1083
3688 | 97.0986
3687 | 97.0981
3686 | 97.1009
3685 | 97.1071
3684 | 97.1188
3683 | 97.1326
3682 | 97.1412
3681 | 97.1427
3680 | 97.1385
3679 | 97.1254
3678 | 97.1002
3677 | 97.0723
3676 | 97.0584
3675 | 97.0575
3674 | 97.0478
3673 | 97.0205
3672 | 96.9959
3671 | 96.9983
3670 | 97.0226
3669 | 97.0406
3668 | 97.0389
3667 | 97.0312
3666 | 97.0347
3665 | 97.0522
3664 | 97.0731
3663 | 97.0878
3662 | 97.0932
3661 | 97.0905
3660 | 97.0801
3659 | 97.0635
3658 | 97.0473
3657 | 97.0395
3656 | 97.039
3655 | 97.0326
3654 | 97.0112
3653 | 96.9832
3652 | 96.9665
3651 | 96.9649
3650 | 96.9583
3649 | 96.9295
3648 | 96.8937
3647 | 96.8764
3646 | 96.8815
3645 | 96.8972
3644 | 96.9151
3643 | 96.9334
3642 | 96.9498
3641 | 96.9584
3640 | 96.9558
3639 | 96.9458
3638 | 96.9333
3637 | 96.9191
3636 | 96.9039
3635 | 96.8916
3634 | 96.883
3633 | 96.8695
3632 | 96.8419
3631 | 96.8052
3630 | 96.7774
3629 | 96.7662
3628 | 96.7583
3627 | 96.741
3626 | 96.7221
3625 | 96.7153
3624 | 96.721
3623 | 96.7255
3622 | 96.7173
3621 | 96.6981
3620 | 96.6764
3619 | 96.6552
3618 | 96.6319
3617 | 96.6058
3616 | 96.5825
3615 | 96.5688
3614 | 96.5649
3613 | 96.5628
3612 | 96.5533
3611 | 96.5355
3610 | 96.5174
3609 | 96.506
3608 | 96.4985
3607 | 96.4872
3606 | 96.4709
3605 | 96.4561
3604 | 96.4484
3603 | 96.4463
3602 | 96.4424
3601 | 96.4309
3600 | 96.4103
3599 | 96.3837
3598 | 96.356
3597 | 96.3316
3596 | 96.3117
3595 | 96.2947
3594 | 96.2779
3593 | 96.259
3592 | 96.2374
3591 | 96.2137
3590 | 96.1903
3589 | 96.1683
3588 | 96.1441
3587 | 96.1122
3586 | 96.0747
3585 | 96.0406
3584 | 96.0163
3583 | 96.0012
3582 | 95.9893
3581 | 95.9743
3580 | 95.9529
3579 | 95.9249
3578 | 95.8919
3577 | 95.8558
3576 | 95.8179
3575 | 95.7794
3574 | 95.741
3573 | 95.703
3572 | 95.6645
3571 | 95.6234
3570 | 95.5785
3569 | 95.53
3568 | 95.4766
3567 | 95.4148
3566 | 95.3465
3565 | 95.2814
3564 | 95.2292
3563 | 95.1911
3562 | 95.1609
3561 | 95.1304
3560 | 95.0949
3559 | 95.0542
3558 | 95.0107
3557 | 94.9665
3556 | 94.9226
3555 | 94.8784
3554 | 94.8327
3553 | 94.7846
3552 | 94.7352
3551 | 94.6873
3550 | 94.644
3549 | 94.6068
3548 | 94.5745
3547 | 94.5423
3546 | 94.506
3545 | 94.466
3544 | 94.4286
3543 | 94.4003
3542 | 94.3828
3541 | 94.3733
3540 | 94.3671
3539 | 94.3599
3538 | 94.35
3537 | 94.3387
3536 | 94.3289
3535 | 94.3229
3534 | 94.3214
3533 | 94.3235
3532 | 94.3271
3531 | 94.3292
3530 | 94.3274
3529 | 94.322
3528 | 94.316
3527 | 94.313
3526 | 94.3149
3525 | 94.3223
3524 | 94.3338
3523 | 94.3473
3522 | 94.3611
3521 | 94.3758
3520 | 94.3927
3519 | 94.4116
3518 | 94.431
3517 | 94.4497
3516 | 94.4681
3515 | 94.4872
3514 | 94.5069
3513 | 94.5255
3512 | 94.5418
3511 | 94.5556
3510 | 94.5675
3509 | 94.5791
3508 | 94.5927
3507 | 94.6096
3506 | 94.629
3505 | 94.6473
3504 | 94.6606
3503 | 94.6676
3502 | 94.6718
3501 | 94.6789
3500 | 94.6919
3499 | 94.7089
3498 | 94.7255
3497 | 94.7377
3496 | 94.7449
3495 | 94.7487
3494 | 94.7527
3493 | 94.7599
3492 | 94.7718
3491 | 94.7868
3490 | 94.802
3489 | 94.8151
3488 | 94.8261
3487 | 94.8361
3486 | 94.8465
3485 | 94.8583
3484 | 94.8716
3483 | 94.8851
3482 | 94.8972
3481 | 94.9073
3480 | 94.9169
3479 | 94.9277
3478 | 94.9402
3477 | 94.9534
3476 | 94.966
3475 | 94.9767
3474 | 94.9849
3473 | 94.9909
3472 | 94.9954
3471 | 94.999
3470 | 95.0021
3469 | 95.0048
3468 | 95.0071
3467 | 95.0088
3466 | 95.0097
3465 | 95.0101
3464 | 95.0103
3463 | 95.0099
3462 | 95.0075
3461 | 95.0027
3460 | 94.9967
3459 | 94.9911
3458 | 94.986
3457 | 94.9795
3456 | 94.9699
3455 | 94.9574
3454 | 94.9436
3453 | 94.9299
3452 | 94.9162
3451 | 94.9017
3450 | 94.8853
3449 | 94.8667
3448 | 94.845
3447 | 94.8191
3446 | 94.7897
3445 | 94.7604
3444 | 94.735
3443 | 94.7138
3442 | 94.6923
3441 | 94.666
3440 | 94.6334
3439 | 94.5964
3438 | 94.5575
3437 | 94.5182
3436 | 94.4785
3435 | 94.4382
3434 | 94.3962
3433 | 94.3517
3432 | 94.3042
3431 | 94.254
3430 | 94.2014
3429 | 94.1475
3428 | 94.0932
3427 | 94.0392
3426 | 93.9851
3425 | 93.9299
3424 | 93.8723
3423 | 93.8107
3422 | 93.7442
3421 | 93.6745
3420 | 93.6049
3419 | 93.5382
3418 | 93.4753
3417 | 93.4149
3416 | 93.3554
3415 | 93.2957
3414 | 93.2359
3413 | 93.1774
3412 | 93.1225
3411 | 93.073
3410 | 93.0292
3409 | 92.9905
3408 | 92.956
3407 | 92.9255
3406 | 92.8993
3405 | 92.878
3404 | 92.8617
3403 | 92.8498
3402 | 92.8422
3401 | 92.8402
3400 | 92.8458
3399 | 92.8599
3398 | 92.8812
3397 | 92.907
3396 | 92.935
3395 | 92.9646
3394 | 92.9956
3393 | 93.0282
3392 | 93.0632
3391 | 93.1023
3390 | 93.1468
3389 | 93.1964
3388 | 93.2483
3387 | 93.2999
3386 | 93.3498
3385 | 93.3981
3384 | 93.4454
3383 | 93.4916
3382 | 93.5362
3381 | 93.5794
3380 | 93.6217
3379 | 93.6636
3378 | 93.7056
3377 | 93.747
3376 | 93.7869
3375 | 93.8241
3374 | 93.858
3373 | 93.8894
3372 | 93.9191
3371 | 93.9481
3370 | 93.977
3369 | 94.006
3368 | 94.0341
3367 | 94.0597
3366 | 94.0822
3365 | 94.1027
3364 | 94.1231
3363 | 94.1438
3362 | 94.1641
3361 | 94.183
3360 | 94.1999
3359 | 94.2146
3358 | 94.2276
3357 | 94.2399
3356 | 94.2522
3355 | 94.2639
3354 | 94.274
3353 | 94.282
3352 | 94.289
3351 | 94.2963
3350 | 94.3042
3349 | 94.313
3348 | 94.3223
3347 | 94.3315
3346 | 94.3396
3345 | 94.346
3344 | 94.3511
3343 | 94.3558
3342 | 94.3604
3341 | 94.3647
3340 | 94.3687
3339 | 94.373
3338 | 94.3792
3337 | 94.3882
3336 | 94.3995
3335 | 94.4112
3334 | 94.4215
3333 | 94.4299
3332 | 94.4372
3331 | 94.4445
3330 | 94.452
3329 | 94.4593
3328 | 94.4659
3327 | 94.4717
3326 | 94.4771
3325 | 94.483
3324 | 94.4898
3323 | 94.4971
3322 | 94.5042
3321 | 94.5105
3320 | 94.5166
3319 | 94.5228
3318 | 94.5292
3317 | 94.5357
3316 | 94.5421
3315 | 94.5482
3314 | 94.5533
3313 | 94.5574
3312 | 94.5609
3311 | 94.5645
3310 | 94.5677
3309 | 94.5695
3308 | 94.5698
3307 | 94.5699
3306 | 94.5717
3305 | 94.5761
3304 | 94.5827
3303 | 94.5902
3302 | 94.5974
3301 | 94.6031
3300 | 94.6065
3299 | 94.6075
3298 | 94.6072
3297 | 94.6073
3296 | 94.6089
3295 | 94.6122
3294 | 94.6165
3293 | 94.6211
3292 | 94.625
3291 | 94.628
3290 | 94.6304
3289 | 94.6325
3288 | 94.6348
3287 | 94.6371
3286 | 94.6395
3285 | 94.6424
3284 | 94.6461
3283 | 94.6501
3282 | 94.6535
3281 | 94.6562
3280 | 94.6578
3279 | 94.6584
3278 | 94.6577
3277 | 94.656
3276 | 94.6541
3275 | 94.6532
3274 | 94.654
3273 | 94.6567
3272 | 94.6605
3271 | 94.6646
3270 | 94.6688
3269 | 94.6735
3268 | 94.6792
3267 | 94.6855
3266 | 94.692
3265 | 94.6985
3264 | 94.7047
3263 | 94.7102
3262 | 94.7145
3261 | 94.7179
3260 | 94.7206
3259 | 94.7227
3258 | 94.7242
3257 | 94.7246
3256 | 94.7241
3255 | 94.7231
3254 | 94.7222
3253 | 94.7221
3252 | 94.7228
3251 | 94.7242
3250 | 94.7258
3249 | 94.7273
3248 | 94.7277
3247 | 94.7265
3246 | 94.7248
3245 | 94.7252
3244 | 94.7296
3243 | 94.7381
3242 | 94.7493
3241 | 94.7621
3240 | 94.7763
3239 | 94.7913
3238 | 94.8064
3237 | 94.8215
3236 | 94.837
3235 | 94.8535
3234 | 94.8711
3233 | 94.8902
3232 | 94.9109
3231 | 94.9327
3230 | 94.9551
3229 | 94.9774
3228 | 94.9983
3227 | 95.0168
3226 | 95.0327
3225 | 95.0476
3224 | 95.0636
3223 | 95.0812
3222 | 95.0993
3221 | 95.1164
3220 | 95.1325
3219 | 95.1485
3218 | 95.1655
3217 | 95.1838
3216 | 95.2024
3215 | 95.22
3214 | 95.2356
3213 | 95.2495
3212 | 95.263
3211 | 95.2774
3210 | 95.2931
3209 | 95.3097
3208 | 95.3263
3207 | 95.3422
3206 | 95.3572
3205 | 95.3718
3204 | 95.3868
3203 | 95.4026
3202 | 95.4187
3201 | 95.4349
3200 | 95.4504
3199 | 95.4649
3198 | 95.4787
3197 | 95.4926
3196 | 95.5074
3195 | 95.523
3194 | 95.5391
3193 | 95.5553
3192 | 95.5718
3191 | 95.5884
3190 | 95.6046
3189 | 95.6204
3188 | 95.6362
3187 | 95.6518
3186 | 95.6666
3185 | 95.6806
3184 | 95.6945
3183 | 95.7089
3182 | 95.7243
3181 | 95.7408
3180 | 95.7585
3179 | 95.7766
3178 | 95.7939
3177 | 95.8103
3176 | 95.8266
3175 | 95.8438
3174 | 95.862
3173 | 95.8802
3172 | 95.8979
3171 | 95.9147
3170 | 95.9303
3169 | 95.9448
3168 | 95.9585
3167 | 95.9726
3166 | 95.9876
3165 | 96.0045
3164 | 96.0235
3163 | 96.0443
3162 | 96.0654
3161 | 96.0851
3160 | 96.1029
3159 | 96.119
3158 | 96.1342
3157 | 96.1492
3156 | 96.1647
3155 | 96.1808
3154 | 96.1971
3153 | 96.213
3152 | 96.2285
3151 | 96.245
3150 | 96.2634
3149 | 96.2837
3148 | 96.3041
3147 | 96.3226
3146 | 96.3383
3145 | 96.353
3144 | 96.3688
3143 | 96.3865
3142 | 96.4046
3141 | 96.4213
3140 | 96.4367
3139 | 96.4519
3138 | 96.4676
3137 | 96.4837
3136 | 96.4997
3135 | 96.5161
3134 | 96.5333
3133 | 96.5512
3132 | 96.5692
3131 | 96.5869
3130 | 96.6039
3129 | 96.6202
3128 | 96.6364
3127 | 96.6528
3126 | 96.6692
3125 | 96.6853
3124 | 96.7009
3123 | 96.7166
3122 | 96.7324
3121 | 96.748
3120 | 96.7632
3119 | 96.7788
3118 | 96.7955
3117 | 96.8131
3116 | 96.8303
3115 | 96.8465
3114 | 96.8618
3113 | 96.8776
3112 | 96.895
3111 | 96.9139
3110 | 96.9334
3109 | 96.9524
3108 | 96.9698
3107 | 96.9854
3106 | 96.9992
3105 | 97.012
3104 | 97.0249
3103 | 97.0382
3102 | 97.0516
3101 | 97.0643
3100 | 97.077
3099 | 97.0909
3098 | 97.1067
3097 | 97.1234
3096 | 97.1389
3095 | 97.152
3094 | 97.1631
3093 | 97.1735
3092 | 97.1842
3091 | 97.1952
3090 | 97.2063
3089 | 97.2174
3088 | 97.2287
3087 | 97.2402
3086 | 97.2513
3085 | 97.2618
3084 | 97.2718
3083 | 97.2814
3082 | 97.2903
3081 | 97.2983
3080 | 97.3058
3079 | 97.3134
3078 | 97.3216
3077 | 97.3307
3076 | 97.341
3075 | 97.3523
3074 | 97.3636
3073 | 97.3736
3072 | 97.3815
3071 | 97.3873
3070 | 97.3919
3069 | 97.3964
3068 | 97.4019
3067 | 97.4083
3066 | 97.4149
3065 | 97.4212
3064 | 97.4277
3063 | 97.435
3062 | 97.4429
3061 | 97.4509
3060 | 97.4581
3059 | 97.4643
3058 | 97.4692
3057 | 97.4731
3056 | 97.4766
3055 | 97.4807
3054 | 97.4858
3053 | 97.491
3052 | 97.4956
3051 | 97.4989
3050 | 97.5014
3049 | 97.5041
3048 | 97.5079
3047 | 97.5124
3046 | 97.5166
3045 | 97.5199
3044 | 97.5228
3043 | 97.5261
3042 | 97.5296
3041 | 97.5326
3040 | 97.5354
3039 | 97.5385
3038 | 97.5423
3037 | 97.5457
3036 | 97.5476
3035 | 97.5482
3034 | 97.5489
3033 | 97.5509
3032 | 97.5547
3031 | 97.5592
3030 | 97.563
3029 | 97.566
3028 | 97.5687
3027 | 97.5717
3026 | 97.574
3025 | 97.5746
3024 | 97.5739
3023 | 97.5738
3022 | 97.5755
3021 | 97.5789
3020 | 97.5826
3019 | 97.5855
3018 | 97.5869
3017 | 97.587
3016 | 97.5868
3015 | 97.5871
3014 | 97.5884
3013 | 97.5904
3012 | 97.5928
3011 | 97.5954
3010 | 97.5981
3009 | 97.6009
3008 | 97.6039
3007 | 97.6066
3006 | 97.6088
3005 | 97.6098
3004 | 97.6099
3003 | 97.6097
3002 | 97.6104
3001 | 97.6125
3000 | 97.616
2999 | 97.6198
2998 | 97.6224
2997 | 97.6233
2996 | 97.6229
2995 | 97.6226
2994 | 97.6232
2993 | 97.6247
2992 | 97.6264
2991 | 97.628
2990 | 97.6292
2989 | 97.6302
2988 | 97.6312
2987 | 97.6321
2986 | 97.6326
2985 | 97.6326
2984 | 97.6325
2983 | 97.633
2982 | 97.6335
2981 | 97.6334
2980 | 97.6326
2979 | 97.6317
2978 | 97.6308
2977 | 97.6297
2976 | 97.6279
2975 | 97.6254
2974 | 97.6226
2973 | 97.6202
2972 | 97.618
2971 | 97.6151
2970 | 97.6105
2969 | 97.6037
2968 | 97.5951
2967 | 97.5848
2966 | 97.5726
2965 | 97.558
2964 | 97.5415
2963 | 97.5246
2962 | 97.5086
2961 | 97.4943
2960 | 97.4817
2959 | 97.4699
2958 | 97.4582
2957 | 97.4465
2956 | 97.4355
2955 | 97.4261
2954 | 97.4182
2953 | 97.4109
2952 | 97.4045
2951 | 97.3999
2950 | 97.3973
2949 | 97.3955
2948 | 97.3928
2947 | 97.3886
2946 | 97.3836
2945 | 97.3783
2944 | 97.3723
2943 | 97.3651
2942 | 97.3568
2941 | 97.3484
2940 | 97.3408
2939 | 97.3339
2938 | 97.3269
2937 | 97.3188
2936 | 97.3097
2935 | 97.3002
2934 | 97.2917
2933 | 97.2852
2932 | 97.2809
2931 | 97.2774
2930 | 97.2731
2929 | 97.2678
2928 | 97.2629
2927 | 97.2599
2926 | 97.2592
2925 | 97.2608
2924 | 97.2655
2923 | 97.2739
2922 | 97.2856
2921 | 97.2986
2920 | 97.311
2919 | 97.3228
2918 | 97.3343
2917 | 97.3456
2916 | 97.3554
2915 | 97.3627
2914 | 97.3677
2913 | 97.3715
2912 | 97.3752
2911 | 97.3785
2910 | 97.3809
2909 | 97.3822
2908 | 97.3832
2907 | 97.3844
2906 | 97.3858
2905 | 97.3867
2904 | 97.3865
2903 | 97.3855
2902 | 97.3849
2901 | 97.3857
2900 | 97.3878
2899 | 97.3905
2898 | 97.3926
2897 | 97.3943
2896 | 97.3962
2895 | 97.3984
2894 | 97.4003
2893 | 97.4016
2892 | 97.4026
2891 | 97.4037
2890 | 97.4049
2889 | 97.406
2888 | 97.4074
2887 | 97.4092
2886 | 97.4114
2885 | 97.4135
2884 | 97.4157
2883 | 97.4181
2882 | 97.4205
2881 | 97.4221
2880 | 97.4229
2879 | 97.4226
2878 | 97.4214
2877 | 97.4194
2876 | 97.4171
2875 | 97.4152
2874 | 97.4142
2873 | 97.4142
2872 | 97.4157
2871 | 97.4186
2870 | 97.4228
2869 | 97.4275
2868 | 97.4324
2867 | 97.4374
2866 | 97.4424
2865 | 97.4469
2864 | 97.4505
2863 | 97.4528
2862 | 97.4539
2861 | 97.4542
2860 | 97.4542
2859 | 97.4546
2858 | 97.4557
2857 | 97.4579
2856 | 97.4617
2855 | 97.4679
2854 | 97.4768
2853 | 97.4886
2852 | 97.5032
2851 | 97.5198
2850 | 97.5375
2849 | 97.5553
2848 | 97.5723
2847 | 97.5878
2846 | 97.6017
2845 | 97.6145
2844 | 97.6272
2843 | 97.6394
2842 | 97.6502
2841 | 97.659
2840 | 97.6664
2839 | 97.6736
2838 | 97.6809
2837 | 97.6886
2836 | 97.6963
2835 | 97.7036
2834 | 97.7099
2833 | 97.7151
2832 | 97.7199
2831 | 97.7249
2830 | 97.7298
2829 | 97.734
2828 | 97.7376
2827 | 97.7413
2826 | 97.7455
2825 | 97.7499
2824 | 97.7542
2823 | 97.7587
2822 | 97.7635
2821 | 97.7684
2820 | 97.7727
2819 | 97.7758
2818 | 97.7776
2817 | 97.7788
2816 | 97.7803
2815 | 97.7825
2814 | 97.7849
2813 | 97.7869
2812 | 97.7885
2811 | 97.7899
2810 | 97.7914
2809 | 97.7929
2808 | 97.7944
2807 | 97.7962
2806 | 97.7982
2805 | 97.8004
2804 | 97.8024
2803 | 97.8041
2802 | 97.8054
2801 | 97.8069
2800 | 97.8096
2799 | 97.8132
2798 | 97.8168
2797 | 97.8197
2796 | 97.8219
2795 | 97.8242
2794 | 97.8266
2793 | 97.8291
2792 | 97.8316
2791 | 97.834
2790 | 97.8363
2789 | 97.8383
2788 | 97.8405
2787 | 97.8428
2786 | 97.8448
2785 | 97.846
2784 | 97.847
2783 | 97.8484
2782 | 97.8505
2781 | 97.8533
2780 | 97.8562
2779 | 97.8589
2778 | 97.861
2777 | 97.8625
2776 | 97.8641
2775 | 97.8662
2774 | 97.8685
2773 | 97.8705
2772 | 97.8719
2771 | 97.8729
2770 | 97.8736
2769 | 97.8742
2768 | 97.8751
2767 | 97.8765
2766 | 97.878
2765 | 97.8791
2764 | 97.8798
2763 | 97.8809
2762 | 97.8821
2761 | 97.8834
2760 | 97.8847
2759 | 97.8863
2758 | 97.8878
2757 | 97.8884
2756 | 97.8882
2755 | 97.8877
2754 | 97.8876
2753 | 97.8882
2752 | 97.8896
2751 | 97.8921
2750 | 97.8948
2749 | 97.8965
2748 | 97.8968
2747 | 97.8965
2746 | 97.8968
2745 | 97.8978
2744 | 97.8995
2743 | 97.9011
2742 | 97.9026
2741 | 97.9035
2740 | 97.9042
2739 | 97.9049
2738 | 97.9058
2737 | 97.9068
2736 | 97.9082
2735 | 97.91
2734 | 97.9119
2733 | 97.9134
2732 | 97.9144
2731 | 97.9151
2730 | 97.9154
2729 | 97.9153
2728 | 97.9153
2727 | 97.9162
2726 | 97.9183
2725 | 97.9207
2724 | 97.9226
2723 | 97.9239
2722 | 97.9246
2721 | 97.9252
2720 | 97.9262
2719 | 97.9282
2718 | 97.9312
2717 | 97.9343
2716 | 97.9368
2715 | 97.9386
2714 | 97.9399
2713 | 97.941
2712 | 97.9421
2711 | 97.9434
2710 | 97.9448
2709 | 97.9459
2708 | 97.9469
2707 | 97.9477
2706 | 97.9484
2705 | 97.9487
2704 | 97.949
2703 | 97.9501
2702 | 97.9523
2701 | 97.9551
2700 | 97.9576
2699 | 97.96
2698 | 97.9624
2697 | 97.9647
2696 | 97.9664
2695 | 97.9679
2694 | 97.9694
2693 | 97.9713
2692 | 97.9733
2691 | 97.9753
2690 | 97.9771
2689 | 97.9787
2688 | 97.9801
2687 | 97.9812
2686 | 97.9822
2685 | 97.9833
2684 | 97.9844
2683 | 97.9853
2682 | 97.9857
2681 | 97.9861
2680 | 97.9872
2679 | 97.9892
2678 | 97.9917
2677 | 97.9939
2676 | 97.9954
2675 | 97.9964
2674 | 97.9968
2673 | 97.9968
2672 | 97.997
2671 | 97.9975
2670 | 97.9985
2669 | 97.9996
2668 | 98.0012
2667 | 98.0033
2666 | 98.0057
2665 | 98.0077
2664 | 98.0092
2663 | 98.0106
2662 | 98.0122
2661 | 98.0139
2660 | 98.0155
2659 | 98.0171
2658 | 98.0188
2657 | 98.0203
2656 | 98.0211
2655 | 98.0214
2654 | 98.0218
2653 | 98.0225
2652 | 98.0236
2651 | 98.0251
2650 | 98.0271
2649 | 98.0295
2648 | 98.0321
2647 | 98.0343
2646 | 98.0353
2645 | 98.0353
2644 | 98.035
2643 | 98.0347
2642 | 98.0342
2641 | 98.0336
2640 | 98.0337
2639 | 98.0351
2638 | 98.0374
2637 | 98.0393
2636 | 98.0401
2635 | 98.0404
2634 | 98.041
2633 | 98.0424
2632 | 98.0444
2631 | 98.0466
2630 | 98.0483
2629 | 98.049
2628 | 98.0488
2627 | 98.0479
2626 | 98.047
2625 | 98.0464
2624 | 98.0469
2623 | 98.0486
2622 | 98.0513
2621 | 98.0539
2620 | 98.0559
2619 | 98.0572
2618 | 98.058
2617 | 98.0581
2616 | 98.0575
2615 | 98.0567
2614 | 98.0567
2613 | 98.0582
2612 | 98.0605
2611 | 98.0625
2610 | 98.0634
2609 | 98.0634
2608 | 98.0638
2607 | 98.065
2606 | 98.0663
2605 | 98.0671
2604 | 98.0674
2603 | 98.0675
2602 | 98.0677
2601 | 98.0682
2600 | 98.0691
2599 | 98.0706
2598 | 98.0722
2597 | 98.0733
2596 | 98.0741
2595 | 98.0751
2594 | 98.0761
2593 | 98.0769
2592 | 98.0776
2591 | 98.0785
2590 | 98.0795
2589 | 98.0802
2588 | 98.0807
2587 | 98.0812
2586 | 98.0813
2585 | 98.0808
2584 | 98.0801
2583 | 98.0806
2582 | 98.0829
2581 | 98.0864
2580 | 98.0897
2579 | 98.0916
2578 | 98.0916
2577 | 98.0906
2576 | 98.0897
2575 | 98.0897
2574 | 98.0904
2573 | 98.0915
2572 | 98.0931
2571 | 98.0949
2570 | 98.0966
2569 | 98.0981
2568 | 98.0998
2567 | 98.1021
2566 | 98.1045
2565 | 98.1063
2564 | 98.1076
2563 | 98.1087
2562 | 98.1095
2561 | 98.1102
2560 | 98.1108
2559 | 98.1113
2558 | 98.1108
2557 | 98.1093
2556 | 98.1078
2555 | 98.1075
2554 | 98.1089
2553 | 98.1113
2552 | 98.1139
2551 | 98.1162
2550 | 98.1175
2549 | 98.1177
2548 | 98.1177
2547 | 98.118
2546 | 98.1186
2545 | 98.1191
2544 | 98.12
2543 | 98.1215
2542 | 98.1236
2541 | 98.1259
2540 | 98.1283
2539 | 98.1305
2538 | 98.1316
2537 | 98.1317
2536 | 98.1321
2535 | 98.1341
2534 | 98.1371
2533 | 98.1391
2532 | 98.1398
2531 | 98.14
2530 | 98.1402
2529 | 98.1401
2528 | 98.1399
2527 | 98.1406
2526 | 98.1428
2525 | 98.1459
2524 | 98.1493
2523 | 98.1525
2522 | 98.1548
2521 | 98.1555
2520 | 98.1548
2519 | 98.154
2518 | 98.1539
2517 | 98.1542
2516 | 98.1546
2515 | 98.1552
2514 | 98.1564
2513 | 98.1582
2512 | 98.1598
2511 | 98.1609
2510 | 98.1614
2509 | 98.1623
2508 | 98.1646
2507 | 98.1682
2506 | 98.1716
2505 | 98.1736
2504 | 98.1745
2503 | 98.1753
2502 | 98.1766
2501 | 98.1778
2500 | 98.179
2499 | 98.1804
2498 | 98.1823
2497 | 98.1843
2496 | 98.186
2495 | 98.1877
2494 | 98.1893
2493 | 98.1909
2492 | 98.1923
2491 | 98.1937
2490 | 98.1952
2489 | 98.1969
2488 | 98.1992
2487 | 98.2018
2486 | 98.204
2485 | 98.2049
2484 | 98.2051
2483 | 98.2056
2482 | 98.2068
2481 | 98.2086
2480 | 98.2109
2479 | 98.2132
2478 | 98.2151
2477 | 98.2162
2476 | 98.2173
2475 | 98.2196
2474 | 98.2228
2473 | 98.2256
2472 | 98.2275
2471 | 98.2292
2470 | 98.2315
2469 | 98.2339
2468 | 98.2353
2467 | 98.2354
2466 | 98.2349
2465 | 98.2349
2464 | 98.2364
2463 | 98.239
2462 | 98.2415
2461 | 98.2431
2460 | 98.2444
2459 | 98.2464
2458 | 98.2493
2457 | 98.252
2456 | 98.2539
2455 | 98.2549
2454 | 98.255
2453 | 98.2548
2452 | 98.2553
2451 | 98.2575
2450 | 98.2607
2449 | 98.263
2448 | 98.2631
2447 | 98.2615
2446 | 98.26
2445 | 98.26
2444 | 98.2619
2443 | 98.265
2442 | 98.2681
2441 | 98.2703
2440 | 98.2716
2439 | 98.2727
2438 | 98.2737
2437 | 98.2747
2436 | 98.2758
2435 | 98.2772
2434 | 98.2787
2433 | 98.28
2432 | 98.2809
2431 | 98.2816
2430 | 98.2822
2429 | 98.2826
2428 | 98.2833
2427 | 98.2848
2426 | 98.2869
2425 | 98.2887
2424 | 98.2899
2423 | 98.2909
2422 | 98.2919
2421 | 98.293
2420 | 98.2944
2419 | 98.2961
2418 | 98.2978
2417 | 98.2991
2416 | 98.3002
2415 | 98.3017
2414 | 98.3038
2413 | 98.3056
2412 | 98.3066
2411 | 98.3073
2410 | 98.3084
2409 | 98.3104
2408 | 98.3132
2407 | 98.3158
2406 | 98.3174
2405 | 98.3178
2404 | 98.3178
2403 | 98.3185
2402 | 98.3199
2401 | 98.3211
2400 | 98.3219
2399 | 98.3225
2398 | 98.3232
2397 | 98.3242
2396 | 98.3257
2395 | 98.3276
2394 | 98.3289
2393 | 98.3287
2392 | 98.3273
2391 | 98.3257
2390 | 98.3241
2389 | 98.3223
2388 | 98.3199
2387 | 98.317
2386 | 98.3132
2385 | 98.3082
2384 | 98.3021
2383 | 98.2959
2382 | 98.2901
2381 | 98.2852
2380 | 98.282
2379 | 98.2804
2378 | 98.2801
2377 | 98.28
2376 | 98.2795
2375 | 98.2778
2374 | 98.2738
2373 | 98.2675
2372 | 98.2608
2371 | 98.2563
2370 | 98.2546
2369 | 98.2541
2368 | 98.2533
2367 | 98.2513
2366 | 98.2474
2365 | 98.2417
2364 | 98.235
2363 | 98.2278
2362 | 98.2206
2361 | 98.2138
2360 | 98.2082
2359 | 98.2043
2358 | 98.2013
2357 | 98.1999
2356 | 98.201
2355 | 98.203
2354 | 98.2019
2353 | 98.1957
2352 | 98.189
2351 | 98.1877
2350 | 98.1943
2349 | 98.2077
2348 | 98.2232
2347 | 98.2292
2346 | 98.2097
2345 | 98.1608
2344 | 98.0974
2343 | 98.0399
2342 | 98.0011
2341 | 97.9858
2340 | 97.9963
2339 | 98.0302
2338 | 98.0798
2337 | 98.1329
2336 | 98.1786
2335 | 98.2103
2334 | 98.2267
2333 | 98.2298
2332 | 98.2254
2331 | 98.218
2330 | 98.2111
2329 | 98.2057
2328 | 98.2038
2327 | 98.2072
2326 | 98.2144
2325 | 98.2221
2324 | 98.2274
2323 | 98.2298
2322 | 98.2307
2321 | 98.2308
2320 | 98.2321
2319 | 98.2354
2318 | 98.2412
2317 | 98.2481
2316 | 98.2549
2315 | 98.2599
2314 | 98.2617
2313 | 98.2598
2312 | 98.2564
2311 | 98.2542
2310 | 98.2546
2309 | 98.2574
2308 | 98.2626
2307 | 98.2703
2306 | 98.2793
2305 | 98.2875
2304 | 98.2939
2303 | 98.2986
2302 | 98.3027
2301 | 98.3074
2300 | 98.3136
2299 | 98.3212
2298 | 98.3286
2297 | 98.3337
2296 | 98.3373
2295 | 98.3418
2294 | 98.3484
2293 | 98.3559
2292 | 98.3622
2291 | 98.3668
2290 | 98.3697
2289 | 98.3715
2288 | 98.3729
2287 | 98.3747
2286 | 98.3769
2285 | 98.3787
2284 | 98.3805
2283 | 98.3824
2282 | 98.3838
2281 | 98.3834
2280 | 98.3816
2279 | 98.3804
2278 | 98.3802
2277 | 98.3796
2276 | 98.3779
2275 | 98.3758
2274 | 98.3746
2273 | 98.3746
2272 | 98.3752
2271 | 98.3754
2270 | 98.3749
2269 | 98.3737
2268 | 98.3724
2267 | 98.3713
2266 | 98.3692
2265 | 98.3657
2264 | 98.362
2263 | 98.3598
2262 | 98.3593
2261 | 98.3598
2260 | 98.3611
2259 | 98.3631
2258 | 98.3641
2257 | 98.3628
2256 | 98.3601
2255 | 98.3579
2254 | 98.3569
2253 | 98.3565
2252 | 98.3563
2251 | 98.3566
2250 | 98.3569
2249 | 98.3562
2248 | 98.3549
2247 | 98.3544
2246 | 98.3544
2245 | 98.3536
2244 | 98.3517
2243 | 98.35
2242 | 98.3494
2241 | 98.3506
2240 | 98.3542
2239 | 98.3602
2238 | 98.3663
2237 | 98.3694
2236 | 98.3691
2235 | 98.3674
2234 | 98.3659
2233 | 98.3649
2232 | 98.3651
2231 | 98.3671
2230 | 98.3702
2229 | 98.3729
2228 | 98.3755
2227 | 98.3794
2226 | 98.3837
2225 | 98.3862
2224 | 98.3868
2223 | 98.387
2222 | 98.3868
2221 | 98.385
2220 | 98.3827
2219 | 98.3833
2218 | 98.3877
2217 | 98.3927
2216 | 98.3954
2215 | 98.396
2214 | 98.396
2213 | 98.3958
2212 | 98.3957
2211 | 98.3969
2210 | 98.3995
2209 | 98.4023
2208 | 98.4045
2207 | 98.4067
2206 | 98.4088
2205 | 98.4097
2204 | 98.4093
2203 | 98.409
2202 | 98.4095
2201 | 98.4106
2200 | 98.4127
2199 | 98.4168
2198 | 98.4219
2197 | 98.4252
2196 | 98.4258
2195 | 98.4259
2194 | 98.4274
2193 | 98.4301
2192 | 98.4334
2191 | 98.437
2190 | 98.4406
2189 | 98.4439
2188 | 98.4479
2187 | 98.4539
2186 | 98.4605
2185 | 98.4647
2184 | 98.4658
2183 | 98.4658
2182 | 98.4668
2181 | 98.4684
2180 | 98.4699
2179 | 98.4718
2178 | 98.4746
2177 | 98.478
2176 | 98.4821
2175 | 98.487
2174 | 98.4908
2173 | 98.4917
2172 | 98.4912
2171 | 98.4932
2170 | 98.4981
2169 | 98.5027
2168 | 98.5047
2167 | 98.5056
2166 | 98.5075
2165 | 98.5101
2164 | 98.5117
2163 | 98.511
2162 | 98.5068
2161 | 98.4991
2160 | 98.4904
2159 | 98.4849
2158 | 98.4842
2157 | 98.4869
2156 | 98.4916
2155 | 98.4984
2154 | 98.5068
2153 | 98.5144
2152 | 98.5197
2151 | 98.5232
2150 | 98.526
2149 | 98.5293
2148 | 98.5348
2147 | 98.5431
2146 | 98.5519
2145 | 98.558
2144 | 98.561
2143 | 98.5623
2142 | 98.5628
2141 | 98.5624
2140 | 98.5625
2139 | 98.565
2138 | 98.5692
2137 | 98.5727
2136 | 98.5748
2135 | 98.5767
2134 | 98.5788
2133 | 98.5804
2132 | 98.5817
2131 | 98.5846
2130 | 98.5892
2129 | 98.5937
2128 | 98.5972
2127 | 98.6009
2126 | 98.6049
2125 | 98.6078
2124 | 98.6091
2123 | 98.6097
2122 | 98.6106
2121 | 98.6119
2120 | 98.6135
2119 | 98.6156
2118 | 98.6176
2117 | 98.6189
2116 | 98.6204
2115 | 98.6238
2114 | 98.6286
2113 | 98.6332
2112 | 98.6364
2111 | 98.6387
2110 | 98.6407
2109 | 98.6421
2108 | 98.6438
2107 | 98.6475
2106 | 98.653
2105 | 98.6589
2104 | 98.6644
2103 | 98.6703
2102 | 98.6766
2101 | 98.6822
2100 | 98.6876
2099 | 98.6936
2098 | 98.7001
2097 | 98.7058
2096 | 98.7101
2095 | 98.7137
2094 | 98.7162
2093 | 98.7178
2092 | 98.7202
2091 | 98.726
2090 | 98.7344
2089 | 98.7422
2088 | 98.7477
2087 | 98.7514
2086 | 98.754
2085 | 98.755
2084 | 98.7553
2083 | 98.7572
2082 | 98.7615
2081 | 98.7667
2080 | 98.7716
2079 | 98.7762
2078 | 98.7806
2077 | 98.7842
2076 | 98.7872
2075 | 98.7901
2074 | 98.792
2073 | 98.7922
2072 | 98.793
2071 | 98.7972
2070 | 98.8037
2069 | 98.8088
2068 | 98.8112
2067 | 98.8134
2066 | 98.8163
2065 | 98.8181
2064 | 98.8179
2063 | 98.8184
2062 | 98.8214
2061 | 98.8253
2060 | 98.8285
2059 | 98.8313
2058 | 98.8342
2057 | 98.8365
2056 | 98.8381
2055 | 98.8399
2054 | 98.8417
2053 | 98.8419
2052 | 98.8411
2051 | 98.8419
2050 | 98.8452
2049 | 98.8491
2048 | 98.8526
2047 | 98.8562
2046 | 98.8593
2045 | 98.8602
2044 | 98.8591
2043 | 98.8583
2042 | 98.8581
2041 | 98.8564
2040 | 98.8534
2039 | 98.8522
2038 | 98.8541
2037 | 98.8569
2036 | 98.8595
2035 | 98.863
2034 | 98.8667
2033 | 98.868
2032 | 98.8671
2031 | 98.8674
2030 | 98.8708
2029 | 98.8755
2028 | 98.88
2027 | 98.8845
2026 | 98.8885
2025 | 98.89
2024 | 98.8896
2023 | 98.8905
2022 | 98.8941
2021 | 98.8989
2020 | 98.9039
2019 | 98.9099
2018 | 98.9153
2017 | 98.917
2016 | 98.9145
2015 | 98.9114
2014 | 98.9101
2013 | 98.9106
2012 | 98.9141
2011 | 98.9231
2010 | 98.9353
2009 | 98.9445
2008 | 98.948
2007 | 98.9492
2006 | 98.9515
2005 | 98.9537
2004 | 98.9547
2003 | 98.956
2002 | 98.9589
2001 | 98.9625
2000 | 98.9663
1999 | 98.9716
1998 | 98.9782
1997 | 98.9843
1996 | 98.9894
1995 | 98.9956
1994 | 99.0027
1993 | 99.0061
1992 | 99.0029
1991 | 98.9965
1990 | 98.9925
1989 | 98.9922
1988 | 98.9938
1987 | 98.9959
1986 | 98.9979
1985 | 98.9992
1984 | 99.0007
1983 | 99.0037
1982 | 99.0081
1981 | 99.0107
1980 | 99.0098
1979 | 99.0067
1978 | 99.0037
1977 | 99.0013
1976 | 98.9997
1975 | 98.9995
1974 | 99.0002
1973 | 99.0008
1972 | 99.0023
1971 | 99.0072
1970 | 99.0157
1969 | 99.0243
1968 | 99.0293
1967 | 99.0299
1966 | 99.0277
1965 | 99.0254
1964 | 99.0257
1963 | 99.0295
1962 | 99.0342
1961 | 99.0371
1960 | 99.0385
1959 | 99.0398
1958 | 99.0404
1957 | 99.0388
1956 | 99.0367
1955 | 99.0372
1954 | 99.0402
1953 | 99.0426
1952 | 99.0432
1951 | 99.0437
1950 | 99.0452
1949 | 99.0471
1948 | 99.0491
1947 | 99.0517
1946 | 99.0553
1945 | 99.0598
1944 | 99.0653
1943 | 99.0696
1942 | 99.0687
1941 | 99.0622
1940 | 99.0557
1939 | 99.0547
1938 | 99.0578
1937 | 99.0601
1936 | 99.0598
1935 | 99.0593
1934 | 99.0596
1933 | 99.0598
1932 | 99.0596
1931 | 99.0606
1930 | 99.0626
1929 | 99.0641
1928 | 99.0651
1927 | 99.0667
1926 | 99.0691
1925 | 99.0714
1924 | 99.0735
1923 | 99.075
1922 | 99.0751
1921 | 99.0747
1920 | 99.0778
1919 | 99.0847
1918 | 99.0891
1917 | 99.0849
1916 | 99.0758
1915 | 99.0704
1914 | 99.0704
1913 | 99.0717
1912 | 99.072
1911 | 99.0732
1910 | 99.076
1909 | 99.0775
1908 | 99.0769
1907 | 99.0758
1906 | 99.0753
1905 | 99.0739
1904 | 99.0716
1903 | 99.071
1902 | 99.0723
1901 | 99.0726
1900 | 99.0713
1899 | 99.0702
1898 | 99.0707
1897 | 99.0715
1896 | 99.0714
1895 | 99.0711
1894 | 99.0707
1893 | 99.0699
1892 | 99.0697
1891 | 99.0719
1890 | 99.0751
1889 | 99.0756
1888 | 99.0732
1887 | 99.0714
1886 | 99.0712
1885 | 99.0704
1884 | 99.0685
1883 | 99.0678
1882 | 99.0691
1881 | 99.0702
1880 | 99.0695
1879 | 99.0678
1878 | 99.0664
1877 | 99.0648
1876 | 99.0634
1875 | 99.0634
1874 | 99.0647
1873 | 99.0654
1872 | 99.0657
1871 | 99.068
1870 | 99.072
1869 | 99.0731
1868 | 99.0687
1867 | 99.0626
1866 | 99.0596
1865 | 99.0596
1864 | 99.0604
1863 | 99.0613
1862 | 99.062
1861 | 99.0621
1860 | 99.0614
1859 | 99.061
1858 | 99.061
1857 | 99.0602
1856 | 99.0589
1855 | 99.0586
1854 | 99.0598
1853 | 99.0605
1852 | 99.0599
1851 | 99.0585
1850 | 99.0566
1849 | 99.0544
1848 | 99.0529
1847 | 99.0545
1846 | 99.0602
1845 | 99.0674
1844 | 99.0708
1843 | 99.0674
1842 | 99.0591
1841 | 99.0496
1840 | 99.043
1839 | 99.0409
1838 | 99.0417
1837 | 99.0415
1836 | 99.0395
1835 | 99.0376
1834 | 99.036
1833 | 99.0333
1832 | 99.0314
1831 | 99.0329
1830 | 99.0369
1829 | 99.0373
1828 | 99.0319
1827 | 99.0259
1826 | 99.0243
1825 | 99.0269
1824 | 99.029
1823 | 99.0286
1822 | 99.0266
1821 | 99.0243
1820 | 99.0221
1819 | 99.0197
1818 | 99.0166
1817 | 99.0126
1816 | 99.0082
1815 | 99.0039
1814 | 98.999
1813 | 98.9939
1812 | 98.9901
1811 | 98.9888
1810 | 98.9887
1809 | 98.9871
1808 | 98.984
1807 | 98.9813
1806 | 98.9794
1805 | 98.9768
1804 | 98.9726
1803 | 98.9686
1802 | 98.9661
1801 | 98.965
1800 | 98.9639
1799 | 98.9623
1798 | 98.9604
1797 | 98.9577
1796 | 98.9545
1795 | 98.9521
1794 | 98.9516
1793 | 98.9543
1792 | 98.9592
1791 | 98.9622
1790 | 98.9603
1789 | 98.9546
1788 | 98.9481
1787 | 98.9437
1786 | 98.942
1785 | 98.9407
1784 | 98.9377
1783 | 98.9334
1782 | 98.9285
1781 | 98.9245
1780 | 98.921
1779 | 98.9173
1778 | 98.9128
1777 | 98.9072
1776 | 98.9012
1775 | 98.895
1774 | 98.8891
1773 | 98.8856
1772 | 98.8852
1771 | 98.8842
1770 | 98.8787
1769 | 98.8691
1768 | 98.8595
1767 | 98.8523
1766 | 98.8435
1765 | 98.8293
1764 | 98.8121
1763 | 98.7987
1762 | 98.7904
1761 | 98.7819
1760 | 98.7686
1759 | 98.7526
1758 | 98.7361
1757 | 98.7202
1756 | 98.7052
1755 | 98.6913
1754 | 98.6771
1753 | 98.6611
1752 | 98.6448
1751 | 98.6294
1750 | 98.6131
1749 | 98.5926
1748 | 98.5711
1747 | 98.5543
1746 | 98.5416
1745 | 98.5293
1744 | 98.516
1743 | 98.5046
1742 | 98.496
1741 | 98.4874
1740 | 98.4788
1739 | 98.4734
1738 | 98.4695
1737 | 98.464
1736 | 98.459
1735 | 98.4618
1734 | 98.4701
1733 | 98.4686
1732 | 98.4541
1731 | 98.4387
1730 | 98.431
1729 | 98.4293
1728 | 98.4299
1727 | 98.4316
1726 | 98.4346
1725 | 98.4377
1724 | 98.4402
1723 | 98.4445
1722 | 98.4504
1721 | 98.4539
1720 | 98.4544
1719 | 98.4586
1718 | 98.4708
1717 | 98.4848
1716 | 98.4932
1715 | 98.4976
1714 | 98.5012
1713 | 98.5025
1712 | 98.5005
1711 | 98.4982
1710 | 98.4965
1709 | 98.492
1708 | 98.4832
1707 | 98.4732
1706 | 98.4659
1705 | 98.4599
1704 | 98.4521
1703 | 98.443
1702 | 98.4321
1701 | 98.4154
1700 | 98.3883
1699 | 98.3501
1698 | 98.303
1697 | 98.2464
1696 | 98.1799
1695 | 98.1067
1694 | 98.0279
1693 | 97.9402
1692 | 97.8397
1691 | 97.7244
1690 | 97.5936
1689 | 97.4551
1688 | 97.3275
1687 | 97.2226
1686 | 97.1355
1685 | 97.0549
1684 | 96.9923
1683 | 96.9762
1682 | 97.0082
1681 | 97.0701
1680 | 97.1502
1679 | 97.2392
1678 | 97.3269
1677 | 97.4093
1676 | 97.4887
1675 | 97.5626
1674 | 97.6198
1673 | 97.6564
1672 | 97.68
1671 | 97.702
1670 | 97.7273
1669 | 97.7521
1668 | 97.7695
1667 | 97.7783
1666 | 97.7814
1665 | 97.7806
1664 | 97.7769
1663 | 97.7728
1662 | 97.7696
1661 | 97.7665
1660 | 97.7616
1659 | 97.7557
1658 | 97.7517
1657 | 97.751
1656 | 97.7527
1655 | 97.7551
1654 | 97.7587
1653 | 97.7553
1652 | 97.736
1651 | 97.7082
1650 | 97.6812
1649 | 97.658
1648 | 97.6387
1647 | 97.6237
1646 | 97.6134
1645 | 97.6032
1644 | 97.5884
1643 | 97.5698
1642 | 97.5486
1641 | 97.5239
1640 | 97.4947
1639 | 97.4623
1638 | 97.4263
1637 | 97.3777
1636 | 97.3063
1635 | 97.2185
1634 | 97.1305
1633 | 97.0398
1632 | 96.9341
1631 | 96.8047
1630 | 96.6406
1629 | 96.4271
1628 | 96.1628
1627 | 95.8728
1626 | 95.5819
1625 | 95.2838
1624 | 94.9633
1623 | 94.6551
1622 | 94.4384
1621 | 94.3532
1620 | 94.3789
1619 | 94.4945
1618 | 94.7064
1617 | 95.0131
1616 | 95.3559
1615 | 95.662
1614 | 95.9169
1613 | 96.141
1612 | 96.3457
1611 | 96.5293
1610 | 96.69
1609 | 96.8301
1608 | 96.9501
1607 | 97.0501
1606 | 97.1333
1605 | 97.2046
1604 | 97.2649
1603 | 97.3145
1602 | 97.3565
1601 | 97.3931
1600 | 97.4231
1599 | 97.4457
1598 | 97.4644
1597 | 97.4828
1596 | 97.501
1595 | 97.519
1594 | 97.5398
1593 | 97.5657
1592 | 97.5947
1591 | 97.6252
1590 | 97.6584
1589 | 97.6956
1588 | 97.7341
1587 | 97.7712
1586 | 97.8076
1585 | 97.8441
1584 | 97.8796
1583 | 97.9126
1582 | 97.9442
1581 | 97.9752
1580 | 98.0029
1579 | 98.0257
1578 | 98.0475
1577 | 98.075
1576 | 98.1078
1575 | 98.1376
1574 | 98.1586
1573 | 98.1725
1572 | 98.1828
1571 | 98.193
1570 | 98.2066
1569 | 98.2229
1568 | 98.2362
1567 | 98.2435
1566 | 98.2486
1565 | 98.2565
1564 | 98.2687
1563 | 98.2826
1562 | 98.2953
1561 | 98.3042
1560 | 98.3071
1559 | 98.3128
1558 | 98.33
1557 | 98.3444
1556 | 98.3456
1555 | 98.3422
1554 | 98.3425
1553 | 98.3461
1552 | 98.348
1551 | 98.3475
1550 | 98.3494
1549 | 98.3548
1548 | 98.3601
1547 | 98.3612
1546 | 98.3595
1545 | 98.3594
1544 | 98.3623
1543 | 98.3638
1542 | 98.3618
1541 | 98.3623
1540 | 98.3781
1539 | 98.4051
1538 | 98.4249
1537 | 98.4299
1536 | 98.4257
1535 | 98.42
1534 | 98.4186
1533 | 98.4246
1532 | 98.4325
1531 | 98.4356
1530 | 98.4332
1529 | 98.4281
1528 | 98.4232
1527 | 98.4194
1526 | 98.4156
1525 | 98.4111
1524 | 98.4039
1523 | 98.392
1522 | 98.3774
1521 | 98.366
1520 | 98.3577
1519 | 98.3444
1518 | 98.3222
1517 | 98.2966
1516 | 98.2753
1515 | 98.2585
1514 | 98.239
1513 | 98.2145
1512 | 98.1894
1511 | 98.1675
1510 | 98.1466
1509 | 98.1234
1508 | 98.0993
1507 | 98.0805
1506 | 98.0719
1505 | 98.0714
1504 | 98.0722
1503 | 98.0723
1502 | 98.0733
1501 | 98.0768
1500 | 98.0843
1499 | 98.0954
1498 | 98.1099
1497 | 98.1305
1496 | 98.1591
1495 | 98.1893
1494 | 98.2112
1493 | 98.223
1492 | 98.2298
1491 | 98.2362
1490 | 98.242
1489 | 98.2456
1488 | 98.2477
1487 | 98.2482
1486 | 98.2448
1485 | 98.2368
1484 | 98.2256
1483 | 98.211
1482 | 98.1931
1481 | 98.1736
1480 | 98.1554
1479 | 98.1372
1478 | 98.1151
1477 | 98.0876
1476 | 98.0569
1475 | 98.0227
1474 | 97.9784
1473 | 97.9212
1472 | 97.8603
1471 | 97.8075
1470 | 97.7632
1469 | 97.7235
1468 | 97.6877
1467 | 97.6553
1466 | 97.6225
1465 | 97.5892
1464 | 97.5622
1463 | 97.5454
1462 | 97.5362
1461 | 97.5311
1460 | 97.5292
1459 | 97.5284
1458 | 97.5247
1457 | 97.5178
1456 | 97.5149
1455 | 97.5188
1454 | 97.5246
1453 | 97.5313
1452 | 97.5412
1451 | 97.5545
1450 | 97.5685
1449 | 97.5807
1448 | 97.5926
1447 | 97.6055
1446 | 97.6169
1445 | 97.6253
1444 | 97.6311
1443 | 97.6345
1442 | 97.6366
1441 | 97.6388
1440 | 97.6421
1439 | 97.6447
1438 | 97.641
1437 | 97.6264
1436 | 97.605
1435 | 97.5851
1434 | 97.5672
1433 | 97.5477
1432 | 97.5257
1431 | 97.5021
1430 | 97.4785
1429 | 97.4569
1428 | 97.441
1427 | 97.4325
1426 | 97.4277
1425 | 97.424
1424 | 97.4246
1423 | 97.4342
1422 | 97.4528
1421 | 97.476
1420 | 97.502
1419 | 97.5312
1418 | 97.5618
1417 | 97.5922
1416 | 97.6235
1415 | 97.6568
1414 | 97.6902
1413 | 97.7216
1412 | 97.7505
1411 | 97.7771
1410 | 97.8014
1409 | 97.8235
1408 | 97.8436
1407 | 97.8617
1406 | 97.877
1405 | 97.8903
1404 | 97.9036
1403 | 97.9176
1402 | 97.9306
1401 | 97.9403
1400 | 97.9468
1399 | 97.9523
1398 | 97.9587
1397 | 97.965
1396 | 97.9698
1395 | 97.9725
1394 | 97.9737
1393 | 97.9742
1392 | 97.9737
1391 | 97.9715
1390 | 97.9667
1389 | 97.9579
1388 | 97.9432
1387 | 97.9228
1386 | 97.8999
1385 | 97.8772
1384 | 97.854
1383 | 97.8288
1382 | 97.802
1381 | 97.7747
1380 | 97.7472
1379 | 97.7207
1378 | 97.6972
1377 | 97.6775
1376 | 97.6592
1375 | 97.6405
1374 | 97.6222
1373 | 97.6073
1372 | 97.597
1371 | 97.5899
1370 | 97.5843
1369 | 97.5805
1368 | 97.5795
1367 | 97.5821
1366 | 97.588
1365 | 97.5959
1364 | 97.6043
1363 | 97.614
1362 | 97.6276
1361 | 97.6467
1360 | 97.6704
1359 | 97.6954
1358 | 97.7196
1357 | 97.7422
1356 | 97.7631
1355 | 97.7817
1354 | 97.798
1353 | 97.8116
1352 | 97.822
1351 | 97.8286
1350 | 97.8308
1349 | 97.8287
1348 | 97.8219
1347 | 97.81
1346 | 97.7928
1345 | 97.7711
1344 | 97.7469
1343 | 97.7213
1342 | 97.6938
1341 | 97.6634
1340 | 97.6301
1339 | 97.596
1338 | 97.5644
1337 | 97.5373
1336 | 97.5149
1335 | 97.497
1334 | 97.4837
1333 | 97.4746
1332 | 97.4687
1331 | 97.4646
1330 | 97.461
1329 | 97.4566
1328 | 97.4505
1327 | 97.4417
1326 | 97.4294
1325 | 97.4131
1324 | 97.393
1323 | 97.3702
1322 | 97.346
1321 | 97.3215
1320 | 97.2975
1319 | 97.2762
1318 | 97.2601
1317 | 97.2516
1316 | 97.2516
1315 | 97.2605
1314 | 97.2782
1313 | 97.3043
1312 | 97.3379
1311 | 97.3771
1310 | 97.4202
1309 | 97.4656
1308 | 97.5122
1307 | 97.5589
1306 | 97.6046
1305 | 97.6488
1304 | 97.6909
1303 | 97.7304
1302 | 97.7674
1301 | 97.8018
1300 | 97.8336
1299 | 97.8623
1298 | 97.8872
1297 | 97.9079
1296 | 97.9242
1295 | 97.9367
1294 | 97.9465
1293 | 97.9547
1292 | 97.9615
1291 | 97.9667
1290 | 97.9699
1289 | 97.9708
1288 | 97.9688
1287 | 97.9636
1286 | 97.9558
1285 | 97.9461
1284 | 97.9352
1283 | 97.9237
1282 | 97.9124
1281 | 97.9022
1280 | 97.893
1279 | 97.8846
1278 | 97.8772
1277 | 97.8712
1276 | 97.8671
1275 | 97.8652
1274 | 97.8668
1273 | 97.8738
1272 | 97.8881
1271 | 97.9112
1270 | 97.9429
1269 | 97.9808
1268 | 98.0193
1267 | 98.0502
1266 | 98.0661
1265 | 98.0637
1264 | 98.0447
1263 | 98.0141
1262 | 97.9772
1261 | 97.937
1260 | 97.8941
1259 | 97.848
1258 | 97.7988
1257 | 97.7473
1256 | 97.6943
1255 | 97.6407
1254 | 97.5874
1253 | 97.5353
1252 | 97.4852
1251 | 97.4381
1250 | 97.3946
1249 | 97.3549
1248 | 97.3195
1247 | 97.289
1246 | 97.2639
1245 | 97.2436
1244 | 97.227
1243 | 97.2136
1242 | 97.203
1241 | 97.194
1240 | 97.1856
1239 | 97.1773
1238 | 97.1696
1237 | 97.1631
1236 | 97.1579
1235 | 97.154
1234 | 97.1516
1233 | 97.1506
1232 | 97.1512
1231 | 97.1537
1230 | 97.1584
1229 | 97.1651
1228 | 97.1734
1227 | 97.1827
1226 | 97.1926
1225 | 97.2028
1224 | 97.2132
1223 | 97.2237
1222 | 97.2338
1221 | 97.2429
1220 | 97.2511
1219 | 97.2593
1218 | 97.2679
1217 | 97.2758
1216 | 97.2816
1215 | 97.284
1214 | 97.2818
1213 | 97.2732
1212 | 97.2572
1211 | 97.2334
1210 | 97.2024
1209 | 97.1656
1208 | 97.1248
1207 | 97.0828
1206 | 97.0419
1205 | 97.0024
1204 | 96.9634
1203 | 96.9239
1202 | 96.883
1201 | 96.8399
1200 | 96.7942
1199 | 96.7459
1198 | 96.6939
1197 | 96.6361
1196 | 96.57
1195 | 96.4942
1194 | 96.408
1193 | 96.3101
1192 | 96.1994
1191 | 96.075
1190 | 95.9364
1189 | 95.782
1188 | 95.6103
1187 | 95.4208
1186 | 95.2131
1185 | 94.9866
1184 | 94.741
1183 | 94.4779
1182 | 94.1992
1181 | 93.9053
1180 | 93.5975
1179 | 93.2788
1178 | 92.9519
1177 | 92.617
1176 | 92.2741
1175 | 91.9256
1174 | 91.5731
1173 | 91.2156
1172 | 90.8529
1171 | 90.488
1170 | 90.1229
1169 | 89.7567
1168 | 89.3906
1167 | 89.0301
1166 | 88.6786
1165 | 88.3342
1164 | 87.9957
1163 | 87.6659
1162 | 87.3453
1161 | 87.0282
1160 | 86.7106
1159 | 86.3942
1158 | 86.0788
1157 | 85.7583
1156 | 85.43
1155 | 85.0981
1154 | 84.7642
1153 | 84.4226
1152 | 84.071
1151 | 83.7155
1150 | 83.3601
1149 | 83.0009
1148 | 82.6372
1147 | 82.2771
1146 | 81.9262
1145 | 81.5825
1144 | 81.2477
1143 | 80.9328
1142 | 80.6438
1141 | 80.3754
1140 | 80.1247
1139 | 79.8983
1138 | 79.698
1137 | 79.514
1136 | 79.3402
1135 | 79.1809
1134 | 79.0361
1133 | 78.8949
1132 | 78.7505
1131 | 78.6068
1130 | 78.464
1129 | 78.3122
1128 | 78.1484
1127 | 77.9834
1126 | 77.8247
1125 | 77.6688
1124 | 77.5161
1123 | 77.3779
1122 | 77.2601
1121 | 77.1548
1120 | 77.0582
1119 | 76.9772
1118 | 76.9148
1117 | 76.8638
1116 | 76.8249
1115 | 76.8132
1114 | 76.8394
1113 | 76.9017
1112 | 77.0021
1111 | 77.1517
1110 | 77.353
1109 | 77.5932
1108 | 77.8628
1107 | 78.163
1106 | 78.4901
1105 | 78.8305
1104 | 79.1779
1103 | 79.5371
1102 | 79.9078
1101 | 80.2794
1100 | 80.6472
1099 | 81.0168
1098 | 81.39
1097 | 81.7594
1096 | 82.1221
1095 | 82.4837
1094 | 82.8446
1093 | 83.1969
1092 | 83.537
1091 | 83.8693
1090 | 84.1946
1089 | 84.5063
1088 | 84.8019
1087 | 85.0852
1086 | 85.3564
1085 | 85.6085
1084 | 85.8378
1083 | 86.0477
1082 | 86.2399
1081 | 86.4109
1080 | 86.5613
1079 | 86.6983
1078 | 86.8274
1077 | 86.9483
1076 | 87.0617
1075 | 87.1718
1074 | 87.2778
1073 | 87.3725
1072 | 87.4511
1071 | 87.5142
1070 | 87.5608
1069 | 87.5849
1068 | 87.5837
1067 | 87.5615
1066 | 87.522
1065 | 87.4654
1064 | 87.3956
1063 | 87.3237
1062 | 87.2598
1061 | 87.208
1060 | 87.1716
1059 | 87.156
1058 | 87.1616
1057 | 87.1819
1056 | 87.2116
1055 | 87.2501
1054 | 87.2954
1053 | 87.3417
1052 | 87.3864
1051 | 87.4321
1050 | 87.4791
1049 | 87.5226
1048 | 87.5615
1047 | 87.5998
1046 | 87.6384
1045 | 87.6716
1044 | 87.695
1043 | 87.7088
1042 | 87.7125
1041 | 87.7017
1040 | 87.6755
1039 | 87.6399
1038 | 87.6017
1037 | 87.5643
1036 | 87.5325
1035 | 87.5141
1034 | 87.5143
1033 | 87.5328
1032 | 87.5692
1031 | 87.6253
1030 | 87.6998
1029 | 87.7879
1028 | 87.8865
1027 | 87.9962
1026 | 88.1164
1025 | 88.2427
1024 | 88.3728
1023 | 88.5072
1022 | 88.6449
1021 | 88.7821
1020 | 88.9167
1019 | 89.0492
1018 | 89.1768
1017 | 89.2917
1016 | 89.3866
1015 | 89.4598
1014 | 89.512
1013 | 89.544
1012 | 89.5574
1011 | 89.5543
1010 | 89.5329
1009 | 89.4865
1008 | 89.4082
1007 | 89.3015
1006 | 89.1883
1005 | 89.106
1004 | 89.0923
1003 | 89.1603
1002 | 89.29
1001 | 89.4444
1000 | 89.5958
999 | 89.7355
998 | 89.8632
997 | 89.9778
996 | 90.0785
995 | 90.167
994 | 90.2436
993 | 90.307
992 | 90.3571
991 | 90.3963
990 | 90.4272
989 | 90.4513
988 | 90.4731
987 | 90.5016
986 | 90.5456
985 | 90.6116
984 | 90.7046
983 | 90.8282
982 | 90.9807
981 | 91.155
980 | 91.3424
979 | 91.536
978 | 91.729
977 | 91.9153
976 | 92.0922
975 | 92.2603
974 | 92.4198
973 | 92.5688
972 | 92.7073
971 | 92.8377
970 | 92.9616
969 | 93.079
968 | 93.1899
967 | 93.2965
966 | 93.4003
965 | 93.5018
964 | 93.6016
963 | 93.701
962 | 93.8001
961 | 93.8978
960 | 93.9938
959 | 94.09
958 | 94.1872
957 | 94.284
956 | 94.3789
955 | 94.472
954 | 94.5627
953 | 94.6497
952 | 94.7327
951 | 94.813
950 | 94.8914
949 | 94.9671
948 | 95.0394
947 | 95.1089
946 | 95.1756
945 | 95.2384
944 | 95.2962
943 | 95.3495
942 | 95.3986
941 | 95.4432
940 | 95.4838
939 | 95.5216
938 | 95.5573
937 | 95.5902
936 | 95.6203
935 | 95.6492
934 | 95.6777
933 | 95.7046
932 | 95.7287
931 | 95.7506
930 | 95.7713
929 | 95.7912
928 | 95.8103
927 | 95.8292
926 | 95.8475
925 | 95.8645
924 | 95.8798
923 | 95.8944
922 | 95.9086
921 | 95.9212
920 | 95.9317
919 | 95.9406
918 | 95.9478
917 | 95.952
916 | 95.9524
915 | 95.9499
914 | 95.9458
913 | 95.94
912 | 95.9328
911 | 95.9251
910 | 95.9168
909 | 95.9061
908 | 95.891
907 | 95.8708
906 | 95.845
905 | 95.8139
904 | 95.7796
903 | 95.7461
902 | 95.7164
901 | 95.6919
900 | 95.6737
899 | 95.664
898 | 95.6638
897 | 95.672
896 | 95.6877
895 | 95.711
894 | 95.7412
893 | 95.7759
892 | 95.8134
891 | 95.8538
890 | 95.896
889 | 95.9368
888 | 95.9734
887 | 96.0053
886 | 96.0333
885 | 96.0579
884 | 96.0803
883 | 96.1018
882 | 96.1219
881 | 96.138
880 | 96.1487
879 | 96.1559
878 | 96.1631
877 | 96.172
876 | 96.1846
875 | 96.204
874 | 96.2329
873 | 96.2709
872 | 96.3147
871 | 96.3609
870 | 96.4062
869 | 96.4472
868 | 96.4818
867 | 96.5096
866 | 96.5321
865 | 96.5508
864 | 96.5668
863 | 96.58
862 | 96.5899
861 | 96.5969
860 | 96.6036
859 | 96.612
858 | 96.6206
857 | 96.6252
856 | 96.6244
855 | 96.62
854 | 96.6149
853 | 96.6109
852 | 96.6105
851 | 96.6152
850 | 96.623
849 | 96.6292
848 | 96.6309
847 | 96.6291
846 | 96.6259
845 | 96.6223
844 | 96.62
843 | 96.6206
842 | 96.622
841 | 96.6196
840 | 96.6129
839 | 96.607
838 | 96.6065
837 | 96.61
836 | 96.614
835 | 96.6179
834 | 96.6239
833 | 96.6331
832 | 96.6458
831 | 96.6631
830 | 96.685
829 | 96.7096
828 | 96.7345
827 | 96.7595
826 | 96.7842
825 | 96.8063
824 | 96.8239
823 | 96.8376
822 | 96.8483
821 | 96.8551
820 | 96.8578
819 | 96.858
818 | 96.8578
817 | 96.8582
816 | 96.8598
815 | 96.8635
814 | 96.8675
813 | 96.868
812 | 96.864
811 | 96.8589
810 | 96.8556
809 | 96.8538
808 | 96.8527
807 | 96.8524
806 | 96.8521
805 | 96.8492
804 | 96.8425
803 | 96.8342
802 | 96.8258
801 | 96.8156
800 | 96.8021
799 | 96.7857
798 | 96.766
797 | 96.7408
796 | 96.7097
795 | 96.676
794 | 96.6419
793 | 96.6064
792 | 96.5689
791 | 96.532
790 | 96.4982
789 | 96.4663
788 | 96.4351
787 | 96.4056
786 | 96.3782
785 | 96.3513
784 | 96.3245
783 | 96.3002
782 | 96.2796
781 | 96.2606
780 | 96.2416
779 | 96.224
778 | 96.2087
777 | 96.1939
776 | 96.1782
775 | 96.1629
774 | 96.1483
773 | 96.1324
772 | 96.114
771 | 96.0953
770 | 96.0777
769 | 96.0591
768 | 96.0386
767 | 96.0184
766 | 95.9997
765 | 95.98
764 | 95.9581
763 | 95.9359
762 | 95.915
761 | 95.8935
760 | 95.871
759 | 95.8498
758 | 95.8307
757 | 95.8108
756 | 95.7888
755 | 95.767
754 | 95.746
753 | 95.7227
752 | 95.6956
751 | 95.6686
750 | 95.6444
749 | 95.6205
748 | 95.5948
747 | 95.5693
746 | 95.5451
745 | 95.5194
744 | 95.4908
743 | 95.4629
742 | 95.437
741 | 95.4095
740 | 95.3782
739 | 95.3466
738 | 95.3179
737 | 95.2892
736 | 95.2577
735 | 95.2251
734 | 95.1921
733 | 95.1549
732 | 95.1109
731 | 95.0641
730 | 95.0183
729 | 94.9724
728 | 94.9257
727 | 94.8816
726 | 94.8404
725 | 94.7968
724 | 94.7478
723 | 94.6963
722 | 94.6435
721 | 94.5865
720 | 94.5281
719 | 94.4784
718 | 94.4395
717 | 94.4004
716 | 94.3528
715 | 94.3018
714 | 94.2547
713 | 94.2103
712 | 94.1664
711 | 94.1275
710 | 94.0951
709 | 94.0619
708 | 94.0227
707 | 93.9832
706 | 93.9471
705 | 93.9084
704 | 93.8635
703 | 93.8198
702 | 93.7818
701 | 93.7411
700 | 93.6915
699 | 93.6406
698 | 93.5951
697 | 93.5482
696 | 93.4939
695 | 93.439
694 | 93.3877
693 | 93.329
692 | 93.2549
691 | 93.1737
690 | 93.0894
689 | 92.9879
688 | 92.8608
687 | 92.7203
686 | 92.571
685 | 92.3903
684 | 92.1601
683 | 91.8877
682 | 91.5753
681 | 91.1987
680 | 90.7408
679 | 90.211
678 | 89.6093
677 | 88.9106
676 | 88.1076
675 | 87.2256
674 | 86.2893
673 | 85.3331
672 | 84.4407
671 | 83.6831
670 | 83.0527
669 | 82.5114
668 | 82.2236
667 | 82.4497
666 | 83.0873
665 | 83.9028
664 | 84.8134
663 | 85.7574
662 | 86.6399
661 | 87.392
660 | 88.013
659 | 88.518
658 | 88.9204
657 | 89.2503
656 | 89.5317
655 | 89.7588
654 | 89.9258
653 | 90.0509
652 | 90.1463
651 | 90.2005
650 | 90.213
649 | 90.208
648 | 90.1985
647 | 90.1692
646 | 90.1096
645 | 90.0331
644 | 89.9512
643 | 89.8598
642 | 89.7612
641 | 89.6699
640 | 89.5909
639 | 89.5149
638 | 89.4385
637 | 89.3671
636 | 89.2964
635 | 89.2146
634 | 89.1219
633 | 89.0255
632 | 88.9206
631 | 88.8008
630 | 88.6803
629 | 88.5795
628 | 88.4952
627 | 88.4058
626 | 88.3018
625 | 88.1956
624 | 88.1066
623 | 88.0478
622 | 88.0211
621 | 88.0144
620 | 88.0079
619 | 87.9867
618 | 87.9462
617 | 87.8815
616 | 87.7732
615 | 87.6057
614 | 87.4043
613 | 87.2046
612 | 86.9864
611 | 86.6907
610 | 86.3043
609 | 85.8799
608 | 85.47
607 | 85.0839
606 | 84.7028
605 | 84.32
604 | 83.9799
603 | 83.7823
602 | 83.8168
601 | 84.0997
600 | 84.593

## Sample Details
Setting | Value
Filesname | NHwF-7
Creation Date
Analyst | mas-storage
X-Axis Units | cm-1
X-Axis start value | 4000
X-Axis end value | 600
Data interval | -1
Number of points | 3401
Y-Axis Units | %T
Description | 7Sample 1328 By mas-storage Date Wednesday, July 28 2021

## Instrument Details
Setting | Value
Instrument Model | Frontier FT-IR
Instrument Serial Number | 91175
Software Revision | CPU32 Main 00.09.9908 05-May-2009 15:52:12
Number of Scans | 32
Resolution | 4
Detector
Source | MIR
Beam Splitter | OptKBr
Apodization | Strong
Spectrum Type | Spectrum
Beam Type | Ratio
Phase Correction | Magnitude
Scan Speed | 1
IGram Type | Double
Scan Driection | Combined
Zero Crossing | 0
JStop | 8.94
IR-Laser Wavenumber | 15798.001999451375
Manufacturer | PIKE Technologies Inc.
Part Number | L1200385
Serial Number | 19250
Description | Miracle Accessory
Default Scan Range | 4000 450
Accessory Type | Miracle ATR
Temperature / °C
Slide Holder Option

## Quality Checks
Setting | Value
Water Vapor | Passed
Carbon Dioxide | Passed
Baseline Low | Passed
Baseline High | Passed
Baseline Slope | Passed
Strong Bands | Passed
Weak Bands | Warning
High Noise | Passed
Fringes | Warning
Vignetting | Passed
Blocked Beam | Passed
Negative Bands | Passed
Zero Transmission | Passed
Stray Light | Passed
Window Cuttoff | Passed