## Data
Wavelength / cm-1 | Transmittance / % | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1
4000 | 97.1214 |  | Baseline @ 1105 |  | Baseline @ 1735 |  | Baseline @ 2900 |  | Peak @ 1105 |  | Peak @ 1735 |  | Peak @ 2900
3999 | 97.1222 | 830 | 96.2601 | 1525 | 98.1015 | 2670 | 97.9081 | 1105 | 79.741 | 1735 | 98.3116 | 2900 | 97.1011
3998 | 97.1215 | 1210 | 96.7482 | 1780 | 98.8795 | 2990 | 97.4932 | 1105 | 96.6133 | 1735 | 98.7422 | 2900 | 97.6099
3997 | 97.1203
3996 | 97.1193
3995 | 97.1189
3994 | 97.1187
3993 | 97.1188
3992 | 97.1196
3991 | 97.1211
3990 | 97.1231
3989 | 97.1246
3988 | 97.1252
3987 | 97.1248
3986 | 97.1243
3985 | 97.1244
3984 | 97.1253
3983 | 97.127
3982 | 97.1296
3981 | 97.1331
3980 | 97.1363
3979 | 97.1375
3978 | 97.1364
3977 | 97.1345 |  |  | Baseline range |  |  | Transmittance |  |  |  | Equation of base line |  |  | Transmittance at peak value wavelength | Peak Intensity |  | Ratio
3976 | 97.1333 |  | Peak value
3975 | 97.1331 |  | Wavelength
3974 | 97.1328 |  | x1 | x2 | x3 |  | y1 | y2 | y3 |  | m | c
3973 | 97.1322 | [15 empty] | Lyceum
3972 | 97.1316 |  | 1105 | 830 | 1210 |  | 79.741 | 96.2601 | 96.7482 |  | 0.0012844 | 95.194 |  | 96.6133 | 16.8723 | R1 | 0.025518
3971 | 97.1319 |  | 1735 | 1525 | 1780 |  | 98.3116 | 98.1015 | 98.8795 |  | 0.0030509 | 93.4489 |  | 98.7422 | 0.43055 | R2 | 0.84615
3970 | 97.1337 |  | 2900 | 2670 | 2990 |  | 97.1011 | 97.9081 | 97.4932 |  | -0.0012966 | 101.37 |  | 97.6099 | 0.50884
3969 | 97.1367
3968 | 97.1395 |  | From paper
3967 | 97.1404 |  | 1105 | 765 | 1185
3966 | 97.139 |  | 1735 | 1485 | 1780
3965 | 97.1367 |  | 2900 | 2630 | 3000
3964 | 97.1353
3963 | 97.1363
3962 | 97.1392
3961 | 97.1426
3960 | 97.1451
3959 | 97.1461
3958 | 97.146
3957 | 97.1458
3956 | 97.1452
3955 | 97.1428
3954 | 97.138
3953 | 97.1315
3952 | 97.1255
3951 | 97.1225
3950 | 97.1245
3949 | 97.1311
3948 | 97.1381
3947 | 97.14
3946 | 97.1357
3945 | 97.13
3944 | 97.1299
3943 | 97.1378
3942 | 97.1491
3941 | 97.157
3940 | 97.1585
3939 | 97.1554
3938 | 97.1503
3937 | 97.1442
3936 | 97.1369
3935 | 97.1299
3934 | 97.1274
3933 | 97.1319
3932 | 97.1415
3931 | 97.1497
3930 | 97.1511
3929 | 97.1456
3928 | 97.1378
3927 | 97.1331
3926 | 97.1342
3925 | 97.1392
3924 | 97.1432
3923 | 97.1423
3922 | 97.1359
3921 | 97.1282
3920 | 97.1245
3919 | 97.128
3918 | 97.1377
3917 | 97.1496
3916 | 97.1593
3915 | 97.1644
3914 | 97.1666
3913 | 97.1693
3912 | 97.1744
3911 | 97.1795
3910 | 97.179
3909 | 97.1687
3908 | 97.1491
3907 | 97.1253
3906 | 97.1035
3905 | 97.0874
3904 | 97.0775
3903 | 97.0728
3902 | 97.0742
3901 | 97.0848
3900 | 97.1046
3899 | 97.1283
3898 | 97.1475
3897 | 97.1562
3896 | 97.1544
3895 | 97.1465
3894 | 97.1388
3893 | 97.1366
3892 | 97.1409
3891 | 97.1459
3890 | 97.1423
3889 | 97.1288
3888 | 97.1159
3887 | 97.1158
3886 | 97.1287
3885 | 97.139
3884 | 97.1313
3883 | 97.1088
3882 | 97.0926
3881 | 97.1004
3880 | 97.1274
3879 | 97.1506
3878 | 97.1544
3877 | 97.145
3876 | 97.1376
3875 | 97.1367
3874 | 97.1331
3873 | 97.1192
3872 | 97.1006
3871 | 97.0921
3870 | 97.1003
3869 | 97.1135
3868 | 97.1151
3867 | 97.1042
3866 | 97.0942
3865 | 97.0962
3864 | 97.1086
3863 | 97.122
3862 | 97.1316
3861 | 97.1409
3860 | 97.1524
3859 | 97.1624
3858 | 97.1648
3857 | 97.1584
3856 | 97.1471
3855 | 97.1348
3854 | 97.1258
3853 | 97.1251
3852 | 97.1274
3851 | 97.1259
3850 | 97.1262
3849 | 97.1351
3848 | 97.1505
3847 | 97.1641
3846 | 97.1691
3845 | 97.1649
3844 | 97.1555
3843 | 97.1433
3842 | 97.1289
3841 | 97.1143
3840 | 97.103
3839 | 97.0978
3838 | 97.0974
3837 | 97.0977
3836 | 97.0961
3835 | 97.095
3834 | 97.0996
3833 | 97.1122
3832 | 97.1296
3831 | 97.1446
3830 | 97.1522
3829 | 97.1545
3828 | 97.158
3827 | 97.1648
3826 | 97.1672
3825 | 97.1569
3824 | 97.1355
3823 | 97.1146
3822 | 97.1042
3821 | 97.1037
3820 | 97.1026
3819 | 97.0943
3818 | 97.0884
3817 | 97.0991
3816 | 97.1277
3815 | 97.1595
3814 | 97.1795
3813 | 97.1878
3812 | 97.1929
3811 | 97.1984
3810 | 97.2009
3809 | 97.1974
3808 | 97.1909
3807 | 97.1843
3806 | 97.1731
3805 | 97.1522
3804 | 97.1284
3803 | 97.1151
3802 | 97.1172
3801 | 97.1254
3800 | 97.1249
3799 | 97.115
3798 | 97.111
3797 | 97.1251
3796 | 97.1525
3795 | 97.1786
3794 | 97.1945
3793 | 97.2034
3792 | 97.2126
3791 | 97.2233
3790 | 97.2312
3789 | 97.2323
3788 | 97.2278
3787 | 97.2222
3786 | 97.2187
3785 | 97.2166
3784 | 97.2125
3783 | 97.2032
3782 | 97.1898
3781 | 97.1773
3780 | 97.1706
3779 | 97.171
3778 | 97.1764
3777 | 97.1848
3776 | 97.1962
3775 | 97.2088
3774 | 97.2169
3773 | 97.2156
3772 | 97.2057
3771 | 97.1923
3770 | 97.1787
3769 | 97.165
3768 | 97.1525
3767 | 97.1483
3766 | 97.1576
3765 | 97.1744
3764 | 97.1855
3763 | 97.1833
3762 | 97.1721
3761 | 97.1616
3760 | 97.1565
3759 | 97.1548
3758 | 97.1517
3757 | 97.1457
3756 | 97.1393
3755 | 97.1355
3754 | 97.1337
3753 | 97.1292
3752 | 97.1178
3751 | 97.1023
3750 | 97.0872
3749 | 97.069
3748 | 97.0461
3747 | 97.029
3746 | 97.0325
3745 | 97.0626
3744 | 97.103
3743 | 97.1224
3742 | 97.1113
3741 | 97.0886
3740 | 97.0722
3739 | 97.0656
3738 | 97.0643
3737 | 97.0664
3736 | 97.072
3735 | 97.0773
3734 | 97.0786
3733 | 97.0796
3732 | 97.0863
3731 | 97.0965
3730 | 97.1033
3729 | 97.1058
3728 | 97.1112
3727 | 97.1239
3726 | 97.1384
3725 | 97.1455
3724 | 97.1437
3723 | 97.1399
3722 | 97.1402
3721 | 97.1442
3720 | 97.1492
3719 | 97.1552
3718 | 97.1614
3717 | 97.1652
3716 | 97.1645
3715 | 97.1606
3714 | 97.1547
3713 | 97.1434
3712 | 97.1219
3711 | 97.0945
3710 | 97.0741
3709 | 97.0706
3708 | 97.0832
3707 | 97.1028
3706 | 97.1197
3705 | 97.1294
3704 | 97.1336
3703 | 97.1366
3702 | 97.1408
3701 | 97.1443
3700 | 97.1439
3699 | 97.1411
3698 | 97.1411
3697 | 97.1458
3696 | 97.1502
3695 | 97.1479
3694 | 97.1374
3693 | 97.1221
3692 | 97.1044
3691 | 97.0823
3690 | 97.057
3689 | 97.0395
3688 | 97.0383
3687 | 97.0486
3686 | 97.0624
3685 | 97.077
3684 | 97.0914
3683 | 97.1036
3682 | 97.1105
3681 | 97.1097
3680 | 97.0993
3679 | 97.0783
3678 | 97.05
3677 | 97.0215
3676 | 97.0007
3675 | 96.9878
3674 | 96.9713
3673 | 96.9486
3672 | 96.9359
3671 | 96.9453
3670 | 96.9691
3669 | 96.989
3668 | 96.9956
3667 | 96.9971
3666 | 97.0057
3665 | 97.0229
3664 | 97.0413
3663 | 97.0536
3662 | 97.0566
3661 | 97.0498
3660 | 97.0345
3659 | 97.0153
3658 | 96.9995
3657 | 96.991
3656 | 96.9843
3655 | 96.9678
3654 | 96.9389
3653 | 96.9088
3652 | 96.8894
3651 | 96.8767
3650 | 96.8548
3649 | 96.8213
3648 | 96.7944
3647 | 96.789
3646 | 96.8015
3645 | 96.8205
3644 | 96.84
3643 | 96.8588
3642 | 96.874
3641 | 96.8804
3640 | 96.8761
3639 | 96.8641
3638 | 96.8493
3637 | 96.8343
3636 | 96.8204
3635 | 96.8075
3634 | 96.7921
3633 | 96.7695
3632 | 96.7399
3631 | 96.711
3630 | 96.6899
3629 | 96.6751
3628 | 96.6582
3627 | 96.6355
3626 | 96.617
3625 | 96.6131
3624 | 96.62
3623 | 96.6243
3622 | 96.6161
3621 | 96.5954
3620 | 96.5685
3619 | 96.5403
3618 | 96.5113
3617 | 96.4825
3616 | 96.4594
3615 | 96.4469
3614 | 96.4425
3613 | 96.4383
3612 | 96.4279
3611 | 96.4124
3610 | 96.3979
3609 | 96.3877
3608 | 96.3789
3607 | 96.3669
3606 | 96.3514
3605 | 96.3368
3604 | 96.3264
3603 | 96.3182
3602 | 96.3069
3601 | 96.2882
3600 | 96.2626
3599 | 96.2343
3598 | 96.2086
3597 | 96.1881
3596 | 96.1721
3595 | 96.1565
3594 | 96.1378
3593 | 96.1151
3592 | 96.0905
3591 | 96.0669
3590 | 96.0453
3589 | 96.0232
3588 | 95.9952
3587 | 95.9587
3586 | 95.9189
3585 | 95.8843
3584 | 95.8599
3583 | 95.8439
3582 | 95.8304
3581 | 95.8133
3580 | 95.79
3579 | 95.761
3578 | 95.7279
3577 | 95.692
3576 | 95.6542
3575 | 95.6151
3574 | 95.5752
3573 | 95.5347
3572 | 95.4938
3571 | 95.4526
3570 | 95.4104
3569 | 95.3637
3568 | 95.3062
3567 | 95.2353
3566 | 95.1588
3565 | 95.0904
3564 | 95.0393
3563 | 95.0046
3562 | 94.9783
3561 | 94.9515
3560 | 94.9188
3559 | 94.8796
3558 | 94.8362
3557 | 94.7912
3556 | 94.7466
3555 | 94.7025
3554 | 94.6571
3553 | 94.608
3552 | 94.556
3551 | 94.5052
3550 | 94.4608
3549 | 94.425
3548 | 94.3946
3547 | 94.3623
3546 | 94.3222
3545 | 94.2759
3544 | 94.232
3543 | 94.1996
3542 | 94.1815
3541 | 94.174
3540 | 94.1705
3539 | 94.1652
3538 | 94.1554
3537 | 94.1419
3536 | 94.1275
3535 | 94.1156
3534 | 94.1082
3533 | 94.1055
3532 | 94.1054
3531 | 94.1046
3530 | 94.1004
3529 | 94.0924
3528 | 94.0836
3527 | 94.0782
3526 | 94.0791
3525 | 94.0865
3524 | 94.0978
3523 | 94.1099
3522 | 94.1215
3521 | 94.1336
3520 | 94.148
3519 | 94.1643
3518 | 94.1813
3517 | 94.1979
3516 | 94.2145
3515 | 94.231
3514 | 94.2467
3513 | 94.2604
3512 | 94.2721
3511 | 94.2821
3510 | 94.2909
3509 | 94.3001
3508 | 94.3121
3507 | 94.3285
3506 | 94.3476
3505 | 94.3643
3504 | 94.3739
3503 | 94.3758
3502 | 94.3755
3501 | 94.3802
3500 | 94.3924
3499 | 94.4092
3498 | 94.4246
3497 | 94.4348
3496 | 94.4401
3495 | 94.4429
3494 | 94.4463
3493 | 94.4517
3492 | 94.46
3491 | 94.4707
3490 | 94.4829
3489 | 94.4951
3488 | 94.5061
3487 | 94.5154
3486 | 94.524
3485 | 94.5338
3484 | 94.5452
3483 | 94.5564
3482 | 94.5649
3481 | 94.5705
3480 | 94.5758
3479 | 94.5837
3478 | 94.595
3477 | 94.6079
3476 | 94.6193
3475 | 94.627
3474 | 94.6311
3473 | 94.6337
3472 | 94.6365
3471 | 94.6394
3470 | 94.6407
3469 | 94.6396
3468 | 94.6368
3467 | 94.6338
3466 | 94.6313
3465 | 94.6292
3464 | 94.6269
3463 | 94.6236
3462 | 94.6185
3461 | 94.6114
3460 | 94.6029
3459 | 94.594
3458 | 94.5848
3457 | 94.5751
3456 | 94.5645
3455 | 94.5524
3454 | 94.5385
3453 | 94.5229
3452 | 94.5061
3451 | 94.4882
3450 | 94.469
3449 | 94.4471
3448 | 94.4211
3447 | 94.3911
3446 | 94.3599
3445 | 94.3316
3444 | 94.3072
3443 | 94.2842
3442 | 94.258
3441 | 94.2268
3440 | 94.192
3439 | 94.1557
3438 | 94.1184
3437 | 94.0794
3436 | 94.0385
3435 | 93.996
3434 | 93.952
3433 | 93.906
3432 | 93.8575
3431 | 93.806
3430 | 93.7518
3429 | 93.6959
3428 | 93.6399
3427 | 93.5848
3426 | 93.5305
3425 | 93.4759
3424 | 93.4191
3423 | 93.3582
3422 | 93.2921
3421 | 93.2218
3420 | 93.1505
3419 | 93.082
3418 | 93.0179
3417 | 92.9576
3416 | 92.899
3415 | 92.8399
3414 | 92.7797
3413 | 92.7198
3412 | 92.6629
3411 | 92.6107
3410 | 92.5634
3409 | 92.5206
3408 | 92.482
3407 | 92.4476
3406 | 92.4178
3405 | 92.3927
3404 | 92.3725
3403 | 92.3568
3402 | 92.3458
3401 | 92.3409
3400 | 92.3437
3399 | 92.3546
3398 | 92.3722
3397 | 92.394
3396 | 92.4188
3395 | 92.4465
3394 | 92.4763
3393 | 92.5067
3392 | 92.5373
3391 | 92.5702
3390 | 92.6082
3389 | 92.6521
3388 | 92.6998
3387 | 92.7473
3386 | 92.792
3385 | 92.8339
3384 | 92.8745
3383 | 92.9151
3382 | 92.9555
3381 | 92.9954
3380 | 93.0346
3379 | 93.073
3378 | 93.1109
3377 | 93.1482
3376 | 93.1845
3375 | 93.2189
3374 | 93.2501
3373 | 93.278
3372 | 93.3035
3371 | 93.3279
3370 | 93.3528
3369 | 93.3787
3368 | 93.4051
3367 | 93.4303
3366 | 93.4527
3365 | 93.472
3364 | 93.4895
3363 | 93.5065
3362 | 93.5233
3361 | 93.5388
3360 | 93.5521
3359 | 93.5626
3358 | 93.5711
3357 | 93.579
3356 | 93.5871
3355 | 93.5953
3354 | 93.6031
3353 | 93.61
3352 | 93.6161
3351 | 93.6216
3350 | 93.627
3349 | 93.633
3348 | 93.6397
3347 | 93.6462
3346 | 93.6519
3345 | 93.6568
3344 | 93.6615
3343 | 93.6663
3342 | 93.671
3341 | 93.6756
3340 | 93.6802
3339 | 93.6849
3338 | 93.6902
3337 | 93.6968
3336 | 93.7054
3335 | 93.7156
3334 | 93.7265
3333 | 93.7373
3332 | 93.7478
3331 | 93.758
3330 | 93.7677
3329 | 93.7765
3328 | 93.7844
3327 | 93.7913
3326 | 93.7978
3325 | 93.8049
3324 | 93.8137
3323 | 93.824
3322 | 93.8344
3321 | 93.8439
3320 | 93.8519
3319 | 93.8588
3318 | 93.8648
3317 | 93.8709
3316 | 93.8776
3315 | 93.8848
3314 | 93.891
3313 | 93.8956
3312 | 93.8993
3311 | 93.903
3310 | 93.9068
3309 | 93.9093
3308 | 93.9098
3307 | 93.9096
3306 | 93.9105
3305 | 93.9141
3304 | 93.9204
3303 | 93.9284
3302 | 93.9365
3301 | 93.9432
3300 | 93.9476
3299 | 93.9499
3298 | 93.9507
3297 | 93.9513
3296 | 93.9528
3295 | 93.9554
3294 | 93.9588
3293 | 93.9619
3292 | 93.9643
3291 | 93.9663
3290 | 93.9691
3289 | 93.9732
3288 | 93.9784
3287 | 93.9837
3286 | 93.9883
3285 | 93.9922
3284 | 93.9953
3283 | 93.9972
3282 | 93.9985
3281 | 94.0005
3280 | 94.0044
3279 | 94.0099
3278 | 94.0152
3277 | 94.019
3276 | 94.0216
3275 | 94.0243
3274 | 94.028
3273 | 94.0329
3272 | 94.0388
3271 | 94.0456
3270 | 94.054
3269 | 94.0642
3268 | 94.0753
3267 | 94.086
3266 | 94.0951
3265 | 94.1029
3264 | 94.1099
3263 | 94.1166
3262 | 94.1232
3261 | 94.1298
3260 | 94.1365
3259 | 94.1431
3258 | 94.1492
3257 | 94.1541
3256 | 94.1576
3255 | 94.1599
3254 | 94.1618
3253 | 94.1638
3252 | 94.1662
3251 | 94.1691
3250 | 94.1729
3249 | 94.1778
3248 | 94.1828
3247 | 94.1869
3246 | 94.1905
3245 | 94.1959
3244 | 94.2048
3243 | 94.2165
3242 | 94.2298
3241 | 94.2444
3240 | 94.261
3239 | 94.2801
3238 | 94.3006
3237 | 94.3211
3236 | 94.3406
3235 | 94.359
3234 | 94.3771
3233 | 94.3968
3232 | 94.4194
3231 | 94.4444
3230 | 94.4696
3229 | 94.4934
3228 | 94.5153
3227 | 94.5357
3226 | 94.5553
3225 | 94.575
3224 | 94.5949
3223 | 94.6149
3222 | 94.6343
3221 | 94.6528
3220 | 94.6707
3219 | 94.6888
3218 | 94.7078
3217 | 94.7276
3216 | 94.7473
3215 | 94.766
3214 | 94.7833
3213 | 94.8002
3212 | 94.8178
3211 | 94.8357
3210 | 94.8532
3209 | 94.8701
3208 | 94.8875
3207 | 94.9062
3206 | 94.9258
3205 | 94.9455
3204 | 94.9648
3203 | 94.9838
3202 | 95.0026
3201 | 95.0208
3200 | 95.0377
3199 | 95.0532
3198 | 95.0682
3197 | 95.0843
3196 | 95.1021
3195 | 95.1206
3194 | 95.1385
3193 | 95.1562
3192 | 95.1748
3191 | 95.194
3190 | 95.2125
3189 | 95.2296
3188 | 95.246
3187 | 95.2624
3186 | 95.2793
3185 | 95.2968
3184 | 95.3154
3183 | 95.335
3182 | 95.3547
3181 | 95.3734
3180 | 95.3909
3179 | 95.4078
3178 | 95.4247
3177 | 95.4423
3176 | 95.4612
3175 | 95.4815
3174 | 95.5027
3173 | 95.5239
3172 | 95.5446
3171 | 95.5646
3170 | 95.5836
3169 | 95.6016
3168 | 95.6191
3167 | 95.6368
3166 | 95.6548
3165 | 95.6735
3164 | 95.6935
3163 | 95.7147
3162 | 95.7363
3161 | 95.7572
3160 | 95.7763
3159 | 95.7935
3158 | 95.8096
3157 | 95.8255
3156 | 95.8426
3155 | 95.8609
3154 | 95.8799
3153 | 95.8988
3152 | 95.9176
3151 | 95.9368
3150 | 95.9569
3149 | 95.9777
3148 | 95.9985
3147 | 96.0187
3146 | 96.038
3145 | 96.057
3144 | 96.0763
3143 | 96.0956
3142 | 96.1142
3141 | 96.1318
3140 | 96.149
3139 | 96.1668
3138 | 96.1852
3137 | 96.2041
3136 | 96.2232
3135 | 96.2421
3134 | 96.2602
3133 | 96.2778
3132 | 96.2958
3131 | 96.3148
3130 | 96.3346
3129 | 96.3539
3128 | 96.3723
3127 | 96.3895
3126 | 96.4059
3125 | 96.422
3124 | 96.4387
3123 | 96.4568
3122 | 96.4757
3121 | 96.4947
3120 | 96.5129
3119 | 96.5305
3118 | 96.5478
3117 | 96.5652
3116 | 96.5828
3115 | 96.6007
3114 | 96.619
3113 | 96.6379
3112 | 96.6577
3111 | 96.6779
3110 | 96.6974
3109 | 96.7158
3108 | 96.7331
3107 | 96.7501
3106 | 96.7664
3105 | 96.7815
3104 | 96.7959
3103 | 96.8103
3102 | 96.8251
3101 | 96.8397
3100 | 96.8541
3099 | 96.8688
3098 | 96.8845
3097 | 96.9008
3096 | 96.9168
3095 | 96.9315
3094 | 96.9447
3093 | 96.9571
3092 | 96.9695
3091 | 96.9821
3090 | 96.9948
3089 | 97.0074
3088 | 97.0202
3087 | 97.0329
3086 | 97.0447
3085 | 97.0554
3084 | 97.0655
3083 | 97.0761
3082 | 97.087
3081 | 97.0974
3080 | 97.1069
3079 | 97.116
3078 | 97.1253
3077 | 97.1353
3076 | 97.1464
3075 | 97.1587
3074 | 97.1715
3073 | 97.1833
3072 | 97.193
3071 | 97.2004
3070 | 97.2058
3069 | 97.2104
3068 | 97.2153
3067 | 97.2215
3066 | 97.2292
3065 | 97.2375
3064 | 97.2461
3063 | 97.2549
3062 | 97.2641
3061 | 97.2734
3060 | 97.2822
3059 | 97.2896
3058 | 97.2952
3057 | 97.2995
3056 | 97.3037
3055 | 97.3087
3054 | 97.3143
3053 | 97.3197
3052 | 97.3246
3051 | 97.3295
3050 | 97.3347
3049 | 97.3405
3048 | 97.3467
3047 | 97.3531
3046 | 97.3585
3045 | 97.362
3044 | 97.3638
3043 | 97.3648
3042 | 97.3663
3041 | 97.369
3040 | 97.3739
3039 | 97.3807
3038 | 97.388
3037 | 97.3933
3036 | 97.3958
3035 | 97.3966
3034 | 97.3978
3033 | 97.4004
3032 | 97.4043
3031 | 97.409
3030 | 97.4136
3029 | 97.4178
3028 | 97.4214
3027 | 97.4245
3026 | 97.4269
3025 | 97.4283
3024 | 97.4292
3023 | 97.4307
3022 | 97.4338
3021 | 97.4377
3020 | 97.4411
3019 | 97.4431
3018 | 97.444
3017 | 97.4445
3016 | 97.4452
3015 | 97.4463
3014 | 97.4477
3013 | 97.4494
3012 | 97.4515
3011 | 97.4538
3010 | 97.4565
3009 | 97.4596
3008 | 97.4629
3007 | 97.4659
3006 | 97.468
3005 | 97.4688
3004 | 97.4685
3003 | 97.468
3002 | 97.4685
3001 | 97.4706
3000 | 97.474
2999 | 97.4775
2998 | 97.4802
2997 | 97.4817
2996 | 97.4826
2995 | 97.4838
2994 | 97.4856
2993 | 97.4881
2992 | 97.4907
2991 | 97.4927
2990 | 97.4932
2989 | 97.4922
2988 | 97.4904
2987 | 97.4887
2986 | 97.4879
2985 | 97.4876
2984 | 97.4877
2983 | 97.4876
2982 | 97.4871
2981 | 97.4862
2980 | 97.4851
2979 | 97.4838
2978 | 97.4818
2977 | 97.4787
2976 | 97.4749
2975 | 97.4713
2974 | 97.4683
2973 | 97.4655
2972 | 97.4622
2971 | 97.4573
2970 | 97.4502
2969 | 97.4408
2968 | 97.43
2967 | 97.4186
2966 | 97.407
2965 | 97.3948
2964 | 97.3814
2963 | 97.3667
2962 | 97.3511
2961 | 97.3351
2960 | 97.3195
2959 | 97.3051
2958 | 97.2918
2957 | 97.2799
2956 | 97.2689
2955 | 97.2583
2954 | 97.2474
2953 | 97.2361
2952 | 97.2256
2951 | 97.2174
2950 | 97.2114
2949 | 97.2061
2948 | 97.1998
2947 | 97.1924
2946 | 97.1846
2945 | 97.1767
2944 | 97.1683
2943 | 97.1586
2942 | 97.1485
2941 | 97.1395
2940 | 97.1327
2939 | 97.1276
2938 | 97.1224
2937 | 97.1154
2936 | 97.1067
2935 | 97.0977
2934 | 97.09
2933 | 97.0843
2932 | 97.0804
2931 | 97.0769
2930 | 97.0724
2929 | 97.0669
2928 | 97.0617
2927 | 97.0579
2926 | 97.0556
2925 | 97.0546
2924 | 97.0557
2923 | 97.0596
2922 | 97.0663
2921 | 97.0741
2920 | 97.0817
2919 | 97.089
2918 | 97.0964
2917 | 97.1036
2916 | 97.1097
2915 | 97.1139
2914 | 97.1163
2913 | 97.1174
2912 | 97.1174
2911 | 97.1166
2910 | 97.1152
2909 | 97.1134
2908 | 97.1116
2907 | 97.1095
2906 | 97.1067
2905 | 97.1035
2904 | 97.1005
2903 | 97.0985
2902 | 97.0981
2901 | 97.0992
2900 | 97.1011
2899 | 97.1028
2898 | 97.104
2897 | 97.1048
2896 | 97.106
2895 | 97.108
2894 | 97.1105
2893 | 97.1131
2892 | 97.1156
2891 | 97.118
2890 | 97.1207
2889 | 97.1236
2888 | 97.1269
2887 | 97.1305
2886 | 97.1345
2885 | 97.1388
2884 | 97.1429
2883 | 97.1465
2882 | 97.1491
2881 | 97.1513
2880 | 97.1532
2879 | 97.1549
2878 | 97.1555
2877 | 97.1547
2876 | 97.1532
2875 | 97.1523
2874 | 97.1532
2873 | 97.1561
2872 | 97.1605
2871 | 97.1658
2870 | 97.172
2869 | 97.1793
2868 | 97.1877
2867 | 97.1966
2866 | 97.2051
2865 | 97.2127
2864 | 97.2191
2863 | 97.2245
2862 | 97.2291
2861 | 97.2334
2860 | 97.238
2859 | 97.2429
2858 | 97.2478
2857 | 97.2525
2856 | 97.2581
2855 | 97.2654
2854 | 97.2749
2853 | 97.2866
2852 | 97.3007
2851 | 97.3175
2850 | 97.3362
2849 | 97.3551
2848 | 97.3726
2847 | 97.3886
2846 | 97.4037
2845 | 97.4189
2844 | 97.4336
2843 | 97.447
2842 | 97.4582
2841 | 97.4677
2840 | 97.4768
2839 | 97.4863
2838 | 97.4962
2837 | 97.5065
2836 | 97.5169
2835 | 97.5266
2834 | 97.5345
2833 | 97.5408
2832 | 97.5469
2831 | 97.5537
2830 | 97.5611
2829 | 97.5684
2828 | 97.5751
2827 | 97.5813
2826 | 97.587
2825 | 97.5923
2824 | 97.5976
2823 | 97.6031
2822 | 97.609
2821 | 97.6148
2820 | 97.6201
2819 | 97.6244
2818 | 97.6272
2817 | 97.6288
2816 | 97.6307
2815 | 97.6337
2814 | 97.638
2813 | 97.6424
2812 | 97.6463
2811 | 97.6495
2810 | 97.6521
2809 | 97.6543
2808 | 97.6561
2807 | 97.6582
2806 | 97.661
2805 | 97.6647
2804 | 97.6689
2803 | 97.6726
2802 | 97.6757
2801 | 97.6784
2800 | 97.6817
2799 | 97.6856
2798 | 97.6893
2797 | 97.6921
2796 | 97.6941
2795 | 97.6965
2794 | 97.6996
2793 | 97.7032
2792 | 97.7067
2791 | 97.71
2790 | 97.7131
2789 | 97.7162
2788 | 97.7195
2787 | 97.723
2786 | 97.726
2785 | 97.7281
2784 | 97.7293
2783 | 97.7302
2782 | 97.7313
2781 | 97.7328
2780 | 97.7346
2779 | 97.7362
2778 | 97.7374
2777 | 97.7388
2776 | 97.741
2775 | 97.7444
2774 | 97.7483
2773 | 97.7515
2772 | 97.7539
2771 | 97.7557
2770 | 97.7569
2769 | 97.7579
2768 | 97.7593
2767 | 97.7611
2766 | 97.7629
2765 | 97.7643
2764 | 97.7653
2763 | 97.7664
2762 | 97.7678
2761 | 97.769
2760 | 97.7705
2759 | 97.7724
2758 | 97.7748
2757 | 97.7769
2756 | 97.7783
2755 | 97.7793
2754 | 97.7798
2753 | 97.7803
2752 | 97.7809
2751 | 97.7822
2750 | 97.7841
2749 | 97.786
2748 | 97.7875
2747 | 97.7886
2746 | 97.7894
2745 | 97.7901
2744 | 97.791
2743 | 97.7922
2742 | 97.7938
2741 | 97.7953
2740 | 97.7968
2739 | 97.7984
2738 | 97.8
2737 | 97.8013
2736 | 97.802
2735 | 97.8025
2734 | 97.8033
2733 | 97.8046
2732 | 97.8063
2731 | 97.8077
2730 | 97.8084
2729 | 97.8084
2728 | 97.8086
2727 | 97.8098
2726 | 97.8119
2725 | 97.8139
2724 | 97.8155
2723 | 97.817
2722 | 97.8185
2721 | 97.8199
2720 | 97.8212
2719 | 97.8229
2718 | 97.8253
2717 | 97.8282
2716 | 97.8311
2715 | 97.8337
2714 | 97.8358
2713 | 97.8373
2712 | 97.8389
2711 | 97.8408
2710 | 97.8431
2709 | 97.845
2708 | 97.8466
2707 | 97.8479
2706 | 97.8491
2705 | 97.8501
2704 | 97.8513
2703 | 97.8532
2702 | 97.8558
2701 | 97.8588
2700 | 97.8617
2699 | 97.8641
2698 | 97.8661
2697 | 97.8677
2696 | 97.8694
2695 | 97.8716
2694 | 97.8738
2693 | 97.8752
2692 | 97.8756
2691 | 97.876
2690 | 97.8776
2689 | 97.8806
2688 | 97.8843
2687 | 97.8874
2686 | 97.8894
2685 | 97.8905
2684 | 97.8915
2683 | 97.8925
2682 | 97.8935
2681 | 97.8942
2680 | 97.895
2679 | 97.8965
2678 | 97.8986
2677 | 97.9007
2676 | 97.9025
2675 | 97.904
2674 | 97.9048
2673 | 97.905
2672 | 97.9051
2671 | 97.906
2670 | 97.9081
2669 | 97.9109
2668 | 97.9137
2667 | 97.9165
2666 | 97.9191
2665 | 97.9214
2664 | 97.9235
2663 | 97.9252
2662 | 97.9266
2661 | 97.9272
2660 | 97.9276
2659 | 97.9285
2658 | 97.9306
2657 | 97.9337
2656 | 97.937
2655 | 97.9398
2654 | 97.9415
2653 | 97.9421
2652 | 97.9418
2651 | 97.9417
2650 | 97.9427
2649 | 97.9453
2648 | 97.9493
2647 | 97.9536
2646 | 97.9574
2645 | 97.9599
2644 | 97.961
2643 | 97.9607
2642 | 97.9597
2641 | 97.9588
2640 | 97.9593
2639 | 97.9611
2638 | 97.9635
2637 | 97.9654
2636 | 97.9673
2635 | 97.9699
2634 | 97.9737
2633 | 97.9778
2632 | 97.9812
2631 | 97.9831
2630 | 97.9838
2629 | 97.984
2628 | 97.9843
2627 | 97.9846
2626 | 97.9844
2625 | 97.984
2624 | 97.9841
2623 | 97.9855
2622 | 97.9879
2621 | 97.9904
2620 | 97.9928
2619 | 97.9953
2618 | 97.9977
2617 | 97.9996
2616 | 98.0009
2615 | 98.0019
2614 | 98.0028
2613 | 98.0037
2612 | 98.0047
2611 | 98.0059
2610 | 98.0074
2609 | 98.0089
2608 | 98.0108
2607 | 98.0131
2606 | 98.0156
2605 | 98.0177
2604 | 98.0195
2603 | 98.0209
2602 | 98.022
2601 | 98.0227
2600 | 98.0234
2599 | 98.0247
2598 | 98.0263
2597 | 98.0276
2596 | 98.0282
2595 | 98.0286
2594 | 98.0293
2593 | 98.0305
2592 | 98.0323
2591 | 98.0344
2590 | 98.0364
2589 | 98.0382
2588 | 98.0401
2587 | 98.0421
2586 | 98.0433
2585 | 98.0432
2584 | 98.0429
2583 | 98.0438
2582 | 98.0466
2581 | 98.0503
2580 | 98.0537
2579 | 98.0556
2578 | 98.0561
2577 | 98.0561
2576 | 98.0568
2575 | 98.0586
2574 | 98.0606
2573 | 98.062
2572 | 98.0629
2571 | 98.0639
2570 | 98.0653
2569 | 98.0669
2568 | 98.0687
2567 | 98.0707
2566 | 98.0726
2565 | 98.0743
2564 | 98.0765
2563 | 98.079
2562 | 98.081
2561 | 98.0815
2560 | 98.0812
2559 | 98.0815
2558 | 98.0826
2557 | 98.0835
2556 | 98.0838
2555 | 98.0837
2554 | 98.0838
2553 | 98.0843
2552 | 98.0851
2551 | 98.0862
2550 | 98.0873
2549 | 98.0887
2548 | 98.0907
2547 | 98.0934
2546 | 98.096
2545 | 98.0977
2544 | 98.0985
2543 | 98.0991
2542 | 98.0996
2541 | 98.0999
2540 | 98.1003
2539 | 98.1014
2538 | 98.1032
2537 | 98.1053
2536 | 98.1072
2535 | 98.1093
2534 | 98.1111
2533 | 98.1124
2532 | 98.1135
2531 | 98.115
2530 | 98.1169
2529 | 98.119
2528 | 98.1207
2527 | 98.1221
2526 | 98.123
2525 | 98.1237
2524 | 98.1249
2523 | 98.1264
2522 | 98.1275
2521 | 98.1276
2520 | 98.1276
2519 | 98.1285
2518 | 98.13
2517 | 98.1312
2516 | 98.1317
2515 | 98.1327
2514 | 98.1345
2513 | 98.1368
2512 | 98.1388
2511 | 98.1399
2510 | 98.1402
2509 | 98.1407
2508 | 98.1432
2507 | 98.1479
2506 | 98.1526
2505 | 98.1551
2504 | 98.1556
2503 | 98.1559
2502 | 98.1571
2501 | 98.1586
2500 | 98.1602
2499 | 98.1627
2498 | 98.1663
2497 | 98.1702
2496 | 98.1734
2495 | 98.1756
2494 | 98.1768
2493 | 98.1771
2492 | 98.1769
2491 | 98.1775
2490 | 98.1792
2489 | 98.1816
2488 | 98.1842
2487 | 98.1867
2486 | 98.1884
2485 | 98.1889
2484 | 98.1883
2483 | 98.1876
2482 | 98.1876
2481 | 98.1887
2480 | 98.1907
2479 | 98.1933
2478 | 98.1959
2477 | 98.1982
2476 | 98.2006
2475 | 98.2036
2474 | 98.2063
2473 | 98.2081
2472 | 98.2093
2471 | 98.2112
2470 | 98.214
2469 | 98.2162
2468 | 98.2164
2467 | 98.2151
2466 | 98.2144
2465 | 98.2165
2464 | 98.2216
2463 | 98.2276
2462 | 98.232
2461 | 98.2338
2460 | 98.2344
2459 | 98.2356
2458 | 98.2373
2457 | 98.2384
2456 | 98.2384
2455 | 98.2379
2454 | 98.2373
2453 | 98.2366
2452 | 98.2366
2451 | 98.2385
2450 | 98.242
2449 | 98.2451
2448 | 98.2466
2447 | 98.2471
2446 | 98.2479
2445 | 98.2496
2444 | 98.2521
2443 | 98.2545
2442 | 98.2562
2441 | 98.2571
2440 | 98.2578
2439 | 98.2593
2438 | 98.2616
2437 | 98.2641
2436 | 98.2666
2435 | 98.2692
2434 | 98.2716
2433 | 98.2731
2432 | 98.2736
2431 | 98.2737
2430 | 98.274
2429 | 98.2751
2428 | 98.2772
2427 | 98.2802
2426 | 98.2828
2425 | 98.2839
2424 | 98.2835
2423 | 98.2828
2422 | 98.2826
2421 | 98.2828
2420 | 98.2834
2419 | 98.2846
2418 | 98.2863
2417 | 98.2876
2416 | 98.2887
2415 | 98.2901
2414 | 98.292
2413 | 98.2941
2412 | 98.2962
2411 | 98.2985
2410 | 98.3012
2409 | 98.3039
2408 | 98.3059
2407 | 98.3071
2406 | 98.3072
2405 | 98.3066
2404 | 98.3064
2403 | 98.3074
2402 | 98.309
2401 | 98.3105
2400 | 98.3115
2399 | 98.3122
2398 | 98.3124
2397 | 98.3124
2396 | 98.3127
2395 | 98.3137
2394 | 98.3145
2393 | 98.3138
2392 | 98.3117
2391 | 98.3099
2390 | 98.309
2389 | 98.308
2388 | 98.3057
2387 | 98.3017
2386 | 98.2964
2385 | 98.2897
2384 | 98.282
2383 | 98.274
2382 | 98.2666
2381 | 98.2606
2380 | 98.2566
2379 | 98.2544
2378 | 98.2533
2377 | 98.2524
2376 | 98.2512
2375 | 98.2485
2374 | 98.243
2373 | 98.2351
2372 | 98.2277
2371 | 98.2238
2370 | 98.2229
2369 | 98.2222
2368 | 98.2199
2367 | 98.2158
2366 | 98.2096
2365 | 98.2016
2364 | 98.1937
2363 | 98.1878
2362 | 98.1836
2361 | 98.1791
2360 | 98.1735
2359 | 98.1679
2358 | 98.1627
2357 | 98.1594
2356 | 98.159
2355 | 98.1602
2354 | 98.1582
2353 | 98.1518
2352 | 98.1471
2351 | 98.1494
2350 | 98.1592
2349 | 98.1734
2348 | 98.1867
2347 | 98.1877
2346 | 98.1625
2345 | 98.1107
2344 | 98.0468
2343 | 97.9904
2342 | 97.9528
2341 | 97.9392
2340 | 97.9519
2339 | 97.989
2338 | 98.0422
2337 | 98.0983
2336 | 98.1457
2335 | 98.178
2334 | 98.1948
2333 | 98.1986
2332 | 98.1951
2331 | 98.1884
2330 | 98.182
2329 | 98.1756
2328 | 98.1708
2327 | 98.1701
2326 | 98.1745
2325 | 98.1823
2324 | 98.1898
2323 | 98.1952
2322 | 98.1978
2321 | 98.1983
2320 | 98.1997
2319 | 98.2044
2318 | 98.2138
2317 | 98.2253
2316 | 98.2361
2315 | 98.2427
2314 | 98.2444
2313 | 98.2421
2312 | 98.24
2311 | 98.2409
2310 | 98.2456
2309 | 98.2518
2308 | 98.2587
2307 | 98.2663
2306 | 98.2746
2305 | 98.2824
2304 | 98.2894
2303 | 98.2955
2302 | 98.3014
2301 | 98.307
2300 | 98.313
2299 | 98.3198
2298 | 98.3274
2297 | 98.3346
2296 | 98.3411
2295 | 98.3477
2294 | 98.3549
2293 | 98.362
2292 | 98.3684
2291 | 98.3739
2290 | 98.3789
2289 | 98.3838
2288 | 98.3888
2287 | 98.3941
2286 | 98.3988
2285 | 98.4022
2284 | 98.4048
2283 | 98.4073
2282 | 98.4094
2281 | 98.4103
2280 | 98.4106
2279 | 98.412
2278 | 98.4143
2277 | 98.4156
2276 | 98.4149
2275 | 98.4136
2274 | 98.4136
2273 | 98.4153
2272 | 98.4182
2271 | 98.4213
2270 | 98.4232
2269 | 98.4233
2268 | 98.4221
2267 | 98.4205
2266 | 98.4185
2265 | 98.4158
2264 | 98.4136
2263 | 98.414
2262 | 98.4167
2261 | 98.4191
2260 | 98.4197
2259 | 98.4185
2258 | 98.4165
2257 | 98.4144
2256 | 98.4133
2255 | 98.4143
2254 | 98.4161
2253 | 98.4165
2252 | 98.4153
2251 | 98.4146
2250 | 98.4156
2249 | 98.4172
2248 | 98.4183
2247 | 98.4192
2246 | 98.4206
2245 | 98.4226
2244 | 98.4251
2243 | 98.4279
2242 | 98.4303
2241 | 98.4318
2240 | 98.4333
2239 | 98.4359
2238 | 98.4385
2237 | 98.4392
2236 | 98.4384
2235 | 98.4378
2234 | 98.4388
2233 | 98.4409
2232 | 98.4442
2231 | 98.4489
2230 | 98.4543
2229 | 98.4592
2228 | 98.4637
2227 | 98.4687
2226 | 98.473
2225 | 98.4748
2224 | 98.4743
2223 | 98.4739
2222 | 98.4745
2221 | 98.4751
2220 | 98.4753
2219 | 98.4768
2218 | 98.4801
2217 | 98.484
2216 | 98.4871
2215 | 98.4892
2214 | 98.4899
2213 | 98.4887
2212 | 98.4866
2211 | 98.4852
2210 | 98.4854
2209 | 98.4875
2208 | 98.4922
2207 | 98.4993
2206 | 98.5063
2205 | 98.5102
2204 | 98.5118
2203 | 98.5146
2202 | 98.5196
2201 | 98.5248
2200 | 98.5283
2199 | 98.5306
2198 | 98.5319
2197 | 98.5315
2196 | 98.5306
2195 | 98.532
2194 | 98.5368
2193 | 98.5428
2192 | 98.548
2191 | 98.5525
2190 | 98.557
2189 | 98.5613
2188 | 98.5655
2187 | 98.5693
2186 | 98.5716
2185 | 98.5711
2184 | 98.5694
2183 | 98.5698
2182 | 98.5732
2181 | 98.5782
2180 | 98.584
2179 | 98.5905
2178 | 98.5961
2177 | 98.5989
2176 | 98.5998
2175 | 98.6015
2174 | 98.6042
2173 | 98.6062
2172 | 98.6078
2171 | 98.6114
2170 | 98.6173
2169 | 98.6231
2168 | 98.6278
2167 | 98.6325
2166 | 98.6376
2165 | 98.6414
2164 | 98.6433
2163 | 98.6443
2162 | 98.6438
2161 | 98.6407
2160 | 98.636
2159 | 98.6328
2158 | 98.6314
2157 | 98.6295
2156 | 98.6274
2155 | 98.6282
2154 | 98.6331
2153 | 98.6391
2152 | 98.6435
2151 | 98.6458
2150 | 98.6466
2149 | 98.6463
2148 | 98.6464
2147 | 98.6491
2146 | 98.6535
2145 | 98.657
2144 | 98.6584
2143 | 98.6585
2142 | 98.658
2141 | 98.6565
2140 | 98.655
2139 | 98.6548
2138 | 98.6554
2137 | 98.6551
2136 | 98.6543
2135 | 98.6547
2134 | 98.6565
2133 | 98.6574
2132 | 98.6568
2131 | 98.656
2130 | 98.6555
2129 | 98.655
2128 | 98.6551
2127 | 98.6575
2126 | 98.6617
2125 | 98.6657
2124 | 98.668
2123 | 98.6692
2122 | 98.6693
2121 | 98.6684
2120 | 98.6678
2119 | 98.6692
2118 | 98.6717
2117 | 98.6727
2116 | 98.672
2115 | 98.6726
2114 | 98.6764
2113 | 98.682
2112 | 98.6871
2111 | 98.6905
2110 | 98.6927
2109 | 98.6945
2108 | 98.6973
2107 | 98.7017
2106 | 98.7066
2105 | 98.7105
2104 | 98.7143
2103 | 98.72
2102 | 98.7276
2101 | 98.7351
2100 | 98.7416
2099 | 98.7478
2098 | 98.7537
2097 | 98.7588
2096 | 98.763
2095 | 98.7669
2094 | 98.7698
2093 | 98.7713
2092 | 98.7737
2091 | 98.7792
2090 | 98.7864
2089 | 98.7916
2088 | 98.7944
2087 | 98.7975
2086 | 98.8018
2085 | 98.8057
2084 | 98.8089
2083 | 98.813
2082 | 98.8182
2081 | 98.8226
2080 | 98.8251
2079 | 98.8279
2078 | 98.8324
2077 | 98.8376
2076 | 98.8423
2075 | 98.8467
2074 | 98.8502
2073 | 98.8522
2072 | 98.8541
2071 | 98.8582
2070 | 98.8643
2069 | 98.8693
2068 | 98.8727
2067 | 98.8768
2066 | 98.8822
2065 | 98.8867
2064 | 98.8888
2063 | 98.8899
2062 | 98.8914
2061 | 98.8927
2060 | 98.8937
2059 | 98.896
2058 | 98.9
2057 | 98.9038
2056 | 98.9071
2055 | 98.9111
2054 | 98.9159
2053 | 98.92
2052 | 98.9233
2051 | 98.9278
2050 | 98.9343
2049 | 98.941
2048 | 98.9467
2047 | 98.952
2046 | 98.9565
2045 | 98.9591
2044 | 98.9612
2043 | 98.9656
2042 | 98.9705
2041 | 98.9715
2040 | 98.9687
2039 | 98.968
2038 | 98.9725
2037 | 98.9791
2036 | 98.9846
2035 | 98.9894
2034 | 98.9938
2033 | 98.9961
2032 | 98.9964
2031 | 98.998
2030 | 99.0019
2029 | 99.0055
2028 | 99.0076
2027 | 99.0103
2026 | 99.0149
2025 | 99.0194
2024 | 99.0219
2023 | 99.0235
2022 | 99.0258
2021 | 99.0291
2020 | 99.0343
2019 | 99.0415
2018 | 99.0469
2017 | 99.0459
2016 | 99.0399
2015 | 99.0353
2014 | 99.0354
2013 | 99.0379
2012 | 99.0411
2011 | 99.0467
2010 | 99.0546
2009 | 99.0614
2008 | 99.0652
2007 | 99.0683
2006 | 99.0715
2005 | 99.0727
2004 | 99.0718
2003 | 99.0718
2002 | 99.0739
2001 | 99.076
2000 | 99.0773
1999 | 99.0798
1998 | 99.0844
1997 | 99.0896
1996 | 99.0947
1995 | 99.1015
1994 | 99.1096
1993 | 99.1144
1992 | 99.1128
1991 | 99.1077
1990 | 99.1045
1989 | 99.105
1988 | 99.1077
1987 | 99.1112
1986 | 99.1147
1985 | 99.1177
1984 | 99.1209
1983 | 99.1252
1982 | 99.1291
1981 | 99.1303
1980 | 99.1291
1979 | 99.1283
1978 | 99.1286
1977 | 99.1286
1976 | 99.1281
1975 | 99.1285
1974 | 99.1287
1973 | 99.1268
1972 | 99.1246
1971 | 99.1267
1970 | 99.1339
1969 | 99.142
1968 | 99.1467
1967 | 99.1472
1966 | 99.1445
1965 | 99.1402
1964 | 99.1372
1963 | 99.1376
1962 | 99.1393
1961 | 99.139
1960 | 99.1368
1959 | 99.1353
1958 | 99.1346
1957 | 99.1326
1956 | 99.1301
1955 | 99.1298
1954 | 99.1318
1953 | 99.133
1952 | 99.1318
1951 | 99.1295
1950 | 99.1275
1949 | 99.1261
1948 | 99.1265
1947 | 99.129
1946 | 99.1316
1945 | 99.1326
1944 | 99.1331
1943 | 99.1336
1942 | 99.1313
1941 | 99.1245
1940 | 99.118
1939 | 99.1173
1938 | 99.1217
1937 | 99.1257
1936 | 99.1266
1935 | 99.1261
1934 | 99.1252
1933 | 99.1222
1932 | 99.118
1931 | 99.1161
1930 | 99.1166
1929 | 99.1172
1928 | 99.1165
1927 | 99.1151
1926 | 99.1137
1925 | 99.1126
1924 | 99.1134
1923 | 99.1162
1922 | 99.1172
1921 | 99.1156
1920 | 99.1167
1919 | 99.124
1918 | 99.1307
1917 | 99.1271
1916 | 99.1148
1915 | 99.1043
1914 | 99.1007
1913 | 99.1
1912 | 99.0987
1911 | 99.0984
1910 | 99.0999
1909 | 99.1006
1908 | 99.0993
1907 | 99.0981
1906 | 99.0985
1905 | 99.0979
1904 | 99.0957
1903 | 99.0946
1902 | 99.0952
1901 | 99.0954
1900 | 99.094
1899 | 99.0928
1898 | 99.0927
1897 | 99.092
1896 | 99.0899
1895 | 99.0882
1894 | 99.0869
1893 | 99.0844
1892 | 99.0817
1891 | 99.0825
1890 | 99.0869
1889 | 99.0898
1888 | 99.0888
1887 | 99.0865
1886 | 99.0857
1885 | 99.0847
1884 | 99.082
1883 | 99.0793
1882 | 99.0786
1881 | 99.0793
1880 | 99.0793
1879 | 99.0784
1878 | 99.0771
1877 | 99.0748
1876 | 99.072
1875 | 99.0706
1874 | 99.0704
1873 | 99.0689
1872 | 99.0663
1871 | 99.0666
1870 | 99.0708
1869 | 99.0737
1868 | 99.0713
1867 | 99.0662
1866 | 99.0624
1865 | 99.0605
1864 | 99.0598
1863 | 99.0601
1862 | 99.061
1861 | 99.0613
1860 | 99.0608
1859 | 99.0605
1858 | 99.0609
1857 | 99.0605
1856 | 99.0586
1855 | 99.0571
1854 | 99.0569
1853 | 99.0566
1852 | 99.0545
1851 | 99.0512
1850 | 99.0489
1849 | 99.0471
1848 | 99.0445
1847 | 99.0431
1846 | 99.0475
1845 | 99.0586
1844 | 99.0696
1843 | 99.0721
1842 | 99.0628
1841 | 99.0475
1840 | 99.035
1839 | 99.0301
1838 | 99.0298
1837 | 99.0287
1836 | 99.0262
1835 | 99.0242
1834 | 99.0218
1833 | 99.0173
1832 | 99.013
1831 | 99.0135
1830 | 99.0181
1829 | 99.0192
1828 | 99.0127
1827 | 99.005
1826 | 99.0057
1825 | 99.0142
1824 | 99.0207
1823 | 99.0194
1822 | 99.0131
1821 | 99.0071
1820 | 99.0033
1819 | 99.0015
1818 | 99.0006
1817 | 98.9985
1816 | 98.9941
1815 | 98.9871
1814 | 98.9784
1813 | 98.9701
1812 | 98.964
1811 | 98.9612
1810 | 98.9601
1809 | 98.9589
1808 | 98.9574
1807 | 98.9561
1806 | 98.9542
1805 | 98.9498
1804 | 98.9439
1803 | 98.9398
1802 | 98.9392
1801 | 98.9391
1800 | 98.9362
1799 | 98.9314
1798 | 98.927
1797 | 98.9232
1796 | 98.9183
1795 | 98.9125
1794 | 98.9095
1793 | 98.9137
1792 | 98.9242
1791 | 98.9339
1790 | 98.9349
1789 | 98.9261
1788 | 98.9142
1787 | 98.907
1786 | 98.9075
1785 | 98.9112
1784 | 98.9108
1783 | 98.9027
1782 | 98.8912
1781 | 98.8832
1780 | 98.8795
1779 | 98.877
1778 | 98.8723
1777 | 98.865
1776 | 98.8563
1775 | 98.8472
1774 | 98.84
1773 | 98.8361
1772 | 98.8332
1771 | 98.8283
1770 | 98.8201
1769 | 98.8121
1768 | 98.8092
1767 | 98.8065
1766 | 98.7928
1765 | 98.7667
1764 | 98.7394
1763 | 98.7224
1762 | 98.7149
1761 | 98.7052
1760 | 98.6855
1759 | 98.6601
1758 | 98.6373
1757 | 98.6212
1756 | 98.6071
1755 | 98.5887
1754 | 98.5658
1753 | 98.5448
1752 | 98.5304
1751 | 98.5179
1750 | 98.4967
1749 | 98.4639
1748 | 98.431
1747 | 98.4075
1746 | 98.3918
1745 | 98.3777
1744 | 98.3641
1743 | 98.3532
1742 | 98.3434
1741 | 98.3308
1740 | 98.319
1739 | 98.3124
1738 | 98.3058
1737 | 98.2963
1736 | 98.2943
1735 | 98.3116
1734 | 98.3355
1733 | 98.3384
1732 | 98.3137
1731 | 98.2838
1730 | 98.2693
1729 | 98.2694
1728 | 98.2733
1727 | 98.2757
1726 | 98.2781
1725 | 98.2806
1724 | 98.2839
1723 | 98.2906
1722 | 98.2977
1721 | 98.3003
1720 | 98.3018
1719 | 98.3124
1718 | 98.3328
1717 | 98.351
1716 | 98.3587
1715 | 98.3594
1714 | 98.3605
1713 | 98.3611
1712 | 98.3582
1711 | 98.3543
1710 | 98.3515
1709 | 98.346
1708 | 98.3333
1707 | 98.3176
1706 | 98.3072
1705 | 98.3019
1704 | 98.295
1703 | 98.2854
1702 | 98.2799
1701 | 98.2772
1700 | 98.259
1699 | 98.2158
1698 | 98.1542
1697 | 98.0891
1696 | 98.0292
1695 | 97.9669
1694 | 97.8864
1693 | 97.7857
1692 | 97.6754
1691 | 97.5602
1690 | 97.4354
1689 | 97.3055
1688 | 97.1894
1687 | 97.1007
1686 | 97.0311
1685 | 96.9536
1684 | 96.8698
1683 | 96.828
1682 | 96.84
1681 | 96.8845
1680 | 96.9497
1679 | 97.0233
1678 | 97.0936
1677 | 97.1577
1676 | 97.2166
1675 | 97.2649
1674 | 97.2939
1673 | 97.3037
1672 | 97.305
1671 | 97.3085
1670 | 97.3139
1669 | 97.3177
1668 | 97.319
1667 | 97.3166
1666 | 97.311
1665 | 97.3022
1664 | 97.289
1663 | 97.271
1662 | 97.2523
1661 | 97.2374
1660 | 97.2245
1659 | 97.2136
1658 | 97.2062
1657 | 97.2042
1656 | 97.2109
1655 | 97.2293
1654 | 97.2426
1653 | 97.2215
1652 | 97.185
1651 | 97.1423
1650 | 97.0976
1649 | 97.066
1648 | 97.0469
1647 | 97.0315
1646 | 97.0235
1645 | 97.0209
1644 | 97.0123
1643 | 96.9974
1642 | 96.9816
1641 | 96.9654
1640 | 96.9451
1639 | 96.9221
1638 | 96.8972
1637 | 96.8591
1636 | 96.7917
1635 | 96.7092
1634 | 96.635
1633 | 96.5615
1632 | 96.4775
1631 | 96.3767
1630 | 96.2456
1629 | 96.0663
1628 | 95.8393
1627 | 95.5933
1626 | 95.3522
1625 | 95.1046
1624 | 94.83
1623 | 94.5596
1622 | 94.3743
1621 | 94.3157
1620 | 94.3642
1619 | 94.4957
1618 | 94.7034
1617 | 94.9703
1616 | 95.25
1615 | 95.5003
1614 | 95.7181
1613 | 95.9182
1612 | 96.1035
1611 | 96.2657
1610 | 96.4024
1609 | 96.5188
1608 | 96.6181
1607 | 96.7007
1606 | 96.7696
1605 | 96.829
1604 | 96.878
1603 | 96.9164
1602 | 96.948
1601 | 96.9754
1600 | 96.9968
1599 | 97.0113
1598 | 97.0216
1597 | 97.0309
1596 | 97.0393
1595 | 97.0488
1594 | 97.0644
1593 | 97.0888
1592 | 97.1194
1591 | 97.1539
1590 | 97.1934
1589 | 97.2383
1588 | 97.2854
1587 | 97.3321
1586 | 97.3784
1585 | 97.4248
1584 | 97.4692
1583 | 97.5104
1582 | 97.5508
1581 | 97.5904
1580 | 97.6259
1579 | 97.6578
1578 | 97.6929
1577 | 97.7327
1576 | 97.7705
1575 | 97.8
1574 | 97.8173
1573 | 97.8266
1572 | 97.8362
1571 | 97.849
1570 | 97.8627
1569 | 97.8778
1568 | 97.8918
1567 | 97.9004
1566 | 97.9064
1565 | 97.9155
1564 | 97.9291
1563 | 97.9454
1562 | 97.9664
1561 | 97.9905
1560 | 98.0049
1559 | 97.9948
1558 | 97.9987
1557 | 98.0123
1556 | 98.0092
1555 | 98.0055
1554 | 98.0108
1553 | 98.0161
1552 | 98.0133
1551 | 98.01
1550 | 98.0145
1549 | 98.0231
1548 | 98.0275
1547 | 98.0263
1546 | 98.026
1545 | 98.031
1544 | 98.0375
1543 | 98.0405
1542 | 98.0387
1541 | 98.0356
1540 | 98.0456
1539 | 98.0786
1538 | 98.1069
1537 | 98.1083
1536 | 98.0966
1535 | 98.0893
1534 | 98.0919
1533 | 98.1029
1532 | 98.115
1531 | 98.1196
1530 | 98.1158
1529 | 98.1089
1528 | 98.1046
1527 | 98.1047
1526 | 98.1057
1525 | 98.1015
1524 | 98.0889
1523 | 98.0717
1522 | 98.0567
1521 | 98.0491
1520 | 98.0402
1519 | 98.0149
1518 | 97.9762
1517 | 97.9394
1516 | 97.9152
1515 | 97.8977
1514 | 97.8755
1513 | 97.8474
1512 | 97.8185
1511 | 97.7907
1510 | 97.7635
1509 | 97.7376
1508 | 97.7133
1507 | 97.6868
1506 | 97.6727
1505 | 97.6737
1504 | 97.6707
1503 | 97.6655
1502 | 97.6685
1501 | 97.6805
1500 | 97.6982
1499 | 97.7192
1498 | 97.7455
1497 | 97.781
1496 | 97.8261
1495 | 97.8681
1494 | 97.8935
1493 | 97.9051
1492 | 97.9148
1491 | 97.9285
1490 | 97.9417
1489 | 97.9492
1488 | 97.9525
1487 | 97.9536
1486 | 97.9508
1485 | 97.9429
1484 | 97.93
1483 | 97.9124
1482 | 97.8911
1481 | 97.8675
1480 | 97.8431
1479 | 97.8171
1478 | 97.7869
1477 | 97.7511
1476 | 97.7116
1475 | 97.6669
1474 | 97.6081
1473 | 97.529
1472 | 97.442
1471 | 97.3654
1470 | 97.3004
1469 | 97.2427
1468 | 97.1927
1467 | 97.1479
1466 | 97.1007
1465 | 97.05
1464 | 97.007
1463 | 96.9806
1462 | 96.967
1461 | 96.9609
1460 | 96.9608
1459 | 96.9631
1458 | 96.9584
1457 | 96.9447
1456 | 96.9362
1455 | 96.9337
1454 | 96.9322
1453 | 96.9376
1452 | 96.9524
1451 | 96.9725
1450 | 96.992
1449 | 97.0091
1448 | 97.0262
1447 | 97.0437
1446 | 97.0596
1445 | 97.0731
1444 | 97.0834
1443 | 97.0906
1442 | 97.0943
1441 | 97.0954
1440 | 97.0965
1439 | 97.0984
1438 | 97.0948
1437 | 97.0741
1436 | 97.0369
1435 | 96.9962
1434 | 96.959
1433 | 96.9253
1432 | 96.8925
1431 | 96.857
1430 | 96.8191
1429 | 96.7845
1428 | 96.7608
1427 | 96.7488
1426 | 96.7425
1425 | 96.7378
1424 | 96.7369
1423 | 96.7477
1422 | 96.7741
1421 | 96.8118
1420 | 96.8528
1419 | 96.8901
1418 | 96.9234
1417 | 96.957
1416 | 96.9956
1415 | 97.0401
1414 | 97.0859
1413 | 97.129
1412 | 97.1685
1411 | 97.2048
1410 | 97.2374
1409 | 97.2659
1408 | 97.2911
1407 | 97.3137
1406 | 97.3331
1405 | 97.3507
1404 | 97.3686
1403 | 97.3866
1402 | 97.4027
1401 | 97.4156
1400 | 97.4258
1399 | 97.434
1398 | 97.4417
1397 | 97.4495
1396 | 97.4571
1395 | 97.4631
1394 | 97.4661
1393 | 97.4658
1392 | 97.4621
1391 | 97.4564
1390 | 97.4494
1389 | 97.4388
1388 | 97.42
1387 | 97.3912
1386 | 97.3561
1385 | 97.3193
1384 | 97.2825
1383 | 97.2449
1382 | 97.206
1381 | 97.1661
1380 | 97.1264
1379 | 97.089
1378 | 97.0556
1377 | 97.0257
1376 | 96.9965
1375 | 96.9658
1374 | 96.9363
1373 | 96.9132
1372 | 96.8979
1371 | 96.8881
1370 | 96.8816
1369 | 96.8783
1368 | 96.8787
1367 | 96.8834
1366 | 96.892
1365 | 96.9033
1364 | 96.916
1363 | 96.9304
1362 | 96.9494
1361 | 96.9746
1360 | 97.0044
1359 | 97.0355
1358 | 97.0656
1357 | 97.0939
1356 | 97.1197
1355 | 97.1427
1354 | 97.1628
1353 | 97.1796
1352 | 97.1924
1351 | 97.2
1350 | 97.2012
1349 | 97.196
1348 | 97.1847
1347 | 97.1669
1346 | 97.1424
1345 | 97.1119
1344 | 97.0773
1343 | 97.0401
1342 | 97.0007
1341 | 96.9583
1340 | 96.9127
1339 | 96.8665
1338 | 96.8233
1337 | 96.7859
1336 | 96.7545
1335 | 96.7295
1334 | 96.7108
1333 | 96.6979
1332 | 96.6894
1331 | 96.6836
1330 | 96.679
1329 | 96.6737
1328 | 96.6657
1327 | 96.6534
1326 | 96.6357
1325 | 96.6123
1324 | 96.5838
1323 | 96.552
1322 | 96.5187
1321 | 96.4853
1320 | 96.4532
1319 | 96.4254
1318 | 96.4062
1317 | 96.3988
1316 | 96.4043
1315 | 96.4222
1314 | 96.4516
1313 | 96.4913
1312 | 96.5402
1311 | 96.5964
1310 | 96.6581
1309 | 96.7233
1308 | 96.7901
1307 | 96.8569
1306 | 96.9225
1305 | 96.986
1304 | 97.0466
1303 | 97.1036
1302 | 97.1566
1301 | 97.2053
1300 | 97.2497
1299 | 97.2892
1298 | 97.3235
1297 | 97.3522
1296 | 97.3751
1295 | 97.3928
1294 | 97.4064
1293 | 97.4172
1292 | 97.4262
1291 | 97.4331
1290 | 97.4375
1289 | 97.4387
1288 | 97.4357
1287 | 97.4277
1286 | 97.415
1285 | 97.399
1284 | 97.3816
1283 | 97.3646
1282 | 97.3491
1281 | 97.3359
1280 | 97.3242
1279 | 97.313
1278 | 97.3017
1277 | 97.2908
1276 | 97.2813
1275 | 97.2741
1274 | 97.2704
1273 | 97.2722
1272 | 97.2818
1271 | 97.3007
1270 | 97.3282
1269 | 97.3615
1268 | 97.3947
1267 | 97.4206
1266 | 97.4325
1265 | 97.4266
1264 | 97.4042
1263 | 97.3702
1262 | 97.33
1261 | 97.2869
1260 | 97.2416
1259 | 97.1938
1258 | 97.1433
1257 | 97.0902
1256 | 97.0346
1255 | 96.9774
1254 | 96.9195
1253 | 96.8621
1252 | 96.8061
1251 | 96.7526
1250 | 96.7025
1249 | 96.6566
1248 | 96.6155
1247 | 96.5801
1246 | 96.551
1245 | 96.5276
1244 | 96.5088
1243 | 96.494
1242 | 96.4829
1241 | 96.4744
1240 | 96.4671
1239 | 96.4602
1238 | 96.4536
1237 | 96.4479
1236 | 96.4438
1235 | 96.4421
1234 | 96.4436
1233 | 96.4481
1232 | 96.4555
1231 | 96.4657
1230 | 96.4786
1229 | 96.4943
1228 | 96.5124
1227 | 96.5329
1226 | 96.5551
1225 | 96.5783
1224 | 96.6021
1223 | 96.626
1222 | 96.6496
1221 | 96.6726
1220 | 96.6952
1219 | 96.7178
1218 | 96.7401
1217 | 96.7609
1216 | 96.7792
1215 | 96.7935
1214 | 96.8023
1213 | 96.8035
1212 | 96.795
1211 | 96.7763
1210 | 96.7482
1209 | 96.7132
1208 | 96.6753
1207 | 96.6383
1206 | 96.6044
1205 | 96.5737
1204 | 96.5451
1203 | 96.5178
1202 | 96.492
1201 | 96.4673
1200 | 96.4435
1199 | 96.4197
1198 | 96.394
1197 | 96.364
1196 | 96.3273
1195 | 96.2823
1194 | 96.2276
1193 | 96.1614
1192 | 96.082
1191 | 95.9881
1190 | 95.8787
1189 | 95.7529
1188 | 95.6101
1187 | 95.4505
1186 | 95.274
1185 | 95.0795
1184 | 94.8666
1183 | 94.6362
1182 | 94.3898
1181 | 94.1277
1180 | 93.8505
1179 | 93.5602
1178 | 93.2586
1177 | 92.9458
1176 | 92.6219
1175 | 92.2887
1174 | 91.9473
1173 | 91.5971
1172 | 91.2385
1171 | 90.8755
1170 | 90.5112
1169 | 90.1465
1168 | 89.7841
1167 | 89.4305
1166 | 89.0904
1165 | 88.7633
1164 | 88.4491
1163 | 88.1513
1162 | 87.8702
1161 | 87.5998
1160 | 87.3353
1159 | 87.0764
1158 | 86.8213
1157 | 86.5629
1156 | 86.2981
1155 | 86.0306
1154 | 85.7617
1153 | 85.4859
1152 | 85.1995
1151 | 84.9065
1150 | 84.6099
1149 | 84.307
1148 | 83.9983
1147 | 83.6914
1146 | 83.3917
1145 | 83.0974
1144 | 82.8104
1143 | 82.5403
1142 | 82.2918
1141 | 82.0597
1140 | 81.8409
1139 | 81.6399
1138 | 81.4571
1137 | 81.2834
1136 | 81.1139
1135 | 80.9533
1134 | 80.8024
1133 | 80.6522
1132 | 80.4966
1131 | 80.3394
1130 | 80.1802
1129 | 80.0105
1128 | 79.8281
1127 | 79.6439
1126 | 79.4664
1125 | 79.2938
1124 | 79.1273
1123 | 78.9771
1122 | 78.8477
1121 | 78.7301
1120 | 78.618
1119 | 78.5158
1118 | 78.4249
1117 | 78.3392
1116 | 78.2602
1115 | 78.2032
1114 | 78.1805
1113 | 78.1931
1112 | 78.2448
1111 | 78.3468
1110 | 78.5009
1109 | 78.6939
1108 | 78.9159
1107 | 79.1675
1106 | 79.4462
1105 | 79.741
1104 | 80.0466
1103 | 80.3676
1102 | 80.7034
1101 | 81.0432
1100 | 81.3809
1099 | 81.7206
1098 | 82.0637
1097 | 82.4034
1096 | 82.7358
1095 | 83.0641
1094 | 83.3879
1093 | 83.7
1092 | 83.9977
1091 | 84.285
1090 | 84.5622
1089 | 84.8236
1088 | 85.0674
1087 | 85.2983
1086 | 85.5171
1085 | 85.7166
1084 | 85.8915
1083 | 86.0429
1082 | 86.1717
1081 | 86.276
1080 | 86.3584
1079 | 86.4274
1078 | 86.4891
1077 | 86.5438
1076 | 86.5928
1075 | 86.6398
1074 | 86.6835
1073 | 86.7153
1072 | 86.7295
1071 | 86.7255
1070 | 86.7012
1069 | 86.6495
1068 | 86.5664
1067 | 86.4556
1066 | 86.3216
1065 | 86.1668
1064 | 85.9986
1063 | 85.8318
1062 | 85.6799
1061 | 85.5495
1060 | 85.4462
1059 | 85.3767
1058 | 85.3414
1057 | 85.3321
1056 | 85.3421
1055 | 85.3708
1054 | 85.4165
1053 | 85.4726
1052 | 85.5338
1051 | 85.5999
1050 | 85.6685
1049 | 85.7333
1048 | 85.7921
1047 | 85.8476
1046 | 85.898
1045 | 85.9348
1044 | 85.9519
1043 | 85.9494
1042 | 85.9268
1041 | 85.8815
1040 | 85.8151
1039 | 85.7372
1038 | 85.6582
1037 | 85.5845
1036 | 85.5242
1035 | 85.4883
1034 | 85.4837
1033 | 85.5101
1032 | 85.5656
1031 | 85.6496
1030 | 85.7586
1029 | 85.8859
1028 | 86.0279
1027 | 86.1853
1026 | 86.3563
1025 | 86.535
1024 | 86.7178
1023 | 86.905
1022 | 87.0947
1021 | 87.2816
1020 | 87.4623
1019 | 87.6363
1018 | 87.8001
1017 | 87.9454
1016 | 88.0653
1015 | 88.1579
1014 | 88.2241
1013 | 88.265
1012 | 88.2834
1011 | 88.2831
1010 | 88.2644
1009 | 88.2228
1008 | 88.1539
1007 | 88.0626
1006 | 87.968
1005 | 87.9016
1004 | 87.8944
1003 | 87.9577
1002 | 88.0754
1001 | 88.2177
1000 | 88.3623
999 | 88.5012
998 | 88.632
997 | 88.7509
996 | 88.8559
995 | 88.9478
994 | 89.0272
993 | 89.0931
992 | 89.1456
991 | 89.1877
990 | 89.2219
989 | 89.25
988 | 89.2776
987 | 89.3149
986 | 89.3724
985 | 89.4575
984 | 89.576
983 | 89.7306
982 | 89.9175
981 | 90.1268
980 | 90.3485
979 | 90.5749
978 | 90.7988
977 | 91.0139
976 | 91.2173
975 | 91.4096
974 | 91.5911
973 | 91.7601
972 | 91.917
971 | 92.0644
970 | 92.2048
969 | 92.3382
968 | 92.4652
967 | 92.5876
966 | 92.7071
965 | 92.8239
964 | 92.9391
963 | 93.0542
962 | 93.1696
961 | 93.284
960 | 93.3969
959 | 93.5096
958 | 93.6223
957 | 93.7337
956 | 93.8428
955 | 93.9497
954 | 94.0545
953 | 94.1556
952 | 94.2524
951 | 94.3454
950 | 94.4352
949 | 94.5217
948 | 94.6046
947 | 94.6842
946 | 94.7599
945 | 94.8305
944 | 94.8958
943 | 94.9567
942 | 95.0133
941 | 95.0653
940 | 95.1125
939 | 95.1558
938 | 95.1954
937 | 95.231
936 | 95.2635
935 | 95.2944
934 | 95.3242
933 | 95.3516
932 | 95.3763
931 | 95.3993
930 | 95.4215
929 | 95.4426
928 | 95.4622
927 | 95.4807
926 | 95.4985
925 | 95.5148
924 | 95.5296
923 | 95.5437
922 | 95.557
921 | 95.5683
920 | 95.5766
919 | 95.5825
918 | 95.5864
917 | 95.5876
916 | 95.5855
915 | 95.5808
914 | 95.5736
913 | 95.5639
912 | 95.5522
911 | 95.5397
910 | 95.5262
909 | 95.509
908 | 95.486
907 | 95.4566
906 | 95.4214
905 | 95.3813
904 | 95.3385
903 | 95.2963
902 | 95.2576
901 | 95.2243
900 | 95.1983
899 | 95.1822
898 | 95.1773
897 | 95.1832
896 | 95.1999
895 | 95.2282
894 | 95.2676
893 | 95.3152
892 | 95.3672
891 | 95.4214
890 | 95.4761
889 | 95.5299
888 | 95.5814
887 | 95.6298
886 | 95.6736
885 | 95.7117
884 | 95.7452
883 | 95.7756
882 | 95.8018
881 | 95.8203
880 | 95.8304
879 | 95.8362
878 | 95.8429
877 | 95.8532
876 | 95.8686
875 | 95.8918
874 | 95.9248
873 | 95.9671
872 | 96.0157
871 | 96.0663
870 | 96.1138
869 | 96.1537
868 | 96.1845
867 | 96.2086
866 | 96.2288
865 | 96.2463
864 | 96.2617
863 | 96.2751
862 | 96.2858
861 | 96.2926
860 | 96.2966
859 | 96.3003
858 | 96.3045
857 | 96.3071
856 | 96.3056
855 | 96.2999
854 | 96.2918
853 | 96.2837
852 | 96.279
851 | 96.2796
850 | 96.283
849 | 96.2836
848 | 96.2788
847 | 96.2707
846 | 96.2629
845 | 96.2565
844 | 96.2514
843 | 96.2474
842 | 96.2422
841 | 96.2332
840 | 96.2208
839 | 96.2101
838 | 96.2049
837 | 96.2045
836 | 96.2059
835 | 96.2082
834 | 96.2121
833 | 96.218
832 | 96.2268
831 | 96.2407
830 | 96.2601
829 | 96.2826
828 | 96.3055
827 | 96.3281
826 | 96.3497
825 | 96.3681
824 | 96.3815
823 | 96.3911
822 | 96.3983
821 | 96.4026
820 | 96.4034
819 | 96.4021
818 | 96.4001
817 | 96.398
816 | 96.3971
815 | 96.3982
814 | 96.3999
813 | 96.3985
812 | 96.3926
811 | 96.3849
810 | 96.379
809 | 96.3753
808 | 96.3726
807 | 96.3698
806 | 96.3655
805 | 96.3583
804 | 96.3482
803 | 96.3372
802 | 96.3256
801 | 96.3114
800 | 96.294
799 | 96.2748
798 | 96.2538
797 | 96.2288
796 | 96.1992
795 | 96.1675
794 | 96.1349
793 | 96.0999
792 | 96.0618
791 | 96.0233
790 | 95.987
789 | 95.9524
788 | 95.9185
787 | 95.8862
786 | 95.8559
785 | 95.8258
784 | 95.7955
783 | 95.7675
782 | 95.7428
781 | 95.7199
780 | 95.6975
779 | 95.6772
778 | 95.6597
777 | 95.643
776 | 95.6254
775 | 95.6079
774 | 95.5908
773 | 95.5716
772 | 95.5491
771 | 95.5252
770 | 95.5015
769 | 95.4767
768 | 95.4503
767 | 95.4241
766 | 95.3991
765 | 95.3733
764 | 95.3457
763 | 95.3185
762 | 95.2922
761 | 95.2645
760 | 95.2349
759 | 95.206
758 | 95.1793
757 | 95.1524
756 | 95.1237
755 | 95.0949
754 | 95.067
753 | 95.0374
752 | 95.0051
751 | 94.9728
750 | 94.9424
749 | 94.9118
748 | 94.88
747 | 94.8498
746 | 94.8225
745 | 94.7943
744 | 94.7623
743 | 94.7288
742 | 94.6961
741 | 94.6623
740 | 94.6266
739 | 94.5917
738 | 94.5591
737 | 94.5262
736 | 94.4908
735 | 94.4544
734 | 94.4174
733 | 94.3761
732 | 94.3288
731 | 94.2791
730 | 94.2293
729 | 94.1776
728 | 94.1227
727 | 94.0678
726 | 94.0144
725 | 93.9594
724 | 93.9008
723 | 93.84
722 | 93.7761
721 | 93.7064
720 | 93.6358
719 | 93.5758
718 | 93.5282
717 | 93.482
716 | 93.4283
715 | 93.3708
714 | 93.316
713 | 93.2635
712 | 93.2123
711 | 93.1664
710 | 93.1268
709 | 93.0872
708 | 93.0435
707 | 93.0002
706 | 92.96
705 | 92.9175
704 | 92.8709
703 | 92.827
702 | 92.7887
701 | 92.7481
700 | 92.7003
699 | 92.6525
698 | 92.6098
697 | 92.5665
696 | 92.5183
695 | 92.4713
694 | 92.4279
693 | 92.3788
692 | 92.3187
691 | 92.2544
690 | 92.1868
689 | 92.1027
688 | 91.9969
687 | 91.8825
686 | 91.7633
685 | 91.62
684 | 91.4383
683 | 91.2251
682 | 90.981
681 | 90.6852
680 | 90.3241
679 | 89.9064
678 | 89.4305
677 | 88.8752
676 | 88.2373
675 | 87.5387
674 | 86.7991
673 | 86.0496
672 | 85.3673
671 | 84.81
670 | 84.3501
669 | 83.8998
668 | 83.5639
667 | 83.6541
666 | 84.1588
665 | 84.8338
664 | 85.5556
663 | 86.2587
662 | 86.8856
661 | 87.4082
660 | 87.8371
659 | 88.1859
658 | 88.4666
657 | 88.7001
656 | 88.899
655 | 89.0577
654 | 89.1767
653 | 89.2707
652 | 89.3435
651 | 89.3827
650 | 89.3879
649 | 89.3775
648 | 89.3603
647 | 89.327
646 | 89.2727
645 | 89.2056
644 | 89.1318
643 | 89.0522
642 | 88.9731
641 | 88.9016
640 | 88.8341
639 | 88.7666
638 | 88.706
637 | 88.6578
636 | 88.6105
635 | 88.5492
634 | 88.4743
633 | 88.3909
632 | 88.295
631 | 88.1858
630 | 88.0798
629 | 87.9924
628 | 87.9201
627 | 87.8508
626 | 87.7786
625 | 87.703
624 | 87.63
623 | 87.5781
622 | 87.5651
621 | 87.5849
620 | 87.6153
619 | 87.6409
618 | 87.6558
617 | 87.652
616 | 87.6116
615 | 87.5242
614 | 87.4089
613 | 87.2852
612 | 87.1282
611 | 86.8945
610 | 86.5926
609 | 86.2777
608 | 85.9861
607 | 85.715
606 | 85.448
605 | 85.1862
604 | 84.9667
603 | 84.8611
602 | 84.9368
601 | 85.2179
600 | 85.6884

## Sample Details
Setting | Value
Filesname | NHwF-8
Creation Date
Analyst | mas-storage
X-Axis Units | cm-1
X-Axis start value | 4000
X-Axis end value | 600
Data interval | -1
Number of points | 3401
Y-Axis Units | %T
Description | 7Sample 1329 By mas-storage Date Wednesday, July 28 2021

## Instrument Details
Setting | Value
Instrument Model | Frontier FT-IR
Instrument Serial Number | 91175
Software Revision | CPU32 Main 00.09.9908 05-May-2009 15:52:12
Number of Scans | 32
Resolution | 4
Detector
Source | MIR
Beam Splitter | OptKBr
Apodization | Strong
Spectrum Type | Spectrum
Beam Type | Ratio
Phase Correction | Magnitude
Scan Speed | 1
IGram Type | Double
Scan Driection | Combined
Zero Crossing | 0
JStop | 8.94
IR-Laser Wavenumber | 15798.001999451375
Manufacturer | PIKE Technologies Inc.
Part Number | L1200385
Serial Number | 19250
Description | Miracle Accessory
Default Scan Range | 4000 450
Accessory Type | Miracle ATR
Temperature / °C
Slide Holder Option

## Quality Checks
Setting | Value
Water Vapor | Passed
Carbon Dioxide | Passed
Baseline Low | Passed
Baseline High | Passed
Baseline Slope | Passed
Strong Bands | Passed
Weak Bands | Warning
High Noise | Passed
Fringes | Warning
Vignetting | Passed
Blocked Beam | Passed
Negative Bands | Passed
Zero Transmission | Passed
Stray Light | Passed
Window Cuttoff | Passed