## Data
Wavelength / cm-1 | Transmittance / % | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1
4000 | 99.0963 |  | Baseline @ 1105 |  | Baseline @ 1735 |  | Baseline @ 2900 |  | Peak @ 1105 |  | Peak @ 1735 |  | Peak @ 2900
3999 | 99.0937 | 850 | 94.844 | 1525 | 99.1704 | 2670 | 100.1113 | 1105 | 77.4634 | 1735 | 100.3249 | 2900 | 97.6871
3998 | 99.0937 | 1210 | 95.9462 | 1780 | 101.4256 | 3000 | 98.815 | 1105 | 95.6247 | 1735 | 101.0276 | 2900 | 99.2078
3997 | 99.0965
3996 | 99.1008
3995 | 99.1044
3994 | 99.107
3993 | 99.1096
3992 | 99.113
3991 | 99.1164
3990 | 99.1188
3989 | 99.1202
3988 | 99.121
3987 | 99.1214
3986 | 99.1215
3985 | 99.1224
3984 | 99.1245
3983 | 99.1269
3982 | 99.1281
3981 | 99.1275
3980 | 99.1253
3979 | 99.1231
3978 | 99.122
3977 | 99.1231 |  |  | Baseline range |  |  | Transmittance |  |  |  | Equation of base line |  |  | Transmittance at peak value wavelength | Peak Intensity |  | Ratio
3976 | 99.1261 |  | Peak value
3975 | 99.1297 |  | Wavelength
3974 | 99.1327 |  | x1 | x2 | x3 |  | y1 | y2 | y3 |  | m | c
3973 | 99.1345 | [15 empty] | flexural
3972 | 99.1352 |  | 1105 | 850 | 1210 |  | 77.4634 | 94.844 | 95.9462 |  | 0.0030617 | 92.2416 |  | 95.6247 | 18.1614 | R1 | 0.038692
3971 | 99.1349 |  | 1735 | 1525 | 1780 |  | 100.3249 | 99.1704 | 101.4256 |  | 0.0088439 | 85.6835 |  | 101.0276 | 0.7027 | R2 | 0.4621
3970 | 99.1345 |  | 2900 | 2670 | 3000 |  | 97.6871 | 100.1113 | 98.815 |  | -0.0039282 | 110.5996 |  | 99.2078 | 1.5206
3969 | 99.1353
3968 | 99.1382 |  | From paper
3967 | 99.1428 |  | 1105 | 765 | 1185
3966 | 99.1479 |  | 1735 | 1485 | 1780
3965 | 99.1527 |  | 2900 | 2630 | 3000
3964 | 99.1563
3963 | 99.1573
3962 | 99.1552
3961 | 99.1508
3960 | 99.1464
3959 | 99.1437
3958 | 99.144
3957 | 99.1483
3956 | 99.1562
3955 | 99.1653
3954 | 99.1726
3953 | 99.1761
3952 | 99.176
3951 | 99.1741
3950 | 99.1725
3949 | 99.1725
3948 | 99.174
3947 | 99.1761
3946 | 99.1789
3945 | 99.1828
3944 | 99.1857
3943 | 99.1853
3942 | 99.1835
3941 | 99.185
3940 | 99.1906
3939 | 99.1957
3938 | 99.1951
3937 | 99.1895
3936 | 99.1849
3935 | 99.1847
3934 | 99.1877
3933 | 99.1919
3932 | 99.198
3931 | 99.2069
3930 | 99.2153
3929 | 99.2195
3928 | 99.2194
3927 | 99.2181
3926 | 99.2169
3925 | 99.2148
3924 | 99.2129
3923 | 99.2132
3922 | 99.2153
3921 | 99.2166
3920 | 99.2168
3919 | 99.2191
3918 | 99.2248
3917 | 99.2314
3916 | 99.2355
3915 | 99.2362
3914 | 99.2343
3913 | 99.2302
3912 | 99.2244
3911 | 99.2193
3910 | 99.2175
3909 | 99.2198
3908 | 99.2264
3907 | 99.2355
3906 | 99.2437
3905 | 99.2468
3904 | 99.2467
3903 | 99.2529
3902 | 99.2706
3901 | 99.2924
3900 | 99.3038
3899 | 99.2977
3898 | 99.2813
3897 | 99.2652
3896 | 99.2533
3895 | 99.2463
3894 | 99.2453
3893 | 99.2497
3892 | 99.2539
3891 | 99.2521
3890 | 99.2477
3889 | 99.2508
3888 | 99.2649
3887 | 99.2778
3886 | 99.275
3885 | 99.2621
3884 | 99.2577
3883 | 99.268
3882 | 99.2818
3881 | 99.2857
3880 | 99.2777
3879 | 99.2677
3878 | 99.2647
3877 | 99.2696
3876 | 99.275
3875 | 99.2707
3874 | 99.2589
3873 | 99.2565
3872 | 99.2743
3871 | 99.2986
3870 | 99.3074
3869 | 99.3025
3868 | 99.302
3867 | 99.3102
3866 | 99.3127
3865 | 99.2989
3864 | 99.2801
3863 | 99.2732
3862 | 99.2758
3861 | 99.2767
3860 | 99.2727
3859 | 99.2698
3858 | 99.2764
3857 | 99.2981
3856 | 99.3299
3855 | 99.3503
3854 | 99.3443
3853 | 99.3389
3852 | 99.3566
3851 | 99.3751
3850 | 99.3708
3849 | 99.3448
3848 | 99.3115
3847 | 99.2858
3846 | 99.2726
3845 | 99.2683
3844 | 99.2678
3843 | 99.2689
3842 | 99.273
3841 | 99.284
3840 | 99.3004
3839 | 99.3152
3838 | 99.3247
3837 | 99.3289
3836 | 99.328
3835 | 99.3226
3834 | 99.3144
3833 | 99.3046
3832 | 99.2925
3831 | 99.2802
3830 | 99.2718
3829 | 99.2691
3828 | 99.2675
3827 | 99.2597
3826 | 99.2452
3825 | 99.2362
3824 | 99.2449
3823 | 99.2663
3822 | 99.2802
3821 | 99.2778
3820 | 99.2747
3819 | 99.286
3818 | 99.3068
3817 | 99.317
3816 | 99.3054
3815 | 99.2876
3814 | 99.2819
3813 | 99.2819
3812 | 99.2721
3811 | 99.252
3810 | 99.2359
3809 | 99.2335
3808 | 99.2365
3807 | 99.232
3806 | 99.2224
3805 | 99.2221
3804 | 99.2365
3803 | 99.2529
3802 | 99.2514
3801 | 99.2361
3800 | 99.2303
3799 | 99.239
3798 | 99.247
3797 | 99.2406
3796 | 99.2225
3795 | 99.2068
3794 | 99.2007
3793 | 99.1979
3792 | 99.1906
3791 | 99.1788
3790 | 99.1674
3789 | 99.1593
3788 | 99.155
3787 | 99.1541
3786 | 99.1544
3785 | 99.1523
3784 | 99.147
3783 | 99.1429
3782 | 99.1438
3781 | 99.147
3780 | 99.1466
3779 | 99.1421
3778 | 99.139
3777 | 99.1402
3776 | 99.1409
3775 | 99.135
3774 | 99.1238
3773 | 99.1161
3772 | 99.117
3771 | 99.1209
3770 | 99.1215
3769 | 99.1217
3768 | 99.1276
3767 | 99.1361
3766 | 99.1367
3765 | 99.1247
3764 | 99.1081
3763 | 99.0987
3762 | 99.0966
3761 | 99.0931
3760 | 99.0844
3759 | 99.0773
3758 | 99.0758
3757 | 99.0753
3756 | 99.0745
3755 | 99.0769
3754 | 99.082
3753 | 99.0846
3752 | 99.0859
3751 | 99.097
3750 | 99.1157
3749 | 99.1239
3748 | 99.1224
3747 | 99.13
3746 | 99.1452
3745 | 99.1398
3744 | 99.113
3743 | 99.0953
3742 | 99.0911
3741 | 99.082
3740 | 99.0596
3739 | 99.0333
3738 | 99.015
3737 | 99.0025
3736 | 98.9923
3735 | 98.994
3734 | 99.0154
3733 | 99.0416
3732 | 99.0497
3731 | 99.0359
3730 | 99.0148
3729 | 98.9982
3728 | 98.985
3727 | 98.9669
3726 | 98.9457
3725 | 98.9313
3724 | 98.927
3723 | 98.9256
3722 | 98.9198
3721 | 98.9108
3720 | 98.9026
3719 | 98.8963
3718 | 98.8899
3717 | 98.8828
3716 | 98.8801
3715 | 98.8848
3714 | 98.8915
3713 | 98.8914
3712 | 98.8852
3711 | 98.8841
3710 | 98.891
3709 | 98.8953
3708 | 98.8869
3707 | 98.8654
3706 | 98.8392
3705 | 98.8173
3704 | 98.8033
3703 | 98.794
3702 | 98.7846
3701 | 98.7743
3700 | 98.7651
3699 | 98.7584
3698 | 98.7518
3697 | 98.7404
3696 | 98.7254
3695 | 98.7148
3694 | 98.7135
3693 | 98.7197
3692 | 98.729
3691 | 98.7391
3690 | 98.7469
3689 | 98.7484
3688 | 98.7414
3687 | 98.7267
3686 | 98.7072
3685 | 98.6845
3684 | 98.6593
3683 | 98.6357
3682 | 98.6208
3681 | 98.6146
3680 | 98.6117
3679 | 98.6128
3678 | 98.6242
3677 | 98.6393
3676 | 98.6383
3675 | 98.6209
3674 | 98.6059
3673 | 98.604
3672 | 98.6092
3671 | 98.6022
3670 | 98.5739
3669 | 98.5413
3668 | 98.519
3667 | 98.5015
3666 | 98.4803
3665 | 98.454
3664 | 98.4262
3663 | 98.4009
3662 | 98.3788
3661 | 98.3595
3660 | 98.3453
3659 | 98.3393
3658 | 98.3378
3657 | 98.3303
3656 | 98.312
3655 | 98.2919
3654 | 98.2828
3653 | 98.2883
3652 | 98.2974
3651 | 98.2934
3650 | 98.2734
3649 | 98.254
3648 | 98.2419
3647 | 98.2249
3646 | 98.1954
3645 | 98.1607
3644 | 98.1282
3643 | 98.098
3642 | 98.0676
3641 | 98.0386
3640 | 98.0142
3639 | 97.9935
3638 | 97.9739
3637 | 97.9564
3636 | 97.9435
3635 | 97.9325
3634 | 97.9199
3633 | 97.9115
3632 | 97.9169
3631 | 97.9314
3630 | 97.9286
3629 | 97.8928
3628 | 97.846
3627 | 97.8119
3626 | 97.7888
3625 | 97.7674
3624 | 97.7467
3623 | 97.7327
3622 | 97.7277
3621 | 97.7217
3620 | 97.7007
3619 | 97.6646
3618 | 97.6281
3617 | 97.6031
3616 | 97.5906
3615 | 97.5824
3614 | 97.5684
3613 | 97.5467
3612 | 97.5251
3611 | 97.5092
3610 | 97.4939
3609 | 97.4708
3608 | 97.4389
3607 | 97.4073
3606 | 97.3835
3605 | 97.3669
3604 | 97.3532
3603 | 97.3385
3602 | 97.3207
3601 | 97.2996
3600 | 97.278
3599 | 97.2597
3598 | 97.2461
3597 | 97.2333
3596 | 97.2158
3595 | 97.19
3594 | 97.1578
3593 | 97.1267
3592 | 97.1051
3591 | 97.0964
3590 | 97.0935
3589 | 97.0806
3588 | 97.0454
3587 | 96.9942
3586 | 96.9452
3585 | 96.9094
3584 | 96.8857
3583 | 96.8674
3582 | 96.8485
3581 | 96.8264
3580 | 96.802
3579 | 96.7766
3578 | 96.7513
3577 | 96.725
3576 | 96.6963
3575 | 96.6648
3574 | 96.6317
3573 | 96.601
3572 | 96.5774
3571 | 96.5639
3570 | 96.5574
3569 | 96.5457
3568 | 96.5152
3567 | 96.4647
3566 | 96.4085
3565 | 96.3606
3564 | 96.3248
3563 | 96.2969
3562 | 96.2705
3561 | 96.2416
3560 | 96.2096
3559 | 96.1764
3558 | 96.1436
3557 | 96.1124
3556 | 96.0835
3555 | 96.0568
3554 | 96.0299
3553 | 95.9989
3552 | 95.9634
3551 | 95.9282
3550 | 95.8993
3549 | 95.8768
3548 | 95.8542
3547 | 95.8242
3546 | 95.7861
3545 | 95.7457
3544 | 95.7094
3543 | 95.6792
3542 | 95.6533
3541 | 95.6292
3540 | 95.6057
3539 | 95.5826
3538 | 95.5593
3537 | 95.5349
3536 | 95.5098
3535 | 95.4855
3534 | 95.4632
3533 | 95.4425
3532 | 95.423
3531 | 95.4045
3530 | 95.3868
3529 | 95.3683
3528 | 95.3478
3527 | 95.3267
3526 | 95.3077
3525 | 95.291
3524 | 95.2734
3523 | 95.2521
3522 | 95.2289
3521 | 95.2084
3520 | 95.193
3519 | 95.1806
3518 | 95.1677
3517 | 95.154
3516 | 95.1411
3515 | 95.1293
3514 | 95.1169
3513 | 95.102
3512 | 95.0852
3511 | 95.067
3510 | 95.0473
3509 | 95.0259
3508 | 95.0051
3507 | 94.9886
3506 | 94.9779
3505 | 94.9699
3504 | 94.9585
3503 | 94.9399
3502 | 94.9156
3501 | 94.8903
3500 | 94.868
3499 | 94.8503
3498 | 94.8356
3497 | 94.8214
3496 | 94.8067
3495 | 94.7919
3494 | 94.7778
3493 | 94.7644
3492 | 94.751
3491 | 94.7369
3490 | 94.721
3489 | 94.7029
3488 | 94.6826
3487 | 94.6616
3486 | 94.6419
3485 | 94.625
3484 | 94.6103
3483 | 94.5954
3482 | 94.5781
3481 | 94.5575
3480 | 94.5358
3479 | 94.5165
3478 | 94.5019
3477 | 94.4909
3476 | 94.4796
3475 | 94.4644
3474 | 94.4449
3473 | 94.4235
3472 | 94.4026
3471 | 94.3836
3470 | 94.3668
3469 | 94.3507
3468 | 94.3324
3467 | 94.3094
3466 | 94.2826
3465 | 94.2556
3464 | 94.2306
3463 | 94.2059
3462 | 94.1785
3461 | 94.1483
3460 | 94.1189
3459 | 94.0931
3458 | 94.0702
3457 | 94.0469
3456 | 94.021
3455 | 93.9938
3454 | 93.9691
3453 | 93.9487
3452 | 93.931
3451 | 93.9125
3450 | 93.8909
3449 | 93.8653
3448 | 93.8347
3447 | 93.799
3446 | 93.7608
3445 | 93.7244
3444 | 93.6917
3443 | 93.6618
3442 | 93.6323
3441 | 93.6022
3440 | 93.5712
3439 | 93.5389
3438 | 93.505
3437 | 93.4698
3436 | 93.4336
3435 | 93.3963
3434 | 93.3583
3433 | 93.3212
3432 | 93.2868
3431 | 93.2555
3430 | 93.2247
3429 | 93.1918
3428 | 93.1555
3427 | 93.1166
3426 | 93.0773
3425 | 93.0396
3424 | 93.0044
3423 | 92.9699
3422 | 92.9334
3421 | 92.8929
3420 | 92.8496
3419 | 92.8068
3418 | 92.7669
3417 | 92.7301
3416 | 92.6947
3415 | 92.6586
3414 | 92.6206
3413 | 92.581
3412 | 92.541
3411 | 92.5024
3410 | 92.4669
3409 | 92.4355
3408 | 92.4084
3407 | 92.3847
3406 | 92.3617
3405 | 92.3371
3404 | 92.3104
3403 | 92.2841
3402 | 92.2607
3401 | 92.2413
3400 | 92.225
3399 | 92.2103
3398 | 92.1963
3397 | 92.1826
3396 | 92.1696
3395 | 92.1573
3394 | 92.1456
3393 | 92.1347
3392 | 92.1252
3391 | 92.1185
3390 | 92.1157
3389 | 92.1171
3388 | 92.1211
3387 | 92.1248
3386 | 92.1256
3385 | 92.1229
3384 | 92.1184
3383 | 92.115
3382 | 92.114
3381 | 92.1146
3380 | 92.1144
3379 | 92.1117
3378 | 92.1067
3377 | 92.1009
3376 | 92.0957
3375 | 92.0911
3374 | 92.0868
3373 | 92.0828
3372 | 92.0799
3371 | 92.0783
3370 | 92.0777
3369 | 92.0769
3368 | 92.0748
3367 | 92.0703
3366 | 92.0633
3365 | 92.0546
3364 | 92.0457
3363 | 92.0373
3362 | 92.0291
3361 | 92.0203
3360 | 92.0112
3359 | 92.0023
3358 | 91.9945
3357 | 91.988
3356 | 91.9818
3355 | 91.9746
3354 | 91.9659
3353 | 91.9564
3352 | 91.9466
3351 | 91.9361
3350 | 91.9241
3349 | 91.9118
3348 | 91.9021
3347 | 91.8974
3346 | 91.8971
3345 | 91.8983
3344 | 91.8976
3343 | 91.8937
3342 | 91.8878
3341 | 91.8824
3340 | 91.8793
3339 | 91.8788
3338 | 91.8792
3337 | 91.8792
3336 | 91.8785
3335 | 91.8784
3334 | 91.8811
3333 | 91.8876
3332 | 91.8972
3331 | 91.9081
3330 | 91.9189
3329 | 91.9285
3328 | 91.9365
3327 | 91.9423
3326 | 91.9465
3325 | 91.9505
3324 | 91.9562
3323 | 91.9642
3322 | 91.9739
3321 | 91.9842
3320 | 91.994
3319 | 92.0021
3318 | 92.0075
3317 | 92.0103
3316 | 92.012
3315 | 92.0144
3314 | 92.0185
3313 | 92.023
3312 | 92.0256
3311 | 92.0242
3310 | 92.0188
3309 | 92.0112
3308 | 92.0039
3307 | 91.9995
3306 | 91.9985
3305 | 91.9984
3304 | 91.9958
3303 | 91.9893
3302 | 91.9815
3301 | 91.9758
3300 | 91.9734
3299 | 91.9721
3298 | 91.9696
3297 | 91.966
3296 | 91.9629
3295 | 91.9607
3294 | 91.9584
3293 | 91.9551
3292 | 91.9513
3291 | 91.948
3290 | 91.946
3289 | 91.9451
3288 | 91.9441
3287 | 91.9419
3286 | 91.9384
3285 | 91.9351
3284 | 91.9349
3283 | 91.9391
3282 | 91.9467
3281 | 91.9551
3280 | 91.9622
3279 | 91.968
3278 | 91.9744
3277 | 91.9829
3276 | 91.9928
3275 | 92.0023
3274 | 92.0103
3273 | 92.0176
3272 | 92.0253
3271 | 92.0329
3270 | 92.0393
3269 | 92.0453
3268 | 92.0533
3267 | 92.0656
3266 | 92.082
3265 | 92.0999
3264 | 92.1166
3263 | 92.1314
3262 | 92.1462
3261 | 92.1628
3260 | 92.1816
3259 | 92.2013
3258 | 92.2211
3257 | 92.2411
3256 | 92.2612
3255 | 92.2806
3254 | 92.2994
3253 | 92.3178
3252 | 92.3364
3251 | 92.3546
3250 | 92.3726
3249 | 92.3912
3248 | 92.4114
3247 | 92.4331
3246 | 92.4556
3245 | 92.4784
3244 | 92.5016
3243 | 92.5251
3242 | 92.5485
3241 | 92.5715
3240 | 92.5948
3239 | 92.6198
3238 | 92.6478
3237 | 92.6799
3236 | 92.7154
3235 | 92.7522
3234 | 92.7874
3233 | 92.8193
3232 | 92.8482
3231 | 92.876
3230 | 92.9046
3229 | 92.9348
3228 | 92.9654
3227 | 92.995
3226 | 93.0236
3225 | 93.0531
3224 | 93.0851
3223 | 93.1195
3222 | 93.1547
3221 | 93.1889
3220 | 93.2212
3219 | 93.2517
3218 | 93.2819
3217 | 93.3142
3216 | 93.3494
3215 | 93.386
3214 | 93.4212
3213 | 93.4543
3212 | 93.4862
3211 | 93.5185
3210 | 93.5518
3209 | 93.5852
3208 | 93.6179
3207 | 93.6491
3206 | 93.6794
3205 | 93.7103
3204 | 93.7429
3203 | 93.7763
3202 | 93.8092
3201 | 93.8418
3200 | 93.8753
3199 | 93.9105
3198 | 93.9465
3197 | 93.9817
3196 | 94.0151
3195 | 94.0469
3194 | 94.078
3193 | 94.1104
3192 | 94.1461
3191 | 94.1849
3190 | 94.2236
3189 | 94.2587
3188 | 94.2896
3187 | 94.3193
3186 | 94.3502
3185 | 94.3827
3184 | 94.4152
3183 | 94.4471
3182 | 94.4797
3181 | 94.5145
3180 | 94.5514
3179 | 94.5895
3178 | 94.6277
3177 | 94.6653
3176 | 94.7008
3175 | 94.7335
3174 | 94.7644
3173 | 94.7965
3172 | 94.8325
3171 | 94.8726
3170 | 94.9143
3169 | 94.9545
3168 | 94.9915
3167 | 95.0258
3166 | 95.0594
3165 | 95.094
3164 | 95.1304
3163 | 95.1684
3162 | 95.2068
3161 | 95.2442
3160 | 95.2803
3159 | 95.3157
3158 | 95.3505
3157 | 95.3844
3156 | 95.4181
3155 | 95.4535
3154 | 95.4928
3153 | 95.5351
3152 | 95.5763
3151 | 95.6127
3150 | 95.6445
3149 | 95.6756
3148 | 95.7093
3147 | 95.7458
3146 | 95.7832
3145 | 95.8196
3144 | 95.8551
3143 | 95.891
3142 | 95.9281
3141 | 95.9665
3140 | 96.0052
3139 | 96.0435
3138 | 96.0807
3137 | 96.1171
3136 | 96.1531
3135 | 96.1895
3134 | 96.2265
3133 | 96.2642
3132 | 96.3022
3131 | 96.3392
3130 | 96.3742
3129 | 96.4069
3128 | 96.4387
3127 | 96.4722
3126 | 96.509
3125 | 96.5489
3124 | 96.59
3123 | 96.6298
3122 | 96.6669
3121 | 96.7012
3120 | 96.7338
3119 | 96.7659
3118 | 96.7981
3117 | 96.8303
3116 | 96.8618
3115 | 96.8923
3114 | 96.922
3113 | 96.9519
3112 | 96.9832
3111 | 97.0161
3110 | 97.0503
3109 | 97.0842
3108 | 97.117
3107 | 97.1489
3106 | 97.1809
3105 | 97.2131
3104 | 97.2449
3103 | 97.2758
3102 | 97.3063
3101 | 97.3368
3100 | 97.3672
3099 | 97.3971
3098 | 97.4262
3097 | 97.4546
3096 | 97.4818
3095 | 97.5076
3094 | 97.5323
3093 | 97.5574
3092 | 97.5842
3091 | 97.6126
3090 | 97.6406
3089 | 97.6667
3088 | 97.6914
3087 | 97.7172
3086 | 97.7458
3085 | 97.7758
3084 | 97.8042
3083 | 97.8295
3082 | 97.8524
3081 | 97.8745
3080 | 97.8964
3079 | 97.9178
3078 | 97.9379
3077 | 97.9562
3076 | 97.9727
3075 | 97.9887
3074 | 98.006
3073 | 98.0258
3072 | 98.0475
3071 | 98.0697
3070 | 98.0919
3069 | 98.114
3068 | 98.1351
3067 | 98.1534
3066 | 98.1681
3065 | 98.1811
3064 | 98.196
3063 | 98.2146
3062 | 98.2352
3061 | 98.2547
3060 | 98.2718
3059 | 98.2878
3058 | 98.3042
3057 | 98.3209
3056 | 98.337
3055 | 98.3522
3054 | 98.3673
3053 | 98.3828
3052 | 98.3983
3051 | 98.4127
3050 | 98.4254
3049 | 98.4365
3048 | 98.4471
3047 | 98.4588
3046 | 98.4727
3045 | 98.4888
3044 | 98.5059
3043 | 98.5222
3042 | 98.5362
3041 | 98.5471
3040 | 98.5551
3039 | 98.5614
3038 | 98.5679
3037 | 98.5764
3036 | 98.587
3035 | 98.5985
3034 | 98.6086
3033 | 98.6165
3032 | 98.6231
3031 | 98.6299
3030 | 98.6378
3029 | 98.6472
3028 | 98.6582
3027 | 98.6695
3026 | 98.6788
3025 | 98.6854
3024 | 98.6911
3023 | 98.6987
3022 | 98.7086
3021 | 98.7191
3020 | 98.7286
3019 | 98.7376
3018 | 98.7473
3017 | 98.7579
3016 | 98.768
3015 | 98.7758
3014 | 98.78
3013 | 98.7807
3012 | 98.7792
3011 | 98.777
3010 | 98.7743
3009 | 98.7717
3008 | 98.7711
3007 | 98.7746
3006 | 98.7819
3005 | 98.7903
3004 | 98.7972
3003 | 98.802
3002 | 98.8059
3001 | 98.81
3000 | 98.815
2999 | 98.8204
2998 | 98.8249
2997 | 98.8266
2996 | 98.8251
2995 | 98.8216
2994 | 98.8175
2993 | 98.8134
2992 | 98.8092
2991 | 98.8056
2990 | 98.8029
2989 | 98.8002
2988 | 98.7955
2987 | 98.7881
2986 | 98.7781
2985 | 98.7664
2984 | 98.7545
2983 | 98.7439
2982 | 98.7351
2981 | 98.7267
2980 | 98.7163
2979 | 98.7021
2978 | 98.684
2977 | 98.6637
2976 | 98.6433
2975 | 98.6237
2974 | 98.6034
2973 | 98.5803
2972 | 98.5543
2971 | 98.528
2970 | 98.5043
2969 | 98.4835
2968 | 98.4636
2967 | 98.442
2966 | 98.4184
2965 | 98.3945
2964 | 98.3724
2963 | 98.353
2962 | 98.3352
2961 | 98.3174
2960 | 98.2986
2959 | 98.2793
2958 | 98.261
2957 | 98.245
2956 | 98.2316
2955 | 98.2196
2954 | 98.2063
2953 | 98.1894
2952 | 98.1693
2951 | 98.1487
2950 | 98.1297
2949 | 98.1121
2948 | 98.0938
2947 | 98.0726
2946 | 98.0478
2945 | 98.0201
2944 | 97.9908
2943 | 97.9617
2942 | 97.9343
2941 | 97.9095
2940 | 97.8879
2939 | 97.8692
2938 | 97.8521
2937 | 97.8353
2936 | 97.8176
2935 | 97.7988
2934 | 97.7788
2933 | 97.7583
2932 | 97.7382
2931 | 97.7183
2930 | 97.697
2929 | 97.6727
2928 | 97.6453
2927 | 97.6161
2926 | 97.5865
2925 | 97.5566
2924 | 97.5264
2923 | 97.4968
2922 | 97.4699
2921 | 97.4474
2920 | 97.4307
2919 | 97.4208
2918 | 97.4184
2917 | 97.4255
2916 | 97.4444
2915 | 97.476
2914 | 97.5167
2913 | 97.5594
2912 | 97.5965
2911 | 97.6246
2910 | 97.6441
2909 | 97.6577
2908 | 97.6677
2907 | 97.6754
2906 | 97.681
2905 | 97.6845
2904 | 97.6855
2903 | 97.6849
2902 | 97.6843
2901 | 97.6849
2900 | 97.6871
2899 | 97.6908
2898 | 97.6963
2897 | 97.7044
2896 | 97.7156
2895 | 97.7291
2894 | 97.7437
2893 | 97.7583
2892 | 97.7724
2891 | 97.7855
2890 | 97.7966
2889 | 97.8061
2888 | 97.8167
2887 | 97.8311
2886 | 97.8493
2885 | 97.8687
2884 | 97.8868
2883 | 97.9027
2882 | 97.9163
2881 | 97.9276
2880 | 97.9371
2879 | 97.9461
2878 | 97.956
2877 | 97.9679
2876 | 97.9822
2875 | 97.9984
2874 | 98.0146
2873 | 98.0291
2872 | 98.0425
2871 | 98.0573
2870 | 98.0752
2869 | 98.0952
2868 | 98.1155
2867 | 98.135
2866 | 98.1538
2865 | 98.1725
2864 | 98.1917
2863 | 98.2118
2862 | 98.2316
2861 | 98.2485
2860 | 98.2612
2859 | 98.2707
2858 | 98.2784
2857 | 98.2837
2856 | 98.2848
2855 | 98.2814
2854 | 98.2745
2853 | 98.266
2852 | 98.2596
2851 | 98.2618
2850 | 98.2805
2849 | 98.32
2848 | 98.379
2847 | 98.45
2846 | 98.5232
2845 | 98.5899
2844 | 98.646
2843 | 98.6931
2842 | 98.7349
2841 | 98.7739
2840 | 98.8102
2839 | 98.8434
2838 | 98.8741
2837 | 98.9029
2836 | 98.9299
2835 | 98.9551
2834 | 98.9786
2833 | 99.0008
2832 | 99.0224
2831 | 99.0444
2830 | 99.0675
2829 | 99.0909
2828 | 99.1128
2827 | 99.1325
2826 | 99.1511
2825 | 99.1694
2824 | 99.1869
2823 | 99.202
2822 | 99.2145
2821 | 99.2266
2820 | 99.2405
2819 | 99.2563
2818 | 99.2721
2817 | 99.2866
2816 | 99.3002
2815 | 99.314
2814 | 99.3285
2813 | 99.3428
2812 | 99.3567
2811 | 99.3707
2810 | 99.3846
2809 | 99.3973
2808 | 99.4076
2807 | 99.4162
2806 | 99.4245
2805 | 99.4338
2804 | 99.444
2803 | 99.4546
2802 | 99.4655
2801 | 99.4769
2800 | 99.4889
2799 | 99.5007
2798 | 99.5106
2797 | 99.5176
2796 | 99.5229
2795 | 99.5291
2794 | 99.5373
2793 | 99.5463
2792 | 99.5543
2791 | 99.5617
2790 | 99.5696
2789 | 99.5784
2788 | 99.5868
2787 | 99.5936
2786 | 99.5994
2785 | 99.6048
2784 | 99.6099
2783 | 99.6141
2782 | 99.6171
2781 | 99.6198
2780 | 99.6241
2779 | 99.6308
2778 | 99.6395
2777 | 99.6493
2776 | 99.6594
2775 | 99.669
2774 | 99.6771
2773 | 99.6829
2772 | 99.6869
2771 | 99.6902
2770 | 99.6936
2769 | 99.6972
2768 | 99.7013
2767 | 99.7061
2766 | 99.711
2765 | 99.7151
2764 | 99.7181
2763 | 99.7212
2762 | 99.7252
2761 | 99.7298
2760 | 99.7349
2759 | 99.741
2758 | 99.7484
2757 | 99.7559
2756 | 99.7618
2755 | 99.7654
2754 | 99.7673
2753 | 99.7688
2752 | 99.7705
2751 | 99.7726
2750 | 99.7749
2749 | 99.777
2748 | 99.7792
2747 | 99.7822
2746 | 99.7862
2745 | 99.7902
2744 | 99.793
2743 | 99.7945
2742 | 99.7958
2741 | 99.7979
2740 | 99.8016
2739 | 99.8065
2738 | 99.8117
2737 | 99.8164
2736 | 99.8205
2735 | 99.8246
2734 | 99.8287
2733 | 99.8322
2732 | 99.8347
2731 | 99.8369
2730 | 99.8395
2729 | 99.8433
2728 | 99.8483
2727 | 99.8544
2726 | 99.8606
2725 | 99.8664
2724 | 99.8718
2723 | 99.8769
2722 | 99.881
2721 | 99.8829
2720 | 99.8834
2719 | 99.8847
2718 | 99.8887
2717 | 99.8954
2716 | 99.9039
2715 | 99.9131
2714 | 99.9213
2713 | 99.9272
2712 | 99.9305
2711 | 99.9329
2710 | 99.9361
2709 | 99.9398
2708 | 99.9436
2707 | 99.9475
2706 | 99.9522
2705 | 99.9571
2704 | 99.9617
2703 | 99.966
2702 | 99.9708
2701 | 99.9762
2700 | 99.9816
2699 | 99.9864
2698 | 99.9904
2697 | 99.9935
2696 | 99.9962
2695 | 99.9997
2694 | 100.0055
2693 | 100.014
2692 | 100.0237
2691 | 100.0321
2690 | 100.037
2689 | 100.039
2688 | 100.0403
2687 | 100.0431
2686 | 100.0472
2685 | 100.051
2684 | 100.0545
2683 | 100.059
2682 | 100.0649
2681 | 100.0706
2680 | 100.075
2679 | 100.0785
2678 | 100.0824
2677 | 100.0866
2676 | 100.0905
2675 | 100.0945
2674 | 100.0995
2673 | 100.1049
2672 | 100.1092
2671 | 100.111
2670 | 100.1113
2669 | 100.1119
2668 | 100.1144
2667 | 100.1189
2666 | 100.1239
2665 | 100.127
2664 | 100.1269
2663 | 100.1246
2662 | 100.1218
2661 | 100.1192
2660 | 100.1163
2659 | 100.1123
2658 | 100.1068
2657 | 100.1001
2656 | 100.0933
2655 | 100.0877
2654 | 100.0832
2653 | 100.0783
2652 | 100.0715
2651 | 100.0626
2650 | 100.0529
2649 | 100.0439
2648 | 100.0355
2647 | 100.0269
2646 | 100.0171
2645 | 100.0063
2644 | 99.9954
2643 | 99.9858
2642 | 99.977
2641 | 99.9679
2640 | 99.9578
2639 | 99.9477
2638 | 99.9389
2637 | 99.9312
2636 | 99.9233
2635 | 99.9142
2634 | 99.9033
2633 | 99.8907
2632 | 99.8775
2631 | 99.8657
2630 | 99.8563
2629 | 99.8484
2628 | 99.8397
2627 | 99.8292
2626 | 99.8176
2625 | 99.8063
2624 | 99.7959
2623 | 99.7862
2622 | 99.7765
2621 | 99.7668
2620 | 99.7577
2619 | 99.7495
2618 | 99.742
2617 | 99.7346
2616 | 99.7262
2615 | 99.7166
2614 | 99.7058
2613 | 99.6939
2612 | 99.6815
2611 | 99.6696
2610 | 99.659
2609 | 99.6498
2608 | 99.642
2607 | 99.635
2606 | 99.6283
2605 | 99.6208
2604 | 99.6125
2603 | 99.6041
2602 | 99.5966
2601 | 99.5905
2600 | 99.5859
2599 | 99.5816
2598 | 99.575
2597 | 99.5643
2596 | 99.5508
2595 | 99.5381
2594 | 99.529
2593 | 99.5231
2592 | 99.5186
2591 | 99.5144
2590 | 99.5103
2589 | 99.5055
2588 | 99.4989
2587 | 99.4908
2586 | 99.4826
2585 | 99.4759
2584 | 99.4716
2583 | 99.4697
2582 | 99.4689
2581 | 99.4677
2580 | 99.4653
2579 | 99.4621
2578 | 99.4583
2577 | 99.453
2576 | 99.4459
2575 | 99.4386
2574 | 99.4331
2573 | 99.4306
2572 | 99.43
2571 | 99.4292
2570 | 99.4263
2569 | 99.4209
2568 | 99.4144
2567 | 99.4086
2566 | 99.4039
2565 | 99.3996
2564 | 99.3954
2563 | 99.3925
2562 | 99.3915
2561 | 99.3909
2560 | 99.389
2559 | 99.3852
2558 | 99.3803
2557 | 99.3761
2556 | 99.3739
2555 | 99.3743
2554 | 99.3762
2553 | 99.3777
2552 | 99.3776
2551 | 99.3762
2550 | 99.3743
2549 | 99.3729
2548 | 99.3729
2547 | 99.3753
2546 | 99.3789
2545 | 99.3803
2544 | 99.3775
2543 | 99.3724
2542 | 99.3685
2541 | 99.3675
2540 | 99.3689
2539 | 99.372
2538 | 99.3766
2537 | 99.3822
2536 | 99.3874
2535 | 99.3904
2534 | 99.3908
2533 | 99.3892
2532 | 99.3873
2531 | 99.3869
2530 | 99.3887
2529 | 99.3923
2528 | 99.3968
2527 | 99.4009
2526 | 99.4036
2525 | 99.4042
2524 | 99.4034
2523 | 99.403
2522 | 99.4041
2521 | 99.4065
2520 | 99.4099
2519 | 99.414
2518 | 99.4182
2517 | 99.4209
2516 | 99.422
2515 | 99.4242
2514 | 99.43
2513 | 99.4384
2512 | 99.4452
2511 | 99.4472
2510 | 99.4448
2509 | 99.4416
2508 | 99.4409
2507 | 99.4437
2506 | 99.4486
2505 | 99.4532
2504 | 99.4561
2503 | 99.4578
2502 | 99.4595
2501 | 99.4627
2500 | 99.4684
2499 | 99.4767
2498 | 99.4854
2497 | 99.492
2496 | 99.4958
2495 | 99.4983
2494 | 99.5014
2493 | 99.5051
2492 | 99.5092
2491 | 99.5135
2490 | 99.5179
2489 | 99.5217
2488 | 99.5254
2487 | 99.5306
2486 | 99.5376
2485 | 99.5449
2484 | 99.5507
2483 | 99.5554
2482 | 99.5602
2481 | 99.5657
2480 | 99.5711
2479 | 99.5758
2478 | 99.579
2477 | 99.5811
2476 | 99.5835
2475 | 99.5886
2474 | 99.5971
2473 | 99.6069
2472 | 99.6154
2471 | 99.6222
2470 | 99.6289
2469 | 99.6368
2468 | 99.6456
2467 | 99.654
2466 | 99.6605
2465 | 99.6646
2464 | 99.6666
2463 | 99.6676
2462 | 99.6682
2461 | 99.6681
2460 | 99.6678
2459 | 99.6689
2458 | 99.672
2457 | 99.6756
2456 | 99.6777
2455 | 99.6783
2454 | 99.6784
2453 | 99.6788
2452 | 99.6788
2451 | 99.6775
2450 | 99.6751
2449 | 99.6727
2448 | 99.6722
2447 | 99.675
2446 | 99.6807
2445 | 99.6878
2444 | 99.695
2443 | 99.7021
2442 | 99.7087
2441 | 99.7139
2440 | 99.7178
2439 | 99.7216
2438 | 99.7264
2437 | 99.732
2436 | 99.7381
2435 | 99.7451
2434 | 99.753
2433 | 99.7606
2432 | 99.7663
2431 | 99.7706
2430 | 99.7754
2429 | 99.7821
2428 | 99.7909
2427 | 99.8013
2426 | 99.812
2425 | 99.822
2424 | 99.8312
2423 | 99.8406
2422 | 99.851
2421 | 99.8618
2420 | 99.8722
2419 | 99.8817
2418 | 99.8899
2417 | 99.8971
2416 | 99.9043
2415 | 99.9129
2414 | 99.9229
2413 | 99.9326
2412 | 99.9406
2411 | 99.9473
2410 | 99.9545
2409 | 99.9631
2408 | 99.974
2407 | 99.9876
2406 | 100.003
2405 | 100.0177
2404 | 100.0306
2403 | 100.0424
2402 | 100.0549
2401 | 100.0681
2400 | 100.0816
2399 | 100.0958
2398 | 100.1118
2397 | 100.1288
2396 | 100.1442
2395 | 100.1562
2394 | 100.1657
2393 | 100.1759
2392 | 100.1896
2391 | 100.2065
2390 | 100.2242
2389 | 100.2402
2388 | 100.2541
2387 | 100.2666
2386 | 100.278
2385 | 100.2883
2384 | 100.2989
2383 | 100.3111
2382 | 100.325
2381 | 100.3385
2380 | 100.3507
2379 | 100.3622
2378 | 100.3738
2377 | 100.386
2376 | 100.3986
2375 | 100.4115
2374 | 100.4232
2373 | 100.431
2372 | 100.434
2371 | 100.4349
2370 | 100.4376
2369 | 100.4444
2368 | 100.4574
2367 | 100.4773
2366 | 100.4992
2365 | 100.5171
2364 | 100.5316
2363 | 100.5439
2362 | 100.5531
2361 | 100.5572
2360 | 100.5581
2359 | 100.5645
2358 | 100.5777
2357 | 100.5957
2356 | 100.6201
2355 | 100.6498
2354 | 100.6712
2353 | 100.6666
2352 | 100.6445
2351 | 100.6305
2350 | 100.6429
2349 | 100.6794
2348 | 100.7119
2347 | 100.715
2346 | 100.6868
2345 | 100.6564
2344 | 100.6462
2343 | 100.6507
2342 | 100.6611
2341 | 100.6727
2340 | 100.6885
2339 | 100.7086
2338 | 100.7309
2337 | 100.7506
2336 | 100.7677
2335 | 100.7825
2334 | 100.7942
2333 | 100.7944
2332 | 100.7844
2331 | 100.7698
2330 | 100.7566
2329 | 100.7476
2328 | 100.7395
2327 | 100.7322
2326 | 100.7175
2325 | 100.688
2324 | 100.6425
2323 | 100.589
2322 | 100.5405
2321 | 100.5008
2320 | 100.4707
2319 | 100.4468
2318 | 100.4293
2317 | 100.4146
2316 | 100.3992
2315 | 100.3781
2314 | 100.3492
2313 | 100.3131
2312 | 100.2747
2311 | 100.2397
2310 | 100.2104
2309 | 100.1855
2308 | 100.1636
2307 | 100.1456
2306 | 100.1315
2305 | 100.1181
2304 | 100.1028
2303 | 100.0859
2302 | 100.0698
2301 | 100.0546
2300 | 100.0381
2299 | 100.019
2298 | 99.9978
2297 | 99.9765
2296 | 99.9565
2295 | 99.9389
2294 | 99.9221
2293 | 99.9033
2292 | 99.8803
2291 | 99.8534
2290 | 99.8229
2289 | 99.7886
2288 | 99.7508
2287 | 99.7116
2286 | 99.6735
2285 | 99.6374
2284 | 99.6032
2283 | 99.5706
2282 | 99.5388
2281 | 99.5068
2280 | 99.4746
2279 | 99.4435
2278 | 99.4147
2277 | 99.3873
2276 | 99.3596
2275 | 99.3309
2274 | 99.3021
2273 | 99.274
2272 | 99.2466
2271 | 99.2196
2270 | 99.1931
2269 | 99.1678
2268 | 99.1448
2267 | 99.1242
2266 | 99.104
2265 | 99.0815
2264 | 99.0565
2263 | 99.0324
2262 | 99.0115
2261 | 98.9924
2260 | 98.9718
2259 | 98.9485
2258 | 98.9236
2257 | 98.8981
2256 | 98.8729
2255 | 98.8495
2254 | 98.8309
2253 | 98.8188
2252 | 98.8112
2251 | 98.804
2250 | 98.7931
2249 | 98.7771
2248 | 98.757
2247 | 98.7349
2246 | 98.7119
2245 | 98.6888
2244 | 98.6674
2243 | 98.6489
2242 | 98.6321
2241 | 98.6144
2240 | 98.5951
2239 | 98.5764
2238 | 98.56
2237 | 98.5445
2236 | 98.5275
2235 | 98.5081
2234 | 98.4871
2233 | 98.4661
2232 | 98.4465
2231 | 98.4292
2230 | 98.4134
2229 | 98.3975
2228 | 98.3805
2227 | 98.3633
2226 | 98.3466
2225 | 98.3293
2224 | 98.3104
2223 | 98.2912
2222 | 98.2735
2221 | 98.2579
2220 | 98.243
2219 | 98.2273
2218 | 98.2098
2217 | 98.1914
2216 | 98.175
2215 | 98.1631
2214 | 98.1537
2213 | 98.142
2212 | 98.1267
2211 | 98.1121
2210 | 98.1011
2209 | 98.0902
2208 | 98.0747
2207 | 98.0555
2206 | 98.0381
2205 | 98.024
2204 | 98.0092
2203 | 97.9903
2202 | 97.969
2201 | 97.9486
2200 | 97.9305
2199 | 97.9146
2198 | 97.9012
2197 | 97.8893
2196 | 97.8764
2195 | 97.8611
2194 | 97.844
2193 | 97.8254
2192 | 97.8038
2191 | 97.778
2190 | 97.7509
2189 | 97.7264
2188 | 97.705
2187 | 97.6821
2186 | 97.6531
2185 | 97.6184
2184 | 97.5842
2183 | 97.5583
2182 | 97.5453
2181 | 97.5434
2180 | 97.5459
2179 | 97.5466
2178 | 97.5436
2177 | 97.5385
2176 | 97.5323
2175 | 97.5243
2174 | 97.5144
2173 | 97.5049
2172 | 97.4973
2171 | 97.488
2170 | 97.4697
2169 | 97.4375
2168 | 97.3944
2167 | 97.3467
2166 | 97.2966
2165 | 97.2412
2164 | 97.1775
2163 | 97.106
2162 | 97.0307
2161 | 96.9606
2160 | 96.9124
2159 | 96.9053
2158 | 96.9477
2157 | 97.0288
2156 | 97.1268
2155 | 97.2258
2154 | 97.3202
2153 | 97.4088
2152 | 97.4894
2151 | 97.5603
2150 | 97.6214
2149 | 97.674
2148 | 97.7215
2147 | 97.7699
2146 | 97.8232
2145 | 97.8811
2144 | 97.9405
2143 | 97.9989
2142 | 98.0547
2141 | 98.1065
2140 | 98.155
2139 | 98.2038
2138 | 98.2552
2137 | 98.3076
2136 | 98.3618
2135 | 98.423
2134 | 98.4948
2133 | 98.5723
2132 | 98.6473
2131 | 98.7167
2130 | 98.7824
2129 | 98.8441
2128 | 98.8996
2127 | 98.9488
2126 | 98.9935
2125 | 99.0331
2124 | 99.0653
2123 | 99.0905
2122 | 99.1121
2121 | 99.1323
2120 | 99.1508
2119 | 99.1664
2118 | 99.1783
2117 | 99.1859
2116 | 99.1902
2115 | 99.1931
2114 | 99.1951
2113 | 99.1942
2112 | 99.1895
2111 | 99.1835
2110 | 99.1792
2109 | 99.1757
2108 | 99.1711
2107 | 99.1664
2106 | 99.1639
2105 | 99.1636
2104 | 99.1627
2103 | 99.1597
2102 | 99.1542
2101 | 99.1465
2100 | 99.1387
2099 | 99.135
2098 | 99.138
2097 | 99.1458
2096 | 99.1548
2095 | 99.1652
2094 | 99.1791
2093 | 99.1961
2092 | 99.2121
2091 | 99.2238
2090 | 99.2305
2089 | 99.2328
2088 | 99.2317
2087 | 99.2289
2086 | 99.2247
2085 | 99.2177
2084 | 99.2067
2083 | 99.1934
2082 | 99.1795
2081 | 99.1647
2080 | 99.1476
2079 | 99.1278
2078 | 99.1057
2077 | 99.0813
2076 | 99.0558
2075 | 99.0324
2074 | 99.0125
2073 | 98.9941
2072 | 98.9758
2071 | 98.9592
2070 | 98.9455
2069 | 98.9308
2068 | 98.9104
2067 | 98.8854
2066 | 98.8621
2065 | 98.844
2064 | 98.8296
2063 | 98.8165
2062 | 98.8037
2061 | 98.7905
2060 | 98.7757
2059 | 98.7589
2058 | 98.7405
2057 | 98.719
2056 | 98.6929
2055 | 98.663
2054 | 98.6301
2053 | 98.5897
2052 | 98.5348
2051 | 98.4639
2050 | 98.3859
2049 | 98.3142
2048 | 98.2565
2047 | 98.2131
2046 | 98.1803
2045 | 98.1544
2044 | 98.1308
2043 | 98.1042
2042 | 98.0715
2041 | 98.033
2040 | 97.9914
2039 | 97.9486
2038 | 97.9046
2037 | 97.8587
2036 | 97.813
2035 | 97.7736
2034 | 97.7479
2033 | 97.7384
2032 | 97.7412
2031 | 97.749
2030 | 97.756
2029 | 97.7605
2028 | 97.7646
2027 | 97.7715
2026 | 97.7821
2025 | 97.7929
2024 | 97.801
2023 | 97.8077
2022 | 97.8169
2021 | 97.8296
2020 | 97.8433
2019 | 97.8571
2018 | 97.8721
2017 | 97.8884
2016 | 97.9034
2015 | 97.9158
2014 | 97.9268
2013 | 97.9378
2012 | 97.9485
2011 | 97.9586
2010 | 97.9692
2009 | 97.9812
2008 | 97.9963
2007 | 98.0192
2006 | 98.0552
2005 | 98.1045
2004 | 98.1608
2003 | 98.2172
2002 | 98.2687
2001 | 98.3121
2000 | 98.3461
1999 | 98.3728
1998 | 98.3949
1997 | 98.4129
1996 | 98.4258
1995 | 98.4344
1994 | 98.4398
1993 | 98.4416
1992 | 98.4401
1991 | 98.4368
1990 | 98.4311
1989 | 98.4199
1988 | 98.4027
1987 | 98.3833
1986 | 98.3651
1985 | 98.3458
1984 | 98.3205
1983 | 98.2865
1982 | 98.2423
1981 | 98.1856
1980 | 98.1183
1979 | 98.052
1978 | 98.0027
1977 | 97.9801
1976 | 97.9836
1975 | 98.0076
1974 | 98.0446
1973 | 98.0858
1972 | 98.1247
1971 | 98.1611
1970 | 98.1975
1969 | 98.2336
1968 | 98.2679
1967 | 98.3029
1966 | 98.343
1965 | 98.386
1964 | 98.425
1963 | 98.4573
1962 | 98.4876
1961 | 98.5251
1960 | 98.5768
1959 | 98.643
1958 | 98.7144
1957 | 98.7791
1956 | 98.832
1955 | 98.8776
1954 | 98.9204
1953 | 98.9596
1952 | 98.9947
1951 | 99.0306
1950 | 99.0711
1949 | 99.1133
1948 | 99.1525
1947 | 99.1893
1946 | 99.2263
1945 | 99.2634
1944 | 99.3006
1943 | 99.3407
1942 | 99.3836
1941 | 99.4217
1940 | 99.4503
1939 | 99.4759
1938 | 99.5072
1937 | 99.5434
1936 | 99.5788
1935 | 99.6123
1934 | 99.646
1933 | 99.6791
1932 | 99.7097
1931 | 99.7405
1930 | 99.7753
1929 | 99.8124
1928 | 99.8468
1927 | 99.877
1926 | 99.9048
1925 | 99.9317
1924 | 99.959
1923 | 99.9901
1922 | 100.0231
1921 | 100.0489
1920 | 100.0641
1919 | 100.079
1918 | 100.1044
1917 | 100.1347
1916 | 100.1554
1915 | 100.1652
1914 | 100.1756
1913 | 100.1927
1912 | 100.212
1911 | 100.2294
1910 | 100.2465
1909 | 100.2647
1908 | 100.2824
1907 | 100.2992
1906 | 100.3169
1905 | 100.3341
1904 | 100.3477
1903 | 100.3599
1902 | 100.3753
1901 | 100.393
1900 | 100.4091
1899 | 100.4235
1898 | 100.4386
1897 | 100.4531
1896 | 100.4643
1895 | 100.4746
1894 | 100.4891
1893 | 100.5055
1892 | 100.5187
1891 | 100.5313
1890 | 100.5502
1889 | 100.5754
1888 | 100.5973
1887 | 100.6105
1886 | 100.6202
1885 | 100.6318
1884 | 100.645
1883 | 100.658
1882 | 100.6706
1881 | 100.6818
1880 | 100.6907
1879 | 100.7001
1878 | 100.713
1877 | 100.7277
1876 | 100.7406
1875 | 100.7528
1874 | 100.7669
1873 | 100.7797
1872 | 100.7857
1871 | 100.788
1870 | 100.798
1869 | 100.8217
1868 | 100.8515
1867 | 100.8742
1866 | 100.8853
1865 | 100.888
1864 | 100.887
1863 | 100.8873
1862 | 100.8933
1861 | 100.9045
1860 | 100.9162
1859 | 100.9265
1858 | 100.9379
1857 | 100.9502
1856 | 100.9604
1855 | 100.9683
1854 | 100.9776
1853 | 100.9887
1852 | 100.999
1851 | 101.0079
1850 | 101.017
1849 | 101.0254
1848 | 101.0307
1847 | 101.0343
1846 | 101.0433
1845 | 101.0649
1844 | 101.0983
1843 | 101.1283
1842 | 101.1397
1841 | 101.1353
1840 | 101.1297
1839 | 101.1331
1838 | 101.1452
1837 | 101.1582
1836 | 101.1671
1835 | 101.1736
1834 | 101.1775
1833 | 101.1753
1832 | 101.1699
1831 | 101.174
1830 | 101.198
1829 | 101.2328
1828 | 101.2547
1827 | 101.256
1826 | 101.2507
1825 | 101.2538
1824 | 101.2663
1823 | 101.2774
1822 | 101.2821
1821 | 101.2843
1820 | 101.2887
1819 | 101.2965
1818 | 101.3095
1817 | 101.3287
1816 | 101.3506
1815 | 101.3683
1814 | 101.3774
1813 | 101.3802
1812 | 101.3833
1811 | 101.3925
1810 | 101.408
1809 | 101.4227
1808 | 101.4303
1807 | 101.433
1806 | 101.4379
1805 | 101.4449
1804 | 101.4473
1803 | 101.4421
1802 | 101.435
1801 | 101.4355
1800 | 101.4454
1799 | 101.4574
1798 | 101.464
1797 | 101.462
1796 | 101.453
1795 | 101.4432
1794 | 101.4401
1793 | 101.4479
1792 | 101.464
1791 | 101.4802
1790 | 101.4878
1789 | 101.4839
1788 | 101.4718
1787 | 101.4581
1786 | 101.4497
1785 | 101.4487
1784 | 101.4491
1783 | 101.4449
1782 | 101.4362
1781 | 101.4283
1780 | 101.4256
1779 | 101.4257
1778 | 101.4227
1777 | 101.4147
1776 | 101.4055
1775 | 101.3981
1774 | 101.3911
1773 | 101.3862
1772 | 101.3886
1771 | 101.3911
1770 | 101.3782
1769 | 101.3485
1768 | 101.3148
1767 | 101.288
1766 | 101.2643
1765 | 101.2338
1764 | 101.1957
1763 | 101.158
1762 | 101.1295
1761 | 101.1081
1760 | 101.0811
1759 | 101.0425
1758 | 100.9974
1757 | 100.9546
1756 | 100.9226
1755 | 100.8992
1754 | 100.874
1753 | 100.8385
1752 | 100.7927
1751 | 100.7454
1750 | 100.7011
1749 | 100.6563
1748 | 100.614
1747 | 100.58
1746 | 100.5481
1745 | 100.5088
1744 | 100.4637
1743 | 100.4231
1742 | 100.3908
1741 | 100.3643
1740 | 100.3451
1739 | 100.3364
1738 | 100.3335
1737 | 100.3301
1736 | 100.3248
1735 | 100.3249
1734 | 100.3401
1733 | 100.3481
1732 | 100.3166
1731 | 100.2673
1730 | 100.2344
1729 | 100.2242
1728 | 100.2264
1727 | 100.2321
1726 | 100.237
1725 | 100.2397
1724 | 100.2421
1723 | 100.2486
1722 | 100.2611
1721 | 100.2792
1720 | 100.3052
1719 | 100.3406
1718 | 100.38
1717 | 100.4097
1716 | 100.4115
1715 | 100.3927
1714 | 100.3801
1713 | 100.3783
1712 | 100.3736
1711 | 100.3627
1710 | 100.3518
1709 | 100.3403
1708 | 100.3235
1707 | 100.3037
1706 | 100.2887
1705 | 100.2797
1704 | 100.2663
1703 | 100.2386
1702 | 100.1937
1701 | 100.1532
1700 | 100.1457
1699 | 100.1502
1698 | 100.1297
1697 | 100.0713
1696 | 99.9799
1695 | 99.8789
1694 | 99.773
1693 | 99.6618
1692 | 99.5522
1691 | 99.4422
1690 | 99.3293
1689 | 99.2228
1688 | 99.1399
1687 | 99.0786
1686 | 99.0059
1685 | 98.8828
1684 | 98.7257
1683 | 98.6052
1682 | 98.5253
1681 | 98.4555
1680 | 98.39
1679 | 98.3362
1678 | 98.2937
1677 | 98.2461
1676 | 98.1835
1675 | 98.1174
1674 | 98.0558
1673 | 97.9887
1672 | 97.91
1671 | 97.8217
1670 | 97.7271
1669 | 97.6329
1668 | 97.546
1667 | 97.4691
1666 | 97.3987
1665 | 97.3244
1664 | 97.2373
1663 | 97.1437
1662 | 97.0592
1661 | 96.9856
1660 | 96.9162
1659 | 96.8526
1658 | 96.8035
1657 | 96.78
1656 | 96.7835
1655 | 96.793
1654 | 96.769
1653 | 96.7187
1652 | 96.6645
1651 | 96.5844
1650 | 96.5116
1649 | 96.4754
1648 | 96.4523
1647 | 96.4259
1646 | 96.4145
1645 | 96.4116
1644 | 96.3954
1643 | 96.3759
1642 | 96.366
1641 | 96.3614
1640 | 96.3577
1639 | 96.3598
1638 | 96.3683
1637 | 96.367
1636 | 96.347
1635 | 96.3318
1634 | 96.3248
1633 | 96.3079
1632 | 96.2807
1631 | 96.25
1630 | 96.2175
1629 | 96.178
1628 | 96.1264
1627 | 96.0693
1626 | 96.0131
1625 | 95.9512
1624 | 95.8758
1623 | 95.8021
1622 | 95.76
1621 | 95.7594
1620 | 95.7958
1619 | 95.8667
1618 | 95.9688
1617 | 96.0926
1616 | 96.2168
1615 | 96.3179
1614 | 96.3976
1613 | 96.4706
1612 | 96.5401
1611 | 96.6045
1610 | 96.6623
1609 | 96.7082
1608 | 96.7375
1607 | 96.754
1606 | 96.7637
1605 | 96.7665
1604 | 96.7597
1603 | 96.7446
1602 | 96.7249
1601 | 96.7004
1600 | 96.6695
1599 | 96.6341
1598 | 96.5984
1597 | 96.5633
1596 | 96.5299
1595 | 96.5064
1594 | 96.5034
1593 | 96.5229
1592 | 96.5606
1591 | 96.6161
1590 | 96.6919
1589 | 96.784
1588 | 96.8842
1587 | 96.9891
1586 | 97.0992
1585 | 97.21
1584 | 97.3166
1583 | 97.4203
1582 | 97.523
1581 | 97.6227
1580 | 97.7206
1579 | 97.8223
1578 | 97.9258
1577 | 98.0201
1576 | 98.0999
1575 | 98.1586
1574 | 98.1875
1573 | 98.1998
1572 | 98.2116
1571 | 98.2292
1570 | 98.258
1569 | 98.2968
1568 | 98.3314
1567 | 98.3516
1566 | 98.3634
1565 | 98.3782
1564 | 98.4063
1563 | 98.4492
1562 | 98.4912
1561 | 98.5028
1560 | 98.4815
1559 | 98.4585
1558 | 98.5015
1557 | 98.5482
1556 | 98.5543
1555 | 98.5532
1554 | 98.5598
1553 | 98.5704
1552 | 98.5762
1551 | 98.5789
1550 | 98.5892
1549 | 98.6154
1548 | 98.6505
1547 | 98.6814
1546 | 98.7037
1545 | 98.7208
1544 | 98.7432
1543 | 98.7807
1542 | 98.8342
1541 | 98.8948
1540 | 98.962
1539 | 99.0379
1538 | 99.0774
1537 | 99.0688
1536 | 99.0494
1535 | 99.0424
1534 | 99.0547
1533 | 99.0879
1532 | 99.129
1531 | 99.1574
1530 | 99.1708
1529 | 99.1772
1528 | 99.1786
1527 | 99.1748
1526 | 99.17
1525 | 99.1704
1524 | 99.1746
1523 | 99.1694
1522 | 99.1356
1521 | 99.0773
1520 | 99.0111
1519 | 98.938
1518 | 98.8558
1517 | 98.7669
1516 | 98.6883
1515 | 98.6316
1514 | 98.5836
1513 | 98.529
1512 | 98.4652
1511 | 98.4006
1510 | 98.3446
1509 | 98.2933
1508 | 98.2279
1507 | 98.1628
1506 | 98.1689
1505 | 98.2059
1504 | 98.2105
1503 | 98.2068
1502 | 98.2207
1501 | 98.2595
1500 | 98.3274
1499 | 98.4252
1498 | 98.5426
1497 | 98.6672
1496 | 98.7882
1495 | 98.8895
1494 | 98.9616
1493 | 99.0129
1492 | 99.0562
1491 | 99.0983
1490 | 99.1395
1489 | 99.1777
1488 | 99.2078
1487 | 99.2264
1486 | 99.2332
1485 | 99.223
1484 | 99.1939
1483 | 99.1502
1482 | 99.096
1481 | 99.0343
1480 | 98.9684
1479 | 98.8973
1478 | 98.8127
1477 | 98.7079
1476 | 98.5864
1475 | 98.4525
1474 | 98.288
1473 | 98.0724
1472 | 97.8345
1471 | 97.6234
1470 | 97.4431
1469 | 97.2759
1468 | 97.1144
1467 | 96.9572
1466 | 96.8008
1465 | 96.6494
1464 | 96.5263
1463 | 96.4444
1462 | 96.3921
1461 | 96.3602
1460 | 96.3486
1459 | 96.3468
1458 | 96.3248
1457 | 96.2819
1456 | 96.2551
1455 | 96.2444
1454 | 96.2415
1453 | 96.2563
1452 | 96.2895
1451 | 96.3346
1450 | 96.3837
1449 | 96.435
1448 | 96.4905
1447 | 96.5508
1446 | 96.6084
1445 | 96.6562
1444 | 96.694
1443 | 96.7214
1442 | 96.7353
1441 | 96.7365
1440 | 96.7301
1439 | 96.712
1438 | 96.6629
1437 | 96.5686
1436 | 96.4485
1435 | 96.3318
1434 | 96.2214
1433 | 96.1078
1432 | 95.986
1431 | 95.8583
1430 | 95.7312
1429 | 95.615
1428 | 95.5224
1427 | 95.4569
1426 | 95.406
1425 | 95.3574
1424 | 95.3229
1423 | 95.3249
1422 | 95.3628
1421 | 95.4166
1420 | 95.4751
1419 | 95.5403
1418 | 95.6142
1417 | 95.6951
1416 | 95.7878
1415 | 95.8938
1414 | 96.0017
1413 | 96.1014
1412 | 96.1939
1411 | 96.2823
1410 | 96.3637
1409 | 96.4349
1408 | 96.4973
1407 | 96.552
1406 | 96.597
1405 | 96.6349
1404 | 96.6751
1403 | 96.7197
1402 | 96.7601
1401 | 96.7915
1400 | 96.8167
1399 | 96.8407
1398 | 96.8637
1397 | 96.8825
1396 | 96.8959
1395 | 96.9062
1394 | 96.9142
1393 | 96.9156
1392 | 96.9089
1391 | 96.8957
1390 | 96.8735
1389 | 96.8334
1388 | 96.7677
1387 | 96.6816
1386 | 96.5894
1385 | 96.4973
1384 | 96.4011
1383 | 96.2955
1382 | 96.1807
1381 | 96.0616
1380 | 95.943
1379 | 95.8307
1378 | 95.7311
1377 | 95.6441
1376 | 95.5604
1375 | 95.4698
1374 | 95.3764
1373 | 95.298
1372 | 95.2454
1371 | 95.2156
1370 | 95.2016
1369 | 95.1991
1368 | 95.2099
1367 | 95.236
1366 | 95.2718
1365 | 95.3073
1364 | 95.3359
1363 | 95.3614
1362 | 95.3981
1361 | 95.4552
1360 | 95.5269
1359 | 95.6029
1358 | 95.6751
1357 | 95.7385
1356 | 95.7919
1355 | 95.8371
1354 | 95.8758
1353 | 95.9078
1352 | 95.9307
1351 | 95.9416
1350 | 95.9376
1349 | 95.9162
1348 | 95.8766
1347 | 95.819
1346 | 95.7443
1345 | 95.6555
1344 | 95.5587
1343 | 95.4577
1342 | 95.349
1341 | 95.2257
1340 | 95.089
1339 | 94.9539
1338 | 94.8362
1337 | 94.7387
1336 | 94.6583
1335 | 94.5942
1334 | 94.5468
1333 | 94.5136
1332 | 94.4917
1331 | 94.479
1330 | 94.4722
1329 | 94.465
1328 | 94.4512
1327 | 94.4265
1326 | 94.3876
1325 | 94.3311
1324 | 94.2582
1323 | 94.1746
1322 | 94.0854
1321 | 93.993
1320 | 93.9016
1319 | 93.8217
1318 | 93.7654
1317 | 93.7406
1316 | 93.7499
1315 | 93.7934
1314 | 93.8692
1313 | 93.9743
1312 | 94.1062
1311 | 94.2614
1310 | 94.4334
1309 | 94.6142
1308 | 94.7989
1307 | 94.9853
1306 | 95.1706
1305 | 95.3508
1304 | 95.5237
1303 | 95.6879
1302 | 95.8414
1301 | 95.982
1300 | 96.1093
1299 | 96.223
1298 | 96.3213
1297 | 96.4031
1296 | 96.4693
1295 | 96.5226
1294 | 96.5644
1293 | 96.5962
1292 | 96.6209
1291 | 96.6404
1290 | 96.6533
1289 | 96.6561
1288 | 96.6472
1287 | 96.6274
1286 | 96.5974
1285 | 96.5574
1284 | 96.5098
1283 | 96.459
1282 | 96.4096
1281 | 96.3641
1280 | 96.3229
1279 | 96.2839
1278 | 96.2426
1277 | 96.1958
1276 | 96.1441
1275 | 96.0917
1274 | 96.0412
1273 | 95.9933
1272 | 95.9489
1271 | 95.9094
1270 | 95.8744
1269 | 95.8419
1268 | 95.8107
1267 | 95.7815
1266 | 95.7539
1265 | 95.726
1264 | 95.6973
1263 | 95.6694
1262 | 95.6427
1261 | 95.6162
1260 | 95.59
1259 | 95.5652
1258 | 95.5411
1257 | 95.5152
1256 | 95.4859
1255 | 95.4523
1254 | 95.4128
1253 | 95.3651
1252 | 95.3093
1251 | 95.248
1250 | 95.1834
1249 | 95.1168
1248 | 95.0514
1247 | 94.9928
1246 | 94.9443
1245 | 94.9056
1244 | 94.876
1243 | 94.855
1242 | 94.8404
1241 | 94.8281
1240 | 94.8163
1239 | 94.8059
1238 | 94.7975
1237 | 94.7903
1236 | 94.7852
1235 | 94.786
1234 | 94.7955
1233 | 94.8137
1232 | 94.8404
1231 | 94.8755
1230 | 94.918
1229 | 94.9653
1228 | 95.0171
1227 | 95.0748
1226 | 95.1385
1225 | 95.2061
1224 | 95.277
1223 | 95.3515
1222 | 95.4288
1221 | 95.5068
1220 | 95.5843
1219 | 95.6616
1218 | 95.7373
1217 | 95.8084
1216 | 95.8733
1215 | 95.9307
1214 | 95.9761
1213 | 96.003
1212 | 96.0066
1211 | 95.9863
1210 | 95.9462
1209 | 95.8941
1208 | 95.8418
1207 | 95.8012
1206 | 95.7792
1205 | 95.7762
1204 | 95.7912
1203 | 95.8233
1202 | 95.8714
1201 | 95.9336
1200 | 96.0088
1199 | 96.0956
1198 | 96.1894
1197 | 96.2834
1196 | 96.372
1195 | 96.4516
1194 | 96.5186
1193 | 96.5695
1192 | 96.6028
1191 | 96.6177
1190 | 96.6118
1189 | 96.5826
1188 | 96.5313
1187 | 96.4612
1186 | 96.3739
1185 | 96.2688
1184 | 96.1459
1183 | 96.0063
1182 | 95.8491
1181 | 95.6707
1180 | 95.4675
1179 | 95.2386
1178 | 94.982
1177 | 94.6937
1176 | 94.3697
1175 | 94.0095
1174 | 93.6145
1173 | 93.1854
1172 | 92.7246
1171 | 92.2383
1170 | 91.7353
1169 | 91.2248
1168 | 90.7202
1167 | 90.239
1166 | 89.7971
1165 | 89.4043
1164 | 89.0693
1163 | 88.8003
1162 | 88.5974
1161 | 88.4503
1160 | 88.3476
1159 | 88.2822
1158 | 88.2443
1157 | 88.2198
1156 | 88.1997
1155 | 88.1838
1154 | 88.1705
1153 | 88.1523
1152 | 88.1239
1151 | 88.0861
1150 | 88.0386
1149 | 87.9779
1148 | 87.9057
1147 | 87.8303
1146 | 87.7553
1145 | 87.6749
1144 | 87.5843
1143 | 87.4852
1142 | 87.3745
1141 | 87.2404
1140 | 87.073
1139 | 86.8715
1138 | 86.6357
1137 | 86.3609
1136 | 86.0464
1135 | 85.7022
1134 | 85.339
1133 | 84.9603
1132 | 84.5703
1131 | 84.1773
1130 | 83.7837
1129 | 83.3835
1128 | 82.978
1127 | 82.5834
1126 | 82.2164
1125 | 81.8818
1124 | 81.582
1123 | 81.3231
1122 | 81.1002
1121 | 80.8913
1120 | 80.6736
1119 | 80.4347
1118 | 80.1636
1117 | 79.8474
1116 | 79.4898
1115 | 79.118
1114 | 78.7621
1113 | 78.4376
1112 | 78.1557
1111 | 77.9297
1110 | 77.7606
1109 | 77.6328
1108 | 77.5357
1107 | 77.4743
1106 | 77.4524
1105 | 77.4634
1104 | 77.5059
1103 | 77.5885
1102 | 77.7097
1101 | 77.8517
1100 | 78.0011
1099 | 78.1583
1098 | 78.3197
1097 | 78.4707
1096 | 78.6036
1095 | 78.7249
1094 | 78.8369
1093 | 78.9294
1092 | 78.9972
1091 | 79.049
1090 | 79.0906
1089 | 79.1173
1088 | 79.1282
1087 | 79.1326
1086 | 79.1323
1085 | 79.114
1084 | 79.0665
1083 | 78.9914
1082 | 78.8896
1081 | 78.755
1080 | 78.5898
1079 | 78.4117
1078 | 78.2362
1077 | 78.0652
1076 | 77.8995
1075 | 77.7451
1074 | 77.5981
1073 | 77.4387
1072 | 77.25
1071 | 77.0287
1070 | 76.7698
1069 | 76.4579
1068 | 76.0827
1067 | 75.6495
1066 | 75.1657
1065 | 74.6347
1064 | 74.0722
1063 | 73.5146
1062 | 72.9973
1061 | 72.5387
1060 | 72.1517
1059 | 71.851
1058 | 71.6359
1057 | 71.4852
1056 | 71.3816
1055 | 71.3247
1054 | 71.3125
1053 | 71.3286
1052 | 71.3608
1051 | 71.4114
1050 | 71.4785
1049 | 71.5464
1048 | 71.6045
1047 | 71.6559
1046 | 71.6966
1045 | 71.7069
1044 | 71.6714
1043 | 71.589
1042 | 71.4583
1041 | 71.2708
1040 | 71.0296
1039 | 70.7577
1038 | 70.4795
1037 | 70.2096
1036 | 69.966
1035 | 69.7755
1034 | 69.6547
1033 | 69.6006
1032 | 69.6082
1031 | 69.6802
1030 | 69.8124
1029 | 69.9868
1028 | 70.1898
1027 | 70.4205
1026 | 70.6754
1025 | 70.9417
1024 | 71.2126
1023 | 71.4925
1022 | 71.7825
1021 | 72.0743
1020 | 72.3656
1019 | 72.664
1018 | 72.972
1017 | 73.2793
1016 | 73.5768
1015 | 73.864
1014 | 74.1373
1013 | 74.3835
1012 | 74.5919
1011 | 74.7608
1010 | 74.8896
1009 | 74.9753
1008 | 75.0227
1007 | 75.0488
1006 | 75.0743
1005 | 75.1186
1004 | 75.2038
1003 | 75.3492
1002 | 75.5564
1001 | 75.8095
1000 | 76.0914
999 | 76.3915
998 | 76.6967
997 | 76.9879
996 | 77.2527
995 | 77.4894
994 | 77.6974
993 | 77.8725
992 | 78.0147
991 | 78.1318
990 | 78.2307
989 | 78.3148
988 | 78.3955
987 | 78.497
986 | 78.6463
985 | 78.8637
984 | 79.1632
983 | 79.5509
982 | 80.0162
981 | 80.5334
980 | 81.0759
979 | 81.6252
978 | 82.165
977 | 82.6804
976 | 83.1637
975 | 83.6165
974 | 84.0414
973 | 84.4379
972 | 84.808
971 | 85.1579
970 | 85.4925
969 | 85.8124
968 | 86.1205
967 | 86.423
966 | 86.7238
965 | 87.022
964 | 87.3171
963 | 87.6112
962 | 87.905
961 | 88.1957
960 | 88.4817
959 | 88.7645
958 | 89.0445
957 | 89.3194
956 | 89.5886
955 | 89.8532
954 | 90.1126
953 | 90.3631
952 | 90.6035
951 | 90.8353
950 | 91.0585
949 | 91.2705
948 | 91.4703
947 | 91.6598
946 | 91.8394
945 | 92.0068
944 | 92.1609
943 | 92.3038
942 | 92.4374
941 | 92.5612
940 | 92.6754
939 | 92.7814
938 | 92.8794
937 | 92.9675
936 | 93.046
935 | 93.1174
934 | 93.1833
933 | 93.2439
932 | 93.3002
931 | 93.3541
930 | 93.4051
929 | 93.4507
928 | 93.4906
927 | 93.5271
926 | 93.5608
925 | 93.5898
924 | 93.614
923 | 93.6357
922 | 93.6558
921 | 93.6719
920 | 93.6822
919 | 93.687
918 | 93.6861
917 | 93.6776
916 | 93.6609
915 | 93.6383
914 | 93.6117
913 | 93.5808
912 | 93.5464
911 | 93.51
910 | 93.47
909 | 93.4207
908 | 93.3575
907 | 93.2801
906 | 93.1889
905 | 93.0843
904 | 92.9689
903 | 92.8499
902 | 92.7354
901 | 92.632
900 | 92.5474
899 | 92.4899
898 | 92.4641
897 | 92.4692
896 | 92.5044
895 | 92.5703
894 | 92.6644
893 | 92.7794
892 | 92.9076
891 | 93.0445
890 | 93.186
889 | 93.3266
888 | 93.4623
887 | 93.5927
886 | 93.7177
885 | 93.836
884 | 93.9464
883 | 94.0483
882 | 94.1398
881 | 94.2187
880 | 94.2866
879 | 94.349
878 | 94.4095
877 | 94.4668
876 | 94.5197
875 | 94.5699
874 | 94.6207
873 | 94.6732
872 | 94.7264
871 | 94.7777
870 | 94.8234
869 | 94.8618
868 | 94.8944
867 | 94.924
866 | 94.9502
865 | 94.9704
864 | 94.9848
863 | 94.9953
862 | 95.0014
861 | 95.0012
860 | 94.9958
859 | 94.9885
858 | 94.9801
857 | 94.968
856 | 94.9515
855 | 94.933
854 | 94.9143
853 | 94.8955
852 | 94.878
851 | 94.8621
850 | 94.844
849 | 94.8173
848 | 94.7812
847 | 94.741
846 | 94.7
845 | 94.6568
844 | 94.6108
843 | 94.5643
842 | 94.5181
841 | 94.47
840 | 94.4195
839 | 94.3699
838 | 94.3239
837 | 94.2818
836 | 94.2446
835 | 94.214
834 | 94.1884
833 | 94.1631
832 | 94.1383
831 | 94.1183
830 | 94.1052
829 | 94.0956
828 | 94.0877
827 | 94.0831
826 | 94.0807
825 | 94.0751
824 | 94.0639
823 | 94.0507
822 | 94.0381
821 | 94.0239
820 | 94.0068
819 | 93.9891
818 | 93.9706
817 | 93.9476
816 | 93.9196
815 | 93.8909
814 | 93.8637
813 | 93.835
812 | 93.8025
811 | 93.7679
810 | 93.7309
809 | 93.6877
808 | 93.6366
807 | 93.5811
806 | 93.5234
805 | 93.4617
804 | 93.3965
803 | 93.3327
802 | 93.2737
801 | 93.2187
800 | 93.1692
799 | 93.1313
798 | 93.1074
797 | 93.0928
796 | 93.083
795 | 93.0774
794 | 93.0738
793 | 93.0658
792 | 93.0507
791 | 93.0312
790 | 93.0081
789 | 92.9772
788 | 92.9367
787 | 92.8903
786 | 92.8401
785 | 92.7827
784 | 92.7173
783 | 92.6489
782 | 92.5821
781 | 92.5168
780 | 92.455
779 | 92.4035
778 | 92.3653
777 | 92.3344
776 | 92.3039
775 | 92.2717
774 | 92.2366
773 | 92.195
772 | 92.146
771 | 92.0925
770 | 92.0355
769 | 91.9717
768 | 91.9021
767 | 91.8325
766 | 91.7646
765 | 91.6927
764 | 91.6142
763 | 91.5342
762 | 91.4561
761 | 91.3768
760 | 91.2949
759 | 91.215
758 | 91.1387
757 | 91.0608
756 | 90.9786
755 | 90.8971
754 | 90.8187
753 | 90.7384
752 | 90.6532
751 | 90.5683
750 | 90.4876
749 | 90.4069
748 | 90.3222
747 | 90.2369
746 | 90.1538
745 | 90.0703
744 | 89.9857
743 | 89.9055
742 | 89.831
741 | 89.7553
740 | 89.674
739 | 89.5915
738 | 89.5104
737 | 89.4251
736 | 89.3316
735 | 89.2338
734 | 89.1337
733 | 89.0254
732 | 88.9052
731 | 88.7791
730 | 88.6517
729 | 88.5194
728 | 88.3804
727 | 88.2398
726 | 88.0992
725 | 87.953
724 | 87.8006
723 | 87.6486
722 | 87.497
721 | 87.3366
720 | 87.1702
719 | 87.0175
718 | 86.8887
717 | 86.7702
716 | 86.6466
715 | 86.5197
714 | 86.3966
713 | 86.2756
712 | 86.1543
711 | 86.039
710 | 85.9328
709 | 85.8273
708 | 85.7185
707 | 85.6159
706 | 85.5248
705 | 85.4358
704 | 85.3419
703 | 85.2514
702 | 85.1698
701 | 85.0874
700 | 84.9968
699 | 84.9085
698 | 84.8325
697 | 84.7615
696 | 84.6882
695 | 84.62
694 | 84.5621
693 | 84.5025
692 | 84.4313
691 | 84.3573
690 | 84.2867
689 | 84.2053
688 | 84.1002
687 | 83.9816
686 | 83.8594
685 | 83.7216
684 | 83.5563
683 | 83.3703
682 | 83.1639
681 | 82.9144
680 | 82.6074
679 | 82.2587
678 | 81.8804
677 | 81.4581
676 | 80.986
675 | 80.4844
674 | 79.9707
673 | 79.4546
672 | 78.9769
671 | 78.5846
670 | 78.2679
669 | 77.9267
668 | 77.4827
667 | 77.1422
666 | 77.1047
665 | 77.2484
664 | 77.4441
663 | 77.6627
662 | 77.8963
661 | 78.1276
660 | 78.3453
659 | 78.5578
658 | 78.7663
657 | 78.9559
656 | 79.1186
655 | 79.2628
654 | 79.3905
653 | 79.4895
652 | 79.5546
651 | 79.5986
650 | 79.6309
649 | 79.6443
648 | 79.6362
647 | 79.6205
646 | 79.6057
645 | 79.5823
644 | 79.5484
643 | 79.5238
642 | 79.5207
641 | 79.5251
640 | 79.5284
639 | 79.5485
638 | 79.597
637 | 79.657
636 | 79.7148
635 | 79.7774
634 | 79.8426
633 | 79.893
632 | 79.9361
631 | 80.0112
630 | 80.1401
629 | 80.3115
628 | 80.5326
627 | 80.8458
626 | 81.2713
625 | 81.7787
624 | 82.32
623 | 82.8529
622 | 83.3683
621 | 83.9174
620 | 84.5452
619 | 85.191
618 | 85.7366
617 | 86.1364
616 | 86.4104
615 | 86.5766
614 | 86.6736
613 | 86.7701
612 | 86.8817
611 | 86.9556
610 | 86.985
609 | 87.0454
608 | 87.1684
607 | 87.2839
606 | 87.344
605 | 87.4048
604 | 87.521
603 | 87.6729
602 | 87.8599
601 | 88.1488
600 | 88.5554

## Sample Details
Setting | Value
Filesname | 8.2.35 13
Creation Date
Analyst | mas-storage
X-Axis Units | cm-1
X-Axis start value | 4000
X-Axis end value | 600
Data interval | -1
Number of points | 3401
Y-Axis Units | %T
Description | 6Sample 3324 By mas-storage Date Thursday, June 16 2022

## Instrument Details
Setting | Value
Instrument Model | Frontier FT-IR
Instrument Serial Number | 91175
Software Revision | CPU32 Main 00.09.9908 05-May-2009 15:52:12
Number of Scans | 32
Resolution | 4
Detector
Source | MIR
Beam Splitter | OptKBr
Apodization | Strong
Spectrum Type | Spectrum
Beam Type | Ratio
Phase Correction | Magnitude
Scan Speed | 1
IGram Type | Double
Scan Driection | Combined
Zero Crossing | 0
JStop | 8.94
IR-Laser Wavenumber | 15798.001999451375
Manufacturer | PIKE Technologies Inc.
Part Number | L1200385
Serial Number | 19250
Description | Miracle Accessory
Default Scan Range | 4000 450
Accessory Type | Miracle ATR
Temperature / °C
Slide Holder Option

## Quality Checks
Setting | Value
Water Vapor | Passed
Carbon Dioxide | Passed
Baseline Low | Passed
Baseline High | Passed
Baseline Slope | Passed
Strong Bands | Passed
Weak Bands | Caution
High Noise | Passed
Fringes | Warning
Vignetting | Passed
Blocked Beam | Passed
Negative Bands | Passed
Zero Transmission | Passed
Stray Light | Passed
Window Cuttoff | Passed