## Data
Wavelength / cm-1 | Transmittance / % | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1
4000 | 98.1854 |  | Baseline @ 1105 |  | Baseline @ 1735 |  | Baseline @ 2900 |  | Peak @ 1105 |  | Peak @ 1735 |  | Peak @ 2900
3999 | 98.184 | 850 | 98.1296 | 1525 | 100.0336 | 2670 | 99.6084 | 1105 | 88.0229 | 1735 | 100.1492 | 2900 | 98.6839
3998 | 98.1841 | 1210 | 99.4104 | 1780 | 100.2288 | 3000 | 98.8486 | 1105 | 99.0368 | 1735 | 100.1944 | 2900 | 99.0788
3997 | 98.1872
3996 | 98.1931
3995 | 98.1999
3994 | 98.2066
3993 | 98.2122
3992 | 98.2155
3991 | 98.215
3990 | 98.2113
3989 | 98.2073
3988 | 98.2057
3987 | 98.2069
3986 | 98.2095
3985 | 98.2119
3984 | 98.2132
3983 | 98.2136
3982 | 98.2134
3981 | 98.2132
3980 | 98.2124
3979 | 98.2103
3978 | 98.2075
3977 | 98.206 |  |  | Baseline range |  |  | Transmittance |  |  |  | Equation of base line |  |  | Transmittance at peak value wavelength | Peak Intensity |  | Ratio
3976 | 98.2074 |  | Peak value
3975 | 98.212 |  | Wavelength
3974 | 98.2184 |  | x1 | x2 | x3 |  | y1 | y2 | y3 |  | m | c
3973 | 98.2252 | [15 empty] | flexural
3972 | 98.2312 |  | 1105 | 850 | 1210 |  | 88.0229 | 98.1296 | 99.4104 |  | 0.0035577 | 95.1056 |  | 99.0368 | 11.0139 | R1 | 0.0041027
3971 | 98.2353 |  | 1735 | 1525 | 1780 |  | 100.1492 | 100.0336 | 100.2288 |  | 0.00076571 | 98.8659 |  | 100.1944 | 0.045187 | R2 | 0.11442
3970 | 98.2369 |  | 2900 | 2670 | 3000 |  | 98.6839 | 99.6084 | 98.8486 |  | -0.0023026 | 105.7563 |  | 99.0788 | 0.39493
3969 | 98.2362
3968 | 98.2339 |  | From paper
3967 | 98.2313 |  | 1105 | 765 | 1185
3966 | 98.2299 |  | 1735 | 1485 | 1780
3965 | 98.2308 |  | 2900 | 2630 | 3000
3964 | 98.2334
3963 | 98.2359
3962 | 98.2366
3961 | 98.2355
3960 | 98.2331
3959 | 98.23
3958 | 98.2268
3957 | 98.2252
3956 | 98.2275
3955 | 98.2342
3954 | 98.2428
3953 | 98.2501
3952 | 98.253
3951 | 98.2508
3950 | 98.245
3949 | 98.2384
3948 | 98.2337
3947 | 98.232
3946 | 98.2337
3945 | 98.2379
3944 | 98.2418
3943 | 98.2428
3942 | 98.2429
3941 | 98.2462
3940 | 98.253
3939 | 98.2587
3938 | 98.2587
3937 | 98.2543
3936 | 98.2507
3935 | 98.251
3934 | 98.2543
3933 | 98.2593
3932 | 98.2667
3931 | 98.2761
3930 | 98.2833
3929 | 98.2851
3928 | 98.2827
3927 | 98.2799
3926 | 98.2774
3925 | 98.2735
3924 | 98.2688
3923 | 98.2664
3922 | 98.2661
3921 | 98.2651
3920 | 98.2629
3919 | 98.2627
3918 | 98.2663
3917 | 98.272
3916 | 98.2764
3915 | 98.2788
3914 | 98.2793
3913 | 98.2773
3912 | 98.2731
3911 | 98.2697
3910 | 98.2698
3909 | 98.2732
3908 | 98.2781
3907 | 98.2824
3906 | 98.2845
3905 | 98.283
3904 | 98.2807
3903 | 98.2847
3902 | 98.2976
3901 | 98.3127
3900 | 98.3203
3899 | 98.3172
3898 | 98.3091
3897 | 98.3012
3896 | 98.2935
3895 | 98.2867
3894 | 98.2839
3893 | 98.286
3892 | 98.2874
3891 | 98.2833
3890 | 98.2782
3889 | 98.2818
3888 | 98.2962
3887 | 98.3089
3886 | 98.306
3885 | 98.2933
3884 | 98.2886
3883 | 98.2974
3882 | 98.3091
3881 | 98.3112
3880 | 98.3026
3879 | 98.2928
3878 | 98.2893
3877 | 98.2921
3876 | 98.295
3875 | 98.29
3874 | 98.2791
3873 | 98.278
3872 | 98.2957
3871 | 98.3184
3870 | 98.3246
3869 | 98.317
3868 | 98.3144
3867 | 98.3212
3866 | 98.3239
3865 | 98.3124
3864 | 98.2969
3863 | 98.2926
3862 | 98.2968
3861 | 98.299
3860 | 98.2965
3859 | 98.2937
3858 | 98.2971
3857 | 98.3112
3856 | 98.3341
3855 | 98.3499
3854 | 98.3462
3853 | 98.3453
3852 | 98.3655
3851 | 98.3838
3850 | 98.3784
3849 | 98.3523
3848 | 98.3199
3847 | 98.2946
3846 | 98.2799
3845 | 98.2728
3844 | 98.2703
3843 | 98.2717
3842 | 98.2783
3841 | 98.2915
3840 | 98.3078
3839 | 98.3206
3838 | 98.3284
3837 | 98.3322
3836 | 98.3309
3835 | 98.3229
3834 | 98.3103
3833 | 98.2965
3832 | 98.283
3831 | 98.2717
3830 | 98.2648
3829 | 98.2622
3828 | 98.2594
3827 | 98.2511
3826 | 98.2375
3825 | 98.2301
3824 | 98.2399
3823 | 98.2624
3822 | 98.2777
3821 | 98.2755
3820 | 98.2703
3819 | 98.2775
3818 | 98.2928
3817 | 98.2983
3816 | 98.2847
3815 | 98.2683
3814 | 98.2649
3813 | 98.2662
3812 | 98.2572
3811 | 98.2388
3810 | 98.2258
3809 | 98.2273
3808 | 98.2339
3807 | 98.2316
3806 | 98.2228
3805 | 98.2222
3804 | 98.2362
3803 | 98.2526
3802 | 98.251
3801 | 98.235
3800 | 98.2283
3799 | 98.2356
3798 | 98.2412
3797 | 98.2312
3796 | 98.2088
3795 | 98.1893
3794 | 98.181
3793 | 98.178
3792 | 98.1724
3791 | 98.1631
3790 | 98.1533
3789 | 98.145
3788 | 98.14
3787 | 98.1398
3786 | 98.1435
3785 | 98.1465
3784 | 98.1452
3783 | 98.1413
3782 | 98.1379
3781 | 98.1346
3780 | 98.1287
3779 | 98.1221
3778 | 98.1204
3777 | 98.1241
3776 | 98.1264
3775 | 98.1208
3774 | 98.1092
3773 | 98.1006
3772 | 98.1001
3771 | 98.1021
3770 | 98.1004
3769 | 98.0982
3768 | 98.1015
3767 | 98.107
3766 | 98.1054
3765 | 98.093
3764 | 98.0777
3763 | 98.0697
3762 | 98.0682
3761 | 98.0644
3760 | 98.055
3759 | 98.0472
3758 | 98.0457
3757 | 98.0471
3756 | 98.0507
3755 | 98.0597
3754 | 98.072
3753 | 98.0792
3752 | 98.0785
3751 | 98.0799
3750 | 98.088
3749 | 98.0921
3748 | 98.0912
3747 | 98.0976
3746 | 98.1063
3745 | 98.0929
3744 | 98.0644
3743 | 98.0529
3742 | 98.0572
3741 | 98.0548
3740 | 98.0378
3739 | 98.0177
3738 | 98.0078
3737 | 98.0052
3736 | 98.0016
3735 | 98.0007
3734 | 98.0098
3733 | 98.0201
3732 | 98.0157
3731 | 97.9965
3730 | 97.9749
3729 | 97.9601
3728 | 97.9492
3727 | 97.934
3726 | 97.9154
3725 | 97.9023
3724 | 97.8984
3723 | 97.8983
3722 | 97.8965
3721 | 97.8937
3720 | 97.8916
3719 | 97.8899
3718 | 97.8864
3717 | 97.8806
3716 | 97.8777
3715 | 97.881
3714 | 97.8863
3713 | 97.8866
3712 | 97.883
3711 | 97.8853
3710 | 97.8956
3709 | 97.9037
3708 | 97.8994
3707 | 97.8827
3706 | 97.8615
3705 | 97.8439
3704 | 97.8321
3703 | 97.8225
3702 | 97.8113
3701 | 97.8006
3700 | 97.795
3699 | 97.7952
3698 | 97.7959
3697 | 97.79
3696 | 97.7775
3695 | 97.7671
3694 | 97.7658
3693 | 97.7744
3692 | 97.7897
3691 | 97.8066
3690 | 97.8172
3689 | 97.8163
3688 | 97.8065
3687 | 97.7916
3686 | 97.7736
3685 | 97.7522
3684 | 97.7274
3683 | 97.7051
3682 | 97.6935
3681 | 97.6928
3680 | 97.6966
3679 | 97.7036
3678 | 97.72
3677 | 97.7407
3676 | 97.7465
3675 | 97.7361
3674 | 97.7267
3673 | 97.7269
3672 | 97.7314
3671 | 97.7242
3670 | 97.6986
3669 | 97.6708
3668 | 97.6528
3667 | 97.6377
3666 | 97.6182
3665 | 97.5962
3664 | 97.5776
3663 | 97.5658
3662 | 97.5591
3661 | 97.5529
3660 | 97.5474
3659 | 97.5452
3658 | 97.5447
3657 | 97.5381
3656 | 97.5225
3655 | 97.5077
3654 | 97.506
3653 | 97.5213
3652 | 97.5447
3651 | 97.5583
3650 | 97.5535
3649 | 97.5415
3648 | 97.5327
3647 | 97.5212
3646 | 97.5003
3645 | 97.4736
3644 | 97.4462
3643 | 97.4188
3642 | 97.3919
3641 | 97.3699
3640 | 97.3572
3639 | 97.3508
3638 | 97.3444
3637 | 97.3363
3636 | 97.329
3635 | 97.3216
3634 | 97.3117
3633 | 97.3034
3632 | 97.3056
3631 | 97.317
3630 | 97.3179
3629 | 97.2958
3628 | 97.2691
3627 | 97.255
3626 | 97.2479
3625 | 97.2383
3624 | 97.226
3623 | 97.2175
3622 | 97.2168
3621 | 97.2178
3620 | 97.2091
3619 | 97.1884
3618 | 97.165
3617 | 97.148
3616 | 97.1401
3615 | 97.137
3614 | 97.1298
3613 | 97.1149
3612 | 97.0976
3611 | 97.084
3610 | 97.073
3609 | 97.0595
3608 | 97.042
3607 | 97.0255
3606 | 97.0133
3605 | 97.0037
3604 | 96.9939
3603 | 96.982
3602 | 96.9677
3601 | 96.9518
3600 | 96.9373
3599 | 96.9278
3598 | 96.9238
3597 | 96.9207
3596 | 96.9132
3595 | 96.8975
3594 | 96.8749
3593 | 96.8518
3592 | 96.8348
3591 | 96.827
3590 | 96.8242
3589 | 96.8152
3588 | 96.7903
3587 | 96.7546
3586 | 96.7225
3585 | 96.7017
3584 | 96.6891
3583 | 96.6781
3582 | 96.6637
3581 | 96.6444
3580 | 96.6223
3579 | 96.6008
3578 | 96.5819
3577 | 96.5649
3576 | 96.547
3575 | 96.5264
3574 | 96.5035
3573 | 96.4816
3572 | 96.4656
3571 | 96.459
3570 | 96.4598
3569 | 96.4568
3568 | 96.4353
3567 | 96.3924
3566 | 96.3415
3565 | 96.2979
3564 | 96.266
3563 | 96.2422
3562 | 96.2211
3561 | 96.1987
3560 | 96.1734
3559 | 96.146
3558 | 96.1187
3557 | 96.0941
3556 | 96.0735
3555 | 96.0566
3554 | 96.0403
3553 | 96.0201
3552 | 95.9944
3551 | 95.9676
3550 | 95.9453
3549 | 95.9286
3548 | 95.9115
3547 | 95.8866
3546 | 95.8533
3545 | 95.8187
3544 | 95.7912
3543 | 95.7734
3542 | 95.7622
3541 | 95.753
3540 | 95.7429
3539 | 95.7314
3538 | 95.7188
3537 | 95.7056
3536 | 95.6928
3535 | 95.6819
3534 | 95.6738
3533 | 95.6688
3532 | 95.6662
3531 | 95.6656
3530 | 95.6651
3529 | 95.662
3528 | 95.6543
3527 | 95.6433
3526 | 95.6323
3525 | 95.6229
3524 | 95.6142
3523 | 95.6061
3522 | 95.602
3521 | 95.6055
3520 | 95.6152
3519 | 95.625
3518 | 95.6298
3517 | 95.6301
3516 | 95.63
3515 | 95.6319
3514 | 95.6354
3513 | 95.6397
3512 | 95.6442
3511 | 95.6472
3510 | 95.6458
3509 | 95.6397
3508 | 95.6329
3507 | 95.6315
3506 | 95.6378
3505 | 95.6483
3504 | 95.6558
3503 | 95.656
3502 | 95.6502
3501 | 95.6437
3500 | 95.6406
3499 | 95.6411
3498 | 95.6423
3497 | 95.6418
3496 | 95.6393
3495 | 95.6366
3494 | 95.6356
3493 | 95.6374
3492 | 95.6416
3491 | 95.6467
3490 | 95.6507
3489 | 95.6523
3488 | 95.6513
3487 | 95.6482
3486 | 95.6445
3485 | 95.6417
3484 | 95.6409
3483 | 95.6416
3482 | 95.6417
3481 | 95.6398
3480 | 95.6367
3479 | 95.6353
3478 | 95.6381
3477 | 95.6444
3476 | 95.6506
3475 | 95.6533
3474 | 95.6517
3473 | 95.648
3472 | 95.6443
3471 | 95.6407
3470 | 95.6364
3469 | 95.6306
3468 | 95.6237
3467 | 95.6169
3466 | 95.6116
3465 | 95.6085
3464 | 95.6063
3463 | 95.6016
3462 | 95.592
3461 | 95.5788
3460 | 95.5662
3459 | 95.5569
3458 | 95.5499
3457 | 95.5426
3456 | 95.5333
3455 | 95.5234
3454 | 95.5147
3453 | 95.5076
3452 | 95.5005
3451 | 95.492
3450 | 95.4822
3449 | 95.4707
3448 | 95.4558
3447 | 95.4362
3446 | 95.4137
3445 | 95.3925
3444 | 95.375
3443 | 95.3605
3442 | 95.3462
3441 | 95.3303
3440 | 95.3122
3439 | 95.2919
3438 | 95.2701
3437 | 95.2483
3436 | 95.2266
3435 | 95.2033
3434 | 95.177
3433 | 95.1485
3432 | 95.1203
3431 | 95.0947
3430 | 95.0713
3429 | 95.0479
3428 | 95.0219
3427 | 94.9925
3426 | 94.9611
3425 | 94.9308
3424 | 94.9034
3423 | 94.8781
3422 | 94.8516
3421 | 94.8212
3420 | 94.7869
3419 | 94.7514
3418 | 94.7179
3417 | 94.6882
3416 | 94.6625
3415 | 94.6395
3414 | 94.6172
3413 | 94.5934
3412 | 94.5669
3411 | 94.5388
3410 | 94.5114
3409 | 94.4875
3408 | 94.4683
3407 | 94.4528
3406 | 94.4391
3405 | 94.4253
3404 | 94.4112
3403 | 94.3976
3402 | 94.3863
3401 | 94.3791
3400 | 94.3766
3399 | 94.3778
3398 | 94.3805
3397 | 94.3832
3396 | 94.3861
3395 | 94.3903
3394 | 94.3961
3393 | 94.4037
3392 | 94.4136
3391 | 94.4269
3390 | 94.4437
3389 | 94.4627
3388 | 94.4823
3387 | 94.5009
3386 | 94.5171
3385 | 94.5304
3384 | 94.5415
3383 | 94.5524
3382 | 94.5655
3381 | 94.5817
3380 | 94.6001
3379 | 94.619
3378 | 94.6363
3377 | 94.651
3376 | 94.6631
3375 | 94.6732
3374 | 94.6831
3373 | 94.6946
3372 | 94.7089
3371 | 94.7253
3370 | 94.7417
3369 | 94.7559
3368 | 94.7669
3367 | 94.7748
3366 | 94.7815
3365 | 94.7891
3364 | 94.798
3363 | 94.8064
3362 | 94.8116
3361 | 94.8137
3360 | 94.815
3359 | 94.8178
3358 | 94.8219
3357 | 94.8259
3356 | 94.8288
3355 | 94.8311
3354 | 94.8339
3353 | 94.8375
3352 | 94.8412
3351 | 94.8437
3350 | 94.8443
3349 | 94.8436
3348 | 94.8434
3347 | 94.8454
3346 | 94.85
3345 | 94.856
3344 | 94.8612
3343 | 94.8638
3342 | 94.8626
3341 | 94.8578
3340 | 94.8509
3339 | 94.8447
3338 | 94.8414
3337 | 94.8414
3336 | 94.844
3335 | 94.8484
3334 | 94.8539
3333 | 94.8594
3332 | 94.8629
3331 | 94.8634
3330 | 94.8623
3329 | 94.8617
3328 | 94.8622
3327 | 94.863
3326 | 94.8635
3325 | 94.8643
3324 | 94.8667
3323 | 94.8705
3322 | 94.8742
3321 | 94.8766
3320 | 94.8774
3319 | 94.8768
3318 | 94.8756
3317 | 94.8743
3316 | 94.8739
3315 | 94.8746
3314 | 94.876
3313 | 94.8767
3312 | 94.8752
3311 | 94.8709
3310 | 94.8652
3309 | 94.8602
3308 | 94.8573
3307 | 94.8565
3306 | 94.8561
3305 | 94.8539
3304 | 94.8478
3303 | 94.8385
3302 | 94.8291
3301 | 94.8226
3300 | 94.8187
3299 | 94.8143
3298 | 94.8077
3297 | 94.8005
3296 | 94.7953
3295 | 94.7927
3294 | 94.7913
3293 | 94.7894
3292 | 94.7861
3291 | 94.7806
3290 | 94.7724
3289 | 94.7626
3288 | 94.7536
3287 | 94.7467
3286 | 94.741
3285 | 94.7348
3284 | 94.7271
3283 | 94.7189
3282 | 94.7118
3281 | 94.706
3280 | 94.701
3279 | 94.697
3278 | 94.695
3277 | 94.695
3276 | 94.6949
3275 | 94.692
3274 | 94.6861
3273 | 94.6796
3272 | 94.6743
3271 | 94.6692
3270 | 94.6629
3269 | 94.6556
3268 | 94.6496
3267 | 94.6465
3266 | 94.6461
3265 | 94.647
3264 | 94.6474
3263 | 94.6458
3262 | 94.6422
3261 | 94.638
3260 | 94.6352
3259 | 94.635
3258 | 94.6373
3257 | 94.6415
3256 | 94.6463
3255 | 94.65
3254 | 94.6517
3253 | 94.6519
3252 | 94.6519
3251 | 94.6521
3250 | 94.653
3249 | 94.6551
3248 | 94.6588
3247 | 94.6636
3246 | 94.6684
3245 | 94.6735
3244 | 94.6805
3243 | 94.69
3242 | 94.7021
3241 | 94.7161
3240 | 94.7306
3239 | 94.744
3238 | 94.7558
3237 | 94.7679
3236 | 94.7839
3235 | 94.8045
3234 | 94.8272
3233 | 94.8481
3232 | 94.8656
3231 | 94.8813
3230 | 94.8972
3229 | 94.9145
3228 | 94.9325
3227 | 94.95
3226 | 94.967
3225 | 94.9846
3224 | 95.0038
3223 | 95.024
3222 | 95.0444
3221 | 95.0645
3220 | 95.0849
3219 | 95.1056
3218 | 95.1263
3217 | 95.1468
3216 | 95.167
3215 | 95.1864
3214 | 95.2049
3213 | 95.2229
3212 | 95.2415
3211 | 95.2614
3210 | 95.2828
3209 | 95.3054
3208 | 95.3283
3207 | 95.3499
3206 | 95.3685
3205 | 95.3841
3204 | 95.3982
3203 | 95.4131
3202 | 95.4307
3201 | 95.4512
3200 | 95.4737
3199 | 95.4968
3198 | 95.5198
3197 | 95.5428
3196 | 95.5657
3195 | 95.5875
3194 | 95.6074
3193 | 95.6268
3192 | 95.6487
3191 | 95.674
3190 | 95.7007
3189 | 95.7253
3188 | 95.7459
3187 | 95.7639
3186 | 95.7823
3185 | 95.8033
3184 | 95.8269
3183 | 95.8513
3182 | 95.8748
3181 | 95.8972
3180 | 95.9189
3179 | 95.9406
3178 | 95.9629
3177 | 95.9868
3176 | 96.0125
3175 | 96.0387
3174 | 96.0628
3173 | 96.0838
3172 | 96.1031
3171 | 96.1231
3170 | 96.1453
3169 | 96.1689
3168 | 96.1928
3167 | 96.2167
3166 | 96.2412
3165 | 96.2672
3164 | 96.2942
3163 | 96.321
3162 | 96.3462
3161 | 96.3701
3160 | 96.394
3159 | 96.4191
3158 | 96.4455
3157 | 96.4721
3156 | 96.4981
3155 | 96.5237
3154 | 96.5501
3153 | 96.5768
3152 | 96.6023
3151 | 96.6251
3150 | 96.6461
3149 | 96.668
3148 | 96.6924
3147 | 96.7186
3146 | 96.7445
3145 | 96.7695
3144 | 96.7949
3143 | 96.8225
3142 | 96.8531
3141 | 96.8853
3140 | 96.9166
3139 | 96.9445
3138 | 96.9689
3137 | 96.9917
3136 | 97.0154
3135 | 97.041
3134 | 97.0681
3133 | 97.0963
3132 | 97.1256
3131 | 97.156
3130 | 97.1867
3129 | 97.2164
3128 | 97.2438
3127 | 97.2695
3126 | 97.2958
3125 | 97.3245
3124 | 97.3551
3123 | 97.3844
3122 | 97.4104
3121 | 97.434
3120 | 97.4582
3119 | 97.4846
3118 | 97.5123
3117 | 97.5391
3116 | 97.5637
3115 | 97.586
3114 | 97.6072
3113 | 97.6286
3112 | 97.6514
3111 | 97.6762
3110 | 97.7023
3109 | 97.7286
3108 | 97.7544
3107 | 97.78
3106 | 97.8055
3105 | 97.831
3104 | 97.8555
3103 | 97.8791
3102 | 97.9022
3101 | 97.9249
3100 | 97.9469
3099 | 97.9676
3098 | 97.9869
3097 | 98.0051
3096 | 98.0225
3095 | 98.0397
3094 | 98.0575
3093 | 98.0772
3092 | 98.0989
3091 | 98.121
3090 | 98.1415
3089 | 98.1597
3088 | 98.1766
3087 | 98.1949
3086 | 98.2157
3085 | 98.2377
3084 | 98.2584
3083 | 98.2763
3082 | 98.2918
3081 | 98.3056
3080 | 98.3183
3079 | 98.3305
3078 | 98.3431
3077 | 98.3561
3076 | 98.369
3075 | 98.3813
3074 | 98.3934
3073 | 98.4058
3072 | 98.4177
3071 | 98.4292
3070 | 98.4417
3069 | 98.4568
3068 | 98.4732
3067 | 98.4872
3066 | 98.4957
3065 | 98.5
3064 | 98.5038
3063 | 98.5102
3062 | 98.5196
3061 | 98.5312
3060 | 98.5443
3059 | 98.5579
3058 | 98.5708
3057 | 98.5817
3056 | 98.5903
3055 | 98.5972
3054 | 98.6037
3053 | 98.6106
3052 | 98.6184
3051 | 98.6266
3050 | 98.634
3049 | 98.6397
3048 | 98.6437
3047 | 98.6475
3046 | 98.6525
3045 | 98.6589
3044 | 98.6659
3043 | 98.6729
3042 | 98.6801
3041 | 98.6876
3040 | 98.6947
3039 | 98.7003
3038 | 98.7039
3037 | 98.7069
3036 | 98.7104
3035 | 98.7146
3034 | 98.7192
3033 | 98.7239
3032 | 98.7292
3031 | 98.7349
3030 | 98.7408
3029 | 98.7466
3028 | 98.7523
3027 | 98.757
3026 | 98.76
3025 | 98.7615
3024 | 98.7632
3023 | 98.7668
3022 | 98.7723
3021 | 98.7787
3020 | 98.7854
3019 | 98.7928
3018 | 98.8013
3017 | 98.81
3016 | 98.8174
3015 | 98.8218
3014 | 98.823
3013 | 98.8222
3012 | 98.8213
3011 | 98.8212
3010 | 98.8214
3009 | 98.8211
3008 | 98.8207
3007 | 98.8217
3006 | 98.825
3005 | 98.8302
3004 | 98.8359
3003 | 98.8405
3002 | 98.8435
3001 | 98.8458
3000 | 98.8486
2999 | 98.8525
2998 | 98.8567
2997 | 98.8601
2996 | 98.8618
2995 | 98.8617
2994 | 98.8604
2993 | 98.8588
2992 | 98.8581
2991 | 98.859
2990 | 98.8609
2989 | 98.8624
2988 | 98.8619
2987 | 98.859
2986 | 98.854
2985 | 98.8481
2984 | 98.8429
2983 | 98.839
2982 | 98.836
2981 | 98.8329
2980 | 98.829
2979 | 98.8242
2978 | 98.8187
2977 | 98.8128
2976 | 98.8067
2975 | 98.8003
2974 | 98.7922
2973 | 98.7809
2972 | 98.7668
2971 | 98.7524
2970 | 98.7405
2969 | 98.7312
2968 | 98.7217
2967 | 98.7096
2966 | 98.6956
2965 | 98.6823
2964 | 98.6712
2963 | 98.6609
2962 | 98.649
2961 | 98.6355
2960 | 98.6221
2959 | 98.6109
2958 | 98.6021
2957 | 98.5958
2956 | 98.5924
2955 | 98.5919
2954 | 98.5926
2953 | 98.5921
2952 | 98.5894
2951 | 98.5851
2950 | 98.5808
2949 | 98.5772
2948 | 98.5744
2947 | 98.5714
2946 | 98.5668
2945 | 98.5593
2944 | 98.549
2943 | 98.5373
2942 | 98.5253
2941 | 98.5132
2940 | 98.5007
2939 | 98.4882
2938 | 98.4768
2937 | 98.4665
2936 | 98.4562
2935 | 98.4451
2934 | 98.4339
2933 | 98.4243
2932 | 98.4166
2931 | 98.4093
2930 | 98.3998
2929 | 98.3865
2928 | 98.3697
2927 | 98.3514
2926 | 98.3345
2925 | 98.3204
2924 | 98.3098
2923 | 98.3026
2922 | 98.2995
2921 | 98.3016
2920 | 98.309
2919 | 98.321
2918 | 98.3371
2917 | 98.3584
2916 | 98.3863
2915 | 98.4213
2914 | 98.4614
2913 | 98.5028
2912 | 98.5409
2911 | 98.5723
2910 | 98.5963
2909 | 98.6142
2908 | 98.6281
2907 | 98.6393
2906 | 98.6486
2905 | 98.6565
2904 | 98.6628
2903 | 98.6679
2902 | 98.6725
2901 | 98.6778
2900 | 98.6839
2899 | 98.6895
2898 | 98.6937
2897 | 98.6974
2896 | 98.7023
2895 | 98.7089
2894 | 98.7161
2893 | 98.7231
2892 | 98.7299
2891 | 98.7363
2890 | 98.7416
2889 | 98.7454
2888 | 98.749
2887 | 98.754
2886 | 98.7611
2885 | 98.7697
2884 | 98.7783
2883 | 98.7857
2882 | 98.7908
2881 | 98.7937
2880 | 98.7952
2879 | 98.7965
2878 | 98.7979
2877 | 98.7996
2876 | 98.8014
2875 | 98.8036
2874 | 98.8061
2873 | 98.8087
2872 | 98.8118
2871 | 98.8167
2870 | 98.8244
2869 | 98.8341
2868 | 98.8432
2867 | 98.8491
2866 | 98.8515
2865 | 98.8526
2864 | 98.8547
2863 | 98.8578
2862 | 98.8598
2861 | 98.8585
2860 | 98.8541
2859 | 98.8485
2858 | 98.8434
2857 | 98.839
2856 | 98.8344
2855 | 98.8283
2854 | 98.8204
2853 | 98.8117
2852 | 98.8058
2851 | 98.8072
2850 | 98.8201
2849 | 98.8462
2848 | 98.8843
2847 | 98.9292
2846 | 98.9747
2845 | 99.0156
2844 | 99.05
2843 | 99.0784
2842 | 99.1017
2841 | 99.1204
2840 | 99.1356
2839 | 99.1485
2838 | 99.1599
2837 | 99.1699
2836 | 99.1785
2835 | 99.186
2834 | 99.1932
2833 | 99.2002
2832 | 99.207
2831 | 99.2133
2830 | 99.2193
2829 | 99.2251
2828 | 99.2306
2827 | 99.2355
2826 | 99.2401
2825 | 99.245
2824 | 99.2504
2823 | 99.2557
2822 | 99.2601
2821 | 99.2637
2820 | 99.2673
2819 | 99.2712
2818 | 99.275
2817 | 99.2789
2816 | 99.2837
2815 | 99.2895
2814 | 99.2954
2813 | 99.3006
2812 | 99.3055
2811 | 99.3112
2810 | 99.3174
2809 | 99.3227
2808 | 99.3263
2807 | 99.3287
2806 | 99.3308
2805 | 99.3333
2804 | 99.3366
2803 | 99.3405
2802 | 99.3448
2801 | 99.3492
2800 | 99.3535
2799 | 99.3577
2798 | 99.361
2797 | 99.3626
2796 | 99.3631
2795 | 99.3642
2794 | 99.3667
2793 | 99.3703
2792 | 99.374
2791 | 99.3782
2790 | 99.3832
2789 | 99.3887
2788 | 99.3934
2787 | 99.3965
2786 | 99.3986
2785 | 99.4003
2784 | 99.4019
2783 | 99.403
2782 | 99.4035
2781 | 99.4038
2780 | 99.4048
2779 | 99.4072
2778 | 99.4114
2777 | 99.4171
2776 | 99.4232
2775 | 99.4285
2774 | 99.432
2773 | 99.4342
2772 | 99.4359
2771 | 99.4383
2770 | 99.4415
2769 | 99.4451
2768 | 99.4483
2767 | 99.4504
2766 | 99.4511
2765 | 99.4508
2764 | 99.4503
2763 | 99.4511
2762 | 99.4536
2761 | 99.4571
2760 | 99.4603
2759 | 99.4626
2758 | 99.4647
2757 | 99.4673
2756 | 99.4706
2755 | 99.4734
2754 | 99.4746
2753 | 99.4743
2752 | 99.4745
2751 | 99.477
2750 | 99.4813
2749 | 99.4853
2748 | 99.4871
2747 | 99.4867
2746 | 99.4853
2745 | 99.4842
2744 | 99.4839
2743 | 99.4842
2742 | 99.4846
2741 | 99.4855
2740 | 99.4879
2739 | 99.4916
2738 | 99.4954
2737 | 99.4978
2736 | 99.4986
2735 | 99.499
2734 | 99.4997
2733 | 99.5008
2732 | 99.5016
2731 | 99.5019
2730 | 99.5021
2729 | 99.5029
2728 | 99.5047
2727 | 99.5077
2726 | 99.5116
2725 | 99.516
2724 | 99.5207
2723 | 99.5244
2722 | 99.5258
2721 | 99.5241
2720 | 99.5212
2719 | 99.5198
2718 | 99.5216
2717 | 99.5262
2716 | 99.5317
2715 | 99.5363
2714 | 99.5393
2713 | 99.5414
2712 | 99.544
2711 | 99.5475
2710 | 99.5505
2709 | 99.551
2708 | 99.5489
2707 | 99.5462
2706 | 99.545
2705 | 99.5462
2704 | 99.5491
2703 | 99.5529
2702 | 99.5567
2701 | 99.5595
2700 | 99.5608
2699 | 99.5614
2698 | 99.5622
2697 | 99.5637
2696 | 99.5656
2695 | 99.5673
2694 | 99.5686
2693 | 99.5699
2692 | 99.5719
2691 | 99.5747
2690 | 99.5776
2689 | 99.5799
2688 | 99.5815
2687 | 99.583
2686 | 99.5842
2685 | 99.5854
2684 | 99.5873
2683 | 99.5906
2682 | 99.5945
2681 | 99.5973
2680 | 99.5982
2679 | 99.5989
2678 | 99.6007
2677 | 99.6037
2676 | 99.6066
2675 | 99.6087
2674 | 99.6103
2673 | 99.6112
2672 | 99.6109
2671 | 99.6095
2670 | 99.6084
2669 | 99.6094
2668 | 99.6126
2667 | 99.6163
2666 | 99.6184
2665 | 99.6177
2664 | 99.6144
2663 | 99.6091
2662 | 99.603
2661 | 99.5965
2660 | 99.5899
2659 | 99.583
2658 | 99.5749
2657 | 99.5651
2656 | 99.5544
2655 | 99.5441
2654 | 99.5342
2653 | 99.5238
2652 | 99.5118
2651 | 99.4986
2650 | 99.4857
2649 | 99.4739
2648 | 99.4625
2647 | 99.45
2646 | 99.4361
2645 | 99.4216
2644 | 99.4077
2643 | 99.3946
2642 | 99.3816
2641 | 99.3679
2640 | 99.3536
2639 | 99.3396
2638 | 99.3268
2637 | 99.315
2636 | 99.3029
2635 | 99.2891
2634 | 99.2734
2633 | 99.2567
2632 | 99.2405
2631 | 99.2247
2630 | 99.209
2629 | 99.1931
2628 | 99.1781
2627 | 99.1647
2626 | 99.1528
2625 | 99.142
2624 | 99.1314
2623 | 99.12
2622 | 99.1069
2621 | 99.0922
2620 | 99.0775
2619 | 99.0638
2618 | 99.0509
2617 | 99.0381
2616 | 99.0256
2615 | 99.014
2614 | 99.0032
2613 | 98.9919
2612 | 98.9786
2611 | 98.9631
2610 | 98.9463
2609 | 98.9298
2608 | 98.9152
2607 | 98.9034
2606 | 98.8938
2605 | 98.885
2604 | 98.8759
2603 | 98.866
2602 | 98.8558
2601 | 98.846
2600 | 98.8372
2599 | 98.8287
2598 | 98.8186
2597 | 98.8062
2596 | 98.7925
2595 | 98.7798
2594 | 98.769
2593 | 98.7597
2592 | 98.7516
2591 | 98.7452
2590 | 98.7403
2589 | 98.7345
2588 | 98.7253
2587 | 98.713
2586 | 98.7002
2585 | 98.6896
2584 | 98.6816
2583 | 98.6751
2582 | 98.6692
2581 | 98.6643
2580 | 98.6608
2579 | 98.6575
2578 | 98.6529
2577 | 98.646
2576 | 98.6375
2575 | 98.629
2574 | 98.6219
2573 | 98.6169
2572 | 98.613
2571 | 98.6088
2570 | 98.6028
2569 | 98.5956
2568 | 98.5891
2567 | 98.5851
2566 | 98.5829
2565 | 98.5803
2564 | 98.5757
2563 | 98.5694
2562 | 98.5625
2561 | 98.5554
2560 | 98.5483
2559 | 98.5414
2558 | 98.5363
2557 | 98.5336
2556 | 98.5327
2555 | 98.5311
2554 | 98.527
2553 | 98.5211
2552 | 98.5159
2551 | 98.5131
2550 | 98.5121
2549 | 98.5104
2548 | 98.5071
2547 | 98.5036
2546 | 98.5018
2545 | 98.5016
2544 | 98.5009
2543 | 98.4981
2542 | 98.4939
2541 | 98.4903
2540 | 98.4889
2539 | 98.4899
2538 | 98.4921
2537 | 98.4951
2536 | 98.4984
2535 | 98.5014
2534 | 98.5033
2533 | 98.5035
2532 | 98.5018
2531 | 98.4991
2530 | 98.4963
2529 | 98.4947
2528 | 98.4952
2527 | 98.4975
2526 | 98.4999
2525 | 98.5007
2524 | 98.4995
2523 | 98.4979
2522 | 98.4977
2521 | 98.4999
2520 | 98.5036
2519 | 98.507
2518 | 98.5081
2517 | 98.5068
2516 | 98.5051
2515 | 98.5059
2514 | 98.5094
2513 | 98.5132
2512 | 98.5139
2511 | 98.5107
2510 | 98.5063
2509 | 98.504
2508 | 98.5057
2507 | 98.5107
2506 | 98.5165
2505 | 98.5208
2504 | 98.5222
2503 | 98.5215
2502 | 98.5207
2501 | 98.5211
2500 | 98.5232
2499 | 98.5259
2498 | 98.5279
2497 | 98.5286
2496 | 98.5282
2495 | 98.5286
2494 | 98.5314
2493 | 98.5368
2492 | 98.5429
2491 | 98.5476
2490 | 98.5498
2489 | 98.5507
2488 | 98.5524
2487 | 98.5562
2486 | 98.5615
2485 | 98.5668
2484 | 98.5714
2483 | 98.5759
2482 | 98.5808
2481 | 98.5856
2480 | 98.5889
2479 | 98.5901
2478 | 98.5903
2477 | 98.5912
2476 | 98.5939
2475 | 98.5986
2474 | 98.6045
2473 | 98.6102
2472 | 98.6147
2471 | 98.6177
2470 | 98.6204
2469 | 98.6239
2468 | 98.6289
2467 | 98.6349
2466 | 98.641
2465 | 98.6461
2464 | 98.6497
2463 | 98.6518
2462 | 98.6529
2461 | 98.6531
2460 | 98.6525
2459 | 98.6514
2458 | 98.65
2457 | 98.6486
2456 | 98.6469
2455 | 98.645
2454 | 98.6435
2453 | 98.6424
2452 | 98.6405
2451 | 98.6364
2450 | 98.6304
2449 | 98.6251
2448 | 98.6228
2447 | 98.6242
2446 | 98.6276
2445 | 98.6312
2444 | 98.6344
2443 | 98.637
2442 | 98.6394
2441 | 98.6425
2440 | 98.6473
2439 | 98.6531
2438 | 98.658
2437 | 98.6611
2436 | 98.6638
2435 | 98.6683
2434 | 98.6741
2433 | 98.6795
2432 | 98.6841
2431 | 98.6894
2430 | 98.6964
2429 | 98.7039
2428 | 98.7107
2427 | 98.717
2426 | 98.7238
2425 | 98.7307
2424 | 98.737
2423 | 98.7431
2422 | 98.7505
2421 | 98.7596
2420 | 98.7695
2419 | 98.7791
2418 | 98.7883
2417 | 98.7972
2416 | 98.8055
2415 | 98.813
2414 | 98.8199
2413 | 98.8269
2412 | 98.8342
2411 | 98.8417
2410 | 98.8487
2409 | 98.8549
2408 | 98.862
2407 | 98.8723
2406 | 98.8863
2405 | 98.9015
2404 | 98.9153
2403 | 98.9275
2402 | 98.9393
2401 | 98.9505
2400 | 98.9601
2399 | 98.9686
2398 | 98.9793
2397 | 98.994
2396 | 99.0107
2395 | 99.0254
2394 | 99.0366
2393 | 99.0461
2392 | 99.057
2391 | 99.0702
2390 | 99.0844
2389 | 99.0978
2388 | 99.1103
2387 | 99.1226
2386 | 99.1349
2385 | 99.146
2384 | 99.1547
2383 | 99.162
2382 | 99.17
2381 | 99.1799
2380 | 99.1908
2379 | 99.2016
2378 | 99.212
2377 | 99.2226
2376 | 99.2331
2375 | 99.2425
2374 | 99.2502
2373 | 99.2559
2372 | 99.2582
2371 | 99.256
2370 | 99.2511
2369 | 99.249
2368 | 99.2546
2367 | 99.2681
2366 | 99.2842
2365 | 99.2997
2364 | 99.3156
2363 | 99.3322
2362 | 99.3483
2361 | 99.3611
2360 | 99.3688
2359 | 99.3725
2358 | 99.374
2357 | 99.3785
2356 | 99.3906
2355 | 99.4073
2354 | 99.4181
2353 | 99.4178
2352 | 99.4171
2351 | 99.4292
2350 | 99.4581
2349 | 99.4954
2348 | 99.5195
2347 | 99.5119
2346 | 99.4748
2345 | 99.4349
2344 | 99.412
2343 | 99.4048
2342 | 99.4082
2341 | 99.4193
2340 | 99.436
2339 | 99.4535
2338 | 99.4708
2337 | 99.4885
2336 | 99.5077
2335 | 99.5241
2334 | 99.5327
2333 | 99.5278
2332 | 99.513
2331 | 99.4947
2330 | 99.4798
2329 | 99.4706
2328 | 99.4637
2327 | 99.4543
2326 | 99.4341
2325 | 99.3985
2324 | 99.3481
2323 | 99.2902
2322 | 99.2354
2321 | 99.1894
2320 | 99.1551
2319 | 99.1303
2318 | 99.1134
2317 | 99.0996
2316 | 99.0836
2315 | 99.0598
2314 | 99.0276
2313 | 98.9898
2312 | 98.9517
2311 | 98.9167
2310 | 98.8857
2309 | 98.8583
2308 | 98.8352
2307 | 98.8182
2306 | 98.8069
2305 | 98.7976
2304 | 98.7863
2303 | 98.7716
2302 | 98.7555
2301 | 98.7398
2300 | 98.7235
2299 | 98.7048
2298 | 98.6834
2297 | 98.6613
2296 | 98.6402
2295 | 98.6199
2294 | 98.5994
2293 | 98.5777
2292 | 98.5538
2291 | 98.5266
2290 | 98.4949
2289 | 98.4587
2288 | 98.4191
2287 | 98.3778
2286 | 98.3363
2285 | 98.2964
2284 | 98.2593
2283 | 98.2248
2282 | 98.1914
2281 | 98.1569
2280 | 98.1206
2279 | 98.0835
2278 | 98.0477
2277 | 98.0145
2276 | 97.9834
2275 | 97.9529
2274 | 97.9226
2273 | 97.8929
2272 | 97.8638
2271 | 97.8349
2270 | 97.8061
2269 | 97.7777
2268 | 97.7502
2267 | 97.7245
2266 | 97.7005
2265 | 97.6779
2264 | 97.6558
2263 | 97.6346
2262 | 97.6142
2261 | 97.5928
2260 | 97.5675
2259 | 97.5372
2258 | 97.5048
2257 | 97.474
2256 | 97.4464
2255 | 97.4224
2254 | 97.403
2253 | 97.3894
2252 | 97.3796
2251 | 97.3698
2250 | 97.357
2249 | 97.3399
2248 | 97.3186
2247 | 97.2949
2246 | 97.272
2245 | 97.2523
2244 | 97.2343
2243 | 97.215
2242 | 97.1936
2241 | 97.1717
2240 | 97.1503
2239 | 97.1287
2238 | 97.1074
2237 | 97.0878
2236 | 97.0703
2235 | 97.0536
2234 | 97.0364
2233 | 97.0182
2232 | 96.9978
2231 | 96.9746
2230 | 96.9503
2229 | 96.9281
2228 | 96.9085
2227 | 96.8896
2226 | 96.8697
2225 | 96.8488
2224 | 96.8273
2223 | 96.8058
2222 | 96.7862
2221 | 96.7706
2220 | 96.7575
2219 | 96.7428
2218 | 96.7245
2217 | 96.7045
2216 | 96.6854
2215 | 96.6678
2214 | 96.6518
2213 | 96.6378
2212 | 96.6251
2211 | 96.6124
2210 | 96.5986
2209 | 96.5832
2208 | 96.5654
2207 | 96.5462
2206 | 96.5291
2205 | 96.5166
2204 | 96.5066
2203 | 96.4943
2202 | 96.4783
2201 | 96.4601
2200 | 96.4412
2199 | 96.4213
2198 | 96.4017
2197 | 96.3841
2196 | 96.3671
2195 | 96.3478
2194 | 96.3267
2193 | 96.3065
2192 | 96.2864
2191 | 96.2623
2190 | 96.2329
2189 | 96.2029
2188 | 96.1765
2187 | 96.153
2186 | 96.1289
2185 | 96.1021
2184 | 96.0725
2183 | 96.0427
2182 | 96.0183
2181 | 96.005
2180 | 96.0019
2179 | 96.0017
2178 | 95.999
2177 | 95.9942
2176 | 95.9899
2175 | 95.9868
2174 | 95.9842
2173 | 95.9811
2172 | 95.9744
2171 | 95.9594
2170 | 95.9336
2169 | 95.8982
2168 | 95.8546
2167 | 95.8023
2166 | 95.7417
2165 | 95.6766
2164 | 95.6089
2163 | 95.5364
2162 | 95.4578
2161 | 95.3818
2160 | 95.3285
2159 | 95.3202
2158 | 95.3674
2157 | 95.4603
2156 | 95.5746
2155 | 95.6877
2154 | 95.7896
2153 | 95.8791
2152 | 95.9571
2151 | 96.0257
2150 | 96.0892
2149 | 96.1507
2148 | 96.2105
2147 | 96.2683
2146 | 96.3261
2145 | 96.3862
2144 | 96.4482
2143 | 96.5103
2142 | 96.5719
2141 | 96.6323
2140 | 96.6901
2139 | 96.7446
2138 | 96.7974
2137 | 96.8511
2136 | 96.9087
2135 | 96.9746
2134 | 97.0528
2133 | 97.1406
2132 | 97.2287
2131 | 97.3087
2130 | 97.3793
2129 | 97.4431
2128 | 97.501
2127 | 97.5524
2126 | 97.5973
2125 | 97.6362
2124 | 97.6689
2123 | 97.6961
2122 | 97.7208
2121 | 97.7451
2120 | 97.7677
2119 | 97.7857
2118 | 97.7983
2117 | 97.8061
2116 | 97.8096
2115 | 97.8091
2114 | 97.8063
2113 | 97.8026
2112 | 97.7974
2111 | 97.7895
2110 | 97.78
2109 | 97.7725
2108 | 97.7694
2107 | 97.7696
2106 | 97.7703
2105 | 97.7691
2104 | 97.7659
2103 | 97.7617
2102 | 97.7578
2101 | 97.7538
2100 | 97.749
2099 | 97.7448
2098 | 97.7442
2097 | 97.7487
2096 | 97.7566
2095 | 97.7666
2094 | 97.7796
2093 | 97.7962
2092 | 97.8133
2091 | 97.8263
2090 | 97.8335
2089 | 97.8356
2088 | 97.8335
2087 | 97.8271
2086 | 97.8173
2085 | 97.8059
2084 | 97.7938
2083 | 97.7806
2082 | 97.7655
2081 | 97.7485
2080 | 97.7296
2079 | 97.708
2078 | 97.6824
2077 | 97.6525
2076 | 97.6205
2075 | 97.5905
2074 | 97.5654
2073 | 97.5442
2072 | 97.5241
2071 | 97.5045
2070 | 97.4861
2069 | 97.4675
2068 | 97.4451
2067 | 97.4183
2066 | 97.392
2065 | 97.3712
2064 | 97.3549
2063 | 97.3394
2062 | 97.3234
2061 | 97.3076
2060 | 97.2912
2059 | 97.2729
2058 | 97.2527
2057 | 97.2304
2056 | 97.2041
2055 | 97.1726
2054 | 97.1364
2053 | 97.0925
2052 | 97.0333
2051 | 96.9557
2050 | 96.8695
2049 | 96.7906
2048 | 96.7269
2047 | 96.6749
2046 | 96.6298
2045 | 96.5909
2044 | 96.556
2043 | 96.5202
2042 | 96.4811
2041 | 96.4404
2040 | 96.3982
2039 | 96.3518
2038 | 96.3013
2037 | 96.2512
2036 | 96.2049
2035 | 96.1634
2034 | 96.1303
2033 | 96.1114
2032 | 96.1066
2031 | 96.1088
2030 | 96.112
2029 | 96.1149
2028 | 96.118
2027 | 96.1215
2026 | 96.1274
2025 | 96.1375
2024 | 96.1494
2023 | 96.1588
2022 | 96.1659
2021 | 96.1743
2020 | 96.1855
2019 | 96.1988
2018 | 96.2149
2017 | 96.2339
2016 | 96.2514
2015 | 96.2637
2014 | 96.2744
2013 | 96.2894
2012 | 96.3071
2011 | 96.3202
2010 | 96.3266
2009 | 96.3322
2008 | 96.3442
2007 | 96.368
2006 | 96.4078
2005 | 96.4628
2004 | 96.5242
2003 | 96.5818
2002 | 96.6333
2001 | 96.6807
2000 | 96.722
1999 | 96.7527
1998 | 96.7728
1997 | 96.7868
1996 | 96.7967
1995 | 96.8013
1994 | 96.8017
1993 | 96.8013
1992 | 96.8004
1991 | 96.7961
1990 | 96.787
1989 | 96.7751
1988 | 96.7612
1987 | 96.7448
1986 | 96.7262
1985 | 96.7056
1984 | 96.6799
1983 | 96.6436
1982 | 96.5948
1981 | 96.5347
1980 | 96.4667
1979 | 96.3986
1978 | 96.3453
1977 | 96.3207
1976 | 96.3266
1975 | 96.3525
1974 | 96.3877
1973 | 96.4261
1972 | 96.4635
1971 | 96.4974
1970 | 96.5295
1969 | 96.5642
1968 | 96.603
1967 | 96.6459
1966 | 96.693
1965 | 96.7426
1964 | 96.7882
1963 | 96.8254
1962 | 96.8593
1961 | 96.9012
1960 | 96.9572
1959 | 97.0238
1958 | 97.0938
1957 | 97.1623
1956 | 97.2262
1955 | 97.2837
1954 | 97.3355
1953 | 97.3835
1952 | 97.4286
1951 | 97.4709
1950 | 97.512
1949 | 97.5544
1948 | 97.5975
1947 | 97.6379
1946 | 97.6738
1945 | 97.7087
1944 | 97.7481
1943 | 97.7937
1942 | 97.8405
1941 | 97.8808
1940 | 97.9126
1939 | 97.9416
1938 | 97.9743
1937 | 98.0116
1936 | 98.0509
1935 | 98.0908
1934 | 98.1309
1933 | 98.1695
1932 | 98.2044
1931 | 98.2366
1930 | 98.2705
1929 | 98.3074
1928 | 98.3434
1927 | 98.3746
1926 | 98.4025
1925 | 98.433
1924 | 98.4693
1923 | 98.5086
1922 | 98.5435
1921 | 98.5677
1920 | 98.5842
1919 | 98.603
1918 | 98.6311
1917 | 98.6632
1916 | 98.6881
1915 | 98.7034
1914 | 98.7173
1913 | 98.7356
1912 | 98.7565
1911 | 98.7764
1910 | 98.7952
1909 | 98.8138
1908 | 98.8316
1907 | 98.8484
1906 | 98.8654
1905 | 98.8825
1904 | 98.8974
1903 | 98.911
1902 | 98.9279
1901 | 98.9496
1900 | 98.9714
1899 | 98.9892
1898 | 99.0036
1897 | 99.018
1896 | 99.0337
1895 | 99.0505
1894 | 99.0675
1893 | 99.0834
1892 | 99.0979
1891 | 99.1149
1890 | 99.1382
1889 | 99.1638
1888 | 99.1831
1887 | 99.1939
1886 | 99.2036
1885 | 99.2173
1884 | 99.2328
1883 | 99.2462
1882 | 99.2582
1881 | 99.2701
1880 | 99.2813
1879 | 99.2923
1878 | 99.3056
1877 | 99.3221
1876 | 99.3399
1875 | 99.3568
1874 | 99.372
1873 | 99.3833
1872 | 99.3886
1871 | 99.3922
1870 | 99.4037
1869 | 99.4272
1868 | 99.4544
1867 | 99.4736
1866 | 99.4837
1865 | 99.4903
1864 | 99.496
1863 | 99.5015
1862 | 99.5088
1861 | 99.5191
1860 | 99.5302
1859 | 99.5407
1858 | 99.5524
1857 | 99.5664
1856 | 99.5794
1855 | 99.5893
1854 | 99.5987
1853 | 99.6093
1852 | 99.6191
1851 | 99.6275
1850 | 99.6359
1849 | 99.6437
1848 | 99.6476
1847 | 99.6487
1846 | 99.6564
1845 | 99.6793
1844 | 99.714
1843 | 99.7445
1842 | 99.7589
1841 | 99.761
1840 | 99.7622
1839 | 99.7692
1838 | 99.7818
1837 | 99.7959
1836 | 99.8077
1835 | 99.8161
1834 | 99.8208
1833 | 99.8224
1832 | 99.8261
1831 | 99.8395
1830 | 99.8628
1829 | 99.8851
1828 | 99.8949
1827 | 99.8954
1826 | 99.8989
1825 | 99.9114
1824 | 99.9273
1823 | 99.9373
1822 | 99.9407
1821 | 99.9437
1820 | 99.9511
1819 | 99.964
1818 | 99.9827
1817 | 100.0067
1816 | 100.0306
1815 | 100.048
1814 | 100.0581
1813 | 100.0655
1812 | 100.0753
1811 | 100.0877
1810 | 100.1015
1809 | 100.1147
1808 | 100.1243
1807 | 100.1291
1806 | 100.1322
1805 | 100.1372
1804 | 100.1428
1803 | 100.147
1802 | 100.1509
1801 | 100.1577
1800 | 100.1665
1799 | 100.1722
1798 | 100.1731
1797 | 100.1704
1796 | 100.1648
1795 | 100.1595
1794 | 100.1611
1793 | 100.1749
1792 | 100.1978
1791 | 100.2178
1790 | 100.2264
1789 | 100.225
1788 | 100.2196
1787 | 100.2157
1786 | 100.2174
1785 | 100.224
1784 | 100.2291
1783 | 100.229
1782 | 100.2268
1781 | 100.2265
1780 | 100.2288
1779 | 100.2305
1778 | 100.2306
1777 | 100.23
1776 | 100.2286
1775 | 100.2278
1774 | 100.231
1773 | 100.242
1772 | 100.2603
1771 | 100.2749
1770 | 100.2766
1769 | 100.2709
1768 | 100.2676
1767 | 100.2673
1766 | 100.2632
1765 | 100.2531
1764 | 100.2436
1763 | 100.2414
1762 | 100.2455
1761 | 100.2491
1760 | 100.2467
1759 | 100.2395
1758 | 100.2339
1757 | 100.2322
1756 | 100.2319
1755 | 100.2285
1754 | 100.2194
1753 | 100.2086
1752 | 100.2018
1751 | 100.2017
1750 | 100.2047
1749 | 100.2052
1748 | 100.2031
1747 | 100.2009
1746 | 100.1971
1745 | 100.1899
1744 | 100.183
1743 | 100.1795
1742 | 100.178
1741 | 100.178
1740 | 100.1815
1739 | 100.1849
1738 | 100.1787
1737 | 100.1621
1736 | 100.1477
1735 | 100.1492
1734 | 100.1675
1733 | 100.1836
1732 | 100.1785
1731 | 100.1618
1730 | 100.1506
1729 | 100.1467
1728 | 100.1443
1727 | 100.1412
1726 | 100.1372
1725 | 100.1321
1724 | 100.1264
1723 | 100.1208
1722 | 100.1146
1721 | 100.1072
1720 | 100.1003
1719 | 100.0974
1718 | 100.1001
1717 | 100.1084
1716 | 100.1139
1715 | 100.1105
1714 | 100.1037
1713 | 100.0967
1712 | 100.0865
1711 | 100.0736
1710 | 100.0623
1709 | 100.0532
1708 | 100.0441
1707 | 100.0353
1706 | 100.0281
1705 | 100.0187
1704 | 100.0001
1703 | 99.9735
1702 | 99.9474
1701 | 99.9259
1700 | 99.9096
1699 | 99.892
1698 | 99.8682
1697 | 99.8413
1696 | 99.8087
1695 | 99.7663
1694 | 99.7145
1693 | 99.6551
1692 | 99.5903
1691 | 99.5189
1690 | 99.4383
1689 | 99.3521
1688 | 99.2741
1687 | 99.2154
1686 | 99.1715
1685 | 99.1218
1684 | 99.0613
1683 | 99.0235
1682 | 99.0211
1681 | 99.0378
1680 | 99.0645
1679 | 99.0972
1678 | 99.1335
1677 | 99.1707
1676 | 99.2058
1675 | 99.2356
1674 | 99.255
1673 | 99.2624
1672 | 99.2638
1671 | 99.2641
1670 | 99.2627
1669 | 99.2577
1668 | 99.2512
1667 | 99.246
1666 | 99.2418
1665 | 99.2365
1664 | 99.2277
1663 | 99.2151
1662 | 99.2026
1661 | 99.1903
1660 | 99.1774
1659 | 99.166
1658 | 99.157
1657 | 99.1509
1656 | 99.1497
1655 | 99.1538
1654 | 99.1491
1653 | 99.1329
1652 | 99.1252
1651 | 99.1206
1650 | 99.1145
1649 | 99.1142
1648 | 99.1142
1647 | 99.1085
1646 | 99.103
1645 | 99.1003
1644 | 99.0951
1643 | 99.0887
1642 | 99.0846
1641 | 99.0798
1640 | 99.0718
1639 | 99.0633
1638 | 99.0573
1637 | 99.0471
1636 | 99.0208
1635 | 98.9849
1634 | 98.9512
1633 | 98.9164
1632 | 98.8741
1631 | 98.8221
1630 | 98.756
1629 | 98.666
1628 | 98.5474
1627 | 98.415
1626 | 98.286
1625 | 98.155
1624 | 98.0047
1623 | 97.8475
1622 | 97.7327
1621 | 97.6898
1620 | 97.7089
1619 | 97.7754
1618 | 97.8853
1617 | 98.0319
1616 | 98.1922
1615 | 98.3414
1614 | 98.4749
1613 | 98.5988
1612 | 98.7142
1611 | 98.8192
1610 | 98.9136
1609 | 98.9961
1608 | 99.0647
1607 | 99.1209
1606 | 99.1692
1605 | 99.2113
1604 | 99.2467
1603 | 99.2758
1602 | 99.2999
1601 | 99.3206
1600 | 99.3381
1599 | 99.3529
1598 | 99.3656
1597 | 99.3766
1596 | 99.3862
1595 | 99.3963
1594 | 99.4094
1593 | 99.4258
1592 | 99.4437
1591 | 99.4627
1590 | 99.4844
1589 | 99.5086
1588 | 99.5328
1587 | 99.5559
1586 | 99.5789
1585 | 99.6013
1584 | 99.6217
1583 | 99.6413
1582 | 99.6612
1581 | 99.6797
1580 | 99.696
1579 | 99.7124
1578 | 99.7305
1577 | 99.7483
1576 | 99.7637
1575 | 99.776
1574 | 99.7817
1573 | 99.7813
1572 | 99.7802
1571 | 99.7806
1570 | 99.7814
1569 | 99.7805
1568 | 99.7779
1567 | 99.7753
1566 | 99.7735
1565 | 99.7716
1564 | 99.7698
1563 | 99.7705
1562 | 99.7757
1561 | 99.7804
1560 | 99.7758
1559 | 99.7613
1558 | 99.7635
1557 | 99.7745
1556 | 99.7781
1555 | 99.7812
1554 | 99.7851
1553 | 99.7872
1552 | 99.7888
1551 | 99.7917
1550 | 99.7969
1549 | 99.8051
1548 | 99.8149
1547 | 99.8236
1546 | 99.8284
1545 | 99.8284
1544 | 99.8288
1543 | 99.8354
1542 | 99.8491
1541 | 99.8707
1540 | 99.9015
1539 | 99.9371
1538 | 99.9605
1537 | 99.9661
1536 | 99.9661
1535 | 99.9705
1534 | 99.981
1533 | 99.9957
1532 | 100.0107
1531 | 100.0206
1530 | 100.0264
1529 | 100.0316
1528 | 100.0353
1527 | 100.0357
1526 | 100.0341
1525 | 100.0336
1524 | 100.0355
1523 | 100.0381
1522 | 100.0368
1521 | 100.0315
1520 | 100.0242
1519 | 100.0127
1518 | 99.9966
1517 | 99.9789
1516 | 99.965
1515 | 99.9574
1514 | 99.9526
1513 | 99.9464
1512 | 99.9359
1511 | 99.9191
1510 | 99.898
1509 | 99.877
1508 | 99.8616
1507 | 99.8622
1506 | 99.8883
1505 | 99.9154
1504 | 99.9227
1503 | 99.9193
1502 | 99.9167
1501 | 99.9196
1500 | 99.9295
1499 | 99.9451
1498 | 99.9628
1497 | 99.9831
1496 | 100.0075
1495 | 100.0296
1494 | 100.0436
1493 | 100.0517
1492 | 100.0574
1491 | 100.0602
1490 | 100.0603
1489 | 100.0638
1488 | 100.0719
1487 | 100.0783
1486 | 100.0814
1485 | 100.0808
1484 | 100.0747
1483 | 100.0639
1482 | 100.0497
1481 | 100.0342
1480 | 100.0198
1479 | 100.0066
1478 | 99.991
1477 | 99.9694
1476 | 99.9407
1475 | 99.9068
1474 | 99.8684
1473 | 99.8251
1472 | 99.7837
1471 | 99.7484
1470 | 99.7156
1469 | 99.6845
1468 | 99.6567
1467 | 99.631
1466 | 99.6032
1465 | 99.5717
1464 | 99.5432
1463 | 99.5237
1462 | 99.5127
1461 | 99.5092
1460 | 99.5123
1459 | 99.5166
1458 | 99.5091
1457 | 99.4893
1456 | 99.4778
1455 | 99.4789
1454 | 99.4837
1453 | 99.4916
1452 | 99.5033
1451 | 99.5169
1450 | 99.5297
1449 | 99.5414
1448 | 99.5513
1447 | 99.5588
1446 | 99.5641
1445 | 99.5688
1444 | 99.5755
1443 | 99.5822
1442 | 99.5852
1441 | 99.5853
1440 | 99.5882
1439 | 99.5954
1438 | 99.5981
1437 | 99.5853
1436 | 99.5606
1435 | 99.5358
1434 | 99.5144
1433 | 99.495
1432 | 99.476
1431 | 99.4546
1430 | 99.4295
1429 | 99.4039
1428 | 99.3832
1427 | 99.3693
1426 | 99.3579
1425 | 99.3434
1424 | 99.3299
1423 | 99.3285
1422 | 99.3417
1421 | 99.362
1420 | 99.3788
1419 | 99.3859
1418 | 99.3887
1417 | 99.3993
1416 | 99.4234
1415 | 99.4565
1414 | 99.4888
1413 | 99.5145
1412 | 99.5359
1411 | 99.5568
1410 | 99.5763
1409 | 99.5937
1408 | 99.6104
1407 | 99.6264
1406 | 99.6389
1405 | 99.647
1404 | 99.6555
1403 | 99.6683
1402 | 99.6829
1401 | 99.696
1400 | 99.7054
1399 | 99.7105
1398 | 99.7136
1397 | 99.7187
1396 | 99.7283
1395 | 99.741
1394 | 99.751
1393 | 99.7539
1392 | 99.7529
1391 | 99.7527
1390 | 99.7526
1389 | 99.7481
1388 | 99.7363
1387 | 99.7199
1386 | 99.7042
1385 | 99.6906
1384 | 99.6761
1383 | 99.6573
1382 | 99.6328
1381 | 99.6053
1380 | 99.5778
1379 | 99.5529
1378 | 99.5325
1377 | 99.5168
1376 | 99.5023
1375 | 99.4844
1374 | 99.4634
1373 | 99.4451
1372 | 99.4343
1371 | 99.4308
1370 | 99.4319
1369 | 99.4345
1368 | 99.4389
1367 | 99.4468
1366 | 99.4577
1365 | 99.4686
1364 | 99.4754
1363 | 99.4779
1362 | 99.4819
1361 | 99.4927
1360 | 99.509
1359 | 99.5263
1358 | 99.5416
1357 | 99.554
1356 | 99.5638
1355 | 99.5719
1354 | 99.579
1353 | 99.586
1352 | 99.5927
1351 | 99.5975
1350 | 99.5996
1349 | 99.5991
1348 | 99.5956
1347 | 99.5886
1346 | 99.5772
1345 | 99.5624
1344 | 99.5455
1343 | 99.5263
1342 | 99.5027
1341 | 99.4725
1340 | 99.4383
1339 | 99.4076
1338 | 99.386
1337 | 99.3725
1336 | 99.3635
1335 | 99.3568
1334 | 99.3518
1333 | 99.3477
1332 | 99.3437
1331 | 99.3394
1330 | 99.3353
1329 | 99.3316
1328 | 99.3274
1327 | 99.3213
1326 | 99.3123
1325 | 99.2995
1324 | 99.2836
1323 | 99.2664
1322 | 99.2489
1321 | 99.2305
1320 | 99.2119
1319 | 99.1964
1318 | 99.1878
1317 | 99.1877
1316 | 99.195
1315 | 99.2075
1314 | 99.2245
1313 | 99.2465
1312 | 99.2746
1311 | 99.3084
1310 | 99.345
1309 | 99.3817
1308 | 99.4182
1307 | 99.4554
1306 | 99.4934
1305 | 99.5309
1304 | 99.5665
1303 | 99.5997
1302 | 99.6299
1301 | 99.657
1300 | 99.6811
1299 | 99.7026
1298 | 99.7215
1297 | 99.7378
1296 | 99.7522
1295 | 99.7649
1294 | 99.7749
1293 | 99.7816
1292 | 99.7858
1291 | 99.7886
1290 | 99.7902
1289 | 99.7905
1288 | 99.7897
1287 | 99.7879
1286 | 99.7845
1285 | 99.7787
1284 | 99.7706
1283 | 99.7617
1282 | 99.7531
1281 | 99.7457
1280 | 99.7402
1279 | 99.7365
1278 | 99.7333
1277 | 99.7288
1276 | 99.7229
1275 | 99.7163
1274 | 99.71
1273 | 99.7049
1272 | 99.7022
1271 | 99.7028
1270 | 99.7062
1269 | 99.7105
1268 | 99.7148
1267 | 99.7188
1266 | 99.7221
1265 | 99.7238
1264 | 99.7235
1263 | 99.7215
1262 | 99.7182
1261 | 99.7138
1260 | 99.7086
1259 | 99.7033
1258 | 99.698
1257 | 99.6924
1256 | 99.6868
1255 | 99.6814
1254 | 99.6752
1253 | 99.667
1252 | 99.6567
1251 | 99.6451
1250 | 99.6327
1249 | 99.6193
1248 | 99.6055
1247 | 99.592
1246 | 99.5792
1245 | 99.5673
1244 | 99.5569
1243 | 99.5488
1242 | 99.5424
1241 | 99.5357
1240 | 99.5278
1239 | 99.5196
1238 | 99.5119
1237 | 99.5047
1236 | 99.4976
1235 | 99.4911
1234 | 99.4857
1233 | 99.4819
1232 | 99.4802
1231 | 99.4809
1230 | 99.4831
1229 | 99.4854
1228 | 99.4877
1227 | 99.4902
1226 | 99.493
1225 | 99.496
1224 | 99.5
1223 | 99.5055
1222 | 99.5114
1221 | 99.5159
1220 | 99.5188
1219 | 99.5209
1218 | 99.522
1217 | 99.5204
1216 | 99.5152
1215 | 99.5072
1214 | 99.4967
1213 | 99.4824
1212 | 99.4631
1211 | 99.4387
1210 | 99.4104
1209 | 99.3795
1208 | 99.3487
1207 | 99.3214
1206 | 99.2995
1205 | 99.2826
1204 | 99.2694
1203 | 99.2584
1202 | 99.2483
1201 | 99.2379
1200 | 99.227
1199 | 99.216
1198 | 99.2041
1197 | 99.1891
1196 | 99.169
1195 | 99.1426
1194 | 99.1089
1193 | 99.0664
1192 | 99.0149
1191 | 98.9551
1190 | 98.8871
1189 | 98.8099
1188 | 98.7233
1187 | 98.6278
1186 | 98.5239
1185 | 98.4113
1184 | 98.2892
1183 | 98.1576
1182 | 98.016
1181 | 97.8629
1180 | 97.6988
1179 | 97.5263
1178 | 97.3479
1177 | 97.1623
1176 | 96.9677
1175 | 96.764
1174 | 96.5525
1173 | 96.3337
1172 | 96.1078
1171 | 95.8767
1170 | 95.6421
1169 | 95.4044
1168 | 95.1657
1167 | 94.9304
1166 | 94.7017
1165 | 94.4794
1164 | 94.2636
1163 | 94.0564
1162 | 93.8586
1161 | 93.6674
1160 | 93.4814
1159 | 93.3024
1158 | 93.1305
1157 | 92.9606
1156 | 92.7897
1155 | 92.6197
1154 | 92.4518
1153 | 92.2824
1152 | 92.1096
1151 | 91.9358
1150 | 91.7628
1149 | 91.5883
1148 | 91.4119
1147 | 91.2387
1146 | 91.0715
1145 | 90.9079
1144 | 90.7473
1143 | 90.5949
1142 | 90.4529
1141 | 90.3167
1140 | 90.1838
1139 | 90.0586
1138 | 89.9433
1137 | 89.8325
1136 | 89.7223
1135 | 89.6157
1134 | 89.5145
1133 | 89.414
1132 | 89.3109
1131 | 89.2082
1130 | 89.1064
1129 | 89
1128 | 88.8866
1127 | 88.7726
1126 | 88.663
1125 | 88.5557
1124 | 88.4496
1123 | 88.35
1122 | 88.2594
1121 | 88.1723
1120 | 88.0843
1119 | 87.9984
1118 | 87.9162
1117 | 87.8333
1116 | 87.7492
1115 | 87.6718
1114 | 87.6079
1113 | 87.5583
1112 | 87.5268
1111 | 87.5231
1110 | 87.5511
1109 | 87.6044
1108 | 87.6782
1107 | 87.7745
1106 | 87.8921
1105 | 88.0229
1104 | 88.1635
1103 | 88.318
1102 | 88.4854
1101 | 88.657
1100 | 88.8286
1099 | 89.0053
1098 | 89.1893
1097 | 89.3745
1096 | 89.5571
1095 | 89.7403
1094 | 89.9255
1093 | 90.1079
1092 | 90.2849
1091 | 90.4599
1090 | 90.6337
1089 | 90.8011
1088 | 90.9594
1087 | 91.1117
1086 | 91.259
1085 | 91.3969
1084 | 91.5232
1083 | 91.6404
1082 | 91.7487
1081 | 91.844
1080 | 91.9262
1079 | 92.0012
1078 | 92.0732
1077 | 92.1398
1076 | 92.1994
1075 | 92.2548
1074 | 92.3073
1073 | 92.3528
1072 | 92.3877
1071 | 92.4133
1070 | 92.4288
1069 | 92.4293
1068 | 92.4111
1067 | 92.3759
1066 | 92.3256
1065 | 92.2604
1064 | 92.1831
1063 | 92.1021
1062 | 92.0244
1061 | 91.9526
1060 | 91.8897
1059 | 91.8413
1058 | 91.8092
1057 | 91.7889
1056 | 91.7771
1055 | 91.7761
1054 | 91.7868
1053 | 91.8052
1052 | 91.8284
1051 | 91.8585
1050 | 91.8975
1049 | 91.9427
1048 | 91.9911
1047 | 92.042
1046 | 92.0926
1045 | 92.1373
1044 | 92.172
1043 | 92.1963
1042 | 92.2079
1041 | 92.2028
1040 | 92.1816
1039 | 92.1503
1038 | 92.1143
1037 | 92.0754
1036 | 92.0375
1035 | 92.007
1034 | 91.9876
1033 | 91.9783
1032 | 91.979
1031 | 91.993
1030 | 92.0212
1029 | 92.0603
1028 | 92.1076
1027 | 92.1633
1026 | 92.2263
1025 | 92.2932
1024 | 92.3626
1023 | 92.4359
1022 | 92.5119
1021 | 92.5862
1020 | 92.658
1019 | 92.7308
1018 | 92.8066
1017 | 92.8824
1016 | 92.9547
1015 | 93.0229
1014 | 93.0863
1013 | 93.1428
1012 | 93.1913
1011 | 93.2325
1010 | 93.2635
1009 | 93.277
1008 | 93.2673
1007 | 93.2368
1006 | 93.1988
1005 | 93.1741
1004 | 93.1826
1003 | 93.2314
1002 | 93.3094
1001 | 93.3961
1000 | 93.4775
999 | 93.5512
998 | 93.6191
997 | 93.6815
996 | 93.7383
995 | 93.7907
994 | 93.8383
993 | 93.8792
992 | 93.9133
991 | 93.9434
990 | 93.9717
989 | 93.9981
988 | 94.0249
987 | 94.0573
986 | 94.0991
985 | 94.1512
984 | 94.2153
983 | 94.2949
982 | 94.3911
981 | 94.5002
980 | 94.6167
979 | 94.7369
978 | 94.8573
977 | 94.9741
976 | 95.0854
975 | 95.192
974 | 95.2941
973 | 95.3899
972 | 95.4779
971 | 95.5587
970 | 95.634
969 | 95.7045
968 | 95.7713
967 | 95.8367
966 | 95.9025
965 | 95.969
964 | 96.0361
963 | 96.104
962 | 96.1718
961 | 96.238
960 | 96.3028
959 | 96.368
958 | 96.4341
957 | 96.5
956 | 96.5655
955 | 96.6311
954 | 96.6961
953 | 96.7588
952 | 96.8188
951 | 96.8774
950 | 96.9354
949 | 96.9913
948 | 97.0441
947 | 97.0939
946 | 97.1411
945 | 97.1851
944 | 97.2253
943 | 97.2629
942 | 97.2989
941 | 97.3333
940 | 97.3657
939 | 97.3965
938 | 97.4252
937 | 97.4508
936 | 97.4733
935 | 97.494
934 | 97.5145
933 | 97.5352
932 | 97.556
931 | 97.5767
930 | 97.5966
929 | 97.6145
928 | 97.6307
927 | 97.6459
926 | 97.6599
925 | 97.6715
924 | 97.6816
923 | 97.6923
922 | 97.7046
921 | 97.7175
920 | 97.7297
919 | 97.7405
918 | 97.7489
917 | 97.7537
916 | 97.7552
915 | 97.7552
914 | 97.7547
913 | 97.7535
912 | 97.7516
911 | 97.7499
910 | 97.7473
909 | 97.7412
908 | 97.7308
907 | 97.7176
906 | 97.7027
905 | 97.6845
904 | 97.6616
903 | 97.6355
902 | 97.6091
901 | 97.5843
900 | 97.5621
899 | 97.5444
898 | 97.5331
897 | 97.5293
896 | 97.5334
895 | 97.5454
894 | 97.5642
893 | 97.5871
892 | 97.6125
891 | 97.6403
890 | 97.6701
889 | 97.7005
888 | 97.7299
887 | 97.758
886 | 97.7845
885 | 97.8091
884 | 97.832
883 | 97.8529
882 | 97.8701
881 | 97.8823
880 | 97.8905
879 | 97.8978
878 | 97.9055
877 | 97.9124
876 | 97.9177
875 | 97.9235
874 | 97.934
873 | 97.9515
872 | 97.9753
871 | 98.0017
870 | 98.026
869 | 98.046
868 | 98.0626
867 | 98.0775
866 | 98.0907
865 | 98.1015
864 | 98.1109
863 | 98.1191
862 | 98.1246
861 | 98.1261
860 | 98.1254
859 | 98.1256
858 | 98.1277
857 | 98.1291
856 | 98.1279
855 | 98.1244
854 | 98.1202
853 | 98.1178
852 | 98.1199
851 | 98.1257
850 | 98.1296
849 | 98.1269
848 | 98.1185
847 | 98.1089
846 | 98.1
845 | 98.0907
844 | 98.0817
843 | 98.0756
842 | 98.0726
841 | 98.0692
840 | 98.063
839 | 98.0556
838 | 98.0489
837 | 98.0434
836 | 98.0388
835 | 98.0353
834 | 98.032
833 | 98.0273
832 | 98.0215
831 | 98.0172
830 | 98.0159
829 | 98.0172
828 | 98.0211
827 | 98.0276
826 | 98.0336
825 | 98.0348
824 | 98.031
823 | 98.0261
822 | 98.0222
821 | 98.0179
820 | 98.0125
819 | 98.0082
818 | 98.0056
817 | 98.0026
816 | 97.9982
815 | 97.994
814 | 97.9912
813 | 97.9893
812 | 97.988
811 | 97.9883
810 | 97.9887
809 | 97.9865
808 | 97.9818
807 | 97.9776
806 | 97.9751
805 | 97.9723
804 | 97.9678
803 | 97.9631
802 | 97.958
801 | 97.9506
800 | 97.9408
799 | 97.9325
798 | 97.9275
797 | 97.9233
796 | 97.9174
795 | 97.9104
794 | 97.9028
793 | 97.8936
792 | 97.8828
791 | 97.8725
790 | 97.8633
789 | 97.8529
788 | 97.8401
787 | 97.8263
786 | 97.8128
785 | 97.7994
784 | 97.787
783 | 97.7778
782 | 97.7705
781 | 97.7614
780 | 97.7489
779 | 97.7359
778 | 97.7249
777 | 97.7152
776 | 97.7053
775 | 97.6949
774 | 97.6829
773 | 97.6677
772 | 97.6511
771 | 97.6366
770 | 97.6243
769 | 97.6103
768 | 97.5934
767 | 97.5772
766 | 97.5634
765 | 97.5491
764 | 97.5327
763 | 97.5169
762 | 97.5028
761 | 97.488
760 | 97.4711
759 | 97.455
758 | 97.4414
757 | 97.4277
756 | 97.4118
755 | 97.3954
754 | 97.3798
753 | 97.3623
752 | 97.3414
751 | 97.3201
750 | 97.301
749 | 97.2831
748 | 97.2643
747 | 97.2456
746 | 97.2271
745 | 97.2069
744 | 97.1846
743 | 97.1632
742 | 97.144
741 | 97.124
740 | 97.1023
739 | 97.0819
738 | 97.064
737 | 97.0447
736 | 97.0214
735 | 96.997
734 | 96.9742
733 | 96.9508
732 | 96.9237
731 | 96.8939
730 | 96.8631
729 | 96.8308
728 | 96.7973
727 | 96.7648
726 | 96.7335
725 | 96.7006
724 | 96.6666
723 | 96.6334
722 | 96.5974
721 | 96.5521
720 | 96.5014
719 | 96.4594
718 | 96.4315
717 | 96.4073
716 | 96.3764
715 | 96.3401
714 | 96.304
713 | 96.2689
712 | 96.2348
711 | 96.2057
710 | 96.1815
709 | 96.1549
708 | 96.1229
707 | 96.0922
706 | 96.0675
705 | 96.0437
704 | 96.017
703 | 95.9917
702 | 95.97
701 | 95.9445
700 | 95.9107
699 | 95.8767
698 | 95.8507
697 | 95.8282
696 | 95.802
695 | 95.7734
694 | 95.7449
693 | 95.7108
692 | 95.6682
691 | 95.6244
690 | 95.5823
689 | 95.5302
688 | 95.4585
687 | 95.3739
686 | 95.2839
685 | 95.1817
684 | 95.0602
683 | 94.9228
682 | 94.7652
681 | 94.5669
680 | 94.3153
679 | 94.0201
678 | 93.6881
677 | 93.3083
676 | 92.8775
675 | 92.4118
674 | 91.9259
673 | 91.4389
672 | 91.002
671 | 90.6568
670 | 90.3782
669 | 90.0621
668 | 89.7322
667 | 89.6548
666 | 89.9043
665 | 90.313
664 | 90.7806
663 | 91.2609
662 | 91.7145
661 | 92.1128
660 | 92.4511
659 | 92.731
658 | 92.9565
657 | 93.1398
656 | 93.2917
655 | 93.4133
654 | 93.5062
653 | 93.5804
652 | 93.6404
651 | 93.6786
650 | 93.6929
649 | 93.6955
648 | 93.6967
647 | 93.6922
646 | 93.6714
645 | 93.6323
644 | 93.5795
643 | 93.5196
642 | 93.4605
641 | 93.4093
640 | 93.3687
639 | 93.3395
638 | 93.3211
637 | 93.3117
636 | 93.3079
635 | 93.303
634 | 93.2877
633 | 93.2559
632 | 93.2129
631 | 93.172
630 | 93.1378
629 | 93.1022
628 | 93.0651
627 | 93.0493
626 | 93.0783
625 | 93.1449
624 | 93.2188
623 | 93.2827
622 | 93.3559
621 | 93.4769
620 | 93.6556
619 | 93.8483
618 | 93.9936
617 | 94.0694
616 | 94.0964
615 | 94.1066
614 | 94.1236
613 | 94.1485
612 | 94.1532
611 | 94.1122
610 | 94.049
609 | 94.0124
608 | 94.005
607 | 93.9829
606 | 93.9325
605 | 93.8963
604 | 93.9033
603 | 93.9361
602 | 93.9961
601 | 94.1309
600 | 94.3565

## Sample Details
Setting | Value
Filesname | 8.2.35 14
Creation Date
Analyst | mas-storage
X-Axis Units | cm-1
X-Axis start value | 4000
X-Axis end value | 600
Data interval | -1
Number of points | 3401
Y-Axis Units | %T
Description | 6Sample 3325 By mas-storage Date Thursday, June 16 2022

## Instrument Details
Setting | Value
Instrument Model | Frontier FT-IR
Instrument Serial Number | 91175
Software Revision | CPU32 Main 00.09.9908 05-May-2009 15:52:12
Number of Scans | 32
Resolution | 4
Detector
Source | MIR
Beam Splitter | OptKBr
Apodization | Strong
Spectrum Type | Spectrum
Beam Type | Ratio
Phase Correction | Magnitude
Scan Speed | 1
IGram Type | Double
Scan Driection | Combined
Zero Crossing | 0
JStop | 8.94
IR-Laser Wavenumber | 15798.001999451375
Manufacturer | PIKE Technologies Inc.
Part Number | L1200385
Serial Number | 19250
Description | Miracle Accessory
Default Scan Range | 4000 450
Accessory Type | Miracle ATR
Temperature / °C
Slide Holder Option

## Quality Checks
Setting | Value
Water Vapor | Passed
Carbon Dioxide | Passed
Baseline Low | Passed
Baseline High | Passed
Baseline Slope | Passed
Strong Bands | Passed
Weak Bands | Warning
High Noise | Passed
Fringes | Caution
Vignetting | Passed
Blocked Beam | Passed
Negative Bands | Passed
Zero Transmission | Passed
Stray Light | Passed
Window Cuttoff | Passed