## Data
Wavelength / cm-1 | Transmittance / % | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1
4000 | 98.2338 |  | Baseline @ 1105 |  | Baseline @ 1735 |  | Baseline @ 2900 |  | Peak @ 1105 |  | Peak @ 1735 |  | Peak @ 2900
3999 | 98.2282 | 850 | 98.3928 | 1525 | 99.443 | 2670 | 99.5724 | 1105 | 92.4125 | 1735 | 99.9626 | 2900 | 98.3839
3998 | 98.225 | 1210 | 98.7265 | 1780 | 100.2248 | 3000 | 98.7087 | 1105 | 98.6292 | 1735 | 100.0869 | 2900 | 98.9705
3997 | 98.226
3996 | 98.2303
3995 | 98.2351
3994 | 98.2388
3993 | 98.2416
3992 | 98.244
3991 | 98.2456
3990 | 98.2459
3989 | 98.2457
3988 | 98.2465
3987 | 98.2492
3986 | 98.253
3985 | 98.2569
3984 | 98.2595
3983 | 98.2605
3982 | 98.2596
3981 | 98.2573
3980 | 98.2536
3979 | 98.2487
3978 | 98.2441
3977 | 98.2419 |  |  | Baseline range |  |  | Transmittance |  |  |  | Equation of base line |  |  | Transmittance at peak value wavelength | Peak Intensity |  | Ratio
3976 | 98.2441 |  | Peak value
3975 | 98.2505 |  | Wavelength
3974 | 98.2586 |  | x1 | x2 | x3 |  | y1 | y2 | y3 |  | m | c
3973 | 98.2657 | [15 empty] | flexural
3972 | 98.2696 |  | 1105 | 850 | 1210 |  | 92.4125 | 98.3928 | 98.7265 |  | 0.00092677 | 97.6051 |  | 98.6292 | 6.2167 | R1 | 0.019996
3971 | 98.2701 |  | 1735 | 1525 | 1780 |  | 99.9626 | 99.443 | 100.2248 |  | 0.0030658 | 94.7677 |  | 100.0869 | 0.12431 | R2 | 0.21193
3970 | 98.2684 |  | 2900 | 2670 | 3000 |  | 98.3839 | 99.5724 | 98.7087 |  | -0.0026171 | 106.5602 |  | 98.9705 | 0.58656
3969 | 98.2661
3968 | 98.2645 |  | From paper
3967 | 98.2639 |  | 1105 | 765 | 1185
3966 | 98.2641 |  | 1735 | 1485 | 1780
3965 | 98.2656 |  | 2900 | 2630 | 3000
3964 | 98.2687
3963 | 98.2723
3962 | 98.2745
3961 | 98.274
3960 | 98.2714
3959 | 98.2684
3958 | 98.2664
3957 | 98.2662
3956 | 98.2678
3955 | 98.2703
3954 | 98.2728
3953 | 98.2745
3952 | 98.2749
3951 | 98.2744
3950 | 98.2734
3949 | 98.2726
3948 | 98.272
3947 | 98.2713
3946 | 98.272
3945 | 98.2754
3944 | 98.2803
3943 | 98.2831
3942 | 98.2828
3941 | 98.2833
3940 | 98.2873
3939 | 98.2924
3938 | 98.2933
3937 | 98.2884
3936 | 98.2819
3935 | 98.2793
3934 | 98.2825
3933 | 98.2901
3932 | 98.2995
3931 | 98.3077
3930 | 98.3107
3929 | 98.3076
3928 | 98.3015
3927 | 98.2977
3926 | 98.2979
3925 | 98.2993
3924 | 98.2999
3923 | 98.3007
3922 | 98.3021
3921 | 98.3016
3920 | 98.2979
3919 | 98.2943
3918 | 98.295
3917 | 98.3
3916 | 98.3062
3915 | 98.3111
3914 | 98.3145
3913 | 98.316
3912 | 98.315
3911 | 98.3122
3910 | 98.3096
3909 | 98.3077
3908 | 98.3067
3907 | 98.306
3906 | 98.3045
3905 | 98.3
3904 | 98.2933
3903 | 98.2916
3902 | 98.3017
3901 | 98.3208
3900 | 98.3372
3899 | 98.3413
3898 | 98.3342
3897 | 98.3231
3896 | 98.3122
3895 | 98.304
3894 | 98.3018
3893 | 98.3067
3892 | 98.313
3891 | 98.312
3890 | 98.3045
3889 | 98.3003
3888 | 98.3061
3887 | 98.3153
3886 | 98.3147
3885 | 98.3036
3884 | 98.2964
3883 | 98.3026
3882 | 98.3171
3881 | 98.3271
3880 | 98.3252
3879 | 98.3162
3878 | 98.31
3877 | 98.311
3876 | 98.3152
3875 | 98.3128
3874 | 98.3013
3873 | 98.2935
3872 | 98.3036
3871 | 98.3254
3870 | 98.3368
3869 | 98.3316
3868 | 98.3262
3867 | 98.3312
3866 | 98.3386
3865 | 98.3351
3864 | 98.3233
3863 | 98.3168
3862 | 98.3185
3861 | 98.321
3860 | 98.3212
3859 | 98.3204
3858 | 98.3218
3857 | 98.3264
3856 | 98.3329
3855 | 98.3334
3854 | 98.3222
3853 | 98.3165
3852 | 98.3338
3851 | 98.3583
3850 | 98.368
3849 | 98.3583
3848 | 98.3371
3847 | 98.3158
3846 | 98.3008
3845 | 98.2911
3844 | 98.2846
3843 | 98.28
3842 | 98.2786
3841 | 98.2845
3840 | 98.2985
3839 | 98.3144
3838 | 98.3264
3837 | 98.3317
3836 | 98.3298
3835 | 98.3214
3834 | 98.3096
3833 | 98.2987
3832 | 98.2897
3831 | 98.2827
3830 | 98.2791
3829 | 98.2788
3828 | 98.2784
3827 | 98.2724
3826 | 98.2588
3825 | 98.2458
3824 | 98.246
3823 | 98.2616
3822 | 98.2791
3821 | 98.2835
3820 | 98.2801
3819 | 98.2851
3818 | 98.3017
3817 | 98.3159
3816 | 98.3129
3815 | 98.2996
3814 | 98.2928
3813 | 98.2916
3812 | 98.2831
3811 | 98.2638
3810 | 98.2449
3809 | 98.2375
3808 | 98.2384
3807 | 98.2352
3806 | 98.2257
3805 | 98.222
3804 | 98.2325
3803 | 98.2496
3802 | 98.2536
3801 | 98.2399
3800 | 98.2294
3799 | 98.2356
3798 | 98.2488
3797 | 98.2525
3796 | 98.2419
3795 | 98.2268
3794 | 98.2171
3793 | 98.2114
3792 | 98.2029
3791 | 98.1903
3790 | 98.177
3789 | 98.1667
3788 | 98.1615
3787 | 98.1621
3786 | 98.1659
3785 | 98.1676
3784 | 98.1634
3783 | 98.1568
3782 | 98.1537
3781 | 98.1551
3780 | 98.1565
3779 | 98.1551
3778 | 98.1546
3777 | 98.1586
3776 | 98.1637
3775 | 98.1622
3774 | 98.1517
3773 | 98.1387
3772 | 98.1305
3771 | 98.1266
3770 | 98.1216
3769 | 98.1163
3768 | 98.1166
3767 | 98.1222
3766 | 98.1248
3765 | 98.1175
3764 | 98.1046
3763 | 98.0956
3762 | 98.0924
3761 | 98.0888
3760 | 98.0806
3759 | 98.0728
3758 | 98.0704
3757 | 98.0695
3756 | 98.0672
3755 | 98.0657
3754 | 98.0663
3753 | 98.0665
3752 | 98.065
3751 | 98.0667
3750 | 98.0711
3749 | 98.0682
3748 | 98.0606
3747 | 98.0635
3746 | 98.0773
3745 | 98.077
3744 | 98.0547
3743 | 98.0374
3742 | 98.0361
3741 | 98.0341
3740 | 98.0182
3739 | 97.9923
3738 | 97.9718
3737 | 97.9615
3736 | 97.9564
3735 | 97.9545
3734 | 97.9595
3733 | 97.967
3732 | 97.9645
3731 | 97.9497
3730 | 97.9322
3729 | 97.9198
3728 | 97.9115
3727 | 97.9005
3726 | 97.8859
3725 | 97.8755
3724 | 97.8749
3723 | 97.8804
3722 | 97.8854
3721 | 97.8892
3720 | 97.8911
3719 | 97.8874
3718 | 97.8748
3717 | 97.8554
3716 | 97.8408
3715 | 97.8389
3714 | 97.8455
3713 | 97.8473
3712 | 97.8396
3711 | 97.8325
3710 | 97.8347
3709 | 97.8417
3708 | 97.8426
3707 | 97.8327
3706 | 97.814
3705 | 97.7946
3704 | 97.7807
3703 | 97.7741
3702 | 97.7713
3701 | 97.769
3700 | 97.7665
3699 | 97.7646
3698 | 97.7632
3697 | 97.7585
3696 | 97.7498
3695 | 97.7413
3694 | 97.7381
3693 | 97.7407
3692 | 97.7489
3691 | 97.761
3690 | 97.7715
3689 | 97.7733
3688 | 97.7663
3687 | 97.7565
3686 | 97.7475
3685 | 97.7388
3684 | 97.7265
3683 | 97.7118
3682 | 97.701
3681 | 97.6957
3680 | 97.6911
3679 | 97.686
3678 | 97.6881
3677 | 97.7006
3676 | 97.7082
3675 | 97.6993
3674 | 97.6848
3673 | 97.6787
3672 | 97.6829
3671 | 97.684
3670 | 97.6699
3669 | 97.6495
3668 | 97.6376
3667 | 97.6322
3666 | 97.6241
3665 | 97.6095
3664 | 97.5914
3663 | 97.5749
3662 | 97.5622
3661 | 97.5512
3660 | 97.5411
3659 | 97.5336
3658 | 97.5287
3657 | 97.5203
3656 | 97.5035
3655 | 97.4839
3654 | 97.4732
3653 | 97.4771
3652 | 97.4905
3651 | 97.4997
3650 | 97.4962
3649 | 97.4869
3648 | 97.4803
3647 | 97.472
3646 | 97.4569
3645 | 97.4393
3644 | 97.4237
3643 | 97.4091
3642 | 97.3924
3641 | 97.3743
3640 | 97.3582
3639 | 97.344
3638 | 97.3291
3637 | 97.3138
3636 | 97.3015
3635 | 97.2929
3634 | 97.2839
3633 | 97.2751
3632 | 97.2738
3631 | 97.2812
3630 | 97.2819
3629 | 97.2604
3628 | 97.2291
3627 | 97.21
3626 | 97.2046
3625 | 97.2019
3624 | 97.1964
3623 | 97.1916
3622 | 97.1921
3621 | 97.1948
3620 | 97.1895
3619 | 97.1721
3618 | 97.1493
3617 | 97.1293
3616 | 97.1157
3615 | 97.1083
3614 | 97.1034
3613 | 97.0971
3612 | 97.0898
3611 | 97.0829
3610 | 97.0749
3609 | 97.0636
3608 | 97.0496
3607 | 97.0372
3606 | 97.0293
3605 | 97.0251
3604 | 97.0213
3603 | 97.0153
3602 | 97.0063
3601 | 96.9949
3600 | 96.9837
3599 | 96.9765
3598 | 96.9744
3597 | 96.9733
3596 | 96.9683
3595 | 96.9561
3594 | 96.9379
3593 | 96.9184
3592 | 96.9032
3591 | 96.8953
3590 | 96.8937
3589 | 96.8918
3588 | 96.8812
3587 | 96.8619
3586 | 96.8427
3585 | 96.831
3584 | 96.8256
3583 | 96.8213
3582 | 96.8131
3581 | 96.8
3580 | 96.7852
3579 | 96.7732
3578 | 96.7661
3577 | 96.7615
3576 | 96.7542
3575 | 96.7407
3574 | 96.7222
3573 | 96.7033
3572 | 96.6896
3571 | 96.6839
3570 | 96.6845
3569 | 96.6844
3568 | 96.6748
3567 | 96.6532
3566 | 96.6282
3565 | 96.6093
3564 | 96.5985
3563 | 96.5915
3562 | 96.5831
3561 | 96.5707
3560 | 96.5549
3559 | 96.5386
3558 | 96.5244
3557 | 96.5133
3556 | 96.5052
3555 | 96.499
3554 | 96.492
3553 | 96.4797
3552 | 96.4597
3551 | 96.4357
3550 | 96.415
3549 | 96.4019
3548 | 96.394
3547 | 96.3855
3546 | 96.3734
3545 | 96.3601
3544 | 96.3488
3543 | 96.3396
3542 | 96.3301
3541 | 96.3185
3540 | 96.3057
3539 | 96.2939
3538 | 96.2842
3537 | 96.2759
3536 | 96.2677
3535 | 96.2592
3534 | 96.2506
3533 | 96.2421
3532 | 96.2337
3531 | 96.2254
3530 | 96.2172
3529 | 96.207
3528 | 96.1927
3527 | 96.1751
3526 | 96.1589
3525 | 96.1485
3524 | 96.1428
3523 | 96.1379
3522 | 96.1318
3521 | 96.1262
3520 | 96.123
3519 | 96.1204
3518 | 96.1151
3517 | 96.1064
3516 | 96.0964
3515 | 96.0874
3514 | 96.0804
3513 | 96.0751
3512 | 96.0712
3511 | 96.0668
3510 | 96.0594
3509 | 96.0482
3508 | 96.0361
3507 | 96.0274
3506 | 96.0235
3505 | 96.0214
3504 | 96.0165
3503 | 96.0066
3502 | 95.9936
3501 | 95.9809
3500 | 95.9703
3499 | 95.9616
3498 | 95.9543
3497 | 95.9481
3496 | 95.9431
3495 | 95.9384
3494 | 95.9325
3493 | 95.9251
3492 | 95.9174
3491 | 95.9103
3490 | 95.9035
3489 | 95.896
3488 | 95.8872
3487 | 95.8773
3486 | 95.8668
3485 | 95.8564
3484 | 95.8464
3483 | 95.8369
3482 | 95.8269
3481 | 95.8156
3480 | 95.8032
3479 | 95.792
3478 | 95.7847
3477 | 95.782
3476 | 95.7811
3475 | 95.7779
3474 | 95.7706
3473 | 95.7601
3472 | 95.7489
3471 | 95.7382
3470 | 95.728
3469 | 95.7178
3468 | 95.7069
3467 | 95.6945
3466 | 95.6813
3465 | 95.6691
3464 | 95.6591
3463 | 95.6495
3462 | 95.6372
3461 | 95.6219
3460 | 95.6059
3459 | 95.5914
3458 | 95.5783
3457 | 95.5651
3456 | 95.5514
3455 | 95.5387
3454 | 95.5282
3453 | 95.52
3452 | 95.5127
3451 | 95.5052
3450 | 95.4965
3449 | 95.4856
3448 | 95.4707
3447 | 95.4513
3446 | 95.4292
3445 | 95.408
3444 | 95.3898
3443 | 95.3748
3442 | 95.3617
3441 | 95.35
3440 | 95.339
3439 | 95.3277
3438 | 95.315
3437 | 95.3002
3436 | 95.2833
3435 | 95.2645
3434 | 95.2443
3433 | 95.2243
3432 | 95.2064
3431 | 95.1914
3430 | 95.1781
3429 | 95.1645
3428 | 95.1496
3427 | 95.1335
3426 | 95.117
3425 | 95.1005
3424 | 95.0842
3423 | 95.068
3422 | 95.0511
3421 | 95.033
3420 | 95.0142
3419 | 94.996
3418 | 94.9799
3417 | 94.9656
3416 | 94.9524
3415 | 94.9397
3414 | 94.9274
3413 | 94.9148
3412 | 94.9002
3411 | 94.8828
3410 | 94.8644
3409 | 94.8481
3408 | 94.8362
3407 | 94.8285
3406 | 94.8229
3405 | 94.8168
3404 | 94.8087
3403 | 94.7988
3402 | 94.7888
3401 | 94.7807
3400 | 94.7748
3399 | 94.7692
3398 | 94.7618
3397 | 94.7523
3396 | 94.7425
3395 | 94.7346
3394 | 94.7291
3393 | 94.7245
3392 | 94.7196
3391 | 94.7149
3390 | 94.7128
3389 | 94.7148
3388 | 94.7191
3387 | 94.7214
3386 | 94.7188
3385 | 94.7124
3384 | 94.7067
3383 | 94.7051
3382 | 94.7074
3381 | 94.7099
3380 | 94.7088
3379 | 94.7036
3378 | 94.6968
3377 | 94.6919
3376 | 94.6899
3375 | 94.6893
3374 | 94.6883
3373 | 94.6869
3372 | 94.6868
3371 | 94.6891
3370 | 94.6928
3369 | 94.6959
3368 | 94.6966
3367 | 94.6935
3366 | 94.6867
3365 | 94.6785
3364 | 94.6718
3363 | 94.6681
3362 | 94.6656
3361 | 94.6617
3360 | 94.6552
3359 | 94.6476
3358 | 94.6411
3357 | 94.6368
3356 | 94.6337
3355 | 94.6303
3354 | 94.6262
3353 | 94.6227
3352 | 94.6201
3351 | 94.6176
3350 | 94.6135
3349 | 94.6081
3348 | 94.6032
3347 | 94.5997
3346 | 94.5977
3345 | 94.5962
3344 | 94.5946
3343 | 94.5917
3342 | 94.5864
3341 | 94.5789
3340 | 94.571
3339 | 94.5656
3338 | 94.5638
3337 | 94.5641
3336 | 94.5639
3335 | 94.5617
3334 | 94.5584
3333 | 94.556
3332 | 94.5557
3331 | 94.5569
3330 | 94.5593
3329 | 94.5624
3328 | 94.5656
3327 | 94.5672
3326 | 94.565
3325 | 94.5596
3324 | 94.5535
3323 | 94.5494
3322 | 94.5478
3321 | 94.5475
3320 | 94.547
3319 | 94.5454
3318 | 94.5428
3317 | 94.5395
3316 | 94.5368
3315 | 94.5354
3314 | 94.5346
3313 | 94.5323
3312 | 94.5274
3311 | 94.5203
3310 | 94.5125
3309 | 94.505
3308 | 94.498
3307 | 94.4919
3306 | 94.4872
3305 | 94.4834
3304 | 94.4784
3303 | 94.4706
3302 | 94.4608
3301 | 94.4515
3300 | 94.444
3299 | 94.4376
3298 | 94.4309
3297 | 94.4236
3296 | 94.4159
3295 | 94.4077
3294 | 94.3988
3293 | 94.3896
3292 | 94.381
3291 | 94.3736
3290 | 94.3671
3289 | 94.3608
3288 | 94.3542
3287 | 94.3468
3286 | 94.3383
3285 | 94.3292
3284 | 94.321
3283 | 94.3148
3282 | 94.3105
3281 | 94.3064
3280 | 94.3011
3279 | 94.2949
3278 | 94.2899
3277 | 94.288
3276 | 94.2888
3275 | 94.2896
3274 | 94.2886
3273 | 94.2859
3272 | 94.2827
3271 | 94.279
3270 | 94.2745
3269 | 94.2694
3268 | 94.2652
3267 | 94.2637
3266 | 94.2653
3265 | 94.2682
3264 | 94.2701
3263 | 94.2701
3262 | 94.2698
3261 | 94.2712
3260 | 94.2745
3259 | 94.2786
3258 | 94.2826
3257 | 94.2867
3256 | 94.2913
3255 | 94.2956
3254 | 94.2992
3253 | 94.3029
3252 | 94.3077
3251 | 94.3138
3250 | 94.3211
3249 | 94.3303
3248 | 94.341
3247 | 94.3517
3246 | 94.361
3245 | 94.3699
3244 | 94.3804
3243 | 94.3935
3242 | 94.4082
3241 | 94.4228
3240 | 94.4364
3239 | 94.4482
3238 | 94.4588
3237 | 94.4705
3236 | 94.4861
3235 | 94.5061
3234 | 94.5279
3233 | 94.5482
3232 | 94.5653
3231 | 94.5796
3230 | 94.5924
3229 | 94.6053
3228 | 94.6198
3227 | 94.6366
3226 | 94.6561
3225 | 94.6778
3224 | 94.7006
3223 | 94.7223
3222 | 94.7418
3221 | 94.7597
3220 | 94.778
3219 | 94.798
3218 | 94.8196
3217 | 94.8421
3216 | 94.8647
3215 | 94.8858
3214 | 94.9043
3213 | 94.9205
3212 | 94.937
3211 | 94.9564
3210 | 94.9791
3209 | 95.0034
3208 | 95.027
3207 | 95.048
3206 | 95.0661
3205 | 95.0827
3204 | 95.1002
3203 | 95.12
3202 | 95.1415
3201 | 95.1627
3200 | 95.1826
3199 | 95.2016
3198 | 95.2213
3197 | 95.2428
3196 | 95.2658
3195 | 95.2893
3194 | 95.313
3193 | 95.3377
3192 | 95.3649
3191 | 95.3937
3190 | 95.4212
3189 | 95.444
3188 | 95.4619
3187 | 95.478
3186 | 95.4954
3185 | 95.5152
3184 | 95.5359
3183 | 95.5563
3182 | 95.5773
3181 | 95.6005
3180 | 95.6261
3179 | 95.6528
3178 | 95.679
3177 | 95.7043
3176 | 95.729
3175 | 95.7527
3174 | 95.7757
3173 | 95.7995
3172 | 95.8259
3171 | 95.8548
3170 | 95.884
3169 | 95.9112
3168 | 95.9356
3167 | 95.9584
3166 | 95.981
3165 | 96.0046
3164 | 96.0298
3163 | 96.0565
3162 | 96.0834
3161 | 96.1089
3160 | 96.1325
3159 | 96.1555
3158 | 96.1794
3157 | 96.2048
3156 | 96.231
3155 | 96.258
3154 | 96.2862
3153 | 96.3158
3152 | 96.3452
3151 | 96.3728
3150 | 96.3988
3149 | 96.4252
3148 | 96.4534
3147 | 96.4818
3146 | 96.5077
3145 | 96.5308
3144 | 96.5538
3143 | 96.5802
3142 | 96.6105
3141 | 96.6431
3140 | 96.675
3139 | 96.7044
3138 | 96.731
3137 | 96.7564
3136 | 96.783
3135 | 96.8121
3134 | 96.843
3133 | 96.8734
3132 | 96.9019
3131 | 96.9292
3130 | 96.9568
3129 | 96.9854
3128 | 97.0142
3127 | 97.0421
3126 | 97.0695
3125 | 97.0979
3124 | 97.1274
3123 | 97.1568
3122 | 97.1846
3121 | 97.2109
3120 | 97.2369
3119 | 97.2639
3118 | 97.2917
3117 | 97.3188
3116 | 97.3437
3115 | 97.3656
3114 | 97.3852
3113 | 97.4052
3112 | 97.4287
3111 | 97.4569
3110 | 97.4877
3109 | 97.5175
3108 | 97.5441
3107 | 97.5683
3106 | 97.5925
3105 | 97.6178
3104 | 97.6436
3103 | 97.6687
3102 | 97.6926
3101 | 97.7158
3100 | 97.7382
3099 | 97.7595
3098 | 97.7793
3097 | 97.7977
3096 | 97.8157
3095 | 97.8344
3094 | 97.8545
3093 | 97.8763
3092 | 97.8989
3091 | 97.9212
3090 | 97.9423
3089 | 97.9625
3088 | 97.9825
3087 | 98.0033
3086 | 98.0244
3085 | 98.045
3084 | 98.0645
3083 | 98.0834
3082 | 98.1016
3081 | 98.1183
3080 | 98.1329
3079 | 98.1457
3078 | 98.1576
3077 | 98.1685
3076 | 98.1778
3075 | 98.1863
3074 | 98.1954
3073 | 98.2064
3072 | 98.2193
3071 | 98.2336
3070 | 98.25
3069 | 98.2685
3068 | 98.2873
3067 | 98.3028
3066 | 98.3129
3065 | 98.3192
3064 | 98.326
3063 | 98.3363
3062 | 98.3494
3061 | 98.3626
3060 | 98.3741
3059 | 98.3844
3058 | 98.3943
3057 | 98.4036
3056 | 98.412
3055 | 98.42
3054 | 98.4295
3053 | 98.441
3052 | 98.453
3051 | 98.4632
3050 | 98.4702
3049 | 98.4743
3048 | 98.4771
3047 | 98.4805
3046 | 98.4859
3045 | 98.4935
3044 | 98.5027
3043 | 98.5129
3042 | 98.5235
3041 | 98.5334
3040 | 98.5415
3039 | 98.5477
3038 | 98.5531
3037 | 98.5585
3036 | 98.5638
3035 | 98.5683
3034 | 98.5721
3033 | 98.5761
3032 | 98.5805
3031 | 98.5845
3030 | 98.5878
3029 | 98.5914
3028 | 98.5967
3027 | 98.6034
3026 | 98.61
3025 | 98.6159
3024 | 98.6221
3023 | 98.63
3022 | 98.6393
3021 | 98.6481
3020 | 98.6552
3019 | 98.6605
3018 | 98.6652
3017 | 98.67
3016 | 98.6749
3015 | 98.6792
3014 | 98.6827
3013 | 98.6854
3012 | 98.6874
3011 | 98.6883
3010 | 98.6873
3009 | 98.6843
3008 | 98.6809
3007 | 98.6791
3006 | 98.6801
3005 | 98.6838
3004 | 98.6891
3003 | 98.6946
3002 | 98.6998
3001 | 98.7045
3000 | 98.7087
2999 | 98.7125
2998 | 98.715
2997 | 98.7157
2996 | 98.7146
2995 | 98.7128
2994 | 98.711
2993 | 98.7095
2992 | 98.7083
2991 | 98.7074
2990 | 98.7069
2989 | 98.7064
2988 | 98.7049
2987 | 98.7013
2986 | 98.6953
2985 | 98.6882
2984 | 98.6823
2983 | 98.679
2982 | 98.6776
2981 | 98.6757
2980 | 98.6709
2979 | 98.662
2978 | 98.6493
2977 | 98.6345
2976 | 98.6203
2975 | 98.6086
2974 | 98.5987
2973 | 98.5878
2972 | 98.5735
2971 | 98.5571
2970 | 98.5426
2969 | 98.532
2968 | 98.5233
2967 | 98.5121
2966 | 98.4969
2965 | 98.4798
2964 | 98.4639
2963 | 98.4502
2962 | 98.4375
2961 | 98.4251
2960 | 98.413
2959 | 98.4018
2958 | 98.3921
2957 | 98.3848
2956 | 98.3804
2955 | 98.3778
2954 | 98.3744
2953 | 98.3685
2952 | 98.3608
2951 | 98.3536
2950 | 98.3483
2949 | 98.3446
2948 | 98.341
2947 | 98.3359
2946 | 98.3285
2945 | 98.3188
2944 | 98.3073
2943 | 98.2938
2942 | 98.2779
2941 | 98.26
2940 | 98.242
2939 | 98.226
2938 | 98.2137
2937 | 98.2043
2936 | 98.1958
2935 | 98.1864
2934 | 98.1759
2933 | 98.1659
2932 | 98.1576
2931 | 98.1496
2930 | 98.1388
2929 | 98.123
2928 | 98.104
2927 | 98.0853
2926 | 98.0692
2925 | 98.0551
2924 | 98.0421
2923 | 98.0312
2922 | 98.0248
2921 | 98.0246
2920 | 98.03
2919 | 98.0397
2918 | 98.0539
2917 | 98.0741
2916 | 98.102
2915 | 98.1365
2914 | 98.1745
2913 | 98.2117
2912 | 98.245
2911 | 98.273
2910 | 98.2956
2909 | 98.314
2908 | 98.329
2907 | 98.3417
2906 | 98.3526
2905 | 98.3619
2904 | 98.3694
2903 | 98.3743
2902 | 98.3772
2901 | 98.3798
2900 | 98.3839
2899 | 98.3898
2898 | 98.3965
2897 | 98.4029
2896 | 98.4088
2895 | 98.4147
2894 | 98.4215
2893 | 98.4294
2892 | 98.4381
2891 | 98.446
2890 | 98.4519
2889 | 98.4563
2888 | 98.4614
2887 | 98.4687
2886 | 98.4778
2885 | 98.4869
2884 | 98.495
2883 | 98.5018
2882 | 98.5066
2881 | 98.509
2880 | 98.5098
2879 | 98.5111
2878 | 98.5148
2877 | 98.521
2876 | 98.529
2875 | 98.5376
2874 | 98.5451
2873 | 98.5503
2872 | 98.554
2871 | 98.5587
2870 | 98.5665
2869 | 98.5769
2868 | 98.588
2867 | 98.5983
2866 | 98.6074
2865 | 98.6159
2864 | 98.6242
2863 | 98.6317
2862 | 98.6376
2861 | 98.6408
2860 | 98.6415
2859 | 98.641
2858 | 98.64
2857 | 98.6383
2856 | 98.6354
2855 | 98.631
2854 | 98.6252
2853 | 98.618
2852 | 98.6116
2851 | 98.6116
2850 | 98.6248
2849 | 98.655
2848 | 98.6993
2847 | 98.7504
2846 | 98.7997
2845 | 98.842
2844 | 98.8763
2843 | 98.9045
2842 | 98.9289
2841 | 98.9499
2840 | 98.9677
2839 | 98.983
2838 | 98.9972
2837 | 99.0108
2836 | 99.0231
2835 | 99.0335
2834 | 99.042
2833 | 99.0492
2832 | 99.0562
2831 | 99.0639
2830 | 99.073
2829 | 99.0825
2828 | 99.0907
2827 | 99.0972
2826 | 99.1035
2825 | 99.1113
2824 | 99.1201
2823 | 99.1283
2822 | 99.1354
2821 | 99.142
2820 | 99.1486
2819 | 99.1545
2818 | 99.1592
2817 | 99.1634
2816 | 99.1685
2815 | 99.1745
2814 | 99.1809
2813 | 99.1871
2812 | 99.1936
2811 | 99.2007
2810 | 99.2075
2809 | 99.2126
2808 | 99.2158
2807 | 99.2175
2806 | 99.2192
2805 | 99.222
2804 | 99.2264
2803 | 99.2325
2802 | 99.2395
2801 | 99.247
2800 | 99.2548
2799 | 99.2622
2798 | 99.2685
2797 | 99.2729
2796 | 99.2759
2795 | 99.2782
2794 | 99.2808
2793 | 99.2837
2792 | 99.2867
2791 | 99.2898
2790 | 99.2935
2789 | 99.2981
2788 | 99.303
2787 | 99.3073
2786 | 99.3104
2785 | 99.3128
2784 | 99.3152
2783 | 99.3174
2782 | 99.3191
2781 | 99.3204
2780 | 99.3225
2779 | 99.3262
2778 | 99.3313
2777 | 99.3372
2776 | 99.3432
2775 | 99.3493
2774 | 99.3552
2773 | 99.3606
2772 | 99.3651
2771 | 99.368
2770 | 99.369
2769 | 99.3686
2768 | 99.3684
2767 | 99.3693
2766 | 99.3708
2765 | 99.3721
2764 | 99.3734
2763 | 99.3754
2762 | 99.3781
2761 | 99.3803
2760 | 99.3822
2759 | 99.3848
2758 | 99.3885
2757 | 99.3925
2756 | 99.3958
2755 | 99.3985
2754 | 99.4011
2753 | 99.4037
2752 | 99.4057
2751 | 99.4067
2750 | 99.407
2749 | 99.4074
2748 | 99.4084
2747 | 99.4106
2746 | 99.4136
2745 | 99.4165
2744 | 99.4184
2743 | 99.419
2742 | 99.4188
2741 | 99.4188
2740 | 99.4198
2739 | 99.4219
2738 | 99.4242
2737 | 99.426
2736 | 99.4276
2735 | 99.4295
2734 | 99.432
2733 | 99.4344
2732 | 99.4359
2731 | 99.4361
2730 | 99.4356
2729 | 99.4362
2728 | 99.4389
2727 | 99.4435
2726 | 99.4486
2725 | 99.4536
2724 | 99.4592
2723 | 99.4652
2722 | 99.4702
2721 | 99.4723
2720 | 99.4718
2719 | 99.4708
2718 | 99.4714
2717 | 99.4741
2716 | 99.4783
2715 | 99.4828
2714 | 99.4864
2713 | 99.4887
2712 | 99.4907
2711 | 99.4935
2710 | 99.4972
2709 | 99.5006
2708 | 99.5025
2707 | 99.5033
2706 | 99.5036
2705 | 99.5034
2704 | 99.5034
2703 | 99.5044
2702 | 99.5071
2701 | 99.5108
2700 | 99.5142
2699 | 99.5168
2698 | 99.5188
2697 | 99.5209
2696 | 99.5231
2695 | 99.5255
2694 | 99.528
2693 | 99.5313
2692 | 99.5353
2691 | 99.5394
2690 | 99.5421
2689 | 99.5433
2688 | 99.544
2687 | 99.545
2686 | 99.5461
2685 | 99.5468
2684 | 99.548
2683 | 99.5507
2682 | 99.5543
2681 | 99.5571
2680 | 99.5589
2679 | 99.5608
2678 | 99.5632
2677 | 99.5653
2676 | 99.5666
2675 | 99.5681
2674 | 99.571
2673 | 99.5741
2672 | 99.5754
2671 | 99.5744
2670 | 99.5724
2669 | 99.5714
2668 | 99.5723
2667 | 99.5748
2666 | 99.5773
2665 | 99.5779
2664 | 99.5761
2663 | 99.5728
2662 | 99.5692
2661 | 99.5656
2660 | 99.5612
2659 | 99.5555
2658 | 99.548
2657 | 99.5387
2656 | 99.5279
2655 | 99.5165
2654 | 99.5058
2653 | 99.4957
2652 | 99.4849
2651 | 99.4729
2650 | 99.4606
2649 | 99.4489
2648 | 99.438
2647 | 99.4266
2646 | 99.4136
2645 | 99.3992
2644 | 99.3841
2643 | 99.3689
2642 | 99.3542
2641 | 99.3407
2640 | 99.3293
2639 | 99.3198
2638 | 99.3113
2637 | 99.3017
2636 | 99.2896
2635 | 99.2752
2634 | 99.2604
2633 | 99.247
2632 | 99.2344
2631 | 99.2213
2630 | 99.2067
2629 | 99.191
2628 | 99.1751
2627 | 99.159
2626 | 99.143
2625 | 99.128
2624 | 99.1153
2623 | 99.1047
2622 | 99.0945
2621 | 99.0835
2620 | 99.0718
2619 | 99.0601
2618 | 99.0484
2617 | 99.0357
2616 | 99.022
2615 | 99.0081
2614 | 98.995
2613 | 98.9832
2612 | 98.9718
2611 | 98.9594
2610 | 98.9458
2609 | 98.9318
2608 | 98.9189
2607 | 98.9077
2606 | 98.8977
2605 | 98.8883
2604 | 98.879
2603 | 98.8696
2602 | 98.8597
2601 | 98.8497
2600 | 98.8402
2599 | 98.8313
2598 | 98.8219
2597 | 98.8114
2596 | 98.8007
2595 | 98.7913
2594 | 98.7834
2593 | 98.7758
2592 | 98.768
2591 | 98.7604
2590 | 98.7534
2589 | 98.7455
2588 | 98.7356
2587 | 98.7246
2586 | 98.7146
2585 | 98.7075
2584 | 98.7027
2583 | 98.699
2582 | 98.6949
2581 | 98.69
2580 | 98.6843
2579 | 98.6777
2578 | 98.67
2577 | 98.6611
2576 | 98.6518
2575 | 98.643
2574 | 98.6356
2573 | 98.6299
2572 | 98.6257
2571 | 98.6219
2570 | 98.6177
2569 | 98.6125
2568 | 98.6067
2567 | 98.601
2566 | 98.5958
2565 | 98.5911
2564 | 98.5868
2563 | 98.5829
2562 | 98.5795
2561 | 98.5765
2560 | 98.5731
2559 | 98.5683
2558 | 98.5624
2557 | 98.5568
2556 | 98.5531
2555 | 98.5517
2554 | 98.5515
2553 | 98.5509
2552 | 98.5491
2551 | 98.546
2550 | 98.5421
2549 | 98.5383
2548 | 98.536
2547 | 98.5361
2546 | 98.5377
2545 | 98.5385
2544 | 98.5366
2543 | 98.5325
2542 | 98.5281
2541 | 98.5249
2540 | 98.5232
2539 | 98.5226
2538 | 98.5239
2537 | 98.5276
2536 | 98.5324
2535 | 98.5357
2534 | 98.5357
2533 | 98.5332
2532 | 98.5307
2531 | 98.5293
2530 | 98.5281
2529 | 98.5264
2528 | 98.5249
2527 | 98.5246
2526 | 98.5248
2525 | 98.5244
2524 | 98.5234
2523 | 98.5236
2522 | 98.5262
2521 | 98.5306
2520 | 98.535
2519 | 98.538
2518 | 98.5387
2517 | 98.5374
2516 | 98.5358
2515 | 98.536
2514 | 98.5387
2513 | 98.5424
2512 | 98.5448
2511 | 98.5449
2510 | 98.5437
2509 | 98.5428
2508 | 98.5433
2507 | 98.5458
2506 | 98.5498
2505 | 98.5541
2504 | 98.5578
2503 | 98.5599
2502 | 98.5602
2501 | 98.5596
2500 | 98.5595
2499 | 98.5614
2498 | 98.565
2497 | 98.5689
2496 | 98.5725
2495 | 98.5757
2494 | 98.5781
2493 | 98.5796
2492 | 98.581
2491 | 98.5842
2490 | 98.5895
2489 | 98.595
2488 | 98.599
2487 | 98.6012
2486 | 98.6028
2485 | 98.6043
2484 | 98.606
2483 | 98.6085
2482 | 98.6124
2481 | 98.6173
2480 | 98.6217
2479 | 98.6251
2478 | 98.6275
2477 | 98.6294
2476 | 98.6315
2475 | 98.635
2474 | 98.6411
2473 | 98.6491
2472 | 98.657
2471 | 98.663
2470 | 98.6674
2469 | 98.6713
2468 | 98.6753
2467 | 98.6794
2466 | 98.6835
2465 | 98.6874
2464 | 98.6907
2463 | 98.6927
2462 | 98.6935
2461 | 98.6933
2460 | 98.6931
2459 | 98.6936
2458 | 98.6941
2457 | 98.6928
2456 | 98.6881
2455 | 98.6818
2454 | 98.6776
2453 | 98.6775
2452 | 98.6792
2451 | 98.679
2450 | 98.676
2449 | 98.6727
2448 | 98.6716
2447 | 98.6729
2446 | 98.6751
2445 | 98.6772
2444 | 98.6791
2443 | 98.6813
2442 | 98.6844
2441 | 98.6889
2440 | 98.6944
2439 | 98.6998
2438 | 98.7041
2437 | 98.7082
2436 | 98.7139
2435 | 98.7213
2434 | 98.7284
2433 | 98.7332
2432 | 98.736
2431 | 98.7393
2430 | 98.7446
2429 | 98.7515
2428 | 98.7587
2427 | 98.7658
2426 | 98.7727
2425 | 98.7793
2424 | 98.7858
2423 | 98.7929
2422 | 98.8015
2421 | 98.8112
2420 | 98.8205
2419 | 98.828
2418 | 98.8334
2417 | 98.8382
2416 | 98.8442
2415 | 98.8522
2414 | 98.8615
2413 | 98.8706
2412 | 98.8791
2411 | 98.8883
2410 | 98.8987
2409 | 98.9096
2408 | 98.9197
2407 | 98.9293
2406 | 98.9394
2405 | 98.9506
2404 | 98.9626
2403 | 98.9754
2402 | 98.9887
2401 | 99.0013
2400 | 99.0124
2399 | 99.0232
2398 | 99.0355
2397 | 99.0498
2396 | 99.0639
2395 | 99.0757
2394 | 99.0854
2393 | 99.0951
2392 | 99.107
2391 | 99.1211
2390 | 99.1358
2389 | 99.1497
2388 | 99.1627
2387 | 99.1752
2386 | 99.1869
2385 | 99.1963
2384 | 99.2041
2383 | 99.2139
2382 | 99.2304
2381 | 99.2561
2380 | 99.2889
2379 | 99.3257
2378 | 99.3653
2377 | 99.4058
2376 | 99.4443
2375 | 99.476
2374 | 99.4984
2373 | 99.511
2372 | 99.5106
2371 | 99.4986
2370 | 99.4695
2369 | 99.4674
2368 | 99.4066
2367 | 99.4444
2366 | 99.2975
2365 | 99.5089
2364 | 98.6173
2363 | 97.8979
2362 | 98.1336
2361 | 98.0277
2360 | 98.1235
2359 | 98.1258
2358 | 98.1903
2357 | 98.2374
2356 | 98.3099
2355 | 98.3967
2354 | 98.4949
2353 | 98.5963
2352 | 98.6888
2351 | 98.7559
2350 | 98.7827
2349 | 98.7645
2348 | 98.7092
2347 | 98.635
2346 | 98.5651
2345 | 98.5196
2344 | 98.5039
2343 | 98.5083
2342 | 98.5313
2341 | 98.5428
2340 | 98.5943
2339 | 98.5779
2338 | 98.6858
2337 | 98.5552
2336 | 99.1412
2335 | 99.6509
2334 | 99.5394
2333 | 99.6804
2332 | 99.6761
2331 | 99.7229
2330 | 99.7105
2329 | 99.6955
2328 | 99.6809
2327 | 99.6699
2326 | 99.6838
2325 | 99.6864
2324 | 99.6675
2323 | 99.6287
2322 | 99.5824
2321 | 99.5499
2320 | 99.5146
2319 | 99.4817
2318 | 99.4416
2317 | 99.4112
2316 | 99.3856
2315 | 99.3638
2314 | 99.3343
2313 | 99.2961
2312 | 99.2536
2311 | 99.2111
2310 | 99.1746
2309 | 99.1414
2308 | 99.1139
2307 | 99.0891
2306 | 99.068
2305 | 99.0458
2304 | 99.0203
2303 | 98.9926
2302 | 98.9643
2301 | 98.9361
2300 | 98.9071
2299 | 98.8768
2298 | 98.8473
2297 | 98.8182
2296 | 98.7912
2295 | 98.7629
2294 | 98.7355
2293 | 98.7064
2292 | 98.6768
2291 | 98.6442
2290 | 98.6107
2289 | 98.5756
2288 | 98.5388
2287 | 98.4986
2286 | 98.4558
2285 | 98.413
2284 | 98.3726
2283 | 98.3349
2282 | 98.2976
2281 | 98.2591
2280 | 98.2187
2279 | 98.1786
2278 | 98.1413
2277 | 98.1091
2276 | 98.0806
2275 | 98.0524
2274 | 98.0225
2273 | 97.9918
2272 | 97.9624
2271 | 97.9349
2270 | 97.9087
2269 | 97.8832
2268 | 97.8588
2267 | 97.8361
2266 | 97.8151
2265 | 97.7948
2264 | 97.7743
2263 | 97.752
2262 | 97.7289
2261 | 97.7058
2260 | 97.6832
2259 | 97.6603
2258 | 97.6353
2257 | 97.6086
2256 | 97.5822
2255 | 97.5596
2254 | 97.543
2253 | 97.532
2252 | 97.5239
2251 | 97.5153
2250 | 97.5033
2249 | 97.4857
2248 | 97.4623
2247 | 97.4359
2246 | 97.4117
2245 | 97.3929
2244 | 97.3782
2243 | 97.3634
2242 | 97.3457
2241 | 97.3246
2240 | 97.301
2239 | 97.2768
2238 | 97.2547
2237 | 97.2356
2236 | 97.2171
2235 | 97.196
2234 | 97.1727
2233 | 97.1509
2232 | 97.1325
2231 | 97.1158
2230 | 97.0981
2229 | 97.0786
2228 | 97.0582
2227 | 97.0384
2226 | 97.0204
2225 | 97.0037
2224 | 96.9857
2223 | 96.9646
2222 | 96.9414
2221 | 96.9194
2220 | 96.9001
2219 | 96.8831
2218 | 96.8677
2217 | 96.8534
2216 | 96.8386
2215 | 96.8222
2214 | 96.8051
2213 | 96.7895
2212 | 96.776
2211 | 96.7632
2210 | 96.7494
2209 | 96.7335
2208 | 96.7145
2207 | 96.6937
2206 | 96.6754
2205 | 96.6627
2204 | 96.6528
2203 | 96.6401
2202 | 96.622
2201 | 96.6007
2200 | 96.5793
2199 | 96.5596
2198 | 96.5436
2197 | 96.5321
2196 | 96.5218
2195 | 96.5072
2194 | 96.486
2193 | 96.4602
2192 | 96.4317
2191 | 96.4002
2190 | 96.3672
2189 | 96.3366
2188 | 96.3105
2187 | 96.2866
2186 | 96.2612
2185 | 96.2333
2184 | 96.2043
2183 | 96.1767
2182 | 96.1548
2181 | 96.1426
2180 | 96.1388
2179 | 96.1378
2178 | 96.1344
2177 | 96.1276
2176 | 96.1181
2175 | 96.1067
2174 | 96.0962
2173 | 96.0896
2172 | 96.085
2171 | 96.0753
2170 | 96.0538
2169 | 96.0196
2168 | 95.9752
2167 | 95.9235
2166 | 95.8664
2165 | 95.8057
2164 | 95.7407
2163 | 95.6689
2162 | 95.591
2161 | 95.5168
2160 | 95.4646
2159 | 95.4549
2158 | 95.4983
2157 | 95.587
2156 | 95.698
2155 | 95.8095
2154 | 95.9126
2153 | 96.0071
2152 | 96.0916
2151 | 96.1631
2150 | 96.2218
2149 | 96.2723
2148 | 96.3204
2147 | 96.3714
2146 | 96.429
2145 | 96.4935
2144 | 96.5602
2143 | 96.6242
2142 | 96.6845
2141 | 96.7423
2140 | 96.7975
2139 | 96.8495
2138 | 96.8997
2137 | 96.9523
2136 | 97.0111
2135 | 97.0784
2134 | 97.1542
2133 | 97.2364
2132 | 97.3202
2131 | 97.4011
2130 | 97.4756
2129 | 97.5413
2128 | 97.5976
2127 | 97.6469
2126 | 97.6924
2125 | 97.7342
2124 | 97.7696
2123 | 97.7972
2122 | 97.8193
2121 | 97.8391
2120 | 97.8577
2119 | 97.8751
2118 | 97.8913
2117 | 97.9048
2116 | 97.9125
2115 | 97.9126
2114 | 97.9067
2113 | 97.8988
2112 | 97.8918
2111 | 97.8867
2110 | 97.8833
2109 | 97.8797
2108 | 97.8741
2107 | 97.8666
2106 | 97.8601
2105 | 97.8573
2104 | 97.8576
2103 | 97.8574
2102 | 97.8539
2101 | 97.8468
2100 | 97.8384
2099 | 97.8318
2098 | 97.8289
2097 | 97.8298
2096 | 97.8337
2095 | 97.8416
2094 | 97.8552
2093 | 97.8734
2092 | 97.8904
2091 | 97.9015
2090 | 97.906
2089 | 97.9067
2088 | 97.9049
2087 | 97.9004
2086 | 97.8926
2085 | 97.8819
2084 | 97.8684
2083 | 97.8531
2082 | 97.8377
2081 | 97.8233
2080 | 97.8077
2079 | 97.7868
2078 | 97.7587
2077 | 97.7254
2076 | 97.6918
2075 | 97.6616
2074 | 97.6354
2073 | 97.6117
2072 | 97.5896
2071 | 97.5707
2070 | 97.5554
2069 | 97.5399
2068 | 97.5189
2067 | 97.4927
2066 | 97.4676
2065 | 97.4496
2064 | 97.4379
2063 | 97.4279
2062 | 97.4164
2061 | 97.4024
2060 | 97.3843
2059 | 97.3613
2058 | 97.3347
2057 | 97.3065
2056 | 97.2765
2055 | 97.2442
2054 | 97.2091
2053 | 97.1675
2052 | 97.1112
2051 | 97.036
2050 | 96.9497
2049 | 96.868
2048 | 96.8006
2047 | 96.7464
2046 | 96.7017
2045 | 96.6655
2044 | 96.6356
2043 | 96.6057
2042 | 96.5704
2041 | 96.5301
2040 | 96.4869
2039 | 96.4418
2038 | 96.3954
2037 | 96.3494
2036 | 96.3052
2035 | 96.2649
2034 | 96.2336
2033 | 96.2163
2032 | 96.2106
2031 | 96.2088
2030 | 96.2059
2029 | 96.2034
2028 | 96.2044
2027 | 96.2101
2026 | 96.2199
2025 | 96.2322
2024 | 96.2436
2023 | 96.2524
2022 | 96.2605
2021 | 96.27
2020 | 96.2798
2019 | 96.2892
2018 | 96.3017
2017 | 96.3198
2016 | 96.3386
2015 | 96.3518
2014 | 96.361
2013 | 96.3732
2012 | 96.3894
2011 | 96.4045
2010 | 96.4148
2009 | 96.4221
2008 | 96.4311
2007 | 96.4495
2006 | 96.4862
2005 | 96.5432
2004 | 96.6097
2003 | 96.671
2002 | 96.7217
2001 | 96.7646
2000 | 96.8015
1999 | 96.8309
1998 | 96.8526
1997 | 96.8681
1996 | 96.8777
1995 | 96.8808
1994 | 96.8795
1993 | 96.8771
1992 | 96.8744
1991 | 96.8702
1990 | 96.8644
1989 | 96.8573
1988 | 96.8465
1987 | 96.8298
1986 | 96.8088
1985 | 96.7871
1984 | 96.7637
1983 | 96.7315
1982 | 96.6832
1981 | 96.6168
1980 | 96.538
1979 | 96.4618
1978 | 96.4074
1977 | 96.3872
1976 | 96.3978
1975 | 96.4264
1974 | 96.4633
1973 | 96.5033
1972 | 96.5419
1971 | 96.5774
1970 | 96.6128
1969 | 96.6518
1968 | 96.693
1967 | 96.7336
1966 | 96.7748
1965 | 96.819
1964 | 96.8623
1963 | 96.8989
1962 | 96.9312
1961 | 96.9699
1960 | 97.0236
1959 | 97.0907
1958 | 97.1621
1957 | 97.2295
1956 | 97.2901
1955 | 97.3456
1954 | 97.3988
1953 | 97.4499
1952 | 97.4974
1951 | 97.5407
1950 | 97.5821
1949 | 97.6229
1948 | 97.6612
1947 | 97.695
1946 | 97.7261
1945 | 97.7601
1944 | 97.8008
1943 | 97.8477
1942 | 97.8958
1941 | 97.9381
1940 | 97.9714
1939 | 97.9995
1938 | 98.0292
1937 | 98.0642
1936 | 98.1034
1935 | 98.1441
1934 | 98.1835
1933 | 98.2198
1932 | 98.2523
1931 | 98.2831
1930 | 98.3162
1929 | 98.3522
1928 | 98.3876
1927 | 98.4194
1926 | 98.4493
1925 | 98.4813
1924 | 98.517
1923 | 98.5535
1922 | 98.5857
1921 | 98.6093
1920 | 98.626
1919 | 98.6433
1918 | 98.6669
1917 | 98.6943
1916 | 98.7174
1915 | 98.7345
1914 | 98.751
1913 | 98.7701
1912 | 98.7898
1911 | 98.8082
1910 | 98.8274
1909 | 98.8486
1908 | 98.8698
1907 | 98.8891
1906 | 98.9072
1905 | 98.9244
1904 | 98.9391
1903 | 98.9522
1902 | 98.9681
1901 | 98.9877
1900 | 99.0069
1899 | 99.0224
1898 | 99.0353
1897 | 99.0486
1896 | 99.0631
1895 | 99.0793
1894 | 99.0978
1893 | 99.1172
1892 | 99.1352
1891 | 99.1531
1890 | 99.1732
1889 | 99.1937
1888 | 99.2092
1887 | 99.2192
1886 | 99.2298
1885 | 99.2447
1884 | 99.2613
1883 | 99.2762
1882 | 99.2901
1881 | 99.3033
1880 | 99.315
1879 | 99.3267
1878 | 99.3416
1877 | 99.3597
1876 | 99.377
1875 | 99.3905
1874 | 99.4007
1873 | 99.4072
1872 | 99.4092
1871 | 99.4112
1870 | 99.4229
1869 | 99.4485
1868 | 99.4792
1867 | 99.5018
1866 | 99.5135
1865 | 99.5194
1864 | 99.5228
1863 | 99.5262
1862 | 99.5327
1861 | 99.5438
1860 | 99.5565
1859 | 99.568
1858 | 99.5792
1857 | 99.5913
1856 | 99.6028
1855 | 99.6133
1854 | 99.6255
1853 | 99.6393
1852 | 99.6508
1851 | 99.6593
1850 | 99.6672
1849 | 99.6742
1848 | 99.6765
1847 | 99.6747
1846 | 99.6784
1845 | 99.6982
1844 | 99.7322
1843 | 99.7649
1842 | 99.783
1841 | 99.7884
1840 | 99.7913
1839 | 99.7985
1838 | 99.8096
1837 | 99.8214
1836 | 99.8308
1835 | 99.8369
1834 | 99.8394
1833 | 99.8383
1832 | 99.8394
1831 | 99.8512
1830 | 99.8744
1829 | 99.8986
1828 | 99.9119
1827 | 99.9151
1826 | 99.9183
1825 | 99.9278
1824 | 99.9403
1823 | 99.9488
1822 | 99.9529
1821 | 99.9578
1820 | 99.9669
1819 | 99.9803
1818 | 99.998
1817 | 100.0205
1816 | 100.0436
1815 | 100.0614
1814 | 100.0727
1813 | 100.0821
1812 | 100.094
1811 | 100.1078
1810 | 100.1212
1809 | 100.1325
1808 | 100.1397
1807 | 100.1428
1806 | 100.1456
1805 | 100.1514
1804 | 100.1577
1803 | 100.1614
1802 | 100.1638
1801 | 100.1688
1800 | 100.1772
1799 | 100.1841
1798 | 100.1865
1797 | 100.1838
1796 | 100.1764
1795 | 100.1684
1794 | 100.1679
1793 | 100.1805
1792 | 100.2021
1791 | 100.2208
1790 | 100.2289
1789 | 100.2275
1788 | 100.2215
1787 | 100.2157
1786 | 100.2144
1785 | 100.2183
1784 | 100.2223
1783 | 100.2232
1782 | 100.2226
1781 | 100.2231
1780 | 100.2248
1779 | 100.2257
1778 | 100.2251
1777 | 100.223
1776 | 100.2191
1775 | 100.2156
1774 | 100.2168
1773 | 100.226
1772 | 100.2411
1771 | 100.2525
1770 | 100.2519
1769 | 100.2438
1768 | 100.2367
1767 | 100.2316
1766 | 100.223
1765 | 100.2089
1764 | 100.1957
1763 | 100.1898
1762 | 100.1902
1761 | 100.1904
1760 | 100.185
1759 | 100.1746
1758 | 100.1651
1757 | 100.1579
1756 | 100.1509
1755 | 100.1407
1754 | 100.1265
1753 | 100.112
1752 | 100.1026
1751 | 100.0994
1750 | 100.0975
1749 | 100.0909
1748 | 100.0803
1747 | 100.0708
1746 | 100.0619
1745 | 100.0503
1744 | 100.0373
1743 | 100.0251
1742 | 100.0143
1741 | 100.0065
1740 | 100.0039
1739 | 100.0018
1738 | 99.9905
1737 | 99.9708
1736 | 99.9572
1735 | 99.9626
1734 | 99.9848
1733 | 100.002
1732 | 99.9946
1731 | 99.9724
1730 | 99.9562
1729 | 99.9494
1728 | 99.9473
1727 | 99.9464
1726 | 99.9457
1725 | 99.9439
1724 | 99.941
1723 | 99.9369
1722 | 99.9307
1721 | 99.9231
1720 | 99.9201
1719 | 99.9276
1718 | 99.9426
1717 | 99.9574
1716 | 99.9623
1715 | 99.9551
1714 | 99.9466
1713 | 99.9421
1712 | 99.9357
1711 | 99.925
1710 | 99.9139
1709 | 99.9034
1708 | 99.8921
1707 | 99.8819
1706 | 99.8739
1705 | 99.8634
1704 | 99.8417
1703 | 99.8095
1702 | 99.7772
1701 | 99.7572
1700 | 99.7546
1699 | 99.7544
1698 | 99.743
1697 | 99.7243
1696 | 99.6981
1695 | 99.6628
1694 | 99.6186
1693 | 99.5675
1692 | 99.5179
1691 | 99.4712
1690 | 99.4231
1689 | 99.3711
1688 | 99.3224
1687 | 99.285
1686 | 99.2565
1685 | 99.2193
1684 | 99.1602
1683 | 99.1045
1682 | 99.0663
1681 | 99.0323
1680 | 98.9986
1679 | 98.9671
1678 | 98.9409
1677 | 98.9164
1676 | 98.8873
1675 | 98.8533
1674 | 98.8185
1673 | 98.7829
1672 | 98.7465
1671 | 98.7088
1670 | 98.6657
1669 | 98.617
1668 | 98.5721
1667 | 98.5372
1666 | 98.5093
1665 | 98.4823
1664 | 98.4499
1663 | 98.4103
1662 | 98.3697
1661 | 98.3336
1660 | 98.3023
1659 | 98.276
1658 | 98.2535
1657 | 98.2363
1656 | 98.2295
1655 | 98.2355
1654 | 98.2276
1653 | 98.1842
1652 | 98.1445
1651 | 98.1214
1650 | 98.1046
1649 | 98.1029
1648 | 98.1014
1647 | 98.0842
1646 | 98.0628
1645 | 98.0558
1644 | 98.0556
1643 | 98.0576
1642 | 98.0632
1641 | 98.0688
1640 | 98.0723
1639 | 98.0774
1638 | 98.0895
1637 | 98.1022
1636 | 98.1014
1635 | 98.0949
1634 | 98.0979
1633 | 98.1056
1632 | 98.1122
1631 | 98.1189
1630 | 98.1264
1629 | 98.1314
1628 | 98.1281
1627 | 98.1191
1626 | 98.111
1625 | 98.105
1624 | 98.0959
1623 | 98.0844
1622 | 98.081
1621 | 98.0917
1620 | 98.1163
1619 | 98.157
1618 | 98.2134
1617 | 98.2756
1616 | 98.3305
1615 | 98.3743
1614 | 98.4114
1613 | 98.4478
1612 | 98.4841
1611 | 98.5192
1610 | 98.5522
1609 | 98.5807
1608 | 98.6016
1607 | 98.6171
1606 | 98.6316
1605 | 98.6446
1604 | 98.654
1603 | 98.6591
1602 | 98.6608
1601 | 98.6602
1600 | 98.6582
1599 | 98.6559
1598 | 98.6538
1597 | 98.6515
1596 | 98.6496
1595 | 98.6509
1594 | 98.6591
1593 | 98.6744
1592 | 98.6951
1591 | 98.7204
1590 | 98.751
1589 | 98.7854
1588 | 98.8213
1587 | 98.8577
1586 | 98.8951
1585 | 98.9314
1584 | 98.9646
1583 | 98.9969
1582 | 99.0292
1581 | 99.0588
1580 | 99.0849
1579 | 99.1127
1578 | 99.1453
1577 | 99.1772
1576 | 99.1995
1575 | 99.2105
1574 | 99.2107
1573 | 99.205
1572 | 99.2025
1571 | 99.205
1570 | 99.2077
1569 | 99.2058
1568 | 99.2022
1567 | 99.2
1566 | 99.1989
1565 | 99.1967
1564 | 99.1929
1563 | 99.1923
1562 | 99.1961
1561 | 99.2003
1560 | 99.1965
1559 | 99.1688
1558 | 99.1489
1557 | 99.1551
1556 | 99.1572
1555 | 99.1586
1554 | 99.1575
1553 | 99.155
1552 | 99.1529
1551 | 99.1528
1550 | 99.1533
1549 | 99.1557
1548 | 99.1616
1547 | 99.1698
1546 | 99.1768
1545 | 99.179
1544 | 99.1801
1543 | 99.1887
1542 | 99.2111
1541 | 99.2456
1540 | 99.2825
1539 | 99.3186
1538 | 99.3426
1537 | 99.3459
1536 | 99.3445
1535 | 99.3516
1534 | 99.366
1533 | 99.3816
1532 | 99.3973
1531 | 99.4101
1530 | 99.4197
1529 | 99.4289
1528 | 99.4371
1527 | 99.4418
1526 | 99.4427
1525 | 99.443
1524 | 99.4469
1523 | 99.4532
1522 | 99.4514
1521 | 99.4359
1520 | 99.4159
1519 | 99.3965
1518 | 99.3758
1517 | 99.351
1516 | 99.326
1515 | 99.3098
1514 | 99.301
1513 | 99.2934
1512 | 99.282
1511 | 99.2654
1510 | 99.2469
1509 | 99.2322
1508 | 99.2209
1507 | 99.2103
1506 | 99.2218
1505 | 99.2509
1504 | 99.2654
1503 | 99.2698
1502 | 99.2764
1501 | 99.2906
1500 | 99.314
1499 | 99.3473
1498 | 99.386
1497 | 99.4265
1496 | 99.4674
1495 | 99.5025
1494 | 99.5265
1493 | 99.543
1492 | 99.5593
1491 | 99.576
1490 | 99.5891
1489 | 99.5994
1488 | 99.6093
1487 | 99.6156
1486 | 99.618
1485 | 99.6156
1484 | 99.6076
1483 | 99.5948
1482 | 99.576
1481 | 99.5513
1480 | 99.5244
1479 | 99.4983
1478 | 99.469
1477 | 99.4306
1476 | 99.3825
1475 | 99.3291
1474 | 99.2683
1473 | 99.1914
1472 | 99.1075
1471 | 99.0359
1470 | 98.9778
1469 | 98.9263
1468 | 98.8793
1467 | 98.8352
1466 | 98.7892
1465 | 98.7372
1464 | 98.6891
1463 | 98.6566
1462 | 98.6388
1461 | 98.632
1460 | 98.6345
1459 | 98.6413
1458 | 98.6318
1457 | 98.5982
1456 | 98.5724
1455 | 98.5705
1454 | 98.5795
1453 | 98.5958
1452 | 98.6172
1451 | 98.6404
1450 | 98.6622
1449 | 98.6817
1448 | 98.6979
1447 | 98.7122
1446 | 98.727
1445 | 98.7425
1444 | 98.7582
1443 | 98.7708
1442 | 98.7765
1441 | 98.7761
1440 | 98.7756
1439 | 98.7766
1438 | 98.7698
1437 | 98.7417
1436 | 98.6977
1435 | 98.657
1434 | 98.6242
1433 | 98.5939
1432 | 98.5612
1431 | 98.5233
1430 | 98.4803
1429 | 98.4377
1428 | 98.4039
1427 | 98.3823
1426 | 98.3669
1425 | 98.3475
1424 | 98.3261
1423 | 98.3173
1422 | 98.3279
1421 | 98.35
1420 | 98.3693
1419 | 98.3759
1418 | 98.3773
1417 | 98.39
1416 | 98.4199
1415 | 98.4609
1414 | 98.5019
1413 | 98.5362
1412 | 98.5656
1411 | 98.5932
1410 | 98.618
1409 | 98.6395
1408 | 98.6605
1407 | 98.6812
1406 | 98.6975
1405 | 98.706
1404 | 98.7129
1403 | 98.7258
1402 | 98.744
1401 | 98.7623
1400 | 98.7757
1399 | 98.7827
1398 | 98.7876
1397 | 98.7953
1396 | 98.8062
1395 | 98.8173
1394 | 98.8251
1393 | 98.8288
1392 | 98.8313
1391 | 98.8347
1390 | 98.8366
1389 | 98.8309
1388 | 98.8137
1387 | 98.7882
1386 | 98.7634
1385 | 98.7427
1384 | 98.7227
1383 | 98.6983
1382 | 98.6674
1381 | 98.6326
1380 | 98.5975
1379 | 98.5652
1378 | 98.539
1377 | 98.5196
1376 | 98.5022
1375 | 98.4791
1374 | 98.4489
1373 | 98.4216
1372 | 98.4064
1371 | 98.4033
1370 | 98.4065
1369 | 98.4102
1368 | 98.4146
1367 | 98.4243
1366 | 98.4406
1365 | 98.4596
1364 | 98.4751
1363 | 98.4842
1362 | 98.4932
1361 | 98.5106
1360 | 98.5372
1359 | 98.5674
1358 | 98.5958
1357 | 98.6194
1356 | 98.6379
1355 | 98.6521
1354 | 98.6632
1353 | 98.6722
1352 | 98.6786
1351 | 98.6806
1350 | 98.6772
1349 | 98.6679
1348 | 98.6534
1347 | 98.6337
1346 | 98.6085
1345 | 98.5783
1344 | 98.5455
1343 | 98.5114
1342 | 98.474
1341 | 98.4295
1340 | 98.3781
1339 | 98.3275
1338 | 98.2866
1337 | 98.2568
1336 | 98.2348
1335 | 98.2181
1334 | 98.2059
1333 | 98.1971
1332 | 98.19
1331 | 98.1835
1330 | 98.177
1329 | 98.1697
1328 | 98.16
1327 | 98.1465
1326 | 98.1279
1325 | 98.1028
1324 | 98.0724
1323 | 98.0399
1322 | 98.0079
1321 | 97.9767
1320 | 97.947
1319 | 97.9222
1318 | 97.9072
1317 | 97.9056
1316 | 97.9179
1315 | 97.9425
1314 | 97.977
1313 | 98.0198
1312 | 98.0711
1311 | 98.1306
1310 | 98.1956
1309 | 98.2624
1308 | 98.3291
1307 | 98.3958
1306 | 98.4626
1305 | 98.5279
1304 | 98.5907
1303 | 98.6501
1302 | 98.7047
1301 | 98.7535
1300 | 98.7965
1299 | 98.8347
1298 | 98.8678
1297 | 98.8955
1296 | 98.918
1295 | 98.9368
1294 | 98.9523
1293 | 98.964
1292 | 98.9723
1291 | 98.9781
1290 | 98.9818
1289 | 98.9826
1288 | 98.98
1287 | 98.9748
1286 | 98.9674
1285 | 98.9575
1284 | 98.9453
1283 | 98.9315
1282 | 98.9171
1281 | 98.9026
1280 | 98.8883
1279 | 98.8742
1278 | 98.8598
1277 | 98.8441
1276 | 98.827
1275 | 98.8097
1274 | 98.7937
1273 | 98.7797
1272 | 98.7681
1271 | 98.7594
1270 | 98.7531
1269 | 98.7485
1268 | 98.7453
1267 | 98.7431
1266 | 98.7408
1265 | 98.7368
1264 | 98.7308
1263 | 98.7237
1262 | 98.7162
1261 | 98.708
1260 | 98.6995
1259 | 98.6916
1258 | 98.6843
1257 | 98.6769
1256 | 98.6686
1255 | 98.6589
1254 | 98.6469
1253 | 98.6318
1252 | 98.614
1251 | 98.5949
1250 | 98.5747
1249 | 98.5532
1248 | 98.5308
1247 | 98.5097
1246 | 98.4915
1245 | 98.4768
1244 | 98.4656
1243 | 98.458
1242 | 98.4528
1241 | 98.4478
1240 | 98.4423
1239 | 98.4371
1238 | 98.4331
1237 | 98.4302
1236 | 98.4279
1235 | 98.4268
1234 | 98.4279
1233 | 98.4318
1232 | 98.4392
1231 | 98.4498
1230 | 98.463
1229 | 98.478
1228 | 98.4944
1227 | 98.5125
1226 | 98.5319
1225 | 98.5527
1224 | 98.5756
1223 | 98.6012
1222 | 98.6279
1221 | 98.653
1220 | 98.676
1219 | 98.6979
1218 | 98.7187
1217 | 98.7374
1216 | 98.7525
1215 | 98.7638
1214 | 98.7701
1213 | 98.7699
1212 | 98.7623
1211 | 98.7474
1210 | 98.7265
1209 | 98.7023
1208 | 98.6798
1207 | 98.664
1206 | 98.6577
1205 | 98.6611
1204 | 98.6737
1203 | 98.6948
1202 | 98.7228
1201 | 98.756
1200 | 98.7942
1199 | 98.8374
1198 | 98.8835
1197 | 98.9289
1196 | 98.9705
1195 | 99.007
1194 | 99.037
1193 | 99.0595
1192 | 99.0747
1191 | 99.0824
1190 | 99.0812
1189 | 99.0696
1188 | 99.0478
1187 | 99.0184
1186 | 98.9829
1185 | 98.9411
1184 | 98.892
1183 | 98.835
1182 | 98.769
1181 | 98.693
1180 | 98.6066
1179 | 98.5104
1178 | 98.4041
1177 | 98.2855
1176 | 98.1523
1175 | 98.0045
1174 | 97.8439
1173 | 97.6735
1172 | 97.4962
1171 | 97.3151
1170 | 97.133
1169 | 96.9529
1168 | 96.7798
1167 | 96.6202
1166 | 96.4795
1165 | 96.3599
1164 | 96.2631
1163 | 96.1896
1162 | 96.1369
1161 | 96.0998
1160 | 96.0743
1159 | 96.0587
1158 | 96.0505
1157 | 96.0455
1156 | 96.0409
1155 | 96.0365
1154 | 96.0307
1153 | 96.0205
1152 | 96.0055
1151 | 95.9875
1150 | 95.9669
1149 | 95.9419
1148 | 95.913
1147 | 95.8836
1146 | 95.855
1145 | 95.8254
1144 | 95.7934
1143 | 95.7597
1142 | 95.7228
1141 | 95.6778
1140 | 95.6216
1139 | 95.5547
1138 | 95.4768
1137 | 95.385
1136 | 95.2795
1135 | 95.1648
1134 | 95.0447
1133 | 94.9189
1132 | 94.7872
1131 | 94.6532
1130 | 94.519
1129 | 94.3828
1128 | 94.2448
1127 | 94.1107
1126 | 93.9862
1125 | 93.8725
1124 | 93.7698
1123 | 93.6804
1122 | 93.6027
1121 | 93.5279
1120 | 93.4473
1119 | 93.3571
1118 | 93.2561
1117 | 93.1422
1116 | 93.0174
1115 | 92.8905
1114 | 92.7711
1113 | 92.6644
1112 | 92.5742
1111 | 92.5046
1110 | 92.4558
1109 | 92.4228
1108 | 92.402
1107 | 92.3941
1106 | 92.3985
1105 | 92.4125
1104 | 92.4368
1103 | 92.4759
1102 | 92.529
1101 | 92.5882
1100 | 92.6483
1099 | 92.7102
1098 | 92.7743
1097 | 92.8358
1096 | 92.8912
1095 | 92.9419
1094 | 92.989
1093 | 93.0298
1092 | 93.0631
1091 | 93.0919
1090 | 93.118
1089 | 93.1389
1088 | 93.153
1087 | 93.1627
1086 | 93.1686
1085 | 93.1669
1084 | 93.1547
1083 | 93.1329
1082 | 93.1013
1081 | 93.0579
1080 | 93.004
1079 | 92.9465
1078 | 92.8909
1077 | 92.8366
1076 | 92.7819
1075 | 92.7275
1074 | 92.6727
1073 | 92.6123
1072 | 92.5413
1071 | 92.4572
1070 | 92.3573
1069 | 92.2367
1068 | 92.0928
1067 | 91.9278
1066 | 91.7445
1065 | 91.546
1064 | 91.3407
1063 | 91.1435
1062 | 90.9669
1061 | 90.8159
1060 | 90.6928
1059 | 90.5997
1058 | 90.5336
1057 | 90.4867
1056 | 90.4556
1055 | 90.4426
1054 | 90.4469
1053 | 90.461
1052 | 90.4786
1051 | 90.5004
1050 | 90.5273
1049 | 90.5554
1048 | 90.5808
1047 | 90.602
1046 | 90.6159
1045 | 90.6161
1044 | 90.5994
1043 | 90.5674
1042 | 90.5203
1041 | 90.4557
1040 | 90.3755
1039 | 90.288
1038 | 90.2012
1037 | 90.1196
1036 | 90.0492
1035 | 89.9983
1034 | 89.9712
1033 | 89.9659
1032 | 89.981
1031 | 90.0185
1030 | 90.0777
1029 | 90.1528
1028 | 90.2396
1027 | 90.338
1026 | 90.4465
1025 | 90.5601
1024 | 90.6768
1023 | 90.7983
1022 | 90.9245
1021 | 91.0518
1020 | 91.1783
1019 | 91.3061
1018 | 91.4357
1017 | 91.5637
1016 | 91.6871
1015 | 91.8047
1014 | 91.9138
1013 | 92.0088
1012 | 92.0859
1011 | 92.145
1010 | 92.1857
1009 | 92.208
1008 | 92.2157
1007 | 92.2175
1006 | 92.2222
1005 | 92.2367
1004 | 92.2678
1003 | 92.3218
1002 | 92.3994
1001 | 92.4954
1000 | 92.6037
999 | 92.72
998 | 92.8381
997 | 92.9503
996 | 93.0514
995 | 93.1402
994 | 93.2156
993 | 93.2759
992 | 93.3209
991 | 93.3533
990 | 93.3757
989 | 93.39
988 | 93.4025
987 | 93.4237
986 | 93.4641
985 | 93.5308
984 | 93.6282
983 | 93.7588
982 | 93.9191
981 | 94.0991
980 | 94.2875
979 | 94.476
978 | 94.6591
977 | 94.833
976 | 94.9963
975 | 95.1499
974 | 95.2943
973 | 95.4287
972 | 95.5531
971 | 95.669
970 | 95.778
969 | 95.8811
968 | 95.9805
967 | 96.0787
966 | 96.1771
965 | 96.2748
964 | 96.3719
963 | 96.4691
962 | 96.5667
961 | 96.6634
960 | 96.7582
959 | 96.8519
958 | 96.9449
957 | 97.0371
956 | 97.1284
955 | 97.2187
954 | 97.3064
953 | 97.3899
952 | 97.4686
951 | 97.5441
950 | 97.6166
949 | 97.685
948 | 97.7486
947 | 97.8082
946 | 97.8637
945 | 97.9138
944 | 97.9575
943 | 97.9961
942 | 98.0313
941 | 98.0642
940 | 98.0948
939 | 98.1228
938 | 98.1472
937 | 98.1676
936 | 98.1844
935 | 98.1989
934 | 98.2121
933 | 98.2247
932 | 98.2377
931 | 98.2515
930 | 98.2648
929 | 98.2753
928 | 98.2823
927 | 98.2869
926 | 98.2895
925 | 98.2893
924 | 98.2867
923 | 98.2833
922 | 98.2806
921 | 98.278
920 | 98.2739
919 | 98.267
918 | 98.2567
917 | 98.243
916 | 98.2268
915 | 98.2093
914 | 98.1913
913 | 98.1727
912 | 98.1541
911 | 98.136
910 | 98.118
909 | 98.0979
908 | 98.0744
907 | 98.048
906 | 98.0185
905 | 97.9844
904 | 97.9449
903 | 97.902
902 | 97.8599
901 | 97.8228
900 | 97.7934
899 | 97.7735
898 | 97.7644
897 | 97.7671
896 | 97.7819
895 | 97.8085
894 | 97.845
893 | 97.8883
892 | 97.9356
891 | 97.9851
890 | 98.0348
889 | 98.0826
888 | 98.1268
887 | 98.1666
886 | 98.202
885 | 98.2333
884 | 98.2617
883 | 98.2869
882 | 98.3069
881 | 98.32
880 | 98.3274
879 | 98.3326
878 | 98.3379
877 | 98.3431
876 | 98.3478
875 | 98.3532
874 | 98.3617
873 | 98.3753
872 | 98.3943
871 | 98.4165
870 | 98.4382
869 | 98.4573
868 | 98.4738
867 | 98.4876
866 | 98.4974
865 | 98.5021
864 | 98.5029
863 | 98.5011
862 | 98.4959
861 | 98.4865
860 | 98.474
859 | 98.4608
858 | 98.4469
857 | 98.4306
856 | 98.4116
855 | 98.3927
854 | 98.3787
853 | 98.3736
852 | 98.3782
851 | 98.3876
850 | 98.3928
849 | 98.3881
848 | 98.3746
847 | 98.3577
846 | 98.3396
845 | 98.3204
844 | 98.3015
843 | 98.2861
842 | 98.2742
841 | 98.2621
840 | 98.2468
839 | 98.2287
838 | 98.2101
837 | 98.1932
836 | 98.1798
835 | 98.1701
834 | 98.1609
833 | 98.149
832 | 98.1352
831 | 98.1238
830 | 98.1171
829 | 98.1134
828 | 98.1112
827 | 98.1104
826 | 98.109
825 | 98.104
824 | 98.0954
823 | 98.0868
822 | 98.0801
821 | 98.0739
820 | 98.0667
819 | 98.0588
818 | 98.0495
817 | 98.0373
816 | 98.0232
815 | 98.0108
814 | 98.0017
813 | 97.9944
812 | 97.9872
811 | 97.9801
810 | 97.9728
809 | 97.9633
808 | 97.9517
807 | 97.9402
806 | 97.9301
805 | 97.92
804 | 97.9085
803 | 97.8956
802 | 97.8808
801 | 97.8633
800 | 97.8447
799 | 97.8285
798 | 97.8157
797 | 97.8037
796 | 97.7905
795 | 97.7766
794 | 97.7623
793 | 97.7465
792 | 97.7295
791 | 97.7134
790 | 97.6978
789 | 97.6796
788 | 97.6581
787 | 97.6358
786 | 97.6149
785 | 97.5946
784 | 97.574
783 | 97.5542
782 | 97.5345
781 | 97.5125
780 | 97.4882
779 | 97.4648
778 | 97.445
777 | 97.4274
776 | 97.4093
775 | 97.3897
774 | 97.368
773 | 97.3439
772 | 97.3186
771 | 97.2944
770 | 97.2706
769 | 97.2439
768 | 97.2143
767 | 97.1851
766 | 97.158
765 | 97.1306
764 | 97.1013
763 | 97.0718
762 | 97.0429
761 | 97.0127
760 | 96.9812
759 | 96.9515
758 | 96.9245
757 | 96.8965
756 | 96.8651
755 | 96.8327
754 | 96.8024
753 | 96.7728
752 | 96.742
751 | 96.7109
750 | 96.6805
749 | 96.6494
748 | 96.6163
747 | 96.583
746 | 96.5508
745 | 96.5187
744 | 96.4867
743 | 96.4565
742 | 96.4283
741 | 96.3989
740 | 96.3669
739 | 96.3354
738 | 96.3063
737 | 96.2769
736 | 96.2443
735 | 96.2091
734 | 96.1726
733 | 96.1327
732 | 96.088
731 | 96.0409
730 | 95.9941
729 | 95.9471
728 | 95.8985
727 | 95.8489
726 | 95.7969
725 | 95.74
724 | 95.6809
723 | 95.626
722 | 95.5741
721 | 95.5163
720 | 95.4508
719 | 95.3891
718 | 95.3403
717 | 95.2988
716 | 95.2531
715 | 95.1998
714 | 95.1438
713 | 95.0899
712 | 95.0409
711 | 94.9983
710 | 94.9602
709 | 94.9208
708 | 94.8778
707 | 94.8372
706 | 94.802
705 | 94.7666
704 | 94.7272
703 | 94.6873
702 | 94.6502
701 | 94.6126
700 | 94.573
699 | 94.5384
698 | 94.5137
697 | 94.4926
696 | 94.4678
695 | 94.4401
694 | 94.4131
693 | 94.3851
692 | 94.3536
691 | 94.3221
690 | 94.2912
689 | 94.2526
688 | 94.2004
687 | 94.1392
686 | 94.0747
685 | 94.0052
684 | 93.9291
683 | 93.8508
682 | 93.7686
681 | 93.6691
680 | 93.5447
679 | 93.4013
678 | 93.2478
677 | 93.0807
676 | 92.887
675 | 92.6908
674 | 92.5017
673 | 92.2986
672 | 92.107
671 | 92.0192
670 | 92.0659
669 | 92.1089
668 | 91.9922
667 | 91.7655
666 | 91.5747
665 | 91.5146
664 | 91.5802
663 | 91.6828
662 | 91.7608
661 | 91.8234
660 | 91.891
659 | 91.9548
658 | 92.0087
657 | 92.0626
656 | 92.1098
655 | 92.1526
654 | 92.1942
653 | 92.2297
652 | 92.2564
651 | 92.2796
650 | 92.303
649 | 92.3189
648 | 92.32
647 | 92.3097
646 | 92.293
645 | 92.2689
644 | 92.2411
643 | 92.2224
642 | 92.2174
641 | 92.2115
640 | 92.1933
639 | 92.1754
638 | 92.1747
637 | 92.1898
636 | 92.2132
635 | 92.2444
634 | 92.2768
633 | 92.2911
632 | 92.2811
631 | 92.265
630 | 92.2576
629 | 92.2502
628 | 92.2381
627 | 92.2478
626 | 92.3099
625 | 92.4231
624 | 92.5611
623 | 92.6989
622 | 92.8322
621 | 92.9859
620 | 93.1896
619 | 93.4283
618 | 93.6369
617 | 93.7614
616 | 93.8089
615 | 93.8345
614 | 93.8903
613 | 93.9798
612 | 94.0606
611 | 94.0989
610 | 94.114
609 | 94.1484
608 | 94.2056
607 | 94.2512
606 | 94.2665
605 | 94.2703
604 | 94.2835
603 | 94.3119
602 | 94.3676
601 | 94.47
600 | 94.6126

## Sample Details
Setting | Value
Filesname | 8.2.35 15
Creation Date
Analyst | mas-storage
X-Axis Units | cm-1
X-Axis start value | 4000
X-Axis end value | 600
Data interval | -1
Number of points | 3401
Y-Axis Units | %T
Description | 6Sample 3326 By mas-storage Date Thursday, June 16 2022

## Instrument Details
Setting | Value
Instrument Model | Frontier FT-IR
Instrument Serial Number | 91175
Software Revision | CPU32 Main 00.09.9908 05-May-2009 15:52:12
Number of Scans | 32
Resolution | 4
Detector
Source | MIR
Beam Splitter | OptKBr
Apodization | Strong
Spectrum Type | Spectrum
Beam Type | Ratio
Phase Correction | Magnitude
Scan Speed | 1
IGram Type | Double
Scan Driection | Combined
Zero Crossing | 0
JStop | 8.94
IR-Laser Wavenumber | 15798.001999451375
Manufacturer | PIKE Technologies Inc.
Part Number | L1200385
Serial Number | 19250
Description | Miracle Accessory
Default Scan Range | 4000 450
Accessory Type | Miracle ATR
Temperature / °C
Slide Holder Option

## Quality Checks
Setting | Value
Water Vapor | Passed
Carbon Dioxide | Passed
Baseline Low | Passed
Baseline High | Passed
Baseline Slope | Passed
Strong Bands | Passed
Weak Bands | Warning
High Noise | Passed
Fringes | Warning
Vignetting | Passed
Blocked Beam | Passed
Negative Bands | Passed
Zero Transmission | Passed
Stray Light | Passed
Window Cuttoff | Passed