## Data
Wavelength / cm-1 | Transmittance / % | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1
4000 | 98.2499 |  | Baseline @ 1105 |  | Baseline @ 1735 |  | Baseline @ 2900 |  | Peak @ 1105 |  | Peak @ 1735 |  | Peak @ 2900
3999 | 98.2477 | 850 | 96.842 | 1525 | 99.8291 | 2670 | 99.7348 | 1105 | 82.4457 | 1735 | 100.3456 | 2900 | 98.3496
3998 | 98.2494 | 1210 | 98.2272 | 1780 | 100.7777 | 3000 | 98.7246 | 1105 | 97.8232 | 1735 | 100.6103 | 2900 | 99.0307
3997 | 98.2558
3996 | 98.2649
3995 | 98.2733
3994 | 98.2785
3993 | 98.2801
3992 | 98.2793
3991 | 98.2767
3990 | 98.2733
3989 | 98.2707
3988 | 98.2702
3987 | 98.2719
3986 | 98.2748
3985 | 98.2778
3984 | 98.2799
3983 | 98.2806
3982 | 98.2805
3981 | 98.2808
3980 | 98.2817
3979 | 98.2822
3978 | 98.2811
3977 | 98.2789 |  |  | Baseline range |  |  | Transmittance |  |  |  | Equation of base line |  |  | Transmittance at peak value wavelength | Peak Intensity |  | Ratio
3976 | 98.2779 |  | Peak value
3975 | 98.28 |  | Wavelength
3974 | 98.2853 |  | x1 | x2 | x3 |  | y1 | y2 | y3 |  | m | c
3973 | 98.292 | [15 empty] | flexural
3972 | 98.2972 |  | 1105 | 850 | 1210 |  | 82.4457 | 96.842 | 98.2272 |  | 0.0038477 | 93.5715 |  | 97.8232 | 15.3775 | R1 | 0.017212
3971 | 98.2993 |  | 1735 | 1525 | 1780 |  | 100.3456 | 99.8291 | 100.7777 |  | 0.0037201 | 94.156 |  | 100.6103 | 0.26467 | R2 | 0.38857
3970 | 98.2979 |  | 2900 | 2670 | 3000 |  | 98.3496 | 99.7348 | 98.7246 |  | -0.0030613 | 107.9085 |  | 99.0307 | 0.68115
3969 | 98.2943
3968 | 98.2902 |  | From paper
3967 | 98.2867 |  | 1105 | 765 | 1185
3966 | 98.2852 |  | 1735 | 1485 | 1780
3965 | 98.2873 |  | 2900 | 2630 | 3000
3964 | 98.2929
3963 | 98.2999
3962 | 98.3046
3961 | 98.305
3960 | 98.3013
3959 | 98.2956
3958 | 98.2908
3957 | 98.2894
3956 | 98.2929
3955 | 98.3004
3954 | 98.3087
3953 | 98.3139
3952 | 98.3137
3951 | 98.3086
3950 | 98.3023
3949 | 98.2989
3948 | 98.2996
3947 | 98.303
3946 | 98.3075
3945 | 98.3131
3944 | 98.3187
3943 | 98.3217
3942 | 98.3217
3941 | 98.322
3940 | 98.3248
3939 | 98.3284
3938 | 98.3289
3937 | 98.3251
3936 | 98.3197
3935 | 98.3159
3934 | 98.3144
3933 | 98.3154
3932 | 98.3197
3931 | 98.3269
3930 | 98.3336
3929 | 98.3365
3928 | 98.3367
3927 | 98.3374
3926 | 98.3393
3925 | 98.3399
3924 | 98.3387
3923 | 98.3387
3922 | 98.3415
3921 | 98.3448
3920 | 98.3462
3919 | 98.3464
3918 | 98.3482
3917 | 98.3516
3916 | 98.3549
3915 | 98.3575
3914 | 98.3598
3913 | 98.3611
3912 | 98.3603
3911 | 98.3579
3910 | 98.3555
3909 | 98.3542
3908 | 98.3546
3907 | 98.3563
3906 | 98.3571
3905 | 98.3541
3904 | 98.3483
3903 | 98.3481
3902 | 98.3605
3901 | 98.3818
3900 | 98.3994
3899 | 98.403
3898 | 98.3944
3897 | 98.3813
3896 | 98.3685
3895 | 98.359
3894 | 98.3565
3893 | 98.3617
3892 | 98.3688
3891 | 98.3696
3890 | 98.3651
3889 | 98.3649
3888 | 98.3752
3887 | 98.388
3886 | 98.3888
3885 | 98.3776
3884 | 98.3694
3883 | 98.3739
3882 | 98.3861
3881 | 98.3934
3880 | 98.3895
3879 | 98.3798
3878 | 98.3736
3877 | 98.3742
3876 | 98.3764
3875 | 98.3708
3874 | 98.3565
3873 | 98.3472
3872 | 98.3559
3871 | 98.3749
3870 | 98.3837
3869 | 98.3796
3868 | 98.3792
3867 | 98.3904
3866 | 98.4015
3865 | 98.3981
3864 | 98.384
3863 | 98.375
3862 | 98.3754
3861 | 98.378
3860 | 98.3783
3859 | 98.3771
3858 | 98.3793
3857 | 98.3889
3856 | 98.4054
3855 | 98.4177
3854 | 98.4155
3853 | 98.4145
3852 | 98.4305
3851 | 98.4477
3850 | 98.4474
3849 | 98.4291
3848 | 98.4027
3847 | 98.3795
3846 | 98.3645
3845 | 98.3556
3844 | 98.3497
3843 | 98.346
3842 | 98.3467
3841 | 98.3565
3840 | 98.3748
3839 | 98.3935
3838 | 98.4056
3837 | 98.4096
3836 | 98.4071
3835 | 98.4004
3834 | 98.3918
3833 | 98.3831
3832 | 98.3737
3831 | 98.3638
3830 | 98.3565
3829 | 98.3531
3828 | 98.3507
3827 | 98.3436
3826 | 98.3301
3825 | 98.3193
3824 | 98.3232
3823 | 98.3414
3822 | 98.3582
3821 | 98.361
3820 | 98.3589
3819 | 98.3674
3818 | 98.3856
3817 | 98.3965
3816 | 98.3867
3815 | 98.3682
3814 | 98.3608
3813 | 98.3625
3812 | 98.3577
3811 | 98.341
3810 | 98.3231
3809 | 98.3155
3808 | 98.3156
3807 | 98.312
3806 | 98.3033
3805 | 98.3014
3804 | 98.3143
3803 | 98.3331
3802 | 98.3371
3801 | 98.3224
3800 | 98.3103
3799 | 98.3143
3798 | 98.3258
3797 | 98.329
3796 | 98.3191
3795 | 98.3058
3794 | 98.2983
3793 | 98.295
3792 | 98.289
3791 | 98.2785
3790 | 98.2668
3789 | 98.2582
3788 | 98.2548
3787 | 98.2567
3786 | 98.2608
3785 | 98.2619
3784 | 98.2575
3783 | 98.251
3782 | 98.2481
3781 | 98.2494
3780 | 98.2504
3779 | 98.2481
3778 | 98.2453
3777 | 98.2447
3776 | 98.2441
3775 | 98.2388
3774 | 98.2282
3773 | 98.2186
3772 | 98.2148
3771 | 98.2137
3770 | 98.2094
3769 | 98.205
3768 | 98.2079
3767 | 98.2178
3766 | 98.2244
3765 | 98.2187
3764 | 98.204
3763 | 98.1913
3762 | 98.1852
3761 | 98.1816
3760 | 98.1761
3759 | 98.1715
3758 | 98.1699
3757 | 98.1671
3756 | 98.1624
3755 | 98.1599
3754 | 98.1608
3753 | 98.1611
3752 | 98.1594
3751 | 98.1626
3750 | 98.1713
3749 | 98.1736
3748 | 98.1699
3747 | 98.176
3746 | 98.193
3745 | 98.1969
3744 | 98.18
3743 | 98.1658
3742 | 98.1613
3741 | 98.1523
3740 | 98.1309
3739 | 98.1044
3738 | 98.0865
3737 | 98.0787
3736 | 98.0754
3735 | 98.0792
3734 | 98.096
3733 | 98.1175
3732 | 98.1245
3731 | 98.1112
3730 | 98.0891
3729 | 98.0713
3728 | 98.0596
3727 | 98.0464
3726 | 98.0288
3725 | 98.013
3724 | 98.0043
3723 | 97.9999
3722 | 97.9949
3721 | 97.9899
3720 | 97.9874
3719 | 97.9869
3718 | 97.9851
3717 | 97.9797
3716 | 97.9747
3715 | 97.974
3714 | 97.975
3713 | 97.9711
3712 | 97.963
3711 | 97.9603
3710 | 97.9664
3709 | 97.9724
3708 | 97.9689
3707 | 97.9553
3706 | 97.9383
3705 | 97.9252
3704 | 97.9183
3703 | 97.9139
3702 | 97.9068
3701 | 97.8954
3700 | 97.8828
3699 | 97.8726
3698 | 97.8654
3697 | 97.8575
3696 | 97.8471
3695 | 97.8377
3694 | 97.8335
3693 | 97.8356
3692 | 97.8432
3691 | 97.8547
3690 | 97.8642
3689 | 97.865
3688 | 97.8566
3687 | 97.8433
3686 | 97.8287
3685 | 97.8125
3684 | 97.7928
3683 | 97.772
3682 | 97.7574
3681 | 97.7513
3680 | 97.7484
3679 | 97.7466
3678 | 97.7508
3677 | 97.761
3676 | 97.7625
3675 | 97.7488
3674 | 97.7331
3673 | 97.7279
3672 | 97.7333
3671 | 97.7346
3670 | 97.7185
3669 | 97.6933
3668 | 97.6731
3667 | 97.658
3666 | 97.6422
3665 | 97.6249
3664 | 97.6087
3663 | 97.596
3662 | 97.5861
3661 | 97.5755
3660 | 97.5649
3659 | 97.558
3658 | 97.5544
3657 | 97.5465
3656 | 97.5282
3655 | 97.5055
3654 | 97.491
3653 | 97.4917
3652 | 97.5026
3651 | 97.5094
3650 | 97.5033
3649 | 97.4917
3648 | 97.4818
3647 | 97.4687
3646 | 97.4488
3645 | 97.4278
3644 | 97.4102
3643 | 97.3928
3642 | 97.3707
3641 | 97.3449
3640 | 97.3215
3639 | 97.303
3638 | 97.2874
3637 | 97.2734
3636 | 97.2621
3635 | 97.2516
3634 | 97.2384
3633 | 97.2257
3632 | 97.2218
3631 | 97.2267
3630 | 97.2224
3629 | 97.1935
3628 | 97.1555
3627 | 97.132
3626 | 97.1225
3625 | 97.1146
3624 | 97.1027
3623 | 97.091
3622 | 97.0854
3621 | 97.0822
3620 | 97.0692
3619 | 97.0404
3618 | 97.0042
3617 | 96.9744
3616 | 96.9586
3615 | 96.9535
3614 | 96.9485
3613 | 96.9362
3612 | 96.9197
3611 | 96.9057
3610 | 96.8951
3609 | 96.8826
3608 | 96.8647
3607 | 96.845
3606 | 96.8288
3605 | 96.8169
3604 | 96.8071
3603 | 96.7962
3602 | 96.782
3601 | 96.7642
3600 | 96.7453
3599 | 96.7291
3598 | 96.7173
3597 | 96.7065
3596 | 96.6915
3595 | 96.6688
3594 | 96.6393
3593 | 96.609
3592 | 96.5852
3591 | 96.5717
3590 | 96.5656
3589 | 96.5565
3588 | 96.5332
3587 | 96.4966
3586 | 96.4588
3585 | 96.4299
3584 | 96.41
3583 | 96.3936
3582 | 96.3752
3581 | 96.3529
3580 | 96.3277
3579 | 96.3018
3578 | 96.2766
3577 | 96.252
3576 | 96.2263
3575 | 96.1981
3574 | 96.1675
3573 | 96.1375
3572 | 96.1127
3571 | 96.0964
3570 | 96.0865
3569 | 96.0732
3568 | 96.0432
3567 | 95.9915
3566 | 95.9295
3565 | 95.8744
3564 | 95.8345
3563 | 95.8074
3562 | 95.785
3561 | 95.7598
3560 | 95.7291
3559 | 95.695
3558 | 95.6618
3557 | 95.6328
3556 | 95.6083
3555 | 95.5861
3554 | 95.5615
3553 | 95.5301
3552 | 95.4919
3551 | 95.453
3550 | 95.4206
3549 | 95.3961
3548 | 95.3733
3547 | 95.3449
3546 | 95.3094
3545 | 95.2734
3544 | 95.2442
3543 | 95.2235
3542 | 95.2075
3541 | 95.192
3540 | 95.1761
3539 | 95.1614
3538 | 95.1488
3537 | 95.137
3536 | 95.125
3535 | 95.113
3534 | 95.1019
3533 | 95.0914
3532 | 95.0806
3531 | 95.0699
3530 | 95.061
3529 | 95.0547
3528 | 95.0496
3527 | 95.0432
3526 | 95.0349
3525 | 95.0252
3524 | 95.0156
3523 | 95.0081
3522 | 95.0052
3521 | 95.0081
3520 | 95.015
3519 | 95.0216
3518 | 95.025
3517 | 95.0265
3516 | 95.0294
3515 | 95.0343
3514 | 95.0394
3513 | 95.0424
3512 | 95.043
3511 | 95.0415
3510 | 95.038
3509 | 95.0328
3508 | 95.0276
3507 | 95.0248
3506 | 95.0257
3505 | 95.0287
3504 | 95.0309
3503 | 95.0296
3502 | 95.0245
3501 | 95.0176
3500 | 95.0111
3499 | 95.0067
3498 | 95.0049
3497 | 95.0052
3496 | 95.0063
3495 | 95.0063
3494 | 95.0039
3493 | 94.9993
3492 | 94.9941
3491 | 94.9894
3490 | 94.9857
3489 | 94.9831
3488 | 94.9814
3487 | 94.9798
3486 | 94.9773
3485 | 94.9734
3484 | 94.9688
3483 | 94.9638
3482 | 94.9579
3481 | 94.9502
3480 | 94.9423
3479 | 94.9376
3478 | 94.939
3477 | 94.9451
3476 | 94.9511
3475 | 94.9517
3474 | 94.9453
3473 | 94.9342
3472 | 94.9226
3471 | 94.9138
3470 | 94.9091
3469 | 94.9072
3468 | 94.9042
3467 | 94.8963
3466 | 94.8834
3465 | 94.8697
3464 | 94.8588
3463 | 94.8493
3462 | 94.8375
3461 | 94.8223
3460 | 94.8064
3459 | 94.7925
3458 | 94.78
3457 | 94.7666
3456 | 94.7511
3455 | 94.735
3454 | 94.7196
3453 | 94.7053
3452 | 94.6907
3451 | 94.6757
3450 | 94.6613
3449 | 94.6472
3448 | 94.6304
3447 | 94.6075
3446 | 94.5791
3445 | 94.5497
3444 | 94.5232
3443 | 94.4997
3442 | 94.4767
3441 | 94.4527
3440 | 94.4279
3439 | 94.4025
3438 | 94.3769
3437 | 94.3512
3436 | 94.3249
3435 | 94.2963
3434 | 94.2639
3433 | 94.2284
3432 | 94.1925
3431 | 94.1588
3430 | 94.1275
3429 | 94.0964
3428 | 94.0627
3427 | 94.0249
3426 | 93.9836
3425 | 93.9417
3424 | 93.9021
3423 | 93.8656
3422 | 93.8299
3421 | 93.7926
3420 | 93.7532
3419 | 93.7134
3418 | 93.6746
3417 | 93.6368
3416 | 93.5999
3415 | 93.5641
3414 | 93.5293
3413 | 93.4942
3412 | 93.4576
3411 | 93.4199
3410 | 93.3839
3409 | 93.3522
3408 | 93.3256
3407 | 93.3024
3406 | 93.2809
3405 | 93.2609
3404 | 93.2437
3403 | 93.2307
3402 | 93.2222
3401 | 93.2176
3400 | 93.2154
3399 | 93.2138
3398 | 93.2114
3397 | 93.2089
3396 | 93.2092
3395 | 93.2144
3394 | 93.2241
3393 | 93.236
3392 | 93.248
3391 | 93.2604
3390 | 93.2744
3389 | 93.2908
3388 | 93.3087
3387 | 93.3259
3386 | 93.3415
3385 | 93.3561
3384 | 93.3717
3383 | 93.3898
3382 | 93.4107
3381 | 93.4328
3380 | 93.4539
3379 | 93.4719
3378 | 93.4857
3377 | 93.4967
3376 | 93.5068
3375 | 93.5181
3374 | 93.5318
3373 | 93.5479
3372 | 93.5651
3371 | 93.5814
3370 | 93.5953
3369 | 93.6069
3368 | 93.6168
3367 | 93.6245
3366 | 93.6291
3365 | 93.6323
3364 | 93.637
3363 | 93.645
3362 | 93.6551
3361 | 93.6641
3360 | 93.67
3359 | 93.6729
3358 | 93.6742
3357 | 93.6749
3356 | 93.6754
3355 | 93.6754
3354 | 93.6755
3353 | 93.6773
3352 | 93.6815
3351 | 93.6865
3350 | 93.6893
3349 | 93.6887
3348 | 93.6861
3347 | 93.684
3346 | 93.683
3345 | 93.6822
3344 | 93.6804
3343 | 93.6775
3342 | 93.6749
3341 | 93.6739
3340 | 93.675
3339 | 93.6772
3338 | 93.6791
3337 | 93.6802
3336 | 93.6807
3335 | 93.6814
3334 | 93.6832
3333 | 93.6867
3332 | 93.6927
3331 | 93.7006
3330 | 93.7094
3329 | 93.7181
3328 | 93.7253
3327 | 93.7294
3326 | 93.7295
3325 | 93.7271
3324 | 93.7252
3323 | 93.7265
3322 | 93.7308
3321 | 93.7365
3320 | 93.7422
3319 | 93.7477
3318 | 93.7527
3317 | 93.7562
3316 | 93.7579
3315 | 93.758
3314 | 93.7575
3313 | 93.7573
3312 | 93.757
3311 | 93.7557
3310 | 93.753
3309 | 93.7492
3308 | 93.7456
3307 | 93.7433
3306 | 93.7422
3305 | 93.7413
3304 | 93.7395
3303 | 93.7362
3302 | 93.7325
3301 | 93.7295
3300 | 93.7279
3299 | 93.7266
3298 | 93.7244
3297 | 93.7211
3296 | 93.7169
3295 | 93.7126
3294 | 93.7085
3293 | 93.7048
3292 | 93.7011
3291 | 93.6965
3290 | 93.6907
3289 | 93.6847
3288 | 93.6795
3287 | 93.6752
3286 | 93.6707
3285 | 93.6657
3284 | 93.6612
3283 | 93.6586
3282 | 93.6581
3281 | 93.6586
3280 | 93.659
3279 | 93.659
3278 | 93.6588
3277 | 93.6588
3276 | 93.6586
3275 | 93.6576
3274 | 93.6558
3273 | 93.6545
3272 | 93.6546
3271 | 93.6558
3270 | 93.6567
3269 | 93.657
3268 | 93.6577
3267 | 93.6598
3266 | 93.6628
3265 | 93.6662
3264 | 93.6699
3263 | 93.6742
3262 | 93.6791
3261 | 93.6841
3260 | 93.6887
3259 | 93.693
3258 | 93.6975
3257 | 93.7028
3256 | 93.7089
3255 | 93.7153
3254 | 93.7215
3253 | 93.7278
3252 | 93.7346
3251 | 93.7415
3250 | 93.7476
3249 | 93.7533
3248 | 93.7593
3247 | 93.7662
3246 | 93.774
3245 | 93.7837
3244 | 93.7966
3243 | 93.8129
3242 | 93.8308
3241 | 93.8485
3240 | 93.8651
3239 | 93.8814
3238 | 93.8991
3237 | 93.9195
3236 | 93.9433
3235 | 93.9696
3234 | 93.9966
3233 | 94.0228
3232 | 94.047
3231 | 94.0686
3230 | 94.0878
3229 | 94.1063
3228 | 94.1262
3227 | 94.1484
3226 | 94.1725
3225 | 94.1975
3224 | 94.2224
3223 | 94.2465
3222 | 94.2697
3221 | 94.2929
3220 | 94.3168
3219 | 94.3419
3218 | 94.3683
3217 | 94.3961
3216 | 94.4247
3215 | 94.4519
3214 | 94.4759
3213 | 94.4972
3212 | 94.5186
3211 | 94.5424
3210 | 94.5681
3209 | 94.5943
3208 | 94.6199
3207 | 94.6443
3206 | 94.6667
3205 | 94.6869
3204 | 94.7063
3203 | 94.7274
3202 | 94.7517
3201 | 94.7792
3200 | 94.8087
3199 | 94.8378
3198 | 94.8651
3197 | 94.8906
3196 | 94.9159
3195 | 94.9417
3194 | 94.9679
3193 | 94.9944
3192 | 95.0217
3191 | 95.0499
3190 | 95.0776
3189 | 95.1029
3188 | 95.1261
3187 | 95.1495
3186 | 95.1755
3185 | 95.2038
3184 | 95.2324
3183 | 95.2595
3182 | 95.2851
3181 | 95.3101
3180 | 95.3355
3179 | 95.3616
3178 | 95.388
3177 | 95.4146
3176 | 95.4411
3175 | 95.4672
3174 | 95.493
3173 | 95.5198
3172 | 95.5481
3171 | 95.5774
3170 | 95.606
3169 | 95.6333
3168 | 95.6599
3167 | 95.6868
3166 | 95.7141
3165 | 95.7425
3164 | 95.7732
3163 | 95.8068
3162 | 95.8413
3161 | 95.8741
3160 | 95.9038
3159 | 95.9313
3158 | 95.9579
3157 | 95.9844
3156 | 96.0115
3155 | 96.0401
3154 | 96.0709
3153 | 96.1032
3152 | 96.1354
3151 | 96.1652
3150 | 96.1917
3149 | 96.2161
3148 | 96.2413
3147 | 96.2697
3146 | 96.3014
3145 | 96.3343
3144 | 96.3664
3143 | 96.3981
3142 | 96.4307
3141 | 96.4643
3140 | 96.4971
3139 | 96.5268
3138 | 96.5532
3137 | 96.5785
3136 | 96.6058
3135 | 96.6367
3134 | 96.6705
3133 | 96.7049
3132 | 96.738
3131 | 96.769
3130 | 96.7984
3129 | 96.8268
3128 | 96.8546
3127 | 96.8824
3126 | 96.9113
3125 | 96.9427
3124 | 96.9769
3123 | 97.0119
3122 | 97.0451
3121 | 97.0746
3120 | 97.1012
3119 | 97.1272
3118 | 97.1547
3117 | 97.1839
3116 | 97.2131
3115 | 97.2403
3114 | 97.265
3113 | 97.2891
3112 | 97.3151
3111 | 97.3438
3110 | 97.3738
3109 | 97.403
3108 | 97.4308
3107 | 97.4581
3106 | 97.4857
3105 | 97.5136
3104 | 97.5415
3103 | 97.5689
3102 | 97.5954
3101 | 97.62
3100 | 97.6425
3099 | 97.664
3098 | 97.6854
3097 | 97.7066
3096 | 97.727
3095 | 97.7472
3094 | 97.7687
3093 | 97.7924
3092 | 97.8177
3091 | 97.8427
3090 | 97.8655
3089 | 97.8862
3088 | 97.9058
3087 | 97.9263
3086 | 97.9485
3085 | 97.972
3084 | 97.9955
3083 | 98.0174
3082 | 98.0366
3081 | 98.053
3080 | 98.0673
3079 | 98.0811
3078 | 98.0955
3077 | 98.1105
3076 | 98.1256
3075 | 98.1402
3074 | 98.1547
3073 | 98.17
3072 | 98.1862
3071 | 98.2035
3070 | 98.2216
3069 | 98.2398
3068 | 98.2568
3067 | 98.2709
3066 | 98.2812
3065 | 98.2888
3064 | 98.296
3063 | 98.3052
3062 | 98.3171
3061 | 98.3308
3060 | 98.3451
3059 | 98.3591
3058 | 98.3716
3057 | 98.3817
3056 | 98.3896
3055 | 98.3973
3054 | 98.4066
3053 | 98.4174
3052 | 98.4287
3051 | 98.4398
3050 | 98.4511
3049 | 98.4628
3048 | 98.4743
3047 | 98.485
3046 | 98.4954
3045 | 98.5061
3044 | 98.5173
3043 | 98.5275
3042 | 98.5357
3041 | 98.5415
3040 | 98.5462
3039 | 98.5507
3038 | 98.5556
3037 | 98.5605
3036 | 98.5654
3035 | 98.5703
3034 | 98.5753
3033 | 98.5802
3032 | 98.5847
3031 | 98.5886
3030 | 98.5925
3029 | 98.5976
3028 | 98.6045
3027 | 98.6126
3026 | 98.6206
3025 | 98.6278
3024 | 98.6344
3023 | 98.6409
3022 | 98.6471
3021 | 98.6527
3020 | 98.6581
3019 | 98.664
3018 | 98.671
3017 | 98.6791
3016 | 98.6879
3015 | 98.6959
3014 | 98.7013
3013 | 98.7033
3012 | 98.7028
3011 | 98.7016
3010 | 98.7007
3009 | 98.7007
3008 | 98.7018
3007 | 98.7042
3006 | 98.7071
3005 | 98.7092
3004 | 98.7104
3003 | 98.7113
3002 | 98.7133
3001 | 98.7176
3000 | 98.7246
2999 | 98.7331
2998 | 98.7402
2997 | 98.7438
2996 | 98.744
2995 | 98.7426
2994 | 98.7406
2993 | 98.7382
2992 | 98.7364
2991 | 98.7368
2990 | 98.7396
2989 | 98.7429
2988 | 98.7437
2987 | 98.7401
2986 | 98.7322
2985 | 98.7215
2984 | 98.7109
2983 | 98.7029
2982 | 98.698
2981 | 98.6946
2980 | 98.69
2979 | 98.6833
2978 | 98.6743
2977 | 98.6638
2976 | 98.6528
2975 | 98.6422
2974 | 98.6313
2973 | 98.6187
2972 | 98.6032
2971 | 98.5865
2970 | 98.5714
2969 | 98.5591
2968 | 98.5484
2967 | 98.5367
2966 | 98.5227
2965 | 98.5071
2964 | 98.4915
2963 | 98.4768
2962 | 98.4633
2961 | 98.4511
2960 | 98.4404
2959 | 98.4305
2958 | 98.421
2957 | 98.4122
2956 | 98.4051
2955 | 98.4002
2954 | 98.3956
2953 | 98.3894
2952 | 98.3811
2951 | 98.3727
2950 | 98.3662
2949 | 98.3615
2948 | 98.3564
2947 | 98.348
2946 | 98.3344
2945 | 98.3173
2944 | 98.3003
2943 | 98.2864
2942 | 98.275
2941 | 98.2635
2940 | 98.2512
2939 | 98.2399
2938 | 98.2316
2937 | 98.2249
2936 | 98.2168
2935 | 98.2058
2934 | 98.1941
2933 | 98.1849
2932 | 98.1792
2931 | 98.1745
2930 | 98.167
2929 | 98.1553
2928 | 98.1412
2927 | 98.1278
2926 | 98.1157
2925 | 98.1036
2924 | 98.0911
2923 | 98.0803
2922 | 98.0744
2921 | 98.0741
2920 | 98.078
2919 | 98.0845
2918 | 98.0944
2917 | 98.1099
2916 | 98.1329
2915 | 98.1632
2914 | 98.1975
2913 | 98.2312
2912 | 98.2596
2911 | 98.2813
2910 | 98.2975
2909 | 98.3101
2908 | 98.3198
2907 | 98.3263
2906 | 98.3302
2905 | 98.3331
2904 | 98.3364
2903 | 98.3399
2902 | 98.3431
2901 | 98.346
2900 | 98.3496
2899 | 98.3541
2898 | 98.3594
2897 | 98.365
2896 | 98.3709
2895 | 98.3769
2894 | 98.3828
2893 | 98.3888
2892 | 98.3955
2891 | 98.4026
2890 | 98.4086
2889 | 98.4132
2888 | 98.4179
2887 | 98.4244
2886 | 98.4327
2885 | 98.4416
2884 | 98.45
2883 | 98.4579
2882 | 98.4646
2881 | 98.4689
2880 | 98.4711
2879 | 98.4727
2878 | 98.476
2877 | 98.4823
2876 | 98.4917
2875 | 98.5034
2874 | 98.5153
2873 | 98.5254
2872 | 98.5334
2871 | 98.5409
2870 | 98.5495
2869 | 98.5593
2868 | 98.5691
2867 | 98.5777
2866 | 98.5858
2865 | 98.5951
2864 | 98.6071
2863 | 98.6216
2862 | 98.6356
2861 | 98.6462
2860 | 98.6522
2859 | 98.6549
2858 | 98.6564
2857 | 98.6574
2856 | 98.6581
2855 | 98.6581
2854 | 98.6567
2853 | 98.6539
2852 | 98.6521
2851 | 98.6565
2850 | 98.6729
2849 | 98.7034
2848 | 98.7453
2847 | 98.7914
2846 | 98.835
2845 | 98.8721
2844 | 98.9033
2843 | 98.9308
2842 | 98.956
2841 | 98.9784
2840 | 98.997
2839 | 99.0118
2838 | 99.0241
2837 | 99.0352
2836 | 99.0462
2835 | 99.0572
2834 | 99.0679
2833 | 99.0781
2832 | 99.0882
2831 | 99.0989
2830 | 99.1109
2829 | 99.1237
2828 | 99.1362
2827 | 99.1477
2826 | 99.1581
2825 | 99.168
2824 | 99.1775
2823 | 99.1864
2822 | 99.1939
2821 | 99.1999
2820 | 99.2052
2819 | 99.2108
2818 | 99.2165
2817 | 99.2216
2816 | 99.2262
2815 | 99.2318
2814 | 99.2393
2813 | 99.2481
2812 | 99.2572
2811 | 99.2662
2810 | 99.2751
2809 | 99.2836
2808 | 99.2912
2807 | 99.2972
2806 | 99.3016
2805 | 99.3047
2804 | 99.3074
2803 | 99.3109
2802 | 99.3159
2801 | 99.3228
2800 | 99.3315
2799 | 99.3407
2798 | 99.3489
2797 | 99.3548
2796 | 99.359
2795 | 99.3634
2794 | 99.3687
2793 | 99.3742
2792 | 99.3788
2791 | 99.383
2790 | 99.3876
2789 | 99.3927
2788 | 99.3973
2787 | 99.4005
2786 | 99.4026
2785 | 99.4046
2784 | 99.4069
2783 | 99.4091
2782 | 99.4108
2781 | 99.4126
2780 | 99.4158
2779 | 99.4209
2778 | 99.4269
2777 | 99.433
2776 | 99.439
2775 | 99.4452
2774 | 99.4508
2773 | 99.4548
2772 | 99.4576
2771 | 99.4604
2770 | 99.4642
2769 | 99.4685
2768 | 99.4725
2767 | 99.4759
2766 | 99.4784
2765 | 99.4802
2764 | 99.4817
2763 | 99.4835
2762 | 99.4855
2761 | 99.4874
2760 | 99.4896
2759 | 99.4927
2758 | 99.4964
2757 | 99.5003
2756 | 99.5038
2755 | 99.5067
2754 | 99.5088
2753 | 99.5104
2752 | 99.5126
2751 | 99.5165
2750 | 99.5214
2749 | 99.5256
2748 | 99.5281
2747 | 99.5292
2746 | 99.5295
2745 | 99.5295
2744 | 99.5298
2743 | 99.5312
2742 | 99.5338
2741 | 99.5367
2740 | 99.5393
2739 | 99.5418
2738 | 99.5444
2737 | 99.5468
2736 | 99.5485
2735 | 99.5501
2734 | 99.5523
2733 | 99.5549
2732 | 99.557
2731 | 99.5581
2730 | 99.5583
2729 | 99.5591
2728 | 99.5616
2727 | 99.5662
2726 | 99.5719
2725 | 99.5776
2724 | 99.583
2723 | 99.5884
2722 | 99.593
2721 | 99.5955
2720 | 99.5959
2719 | 99.5959
2718 | 99.5974
2717 | 99.6008
2716 | 99.6056
2715 | 99.6114
2714 | 99.6172
2713 | 99.622
2712 | 99.6254
2711 | 99.6281
2710 | 99.6304
2709 | 99.6324
2708 | 99.6339
2707 | 99.6354
2706 | 99.6375
2705 | 99.6404
2704 | 99.6435
2703 | 99.6466
2702 | 99.6496
2701 | 99.6522
2700 | 99.6545
2699 | 99.6567
2698 | 99.6592
2697 | 99.6619
2696 | 99.6644
2695 | 99.667
2694 | 99.6697
2693 | 99.6728
2692 | 99.6762
2691 | 99.6796
2690 | 99.6823
2689 | 99.6842
2688 | 99.6862
2687 | 99.6893
2686 | 99.6934
2685 | 99.6974
2684 | 99.7009
2683 | 99.7043
2682 | 99.7078
2681 | 99.7105
2680 | 99.7126
2679 | 99.7153
2678 | 99.7194
2677 | 99.7241
2676 | 99.7278
2675 | 99.7304
2674 | 99.7328
2673 | 99.7349
2672 | 99.736
2671 | 99.7357
2670 | 99.7348
2669 | 99.7344
2668 | 99.7352
2667 | 99.7369
2666 | 99.7385
2665 | 99.7389
2664 | 99.7374
2663 | 99.7344
2662 | 99.7307
2661 | 99.7264
2660 | 99.7212
2659 | 99.7153
2658 | 99.7085
2657 | 99.7005
2656 | 99.6917
2655 | 99.683
2654 | 99.6752
2653 | 99.6682
2652 | 99.6603
2651 | 99.6503
2650 | 99.638
2649 | 99.6244
2648 | 99.6102
2647 | 99.5963
2646 | 99.583
2645 | 99.5706
2644 | 99.5589
2643 | 99.5477
2642 | 99.5366
2641 | 99.5256
2640 | 99.5146
2639 | 99.5037
2638 | 99.4925
2637 | 99.4807
2636 | 99.4681
2635 | 99.4552
2634 | 99.442
2633 | 99.4285
2632 | 99.4144
2631 | 99.3999
2630 | 99.3854
2629 | 99.3711
2628 | 99.3573
2627 | 99.344
2626 | 99.3316
2625 | 99.3208
2624 | 99.3115
2623 | 99.3021
2622 | 99.2913
2621 | 99.2789
2620 | 99.2667
2619 | 99.2559
2618 | 99.2454
2617 | 99.2336
2616 | 99.2201
2615 | 99.2061
2614 | 99.1926
2613 | 99.1797
2612 | 99.1669
2611 | 99.1542
2610 | 99.1417
2609 | 99.1293
2608 | 99.1173
2607 | 99.1062
2606 | 99.0961
2605 | 99.0862
2604 | 99.0765
2603 | 99.0672
2602 | 99.0585
2601 | 99.05
2600 | 99.0415
2599 | 99.0332
2598 | 99.025
2597 | 99.0168
2596 | 99.0083
2595 | 98.9994
2594 | 98.99
2593 | 98.9801
2592 | 98.9708
2591 | 98.963
2590 | 98.9565
2589 | 98.95
2588 | 98.9423
2587 | 98.9338
2586 | 98.9256
2585 | 98.9187
2584 | 98.9136
2583 | 98.9096
2582 | 98.9055
2581 | 98.9004
2580 | 98.8943
2579 | 98.8875
2578 | 98.8795
2577 | 98.8697
2576 | 98.8597
2575 | 98.8518
2574 | 98.8474
2573 | 98.8458
2572 | 98.8448
2571 | 98.8427
2570 | 98.8383
2569 | 98.8315
2568 | 98.8243
2567 | 98.8191
2566 | 98.8163
2565 | 98.8139
2564 | 98.8104
2563 | 98.8059
2562 | 98.8012
2561 | 98.7958
2560 | 98.7899
2559 | 98.7848
2558 | 98.782
2557 | 98.7809
2556 | 98.7798
2555 | 98.7776
2554 | 98.7748
2553 | 98.7721
2552 | 98.7693
2551 | 98.7662
2550 | 98.7628
2549 | 98.7594
2548 | 98.7571
2547 | 98.7572
2546 | 98.7592
2545 | 98.7612
2544 | 98.7614
2543 | 98.7604
2542 | 98.7597
2541 | 98.7594
2540 | 98.7583
2539 | 98.7564
2538 | 98.7553
2537 | 98.7562
2536 | 98.7586
2535 | 98.7606
2534 | 98.7614
2533 | 98.761
2532 | 98.7605
2531 | 98.7607
2530 | 98.7618
2529 | 98.7632
2528 | 98.7645
2527 | 98.7658
2526 | 98.7668
2525 | 98.7676
2524 | 98.7681
2523 | 98.7686
2522 | 98.7693
2521 | 98.7705
2520 | 98.7723
2519 | 98.7751
2518 | 98.7782
2517 | 98.7803
2516 | 98.7816
2515 | 98.7833
2514 | 98.7866
2513 | 98.7903
2512 | 98.7922
2511 | 98.7917
2510 | 98.7904
2509 | 98.7901
2508 | 98.7915
2507 | 98.7943
2506 | 98.7979
2505 | 98.8018
2504 | 98.8056
2503 | 98.8089
2502 | 98.8115
2501 | 98.8135
2500 | 98.8147
2499 | 98.8152
2498 | 98.815
2497 | 98.8146
2496 | 98.8157
2495 | 98.8197
2494 | 98.8261
2493 | 98.8333
2492 | 98.8396
2491 | 98.8447
2490 | 98.849
2489 | 98.8533
2488 | 98.8581
2487 | 98.8635
2486 | 98.8688
2485 | 98.8728
2484 | 98.8761
2483 | 98.8806
2482 | 98.8875
2481 | 98.8958
2480 | 98.9028
2479 | 98.907
2478 | 98.9082
2477 | 98.9078
2476 | 98.9078
2475 | 98.9102
2474 | 98.9154
2473 | 98.9224
2472 | 98.9292
2471 | 98.9349
2470 | 98.9397
2469 | 98.9449
2468 | 98.9512
2467 | 98.959
2466 | 98.9669
2465 | 98.9731
2464 | 98.9769
2463 | 98.9788
2462 | 98.9792
2461 | 98.9781
2460 | 98.976
2459 | 98.9748
2458 | 98.9759
2457 | 98.9779
2456 | 98.9784
2455 | 98.9767
2454 | 98.9744
2453 | 98.9732
2452 | 98.9726
2451 | 98.9711
2450 | 98.9679
2449 | 98.9643
2448 | 98.9625
2447 | 98.9641
2446 | 98.9687
2445 | 98.974
2444 | 98.9775
2443 | 98.9788
2442 | 98.9796
2441 | 98.9826
2440 | 98.9888
2439 | 98.9974
2438 | 99.0058
2437 | 99.0121
2436 | 99.0167
2435 | 99.0217
2434 | 99.0281
2433 | 99.0343
2432 | 99.0383
2431 | 99.0405
2430 | 99.0435
2429 | 99.0494
2428 | 99.058
2427 | 99.0677
2426 | 99.0768
2425 | 99.0844
2424 | 99.0915
2423 | 99.0998
2422 | 99.1102
2421 | 99.1222
2420 | 99.1338
2419 | 99.1434
2418 | 99.1506
2417 | 99.156
2416 | 99.1613
2415 | 99.1684
2414 | 99.1786
2413 | 99.1909
2412 | 99.2032
2411 | 99.2138
2410 | 99.2221
2409 | 99.2294
2408 | 99.2373
2407 | 99.2475
2406 | 99.26
2405 | 99.2737
2404 | 99.2876
2403 | 99.3015
2402 | 99.3153
2401 | 99.3284
2400 | 99.3407
2399 | 99.3528
2398 | 99.3661
2397 | 99.3809
2396 | 99.3958
2395 | 99.4083
2394 | 99.4173
2393 | 99.4243
2392 | 99.4325
2391 | 99.4446
2390 | 99.4605
2389 | 99.478
2388 | 99.4956
2387 | 99.5128
2386 | 99.5296
2385 | 99.5457
2384 | 99.5615
2383 | 99.5783
2382 | 99.5971
2381 | 99.6176
2380 | 99.6384
2379 | 99.6594
2378 | 99.6805
2377 | 99.7009
2376 | 99.7182
2375 | 99.7307
2374 | 99.7391
2373 | 99.7453
2372 | 99.7499
2371 | 99.7529
2370 | 99.7554
2369 | 99.7605
2368 | 99.77
2367 | 99.7826
2366 | 99.795
2365 | 99.8061
2364 | 99.8185
2363 | 99.8317
2362 | 99.843
2361 | 99.8517
2360 | 99.8594
2359 | 99.8685
2358 | 99.8775
2357 | 99.8868
2356 | 99.9018
2355 | 99.9234
2354 | 99.9416
2353 | 99.9431
2352 | 99.9311
2351 | 99.922
2350 | 99.9285
2349 | 99.9538
2348 | 99.9834
2347 | 99.994
2346 | 99.9738
2345 | 99.9403
2344 | 99.9205
2343 | 99.9192
2342 | 99.9285
2341 | 99.94
2340 | 99.9518
2339 | 99.9643
2338 | 99.9789
2337 | 99.9949
2336 | 100.0122
2335 | 100.029
2334 | 100.0427
2333 | 100.0471
2332 | 100.0413
2331 | 100.0304
2330 | 100.0183
2329 | 100.0074
2328 | 99.9955
2327 | 99.9814
2326 | 99.9598
2325 | 99.9242
2324 | 99.8748
2323 | 99.819
2322 | 99.768
2321 | 99.7254
2320 | 99.6905
2319 | 99.6608
2318 | 99.6365
2317 | 99.6167
2316 | 99.5987
2315 | 99.5779
2314 | 99.5504
2313 | 99.5156
2312 | 99.4766
2311 | 99.4386
2310 | 99.4044
2309 | 99.3733
2308 | 99.3445
2307 | 99.3193
2306 | 99.2992
2305 | 99.2832
2304 | 99.2681
2303 | 99.2517
2302 | 99.2329
2301 | 99.2117
2300 | 99.1887
2299 | 99.1657
2298 | 99.1435
2297 | 99.1215
2296 | 99.0986
2295 | 99.075
2294 | 99.0518
2293 | 99.0285
2292 | 99.0035
2291 | 98.9757
2290 | 98.9443
2289 | 98.9087
2288 | 98.8689
2287 | 98.8269
2286 | 98.7858
2285 | 98.7471
2284 | 98.7099
2283 | 98.6727
2282 | 98.6351
2281 | 98.5974
2280 | 98.5605
2279 | 98.5256
2278 | 98.4941
2277 | 98.4658
2276 | 98.4384
2275 | 98.4096
2274 | 98.3784
2273 | 98.3463
2272 | 98.3148
2271 | 98.285
2270 | 98.2568
2269 | 98.2296
2268 | 98.2029
2267 | 98.1763
2266 | 98.1498
2265 | 98.1238
2264 | 98.0992
2263 | 98.0768
2262 | 98.0562
2261 | 98.0347
2260 | 98.0098
2259 | 97.9813
2258 | 97.9514
2257 | 97.9223
2256 | 97.8951
2255 | 97.8715
2254 | 97.8536
2253 | 97.8419
2252 | 97.8332
2251 | 97.8233
2250 | 97.8099
2249 | 97.7929
2248 | 97.7732
2247 | 97.7521
2246 | 97.7311
2245 | 97.7112
2244 | 97.6918
2243 | 97.6711
2242 | 97.6483
2241 | 97.6239
2240 | 97.5999
2239 | 97.5783
2238 | 97.5599
2237 | 97.5434
2236 | 97.5263
2235 | 97.5074
2234 | 97.4871
2233 | 97.4658
2232 | 97.4434
2231 | 97.4208
2230 | 97.4003
2229 | 97.3834
2228 | 97.3689
2227 | 97.3547
2226 | 97.3392
2225 | 97.3215
2224 | 97.3015
2223 | 97.2802
2222 | 97.2604
2221 | 97.243
2220 | 97.2259
2219 | 97.2068
2218 | 97.1864
2217 | 97.1674
2216 | 97.1508
2215 | 97.1363
2214 | 97.1227
2213 | 97.109
2212 | 97.094
2211 | 97.0773
2210 | 97.0605
2209 | 97.0439
2208 | 97.0266
2207 | 97.0086
2206 | 96.9921
2205 | 96.9787
2204 | 96.9658
2203 | 96.9506
2202 | 96.9338
2201 | 96.9177
2200 | 96.9022
2199 | 96.885
2198 | 96.8665
2197 | 96.8482
2196 | 96.8295
2195 | 96.8087
2194 | 96.7866
2193 | 96.7649
2192 | 96.7422
2191 | 96.7154
2190 | 96.6858
2189 | 96.6589
2188 | 96.6376
2187 | 96.6182
2186 | 96.5954
2185 | 96.5683
2184 | 96.5391
2183 | 96.5115
2182 | 96.4894
2181 | 96.476
2180 | 96.471
2179 | 96.4706
2178 | 96.4713
2177 | 96.4713
2176 | 96.4686
2175 | 96.4614
2174 | 96.4502
2173 | 96.4379
2172 | 96.4253
2171 | 96.4092
2170 | 96.386
2169 | 96.3554
2168 | 96.318
2167 | 96.2729
2166 | 96.2184
2165 | 96.1544
2164 | 96.0825
2163 | 96.0045
2162 | 95.9241
2161 | 95.8512
2160 | 95.8029
2159 | 95.7978
2158 | 95.8452
2157 | 95.9365
2156 | 96.0494
2155 | 96.1626
2154 | 96.2652
2153 | 96.355
2152 | 96.4332
2151 | 96.5029
2150 | 96.5678
2149 | 96.6295
2148 | 96.6877
2147 | 96.7439
2146 | 96.802
2145 | 96.8637
2144 | 96.9268
2143 | 96.9883
2142 | 97.0474
2141 | 97.104
2140 | 97.1576
2139 | 97.2091
2138 | 97.2614
2137 | 97.3175
2136 | 97.3797
2135 | 97.4504
2134 | 97.5308
2133 | 97.6173
2132 | 97.7029
2131 | 97.7831
2130 | 97.8572
2129 | 97.9245
2128 | 97.9834
2127 | 98.0339
2126 | 98.0783
2125 | 98.1178
2124 | 98.1515
2123 | 98.1794
2122 | 98.2038
2121 | 98.2261
2120 | 98.2453
2119 | 98.2602
2118 | 98.2722
2117 | 98.2828
2116 | 98.2914
2115 | 98.2959
2114 | 98.2959
2113 | 98.2919
2112 | 98.2852
2111 | 98.2779
2110 | 98.2728
2109 | 98.2706
2108 | 98.2689
2107 | 98.2647
2106 | 98.2583
2105 | 98.2525
2104 | 98.2496
2103 | 98.2495
2102 | 98.2503
2101 | 98.25
2100 | 98.2477
2099 | 98.2439
2098 | 98.2407
2097 | 98.2405
2096 | 98.2449
2095 | 98.2541
2094 | 98.2675
2093 | 98.2829
2092 | 98.2982
2091 | 98.3123
2090 | 98.3251
2089 | 98.3361
2088 | 98.3429
2087 | 98.343
2086 | 98.3351
2085 | 98.3209
2084 | 98.3039
2083 | 98.2878
2082 | 98.2736
2081 | 98.2589
2080 | 98.2405
2079 | 98.2173
2078 | 98.1901
2077 | 98.1604
2076 | 98.1304
2075 | 98.1029
2074 | 98.0794
2073 | 98.0593
2072 | 98.0417
2071 | 98.0269
2070 | 98.0137
2069 | 97.9975
2068 | 97.9739
2067 | 97.9454
2066 | 97.9192
2065 | 97.9004
2064 | 97.8876
2063 | 97.877
2062 | 97.8672
2061 | 97.8568
2060 | 97.8424
2059 | 97.821
2058 | 97.793
2057 | 97.7619
2056 | 97.7308
2055 | 97.7004
2054 | 97.6678
2053 | 97.6257
2052 | 97.5668
2051 | 97.4904
2050 | 97.4064
2049 | 97.3279
2048 | 97.2629
2047 | 97.2114
2046 | 97.1695
2045 | 97.1327
2044 | 97.0968
2043 | 97.0588
2042 | 97.0193
2041 | 96.9799
2040 | 96.9393
2039 | 96.8947
2038 | 96.8461
2037 | 96.7969
2036 | 96.7506
2035 | 96.7113
2034 | 96.6841
2033 | 96.6707
2032 | 96.667
2031 | 96.667
2030 | 96.6688
2029 | 96.673
2028 | 96.6781
2027 | 96.6823
2026 | 96.6873
2025 | 96.6955
2024 | 96.7055
2023 | 96.7143
2022 | 96.7227
2021 | 96.7343
2020 | 96.7503
2019 | 96.7701
2018 | 96.7932
2017 | 96.8168
2016 | 96.8348
2015 | 96.8443
2014 | 96.8506
2013 | 96.8612
2012 | 96.8762
2011 | 96.89
2010 | 96.9
2009 | 96.9087
2008 | 96.921
2007 | 96.9431
2006 | 96.9816
2005 | 97.0367
2004 | 97.099
2003 | 97.1569
2002 | 97.2077
2001 | 97.2547
2000 | 97.2972
1999 | 97.3303
1998 | 97.3521
1997 | 97.3663
1996 | 97.3775
1995 | 97.3878
1994 | 97.3973
1993 | 97.4046
1992 | 97.407
1991 | 97.4034
1990 | 97.3955
1989 | 97.3856
1988 | 97.3733
1987 | 97.3566
1986 | 97.3348
1985 | 97.3082
1984 | 97.2754
1983 | 97.2329
1982 | 97.1777
1981 | 97.1104
1980 | 97.0366
1979 | 96.9689
1978 | 96.9219
1977 | 96.904
1976 | 96.9123
1975 | 96.9376
1974 | 96.9717
1973 | 97.0092
1972 | 97.047
1971 | 97.0845
1970 | 97.1244
1969 | 97.1683
1968 | 97.2147
1967 | 97.2609
1966 | 97.3057
1965 | 97.3474
1964 | 97.384
1963 | 97.4164
1962 | 97.4514
1961 | 97.4971
1960 | 97.5568
1959 | 97.6262
1958 | 97.697
1957 | 97.7627
1956 | 97.8218
1955 | 97.8762
1954 | 97.9265
1953 | 97.9701
1952 | 98.0074
1951 | 98.0444
1950 | 98.0879
1949 | 98.1374
1948 | 98.1861
1947 | 98.228
1946 | 98.263
1945 | 98.2965
1944 | 98.3349
1943 | 98.3814
1942 | 98.431
1941 | 98.4737
1940 | 98.5054
1939 | 98.5324
1938 | 98.5633
1937 | 98.6004
1936 | 98.6404
1935 | 98.6812
1934 | 98.7221
1933 | 98.7607
1932 | 98.7946
1931 | 98.8257
1930 | 98.8597
1929 | 98.8985
1928 | 98.9378
1927 | 98.973
1926 | 99.0047
1925 | 99.038
1924 | 99.0764
1923 | 99.1164
1922 | 99.1488
1921 | 99.1674
1920 | 99.1779
1919 | 99.1934
1918 | 99.2206
1917 | 99.2512
1916 | 99.2739
1915 | 99.2891
1914 | 99.3053
1913 | 99.3258
1912 | 99.3476
1911 | 99.3689
1910 | 99.3907
1909 | 99.4115
1908 | 99.4283
1907 | 99.443
1906 | 99.4607
1905 | 99.4813
1904 | 99.4994
1903 | 99.5135
1902 | 99.5286
1901 | 99.5472
1900 | 99.566
1899 | 99.582
1898 | 99.5961
1897 | 99.6106
1896 | 99.6261
1895 | 99.6425
1894 | 99.6589
1893 | 99.6729
1892 | 99.6847
1891 | 99.7007
1890 | 99.7262
1889 | 99.7554
1888 | 99.7765
1887 | 99.7877
1886 | 99.7968
1885 | 99.8092
1884 | 99.8233
1883 | 99.837
1882 | 99.8508
1881 | 99.8638
1880 | 99.8739
1879 | 99.8834
1878 | 99.897
1877 | 99.9147
1876 | 99.9318
1875 | 99.9462
1874 | 99.9595
1873 | 99.9702
1872 | 99.9748
1871 | 99.9782
1870 | 99.9941
1869 | 100.0281
1868 | 100.0651
1867 | 100.0873
1866 | 100.0937
1865 | 100.0929
1864 | 100.0909
1863 | 100.0913
1862 | 100.097
1861 | 100.1079
1860 | 100.1204
1859 | 100.1327
1858 | 100.1466
1857 | 100.1619
1856 | 100.1746
1855 | 100.1834
1854 | 100.1923
1853 | 100.2029
1852 | 100.2124
1851 | 100.2201
1850 | 100.2287
1849 | 100.2382
1848 | 100.2439
1847 | 100.2449
1846 | 100.2494
1845 | 100.2686
1844 | 100.3018
1843 | 100.3337
1842 | 100.3518
1841 | 100.3574
1840 | 100.3605
1839 | 100.3692
1838 | 100.3837
1837 | 100.3977
1836 | 100.4063
1835 | 100.4101
1834 | 100.4108
1833 | 100.4088
1832 | 100.4099
1831 | 100.4259
1830 | 100.4569
1829 | 100.4842
1828 | 100.4923
1827 | 100.4867
1826 | 100.484
1825 | 100.4931
1824 | 100.5082
1823 | 100.519
1822 | 100.5235
1821 | 100.5265
1820 | 100.5324
1819 | 100.5431
1818 | 100.5606
1817 | 100.5846
1816 | 100.6088
1815 | 100.6261
1814 | 100.6365
1813 | 100.6458
1812 | 100.6588
1811 | 100.6738
1810 | 100.687
1809 | 100.6973
1808 | 100.7038
1807 | 100.7072
1806 | 100.7102
1805 | 100.7139
1804 | 100.7164
1803 | 100.7173
1802 | 100.7209
1801 | 100.7301
1800 | 100.7409
1799 | 100.7473
1798 | 100.7492
1797 | 100.749
1796 | 100.7457
1795 | 100.7393
1794 | 100.7355
1793 | 100.7431
1792 | 100.7618
1791 | 100.7796
1790 | 100.7877
1789 | 100.7856
1788 | 100.7763
1787 | 100.7659
1786 | 100.7615
1785 | 100.7651
1784 | 100.7701
1783 | 100.7719
1782 | 100.7725
1781 | 100.7749
1780 | 100.7777
1779 | 100.7775
1778 | 100.7748
1777 | 100.7717
1776 | 100.7695
1775 | 100.7697
1774 | 100.7748
1773 | 100.7869
1772 | 100.7999
1771 | 100.7995
1770 | 100.7825
1769 | 100.7604
1768 | 100.7455
1767 | 100.7391
1766 | 100.7321
1765 | 100.7171
1764 | 100.6977
1763 | 100.6831
1762 | 100.6767
1761 | 100.6718
1760 | 100.6612
1759 | 100.6444
1758 | 100.6263
1757 | 100.6106
1756 | 100.598
1755 | 100.5858
1754 | 100.5697
1753 | 100.5494
1752 | 100.5328
1751 | 100.5285
1750 | 100.5321
1749 | 100.5297
1748 | 100.5173
1747 | 100.5017
1746 | 100.486
1745 | 100.4687
1744 | 100.4517
1743 | 100.4373
1742 | 100.4238
1741 | 100.4106
1740 | 100.4017
1739 | 100.3975
1738 | 100.3892
1737 | 100.3714
1736 | 100.3509
1735 | 100.3456
1734 | 100.3646
1733 | 100.3833
1732 | 100.3782
1731 | 100.3591
1730 | 100.3442
1729 | 100.3361
1728 | 100.3298
1727 | 100.3243
1726 | 100.3201
1725 | 100.3166
1724 | 100.314
1723 | 100.3127
1722 | 100.3113
1721 | 100.3077
1720 | 100.3065
1719 | 100.3185
1718 | 100.3454
1717 | 100.3686
1716 | 100.3688
1715 | 100.3507
1714 | 100.3329
1713 | 100.3225
1712 | 100.3127
1711 | 100.3002
1710 | 100.2885
1709 | 100.2774
1708 | 100.2631
1707 | 100.2477
1706 | 100.235
1705 | 100.2204
1704 | 100.1928
1703 | 100.1494
1702 | 100.0924
1701 | 100.0377
1700 | 100.0128
1699 | 100.013
1698 | 100.0112
1697 | 99.9855
1696 | 99.9197
1695 | 99.8249
1694 | 99.7287
1693 | 99.6378
1692 | 99.5458
1691 | 99.4463
1690 | 99.3365
1689 | 99.223
1688 | 99.1224
1687 | 99.0445
1686 | 98.977
1685 | 98.8986
1684 | 98.8019
1683 | 98.7211
1682 | 98.6889
1681 | 98.6905
1680 | 98.7064
1679 | 98.7278
1678 | 98.7478
1677 | 98.7609
1676 | 98.7689
1675 | 98.78
1674 | 98.7928
1673 | 98.7973
1672 | 98.7899
1671 | 98.7729
1670 | 98.7464
1669 | 98.7097
1668 | 98.6728
1667 | 98.6469
1666 | 98.6282
1665 | 98.6068
1664 | 98.5771
1663 | 98.5409
1662 | 98.5031
1661 | 98.4672
1660 | 98.435
1659 | 98.4092
1658 | 98.3911
1657 | 98.3819
1656 | 98.3839
1655 | 98.394
1654 | 98.3933
1653 | 98.3528
1652 | 98.3008
1651 | 98.2759
1650 | 98.2657
1649 | 98.2662
1648 | 98.2678
1647 | 98.2505
1646 | 98.2175
1645 | 98.1915
1644 | 98.1769
1643 | 98.1671
1642 | 98.1607
1641 | 98.1541
1640 | 98.1464
1639 | 98.1427
1638 | 98.1441
1637 | 98.1364
1636 | 98.0946
1635 | 98.0247
1634 | 97.964
1633 | 97.9194
1632 | 97.8731
1631 | 97.8157
1630 | 97.7421
1629 | 97.643
1628 | 97.5107
1627 | 97.3569
1626 | 97.2005
1625 | 97.0392
1624 | 96.8593
1623 | 96.6758
1622 | 96.5404
1621 | 96.4847
1620 | 96.4997
1619 | 96.5754
1618 | 96.7167
1617 | 96.9184
1616 | 97.1364
1615 | 97.324
1614 | 97.479
1613 | 97.6194
1612 | 97.753
1611 | 97.8784
1610 | 97.9918
1609 | 98.0877
1608 | 98.1626
1607 | 98.2204
1606 | 98.2686
1605 | 98.31
1604 | 98.3444
1603 | 98.3709
1602 | 98.39
1601 | 98.4018
1600 | 98.4075
1599 | 98.4102
1598 | 98.413
1597 | 98.4171
1596 | 98.4221
1595 | 98.4293
1594 | 98.4422
1593 | 98.4623
1592 | 98.4896
1591 | 98.5248
1590 | 98.5688
1589 | 98.6193
1588 | 98.6721
1587 | 98.7259
1586 | 98.7814
1585 | 98.8363
1584 | 98.8882
1583 | 98.9389
1582 | 98.9903
1581 | 99.0409
1580 | 99.091
1579 | 99.1454
1578 | 99.206
1577 | 99.264
1576 | 99.3042
1575 | 99.3225
1574 | 99.3289
1573 | 99.3327
1572 | 99.3396
1571 | 99.3508
1570 | 99.3646
1569 | 99.3737
1568 | 99.378
1567 | 99.3834
1566 | 99.3906
1565 | 99.3974
1564 | 99.4056
1563 | 99.417
1562 | 99.4293
1561 | 99.4295
1560 | 99.4281
1559 | 99.4294
1558 | 99.4187
1557 | 99.4181
1556 | 99.4265
1555 | 99.4346
1554 | 99.4404
1553 | 99.4433
1552 | 99.4459
1551 | 99.4508
1550 | 99.4594
1549 | 99.4718
1548 | 99.485
1547 | 99.4963
1546 | 99.5063
1545 | 99.5205
1544 | 99.5432
1543 | 99.5746
1542 | 99.6164
1541 | 99.6701
1540 | 99.7159
1539 | 99.738
1538 | 99.7465
1537 | 99.7458
1536 | 99.742
1535 | 99.7448
1534 | 99.7583
1533 | 99.7781
1532 | 99.7979
1531 | 99.8142
1530 | 99.8246
1529 | 99.8301
1528 | 99.832
1527 | 99.8309
1526 | 99.8287
1525 | 99.8291
1524 | 99.8329
1523 | 99.8333
1522 | 99.8178
1521 | 99.7826
1520 | 99.7423
1519 | 99.7062
1518 | 99.6689
1517 | 99.6243
1516 | 99.5764
1515 | 99.5364
1514 | 99.5044
1513 | 99.4728
1512 | 99.4404
1511 | 99.4097
1510 | 99.3846
1509 | 99.3682
1508 | 99.3647
1507 | 99.361
1506 | 99.3497
1505 | 99.351
1504 | 99.3612
1503 | 99.3712
1502 | 99.3852
1501 | 99.4075
1500 | 99.4422
1499 | 99.4908
1498 | 99.5477
1497 | 99.6072
1496 | 99.6658
1495 | 99.7171
1494 | 99.7547
1493 | 99.7801
1492 | 99.801
1491 | 99.8259
1490 | 99.8556
1489 | 99.8823
1488 | 99.9
1487 | 99.9071
1486 | 99.9073
1485 | 99.9018
1484 | 99.8897
1483 | 99.872
1482 | 99.8488
1481 | 99.8198
1480 | 99.7862
1479 | 99.7481
1478 | 99.7034
1477 | 99.6507
1476 | 99.5926
1475 | 99.5297
1474 | 99.4537
1473 | 99.3529
1472 | 99.2369
1471 | 99.1325
1470 | 99.0488
1469 | 98.9767
1468 | 98.9088
1467 | 98.8417
1466 | 98.7712
1465 | 98.6971
1464 | 98.6325
1463 | 98.5915
1462 | 98.5712
1461 | 98.5629
1460 | 98.563
1459 | 98.566
1458 | 98.5534
1457 | 98.5153
1456 | 98.4841
1455 | 98.4831
1454 | 98.4974
1453 | 98.5174
1452 | 98.5425
1451 | 98.5703
1450 | 98.5974
1449 | 98.6233
1448 | 98.6498
1447 | 98.6767
1446 | 98.702
1445 | 98.7246
1444 | 98.7448
1443 | 98.7608
1442 | 98.7698
1441 | 98.7727
1440 | 98.7716
1439 | 98.7625
1438 | 98.7347
1437 | 98.6844
1436 | 98.6275
1435 | 98.5824
1434 | 98.5455
1433 | 98.5047
1432 | 98.4547
1431 | 98.3963
1430 | 98.3317
1429 | 98.2664
1428 | 98.2118
1427 | 98.1739
1426 | 98.1461
1425 | 98.1194
1424 | 98.0973
1423 | 98.0912
1422 | 98.1018
1421 | 98.1189
1420 | 98.1378
1419 | 98.1615
1418 | 98.1912
1417 | 98.2309
1416 | 98.2845
1415 | 98.3466
1414 | 98.4064
1413 | 98.4585
1412 | 98.5067
1411 | 98.5547
1410 | 98.5994
1409 | 98.6377
1408 | 98.6712
1407 | 98.701
1406 | 98.7253
1405 | 98.744
1404 | 98.7636
1403 | 98.7884
1402 | 98.8132
1401 | 98.8318
1400 | 98.8448
1399 | 98.8562
1398 | 98.868
1397 | 98.8804
1396 | 98.8933
1395 | 98.9052
1394 | 98.9133
1393 | 98.9167
1392 | 98.9181
1391 | 98.9171
1390 | 98.9097
1389 | 98.8915
1388 | 98.8626
1387 | 98.8284
1386 | 98.7952
1385 | 98.7637
1384 | 98.7293
1383 | 98.6876
1382 | 98.6381
1381 | 98.5845
1380 | 98.5312
1379 | 98.4822
1378 | 98.4409
1377 | 98.4065
1376 | 98.3733
1375 | 98.3348
1374 | 98.2906
1373 | 98.2503
1372 | 98.2238
1371 | 98.2121
1370 | 98.2098
1369 | 98.2115
1368 | 98.2164
1367 | 98.2267
1366 | 98.2415
1365 | 98.2567
1364 | 98.2692
1363 | 98.2796
1362 | 98.2938
1361 | 98.3179
1360 | 98.3515
1359 | 98.3883
1358 | 98.4222
1357 | 98.4498
1356 | 98.4712
1355 | 98.4882
1354 | 98.5023
1353 | 98.5142
1352 | 98.5233
1351 | 98.5274
1350 | 98.5247
1349 | 98.5136
1348 | 98.4939
1347 | 98.4659
1346 | 98.4304
1345 | 98.3881
1344 | 98.341
1343 | 98.2904
1342 | 98.2348
1341 | 98.1721
1340 | 98.1039
1339 | 98.0378
1338 | 97.9817
1337 | 97.9373
1336 | 97.9024
1335 | 97.8754
1334 | 97.8553
1333 | 97.8407
1332 | 97.8299
1331 | 97.822
1330 | 97.816
1329 | 97.8099
1328 | 97.8013
1327 | 97.7884
1326 | 97.7698
1325 | 97.7435
1324 | 97.7098
1323 | 97.6723
1322 | 97.6339
1321 | 97.5954
1320 | 97.5577
1319 | 97.5248
1318 | 97.5027
1317 | 97.4959
1316 | 97.5061
1315 | 97.533
1314 | 97.5743
1313 | 97.6277
1312 | 97.692
1311 | 97.7665
1310 | 97.8485
1309 | 97.9343
1308 | 98.0214
1307 | 98.109
1306 | 98.1959
1305 | 98.2799
1304 | 98.3594
1303 | 98.4342
1302 | 98.5038
1301 | 98.5674
1300 | 98.6247
1299 | 98.6757
1298 | 98.7198
1297 | 98.7562
1296 | 98.7856
1295 | 98.8093
1294 | 98.828
1293 | 98.8421
1292 | 98.8526
1291 | 98.86
1290 | 98.8639
1289 | 98.8632
1288 | 98.8575
1287 | 98.8474
1286 | 98.8332
1285 | 98.8144
1284 | 98.7921
1283 | 98.7679
1282 | 98.7433
1281 | 98.719
1280 | 98.6954
1279 | 98.6728
1278 | 98.6502
1277 | 98.6262
1276 | 98.6008
1275 | 98.5753
1274 | 98.5512
1273 | 98.529
1272 | 98.5095
1271 | 98.4935
1270 | 98.4808
1269 | 98.4705
1268 | 98.4623
1267 | 98.4562
1266 | 98.4511
1265 | 98.4448
1264 | 98.4367
1263 | 98.4284
1262 | 98.421
1261 | 98.4137
1260 | 98.4057
1259 | 98.3975
1258 | 98.3891
1257 | 98.3802
1256 | 98.37
1255 | 98.3577
1254 | 98.342
1253 | 98.3216
1252 | 98.2971
1251 | 98.2697
1250 | 98.24
1249 | 98.2081
1248 | 98.175
1247 | 98.1434
1246 | 98.1151
1245 | 98.0907
1244 | 98.0705
1243 | 98.0548
1242 | 98.0422
1241 | 98.0302
1240 | 98.0177
1239 | 98.0052
1238 | 97.9932
1237 | 97.9815
1236 | 97.9709
1235 | 97.9631
1234 | 97.9585
1233 | 97.957
1232 | 97.9586
1231 | 97.9641
1230 | 97.9728
1229 | 97.9837
1228 | 97.9968
1227 | 98.0136
1226 | 98.0336
1225 | 98.055
1224 | 98.0772
1223 | 98.1014
1222 | 98.1274
1221 | 98.1538
1220 | 98.1798
1219 | 98.2053
1218 | 98.2295
1217 | 98.2505
1216 | 98.2676
1215 | 98.2811
1214 | 98.2897
1213 | 98.2902
1212 | 98.2797
1211 | 98.2581
1210 | 98.2272
1209 | 98.1907
1208 | 98.1541
1207 | 98.1232
1206 | 98.1008
1205 | 98.0865
1204 | 98.0798
1203 | 98.0803
1202 | 98.087
1201 | 98.0975
1200 | 98.1099
1199 | 98.123
1198 | 98.1342
1197 | 98.1401
1196 | 98.1386
1195 | 98.1284
1194 | 98.1072
1193 | 98.0725
1192 | 98.0237
1191 | 97.9607
1190 | 97.8824
1189 | 97.7865
1188 | 97.6732
1187 | 97.5449
1186 | 97.4032
1185 | 97.2471
1184 | 97.0758
1183 | 96.8904
1182 | 96.6916
1181 | 96.4786
1180 | 96.2517
1179 | 96.0131
1178 | 95.7637
1177 | 95.5007
1176 | 95.2221
1175 | 94.9293
1174 | 94.6243
1173 | 94.307
1172 | 93.9777
1171 | 93.6396
1170 | 93.2969
1169 | 92.9521
1168 | 92.6093
1167 | 92.2761
1166 | 91.9581
1165 | 91.6571
1164 | 91.3757
1163 | 91.1197
1162 | 90.8905
1161 | 90.6819
1160 | 90.4882
1159 | 90.3085
1158 | 90.1402
1157 | 89.9762
1156 | 89.812
1155 | 89.6493
1154 | 89.4874
1153 | 89.32
1152 | 89.1446
1151 | 88.9664
1150 | 88.7886
1149 | 88.607
1148 | 88.4196
1147 | 88.2325
1146 | 88.0495
1145 | 87.8677
1144 | 87.6866
1143 | 87.5118
1142 | 87.3448
1141 | 87.1779
1140 | 87.0067
1139 | 86.8358
1138 | 86.6668
1137 | 86.4914
1136 | 86.3042
1135 | 86.1109
1134 | 85.9169
1133 | 85.7188
1132 | 85.5136
1131 | 85.306
1130 | 85.0981
1129 | 84.8834
1128 | 84.6602
1127 | 84.4387
1126 | 84.2281
1125 | 84.0273
1124 | 83.8355
1123 | 83.6598
1122 | 83.5016
1121 | 83.3499
1120 | 83.1949
1119 | 83.0373
1118 | 82.8769
1117 | 82.7069
1116 | 82.528
1115 | 82.356
1114 | 82.2067
1113 | 82.0857
1112 | 81.9992
1111 | 81.9582
1110 | 81.9646
1109 | 82.0059
1108 | 82.0732
1107 | 82.1699
1106 | 82.2971
1105 | 82.4457
1104 | 82.6111
1103 | 82.7987
1102 | 83.0074
1101 | 83.2247
1100 | 83.4426
1099 | 83.6648
1098 | 83.8927
1097 | 84.1177
1096 | 84.3347
1095 | 84.5486
1094 | 84.7605
1093 | 84.9627
1092 | 85.1514
1091 | 85.3319
1090 | 85.5071
1089 | 85.672
1088 | 85.8241
1087 | 85.9681
1086 | 86.104
1085 | 86.2231
1084 | 86.3206
1083 | 86.4003
1082 | 86.4635
1081 | 86.505
1080 | 86.5248
1079 | 86.5333
1078 | 86.5381
1077 | 86.5379
1076 | 86.5316
1075 | 86.5242
1074 | 86.5158
1073 | 86.497
1072 | 86.4594
1071 | 86.4028
1070 | 86.3256
1069 | 86.2195
1068 | 86.0791
1067 | 85.9073
1066 | 85.708
1065 | 85.4823
1064 | 85.2382
1063 | 84.9943
1062 | 84.7676
1061 | 84.5656
1060 | 84.3943
1059 | 84.2617
1058 | 84.1673
1057 | 84.0998
1056 | 84.052
1055 | 84.027
1054 | 84.025
1053 | 84.0366
1052 | 84.0552
1051 | 84.0842
1050 | 84.125
1049 | 84.1698
1048 | 84.2124
1047 | 84.2535
1046 | 84.2904
1045 | 84.312
1044 | 84.3107
1043 | 84.2874
1042 | 84.2418
1041 | 84.1688
1040 | 84.0687
1039 | 83.9525
1038 | 83.831
1037 | 83.7095
1036 | 83.5962
1035 | 83.5057
1034 | 83.4476
1033 | 83.4206
1032 | 83.4225
1031 | 83.4565
1030 | 83.5214
1029 | 83.6088
1028 | 83.7127
1027 | 83.8334
1026 | 83.9693
1025 | 84.1131
1024 | 84.2612
1023 | 84.416
1022 | 84.5769
1021 | 84.7376
1020 | 84.8952
1019 | 85.0542
1018 | 85.2173
1017 | 85.3796
1016 | 85.536
1015 | 85.6856
1014 | 85.8257
1013 | 85.9496
1012 | 86.0527
1011 | 86.1349
1010 | 86.194
1009 | 86.2233
1008 | 86.2197
1007 | 86.1908
1006 | 86.1553
1005 | 86.1398
1004 | 86.1719
1003 | 86.2663
1002 | 86.4135
1001 | 86.5879
1000 | 86.7686
999 | 86.9482
998 | 87.1233
997 | 87.2878
996 | 87.4378
995 | 87.574
994 | 87.6955
993 | 87.7987
992 | 87.8829
991 | 87.9529
990 | 88.0127
989 | 88.0642
988 | 88.1131
987 | 88.1721
986 | 88.2537
985 | 88.3655
984 | 88.5138
983 | 88.7037
982 | 88.9334
981 | 89.1917
980 | 89.4654
979 | 89.745
978 | 90.0228
977 | 90.2911
976 | 90.5454
975 | 90.786
974 | 91.0135
973 | 91.2266
972 | 91.4252
971 | 91.6122
970 | 91.7898
969 | 91.9586
968 | 92.1206
967 | 92.2793
966 | 92.4365
965 | 92.5914
964 | 92.7445
963 | 92.8977
962 | 93.0516
961 | 93.2035
960 | 93.3525
959 | 93.4999
958 | 93.647
957 | 93.7928
956 | 93.9369
955 | 94.0796
954 | 94.2192
953 | 94.3526
952 | 94.479
951 | 94.6007
950 | 94.7185
949 | 94.831
948 | 94.9371
947 | 95.0383
946 | 95.1348
945 | 95.2246
944 | 95.3063
943 | 95.381
942 | 95.4504
941 | 95.5149
940 | 95.575
939 | 95.6317
938 | 95.6848
937 | 95.7325
936 | 95.7745
935 | 95.8123
934 | 95.8474
933 | 95.8797
932 | 95.9102
931 | 95.9405
930 | 95.9699
929 | 95.9958
928 | 96.0171
927 | 96.0349
926 | 96.0499
925 | 96.0615
924 | 96.0699
923 | 96.0773
922 | 96.0844
921 | 96.0896
920 | 96.0915
919 | 96.0902
918 | 96.0856
917 | 96.076
916 | 96.0619
915 | 96.0461
914 | 96.0311
913 | 96.0176
912 | 96.0056
911 | 95.9954
910 | 95.9848
909 | 95.9702
908 | 95.9498
907 | 95.9248
906 | 95.8949
905 | 95.8578
904 | 95.8124
903 | 95.7621
902 | 95.7125
901 | 95.6677
900 | 95.6307
899 | 95.6053
898 | 95.5941
897 | 95.5984
896 | 95.6192
895 | 95.6566
894 | 95.7082
893 | 95.7691
892 | 95.8354
891 | 95.9053
890 | 95.9773
889 | 96.0491
888 | 96.1189
887 | 96.1864
886 | 96.2501
885 | 96.3086
884 | 96.3623
883 | 96.4119
882 | 96.4555
881 | 96.4901
880 | 96.5171
879 | 96.542
878 | 96.5682
877 | 96.5938
876 | 96.6174
875 | 96.6416
874 | 96.6702
873 | 96.7039
872 | 96.7404
871 | 96.776
870 | 96.8078
869 | 96.8343
868 | 96.8567
867 | 96.8769
866 | 96.8943
865 | 96.9066
864 | 96.9135
863 | 96.9162
862 | 96.915
861 | 96.9102
860 | 96.9045
859 | 96.9011
858 | 96.8997
857 | 96.8965
856 | 96.8891
855 | 96.8787
854 | 96.8672
853 | 96.8571
852 | 96.8506
851 | 96.8473
850 | 96.842
849 | 96.8294
848 | 96.8101
847 | 96.7891
846 | 96.768
845 | 96.7445
844 | 96.7184
843 | 96.6934
842 | 96.6711
841 | 96.6486
840 | 96.624
839 | 96.5997
838 | 96.5777
837 | 96.5578
836 | 96.5399
835 | 96.5251
834 | 96.512
833 | 96.4978
832 | 96.4829
831 | 96.4722
830 | 96.4676
829 | 96.4661
828 | 96.4646
827 | 96.4636
826 | 96.4628
825 | 96.4595
824 | 96.4532
823 | 96.4465
822 | 96.4406
821 | 96.4334
820 | 96.4244
819 | 96.4156
818 | 96.4068
817 | 96.3952
816 | 96.3811
815 | 96.3688
814 | 96.3596
813 | 96.3503
812 | 96.3387
811 | 96.3259
810 | 96.3119
809 | 96.2929
808 | 96.2682
807 | 96.2416
806 | 96.2161
805 | 96.1899
804 | 96.1617
803 | 96.1333
802 | 96.106
801 | 96.0789
800 | 96.0535
799 | 96.0345
798 | 96.0231
797 | 96.0146
796 | 96.0053
795 | 95.996
794 | 95.9871
793 | 95.9762
792 | 95.9627
791 | 95.949
790 | 95.9356
789 | 95.9179
788 | 95.8938
787 | 95.8662
786 | 95.8379
785 | 95.8081
784 | 95.7762
783 | 95.7445
782 | 95.7138
781 | 95.6819
780 | 95.6492
779 | 95.6206
778 | 95.5988
777 | 95.5804
776 | 95.5623
775 | 95.5443
774 | 95.5254
773 | 95.5021
772 | 95.4734
771 | 95.4428
770 | 95.4115
769 | 95.3769
768 | 95.3391
767 | 95.3021
766 | 95.2667
765 | 95.2286
764 | 95.1865
763 | 95.1449
762 | 95.1062
761 | 95.0664
760 | 95.0231
759 | 94.9802
758 | 94.9401
757 | 94.8997
756 | 94.8565
755 | 94.8139
754 | 94.774
753 | 94.7331
752 | 94.6889
751 | 94.6444
750 | 94.6017
749 | 94.5576
748 | 94.5103
747 | 94.4636
746 | 94.4203
745 | 94.3773
744 | 94.3327
743 | 94.29
742 | 94.2509
741 | 94.2104
740 | 94.1659
739 | 94.1213
738 | 94.0789
737 | 94.0346
736 | 93.9854
735 | 93.9346
734 | 93.8842
733 | 93.8295
732 | 93.7668
731 | 93.7
730 | 93.6331
729 | 93.564
728 | 93.4914
727 | 93.4186
726 | 93.3465
725 | 93.2706
724 | 93.1906
723 | 93.1111
722 | 93.0301
721 | 92.9389
720 | 92.8402
719 | 92.7511
718 | 92.6801
717 | 92.6147
716 | 92.5411
715 | 92.4604
714 | 92.3801
713 | 92.3009
712 | 92.2224
711 | 92.1505
710 | 92.0869
709 | 92.0231
708 | 91.9535
707 | 91.8857
706 | 91.8251
705 | 91.765
704 | 91.7007
703 | 91.6396
702 | 91.586
701 | 91.5302
700 | 91.4653
699 | 91.4013
698 | 91.3486
697 | 91.3013
696 | 91.2508
695 | 91.2001
694 | 91.1527
693 | 91.0998
692 | 91.0357
691 | 90.9702
690 | 90.9076
689 | 90.8327
688 | 90.7325
687 | 90.6155
686 | 90.4895
685 | 90.3426
684 | 90.1647
683 | 89.9636
682 | 89.7389
681 | 89.4656
680 | 89.1269
679 | 88.7354
678 | 88.2997
677 | 87.8031
676 | 87.2402
675 | 86.6348
674 | 86.0098
673 | 85.3874
672 | 84.8215
671 | 84.3666
670 | 84.0187
669 | 83.717
668 | 83.47
667 | 83.4547
666 | 83.7288
665 | 84.1517
664 | 84.6339
663 | 85.1339
662 | 85.6057
661 | 86.0146
660 | 86.3584
659 | 86.6479
658 | 86.8896
657 | 87.0903
656 | 87.258
655 | 87.3949
654 | 87.4998
653 | 87.5771
652 | 87.6339
651 | 87.6728
650 | 87.6913
649 | 87.6886
648 | 87.6685
647 | 87.6372
646 | 87.5982
645 | 87.5511
644 | 87.498
643 | 87.4466
642 | 87.4012
641 | 87.3566
640 | 87.3104
639 | 87.2735
638 | 87.2553
637 | 87.2489
636 | 87.244
635 | 87.241
634 | 87.2412
633 | 87.2375
632 | 87.2275
631 | 87.2227
630 | 87.2351
629 | 87.2687
628 | 87.3352
627 | 87.4574
626 | 87.6438
625 | 87.8815
624 | 88.1545
623 | 88.4469
622 | 88.7476
621 | 89.0737
620 | 89.4472
619 | 89.8345
618 | 90.155
617 | 90.3624
616 | 90.4696
615 | 90.5157
614 | 90.5505
613 | 90.6112
612 | 90.6792
611 | 90.6987
610 | 90.664
609 | 90.6353
608 | 90.6443
607 | 90.6549
606 | 90.6444
605 | 90.654
604 | 90.719
603 | 90.8276
602 | 90.9883
601 | 91.2499
600 | 91.6062

## Sample Details
Setting | Value
Filesname | 8.2.35 17
Creation Date
Analyst | mas-storage
X-Axis Units | cm-1
X-Axis start value | 4000
X-Axis end value | 600
Data interval | -1
Number of points | 3401
Y-Axis Units | %T
Description | 6Sample 3328 By mas-storage Date Thursday, June 16 2022

## Instrument Details
Setting | Value
Instrument Model | Frontier FT-IR
Instrument Serial Number | 91175
Software Revision | CPU32 Main 00.09.9908 05-May-2009 15:52:12
Number of Scans | 32
Resolution | 4
Detector
Source | MIR
Beam Splitter | OptKBr
Apodization | Strong
Spectrum Type | Spectrum
Beam Type | Ratio
Phase Correction | Magnitude
Scan Speed | 1
IGram Type | Double
Scan Driection | Combined
Zero Crossing | 0
JStop | 8.94
IR-Laser Wavenumber | 15798.001999451375
Manufacturer | PIKE Technologies Inc.
Part Number | L1200385
Serial Number | 19250
Description | Miracle Accessory
Default Scan Range | 4000 450
Accessory Type | Miracle ATR
Temperature / °C
Slide Holder Option

## Quality Checks
Setting | Value
Water Vapor | Passed
Carbon Dioxide | Passed
Baseline Low | Passed
Baseline High | Passed
Baseline Slope | Passed
Strong Bands | Passed
Weak Bands | Warning
High Noise | Passed
Fringes | Warning
Vignetting | Passed
Blocked Beam | Passed
Negative Bands | Passed
Zero Transmission | Passed
Stray Light | Passed
Window Cuttoff | Passed