## Data
Wavelength / cm-1 | Transmittance / % | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1
4000 | 98.2999 |  | Baseline @ 1105 |  | Baseline @ 1735 |  | Baseline @ 2900 |  | Peak @ 1105 |  | Peak @ 1735 |  | Peak @ 2900
3999 | 98.2957 | 850 | 98.0887 | 1525 | 99.7725 | 2670 | 99.9214 | 1105 | 87.9541 | 1735 | 100.2644 | 2900 | 98.1944
3998 | 98.2955 | 1210 | 97.9766 | 1780 | 101.0053 | 3000 | 98.7934 | 1105 | 98.0093 | 1735 | 100.7878 | 2900 | 99.1352
3997 | 98.3004
3996 | 98.3084
3995 | 98.3159
3994 | 98.3207
3993 | 98.3228
3992 | 98.3236
3991 | 98.3238
3990 | 98.324
3989 | 98.3244
3988 | 98.3252
3987 | 98.3259
3986 | 98.3262
3985 | 98.3267
3984 | 98.3277
3983 | 98.3286
3982 | 98.3285
3981 | 98.3276
3980 | 98.3264
3979 | 98.3255
3978 | 98.3252
3977 | 98.326 |  |  | Baseline range |  |  | Transmittance |  |  |  | Equation of base line |  |  | Transmittance at peak value wavelength | Peak Intensity |  | Ratio
3976 | 98.3282 |  | Peak value
3975 | 98.3314 |  | Wavelength
3974 | 98.3345 |  | x1 | x2 | x3 |  | y1 | y2 | y3 |  | m | c
3973 | 98.3374 | [15 empty] | flexural
3972 | 98.34 |  | 1105 | 850 | 1210 |  | 87.9541 | 98.0887 | 97.9766 |  | -0.00031129 | 98.3533 |  | 98.0093 | 10.0552 | R1 | 0.052044
3971 | 98.3429 |  | 1735 | 1525 | 1780 |  | 100.2644 | 99.7725 | 101.0053 |  | 0.0048344 | 92.4001 |  | 100.7878 | 0.52331 | R2 | 0.55623
3970 | 98.3464 |  | 2900 | 2670 | 3000 |  | 98.1944 | 99.9214 | 98.7934 |  | -0.0034184 | 109.0486 |  | 99.1352 | 0.94083
3969 | 98.3504
3968 | 98.354 |  | From paper
3967 | 98.3555 |  | 1105 | 765 | 1185
3966 | 98.3544 |  | 1735 | 1485 | 1780
3965 | 98.3521 |  | 2900 | 2630 | 3000
3964 | 98.3507
3963 | 98.3507
3962 | 98.3516
3961 | 98.3521
3960 | 98.3519
3959 | 98.3515
3958 | 98.3523
3957 | 98.3559
3956 | 98.3628
3955 | 98.3714
3954 | 98.3782
3953 | 98.3807
3952 | 98.3781
3951 | 98.3723
3950 | 98.3666
3949 | 98.364
3948 | 98.3653
3947 | 98.3694
3946 | 98.375
3945 | 98.3819
3944 | 98.3882
3943 | 98.3909
3942 | 98.3891
3941 | 98.3864
3940 | 98.3865
3939 | 98.3888
3938 | 98.3896
3937 | 98.3866
3936 | 98.3812
3935 | 98.3765
3934 | 98.3752
3933 | 98.3789
3932 | 98.3882
3931 | 98.4009
3930 | 98.4119
3929 | 98.4174
3928 | 98.4175
3927 | 98.4146
3926 | 98.4108
3925 | 98.407
3924 | 98.4041
3923 | 98.4035
3922 | 98.4044
3921 | 98.4044
3920 | 98.4024
3919 | 98.4011
3918 | 98.404
3917 | 98.4116
3916 | 98.4202
3915 | 98.4264
3914 | 98.4289
3913 | 98.4288
3912 | 98.4272
3911 | 98.4249
3910 | 98.4226
3909 | 98.4197
3908 | 98.4161
3907 | 98.4113
3906 | 98.4051
3905 | 98.3982
3904 | 98.3933
3903 | 98.3971
3902 | 98.4134
3901 | 98.4377
3900 | 98.4587
3899 | 98.4671
3898 | 98.4628
3897 | 98.4522
3896 | 98.4405
3895 | 98.4319
3894 | 98.4295
3893 | 98.4333
3892 | 98.4372
3891 | 98.4344
3890 | 98.4263
3889 | 98.4215
3888 | 98.4254
3887 | 98.4335
3886 | 98.4351
3885 | 98.4282
3884 | 98.4211
3883 | 98.422
3882 | 98.4307
3881 | 98.4408
3880 | 98.4463
3879 | 98.4464
3878 | 98.4447
3877 | 98.4435
3876 | 98.4419
3875 | 98.4366
3874 | 98.4282
3873 | 98.425
3872 | 98.4348
3871 | 98.4537
3870 | 98.4672
3869 | 98.4687
3868 | 98.4655
3867 | 98.4638
3866 | 98.4622
3865 | 98.4568
3864 | 98.4497
3863 | 98.4475
3862 | 98.4491
3861 | 98.4491
3860 | 98.4466
3859 | 98.4449
3858 | 98.4481
3857 | 98.4569
3856 | 98.4678
3855 | 98.4726
3854 | 98.4685
3853 | 98.4711
3852 | 98.491
3851 | 98.5112
3850 | 98.5133
3849 | 98.4978
3848 | 98.4745
3847 | 98.4538
3846 | 98.4405
3845 | 98.4328
3844 | 98.4272
3843 | 98.4234
3842 | 98.423
3841 | 98.4304
3840 | 98.4465
3839 | 98.4644
3838 | 98.4766
3837 | 98.4803
3836 | 98.4785
3835 | 98.4744
3834 | 98.4693
3833 | 98.4632
3832 | 98.455
3831 | 98.4441
3830 | 98.4329
3829 | 98.4234
3828 | 98.415
3827 | 98.4059
3826 | 98.396
3825 | 98.3895
3824 | 98.3921
3823 | 98.4035
3822 | 98.4159
3821 | 98.4222
3820 | 98.4261
3819 | 98.4352
3818 | 98.4484
3817 | 98.4563
3816 | 98.4524
3815 | 98.4441
3814 | 98.4417
3813 | 98.4425
3812 | 98.4371
3811 | 98.4239
3810 | 98.4103
3809 | 98.4024
3808 | 98.3981
3807 | 98.3918
3806 | 98.3844
3805 | 98.3832
3804 | 98.3911
3803 | 98.402
3802 | 98.4045
3801 | 98.397
3800 | 98.3924
3799 | 98.3974
3798 | 98.4042
3797 | 98.4027
3796 | 98.3918
3795 | 98.3794
3794 | 98.3717
3793 | 98.3671
3792 | 98.3607
3791 | 98.351
3790 | 98.3405
3789 | 98.3323
3788 | 98.3277
3787 | 98.327
3786 | 98.3279
3785 | 98.3271
3784 | 98.3229
3783 | 98.3177
3782 | 98.3149
3781 | 98.3149
3780 | 98.3147
3779 | 98.3123
3778 | 98.3099
3777 | 98.3097
3776 | 98.3097
3775 | 98.3053
3774 | 98.2957
3773 | 98.2851
3772 | 98.2786
3771 | 98.2769
3770 | 98.2767
3769 | 98.277
3768 | 98.2803
3767 | 98.2856
3766 | 98.2874
3765 | 98.2813
3764 | 98.2697
3763 | 98.2588
3762 | 98.2508
3761 | 98.2438
3760 | 98.2362
3759 | 98.2301
3758 | 98.228
3757 | 98.2271
3756 | 98.2257
3755 | 98.2248
3754 | 98.2256
3753 | 98.2266
3752 | 98.2267
3751 | 98.2282
3750 | 98.2306
3749 | 98.2285
3748 | 98.2234
3747 | 98.2247
3746 | 98.233
3745 | 98.2332
3744 | 98.2211
3743 | 98.2121
3742 | 98.2083
3741 | 98.1988
3740 | 98.1794
3739 | 98.1558
3738 | 98.1384
3737 | 98.1307
3736 | 98.1309
3735 | 98.1381
3734 | 98.1511
3733 | 98.163
3732 | 98.1639
3731 | 98.1529
3730 | 98.1371
3729 | 98.1226
3728 | 98.1103
3727 | 98.0979
3726 | 98.0853
3725 | 98.0765
3724 | 98.0735
3723 | 98.0734
3722 | 98.0714
3721 | 98.068
3720 | 98.0653
3719 | 98.063
3718 | 98.059
3717 | 98.0515
3716 | 98.0432
3715 | 98.0376
3714 | 98.0341
3713 | 98.0292
3712 | 98.0225
3711 | 98.0191
3710 | 98.0217
3709 | 98.0248
3708 | 98.0212
3707 | 98.0092
3706 | 97.9925
3705 | 97.9767
3704 | 97.9653
3703 | 97.9581
3702 | 97.9523
3701 | 97.9467
3700 | 97.9418
3699 | 97.9371
3698 | 97.9305
3697 | 97.9196
3696 | 97.9044
3695 | 97.89
3694 | 97.8815
3693 | 97.8811
3692 | 97.888
3691 | 97.8991
3690 | 97.9077
3689 | 97.9074
3688 | 97.8992
3687 | 97.8878
3686 | 97.8752
3685 | 97.8603
3684 | 97.8426
3683 | 97.8248
3682 | 97.8125
3681 | 97.8067
3680 | 97.8031
3679 | 97.7983
3678 | 97.7944
3677 | 97.7945
3676 | 97.7929
3675 | 97.7848
3674 | 97.775
3673 | 97.7692
3672 | 97.7679
3671 | 97.7643
3670 | 97.7498
3669 | 97.7278
3668 | 97.7083
3667 | 97.6928
3666 | 97.6778
3665 | 97.6621
3664 | 97.6473
3663 | 97.6345
3662 | 97.6231
3661 | 97.611
3660 | 97.5981
3659 | 97.5866
3658 | 97.5765
3657 | 97.5644
3656 | 97.548
3655 | 97.5318
3654 | 97.5231
3653 | 97.5242
3652 | 97.5298
3651 | 97.5293
3650 | 97.5164
3649 | 97.4993
3648 | 97.4889
3647 | 97.4823
3646 | 97.4706
3645 | 97.4534
3644 | 97.4339
3643 | 97.4125
3642 | 97.3885
3641 | 97.3645
3640 | 97.3455
3639 | 97.3324
3638 | 97.3207
3637 | 97.3068
3636 | 97.2916
3635 | 97.278
3634 | 97.2672
3633 | 97.261
3632 | 97.2617
3631 | 97.2662
3630 | 97.2618
3629 | 97.2383
3628 | 97.2059
3627 | 97.182
3626 | 97.1683
3625 | 97.1568
3624 | 97.1434
3623 | 97.1306
3622 | 97.1218
3621 | 97.1154
3620 | 97.1045
3619 | 97.0837
3618 | 97.0567
3617 | 97.0317
3616 | 97.0147
3615 | 97.0063
3614 | 97.0009
3613 | 96.9925
3612 | 96.9809
3611 | 96.9698
3610 | 96.9608
3609 | 96.9513
3608 | 96.9383
3607 | 96.9221
3606 | 96.9058
3605 | 96.8922
3604 | 96.8825
3603 | 96.875
3602 | 96.8664
3601 | 96.8535
3600 | 96.8363
3599 | 96.8184
3598 | 96.8037
3597 | 96.7917
3596 | 96.7783
3595 | 96.7604
3594 | 96.7378
3593 | 96.7147
3592 | 96.6961
3591 | 96.6845
3590 | 96.678
3589 | 96.6708
3588 | 96.6565
3587 | 96.6347
3586 | 96.6114
3585 | 96.5923
3584 | 96.5775
3583 | 96.5643
3582 | 96.5498
3581 | 96.5329
3580 | 96.5149
3579 | 96.4981
3578 | 96.4839
3577 | 96.471
3576 | 96.456
3575 | 96.437
3574 | 96.415
3573 | 96.3939
3572 | 96.3775
3571 | 96.3669
3570 | 96.3585
3569 | 96.3453
3568 | 96.3201
3567 | 96.2834
3566 | 96.246
3565 | 96.2185
3564 | 96.2028
3563 | 96.1933
3562 | 96.1837
3561 | 96.1705
3560 | 96.1533
3559 | 96.134
3558 | 96.1152
3557 | 96.0984
3556 | 96.0841
3555 | 96.0712
3554 | 96.0574
3553 | 96.0399
3552 | 96.0177
3551 | 95.9932
3550 | 95.9704
3549 | 95.951
3548 | 95.9335
3547 | 95.9149
3546 | 95.8944
3545 | 95.8742
3544 | 95.8569
3543 | 95.8431
3542 | 95.8315
3541 | 95.8201
3540 | 95.8075
3539 | 95.7924
3538 | 95.775
3537 | 95.7565
3536 | 95.7391
3535 | 95.7246
3534 | 95.7127
3533 | 95.7018
3532 | 95.6903
3531 | 95.678
3530 | 95.6653
3529 | 95.6522
3528 | 95.6377
3527 | 95.6213
3526 | 95.604
3525 | 95.5868
3524 | 95.5699
3523 | 95.5536
3522 | 95.5398
3521 | 95.5311
3520 | 95.5278
3519 | 95.5263
3518 | 95.5223
3517 | 95.5144
3516 | 95.5043
3515 | 95.494
3514 | 95.4836
3513 | 95.4728
3512 | 95.4612
3511 | 95.4484
3510 | 95.4334
3509 | 95.4161
3508 | 95.3984
3507 | 95.3838
3506 | 95.3737
3505 | 95.3667
3504 | 95.3587
3503 | 95.3464
3502 | 95.33
3501 | 95.3129
3500 | 95.2988
3499 | 95.2893
3498 | 95.2825
3497 | 95.2756
3496 | 95.2662
3495 | 95.2546
3494 | 95.2429
3493 | 95.233
3492 | 95.2259
3491 | 95.2203
3490 | 95.2138
3489 | 95.2042
3488 | 95.19
3487 | 95.172
3486 | 95.1533
3485 | 95.1373
3484 | 95.1253
3483 | 95.1148
3482 | 95.1017
3481 | 95.0846
3480 | 95.0667
3479 | 95.0532
3478 | 95.0461
3477 | 95.0431
3476 | 95.0388
3475 | 95.0293
3474 | 95.0144
3473 | 94.9965
3472 | 94.9778
3471 | 94.9589
3470 | 94.9398
3469 | 94.9212
3468 | 94.9039
3467 | 94.8876
3466 | 94.8718
3465 | 94.8567
3464 | 94.8425
3463 | 94.828
3462 | 94.8108
3461 | 94.7901
3460 | 94.768
3459 | 94.7473
3458 | 94.7291
3457 | 94.7126
3456 | 94.6963
3455 | 94.6803
3454 | 94.6655
3453 | 94.6527
3452 | 94.6404
3451 | 94.6267
3450 | 94.6103
3449 | 94.5912
3448 | 94.5694
3447 | 94.5445
3446 | 94.5175
3445 | 94.4918
3444 | 94.4701
3443 | 94.4521
3442 | 94.4347
3441 | 94.4152
3440 | 94.3938
3439 | 94.3723
3438 | 94.3522
3437 | 94.3336
3436 | 94.315
3435 | 94.2949
3434 | 94.2726
3433 | 94.249
3432 | 94.2268
3431 | 94.2075
3430 | 94.1906
3429 | 94.1731
3428 | 94.1521
3427 | 94.1267
3426 | 94.0993
3425 | 94.0735
3424 | 94.0513
3423 | 94.0318
3422 | 94.0114
3421 | 93.988
3420 | 93.9627
3419 | 93.9394
3418 | 93.9207
3417 | 93.9059
3416 | 93.8917
3415 | 93.8752
3414 | 93.8548
3413 | 93.8307
3412 | 93.8047
3411 | 93.7793
3410 | 93.7572
3409 | 93.7399
3408 | 93.7264
3407 | 93.714
3406 | 93.7004
3405 | 93.6851
3404 | 93.6694
3403 | 93.6555
3402 | 93.6445
3401 | 93.6364
3400 | 93.6297
3399 | 93.6221
3398 | 93.6123
3397 | 93.6008
3396 | 93.5897
3395 | 93.5808
3394 | 93.5743
3393 | 93.5691
3392 | 93.5644
3391 | 93.5603
3390 | 93.5577
3389 | 93.5569
3388 | 93.5573
3387 | 93.5568
3386 | 93.5536
3385 | 93.5474
3384 | 93.5397
3383 | 93.5332
3382 | 93.5294
3381 | 93.528
3380 | 93.527
3379 | 93.5248
3378 | 93.5211
3377 | 93.5173
3376 | 93.5139
3375 | 93.5107
3374 | 93.5073
3373 | 93.5052
3372 | 93.5057
3371 | 93.5087
3370 | 93.5114
3369 | 93.5111
3368 | 93.5071
3367 | 93.5002
3366 | 93.4919
3365 | 93.4841
3364 | 93.4782
3363 | 93.4745
3362 | 93.4719
3361 | 93.4681
3360 | 93.4625
3359 | 93.4563
3358 | 93.4513
3357 | 93.4477
3356 | 93.444
3355 | 93.4391
3354 | 93.4338
3353 | 93.4295
3352 | 93.4261
3351 | 93.4213
3350 | 93.4136
3349 | 93.4043
3348 | 93.3972
3347 | 93.3948
3346 | 93.3969
3345 | 93.4002
3344 | 93.4013
3343 | 93.3986
3342 | 93.3933
3341 | 93.3885
3340 | 93.3862
3339 | 93.3861
3338 | 93.3868
3337 | 93.3869
3336 | 93.3864
3335 | 93.386
3334 | 93.3871
3333 | 93.3907
3332 | 93.3971
3331 | 93.4051
3330 | 93.413
3329 | 93.4195
3328 | 93.4241
3327 | 93.4266
3326 | 93.4272
3325 | 93.4255
3324 | 93.4218
3323 | 93.4176
3322 | 93.4153
3321 | 93.4174
3320 | 93.4237
3319 | 93.4312
3318 | 93.4363
3317 | 93.4377
3316 | 93.4374
3315 | 93.4378
3314 | 93.4396
3313 | 93.4409
3312 | 93.4398
3311 | 93.4356
3310 | 93.4289
3309 | 93.4213
3308 | 93.4147
3307 | 93.4108
3306 | 93.4091
3305 | 93.407
3304 | 93.4015
3303 | 93.3921
3302 | 93.3817
3301 | 93.3741
3300 | 93.37
3299 | 93.3668
3298 | 93.3621
3297 | 93.3561
3296 | 93.3511
3295 | 93.3486
3294 | 93.3483
3293 | 93.348
3292 | 93.3452
3291 | 93.339
3290 | 93.3306
3289 | 93.323
3288 | 93.3183
3287 | 93.3161
3286 | 93.3141
3285 | 93.3106
3284 | 93.3066
3283 | 93.3038
3282 | 93.3032
3281 | 93.3037
3280 | 93.3039
3279 | 93.3039
3278 | 93.3046
3277 | 93.307
3276 | 93.3099
3275 | 93.3122
3274 | 93.3143
3273 | 93.3177
3272 | 93.3229
3271 | 93.3277
3270 | 93.3296
3269 | 93.3284
3268 | 93.3266
3267 | 93.3276
3266 | 93.3327
3265 | 93.341
3264 | 93.3502
3263 | 93.3591
3262 | 93.3679
3261 | 93.3775
3260 | 93.3879
3259 | 93.3983
3258 | 93.4083
3257 | 93.4181
3256 | 93.4275
3255 | 93.4363
3254 | 93.4448
3253 | 93.4546
3252 | 93.4669
3251 | 93.4816
3250 | 93.4975
3249 | 93.5133
3248 | 93.5277
3247 | 93.5404
3246 | 93.5525
3245 | 93.5662
3244 | 93.5826
3243 | 93.6006
3242 | 93.6187
3241 | 93.6366
3240 | 93.6552
3239 | 93.6747
3238 | 93.695
3237 | 93.7165
3236 | 93.7399
3235 | 93.7652
3234 | 93.7916
3233 | 93.8174
3232 | 93.8413
3231 | 93.8624
3230 | 93.8811
3229 | 93.8995
3228 | 93.9199
3227 | 93.9432
3226 | 93.9684
3225 | 93.9939
3224 | 94.019
3223 | 94.044
3222 | 94.0691
3221 | 94.0948
3220 | 94.1209
3219 | 94.1469
3218 | 94.1725
3217 | 94.1982
3216 | 94.2242
3215 | 94.2499
3214 | 94.2747
3213 | 94.2988
3212 | 94.3233
3211 | 94.3491
3210 | 94.3768
3209 | 94.4062
3208 | 94.4359
3207 | 94.4636
3206 | 94.4881
3205 | 94.5103
3204 | 94.5332
3203 | 94.5584
3202 | 94.5854
3201 | 94.6126
3200 | 94.6389
3199 | 94.6647
3198 | 94.6912
3197 | 94.7187
3196 | 94.7468
3195 | 94.7744
3194 | 94.8013
3193 | 94.8287
3192 | 94.8575
3191 | 94.8868
3190 | 94.9147
3189 | 94.9407
3188 | 94.9657
3187 | 94.9915
3186 | 95.0189
3185 | 95.0479
3184 | 95.0773
3183 | 95.1057
3182 | 95.1329
3181 | 95.1599
3180 | 95.1879
3179 | 95.217
3178 | 95.2462
3177 | 95.2741
3176 | 95.3005
3175 | 95.3262
3174 | 95.3529
3173 | 95.3821
3172 | 95.4144
3171 | 95.4481
3170 | 95.4804
3169 | 95.5097
3168 | 95.5369
3167 | 95.5639
3166 | 95.5919
3165 | 95.6213
3164 | 95.6524
3163 | 95.6853
3162 | 95.7188
3161 | 95.751
3160 | 95.7807
3159 | 95.8086
3158 | 95.8361
3157 | 95.865
3156 | 95.8962
3155 | 95.93
3154 | 95.9658
3153 | 96.0023
3152 | 96.0369
3151 | 96.0675
3150 | 96.094
3149 | 96.1192
3148 | 96.1463
3147 | 96.1767
3146 | 96.2082
3145 | 96.2386
3144 | 96.2682
3143 | 96.3001
3142 | 96.3364
3141 | 96.3749
3140 | 96.4114
3139 | 96.4428
3138 | 96.4702
3137 | 96.497
3136 | 96.5259
3135 | 96.5575
3134 | 96.5911
3133 | 96.6257
3132 | 96.6606
3131 | 96.695
3130 | 96.7289
3129 | 96.7622
3128 | 96.7944
3127 | 96.8252
3126 | 96.8558
3125 | 96.8881
3124 | 96.9226
3123 | 96.9574
3122 | 96.99
3121 | 97.0203
3120 | 97.0502
3119 | 97.081
3118 | 97.1124
3117 | 97.1427
3116 | 97.1709
3115 | 97.1968
3114 | 97.2212
3113 | 97.2457
3112 | 97.2727
3111 | 97.3033
3110 | 97.3367
3109 | 97.3702
3108 | 97.4015
3107 | 97.4298
3106 | 97.456
3105 | 97.4821
3104 | 97.5095
3103 | 97.5389
3102 | 97.5689
3101 | 97.5976
3100 | 97.6233
3099 | 97.6467
3098 | 97.6695
3097 | 97.6929
3096 | 97.7166
3095 | 97.7393
3094 | 97.7608
3093 | 97.7821
3092 | 97.8048
3091 | 97.8295
3090 | 97.8557
3089 | 97.8824
3088 | 97.9089
3087 | 97.9343
3086 | 97.9578
3085 | 97.9796
3084 | 98.0004
3083 | 98.0208
3082 | 98.0403
3081 | 98.0582
3080 | 98.0748
3079 | 98.0916
3078 | 98.1094
3077 | 98.1274
3076 | 98.1443
3075 | 98.1598
3074 | 98.1748
3073 | 98.19
3072 | 98.2053
3071 | 98.2207
3070 | 98.237
3069 | 98.2551
3068 | 98.2743
3067 | 98.2916
3066 | 98.3042
3065 | 98.3123
3064 | 98.3191
3063 | 98.3283
3062 | 98.3413
3061 | 98.3569
3060 | 98.374
3059 | 98.3913
3058 | 98.4077
3057 | 98.4218
3056 | 98.433
3055 | 98.4423
3054 | 98.4519
3053 | 98.463
3052 | 98.4752
3051 | 98.4874
3050 | 98.4984
3049 | 98.5078
3048 | 98.5164
3047 | 98.5254
3046 | 98.5356
3045 | 98.5468
3044 | 98.5582
3043 | 98.5692
3042 | 98.5793
3041 | 98.5874
3040 | 98.5924
3039 | 98.5951
3038 | 98.5977
3037 | 98.6028
3036 | 98.6107
3035 | 98.6196
3034 | 98.6273
3033 | 98.633
3032 | 98.6378
3031 | 98.643
3030 | 98.6493
3029 | 98.6569
3028 | 98.6652
3027 | 98.6734
3026 | 98.6814
3025 | 98.689
3024 | 98.6964
3023 | 98.7034
3022 | 98.7095
3021 | 98.7152
3020 | 98.7215
3019 | 98.7292
3018 | 98.7381
3017 | 98.7468
3016 | 98.7538
3015 | 98.7581
3014 | 98.76
3013 | 98.7604
3012 | 98.7605
3011 | 98.7608
3010 | 98.7613
3009 | 98.7624
3008 | 98.7645
3007 | 98.7672
3006 | 98.7699
3005 | 98.7723
3004 | 98.7754
3003 | 98.7796
3002 | 98.7842
3001 | 98.7886
3000 | 98.7934
2999 | 98.7994
2998 | 98.8056
2997 | 98.8092
2996 | 98.8089
2995 | 98.8057
2994 | 98.8015
2993 | 98.7974
2992 | 98.7939
2991 | 98.7914
2990 | 98.79
2989 | 98.7883
2988 | 98.7847
2987 | 98.7781
2986 | 98.769
2985 | 98.7592
2984 | 98.7508
2983 | 98.7449
2982 | 98.741
2981 | 98.7369
2980 | 98.7302
2979 | 98.7199
2978 | 98.7069
2977 | 98.6934
2976 | 98.681
2975 | 98.6699
2974 | 98.6579
2973 | 98.6425
2972 | 98.6235
2971 | 98.6042
2970 | 98.5884
2969 | 98.577
2968 | 98.5672
2967 | 98.5556
2966 | 98.5414
2965 | 98.5265
2964 | 98.5125
2963 | 98.4988
2962 | 98.4844
2961 | 98.4693
2960 | 98.4551
2959 | 98.443
2958 | 98.4328
2957 | 98.4242
2956 | 98.4171
2955 | 98.4107
2954 | 98.4035
2953 | 98.3938
2952 | 98.3808
2951 | 98.3656
2950 | 98.3501
2949 | 98.3355
2948 | 98.322
2947 | 98.3082
2946 | 98.2931
2945 | 98.2771
2944 | 98.2615
2943 | 98.2475
2942 | 98.2349
2941 | 98.2224
2940 | 98.2087
2939 | 98.1939
2938 | 98.1799
2937 | 98.1689
2936 | 98.1617
2935 | 98.1568
2934 | 98.1518
2933 | 98.1457
2932 | 98.139
2931 | 98.1318
2930 | 98.1221
2929 | 98.1084
2928 | 98.0914
2927 | 98.0737
2926 | 98.057
2925 | 98.041
2924 | 98.0249
2923 | 98.0097
2922 | 97.997
2921 | 97.9882
2920 | 97.9836
2919 | 97.9834
2918 | 97.9888
2917 | 98.0007
2916 | 98.0195
2915 | 98.044
2914 | 98.0718
2913 | 98.1001
2912 | 98.1261
2911 | 98.1481
2910 | 98.1649
2909 | 98.1758
2908 | 98.1813
2907 | 98.1831
2906 | 98.1835
2905 | 98.1844
2904 | 98.186
2903 | 98.1877
2902 | 98.1893
2901 | 98.1913
2900 | 98.1944
2899 | 98.1985
2898 | 98.2038
2897 | 98.2106
2896 | 98.219
2895 | 98.2278
2894 | 98.2355
2893 | 98.2424
2892 | 98.2502
2891 | 98.2601
2890 | 98.2713
2889 | 98.2817
2888 | 98.2903
2887 | 98.2984
2886 | 98.3075
2885 | 98.3182
2884 | 98.3299
2883 | 98.3411
2882 | 98.3505
2881 | 98.3578
2880 | 98.3645
2879 | 98.3725
2878 | 98.3829
2877 | 98.3953
2876 | 98.4084
2875 | 98.4215
2874 | 98.4344
2873 | 98.4467
2872 | 98.4578
2871 | 98.4677
2870 | 98.4779
2869 | 98.4901
2868 | 98.5048
2867 | 98.5209
2866 | 98.5373
2865 | 98.5541
2864 | 98.5716
2863 | 98.5895
2862 | 98.6059
2861 | 98.6193
2860 | 98.6302
2859 | 98.6397
2858 | 98.6484
2857 | 98.6559
2856 | 98.6612
2855 | 98.6638
2854 | 98.6635
2853 | 98.6614
2852 | 98.6609
2851 | 98.6672
2850 | 98.6851
2849 | 98.7165
2848 | 98.7596
2847 | 98.8087
2846 | 98.8568
2845 | 98.8984
2844 | 98.9321
2843 | 98.9599
2842 | 98.9849
2841 | 99.0091
2840 | 99.0329
2839 | 99.0558
2838 | 99.0772
2837 | 99.0962
2836 | 99.1126
2835 | 99.1264
2834 | 99.1384
2833 | 99.1494
2832 | 99.1611
2831 | 99.1746
2830 | 99.1898
2829 | 99.2052
2828 | 99.2191
2827 | 99.2311
2826 | 99.2419
2825 | 99.2522
2824 | 99.2619
2823 | 99.2706
2822 | 99.2788
2821 | 99.287
2820 | 99.2958
2819 | 99.3048
2818 | 99.3141
2817 | 99.3242
2816 | 99.3357
2815 | 99.3475
2814 | 99.358
2813 | 99.3667
2812 | 99.3751
2811 | 99.3844
2810 | 99.3944
2809 | 99.4033
2808 | 99.4099
2807 | 99.4147
2806 | 99.4186
2805 | 99.4223
2804 | 99.4271
2803 | 99.4337
2802 | 99.4419
2801 | 99.4505
2800 | 99.4588
2799 | 99.4668
2798 | 99.474
2797 | 99.48
2796 | 99.485
2795 | 99.4902
2794 | 99.4963
2793 | 99.5025
2792 | 99.5073
2791 | 99.5109
2790 | 99.5149
2789 | 99.5205
2788 | 99.5273
2787 | 99.534
2786 | 99.5401
2785 | 99.5454
2784 | 99.5497
2783 | 99.5523
2782 | 99.5528
2781 | 99.5523
2780 | 99.5532
2779 | 99.5571
2778 | 99.5641
2777 | 99.5734
2776 | 99.5835
2775 | 99.5923
2774 | 99.5981
2773 | 99.6005
2772 | 99.6011
2771 | 99.6021
2770 | 99.605
2769 | 99.6097
2768 | 99.6152
2767 | 99.6201
2766 | 99.6231
2765 | 99.6246
2764 | 99.6264
2763 | 99.6298
2762 | 99.634
2761 | 99.6375
2760 | 99.6399
2759 | 99.6431
2758 | 99.6478
2757 | 99.6528
2756 | 99.6562
2755 | 99.6574
2754 | 99.6579
2753 | 99.6597
2752 | 99.6638
2751 | 99.6688
2750 | 99.673
2749 | 99.6753
2748 | 99.6763
2747 | 99.6776
2746 | 99.6802
2745 | 99.6835
2744 | 99.6862
2743 | 99.6873
2742 | 99.6872
2741 | 99.6872
2740 | 99.6892
2739 | 99.694
2738 | 99.7001
2737 | 99.7053
2736 | 99.7085
2735 | 99.7103
2734 | 99.7121
2733 | 99.7143
2732 | 99.7163
2731 | 99.7179
2730 | 99.7193
2729 | 99.7214
2728 | 99.7249
2727 | 99.7298
2726 | 99.7353
2725 | 99.7407
2724 | 99.7456
2723 | 99.7494
2722 | 99.7515
2721 | 99.7519
2720 | 99.7518
2719 | 99.7529
2718 | 99.7561
2717 | 99.7612
2716 | 99.7681
2715 | 99.7755
2714 | 99.7816
2713 | 99.7853
2712 | 99.7877
2711 | 99.7907
2710 | 99.795
2709 | 99.7994
2708 | 99.8027
2707 | 99.8049
2706 | 99.8067
2705 | 99.8086
2704 | 99.8113
2703 | 99.8148
2702 | 99.8183
2701 | 99.8213
2700 | 99.8239
2699 | 99.8273
2698 | 99.8317
2697 | 99.8358
2696 | 99.8382
2695 | 99.8394
2694 | 99.8412
2693 | 99.8453
2692 | 99.8515
2691 | 99.8586
2690 | 99.8648
2689 | 99.8689
2688 | 99.8715
2687 | 99.8733
2686 | 99.8749
2685 | 99.8766
2684 | 99.8789
2683 | 99.8822
2682 | 99.8858
2681 | 99.8888
2680 | 99.8913
2679 | 99.8946
2678 | 99.8991
2677 | 99.9038
2676 | 99.9077
2675 | 99.9112
2674 | 99.915
2673 | 99.9187
2672 | 99.9211
2671 | 99.9219
2670 | 99.9214
2669 | 99.921
2668 | 99.9215
2667 | 99.9233
2666 | 99.9252
2665 | 99.9256
2664 | 99.9235
2663 | 99.9193
2662 | 99.914
2661 | 99.9085
2660 | 99.9029
2659 | 99.8974
2658 | 99.8918
2657 | 99.8858
2656 | 99.8795
2655 | 99.8732
2654 | 99.8669
2653 | 99.8597
2652 | 99.8511
2651 | 99.8409
2650 | 99.8299
2649 | 99.8186
2648 | 99.8073
2647 | 99.7962
2646 | 99.7848
2645 | 99.7726
2644 | 99.7596
2643 | 99.7465
2642 | 99.7341
2641 | 99.7226
2640 | 99.7114
2639 | 99.7004
2638 | 99.6893
2637 | 99.678
2636 | 99.6663
2635 | 99.6543
2634 | 99.6425
2633 | 99.631
2632 | 99.6196
2631 | 99.6077
2630 | 99.5946
2629 | 99.5802
2628 | 99.5646
2627 | 99.5486
2626 | 99.5333
2625 | 99.5204
2624 | 99.5106
2623 | 99.5026
2622 | 99.4941
2621 | 99.4842
2620 | 99.4737
2619 | 99.4636
2618 | 99.4534
2617 | 99.4422
2616 | 99.4302
2615 | 99.4186
2614 | 99.4072
2613 | 99.3951
2612 | 99.3817
2611 | 99.3673
2610 | 99.3522
2609 | 99.337
2608 | 99.3231
2607 | 99.3122
2606 | 99.3045
2605 | 99.2984
2604 | 99.2924
2603 | 99.2857
2602 | 99.2786
2601 | 99.2711
2600 | 99.263
2599 | 99.2536
2598 | 99.2424
2597 | 99.2297
2596 | 99.2174
2595 | 99.2078
2594 | 99.2008
2593 | 99.1946
2592 | 99.1877
2591 | 99.1805
2590 | 99.1741
2589 | 99.1687
2588 | 99.1633
2587 | 99.1573
2586 | 99.1501
2585 | 99.1419
2584 | 99.1337
2583 | 99.1263
2582 | 99.1204
2581 | 99.1153
2580 | 99.1098
2579 | 99.1036
2578 | 99.0967
2577 | 99.0896
2576 | 99.083
2575 | 99.0771
2574 | 99.0718
2573 | 99.0665
2572 | 99.0611
2571 | 99.0559
2570 | 99.0507
2569 | 99.0456
2568 | 99.0415
2567 | 99.0391
2566 | 99.0379
2565 | 99.0361
2564 | 99.033
2563 | 99.0288
2562 | 99.024
2561 | 99.0186
2560 | 99.0126
2559 | 99.0069
2558 | 99.0023
2557 | 98.9986
2556 | 98.9955
2555 | 98.9936
2554 | 98.9928
2553 | 98.9923
2552 | 98.9912
2551 | 98.9893
2550 | 98.9866
2549 | 98.9832
2548 | 98.9803
2547 | 98.9798
2546 | 98.9823
2545 | 98.9854
2544 | 98.9858
2543 | 98.9828
2542 | 98.9788
2541 | 98.9767
2540 | 98.9773
2539 | 98.9797
2538 | 98.9827
2537 | 98.9855
2536 | 98.9881
2535 | 98.9904
2534 | 98.9925
2533 | 98.9942
2532 | 98.9945
2531 | 98.9928
2530 | 98.9893
2529 | 98.9862
2528 | 98.986
2527 | 98.9896
2526 | 98.9949
2525 | 98.9985
2524 | 98.9992
2523 | 98.9985
2522 | 98.9985
2521 | 99.0004
2520 | 99.0038
2519 | 99.0071
2518 | 99.0092
2517 | 99.0101
2516 | 99.012
2515 | 99.0171
2514 | 99.0249
2513 | 99.032
2512 | 99.0349
2511 | 99.0331
2510 | 99.0296
2509 | 99.0282
2508 | 99.0302
2507 | 99.0347
2506 | 99.0392
2505 | 99.0422
2504 | 99.044
2503 | 99.0459
2502 | 99.0481
2501 | 99.0498
2500 | 99.0504
2499 | 99.0508
2498 | 99.0523
2497 | 99.0553
2496 | 99.0598
2495 | 99.0658
2494 | 99.0735
2493 | 99.0818
2492 | 99.0892
2491 | 99.0945
2490 | 99.0973
2489 | 99.098
2488 | 99.0982
2487 | 99.0995
2486 | 99.1025
2485 | 99.1066
2484 | 99.1111
2483 | 99.1161
2482 | 99.122
2481 | 99.1287
2480 | 99.1352
2479 | 99.141
2478 | 99.146
2477 | 99.1504
2476 | 99.1547
2475 | 99.1588
2474 | 99.1626
2473 | 99.166
2472 | 99.1697
2471 | 99.1752
2470 | 99.183
2469 | 99.1918
2468 | 99.2001
2467 | 99.2066
2466 | 99.2114
2465 | 99.215
2464 | 99.218
2463 | 99.2201
2462 | 99.2202
2461 | 99.2183
2460 | 99.2168
2459 | 99.2185
2458 | 99.2231
2457 | 99.2271
2456 | 99.227
2455 | 99.2232
2454 | 99.2191
2453 | 99.2174
2452 | 99.2175
2451 | 99.2174
2450 | 99.2162
2449 | 99.2153
2448 | 99.2163
2447 | 99.2198
2446 | 99.2241
2445 | 99.2273
2444 | 99.2292
2443 | 99.2307
2442 | 99.2327
2441 | 99.2354
2440 | 99.2389
2439 | 99.2433
2438 | 99.2484
2437 | 99.2543
2436 | 99.2615
2435 | 99.2706
2434 | 99.2805
2433 | 99.2891
2432 | 99.2956
2431 | 99.3007
2430 | 99.3056
2429 | 99.3107
2428 | 99.3163
2427 | 99.323
2426 | 99.3307
2425 | 99.3386
2424 | 99.3459
2423 | 99.3533
2422 | 99.3623
2421 | 99.3732
2420 | 99.3855
2419 | 99.3981
2418 | 99.4097
2417 | 99.4195
2416 | 99.4276
2415 | 99.4349
2414 | 99.4425
2413 | 99.4508
2412 | 99.4598
2411 | 99.4696
2410 | 99.4797
2409 | 99.4896
2408 | 99.4997
2407 | 99.5108
2406 | 99.5231
2405 | 99.5359
2404 | 99.5493
2403 | 99.5639
2402 | 99.5797
2401 | 99.5949
2400 | 99.6082
2399 | 99.6202
2398 | 99.6326
2397 | 99.6454
2396 | 99.6572
2395 | 99.6679
2394 | 99.6786
2393 | 99.6909
2392 | 99.7058
2391 | 99.723
2390 | 99.7411
2389 | 99.7587
2388 | 99.7752
2387 | 99.7909
2386 | 99.8063
2385 | 99.8216
2384 | 99.837
2383 | 99.8535
2382 | 99.8716
2381 | 99.8908
2380 | 99.9103
2379 | 99.9297
2378 | 99.9486
2377 | 99.9653
2376 | 99.9777
2375 | 99.9853
2374 | 99.9903
2373 | 99.9952
2372 | 100.0004
2371 | 100.0057
2370 | 100.0125
2369 | 100.0235
2368 | 100.0405
2367 | 100.0613
2366 | 100.0806
2365 | 100.0937
2364 | 100.1025
2363 | 100.1104
2362 | 100.1189
2361 | 100.1282
2360 | 100.1375
2359 | 100.148
2358 | 100.1583
2357 | 100.1673
2356 | 100.1789
2355 | 100.1968
2354 | 100.2164
2353 | 100.2264
2352 | 100.2246
2351 | 100.2201
2350 | 100.2226
2349 | 100.2372
2348 | 100.2538
2347 | 100.2562
2346 | 100.2381
2345 | 100.2154
2344 | 100.2067
2343 | 100.2105
2342 | 100.2195
2341 | 100.231
2340 | 100.2469
2339 | 100.2682
2338 | 100.2939
2337 | 100.3202
2336 | 100.3441
2335 | 100.362
2334 | 100.3718
2333 | 100.3697
2332 | 100.3576
2331 | 100.343
2330 | 100.3319
2329 | 100.3266
2328 | 100.3215
2327 | 100.3116
2326 | 100.2895
2325 | 100.2507
2324 | 100.1982
2323 | 100.1407
2322 | 100.0898
2321 | 100.0489
2320 | 100.0172
2319 | 99.9913
2318 | 99.9702
2317 | 99.9513
2316 | 99.9303
2315 | 99.9032
2314 | 99.8692
2313 | 99.8322
2312 | 99.7962
2311 | 99.7633
2310 | 99.7325
2309 | 99.7033
2308 | 99.6776
2307 | 99.6578
2306 | 99.6424
2305 | 99.6272
2304 | 99.6095
2303 | 99.5901
2302 | 99.571
2301 | 99.5519
2300 | 99.531
2299 | 99.5079
2298 | 99.4838
2297 | 99.46
2296 | 99.4366
2295 | 99.4131
2294 | 99.3888
2293 | 99.3633
2292 | 99.3364
2291 | 99.3078
2290 | 99.2767
2289 | 99.2416
2288 | 99.2023
2287 | 99.1607
2286 | 99.1189
2285 | 99.0779
2284 | 99.0379
2283 | 98.9992
2282 | 98.9623
2281 | 98.9273
2280 | 98.8934
2279 | 98.8597
2278 | 98.8259
2277 | 98.7923
2276 | 98.7593
2275 | 98.7274
2274 | 98.6971
2273 | 98.6686
2272 | 98.6419
2271 | 98.616
2270 | 98.5901
2269 | 98.5633
2268 | 98.536
2267 | 98.5094
2266 | 98.4842
2265 | 98.4599
2264 | 98.4354
2263 | 98.4109
2262 | 98.3875
2261 | 98.3648
2260 | 98.3409
2259 | 98.3141
2258 | 98.2853
2257 | 98.2571
2256 | 98.2324
2255 | 98.2126
2254 | 98.1972
2253 | 98.1844
2252 | 98.172
2251 | 98.1587
2250 | 98.1441
2249 | 98.1277
2248 | 98.1089
2247 | 98.0879
2246 | 98.0664
2245 | 98.0453
2244 | 98.0242
2243 | 98.0026
2242 | 97.9804
2241 | 97.9582
2240 | 97.9364
2239 | 97.916
2238 | 97.8976
2237 | 97.8804
2236 | 97.8615
2235 | 97.8387
2234 | 97.8134
2233 | 97.7893
2232 | 97.7689
2231 | 97.7521
2230 | 97.7372
2229 | 97.7218
2228 | 97.7043
2227 | 97.6844
2226 | 97.6637
2225 | 97.6436
2224 | 97.6242
2223 | 97.6051
2222 | 97.5872
2221 | 97.5709
2220 | 97.5542
2219 | 97.535
2218 | 97.5133
2217 | 97.4918
2216 | 97.4733
2215 | 97.4585
2214 | 97.4464
2213 | 97.4351
2212 | 97.423
2211 | 97.4091
2210 | 97.3934
2209 | 97.375
2208 | 97.3538
2207 | 97.3316
2206 | 97.3127
2205 | 97.2984
2204 | 97.2853
2203 | 97.2681
2202 | 97.2456
2201 | 97.2213
2200 | 97.1992
2199 | 97.1824
2198 | 97.1718
2197 | 97.1656
2196 | 97.1587
2195 | 97.1455
2194 | 97.1244
2193 | 97.0969
2192 | 97.0651
2191 | 97.0308
2190 | 96.9975
2189 | 96.968
2188 | 96.9419
2187 | 96.9159
2186 | 96.8883
2185 | 96.8595
2184 | 96.8308
2183 | 96.8034
2182 | 96.7809
2181 | 96.7666
2180 | 96.7593
2179 | 96.7537
2178 | 96.7462
2177 | 96.7376
2176 | 96.7301
2175 | 96.7251
2174 | 96.7233
2173 | 96.7244
2172 | 96.7246
2171 | 96.7164
2170 | 96.6931
2169 | 96.6542
2168 | 96.604
2167 | 96.5479
2166 | 96.4883
2165 | 96.424
2164 | 96.3517
2163 | 96.2695
2162 | 96.1819
2161 | 96.1016
2160 | 96.0486
2159 | 96.0429
2158 | 96.0936
2157 | 96.1901
2156 | 96.3071
2155 | 96.4227
2154 | 96.5279
2153 | 96.6213
2152 | 96.7015
2151 | 96.7688
2150 | 96.8277
2149 | 96.884
2148 | 96.9407
2147 | 96.9997
2146 | 97.0631
2145 | 97.1315
2144 | 97.2017
2143 | 97.27
2142 | 97.335
2141 | 97.3957
2140 | 97.4507
2139 | 97.4996
2138 | 97.5464
2137 | 97.5975
2136 | 97.6588
2135 | 97.7333
2134 | 97.8191
2133 | 97.909
2132 | 97.9944
2131 | 98.0725
2130 | 98.1458
2129 | 98.2154
2128 | 98.2783
2127 | 98.3321
2126 | 98.3787
2125 | 98.421
2124 | 98.4584
2123 | 98.4886
2122 | 98.5123
2121 | 98.5323
2120 | 98.55
2119 | 98.5647
2118 | 98.5757
2117 | 98.5845
2116 | 98.5923
2115 | 98.5985
2114 | 98.6012
2113 | 98.5986
2112 | 98.5917
2111 | 98.5829
2110 | 98.5751
2109 | 98.5697
2108 | 98.5669
2107 | 98.5661
2106 | 98.5665
2105 | 98.5661
2104 | 98.5627
2103 | 98.555
2102 | 98.5437
2101 | 98.5318
2100 | 98.5226
2099 | 98.5189
2098 | 98.5203
2097 | 98.5248
2096 | 98.5311
2095 | 98.5406
2094 | 98.5546
2093 | 98.5714
2092 | 98.587
2091 | 98.5986
2090 | 98.6065
2089 | 98.6114
2088 | 98.6134
2087 | 98.6118
2086 | 98.605
2085 | 98.592
2084 | 98.5742
2083 | 98.5549
2082 | 98.5371
2081 | 98.5199
2080 | 98.5004
2079 | 98.4771
2078 | 98.4511
2077 | 98.4243
2076 | 98.3982
2075 | 98.3742
2074 | 98.3519
2073 | 98.3296
2072 | 98.306
2071 | 98.2835
2070 | 98.2641
2069 | 98.2457
2068 | 98.2242
2067 | 98.1996
2066 | 98.1771
2065 | 98.1597
2064 | 98.1449
2063 | 98.1294
2062 | 98.1139
2061 | 98.0994
2060 | 98.0843
2059 | 98.0653
2058 | 98.0415
2057 | 98.0137
2056 | 97.9827
2055 | 97.9497
2054 | 97.9147
2053 | 97.8726
2052 | 97.8149
2051 | 97.7385
2050 | 97.6531
2049 | 97.5739
2048 | 97.5091
2047 | 97.456
2046 | 97.4097
2045 | 97.3687
2044 | 97.3316
2043 | 97.2949
2042 | 97.256
2041 | 97.2156
2040 | 97.1749
2039 | 97.1331
2038 | 97.0887
2037 | 97.0405
2036 | 96.9891
2035 | 96.9398
2034 | 96.9033
2033 | 96.887
2032 | 96.8875
2031 | 96.8939
2030 | 96.899
2029 | 96.9028
2028 | 96.9069
2027 | 96.9116
2026 | 96.9175
2025 | 96.9253
2024 | 96.9345
2023 | 96.9436
2022 | 96.9535
2021 | 96.966
2020 | 96.9807
2019 | 96.9966
2018 | 97.0145
2017 | 97.0346
2016 | 97.0534
2015 | 97.0677
2014 | 97.0798
2013 | 97.0935
2012 | 97.1075
2011 | 97.1173
2010 | 97.1222
2009 | 97.1275
2008 | 97.1402
2007 | 97.167
2006 | 97.2126
2005 | 97.2742
2004 | 97.3406
2003 | 97.4003
2002 | 97.4505
2001 | 97.4941
2000 | 97.5316
1999 | 97.5608
1998 | 97.5822
1997 | 97.5989
1996 | 97.6129
1995 | 97.6235
1994 | 97.6301
1993 | 97.6325
1992 | 97.631
1991 | 97.6265
1990 | 97.6206
1989 | 97.6137
1988 | 97.6027
1987 | 97.585
1986 | 97.5609
1985 | 97.5323
1984 | 97.4994
1983 | 97.4589
1982 | 97.4068
1981 | 97.3405
1980 | 97.2637
1979 | 97.1904
1978 | 97.1396
1977 | 97.1225
1976 | 97.135
1975 | 97.1646
1974 | 97.2024
1973 | 97.245
1972 | 97.2894
1971 | 97.3321
1970 | 97.3711
1969 | 97.407
1968 | 97.442
1967 | 97.4796
1966 | 97.5222
1965 | 97.5673
1964 | 97.6086
1963 | 97.6433
1962 | 97.6766
1961 | 97.7181
1960 | 97.7746
1959 | 97.8454
1958 | 97.9226
1957 | 97.9959
1956 | 98.0594
1955 | 98.1143
1954 | 98.1639
1953 | 98.2096
1952 | 98.2516
1951 | 98.292
1950 | 98.3341
1949 | 98.3776
1948 | 98.4196
1947 | 98.458
1946 | 98.4942
1945 | 98.5323
1944 | 98.5769
1943 | 98.6294
1942 | 98.6836
1941 | 98.7283
1940 | 98.7589
1939 | 98.7835
1938 | 98.813
1937 | 98.851
1936 | 98.8936
1935 | 98.9369
1934 | 98.9784
1933 | 99.016
1932 | 99.049
1931 | 99.0805
1930 | 99.1155
1929 | 99.1541
1928 | 99.1913
1927 | 99.2239
1926 | 99.2531
1925 | 99.2838
1924 | 99.3194
1923 | 99.3581
1922 | 99.3919
1921 | 99.4136
1920 | 99.4264
1919 | 99.4432
1918 | 99.4729
1917 | 99.5078
1916 | 99.5341
1915 | 99.5501
1914 | 99.5647
1913 | 99.5834
1912 | 99.6037
1911 | 99.6233
1910 | 99.6437
1909 | 99.6644
1908 | 99.6825
1907 | 99.6982
1906 | 99.715
1905 | 99.7335
1904 | 99.7504
1903 | 99.7653
1902 | 99.7826
1901 | 99.8027
1900 | 99.8208
1899 | 99.8353
1898 | 99.8498
1897 | 99.8673
1896 | 99.8861
1895 | 99.9036
1894 | 99.9195
1893 | 99.9332
1892 | 99.945
1891 | 99.9601
1890 | 99.9839
1889 | 100.0122
1888 | 100.0342
1887 | 100.0466
1886 | 100.0565
1885 | 100.0697
1884 | 100.0847
1883 | 100.0989
1882 | 100.1134
1881 | 100.1285
1880 | 100.1419
1879 | 100.154
1878 | 100.1678
1877 | 100.1836
1876 | 100.1987
1875 | 100.2118
1874 | 100.2244
1873 | 100.2345
1872 | 100.2388
1871 | 100.2416
1870 | 100.2559
1869 | 100.2876
1868 | 100.3234
1867 | 100.3464
1866 | 100.3547
1865 | 100.356
1864 | 100.3553
1863 | 100.3563
1862 | 100.363
1861 | 100.3756
1860 | 100.3896
1859 | 100.4016
1858 | 100.4141
1857 | 100.4286
1856 | 100.4419
1855 | 100.452
1854 | 100.4615
1853 | 100.4718
1852 | 100.4803
1851 | 100.4867
1850 | 100.4945
1849 | 100.5042
1848 | 100.5108
1847 | 100.5124
1846 | 100.5169
1845 | 100.5355
1844 | 100.5686
1843 | 100.6006
1842 | 100.6176
1841 | 100.6208
1840 | 100.6211
1839 | 100.6275
1838 | 100.641
1837 | 100.6562
1836 | 100.6676
1835 | 100.6745
1834 | 100.6774
1833 | 100.6763
1832 | 100.6769
1831 | 100.6915
1830 | 100.7219
1829 | 100.7505
1828 | 100.7602
1827 | 100.7549
1826 | 100.7515
1825 | 100.7605
1824 | 100.7761
1823 | 100.787
1822 | 100.7911
1821 | 100.7943
1820 | 100.8013
1819 | 100.8137
1818 | 100.8319
1817 | 100.8559
1816 | 100.8797
1815 | 100.8959
1814 | 100.9041
1813 | 100.9109
1812 | 100.9222
1811 | 100.9373
1810 | 100.9518
1809 | 100.9632
1808 | 100.9699
1807 | 100.9719
1806 | 100.9726
1805 | 100.9746
1804 | 100.9767
1803 | 100.9782
1802 | 100.9822
1801 | 100.991
1800 | 101.0013
1799 | 101.0068
1798 | 101.0069
1797 | 101.0041
1796 | 100.9983
1795 | 100.9903
1794 | 100.986
1793 | 100.9933
1792 | 101.0118
1791 | 101.0296
1790 | 101.0376
1789 | 101.0355
1788 | 101.0264
1787 | 101.0153
1786 | 101.0086
1785 | 101.0088
1784 | 101.0106
1783 | 101.0087
1782 | 101.0054
1781 | 101.0044
1780 | 101.0053
1779 | 101.0045
1778 | 101.0011
1777 | 100.9969
1776 | 100.9932
1775 | 100.9907
1774 | 100.9903
1773 | 100.994
1772 | 100.9991
1771 | 100.9944
1770 | 100.9745
1769 | 100.9481
1768 | 100.9269
1767 | 100.9125
1766 | 100.8962
1765 | 100.8719
1764 | 100.8445
1763 | 100.8234
1762 | 100.8106
1761 | 100.7976
1760 | 100.7764
1759 | 100.7477
1758 | 100.7182
1757 | 100.692
1756 | 100.6689
1755 | 100.6458
1754 | 100.6185
1753 | 100.5872
1752 | 100.5584
1751 | 100.5399
1750 | 100.5284
1749 | 100.5125
1748 | 100.4895
1747 | 100.4652
1746 | 100.4409
1745 | 100.415
1744 | 100.3906
1743 | 100.3716
1742 | 100.3555
1741 | 100.3395
1740 | 100.3264
1739 | 100.3175
1738 | 100.3058
1737 | 100.2872
1736 | 100.2686
1735 | 100.2644
1734 | 100.2825
1733 | 100.2996
1732 | 100.2921
1731 | 100.2714
1730 | 100.2582
1729 | 100.2557
1728 | 100.2571
1727 | 100.2596
1726 | 100.2626
1725 | 100.2654
1724 | 100.2694
1723 | 100.2757
1722 | 100.2827
1721 | 100.2881
1720 | 100.2955
1719 | 100.3144
1718 | 100.3469
1717 | 100.3774
1716 | 100.3864
1715 | 100.3753
1714 | 100.363
1713 | 100.3583
1712 | 100.355
1711 | 100.3491
1710 | 100.3437
1709 | 100.3385
1708 | 100.3298
1707 | 100.3196
1706 | 100.3119
1705 | 100.3028
1704 | 100.2821
1703 | 100.248
1702 | 100.2043
1701 | 100.165
1700 | 100.1514
1699 | 100.1534
1698 | 100.1483
1697 | 100.1282
1696 | 100.0862
1695 | 100.0244
1694 | 99.9553
1693 | 99.8852
1692 | 99.8164
1691 | 99.7486
1690 | 99.6802
1689 | 99.6139
1688 | 99.5582
1687 | 99.5171
1686 | 99.4767
1685 | 99.4156
1684 | 99.3255
1683 | 99.2334
1682 | 99.1661
1681 | 99.1143
1680 | 99.0666
1679 | 99.0228
1678 | 98.9821
1677 | 98.9371
1676 | 98.8823
1675 | 98.8261
1674 | 98.7775
1673 | 98.7321
1672 | 98.6824
1671 | 98.6259
1670 | 98.5609
1669 | 98.4881
1668 | 98.4192
1667 | 98.366
1666 | 98.3249
1665 | 98.2839
1664 | 98.2343
1663 | 98.1769
1662 | 98.1196
1661 | 98.0664
1660 | 98.0184
1659 | 97.9787
1658 | 97.949
1657 | 97.9311
1656 | 97.928
1655 | 97.9367
1654 | 97.9378
1653 | 97.9048
1652 | 97.8559
1651 | 97.8209
1650 | 97.7986
1649 | 97.7934
1648 | 97.797
1647 | 97.7908
1646 | 97.7735
1645 | 97.7583
1644 | 97.7482
1643 | 97.7423
1642 | 97.7432
1641 | 97.7475
1640 | 97.7528
1639 | 97.7637
1638 | 97.784
1637 | 97.8052
1636 | 97.8088
1635 | 97.7956
1634 | 97.7862
1633 | 97.7855
1632 | 97.7863
1631 | 97.7873
1630 | 97.789
1629 | 97.7879
1628 | 97.7778
1627 | 97.7601
1626 | 97.7414
1625 | 97.7214
1624 | 97.6954
1623 | 97.6682
1622 | 97.6544
1621 | 97.6612
1620 | 97.6874
1619 | 97.7334
1618 | 97.7976
1617 | 97.8681
1616 | 97.9266
1615 | 97.9682
1614 | 98.0028
1613 | 98.0376
1612 | 98.0726
1611 | 98.1069
1610 | 98.1403
1609 | 98.1678
1608 | 98.184
1607 | 98.1924
1606 | 98.1992
1605 | 98.2046
1604 | 98.2055
1603 | 98.2022
1602 | 98.1963
1601 | 98.1864
1600 | 98.172
1599 | 98.1561
1598 | 98.1425
1597 | 98.1314
1596 | 98.1225
1595 | 98.1196
1594 | 98.1281
1593 | 98.1485
1592 | 98.1782
1591 | 98.2182
1590 | 98.271
1589 | 98.3334
1588 | 98.3995
1587 | 98.4677
1586 | 98.5386
1585 | 98.6087
1584 | 98.6741
1583 | 98.7373
1582 | 98.801
1581 | 98.8628
1580 | 98.9215
1579 | 98.9832
1578 | 99.0522
1577 | 99.1214
1576 | 99.1755
1575 | 99.2066
1574 | 99.2202
1573 | 99.2267
1572 | 99.2347
1571 | 99.2472
1570 | 99.2636
1569 | 99.277
1568 | 99.2846
1567 | 99.2913
1566 | 99.2993
1565 | 99.3074
1564 | 99.3173
1563 | 99.3325
1562 | 99.3518
1561 | 99.3606
1560 | 99.3601
1559 | 99.3614
1558 | 99.3599
1557 | 99.3606
1556 | 99.361
1555 | 99.3636
1554 | 99.3686
1553 | 99.3713
1552 | 99.3717
1551 | 99.3744
1550 | 99.3838
1549 | 99.3988
1548 | 99.414
1547 | 99.4257
1546 | 99.4354
1545 | 99.4491
1544 | 99.4723
1543 | 99.5056
1542 | 99.5483
1541 | 99.6012
1540 | 99.6521
1539 | 99.6865
1538 | 99.7022
1537 | 99.7006
1536 | 99.6937
1535 | 99.6943
1534 | 99.7067
1533 | 99.7267
1532 | 99.7462
1531 | 99.7599
1530 | 99.7671
1529 | 99.7703
1528 | 99.7716
1527 | 99.7716
1526 | 99.7715
1525 | 99.7725
1524 | 99.774
1523 | 99.7701
1522 | 99.7503
1521 | 99.7127
1520 | 99.6687
1519 | 99.624
1518 | 99.5745
1517 | 99.5184
1516 | 99.4631
1515 | 99.4188
1514 | 99.3821
1513 | 99.3434
1512 | 99.3008
1511 | 99.2586
1510 | 99.2225
1509 | 99.1966
1508 | 99.1861
1507 | 99.1869
1506 | 99.1908
1505 | 99.1984
1504 | 99.2033
1503 | 99.2076
1502 | 99.2211
1501 | 99.2482
1500 | 99.2914
1499 | 99.3506
1498 | 99.4194
1497 | 99.4912
1496 | 99.5617
1495 | 99.6221
1494 | 99.6645
1493 | 99.6909
1492 | 99.7101
1491 | 99.7321
1490 | 99.7601
1489 | 99.7882
1488 | 99.8077
1487 | 99.8144
1486 | 99.8113
1485 | 99.7997
1484 | 99.7789
1483 | 99.7511
1482 | 99.7169
1481 | 99.6764
1480 | 99.631
1479 | 99.5816
1478 | 99.5248
1477 | 99.4574
1476 | 99.3812
1475 | 99.2979
1474 | 99.1995
1473 | 99.076
1472 | 98.9407
1471 | 98.8199
1470 | 98.7184
1469 | 98.6262
1468 | 98.5383
1467 | 98.4528
1466 | 98.3659
1465 | 98.2772
1464 | 98.1996
1463 | 98.1471
1462 | 98.1169
1461 | 98.1014
1460 | 98.0975
1459 | 98.0993
1458 | 98.088
1457 | 98.0548
1456 | 98.0273
1455 | 98.0233
1454 | 98.0311
1453 | 98.0467
1452 | 98.0714
1451 | 98.1019
1450 | 98.1331
1449 | 98.1639
1448 | 98.1965
1447 | 98.2307
1446 | 98.2629
1445 | 98.2904
1444 | 98.3135
1443 | 98.3302
1442 | 98.3366
1441 | 98.3332
1440 | 98.3245
1439 | 98.309
1438 | 98.2745
1437 | 98.2128
1436 | 98.1386
1435 | 98.0733
1434 | 98.0171
1433 | 97.9596
1432 | 97.8963
1431 | 97.8277
1430 | 97.7556
1429 | 97.6854
1428 | 97.6275
1427 | 97.5875
1426 | 97.5587
1425 | 97.5321
1424 | 97.5128
1423 | 97.5131
1422 | 97.5325
1421 | 97.5592
1420 | 97.5875
1419 | 97.6207
1418 | 97.6593
1417 | 97.705
1416 | 97.7628
1415 | 97.8304
1414 | 97.8968
1413 | 97.9553
1412 | 98.0095
1411 | 98.0635
1410 | 98.1134
1409 | 98.1551
1408 | 98.1904
1407 | 98.2217
1406 | 98.2477
1405 | 98.2678
1404 | 98.2882
1403 | 98.3132
1402 | 98.3383
1401 | 98.3579
1400 | 98.3719
1399 | 98.384
1398 | 98.3959
1397 | 98.4081
1396 | 98.4205
1395 | 98.4315
1394 | 98.4367
1393 | 98.4343
1392 | 98.4277
1391 | 98.4191
1390 | 98.4048
1389 | 98.3789
1388 | 98.3391
1387 | 98.2902
1386 | 98.2397
1385 | 98.1898
1384 | 98.1368
1383 | 98.077
1382 | 98.0096
1381 | 97.9375
1380 | 97.8653
1379 | 97.7981
1378 | 97.7407
1377 | 97.6926
1376 | 97.6475
1375 | 97.5984
1374 | 97.5456
1373 | 97.4981
1372 | 97.4648
1371 | 97.4472
1370 | 97.4415
1369 | 97.4433
1368 | 97.4509
1367 | 97.4648
1366 | 97.4827
1365 | 97.5006
1364 | 97.5164
1363 | 97.5333
1362 | 97.5586
1361 | 97.5962
1360 | 97.6424
1359 | 97.6903
1358 | 97.7342
1357 | 97.7718
1356 | 97.8029
1355 | 97.8288
1354 | 97.8497
1353 | 97.8655
1352 | 97.8751
1351 | 97.8765
1350 | 97.8683
1349 | 97.8496
1348 | 97.8201
1347 | 97.7803
1346 | 97.7305
1345 | 97.6717
1344 | 97.6067
1343 | 97.5376
1342 | 97.4629
1341 | 97.3804
1340 | 97.293
1339 | 97.211
1338 | 97.1427
1337 | 97.0881
1336 | 97.0435
1335 | 97.0074
1334 | 96.9798
1333 | 96.9595
1332 | 96.9446
1331 | 96.9335
1330 | 96.9241
1329 | 96.9131
1328 | 96.8975
1327 | 96.8755
1326 | 96.8454
1325 | 96.8055
1324 | 96.7566
1323 | 96.7033
1322 | 96.65
1321 | 96.5985
1320 | 96.5514
1319 | 96.5149
1318 | 96.4958
1317 | 96.4976
1316 | 96.5206
1315 | 96.5637
1314 | 96.6253
1313 | 96.7037
1312 | 96.7972
1311 | 96.9036
1310 | 97.0187
1309 | 97.1379
1308 | 97.2586
1307 | 97.3795
1306 | 97.4983
1305 | 97.6127
1304 | 97.7214
1303 | 97.8238
1302 | 97.9187
1301 | 98.0043
1300 | 98.0803
1299 | 98.147
1298 | 98.2039
1297 | 98.2504
1296 | 98.2873
1295 | 98.3166
1294 | 98.3391
1293 | 98.3557
1292 | 98.3679
1291 | 98.3767
1290 | 98.3812
1289 | 98.3796
1288 | 98.3718
1287 | 98.3585
1286 | 98.3393
1285 | 98.3136
1284 | 98.2826
1283 | 98.2496
1282 | 98.2167
1281 | 98.1847
1280 | 98.1536
1279 | 98.1231
1278 | 98.0915
1277 | 98.0565
1276 | 98.0179
1275 | 97.9784
1274 | 97.9406
1273 | 97.9061
1272 | 97.876
1271 | 97.8507
1270 | 97.8291
1269 | 97.8092
1268 | 97.7907
1267 | 97.7745
1266 | 97.7598
1265 | 97.7441
1264 | 97.7262
1263 | 97.7078
1262 | 97.6903
1261 | 97.6737
1260 | 97.658
1259 | 97.6431
1258 | 97.6283
1257 | 97.6119
1256 | 97.5932
1255 | 97.5718
1254 | 97.5468
1253 | 97.5169
1252 | 97.483
1251 | 97.4471
1250 | 97.4101
1249 | 97.3717
1248 | 97.3334
1247 | 97.2991
1246 | 97.2709
1245 | 97.2489
1244 | 97.2327
1243 | 97.2226
1242 | 97.2172
1241 | 97.2132
1240 | 97.2096
1239 | 97.2075
1238 | 97.2073
1237 | 97.208
1236 | 97.2098
1235 | 97.215
1234 | 97.2249
1233 | 97.2393
1232 | 97.2589
1231 | 97.2855
1230 | 97.3185
1229 | 97.3551
1228 | 97.3937
1227 | 97.4352
1226 | 97.4799
1225 | 97.527
1224 | 97.5761
1223 | 97.6279
1222 | 97.6817
1221 | 97.7351
1220 | 97.7867
1219 | 97.8361
1218 | 97.8828
1217 | 97.9249
1216 | 97.9614
1215 | 97.9922
1214 | 98.015
1213 | 98.0259
1212 | 98.0224
1211 | 98.005
1210 | 97.9766
1209 | 97.9423
1208 | 97.9092
1207 | 97.8853
1206 | 97.8754
1205 | 97.8802
1204 | 97.8987
1203 | 97.9304
1202 | 97.9741
1201 | 98.0281
1200 | 98.0915
1199 | 98.1628
1198 | 98.2386
1197 | 98.3135
1196 | 98.3837
1195 | 98.4467
1194 | 98.5001
1193 | 98.5417
1192 | 98.5708
1191 | 98.5869
1190 | 98.5882
1189 | 98.5732
1188 | 98.5433
1187 | 98.5014
1186 | 98.4487
1185 | 98.3842
1184 | 98.3068
1183 | 98.2168
1182 | 98.1144
1181 | 97.9986
1180 | 97.8682
1179 | 97.7219
1178 | 97.5574
1177 | 97.3714
1176 | 97.1624
1175 | 96.9324
1174 | 96.684
1173 | 96.4181
1172 | 96.1368
1171 | 95.8457
1170 | 95.5518
1169 | 95.2622
1168 | 94.9849
1167 | 94.7295
1166 | 94.504
1165 | 94.3123
1164 | 94.1571
1163 | 94.0406
1162 | 93.96
1161 | 93.9076
1160 | 93.877
1159 | 93.865
1158 | 93.8671
1157 | 93.8757
1156 | 93.886
1155 | 93.8971
1154 | 93.907
1153 | 93.9108
1152 | 93.906
1151 | 93.8948
1150 | 93.8781
1149 | 93.8549
1148 | 93.8262
1147 | 93.7964
1146 | 93.7669
1145 | 93.734
1144 | 93.6948
1143 | 93.6497
1142 | 93.5964
1141 | 93.5279
1140 | 93.4388
1139 | 93.3289
1138 | 93.1979
1137 | 93.0434
1136 | 92.8659
1135 | 92.6716
1134 | 92.4659
1133 | 92.2501
1132 | 92.027
1131 | 91.8027
1130 | 91.5793
1129 | 91.3535
1128 | 91.1253
1127 | 90.9035
1126 | 90.697
1125 | 90.5094
1124 | 90.3433
1123 | 90.2021
1122 | 90.0819
1121 | 89.9682
1120 | 89.8467
1119 | 89.7101
1118 | 89.5523
1117 | 89.3674
1116 | 89.1589
1115 | 88.9428
1114 | 88.7359
1113 | 88.547
1112 | 88.383
1111 | 88.251
1110 | 88.1506
1109 | 88.0725
1108 | 88.0117
1107 | 87.9718
1106 | 87.9543
1105 | 87.9541
1104 | 87.9704
1103 | 88.0095
1102 | 88.0712
1101 | 88.1447
1100 | 88.2219
1099 | 88.303
1098 | 88.3869
1097 | 88.466
1096 | 88.5355
1095 | 88.5982
1094 | 88.6548
1093 | 88.7001
1092 | 88.7328
1091 | 88.7577
1090 | 88.7772
1089 | 88.7873
1088 | 88.7876
1087 | 88.7836
1086 | 88.7756
1085 | 88.7557
1084 | 88.7177
1083 | 88.6628
1082 | 88.5908
1081 | 88.4973
1080 | 88.3846
1079 | 88.265
1078 | 88.1486
1077 | 88.0359
1076 | 87.9257
1075 | 87.8198
1074 | 87.7157
1073 | 87.6023
1072 | 87.4708
1071 | 87.3197
1070 | 87.1461
1069 | 86.9414
1068 | 86.7007
1067 | 86.4285
1066 | 86.1308
1065 | 85.8116
1064 | 85.4828
1063 | 85.1668
1062 | 84.8829
1061 | 84.6387
1060 | 84.4385
1059 | 84.2873
1058 | 84.1816
1057 | 84.1081
1056 | 84.0586
1055 | 84.0357
1054 | 84.0381
1053 | 84.0543
1052 | 84.0758
1051 | 84.1046
1050 | 84.1415
1049 | 84.1783
1048 | 84.2088
1047 | 84.2335
1046 | 84.2492
1045 | 84.2451
1044 | 84.215
1043 | 84.1619
1042 | 84.0869
1041 | 83.9856
1040 | 83.8598
1039 | 83.7232
1038 | 83.589
1037 | 83.4642
1036 | 83.3574
1035 | 83.2832
1034 | 83.2496
1033 | 83.2531
1032 | 83.29
1031 | 83.3626
1030 | 83.4689
1029 | 83.5985
1028 | 83.743
1027 | 83.9016
1026 | 84.073
1025 | 84.2508
1024 | 84.4323
1023 | 84.6208
1022 | 84.8167
1021 | 85.0148
1020 | 85.2129
1019 | 85.4151
1018 | 85.6223
1017 | 85.8276
1016 | 86.0245
1015 | 86.2112
1014 | 86.3835
1013 | 86.5328
1012 | 86.6533
1011 | 86.7461
1010 | 86.8136
1009 | 86.8566
1008 | 86.8811
1007 | 86.8994
1006 | 86.9248
1005 | 86.9676
1004 | 87.0381
1003 | 87.1452
1002 | 87.2893
1001 | 87.4613
1000 | 87.6507
999 | 87.8495
998 | 88.0477
997 | 88.2332
996 | 88.3988
995 | 88.5438
994 | 88.6679
993 | 88.7683
992 | 88.8456
991 | 88.9054
990 | 88.953
989 | 88.9928
988 | 89.0345
987 | 89.0951
986 | 89.1922
985 | 89.3376
984 | 89.5377
983 | 89.7943
982 | 90.0994
981 | 90.4362
980 | 90.787
979 | 91.1384
978 | 91.4799
977 | 91.8034
976 | 92.1055
975 | 92.3878
974 | 92.6513
973 | 92.8952
972 | 93.1201
971 | 93.3296
970 | 93.5269
969 | 93.7134
968 | 93.8913
967 | 94.0647
966 | 94.2363
965 | 94.4066
964 | 94.5756
963 | 94.7443
962 | 94.9123
961 | 95.0777
960 | 95.24
959 | 95.4007
958 | 95.5606
957 | 95.7192
956 | 95.8762
955 | 96.0314
954 | 96.1826
953 | 96.3267
952 | 96.4629
951 | 96.593
950 | 96.7173
949 | 96.8347
948 | 96.9443
947 | 97.047
946 | 97.1429
945 | 97.2303
944 | 97.3088
943 | 97.38
942 | 97.4453
941 | 97.5049
940 | 97.5589
939 | 97.6078
938 | 97.6509
937 | 97.6867
936 | 97.7155
935 | 97.7394
934 | 97.7605
933 | 97.7796
932 | 97.797
931 | 97.8135
930 | 97.8283
929 | 97.8397
928 | 97.8475
927 | 97.8531
926 | 97.8571
925 | 97.8584
924 | 97.8567
923 | 97.8532
922 | 97.8484
921 | 97.8417
920 | 97.8319
919 | 97.8187
918 | 97.8014
917 | 97.7788
916 | 97.7514
915 | 97.7213
914 | 97.6899
913 | 97.6571
912 | 97.6228
911 | 97.5874
910 | 97.5492
909 | 97.5047
908 | 97.4521
907 | 97.3922
906 | 97.3258
905 | 97.2523
904 | 97.1726
903 | 97.0916
902 | 97.0158
901 | 96.9504
900 | 96.8995
899 | 96.8667
898 | 96.8539
897 | 96.8613
896 | 96.8887
895 | 96.936
894 | 97.0008
893 | 97.0784
892 | 97.1637
891 | 97.2534
890 | 97.3443
889 | 97.4331
888 | 97.5178
887 | 97.5977
886 | 97.6723
885 | 97.741
884 | 97.8042
883 | 97.8621
882 | 97.9127
881 | 97.9536
880 | 97.986
879 | 98.0148
878 | 98.0433
877 | 98.0711
876 | 98.0964
875 | 98.1196
874 | 98.143
873 | 98.1675
872 | 98.1922
871 | 98.215
870 | 98.2337
869 | 98.248
868 | 98.2601
867 | 98.2715
866 | 98.2807
865 | 98.2854
864 | 98.2852
863 | 98.2816
862 | 98.2752
861 | 98.265
860 | 98.2517
859 | 98.2378
858 | 98.2246
857 | 98.2106
856 | 98.1941
855 | 98.175
854 | 98.1544
853 | 98.1344
852 | 98.1176
851 | 98.1039
850 | 98.0887
849 | 98.067
848 | 98.0388
847 | 98.0081
846 | 97.9769
845 | 97.9437
844 | 97.9082
843 | 97.8726
842 | 97.8383
841 | 97.8038
840 | 97.7682
839 | 97.7331
838 | 97.7005
837 | 97.6711
836 | 97.6456
835 | 97.6241
834 | 97.6044
833 | 97.5837
832 | 97.5628
831 | 97.5456
830 | 97.5335
829 | 97.5248
828 | 97.5184
827 | 97.5144
826 | 97.5109
825 | 97.5036
824 | 97.491
823 | 97.4762
822 | 97.462
821 | 97.4476
820 | 97.4325
819 | 97.4172
818 | 97.4004
817 | 97.3799
816 | 97.3567
815 | 97.336
814 | 97.3199
813 | 97.3059
812 | 97.291
811 | 97.2756
810 | 97.2598
809 | 97.2423
808 | 97.2227
807 | 97.203
806 | 97.1833
805 | 97.162
804 | 97.1383
803 | 97.1141
802 | 97.0897
801 | 97.0634
800 | 97.0359
799 | 97.0109
798 | 96.9893
797 | 96.9681
796 | 96.9454
795 | 96.9223
794 | 96.8989
793 | 96.8733
792 | 96.8455
791 | 96.8188
790 | 96.7936
789 | 96.7661
788 | 96.7336
787 | 96.6981
786 | 96.6617
785 | 96.6241
784 | 96.5856
783 | 96.5481
782 | 96.5113
781 | 96.4726
780 | 96.4322
779 | 96.3944
778 | 96.3608
777 | 96.3286
776 | 96.2947
775 | 96.2593
774 | 96.2219
773 | 96.1803
772 | 96.1349
771 | 96.0889
770 | 96.0435
769 | 95.9958
768 | 95.945
767 | 95.8941
766 | 95.8437
765 | 95.7908
764 | 95.7349
763 | 95.6802
762 | 95.6293
761 | 95.5791
760 | 95.5271
759 | 95.4751
758 | 95.4242
757 | 95.3719
756 | 95.3172
755 | 95.2638
754 | 95.2131
753 | 95.1616
752 | 95.1074
751 | 95.0533
750 | 95.0012
749 | 94.9476
748 | 94.8906
747 | 94.8336
746 | 94.779
745 | 94.7244
744 | 94.668
743 | 94.6125
742 | 94.5597
741 | 94.5069
740 | 94.4523
739 | 94.3981
738 | 94.3447
737 | 94.2875
736 | 94.2239
735 | 94.1579
734 | 94.0925
733 | 94.0237
732 | 93.9478
731 | 93.867
730 | 93.7851
729 | 93.7014
728 | 93.6154
727 | 93.529
726 | 93.4422
725 | 93.3524
724 | 93.2601
723 | 93.169
722 | 93.0753
721 | 92.9711
720 | 92.8603
719 | 92.7604
718 | 92.6807
717 | 92.611
716 | 92.5377
715 | 92.459
714 | 92.3797
713 | 92.3011
712 | 92.2239
711 | 92.1522
710 | 92.0864
709 | 92.0199
708 | 91.95
707 | 91.8836
706 | 91.8241
705 | 91.7649
704 | 91.702
703 | 91.6423
702 | 91.5909
701 | 91.5415
700 | 91.4888
699 | 91.4389
698 | 91.3972
697 | 91.3576
696 | 91.3135
695 | 91.2681
694 | 91.2254
693 | 91.1801
692 | 91.1281
691 | 91.0759
690 | 91.0272
689 | 90.9719
688 | 90.9007
687 | 90.8192
686 | 90.7347
685 | 90.6423
684 | 90.5363
683 | 90.4202
682 | 90.2919
681 | 90.1353
680 | 89.9411
679 | 89.7193
678 | 89.4788
677 | 89.2138
676 | 88.9251
675 | 88.629
674 | 88.3377
673 | 88.0587
672 | 87.8173
671 | 87.6372
670 | 87.4966
669 | 87.3032
668 | 87.0123
667 | 86.8009
666 | 86.789
665 | 86.8759
664 | 86.9792
663 | 87.0803
662 | 87.1831
661 | 87.2845
660 | 87.381
659 | 87.478
658 | 87.5786
657 | 87.6728
656 | 87.754
655 | 87.8284
654 | 87.8986
653 | 87.9544
652 | 87.9897
651 | 88.0123
650 | 88.0281
649 | 88.0297
648 | 88.0127
647 | 87.9875
646 | 87.9624
645 | 87.9328
644 | 87.8984
643 | 87.8741
642 | 87.8661
641 | 87.8576
640 | 87.8364
639 | 87.8173
638 | 87.8173
637 | 87.8307
636 | 87.8475
635 | 87.8696
634 | 87.8918
633 | 87.8974
632 | 87.8886
631 | 87.8955
630 | 87.9351
629 | 87.9927
628 | 88.0599
627 | 88.1569
626 | 88.2985
625 | 88.476
624 | 88.6811
623 | 88.9168
622 | 89.1861
621 | 89.4995
620 | 89.8624
619 | 90.2325
618 | 90.5327
617 | 90.7276
616 | 90.8409
615 | 90.9112
614 | 90.9684
613 | 91.031
612 | 91.0921
611 | 91.129
610 | 91.1443
609 | 91.1662
608 | 91.2033
607 | 91.2392
606 | 91.2766
605 | 91.3423
604 | 91.4352
603 | 91.5225
602 | 91.6091
601 | 91.7534
600 | 91.9799

## Sample Details
Setting | Value
Filesname | 8.2.35 20
Creation Date
Analyst | mas-storage
X-Axis Units | cm-1
X-Axis start value | 4000
X-Axis end value | 600
Data interval | -1
Number of points | 3401
Y-Axis Units | %T
Description | 6Sample 3331 By mas-storage Date Thursday, June 16 2022

## Instrument Details
Setting | Value
Instrument Model | Frontier FT-IR
Instrument Serial Number | 91175
Software Revision | CPU32 Main 00.09.9908 05-May-2009 15:52:12
Number of Scans | 32
Resolution | 4
Detector
Source | MIR
Beam Splitter | OptKBr
Apodization | Strong
Spectrum Type | Spectrum
Beam Type | Ratio
Phase Correction | Magnitude
Scan Speed | 1
IGram Type | Double
Scan Driection | Combined
Zero Crossing | 0
JStop | 8.94
IR-Laser Wavenumber | 15798.001999451375
Manufacturer | PIKE Technologies Inc.
Part Number | L1200385
Serial Number | 19250
Description | Miracle Accessory
Default Scan Range | 4000 450
Accessory Type | Miracle ATR
Temperature / °C
Slide Holder Option

## Quality Checks
Setting | Value
Water Vapor | Passed
Carbon Dioxide | Passed
Baseline Low | Passed
Baseline High | Passed
Baseline Slope | Passed
Strong Bands | Passed
Weak Bands | Warning
High Noise | Passed
Fringes | Warning
Vignetting | Passed
Blocked Beam | Passed
Negative Bands | Passed
Zero Transmission | Passed
Stray Light | Passed
Window Cuttoff | Passed