## Data
Wavelength / cm-1 | Transmittance / % | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1
4000 | 98.2577 |  | Baseline @ 1105 |  | Baseline @ 1735 |  | Baseline @ 2900 |  | Peak @ 1105 |  | Peak @ 1735 |  | Peak @ 2900
3999 | 98.2586 | 850 | 98.9285 | 1525 | 100.0421 | 2670 | 99.7271 | 1105 | 92.8478 | 1735 | 99.9712 | 2900 | 98.9405
3998 | 98.2626 | 1210 | 99.659 | 1780 | 100.0802 | 3000 | 99.0122 | 1105 | 99.446 | 1735 | 100.0735 | 2900 | 99.2288
3997 | 98.2681
3996 | 98.2726
3995 | 98.2741
3994 | 98.273
3993 | 98.2713
3992 | 98.2703
3991 | 98.2699
3990 | 98.2694
3989 | 98.2694
3988 | 98.2704
3987 | 98.2717
3986 | 98.272
3985 | 98.271
3984 | 98.2697
3983 | 98.2693
3982 | 98.2706
3981 | 98.2725
3980 | 98.2733
3979 | 98.2714
3978 | 98.2675
3977 | 98.2641 |  |  | Baseline range |  |  | Transmittance |  |  |  | Equation of base line |  |  | Transmittance at peak value wavelength | Peak Intensity |  | Ratio
3976 | 98.2636 |  | Peak value
3975 | 98.2663 |  | Wavelength
3974 | 98.2704 |  | x1 | x2 | x3 |  | y1 | y2 | y3 |  | m | c
3973 | 98.2742 | [15 empty] | flexural
3972 | 98.277 |  | 1105 | 850 | 1210 |  | 92.8478 | 98.9285 | 99.659 |  | 0.0020293 | 97.2036 |  | 99.446 | 6.5981 | R1 | 0.015507
3971 | 98.2794 |  | 1735 | 1525 | 1780 |  | 99.9712 | 100.0421 | 100.0802 |  | 0.00014944 | 99.8142 |  | 100.0735 | 0.10232 | R2 | 0.35482
3970 | 98.2826 |  | 2900 | 2670 | 3000 |  | 98.9405 | 99.7271 | 99.0122 |  | -0.0021666 | 105.5119 |  | 99.2288 | 0.28837
3969 | 98.287
3968 | 98.292 |  | From paper
3967 | 98.296 |  | 1105 | 765 | 1185
3966 | 98.2977 |  | 1735 | 1485 | 1780
3965 | 98.2973 |  | 2900 | 2630 | 3000
3964 | 98.2961
3963 | 98.2944
3962 | 98.2917
3961 | 98.2879
3960 | 98.2835
3959 | 98.2795
3958 | 98.2772
3957 | 98.2777
3956 | 98.2816
3955 | 98.2876
3954 | 98.2932
3953 | 98.296
3952 | 98.295
3951 | 98.291
3950 | 98.2868
3949 | 98.2842
3948 | 98.2833
3947 | 98.2825
3946 | 98.2819
3945 | 98.2835
3944 | 98.2879
3943 | 98.2928
3942 | 98.2961
3941 | 98.2988
3940 | 98.302
3939 | 98.3041
3938 | 98.3021
3937 | 98.2956
3936 | 98.2883
3935 | 98.284
3934 | 98.284
3933 | 98.2882
3932 | 98.296
3931 | 98.306
3930 | 98.3141
3929 | 98.3175
3928 | 98.3165
3927 | 98.3137
3926 | 98.3109
3925 | 98.3074
3924 | 98.3035
3923 | 98.3007
3922 | 98.299
3921 | 98.2964
3920 | 98.2927
3919 | 98.2907
3918 | 98.2939
3917 | 98.3015
3916 | 98.3095
3915 | 98.3148
3914 | 98.3172
3913 | 98.3177
3912 | 98.3168
3911 | 98.3153
3910 | 98.3139
3909 | 98.3121
3908 | 98.3098
3907 | 98.3064
3906 | 98.3018
3905 | 98.2955
3904 | 98.2904
3903 | 98.294
3902 | 98.3109
3901 | 98.335
3900 | 98.3528
3899 | 98.3541
3898 | 98.3413
3897 | 98.3238
3896 | 98.3084
3895 | 98.2985
3894 | 98.2956
3893 | 98.2984
3892 | 98.301
3891 | 98.2976
3890 | 98.2908
3889 | 98.2893
3888 | 98.2977
3887 | 98.3092
3886 | 98.312
3885 | 98.3052
3884 | 98.2999
3883 | 98.3034
3882 | 98.3129
3881 | 98.3198
3880 | 98.3187
3879 | 98.3123
3878 | 98.307
3877 | 98.3069
3876 | 98.31
3875 | 98.3092
3874 | 98.3016
3873 | 98.2953
3872 | 98.3008
3871 | 98.315
3870 | 98.3233
3869 | 98.3209
3868 | 98.3171
3867 | 98.3176
3866 | 98.3176
3865 | 98.3112
3864 | 98.3028
3863 | 98.3013
3862 | 98.3046
3861 | 98.3049
3860 | 98.3017
3859 | 98.2999
3858 | 98.3044
3857 | 98.3158
3856 | 98.3297
3855 | 98.3351
3854 | 98.3272
3853 | 98.326
3852 | 98.3457
3851 | 98.3656
3850 | 98.3654
3849 | 98.3464
3848 | 98.3199
3847 | 98.2976
3846 | 98.2849
3845 | 98.2798
3844 | 98.2788
3843 | 98.2794
3842 | 98.2802
3841 | 98.2833
3840 | 98.2899
3839 | 98.2964
3838 | 98.3002
3837 | 98.3016
3836 | 98.301
3835 | 98.2978
3834 | 98.2918
3833 | 98.2845
3832 | 98.2771
3831 | 98.2703
3830 | 98.2653
3829 | 98.2612
3828 | 98.2554
3827 | 98.2454
3826 | 98.2319
3825 | 98.2213
3824 | 98.2215
3823 | 98.2319
3822 | 98.2419
3821 | 98.2439
3820 | 98.2442
3819 | 98.2523
3818 | 98.2673
3817 | 98.2779
3816 | 98.2753
3815 | 98.2673
3814 | 98.2658
3813 | 98.2672
3812 | 98.2603
3811 | 98.2432
3810 | 98.2261
3809 | 98.2182
3808 | 98.2177
3807 | 98.2152
3806 | 98.2074
3805 | 98.2011
3804 | 98.2028
3803 | 98.2094
3802 | 98.2091
3801 | 98.1997
3800 | 98.194
3799 | 98.1981
3798 | 98.2044
3797 | 98.2039
3796 | 98.1957
3795 | 98.1877
3794 | 98.1848
3793 | 98.1839
3792 | 98.1795
3791 | 98.1704
3790 | 98.1592
3789 | 98.1484
3788 | 98.1405
3787 | 98.1376
3786 | 98.1393
3785 | 98.1423
3784 | 98.1423
3783 | 98.139
3782 | 98.1348
3781 | 98.1299
3780 | 98.1227
3779 | 98.1145
3778 | 98.1101
3777 | 98.1121
3776 | 98.1166
3775 | 98.1162
3774 | 98.108
3773 | 98.0956
3772 | 98.0846
3771 | 98.0761
3770 | 98.0686
3769 | 98.0644
3768 | 98.0672
3767 | 98.0749
3766 | 98.0797
3765 | 98.0757
3764 | 98.0661
3763 | 98.0582
3762 | 98.0542
3761 | 98.0502
3760 | 98.0427
3759 | 98.0343
3758 | 98.0286
3757 | 98.0242
3756 | 98.0214
3755 | 98.023
3754 | 98.0278
3753 | 98.0303
3752 | 98.0274
3751 | 98.0252
3750 | 98.0266
3749 | 98.0238
3748 | 98.0168
3747 | 98.0174
3746 | 98.0262
3745 | 98.0235
3744 | 98.0054
3743 | 97.9935
3742 | 97.9924
3741 | 97.988
3740 | 97.972
3739 | 97.9492
3738 | 97.931
3737 | 97.9209
3736 | 97.917
3735 | 97.9209
3734 | 97.9342
3733 | 97.9487
3732 | 97.9512
3731 | 97.9403
3730 | 97.9251
3729 | 97.9135
3728 | 97.9053
3727 | 97.8949
3726 | 97.8804
3725 | 97.8672
3724 | 97.8599
3723 | 97.8574
3722 | 97.8558
3721 | 97.8552
3720 | 97.856
3719 | 97.856
3718 | 97.8523
3717 | 97.8435
3716 | 97.8335
3715 | 97.8267
3714 | 97.822
3713 | 97.8153
3712 | 97.8079
3711 | 97.8076
3710 | 97.817
3709 | 97.8283
3708 | 97.8328
3707 | 97.8268
3706 | 97.8127
3705 | 97.7957
3704 | 97.7812
3703 | 97.7723
3702 | 97.7684
3701 | 97.767
3700 | 97.7656
3699 | 97.7632
3698 | 97.7597
3697 | 97.7535
3696 | 97.7434
3695 | 97.7322
3694 | 97.7245
3693 | 97.7236
3692 | 97.7302
3691 | 97.7418
3690 | 97.75
3689 | 97.7475
3688 | 97.7359
3687 | 97.7219
3686 | 97.7083
3685 | 97.6939
3684 | 97.676
3683 | 97.6571
3682 | 97.644
3681 | 97.6387
3680 | 97.6368
3679 | 97.6353
3678 | 97.6379
3677 | 97.6463
3676 | 97.6506
3675 | 97.6454
3674 | 97.6383
3673 | 97.6365
3672 | 97.64
3671 | 97.6395
3670 | 97.6262
3669 | 97.6073
3668 | 97.5937
3667 | 97.5832
3666 | 97.5702
3665 | 97.5548
3664 | 97.5404
3663 | 97.5295
3662 | 97.5211
3661 | 97.5118
3660 | 97.5014
3659 | 97.4929
3658 | 97.4875
3657 | 97.4815
3656 | 97.471
3655 | 97.4593
3654 | 97.4531
3653 | 97.4562
3652 | 97.4648
3651 | 97.4672
3650 | 97.457
3649 | 97.4437
3648 | 97.4389
3647 | 97.437
3646 | 97.4272
3645 | 97.4094
3644 | 97.389
3643 | 97.3689
3642 | 97.35
3641 | 97.3345
3640 | 97.3251
3639 | 97.3207
3638 | 97.3168
3637 | 97.3105
3636 | 97.3017
3635 | 97.2904
3634 | 97.2764
3633 | 97.265
3632 | 97.2641
3631 | 97.2731
3630 | 97.2761
3629 | 97.2595
3628 | 97.2351
3627 | 97.2205
3626 | 97.2149
3625 | 97.2101
3624 | 97.2029
3623 | 97.1959
3622 | 97.191
3621 | 97.1843
3620 | 97.1694
3619 | 97.1468
3618 | 97.1255
3617 | 97.1127
3616 | 97.1089
3615 | 97.1096
3614 | 97.1066
3613 | 97.095
3612 | 97.0778
3611 | 97.0616
3610 | 97.0487
3609 | 97.0377
3608 | 97.0276
3607 | 97.0205
3606 | 97.0169
3605 | 97.0138
3604 | 97.0083
3603 | 96.9993
3602 | 96.9877
3601 | 96.9745
3600 | 96.9613
3599 | 96.9501
3598 | 96.9419
3597 | 96.9349
3596 | 96.9259
3595 | 96.9126
3594 | 96.8959
3593 | 96.8802
3592 | 96.8702
3591 | 96.8674
3590 | 96.868
3589 | 96.8639
3588 | 96.8476
3587 | 96.8215
3586 | 96.796
3585 | 96.7783
3584 | 96.7682
3583 | 96.7617
3582 | 96.7549
3581 | 96.7456
3580 | 96.7335
3579 | 96.72
3578 | 96.706
3577 | 96.6915
3576 | 96.6753
3575 | 96.6572
3574 | 96.638
3573 | 96.6201
3572 | 96.6061
3571 | 96.597
3570 | 96.5913
3569 | 96.5828
3568 | 96.5636
3567 | 96.5317
3566 | 96.4953
3565 | 96.4649
3564 | 96.4445
3563 | 96.4327
3562 | 96.4248
3561 | 96.4161
3560 | 96.4038
3559 | 96.3881
3558 | 96.3708
3557 | 96.3543
3556 | 96.3403
3555 | 96.3293
3554 | 96.3198
3553 | 96.3079
3552 | 96.2911
3551 | 96.2709
3550 | 96.2517
3549 | 96.2362
3548 | 96.2223
3547 | 96.2059
3546 | 96.1857
3545 | 96.165
3544 | 96.1479
3543 | 96.1353
3542 | 96.1254
3541 | 96.1168
3540 | 96.1098
3539 | 96.1048
3538 | 96.1007
3537 | 96.0958
3536 | 96.0896
3535 | 96.084
3534 | 96.0806
3533 | 96.0785
3532 | 96.0753
3531 | 96.0696
3530 | 96.0621
3529 | 96.0544
3528 | 96.0468
3527 | 96.039
3526 | 96.0314
3525 | 96.0247
3524 | 96.019
3523 | 96.0144
3522 | 96.0122
3521 | 96.0143
3520 | 96.0206
3519 | 96.028
3518 | 96.0327
3517 | 96.0337
3516 | 96.033
3515 | 96.0328
3514 | 96.0342
3513 | 96.037
3512 | 96.0399
3511 | 96.0403
3510 | 96.036
3509 | 96.0273
3508 | 96.0185
3507 | 96.0142
3506 | 96.0158
3505 | 96.0205
3504 | 96.0236
3503 | 96.0225
3502 | 96.0184
3501 | 96.0141
3500 | 96.012
3499 | 96.0119
3498 | 96.0123
3497 | 96.0122
3496 | 96.0114
3495 | 96.0106
3494 | 96.0102
3493 | 96.0102
3492 | 96.0108
3491 | 96.0117
3490 | 96.012
3489 | 96.0108
3488 | 96.0081
3487 | 96.0042
3486 | 96.0001
3485 | 95.9966
3484 | 95.9935
3483 | 95.99
3482 | 95.9848
3481 | 95.9779
3480 | 95.9714
3479 | 95.968
3478 | 95.9693
3477 | 95.9745
3476 | 95.9799
3475 | 95.9822
3474 | 95.9804
3473 | 95.9761
3472 | 95.9715
3471 | 95.967
3470 | 95.9622
3469 | 95.9566
3468 | 95.95
3467 | 95.9419
3466 | 95.9331
3465 | 95.9258
3464 | 95.9208
3463 | 95.9161
3462 | 95.9083
3461 | 95.8969
3460 | 95.8854
3459 | 95.8769
3458 | 95.8707
3457 | 95.8631
3456 | 95.852
3455 | 95.8395
3454 | 95.8295
3453 | 95.8244
3452 | 95.8223
3451 | 95.8192
3450 | 95.8123
3449 | 95.801
3448 | 95.7861
3447 | 95.7693
3446 | 95.7526
3445 | 95.7383
3444 | 95.7266
3443 | 95.716
3442 | 95.704
3441 | 95.6897
3440 | 95.6739
3439 | 95.6584
3438 | 95.6445
3437 | 95.6321
3436 | 95.619
3435 | 95.6027
3434 | 95.5826
3433 | 95.5617
3432 | 95.5438
3431 | 95.5298
3430 | 95.5167
3429 | 95.5004
3428 | 95.4795
3427 | 95.4552
3426 | 95.4298
3425 | 95.4046
3424 | 95.3811
3423 | 95.3607
3422 | 95.3432
3421 | 95.3264
3420 | 95.3069
3419 | 95.2835
3418 | 95.2583
3417 | 95.2351
3416 | 95.2168
3415 | 95.2029
3414 | 95.1902
3413 | 95.1746
3412 | 95.1544
3411 | 95.1312
3410 | 95.1086
3409 | 95.0896
3408 | 95.0746
3407 | 95.0628
3406 | 95.0533
3405 | 95.0454
3404 | 95.0391
3403 | 95.0345
3402 | 95.0318
3401 | 95.0308
3400 | 95.0306
3399 | 95.0293
3398 | 95.0255
3397 | 95.0201
3396 | 95.0159
3395 | 95.0159
3394 | 95.021
3393 | 95.0295
3392 | 95.0388
3391 | 95.0475
3390 | 95.0558
3389 | 95.0649
3388 | 95.0756
3387 | 95.0873
3386 | 95.0981
3385 | 95.1067
3384 | 95.1133
3383 | 95.1201
3382 | 95.129
3381 | 95.1398
3380 | 95.1505
3379 | 95.1591
3378 | 95.1655
3377 | 95.1716
3376 | 95.1782
3375 | 95.1852
3374 | 95.193
3373 | 95.203
3372 | 95.216
3371 | 95.2308
3370 | 95.2444
3369 | 95.2549
3368 | 95.2618
3367 | 95.2657
3366 | 95.2677
3365 | 95.2691
3364 | 95.271
3363 | 95.2736
3362 | 95.2764
3361 | 95.2788
3360 | 95.2808
3359 | 95.2821
3358 | 95.283
3357 | 95.2844
3356 | 95.2872
3355 | 95.2909
3354 | 95.2945
3353 | 95.2975
3352 | 95.2998
3351 | 95.3008
3350 | 95.2996
3349 | 95.2968
3348 | 95.2953
3347 | 95.2977
3346 | 95.3038
3345 | 95.3104
3344 | 95.3144
3343 | 95.3143
3342 | 95.3112
3341 | 95.3071
3340 | 95.3034
3339 | 95.3015
3338 | 95.3029
3337 | 95.3073
3336 | 95.3124
3335 | 95.314
3334 | 95.3102
3333 | 95.3039
3332 | 95.2997
3331 | 95.3002
3330 | 95.3044
3329 | 95.3102
3328 | 95.316
3327 | 95.3202
3326 | 95.3211
3325 | 95.3185
3324 | 95.3142
3323 | 95.3109
3322 | 95.3092
3321 | 95.3083
3320 | 95.3077
3319 | 95.3079
3318 | 95.3087
3317 | 95.3084
3316 | 95.3055
3315 | 95.3008
3314 | 95.2962
3313 | 95.2921
3312 | 95.2871
3311 | 95.2798
3310 | 95.2712
3309 | 95.2635
3308 | 95.2587
3307 | 95.2568
3306 | 95.2563
3305 | 95.2552
3304 | 95.2512
3303 | 95.244
3302 | 95.2349
3301 | 95.2268
3300 | 95.2213
3299 | 95.2177
3298 | 95.2142
3297 | 95.2092
3296 | 95.2023
3295 | 95.194
3294 | 95.1858
3293 | 95.179
3292 | 95.1736
3291 | 95.1686
3290 | 95.1623
3289 | 95.1541
3288 | 95.1443
3287 | 95.1337
3286 | 95.1229
3285 | 95.1127
3284 | 95.1041
3283 | 95.0976
3282 | 95.0928
3281 | 95.0883
3280 | 95.0826
3279 | 95.0757
3278 | 95.0694
3277 | 95.0652
3276 | 95.0621
3275 | 95.0577
3274 | 95.0514
3273 | 95.0453
3272 | 95.0418
3271 | 95.0396
3270 | 95.0348
3269 | 95.0253
3268 | 95.0135
3267 | 95.0035
3266 | 94.9977
3265 | 94.995
3264 | 94.9927
3263 | 94.989
3262 | 94.9843
3261 | 94.9801
3260 | 94.9775
3259 | 94.977
3258 | 94.9786
3257 | 94.9823
3256 | 94.9866
3255 | 94.9894
3254 | 94.9897
3253 | 94.9886
3252 | 94.9882
3251 | 94.9902
3250 | 94.9942
3249 | 94.9988
3248 | 95.002
3247 | 95.0026
3246 | 95.0014
3245 | 95.0014
3244 | 95.0058
3243 | 95.0152
3242 | 95.0277
3241 | 95.0411
3240 | 95.0541
3239 | 95.0665
3238 | 95.0791
3237 | 95.0933
3236 | 95.1095
3235 | 95.1272
3234 | 95.1444
3233 | 95.1593
3232 | 95.1717
3231 | 95.1825
3230 | 95.1935
3229 | 95.2057
3228 | 95.2193
3227 | 95.2341
3226 | 95.2502
3225 | 95.2685
3224 | 95.289
3223 | 95.3104
3222 | 95.3309
3221 | 95.3496
3220 | 95.3673
3219 | 95.3848
3218 | 95.4026
3217 | 95.421
3216 | 95.4391
3215 | 95.4556
3214 | 95.4699
3213 | 95.4837
3212 | 95.4996
3211 | 95.5192
3210 | 95.5418
3209 | 95.5651
3208 | 95.5871
3207 | 95.6067
3206 | 95.6247
3205 | 95.6424
3204 | 95.6612
3203 | 95.6809
3202 | 95.7006
3201 | 95.7198
3200 | 95.7388
3199 | 95.7578
3198 | 95.777
3197 | 95.7969
3196 | 95.8173
3195 | 95.8374
3194 | 95.8568
3193 | 95.8764
3192 | 95.8985
3191 | 95.9235
3190 | 95.9492
3189 | 95.972
3188 | 95.9903
3187 | 96.0052
3186 | 96.0198
3185 | 96.0372
3184 | 96.0584
3183 | 96.0819
3182 | 96.1049
3181 | 96.1263
3180 | 96.1465
3179 | 96.1665
3178 | 96.1872
3177 | 96.209
3176 | 96.232
3175 | 96.2554
3174 | 96.2784
3173 | 96.301
3172 | 96.324
3171 | 96.348
3170 | 96.3726
3169 | 96.3966
3168 | 96.42
3167 | 96.4432
3166 | 96.4668
3165 | 96.4908
3164 | 96.5151
3163 | 96.5395
3162 | 96.564
3161 | 96.5884
3160 | 96.6129
3159 | 96.6379
3158 | 96.6629
3157 | 96.6874
3156 | 96.7112
3155 | 96.7358
3154 | 96.7624
3153 | 96.7907
3152 | 96.8177
3151 | 96.8409
3150 | 96.8606
3149 | 96.88
3148 | 96.9022
3147 | 96.928
3146 | 96.9556
3145 | 96.9829
3144 | 97.0098
3143 | 97.0377
3142 | 97.0677
3141 | 97.0991
3140 | 97.1289
3139 | 97.1551
3138 | 97.1783
3137 | 97.2012
3136 | 97.2257
3135 | 97.2518
3134 | 97.2786
3133 | 97.3059
3132 | 97.3339
3131 | 97.3624
3130 | 97.3905
3129 | 97.4172
3128 | 97.4424
3127 | 97.4675
3126 | 97.4945
3125 | 97.5246
3124 | 97.5571
3123 | 97.5888
3122 | 97.6171
3121 | 97.6416
3120 | 97.6647
3119 | 97.689
3118 | 97.7151
3117 | 97.7415
3116 | 97.7659
3115 | 97.7873
3114 | 97.8063
3113 | 97.8252
3112 | 97.8459
3111 | 97.8698
3110 | 97.8965
3109 | 97.9246
3108 | 97.9522
3107 | 97.978
3106 | 98.0023
3105 | 98.0258
3104 | 98.0493
3103 | 98.0729
3102 | 98.0961
3101 | 98.1186
3100 | 98.1397
3099 | 98.1592
3098 | 98.1775
3097 | 98.1956
3096 | 98.2141
3095 | 98.2335
3094 | 98.2538
3093 | 98.2748
3092 | 98.2962
3091 | 98.3175
3090 | 98.338
3089 | 98.3571
3088 | 98.3748
3087 | 98.3919
3086 | 98.4097
3085 | 98.4288
3084 | 98.4479
3083 | 98.4658
3082 | 98.482
3081 | 98.4971
3080 | 98.5114
3079 | 98.525
3078 | 98.5377
3077 | 98.5499
3076 | 98.5619
3075 | 98.5743
3074 | 98.5876
3073 | 98.602
3072 | 98.6168
3071 | 98.631
3070 | 98.6444
3069 | 98.6575
3068 | 98.6703
3067 | 98.681
3066 | 98.6878
3065 | 98.6909
3064 | 98.6931
3063 | 98.698
3062 | 98.7075
3061 | 98.721
3060 | 98.7357
3059 | 98.7484
3058 | 98.7572
3057 | 98.7625
3056 | 98.7666
3055 | 98.7719
3054 | 98.7792
3053 | 98.7875
3052 | 98.7958
3051 | 98.8034
3050 | 98.8104
3049 | 98.8171
3048 | 98.8232
3047 | 98.8285
3046 | 98.8336
3045 | 98.8395
3044 | 98.8465
3043 | 98.8542
3042 | 98.8619
3041 | 98.8686
3040 | 98.8735
3039 | 98.8761
3038 | 98.8771
3037 | 98.8782
3036 | 98.8803
3035 | 98.8835
3034 | 98.8875
3033 | 98.8921
3032 | 98.8969
3031 | 98.9011
3030 | 98.9041
3029 | 98.9073
3028 | 98.9121
3027 | 98.9181
3026 | 98.9236
3025 | 98.9277
3024 | 98.932
3023 | 98.9375
3022 | 98.9439
3021 | 98.9501
3020 | 98.9561
3019 | 98.9629
3018 | 98.9708
3017 | 98.9786
3016 | 98.9849
3015 | 98.9883
3014 | 98.9884
3013 | 98.9858
3012 | 98.982
3011 | 98.9788
3010 | 98.9773
3009 | 98.9781
3008 | 98.9808
3007 | 98.9848
3006 | 98.9892
3005 | 98.9936
3004 | 98.9983
3003 | 99.0032
3002 | 99.0074
3001 | 99.0103
3000 | 99.0122
2999 | 99.014
2998 | 99.0167
2997 | 99.02
2996 | 99.023
2995 | 99.0247
2994 | 99.0241
2993 | 99.0214
2992 | 99.0176
2991 | 99.0137
2990 | 99.0107
2989 | 99.0091
2988 | 99.0079
2987 | 99.0055
2986 | 99.001
2985 | 98.9957
2984 | 98.992
2983 | 98.9914
2982 | 98.992
2981 | 98.991
2980 | 98.9867
2979 | 98.9794
2978 | 98.9704
2977 | 98.9613
2976 | 98.9539
2975 | 98.9487
2974 | 98.944
2973 | 98.9367
2972 | 98.9256
2971 | 98.9126
2970 | 98.9013
2969 | 98.8934
2968 | 98.887
2967 | 98.8786
2966 | 98.8663
2965 | 98.8514
2964 | 98.8362
2963 | 98.8223
2962 | 98.8095
2961 | 98.7979
2960 | 98.7882
2959 | 98.7808
2958 | 98.775
2957 | 98.7706
2956 | 98.7681
2955 | 98.768
2954 | 98.7693
2953 | 98.7702
2952 | 98.7696
2951 | 98.7677
2950 | 98.7659
2949 | 98.7649
2948 | 98.7648
2947 | 98.7641
2946 | 98.7613
2945 | 98.7557
2944 | 98.748
2943 | 98.7391
2942 | 98.7289
2941 | 98.7171
2940 | 98.7049
2939 | 98.6948
2938 | 98.6883
2937 | 98.6845
2936 | 98.6808
2935 | 98.6756
2934 | 98.6694
2933 | 98.6638
2932 | 98.6591
2931 | 98.6542
2930 | 98.6478
2929 | 98.6398
2928 | 98.6308
2927 | 98.621
2926 | 98.6101
2925 | 98.5991
2924 | 98.59
2923 | 98.5847
2922 | 98.5832
2921 | 98.5845
2920 | 98.5888
2919 | 98.5975
2918 | 98.6128
2917 | 98.6356
2916 | 98.6659
2915 | 98.702
2914 | 98.7406
2913 | 98.7775
2912 | 98.8093
2911 | 98.8347
2910 | 98.8547
2909 | 98.8708
2908 | 98.8843
2907 | 98.8951
2906 | 98.9033
2905 | 98.9097
2904 | 98.9156
2903 | 98.9219
2902 | 98.9287
2901 | 98.9352
2900 | 98.9405
2899 | 98.9436
2898 | 98.9445
2897 | 98.9449
2896 | 98.9468
2895 | 98.9511
2894 | 98.957
2893 | 98.9634
2892 | 98.9703
2891 | 98.9773
2890 | 98.9839
2889 | 98.9894
2888 | 98.9943
2887 | 98.9991
2886 | 99.0036
2885 | 99.0074
2884 | 99.0106
2883 | 99.0144
2882 | 99.0187
2881 | 99.0217
2880 | 99.0221
2879 | 99.021
2878 | 99.0212
2877 | 99.0244
2876 | 99.0302
2875 | 99.0363
2874 | 99.041
2873 | 99.0439
2872 | 99.0461
2871 | 99.0496
2870 | 99.0548
2869 | 99.0609
2868 | 99.0669
2867 | 99.0722
2866 | 99.077
2865 | 99.0818
2864 | 99.0873
2863 | 99.0934
2862 | 99.0991
2861 | 99.1029
2860 | 99.1039
2859 | 99.1021
2858 | 99.0988
2857 | 99.0955
2856 | 99.0929
2855 | 99.0907
2854 | 99.0874
2853 | 99.082
2852 | 99.0757
2851 | 99.0731
2850 | 99.0802
2849 | 99.1009
2848 | 99.1338
2847 | 99.173
2846 | 99.212
2845 | 99.2462
2844 | 99.2745
2843 | 99.2977
2842 | 99.3169
2841 | 99.3326
2840 | 99.3447
2839 | 99.3539
2838 | 99.3615
2837 | 99.3687
2836 | 99.3755
2835 | 99.3813
2834 | 99.3852
2833 | 99.3877
2832 | 99.3898
2831 | 99.3932
2830 | 99.3983
2829 | 99.4044
2828 | 99.4103
2827 | 99.4158
2826 | 99.4211
2825 | 99.4264
2824 | 99.4308
2823 | 99.4331
2822 | 99.4339
2821 | 99.435
2820 | 99.4379
2819 | 99.4414
2818 | 99.4438
2817 | 99.4452
2816 | 99.4474
2815 | 99.4521
2814 | 99.4584
2813 | 99.4646
2812 | 99.47
2811 | 99.4747
2810 | 99.4789
2809 | 99.4824
2808 | 99.4855
2807 | 99.4885
2806 | 99.4912
2805 | 99.4928
2804 | 99.4933
2803 | 99.4943
2802 | 99.4973
2801 | 99.5026
2800 | 99.5089
2799 | 99.5139
2798 | 99.5163
2797 | 99.5164
2796 | 99.5162
2795 | 99.5177
2794 | 99.5213
2793 | 99.5258
2792 | 99.5301
2791 | 99.5342
2790 | 99.5389
2789 | 99.5441
2788 | 99.5487
2787 | 99.5511
2786 | 99.5513
2785 | 99.5506
2784 | 99.5506
2783 | 99.5519
2782 | 99.5541
2781 | 99.5565
2780 | 99.5584
2779 | 99.5601
2778 | 99.5625
2777 | 99.5665
2776 | 99.5722
2775 | 99.5785
2774 | 99.5836
2773 | 99.5867
2772 | 99.5883
2771 | 99.5889
2770 | 99.5889
2769 | 99.589
2768 | 99.5901
2767 | 99.5923
2766 | 99.5947
2765 | 99.5965
2764 | 99.5977
2763 | 99.599
2762 | 99.6005
2761 | 99.6017
2760 | 99.603
2759 | 99.6051
2758 | 99.6088
2757 | 99.6137
2756 | 99.6181
2755 | 99.6206
2754 | 99.6204
2753 | 99.6184
2752 | 99.6167
2751 | 99.6167
2750 | 99.6182
2749 | 99.6197
2748 | 99.6209
2747 | 99.6222
2746 | 99.6241
2745 | 99.6255
2744 | 99.6253
2743 | 99.6235
2742 | 99.6217
2741 | 99.6216
2740 | 99.6235
2739 | 99.6265
2738 | 99.6296
2737 | 99.6326
2736 | 99.6353
2735 | 99.6378
2734 | 99.6397
2733 | 99.6407
2732 | 99.6404
2731 | 99.6387
2730 | 99.6365
2729 | 99.6352
2728 | 99.6363
2727 | 99.6398
2726 | 99.6445
2725 | 99.6491
2724 | 99.6533
2723 | 99.6562
2722 | 99.6572
2721 | 99.6565
2720 | 99.6557
2719 | 99.6563
2718 | 99.6588
2717 | 99.6625
2716 | 99.667
2715 | 99.6718
2714 | 99.6759
2713 | 99.6785
2712 | 99.6798
2711 | 99.6808
2710 | 99.6823
2709 | 99.6837
2708 | 99.6845
2707 | 99.6844
2706 | 99.6833
2705 | 99.6818
2704 | 99.6805
2703 | 99.6802
2702 | 99.6811
2701 | 99.6827
2700 | 99.6845
2699 | 99.6862
2698 | 99.6871
2697 | 99.687
2696 | 99.6868
2695 | 99.6877
2694 | 99.6905
2693 | 99.6948
2692 | 99.6996
2691 | 99.7037
2690 | 99.7064
2689 | 99.7073
2688 | 99.7071
2687 | 99.7071
2686 | 99.7078
2685 | 99.7092
2684 | 99.711
2683 | 99.7128
2682 | 99.7141
2681 | 99.7148
2680 | 99.7153
2679 | 99.7164
2678 | 99.718
2677 | 99.7193
2676 | 99.7199
2675 | 99.7208
2674 | 99.7231
2673 | 99.7262
2672 | 99.7284
2671 | 99.7285
2670 | 99.7271
2669 | 99.7261
2668 | 99.7262
2667 | 99.7268
2666 | 99.7262
2665 | 99.7236
2664 | 99.7196
2663 | 99.7151
2662 | 99.7102
2661 | 99.7044
2660 | 99.6973
2659 | 99.6889
2658 | 99.6794
2657 | 99.6687
2656 | 99.6573
2655 | 99.6465
2654 | 99.637
2653 | 99.6277
2652 | 99.6167
2651 | 99.603
2650 | 99.5873
2649 | 99.5715
2648 | 99.5565
2647 | 99.5418
2646 | 99.5272
2645 | 99.5126
2644 | 99.4978
2643 | 99.4827
2642 | 99.4668
2641 | 99.4507
2640 | 99.4354
2639 | 99.4215
2638 | 99.4085
2637 | 99.3954
2636 | 99.3811
2635 | 99.3652
2634 | 99.3483
2633 | 99.3315
2632 | 99.3156
2631 | 99.3003
2630 | 99.2844
2629 | 99.2675
2628 | 99.2505
2627 | 99.2349
2626 | 99.2216
2625 | 99.2101
2624 | 99.1985
2623 | 99.1852
2622 | 99.1697
2621 | 99.1536
2620 | 99.1387
2619 | 99.1254
2618 | 99.1129
2617 | 99.1002
2616 | 99.0869
2615 | 99.0734
2614 | 99.0599
2613 | 99.0464
2612 | 99.0324
2611 | 99.017
2610 | 99.0002
2609 | 98.9827
2608 | 98.966
2607 | 98.9513
2606 | 98.9387
2605 | 98.9281
2604 | 98.9187
2603 | 98.909
2602 | 98.8983
2601 | 98.8875
2600 | 98.8782
2599 | 98.87
2598 | 98.8608
2597 | 98.8488
2596 | 98.8349
2595 | 98.8215
2594 | 98.81
2593 | 98.8003
2592 | 98.7915
2591 | 98.7827
2590 | 98.7731
2589 | 98.7621
2588 | 98.7499
2587 | 98.7376
2586 | 98.7267
2585 | 98.7178
2584 | 98.7107
2583 | 98.7048
2582 | 98.6995
2581 | 98.6944
2580 | 98.689
2579 | 98.6823
2578 | 98.6733
2577 | 98.6624
2576 | 98.6517
2575 | 98.6425
2574 | 98.6349
2573 | 98.628
2572 | 98.6216
2571 | 98.6159
2570 | 98.6104
2569 | 98.6049
2568 | 98.5996
2567 | 98.5949
2566 | 98.5909
2565 | 98.5866
2564 | 98.5816
2563 | 98.5755
2562 | 98.5686
2561 | 98.5613
2560 | 98.5548
2559 | 98.5498
2558 | 98.5461
2557 | 98.5429
2556 | 98.5396
2555 | 98.5362
2554 | 98.5326
2553 | 98.5283
2552 | 98.5235
2551 | 98.5183
2550 | 98.5135
2549 | 98.5098
2548 | 98.5081
2547 | 98.5086
2546 | 98.5098
2545 | 98.5094
2544 | 98.5059
2543 | 98.5006
2542 | 98.496
2541 | 98.4936
2540 | 98.4935
2539 | 98.4948
2538 | 98.497
2537 | 98.4998
2536 | 98.5024
2535 | 98.5035
2534 | 98.5024
2533 | 98.4991
2532 | 98.4949
2531 | 98.4907
2530 | 98.4875
2529 | 98.4862
2528 | 98.4871
2527 | 98.4895
2526 | 98.4916
2525 | 98.492
2524 | 98.4904
2523 | 98.4881
2522 | 98.4867
2521 | 98.4876
2520 | 98.4906
2519 | 98.4941
2518 | 98.4961
2517 | 98.4964
2516 | 98.4969
2515 | 98.4994
2514 | 98.5038
2513 | 98.5075
2512 | 98.5082
2511 | 98.5057
2510 | 98.5019
2509 | 98.4996
2508 | 98.5003
2507 | 98.5034
2506 | 98.5061
2505 | 98.5061
2504 | 98.5036
2503 | 98.5007
2502 | 98.5
2501 | 98.5024
2500 | 98.5069
2499 | 98.5115
2498 | 98.5144
2497 | 98.5151
2496 | 98.5152
2495 | 98.5169
2494 | 98.5211
2493 | 98.5266
2492 | 98.5314
2491 | 98.5341
2490 | 98.5351
2489 | 98.5361
2488 | 98.5383
2487 | 98.5415
2486 | 98.5443
2485 | 98.5456
2484 | 98.546
2483 | 98.5469
2482 | 98.5497
2481 | 98.5545
2480 | 98.5603
2479 | 98.566
2478 | 98.5705
2477 | 98.573
2476 | 98.5742
2475 | 98.5762
2474 | 98.5807
2473 | 98.5871
2472 | 98.5936
2471 | 98.5993
2470 | 98.6042
2469 | 98.6083
2468 | 98.6108
2467 | 98.6118
2466 | 98.6127
2465 | 98.6148
2464 | 98.6178
2463 | 98.6204
2462 | 98.6216
2461 | 98.6215
2460 | 98.6206
2459 | 98.6193
2458 | 98.6183
2457 | 98.6178
2456 | 98.6173
2455 | 98.6164
2454 | 98.6151
2453 | 98.6139
2452 | 98.6122
2451 | 98.6088
2450 | 98.6032
2449 | 98.5976
2448 | 98.5946
2447 | 98.5954
2446 | 98.5984
2445 | 98.6008
2444 | 98.6014
2443 | 98.6012
2442 | 98.6019
2441 | 98.6046
2440 | 98.6094
2439 | 98.6157
2438 | 98.6228
2437 | 98.6302
2436 | 98.6371
2435 | 98.6428
2434 | 98.6467
2433 | 98.6484
2432 | 98.649
2431 | 98.6504
2430 | 98.6546
2429 | 98.6618
2428 | 98.6707
2427 | 98.6798
2426 | 98.6884
2425 | 98.6959
2424 | 98.7019
2423 | 98.7068
2422 | 98.7119
2421 | 98.7181
2420 | 98.7256
2419 | 98.7342
2418 | 98.7437
2417 | 98.7533
2416 | 98.7623
2415 | 98.7703
2414 | 98.778
2413 | 98.786
2412 | 98.7942
2411 | 98.802
2410 | 98.8088
2409 | 98.8152
2408 | 98.822
2407 | 98.8303
2406 | 98.8412
2405 | 98.8546
2404 | 98.8692
2403 | 98.8834
2402 | 98.8966
2401 | 98.9093
2400 | 98.9224
2399 | 98.9363
2398 | 98.9512
2397 | 98.9662
2396 | 98.9794
2395 | 98.9895
2394 | 98.9975
2393 | 99.0064
2392 | 99.0192
2391 | 99.0359
2390 | 99.0543
2389 | 99.072
2388 | 99.0879
2387 | 99.1021
2386 | 99.1146
2385 | 99.1254
2384 | 99.1349
2383 | 99.1447
2382 | 99.1564
2381 | 99.1707
2380 | 99.1866
2379 | 99.2021
2378 | 99.216
2377 | 99.2282
2376 | 99.2383
2375 | 99.2453
2374 | 99.2484
2373 | 99.2488
2372 | 99.2476
2371 | 99.2452
2370 | 99.2423
2369 | 99.2419
2368 | 99.2478
2367 | 99.2608
2366 | 99.2769
2365 | 99.2914
2364 | 99.3045
2363 | 99.3185
2362 | 99.3337
2361 | 99.3489
2360 | 99.3605
2359 | 99.368
2358 | 99.3734
2357 | 99.3809
2356 | 99.3959
2355 | 99.4178
2354 | 99.4379
2353 | 99.4441
2352 | 99.4361
2351 | 99.4256
2350 | 99.4244
2349 | 99.4379
2348 | 99.4545
2347 | 99.4559
2346 | 99.435
2345 | 99.4084
2344 | 99.398
2343 | 99.4035
2342 | 99.4155
2341 | 99.4275
2340 | 99.44
2339 | 99.455
2338 | 99.474
2337 | 99.4962
2336 | 99.5193
2335 | 99.5383
2334 | 99.5495
2333 | 99.5484
2332 | 99.5366
2331 | 99.5211
2330 | 99.5076
2329 | 99.5006
2328 | 99.4964
2327 | 99.4898
2326 | 99.4718
2325 | 99.4353
2324 | 99.3822
2323 | 99.322
2322 | 99.2683
2321 | 99.2264
2320 | 99.1949
2319 | 99.168
2318 | 99.1439
2317 | 99.122
2316 | 99.1001
2315 | 99.0739
2314 | 99.0406
2313 | 99.002
2312 | 98.9626
2311 | 98.9263
2310 | 98.8938
2309 | 98.8651
2308 | 98.8404
2307 | 98.8204
2306 | 98.8045
2305 | 98.7895
2304 | 98.7722
2303 | 98.751
2302 | 98.7272
2301 | 98.7037
2300 | 98.6818
2299 | 98.6612
2298 | 98.6398
2297 | 98.6169
2296 | 98.5927
2295 | 98.5677
2294 | 98.5418
2293 | 98.5152
2292 | 98.4873
2291 | 98.4574
2290 | 98.4244
2289 | 98.3875
2288 | 98.3469
2287 | 98.3039
2286 | 98.2599
2285 | 98.2159
2284 | 98.1724
2283 | 98.1299
2282 | 98.0889
2281 | 98.0495
2280 | 98.0115
2279 | 97.9748
2278 | 97.9398
2277 | 97.9064
2276 | 97.8728
2275 | 97.8377
2274 | 97.8022
2273 | 97.7695
2272 | 97.7413
2271 | 97.7161
2270 | 97.6912
2269 | 97.6643
2268 | 97.6352
2267 | 97.6052
2266 | 97.5762
2265 | 97.5489
2264 | 97.5226
2263 | 97.4967
2262 | 97.4718
2261 | 97.4489
2260 | 97.4262
2259 | 97.4007
2258 | 97.3711
2257 | 97.3396
2256 | 97.3096
2255 | 97.2835
2254 | 97.2621
2253 | 97.2453
2252 | 97.2313
2251 | 97.2178
2250 | 97.2032
2249 | 97.1871
2248 | 97.1687
2247 | 97.1475
2246 | 97.1249
2245 | 97.1031
2244 | 97.0829
2243 | 97.0626
2242 | 97.0399
2241 | 97.0141
2240 | 96.9867
2239 | 96.9607
2238 | 96.9392
2237 | 96.9225
2236 | 96.9066
2235 | 96.887
2234 | 96.8629
2233 | 96.8372
2232 | 96.813
2231 | 96.7914
2230 | 96.7727
2229 | 96.7553
2228 | 96.7365
2227 | 96.7147
2226 | 96.6915
2225 | 96.6692
2224 | 96.6476
2223 | 96.626
2222 | 96.6056
2221 | 96.5884
2220 | 96.5732
2219 | 96.5565
2218 | 96.5381
2217 | 96.5206
2216 | 96.5048
2215 | 96.4881
2214 | 96.4696
2213 | 96.4518
2212 | 96.4368
2211 | 96.4237
2210 | 96.41
2209 | 96.394
2208 | 96.3754
2207 | 96.3556
2206 | 96.3381
2205 | 96.3236
2204 | 96.3087
2203 | 96.2892
2202 | 96.266
2201 | 96.2436
2200 | 96.224
2199 | 96.2062
2198 | 96.1904
2197 | 96.1769
2196 | 96.1631
2195 | 96.1447
2194 | 96.1218
2193 | 96.0977
2192 | 96.073
2191 | 96.0453
2190 | 96.0146
2189 | 95.9849
2188 | 95.957
2187 | 95.9274
2186 | 95.8938
2185 | 95.8588
2184 | 95.826
2183 | 95.7979
2182 | 95.7778
2181 | 95.7689
2180 | 95.7681
2179 | 95.7672
2178 | 95.7611
2177 | 95.7521
2176 | 95.7429
2175 | 95.7337
2174 | 95.7251
2173 | 95.7199
2172 | 95.717
2171 | 95.7079
2170 | 95.6845
2169 | 95.6463
2168 | 95.5989
2167 | 95.5474
2166 | 95.4927
2165 | 95.4321
2164 | 95.3605
2163 | 95.2745
2162 | 95.1799
2161 | 95.094
2160 | 95.0399
2159 | 95.0359
2158 | 95.0879
2157 | 95.1845
2156 | 95.3016
2155 | 95.4177
2154 | 95.5241
2153 | 95.6207
2152 | 95.7065
2151 | 95.7795
2150 | 95.842
2149 | 95.9006
2148 | 95.9601
2147 | 96.0216
2146 | 96.085
2145 | 96.1498
2144 | 96.2144
2143 | 96.2773
2142 | 96.3395
2141 | 96.4025
2140 | 96.4649
2139 | 96.5241
2138 | 96.5802
2137 | 96.6371
2136 | 96.6998
2135 | 96.7727
2134 | 96.8572
2133 | 96.9492
2132 | 97.0404
2131 | 97.124
2130 | 97.1977
2129 | 97.2626
2128 | 97.3199
2127 | 97.3715
2126 | 97.42
2125 | 97.4654
2124 | 97.5044
2123 | 97.5346
2122 | 97.5584
2121 | 97.5797
2120 | 97.6002
2119 | 97.6184
2118 | 97.6328
2117 | 97.6425
2116 | 97.647
2115 | 97.6469
2114 | 97.6446
2113 | 97.6415
2112 | 97.637
2111 | 97.6301
2110 | 97.6226
2109 | 97.6175
2108 | 97.6149
2107 | 97.6129
2106 | 97.6101
2105 | 97.6072
2104 | 97.6041
2103 | 97.5995
2102 | 97.5926
2101 | 97.5839
2100 | 97.5742
2099 | 97.5653
2098 | 97.5606
2097 | 97.5629
2096 | 97.5718
2095 | 97.5849
2094 | 97.6003
2093 | 97.6169
2092 | 97.6321
2091 | 97.6435
2090 | 97.6506
2089 | 97.6535
2088 | 97.6516
2087 | 97.6435
2086 | 97.6303
2085 | 97.6156
2084 | 97.6022
2083 | 97.5899
2082 | 97.5765
2081 | 97.5593
2080 | 97.5368
2079 | 97.5097
2078 | 97.4805
2077 | 97.4506
2076 | 97.4194
2075 | 97.3868
2074 | 97.3551
2073 | 97.3273
2072 | 97.3039
2071 | 97.2837
2070 | 97.2655
2069 | 97.2475
2068 | 97.2268
2067 | 97.2032
2066 | 97.1808
2065 | 97.1633
2064 | 97.1494
2063 | 97.135
2062 | 97.1188
2061 | 97.1021
2060 | 97.0835
2059 | 97.0604
2058 | 97.0323
2057 | 97.0012
2056 | 96.9681
2055 | 96.9331
2054 | 96.8959
2053 | 96.8524
2052 | 96.7929
2051 | 96.7122
2050 | 96.6189
2049 | 96.531
2048 | 96.4597
2047 | 96.4033
2046 | 96.3554
2045 | 96.3134
2044 | 96.2752
2043 | 96.2373
2042 | 96.1986
2041 | 96.1613
2040 | 96.1246
2039 | 96.0832
2038 | 96.0343
2037 | 95.9807
2036 | 95.9267
2035 | 95.8765
2034 | 95.8377
2033 | 95.8169
2032 | 95.812
2031 | 95.8136
2030 | 95.8161
2029 | 95.8203
2028 | 95.8259
2027 | 95.8298
2026 | 95.8322
2025 | 95.8371
2024 | 95.8458
2023 | 95.8556
2022 | 95.8654
2021 | 95.8763
2020 | 95.8877
2019 | 95.8978
2018 | 95.9091
2017 | 95.925
2016 | 95.9428
2015 | 95.9574
2014 | 95.9702
2013 | 95.986
2012 | 96.0035
2011 | 96.0164
2010 | 96.0239
2009 | 96.032
2008 | 96.0459
2007 | 96.0691
2006 | 96.1083
2005 | 96.1677
2004 | 96.2389
2003 | 96.3057
2002 | 96.3595
2001 | 96.4024
2000 | 96.4374
1999 | 96.464
1998 | 96.4833
1997 | 96.4989
1996 | 96.5117
1995 | 96.519
1994 | 96.5205
1993 | 96.5199
1992 | 96.5192
1991 | 96.5169
1990 | 96.5115
1989 | 96.5032
1988 | 96.4907
1987 | 96.471
1986 | 96.4453
1985 | 96.4177
1984 | 96.3887
1983 | 96.3526
1982 | 96.3034
1981 | 96.2391
1980 | 96.1629
1979 | 96.0857
1978 | 96.0264
1977 | 96.0004
1976 | 96.0075
1975 | 96.0344
1974 | 96.0697
1973 | 96.1097
1972 | 96.1519
1971 | 96.1924
1970 | 96.2307
1969 | 96.2699
1968 | 96.3119
1967 | 96.3556
1966 | 96.3999
1965 | 96.4444
1964 | 96.4864
1963 | 96.5241
1962 | 96.5629
1961 | 96.612
1960 | 96.6759
1959 | 96.7501
1958 | 96.8265
1957 | 96.8994
1956 | 96.966
1955 | 97.0259
1954 | 97.0802
1953 | 97.1301
1952 | 97.1761
1951 | 97.2191
1950 | 97.2625
1949 | 97.3087
1948 | 97.3549
1947 | 97.3956
1946 | 97.4293
1945 | 97.4615
1944 | 97.4998
1943 | 97.5465
1942 | 97.5963
1941 | 97.6407
1940 | 97.676
1939 | 97.7071
1938 | 97.7419
1937 | 97.7831
1936 | 97.8277
1935 | 97.8715
1934 | 97.9123
1933 | 97.9493
1932 | 97.9828
1931 | 98.0148
1930 | 98.0493
1929 | 98.0873
1928 | 98.1253
1927 | 98.1595
1926 | 98.1909
1925 | 98.2241
1924 | 98.2615
1923 | 98.3003
1922 | 98.3341
1921 | 98.359
1920 | 98.378
1919 | 98.3992
1918 | 98.4276
1917 | 98.4581
1916 | 98.4814
1915 | 98.4968
1914 | 98.512
1913 | 98.5318
1912 | 98.5537
1911 | 98.5745
1910 | 98.5953
1909 | 98.6174
1908 | 98.6388
1907 | 98.6578
1906 | 98.6763
1905 | 98.6953
1904 | 98.7125
1903 | 98.7271
1902 | 98.7427
1901 | 98.7612
1900 | 98.7793
1899 | 98.7943
1898 | 98.808
1897 | 98.8238
1896 | 98.8418
1895 | 98.8601
1894 | 98.8779
1893 | 98.8949
1892 | 98.911
1891 | 98.9294
1890 | 98.9536
1889 | 98.981
1888 | 99.0033
1887 | 99.0174
1886 | 99.0294
1885 | 99.0443
1884 | 99.0601
1883 | 99.0731
1882 | 99.084
1881 | 99.0948
1880 | 99.1056
1879 | 99.1167
1878 | 99.1304
1877 | 99.1472
1876 | 99.1642
1875 | 99.1786
1874 | 99.1907
1873 | 99.1999
1872 | 99.2046
1871 | 99.208
1870 | 99.2193
1869 | 99.2443
1868 | 99.2741
1867 | 99.2958
1866 | 99.3083
1865 | 99.3175
1864 | 99.3259
1863 | 99.3337
1862 | 99.343
1861 | 99.3556
1860 | 99.369
1859 | 99.3799
1858 | 99.3895
1857 | 99.4005
1856 | 99.4125
1855 | 99.4246
1854 | 99.4381
1853 | 99.4526
1852 | 99.4641
1851 | 99.4719
1850 | 99.4797
1849 | 99.4894
1848 | 99.4969
1847 | 99.4994
1846 | 99.5028
1845 | 99.5176
1844 | 99.5451
1843 | 99.573
1842 | 99.5898
1841 | 99.597
1840 | 99.6029
1839 | 99.6134
1838 | 99.6286
1837 | 99.6443
1836 | 99.656
1835 | 99.6629
1834 | 99.6658
1833 | 99.6663
1832 | 99.6689
1831 | 99.681
1830 | 99.7032
1829 | 99.7251
1828 | 99.7358
1827 | 99.7376
1826 | 99.7415
1825 | 99.754
1824 | 99.7702
1823 | 99.7815
1822 | 99.7872
1821 | 99.7934
1820 | 99.8034
1819 | 99.8165
1818 | 99.8332
1817 | 99.8553
1816 | 99.8791
1815 | 99.8971
1814 | 99.9074
1813 | 99.9155
1812 | 99.9274
1811 | 99.9431
1810 | 99.9592
1809 | 99.9738
1808 | 99.9841
1807 | 99.9886
1806 | 99.9901
1805 | 99.9931
1804 | 99.9979
1803 | 100.0023
1802 | 100.0061
1801 | 100.0116
1800 | 100.0186
1799 | 100.023
1798 | 100.0245
1797 | 100.0254
1796 | 100.0251
1795 | 100.0227
1794 | 100.0217
1793 | 100.0282
1792 | 100.0434
1791 | 100.0592
1790 | 100.0691
1789 | 100.0731
1788 | 100.0739
1787 | 100.0737
1786 | 100.0754
1785 | 100.0795
1784 | 100.0822
1783 | 100.0805
1782 | 100.0774
1781 | 100.0773
1780 | 100.0802
1779 | 100.0824
1778 | 100.0827
1777 | 100.0834
1776 | 100.0847
1775 | 100.0853
1774 | 100.0859
1773 | 100.0912
1772 | 100.1038
1771 | 100.115
1770 | 100.1161
1769 | 100.1108
1768 | 100.1076
1767 | 100.1078
1766 | 100.1055
1765 | 100.0983
1764 | 100.0908
1763 | 100.0885
1762 | 100.0911
1761 | 100.0937
1760 | 100.0923
1759 | 100.0872
1758 | 100.0819
1757 | 100.0784
1756 | 100.0766
1755 | 100.0733
1754 | 100.065
1753 | 100.0537
1752 | 100.0452
1751 | 100.0442
1750 | 100.0472
1749 | 100.0473
1748 | 100.0441
1747 | 100.0414
1746 | 100.0386
1745 | 100.0336
1744 | 100.0287
1743 | 100.0253
1742 | 100.0215
1741 | 100.0166
1740 | 100.0146
1739 | 100.0155
1738 | 100.0115
1737 | 99.9984
1736 | 99.9815
1735 | 99.9712
1734 | 99.9743
1733 | 99.9819
1732 | 99.9804
1731 | 99.9725
1730 | 99.9677
1729 | 99.9665
1728 | 99.9655
1727 | 99.9638
1726 | 99.962
1725 | 99.9594
1724 | 99.9559
1723 | 99.9523
1722 | 99.9484
1721 | 99.9435
1720 | 99.9379
1719 | 99.9338
1718 | 99.9332
1717 | 99.9372
1716 | 99.9407
1715 | 99.9382
1714 | 99.9348
1713 | 99.9342
1712 | 99.9327
1711 | 99.9282
1710 | 99.9229
1709 | 99.9178
1708 | 99.9115
1707 | 99.9045
1706 | 99.8993
1705 | 99.8954
1704 | 99.8857
1703 | 99.8663
1702 | 99.8384
1701 | 99.8111
1700 | 99.7987
1699 | 99.7966
1698 | 99.7923
1697 | 99.7824
1696 | 99.7634
1695 | 99.7335
1694 | 99.6978
1693 | 99.6595
1692 | 99.619
1691 | 99.5741
1690 | 99.5236
1689 | 99.4718
1688 | 99.4276
1687 | 99.3946
1686 | 99.3642
1685 | 99.3235
1684 | 99.2757
1683 | 99.2466
1682 | 99.2461
1681 | 99.2594
1680 | 99.2773
1679 | 99.297
1678 | 99.3161
1677 | 99.3313
1676 | 99.3421
1675 | 99.3513
1674 | 99.359
1673 | 99.362
1672 | 99.3604
1671 | 99.3554
1670 | 99.3469
1669 | 99.3361
1668 | 99.3276
1667 | 99.3245
1666 | 99.3231
1665 | 99.3187
1664 | 99.3095
1663 | 99.2976
1662 | 99.2865
1661 | 99.2763
1660 | 99.2667
1659 | 99.2592
1658 | 99.255
1657 | 99.2538
1656 | 99.2555
1655 | 99.2562
1654 | 99.2463
1653 | 99.2264
1652 | 99.2154
1651 | 99.216
1650 | 99.2169
1649 | 99.2192
1648 | 99.2201
1647 | 99.2166
1646 | 99.2134
1645 | 99.2157
1644 | 99.2196
1643 | 99.2229
1642 | 99.2271
1641 | 99.2314
1640 | 99.2351
1639 | 99.2391
1638 | 99.2436
1637 | 99.243
1636 | 99.2306
1635 | 99.2123
1634 | 99.1991
1633 | 99.1882
1632 | 99.1718
1631 | 99.1477
1630 | 99.1148
1629 | 99.0683
1628 | 99.0049
1627 | 98.9322
1626 | 98.8594
1625 | 98.7828
1624 | 98.6928
1623 | 98.6001
1622 | 98.5381
1621 | 98.525
1620 | 98.5526
1619 | 98.6089
1618 | 98.6886
1617 | 98.7863
1616 | 98.8894
1615 | 98.9865
1614 | 99.0755
1613 | 99.1574
1612 | 99.2318
1611 | 99.2993
1610 | 99.361
1609 | 99.4149
1608 | 99.4582
1607 | 99.4927
1606 | 99.5228
1605 | 99.5498
1604 | 99.5731
1603 | 99.5928
1602 | 99.6094
1601 | 99.6232
1600 | 99.6344
1599 | 99.6443
1598 | 99.6536
1597 | 99.662
1596 | 99.6696
1595 | 99.6781
1594 | 99.6891
1593 | 99.702
1592 | 99.7146
1591 | 99.7274
1590 | 99.7418
1589 | 99.7576
1588 | 99.773
1587 | 99.7873
1586 | 99.801
1585 | 99.8128
1584 | 99.8216
1583 | 99.8296
1582 | 99.8386
1581 | 99.8478
1580 | 99.857
1579 | 99.867
1578 | 99.8772
1577 | 99.8838
1576 | 99.8853
1575 | 99.8855
1574 | 99.8851
1573 | 99.8821
1572 | 99.8768
1571 | 99.8703
1570 | 99.8638
1569 | 99.8565
1568 | 99.8491
1567 | 99.8434
1566 | 99.8383
1565 | 99.8326
1564 | 99.8287
1563 | 99.8302
1562 | 99.8354
1561 | 99.834
1560 | 99.8181
1559 | 99.7938
1558 | 99.7816
1557 | 99.7863
1556 | 99.7924
1555 | 99.7972
1554 | 99.7995
1553 | 99.7995
1552 | 99.7999
1551 | 99.8023
1550 | 99.8068
1549 | 99.8127
1548 | 99.8188
1547 | 99.8236
1546 | 99.8265
1545 | 99.8286
1544 | 99.8342
1543 | 99.8452
1542 | 99.8609
1541 | 99.8827
1540 | 99.9094
1539 | 99.9359
1538 | 99.9556
1537 | 99.9654
1536 | 99.9702
1535 | 99.9758
1534 | 99.9848
1533 | 99.9972
1532 | 100.0102
1531 | 100.0198
1530 | 100.0263
1529 | 100.0326
1528 | 100.0382
1527 | 100.041
1526 | 100.0411
1525 | 100.0421
1524 | 100.0457
1523 | 100.0488
1522 | 100.0465
1521 | 100.0395
1520 | 100.032
1519 | 100.0229
1518 | 100.01
1517 | 99.9954
1516 | 99.9842
1515 | 99.9796
1514 | 99.9783
1513 | 99.9757
1512 | 99.9702
1511 | 99.9606
1510 | 99.9472
1509 | 99.9322
1508 | 99.9215
1507 | 99.9252
1506 | 99.9454
1505 | 99.9666
1504 | 99.9761
1503 | 99.9773
1502 | 99.9771
1501 | 99.9797
1500 | 99.9871
1499 | 99.9985
1498 | 100.0094
1497 | 100.0197
1496 | 100.033
1495 | 100.0473
1494 | 100.0574
1493 | 100.063
1492 | 100.0654
1491 | 100.065
1490 | 100.0633
1489 | 100.0652
1488 | 100.071
1487 | 100.0745
1486 | 100.075
1485 | 100.0733
1484 | 100.0681
1483 | 100.0592
1482 | 100.0468
1481 | 100.0326
1480 | 100.019
1479 | 100.0059
1478 | 99.9906
1477 | 99.9707
1476 | 99.9459
1475 | 99.9171
1474 | 99.884
1473 | 99.848
1472 | 99.8168
1471 | 99.7934
1470 | 99.7739
1469 | 99.7566
1468 | 99.7421
1467 | 99.7287
1466 | 99.7119
1465 | 99.6901
1464 | 99.6694
1463 | 99.656
1462 | 99.6505
1461 | 99.6523
1460 | 99.6602
1459 | 99.6683
1458 | 99.663
1457 | 99.6426
1456 | 99.6288
1455 | 99.6303
1454 | 99.6376
1453 | 99.6477
1452 | 99.6606
1451 | 99.6742
1450 | 99.6857
1449 | 99.6947
1448 | 99.7022
1447 | 99.7078
1446 | 99.7112
1445 | 99.7138
1444 | 99.7186
1443 | 99.7242
1442 | 99.7276
1441 | 99.7297
1440 | 99.7345
1439 | 99.7412
1438 | 99.742
1437 | 99.7306
1436 | 99.7132
1435 | 99.6993
1434 | 99.6886
1433 | 99.6788
1432 | 99.6688
1431 | 99.6566
1430 | 99.6404
1429 | 99.622
1428 | 99.6065
1427 | 99.5962
1426 | 99.5871
1425 | 99.5746
1424 | 99.5632
1423 | 99.562
1422 | 99.5718
1421 | 99.5842
1420 | 99.5908
1419 | 99.5895
1418 | 99.5863
1417 | 99.5912
1416 | 99.6086
1415 | 99.6335
1414 | 99.6567
1413 | 99.6737
1412 | 99.688
1411 | 99.7036
1410 | 99.7188
1409 | 99.7313
1408 | 99.7425
1407 | 99.7533
1406 | 99.7616
1405 | 99.7663
1404 | 99.7723
1403 | 99.7838
1402 | 99.7978
1401 | 99.8091
1400 | 99.8155
1399 | 99.8185
1398 | 99.821
1397 | 99.8255
1396 | 99.8335
1395 | 99.8441
1394 | 99.852
1393 | 99.8538
1392 | 99.853
1391 | 99.8539
1390 | 99.8547
1389 | 99.8508
1388 | 99.8405
1387 | 99.8281
1386 | 99.8191
1385 | 99.8135
1384 | 99.8084
1383 | 99.8004
1382 | 99.7879
1381 | 99.7721
1380 | 99.7554
1379 | 99.7403
1378 | 99.7293
1377 | 99.7224
1376 | 99.7166
1375 | 99.7084
1374 | 99.6974
1373 | 99.6876
1372 | 99.6827
1371 | 99.6832
1370 | 99.687
1369 | 99.6913
1368 | 99.6952
1367 | 99.7007
1366 | 99.7086
1365 | 99.7173
1364 | 99.7238
1363 | 99.7274
1362 | 99.7321
1361 | 99.742
1360 | 99.7559
1359 | 99.77
1358 | 99.7819
1357 | 99.7911
1356 | 99.7979
1355 | 99.8028
1354 | 99.8064
1353 | 99.81
1352 | 99.8136
1351 | 99.8159
1350 | 99.8165
1349 | 99.8155
1348 | 99.8124
1347 | 99.8068
1346 | 99.7986
1345 | 99.7887
1344 | 99.7775
1343 | 99.7641
1342 | 99.7464
1341 | 99.724
1340 | 99.6999
1339 | 99.6805
1338 | 99.6692
1337 | 99.6641
1336 | 99.6613
1335 | 99.6589
1334 | 99.6565
1333 | 99.654
1332 | 99.6515
1331 | 99.649
1330 | 99.6466
1329 | 99.6439
1328 | 99.6403
1327 | 99.6354
1326 | 99.629
1325 | 99.6202
1324 | 99.6096
1323 | 99.5987
1322 | 99.5882
1321 | 99.5775
1320 | 99.5674
1319 | 99.5601
1318 | 99.5583
1317 | 99.5624
1316 | 99.5715
1315 | 99.5843
1314 | 99.5997
1313 | 99.6173
1312 | 99.6379
1311 | 99.6619
1310 | 99.6881
1309 | 99.7145
1308 | 99.74
1307 | 99.7651
1306 | 99.7898
1305 | 99.8133
1304 | 99.8351
1303 | 99.8555
1302 | 99.8747
1301 | 99.8926
1300 | 99.9087
1299 | 99.9227
1298 | 99.9338
1297 | 99.9421
1296 | 99.949
1295 | 99.9562
1294 | 99.9629
1293 | 99.9676
1292 | 99.9699
1291 | 99.971
1290 | 99.9719
1289 | 99.9722
1288 | 99.972
1287 | 99.9719
1286 | 99.9719
1285 | 99.9707
1284 | 99.9675
1283 | 99.9623
1282 | 99.9556
1281 | 99.9482
1280 | 99.9411
1279 | 99.9353
1278 | 99.9305
1277 | 99.925
1276 | 99.9181
1275 | 99.9103
1274 | 99.9029
1273 | 99.8971
1272 | 99.8936
1271 | 99.8929
1270 | 99.8947
1269 | 99.8981
1268 | 99.9025
1267 | 99.9079
1266 | 99.9129
1265 | 99.9157
1264 | 99.9149
1263 | 99.911
1262 | 99.9052
1261 | 99.8982
1260 | 99.8908
1259 | 99.8837
1258 | 99.8772
1257 | 99.8707
1256 | 99.8646
1255 | 99.859
1254 | 99.8534
1253 | 99.8468
1252 | 99.8389
1251 | 99.8303
1250 | 99.821
1249 | 99.8106
1248 | 99.7991
1247 | 99.7874
1246 | 99.7766
1245 | 99.7673
1244 | 99.7602
1243 | 99.7556
1242 | 99.7528
1241 | 99.7496
1240 | 99.7453
1239 | 99.7406
1238 | 99.7366
1237 | 99.7332
1236 | 99.7301
1235 | 99.7275
1234 | 99.7255
1233 | 99.7242
1232 | 99.7238
1231 | 99.7245
1230 | 99.7263
1229 | 99.7288
1228 | 99.7319
1227 | 99.7352
1226 | 99.7382
1225 | 99.7406
1224 | 99.7431
1223 | 99.7464
1222 | 99.75
1221 | 99.7524
1220 | 99.7537
1219 | 99.7548
1218 | 99.7553
1217 | 99.7531
1216 | 99.7472
1215 | 99.7387
1214 | 99.7283
1213 | 99.7154
1212 | 99.6992
1211 | 99.6799
1210 | 99.659
1209 | 99.638
1208 | 99.6186
1207 | 99.6027
1206 | 99.591
1205 | 99.5833
1204 | 99.5793
1203 | 99.5789
1202 | 99.5812
1201 | 99.5847
1200 | 99.588
1199 | 99.5905
1198 | 99.5913
1197 | 99.5895
1196 | 99.5845
1195 | 99.5753
1194 | 99.5598
1193 | 99.5364
1192 | 99.5056
1191 | 99.4687
1190 | 99.4254
1189 | 99.3743
1188 | 99.3152
1187 | 99.25
1186 | 99.1804
1185 | 99.1056
1184 | 99.0249
1183 | 98.9383
1182 | 98.8459
1181 | 98.7473
1180 | 98.6429
1179 | 98.534
1178 | 98.4215
1177 | 98.3044
1176 | 98.1815
1175 | 98.053
1174 | 97.9199
1173 | 97.783
1172 | 97.6429
1171 | 97.501
1170 | 97.3576
1169 | 97.2131
1168 | 97.0697
1167 | 96.9315
1166 | 96.8005
1165 | 96.6761
1164 | 96.5578
1163 | 96.4464
1162 | 96.3412
1161 | 96.2396
1160 | 96.1404
1159 | 96.0451
1158 | 95.9538
1157 | 95.8632
1156 | 95.771
1155 | 95.6782
1154 | 95.5847
1153 | 95.4882
1152 | 95.3882
1151 | 95.2878
1150 | 95.1891
1149 | 95.0904
1148 | 94.9914
1147 | 94.8946
1146 | 94.8013
1145 | 94.7096
1144 | 94.6196
1143 | 94.5347
1142 | 94.4558
1141 | 94.3793
1140 | 94.3038
1139 | 94.233
1138 | 94.1684
1137 | 94.1063
1136 | 94.0429
1135 | 93.9795
1134 | 93.9171
1133 | 93.8537
1132 | 93.7889
1131 | 93.7259
1130 | 93.6645
1129 | 93.5996
1128 | 93.5284
1127 | 93.4551
1126 | 93.3844
1125 | 93.3161
1124 | 93.2501
1123 | 93.1889
1122 | 93.1329
1121 | 93.0772
1120 | 93.0178
1119 | 92.9563
1118 | 92.8945
1117 | 92.8312
1116 | 92.7672
1115 | 92.7076
1114 | 92.6565
1113 | 92.615
1112 | 92.5864
1111 | 92.5769
1110 | 92.588
1109 | 92.6146
1108 | 92.6538
1107 | 92.7073
1106 | 92.7738
1105 | 92.8478
1104 | 92.9273
1103 | 93.0153
1102 | 93.1113
1101 | 93.2097
1100 | 93.3083
1099 | 93.4106
1098 | 93.5177
1097 | 93.6251
1096 | 93.7297
1095 | 93.8342
1094 | 93.9401
1093 | 94.0451
1092 | 94.1474
1091 | 94.2488
1090 | 94.3493
1089 | 94.4454
1088 | 94.5357
1087 | 94.6224
1086 | 94.7064
1085 | 94.7845
1084 | 94.8544
1083 | 94.9173
1082 | 94.9735
1081 | 95.0209
1080 | 95.0592
1079 | 95.092
1078 | 95.1218
1077 | 95.1477
1076 | 95.1698
1075 | 95.1899
1074 | 95.2087
1073 | 95.2236
1072 | 95.2327
1071 | 95.236
1070 | 95.2316
1069 | 95.216
1068 | 95.1876
1067 | 95.1483
1066 | 95.0993
1065 | 95.0409
1064 | 94.9767
1063 | 94.9141
1062 | 94.8584
1061 | 94.811
1060 | 94.7732
1059 | 94.7478
1058 | 94.7339
1057 | 94.7273
1056 | 94.7259
1055 | 94.732
1054 | 94.7458
1053 | 94.7638
1052 | 94.7827
1051 | 94.8033
1050 | 94.8264
1049 | 94.8507
1048 | 94.8759
1047 | 94.9022
1046 | 94.9273
1045 | 94.9464
1044 | 94.9576
1043 | 94.9624
1042 | 94.9609
1041 | 94.9513
1040 | 94.9347
1039 | 94.9162
1038 | 94.8987
1037 | 94.8825
1036 | 94.869
1035 | 94.8624
1034 | 94.8651
1033 | 94.876
1032 | 94.8946
1031 | 94.9223
1030 | 94.9589
1029 | 95.0011
1028 | 95.0468
1027 | 95.0966
1026 | 95.1508
1025 | 95.208
1024 | 95.2678
1023 | 95.3307
1022 | 95.3956
1021 | 95.4599
1020 | 95.5234
1019 | 95.5887
1018 | 95.6564
1017 | 95.7241
1016 | 95.7894
1015 | 95.8521
1014 | 95.9114
1013 | 95.965
1012 | 96.0113
1011 | 96.0499
1010 | 96.0782
1009 | 96.0919
1008 | 96.0885
1007 | 96.0714
1006 | 96.05
1005 | 96.0377
1004 | 96.047
1003 | 96.0827
1002 | 96.1378
1001 | 96.2
1000 | 96.2606
999 | 96.3183
998 | 96.3731
997 | 96.4242
996 | 96.4709
995 | 96.5139
994 | 96.5527
993 | 96.5862
992 | 96.6148
991 | 96.6405
990 | 96.6644
989 | 96.6861
988 | 96.7072
987 | 96.7319
986 | 96.7632
985 | 96.8026
984 | 96.8517
983 | 96.9125
982 | 96.9848
981 | 97.0648
980 | 97.1482
979 | 97.2322
978 | 97.3141
977 | 97.3916
976 | 97.4642
975 | 97.5329
974 | 97.5979
973 | 97.6578
972 | 97.7121
971 | 97.7618
970 | 97.8079
969 | 97.8503
968 | 97.89
967 | 97.9297
966 | 97.9706
965 | 98.0124
964 | 98.0544
963 | 98.0967
962 | 98.1395
961 | 98.1817
960 | 98.2228
959 | 98.263
958 | 98.3025
957 | 98.3412
956 | 98.3804
955 | 98.421
954 | 98.4619
953 | 98.5002
952 | 98.5348
951 | 98.5669
950 | 98.5977
949 | 98.6273
948 | 98.6555
947 | 98.683
946 | 98.7098
945 | 98.7339
944 | 98.7536
943 | 98.7697
942 | 98.7839
941 | 98.7976
940 | 98.8116
939 | 98.8254
938 | 98.8379
937 | 98.8474
936 | 98.8545
935 | 98.8612
934 | 98.8687
933 | 98.8767
932 | 98.8844
931 | 98.8911
930 | 98.896
929 | 98.8986
928 | 98.8998
927 | 98.9015
926 | 98.9038
925 | 98.9053
924 | 98.9057
923 | 98.9068
922 | 98.9096
921 | 98.913
920 | 98.9151
919 | 98.9151
918 | 98.9131
917 | 98.9092
916 | 98.9042
915 | 98.899
914 | 98.8938
913 | 98.8879
912 | 98.8814
911 | 98.8751
910 | 98.8686
909 | 98.8603
908 | 98.8498
907 | 98.8383
906 | 98.8263
905 | 98.8122
904 | 98.7947
903 | 98.775
902 | 98.7556
901 | 98.738
900 | 98.7234
899 | 98.713
898 | 98.7076
897 | 98.7066
896 | 98.7094
895 | 98.7165
894 | 98.7285
893 | 98.7444
892 | 98.7625
891 | 98.781
890 | 98.7992
889 | 98.816
888 | 98.8314
887 | 98.8464
886 | 98.8618
885 | 98.8777
884 | 98.8931
883 | 98.9062
882 | 98.9144
881 | 98.9165
880 | 98.9144
879 | 98.912
878 | 98.9118
877 | 98.9131
876 | 98.9145
875 | 98.916
874 | 98.9198
873 | 98.9273
872 | 98.9381
871 | 98.9494
870 | 98.9582
869 | 98.9643
868 | 98.9693
867 | 98.9742
866 | 98.9775
865 | 98.9779
864 | 98.9763
863 | 98.9743
862 | 98.9716
861 | 98.9679
860 | 98.9639
859 | 98.9611
858 | 98.959
857 | 98.9554
856 | 98.9488
855 | 98.9401
854 | 98.9312
853 | 98.9249
852 | 98.9236
851 | 98.9266
850 | 98.9285
849 | 98.9245
848 | 98.9148
847 | 98.9034
846 | 98.8925
845 | 98.8819
844 | 98.872
843 | 98.8646
842 | 98.8592
841 | 98.8538
840 | 98.8471
839 | 98.8404
838 | 98.8347
837 | 98.83
836 | 98.826
835 | 98.8227
834 | 98.8184
833 | 98.8116
832 | 98.8035
831 | 98.7973
830 | 98.7941
829 | 98.7924
828 | 98.7916
827 | 98.7915
826 | 98.7901
825 | 98.7849
824 | 98.7768
823 | 98.7699
822 | 98.7656
821 | 98.7618
820 | 98.7571
819 | 98.7528
818 | 98.7492
817 | 98.7447
816 | 98.739
815 | 98.7336
814 | 98.7293
813 | 98.7257
812 | 98.7234
811 | 98.7239
810 | 98.7259
809 | 98.7256
808 | 98.7215
807 | 98.7161
806 | 98.7118
805 | 98.7086
804 | 98.7051
803 | 98.7006
802 | 98.6942
801 | 98.6852
800 | 98.6751
799 | 98.6664
798 | 98.6593
797 | 98.652
796 | 98.6443
795 | 98.6368
794 | 98.6286
793 | 98.6175
792 | 98.6043
791 | 98.5925
790 | 98.5829
789 | 98.5727
788 | 98.5602
787 | 98.5469
786 | 98.5341
785 | 98.5213
784 | 98.5091
783 | 98.499
782 | 98.4902
781 | 98.479
780 | 98.465
779 | 98.4516
778 | 98.4415
777 | 98.4332
776 | 98.4246
775 | 98.4156
774 | 98.406
773 | 98.3942
772 | 98.3801
771 | 98.3656
770 | 98.3516
769 | 98.3369
768 | 98.3218
767 | 98.3086
766 | 98.2971
765 | 98.2847
764 | 98.271
763 | 98.2587
762 | 98.2488
761 | 98.2383
760 | 98.2251
759 | 98.2114
758 | 98.1991
757 | 98.1871
756 | 98.1745
755 | 98.1629
754 | 98.1521
753 | 98.1395
752 | 98.1237
751 | 98.1076
750 | 98.0934
749 | 98.0795
748 | 98.0642
747 | 98.0483
746 | 98.0325
745 | 98.0151
744 | 97.9964
743 | 97.9792
742 | 97.9649
741 | 97.9512
740 | 97.937
739 | 97.9243
738 | 97.9126
737 | 97.8977
736 | 97.8776
735 | 97.8561
734 | 97.8371
733 | 97.819
732 | 97.7985
731 | 97.7762
730 | 97.7543
729 | 97.7328
728 | 97.7112
727 | 97.6898
726 | 97.6674
725 | 97.6421
724 | 97.6148
723 | 97.5888
722 | 97.5623
721 | 97.53
720 | 97.4946
719 | 97.467
718 | 97.4517
717 | 97.4398
716 | 97.4216
715 | 97.397
714 | 97.3705
713 | 97.3436
712 | 97.3165
711 | 97.2923
710 | 97.2719
709 | 97.2507
708 | 97.2265
707 | 97.2037
706 | 97.185
705 | 97.1662
704 | 97.1443
703 | 97.1231
702 | 97.1054
701 | 97.0868
700 | 97.0638
699 | 97.0421
698 | 97.0275
697 | 97.0166
696 | 97.0035
695 | 96.9881
694 | 96.9717
693 | 96.9506
692 | 96.9225
691 | 96.8925
690 | 96.8626
689 | 96.8251
688 | 96.7736
687 | 96.7124
686 | 96.6465
685 | 96.5714
684 | 96.4835
683 | 96.3862
682 | 96.2775
681 | 96.1427
680 | 95.9719
679 | 95.7705
678 | 95.544
677 | 95.2869
676 | 94.9998
675 | 94.6954
674 | 94.3844
673 | 94.0814
672 | 93.822
671 | 93.6349
670 | 93.4989
669 | 93.3423
668 | 93.1772
667 | 93.1692
666 | 93.3534
665 | 93.6218
664 | 93.9112
663 | 94.1894
662 | 94.4353
661 | 94.6418
660 | 94.8149
659 | 94.9612
658 | 95.0846
657 | 95.1878
656 | 95.2706
655 | 95.3316
654 | 95.3717
653 | 95.3959
652 | 95.4088
651 | 95.4126
650 | 95.4111
649 | 95.4075
648 | 95.4016
647 | 95.3897
646 | 95.3683
645 | 95.3365
644 | 95.2955
643 | 95.25
642 | 95.2049
641 | 95.1612
640 | 95.1194
639 | 95.0851
638 | 95.0636
637 | 95.0515
636 | 95.0419
635 | 95.0328
634 | 95.0242
633 | 95.0119
632 | 94.9922
631 | 94.9656
630 | 94.9323
629 | 94.8917
628 | 94.8541
627 | 94.8406
626 | 94.8591
625 | 94.8938
624 | 94.9251
623 | 94.9508
622 | 94.9884
621 | 95.067
620 | 95.2027
619 | 95.365
618 | 95.4874
617 | 95.5338
616 | 95.5353
615 | 95.5478
614 | 95.5888
613 | 95.6279
612 | 95.6321
611 | 95.607
610 | 95.5907
609 | 95.606
608 | 95.6323
607 | 95.6337
606 | 95.6028
605 | 95.5632
604 | 95.5319
603 | 95.5131
602 | 95.5287
601 | 95.6149
600 | 95.7709

## Sample Details
Setting | Value
Filesname | 8.2.35 21
Creation Date
Analyst | mas-storage
X-Axis Units | cm-1
X-Axis start value | 4000
X-Axis end value | 600
Data interval | -1
Number of points | 3401
Y-Axis Units | %T
Description | 6Sample 3332 By mas-storage Date Thursday, June 16 2022

## Instrument Details
Setting | Value
Instrument Model | Frontier FT-IR
Instrument Serial Number | 91175
Software Revision | CPU32 Main 00.09.9908 05-May-2009 15:52:12
Number of Scans | 32
Resolution | 4
Detector
Source | MIR
Beam Splitter | OptKBr
Apodization | Strong
Spectrum Type | Spectrum
Beam Type | Ratio
Phase Correction | Magnitude
Scan Speed | 1
IGram Type | Double
Scan Driection | Combined
Zero Crossing | 0
JStop | 8.94
IR-Laser Wavenumber | 15798.001999451375
Manufacturer | PIKE Technologies Inc.
Part Number | L1200385
Serial Number | 19250
Description | Miracle Accessory
Default Scan Range | 4000 450
Accessory Type | Miracle ATR
Temperature / °C
Slide Holder Option

## Quality Checks
Setting | Value
Water Vapor | Passed
Carbon Dioxide | Passed
Baseline Low | Passed
Baseline High | Passed
Baseline Slope | Passed
Strong Bands | Passed
Weak Bands | Warning
High Noise | Passed
Fringes | Warning
Vignetting | Passed
Blocked Beam | Passed
Negative Bands | Passed
Zero Transmission | Passed
Stray Light | Passed
Window Cuttoff | Passed