## Data
Wavelength / cm-1 | Transmittance / % | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1
4000 | 97.7242 |  | Baseline @ 1105 |  | Baseline @ 1735 |  | Baseline @ 2900 |  | Peak @ 1105 |  | Peak @ 1735 |  | Peak @ 2900
3999 | 97.7221 | 850 | 97.5123 | 1525 | 99.632 | 2670 | 99.0965 | 1105 | 84.6883 | 1735 | 99.6903 | 2900 | 97.8698
3998 | 97.7226 | 1210 | 98.2542 | 1780 | 100.182 | 3000 | 98.2502 | 1105 | 98.0378 | 1735 | 100.085 | 2900 | 98.5066
3997 | 97.7255
3996 | 97.7294
3995 | 97.7333
3994 | 97.7369
3993 | 97.7407
3992 | 97.7441
3991 | 97.7457
3990 | 97.7446
3989 | 97.7417
3988 | 97.7391
3987 | 97.7386
3986 | 97.7399
3985 | 97.742
3984 | 97.7438
3983 | 97.7451
3982 | 97.7459
3981 | 97.7461
3980 | 97.7449
3979 | 97.7417
3978 | 97.7372
3977 | 97.7337 |  |  | Baseline range |  |  | Transmittance |  |  |  | Equation of base line |  |  | Transmittance at peak value wavelength | Peak Intensity |  | Ratio
3976 | 97.7331 |  | Peak value
3975 | 97.7359 |  | Wavelength
3974 | 97.7403 |  | x1 | x2 | x3 |  | y1 | y2 | y3 |  | m | c
3973 | 97.7444 | [15 empty] | flexural
3972 | 97.7471 |  | 1105 | 850 | 1210 |  | 84.6883 | 97.5123 | 98.2542 |  | 0.0020607 | 95.7607 |  | 98.0378 | 13.3495 | R1 | 0.029568
3971 | 97.7485 |  | 1735 | 1525 | 1780 |  | 99.6903 | 99.632 | 100.182 |  | 0.0021568 | 96.3428 |  | 100.085 | 0.39472 | R2 | 0.61981
3970 | 97.7489 |  | 2900 | 2670 | 3000 |  | 97.8698 | 99.0965 | 98.2502 |  | -0.0025646 | 105.9439 |  | 98.5066 | 0.63683
3969 | 97.7487
3968 | 97.7483 |  | From paper
3967 | 97.7481 |  | 1105 | 765 | 1185
3966 | 97.7489 |  | 1735 | 1485 | 1780
3965 | 97.7513 |  | 2900 | 2630 | 3000
3964 | 97.7552
3963 | 97.7594
3962 | 97.7624
3961 | 97.7635
3960 | 97.7628
3959 | 97.7612
3958 | 97.7605
3957 | 97.7621
3956 | 97.7661
3955 | 97.7709
3954 | 97.774
3953 | 97.7739
3952 | 97.7701
3951 | 97.7638
3950 | 97.7572
3949 | 97.7523
3948 | 97.7497
3947 | 97.7488
3946 | 97.7491
3945 | 97.752
3944 | 97.7582
3943 | 97.7666
3942 | 97.7741
3941 | 97.7787
3940 | 97.7807
3939 | 97.7807
3938 | 97.7792
3937 | 97.776
3936 | 97.7713
3935 | 97.766
3934 | 97.7623
3933 | 97.763
3932 | 97.7694
3931 | 97.7791
3930 | 97.7868
3929 | 97.7889
3928 | 97.786
3927 | 97.7818
3926 | 97.7792
3925 | 97.7789
3924 | 97.7792
3923 | 97.7783
3922 | 97.7756
3921 | 97.7719
3920 | 97.769
3919 | 97.7682
3918 | 97.7701
3917 | 97.7753
3916 | 97.7832
3915 | 97.7918
3914 | 97.7987
3913 | 97.8032
3912 | 97.8056
3911 | 97.8067
3910 | 97.8066
3909 | 97.8042
3908 | 97.7986
3907 | 97.7901
3906 | 97.78
3905 | 97.7706
3904 | 97.7646
3903 | 97.7654
3902 | 97.7744
3901 | 97.7889
3900 | 97.8032
3899 | 97.8118
3898 | 97.8124
3897 | 97.8074
3896 | 97.8002
3895 | 97.7945
3894 | 97.7927
3893 | 97.7946
3892 | 97.7966
3891 | 97.7962
3890 | 97.794
3889 | 97.7922
3888 | 97.7921
3887 | 97.7933
3886 | 97.7943
3885 | 97.7939
3884 | 97.7918
3883 | 97.7892
3882 | 97.789
3881 | 97.7925
3880 | 97.7975
3879 | 97.8004
3878 | 97.8001
3877 | 97.7977
3876 | 97.795
3875 | 97.7916
3874 | 97.7857
3873 | 97.7788
3872 | 97.7764
3871 | 97.7828
3870 | 97.7959
3869 | 97.8088
3868 | 97.8148
3867 | 97.8112
3866 | 97.8018
3865 | 97.7937
3864 | 97.7908
3863 | 97.7935
3862 | 97.7986
3861 | 97.8028
3860 | 97.8062
3859 | 97.8106
3858 | 97.8185
3857 | 97.8301
3856 | 97.8422
3855 | 97.8486
3854 | 97.8466
3853 | 97.8439
3852 | 97.8481
3851 | 97.8507
3850 | 97.8428
3849 | 97.8279
3848 | 97.8128
3847 | 97.8012
3846 | 97.7932
3845 | 97.7868
3844 | 97.7807
3843 | 97.7758
3842 | 97.7723
3841 | 97.7717
3840 | 97.7762
3839 | 97.7853
3838 | 97.7954
3837 | 97.8023
3836 | 97.8039
3835 | 97.801
3834 | 97.7969
3833 | 97.7945
3832 | 97.7948
3831 | 97.7959
3830 | 97.7961
3829 | 97.7945
3828 | 97.7902
3827 | 97.7836
3826 | 97.7754
3825 | 97.7678
3824 | 97.7635
3823 | 97.7641
3822 | 97.7679
3821 | 97.7707
3820 | 97.7721
3819 | 97.7749
3818 | 97.78
3817 | 97.7859
3816 | 97.791
3815 | 97.7957
3814 | 97.7998
3813 | 97.8006
3812 | 97.7968
3811 | 97.7908
3810 | 97.7854
3809 | 97.7811
3808 | 97.7765
3807 | 97.7713
3806 | 97.7667
3805 | 97.7639
3804 | 97.7628
3803 | 97.7626
3802 | 97.7603
3801 | 97.7552
3800 | 97.7515
3799 | 97.7513
3798 | 97.7521
3797 | 97.7514
3796 | 97.7492
3795 | 97.7475
3794 | 97.7475
3793 | 97.7484
3792 | 97.7486
3791 | 97.7467
3790 | 97.7423
3789 | 97.7364
3788 | 97.7307
3787 | 97.7268
3786 | 97.7242
3785 | 97.7214
3784 | 97.7173
3783 | 97.7124
3782 | 97.7076
3781 | 97.7034
3780 | 97.7
3779 | 97.6985
3778 | 97.7006
3777 | 97.7062
3776 | 97.7114
3775 | 97.7119
3774 | 97.7064
3773 | 97.6973
3772 | 97.688
3771 | 97.6809
3770 | 97.6755
3769 | 97.6711
3768 | 97.6684
3767 | 97.6683
3766 | 97.6695
3765 | 97.6697
3764 | 97.6665
3763 | 97.659
3762 | 97.6476
3761 | 97.6352
3760 | 97.6248
3759 | 97.6187
3758 | 97.6178
3757 | 97.6208
3756 | 97.6249
3755 | 97.6275
3754 | 97.6279
3753 | 97.6272
3752 | 97.6259
3751 | 97.6231
3750 | 97.6182
3749 | 97.612
3748 | 97.6076
3747 | 97.609
3746 | 97.616
3745 | 97.6221
3744 | 97.6251
3743 | 97.6275
3742 | 97.6235
3741 | 97.6088
3740 | 97.5876
3739 | 97.5653
3738 | 97.5457
3737 | 97.5312
3736 | 97.5256
3735 | 97.5306
3734 | 97.5421
3733 | 97.5525
3732 | 97.5556
3731 | 97.5521
3730 | 97.5462
3729 | 97.5406
3728 | 97.5358
3727 | 97.5299
3726 | 97.5203
3725 | 97.507
3724 | 97.4943
3723 | 97.4872
3722 | 97.4865
3721 | 97.4901
3720 | 97.4945
3719 | 97.4968
3718 | 97.4957
3717 | 97.4917
3716 | 97.487
3715 | 97.4839
3714 | 97.4824
3713 | 97.4802
3712 | 97.4747
3711 | 97.4668
3710 | 97.4603
3709 | 97.4568
3708 | 97.4541
3707 | 97.4509
3706 | 97.4474
3705 | 97.4448
3704 | 97.444
3703 | 97.444
3702 | 97.4419
3701 | 97.4365
3700 | 97.4298
3699 | 97.424
3698 | 97.4194
3697 | 97.4146
3696 | 97.4074
3695 | 97.3982
3694 | 97.3902
3693 | 97.3884
3692 | 97.3955
3691 | 97.4071
3690 | 97.4125
3689 | 97.4044
3688 | 97.3878
3687 | 97.3717
3686 | 97.3582
3685 | 97.3457
3684 | 97.3337
3683 | 97.323
3682 | 97.3151
3681 | 97.3096
3680 | 97.3048
3679 | 97.2992
3678 | 97.2921
3677 | 97.285
3676 | 97.2778
3675 | 97.2709
3674 | 97.266
3673 | 97.2623
3672 | 97.2591
3671 | 97.2549
3670 | 97.2449
3669 | 97.2275
3668 | 97.2087
3667 | 97.1941
3666 | 97.1849
3665 | 97.1801
3664 | 97.1773
3663 | 97.1733
3662 | 97.1663
3661 | 97.1563
3660 | 97.1451
3659 | 97.135
3658 | 97.1253
3657 | 97.1138
3656 | 97.0994
3655 | 97.0848
3654 | 97.0737
3653 | 97.0682
3652 | 97.0673
3651 | 97.0647
3650 | 97.0502
3649 | 97.0223
3648 | 96.9941
3647 | 96.9761
3646 | 96.9664
3645 | 96.96
3644 | 96.9542
3643 | 96.9466
3642 | 96.9356
3641 | 96.9214
3640 | 96.9064
3639 | 96.8928
3638 | 96.8806
3637 | 96.8689
3636 | 96.8573
3635 | 96.8464
3634 | 96.8367
3633 | 96.8289
3632 | 96.8234
3631 | 96.8183
3630 | 96.8066
3629 | 96.7819
3628 | 96.7504
3627 | 96.7256
3626 | 96.7115
3625 | 96.7034
3624 | 96.6979
3623 | 96.6936
3622 | 96.6887
3621 | 96.6797
3620 | 96.6617
3619 | 96.6333
3618 | 96.6015
3617 | 96.5755
3616 | 96.5586
3615 | 96.5479
3614 | 96.5382
3613 | 96.5255
3612 | 96.5102
3611 | 96.495
3610 | 96.4811
3609 | 96.4679
3608 | 96.4547
3607 | 96.4423
3606 | 96.4323
3605 | 96.4244
3604 | 96.4166
3603 | 96.4055
3602 | 96.3893
3601 | 96.3692
3600 | 96.3495
3599 | 96.334
3598 | 96.3229
3597 | 96.3121
3596 | 96.2962
3595 | 96.2731
3594 | 96.2459
3593 | 96.2207
3592 | 96.2016
3591 | 96.1881
3590 | 96.1762
3589 | 96.1598
3588 | 96.1331
3587 | 96.097
3586 | 96.0617
3585 | 96.0369
3584 | 96.0234
3583 | 96.015
3582 | 96.0044
3581 | 95.9879
3580 | 95.966
3579 | 95.9422
3578 | 95.9191
3577 | 95.8963
3576 | 95.8709
3575 | 95.8412
3574 | 95.809
3573 | 95.7787
3572 | 95.7545
3571 | 95.7365
3570 | 95.7203
3569 | 95.6985
3568 | 95.6639
3567 | 95.6157
3566 | 95.5626
3565 | 95.5166
3564 | 95.4824
3563 | 95.4577
3562 | 95.4376
3561 | 95.4179
3560 | 95.3964
3559 | 95.3726
3558 | 95.3473
3557 | 95.3216
3556 | 95.2963
3555 | 95.2717
3554 | 95.2466
3553 | 95.2194
3552 | 95.1894
3551 | 95.1587
3550 | 95.1298
3549 | 95.1028
3548 | 95.0746
3547 | 95.0421
3546 | 95.0069
3545 | 94.9751
3544 | 94.9523
3543 | 94.9389
3542 | 94.9312
3541 | 94.9249
3540 | 94.9179
3539 | 94.9104
3538 | 94.9031
3537 | 94.8961
3536 | 94.8886
3535 | 94.8806
3534 | 94.8725
3533 | 94.8653
3532 | 94.859
3531 | 94.8528
3530 | 94.8457
3529 | 94.8372
3528 | 94.8281
3527 | 94.8202
3526 | 94.8156
3525 | 94.8146
3524 | 94.8146
3523 | 94.8131
3522 | 94.81
3521 | 94.8089
3520 | 94.8124
3519 | 94.8196
3518 | 94.8266
3517 | 94.8306
3516 | 94.8321
3515 | 94.8332
3514 | 94.8355
3513 | 94.8388
3512 | 94.8418
3511 | 94.8423
3510 | 94.839
3509 | 94.8326
3508 | 94.8259
3507 | 94.8219
3506 | 94.8214
3505 | 94.8222
3504 | 94.8206
3503 | 94.8155
3502 | 94.8092
3501 | 94.8051
3500 | 94.8046
3499 | 94.8062
3498 | 94.8073
3497 | 94.8066
3496 | 94.804
3495 | 94.7997
3494 | 94.7948
3493 | 94.7908
3492 | 94.7887
3491 | 94.7877
3490 | 94.7857
3489 | 94.7804
3488 | 94.7718
3487 | 94.7622
3486 | 94.7552
3485 | 94.7523
3484 | 94.7522
3483 | 94.7522
3482 | 94.7496
3481 | 94.744
3480 | 94.7368
3479 | 94.7306
3478 | 94.7273
3477 | 94.7267
3476 | 94.7266
3475 | 94.7246
3474 | 94.72
3473 | 94.7137
3472 | 94.706
3471 | 94.6972
3470 | 94.6879
3469 | 94.6789
3468 | 94.6693
3467 | 94.658
3466 | 94.6458
3465 | 94.6362
3464 | 94.6302
3463 | 94.6245
3462 | 94.6138
3461 | 94.5969
3460 | 94.5778
3459 | 94.5612
3458 | 94.5483
3457 | 94.5367
3456 | 94.5243
3455 | 94.5117
3454 | 94.5007
3453 | 94.4923
3452 | 94.485
3451 | 94.4756
3450 | 94.4616
3449 | 94.4422
3448 | 94.4179
3447 | 94.39
3446 | 94.3611
3445 | 94.3342
3444 | 94.3107
3443 | 94.2902
3442 | 94.2709
3441 | 94.2514
3440 | 94.2313
3439 | 94.21
3438 | 94.187
3437 | 94.1621
3436 | 94.1351
3435 | 94.1061
3434 | 94.0754
3433 | 94.0441
3432 | 94.0139
3431 | 93.9855
3430 | 93.9576
3429 | 93.9281
3428 | 93.8956
3427 | 93.8611
3426 | 93.8269
3425 | 93.794
3424 | 93.761
3423 | 93.7257
3422 | 93.6872
3421 | 93.6472
3420 | 93.6086
3419 | 93.5737
3418 | 93.5426
3417 | 93.5134
3416 | 93.4835
3415 | 93.4512
3414 | 93.4171
3413 | 93.3829
3412 | 93.3497
3411 | 93.3179
3410 | 93.2886
3409 | 93.2643
3408 | 93.2466
3407 | 93.2337
3406 | 93.2213
3405 | 93.2058
3404 | 93.1877
3403 | 93.1709
3402 | 93.1596
3401 | 93.155
3400 | 93.1557
3399 | 93.1588
3398 | 93.1626
3397 | 93.1661
3396 | 93.1691
3395 | 93.1717
3394 | 93.1749
3393 | 93.18
3392 | 93.1881
3391 | 93.1996
3390 | 93.2148
3389 | 93.2336
3388 | 93.2547
3387 | 93.2754
3386 | 93.2932
3385 | 93.3072
3384 | 93.3187
3383 | 93.3296
3382 | 93.342
3381 | 93.3564
3380 | 93.3713
3379 | 93.3846
3378 | 93.3959
3377 | 93.4064
3376 | 93.4175
3375 | 93.4292
3374 | 93.4411
3373 | 93.4534
3372 | 93.4662
3371 | 93.4787
3370 | 93.4894
3369 | 93.4976
3368 | 93.5033
3367 | 93.5066
3366 | 93.5084
3365 | 93.5106
3364 | 93.5156
3363 | 93.524
3362 | 93.5332
3361 | 93.5404
3360 | 93.5449
3359 | 93.5481
3358 | 93.5511
3357 | 93.553
3356 | 93.5524
3355 | 93.5492
3354 | 93.5443
3353 | 93.5391
3352 | 93.5345
3351 | 93.5312
3350 | 93.5299
3349 | 93.531
3348 | 93.5341
3347 | 93.5389
3346 | 93.5449
3345 | 93.551
3344 | 93.5549
3343 | 93.5547
3342 | 93.5509
3341 | 93.5459
3340 | 93.5426
3339 | 93.5425
3338 | 93.5456
3337 | 93.5503
3336 | 93.5548
3335 | 93.5581
3334 | 93.561
3333 | 93.5654
3332 | 93.5718
3331 | 93.5795
3330 | 93.587
3329 | 93.5935
3328 | 93.5991
3327 | 93.6043
3326 | 93.6093
3325 | 93.6137
3324 | 93.6167
3323 | 93.6187
3322 | 93.6216
3321 | 93.627
3320 | 93.6346
3319 | 93.6421
3318 | 93.6468
3317 | 93.6488
3316 | 93.6498
3315 | 93.6512
3314 | 93.6527
3313 | 93.6524
3312 | 93.6483
3311 | 93.6412
3310 | 93.6336
3309 | 93.6287
3308 | 93.6277
3307 | 93.6297
3306 | 93.6326
3305 | 93.634
3304 | 93.6323
3303 | 93.6278
3302 | 93.6226
3301 | 93.6189
3300 | 93.6174
3299 | 93.6171
3298 | 93.6166
3297 | 93.6155
3296 | 93.6138
3295 | 93.6117
3294 | 93.6092
3293 | 93.606
3292 | 93.602
3291 | 93.5976
3290 | 93.5938
3289 | 93.591
3288 | 93.5889
3287 | 93.5868
3286 | 93.5846
3285 | 93.582
3284 | 93.5786
3283 | 93.5749
3282 | 93.5728
3281 | 93.5736
3280 | 93.5762
3279 | 93.579
3278 | 93.581
3277 | 93.5822
3276 | 93.5818
3275 | 93.5791
3274 | 93.5757
3273 | 93.5748
3272 | 93.578
3271 | 93.5837
3270 | 93.5888
3269 | 93.5919
3268 | 93.5935
3267 | 93.5946
3266 | 93.5959
3265 | 93.5975
3264 | 93.5995
3263 | 93.602
3262 | 93.6058
3261 | 93.6117
3260 | 93.6196
3259 | 93.6285
3258 | 93.6373
3257 | 93.645
3256 | 93.6511
3255 | 93.6552
3254 | 93.6586
3253 | 93.6627
3252 | 93.6687
3251 | 93.6764
3250 | 93.6853
3249 | 93.6948
3248 | 93.7037
3247 | 93.7115
3246 | 93.7193
3245 | 93.7293
3244 | 93.7427
3243 | 93.7584
3242 | 93.775
3241 | 93.7916
3240 | 93.8077
3239 | 93.8232
3238 | 93.8391
3237 | 93.8573
3236 | 93.879
3235 | 93.9034
3234 | 93.9285
3233 | 93.953
3232 | 93.9763
3231 | 93.9983
3230 | 94.0189
3229 | 94.0383
3228 | 94.057
3227 | 94.0757
3226 | 94.0961
3225 | 94.1195
3224 | 94.145
3223 | 94.17
3222 | 94.1927
3221 | 94.2135
3220 | 94.2346
3219 | 94.257
3218 | 94.2804
3217 | 94.3043
3216 | 94.3283
3215 | 94.3515
3214 | 94.3726
3213 | 94.3914
3212 | 94.4098
3211 | 94.4304
3210 | 94.455
3209 | 94.4827
3208 | 94.5104
3207 | 94.5351
3206 | 94.5558
3205 | 94.5746
3204 | 94.5942
3203 | 94.6163
3202 | 94.6403
3201 | 94.665
3200 | 94.6894
3199 | 94.7131
3198 | 94.7365
3197 | 94.7597
3196 | 94.7825
3195 | 94.8049
3194 | 94.828
3193 | 94.8533
3192 | 94.8812
3191 | 94.9099
3190 | 94.9364
3189 | 94.9586
3188 | 94.9768
3187 | 94.9938
3186 | 95.0128
3185 | 95.0351
3184 | 95.0597
3183 | 95.0847
3182 | 95.1093
3181 | 95.134
3180 | 95.1596
3179 | 95.1864
3178 | 95.2138
3177 | 95.2412
3176 | 95.2674
3175 | 95.2918
3174 | 95.315
3173 | 95.3384
3172 | 95.3632
3171 | 95.3897
3170 | 95.4169
3169 | 95.4434
3168 | 95.4681
3167 | 95.491
3166 | 95.5137
3165 | 95.5384
3164 | 95.5659
3163 | 95.5954
3162 | 95.6253
3161 | 95.6543
3160 | 95.6821
3159 | 95.7091
3158 | 95.7349
3157 | 95.7589
3156 | 95.7816
3155 | 95.805
3154 | 95.8318
3153 | 95.8621
3152 | 95.8927
3151 | 95.9198
3150 | 95.9432
3149 | 95.9661
3148 | 95.9915
3147 | 96.0201
3146 | 96.0499
3145 | 96.0786
3144 | 96.1059
3143 | 96.1326
3142 | 96.16
3141 | 96.1889
3140 | 96.2186
3139 | 96.2478
3138 | 96.2762
3137 | 96.3038
3136 | 96.3308
3135 | 96.3572
3134 | 96.3834
3133 | 96.4103
3132 | 96.4384
3131 | 96.4673
3130 | 96.4965
3129 | 96.5254
3128 | 96.554
3127 | 96.582
3126 | 96.6094
3125 | 96.6368
3124 | 96.6646
3123 | 96.6927
3122 | 96.7205
3121 | 96.7479
3120 | 96.7752
3119 | 96.8025
3118 | 96.8292
3117 | 96.8541
3116 | 96.8767
3115 | 96.898
3114 | 96.9193
3113 | 96.942
3112 | 96.9666
3111 | 96.9933
3110 | 97.0217
3109 | 97.0506
3108 | 97.0789
3107 | 97.106
3106 | 97.1313
3105 | 97.1545
3104 | 97.1755
3103 | 97.196
3102 | 97.2181
3101 | 97.2427
3100 | 97.2682
3099 | 97.2923
3098 | 97.3136
3097 | 97.3327
3096 | 97.3506
3095 | 97.3688
3094 | 97.3887
3093 | 97.4103
3092 | 97.4325
3091 | 97.4544
3090 | 97.4754
3089 | 97.4955
3088 | 97.5144
3087 | 97.5321
3086 | 97.5497
3085 | 97.5685
3084 | 97.588
3083 | 97.607
3082 | 97.6242
3081 | 97.6397
3080 | 97.6543
3079 | 97.669
3078 | 97.6842
3077 | 97.6993
3076 | 97.7136
3075 | 97.7274
3074 | 97.7418
3073 | 97.7567
3072 | 97.7712
3071 | 97.785
3070 | 97.7992
3069 | 97.8145
3068 | 97.8297
3067 | 97.8425
3066 | 97.8523
3065 | 97.8602
3064 | 97.8681
3063 | 97.8768
3062 | 97.8863
3061 | 97.8965
3060 | 97.9075
3059 | 97.9191
3058 | 97.9305
3057 | 97.9407
3056 | 97.9492
3055 | 97.957
3054 | 97.9652
3053 | 97.9739
3052 | 97.9825
3051 | 97.9907
3050 | 97.9988
3049 | 98.0069
3048 | 98.0145
3047 | 98.0215
3046 | 98.0287
3045 | 98.037
3044 | 98.0466
3043 | 98.0562
3042 | 98.0647
3041 | 98.0713
3040 | 98.076
3039 | 98.08
3038 | 98.0848
3037 | 98.0905
3036 | 98.0953
3035 | 98.0979
3034 | 98.0996
3033 | 98.1027
3032 | 98.1086
3031 | 98.1163
3030 | 98.1244
3029 | 98.1321
3028 | 98.1391
3027 | 98.1451
3026 | 98.1505
3025 | 98.1562
3024 | 98.1627
3023 | 98.1694
3022 | 98.1749
3021 | 98.1792
3020 | 98.1835
3019 | 98.1896
3018 | 98.1976
3017 | 98.2061
3016 | 98.2126
3015 | 98.2156
3014 | 98.2156
3013 | 98.2147
3012 | 98.2145
3011 | 98.2156
3010 | 98.2181
3009 | 98.2221
3008 | 98.227
3007 | 98.2323
3006 | 98.2374
3005 | 98.2418
3004 | 98.2451
3003 | 98.2473
3002 | 98.2486
3001 | 98.2494
3000 | 98.2502
2999 | 98.2517
2998 | 98.2546
2997 | 98.2589
2996 | 98.2633
2995 | 98.2662
2994 | 98.2663
2993 | 98.2644
2992 | 98.2621
2991 | 98.2612
2990 | 98.2618
2989 | 98.2629
2988 | 98.263
2987 | 98.2613
2986 | 98.2577
2985 | 98.2525
2984 | 98.2465
2983 | 98.2411
2982 | 98.237
2981 | 98.2335
2980 | 98.2291
2979 | 98.2235
2978 | 98.2172
2977 | 98.2108
2976 | 98.2044
2975 | 98.1976
2974 | 98.1902
2973 | 98.1812
2972 | 98.1702
2971 | 98.1581
2970 | 98.1475
2969 | 98.1392
2968 | 98.1312
2967 | 98.121
2966 | 98.109
2965 | 98.0977
2964 | 98.0884
2963 | 98.0796
2962 | 98.0697
2961 | 98.0591
2960 | 98.0497
2959 | 98.0424
2958 | 98.0359
2957 | 98.0288
2956 | 98.0207
2955 | 98.0122
2954 | 98.0041
2953 | 97.9962
2952 | 97.988
2951 | 97.9798
2950 | 97.9723
2949 | 97.9654
2948 | 97.9587
2947 | 97.9511
2946 | 97.9427
2945 | 97.9335
2944 | 97.9239
2943 | 97.9147
2942 | 97.9065
2941 | 97.8992
2940 | 97.8925
2939 | 97.8862
2938 | 97.8807
2937 | 97.8756
2936 | 97.8696
2935 | 97.8621
2934 | 97.8546
2933 | 97.8488
2932 | 97.8447
2931 | 97.8401
2930 | 97.8332
2929 | 97.8237
2928 | 97.8117
2927 | 97.7976
2926 | 97.782
2925 | 97.7665
2924 | 97.7523
2923 | 97.7404
2922 | 97.7315
2921 | 97.7265
2920 | 97.7254
2919 | 97.7273
2918 | 97.7311
2917 | 97.7374
2916 | 97.7483
2915 | 97.7653
2914 | 97.7874
2913 | 97.8107
2912 | 97.8305
2911 | 97.8449
2910 | 97.8555
2909 | 97.8637
2908 | 97.8696
2907 | 97.8723
2906 | 97.8729
2905 | 97.8733
2904 | 97.8744
2903 | 97.875
2902 | 97.8739
2901 | 97.8716
2900 | 97.8698
2899 | 97.8698
2898 | 97.872
2897 | 97.8758
2896 | 97.88
2895 | 97.884
2894 | 97.8882
2893 | 97.8939
2892 | 97.9016
2891 | 97.9095
2890 | 97.9156
2889 | 97.9202
2888 | 97.9255
2887 | 97.9328
2886 | 97.9413
2885 | 97.9496
2884 | 97.9578
2883 | 97.9661
2882 | 97.974
2881 | 97.9798
2880 | 97.9831
2879 | 97.986
2878 | 97.9909
2877 | 97.9986
2876 | 98.0082
2875 | 98.0181
2874 | 98.0275
2873 | 98.0362
2872 | 98.0448
2871 | 98.0543
2870 | 98.0653
2869 | 98.0769
2868 | 98.0878
2867 | 98.0975
2866 | 98.1067
2865 | 98.1163
2864 | 98.1265
2863 | 98.1369
2862 | 98.1465
2861 | 98.1548
2860 | 98.1617
2859 | 98.168
2858 | 98.1743
2857 | 98.1797
2856 | 98.1831
2855 | 98.1841
2854 | 98.1834
2853 | 98.1817
2852 | 98.1803
2851 | 98.1829
2850 | 98.1943
2849 | 98.2173
2848 | 98.2498
2847 | 98.2866
2846 | 98.3221
2845 | 98.3526
2844 | 98.3772
2843 | 98.3974
2842 | 98.4154
2841 | 98.432
2840 | 98.4464
2839 | 98.4582
2838 | 98.4685
2837 | 98.4789
2836 | 98.4891
2835 | 98.4986
2834 | 98.5072
2833 | 98.5156
2832 | 98.5245
2831 | 98.5337
2830 | 98.5432
2829 | 98.5526
2828 | 98.5609
2827 | 98.5675
2826 | 98.5732
2825 | 98.5797
2824 | 98.5871
2823 | 98.5941
2822 | 98.5998
2821 | 98.6047
2820 | 98.6101
2819 | 98.617
2818 | 98.6256
2817 | 98.6353
2816 | 98.6445
2815 | 98.652
2814 | 98.6575
2813 | 98.6626
2812 | 98.6687
2811 | 98.676
2810 | 98.6836
2809 | 98.6901
2808 | 98.695
2807 | 98.6983
2806 | 98.7007
2805 | 98.7037
2804 | 98.7081
2803 | 98.7139
2802 | 98.7204
2801 | 98.7275
2800 | 98.7351
2799 | 98.7424
2798 | 98.7482
2797 | 98.7517
2796 | 98.7539
2795 | 98.7564
2794 | 98.7599
2793 | 98.7633
2792 | 98.7652
2791 | 98.7659
2790 | 98.7672
2789 | 98.7708
2788 | 98.7764
2787 | 98.7825
2786 | 98.7881
2785 | 98.7931
2784 | 98.7974
2783 | 98.8
2782 | 98.8002
2781 | 98.7995
2780 | 98.8005
2779 | 98.8045
2778 | 98.8106
2777 | 98.8168
2776 | 98.8223
2775 | 98.8276
2774 | 98.833
2773 | 98.8382
2772 | 98.8423
2771 | 98.8452
2770 | 98.847
2769 | 98.8483
2768 | 98.8499
2767 | 98.8523
2766 | 98.8554
2765 | 98.8588
2764 | 98.862
2763 | 98.8653
2762 | 98.869
2761 | 98.8729
2760 | 98.8765
2759 | 98.8796
2758 | 98.8825
2757 | 98.8853
2756 | 98.8879
2755 | 98.8896
2754 | 98.8907
2753 | 98.8921
2752 | 98.8947
2751 | 98.8981
2750 | 98.9008
2749 | 98.9019
2748 | 98.9021
2747 | 98.9029
2746 | 98.9053
2745 | 98.9079
2744 | 98.9092
2743 | 98.9088
2742 | 98.9083
2741 | 98.9095
2740 | 98.9127
2739 | 98.9168
2738 | 98.9203
2737 | 98.9225
2736 | 98.9239
2735 | 98.9252
2734 | 98.9271
2733 | 98.9292
2732 | 98.9309
2731 | 98.9319
2730 | 98.9325
2729 | 98.9335
2728 | 98.9357
2727 | 98.9391
2726 | 98.9431
2725 | 98.9473
2724 | 98.9519
2723 | 98.9569
2722 | 98.9615
2721 | 98.9646
2720 | 98.9662
2719 | 98.9675
2718 | 98.97
2717 | 98.9741
2716 | 98.9793
2715 | 98.9843
2714 | 98.9881
2713 | 98.9901
2712 | 98.9905
2711 | 98.9906
2710 | 98.9915
2709 | 98.9938
2708 | 98.9971
2707 | 99.001
2706 | 99.0049
2705 | 99.0084
2704 | 99.0111
2703 | 99.0133
2702 | 99.0153
2701 | 99.017
2700 | 99.0185
2699 | 99.02
2698 | 99.0218
2697 | 99.0242
2696 | 99.0269
2695 | 99.03
2694 | 99.0337
2693 | 99.038
2692 | 99.0422
2691 | 99.0447
2690 | 99.0455
2689 | 99.0464
2688 | 99.0495
2687 | 99.0548
2686 | 99.0602
2685 | 99.0638
2684 | 99.0661
2683 | 99.0682
2682 | 99.0701
2681 | 99.0708
2680 | 99.0708
2679 | 99.0724
2678 | 99.0767
2677 | 99.0819
2676 | 99.0856
2675 | 99.0876
2674 | 99.0892
2673 | 99.0915
2672 | 99.0938
2671 | 99.0954
2670 | 99.0965
2669 | 99.0972
2668 | 99.0979
2667 | 99.0984
2666 | 99.0985
2665 | 99.0981
2664 | 99.0974
2663 | 99.0966
2662 | 99.0956
2661 | 99.0936
2660 | 99.09
2659 | 99.0846
2658 | 99.0781
2657 | 99.0712
2656 | 99.0644
2655 | 99.0582
2654 | 99.0528
2653 | 99.0473
2652 | 99.0411
2651 | 99.0346
2650 | 99.0287
2649 | 99.0232
2648 | 99.0164
2647 | 99.0066
2646 | 98.9943
2645 | 98.9813
2644 | 98.9692
2643 | 98.9585
2642 | 98.9486
2641 | 98.9387
2640 | 98.929
2639 | 98.92
2638 | 98.9123
2637 | 98.9056
2636 | 98.8986
2635 | 98.8905
2634 | 98.8807
2633 | 98.8697
2632 | 98.8583
2631 | 98.8474
2630 | 98.8376
2629 | 98.829
2628 | 98.8209
2627 | 98.8126
2626 | 98.8041
2625 | 98.7958
2624 | 98.7877
2623 | 98.7792
2622 | 98.77
2621 | 98.7602
2620 | 98.7511
2619 | 98.7428
2618 | 98.7341
2617 | 98.7237
2616 | 98.7121
2615 | 98.7005
2614 | 98.6899
2613 | 98.6799
2612 | 98.6701
2611 | 98.6611
2610 | 98.6537
2609 | 98.6475
2608 | 98.6415
2607 | 98.6351
2606 | 98.6281
2605 | 98.6206
2604 | 98.6128
2603 | 98.6048
2602 | 98.5971
2601 | 98.5898
2600 | 98.5832
2599 | 98.5775
2598 | 98.5715
2597 | 98.5642
2596 | 98.5555
2595 | 98.5469
2594 | 98.5399
2593 | 98.5339
2592 | 98.528
2591 | 98.5221
2590 | 98.5172
2589 | 98.5131
2588 | 98.5081
2587 | 98.501
2586 | 98.4927
2585 | 98.485
2584 | 98.48
2583 | 98.478
2582 | 98.4779
2581 | 98.4772
2580 | 98.4744
2579 | 98.4698
2578 | 98.4646
2577 | 98.4598
2576 | 98.4554
2575 | 98.4512
2574 | 98.4471
2573 | 98.4426
2572 | 98.4372
2571 | 98.4313
2570 | 98.4259
2569 | 98.4216
2568 | 98.4185
2567 | 98.4162
2566 | 98.4147
2565 | 98.4135
2564 | 98.4123
2563 | 98.4109
2562 | 98.4094
2561 | 98.4072
2560 | 98.4039
2559 | 98.3995
2558 | 98.3952
2557 | 98.3919
2556 | 98.3897
2555 | 98.3884
2554 | 98.388
2553 | 98.3879
2552 | 98.3874
2551 | 98.3863
2550 | 98.3847
2549 | 98.3828
2548 | 98.3809
2547 | 98.3802
2546 | 98.3817
2545 | 98.3845
2544 | 98.3863
2543 | 98.3853
2542 | 98.382
2541 | 98.3779
2540 | 98.3746
2539 | 98.3733
2538 | 98.3747
2537 | 98.3784
2536 | 98.3828
2535 | 98.3859
2534 | 98.3866
2533 | 98.3852
2532 | 98.3828
2531 | 98.3806
2530 | 98.3796
2529 | 98.3805
2528 | 98.3829
2527 | 98.3862
2526 | 98.3895
2525 | 98.3912
2524 | 98.3908
2523 | 98.3893
2522 | 98.3892
2521 | 98.3921
2520 | 98.3977
2519 | 98.4038
2518 | 98.4081
2517 | 98.409
2516 | 98.4075
2515 | 98.4065
2514 | 98.4085
2513 | 98.413
2512 | 98.4166
2511 | 98.4174
2510 | 98.4163
2509 | 98.416
2508 | 98.4182
2507 | 98.423
2506 | 98.4289
2505 | 98.4336
2504 | 98.4352
2503 | 98.434
2502 | 98.4324
2501 | 98.4323
2500 | 98.4337
2499 | 98.4355
2498 | 98.4372
2497 | 98.4394
2496 | 98.4429
2495 | 98.448
2494 | 98.454
2493 | 98.4593
2492 | 98.4631
2491 | 98.4657
2490 | 98.4683
2489 | 98.4706
2488 | 98.4718
2487 | 98.4716
2486 | 98.4721
2485 | 98.4752
2484 | 98.4814
2483 | 98.4892
2482 | 98.4968
2481 | 98.5029
2480 | 98.5076
2479 | 98.5119
2478 | 98.5166
2477 | 98.5207
2476 | 98.5229
2475 | 98.524
2474 | 98.5259
2473 | 98.5295
2472 | 98.5342
2471 | 98.5394
2470 | 98.5452
2469 | 98.5517
2468 | 98.5583
2467 | 98.5643
2466 | 98.5695
2465 | 98.5736
2464 | 98.5755
2463 | 98.575
2462 | 98.573
2461 | 98.5708
2460 | 98.5697
2459 | 98.5708
2458 | 98.5744
2457 | 98.5788
2456 | 98.5811
2455 | 98.5803
2454 | 98.5783
2453 | 98.5774
2452 | 98.5778
2451 | 98.5777
2450 | 98.5762
2449 | 98.574
2448 | 98.5723
2447 | 98.5717
2446 | 98.5721
2445 | 98.5738
2444 | 98.5767
2443 | 98.5805
2442 | 98.5844
2441 | 98.5875
2440 | 98.5894
2439 | 98.5914
2438 | 98.5952
2437 | 98.6012
2436 | 98.6084
2435 | 98.6153
2434 | 98.6208
2433 | 98.6245
2432 | 98.6274
2431 | 98.6313
2430 | 98.6375
2429 | 98.6456
2428 | 98.6538
2427 | 98.6604
2426 | 98.6655
2425 | 98.6699
2424 | 98.675
2423 | 98.6819
2422 | 98.6909
2421 | 98.7012
2420 | 98.7114
2419 | 98.7211
2418 | 98.7294
2417 | 98.7352
2416 | 98.7383
2415 | 98.7408
2414 | 98.7455
2413 | 98.7529
2412 | 98.7613
2411 | 98.7691
2410 | 98.7763
2409 | 98.7831
2408 | 98.7901
2407 | 98.7978
2406 | 98.8069
2405 | 98.8168
2404 | 98.8262
2403 | 98.8357
2402 | 98.8474
2401 | 98.8617
2400 | 98.8763
2399 | 98.8889
2398 | 98.9
2397 | 98.9112
2396 | 98.9221
2395 | 98.9311
2394 | 98.9378
2393 | 98.9444
2392 | 98.9528
2391 | 98.9632
2390 | 98.9737
2389 | 98.9825
2388 | 98.9891
2387 | 98.9944
2386 | 98.9987
2385 | 99.002
2384 | 99.005
2383 | 99.0104
2382 | 99.0215
2381 | 99.0394
2380 | 99.0616
2379 | 99.0851
2378 | 99.1091
2377 | 99.134
2376 | 99.1572
2375 | 99.174
2374 | 99.1811
2373 | 99.18
2372 | 99.1746
2371 | 99.1676
2370 | 99.1607
2369 | 99.1561
2368 | 99.1563
2367 | 99.1618
2366 | 99.1707
2365 | 99.18
2364 | 99.1883
2363 | 99.1971
2362 | 99.2067
2361 | 99.2145
2360 | 99.2168
2359 | 99.2146
2358 | 99.217
2357 | 99.2316
2356 | 99.2578
2355 | 99.2897
2354 | 99.3189
2353 | 99.334
2352 | 99.3261
2351 | 99.3024
2350 | 99.2834
2349 | 99.2882
2348 | 99.3204
2347 | 99.3587
2346 | 99.3738
2345 | 99.3561
2344 | 99.3252
2343 | 99.3024
2342 | 99.291
2341 | 99.288
2340 | 99.2904
2339 | 99.2969
2338 | 99.3063
2337 | 99.3175
2336 | 99.3293
2335 | 99.3413
2334 | 99.3523
2333 | 99.3598
2332 | 99.359
2331 | 99.3503
2330 | 99.3378
2329 | 99.3245
2328 | 99.3123
2327 | 99.3012
2326 | 99.2912
2325 | 99.2764
2324 | 99.251
2323 | 99.2157
2322 | 99.1782
2321 | 99.1472
2320 | 99.123
2319 | 99.1026
2318 | 99.084
2317 | 99.0681
2316 | 99.0543
2315 | 99.0393
2314 | 99.0192
2313 | 98.9923
2312 | 98.9607
2311 | 98.9286
2310 | 98.9001
2309 | 98.8767
2308 | 98.8586
2307 | 98.8456
2306 | 98.8373
2305 | 98.8306
2304 | 98.8219
2303 | 98.81
2302 | 98.7965
2301 | 98.7826
2300 | 98.7677
2299 | 98.7511
2298 | 98.7336
2297 | 98.7166
2296 | 98.701
2295 | 98.6859
2294 | 98.6705
2293 | 98.6536
2292 | 98.6349
2291 | 98.6141
2290 | 98.5914
2289 | 98.5665
2288 | 98.5392
2287 | 98.51
2286 | 98.4802
2285 | 98.4506
2284 | 98.4212
2283 | 98.3924
2282 | 98.3643
2281 | 98.3363
2280 | 98.3076
2279 | 98.2794
2278 | 98.2535
2277 | 98.2298
2276 | 98.2062
2275 | 98.1816
2274 | 98.1575
2273 | 98.1357
2272 | 98.1151
2271 | 98.0937
2270 | 98.0712
2269 | 98.0492
2268 | 98.0295
2267 | 98.0126
2266 | 97.9968
2265 | 97.9791
2264 | 97.9576
2263 | 97.9342
2262 | 97.9131
2261 | 97.8961
2260 | 97.8801
2259 | 97.8613
2258 | 97.8394
2257 | 97.8169
2256 | 97.796
2255 | 97.7779
2254 | 97.7635
2253 | 97.7528
2252 | 97.744
2251 | 97.7354
2250 | 97.7261
2249 | 97.7152
2248 | 97.7019
2247 | 97.6869
2246 | 97.6724
2245 | 97.659
2244 | 97.6442
2243 | 97.6258
2242 | 97.6049
2241 | 97.5836
2240 | 97.5625
2239 | 97.5421
2238 | 97.5241
2237 | 97.51
2236 | 97.4988
2235 | 97.488
2234 | 97.4766
2233 | 97.4645
2232 | 97.4508
2231 | 97.435
2230 | 97.4188
2229 | 97.4041
2228 | 97.391
2227 | 97.3783
2226 | 97.3659
2225 | 97.3532
2224 | 97.3388
2223 | 97.3226
2222 | 97.307
2221 | 97.2938
2220 | 97.2811
2219 | 97.2667
2218 | 97.252
2217 | 97.2397
2216 | 97.2297
2215 | 97.2198
2214 | 97.2088
2213 | 97.1975
2212 | 97.1865
2211 | 97.1759
2210 | 97.1661
2209 | 97.1557
2208 | 97.1416
2207 | 97.1239
2206 | 97.1081
2205 | 97.0984
2204 | 97.092
2203 | 97.0819
2202 | 97.0657
2201 | 97.0462
2200 | 97.0262
2199 | 97.0069
2198 | 96.9905
2197 | 96.9794
2196 | 96.9721
2195 | 96.965
2194 | 96.9566
2193 | 96.9468
2192 | 96.9333
2191 | 96.9133
2190 | 96.8887
2189 | 96.8652
2188 | 96.8447
2187 | 96.8242
2186 | 96.8006
2185 | 96.7747
2184 | 96.7486
2183 | 96.7243
2182 | 96.7057
2181 | 96.6971
2180 | 96.698
2179 | 96.7029
2178 | 96.7063
2177 | 96.7061
2176 | 96.7013
2175 | 96.6923
2174 | 96.6828
2173 | 96.6771
2172 | 96.6746
2171 | 96.6688
2170 | 96.6539
2169 | 96.6296
2168 | 96.5985
2167 | 96.5622
2166 | 96.5206
2165 | 96.4725
2164 | 96.4162
2163 | 96.3519
2162 | 96.2845
2161 | 96.2253
2160 | 96.1885
2159 | 96.1865
2158 | 96.2237
2157 | 96.2927
2156 | 96.3764
2155 | 96.4599
2154 | 96.5371
2153 | 96.6076
2152 | 96.6706
2151 | 96.7256
2150 | 96.7747
2149 | 96.821
2148 | 96.8664
2147 | 96.9124
2146 | 96.9613
2145 | 97.0138
2144 | 97.0666
2143 | 97.1157
2142 | 97.1599
2141 | 97.2004
2140 | 97.2392
2139 | 97.2791
2138 | 97.3236
2137 | 97.3738
2136 | 97.4283
2135 | 97.4864
2134 | 97.549
2133 | 97.6153
2132 | 97.6811
2131 | 97.7427
2130 | 97.799
2129 | 97.8493
2128 | 97.8923
2127 | 97.9289
2126 | 97.9624
2125 | 97.9949
2124 | 98.0249
2123 | 98.0505
2122 | 98.0721
2121 | 98.0913
2120 | 98.1079
2119 | 98.1211
2118 | 98.1317
2117 | 98.141
2116 | 98.1484
2115 | 98.153
2114 | 98.1538
2113 | 98.1506
2112 | 98.1442
2111 | 98.1377
2110 | 98.1347
2109 | 98.1353
2108 | 98.1359
2107 | 98.1334
2106 | 98.1287
2105 | 98.1242
2104 | 98.1211
2103 | 98.1187
2102 | 98.1166
2101 | 98.1142
2100 | 98.1115
2099 | 98.11
2098 | 98.1121
2097 | 98.118
2096 | 98.1254
2095 | 98.1332
2094 | 98.143
2093 | 98.1556
2092 | 98.1684
2091 | 98.1782
2090 | 98.1842
2089 | 98.1872
2088 | 98.1876
2087 | 98.1857
2086 | 98.1824
2085 | 98.1776
2084 | 98.1701
2083 | 98.1591
2082 | 98.1458
2081 | 98.1314
2080 | 98.1156
2079 | 98.0976
2078 | 98.0778
2077 | 98.0563
2076 | 98.0328
2075 | 98.0091
2074 | 97.989
2073 | 97.975
2072 | 97.9653
2071 | 97.9563
2070 | 97.945
2069 | 97.9288
2068 | 97.9067
2067 | 97.8815
2066 | 97.8599
2065 | 97.846
2064 | 97.8382
2063 | 97.8322
2062 | 97.8258
2061 | 97.8179
2060 | 97.8061
2059 | 97.7892
2058 | 97.769
2057 | 97.7476
2056 | 97.7246
2055 | 97.6988
2054 | 97.6696
2053 | 97.6342
2052 | 97.5862
2051 | 97.5237
2050 | 97.455
2049 | 97.3933
2048 | 97.3449
2047 | 97.3075
2046 | 97.2772
2045 | 97.2525
2044 | 97.2296
2043 | 97.2033
2042 | 97.172
2041 | 97.1391
2040 | 97.1073
2039 | 97.0762
2038 | 97.0436
2037 | 97.0087
2036 | 96.9714
2035 | 96.9346
2034 | 96.9062
2033 | 96.893
2032 | 96.8937
2031 | 96.9004
2030 | 96.9067
2029 | 96.9109
2028 | 96.9134
2027 | 96.916
2026 | 96.9218
2025 | 96.9318
2024 | 96.9429
2023 | 96.9515
2022 | 96.9583
2021 | 96.9654
2020 | 96.9724
2019 | 96.979
2018 | 96.9879
2017 | 97.0004
2016 | 97.0119
2015 | 97.0181
2014 | 97.0226
2013 | 97.0317
2012 | 97.0457
2011 | 97.0597
2010 | 97.072
2009 | 97.085
2008 | 97.101
2007 | 97.1227
2006 | 97.1554
2005 | 97.2015
2004 | 97.2539
2003 | 97.3017
2002 | 97.3406
2001 | 97.3733
2000 | 97.4009
1999 | 97.4219
1998 | 97.4356
1997 | 97.4436
1996 | 97.4483
1995 | 97.4522
1994 | 97.4581
1993 | 97.4666
1992 | 97.4738
1991 | 97.4755
1990 | 97.4712
1989 | 97.4622
1988 | 97.4484
1987 | 97.4302
1986 | 97.4116
1985 | 97.3951
1984 | 97.3775
1983 | 97.3519
1982 | 97.3133
1981 | 97.2613
1980 | 97.2003
1979 | 97.1409
1978 | 97.0982
1977 | 97.0823
1976 | 97.0906
1975 | 97.1132
1974 | 97.1419
1973 | 97.1722
1972 | 97.2014
1971 | 97.2297
1970 | 97.2602
1969 | 97.294
1968 | 97.3274
1967 | 97.3581
1966 | 97.3886
1965 | 97.4216
1964 | 97.4533
1963 | 97.4802
1962 | 97.5074
1961 | 97.545
1960 | 97.5971
1959 | 97.6571
1958 | 97.7156
1957 | 97.7675
1956 | 97.8147
1955 | 97.8607
1954 | 97.906
1953 | 97.9468
1952 | 97.9797
1951 | 98.0062
1950 | 98.0332
1949 | 98.0653
1948 | 98.101
1947 | 98.1355
1946 | 98.1669
1945 | 98.1982
1944 | 98.2331
1943 | 98.2712
1942 | 98.306
1941 | 98.3317
1940 | 98.3502
1939 | 98.3702
1938 | 98.3987
1937 | 98.4337
1936 | 98.4691
1935 | 98.5012
1934 | 98.5308
1933 | 98.5587
1932 | 98.585
1931 | 98.6113
1930 | 98.6403
1929 | 98.6709
1928 | 98.6991
1927 | 98.7235
1926 | 98.7479
1925 | 98.7774
1924 | 98.8122
1923 | 98.8462
1922 | 98.872
1921 | 98.8875
1920 | 98.8979
1919 | 98.9121
1918 | 98.9337
1917 | 98.9566
1916 | 98.9731
1915 | 98.9843
1914 | 98.9973
1913 | 99.0144
1912 | 99.0318
1911 | 99.0469
1910 | 99.0613
1909 | 99.076
1908 | 99.0889
1907 | 99.0999
1906 | 99.1119
1905 | 99.1259
1904 | 99.139
1903 | 99.1508
1902 | 99.1655
1901 | 99.1841
1900 | 99.202
1899 | 99.2155
1898 | 99.2264
1897 | 99.2384
1896 | 99.2515
1895 | 99.264
1894 | 99.2758
1893 | 99.2877
1892 | 99.3006
1891 | 99.317
1890 | 99.3381
1889 | 99.3593
1888 | 99.3738
1887 | 99.3819
1886 | 99.3901
1885 | 99.4019
1884 | 99.4148
1883 | 99.4263
1882 | 99.4382
1881 | 99.4512
1880 | 99.4627
1879 | 99.4717
1878 | 99.4808
1877 | 99.4909
1876 | 99.5005
1875 | 99.5086
1874 | 99.5166
1873 | 99.5241
1872 | 99.5291
1871 | 99.5349
1870 | 99.5502
1869 | 99.5775
1868 | 99.605
1867 | 99.6204
1866 | 99.6249
1865 | 99.6259
1864 | 99.6272
1863 | 99.6299
1862 | 99.6355
1861 | 99.6445
1860 | 99.6544
1859 | 99.6638
1858 | 99.6746
1857 | 99.6868
1856 | 99.6966
1855 | 99.7027
1854 | 99.7088
1853 | 99.7168
1852 | 99.7239
1851 | 99.7287
1850 | 99.7344
1849 | 99.7421
1848 | 99.748
1847 | 99.7502
1846 | 99.7558
1845 | 99.7736
1844 | 99.8009
1843 | 99.8238
1842 | 99.8341
1841 | 99.836
1840 | 99.838
1839 | 99.8456
1838 | 99.8577
1837 | 99.8696
1836 | 99.8775
1835 | 99.8816
1834 | 99.8828
1833 | 99.8818
1832 | 99.8837
1831 | 99.8972
1830 | 99.9218
1829 | 99.9431
1828 | 99.95
1827 | 99.9473
1826 | 99.9472
1825 | 99.9554
1824 | 99.9663
1823 | 99.973
1822 | 99.976
1821 | 99.9797
1820 | 99.9864
1819 | 99.9957
1818 | 100.0087
1817 | 100.0266
1816 | 100.046
1815 | 100.0607
1814 | 100.0689
1813 | 100.075
1812 | 100.0842
1811 | 100.0957
1810 | 100.1063
1809 | 100.1154
1808 | 100.1226
1807 | 100.1271
1806 | 100.1295
1805 | 100.1308
1804 | 100.1309
1803 | 100.1308
1802 | 100.1343
1801 | 100.1426
1800 | 100.1513
1799 | 100.1544
1798 | 100.1526
1797 | 100.1498
1796 | 100.1458
1795 | 100.1402
1794 | 100.1376
1793 | 100.1453
1792 | 100.1624
1791 | 100.1781
1790 | 100.1851
1789 | 100.1844
1788 | 100.1791
1787 | 100.1729
1786 | 100.1709
1785 | 100.1748
1784 | 100.1797
1783 | 100.181
1782 | 100.1806
1781 | 100.1813
1780 | 100.182
1779 | 100.1804
1778 | 100.1776
1777 | 100.1758
1776 | 100.1745
1775 | 100.1729
1774 | 100.1734
1773 | 100.1794
1772 | 100.1875
1771 | 100.1871
1770 | 100.1745
1769 | 100.1569
1768 | 100.1439
1767 | 100.1368
1766 | 100.1283
1765 | 100.1136
1764 | 100.0965
1763 | 100.0836
1762 | 100.0749
1761 | 100.0641
1760 | 100.0479
1759 | 100.0293
1758 | 100.0125
1757 | 99.9978
1756 | 99.9825
1755 | 99.9646
1754 | 99.9426
1753 | 99.9185
1752 | 99.8985
1751 | 99.8884
1750 | 99.8836
1749 | 99.8736
1748 | 99.8561
1747 | 99.838
1746 | 99.8226
1745 | 99.808
1744 | 99.7944
1743 | 99.7823
1742 | 99.7696
1741 | 99.7556
1740 | 99.7445
1739 | 99.7378
1738 | 99.7286
1737 | 99.7117
1736 | 99.6939
1735 | 99.6903
1734 | 99.7047
1733 | 99.7167
1732 | 99.7112
1731 | 99.6976
1730 | 99.6894
1729 | 99.687
1728 | 99.6848
1727 | 99.6828
1726 | 99.6829
1725 | 99.6852
1724 | 99.6885
1723 | 99.6925
1722 | 99.6956
1721 | 99.6956
1720 | 99.6959
1719 | 99.7049
1718 | 99.7243
1717 | 99.7436
1716 | 99.7514
1715 | 99.7481
1714 | 99.7445
1713 | 99.7448
1712 | 99.7433
1711 | 99.7376
1710 | 99.7308
1709 | 99.7239
1708 | 99.7154
1707 | 99.7078
1706 | 99.7038
1705 | 99.6983
1704 | 99.6809
1703 | 99.6496
1702 | 99.6109
1701 | 99.5773
1700 | 99.5578
1699 | 99.5428
1698 | 99.5222
1697 | 99.4929
1696 | 99.4475
1695 | 99.3839
1694 | 99.3124
1693 | 99.2395
1692 | 99.1646
1691 | 99.0853
1690 | 98.999
1689 | 98.9076
1688 | 98.8219
1687 | 98.7516
1686 | 98.6936
1685 | 98.6371
1684 | 98.5737
1683 | 98.5208
1682 | 98.498
1681 | 98.4954
1680 | 98.5022
1679 | 98.5138
1678 | 98.5256
1677 | 98.5337
1676 | 98.5377
1675 | 98.5402
1674 | 98.5397
1673 | 98.5322
1672 | 98.5175
1671 | 98.4985
1670 | 98.4749
1669 | 98.4445
1668 | 98.4134
1667 | 98.39
1666 | 98.3726
1665 | 98.354
1664 | 98.3291
1663 | 98.2984
1662 | 98.2665
1661 | 98.237
1660 | 98.2099
1659 | 98.1872
1658 | 98.1706
1657 | 98.1611
1656 | 98.1595
1655 | 98.166
1654 | 98.1704
1653 | 98.1453
1652 | 98.1047
1651 | 98.0822
1650 | 98.0723
1649 | 98.0708
1648 | 98.0718
1647 | 98.0622
1646 | 98.0454
1645 | 98.0349
1644 | 98.0317
1643 | 98.0308
1642 | 98.0319
1641 | 98.033
1640 | 98.0322
1639 | 98.0317
1638 | 98.035
1637 | 98.0368
1636 | 98.0214
1635 | 97.9879
1634 | 97.9562
1633 | 97.9298
1632 | 97.8977
1631 | 97.8556
1630 | 97.8016
1629 | 97.7283
1628 | 97.6276
1627 | 97.5073
1626 | 97.3837
1625 | 97.2574
1624 | 97.1187
1623 | 96.9798
1622 | 96.8813
1621 | 96.8463
1620 | 96.8655
1619 | 96.9319
1618 | 97.0537
1617 | 97.2296
1616 | 97.4203
1615 | 97.5819
1614 | 97.7111
1613 | 97.8239
1612 | 97.9292
1611 | 98.0282
1610 | 98.1195
1609 | 98.1997
1608 | 98.2639
1607 | 98.3135
1606 | 98.3547
1605 | 98.3906
1604 | 98.4199
1603 | 98.4424
1602 | 98.4591
1601 | 98.4708
1600 | 98.4772
1599 | 98.48
1598 | 98.4823
1597 | 98.4852
1596 | 98.4886
1595 | 98.4944
1594 | 98.5068
1593 | 98.5277
1592 | 98.5553
1591 | 98.5892
1590 | 98.6312
1589 | 98.6801
1588 | 98.7312
1587 | 98.7826
1586 | 98.8352
1585 | 98.8873
1584 | 98.9357
1583 | 98.9816
1582 | 99.0278
1581 | 99.0732
1580 | 99.1149
1579 | 99.1543
1578 | 99.1963
1577 | 99.2407
1576 | 99.2786
1575 | 99.3029
1574 | 99.3153
1573 | 99.3206
1572 | 99.3244
1571 | 99.3313
1570 | 99.3417
1569 | 99.3487
1568 | 99.349
1567 | 99.3474
1566 | 99.3477
1565 | 99.3499
1564 | 99.3538
1563 | 99.3591
1562 | 99.3645
1561 | 99.3648
1560 | 99.3645
1559 | 99.3638
1558 | 99.358
1557 | 99.3569
1556 | 99.3566
1555 | 99.3565
1554 | 99.3591
1553 | 99.3615
1552 | 99.364
1551 | 99.3687
1550 | 99.3778
1549 | 99.3884
1548 | 99.3961
1547 | 99.3997
1546 | 99.4022
1545 | 99.4085
1544 | 99.4213
1543 | 99.4389
1542 | 99.461
1541 | 99.493
1540 | 99.5314
1539 | 99.5642
1538 | 99.5842
1537 | 99.5893
1536 | 99.5867
1535 | 99.5884
1534 | 99.5997
1533 | 99.6164
1532 | 99.6301
1531 | 99.6367
1530 | 99.6377
1529 | 99.6373
1528 | 99.6375
1527 | 99.6374
1526 | 99.6354
1525 | 99.632
1524 | 99.6275
1523 | 99.6196
1522 | 99.6049
1521 | 99.5834
1520 | 99.5602
1519 | 99.5348
1518 | 99.503
1517 | 99.4648
1516 | 99.426
1515 | 99.3935
1514 | 99.3655
1513 | 99.3369
1512 | 99.3074
1511 | 99.2771
1510 | 99.2465
1509 | 99.219
1508 | 99.2034
1507 | 99.2002
1506 | 99.2006
1505 | 99.2055
1504 | 99.2114
1503 | 99.2153
1502 | 99.2227
1501 | 99.2379
1500 | 99.264
1499 | 99.3002
1498 | 99.3412
1497 | 99.3851
1496 | 99.4327
1495 | 99.4763
1494 | 99.5062
1493 | 99.523
1492 | 99.5354
1491 | 99.5518
1490 | 99.5722
1489 | 99.5917
1488 | 99.6063
1487 | 99.6127
1486 | 99.6123
1485 | 99.6065
1484 | 99.5948
1483 | 99.5773
1482 | 99.5539
1481 | 99.525
1480 | 99.493
1479 | 99.4591
1478 | 99.4206
1477 | 99.3747
1476 | 99.3213
1475 | 99.2605
1474 | 99.1879
1473 | 99.0992
1472 | 99.0048
1471 | 98.9219
1470 | 98.8524
1469 | 98.7897
1468 | 98.731
1467 | 98.6738
1466 | 98.6127
1465 | 98.5464
1464 | 98.4868
1463 | 98.4462
1462 | 98.4229
1461 | 98.4106
1460 | 98.4062
1459 | 98.4046
1458 | 98.3918
1457 | 98.3621
1456 | 98.3398
1455 | 98.3404
1454 | 98.3511
1453 | 98.3655
1452 | 98.385
1451 | 98.4077
1450 | 98.4292
1449 | 98.4492
1448 | 98.4703
1447 | 98.4924
1446 | 98.5122
1445 | 98.5288
1444 | 98.5441
1443 | 98.5566
1442 | 98.5629
1441 | 98.5628
1440 | 98.5595
1439 | 98.5523
1438 | 98.533
1437 | 98.4948
1436 | 98.4468
1435 | 98.4042
1434 | 98.3667
1433 | 98.327
1432 | 98.2829
1431 | 98.2356
1430 | 98.1859
1429 | 98.1372
1428 | 98.0979
1427 | 98.0724
1426 | 98.0557
1425 | 98.0407
1424 | 98.0308
1423 | 98.0349
1422 | 98.0532
1421 | 98.0783
1420 | 98.1076
1419 | 98.1417
1418 | 98.177
1417 | 98.2155
1416 | 98.2633
1415 | 98.319
1414 | 98.3735
1413 | 98.4206
1412 | 98.4628
1411 | 98.5036
1410 | 98.5405
1409 | 98.5709
1408 | 98.5966
1407 | 98.6198
1406 | 98.6396
1405 | 98.6554
1404 | 98.6712
1403 | 98.69
1402 | 98.7083
1401 | 98.7226
1400 | 98.7336
1399 | 98.7432
1398 | 98.7518
1397 | 98.7605
1396 | 98.7713
1395 | 98.7836
1394 | 98.7923
1393 | 98.7932
1392 | 98.7893
1391 | 98.7831
1390 | 98.7724
1389 | 98.7533
1388 | 98.7242
1387 | 98.6883
1386 | 98.6506
1385 | 98.6131
1384 | 98.5733
1383 | 98.528
1382 | 98.4763
1381 | 98.4205
1380 | 98.3641
1379 | 98.3111
1378 | 98.2645
1377 | 98.2238
1376 | 98.1842
1375 | 98.1409
1374 | 98.0951
1373 | 98.0543
1372 | 98.0252
1371 | 98.0084
1370 | 98.0014
1369 | 98.0006
1368 | 98.0044
1367 | 98.0131
1366 | 98.0257
1365 | 98.0392
1364 | 98.0514
1363 | 98.0631
1362 | 98.0795
1361 | 98.1049
1360 | 98.1374
1359 | 98.1718
1358 | 98.2038
1357 | 98.2315
1356 | 98.2549
1355 | 98.275
1354 | 98.2921
1353 | 98.3062
1352 | 98.3162
1351 | 98.3204
1350 | 98.3182
1349 | 98.3087
1348 | 98.2908
1347 | 98.2638
1346 | 98.2284
1345 | 98.1864
1344 | 98.1397
1343 | 98.0893
1342 | 98.0338
1341 | 97.9719
1340 | 97.9057
1339 | 97.8427
1338 | 97.7901
1337 | 97.7487
1336 | 97.7156
1335 | 97.6893
1334 | 97.6694
1333 | 97.6551
1332 | 97.645
1331 | 97.6378
1330 | 97.6323
1329 | 97.6262
1328 | 97.617
1327 | 97.6024
1326 | 97.5814
1325 | 97.5527
1324 | 97.5172
1323 | 97.4778
1322 | 97.4373
1321 | 97.3967
1320 | 97.3576
1319 | 97.3249
1318 | 97.3049
1317 | 97.3015
1316 | 97.315
1315 | 97.3439
1314 | 97.3863
1313 | 97.4409
1312 | 97.5072
1311 | 97.5838
1310 | 97.6677
1309 | 97.7553
1308 | 97.8442
1307 | 97.9334
1306 | 98.0217
1305 | 98.1073
1304 | 98.1889
1303 | 98.266
1302 | 98.3377
1301 | 98.4031
1300 | 98.4615
1299 | 98.5127
1298 | 98.5561
1297 | 98.5916
1296 | 98.6206
1295 | 98.6446
1294 | 98.664
1293 | 98.6785
1292 | 98.6885
1291 | 98.6952
1290 | 98.6991
1289 | 98.6994
1288 | 98.6953
1287 | 98.687
1286 | 98.6741
1285 | 98.6564
1284 | 98.6345
1283 | 98.6106
1282 | 98.5867
1281 | 98.5648
1280 | 98.5453
1279 | 98.5271
1278 | 98.5078
1277 | 98.4857
1276 | 98.4613
1275 | 98.4366
1274 | 98.4132
1273 | 98.3918
1272 | 98.3734
1271 | 98.3592
1270 | 98.3487
1269 | 98.3404
1268 | 98.333
1267 | 98.3265
1266 | 98.3203
1265 | 98.3125
1264 | 98.302
1263 | 98.2894
1262 | 98.2755
1261 | 98.2603
1260 | 98.2441
1259 | 98.2279
1258 | 98.2122
1257 | 98.1965
1256 | 98.1797
1255 | 98.161
1254 | 98.1395
1253 | 98.1145
1252 | 98.0864
1251 | 98.0562
1250 | 98.0248
1249 | 97.9922
1248 | 97.9598
1247 | 97.9308
1246 | 97.9071
1245 | 97.8887
1244 | 97.875
1243 | 97.8654
1242 | 97.8585
1241 | 97.8525
1240 | 97.8464
1239 | 97.8411
1238 | 97.8369
1237 | 97.8336
1236 | 97.8316
1235 | 97.8327
1234 | 97.838
1233 | 97.8467
1232 | 97.8583
1231 | 97.8732
1230 | 97.8921
1229 | 97.9148
1228 | 97.9406
1227 | 97.9689
1226 | 97.9988
1225 | 98.0296
1224 | 98.0615
1223 | 98.0946
1222 | 98.128
1221 | 98.1603
1220 | 98.1914
1219 | 98.2219
1218 | 98.2509
1217 | 98.2766
1216 | 98.2978
1215 | 98.314
1214 | 98.3234
1213 | 98.3232
1212 | 98.311
1211 | 98.2872
1210 | 98.2542
1209 | 98.2159
1208 | 98.1779
1207 | 98.1457
1206 | 98.1227
1205 | 98.1092
1204 | 98.1047
1203 | 98.1085
1202 | 98.119
1201 | 98.1337
1200 | 98.1517
1199 | 98.1719
1198 | 98.1921
1197 | 98.2081
1196 | 98.2164
1195 | 98.215
1194 | 98.2021
1193 | 98.176
1192 | 98.1359
1191 | 98.0811
1190 | 98.0096
1189 | 97.9187
1188 | 97.8086
1187 | 97.6824
1186 | 97.5428
1185 | 97.3899
1184 | 97.2227
1183 | 97.0414
1182 | 96.8463
1181 | 96.6369
1180 | 96.4141
1179 | 96.1803
1178 | 95.9374
1177 | 95.6842
1176 | 95.4189
1175 | 95.1418
1174 | 94.8541
1173 | 94.5554
1172 | 94.2466
1171 | 93.9314
1170 | 93.6137
1169 | 93.2957
1168 | 92.9808
1167 | 92.6769
1166 | 92.3913
1165 | 92.1271
1164 | 91.8863
1163 | 91.6729
1162 | 91.4869
1161 | 91.3226
1160 | 91.1747
1159 | 91.0423
1158 | 90.9225
1157 | 90.8079
1156 | 90.6937
1155 | 90.581
1154 | 90.4696
1153 | 90.3539
1152 | 90.231
1151 | 90.1041
1150 | 89.9755
1149 | 89.8417
1148 | 89.7019
1147 | 89.5626
1146 | 89.4287
1145 | 89.2978
1144 | 89.1676
1143 | 89.0411
1142 | 88.9194
1141 | 88.7967
1140 | 88.6692
1139 | 88.5399
1138 | 88.4097
1137 | 88.2724
1136 | 88.1235
1135 | 87.9668
1134 | 87.8055
1133 | 87.6365
1132 | 87.4583
1131 | 87.2759
1130 | 87.0907
1129 | 86.8965
1128 | 86.6911
1127 | 86.4839
1126 | 86.2845
1125 | 86.0945
1124 | 85.915
1123 | 85.7525
1122 | 85.6078
1121 | 85.4708
1120 | 85.3317
1119 | 85.1895
1118 | 85.0426
1117 | 84.8845
1116 | 84.7159
1115 | 84.5518
1114 | 84.4083
1113 | 84.2925
1112 | 84.2113
1111 | 84.1751
1110 | 84.1858
1109 | 84.2325
1108 | 84.3064
1107 | 84.4091
1106 | 84.5396
1105 | 84.6883
1104 | 84.8501
1103 | 85.0294
1102 | 85.2265
1101 | 85.4315
1100 | 85.6375
1099 | 85.8473
1098 | 86.062
1097 | 86.274
1096 | 86.4776
1095 | 86.6754
1094 | 86.8683
1093 | 87.0504
1092 | 87.2183
1091 | 87.3757
1090 | 87.5248
1089 | 87.6616
1088 | 87.7847
1087 | 87.8986
1086 | 88.0038
1085 | 88.0928
1084 | 88.1603
1083 | 88.2082
1082 | 88.2376
1081 | 88.2445
1080 | 88.2295
1079 | 88.2015
1078 | 88.1688
1077 | 88.1322
1076 | 88.0913
1075 | 88.0494
1074 | 88.006
1073 | 87.9529
1072 | 87.8827
1071 | 87.7946
1070 | 87.6864
1069 | 87.5505
1068 | 87.3813
1067 | 87.1808
1066 | 86.9528
1065 | 86.6996
1064 | 86.4308
1063 | 86.1653
1062 | 85.9209
1061 | 85.7055
1060 | 85.5246
1059 | 85.3844
1058 | 85.2836
1057 | 85.2118
1056 | 85.1619
1055 | 85.1364
1054 | 85.1362
1053 | 85.1543
1052 | 85.1841
1051 | 85.226
1050 | 85.2787
1049 | 85.3349
1048 | 85.3895
1047 | 85.4424
1046 | 85.4897
1045 | 85.5207
1044 | 85.5287
1043 | 85.5149
1042 | 85.4787
1041 | 85.4151
1040 | 85.3253
1039 | 85.2203
1038 | 85.1116
1037 | 85.0052
1036 | 84.9097
1035 | 84.8389
1034 | 84.8012
1033 | 84.7947
1032 | 84.8165
1031 | 84.8687
1030 | 84.9499
1029 | 85.0519
1028 | 85.1687
1027 | 85.3003
1026 | 85.4451
1025 | 85.5962
1024 | 85.7501
1023 | 85.9095
1022 | 86.0758
1021 | 86.2447
1020 | 86.4139
1019 | 86.5871
1018 | 86.7661
1017 | 86.9469
1016 | 87.1241
1015 | 87.2954
1014 | 87.4575
1013 | 87.6039
1012 | 87.7297
1011 | 87.8331
1010 | 87.9108
1009 | 87.9564
1008 | 87.9685
1007 | 87.9556
1006 | 87.9352
1005 | 87.9291
1004 | 87.9586
1003 | 88.0353
1002 | 88.154
1001 | 88.2973
1000 | 88.4504
999 | 88.6065
998 | 88.7606
997 | 88.9057
996 | 89.0375
995 | 89.1558
994 | 89.2601
993 | 89.3475
992 | 89.4177
991 | 89.4749
990 | 89.523
989 | 89.5645
988 | 89.6052
987 | 89.6569
986 | 89.7322
985 | 89.8406
984 | 89.9893
983 | 90.1827
982 | 90.4173
981 | 90.6811
980 | 90.9603
979 | 91.2439
978 | 91.5223
977 | 91.7875
976 | 92.0358
975 | 92.2682
974 | 92.4852
973 | 92.6855
972 | 92.8694
971 | 93.0402
970 | 93.2012
969 | 93.3537
968 | 93.4993
967 | 93.641
966 | 93.7811
965 | 93.9195
964 | 94.0568
963 | 94.1948
962 | 94.3338
961 | 94.472
960 | 94.6083
959 | 94.7434
958 | 94.8781
957 | 95.0117
956 | 95.1438
955 | 95.2738
954 | 95.4004
953 | 95.5216
952 | 95.6375
951 | 95.7497
950 | 95.8581
949 | 95.9605
948 | 96.0561
947 | 96.1465
946 | 96.2328
945 | 96.3132
944 | 96.3862
943 | 96.4526
942 | 96.5139
941 | 96.571
940 | 96.6238
939 | 96.6723
938 | 96.7164
937 | 96.7552
936 | 96.789
935 | 96.8194
934 | 96.8478
933 | 96.8746
932 | 96.9005
931 | 96.9258
930 | 96.9497
929 | 96.9708
928 | 96.9887
927 | 97.0046
926 | 97.0189
925 | 97.0307
924 | 97.0402
923 | 97.049
922 | 97.0579
921 | 97.066
920 | 97.0714
919 | 97.0731
918 | 97.0696
917 | 97.0604
916 | 97.0461
915 | 97.0292
914 | 97.0109
913 | 96.9908
912 | 96.9684
911 | 96.9438
910 | 96.9157
909 | 96.8813
908 | 96.8391
907 | 96.79
906 | 96.7352
905 | 96.6741
904 | 96.6073
903 | 96.5384
902 | 96.4728
901 | 96.4144
900 | 96.3663
899 | 96.3316
898 | 96.3127
897 | 96.3109
896 | 96.3267
895 | 96.3598
894 | 96.408
893 | 96.4672
892 | 96.5339
891 | 96.6059
890 | 96.6811
889 | 96.7565
888 | 96.8298
887 | 96.8997
886 | 96.9649
885 | 97.0241
884 | 97.0773
883 | 97.1248
882 | 97.1657
881 | 97.1984
880 | 97.2241
879 | 97.2467
878 | 97.2695
877 | 97.2927
876 | 97.3156
875 | 97.339
874 | 97.3651
873 | 97.395
872 | 97.4277
871 | 97.4603
870 | 97.4894
869 | 97.5135
868 | 97.5334
867 | 97.5509
866 | 97.566
865 | 97.5775
864 | 97.5855
863 | 97.5907
862 | 97.5926
861 | 97.5903
860 | 97.5854
859 | 97.5802
858 | 97.5755
857 | 97.5693
856 | 97.5602
855 | 97.5487
854 | 97.5366
853 | 97.5263
852 | 97.5202
851 | 97.5173
850 | 97.5123
849 | 97.5001
848 | 97.4815
847 | 97.4613
846 | 97.4419
845 | 97.422
844 | 97.4007
843 | 97.3798
842 | 97.3599
841 | 97.3394
840 | 97.3172
839 | 97.2948
838 | 97.2741
837 | 97.2562
836 | 97.2422
835 | 97.2319
834 | 97.2228
833 | 97.212
832 | 97.2006
831 | 97.1921
830 | 97.1879
829 | 97.1857
828 | 97.1846
827 | 97.1855
826 | 97.1874
825 | 97.1867
824 | 97.182
823 | 97.1764
822 | 97.1721
821 | 97.1675
820 | 97.1612
819 | 97.1541
818 | 97.1462
817 | 97.1362
816 | 97.1246
815 | 97.1143
814 | 97.1064
813 | 97.0986
812 | 97.0902
811 | 97.083
810 | 97.0773
809 | 97.0701
808 | 97.0593
807 | 97.0465
806 | 97.0334
805 | 97.0195
804 | 97.0048
803 | 96.9903
802 | 96.9752
801 | 96.9568
800 | 96.9359
799 | 96.9168
798 | 96.902
797 | 96.8887
796 | 96.8737
795 | 96.8572
794 | 96.8398
793 | 96.8203
792 | 96.7989
791 | 96.7785
790 | 96.7597
789 | 96.739
788 | 96.7137
787 | 96.6857
786 | 96.6577
785 | 96.6301
784 | 96.6032
783 | 96.5786
782 | 96.5565
781 | 96.5336
780 | 96.5083
779 | 96.4826
778 | 96.4587
777 | 96.4356
776 | 96.4115
775 | 96.3865
774 | 96.3601
773 | 96.3311
772 | 96.3004
771 | 96.2706
770 | 96.241
769 | 96.208
768 | 96.1717
767 | 96.1362
766 | 96.1029
765 | 96.0682
764 | 96.0298
763 | 95.9909
762 | 95.9542
761 | 95.9181
760 | 95.8808
759 | 95.8438
758 | 95.8077
757 | 95.7697
756 | 95.7287
755 | 95.6875
754 | 95.6479
753 | 95.6072
752 | 95.5638
751 | 95.5208
750 | 95.4801
749 | 95.4385
748 | 95.3934
747 | 95.3473
746 | 95.3028
745 | 95.2583
744 | 95.2128
743 | 95.1685
742 | 95.1266
741 | 95.0839
740 | 95.0386
739 | 94.9933
738 | 94.9493
737 | 94.9035
736 | 94.8542
735 | 94.804
734 | 94.7535
733 | 94.6978
732 | 94.6341
731 | 94.5668
730 | 94.5003
729 | 94.433
728 | 94.3628
727 | 94.2917
726 | 94.2213
725 | 94.1488
724 | 94.0734
723 | 93.9973
722 | 93.9184
721 | 93.8316
720 | 93.7409
719 | 93.661
718 | 93.5977
717 | 93.5401
716 | 93.4762
715 | 93.4064
714 | 93.3371
713 | 93.2696
712 | 93.2045
711 | 93.1459
710 | 93.0939
709 | 93.0408
708 | 92.9834
707 | 92.9296
706 | 92.8846
705 | 92.8416
704 | 92.7946
703 | 92.7483
702 | 92.7064
701 | 92.6634
700 | 92.6152
699 | 92.5703
698 | 92.535
697 | 92.5014
696 | 92.461
695 | 92.4171
694 | 92.3741
693 | 92.3266
692 | 92.2706
691 | 92.2142
690 | 92.161
689 | 92.0982
688 | 92.0145
687 | 91.9159
686 | 91.8085
685 | 91.6821
684 | 91.5286
683 | 91.3552
682 | 91.1615
681 | 90.9256
680 | 90.6309
679 | 90.2873
678 | 89.9051
677 | 89.4744
676 | 88.9911
675 | 88.4727
674 | 87.9355
673 | 87.3978
672 | 86.9104
671 | 86.5326
670 | 86.281
669 | 86.1252
668 | 86.0251
667 | 86.0204
666 | 86.1771
665 | 86.4567
664 | 86.8042
663 | 87.1768
662 | 87.5284
661 | 87.8316
660 | 88.0904
659 | 88.3169
658 | 88.5154
657 | 88.6863
656 | 88.8317
655 | 88.9531
654 | 89.0513
653 | 89.129
652 | 89.189
651 | 89.2305
650 | 89.2523
649 | 89.2556
648 | 89.2441
647 | 89.2213
646 | 89.1882
645 | 89.1444
644 | 89.0936
643 | 89.0458
642 | 89.0115
641 | 88.9911
640 | 88.9781
639 | 88.9685
638 | 88.963
637 | 88.9627
636 | 88.9698
635 | 88.9839
634 | 88.9967
633 | 88.9985
632 | 88.9925
631 | 88.991
630 | 88.9992
629 | 89.0151
628 | 89.0503
627 | 89.1324
626 | 89.2771
625 | 89.4746
624 | 89.703
623 | 89.9423
622 | 90.1904
621 | 90.4733
620 | 90.8049
619 | 91.136
618 | 91.3905
617 | 91.5456
616 | 91.6294
615 | 91.6737
614 | 91.7082
613 | 91.7575
612 | 91.8078
611 | 91.8176
610 | 91.786
609 | 91.7627
608 | 91.7739
607 | 91.7947
606 | 91.8114
605 | 91.8549
604 | 91.9423
603 | 92.053
602 | 92.1896
601 | 92.391
600 | 92.6511

## Sample Details
Setting | Value
Filesname | 8.3.34 2
Creation Date
Analyst | mas-storage
X-Axis Units | cm-1
X-Axis start value | 4000
X-Axis end value | 600
Data interval | -1
Number of points | 3401
Y-Axis Units | %T
Description | 6Sample 3312 By mas-storage Date Thursday, June 16 2022

## Instrument Details
Setting | Value
Instrument Model | Frontier FT-IR
Instrument Serial Number | 91175
Software Revision | CPU32 Main 00.09.9908 05-May-2009 15:52:12
Number of Scans | 32
Resolution | 4
Detector
Source | MIR
Beam Splitter | OptKBr
Apodization | Strong
Spectrum Type | Spectrum
Beam Type | Ratio
Phase Correction | Magnitude
Scan Speed | 1
IGram Type | Double
Scan Driection | Combined
Zero Crossing | 0
JStop | 8.94
IR-Laser Wavenumber | 15798.001999451375
Manufacturer | PIKE Technologies Inc.
Part Number | L1200385
Serial Number | 19250
Description | Miracle Accessory
Default Scan Range | 4000 450
Accessory Type | Miracle ATR
Temperature / °C
Slide Holder Option

## Quality Checks
Setting | Value
Water Vapor | Passed
Carbon Dioxide | Passed
Baseline Low | Passed
Baseline High | Passed
Baseline Slope | Passed
Strong Bands | Passed
Weak Bands | Warning
High Noise | Passed
Fringes | Warning
Vignetting | Passed
Blocked Beam | Passed
Negative Bands | Passed
Zero Transmission | Passed
Stray Light | Passed
Window Cuttoff | Passed