## Data
Wavelength / cm-1 | Transmittance / % | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1
4000 | 97.9817 |  | Baseline @ 1105 |  | Baseline @ 1735 |  | Baseline @ 2900 |  | Peak @ 1105 |  | Peak @ 1735 |  | Peak @ 2900
3999 | 97.9755 | 850 | 96.5976 | 1525 | 99.3907 | 2670 | 99.3893 | 1105 | 80.9588 | 1735 | 99.9706 | 2900 | 97.6106
3998 | 97.974 | 1210 | 97.3402 | 1780 | 100.7433 | 3000 | 98.298 | 1105 | 97.1236 | 1735 | 100.5046 | 2900 | 98.6287
3997 | 97.9782
3996 | 97.986
3995 | 97.9936
3994 | 97.9986
3993 | 98.001
3992 | 98.0019
3991 | 98.0025
3990 | 98.0031
3989 | 98.0043
3988 | 98.0062
3987 | 98.0083
3986 | 98.0095
3985 | 98.0098
3984 | 98.0098
3983 | 98.0104
3982 | 98.0118
3981 | 98.0129
3980 | 98.0122
3979 | 98.0087
3978 | 98.0034
3977 | 97.9999 |  |  | Baseline range |  |  | Transmittance |  |  |  | Equation of base line |  |  | Transmittance at peak value wavelength | Peak Intensity |  | Ratio
3976 | 98.0013 |  | Peak value
3975 | 98.0075 |  | Wavelength
3974 | 98.0153 |  | x1 | x2 | x3 |  | y1 | y2 | y3 |  | m | c
3973 | 98.0212 | [15 empty] | flexural
3972 | 98.0238 |  | 1105 | 850 | 1210 |  | 80.9588 | 96.5976 | 97.3402 |  | 0.0020627 | 94.8442 |  | 97.1236 | 16.1647 | R1 | 0.033036
3971 | 98.0238 |  | 1735 | 1525 | 1780 |  | 99.9706 | 99.3907 | 100.7433 |  | 0.0053045 | 91.3014 |  | 100.5046 | 0.53402 | R2 | 0.52455
3970 | 98.0228 |  | 2900 | 2670 | 3000 |  | 97.6106 | 99.3893 | 98.298 |  | -0.003307 | 108.219 |  | 98.6287 | 1.018
3969 | 98.0219
3968 | 98.0218 |  | From paper
3967 | 98.0222 |  | 1105 | 765 | 1185
3966 | 98.0233 |  | 1735 | 1485 | 1780
3965 | 98.0251 |  | 2900 | 2630 | 3000
3964 | 98.0275
3963 | 98.029
3962 | 98.0284
3961 | 98.0262
3960 | 98.0245
3959 | 98.0253
3958 | 98.0293
3957 | 98.0357
3956 | 98.0426
3955 | 98.0476
3954 | 98.0495
3953 | 98.0481
3952 | 98.0441
3951 | 98.0387
3950 | 98.033
3949 | 98.0287
3948 | 98.0274
3947 | 98.0297
3946 | 98.0353
3945 | 98.0431
3944 | 98.0508
3943 | 98.0554
3942 | 98.0572
3941 | 98.0595
3940 | 98.0639
3939 | 98.0678
3938 | 98.0671
3937 | 98.0615
3936 | 98.055
3935 | 98.0514
3934 | 98.0513
3933 | 98.0533
3932 | 98.0569
3931 | 98.062
3930 | 98.0669
3929 | 98.0699
3928 | 98.0707
3927 | 98.0707
3926 | 98.0705
3925 | 98.0693
3924 | 98.0673
3923 | 98.0662
3922 | 98.0658
3921 | 98.0651
3920 | 98.0644
3919 | 98.0665
3918 | 98.0731
3917 | 98.0823
3916 | 98.0899
3915 | 98.0935
3914 | 98.0929
3913 | 98.0891
3912 | 98.0835
3911 | 98.0786
3910 | 98.0765
3909 | 98.0771
3908 | 98.0787
3907 | 98.0791
3906 | 98.0763
3905 | 98.0697
3904 | 98.0625
3903 | 98.062
3902 | 98.0726
3901 | 98.09
3900 | 98.1039
3899 | 98.1071
3898 | 98.1016
3897 | 98.0936
3896 | 98.0865
3895 | 98.0823
3894 | 98.0832
3893 | 98.0899
3892 | 98.0974
3891 | 98.0984
3890 | 98.0921
3889 | 98.0856
3888 | 98.0863
3887 | 98.0918
3886 | 98.0928
3885 | 98.0876
3884 | 98.0839
3883 | 98.088
3882 | 98.0979
3881 | 98.1058
3880 | 98.1065
3879 | 98.1016
3878 | 98.0967
3877 | 98.0954
3876 | 98.0963
3875 | 98.0931
3874 | 98.0835
3873 | 98.0759
3872 | 98.0808
3871 | 98.0957
3870 | 98.1068
3869 | 98.1086
3868 | 98.109
3867 | 98.1133
3866 | 98.1172
3865 | 98.1144
3864 | 98.1081
3863 | 98.1066
3862 | 98.1097
3861 | 98.1116
3860 | 98.1103
3859 | 98.1077
3858 | 98.1078
3857 | 98.1133
3856 | 98.1241
3855 | 98.1322
3854 | 98.1289
3853 | 98.1253
3852 | 98.1364
3851 | 98.1525
3850 | 98.1573
3849 | 98.1475
3848 | 98.1292
3847 | 98.1119
3846 | 98.1011
3845 | 98.0963
3844 | 98.0943
3843 | 98.0916
3842 | 98.0873
3841 | 98.0854
3840 | 98.0892
3839 | 98.0969
3838 | 98.105
3837 | 98.1109
3836 | 98.1134
3835 | 98.1133
3834 | 98.1128
3833 | 98.1134
3832 | 98.1134
3831 | 98.111
3830 | 98.1072
3829 | 98.1036
3828 | 98.0994
3827 | 98.0906
3826 | 98.0749
3825 | 98.0581
3824 | 98.0512
3823 | 98.0581
3822 | 98.07
3821 | 98.0754
3820 | 98.0754
3819 | 98.0793
3818 | 98.0899
3817 | 98.1003
3816 | 98.102
3815 | 98.0991
3814 | 98.1001
3813 | 98.1024
3812 | 98.0969
3811 | 98.0821
3810 | 98.0665
3809 | 98.0584
3808 | 98.0561
3807 | 98.0521
3806 | 98.0453
3805 | 98.0436
3804 | 98.0525
3803 | 98.0666
3802 | 98.0717
3801 | 98.0633
3800 | 98.055
3799 | 98.0561
3798 | 98.0618
3797 | 98.0633
3796 | 98.0583
3795 | 98.0528
3794 | 98.0513
3793 | 98.0514
3792 | 98.0484
3791 | 98.0416
3790 | 98.0337
3789 | 98.0271
3788 | 98.0229
3787 | 98.0216
3786 | 98.0216
3785 | 98.0195
3784 | 98.0133
3783 | 98.0059
3782 | 98.0021
3781 | 98.0033
3780 | 98.006
3779 | 98.0071
3778 | 98.0078
3777 | 98.0106
3776 | 98.014
3775 | 98.0135
3774 | 98.0066
3773 | 97.9965
3772 | 97.9877
3771 | 97.981
3770 | 97.9749
3769 | 97.972
3768 | 97.9764
3767 | 97.9862
3766 | 97.9931
3765 | 97.9909
3764 | 97.9816
3763 | 97.9723
3762 | 97.9658
3761 | 97.9593
3760 | 97.9508
3759 | 97.9438
3758 | 97.9406
3757 | 97.9379
3756 | 97.9338
3755 | 97.931
3754 | 97.9305
3753 | 97.9295
3752 | 97.9259
3751 | 97.9234
3750 | 97.9237
3749 | 97.9208
3748 | 97.9157
3747 | 97.9192
3746 | 97.9332
3745 | 97.9417
3744 | 97.9382
3743 | 97.9367
3742 | 97.9398
3741 | 97.9361
3740 | 97.9199
3739 | 97.8965
3738 | 97.8767
3737 | 97.8639
3736 | 97.8565
3735 | 97.858
3734 | 97.8731
3733 | 97.8957
3732 | 97.9099
3731 | 97.9085
3730 | 97.897
3729 | 97.8843
3728 | 97.8735
3727 | 97.8616
3726 | 97.8475
3725 | 97.8359
3724 | 97.8307
3723 | 97.8298
3722 | 97.8284
3721 | 97.825
3720 | 97.8209
3719 | 97.8166
3718 | 97.8114
3717 | 97.8043
3716 | 97.7985
3715 | 97.797
3714 | 97.7981
3713 | 97.7965
3712 | 97.7912
3711 | 97.788
3710 | 97.7913
3709 | 97.7972
3708 | 97.7987
3707 | 97.7924
3706 | 97.7798
3705 | 97.7657
3704 | 97.7543
3703 | 97.7467
3702 | 97.7411
3701 | 97.7361
3700 | 97.7322
3699 | 97.7296
3698 | 97.7263
3697 | 97.7178
3696 | 97.7026
3695 | 97.6858
3694 | 97.6741
3693 | 97.6694
3692 | 97.67
3691 | 97.6726
3690 | 97.6732
3689 | 97.669
3688 | 97.6612
3687 | 97.6522
3686 | 97.643
3685 | 97.6328
3684 | 97.6199
3683 | 97.6056
3682 | 97.595
3681 | 97.5895
3680 | 97.5851
3679 | 97.5787
3678 | 97.5734
3677 | 97.571
3676 | 97.5637
3675 | 97.5485
3674 | 97.5345
3673 | 97.5288
3672 | 97.5306
3671 | 97.5299
3670 | 97.5172
3669 | 97.4979
3668 | 97.4828
3667 | 97.4718
3666 | 97.4602
3665 | 97.4466
3664 | 97.4322
3663 | 97.4187
3662 | 97.4054
3661 | 97.3904
3660 | 97.3755
3659 | 97.3646
3658 | 97.358
3657 | 97.3495
3656 | 97.3337
3655 | 97.3146
3654 | 97.3013
3653 | 97.2978
3652 | 97.2987
3651 | 97.2919
3650 | 97.2719
3649 | 97.2488
3648 | 97.2336
3647 | 97.2216
3646 | 97.2049
3645 | 97.1853
3644 | 97.1678
3643 | 97.1526
3642 | 97.1361
3641 | 97.1174
3640 | 97.0992
3639 | 97.0829
3638 | 97.0674
3637 | 97.0518
3636 | 97.0369
3635 | 97.0222
3634 | 97.0065
3633 | 96.9931
3632 | 96.989
3631 | 96.9943
3630 | 96.993
3629 | 96.968
3628 | 96.9276
3627 | 96.8933
3626 | 96.8717
3625 | 96.8563
3624 | 96.8417
3623 | 96.8289
3622 | 96.8199
3621 | 96.8109
3620 | 96.7921
3619 | 96.7596
3618 | 96.7217
3617 | 96.6899
3616 | 96.6697
3615 | 96.6585
3614 | 96.6491
3613 | 96.6368
3612 | 96.6229
3611 | 96.61
3610 | 96.5966
3609 | 96.5788
3608 | 96.5555
3607 | 96.5314
3606 | 96.5115
3605 | 96.4962
3604 | 96.4834
3603 | 96.4701
3602 | 96.454
3601 | 96.4337
3600 | 96.4106
3599 | 96.3888
3598 | 96.3716
3597 | 96.3578
3596 | 96.3429
3595 | 96.3225
3594 | 96.2959
3593 | 96.268
3592 | 96.2453
3591 | 96.2311
3590 | 96.2217
3589 | 96.2069
3588 | 96.1768
3587 | 96.1339
3586 | 96.092
3585 | 96.0613
3584 | 96.0402
3583 | 96.021
3582 | 95.9978
3581 | 95.9703
3580 | 95.9415
3579 | 95.9152
3578 | 95.8925
3577 | 95.8713
3576 | 95.8478
3575 | 95.8192
3574 | 95.7865
3573 | 95.7545
3572 | 95.7294
3571 | 95.7144
3570 | 95.7054
3569 | 95.6903
3568 | 95.655
3567 | 95.5968
3566 | 95.5302
3565 | 95.4741
3564 | 95.4355
3563 | 95.4095
3562 | 95.3872
3561 | 95.3621
3560 | 95.3324
3559 | 95.3004
3558 | 95.269
3557 | 95.2399
3556 | 95.2126
3555 | 95.1856
3554 | 95.1566
3553 | 95.1233
3552 | 95.0853
3551 | 95.0468
3550 | 95.0137
3549 | 94.9883
3548 | 94.9662
3547 | 94.9396
3546 | 94.9049
3545 | 94.8655
3544 | 94.8282
3543 | 94.7973
3542 | 94.7731
3541 | 94.7537
3540 | 94.7369
3539 | 94.7207
3538 | 94.7029
3537 | 94.6825
3536 | 94.6609
3535 | 94.6414
3534 | 94.6265
3533 | 94.6156
3532 | 94.6063
3531 | 94.5965
3530 | 94.5852
3529 | 94.5715
3528 | 94.5558
3527 | 94.5401
3526 | 94.5269
3525 | 94.516
3524 | 94.5045
3523 | 94.4908
3522 | 94.4777
3521 | 94.4696
3520 | 94.4674
3519 | 94.4675
3518 | 94.4661
3517 | 94.4624
3516 | 94.4576
3515 | 94.4524
3514 | 94.4468
3513 | 94.4423
3512 | 94.44
3511 | 94.4381
3510 | 94.4324
3509 | 94.4206
3508 | 94.4063
3507 | 94.3958
3506 | 94.3925
3505 | 94.3936
3504 | 94.3926
3503 | 94.3848
3502 | 94.371
3501 | 94.3557
3500 | 94.3438
3499 | 94.3369
3498 | 94.3332
3497 | 94.329
3496 | 94.3217
3495 | 94.3117
3494 | 94.3015
3493 | 94.294
3492 | 94.2899
3491 | 94.2878
3490 | 94.2853
3489 | 94.2801
3488 | 94.2712
3487 | 94.2596
3486 | 94.2481
3485 | 94.2391
3484 | 94.2319
3483 | 94.224
3482 | 94.2132
3481 | 94.2009
3480 | 94.1911
3479 | 94.1866
3478 | 94.1867
3477 | 94.1879
3476 | 94.1857
3475 | 94.1775
3474 | 94.1639
3473 | 94.148
3472 | 94.1334
3471 | 94.1225
3470 | 94.1146
3469 | 94.1066
3468 | 94.0948
3467 | 94.0783
3466 | 94.0602
3465 | 94.0451
3464 | 94.0339
3463 | 94.0226
3462 | 94.0067
3461 | 93.9861
3460 | 93.9647
3459 | 93.9465
3458 | 93.9319
3457 | 93.9183
3456 | 93.9029
3455 | 93.8853
3454 | 93.8671
3453 | 93.8498
3452 | 93.8328
3451 | 93.8143
3450 | 93.793
3449 | 93.7688
3448 | 93.7421
3447 | 93.7135
3446 | 93.6849
3445 | 93.6583
3444 | 93.6335
3443 | 93.6092
3442 | 93.5844
3441 | 93.5597
3440 | 93.5349
3439 | 93.5087
3438 | 93.4795
3437 | 93.4476
3436 | 93.4139
3435 | 93.3791
3434 | 93.3434
3433 | 93.3079
3432 | 93.2741
3431 | 93.2425
3430 | 93.2122
3429 | 93.1817
3428 | 93.1496
3427 | 93.1153
3426 | 93.0789
3425 | 93.041
3424 | 93.0026
3423 | 92.9638
3422 | 92.9243
3421 | 92.8837
3420 | 92.8425
3419 | 92.802
3418 | 92.7631
3417 | 92.7257
3416 | 92.6889
3415 | 92.6521
3414 | 92.6157
3413 | 92.5795
3412 | 92.543
3411 | 92.5052
3410 | 92.4672
3409 | 92.4325
3408 | 92.4046
3407 | 92.384
3406 | 92.3675
3405 | 92.3512
3404 | 92.333
3403 | 92.3143
3402 | 92.2978
3401 | 92.2854
3400 | 92.2772
3399 | 92.2717
3398 | 92.267
3397 | 92.2623
3396 | 92.2577
3395 | 92.2544
3394 | 92.2539
3393 | 92.257
3392 | 92.2636
3391 | 92.2732
3390 | 92.2853
3389 | 92.2997
3388 | 92.3153
3387 | 92.3301
3386 | 92.3417
3385 | 92.3499
3384 | 92.3565
3383 | 92.3643
3382 | 92.3747
3381 | 92.3863
3380 | 92.3965
3379 | 92.4038
3378 | 92.4091
3377 | 92.4143
3376 | 92.42
3375 | 92.4259
3374 | 92.432
3373 | 92.4393
3372 | 92.4482
3371 | 92.4575
3370 | 92.4651
3369 | 92.4704
3368 | 92.4743
3367 | 92.4781
3366 | 92.483
3365 | 92.4888
3364 | 92.4948
3363 | 92.4988
3362 | 92.4997
3361 | 92.4974
3360 | 92.494
3359 | 92.4917
3358 | 92.4918
3357 | 92.4939
3356 | 92.4958
3355 | 92.4956
3354 | 92.4929
3353 | 92.4891
3352 | 92.4853
3351 | 92.4814
3350 | 92.477
3349 | 92.4727
3348 | 92.4703
3347 | 92.4711
3346 | 92.4749
3345 | 92.4795
3344 | 92.4824
3343 | 92.4818
3342 | 92.4776
3341 | 92.4722
3340 | 92.4694
3339 | 92.4715
3338 | 92.4777
3337 | 92.4847
3336 | 92.4895
3335 | 92.4919
3334 | 92.4943
3333 | 92.4991
3332 | 92.5066
3331 | 92.5155
3330 | 92.5248
3329 | 92.5339
3328 | 92.542
3327 | 92.5481
3326 | 92.5522
3325 | 92.5553
3324 | 92.5589
3323 | 92.5635
3322 | 92.5693
3321 | 92.5766
3320 | 92.5853
3319 | 92.5945
3318 | 92.6023
3317 | 92.6079
3316 | 92.612
3315 | 92.6158
3314 | 92.6193
3313 | 92.6211
3312 | 92.62
3311 | 92.6169
3310 | 92.6137
3309 | 92.611
3308 | 92.6084
3307 | 92.6057
3306 | 92.6048
3305 | 92.6065
3304 | 92.6093
3303 | 92.6105
3302 | 92.6091
3301 | 92.6065
3300 | 92.6042
3299 | 92.6026
3298 | 92.6012
3297 | 92.6002
3296 | 92.5997
3295 | 92.5991
3294 | 92.5977
3293 | 92.5955
3292 | 92.5927
3291 | 92.5895
3290 | 92.586
3289 | 92.5825
3288 | 92.5793
3287 | 92.5769
3286 | 92.5759
3285 | 92.5767
3284 | 92.5793
3283 | 92.5835
3282 | 92.5887
3281 | 92.5941
3280 | 92.5988
3279 | 92.6027
3278 | 92.6069
3277 | 92.6119
3276 | 92.6162
3275 | 92.6181
3274 | 92.6175
3273 | 92.6176
3272 | 92.6212
3271 | 92.6289
3270 | 92.6381
3269 | 92.6458
3268 | 92.6516
3267 | 92.6576
3266 | 92.6665
3265 | 92.6784
3264 | 92.6914
3263 | 92.7031
3262 | 92.7132
3261 | 92.7224
3260 | 92.7313
3259 | 92.7404
3258 | 92.7508
3257 | 92.7634
3256 | 92.7768
3255 | 92.7889
3254 | 92.7991
3253 | 92.8092
3252 | 92.8208
3251 | 92.8335
3250 | 92.8458
3249 | 92.8573
3248 | 92.8689
3247 | 92.8812
3246 | 92.895
3245 | 92.9105
3244 | 92.9278
3243 | 92.9461
3242 | 92.9651
3241 | 92.9852
3240 | 93.0067
3239 | 93.03
3238 | 93.0551
3237 | 93.0824
3236 | 93.1122
3235 | 93.1434
3234 | 93.1741
3233 | 93.2031
3232 | 93.2299
3231 | 93.2553
3230 | 93.2801
3229 | 93.3051
3228 | 93.3303
3227 | 93.356
3226 | 93.3829
3225 | 93.4112
3224 | 93.4402
3223 | 93.4683
3222 | 93.4946
3221 | 93.5196
3220 | 93.544
3219 | 93.5683
3218 | 93.5929
3217 | 93.6192
3216 | 93.6478
3215 | 93.6777
3214 | 93.7073
3213 | 93.7358
3212 | 93.7637
3211 | 93.7913
3210 | 93.8184
3209 | 93.8451
3208 | 93.8717
3207 | 93.8986
3206 | 93.9256
3205 | 93.9523
3204 | 93.9789
3203 | 94.0058
3202 | 94.0334
3201 | 94.0615
3200 | 94.0899
3199 | 94.1179
3198 | 94.1459
3197 | 94.1746
3196 | 94.2048
3195 | 94.2359
3194 | 94.2663
3193 | 94.2955
3192 | 94.3246
3191 | 94.3548
3190 | 94.3851
3189 | 94.4126
3188 | 94.4359
3187 | 94.4573
3186 | 94.4813
3185 | 94.5105
3184 | 94.5437
3183 | 94.5781
3182 | 94.6114
3181 | 94.643
3180 | 94.6729
3179 | 94.7017
3178 | 94.7298
3177 | 94.7578
3176 | 94.7854
3175 | 94.8126
3174 | 94.8405
3173 | 94.87
3172 | 94.9013
3171 | 94.9335
3170 | 94.9658
3169 | 94.9975
3168 | 95.0278
3167 | 95.0562
3166 | 95.0834
3165 | 95.1119
3164 | 95.1437
3163 | 95.1785
3162 | 95.2141
3161 | 95.2479
3160 | 95.2789
3159 | 95.3083
3158 | 95.3375
3157 | 95.3664
3156 | 95.3944
3155 | 95.4223
3154 | 95.4522
3153 | 95.4852
3152 | 95.5194
3151 | 95.5522
3150 | 95.5825
3149 | 95.6114
3148 | 95.6407
3147 | 95.6714
3146 | 95.7037
3145 | 95.7362
3144 | 95.7679
3143 | 95.7991
3142 | 95.8318
3141 | 95.867
3140 | 95.9029
3139 | 95.9369
3138 | 95.968
3137 | 95.9982
3136 | 96.0292
3135 | 96.0607
3134 | 96.0922
3133 | 96.1232
3132 | 96.1539
3131 | 96.1845
3130 | 96.2153
3129 | 96.2471
3128 | 96.2803
3127 | 96.3144
3126 | 96.3487
3125 | 96.3827
3124 | 96.4157
3123 | 96.4472
3122 | 96.4767
3121 | 96.5052
3120 | 96.5336
3119 | 96.5629
3118 | 96.5935
3117 | 96.6244
3116 | 96.6542
3115 | 96.681
3114 | 96.7049
3113 | 96.728
3112 | 96.7531
3111 | 96.7818
3110 | 96.8133
3109 | 96.8458
3108 | 96.878
3107 | 96.9096
3106 | 96.9407
3105 | 96.9704
3104 | 96.9974
3103 | 97.0218
3102 | 97.0454
3101 | 97.0699
3100 | 97.0956
3099 | 97.1212
3098 | 97.1454
3097 | 97.1679
3096 | 97.1896
3095 | 97.212
3094 | 97.2358
3093 | 97.2607
3092 | 97.2855
3091 | 97.3097
3090 | 97.3338
3089 | 97.3581
3088 | 97.3824
3087 | 97.4059
3086 | 97.4285
3085 | 97.4496
3084 | 97.4688
3083 | 97.4861
3082 | 97.5027
3081 | 97.5196
3080 | 97.5368
3079 | 97.5545
3078 | 97.5728
3077 | 97.592
3076 | 97.6109
3075 | 97.6285
3074 | 97.6447
3073 | 97.6608
3072 | 97.6772
3071 | 97.6938
3070 | 97.7104
3069 | 97.7279
3068 | 97.7459
3067 | 97.7621
3066 | 97.7745
3065 | 97.784
3064 | 97.794
3063 | 97.8074
3062 | 97.8243
3061 | 97.8422
3060 | 97.8588
3059 | 97.8739
3058 | 97.8877
3057 | 97.9001
3056 | 97.9109
3055 | 97.9208
3054 | 97.9312
3053 | 97.9427
3052 | 97.9546
3051 | 97.9654
3050 | 97.9744
3049 | 97.9824
3048 | 97.9907
3047 | 98.0004
3046 | 98.0113
3045 | 98.0227
3044 | 98.0343
3043 | 98.0458
3042 | 98.0571
3041 | 98.0674
3040 | 98.0761
3039 | 98.0831
3038 | 98.089
3037 | 98.0944
3036 | 98.0999
3035 | 98.1058
3034 | 98.1123
3033 | 98.1193
3032 | 98.1263
3031 | 98.133
3030 | 98.1403
3029 | 98.1487
3028 | 98.1576
3027 | 98.1653
3026 | 98.1712
3025 | 98.1765
3024 | 98.1832
3023 | 98.1919
3022 | 98.2016
3021 | 98.2109
3020 | 98.2193
3019 | 98.2273
3018 | 98.2346
3017 | 98.2404
3016 | 98.2445
3015 | 98.2475
3014 | 98.2499
3013 | 98.2516
3012 | 98.2527
3011 | 98.2537
3010 | 98.2554
3009 | 98.2581
3008 | 98.2613
3007 | 98.2649
3006 | 98.2688
3005 | 98.2736
3004 | 98.2792
3003 | 98.2851
3002 | 98.2903
3001 | 98.2945
3000 | 98.298
2999 | 98.3011
2998 | 98.3036
2997 | 98.3052
2996 | 98.3059
2995 | 98.3061
2994 | 98.3057
2993 | 98.304
2992 | 98.3017
2991 | 98.2999
2990 | 98.2993
2989 | 98.2991
2988 | 98.2979
2987 | 98.295
2986 | 98.2902
2985 | 98.2837
2984 | 98.277
2983 | 98.272
2982 | 98.2686
2981 | 98.2649
2980 | 98.2585
2979 | 98.2492
2978 | 98.2378
2977 | 98.225
2976 | 98.2114
2975 | 98.1982
2974 | 98.1863
2973 | 98.1744
2972 | 98.1602
2971 | 98.1436
2970 | 98.1273
2969 | 98.1141
2968 | 98.1036
2967 | 98.0936
2966 | 98.0822
2965 | 98.0696
2964 | 98.0563
2963 | 98.0427
2962 | 98.029
2961 | 98.0156
2960 | 98.0021
2959 | 97.9881
2958 | 97.9742
2957 | 97.962
2956 | 97.9528
2955 | 97.9456
2954 | 97.9375
2953 | 97.9264
2952 | 97.9127
2951 | 97.8983
2950 | 97.8848
2949 | 97.8719
2948 | 97.8589
2947 | 97.8456
2946 | 97.832
2945 | 97.8182
2944 | 97.8045
2943 | 97.7916
2942 | 97.7797
2941 | 97.7677
2940 | 97.7546
2939 | 97.7413
2938 | 97.73
2937 | 97.7216
2936 | 97.7141
2935 | 97.705
2934 | 97.6938
2933 | 97.6818
2932 | 97.6703
2931 | 97.6596
2930 | 97.6485
2929 | 97.6352
2928 | 97.6181
2927 | 97.5978
2926 | 97.5765
2925 | 97.5565
2924 | 97.5385
2923 | 97.5224
2922 | 97.5078
2921 | 97.4948
2920 | 97.4833
2919 | 97.4745
2918 | 97.4702
2917 | 97.4723
2916 | 97.4818
2915 | 97.4984
2914 | 97.5211
2913 | 97.5471
2912 | 97.5716
2911 | 97.5907
2910 | 97.6032
2909 | 97.6107
2908 | 97.6154
2907 | 97.6183
2906 | 97.6199
2905 | 97.6198
2904 | 97.6179
2903 | 97.6147
2902 | 97.6116
2901 | 97.6101
2900 | 97.6106
2899 | 97.6128
2898 | 97.6159
2897 | 97.6197
2896 | 97.6241
2895 | 97.6297
2894 | 97.637
2893 | 97.6467
2892 | 97.6585
2891 | 97.6712
2890 | 97.6835
2889 | 97.6948
2888 | 97.7056
2887 | 97.7166
2886 | 97.7282
2885 | 97.7402
2884 | 97.752
2883 | 97.7624
2882 | 97.771
2881 | 97.7779
2880 | 97.7846
2879 | 97.7926
2878 | 97.8028
2877 | 97.8144
2876 | 97.8264
2875 | 97.8382
2874 | 97.8496
2873 | 97.8609
2872 | 97.8721
2871 | 97.8841
2870 | 97.8981
2869 | 97.9146
2868 | 97.9325
2867 | 97.95
2866 | 97.9661
2865 | 97.9814
2864 | 97.9972
2863 | 98.014
2862 | 98.0307
2861 | 98.045
2860 | 98.0557
2859 | 98.0636
2858 | 98.0704
2857 | 98.0771
2856 | 98.0832
2855 | 98.0872
2854 | 98.0878
2853 | 98.0852
2852 | 98.0827
2851 | 98.0865
2850 | 98.1021
2849 | 98.1317
2848 | 98.1729
2847 | 98.2206
2846 | 98.2686
2845 | 98.3112
2844 | 98.3461
2843 | 98.3747
2842 | 98.4
2841 | 98.4236
2840 | 98.4455
2839 | 98.4655
2838 | 98.4844
2837 | 98.5021
2836 | 98.5176
2835 | 98.5309
2834 | 98.5434
2833 | 98.5567
2832 | 98.5715
2831 | 98.5877
2830 | 98.6047
2829 | 98.6215
2828 | 98.6364
2827 | 98.6491
2826 | 98.661
2825 | 98.6736
2824 | 98.6863
2823 | 98.6973
2822 | 98.706
2821 | 98.7135
2820 | 98.722
2819 | 98.7318
2818 | 98.7416
2817 | 98.7505
2816 | 98.7592
2815 | 98.7685
2814 | 98.7783
2813 | 98.7877
2812 | 98.7964
2811 | 98.8051
2810 | 98.8146
2809 | 98.8242
2808 | 98.8326
2807 | 98.8393
2806 | 98.845
2805 | 98.8509
2804 | 98.8582
2803 | 98.8673
2802 | 98.8774
2801 | 98.8872
2800 | 98.896
2799 | 98.9031
2798 | 98.9084
2797 | 98.9122
2796 | 98.9158
2795 | 98.9207
2794 | 98.9274
2793 | 98.9341
2792 | 98.9394
2791 | 98.9446
2790 | 98.9516
2789 | 98.9599
2788 | 98.9668
2787 | 98.9709
2786 | 98.9737
2785 | 98.9778
2784 | 98.9835
2783 | 98.9887
2782 | 98.9924
2781 | 98.995
2780 | 98.9976
2779 | 99.0009
2778 | 99.0056
2777 | 99.0122
2776 | 99.0206
2775 | 99.0293
2774 | 99.0369
2773 | 99.0429
2772 | 99.0474
2771 | 99.0509
2770 | 99.0535
2769 | 99.0557
2768 | 99.0581
2767 | 99.0608
2766 | 99.0634
2765 | 99.0658
2764 | 99.0685
2763 | 99.0717
2762 | 99.0755
2761 | 99.0796
2760 | 99.0841
2759 | 99.0896
2758 | 99.0957
2757 | 99.1012
2756 | 99.1049
2755 | 99.107
2754 | 99.1084
2753 | 99.1103
2752 | 99.1127
2751 | 99.1156
2750 | 99.1184
2749 | 99.1211
2748 | 99.1244
2747 | 99.1285
2746 | 99.133
2745 | 99.1364
2744 | 99.1375
2743 | 99.1369
2742 | 99.1364
2741 | 99.1376
2740 | 99.1412
2739 | 99.1464
2738 | 99.1515
2737 | 99.1553
2736 | 99.1573
2735 | 99.1582
2734 | 99.1595
2733 | 99.1615
2732 | 99.1637
2731 | 99.1651
2730 | 99.1662
2729 | 99.1681
2728 | 99.1715
2727 | 99.1765
2726 | 99.1828
2725 | 99.1903
2724 | 99.1981
2723 | 99.2044
2722 | 99.2078
2721 | 99.2084
2720 | 99.2085
2719 | 99.2099
2718 | 99.2133
2717 | 99.2184
2716 | 99.2246
2715 | 99.2311
2714 | 99.2363
2713 | 99.2391
2712 | 99.2401
2711 | 99.2415
2710 | 99.2445
2709 | 99.2485
2708 | 99.2524
2707 | 99.2562
2706 | 99.2603
2705 | 99.2647
2704 | 99.2691
2703 | 99.273
2702 | 99.2761
2701 | 99.2789
2700 | 99.2819
2699 | 99.2855
2698 | 99.2894
2697 | 99.2929
2696 | 99.296
2695 | 99.2995
2694 | 99.3039
2693 | 99.3092
2692 | 99.3152
2691 | 99.3215
2690 | 99.3271
2689 | 99.3316
2688 | 99.3354
2687 | 99.3393
2686 | 99.3431
2685 | 99.3462
2684 | 99.3489
2683 | 99.3523
2682 | 99.3563
2681 | 99.3592
2680 | 99.3605
2679 | 99.3611
2678 | 99.3624
2677 | 99.3647
2676 | 99.3678
2675 | 99.3725
2674 | 99.3788
2673 | 99.385
2672 | 99.3889
2671 | 99.3898
2670 | 99.3893
2669 | 99.3894
2668 | 99.3911
2667 | 99.3943
2666 | 99.3977
2665 | 99.3996
2664 | 99.3991
2663 | 99.3976
2662 | 99.3963
2661 | 99.3944
2660 | 99.3905
2659 | 99.3848
2658 | 99.3792
2657 | 99.375
2656 | 99.3715
2655 | 99.3676
2654 | 99.3628
2653 | 99.3572
2652 | 99.3507
2651 | 99.3431
2650 | 99.3349
2649 | 99.3268
2648 | 99.3189
2647 | 99.3109
2646 | 99.3028
2645 | 99.2946
2644 | 99.2862
2643 | 99.2777
2642 | 99.2693
2641 | 99.261
2640 | 99.2526
2639 | 99.2448
2638 | 99.2384
2637 | 99.2332
2636 | 99.2274
2635 | 99.2195
2634 | 99.2095
2633 | 99.199
2632 | 99.1891
2631 | 99.1798
2630 | 99.1705
2629 | 99.1612
2628 | 99.1523
2627 | 99.1439
2626 | 99.1358
2625 | 99.128
2624 | 99.1205
2623 | 99.1127
2622 | 99.104
2621 | 99.0948
2620 | 99.0866
2619 | 99.0803
2618 | 99.0748
2617 | 99.0683
2616 | 99.0598
2615 | 99.05
2614 | 99.0406
2613 | 99.0323
2612 | 99.0251
2611 | 99.0181
2610 | 99.0102
2609 | 99.0011
2608 | 98.9917
2607 | 98.9834
2606 | 98.9768
2605 | 98.9711
2604 | 98.9654
2603 | 98.9592
2602 | 98.9524
2601 | 98.9458
2600 | 98.9408
2599 | 98.9377
2598 | 98.9346
2597 | 98.9291
2596 | 98.921
2595 | 98.9129
2594 | 98.9072
2593 | 98.9032
2592 | 98.8989
2591 | 98.893
2590 | 98.8863
2589 | 98.8797
2588 | 98.8738
2587 | 98.8689
2586 | 98.8649
2585 | 98.8612
2584 | 98.8577
2583 | 98.8549
2582 | 98.8531
2581 | 98.8515
2580 | 98.8488
2579 | 98.844
2578 | 98.8376
2577 | 98.8306
2576 | 98.8236
2575 | 98.8175
2574 | 98.813
2573 | 98.8109
2572 | 98.8113
2571 | 98.8126
2570 | 98.8122
2569 | 98.8091
2568 | 98.8045
2567 | 98.8009
2566 | 98.7989
2565 | 98.7971
2564 | 98.7946
2563 | 98.792
2562 | 98.7902
2561 | 98.7885
2560 | 98.786
2559 | 98.7826
2558 | 98.7798
2557 | 98.7786
2556 | 98.7791
2555 | 98.7802
2554 | 98.7806
2553 | 98.7795
2552 | 98.7781
2551 | 98.7779
2550 | 98.7789
2549 | 98.7794
2548 | 98.7782
2547 | 98.7766
2546 | 98.7758
2545 | 98.7753
2544 | 98.7737
2543 | 98.7715
2542 | 98.7708
2541 | 98.7721
2540 | 98.7742
2539 | 98.776
2538 | 98.7779
2537 | 98.7804
2536 | 98.7833
2535 | 98.786
2534 | 98.788
2533 | 98.7886
2532 | 98.7878
2531 | 98.7865
2530 | 98.7859
2529 | 98.7866
2528 | 98.7883
2527 | 98.7901
2526 | 98.7915
2525 | 98.7924
2524 | 98.7932
2523 | 98.7948
2522 | 98.797
2521 | 98.7986
2520 | 98.7994
2519 | 98.8
2518 | 98.8012
2517 | 98.8033
2516 | 98.8066
2515 | 98.8123
2514 | 98.8201
2513 | 98.8275
2512 | 98.8313
2511 | 98.8309
2510 | 98.8289
2509 | 98.8284
2508 | 98.8306
2507 | 98.8353
2506 | 98.8414
2505 | 98.8473
2504 | 98.8515
2503 | 98.8536
2502 | 98.8537
2501 | 98.8526
2500 | 98.8521
2499 | 98.8535
2498 | 98.857
2497 | 98.8613
2496 | 98.8655
2495 | 98.8701
2494 | 98.8762
2493 | 98.8827
2492 | 98.8881
2491 | 98.892
2490 | 98.8949
2489 | 98.8972
2488 | 98.8989
2487 | 98.9009
2486 | 98.9048
2485 | 98.9114
2484 | 98.9194
2483 | 98.9275
2482 | 98.9347
2481 | 98.9402
2480 | 98.944
2479 | 98.9472
2478 | 98.9512
2477 | 98.9565
2476 | 98.962
2475 | 98.9665
2474 | 98.9698
2473 | 98.9726
2472 | 98.9763
2471 | 98.9818
2470 | 98.9889
2469 | 98.9961
2468 | 99.002
2467 | 99.006
2466 | 99.0083
2465 | 99.0096
2464 | 99.0116
2463 | 99.0152
2462 | 99.0197
2461 | 99.023
2460 | 99.024
2459 | 99.0242
2458 | 99.0252
2457 | 99.0272
2456 | 99.0291
2455 | 99.0303
2454 | 99.0309
2453 | 99.0308
2452 | 99.0295
2451 | 99.0276
2450 | 99.0263
2449 | 99.0261
2448 | 99.0269
2447 | 99.0285
2446 | 99.0312
2445 | 99.0344
2444 | 99.0371
2443 | 99.0388
2442 | 99.0407
2441 | 99.045
2440 | 99.0526
2439 | 99.0625
2438 | 99.0719
2437 | 99.0789
2436 | 99.0836
2435 | 99.0875
2434 | 99.0917
2433 | 99.0956
2432 | 99.0991
2431 | 99.1029
2430 | 99.1083
2429 | 99.1154
2428 | 99.1234
2427 | 99.1317
2426 | 99.1393
2425 | 99.146
2424 | 99.1526
2423 | 99.1602
2422 | 99.1693
2421 | 99.1788
2420 | 99.1877
2419 | 99.1955
2418 | 99.2018
2417 | 99.2063
2416 | 99.2103
2415 | 99.2166
2414 | 99.2263
2413 | 99.2375
2412 | 99.2472
2411 | 99.2548
2410 | 99.2609
2409 | 99.2663
2408 | 99.2721
2407 | 99.28
2406 | 99.2907
2405 | 99.303
2404 | 99.3152
2403 | 99.3277
2402 | 99.3411
2401 | 99.3546
2400 | 99.3666
2399 | 99.377
2398 | 99.3871
2397 | 99.3977
2396 | 99.4081
2395 | 99.4174
2394 | 99.4257
2393 | 99.4342
2392 | 99.4442
2391 | 99.4563
2390 | 99.469
2389 | 99.4807
2388 | 99.4911
2387 | 99.5018
2386 | 99.5133
2385 | 99.5247
2384 | 99.5361
2383 | 99.5501
2382 | 99.5688
2381 | 99.5906
2380 | 99.612
2379 | 99.6316
2378 | 99.6493
2377 | 99.6641
2376 | 99.6742
2375 | 99.6799
2374 | 99.6843
2373 | 99.689
2372 | 99.6922
2371 | 99.693
2370 | 99.695
2369 | 99.7026
2368 | 99.7163
2367 | 99.7333
2366 | 99.75
2365 | 99.7631
2364 | 99.7737
2363 | 99.7856
2362 | 99.7988
2361 | 99.8103
2360 | 99.8154
2359 | 99.8149
2358 | 99.8154
2357 | 99.8214
2356 | 99.8376
2355 | 99.864
2354 | 99.8915
2353 | 99.9026
2352 | 99.8892
2351 | 99.8677
2350 | 99.8595
2349 | 99.8777
2348 | 99.9137
2347 | 99.9399
2346 | 99.9349
2345 | 99.9048
2344 | 99.8781
2343 | 99.8667
2342 | 99.8656
2341 | 99.8699
2340 | 99.8769
2339 | 99.8861
2338 | 99.8963
2337 | 99.9069
2336 | 99.9184
2335 | 99.9316
2334 | 99.9456
2333 | 99.9548
2332 | 99.9529
2331 | 99.9443
2330 | 99.9327
2329 | 99.9211
2328 | 99.9087
2327 | 99.8958
2326 | 99.8838
2325 | 99.866
2324 | 99.8392
2323 | 99.8034
2322 | 99.7662
2321 | 99.7333
2320 | 99.7061
2319 | 99.6854
2318 | 99.6705
2317 | 99.6603
2316 | 99.6502
2315 | 99.6367
2314 | 99.6174
2313 | 99.592
2312 | 99.5621
2311 | 99.5317
2310 | 99.5044
2309 | 99.4807
2308 | 99.4594
2307 | 99.4397
2306 | 99.4217
2305 | 99.4049
2304 | 99.3886
2303 | 99.3738
2302 | 99.3614
2301 | 99.3499
2300 | 99.336
2299 | 99.318
2298 | 99.2975
2297 | 99.2772
2296 | 99.2586
2295 | 99.2414
2294 | 99.2248
2293 | 99.2075
2292 | 99.1886
2291 | 99.1674
2290 | 99.1434
2289 | 99.1159
2288 | 99.0849
2287 | 99.0525
2286 | 99.0213
2285 | 98.992
2284 | 98.9639
2283 | 98.9366
2282 | 98.9105
2281 | 98.8851
2280 | 98.8585
2279 | 98.8299
2278 | 98.8008
2277 | 98.7735
2276 | 98.7492
2275 | 98.7276
2274 | 98.7077
2273 | 98.6882
2272 | 98.6685
2271 | 98.6482
2270 | 98.6274
2269 | 98.6061
2268 | 98.5852
2267 | 98.5657
2266 | 98.5473
2265 | 98.5283
2264 | 98.5084
2263 | 98.4898
2262 | 98.474
2261 | 98.4581
2260 | 98.438
2259 | 98.4137
2258 | 98.389
2257 | 98.3669
2256 | 98.3467
2255 | 98.3278
2254 | 98.3122
2253 | 98.3013
2252 | 98.2937
2251 | 98.2858
2250 | 98.2751
2249 | 98.2611
2248 | 98.2451
2247 | 98.2292
2246 | 98.2146
2245 | 98.2
2244 | 98.1831
2243 | 98.1637
2242 | 98.1444
2241 | 98.1275
2240 | 98.1129
2239 | 98.0994
2238 | 98.0866
2237 | 98.0738
2236 | 98.06
2235 | 98.0446
2234 | 98.0285
2233 | 98.0128
2232 | 97.998
2231 | 97.9847
2230 | 97.9727
2229 | 97.9609
2228 | 97.9473
2227 | 97.9319
2226 | 97.9169
2225 | 97.9041
2224 | 97.893
2223 | 97.8817
2222 | 97.8685
2221 | 97.8531
2220 | 97.8356
2219 | 97.8175
2218 | 97.8009
2217 | 97.7868
2216 | 97.7746
2215 | 97.7635
2214 | 97.7528
2213 | 97.742
2212 | 97.7313
2211 | 97.7217
2210 | 97.7133
2209 | 97.7035
2208 | 97.6899
2207 | 97.6748
2206 | 97.6633
2205 | 97.6561
2204 | 97.6483
2203 | 97.635
2202 | 97.6175
2201 | 97.5998
2200 | 97.5841
2199 | 97.5704
2198 | 97.559
2197 | 97.5498
2196 | 97.5412
2195 | 97.5309
2194 | 97.5177
2193 | 97.5014
2192 | 97.4811
2191 | 97.4564
2190 | 97.4288
2189 | 97.4018
2188 | 97.3783
2187 | 97.3585
2186 | 97.3406
2185 | 97.3217
2184 | 97.3
2183 | 97.278
2182 | 97.2609
2181 | 97.2519
2180 | 97.2497
2179 | 97.2506
2178 | 97.2518
2177 | 97.2517
2176 | 97.2494
2175 | 97.2447
2174 | 97.2394
2173 | 97.2353
2172 | 97.2305
2171 | 97.2204
2170 | 97.2003
2169 | 97.1695
2168 | 97.1323
2167 | 97.0944
2166 | 97.0572
2165 | 97.0165
2164 | 96.9658
2163 | 96.9034
2162 | 96.8347
2161 | 96.7713
2160 | 96.7295
2159 | 96.7253
2158 | 96.7645
2157 | 96.8367
2156 | 96.9225
2155 | 97.0079
2154 | 97.0882
2153 | 97.1622
2152 | 97.2283
2151 | 97.2867
2150 | 97.3396
2149 | 97.3876
2148 | 97.4307
2147 | 97.472
2146 | 97.5165
2145 | 97.5657
2144 | 97.617
2143 | 97.6685
2142 | 97.7201
2141 | 97.7699
2140 | 97.8147
2139 | 97.8544
2138 | 97.8927
2137 | 97.9329
2136 | 97.9779
2135 | 98.0314
2134 | 98.0961
2133 | 98.1684
2132 | 98.2398
2131 | 98.3042
2130 | 98.3611
2129 | 98.4111
2128 | 98.4548
2127 | 98.4941
2126 | 98.5312
2125 | 98.5657
2124 | 98.5952
2123 | 98.6198
2122 | 98.6416
2121 | 98.6608
2120 | 98.6756
2119 | 98.6853
2118 | 98.6922
2117 | 98.6981
2116 | 98.7033
2115 | 98.7072
2114 | 98.7088
2113 | 98.7064
2112 | 98.6997
2111 | 98.6919
2110 | 98.6876
2109 | 98.6879
2108 | 98.6901
2107 | 98.6914
2106 | 98.6912
2105 | 98.6895
2104 | 98.6862
2103 | 98.6822
2102 | 98.6783
2101 | 98.674
2100 | 98.6695
2099 | 98.6678
2098 | 98.6722
2097 | 98.6814
2096 | 98.6913
2095 | 98.7
2094 | 98.7099
2093 | 98.7221
2092 | 98.7349
2091 | 98.7454
2090 | 98.7525
2089 | 98.7564
2088 | 98.7573
2087 | 98.7556
2086 | 98.7508
2085 | 98.7414
2084 | 98.7279
2083 | 98.7143
2082 | 98.7049
2081 | 98.6987
2080 | 98.6908
2079 | 98.6778
2078 | 98.6595
2077 | 98.6373
2076 | 98.6138
2075 | 98.5931
2074 | 98.5783
2073 | 98.5672
2072 | 98.5552
2071 | 98.5413
2070 | 98.5272
2069 | 98.5123
2068 | 98.4939
2067 | 98.4727
2066 | 98.4531
2065 | 98.4373
2064 | 98.4237
2063 | 98.4111
2062 | 98.4009
2061 | 98.3932
2060 | 98.385
2059 | 98.3736
2058 | 98.3583
2057 | 98.339
2056 | 98.3157
2055 | 98.2905
2054 | 98.2644
2053 | 98.2319
2052 | 98.185
2051 | 98.1228
2050 | 98.0556
2049 | 97.9953
2048 | 97.9457
2047 | 97.9044
2046 | 97.8693
2045 | 97.8394
2044 | 97.8121
2043 | 97.7849
2042 | 97.7581
2041 | 97.7322
2040 | 97.7041
2039 | 97.6708
2038 | 97.6329
2037 | 97.5943
2036 | 97.5586
2035 | 97.5293
2034 | 97.5101
2033 | 97.5018
2032 | 97.4999
2031 | 97.4987
2030 | 97.497
2029 | 97.4967
2028 | 97.4993
2027 | 97.5053
2026 | 97.5141
2025 | 97.5227
2024 | 97.5282
2023 | 97.5324
2022 | 97.5406
2021 | 97.5542
2020 | 97.5695
2019 | 97.5848
2018 | 97.6014
2017 | 97.618
2016 | 97.6287
2015 | 97.632
2014 | 97.6347
2013 | 97.6435
2012 | 97.6572
2011 | 97.6712
2010 | 97.6851
2009 | 97.7011
2008 | 97.7202
2007 | 97.7441
2006 | 97.7774
2005 | 97.8205
2004 | 97.8665
2003 | 97.9077
2002 | 97.9439
2001 | 97.9782
2000 | 98.0099
1999 | 98.0356
1998 | 98.0543
1997 | 98.0676
1996 | 98.0772
1995 | 98.0842
1994 | 98.0899
1993 | 98.0943
1992 | 98.0953
1991 | 98.092
1990 | 98.0855
1989 | 98.0761
1988 | 98.0631
1987 | 98.0471
1986 | 98.0302
1985 | 98.0127
1984 | 97.9915
1983 | 97.9629
1982 | 97.9245
1981 | 97.8748
1980 | 97.8154
1979 | 97.7563
1978 | 97.7133
1977 | 97.697
1976 | 97.7058
1975 | 97.7307
1974 | 97.7636
1973 | 97.7978
1972 | 97.8294
1971 | 97.8586
1970 | 97.8889
1969 | 97.9214
1968 | 97.9541
1967 | 97.986
1966 | 98.0189
1965 | 98.0524
1964 | 98.0836
1963 | 98.1114
1962 | 98.1402
1961 | 98.176
1960 | 98.2219
1959 | 98.2765
1958 | 98.3348
1957 | 98.39
1956 | 98.4377
1955 | 98.4786
1954 | 98.5151
1953 | 98.5487
1952 | 98.5806
1951 | 98.614
1950 | 98.6511
1949 | 98.6899
1948 | 98.7255
1947 | 98.7556
1946 | 98.7825
1945 | 98.811
1944 | 98.8456
1943 | 98.8868
1942 | 98.9277
1941 | 98.959
1940 | 98.98
1939 | 98.9995
1938 | 99.0249
1937 | 99.055
1936 | 99.0857
1935 | 99.117
1934 | 99.1506
1933 | 99.1836
1932 | 99.2125
1931 | 99.2392
1930 | 99.2691
1929 | 99.3023
1928 | 99.3336
1927 | 99.36
1926 | 99.3836
1925 | 99.4089
1924 | 99.4378
1923 | 99.4678
1922 | 99.4926
1921 | 99.508
1920 | 99.518
1919 | 99.5326
1918 | 99.5568
1917 | 99.5829
1916 | 99.6005
1915 | 99.6108
1914 | 99.6224
1913 | 99.6385
1912 | 99.6562
1911 | 99.6738
1910 | 99.6918
1909 | 99.7082
1908 | 99.7204
1907 | 99.7307
1906 | 99.7437
1905 | 99.7589
1904 | 99.7716
1903 | 99.7812
1902 | 99.7926
1901 | 99.8071
1900 | 99.8215
1899 | 99.8341
1898 | 99.847
1897 | 99.8608
1896 | 99.8736
1895 | 99.8849
1894 | 99.8969
1893 | 99.9092
1892 | 99.9209
1891 | 99.9349
1890 | 99.9544
1889 | 99.9758
1888 | 99.9914
1887 | 100.0016
1886 | 100.0124
1885 | 100.0255
1884 | 100.0375
1883 | 100.0467
1882 | 100.0558
1881 | 100.0652
1880 | 100.0726
1879 | 100.0796
1878 | 100.0899
1877 | 100.1032
1876 | 100.116
1875 | 100.1269
1874 | 100.1375
1873 | 100.1463
1872 | 100.1502
1871 | 100.1527
1870 | 100.1641
1869 | 100.188
1868 | 100.2135
1867 | 100.2297
1866 | 100.2381
1865 | 100.2433
1864 | 100.2457
1863 | 100.2471
1862 | 100.2516
1861 | 100.2607
1860 | 100.2711
1859 | 100.2808
1858 | 100.2919
1857 | 100.3048
1856 | 100.3162
1855 | 100.3253
1854 | 100.3351
1853 | 100.345
1852 | 100.3505
1851 | 100.3518
1850 | 100.3538
1849 | 100.3587
1848 | 100.3642
1847 | 100.3701
1846 | 100.3812
1845 | 100.4007
1844 | 100.424
1843 | 100.4414
1842 | 100.4489
1841 | 100.4503
1840 | 100.4524
1839 | 100.4594
1838 | 100.4709
1837 | 100.4824
1836 | 100.4898
1835 | 100.4935
1834 | 100.4953
1833 | 100.495
1832 | 100.4955
1831 | 100.5061
1830 | 100.5284
1829 | 100.5482
1828 | 100.5526
1827 | 100.5465
1826 | 100.5435
1825 | 100.5509
1824 | 100.5642
1823 | 100.5751
1822 | 100.5816
1821 | 100.5858
1820 | 100.5902
1819 | 100.5972
1818 | 100.6096
1817 | 100.6275
1816 | 100.6456
1815 | 100.6578
1814 | 100.6644
1813 | 100.6702
1812 | 100.6796
1811 | 100.6917
1810 | 100.7031
1809 | 100.7115
1808 | 100.7156
1807 | 100.7163
1806 | 100.7162
1805 | 100.7162
1804 | 100.7143
1803 | 100.7114
1802 | 100.7128
1801 | 100.7207
1800 | 100.7306
1799 | 100.7363
1798 | 100.7376
1797 | 100.7365
1796 | 100.7325
1795 | 100.7268
1794 | 100.7236
1793 | 100.7281
1792 | 100.7403
1791 | 100.7526
1790 | 100.7596
1789 | 100.7605
1788 | 100.7554
1787 | 100.7476
1786 | 100.7434
1785 | 100.7451
1784 | 100.747
1783 | 100.7452
1782 | 100.7432
1781 | 100.7431
1780 | 100.7433
1779 | 100.7415
1778 | 100.7379
1777 | 100.7341
1776 | 100.7312
1775 | 100.7317
1774 | 100.7355
1773 | 100.7394
1772 | 100.7377
1771 | 100.7248
1770 | 100.7025
1769 | 100.6801
1768 | 100.6633
1767 | 100.6511
1766 | 100.6369
1765 | 100.6167
1764 | 100.5922
1763 | 100.5689
1762 | 100.5494
1761 | 100.5295
1760 | 100.5049
1759 | 100.4771
1758 | 100.4499
1757 | 100.4241
1756 | 100.399
1755 | 100.3754
1754 | 100.3519
1753 | 100.3252
1752 | 100.2954
1751 | 100.268
1750 | 100.2441
1749 | 100.2185
1748 | 100.1905
1747 | 100.1655
1746 | 100.1427
1745 | 100.1173
1744 | 100.0914
1743 | 100.07
1742 | 100.0526
1741 | 100.0354
1740 | 100.018
1739 | 100.0022
1738 | 99.9873
1737 | 99.9751
1736 | 99.9682
1735 | 99.9706
1734 | 99.9829
1733 | 99.9855
1732 | 99.965
1731 | 99.9392
1730 | 99.9269
1729 | 99.926
1728 | 99.927
1727 | 99.9286
1726 | 99.9313
1725 | 99.9335
1724 | 99.9359
1723 | 99.94
1722 | 99.9449
1721 | 99.9497
1720 | 99.9582
1719 | 99.9781
1718 | 100.0091
1717 | 100.0335
1716 | 100.033
1715 | 100.0153
1714 | 100.0017
1713 | 99.9977
1712 | 99.9942
1711 | 99.9869
1710 | 99.9793
1709 | 99.9698
1708 | 99.9537
1707 | 99.9341
1706 | 99.9168
1705 | 99.8992
1704 | 99.8754
1703 | 99.8483
1702 | 99.8153
1701 | 99.77
1700 | 99.7266
1699 | 99.6982
1698 | 99.6814
1697 | 99.6583
1696 | 99.5985
1695 | 99.4986
1694 | 99.3887
1693 | 99.2872
1692 | 99.1912
1691 | 99.0901
1690 | 98.977
1689 | 98.8614
1688 | 98.7655
1687 | 98.7009
1686 | 98.6438
1685 | 98.5534
1684 | 98.4215
1683 | 98.3004
1682 | 98.2368
1681 | 98.2161
1680 | 98.2107
1679 | 98.2092
1678 | 98.2069
1677 | 98.1968
1676 | 98.1714
1675 | 98.1376
1674 | 98.1059
1673 | 98.0759
1672 | 98.0427
1671 | 98.002
1670 | 97.9494
1669 | 97.8851
1668 | 97.8216
1667 | 97.773
1666 | 97.7367
1665 | 97.699
1664 | 97.649
1663 | 97.5888
1662 | 97.5299
1661 | 97.4773
1660 | 97.4302
1659 | 97.3896
1658 | 97.3563
1657 | 97.3348
1656 | 97.3335
1655 | 97.3485
1654 | 97.3511
1653 | 97.3053
1652 | 97.2293
1651 | 97.1672
1650 | 97.1276
1649 | 97.1133
1648 | 97.1114
1647 | 97.1
1646 | 97.0783
1645 | 97.0585
1644 | 97.0426
1643 | 97.0298
1642 | 97.024
1641 | 97.0197
1640 | 97.0123
1639 | 97.0088
1638 | 97.0154
1637 | 97.02
1636 | 96.9971
1635 | 96.948
1634 | 96.9027
1633 | 96.8707
1632 | 96.8402
1631 | 96.8025
1630 | 96.7505
1629 | 96.6748
1628 | 96.5708
1627 | 96.452
1626 | 96.3362
1625 | 96.2186
1624 | 96.083
1623 | 95.9419
1622 | 95.8412
1621 | 95.8089
1620 | 95.8398
1619 | 95.9249
1618 | 96.0596
1617 | 96.2271
1616 | 96.3899
1615 | 96.5235
1614 | 96.6392
1613 | 96.7521
1612 | 96.8609
1611 | 96.9599
1610 | 97.0492
1609 | 97.1274
1608 | 97.1894
1607 | 97.2368
1606 | 97.2766
1605 | 97.3107
1604 | 97.3374
1603 | 97.3574
1602 | 97.3729
1601 | 97.3835
1600 | 97.3871
1599 | 97.3855
1598 | 97.3827
1597 | 97.381
1596 | 97.3814
1595 | 97.388
1594 | 97.4068
1593 | 97.4387
1592 | 97.4812
1591 | 97.5353
1590 | 97.604
1589 | 97.6848
1588 | 97.7708
1587 | 97.8586
1586 | 97.9489
1585 | 98.0387
1584 | 98.1233
1583 | 98.2049
1582 | 98.2861
1581 | 98.3633
1580 | 98.4357
1579 | 98.5118
1578 | 98.5973
1577 | 98.6844
1576 | 98.7541
1575 | 98.7928
1574 | 98.8076
1573 | 98.8162
1572 | 98.83
1571 | 98.8488
1570 | 98.871
1569 | 98.8909
1568 | 98.9044
1567 | 98.9154
1566 | 98.9264
1565 | 98.9369
1564 | 98.9494
1563 | 98.9677
1562 | 98.9907
1561 | 98.9969
1560 | 98.9833
1559 | 98.979
1558 | 98.9808
1557 | 98.9833
1556 | 98.9897
1555 | 99.0003
1554 | 99.0116
1553 | 99.015
1552 | 99.0138
1551 | 99.0168
1550 | 99.0295
1549 | 99.0485
1548 | 99.0652
1547 | 99.0748
1546 | 99.0794
1545 | 99.0872
1544 | 99.1057
1543 | 99.1356
1542 | 99.1753
1541 | 99.2281
1540 | 99.2841
1539 | 99.321
1538 | 99.3311
1537 | 99.3219
1536 | 99.3103
1535 | 99.3103
1534 | 99.3253
1533 | 99.3497
1532 | 99.3727
1531 | 99.3883
1530 | 99.3952
1529 | 99.3962
1528 | 99.3953
1527 | 99.3943
1526 | 99.3929
1525 | 99.3907
1524 | 99.3886
1523 | 99.383
1522 | 99.3639
1521 | 99.3261
1520 | 99.276
1519 | 99.2215
1518 | 99.165
1517 | 99.1077
1516 | 99.0548
1515 | 99.0115
1514 | 98.9732
1513 | 98.93
1512 | 98.8794
1511 | 98.8263
1510 | 98.7791
1509 | 98.7444
1508 | 98.7284
1507 | 98.7257
1506 | 98.7234
1505 | 98.7238
1504 | 98.7255
1503 | 98.7292
1502 | 98.7432
1501 | 98.7684
1500 | 98.8065
1499 | 98.8612
1498 | 98.9312
1497 | 99.011
1496 | 99.0912
1495 | 99.1567
1494 | 99.1997
1493 | 99.2253
1492 | 99.2428
1491 | 99.2628
1490 | 99.2908
1489 | 99.321
1488 | 99.3438
1487 | 99.3548
1486 | 99.356
1485 | 99.3479
1484 | 99.3287
1483 | 99.3002
1482 | 99.2637
1481 | 99.2202
1480 | 99.1717
1479 | 99.118
1478 | 99.0548
1477 | 98.9794
1476 | 98.896
1475 | 98.8072
1474 | 98.7023
1473 | 98.5672
1472 | 98.4148
1471 | 98.2771
1470 | 98.1638
1469 | 98.0636
1468 | 97.9673
1467 | 97.8705
1466 | 97.7694
1465 | 97.666
1464 | 97.5765
1463 | 97.5157
1462 | 97.478
1461 | 97.4526
1460 | 97.4362
1459 | 97.4254
1458 | 97.4047
1457 | 97.3664
1456 | 97.3338
1455 | 97.3244
1454 | 97.3297
1453 | 97.345
1452 | 97.3688
1451 | 97.3957
1450 | 97.4214
1449 | 97.4468
1448 | 97.4753
1447 | 97.507
1446 | 97.5383
1445 | 97.5655
1444 | 97.5883
1443 | 97.6042
1442 | 97.6091
1441 | 97.6035
1440 | 97.592
1439 | 97.5723
1438 | 97.5301
1437 | 97.4582
1436 | 97.3744
1435 | 97.3016
1434 | 97.2388
1433 | 97.1739
1432 | 97.1004
1431 | 97.0198
1430 | 96.9371
1429 | 96.8598
1428 | 96.798
1427 | 96.7551
1426 | 96.7241
1425 | 96.6973
1424 | 96.6815
1423 | 96.6887
1422 | 96.716
1421 | 96.7502
1420 | 96.7866
1419 | 96.8329
1418 | 96.8898
1417 | 96.956
1416 | 97.0352
1415 | 97.1231
1414 | 97.2071
1413 | 97.2803
1412 | 97.3474
1411 | 97.4124
1410 | 97.4713
1409 | 97.5209
1408 | 97.5635
1407 | 97.6007
1406 | 97.6324
1405 | 97.6603
1404 | 97.6901
1403 | 97.7225
1402 | 97.7511
1401 | 97.7721
1400 | 97.7894
1399 | 97.808
1398 | 97.8275
1397 | 97.8464
1396 | 97.8657
1395 | 97.8853
1394 | 97.9014
1393 | 97.9108
1392 | 97.9146
1391 | 97.9128
1390 | 97.9012
1389 | 97.8754
1388 | 97.8354
1387 | 97.7861
1386 | 97.7341
1385 | 97.6817
1384 | 97.6257
1383 | 97.5612
1382 | 97.4869
1381 | 97.4069
1380 | 97.3266
1379 | 97.2507
1378 | 97.1822
1377 | 97.1202
1376 | 97.0588
1375 | 96.9932
1374 | 96.9261
1373 | 96.8677
1372 | 96.8265
1371 | 96.8022
1370 | 96.7902
1369 | 96.7867
1368 | 96.7905
1367 | 96.8013
1366 | 96.8154
1365 | 96.8282
1364 | 96.839
1363 | 96.8529
1362 | 96.8783
1361 | 96.9191
1360 | 96.9711
1359 | 97.0262
1358 | 97.0775
1357 | 97.1214
1356 | 97.1582
1355 | 97.1894
1354 | 97.2154
1353 | 97.2351
1352 | 97.2472
1351 | 97.2501
1350 | 97.2423
1349 | 97.2221
1348 | 97.1887
1347 | 97.1422
1346 | 97.0836
1345 | 97.0144
1344 | 96.9376
1343 | 96.855
1342 | 96.7658
1341 | 96.6686
1340 | 96.5669
1339 | 96.4706
1338 | 96.3883
1337 | 96.321
1336 | 96.266
1335 | 96.2216
1334 | 96.1876
1333 | 96.1625
1332 | 96.1444
1331 | 96.1315
1330 | 96.1214
1329 | 96.1104
1328 | 96.0945
1327 | 96.0707
1326 | 96.0362
1325 | 95.9885
1324 | 95.9288
1323 | 95.862
1322 | 95.7932
1321 | 95.7249
1320 | 95.6602
1319 | 95.6058
1318 | 95.5694
1317 | 95.556
1316 | 95.5674
1315 | 95.6037
1314 | 95.6641
1313 | 95.7467
1312 | 95.849
1311 | 95.9677
1310 | 96.0977
1309 | 96.2344
1308 | 96.3748
1307 | 96.5167
1306 | 96.6575
1305 | 96.7943
1304 | 96.9258
1303 | 97.0509
1302 | 97.1677
1301 | 97.2741
1300 | 97.3698
1299 | 97.455
1298 | 97.5287
1297 | 97.5898
1296 | 97.6392
1295 | 97.6787
1294 | 97.7096
1293 | 97.7334
1292 | 97.7517
1291 | 97.7656
1290 | 97.7745
1289 | 97.7767
1288 | 97.7717
1287 | 97.7601
1286 | 97.7413
1285 | 97.7149
1284 | 97.6822
1283 | 97.6467
1282 | 97.6116
1281 | 97.5786
1280 | 97.5478
1279 | 97.5175
1278 | 97.4855
1277 | 97.4499
1276 | 97.4114
1275 | 97.3722
1274 | 97.3348
1273 | 97.3009
1272 | 97.2718
1271 | 97.2483
1270 | 97.2291
1269 | 97.2122
1268 | 97.1967
1267 | 97.1821
1266 | 97.1673
1265 | 97.1504
1264 | 97.1315
1263 | 97.1122
1262 | 97.0937
1261 | 97.076
1260 | 97.0597
1259 | 97.0454
1258 | 97.0319
1257 | 97.0168
1256 | 96.9985
1255 | 96.9763
1254 | 96.9493
1253 | 96.9165
1252 | 96.8782
1251 | 96.8361
1250 | 96.7912
1249 | 96.744
1248 | 96.6967
1247 | 96.6537
1246 | 96.6181
1245 | 96.5906
1244 | 96.5706
1243 | 96.5574
1242 | 96.5486
1241 | 96.5413
1240 | 96.5344
1239 | 96.5289
1238 | 96.5255
1237 | 96.5237
1236 | 96.5241
1235 | 96.5283
1234 | 96.5374
1233 | 96.5517
1232 | 96.5714
1231 | 96.5976
1230 | 96.63
1229 | 96.6672
1228 | 96.7087
1227 | 96.7547
1226 | 96.8042
1225 | 96.8554
1224 | 96.9082
1223 | 96.9634
1222 | 97.0206
1221 | 97.0778
1220 | 97.1342
1219 | 97.1895
1218 | 97.2426
1217 | 97.2913
1216 | 97.3338
1215 | 97.3689
1214 | 97.3941
1213 | 97.4055
1212 | 97.4002
1211 | 97.3777
1210 | 97.3402
1209 | 97.2932
1208 | 97.2458
1207 | 97.2074
1206 | 97.1835
1205 | 97.1743
1204 | 97.1779
1203 | 97.1933
1202 | 97.219
1201 | 97.2536
1200 | 97.2964
1199 | 97.3469
1198 | 97.4018
1197 | 97.4554
1196 | 97.5027
1195 | 97.5403
1194 | 97.566
1193 | 97.5776
1192 | 97.5737
1191 | 97.5528
1190 | 97.5132
1189 | 97.4537
1188 | 97.3749
1187 | 97.2786
1186 | 97.1658
1185 | 97.0362
1184 | 96.8896
1183 | 96.7267
1182 | 96.5477
1181 | 96.3507
1180 | 96.1343
1179 | 95.899
1178 | 95.6451
1177 | 95.3699
1176 | 95.07
1175 | 94.745
1174 | 94.3972
1173 | 94.0292
1172 | 93.6432
1171 | 93.2433
1170 | 92.835
1169 | 92.4248
1168 | 92.022
1167 | 91.6384
1166 | 91.2834
1165 | 90.9617
1164 | 90.6774
1163 | 90.4348
1162 | 90.2329
1161 | 90.0635
1160 | 89.9192
1159 | 89.7965
1158 | 89.6902
1157 | 89.5908
1156 | 89.4928
1155 | 89.3969
1154 | 89.3013
1153 | 89.1991
1152 | 89.0862
1151 | 88.9652
1150 | 88.8377
1149 | 88.7004
1148 | 88.5536
1147 | 88.4043
1146 | 88.2571
1145 | 88.1091
1144 | 87.9584
1143 | 87.8083
1142 | 87.6587
1141 | 87.5018
1140 | 87.3325
1139 | 87.1532
1138 | 86.9641
1137 | 86.7589
1136 | 86.5346
1135 | 86.2979
1134 | 86.0556
1133 | 85.8067
1132 | 85.5515
1131 | 85.2954
1130 | 85.0393
1129 | 84.7755
1128 | 84.5017
1127 | 84.2291
1126 | 83.9693
1125 | 83.725
1124 | 83.4991
1123 | 83.2993
1122 | 83.1257
1121 | 82.9631
1120 | 82.7954
1119 | 82.6169
1118 | 82.4228
1117 | 82.2043
1116 | 81.9628
1115 | 81.7156
1114 | 81.4819
1113 | 81.2709
1112 | 81.0919
1111 | 80.959
1110 | 80.8766
1109 | 80.8335
1108 | 80.8201
1107 | 80.8379
1106 | 80.8869
1105 | 80.9588
1104 | 81.0512
1103 | 81.172
1102 | 81.3231
1101 | 81.4928
1100 | 81.6717
1099 | 81.8605
1098 | 82.0584
1097 | 82.2556
1096 | 82.4461
1095 | 82.6331
1094 | 82.8167
1093 | 82.9888
1092 | 83.1461
1091 | 83.2943
1090 | 83.4365
1089 | 83.5677
1088 | 83.6861
1087 | 83.7968
1086 | 83.8994
1085 | 83.9832
1084 | 84.0409
1083 | 84.0744
1082 | 84.084
1081 | 84.0644
1080 | 84.0172
1079 | 83.9558
1078 | 83.8915
1077 | 83.8253
1076 | 83.757
1075 | 83.69
1074 | 83.622
1073 | 83.541
1072 | 83.4386
1071 | 83.3142
1070 | 83.1642
1069 | 82.9761
1068 | 82.7415
1067 | 82.4642
1066 | 82.1509
1065 | 81.8049
1064 | 81.4371
1063 | 81.071
1062 | 80.7294
1061 | 80.4242
1060 | 80.1651
1059 | 79.9625
1058 | 79.8157
1057 | 79.7102
1056 | 79.636
1055 | 79.5956
1054 | 79.5886
1053 | 79.6031
1052 | 79.6293
1051 | 79.6694
1050 | 79.724
1049 | 79.784
1048 | 79.8417
1047 | 79.8972
1046 | 79.9463
1045 | 79.9753
1044 | 79.974
1043 | 79.9425
1042 | 79.8804
1041 | 79.7821
1040 | 79.6489
1039 | 79.495
1038 | 79.3352
1037 | 79.1777
1036 | 79.0342
1035 | 78.9227
1034 | 78.8548
1033 | 78.8289
1032 | 78.8417
1031 | 78.895
1030 | 78.9862
1029 | 79.1051
1028 | 79.2448
1027 | 79.4055
1026 | 79.5841
1025 | 79.7712
1024 | 79.9628
1023 | 80.1631
1022 | 80.3734
1021 | 80.5875
1020 | 80.8029
1019 | 81.0249
1018 | 81.2551
1017 | 81.4867
1016 | 81.7138
1015 | 81.9357
1014 | 82.1485
1013 | 82.3415
1012 | 82.505
1011 | 82.6352
1010 | 82.7292
1009 | 82.7835
1008 | 82.8007
1007 | 82.7944
1006 | 82.7843
1005 | 82.7929
1004 | 82.8441
1003 | 82.9542
1002 | 83.1203
1001 | 83.3237
1000 | 83.5465
999 | 83.7791
998 | 84.0126
997 | 84.2339
996 | 84.4332
995 | 84.6081
994 | 84.7578
993 | 84.8794
992 | 84.9734
991 | 85.0449
990 | 85.0983
989 | 85.1369
988 | 85.1704
987 | 85.2182
986 | 85.301
985 | 85.4347
984 | 85.6311
983 | 85.8969
982 | 86.2265
981 | 86.6016
980 | 87.0017
979 | 87.4105
978 | 87.814
977 | 88.2005
976 | 88.5637
975 | 88.9037
974 | 89.2211
973 | 89.5144
972 | 89.7839
971 | 90.0338
970 | 90.2681
969 | 90.489
968 | 90.6991
967 | 90.9025
966 | 91.102
965 | 91.2982
964 | 91.4924
963 | 91.6876
962 | 91.8844
961 | 92.0805
960 | 92.2749
959 | 92.4688
958 | 92.6632
957 | 92.8571
956 | 93.0508
955 | 93.245
954 | 93.4385
953 | 93.6275
952 | 93.8102
951 | 93.9874
950 | 94.1585
949 | 94.3213
948 | 94.4746
947 | 94.6203
946 | 94.7589
945 | 94.8885
944 | 95.0073
943 | 95.1156
942 | 95.2145
941 | 95.3043
940 | 95.3858
939 | 95.4606
938 | 95.5289
937 | 95.5889
936 | 95.6396
935 | 95.683
934 | 95.7213
933 | 95.7566
932 | 95.79
931 | 95.8229
930 | 95.8542
929 | 95.882
928 | 95.9058
927 | 95.927
926 | 95.9462
925 | 95.9622
924 | 95.9746
923 | 95.9853
922 | 95.9954
921 | 96.0035
920 | 96.0072
919 | 96.0053
918 | 95.9975
917 | 95.983
916 | 95.9617
915 | 95.9351
914 | 95.9043
913 | 95.8699
912 | 95.8327
911 | 95.7935
910 | 95.7504
909 | 95.6992
908 | 95.6366
907 | 95.5625
906 | 95.4776
905 | 95.3822
904 | 95.2781
903 | 95.1712
902 | 95.0692
901 | 94.9782
900 | 94.903
899 | 94.8486
898 | 94.8192
897 | 94.8174
896 | 94.8436
895 | 94.8962
894 | 94.9705
893 | 95.0604
892 | 95.1617
891 | 95.2716
890 | 95.3865
889 | 95.5013
888 | 95.6121
887 | 95.7174
886 | 95.8163
885 | 95.9071
884 | 95.9891
883 | 96.0619
882 | 96.1243
881 | 96.1747
880 | 96.2148
879 | 96.2496
878 | 96.2833
877 | 96.3172
876 | 96.3513
875 | 96.388
874 | 96.4302
873 | 96.4788
872 | 96.5315
871 | 96.5827
870 | 96.627
869 | 96.6622
868 | 96.6903
867 | 96.7137
866 | 96.7322
865 | 96.7441
864 | 96.7495
863 | 96.7503
862 | 96.7469
861 | 96.7393
860 | 96.7293
859 | 96.7194
858 | 96.7099
857 | 96.6986
856 | 96.6846
855 | 96.6687
854 | 96.6522
853 | 96.6365
852 | 96.6232
851 | 96.6118
850 | 96.5976
849 | 96.5758
848 | 96.547
847 | 96.5156
846 | 96.4829
845 | 96.4471
844 | 96.4083
843 | 96.3685
842 | 96.3278
841 | 96.2839
840 | 96.2372
839 | 96.1929
838 | 96.1553
837 | 96.1251
836 | 96.1014
835 | 96.0836
834 | 96.0691
833 | 96.0545
832 | 96.0397
831 | 96.0277
830 | 96.0195
829 | 96.0132
828 | 96.0081
827 | 96.006
826 | 96.0056
825 | 96.0019
824 | 95.9926
823 | 95.9806
822 | 95.9687
821 | 95.9559
820 | 95.9415
819 | 95.9267
818 | 95.9117
817 | 95.8944
816 | 95.8749
815 | 95.8566
814 | 95.8412
813 | 95.8268
812 | 95.812
811 | 95.7983
810 | 95.7852
809 | 95.7696
808 | 95.7506
807 | 95.7311
806 | 95.7125
805 | 95.6925
804 | 95.6694
803 | 95.6448
802 | 95.6193
801 | 95.5914
800 | 95.5618
799 | 95.5344
798 | 95.5105
797 | 95.4873
796 | 95.4623
795 | 95.437
794 | 95.4124
793 | 95.3867
792 | 95.3598
791 | 95.3339
790 | 95.3087
789 | 95.2797
788 | 95.2446
787 | 95.206
786 | 95.1663
785 | 95.1251
784 | 95.0827
783 | 95.0417
782 | 95.0027
781 | 94.963
780 | 94.922
779 | 94.8833
778 | 94.8486
777 | 94.8151
776 | 94.78
775 | 94.7437
774 | 94.7059
773 | 94.6638
772 | 94.617
771 | 94.5688
770 | 94.5204
769 | 94.4694
768 | 94.4155
767 | 94.3625
766 | 94.3111
765 | 94.2573
764 | 94.1994
763 | 94.1414
762 | 94.0858
761 | 94.0302
760 | 93.9734
759 | 93.9185
758 | 93.8664
757 | 93.8135
756 | 93.7576
755 | 93.7024
754 | 93.6497
753 | 93.5958
752 | 93.5379
751 | 93.4788
750 | 93.4204
749 | 93.3605
748 | 93.298
747 | 93.2364
746 | 93.1772
745 | 93.1163
744 | 93.0526
743 | 92.9901
742 | 92.9306
741 | 92.8694
740 | 92.8044
739 | 92.7397
738 | 92.6776
737 | 92.6129
736 | 92.5415
735 | 92.4665
734 | 92.3907
733 | 92.3101
732 | 92.2217
731 | 92.1295
730 | 92.0375
729 | 91.9434
728 | 91.8452
727 | 91.7452
726 | 91.6432
725 | 91.5349
724 | 91.4211
723 | 91.3083
722 | 91.196
721 | 91.076
720 | 90.9498
719 | 90.8335
718 | 90.7358
717 | 90.6458
716 | 90.55
715 | 90.4497
714 | 90.3521
713 | 90.2581
712 | 90.1671
711 | 90.0835
710 | 90.0079
709 | 89.9327
708 | 89.8539
707 | 89.7795
706 | 89.714
705 | 89.6504
704 | 89.5844
703 | 89.5231
702 | 89.4702
701 | 89.4162
700 | 89.3543
699 | 89.2933
698 | 89.2413
697 | 89.1915
696 | 89.137
695 | 89.0827
694 | 89.0328
693 | 88.9782
692 | 88.9128
691 | 88.846
690 | 88.7834
689 | 88.7115
688 | 88.6185
687 | 88.5125
686 | 88.4011
685 | 88.2732
684 | 88.1189
683 | 87.9445
682 | 87.7493
681 | 87.5105
680 | 87.2132
679 | 86.8697
678 | 86.4888
677 | 86.0559
676 | 85.5664
675 | 85.0407
674 | 84.4952
673 | 83.944
672 | 83.4342
671 | 83.017
670 | 82.6861
669 | 82.3561
668 | 81.9688
667 | 81.7229
666 | 81.7947
665 | 82.0562
664 | 82.3779
663 | 82.7135
662 | 83.0393
661 | 83.3362
660 | 83.6018
659 | 83.8431
658 | 84.0606
657 | 84.2493
656 | 84.4109
655 | 84.5521
654 | 84.6749
653 | 84.7765
652 | 84.8568
651 | 84.9202
650 | 84.9683
649 | 84.9968
648 | 85.0043
647 | 84.996
646 | 84.9759
645 | 84.9433
644 | 84.9032
643 | 84.8716
642 | 84.8592
641 | 84.8588
640 | 84.8603
639 | 84.8656
638 | 84.8796
637 | 84.901
636 | 84.9303
635 | 84.9717
634 | 85.019
633 | 85.0586
632 | 85.0907
631 | 85.1306
630 | 85.1871
629 | 85.2629
628 | 85.3776
627 | 85.5617
626 | 85.8171
625 | 86.1157
624 | 86.4336
623 | 86.7602
622 | 87.1009
621 | 87.4894
620 | 87.9438
619 | 88.3999
618 | 88.7547
617 | 88.9789
616 | 89.1169
615 | 89.2107
614 | 89.2843
613 | 89.3567
612 | 89.4202
611 | 89.4448
610 | 89.4372
609 | 89.4489
608 | 89.5008
607 | 89.559
606 | 89.6064
605 | 89.6748
604 | 89.7775
603 | 89.8881
602 | 90.0215
601 | 90.248
600 | 90.5788

## Sample Details
Setting | Value
Filesname | 8.3.34 6
Creation Date
Analyst | mas-storage
X-Axis Units | cm-1
X-Axis start value | 4000
X-Axis end value | 600
Data interval | -1
Number of points | 3401
Y-Axis Units | %T
Description | 6Sample 3316 By mas-storage Date Thursday, June 16 2022

## Instrument Details
Setting | Value
Instrument Model | Frontier FT-IR
Instrument Serial Number | 91175
Software Revision | CPU32 Main 00.09.9908 05-May-2009 15:52:12
Number of Scans | 32
Resolution | 4
Detector
Source | MIR
Beam Splitter | OptKBr
Apodization | Strong
Spectrum Type | Spectrum
Beam Type | Ratio
Phase Correction | Magnitude
Scan Speed | 1
IGram Type | Double
Scan Driection | Combined
Zero Crossing | 0
JStop | 8.94
IR-Laser Wavenumber | 15798.001999451375
Manufacturer | PIKE Technologies Inc.
Part Number | L1200385
Serial Number | 19250
Description | Miracle Accessory
Default Scan Range | 4000 450
Accessory Type | Miracle ATR
Temperature / °C
Slide Holder Option

## Quality Checks
Setting | Value
Water Vapor | Passed
Carbon Dioxide | Passed
Baseline Low | Passed
Baseline High | Passed
Baseline Slope | Passed
Strong Bands | Passed
Weak Bands | Warning
High Noise | Passed
Fringes | Warning
Vignetting | Passed
Blocked Beam | Passed
Negative Bands | Passed
Zero Transmission | Passed
Stray Light | Passed
Window Cuttoff | Passed