## Data
Wavelength / cm-1 | Transmittance / % | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1
4000 | 97.8376 |  | Baseline @ 1105 |  | Baseline @ 1735 |  | Baseline @ 2900 |  | Peak @ 1105 |  | Peak @ 1735 |  | Peak @ 2900
3999 | 97.8335 | 850 | 96.9672 | 1525 | 99.6208 | 2670 | 99.201 | 1105 | 84.6096 | 1735 | 99.9154 | 2900 | 97.8445
3998 | 97.8306 | 1210 | 98.1619 | 1780 | 100.335 | 3000 | 98.2907 | 1105 | 97.8135 | 1735 | 100.2089 | 2900 | 98.5666
3997 | 97.8295
3996 | 97.8302
3995 | 97.8328
3994 | 97.8376
3993 | 97.8439
3992 | 97.8492
3991 | 97.8507
3990 | 97.848
3989 | 97.8444
3988 | 97.8438
3987 | 97.8475
3986 | 97.8536
3985 | 97.8592
3984 | 97.8627
3983 | 97.8636
3982 | 97.8629
3981 | 97.8612
3980 | 97.8587
3979 | 97.8555
3978 | 97.8526
3977 | 97.8515 |  |  | Baseline range |  |  | Transmittance |  |  |  | Equation of base line |  |  | Transmittance at peak value wavelength | Peak Intensity |  | Ratio
3976 | 97.8532 |  | Peak value
3975 | 97.8563 |  | Wavelength
3974 | 97.8587 |  | x1 | x2 | x3 |  | y1 | y2 | y3 |  | m | c
3973 | 97.8593 | [15 empty] | flexural
3972 | 97.8592 |  | 1105 | 850 | 1210 |  | 84.6096 | 96.9672 | 98.1619 |  | 0.0033185 | 94.1465 |  | 97.8135 | 13.2039 | R1 | 0.022229
3971 | 97.8601 |  | 1735 | 1525 | 1780 |  | 99.9154 | 99.6208 | 100.335 |  | 0.0028009 | 95.3494 |  | 100.2089 | 0.29352 | R2 | 0.40648
3970 | 97.8627 |  | 2900 | 2670 | 3000 |  | 97.8445 | 99.201 | 98.2907 |  | -0.0027583 | 106.5658 |  | 98.5666 | 0.72208
3969 | 97.8661
3968 | 97.8685 |  | From paper
3967 | 97.8683 |  | 1105 | 765 | 1185
3966 | 97.8659 |  | 1735 | 1485 | 1780
3965 | 97.8634 |  | 2900 | 2630 | 3000
3964 | 97.8631
3963 | 97.8652
3962 | 97.8682
3961 | 97.8704
3960 | 97.8709
3959 | 97.8699
3958 | 97.8686
3957 | 97.8688
3956 | 97.8717
3955 | 97.8768
3954 | 97.8823
3953 | 97.8861
3952 | 97.8872
3951 | 97.8856
3950 | 97.8825
3949 | 97.8797
3948 | 97.8792
3947 | 97.8813
3946 | 97.8856
3945 | 97.89
3944 | 97.8917
3943 | 97.8902
3942 | 97.889
3941 | 97.8926
3940 | 97.8998
3939 | 97.9053
3938 | 97.9044
3937 | 97.8991
3936 | 97.8949
3935 | 97.895
3934 | 97.8981
3933 | 97.9016
3932 | 97.9054
3931 | 97.9107
3930 | 97.9168
3929 | 97.9223
3928 | 97.9259
3927 | 97.9268
3926 | 97.9229
3925 | 97.9152
3924 | 97.9089
3923 | 97.9083
3922 | 97.9114
3921 | 97.9135
3920 | 97.9133
3919 | 97.9137
3918 | 97.9164
3917 | 97.9205
3916 | 97.9243
3915 | 97.927
3914 | 97.9275
3913 | 97.9245
3912 | 97.9188
3911 | 97.9146
3910 | 97.9153
3909 | 97.9218
3908 | 97.9326
3907 | 97.9436
3906 | 97.9497
3905 | 97.9471
3904 | 97.9401
3903 | 97.9396
3902 | 97.951
3901 | 97.968
3900 | 97.9789
3899 | 97.9779
3898 | 97.9685
3897 | 97.9565
3896 | 97.9453
3895 | 97.9377
3894 | 97.9356
3893 | 97.9373
3892 | 97.938
3891 | 97.9362
3890 | 97.9362
3889 | 97.9441
3888 | 97.9588
3887 | 97.9692
3886 | 97.9666
3885 | 97.9592
3884 | 97.9592
3883 | 97.9667
3882 | 97.972
3881 | 97.9682
3880 | 97.9595
3879 | 97.9542
3878 | 97.954
3877 | 97.9553
3876 | 97.9525
3875 | 97.9422
3874 | 97.932
3873 | 97.9363
3872 | 97.9583
3871 | 97.9816
3870 | 97.9906
3869 | 97.9907
3868 | 97.9941
3867 | 97.9997
3866 | 97.996
3865 | 97.9796
3864 | 97.9627
3863 | 97.9572
3862 | 97.9594
3861 | 97.9613
3860 | 97.9607
3859 | 97.9612
3858 | 97.9682
3857 | 97.9855
3856 | 98.0092
3855 | 98.0231
3854 | 98.0215
3853 | 98.0288
3852 | 98.0508
3851 | 98.0603
3850 | 98.044
3849 | 98.0121
3848 | 97.9799
3847 | 97.9575
3846 | 97.9452
3845 | 97.9388
3844 | 97.9351
3843 | 97.9343
3842 | 97.9392
3841 | 97.9521
3840 | 97.969
3839 | 97.9837
3838 | 97.9943
3837 | 98.0004
3836 | 98.0001
3835 | 97.9923
3834 | 97.979
3833 | 97.9636
3832 | 97.9495
3831 | 97.9404
3830 | 97.9372
3829 | 97.9372
3828 | 97.9345
3827 | 97.9252
3826 | 97.9126
3825 | 97.9074
3824 | 97.9163
3823 | 97.9323
3822 | 97.9404
3821 | 97.9396
3820 | 97.9439
3819 | 97.9589
3818 | 97.9757
3817 | 97.9793
3816 | 97.9679
3815 | 97.9575
3814 | 97.9565
3813 | 97.9546
3812 | 97.9415
3811 | 97.9211
3810 | 97.9061
3809 | 97.9016
3808 | 97.9008
3807 | 97.8977
3806 | 97.8973
3805 | 97.9069
3804 | 97.9247
3803 | 97.937
3802 | 97.9313
3801 | 97.9185
3800 | 97.9164
3799 | 97.9225
3798 | 97.9233
3797 | 97.9115
3796 | 97.8939
3795 | 97.8818
3794 | 97.8771
3793 | 97.8726
3792 | 97.8638
3791 | 97.8531
3790 | 97.8448
3789 | 97.8396
3788 | 97.8364
3787 | 97.8341
3786 | 97.8325
3785 | 97.8309
3784 | 97.8299
3783 | 97.8302
3782 | 97.8306
3781 | 97.8278
3780 | 97.8204
3779 | 97.8134
3778 | 97.8123
3777 | 97.8162
3776 | 97.8185
3775 | 97.8151
3774 | 97.8085
3773 | 97.8047
3772 | 97.8047
3771 | 97.8039
3770 | 97.801
3769 | 97.8023
3768 | 97.8108
3767 | 97.8205
3766 | 97.8222
3765 | 97.8139
3764 | 97.8039
3763 | 97.7999
3762 | 97.7998
3761 | 97.7965
3760 | 97.788
3759 | 97.7809
3758 | 97.7785
3757 | 97.779
3756 | 97.7831
3755 | 97.7928
3754 | 97.8046
3753 | 97.8118
3752 | 97.8145
3751 | 97.8219
3750 | 97.834
3749 | 97.8388
3748 | 97.838
3747 | 97.8434
3746 | 97.8488
3745 | 97.836
3744 | 97.8162
3743 | 97.81
3742 | 97.8076
3741 | 97.7941
3740 | 97.7716
3739 | 97.7535
3738 | 97.7478
3737 | 97.7465
3736 | 97.7415
3735 | 97.7376
3734 | 97.7424
3733 | 97.7498
3732 | 97.7495
3731 | 97.7405
3730 | 97.7288
3729 | 97.7179
3728 | 97.705
3727 | 97.6864
3726 | 97.6669
3725 | 97.6549
3724 | 97.6517
3723 | 97.6526
3722 | 97.6534
3721 | 97.6535
3720 | 97.6524
3719 | 97.6486
3718 | 97.6406
3717 | 97.6303
3716 | 97.6237
3715 | 97.6243
3714 | 97.6288
3713 | 97.6309
3712 | 97.6308
3711 | 97.6339
3710 | 97.6391
3709 | 97.6379
3708 | 97.6248
3707 | 97.6021
3706 | 97.578
3705 | 97.5601
3704 | 97.5504
3703 | 97.5451
3702 | 97.5392
3701 | 97.5312
3700 | 97.5228
3699 | 97.5156
3698 | 97.5084
3697 | 97.4984
3696 | 97.4871
3695 | 97.4799
3694 | 97.4801
3693 | 97.488
3692 | 97.5018
3691 | 97.5173
3690 | 97.5274
3689 | 97.5274
3688 | 97.5182
3687 | 97.5025
3686 | 97.4827
3685 | 97.4607
3684 | 97.4382
3683 | 97.4203
3682 | 97.4122
3681 | 97.4126
3680 | 97.4167
3679 | 97.4242
3678 | 97.4367
3677 | 97.4451
3676 | 97.4373
3675 | 97.4237
3674 | 97.4202
3673 | 97.4273
3672 | 97.4351
3671 | 97.4282
3670 | 97.4032
3669 | 97.3754
3668 | 97.3535
3667 | 97.3325
3666 | 97.309
3665 | 97.2842
3664 | 97.261
3663 | 97.2417
3662 | 97.226
3661 | 97.213
3660 | 97.2043
3659 | 97.2011
3658 | 97.1994
3657 | 97.192
3656 | 97.1785
3655 | 97.1678
3654 | 97.1685
3653 | 97.1819
3652 | 97.1984
3651 | 97.2024
3650 | 97.1883
3649 | 97.1682
3648 | 97.1521
3647 | 97.1367
3646 | 97.1176
3645 | 97.0963
3644 | 97.074
3643 | 97.0496
3642 | 97.0226
3641 | 96.9968
3640 | 96.9754
3639 | 96.9575
3638 | 96.9415
3637 | 96.9281
3636 | 96.9182
3635 | 96.9088
3634 | 96.8992
3633 | 96.8973
3632 | 96.9113
3631 | 96.9335
3630 | 96.9369
3629 | 96.9079
3628 | 96.8671
3627 | 96.8346
3626 | 96.8107
3625 | 96.79
3624 | 96.7722
3623 | 96.7614
3622 | 96.759
3621 | 96.757
3620 | 96.7446
3619 | 96.7206
3618 | 96.6944
3617 | 96.6749
3616 | 96.6641
3615 | 96.6572
3614 | 96.6471
3613 | 96.633
3612 | 96.6197
3611 | 96.6096
3610 | 96.5976
3609 | 96.5781
3608 | 96.5524
3607 | 96.5287
3606 | 96.5119
3605 | 96.5012
3604 | 96.4926
3603 | 96.4819
3602 | 96.4665
3601 | 96.4468
3600 | 96.4274
3599 | 96.413
3598 | 96.404
3597 | 96.3956
3596 | 96.382
3595 | 96.3592
3594 | 96.3295
3593 | 96.3005
3592 | 96.2809
3591 | 96.2739
3590 | 96.273
3589 | 96.2637
3588 | 96.2361
3587 | 96.1978
3586 | 96.1647
3585 | 96.1431
3584 | 96.1281
3583 | 96.1118
3582 | 96.0901
3581 | 96.0633
3580 | 96.0354
3579 | 96.0106
3578 | 95.9899
3577 | 95.9709
3576 | 95.9502
3575 | 95.9262
3574 | 95.901
3573 | 95.879
3572 | 95.8652
3571 | 95.8614
3570 | 95.8627
3569 | 95.8557
3568 | 95.8261
3567 | 95.7731
3566 | 95.7121
3565 | 95.6591
3564 | 95.62
3563 | 95.5926
3562 | 95.5705
3561 | 95.5478
3560 | 95.5213
3559 | 95.4922
3558 | 95.4643
3557 | 95.4409
3556 | 95.4223
3555 | 95.4052
3554 | 95.3843
3553 | 95.3559
3552 | 95.3221
3551 | 95.2896
3550 | 95.2641
3549 | 95.2446
3548 | 95.2236
3547 | 95.194
3546 | 95.1565
3545 | 95.119
3544 | 95.0891
3543 | 95.0682
3542 | 95.0524
3541 | 95.0376
3540 | 95.0228
3539 | 95.0082
3538 | 94.9926
3537 | 94.9743
3536 | 94.9545
3535 | 94.9366
3534 | 94.9231
3533 | 94.9132
3532 | 94.9038
3531 | 94.8936
3530 | 94.8832
3529 | 94.8729
3528 | 94.862
3527 | 94.8502
3526 | 94.8381
3525 | 94.8267
3524 | 94.8158
3523 | 94.8061
3522 | 94.7992
3521 | 94.7965
3520 | 94.7964
3519 | 94.7952
3518 | 94.791
3517 | 94.7853
3516 | 94.781
3515 | 94.7796
3514 | 94.7803
3513 | 94.7816
3512 | 94.7814
3511 | 94.7775
3510 | 94.7691
3509 | 94.758
3508 | 94.7487
3507 | 94.745
3506 | 94.7473
3505 | 94.7514
3504 | 94.7515
3503 | 94.7449
3502 | 94.7335
3501 | 94.7218
3500 | 94.7131
3499 | 94.7077
3498 | 94.704
3497 | 94.7007
3496 | 94.6976
3495 | 94.6949
3494 | 94.6923
3493 | 94.6892
3492 | 94.6854
3491 | 94.6812
3490 | 94.6772
3489 | 94.6737
3488 | 94.6703
3487 | 94.6666
3486 | 94.6628
3485 | 94.6587
3484 | 94.6534
3483 | 94.6452
3482 | 94.6341
3481 | 94.6219
3480 | 94.6117
3479 | 94.606
3478 | 94.6055
3477 | 94.6084
3476 | 94.6104
3475 | 94.6077
3474 | 94.5996
3473 | 94.5886
3472 | 94.5781
3471 | 94.57
3470 | 94.5633
3469 | 94.5556
3468 | 94.5446
3467 | 94.5308
3466 | 94.5175
3465 | 94.5078
3464 | 94.5007
3463 | 94.4918
3462 | 94.4786
3461 | 94.4632
3460 | 94.4495
3459 | 94.438
3458 | 94.426
3457 | 94.4105
3456 | 94.3915
3455 | 94.372
3454 | 94.3554
3453 | 94.3434
3452 | 94.3344
3451 | 94.3259
3450 | 94.3156
3449 | 94.3019
3448 | 94.2836
3447 | 94.2611
3446 | 94.2365
3445 | 94.2119
3444 | 94.1877
3443 | 94.1629
3442 | 94.1375
3441 | 94.113
3440 | 94.0894
3439 | 94.0654
3438 | 94.04
3437 | 94.0143
3436 | 93.9894
3435 | 93.9641
3434 | 93.9359
3433 | 93.9036
3432 | 93.8696
3431 | 93.838
3430 | 93.8105
3429 | 93.7854
3428 | 93.7583
3427 | 93.7273
3426 | 93.6938
3425 | 93.6611
3424 | 93.6304
3423 | 93.5997
3422 | 93.5661
3421 | 93.529
3420 | 93.4909
3419 | 93.4549
3418 | 93.4227
3417 | 93.3935
3416 | 93.3649
3415 | 93.3352
3414 | 93.3047
3413 | 93.2743
3412 | 93.2442
3411 | 93.2139
3410 | 93.1843
3409 | 93.1579
3408 | 93.1364
3407 | 93.1183
3406 | 93.1005
3405 | 93.081
3404 | 93.0613
3403 | 93.0443
3402 | 93.0319
3401 | 93.0239
3400 | 93.018
3399 | 93.0121
3398 | 93.0063
3397 | 93.0021
3396 | 93.0013
3395 | 93.0032
3394 | 93.006
3393 | 93.0087
3392 | 93.0122
3391 | 93.0181
3390 | 93.0278
3389 | 93.0418
3388 | 93.0591
3387 | 93.0767
3386 | 93.0906
3385 | 93.0992
3384 | 93.1047
3383 | 93.1115
3382 | 93.1225
3381 | 93.1367
3380 | 93.1501
3379 | 93.1593
3378 | 93.1639
3377 | 93.1665
3376 | 93.1706
3375 | 93.1774
3374 | 93.1867
3373 | 93.1973
3372 | 93.2083
3371 | 93.2187
3370 | 93.2278
3369 | 93.2352
3368 | 93.2408
3367 | 93.2445
3366 | 93.247
3365 | 93.2495
3364 | 93.2529
3363 | 93.2566
3362 | 93.2593
3361 | 93.2599
3360 | 93.2589
3359 | 93.2578
3358 | 93.2579
3357 | 93.2594
3356 | 93.2606
3355 | 93.2598
3354 | 93.2568
3353 | 93.2535
3352 | 93.2515
3351 | 93.2507
3350 | 93.2496
3349 | 93.2474
3348 | 93.245
3347 | 93.2434
3346 | 93.2432
3345 | 93.2442
3344 | 93.2459
3343 | 93.2475
3342 | 93.2477
3341 | 93.2461
3340 | 93.2441
3339 | 93.2436
3338 | 93.246
3337 | 93.2505
3336 | 93.255
3335 | 93.2578
3334 | 93.2597
3333 | 93.2626
3332 | 93.2679
3331 | 93.275
3330 | 93.2823
3329 | 93.289
3328 | 93.2949
3327 | 93.2997
3326 | 93.3031
3325 | 93.3051
3324 | 93.3062
3323 | 93.3071
3322 | 93.3086
3321 | 93.3115
3320 | 93.3159
3319 | 93.3209
3318 | 93.3253
3317 | 93.3284
3316 | 93.3305
3315 | 93.3323
3314 | 93.334
3313 | 93.3355
3312 | 93.336
3311 | 93.3346
3310 | 93.3303
3309 | 93.3236
3308 | 93.316
3307 | 93.3097
3306 | 93.3063
3305 | 93.3052
3304 | 93.3045
3303 | 93.3028
3302 | 93.3006
3301 | 93.2996
3300 | 93.2997
3299 | 93.2994
3298 | 93.2973
3297 | 93.294
3296 | 93.2914
3295 | 93.2904
3294 | 93.29
3293 | 93.2884
3292 | 93.2842
3291 | 93.2775
3290 | 93.2703
3289 | 93.265
3288 | 93.2625
3287 | 93.2609
3286 | 93.2574
3285 | 93.2517
3284 | 93.2461
3283 | 93.2436
3282 | 93.2451
3281 | 93.2483
3280 | 93.2508
3279 | 93.2522
3278 | 93.2538
3277 | 93.2563
3276 | 93.258
3275 | 93.2572
3274 | 93.2548
3273 | 93.2538
3272 | 93.2562
3271 | 93.2608
3270 | 93.2649
3269 | 93.2675
3268 | 93.2701
3267 | 93.2741
3266 | 93.2796
3265 | 93.2854
3264 | 93.2904
3263 | 93.2941
3262 | 93.2977
3261 | 93.303
3260 | 93.311
3259 | 93.3213
3258 | 93.3326
3257 | 93.3438
3256 | 93.3543
3255 | 93.3637
3254 | 93.3724
3253 | 93.3811
3252 | 93.3898
3251 | 93.3983
3250 | 93.406
3249 | 93.4129
3248 | 93.419
3247 | 93.4251
3246 | 93.433
3245 | 93.4448
3244 | 93.4611
3243 | 93.4798
3242 | 93.4983
3241 | 93.5153
3240 | 93.5312
3239 | 93.5466
3238 | 93.5629
3237 | 93.5814
3236 | 93.6032
3235 | 93.628
3234 | 93.6545
3233 | 93.6811
3232 | 93.7059
3231 | 93.7281
3230 | 93.7486
3229 | 93.7695
3228 | 93.7924
3227 | 93.8171
3226 | 93.8424
3225 | 93.8672
3224 | 93.8908
3223 | 93.9133
3222 | 93.9357
3221 | 93.9596
3220 | 93.9854
3219 | 94.0116
3218 | 94.0368
3217 | 94.0613
3216 | 94.0867
3215 | 94.1129
3214 | 94.1386
3213 | 94.1625
3212 | 94.1855
3211 | 94.2092
3210 | 94.2347
3209 | 94.2613
3208 | 94.2871
3207 | 94.3104
3206 | 94.3312
3205 | 94.3514
3204 | 94.3731
3203 | 94.3972
3202 | 94.4229
3201 | 94.449
3200 | 94.4746
3199 | 94.4995
3198 | 94.5237
3197 | 94.5479
3196 | 94.5728
3195 | 94.599
3194 | 94.6261
3193 | 94.6538
3192 | 94.6821
3191 | 94.711
3190 | 94.7398
3189 | 94.7665
3188 | 94.7896
3187 | 94.8098
3186 | 94.8301
3185 | 94.8531
3184 | 94.8788
3183 | 94.905
3182 | 94.9305
3181 | 94.9558
3180 | 94.9824
3179 | 95.0105
3178 | 95.0392
3177 | 95.0669
3176 | 95.093
3175 | 95.1185
3174 | 95.1447
3173 | 95.1725
3172 | 95.2017
3171 | 95.2313
3170 | 95.2605
3169 | 95.2891
3168 | 95.3167
3167 | 95.3434
3166 | 95.3694
3165 | 95.3958
3164 | 95.424
3163 | 95.4545
3162 | 95.4867
3161 | 95.5186
3160 | 95.5483
3159 | 95.5752
3158 | 95.6001
3157 | 95.6241
3156 | 95.6483
3155 | 95.6737
3154 | 95.7011
3153 | 95.7305
3152 | 95.761
3151 | 95.7908
3150 | 95.8192
3149 | 95.8464
3148 | 95.8736
3147 | 95.9012
3146 | 95.9294
3145 | 95.9574
3144 | 95.9851
3143 | 96.0138
3142 | 96.0453
3141 | 96.0791
3140 | 96.1122
3139 | 96.1417
3138 | 96.1673
3137 | 96.1915
3136 | 96.2171
3135 | 96.2459
3134 | 96.2778
3133 | 96.3116
3132 | 96.3456
3131 | 96.3785
3130 | 96.4102
3129 | 96.441
3128 | 96.4705
3127 | 96.4993
3126 | 96.5286
3125 | 96.5592
3124 | 96.5898
3123 | 96.6187
3122 | 96.6456
3121 | 96.672
3120 | 96.6993
3119 | 96.7277
3118 | 96.7568
3117 | 96.7864
3116 | 96.8151
3115 | 96.8413
3114 | 96.8635
3113 | 96.8831
3112 | 96.9029
3111 | 96.9254
3110 | 96.9516
3109 | 96.9808
3108 | 97.0116
3107 | 97.0432
3106 | 97.0748
3105 | 97.1048
3104 | 97.1318
3103 | 97.1559
3102 | 97.1788
3101 | 97.2023
3100 | 97.226
3099 | 97.2493
3098 | 97.2716
3097 | 97.2929
3096 | 97.3131
3095 | 97.3322
3094 | 97.3512
3093 | 97.3714
3092 | 97.3932
3091 | 97.4157
3090 | 97.438
3089 | 97.4596
3088 | 97.4806
3087 | 97.5014
3086 | 97.5224
3085 | 97.5434
3084 | 97.5635
3083 | 97.5816
3082 | 97.5977
3081 | 97.6125
3080 | 97.6272
3079 | 97.6425
3078 | 97.6584
3077 | 97.6744
3076 | 97.6896
3075 | 97.7035
3074 | 97.7171
3073 | 97.7311
3072 | 97.7459
3071 | 97.7614
3070 | 97.778
3069 | 97.7961
3068 | 97.8145
3067 | 97.8299
3066 | 97.8402
3065 | 97.8471
3064 | 97.8551
3063 | 97.8676
3062 | 97.8837
3061 | 97.9
3060 | 97.9141
3059 | 97.9263
3058 | 97.9375
3057 | 97.9474
3056 | 97.9556
3055 | 97.9628
3054 | 97.971
3053 | 97.9809
3052 | 97.9915
3051 | 98.0008
3050 | 98.0085
3049 | 98.0154
3048 | 98.0227
3047 | 98.0312
3046 | 98.0408
3045 | 98.051
3044 | 98.0611
3043 | 98.0707
3042 | 98.0798
3041 | 98.0881
3040 | 98.0949
3039 | 98.1002
3038 | 98.1054
3037 | 98.112
3036 | 98.1197
3035 | 98.1263
3034 | 98.13
3033 | 98.1321
3032 | 98.1349
3031 | 98.1396
3030 | 98.1461
3029 | 98.1536
3028 | 98.1618
3027 | 98.1697
3026 | 98.1768
3025 | 98.1834
3024 | 98.1909
3023 | 98.1998
3022 | 98.2082
3021 | 98.2145
3020 | 98.219
3019 | 98.2238
3018 | 98.2303
3017 | 98.2379
3016 | 98.2448
3015 | 98.2499
3014 | 98.2529
3013 | 98.2547
3012 | 98.2563
3011 | 98.2583
3010 | 98.2605
3009 | 98.2627
3008 | 98.2654
3007 | 98.269
3006 | 98.2735
3005 | 98.2776
3004 | 98.2804
3003 | 98.2824
3002 | 98.2845
3001 | 98.2873
3000 | 98.2907
2999 | 98.2946
2998 | 98.2985
2997 | 98.3015
2996 | 98.3033
2995 | 98.3045
2994 | 98.3055
2993 | 98.3062
2992 | 98.3058
2991 | 98.3047
2990 | 98.3037
2989 | 98.3034
2988 | 98.3026
2987 | 98.3
2986 | 98.2949
2985 | 98.2887
2984 | 98.2838
2983 | 98.282
2982 | 98.2828
2981 | 98.2832
2980 | 98.2794
2979 | 98.2701
2978 | 98.2571
2977 | 98.2437
2976 | 98.2322
2975 | 98.2234
2974 | 98.2159
2973 | 98.2078
2972 | 98.1977
2971 | 98.186
2970 | 98.1743
2969 | 98.1639
2968 | 98.1542
2967 | 98.144
2966 | 98.1328
2965 | 98.1214
2964 | 98.1102
2963 | 98.0991
2962 | 98.0872
2961 | 98.0744
2960 | 98.0613
2959 | 98.0491
2958 | 98.0388
2957 | 98.0304
2956 | 98.0237
2955 | 98.0183
2954 | 98.0132
2953 | 98.0077
2952 | 98.0009
2951 | 97.9932
2950 | 97.9856
2949 | 97.9788
2948 | 97.9728
2947 | 97.9663
2946 | 97.9575
2945 | 97.9458
2944 | 97.932
2943 | 97.9182
2942 | 97.9062
2941 | 97.8958
2940 | 97.8859
2939 | 97.8766
2938 | 97.8688
2937 | 97.8635
2936 | 97.86
2935 | 97.8564
2934 | 97.8518
2933 | 97.846
2932 | 97.8391
2931 | 97.8304
2930 | 97.8192
2929 | 97.8062
2928 | 97.7926
2927 | 97.7793
2926 | 97.7661
2925 | 97.7521
2924 | 97.7373
2923 | 97.7228
2922 | 97.7106
2921 | 97.7022
2920 | 97.6981
2919 | 97.698
2918 | 97.7019
2917 | 97.7101
2916 | 97.7227
2915 | 97.7393
2914 | 97.7589
2913 | 97.7797
2912 | 97.799
2911 | 97.815
2910 | 97.8267
2909 | 97.8345
2908 | 97.8392
2907 | 97.8415
2906 | 97.8424
2905 | 97.8428
2904 | 97.8435
2903 | 97.8444
2902 | 97.8454
2901 | 97.8455
2900 | 97.8445
2899 | 97.8434
2898 | 97.844
2897 | 97.8477
2896 | 97.8541
2895 | 97.8616
2894 | 97.8691
2893 | 97.8765
2892 | 97.8842
2891 | 97.8918
2890 | 97.8987
2889 | 97.905
2888 | 97.9118
2887 | 97.9207
2886 | 97.9313
2885 | 97.9419
2884 | 97.9506
2883 | 97.957
2882 | 97.9619
2881 | 97.9659
2880 | 97.9697
2879 | 97.9745
2878 | 97.9817
2877 | 97.9916
2876 | 98.0028
2875 | 98.0133
2874 | 98.0215
2873 | 98.0277
2872 | 98.0336
2871 | 98.0417
2870 | 98.053
2869 | 98.0665
2868 | 98.0798
2867 | 98.0913
2866 | 98.1017
2865 | 98.113
2864 | 98.1261
2863 | 98.14
2862 | 98.1523
2861 | 98.1612
2860 | 98.1669
2859 | 98.1713
2858 | 98.1764
2857 | 98.1826
2856 | 98.1888
2855 | 98.1932
2854 | 98.194
2853 | 98.1912
2852 | 98.1875
2851 | 98.1883
2850 | 98.1998
2849 | 98.2249
2848 | 98.2612
2847 | 98.3026
2846 | 98.3423
2845 | 98.3759
2844 | 98.4022
2843 | 98.4235
2842 | 98.4422
2841 | 98.4598
2840 | 98.4763
2839 | 98.4915
2838 | 98.5056
2837 | 98.5186
2836 | 98.5298
2835 | 98.539
2834 | 98.547
2833 | 98.5551
2832 | 98.5647
2831 | 98.576
2830 | 98.5882
2829 | 98.5998
2828 | 98.6094
2827 | 98.6174
2826 | 98.6252
2825 | 98.6343
2824 | 98.6443
2823 | 98.6536
2822 | 98.6613
2821 | 98.6681
2820 | 98.6753
2819 | 98.6834
2818 | 98.691
2817 | 98.6969
2816 | 98.7013
2815 | 98.7059
2814 | 98.7118
2813 | 98.7188
2812 | 98.7265
2811 | 98.735
2810 | 98.7442
2809 | 98.7531
2808 | 98.7599
2807 | 98.7643
2806 | 98.7675
2805 | 98.7712
2804 | 98.776
2803 | 98.7819
2802 | 98.7888
2801 | 98.7968
2800 | 98.8056
2799 | 98.8141
2798 | 98.8214
2797 | 98.8266
2796 | 98.8301
2795 | 98.8329
2794 | 98.8362
2793 | 98.8403
2792 | 98.8441
2791 | 98.8472
2790 | 98.8501
2789 | 98.8538
2788 | 98.8579
2787 | 98.8615
2786 | 98.8643
2785 | 98.8668
2784 | 98.8694
2783 | 98.8717
2782 | 98.8734
2781 | 98.8755
2780 | 98.8791
2779 | 98.8851
2778 | 98.8934
2777 | 98.9027
2776 | 98.9115
2775 | 98.918
2774 | 98.9218
2773 | 98.9239
2772 | 98.9258
2771 | 98.9282
2770 | 98.9306
2769 | 98.9327
2768 | 98.935
2767 | 98.9378
2766 | 98.9411
2765 | 98.9436
2764 | 98.9447
2763 | 98.9448
2762 | 98.9457
2761 | 98.9488
2760 | 98.9539
2759 | 98.9598
2758 | 98.9653
2757 | 98.9697
2756 | 98.9731
2755 | 98.9755
2754 | 98.9769
2753 | 98.9776
2752 | 98.9782
2751 | 98.9795
2750 | 98.9815
2749 | 98.9839
2748 | 98.9863
2747 | 98.9885
2746 | 98.9904
2745 | 98.9923
2744 | 98.9938
2743 | 98.9943
2742 | 98.9941
2741 | 98.9944
2740 | 98.9962
2739 | 98.9998
2738 | 99.0039
2737 | 99.0073
2736 | 99.0097
2735 | 99.0122
2734 | 99.0156
2733 | 99.0201
2732 | 99.0245
2731 | 99.0275
2730 | 99.0286
2729 | 99.0287
2728 | 99.0299
2727 | 99.0335
2726 | 99.0395
2725 | 99.047
2724 | 99.054
2723 | 99.0588
2722 | 99.0602
2721 | 99.0588
2720 | 99.0569
2719 | 99.057
2718 | 99.0599
2717 | 99.0646
2716 | 99.0696
2715 | 99.0742
2714 | 99.078
2713 | 99.0811
2712 | 99.0835
2711 | 99.0855
2710 | 99.0875
2709 | 99.09
2708 | 99.093
2707 | 99.0964
2706 | 99.0993
2705 | 99.1013
2704 | 99.1029
2703 | 99.105
2702 | 99.1081
2701 | 99.1113
2700 | 99.1142
2699 | 99.1167
2698 | 99.1187
2697 | 99.1201
2696 | 99.1214
2695 | 99.1239
2694 | 99.1284
2693 | 99.1343
2692 | 99.1399
2691 | 99.1441
2690 | 99.1471
2689 | 99.1498
2688 | 99.1528
2687 | 99.1555
2686 | 99.1572
2685 | 99.1579
2684 | 99.1588
2683 | 99.1609
2682 | 99.164
2681 | 99.1673
2680 | 99.1704
2679 | 99.1743
2678 | 99.179
2677 | 99.1832
2676 | 99.1859
2675 | 99.1877
2674 | 99.19
2673 | 99.1932
2672 | 99.1964
2671 | 99.1991
2670 | 99.201
2669 | 99.2021
2668 | 99.2025
2667 | 99.2023
2666 | 99.2018
2665 | 99.2006
2664 | 99.198
2663 | 99.1945
2662 | 99.1912
2661 | 99.1884
2660 | 99.1859
2659 | 99.1828
2658 | 99.1786
2657 | 99.1732
2656 | 99.1669
2655 | 99.1602
2654 | 99.1536
2653 | 99.1468
2652 | 99.1391
2651 | 99.1305
2650 | 99.1222
2649 | 99.115
2648 | 99.1081
2647 | 99.0999
2646 | 99.0893
2645 | 99.0776
2644 | 99.0667
2643 | 99.0577
2642 | 99.05
2641 | 99.0423
2640 | 99.0339
2639 | 99.025
2638 | 99.016
2637 | 99.007
2636 | 98.9973
2635 | 98.9867
2634 | 98.9756
2633 | 98.9652
2632 | 98.9559
2631 | 98.9474
2630 | 98.9384
2629 | 98.9276
2628 | 98.915
2627 | 98.9017
2626 | 98.8896
2625 | 98.8801
2624 | 98.8729
2623 | 98.8663
2622 | 98.8587
2621 | 98.8498
2620 | 98.8405
2619 | 98.8317
2618 | 98.823
2617 | 98.8133
2616 | 98.8026
2615 | 98.7922
2614 | 98.7834
2613 | 98.7761
2612 | 98.7686
2611 | 98.7595
2610 | 98.7489
2609 | 98.738
2608 | 98.7281
2607 | 98.7194
2606 | 98.7116
2605 | 98.7047
2604 | 98.6984
2603 | 98.6919
2602 | 98.6845
2601 | 98.6768
2600 | 98.6705
2599 | 98.6659
2598 | 98.6614
2597 | 98.6544
2596 | 98.6449
2595 | 98.6355
2594 | 98.6285
2593 | 98.6236
2592 | 98.6192
2591 | 98.6146
2590 | 98.6102
2589 | 98.6061
2588 | 98.6016
2587 | 98.5964
2586 | 98.5905
2585 | 98.5846
2584 | 98.5787
2583 | 98.5729
2582 | 98.5679
2581 | 98.5641
2580 | 98.5611
2579 | 98.5571
2578 | 98.551
2577 | 98.5433
2576 | 98.5359
2575 | 98.5307
2574 | 98.5282
2573 | 98.5275
2572 | 98.5274
2571 | 98.5268
2570 | 98.5245
2569 | 98.52
2568 | 98.5143
2567 | 98.509
2566 | 98.505
2565 | 98.5017
2564 | 98.4981
2563 | 98.494
2562 | 98.4903
2561 | 98.4877
2560 | 98.4864
2559 | 98.4858
2558 | 98.485
2557 | 98.4829
2556 | 98.4796
2555 | 98.4764
2554 | 98.4749
2553 | 98.4753
2552 | 98.4765
2551 | 98.477
2550 | 98.4757
2549 | 98.4721
2548 | 98.4673
2547 | 98.4636
2546 | 98.4631
2545 | 98.4654
2544 | 98.4681
2543 | 98.4691
2542 | 98.4689
2541 | 98.4689
2540 | 98.4698
2539 | 98.4714
2538 | 98.4729
2537 | 98.474
2536 | 98.4738
2535 | 98.472
2534 | 98.4695
2533 | 98.4678
2532 | 98.4676
2531 | 98.4675
2530 | 98.4664
2529 | 98.4651
2528 | 98.4659
2527 | 98.4693
2526 | 98.4738
2525 | 98.4774
2524 | 98.4799
2523 | 98.482
2522 | 98.4838
2521 | 98.4846
2520 | 98.4847
2519 | 98.4852
2518 | 98.4872
2517 | 98.49
2516 | 98.4926
2515 | 98.4952
2514 | 98.4987
2513 | 98.5028
2512 | 98.505
2511 | 98.5033
2510 | 98.4987
2509 | 98.4948
2508 | 98.4956
2507 | 98.5018
2506 | 98.5115
2505 | 98.5211
2504 | 98.5276
2503 | 98.5292
2502 | 98.5267
2501 | 98.5233
2500 | 98.5227
2499 | 98.526
2498 | 98.5305
2497 | 98.5328
2496 | 98.5323
2495 | 98.5319
2494 | 98.5341
2493 | 98.5385
2492 | 98.5431
2491 | 98.5473
2490 | 98.5518
2489 | 98.5577
2488 | 98.5645
2487 | 98.5708
2486 | 98.5749
2485 | 98.5763
2484 | 98.5766
2483 | 98.5782
2482 | 98.5824
2481 | 98.588
2480 | 98.5931
2479 | 98.5968
2478 | 98.5992
2477 | 98.601
2476 | 98.6037
2475 | 98.6088
2474 | 98.6164
2473 | 98.6245
2472 | 98.6307
2471 | 98.635
2470 | 98.6391
2469 | 98.6446
2468 | 98.6512
2467 | 98.6574
2466 | 98.6615
2465 | 98.663
2464 | 98.663
2463 | 98.6633
2462 | 98.6645
2461 | 98.6656
2460 | 98.6658
2459 | 98.6655
2458 | 98.6662
2457 | 98.6673
2456 | 98.6669
2455 | 98.6641
2454 | 98.6609
2453 | 98.6603
2452 | 98.6633
2451 | 98.6677
2450 | 98.6704
2449 | 98.6698
2448 | 98.6675
2447 | 98.6663
2446 | 98.6674
2445 | 98.6705
2444 | 98.6746
2443 | 98.6791
2442 | 98.6832
2441 | 98.6864
2440 | 98.6887
2439 | 98.6913
2438 | 98.695
2437 | 98.7002
2436 | 98.7075
2435 | 98.716
2434 | 98.7235
2433 | 98.7278
2432 | 98.7295
2431 | 98.732
2430 | 98.7379
2429 | 98.746
2428 | 98.7541
2427 | 98.7612
2426 | 98.7675
2425 | 98.7727
2424 | 98.7768
2423 | 98.7814
2422 | 98.7882
2421 | 98.7976
2420 | 98.8086
2419 | 98.8191
2418 | 98.8274
2417 | 98.8324
2416 | 98.8356
2415 | 98.8403
2414 | 98.8489
2413 | 98.8604
2412 | 98.872
2411 | 98.882
2410 | 98.8901
2409 | 98.8967
2408 | 98.9024
2407 | 98.9091
2406 | 98.9176
2405 | 98.9273
2404 | 98.9373
2403 | 98.9478
2402 | 98.9593
2401 | 98.9712
2400 | 98.9827
2399 | 98.9945
2398 | 99.0079
2397 | 99.0218
2396 | 99.0336
2395 | 99.0422
2394 | 99.0491
2393 | 99.0564
2392 | 99.0658
2391 | 99.0775
2390 | 99.0908
2389 | 99.1031
2388 | 99.1124
2387 | 99.1189
2386 | 99.1243
2385 | 99.1301
2384 | 99.1369
2383 | 99.1461
2382 | 99.1593
2381 | 99.1761
2380 | 99.1943
2379 | 99.2122
2378 | 99.2296
2377 | 99.2461
2376 | 99.2599
2375 | 99.2687
2374 | 99.2732
2373 | 99.2753
2372 | 99.2767
2371 | 99.2785
2370 | 99.2821
2369 | 99.289
2368 | 99.2983
2367 | 99.3081
2366 | 99.3178
2365 | 99.3278
2364 | 99.3384
2363 | 99.3489
2362 | 99.3577
2361 | 99.3635
2360 | 99.3652
2359 | 99.3645
2358 | 99.3659
2357 | 99.3721
2356 | 99.3829
2355 | 99.3966
2354 | 99.4102
2353 | 99.4194
2352 | 99.4216
2351 | 99.4198
2350 | 99.4199
2349 | 99.4274
2348 | 99.4427
2347 | 99.4551
2346 | 99.4519
2345 | 99.434
2344 | 99.4165
2343 | 99.4085
2342 | 99.4092
2341 | 99.4154
2340 | 99.4245
2339 | 99.4361
2338 | 99.4515
2337 | 99.4707
2336 | 99.4898
2335 | 99.505
2334 | 99.515
2333 | 99.52
2332 | 99.5186
2331 | 99.5116
2330 | 99.5016
2329 | 99.4922
2328 | 99.4838
2327 | 99.4732
2326 | 99.4556
2325 | 99.4269
2324 | 99.3878
2323 | 99.3442
2322 | 99.3043
2321 | 99.2729
2320 | 99.2494
2319 | 99.2311
2318 | 99.2162
2317 | 99.203
2316 | 99.1891
2315 | 99.172
2314 | 99.1496
2313 | 99.1226
2312 | 99.0934
2311 | 99.0654
2310 | 99.0398
2309 | 99.017
2308 | 98.9977
2307 | 98.9836
2306 | 98.9745
2305 | 98.9668
2304 | 98.9564
2303 | 98.943
2302 | 98.9287
2301 | 98.9144
2300 | 98.8984
2299 | 98.8793
2298 | 98.8586
2297 | 98.8385
2296 | 98.8201
2295 | 98.8031
2294 | 98.7861
2293 | 98.7676
2292 | 98.7465
2291 | 98.7235
2290 | 98.6996
2289 | 98.6754
2288 | 98.6497
2287 | 98.6218
2286 | 98.5925
2285 | 98.5635
2284 | 98.5357
2283 | 98.5085
2282 | 98.4806
2281 | 98.4509
2280 | 98.4196
2279 | 98.3884
2278 | 98.3589
2277 | 98.331
2276 | 98.3037
2275 | 98.2772
2274 | 98.253
2273 | 98.2315
2272 | 98.2109
2271 | 98.1895
2270 | 98.1673
2269 | 98.146
2268 | 98.1267
2267 | 98.1087
2266 | 98.0908
2265 | 98.0719
2264 | 98.0526
2263 | 98.0346
2262 | 98.0189
2261 | 98.0031
2260 | 97.9835
2259 | 97.9599
2258 | 97.9349
2257 | 97.9107
2256 | 97.887
2255 | 97.8644
2254 | 97.8462
2253 | 97.8355
2252 | 97.8306
2251 | 97.8264
2250 | 97.8191
2249 | 97.8072
2248 | 97.7911
2247 | 97.7725
2246 | 97.7547
2245 | 97.74
2244 | 97.7272
2243 | 97.7136
2242 | 97.6974
2241 | 97.6796
2240 | 97.6617
2239 | 97.645
2238 | 97.6294
2237 | 97.6135
2236 | 97.5959
2235 | 97.5769
2234 | 97.5582
2233 | 97.5414
2232 | 97.5265
2231 | 97.5131
2230 | 97.5009
2229 | 97.4883
2228 | 97.4735
2227 | 97.4562
2226 | 97.4396
2225 | 97.4261
2224 | 97.4145
2223 | 97.402
2222 | 97.3884
2221 | 97.3753
2220 | 97.3628
2219 | 97.3497
2218 | 97.3351
2217 | 97.3193
2216 | 97.3027
2215 | 97.2861
2214 | 97.2708
2213 | 97.2576
2212 | 97.2463
2211 | 97.2359
2210 | 97.2262
2209 | 97.2161
2208 | 97.204
2207 | 97.1903
2206 | 97.178
2205 | 97.1678
2204 | 97.1569
2203 | 97.1427
2202 | 97.1268
2201 | 97.1124
2200 | 97.0993
2199 | 97.0858
2198 | 97.0726
2197 | 97.0611
2196 | 97.0499
2195 | 97.037
2194 | 97.0232
2193 | 97.0108
2192 | 96.998
2191 | 96.9804
2190 | 96.9565
2189 | 96.93
2188 | 96.9047
2187 | 96.8812
2186 | 96.8581
2185 | 96.8343
2184 | 96.8097
2183 | 96.7862
2182 | 96.7679
2181 | 96.758
2180 | 96.7545
2179 | 96.7526
2178 | 96.7498
2177 | 96.7471
2176 | 96.7444
2175 | 96.7397
2174 | 96.7333
2173 | 96.7281
2172 | 96.7248
2171 | 96.7184
2170 | 96.703
2169 | 96.6771
2168 | 96.6437
2167 | 96.6062
2166 | 96.5647
2165 | 96.5165
2164 | 96.4592
2163 | 96.393
2162 | 96.3227
2161 | 96.2582
2160 | 96.2144
2159 | 96.2072
2158 | 96.2449
2157 | 96.3203
2156 | 96.4132
2155 | 96.5055
2154 | 96.5899
2153 | 96.666
2152 | 96.7337
2151 | 96.7924
2150 | 96.8432
2149 | 96.888
2148 | 96.9297
2147 | 96.9724
2146 | 97.0205
2145 | 97.074
2144 | 97.1282
2143 | 97.1794
2142 | 97.2277
2141 | 97.2744
2140 | 97.3192
2139 | 97.3619
2138 | 97.4048
2137 | 97.4507
2136 | 97.501
2135 | 97.5567
2134 | 97.6183
2133 | 97.6845
2132 | 97.7517
2131 | 97.8166
2130 | 97.8769
2129 | 97.9303
2128 | 97.9754
2127 | 98.0144
2126 | 98.0514
2125 | 98.087
2124 | 98.1179
2123 | 98.1418
2122 | 98.1607
2121 | 98.1777
2120 | 98.1937
2119 | 98.2075
2118 | 98.2184
2117 | 98.2261
2116 | 98.2306
2115 | 98.2325
2114 | 98.2331
2113 | 98.2331
2112 | 98.2316
2111 | 98.2287
2110 | 98.2255
2109 | 98.2227
2108 | 98.2199
2107 | 98.2172
2106 | 98.2159
2105 | 98.2163
2104 | 98.2165
2103 | 98.215
2102 | 98.2116
2101 | 98.2067
2100 | 98.2012
2099 | 98.1968
2098 | 98.196
2097 | 98.1991
2096 | 98.2046
2095 | 98.2121
2094 | 98.2234
2093 | 98.2389
2092 | 98.2555
2091 | 98.2689
2090 | 98.2775
2089 | 98.2817
2088 | 98.2822
2087 | 98.279
2086 | 98.2721
2085 | 98.2627
2084 | 98.2524
2083 | 98.2425
2082 | 98.2326
2081 | 98.2207
2080 | 98.2056
2079 | 98.1878
2078 | 98.1686
2077 | 98.1471
2076 | 98.1227
2075 | 98.0982
2074 | 98.0778
2073 | 98.0622
2072 | 98.0488
2071 | 98.0357
2070 | 98.0229
2069 | 98.0085
2068 | 97.9896
2067 | 97.9672
2066 | 97.9472
2065 | 97.9332
2064 | 97.923
2063 | 97.9122
2062 | 97.9005
2061 | 97.8888
2060 | 97.8754
2059 | 97.8579
2058 | 97.837
2057 | 97.8152
2056 | 97.7932
2055 | 97.7702
2054 | 97.7451
2053 | 97.7142
2052 | 97.671
2051 | 97.6123
2050 | 97.5449
2049 | 97.482
2048 | 97.4307
2047 | 97.3886
2046 | 97.3504
2045 | 97.3161
2044 | 97.2874
2043 | 97.2632
2042 | 97.2392
2041 | 97.2111
2040 | 97.1767
2039 | 97.1373
2038 | 97.0972
2037 | 97.06
2036 | 97.0259
2035 | 96.9943
2034 | 96.9679
2033 | 96.9509
2032 | 96.9438
2031 | 96.9429
2030 | 96.9445
2029 | 96.9466
2028 | 96.9485
2027 | 96.951
2026 | 96.9565
2025 | 96.9663
2024 | 96.9778
2023 | 96.9883
2022 | 96.9976
2021 | 97.0066
2020 | 97.0153
2019 | 97.025
2018 | 97.039
2017 | 97.0571
2016 | 97.0734
2015 | 97.0834
2014 | 97.0905
2013 | 97.1008
2012 | 97.1147
2011 | 97.1282
2010 | 97.1388
2009 | 97.1473
2008 | 97.1562
2007 | 97.1716
2006 | 97.2022
2005 | 97.25
2004 | 97.3051
2003 | 97.3547
2002 | 97.3952
2001 | 97.4315
2000 | 97.466
1999 | 97.4955
1998 | 97.5158
1997 | 97.5265
1996 | 97.5309
1995 | 97.5339
1994 | 97.5391
1993 | 97.5466
1992 | 97.5535
1991 | 97.5569
1990 | 97.5558
1989 | 97.5493
1988 | 97.5359
1987 | 97.5168
1986 | 97.4955
1985 | 97.4743
1984 | 97.4501
1983 | 97.4179
1982 | 97.3753
1981 | 97.3229
1980 | 97.2645
1979 | 97.2092
1978 | 97.1695
1977 | 97.1538
1976 | 97.1607
1975 | 97.1822
1974 | 97.2114
1973 | 97.2438
1972 | 97.2763
1971 | 97.3078
1970 | 97.3399
1969 | 97.3728
1968 | 97.4046
1967 | 97.4352
1966 | 97.4683
1965 | 97.505
1964 | 97.5411
1963 | 97.5725
1962 | 97.6024
1961 | 97.6387
1960 | 97.6869
1959 | 97.745
1958 | 97.8056
1957 | 97.861
1956 | 97.9074
1955 | 97.9471
1954 | 97.9847
1953 | 98.0226
1952 | 98.0601
1951 | 98.0962
1950 | 98.1319
1949 | 98.1676
1948 | 98.2022
1947 | 98.2344
1946 | 98.2638
1945 | 98.2925
1944 | 98.3238
1943 | 98.36
1942 | 98.3978
1941 | 98.4301
1940 | 98.4537
1939 | 98.4746
1938 | 98.5006
1937 | 98.5323
1936 | 98.5657
1935 | 98.5987
1934 | 98.6317
1933 | 98.6638
1932 | 98.6925
1931 | 98.7187
1930 | 98.7462
1929 | 98.7758
1928 | 98.8049
1927 | 98.8321
1926 | 98.8597
1925 | 98.8904
1924 | 98.9233
1923 | 98.9548
1922 | 98.9816
1921 | 99.0008
1920 | 99.0144
1919 | 99.0294
1918 | 99.0511
1917 | 99.0761
1916 | 99.0958
1915 | 99.1083
1914 | 99.1192
1913 | 99.1327
1912 | 99.1483
1911 | 99.1646
1910 | 99.1817
1909 | 99.1983
1908 | 99.2129
1907 | 99.2272
1906 | 99.2436
1905 | 99.2603
1904 | 99.2724
1903 | 99.2799
1902 | 99.2888
1901 | 99.3021
1900 | 99.3174
1899 | 99.3327
1898 | 99.3489
1897 | 99.3658
1896 | 99.3808
1895 | 99.3932
1894 | 99.4052
1893 | 99.4171
1892 | 99.4275
1891 | 99.4384
1890 | 99.4536
1889 | 99.4726
1888 | 99.4902
1887 | 99.5036
1886 | 99.5157
1885 | 99.5287
1884 | 99.5408
1883 | 99.5513
1882 | 99.5619
1881 | 99.5731
1880 | 99.5836
1879 | 99.5943
1878 | 99.6075
1877 | 99.6226
1876 | 99.6366
1875 | 99.6483
1874 | 99.6586
1873 | 99.666
1872 | 99.6686
1871 | 99.6714
1870 | 99.6842
1869 | 99.7089
1868 | 99.7349
1867 | 99.752
1866 | 99.7602
1865 | 99.764
1864 | 99.7657
1863 | 99.7671
1862 | 99.7713
1861 | 99.7791
1860 | 99.7879
1859 | 99.7964
1858 | 99.807
1857 | 99.8199
1856 | 99.8312
1855 | 99.8389
1854 | 99.8458
1853 | 99.8538
1852 | 99.8616
1851 | 99.8692
1850 | 99.8779
1849 | 99.8859
1848 | 99.8889
1847 | 99.8876
1846 | 99.8911
1845 | 99.9083
1844 | 99.937
1843 | 99.9644
1842 | 99.9796
1841 | 99.9841
1840 | 99.987
1839 | 99.9937
1838 | 100.0036
1837 | 100.0125
1836 | 100.0178
1835 | 100.0204
1834 | 100.0214
1833 | 100.0209
1832 | 100.0235
1831 | 100.037
1830 | 100.0602
1829 | 100.0817
1828 | 100.09
1827 | 100.0871
1826 | 100.0853
1825 | 100.0925
1824 | 100.1057
1823 | 100.1163
1822 | 100.1215
1821 | 100.1253
1820 | 100.1315
1819 | 100.141
1818 | 100.1545
1817 | 100.1724
1816 | 100.1911
1815 | 100.2057
1814 | 100.2148
1813 | 100.2218
1812 | 100.2305
1811 | 100.2414
1810 | 100.2534
1809 | 100.2647
1808 | 100.2722
1807 | 100.2757
1806 | 100.278
1805 | 100.2802
1804 | 100.2801
1803 | 100.2784
1802 | 100.2799
1801 | 100.2875
1800 | 100.2975
1799 | 100.3035
1798 | 100.3047
1797 | 100.3027
1796 | 100.2979
1795 | 100.2926
1794 | 100.2927
1793 | 100.3025
1792 | 100.319
1791 | 100.3343
1790 | 100.3425
1789 | 100.3424
1788 | 100.3356
1787 | 100.327
1786 | 100.323
1785 | 100.3262
1784 | 100.3312
1783 | 100.3332
1782 | 100.3329
1781 | 100.333
1780 | 100.335
1779 | 100.337
1778 | 100.337
1777 | 100.3336
1776 | 100.3286
1775 | 100.327
1774 | 100.3328
1773 | 100.3451
1772 | 100.3566
1771 | 100.3578
1770 | 100.3454
1769 | 100.3274
1768 | 100.3145
1767 | 100.3086
1766 | 100.3017
1765 | 100.287
1764 | 100.2681
1763 | 100.2534
1762 | 100.2463
1761 | 100.2423
1760 | 100.2334
1759 | 100.2171
1758 | 100.1985
1757 | 100.182
1756 | 100.1697
1755 | 100.1582
1754 | 100.1423
1753 | 100.1224
1752 | 100.1055
1751 | 100.0976
1750 | 100.0949
1749 | 100.0871
1748 | 100.0719
1747 | 100.0557
1746 | 100.0394
1745 | 100.0202
1744 | 100.0003
1743 | 99.9841
1742 | 99.9726
1741 | 99.9646
1740 | 99.9595
1739 | 99.9548
1738 | 99.9443
1737 | 99.9273
1736 | 99.9135
1735 | 99.9154
1734 | 99.9335
1733 | 99.9484
1732 | 99.9394
1731 | 99.9155
1730 | 99.8973
1729 | 99.8895
1728 | 99.8869
1727 | 99.8861
1726 | 99.8848
1725 | 99.8819
1724 | 99.8784
1723 | 99.8756
1722 | 99.8726
1721 | 99.8688
1720 | 99.8694
1719 | 99.8822
1718 | 99.9048
1717 | 99.9252
1716 | 99.9302
1715 | 99.92
1714 | 99.9095
1713 | 99.9047
1712 | 99.8986
1711 | 99.8882
1710 | 99.8775
1709 | 99.8674
1708 | 99.8559
1707 | 99.8442
1706 | 99.833
1705 | 99.8175
1704 | 99.7908
1703 | 99.7535
1702 | 99.714
1701 | 99.6856
1700 | 99.6775
1699 | 99.6768
1698 | 99.6645
1697 | 99.6327
1696 | 99.5769
1695 | 99.5083
1694 | 99.4377
1693 | 99.3638
1692 | 99.2868
1691 | 99.2041
1690 | 99.1126
1689 | 99.0171
1688 | 98.9332
1687 | 98.8707
1686 | 98.8202
1685 | 98.7564
1684 | 98.6686
1683 | 98.6011
1682 | 98.5752
1681 | 98.5692
1680 | 98.5707
1679 | 98.5768
1678 | 98.585
1677 | 98.5909
1676 | 98.5925
1675 | 98.5937
1674 | 98.5937
1673 | 98.5854
1672 | 98.5678
1671 | 98.5438
1670 | 98.5127
1669 | 98.4758
1668 | 98.4422
1667 | 98.4169
1666 | 98.3958
1665 | 98.3728
1664 | 98.3426
1663 | 98.3051
1662 | 98.2673
1661 | 98.2342
1660 | 98.2054
1659 | 98.1809
1658 | 98.1599
1657 | 98.1437
1656 | 98.1382
1655 | 98.147
1654 | 98.1489
1653 | 98.1215
1652 | 98.0954
1651 | 98.0737
1650 | 98.0507
1649 | 98.0412
1648 | 98.036
1647 | 98.018
1646 | 97.9981
1645 | 97.9894
1644 | 97.9824
1643 | 97.9741
1642 | 97.9693
1641 | 97.9657
1640 | 97.9607
1639 | 97.9584
1638 | 97.9625
1637 | 97.9628
1636 | 97.9402
1635 | 97.9056
1634 | 97.8806
1633 | 97.8588
1632 | 97.8292
1631 | 97.791
1630 | 97.7428
1629 | 97.6766
1628 | 97.5852
1627 | 97.4789
1626 | 97.3735
1625 | 97.2669
1624 | 97.1461
1623 | 97.0204
1622 | 96.9301
1621 | 96.8988
1620 | 96.9204
1619 | 96.9886
1618 | 97.1041
1617 | 97.2568
1616 | 97.4159
1615 | 97.5529
1614 | 97.6666
1613 | 97.7704
1612 | 97.8694
1611 | 97.9624
1610 | 98.0473
1609 | 98.1199
1608 | 98.1764
1607 | 98.2194
1606 | 98.2551
1605 | 98.2855
1604 | 98.3092
1603 | 98.3259
1602 | 98.3375
1601 | 98.3452
1600 | 98.3493
1599 | 98.3513
1598 | 98.3526
1597 | 98.3536
1596 | 98.354
1595 | 98.3563
1594 | 98.3659
1593 | 98.385
1592 | 98.4119
1591 | 98.4462
1590 | 98.4892
1589 | 98.5394
1588 | 98.593
1587 | 98.6473
1586 | 98.7027
1585 | 98.7576
1584 | 98.8098
1583 | 98.8606
1582 | 98.9103
1581 | 98.9562
1580 | 98.9991
1579 | 99.0455
1578 | 99.099
1577 | 99.1523
1576 | 99.1928
1575 | 99.2169
1574 | 99.226
1573 | 99.2274
1572 | 99.2302
1571 | 99.2372
1570 | 99.245
1569 | 99.2502
1568 | 99.2543
1567 | 99.2584
1566 | 99.2616
1565 | 99.263
1564 | 99.2647
1563 | 99.2676
1562 | 99.2721
1561 | 99.2709
1560 | 99.2701
1559 | 99.2557
1558 | 99.2532
1557 | 99.2698
1556 | 99.2766
1555 | 99.2774
1554 | 99.279
1553 | 99.2805
1552 | 99.2814
1551 | 99.283
1550 | 99.2893
1549 | 99.3021
1548 | 99.3168
1547 | 99.3273
1546 | 99.3332
1545 | 99.3386
1544 | 99.3499
1543 | 99.3723
1542 | 99.4084
1541 | 99.4541
1540 | 99.495
1539 | 99.5311
1538 | 99.5542
1537 | 99.5546
1536 | 99.5471
1535 | 99.5483
1534 | 99.5605
1533 | 99.5793
1532 | 99.5997
1531 | 99.6148
1530 | 99.6215
1529 | 99.6235
1528 | 99.6231
1527 | 99.6213
1526 | 99.6199
1525 | 99.6208
1524 | 99.6233
1523 | 99.622
1522 | 99.606
1521 | 99.5759
1520 | 99.5449
1519 | 99.5142
1518 | 99.4769
1517 | 99.4301
1516 | 99.3829
1515 | 99.3472
1514 | 99.319
1513 | 99.2896
1512 | 99.2567
1511 | 99.2213
1510 | 99.1888
1509 | 99.1645
1508 | 99.1502
1507 | 99.1366
1506 | 99.1446
1505 | 99.1728
1504 | 99.1877
1503 | 99.1894
1502 | 99.1933
1501 | 99.2063
1500 | 99.233
1499 | 99.2739
1498 | 99.3236
1497 | 99.3772
1496 | 99.4319
1495 | 99.4792
1494 | 99.5106
1493 | 99.5287
1492 | 99.5427
1491 | 99.5595
1490 | 99.5782
1489 | 99.5963
1488 | 99.6112
1487 | 99.6195
1486 | 99.6212
1485 | 99.6157
1484 | 99.6019
1483 | 99.5815
1482 | 99.5555
1481 | 99.5252
1480 | 99.4924
1479 | 99.457
1478 | 99.415
1477 | 99.3641
1476 | 99.3062
1475 | 99.2444
1474 | 99.1725
1473 | 99.0791
1472 | 98.9753
1471 | 98.8845
1470 | 98.8085
1469 | 98.7376
1468 | 98.6684
1467 | 98.6008
1466 | 98.5319
1465 | 98.4609
1464 | 98.3993
1463 | 98.358
1462 | 98.3316
1461 | 98.3133
1460 | 98.3027
1459 | 98.2969
1458 | 98.2789
1457 | 98.2433
1456 | 98.2211
1455 | 98.2225
1454 | 98.2312
1453 | 98.2441
1452 | 98.2621
1451 | 98.283
1450 | 98.3041
1449 | 98.3253
1448 | 98.3476
1447 | 98.3716
1446 | 98.3956
1445 | 98.417
1444 | 98.4358
1443 | 98.4502
1442 | 98.4574
1441 | 98.4567
1440 | 98.4502
1439 | 98.4364
1438 | 98.4079
1437 | 98.3606
1436 | 98.308
1435 | 98.2651
1434 | 98.2267
1433 | 98.1833
1432 | 98.1324
1431 | 98.0762
1430 | 98.0171
1429 | 97.9611
1428 | 97.9171
1427 | 97.8883
1426 | 97.868
1425 | 97.8479
1424 | 97.8319
1423 | 97.8317
1422 | 97.8488
1421 | 97.8742
1420 | 97.9022
1419 | 97.9313
1418 | 97.9643
1417 | 98.007
1416 | 98.0617
1415 | 98.123
1414 | 98.1812
1413 | 98.2307
1412 | 98.2749
1411 | 98.3177
1410 | 98.3571
1409 | 98.3911
1408 | 98.4201
1407 | 98.4443
1406 | 98.4627
1405 | 98.4766
1404 | 98.4933
1403 | 98.5156
1402 | 98.5375
1401 | 98.554
1400 | 98.5654
1399 | 98.5746
1398 | 98.5839
1397 | 98.5942
1396 | 98.6052
1395 | 98.6171
1394 | 98.6288
1393 | 98.6379
1392 | 98.6424
1391 | 98.6409
1390 | 98.6319
1389 | 98.613
1388 | 98.5833
1387 | 98.5465
1386 | 98.5092
1385 | 98.473
1384 | 98.4335
1383 | 98.3863
1382 | 98.3316
1381 | 98.2732
1380 | 98.2151
1379 | 98.1607
1378 | 98.1131
1377 | 98.0722
1376 | 98.0316
1375 | 97.9842
1374 | 97.9316
1373 | 97.8866
1372 | 97.8584
1371 | 97.8449
1370 | 97.8396
1369 | 97.8383
1368 | 97.8418
1367 | 97.8516
1366 | 97.8654
1365 | 97.8779
1364 | 97.8861
1363 | 97.8922
1362 | 97.9054
1361 | 97.9328
1360 | 97.9713
1359 | 98.0123
1358 | 98.0498
1357 | 98.0813
1356 | 98.1073
1355 | 98.1289
1354 | 98.1469
1353 | 98.1619
1352 | 98.1732
1351 | 98.1788
1350 | 98.1769
1349 | 98.1663
1348 | 98.1465
1347 | 98.1174
1346 | 98.0791
1345 | 98.0329
1344 | 97.9821
1343 | 97.928
1342 | 97.8683
1341 | 97.7996
1340 | 97.7245
1339 | 97.6531
1338 | 97.5956
1337 | 97.5533
1336 | 97.5223
1335 | 97.4999
1334 | 97.4848
1333 | 97.4755
1332 | 97.4704
1331 | 97.4688
1330 | 97.4696
1329 | 97.47
1328 | 97.4663
1327 | 97.4559
1326 | 97.4366
1325 | 97.4066
1324 | 97.3665
1323 | 97.3196
1322 | 97.2691
1321 | 97.2165
1320 | 97.1637
1319 | 97.1156
1318 | 97.0792
1317 | 97.0599
1316 | 97.0593
1315 | 97.0766
1314 | 97.1101
1313 | 97.159
1312 | 97.223
1311 | 97.3004
1310 | 97.3869
1309 | 97.4781
1308 | 97.5719
1307 | 97.6677
1306 | 97.7644
1305 | 97.8594
1304 | 97.9511
1303 | 98.0384
1302 | 98.1195
1301 | 98.193
1300 | 98.2588
1299 | 98.3169
1298 | 98.3668
1297 | 98.4082
1296 | 98.4423
1295 | 98.4708
1294 | 98.494
1293 | 98.5116
1292 | 98.5243
1291 | 98.5335
1290 | 98.5391
1289 | 98.54
1288 | 98.536
1287 | 98.5275
1286 | 98.5147
1285 | 98.4973
1284 | 98.4758
1283 | 98.452
1282 | 98.4281
1281 | 98.4057
1280 | 98.3853
1279 | 98.3662
1278 | 98.3462
1277 | 98.3236
1276 | 98.2987
1275 | 98.2739
1274 | 98.2509
1273 | 98.23
1272 | 98.212
1271 | 98.1976
1270 | 98.187
1269 | 98.1791
1268 | 98.1733
1267 | 98.1691
1266 | 98.1653
1265 | 98.1599
1264 | 98.1525
1263 | 98.1442
1262 | 98.1359
1261 | 98.1275
1260 | 98.1193
1259 | 98.1118
1258 | 98.1049
1257 | 98.0976
1256 | 98.089
1255 | 98.0787
1254 | 98.0652
1253 | 98.0468
1252 | 98.0231
1251 | 97.9955
1250 | 97.9658
1249 | 97.9348
1248 | 97.9041
1247 | 97.8762
1246 | 97.8525
1245 | 97.8331
1244 | 97.8185
1243 | 97.8092
1242 | 97.8039
1241 | 97.7998
1240 | 97.7951
1239 | 97.79
1238 | 97.7856
1237 | 97.782
1236 | 97.7797
1235 | 97.7796
1234 | 97.7826
1233 | 97.7892
1232 | 97.7997
1231 | 97.8147
1230 | 97.8333
1229 | 97.8544
1228 | 97.8779
1227 | 97.9041
1226 | 97.9326
1225 | 97.9619
1224 | 97.9918
1223 | 98.0225
1222 | 98.0541
1221 | 98.086
1220 | 98.118
1219 | 98.1496
1218 | 98.179
1217 | 98.2039
1216 | 98.2234
1215 | 98.2374
1214 | 98.2443
1213 | 98.2411
1212 | 98.2256
1211 | 98.1984
1210 | 98.1619
1209 | 98.1199
1208 | 98.078
1207 | 98.0424
1206 | 98.0176
1205 | 98.0048
1204 | 98.0031
1203 | 98.0111
1202 | 98.027
1201 | 98.0493
1200 | 98.0775
1199 | 98.111
1198 | 98.1468
1197 | 98.1804
1196 | 98.208
1195 | 98.2276
1194 | 98.2372
1193 | 98.2348
1192 | 98.2191
1191 | 98.189
1190 | 98.1434
1189 | 98.0814
1188 | 98.0044
1187 | 97.9151
1186 | 97.8145
1185 | 97.7019
1184 | 97.5757
1183 | 97.4358
1182 | 97.2816
1181 | 97.1116
1180 | 96.9257
1179 | 96.7252
1178 | 96.5107
1177 | 96.2799
1176 | 96.0303
1175 | 95.7623
1174 | 95.4779
1173 | 95.1782
1172 | 94.8645
1171 | 94.5406
1170 | 94.2117
1169 | 93.8827
1168 | 93.5595
1167 | 93.2504
1166 | 92.9623
1165 | 92.6982
1164 | 92.4614
1163 | 92.2562
1162 | 92.0822
1161 | 91.9323
1160 | 91.7993
1159 | 91.6807
1158 | 91.5734
1157 | 91.4703
1156 | 91.3661
1155 | 91.2606
1154 | 91.1535
1153 | 91.0407
1152 | 90.9193
1151 | 90.7912
1150 | 90.6569
1149 | 90.5138
1148 | 90.3624
1147 | 90.2088
1146 | 90.0564
1145 | 89.9028
1144 | 89.7469
1143 | 89.5933
1142 | 89.4429
1141 | 89.2889
1140 | 89.1267
1139 | 88.9595
1138 | 88.7897
1137 | 88.6135
1136 | 88.4282
1135 | 88.2389
1134 | 88.0503
1133 | 87.861
1132 | 87.67
1131 | 87.4804
1130 | 87.2922
1129 | 87.0987
1128 | 86.8986
1127 | 86.7017
1126 | 86.5173
1125 | 86.3461
1124 | 86.1885
1123 | 86.0493
1122 | 85.9277
1121 | 85.812
1120 | 85.6912
1119 | 85.563
1118 | 85.4243
1117 | 85.2681
1116 | 85.095
1115 | 84.9195
1114 | 84.7569
1113 | 84.6142
1112 | 84.4985
1111 | 84.421
1110 | 84.3847
1109 | 84.3802
1108 | 84.4
1107 | 84.4461
1106 | 84.5185
1105 | 84.6096
1104 | 84.7166
1103 | 84.8459
1102 | 84.9983
1101 | 85.1638
1100 | 85.3353
1099 | 85.5151
1098 | 85.7032
1097 | 85.8909
1096 | 86.0723
1095 | 86.2506
1094 | 86.4265
1093 | 86.5935
1092 | 86.7484
1091 | 86.896
1090 | 87.0388
1089 | 87.1716
1088 | 87.2919
1087 | 87.4043
1086 | 87.5102
1085 | 87.6022
1084 | 87.6737
1083 | 87.7247
1082 | 87.7553
1081 | 87.7622
1080 | 87.7469
1079 | 87.7193
1078 | 87.6874
1077 | 87.652
1076 | 87.614
1075 | 87.5772
1074 | 87.5401
1073 | 87.4928
1072 | 87.4263
1071 | 87.3388
1070 | 87.2281
1069 | 87.0867
1068 | 86.9095
1067 | 86.6991
1066 | 86.4588
1065 | 86.19
1064 | 85.9016
1063 | 85.613
1062 | 85.3424
1061 | 85.0985
1060 | 84.8879
1059 | 84.7186
1058 | 84.5908
1057 | 84.4944
1056 | 84.422
1055 | 84.3756
1054 | 84.3553
1053 | 84.3526
1052 | 84.3608
1051 | 84.3814
1050 | 84.4138
1049 | 84.4506
1048 | 84.4863
1047 | 84.5217
1046 | 84.5536
1045 | 84.5703
1044 | 84.5631
1043 | 84.5311
1042 | 84.473
1041 | 84.3839
1040 | 84.2654
1039 | 84.1296
1038 | 83.9887
1037 | 83.8491
1036 | 83.7188
1035 | 83.6109
1034 | 83.534
1033 | 83.4877
1032 | 83.472
1031 | 83.4902
1030 | 83.5406
1029 | 83.6136
1028 | 83.7029
1027 | 83.8098
1026 | 83.9339
1025 | 84.0684
1024 | 84.2086
1023 | 84.356
1022 | 84.5101
1021 | 84.6654
1020 | 84.8199
1019 | 84.978
1018 | 85.1409
1017 | 85.3036
1016 | 85.4616
1015 | 85.6153
1014 | 85.7625
1013 | 85.8957
1012 | 86.0078
1011 | 86.0964
1010 | 86.1588
1009 | 86.19
1008 | 86.1898
1007 | 86.167
1006 | 86.1375
1005 | 86.1211
1004 | 86.1392
1003 | 86.2053
1002 | 86.3158
1001 | 86.454
1000 | 86.606
999 | 86.7661
998 | 86.9294
997 | 87.0877
996 | 87.2347
995 | 87.3693
994 | 87.4896
993 | 87.5908
992 | 87.6714
991 | 87.7351
990 | 87.7859
989 | 87.8254
988 | 87.8596
987 | 87.9011
986 | 87.9636
985 | 88.0573
984 | 88.1909
983 | 88.3709
982 | 88.5959
981 | 88.8545
980 | 89.133
979 | 89.4206
978 | 89.7075
977 | 89.9847
976 | 90.2474
975 | 90.4962
974 | 90.7316
973 | 90.9518
972 | 91.1565
971 | 91.3485
970 | 91.5304
969 | 91.7033
968 | 91.8689
967 | 92.0311
966 | 92.1923
965 | 92.3522
964 | 92.511
963 | 92.6702
962 | 92.8301
961 | 92.9885
960 | 93.1445
959 | 93.2995
958 | 93.4542
957 | 93.6076
956 | 93.7592
955 | 93.9092
954 | 94.0564
953 | 94.1982
952 | 94.3334
951 | 94.4631
950 | 94.5877
949 | 94.7062
948 | 94.8184
947 | 94.9255
946 | 95.0275
945 | 95.1224
944 | 95.2089
943 | 95.2884
942 | 95.3628
941 | 95.4324
940 | 95.4972
939 | 95.558
938 | 95.6148
937 | 95.6662
936 | 95.7121
935 | 95.7537
934 | 95.7926
933 | 95.8293
932 | 95.8646
931 | 95.8994
930 | 95.933
929 | 95.9639
928 | 95.9917
927 | 96.0176
926 | 96.0409
925 | 96.0592
924 | 96.0725
923 | 96.0835
922 | 96.0946
921 | 96.1044
920 | 96.1106
919 | 96.112
918 | 96.1079
917 | 96.0978
916 | 96.0831
915 | 96.0667
914 | 96.05
913 | 96.0323
912 | 96.0134
911 | 95.9943
910 | 95.975
909 | 95.953
908 | 95.9252
907 | 95.8904
906 | 95.848
905 | 95.7971
904 | 95.7386
903 | 95.6771
902 | 95.618
901 | 95.5652
900 | 95.5225
899 | 95.4939
898 | 95.482
897 | 95.4875
896 | 95.5105
895 | 95.5516
894 | 95.6092
893 | 95.6786
892 | 95.7553
891 | 95.8365
890 | 95.92
889 | 96.0033
888 | 96.084
887 | 96.1608
886 | 96.2327
885 | 96.2986
884 | 96.3585
883 | 96.4125
882 | 96.4587
881 | 96.4952
880 | 96.5234
879 | 96.5484
878 | 96.5744
877 | 96.602
876 | 96.6299
875 | 96.6589
874 | 96.6911
873 | 96.7274
872 | 96.7664
871 | 96.8045
870 | 96.8385
869 | 96.8671
868 | 96.892
867 | 96.915
866 | 96.9357
865 | 96.9531
864 | 96.9673
863 | 96.9791
862 | 96.9874
861 | 96.9914
860 | 96.9928
859 | 96.9944
858 | 96.996
857 | 96.9948
856 | 96.9894
855 | 96.9817
854 | 96.9743
853 | 96.9693
852 | 96.9679
851 | 96.9688
850 | 96.9672
849 | 96.9582
848 | 96.9423
847 | 96.9239
846 | 96.9057
845 | 96.8869
844 | 96.8673
843 | 96.8479
842 | 96.828
841 | 96.8048
840 | 96.7778
839 | 96.7502
838 | 96.7254
837 | 96.7046
836 | 96.6879
835 | 96.6748
834 | 96.6622
833 | 96.6465
832 | 96.6289
831 | 96.6144
830 | 96.606
829 | 96.6021
828 | 96.6004
827 | 96.6001
826 | 96.5998
825 | 96.5966
824 | 96.59
823 | 96.582
822 | 96.5733
821 | 96.5625
820 | 96.5501
819 | 96.5388
818 | 96.5287
817 | 96.5176
816 | 96.505
815 | 96.494
814 | 96.4853
813 | 96.4764
812 | 96.466
811 | 96.4555
810 | 96.4449
809 | 96.4315
808 | 96.4145
807 | 96.3967
806 | 96.38
805 | 96.3632
804 | 96.3453
803 | 96.3277
802 | 96.3102
801 | 96.2911
800 | 96.2709
799 | 96.2537
798 | 96.2409
797 | 96.2298
796 | 96.218
795 | 96.2063
794 | 96.1945
793 | 96.1803
792 | 96.1635
791 | 96.1468
790 | 96.131
789 | 96.1133
788 | 96.092
787 | 96.0685
786 | 96.0443
785 | 96.0186
784 | 95.9924
783 | 95.9683
782 | 95.9458
781 | 95.9207
780 | 95.892
779 | 95.8642
778 | 95.8402
777 | 95.8173
776 | 95.7929
775 | 95.7674
774 | 95.7409
773 | 95.711
772 | 95.6773
771 | 95.6427
770 | 95.6086
769 | 95.5725
768 | 95.5338
767 | 95.4957
766 | 95.4593
765 | 95.4214
764 | 95.38
763 | 95.338
762 | 95.2973
761 | 95.2557
760 | 95.212
759 | 95.1688
758 | 95.1274
757 | 95.085
756 | 95.0403
755 | 94.9967
754 | 94.9558
753 | 94.914
752 | 94.8688
751 | 94.8236
750 | 94.7808
749 | 94.7374
748 | 94.691
747 | 94.6447
746 | 94.6008
745 | 94.5572
744 | 94.5121
743 | 94.4686
742 | 94.4286
741 | 94.389
740 | 94.3473
739 | 94.3056
738 | 94.2648
737 | 94.221
736 | 94.1715
735 | 94.1198
734 | 94.0687
733 | 94.0151
732 | 93.9553
731 | 93.8911
730 | 93.8251
729 | 93.7559
728 | 93.6825
727 | 93.6076
726 | 93.5321
725 | 93.454
724 | 93.374
723 | 93.295
722 | 93.2135
721 | 93.1223
720 | 93.0257
719 | 92.9398
718 | 92.871
717 | 92.8068
716 | 92.734
715 | 92.654
714 | 92.5743
713 | 92.4969
712 | 92.422
711 | 92.3537
710 | 92.2926
709 | 92.2313
708 | 92.166
707 | 92.1034
706 | 92.0484
705 | 91.9948
704 | 91.9374
703 | 91.8807
702 | 91.8279
701 | 91.7734
700 | 91.7145
699 | 91.6601
698 | 91.6162
697 | 91.5753
696 | 91.53
695 | 91.4844
694 | 91.4424
693 | 91.3968
692 | 91.3432
691 | 91.2903
690 | 91.2415
689 | 91.1833
688 | 91.1042
687 | 91.012
686 | 90.9151
685 | 90.8061
684 | 90.6773
683 | 90.534
682 | 90.3747
681 | 90.1784
680 | 89.931
679 | 89.6429
678 | 89.3216
677 | 88.9539
676 | 88.534
675 | 88.0766
674 | 87.5943
673 | 87.1016
672 | 86.6478
671 | 86.2805
670 | 85.9839
669 | 85.6599
668 | 85.2733
667 | 85.0517
666 | 85.1472
665 | 85.4275
664 | 85.7762
663 | 86.1441
662 | 86.4947
661 | 86.8018
660 | 87.0628
659 | 87.2897
658 | 87.4899
657 | 87.6643
656 | 87.8119
655 | 87.9325
654 | 88.0277
653 | 88.1026
652 | 88.1633
651 | 88.2124
650 | 88.2484
649 | 88.2678
648 | 88.2703
647 | 88.2601
646 | 88.24
645 | 88.2089
644 | 88.1688
643 | 88.1299
642 | 88.1002
641 | 88.0774
640 | 88.0585
639 | 88.0508
638 | 88.0613
637 | 88.0839
636 | 88.1095
635 | 88.1359
634 | 88.1589
633 | 88.1682
632 | 88.1622
631 | 88.1566
630 | 88.1683
629 | 88.2014
628 | 88.2602
627 | 88.36
626 | 88.5116
625 | 88.7121
624 | 88.9534
623 | 89.2232
622 | 89.5111
621 | 89.826
620 | 90.1717
619 | 90.5024
618 | 90.7544
617 | 90.9162
616 | 91.0198
615 | 91.0905
614 | 91.1449
613 | 91.1959
612 | 91.2293
611 | 91.216
610 | 91.1726
609 | 91.1602
608 | 91.2028
607 | 91.2601
606 | 91.2981
605 | 91.3361
604 | 91.3954
603 | 91.4694
602 | 91.5756
601 | 91.7676
600 | 92.0523

## Sample Details
Setting | Value
Filesname | 8.3.34 8
Creation Date
Analyst | mas-storage
X-Axis Units | cm-1
X-Axis start value | 4000
X-Axis end value | 600
Data interval | -1
Number of points | 3401
Y-Axis Units | %T
Description | 6Sample 3318 By mas-storage Date Thursday, June 16 2022

## Instrument Details
Setting | Value
Instrument Model | Frontier FT-IR
Instrument Serial Number | 91175
Software Revision | CPU32 Main 00.09.9908 05-May-2009 15:52:12
Number of Scans | 32
Resolution | 4
Detector
Source | MIR
Beam Splitter | OptKBr
Apodization | Strong
Spectrum Type | Spectrum
Beam Type | Ratio
Phase Correction | Magnitude
Scan Speed | 1
IGram Type | Double
Scan Driection | Combined
Zero Crossing | 0
JStop | 8.94
IR-Laser Wavenumber | 15798.001999451375
Manufacturer | PIKE Technologies Inc.
Part Number | L1200385
Serial Number | 19250
Description | Miracle Accessory
Default Scan Range | 4000 450
Accessory Type | Miracle ATR
Temperature / °C
Slide Holder Option

## Quality Checks
Setting | Value
Water Vapor | Passed
Carbon Dioxide | Passed
Baseline Low | Passed
Baseline High | Passed
Baseline Slope | Passed
Strong Bands | Passed
Weak Bands | Warning
High Noise | Passed
Fringes | Caution
Vignetting | Passed
Blocked Beam | Passed
Negative Bands | Passed
Zero Transmission | Passed
Stray Light | Passed
Window Cuttoff | Passed