## Data
Wavelength / cm-1 | Transmittance / % | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1 |  | Wavelength / cm-1
4000 | 97.7039 |  | Baseline @ 1105 |  | Baseline @ 1735 |  | Baseline @ 2900 |  | Peak @ 1105 |  | Peak @ 1735 |  | Peak @ 2900
3999 | 97.6993 | 850 | 97.648 | 1525 | 99.926 | 2670 | 99.2341 | 1105 | 83.5925 | 1735 | 99.8953 | 2900 | 98.1065
3998 | 97.6995 | 1210 | 98.5119 | 1780 | 100.2914 | 3000 | 98.3773 | 1105 | 98.2599 | 1735 | 100.2269 | 2900 | 98.6369
3997 | 97.7045
3996 | 97.7113
3995 | 97.7164
3994 | 97.7188
3993 | 97.7198
3992 | 97.7208
3991 | 97.7218
3990 | 97.7225
3989 | 97.7231
3988 | 97.7242
3987 | 97.7258
3986 | 97.7275
3985 | 97.7285
3984 | 97.7284
3983 | 97.7273
3982 | 97.7259
3981 | 97.7247
3980 | 97.7242
3979 | 97.7243
3978 | 97.725
3977 | 97.727 |  |  | Baseline range |  |  | Transmittance |  |  |  | Equation of base line |  |  | Transmittance at peak value wavelength | Peak Intensity |  | Ratio
3976 | 97.7307 |  | Peak value
3975 | 97.7358 |  | Wavelength
3974 | 97.7415 |  | x1 | x2 | x3 |  | y1 | y2 | y3 |  | m | c
3973 | 97.7463 | [15 empty] | flexural
3972 | 97.7492 |  | 1105 | 850 | 1210 |  | 83.5925 | 97.648 | 98.5119 |  | 0.0023997 | 95.6082 |  | 98.2599 | 14.6674 | R1 | 0.022606
3971 | 97.7497 |  | 1735 | 1525 | 1780 |  | 99.8953 | 99.926 | 100.2914 |  | 0.0014328 | 97.741 |  | 100.2269 | 0.33157 | R2 | 0.62514
3970 | 97.7481 |  | 2900 | 2670 | 3000 |  | 98.1065 | 99.2341 | 98.3773 |  | -0.0025965 | 106.1668 |  | 98.6369 | 0.5304
3969 | 97.7456
3968 | 97.743 |  | From paper
3967 | 97.7406 |  | 1105 | 765 | 1185
3966 | 97.7389 |  | 1735 | 1485 | 1780
3965 | 97.7391 |  | 2900 | 2630 | 3000
3964 | 97.7416
3963 | 97.745
3962 | 97.7467
3961 | 97.7452
3960 | 97.7416
3959 | 97.7386
3958 | 97.739
3957 | 97.7441
3956 | 97.7522
3955 | 97.7598
3954 | 97.7635
3953 | 97.762
3952 | 97.756
3951 | 97.7473
3950 | 97.7389
3949 | 97.7337
3948 | 97.7336
3947 | 97.7374
3946 | 97.7426
3945 | 97.7467
3944 | 97.7483
3943 | 97.7484
3942 | 97.7502
3941 | 97.7556
3940 | 97.7622
3939 | 97.7657
3938 | 97.7642
3937 | 97.7604
3936 | 97.758
3935 | 97.7579
3934 | 97.7585
3933 | 97.7598
3932 | 97.7641
3931 | 97.7721
3930 | 97.7804
3929 | 97.7854
3928 | 97.7867
3927 | 97.7859
3926 | 97.7831
3925 | 97.7788
3924 | 97.7749
3923 | 97.7727
3922 | 97.7704
3921 | 97.7665
3920 | 97.7628
3919 | 97.7633
3918 | 97.769
3917 | 97.7773
3916 | 97.785
3915 | 97.7901
3914 | 97.7915
3913 | 97.7893
3912 | 97.7853
3911 | 97.7828
3910 | 97.7835
3909 | 97.7868
3908 | 97.7908
3907 | 97.7932
3906 | 97.7918
3905 | 97.7861
3904 | 97.781
3903 | 97.7844
3902 | 97.7976
3901 | 97.8135
3900 | 97.8228
3899 | 97.8226
3898 | 97.8159
3897 | 97.8062
3896 | 97.7953
3895 | 97.7863
3894 | 97.783
3893 | 97.7861
3892 | 97.7918
3891 | 97.7962
3890 | 97.7992
3889 | 97.8044
3888 | 97.8128
3887 | 97.8178
3886 | 97.8144
3885 | 97.8087
3884 | 97.8089
3883 | 97.814
3882 | 97.8173
3881 | 97.8152
3880 | 97.8115
3879 | 97.8114
3878 | 97.8151
3877 | 97.8199
3876 | 97.8205
3875 | 97.8128
3874 | 97.8025
3873 | 97.8028
3872 | 97.8177
3871 | 97.8345
3870 | 97.84
3869 | 97.8385
3868 | 97.8403
3867 | 97.8449
3866 | 97.8426
3865 | 97.8301
3864 | 97.8174
3863 | 97.8142
3862 | 97.8172
3861 | 97.8201
3860 | 97.8205
3859 | 97.8206
3858 | 97.8249
3857 | 97.8384
3856 | 97.8588
3855 | 97.8719
3854 | 97.8717
3853 | 97.8797
3852 | 97.901
3851 | 97.9114
3850 | 97.8984
3849 | 97.8701
3848 | 97.8395
3847 | 97.8158
3846 | 97.8012
3845 | 97.7943
3844 | 97.7929
3843 | 97.7956
3842 | 97.8019
3841 | 97.8127
3840 | 97.8262
3839 | 97.8399
3838 | 97.8523
3837 | 97.8614
3836 | 97.8644
3835 | 97.861
3834 | 97.8542
3833 | 97.8464
3832 | 97.8378
3831 | 97.8291
3830 | 97.8212
3829 | 97.8138
3828 | 97.8046
3827 | 97.7914
3826 | 97.7772
3825 | 97.7711
3824 | 97.7794
3823 | 97.7964
3822 | 97.8078
3821 | 97.8105
3820 | 97.8146
3819 | 97.8256
3818 | 97.8385
3817 | 97.8423
3816 | 97.8344
3815 | 97.8268
3814 | 97.8254
3813 | 97.8223
3812 | 97.8107
3811 | 97.7949
3810 | 97.7853
3809 | 97.7853
3808 | 97.7868
3807 | 97.783
3806 | 97.7778
3805 | 97.7793
3804 | 97.7888
3803 | 97.7965
3802 | 97.7916
3801 | 97.7817
3800 | 97.7805
3799 | 97.7862
3798 | 97.7886
3797 | 97.7817
3796 | 97.769
3795 | 97.7583
3794 | 97.7519
3793 | 97.7458
3792 | 97.7377
3791 | 97.729
3790 | 97.7215
3789 | 97.7151
3788 | 97.7098
3787 | 97.706
3786 | 97.7033
3785 | 97.7004
3784 | 97.6977
3783 | 97.6974
3782 | 97.6998
3781 | 97.7017
3780 | 97.7002
3779 | 97.6977
3778 | 97.6986
3777 | 97.7031
3776 | 97.7062
3775 | 97.7035
3774 | 97.6956
3773 | 97.6881
3772 | 97.6842
3771 | 97.6823
3770 | 97.6811
3769 | 97.6824
3768 | 97.6854
3767 | 97.6853
3766 | 97.6783
3765 | 97.6662
3764 | 97.6567
3763 | 97.6546
3762 | 97.6563
3761 | 97.6547
3760 | 97.6487
3759 | 97.6437
3758 | 97.6418
3757 | 97.6407
3756 | 97.6416
3755 | 97.6469
3754 | 97.655
3753 | 97.6609
3752 | 97.6653
3751 | 97.6752
3750 | 97.6877
3749 | 97.6915
3748 | 97.6895
3747 | 97.6944
3746 | 97.7012
3745 | 97.692
3744 | 97.6736
3743 | 97.6632
3742 | 97.6556
3741 | 97.6411
3740 | 97.6213
3739 | 97.6048
3738 | 97.5954
3737 | 97.5876
3736 | 97.5803
3735 | 97.5831
3734 | 97.6008
3733 | 97.6205
3732 | 97.6262
3731 | 97.6156
3730 | 97.5972
3729 | 97.5788
3728 | 97.5609
3727 | 97.5412
3726 | 97.5226
3725 | 97.5108
3724 | 97.5077
3723 | 97.5098
3722 | 97.5134
3721 | 97.5161
3720 | 97.5162
3719 | 97.5127
3718 | 97.5046
3717 | 97.4931
3716 | 97.4837
3715 | 97.4805
3714 | 97.4828
3713 | 97.4868
3712 | 97.4919
3711 | 97.5002
3710 | 97.5084
3709 | 97.5097
3708 | 97.5014
3707 | 97.4864
3706 | 97.4702
3705 | 97.4567
3704 | 97.4465
3703 | 97.4376
3702 | 97.4291
3701 | 97.4226
3700 | 97.4189
3699 | 97.4166
3698 | 97.4119
3697 | 97.4018
3696 | 97.3888
3695 | 97.3797
3694 | 97.3788
3693 | 97.3864
3692 | 97.4
3691 | 97.4148
3690 | 97.4241
3689 | 97.4245
3688 | 97.4164
3687 | 97.4004
3686 | 97.3779
3685 | 97.3515
3684 | 97.3249
3683 | 97.3036
3682 | 97.2916
3681 | 97.2854
3680 | 97.2802
3679 | 97.2779
3678 | 97.2846
3677 | 97.2952
3676 | 97.2989
3675 | 97.2989
3674 | 97.3019
3673 | 97.3072
3672 | 97.3106
3671 | 97.3026
3670 | 97.2813
3669 | 97.2579
3668 | 97.238
3667 | 97.2185
3666 | 97.1983
3665 | 97.1792
3664 | 97.1621
3663 | 97.1468
3662 | 97.1322
3661 | 97.118
3660 | 97.1072
3659 | 97.1019
3658 | 97.0992
3657 | 97.0929
3656 | 97.0821
3655 | 97.0728
3654 | 97.0714
3653 | 97.0793
3652 | 97.0893
3651 | 97.089
3650 | 97.0754
3649 | 97.059
3648 | 97.0462
3647 | 97.0314
3646 | 97.01
3645 | 96.9852
3644 | 96.9606
3643 | 96.937
3642 | 96.9143
3641 | 96.8948
3640 | 96.8801
3639 | 96.8682
3638 | 96.8566
3637 | 96.8454
3636 | 96.8361
3635 | 96.8272
3634 | 96.8179
3633 | 96.8131
3632 | 96.8185
3631 | 96.8288
3630 | 96.8253
3629 | 96.8009
3628 | 96.7715
3627 | 96.7482
3626 | 96.7278
3625 | 96.7072
3624 | 96.6879
3623 | 96.6742
3622 | 96.6673
3621 | 96.6603
3620 | 96.6443
3619 | 96.6184
3618 | 96.5905
3617 | 96.5678
3616 | 96.5531
3615 | 96.5429
3614 | 96.5312
3613 | 96.5168
3612 | 96.5035
3611 | 96.493
3610 | 96.4814
3609 | 96.4638
3608 | 96.4412
3607 | 96.42
3606 | 96.4044
3605 | 96.393
3604 | 96.3821
3603 | 96.3684
3602 | 96.3513
3601 | 96.3319
3600 | 96.3134
3599 | 96.2977
3598 | 96.2838
3597 | 96.2679
3596 | 96.2474
3595 | 96.2222
3594 | 96.1954
3593 | 96.1717
3592 | 96.1544
3591 | 96.1438
3590 | 96.1362
3589 | 96.1234
3588 | 96.0993
3587 | 96.0665
3586 | 96.0329
3585 | 96.0036
3584 | 95.9792
3583 | 95.9571
3582 | 95.934
3581 | 95.9079
3580 | 95.8796
3579 | 95.8518
3578 | 95.8262
3577 | 95.8027
3576 | 95.7786
3575 | 95.7513
3574 | 95.7203
3573 | 95.6885
3572 | 95.6606
3571 | 95.6393
3570 | 95.621
3569 | 95.5953
3568 | 95.5526
3567 | 95.4961
3566 | 95.4397
3565 | 95.3945
3564 | 95.3613
3563 | 95.335
3562 | 95.3095
3561 | 95.2807
3560 | 95.2478
3559 | 95.2126
3558 | 95.1773
3557 | 95.1441
3556 | 95.114
3555 | 95.0869
3554 | 95.0599
3553 | 95.0294
3552 | 94.9942
3551 | 94.9583
3550 | 94.9272
3549 | 94.902
3548 | 94.8776
3547 | 94.8485
3546 | 94.8152
3545 | 94.7839
3544 | 94.7605
3543 | 94.7448
3542 | 94.7324
3541 | 94.7196
3540 | 94.7061
3539 | 94.693
3538 | 94.681
3537 | 94.6697
3536 | 94.6599
3535 | 94.6529
3534 | 94.6493
3533 | 94.6479
3532 | 94.647
3531 | 94.6452
3530 | 94.6424
3529 | 94.6383
3528 | 94.6337
3527 | 94.6302
3526 | 94.6296
3525 | 94.6316
3524 | 94.6344
3523 | 94.6368
3522 | 94.6397
3521 | 94.645
3520 | 94.6528
3519 | 94.6615
3518 | 94.6691
3517 | 94.6749
3516 | 94.6793
3515 | 94.6836
3514 | 94.6892
3513 | 94.6971
3512 | 94.7063
3511 | 94.7139
3510 | 94.7177
3509 | 94.719
3508 | 94.7208
3507 | 94.7259
3506 | 94.7335
3505 | 94.7405
3504 | 94.7434
3503 | 94.7417
3502 | 94.7381
3501 | 94.7357
3500 | 94.7356
3499 | 94.7365
3498 | 94.7367
3497 | 94.7356
3496 | 94.7343
3495 | 94.7338
3494 | 94.7348
3493 | 94.7373
3492 | 94.7403
3491 | 94.7419
3490 | 94.7407
3489 | 94.7369
3488 | 94.7329
3487 | 94.7312
3486 | 94.7326
3485 | 94.7353
3484 | 94.7369
3483 | 94.7358
3482 | 94.7314
3481 | 94.7248
3480 | 94.7184
3479 | 94.7154
3478 | 94.718
3477 | 94.7252
3476 | 94.7331
3475 | 94.7373
3474 | 94.7357
3473 | 94.7296
3472 | 94.7217
3471 | 94.7144
3470 | 94.7087
3469 | 94.7037
3468 | 94.697
3467 | 94.6874
3466 | 94.6769
3465 | 94.6693
3464 | 94.6658
3463 | 94.6627
3462 | 94.655
3461 | 94.6411
3460 | 94.6237
3459 | 94.6068
3458 | 94.5926
3457 | 94.5805
3456 | 94.5687
3455 | 94.5558
3454 | 94.5423
3453 | 94.5293
3452 | 94.5173
3451 | 94.5053
3450 | 94.4919
3449 | 94.4757
3448 | 94.456
3447 | 94.4331
3446 | 94.4078
3445 | 94.3815
3444 | 94.3559
3443 | 94.3334
3442 | 94.3149
3441 | 94.2982
3440 | 94.2783
3439 | 94.2516
3438 | 94.2192
3437 | 94.1855
3436 | 94.1534
3435 | 94.1215
3434 | 94.0878
3433 | 94.0528
3432 | 94.0192
3431 | 93.9889
3430 | 93.9611
3429 | 93.9328
3428 | 93.9012
3427 | 93.8644
3426 | 93.8225
3425 | 93.7777
3424 | 93.7328
3423 | 93.6902
3422 | 93.6497
3421 | 93.6099
3420 | 93.57
3419 | 93.5303
3418 | 93.4912
3417 | 93.4526
3416 | 93.4143
3415 | 93.3769
3414 | 93.3416
3413 | 93.3083
3412 | 93.2749
3411 | 93.2402
3410 | 93.2053
3409 | 93.1735
3408 | 93.1474
3407 | 93.1271
3406 | 93.111
3405 | 93.0974
3404 | 93.0856
3403 | 93.0764
3402 | 93.071
3401 | 93.0697
3400 | 93.0712
3399 | 93.0736
3398 | 93.076
3397 | 93.0797
3396 | 93.0863
3395 | 93.096
3394 | 93.1085
3393 | 93.1234
3392 | 93.1411
3391 | 93.1626
3390 | 93.1879
3389 | 93.2152
3388 | 93.242
3387 | 93.2662
3386 | 93.288
3385 | 93.3085
3384 | 93.3288
3383 | 93.3489
3382 | 93.3691
3381 | 93.3896
3380 | 93.4099
3379 | 93.4286
3378 | 93.4453
3377 | 93.4616
3376 | 93.4791
3375 | 93.4974
3374 | 93.5153
3373 | 93.5327
3372 | 93.5506
3371 | 93.5699
3370 | 93.5896
3369 | 93.6075
3368 | 93.6217
3367 | 93.6319
3366 | 93.6403
3365 | 93.6491
3364 | 93.6595
3363 | 93.6704
3362 | 93.6797
3361 | 93.6859
3360 | 93.6889
3359 | 93.6905
3358 | 93.6935
3357 | 93.6992
3356 | 93.706
3355 | 93.7108
3354 | 93.7119
3353 | 93.7108
3352 | 93.7102
3351 | 93.7114
3350 | 93.7136
3349 | 93.7162
3348 | 93.7194
3347 | 93.7236
3346 | 93.7289
3345 | 93.7342
3344 | 93.738
3343 | 93.7386
3342 | 93.736
3341 | 93.7322
3340 | 93.73
3339 | 93.731
3338 | 93.7347
3337 | 93.7394
3336 | 93.7434
3335 | 93.7467
3334 | 93.7507
3333 | 93.7569
3332 | 93.7648
3331 | 93.772
3330 | 93.7768
3329 | 93.7795
3328 | 93.7825
3327 | 93.7876
3326 | 93.7949
3325 | 93.8029
3324 | 93.8104
3323 | 93.8167
3322 | 93.8218
3321 | 93.8258
3320 | 93.8284
3319 | 93.8291
3318 | 93.8284
3317 | 93.8273
3316 | 93.8267
3315 | 93.8273
3314 | 93.829
3313 | 93.8307
3312 | 93.8309
3311 | 93.8289
3310 | 93.8258
3309 | 93.8234
3308 | 93.8224
3307 | 93.8221
3306 | 93.8217
3305 | 93.821
3304 | 93.8197
3303 | 93.8173
3302 | 93.8143
3301 | 93.8121
3300 | 93.8119
3299 | 93.8126
3298 | 93.8122
3297 | 93.8088
3296 | 93.8026
3295 | 93.7955
3294 | 93.7893
3293 | 93.7851
3292 | 93.7819
3291 | 93.7782
3290 | 93.7737
3289 | 93.7699
3288 | 93.7683
3287 | 93.7683
3286 | 93.7675
3285 | 93.764
3284 | 93.7585
3283 | 93.753
3282 | 93.7489
3281 | 93.7458
3280 | 93.7434
3279 | 93.7418
3278 | 93.7424
3277 | 93.7455
3276 | 93.7491
3275 | 93.7505
3274 | 93.7486
3273 | 93.7454
3272 | 93.7436
3271 | 93.7439
3270 | 93.7449
3269 | 93.7452
3268 | 93.7452
3267 | 93.7463
3266 | 93.7491
3265 | 93.7525
3264 | 93.7552
3263 | 93.7573
3262 | 93.7601
3261 | 93.7639
3260 | 93.7678
3259 | 93.7714
3258 | 93.7762
3257 | 93.7833
3256 | 93.7918
3255 | 93.7988
3254 | 93.803
3253 | 93.8058
3252 | 93.8091
3251 | 93.8134
3250 | 93.8178
3249 | 93.821
3248 | 93.8225
3247 | 93.8236
3246 | 93.8264
3245 | 93.8336
3244 | 93.8457
3243 | 93.8616
3242 | 93.8786
3241 | 93.8946
3240 | 93.9092
3239 | 93.9235
3238 | 93.9398
3237 | 93.9599
3236 | 93.9833
3235 | 94.0084
3234 | 94.0334
3233 | 94.0575
3232 | 94.0804
3231 | 94.1016
3230 | 94.1218
3229 | 94.1421
3228 | 94.163
3227 | 94.1841
3226 | 94.2058
3225 | 94.229
3224 | 94.254
3223 | 94.2791
3222 | 94.3027
3221 | 94.3248
3220 | 94.3465
3219 | 94.3689
3218 | 94.3917
3217 | 94.4145
3216 | 94.4369
3215 | 94.4585
3214 | 94.4793
3213 | 94.4999
3212 | 94.5217
3211 | 94.5453
3210 | 94.5707
3209 | 94.5963
3208 | 94.6202
3207 | 94.6414
3206 | 94.6606
3205 | 94.6795
3204 | 94.6997
3203 | 94.7215
3202 | 94.7444
3201 | 94.768
3200 | 94.7922
3199 | 94.8162
3198 | 94.8394
3197 | 94.8617
3196 | 94.8843
3195 | 94.9086
3194 | 94.9344
3193 | 94.9604
3192 | 94.9855
3191 | 95.0101
3190 | 95.0352
3189 | 95.061
3188 | 95.0862
3187 | 95.11
3186 | 95.1331
3185 | 95.1563
3184 | 95.1801
3183 | 95.2041
3182 | 95.228
3181 | 95.2517
3180 | 95.2754
3179 | 95.3
3178 | 95.3259
3177 | 95.3525
3176 | 95.3781
3175 | 95.4017
3174 | 95.4245
3173 | 95.4488
3172 | 95.4752
3171 | 95.5027
3170 | 95.5298
3169 | 95.5562
3168 | 95.5823
3167 | 95.6084
3166 | 95.6341
3165 | 95.6588
3164 | 95.6827
3163 | 95.7069
3162 | 95.7327
3161 | 95.7603
3160 | 95.7885
3159 | 95.8162
3158 | 95.8434
3157 | 95.8708
3156 | 95.899
3155 | 95.9275
3154 | 95.9554
3153 | 95.9816
3152 | 96.0056
3151 | 96.0283
3150 | 96.0518
3149 | 96.0774
3148 | 96.1045
3147 | 96.1318
3146 | 96.1585
3145 | 96.1854
3144 | 96.2134
3143 | 96.2428
3142 | 96.2736
3141 | 96.3052
3140 | 96.3365
3139 | 96.3662
3138 | 96.3942
3137 | 96.4207
3136 | 96.446
3135 | 96.4711
3134 | 96.4978
3133 | 96.5271
3132 | 96.5579
3131 | 96.5873
3130 | 96.614
3129 | 96.6389
3128 | 96.6642
3127 | 96.6921
3126 | 96.7237
3125 | 96.7585
3124 | 96.7936
3123 | 96.826
3122 | 96.8542
3121 | 96.8796
3120 | 96.9042
3119 | 96.9289
3118 | 96.9535
3117 | 96.9779
3116 | 97.0016
3115 | 97.0245
3114 | 97.0464
3113 | 97.0684
3112 | 97.0919
3111 | 97.1175
3110 | 97.1448
3109 | 97.1727
3108 | 97.2004
3107 | 97.2274
3106 | 97.2538
3105 | 97.2795
3104 | 97.3048
3103 | 97.3305
3102 | 97.3565
3101 | 97.3814
3100 | 97.4036
3099 | 97.4231
3098 | 97.4414
3097 | 97.4601
3096 | 97.4792
3095 | 97.4983
3094 | 97.5176
3093 | 97.5377
3092 | 97.5589
3091 | 97.5807
3090 | 97.6025
3089 | 97.6238
3088 | 97.6441
3087 | 97.6633
3086 | 97.6816
3085 | 97.6994
3084 | 97.7169
3083 | 97.7339
3082 | 97.7501
3081 | 97.7649
3080 | 97.7784
3079 | 97.7915
3078 | 97.8059
3077 | 97.8222
3076 | 97.8392
3075 | 97.8556
3074 | 97.871
3073 | 97.8861
3072 | 97.9013
3071 | 97.9169
3070 | 97.9333
3069 | 97.9504
3068 | 97.9661
3067 | 97.9776
3066 | 97.9846
3065 | 97.99
3064 | 97.9975
3063 | 98.0085
3062 | 98.0212
3061 | 98.0335
3060 | 98.0441
3059 | 98.0528
3058 | 98.0601
3057 | 98.0663
3056 | 98.0726
3055 | 98.0803
3054 | 98.09
3053 | 98.101
3052 | 98.1116
3051 | 98.1206
3050 | 98.1284
3049 | 98.1356
3048 | 98.1426
3047 | 98.1493
3046 | 98.156
3045 | 98.1634
3044 | 98.1719
3043 | 98.181
3042 | 98.19
3041 | 98.1984
3040 | 98.2062
3039 | 98.2133
3038 | 98.2195
3037 | 98.2248
3036 | 98.2293
3035 | 98.2327
3034 | 98.2352
3033 | 98.2375
3032 | 98.2401
3031 | 98.2433
3030 | 98.2474
3029 | 98.2529
3028 | 98.2602
3027 | 98.2688
3026 | 98.2781
3025 | 98.2871
3024 | 98.2955
3023 | 98.3025
3022 | 98.3073
3021 | 98.3105
3020 | 98.3138
3019 | 98.3189
3018 | 98.326
3017 | 98.3337
3016 | 98.3397
3015 | 98.3427
3014 | 98.343
3013 | 98.3422
3012 | 98.3419
3011 | 98.3425
3010 | 98.3431
3009 | 98.3434
3008 | 98.3448
3007 | 98.3488
3006 | 98.3556
3005 | 98.3631
3004 | 98.3691
3003 | 98.3727
3002 | 98.3744
3001 | 98.3755
3000 | 98.3773
2999 | 98.3805
2998 | 98.3847
2997 | 98.3888
2996 | 98.3914
2995 | 98.3922
2994 | 98.3917
2993 | 98.3905
2992 | 98.3889
2991 | 98.3874
2990 | 98.3866
2989 | 98.387
2988 | 98.3878
2987 | 98.3877
2986 | 98.3852
2985 | 98.3809
2984 | 98.3773
2983 | 98.3761
2982 | 98.3765
2981 | 98.3761
2980 | 98.3726
2979 | 98.366
2978 | 98.3572
2977 | 98.3477
2976 | 98.3392
2975 | 98.3331
2974 | 98.3282
2973 | 98.3212
2972 | 98.3096
2971 | 98.2953
2970 | 98.2831
2969 | 98.2754
2968 | 98.2701
2967 | 98.2634
2966 | 98.2546
2965 | 98.2458
2964 | 98.2385
2963 | 98.2313
2962 | 98.2222
2961 | 98.2106
2960 | 98.1986
2959 | 98.1878
2958 | 98.1792
2957 | 98.1727
2956 | 98.1681
2955 | 98.165
2954 | 98.162
2953 | 98.1576
2952 | 98.1516
2951 | 98.145
2950 | 98.1395
2949 | 98.1357
2948 | 98.1327
2947 | 98.1283
2946 | 98.1206
2945 | 98.1096
2944 | 98.098
2943 | 98.0887
2942 | 98.0826
2941 | 98.0778
2940 | 98.0724
2939 | 98.066
2938 | 98.0599
2937 | 98.0555
2936 | 98.0528
2935 | 98.0512
2934 | 98.0495
2933 | 98.0469
2932 | 98.0432
2931 | 98.0386
2930 | 98.0328
2929 | 98.0248
2928 | 98.0144
2927 | 98.0029
2926 | 97.9921
2925 | 97.9826
2924 | 97.9742
2923 | 97.9676
2922 | 97.964
2921 | 97.9637
2920 | 97.9653
2919 | 97.9672
2918 | 97.9698
2917 | 97.975
2916 | 97.9848
2915 | 98.0003
2914 | 98.021
2913 | 98.0441
2912 | 98.0656
2911 | 98.0827
2910 | 98.0954
2909 | 98.1045
2908 | 98.1107
2907 | 98.1142
2906 | 98.1156
2905 | 98.1158
2904 | 98.115
2903 | 98.1128
2902 | 98.1098
2901 | 98.1074
2900 | 98.1065
2899 | 98.107
2898 | 98.1087
2897 | 98.112
2896 | 98.1171
2895 | 98.1232
2894 | 98.1292
2893 | 98.1345
2892 | 98.1394
2891 | 98.144
2890 | 98.1484
2889 | 98.1529
2888 | 98.1581
2887 | 98.1645
2886 | 98.1714
2885 | 98.1778
2884 | 98.1835
2883 | 98.1889
2882 | 98.1937
2881 | 98.1974
2880 | 98.2003
2879 | 98.2041
2878 | 98.2105
2877 | 98.2193
2876 | 98.2294
2875 | 98.2394
2874 | 98.2484
2873 | 98.2561
2872 | 98.2629
2871 | 98.2703
2870 | 98.2791
2869 | 98.2888
2868 | 98.2977
2867 | 98.3053
2866 | 98.3126
2865 | 98.3215
2864 | 98.3325
2863 | 98.3449
2862 | 98.357
2861 | 98.367
2860 | 98.3743
2859 | 98.379
2858 | 98.3823
2857 | 98.385
2856 | 98.3875
2855 | 98.3897
2854 | 98.3912
2853 | 98.3915
2852 | 98.3913
2851 | 98.3943
2850 | 98.4054
2849 | 98.427
2848 | 98.4574
2847 | 98.4915
2846 | 98.524
2845 | 98.5517
2844 | 98.5741
2843 | 98.5924
2842 | 98.6078
2841 | 98.6209
2840 | 98.6319
2839 | 98.6416
2838 | 98.6505
2837 | 98.6587
2836 | 98.6659
2835 | 98.6726
2834 | 98.6798
2833 | 98.6877
2832 | 98.6957
2831 | 98.7031
2830 | 98.7102
2829 | 98.7175
2828 | 98.7251
2827 | 98.7328
2826 | 98.7409
2825 | 98.7494
2824 | 98.7576
2823 | 98.7646
2822 | 98.77
2821 | 98.7746
2820 | 98.779
2819 | 98.7835
2818 | 98.7878
2817 | 98.7921
2816 | 98.7969
2815 | 98.8029
2814 | 98.8102
2813 | 98.8182
2812 | 98.8261
2811 | 98.8335
2810 | 98.8398
2809 | 98.8445
2808 | 98.8472
2807 | 98.8489
2806 | 98.8514
2805 | 98.8558
2804 | 98.8619
2803 | 98.8686
2802 | 98.8754
2801 | 98.8825
2800 | 98.8901
2799 | 98.8972
2798 | 98.9024
2797 | 98.9046
2796 | 98.9051
2795 | 98.9063
2794 | 98.9097
2793 | 98.9143
2792 | 98.9183
2791 | 98.9215
2790 | 98.9253
2789 | 98.9301
2788 | 98.935
2787 | 98.9384
2786 | 98.9405
2785 | 98.9423
2784 | 98.9444
2783 | 98.9464
2782 | 98.9478
2781 | 98.9491
2780 | 98.9518
2779 | 98.9569
2778 | 98.964
2777 | 98.9716
2776 | 98.9784
2775 | 98.9834
2774 | 98.9869
2773 | 98.9893
2772 | 98.9914
2771 | 98.9939
2770 | 98.9972
2769 | 99.0007
2768 | 99.0032
2767 | 99.0045
2766 | 99.005
2765 | 99.0057
2764 | 99.0075
2763 | 99.0105
2762 | 99.0146
2761 | 99.0192
2760 | 99.0237
2759 | 99.0279
2758 | 99.0315
2757 | 99.0341
2756 | 99.0355
2755 | 99.0361
2754 | 99.0369
2753 | 99.0388
2752 | 99.0417
2751 | 99.0451
2750 | 99.048
2749 | 99.0498
2748 | 99.0506
2747 | 99.051
2746 | 99.0515
2745 | 99.0519
2744 | 99.0522
2743 | 99.0526
2742 | 99.0537
2741 | 99.0558
2740 | 99.0586
2739 | 99.0615
2738 | 99.0638
2737 | 99.0654
2736 | 99.0669
2735 | 99.0694
2734 | 99.0733
2733 | 99.0775
2732 | 99.0801
2731 | 99.0803
2730 | 99.0794
2729 | 99.0791
2728 | 99.0803
2727 | 99.0831
2726 | 99.0875
2725 | 99.0937
2724 | 99.101
2723 | 99.1079
2722 | 99.1122
2721 | 99.1131
2720 | 99.1122
2719 | 99.1119
2718 | 99.1134
2717 | 99.1165
2716 | 99.1202
2715 | 99.1241
2714 | 99.1277
2713 | 99.1304
2712 | 99.1319
2711 | 99.1332
2710 | 99.1354
2709 | 99.1382
2708 | 99.1408
2707 | 99.1431
2706 | 99.1456
2705 | 99.1487
2704 | 99.152
2703 | 99.1553
2702 | 99.1583
2701 | 99.1605
2700 | 99.1615
2699 | 99.1614
2698 | 99.1617
2697 | 99.1633
2696 | 99.1659
2695 | 99.169
2694 | 99.1725
2693 | 99.1769
2692 | 99.1823
2691 | 99.1871
2690 | 99.1898
2689 | 99.1904
2688 | 99.1904
2687 | 99.1917
2686 | 99.1944
2685 | 99.1975
2684 | 99.2001
2683 | 99.2023
2682 | 99.2043
2681 | 99.206
2680 | 99.2078
2679 | 99.2103
2678 | 99.2138
2677 | 99.2171
2676 | 99.2197
2675 | 99.2225
2674 | 99.2264
2673 | 99.2307
2672 | 99.2335
2671 | 99.2342
2670 | 99.2341
2669 | 99.2349
2668 | 99.2365
2667 | 99.238
2666 | 99.2386
2665 | 99.2378
2664 | 99.2355
2663 | 99.232
2662 | 99.2278
2661 | 99.2235
2660 | 99.219
2659 | 99.2141
2658 | 99.2089
2657 | 99.2031
2656 | 99.1969
2655 | 99.1907
2654 | 99.1848
2653 | 99.179
2652 | 99.1724
2651 | 99.1641
2650 | 99.1543
2649 | 99.1436
2648 | 99.1326
2647 | 99.1216
2646 | 99.1107
2645 | 99.0998
2644 | 99.0889
2643 | 99.0782
2642 | 99.0678
2641 | 99.0576
2640 | 99.0477
2639 | 99.0381
2638 | 99.0294
2637 | 99.0213
2636 | 99.0124
2635 | 99.0017
2634 | 98.9894
2633 | 98.9768
2632 | 98.9649
2631 | 98.9539
2630 | 98.9431
2629 | 98.9318
2628 | 98.92
2627 | 98.9078
2626 | 98.8957
2625 | 98.8844
2624 | 98.8753
2623 | 98.8686
2622 | 98.8626
2621 | 98.8552
2620 | 98.8454
2619 | 98.8343
2618 | 98.8235
2617 | 98.8136
2616 | 98.8045
2615 | 98.7955
2614 | 98.7855
2613 | 98.7739
2612 | 98.7613
2611 | 98.7491
2610 | 98.7384
2609 | 98.7287
2608 | 98.7188
2607 | 98.7086
2606 | 98.6993
2605 | 98.6919
2604 | 98.6863
2603 | 98.682
2602 | 98.6781
2601 | 98.6733
2600 | 98.6667
2599 | 98.6577
2598 | 98.6468
2597 | 98.6345
2596 | 98.6225
2595 | 98.6128
2594 | 98.6067
2593 | 98.6031
2592 | 98.5997
2591 | 98.5949
2590 | 98.5887
2589 | 98.5817
2588 | 98.5741
2587 | 98.5661
2586 | 98.5588
2585 | 98.5533
2584 | 98.5493
2583 | 98.546
2582 | 98.5424
2581 | 98.5379
2580 | 98.5327
2579 | 98.5275
2578 | 98.5223
2577 | 98.5166
2576 | 98.5103
2575 | 98.5045
2574 | 98.5008
2573 | 98.4994
2572 | 98.4991
2571 | 98.4982
2570 | 98.496
2569 | 98.4924
2568 | 98.4879
2567 | 98.4828
2566 | 98.4772
2565 | 98.4708
2564 | 98.4637
2563 | 98.4571
2562 | 98.4524
2561 | 98.4499
2560 | 98.4483
2559 | 98.4464
2558 | 98.4442
2557 | 98.442
2556 | 98.4397
2555 | 98.4373
2554 | 98.4354
2553 | 98.4345
2552 | 98.4347
2551 | 98.4351
2550 | 98.4344
2549 | 98.432
2548 | 98.4291
2547 | 98.4284
2546 | 98.4307
2545 | 98.4334
2544 | 98.4327
2543 | 98.4285
2542 | 98.4247
2541 | 98.4242
2540 | 98.4263
2539 | 98.4285
2538 | 98.4304
2537 | 98.4329
2536 | 98.4357
2535 | 98.437
2534 | 98.4359
2533 | 98.433
2532 | 98.4294
2531 | 98.4259
2530 | 98.4236
2529 | 98.4239
2528 | 98.4269
2527 | 98.4309
2526 | 98.4337
2525 | 98.435
2524 | 98.4359
2523 | 98.4376
2522 | 98.4397
2521 | 98.4413
2520 | 98.4419
2519 | 98.442
2518 | 98.4425
2517 | 98.4434
2516 | 98.4455
2515 | 98.4499
2514 | 98.4566
2513 | 98.4634
2512 | 98.4673
2511 | 98.467
2510 | 98.4642
2509 | 98.4614
2508 | 98.4605
2507 | 98.4623
2506 | 98.4661
2505 | 98.4709
2504 | 98.4754
2503 | 98.4789
2502 | 98.481
2501 | 98.4818
2500 | 98.4814
2499 | 98.4808
2498 | 98.4812
2497 | 98.4829
2496 | 98.4855
2495 | 98.489
2494 | 98.4933
2493 | 98.4977
2492 | 98.5007
2491 | 98.5019
2490 | 98.5032
2489 | 98.5061
2488 | 98.5106
2487 | 98.5153
2486 | 98.5194
2485 | 98.5234
2484 | 98.5284
2483 | 98.5343
2482 | 98.54
2481 | 98.5445
2480 | 98.5475
2479 | 98.5498
2478 | 98.5518
2477 | 98.5537
2476 | 98.5558
2475 | 98.5589
2474 | 98.5635
2473 | 98.569
2472 | 98.5746
2471 | 98.58
2470 | 98.5853
2469 | 98.591
2468 | 98.5969
2467 | 98.6028
2466 | 98.6079
2465 | 98.6115
2464 | 98.6139
2463 | 98.6163
2462 | 98.6189
2461 | 98.6206
2460 | 98.6206
2459 | 98.6197
2458 | 98.6189
2457 | 98.618
2456 | 98.6163
2455 | 98.6146
2454 | 98.6146
2453 | 98.6162
2452 | 98.6175
2451 | 98.6165
2450 | 98.6127
2449 | 98.6071
2448 | 98.6023
2447 | 98.6011
2446 | 98.6046
2445 | 98.6108
2444 | 98.6161
2443 | 98.6188
2442 | 98.6198
2441 | 98.6211
2440 | 98.624
2439 | 98.6285
2438 | 98.6347
2437 | 98.6418
2436 | 98.6496
2435 | 98.6578
2434 | 98.6649
2433 | 98.6689
2432 | 98.6695
2431 | 98.6699
2430 | 98.6739
2429 | 98.6821
2428 | 98.6918
2427 | 98.7007
2426 | 98.7082
2425 | 98.7142
2424 | 98.7195
2423 | 98.725
2422 | 98.7319
2421 | 98.7398
2420 | 98.7472
2419 | 98.7541
2418 | 98.7613
2417 | 98.7692
2416 | 98.7763
2415 | 98.7816
2414 | 98.7859
2413 | 98.7908
2412 | 98.7977
2411 | 98.8074
2410 | 98.8191
2409 | 98.8307
2408 | 98.8405
2407 | 98.8491
2406 | 98.8583
2405 | 98.8689
2404 | 98.88
2403 | 98.8915
2402 | 98.9033
2401 | 98.9149
2400 | 98.9249
2399 | 98.9342
2398 | 98.9452
2397 | 98.9585
2396 | 98.9716
2395 | 98.9814
2394 | 98.9885
2393 | 98.9959
2392 | 99.0064
2391 | 99.02
2390 | 99.0348
2389 | 99.0487
2388 | 99.0607
2387 | 99.0722
2386 | 99.0848
2385 | 99.0985
2384 | 99.1129
2383 | 99.1286
2382 | 99.1468
2381 | 99.1678
2380 | 99.1907
2379 | 99.2149
2378 | 99.2398
2377 | 99.2628
2376 | 99.2786
2375 | 99.2843
2374 | 99.2822
2373 | 99.2782
2372 | 99.2763
2371 | 99.2782
2370 | 99.2857
2369 | 99.2996
2368 | 99.317
2367 | 99.3325
2366 | 99.3437
2365 | 99.3524
2364 | 99.3614
2363 | 99.3727
2362 | 99.3862
2361 | 99.3989
2360 | 99.4059
2359 | 99.4057
2358 | 99.4034
2357 | 99.4051
2356 | 99.4134
2355 | 99.4281
2354 | 99.4455
2353 | 99.4578
2352 | 99.4591
2351 | 99.4526
2350 | 99.4485
2349 | 99.4569
2348 | 99.4786
2347 | 99.4985
2346 | 99.4973
2345 | 99.4742
2344 | 99.4489
2343 | 99.4357
2342 | 99.4339
2341 | 99.4389
2340 | 99.4472
2339 | 99.4568
2338 | 99.4668
2337 | 99.4781
2336 | 99.4913
2335 | 99.5058
2334 | 99.5184
2333 | 99.5246
2332 | 99.5206
2331 | 99.5095
2330 | 99.496
2329 | 99.4839
2328 | 99.4733
2327 | 99.4637
2326 | 99.4528
2325 | 99.4344
2324 | 99.4029
2323 | 99.3593
2322 | 99.3124
2321 | 99.2712
2320 | 99.2387
2319 | 99.2136
2318 | 99.194
2317 | 99.1787
2316 | 99.1647
2315 | 99.1483
2314 | 99.1267
2313 | 99.1003
2312 | 99.0705
2311 | 99.0397
2310 | 99.0093
2309 | 98.9808
2308 | 98.9556
2307 | 98.9354
2306 | 98.9199
2305 | 98.9064
2304 | 98.8918
2303 | 98.8754
2302 | 98.8586
2301 | 98.8418
2300 | 98.8236
2299 | 98.8032
2298 | 98.7809
2297 | 98.7582
2296 | 98.7361
2295 | 98.7153
2294 | 98.6956
2293 | 98.6758
2292 | 98.6543
2291 | 98.6304
2290 | 98.6049
2289 | 98.5779
2288 | 98.5486
2287 | 98.516
2286 | 98.481
2285 | 98.4453
2284 | 98.4106
2283 | 98.3781
2282 | 98.3487
2281 | 98.3212
2280 | 98.2932
2279 | 98.2631
2278 | 98.2319
2277 | 98.2013
2276 | 98.172
2275 | 98.1439
2274 | 98.118
2273 | 98.0949
2272 | 98.0745
2271 | 98.0549
2270 | 98.0342
2269 | 98.0114
2268 | 97.9867
2267 | 97.9617
2266 | 97.9381
2265 | 97.9163
2264 | 97.8956
2263 | 97.8762
2262 | 97.859
2261 | 97.8431
2260 | 97.8253
2259 | 97.8033
2258 | 97.7787
2257 | 97.7544
2256 | 97.7323
2255 | 97.7126
2254 | 97.6954
2253 | 97.6814
2252 | 97.67
2251 | 97.6594
2250 | 97.6479
2249 | 97.6334
2248 | 97.615
2247 | 97.5939
2246 | 97.5731
2245 | 97.5551
2244 | 97.54
2243 | 97.5268
2242 | 97.5145
2241 | 97.5006
2240 | 97.4823
2239 | 97.4599
2238 | 97.438
2237 | 97.42
2236 | 97.4046
2235 | 97.3879
2234 | 97.3689
2233 | 97.35
2232 | 97.3339
2231 | 97.3214
2230 | 97.3116
2229 | 97.302
2228 | 97.2895
2227 | 97.273
2226 | 97.2548
2225 | 97.2372
2224 | 97.2202
2223 | 97.2033
2222 | 97.1878
2221 | 97.175
2220 | 97.1631
2219 | 97.1497
2218 | 97.1352
2217 | 97.1217
2216 | 97.1094
2215 | 97.0963
2214 | 97.0817
2213 | 97.0668
2212 | 97.0533
2211 | 97.0425
2210 | 97.0344
2209 | 97.0261
2208 | 97.0136
2207 | 96.9966
2206 | 96.9798
2205 | 96.9665
2204 | 96.9546
2203 | 96.9399
2202 | 96.9221
2201 | 96.9044
2200 | 96.8882
2199 | 96.8731
2198 | 96.8596
2197 | 96.8484
2196 | 96.8376
2195 | 96.8242
2194 | 96.8077
2193 | 96.7895
2192 | 96.77
2191 | 96.7486
2190 | 96.7264
2189 | 96.7055
2188 | 96.6859
2187 | 96.6656
2186 | 96.6428
2185 | 96.6172
2184 | 96.589
2183 | 96.5616
2182 | 96.5412
2181 | 96.5322
2180 | 96.5318
2179 | 96.5333
2178 | 96.533
2177 | 96.5302
2176 | 96.5246
2175 | 96.5161
2174 | 96.5077
2173 | 96.5027
2172 | 96.4994
2171 | 96.4914
2170 | 96.4733
2169 | 96.4448
2168 | 96.4087
2167 | 96.3685
2166 | 96.3257
2165 | 96.2782
2164 | 96.221
2163 | 96.1524
2162 | 96.0784
2161 | 96.0123
2160 | 95.9707
2159 | 95.9688
2158 | 96.0128
2157 | 96.0925
2156 | 96.1859
2155 | 96.2756
2154 | 96.3574
2153 | 96.433
2152 | 96.5016
2151 | 96.5625
2150 | 96.6187
2149 | 96.6726
2148 | 96.7225
2147 | 96.7676
2146 | 96.8123
2145 | 96.8619
2144 | 96.9159
2143 | 96.9703
2142 | 97.0231
2141 | 97.0744
2140 | 97.1236
2139 | 97.1707
2138 | 97.2179
2137 | 97.2668
2136 | 97.3181
2135 | 97.3738
2134 | 97.4375
2133 | 97.5094
2132 | 97.5834
2131 | 97.6526
2130 | 97.7145
2129 | 97.7697
2128 | 97.8188
2127 | 97.8629
2126 | 97.9039
2125 | 97.9417
2124 | 97.9733
2123 | 97.9969
2122 | 98.0154
2121 | 98.0329
2120 | 98.0499
2119 | 98.0649
2118 | 98.0774
2117 | 98.0876
2116 | 98.0947
2115 | 98.0974
2114 | 98.0959
2113 | 98.0909
2112 | 98.0835
2111 | 98.076
2110 | 98.0716
2109 | 98.071
2108 | 98.0715
2107 | 98.0697
2106 | 98.0655
2105 | 98.061
2104 | 98.0573
2103 | 98.0543
2102 | 98.0521
2101 | 98.0506
2100 | 98.049
2099 | 98.0477
2098 | 98.0486
2097 | 98.0523
2096 | 98.0573
2095 | 98.0634
2094 | 98.0734
2093 | 98.0891
2092 | 98.107
2091 | 98.1212
2090 | 98.1298
2089 | 98.1345
2088 | 98.1365
2087 | 98.1345
2086 | 98.1272
2085 | 98.1163
2084 | 98.1053
2083 | 98.0968
2082 | 98.0895
2081 | 98.0796
2080 | 98.0638
2079 | 98.0424
2078 | 98.0181
2077 | 97.9934
2076 | 97.9695
2075 | 97.9472
2074 | 97.9275
2073 | 97.9091
2072 | 97.8908
2071 | 97.8733
2070 | 97.8582
2069 | 97.8439
2068 | 97.8264
2067 | 97.8054
2066 | 97.7858
2065 | 97.7713
2064 | 97.7605
2063 | 97.7508
2062 | 97.7419
2061 | 97.7335
2060 | 97.7218
2059 | 97.7038
2058 | 97.6807
2057 | 97.6548
2056 | 97.6265
2055 | 97.5963
2054 | 97.5659
2053 | 97.5333
2052 | 97.4904
2051 | 97.4302
2050 | 97.3568
2049 | 97.2833
2048 | 97.2204
2047 | 97.1706
2046 | 97.1322
2045 | 97.1024
2044 | 97.0759
2043 | 97.0479
2042 | 97.018
2041 | 96.9883
2040 | 96.9575
2039 | 96.9218
2038 | 96.8806
2037 | 96.8364
2036 | 96.792
2035 | 96.7509
2034 | 96.7208
2033 | 96.7081
2032 | 96.7097
2031 | 96.7154
2030 | 96.7187
2029 | 96.72
2028 | 96.7215
2027 | 96.7245
2026 | 96.7305
2025 | 96.7398
2024 | 96.7492
2023 | 96.7563
2022 | 96.7638
2021 | 96.7753
2020 | 96.79
2019 | 96.8042
2018 | 96.8175
2017 | 96.8303
2016 | 96.84
2015 | 96.8451
2014 | 96.8512
2013 | 96.8645
2012 | 96.8826
2011 | 96.8972
2010 | 96.9051
2009 | 96.9113
2008 | 96.9223
2007 | 96.9439
2006 | 96.9807
2005 | 97.0321
2004 | 97.0881
2003 | 97.1371
2002 | 97.1767
2001 | 97.2113
2000 | 97.2431
1999 | 97.2693
1998 | 97.2881
1997 | 97.3011
1996 | 97.3102
1995 | 97.317
1994 | 97.323
1993 | 97.3296
1992 | 97.3352
1991 | 97.3371
1990 | 97.3335
1989 | 97.3236
1988 | 97.3066
1987 | 97.2843
1986 | 97.2617
1985 | 97.2423
1984 | 97.2223
1983 | 97.1947
1982 | 97.1548
1981 | 97.1019
1980 | 97.0388
1979 | 96.9751
1978 | 96.9271
1977 | 96.9083
1976 | 96.9178
1975 | 96.9428
1974 | 96.9724
1973 | 97.0034
1972 | 97.0369
1971 | 97.0739
1970 | 97.1138
1969 | 97.1532
1968 | 97.1875
1967 | 97.2159
1966 | 97.243
1965 | 97.2733
1964 | 97.3052
1963 | 97.3356
1962 | 97.3667
1961 | 97.4057
1960 | 97.4573
1959 | 97.5195
1958 | 97.5852
1957 | 97.6474
1956 | 97.703
1955 | 97.7534
1954 | 97.8001
1953 | 97.8421
1952 | 97.8776
1951 | 97.9097
1950 | 97.9444
1949 | 97.9836
1948 | 98.0223
1947 | 98.0561
1946 | 98.0866
1945 | 98.1188
1944 | 98.155
1943 | 98.1931
1942 | 98.2294
1941 | 98.2607
1940 | 98.2866
1939 | 98.3112
1938 | 98.3401
1937 | 98.3744
1936 | 98.4111
1935 | 98.4475
1934 | 98.4827
1933 | 98.5161
1932 | 98.5467
1931 | 98.5755
1930 | 98.6054
1929 | 98.6372
1928 | 98.6676
1927 | 98.6943
1926 | 98.7196
1925 | 98.7481
1924 | 98.7816
1923 | 98.8169
1922 | 98.8481
1921 | 98.871
1920 | 98.8875
1919 | 98.9045
1918 | 98.9269
1917 | 98.9518
1916 | 98.972
1915 | 98.9868
1914 | 99.001
1913 | 99.018
1912 | 99.0362
1911 | 99.0542
1910 | 99.0722
1909 | 99.0891
1908 | 99.1027
1907 | 99.1139
1906 | 99.1262
1905 | 99.1413
1904 | 99.1566
1903 | 99.1707
1902 | 99.1855
1901 | 99.2012
1900 | 99.2156
1899 | 99.2289
1898 | 99.2436
1897 | 99.2608
1896 | 99.2775
1895 | 99.291
1894 | 99.303
1893 | 99.3156
1892 | 99.3296
1891 | 99.346
1890 | 99.3644
1889 | 99.3821
1888 | 99.396
1887 | 99.4073
1886 | 99.4197
1885 | 99.4335
1884 | 99.4458
1883 | 99.456
1882 | 99.4667
1881 | 99.4785
1880 | 99.4892
1879 | 99.4987
1878 | 99.509
1877 | 99.521
1876 | 99.5339
1875 | 99.5479
1874 | 99.5634
1873 | 99.5776
1872 | 99.5875
1871 | 99.5962
1870 | 99.6112
1869 | 99.6335
1868 | 99.6541
1867 | 99.666
1866 | 99.6716
1865 | 99.676
1864 | 99.6801
1863 | 99.6846
1862 | 99.6914
1861 | 99.701
1860 | 99.7109
1859 | 99.7201
1858 | 99.7304
1857 | 99.7418
1856 | 99.7511
1855 | 99.7577
1854 | 99.7649
1853 | 99.7747
1852 | 99.785
1851 | 99.7949
1850 | 99.8051
1849 | 99.8149
1848 | 99.8217
1847 | 99.8269
1846 | 99.8375
1845 | 99.8576
1844 | 99.882
1843 | 99.9006
1842 | 99.9084
1841 | 99.9096
1840 | 99.9121
1839 | 99.9203
1838 | 99.9332
1837 | 99.9457
1836 | 99.9539
1835 | 99.9585
1834 | 99.9621
1833 | 99.9659
1832 | 99.973
1831 | 99.988
1830 | 100.009
1829 | 100.0272
1828 | 100.0359
1827 | 100.0381
1826 | 100.0412
1825 | 100.0478
1824 | 100.0542
1823 | 100.0571
1822 | 100.0581
1821 | 100.0615
1820 | 100.0688
1819 | 100.0795
1818 | 100.0936
1817 | 100.1116
1816 | 100.1308
1815 | 100.147
1814 | 100.1593
1813 | 100.1694
1812 | 100.1797
1811 | 100.1902
1810 | 100.2009
1809 | 100.2109
1808 | 100.2179
1807 | 100.2218
1806 | 100.2259
1805 | 100.232
1804 | 100.2381
1803 | 100.2424
1802 | 100.246
1801 | 100.2507
1800 | 100.2556
1799 | 100.2584
1798 | 100.2591
1797 | 100.2585
1796 | 100.256
1795 | 100.2539
1794 | 100.2568
1793 | 100.2666
1792 | 100.2789
1791 | 100.2876
1790 | 100.2915
1789 | 100.2916
1788 | 100.2893
1787 | 100.2866
1786 | 100.2867
1785 | 100.29
1784 | 100.2928
1783 | 100.2935
1782 | 100.2936
1781 | 100.2931
1780 | 100.2914
1779 | 100.2889
1778 | 100.288
1777 | 100.2889
1776 | 100.2906
1775 | 100.294
1774 | 100.3007
1773 | 100.3092
1772 | 100.3145
1771 | 100.312
1770 | 100.3015
1769 | 100.2873
1768 | 100.2742
1767 | 100.264
1766 | 100.2545
1765 | 100.2432
1764 | 100.2313
1763 | 100.2206
1762 | 100.2101
1761 | 100.198
1760 | 100.1834
1759 | 100.1673
1758 | 100.1524
1757 | 100.1382
1756 | 100.1248
1755 | 100.1126
1754 | 100.1004
1753 | 100.0878
1752 | 100.0766
1751 | 100.069
1750 | 100.0631
1749 | 100.0531
1748 | 100.0377
1747 | 100.0217
1746 | 100.0068
1745 | 99.9912
1744 | 99.9751
1743 | 99.9607
1742 | 99.9484
1741 | 99.9379
1740 | 99.9294
1739 | 99.9221
1738 | 99.9129
1737 | 99.9014
1736 | 99.8933
1735 | 99.8953
1734 | 99.9059
1733 | 99.9132
1732 | 99.906
1731 | 99.8906
1730 | 99.8791
1729 | 99.8733
1728 | 99.87
1727 | 99.8691
1726 | 99.8703
1725 | 99.8723
1724 | 99.8743
1723 | 99.8767
1722 | 99.8797
1721 | 99.8834
1720 | 99.8905
1719 | 99.9047
1718 | 99.9228
1717 | 99.9369
1716 | 99.9399
1715 | 99.9332
1714 | 99.9266
1713 | 99.9236
1712 | 99.9197
1711 | 99.914
1710 | 99.9094
1709 | 99.9051
1708 | 99.8988
1707 | 99.8914
1706 | 99.8835
1705 | 99.8711
1704 | 99.8498
1703 | 99.8216
1702 | 99.7914
1701 | 99.7617
1700 | 99.7368
1699 | 99.7185
1698 | 99.7007
1697 | 99.6705
1696 | 99.6134
1695 | 99.5363
1694 | 99.4578
1693 | 99.3816
1692 | 99.3027
1691 | 99.215
1690 | 99.1151
1689 | 99.0078
1688 | 98.9092
1687 | 98.8324
1686 | 98.7741
1685 | 98.7155
1684 | 98.6474
1683 | 98.6024
1682 | 98.5979
1681 | 98.6158
1680 | 98.6437
1679 | 98.6764
1678 | 98.7098
1677 | 98.7411
1676 | 98.7695
1675 | 98.7962
1674 | 98.8175
1673 | 98.8275
1672 | 98.8274
1671 | 98.8214
1670 | 98.8105
1669 | 98.794
1668 | 98.7758
1667 | 98.7598
1666 | 98.7453
1665 | 98.7301
1664 | 98.7115
1663 | 98.6896
1662 | 98.6677
1661 | 98.6466
1660 | 98.6253
1659 | 98.6063
1658 | 98.5911
1657 | 98.5803
1656 | 98.5757
1655 | 98.58
1654 | 98.5827
1653 | 98.5702
1652 | 98.556
1651 | 98.5423
1650 | 98.5268
1649 | 98.5205
1648 | 98.5187
1647 | 98.5104
1646 | 98.4998
1645 | 98.4925
1644 | 98.483
1643 | 98.4712
1642 | 98.4624
1641 | 98.455
1640 | 98.4454
1639 | 98.4351
1638 | 98.4274
1637 | 98.4163
1636 | 98.3866
1635 | 98.3418
1634 | 98.2969
1633 | 98.2493
1632 | 98.1905
1631 | 98.1189
1630 | 98.0316
1629 | 97.9179
1628 | 97.7688
1627 | 97.5968
1626 | 97.4226
1625 | 97.246
1624 | 97.0544
1623 | 96.865
1622 | 96.731
1621 | 96.6803
1620 | 96.7002
1619 | 96.781
1618 | 96.9333
1617 | 97.1583
1616 | 97.4099
1615 | 97.6274
1614 | 97.799
1613 | 97.946
1612 | 98.0826
1611 | 98.2099
1610 | 98.325
1609 | 98.4242
1608 | 98.5053
1607 | 98.5706
1606 | 98.625
1605 | 98.6712
1604 | 98.7094
1603 | 98.7394
1602 | 98.7622
1601 | 98.7796
1600 | 98.7926
1599 | 98.8019
1598 | 98.8093
1597 | 98.8165
1596 | 98.8249
1595 | 98.8356
1594 | 98.8511
1593 | 98.8725
1592 | 98.899
1591 | 98.931
1590 | 98.9702
1589 | 99.016
1588 | 99.065
1587 | 99.1144
1586 | 99.1638
1585 | 99.2125
1584 | 99.2592
1583 | 99.3049
1582 | 99.35
1581 | 99.3923
1580 | 99.4306
1579 | 99.4679
1578 | 99.508
1577 | 99.5507
1576 | 99.5902
1575 | 99.6198
1574 | 99.6351
1573 | 99.6405
1572 | 99.6449
1571 | 99.652
1570 | 99.6597
1569 | 99.6639
1568 | 99.6655
1567 | 99.667
1566 | 99.6685
1565 | 99.6693
1564 | 99.6707
1563 | 99.673
1562 | 99.6763
1561 | 99.6763
1560 | 99.6781
1559 | 99.6746
1558 | 99.6756
1557 | 99.6853
1556 | 99.6891
1555 | 99.689
1554 | 99.6889
1553 | 99.6893
1552 | 99.6921
1551 | 99.6966
1550 | 99.7021
1549 | 99.7091
1548 | 99.7173
1547 | 99.7251
1546 | 99.7315
1545 | 99.7369
1544 | 99.7446
1543 | 99.7587
1542 | 99.7818
1541 | 99.8134
1540 | 99.8432
1539 | 99.8675
1538 | 99.8829
1537 | 99.8858
1536 | 99.8847
1535 | 99.889
1534 | 99.899
1533 | 99.9111
1532 | 99.9227
1531 | 99.9305
1530 | 99.934
1529 | 99.9356
1528 | 99.9357
1527 | 99.9334
1526 | 99.9293
1525 | 99.926
1524 | 99.9246
1523 | 99.9215
1522 | 99.9077
1521 | 99.8825
1520 | 99.8568
1519 | 99.8336
1518 | 99.8063
1517 | 99.7707
1516 | 99.7317
1515 | 99.6998
1514 | 99.6744
1513 | 99.6498
1512 | 99.6231
1511 | 99.5941
1510 | 99.5661
1509 | 99.5424
1508 | 99.5247
1507 | 99.507
1506 | 99.5001
1505 | 99.507
1504 | 99.5101
1503 | 99.5081
1502 | 99.5092
1501 | 99.5181
1500 | 99.5382
1499 | 99.5694
1498 | 99.6064
1497 | 99.6463
1496 | 99.6881
1495 | 99.7263
1494 | 99.7543
1493 | 99.7734
1492 | 99.7892
1491 | 99.8053
1490 | 99.8206
1489 | 99.8336
1488 | 99.8423
1487 | 99.8435
1486 | 99.839
1485 | 99.8305
1484 | 99.8181
1483 | 99.8023
1482 | 99.7814
1481 | 99.7551
1480 | 99.7258
1479 | 99.6958
1478 | 99.663
1477 | 99.6233
1476 | 99.5759
1475 | 99.5226
1474 | 99.4606
1473 | 99.3836
1472 | 99.2988
1471 | 99.2229
1470 | 99.1583
1469 | 99.0989
1468 | 99.0418
1467 | 98.9859
1466 | 98.9298
1465 | 98.8735
1464 | 98.825
1463 | 98.7911
1462 | 98.769
1461 | 98.7554
1460 | 98.7502
1459 | 98.7506
1458 | 98.745
1457 | 98.7286
1456 | 98.7189
1455 | 98.7209
1454 | 98.725
1453 | 98.7324
1452 | 98.7459
1451 | 98.7639
1450 | 98.783
1449 | 98.8025
1448 | 98.8229
1447 | 98.8423
1446 | 98.8582
1445 | 98.8705
1444 | 98.882
1443 | 98.8924
1442 | 98.8988
1441 | 98.9007
1440 | 98.9006
1439 | 98.8979
1438 | 98.8868
1437 | 98.8616
1436 | 98.827
1435 | 98.7917
1434 | 98.756
1433 | 98.7178
1432 | 98.677
1431 | 98.6336
1430 | 98.5872
1429 | 98.5417
1428 | 98.5046
1427 | 98.4788
1426 | 98.4602
1425 | 98.4435
1424 | 98.4325
1423 | 98.4341
1422 | 98.4479
1421 | 98.4697
1420 | 98.4996
1419 | 98.5363
1418 | 98.5733
1417 | 98.6097
1416 | 98.6508
1415 | 98.6972
1414 | 98.7427
1413 | 98.7833
1412 | 98.8214
1411 | 98.8593
1410 | 98.8939
1409 | 98.9232
1408 | 98.9491
1407 | 98.9728
1406 | 98.9929
1405 | 99.0085
1404 | 99.0236
1403 | 99.0409
1402 | 99.0582
1401 | 99.0741
1400 | 99.0893
1399 | 99.1033
1398 | 99.1142
1397 | 99.1226
1396 | 99.1306
1395 | 99.1387
1394 | 99.144
1393 | 99.1445
1392 | 99.1417
1391 | 99.137
1390 | 99.129
1389 | 99.115
1388 | 99.0933
1387 | 99.065
1386 | 99.0337
1385 | 99.0016
1384 | 98.9676
1383 | 98.9292
1382 | 98.8854
1381 | 98.8382
1380 | 98.7908
1379 | 98.7465
1378 | 98.7078
1377 | 98.6746
1376 | 98.6428
1375 | 98.6077
1374 | 98.5689
1373 | 98.5332
1372 | 98.507
1371 | 98.4914
1370 | 98.4841
1369 | 98.4824
1368 | 98.4854
1367 | 98.4933
1366 | 98.505
1365 | 98.518
1364 | 98.53
1363 | 98.5412
1362 | 98.5555
1361 | 98.5769
1360 | 98.6043
1359 | 98.6337
1358 | 98.6615
1357 | 98.6857
1356 | 98.706
1355 | 98.7229
1354 | 98.7365
1353 | 98.7473
1352 | 98.7543
1351 | 98.7563
1350 | 98.7524
1349 | 98.742
1348 | 98.7248
1347 | 98.7004
1346 | 98.6689
1345 | 98.6316
1344 | 98.5908
1343 | 98.5477
1342 | 98.5005
1341 | 98.4471
1340 | 98.389
1339 | 98.3332
1338 | 98.2863
1337 | 98.2488
1336 | 98.2184
1335 | 98.1942
1334 | 98.1761
1333 | 98.163
1332 | 98.1536
1331 | 98.1469
1330 | 98.1422
1329 | 98.138
1328 | 98.1315
1327 | 98.1204
1326 | 98.1029
1325 | 98.0782
1324 | 98.0478
1323 | 98.0146
1322 | 97.9806
1321 | 97.9463
1320 | 97.913
1319 | 97.8847
1318 | 97.8661
1317 | 97.8602
1316 | 97.8678
1315 | 97.8888
1314 | 97.9222
1313 | 97.9672
1312 | 98.0228
1311 | 98.087
1310 | 98.1571
1309 | 98.2304
1308 | 98.3057
1307 | 98.382
1306 | 98.4577
1305 | 98.5306
1304 | 98.5999
1303 | 98.6656
1302 | 98.7269
1301 | 98.7829
1300 | 98.8335
1299 | 98.8782
1298 | 98.9165
1297 | 98.9481
1296 | 98.9738
1295 | 98.9949
1294 | 99.0117
1293 | 99.024
1292 | 99.0328
1291 | 99.0391
1290 | 99.043
1289 | 99.0439
1288 | 99.0413
1287 | 99.035
1286 | 99.0247
1285 | 99.0101
1284 | 98.9921
1283 | 98.9723
1282 | 98.9521
1281 | 98.9327
1280 | 98.9147
1279 | 98.8981
1278 | 98.8812
1277 | 98.8627
1276 | 98.8423
1275 | 98.8216
1274 | 98.8019
1273 | 98.7843
1272 | 98.7699
1271 | 98.7591
1270 | 98.7513
1269 | 98.7452
1268 | 98.7405
1267 | 98.7368
1266 | 98.733
1265 | 98.7269
1264 | 98.7179
1263 | 98.7071
1262 | 98.6949
1261 | 98.6812
1260 | 98.666
1259 | 98.6501
1258 | 98.6334
1257 | 98.6156
1256 | 98.5964
1255 | 98.5763
1254 | 98.5546
1253 | 98.5302
1252 | 98.5031
1251 | 98.4745
1250 | 98.4453
1249 | 98.4155
1248 | 98.3857
1247 | 98.3577
1246 | 98.3332
1245 | 98.313
1244 | 98.2973
1243 | 98.2861
1242 | 98.2779
1241 | 98.2704
1240 | 98.2627
1239 | 98.2557
1238 | 98.2499
1237 | 98.2454
1236 | 98.2419
1235 | 98.24
1234 | 98.2403
1233 | 98.2431
1232 | 98.2492
1231 | 98.2591
1230 | 98.2721
1229 | 98.287
1228 | 98.3037
1227 | 98.3227
1226 | 98.3433
1225 | 98.3641
1224 | 98.3851
1223 | 98.4074
1222 | 98.431
1221 | 98.4551
1220 | 98.4793
1219 | 98.5032
1218 | 98.5255
1217 | 98.544
1216 | 98.5574
1215 | 98.566
1214 | 98.5699
1213 | 98.5676
1212 | 98.5574
1211 | 98.5386
1210 | 98.5119
1209 | 98.4794
1208 | 98.4453
1207 | 98.4144
1206 | 98.3897
1205 | 98.3715
1204 | 98.3592
1203 | 98.3521
1202 | 98.3487
1201 | 98.3472
1200 | 98.3459
1199 | 98.3431
1198 | 98.3361
1197 | 98.3219
1196 | 98.2987
1195 | 98.2657
1194 | 98.2214
1193 | 98.1631
1192 | 98.0894
1191 | 98.0002
1190 | 97.895
1189 | 97.7724
1188 | 97.6319
1187 | 97.4745
1186 | 97.3014
1185 | 97.1122
1184 | 96.9067
1183 | 96.6866
1182 | 96.4537
1181 | 96.2087
1180 | 95.9525
1179 | 95.6879
1178 | 95.4163
1177 | 95.1359
1176 | 94.8448
1175 | 94.5443
1174 | 94.2371
1173 | 93.9232
1172 | 93.6022
1171 | 93.276
1170 | 92.9472
1169 | 92.6173
1168 | 92.2903
1167 | 91.9736
1166 | 91.6723
1165 | 91.3863
1164 | 91.1153
1163 | 90.863
1162 | 90.6301
1161 | 90.4113
1160 | 90.2023
1159 | 90.0044
1158 | 89.8172
1157 | 89.6339
1156 | 89.4491
1155 | 89.2642
1154 | 89.0805
1153 | 88.8943
1152 | 88.7035
1151 | 88.5116
1150 | 88.3203
1149 | 88.126
1148 | 87.9282
1147 | 87.7335
1146 | 87.546
1145 | 87.3623
1144 | 87.1814
1143 | 87.0093
1142 | 86.8493
1141 | 86.6959
1140 | 86.5448
1139 | 86.3999
1138 | 86.262
1137 | 86.123
1136 | 85.9771
1135 | 85.8282
1134 | 85.679
1133 | 85.5249
1132 | 85.3635
1131 | 85.1995
1130 | 85.0343
1129 | 84.8604
1128 | 84.675
1127 | 84.4879
1126 | 84.3078
1125 | 84.1338
1124 | 83.9659
1123 | 83.812
1122 | 83.6753
1121 | 83.5472
1120 | 83.4197
1119 | 83.2955
1118 | 83.1758
1117 | 83.0542
1116 | 82.9298
1115 | 82.8161
1114 | 82.7277
1113 | 82.6704
1112 | 82.6498
1111 | 82.6759
1110 | 82.7503
1109 | 82.8619
1108 | 83.0028
1107 | 83.1747
1106 | 83.3752
1105 | 83.5925
1104 | 83.8204
1103 | 84.0634
1102 | 84.3215
1101 | 84.5843
1100 | 84.8454
1099 | 85.1086
1098 | 85.376
1097 | 85.6402
1096 | 85.8959
1095 | 86.1461
1094 | 86.3913
1093 | 86.6259
1092 | 86.848
1091 | 87.0627
1090 | 87.2716
1089 | 87.469
1088 | 87.6521
1087 | 87.8254
1086 | 87.9892
1085 | 88.1359
1084 | 88.2602
1083 | 88.3648
1082 | 88.4516
1081 | 88.5165
1080 | 88.5595
1079 | 88.5889
1078 | 88.6126
1077 | 88.6315
1076 | 88.6458
1075 | 88.6582
1074 | 88.6676
1073 | 88.6661
1072 | 88.6476
1071 | 88.6124
1070 | 88.5597
1069 | 88.4834
1068 | 88.3793
1067 | 88.2498
1066 | 88.0971
1065 | 87.9215
1064 | 87.7295
1063 | 87.5364
1062 | 87.3565
1061 | 87.1961
1060 | 87.0597
1059 | 86.9539
1058 | 86.8784
1057 | 86.8247
1056 | 86.7875
1055 | 86.7704
1054 | 86.7752
1053 | 86.7947
1052 | 86.8218
1051 | 86.857
1050 | 86.901
1049 | 86.9493
1048 | 86.9977
1047 | 87.0463
1046 | 87.0919
1045 | 87.1256
1044 | 87.1411
1043 | 87.1386
1042 | 87.1175
1041 | 87.0744
1040 | 87.0105
1039 | 86.9348
1038 | 86.8557
1037 | 86.7772
1036 | 86.7057
1035 | 86.6527
1034 | 86.6257
1033 | 86.6244
1032 | 86.647
1031 | 86.6946
1030 | 86.7655
1029 | 86.8532
1028 | 86.953
1027 | 87.0649
1026 | 87.1869
1025 | 87.3136
1024 | 87.4431
1023 | 87.5776
1022 | 87.7172
1021 | 87.8574
1020 | 87.9972
1019 | 88.1408
1018 | 88.2902
1017 | 88.4413
1016 | 88.59
1015 | 88.7344
1014 | 88.8708
1013 | 88.9921
1012 | 89.0932
1011 | 89.1725
1010 | 89.2266
1009 | 89.2489
1008 | 89.2368
1007 | 89.198
1006 | 89.1515
1005 | 89.1237
1004 | 89.1399
1003 | 89.2113
1002 | 89.3271
1001 | 89.4633
1000 | 89.6019
999 | 89.7369
998 | 89.8667
997 | 89.9878
996 | 90.0973
995 | 90.1955
994 | 90.2813
993 | 90.3522
992 | 90.4082
991 | 90.4533
990 | 90.4905
989 | 90.5212
988 | 90.5508
987 | 90.5899
986 | 90.6499
985 | 90.7384
984 | 90.8614
983 | 91.023
982 | 91.2198
981 | 91.441
980 | 91.6754
979 | 91.9155
978 | 92.1547
977 | 92.3858
976 | 92.6045
975 | 92.8102
974 | 93.0027
973 | 93.1803
972 | 93.3435
971 | 93.4955
970 | 93.6392
969 | 93.7752
968 | 93.9047
967 | 94.0309
966 | 94.1565
965 | 94.2816
964 | 94.4061
963 | 94.5306
962 | 94.655
961 | 94.7782
960 | 94.8998
959 | 95.0216
958 | 95.1444
957 | 95.2672
956 | 95.3888
955 | 95.5084
954 | 95.6248
953 | 95.7361
952 | 95.8428
951 | 95.9467
950 | 96.0476
949 | 96.1434
948 | 96.2333
947 | 96.3188
946 | 96.4007
945 | 96.4775
944 | 96.5471
943 | 96.6102
942 | 96.6688
941 | 96.724
940 | 96.7761
939 | 96.825
938 | 96.8694
937 | 96.9076
936 | 96.94
935 | 96.9688
934 | 96.9961
933 | 97.0229
932 | 97.0491
931 | 97.0744
930 | 97.0973
929 | 97.1166
928 | 97.1332
927 | 97.149
926 | 97.1641
925 | 97.1772
924 | 97.188
923 | 97.1981
922 | 97.2086
921 | 97.2183
920 | 97.2253
919 | 97.2292
918 | 97.2294
917 | 97.225
916 | 97.2157
915 | 97.203
914 | 97.1882
913 | 97.1716
912 | 97.1528
911 | 97.1319
910 | 97.1077
909 | 97.0778
908 | 97.0406
907 | 96.997
906 | 96.9482
905 | 96.8937
904 | 96.8333
903 | 96.7698
902 | 96.7077
901 | 96.6514
900 | 96.6041
899 | 96.569
898 | 96.5486
897 | 96.5439
896 | 96.5554
895 | 96.5829
894 | 96.6247
893 | 96.6778
892 | 96.7386
891 | 96.8045
890 | 96.8725
889 | 96.9391
888 | 97.0019
887 | 97.0604
886 | 97.1148
885 | 97.1657
884 | 97.2135
883 | 97.2572
882 | 97.2936
881 | 97.3204
880 | 97.3389
879 | 97.3537
878 | 97.3686
877 | 97.3842
876 | 97.4005
875 | 97.4196
874 | 97.4447
873 | 97.477
872 | 97.5141
871 | 97.5509
870 | 97.5828
869 | 97.609
868 | 97.6321
867 | 97.6538
866 | 97.6726
865 | 97.6861
864 | 97.6947
863 | 97.7
862 | 97.7023
861 | 97.7014
860 | 97.6983
859 | 97.6953
858 | 97.6926
857 | 97.6884
856 | 97.6815
855 | 97.6723
854 | 97.6623
853 | 97.6542
852 | 97.6505
851 | 97.6503
850 | 97.648
849 | 97.6383
848 | 97.6221
847 | 97.6037
846 | 97.5854
845 | 97.5661
844 | 97.5462
843 | 97.5281
842 | 97.5121
841 | 97.4956
840 | 97.4778
839 | 97.4602
838 | 97.444
837 | 97.4294
836 | 97.4172
835 | 97.4083
834 | 97.4007
833 | 97.3915
832 | 97.3818
831 | 97.3753
830 | 97.3731
829 | 97.3725
828 | 97.3718
827 | 97.3725
826 | 97.3745
825 | 97.3744
824 | 97.3705
823 | 97.3656
822 | 97.3618
821 | 97.3583
820 | 97.3539
819 | 97.3494
818 | 97.3441
817 | 97.3363
816 | 97.3264
815 | 97.3176
814 | 97.3113
813 | 97.3057
812 | 97.2998
811 | 97.2947
810 | 97.2903
809 | 97.2842
808 | 97.2753
807 | 97.2658
806 | 97.257
805 | 97.2475
804 | 97.2363
803 | 97.2238
802 | 97.21
801 | 97.1934
800 | 97.1757
799 | 97.1604
798 | 97.1476
797 | 97.1335
796 | 97.1164
795 | 97.0987
794 | 97.0818
793 | 97.064
792 | 97.0447
791 | 97.0261
790 | 97.0084
789 | 96.9883
788 | 96.9641
787 | 96.9381
786 | 96.9128
785 | 96.8878
784 | 96.8632
783 | 96.8405
782 | 96.8192
781 | 96.7965
780 | 96.7721
779 | 96.7498
778 | 96.7314
777 | 96.7134
776 | 96.6928
775 | 96.6698
774 | 96.6448
773 | 96.6169
772 | 96.5869
771 | 96.5577
770 | 96.5297
769 | 96.4998
768 | 96.4681
767 | 96.4385
766 | 96.412
765 | 96.3841
764 | 96.3522
763 | 96.3194
762 | 96.2879
761 | 96.255
760 | 96.2189
759 | 96.1831
758 | 96.1501
757 | 96.1173
756 | 96.0821
755 | 96.0461
754 | 96.0112
753 | 95.9754
752 | 95.9371
751 | 95.8989
750 | 95.8618
749 | 95.823
748 | 95.7812
747 | 95.7396
746 | 95.7
745 | 95.6593
744 | 95.6166
743 | 95.5757
742 | 95.5388
741 | 95.5019
740 | 95.4614
739 | 95.4202
738 | 95.3803
737 | 95.3384
736 | 95.2914
735 | 95.2418
734 | 95.1921
733 | 95.1392
732 | 95.0797
731 | 95.0164
730 | 94.9536
729 | 94.8913
728 | 94.8283
727 | 94.765
726 | 94.7001
725 | 94.6306
724 | 94.5579
723 | 94.487
722 | 94.416
721 | 94.3376
720 | 94.254
719 | 94.1795
718 | 94.12
717 | 94.064
716 | 93.9989
715 | 93.9262
714 | 93.8535
713 | 93.7841
712 | 93.72
711 | 93.6663
710 | 93.6223
709 | 93.5778
708 | 93.5278
707 | 93.4789
706 | 93.4359
705 | 93.392
704 | 93.3425
703 | 93.2941
702 | 93.2519
701 | 93.2082
700 | 93.1579
699 | 93.11
698 | 93.072
697 | 93.0361
696 | 92.9924
695 | 92.944
694 | 92.896
693 | 92.8422
692 | 92.7773
691 | 92.7093
690 | 92.6426
689 | 92.5636
688 | 92.4601
687 | 92.3386
686 | 92.206
685 | 92.0515
684 | 91.8648
683 | 91.6509
682 | 91.4081
681 | 91.1136
680 | 90.7513
679 | 90.3324
678 | 89.8639
677 | 89.3307
676 | 88.7295
675 | 88.0841
674 | 87.4201
673 | 86.7669
672 | 86.1798
671 | 85.7117
670 | 85.3778
669 | 85.1831
668 | 85.1542
667 | 85.3321
666 | 85.69
665 | 86.1397
664 | 86.6427
663 | 87.1698
662 | 87.6671
661 | 88.0922
660 | 88.4465
659 | 88.7445
658 | 88.9924
657 | 89.1969
656 | 89.3676
655 | 89.5047
654 | 89.6059
653 | 89.6792
652 | 89.7345
651 | 89.7713
650 | 89.786
649 | 89.784
648 | 89.7735
647 | 89.7545
646 | 89.7211
645 | 89.6724
644 | 89.615
643 | 89.5576
642 | 89.5068
641 | 89.4645
640 | 89.4312
639 | 89.4085
638 | 89.3968
637 | 89.394
636 | 89.3969
635 | 89.3991
634 | 89.3898
633 | 89.363
632 | 89.3279
631 | 89.3025
630 | 89.2948
629 | 89.3017
628 | 89.3288
627 | 89.3983
626 | 89.5274
625 | 89.7123
624 | 89.933
623 | 90.1629
622 | 90.3924
621 | 90.6488
620 | 90.9554
619 | 91.2729
618 | 91.5263
617 | 91.683
616 | 91.7608
615 | 91.7918
614 | 91.8158
613 | 91.8653
612 | 91.9208
611 | 91.9243
610 | 91.8653
609 | 91.8019
608 | 91.7741
607 | 91.7639
606 | 91.759
605 | 91.7885
604 | 91.8622
603 | 91.9509
602 | 92.0678
601 | 92.2816
600 | 92.6

## Sample Details
Setting | Value
Filesname | 8.3.34 9
Creation Date
Analyst | mas-storage
X-Axis Units | cm-1
X-Axis start value | 4000
X-Axis end value | 600
Data interval | -1
Number of points | 3401
Y-Axis Units | %T
Description | 6Sample 3319 By mas-storage Date Thursday, June 16 2022

## Instrument Details
Setting | Value
Instrument Model | Frontier FT-IR
Instrument Serial Number | 91175
Software Revision | CPU32 Main 00.09.9908 05-May-2009 15:52:12
Number of Scans | 32
Resolution | 4
Detector
Source | MIR
Beam Splitter | OptKBr
Apodization | Strong
Spectrum Type | Spectrum
Beam Type | Ratio
Phase Correction | Magnitude
Scan Speed | 1
IGram Type | Double
Scan Driection | Combined
Zero Crossing | 0
JStop | 8.94
IR-Laser Wavenumber | 15798.001999451375
Manufacturer | PIKE Technologies Inc.
Part Number | L1200385
Serial Number | 19250
Description | Miracle Accessory
Default Scan Range | 4000 450
Accessory Type | Miracle ATR
Temperature / °C
Slide Holder Option

## Quality Checks
Setting | Value
Water Vapor | Passed
Carbon Dioxide | Passed
Baseline Low | Passed
Baseline High | Passed
Baseline Slope | Passed
Strong Bands | Passed
Weak Bands | Warning
High Noise | Passed
Fringes | Warning
Vignetting | Passed
Blocked Beam | Passed
Negative Bands | Passed
Zero Transmission | Passed
Stray Light | Passed
Window Cuttoff | Passed