## 2023-03-16_Ivan_PRM Calib curve
Target Cmpd Name: ======================> | [12 empty] | PRM
Target Cmpd Chromatogram: ===============> | [12 empty] | UV Chromatogram; 225 nm
Target Cmpd RT window: ==================> | [12 empty] | 216.000000 ±12 s
ISTD Cmpd Name: ======================>
ISTD Cmpd Chromatogram: ===============>
ISTD Cmpd RT window: ==================>
Calib Curve Fit ======================> | [12 empty] | Linear
Calib Curve Origin ================> | [12 empty] | Exclude
Calib Curve Weighting ================> | [12 empty] | None
Calib Curve Equation ===============> | [12 empty] | y =
Calib Curve Correlation Coefficient ===============> | [12 empty] | 0
File Name | Sample Name | Sample Info | Vial | Method Name | Inj. Vol | Dil. Factor | Sample Type | Calib Level | Injection Number | Acq. Date | Operator | Theor. Conc | Theor. Conc. Unit | Conc. ISTD | Conc. ISTD Unit | RT Target Cmpd | Area Target Cmpd | Area ISTD Cmpd | Ratio Area Target/ISTD | Calc. Conc. | Calc. Conc. Unit | Accuracy | AVG
0.1_BA3_01_32558.d | 0.1 |  | BA3 | C:Methodslc ms methodsivan_0.80mlmin_acn_15isocratic_5min.m | 20 | 1 | Sample |  | 5 | 0/00/0000 00:00:00 |  | 0 |  | 0 |  | 216 | 1.0856 | 0 | 0 | n/c |  | 0 | 1.1951
0.1_BA3_02_32559.d | 0.1 |  | BA3 | C:Methodslc ms methodsivan_0.80mlmin_acn_15isocratic_5min.m | 20 | 1 | Sample |  | 6 | 0/00/0000 00:00:00 |  | 0 |  | 0 |  | 215.02 | 1.3046 | 0 | 0 | n/c |  | 0
0.25_BA4_01_32560.d | 0.25 |  | BA4 | C:Methodslc ms methodsivan_0.80mlmin_acn_15isocratic_5min.m | 20 | 1 | Sample |  | 7 | 0/00/0000 00:00:00 |  | 0 |  | 0 |  | 215.033 | 1.8973 | 0 | 0 | n/c |  | 0 | 2.4802
0.25_BA4_02_32561.d | 0.25 |  | BA4 | C:Methodslc ms methodsivan_0.80mlmin_acn_15isocratic_5min.m | 20 | 1 | Sample |  | 8 | 0/00/0000 00:00:00 |  | 0 |  | 0 |  | 215.0379 | 3.063 | 0 | 0 | n/c |  | 0
0.5_BA5_01_32562.d | 0.5 |  | BA5 | C:Methodslc ms methodsivan_0.80mlmin_acn_15isocratic_5min.m | 20 | 1 | Sample |  | 9 | 0/00/0000 00:00:00 |  | 0 |  | 0 |  | 215.02 | 6.0923 | 0 | 0 | n/c |  | 0 | 5.6767
0.5_BA5_02_32563.d | 0.5 |  | BA5 | C:Methodslc ms methodsivan_0.80mlmin_acn_15isocratic_5min.m | 20 | 1 | Sample |  | 10 | 0/00/0000 00:00:00 |  | 0 |  | 0 |  | 215.4362 | 5.2611 | 0 | 0 | n/c |  | 0
1_BA6_01_32566.d | 1 |  | BA6 | C:Methodslc ms methodsivan_0.80mlmin_acn_15isocratic_5min.m | 20 | 1 | Sample |  | 13 | 0/00/0000 00:00:00 |  | 0 |  | 0 |  | 215.51 | 10.4503 | 0 | 0 | n/c |  | 0 | 10.2903
1_BA6_02_32567.d | 1 |  | BA6 | C:Methodslc ms methodsivan_0.80mlmin_acn_15isocratic_5min.m | 20 | 1 | Sample |  | 14 | 0/00/0000 00:00:00 |  | 0 |  | 0 |  | 215.5 | 10.1302 | 0 | 0 | n/c |  | 0
2.5_BA7_01_32568.d | 2.5 |  | BA7 | C:Methodslc ms methodsivan_0.80mlmin_acn_15isocratic_5min.m | 20 | 1 | Sample |  | 15 | 0/00/0000 00:00:00 |  | 0 |  | 0 |  | 215.9441 | 24.8659 | 0 | 0 | n/c |  | 0 | 25.2493
2.5_BA7_02_32569.d | 2.5 |  | BA7 | C:Methodslc ms methodsivan_0.80mlmin_acn_15isocratic_5min.m | 20 | 1 | Sample |  | 16 | 0/00/0000 00:00:00 |  | 0 |  | 0 |  | 215.5218 | 25.6326 | 0 | 0 | n/c |  | 0
5_BA8_01_32570.d | 5 |  | BA8 | C:Methodslc ms methodsivan_0.80mlmin_acn_15isocratic_5min.m | 20 | 1 | Sample |  | 17 | 0/00/0000 00:00:00 |  | 0 |  | 0 |  | 215.546 | 48.9645 | 0 | 0 | n/c |  | 0 | 50.1693
5_BA8_02_32571.d | 5 |  | BA8 | C:Methodslc ms methodsivan_0.80mlmin_acn_15isocratic_5min.m | 20 | 1 | Sample |  | 18 | 0/00/0000 00:00:00 |  | 0 |  | 0 |  | 215.5419 | 51.3741 | 0 | 0 | n/c |  | 0
10_BB1_01_32572.d | 10 |  | BB1 | C:Methodslc ms methodsivan_0.80mlmin_acn_15isocratic_5min.m | 20 | 1 | Sample |  | 19 | 0/00/0000 00:00:00 |  | 0 |  | 0 |  | 215.9568 | 97.341 | 0 | 0 | n/c |  | 0 | 97.0853
10_BB1_02_32573.d | 10 |  | BB1 | C:Methodslc ms methodsivan_0.80mlmin_acn_15isocratic_5min.m | 20 | 1 | Sample |  | 20 | 0/00/0000 00:00:00 |  | 0 |  | 0 |  | 215.5391 | 96.8296 | 0 | 0 | n/c |  | 0
25 microL_BB2_01_32574.d | 25 micromoles/L |  | BB2 | C:Methodslc ms methodsivan_0.80mlmin_acn_15isocratic_5min.m | 20 | 1 | Sample |  | 21 | 0/00/0000 00:00:00 |  | 0 |  | 0 |  | 215.9784 | 244.2956 | 0 | 0 | n/c |  | 0 | 243.2073
25 microL_BB2_02_32575.d | 25 micromoles/L |  | BB2 | C:Methodslc ms methodsivan_0.80mlmin_acn_15isocratic_5min.m | 20 | 1 | Sample |  | 22 | 0/00/0000 00:00:00 |  | 0 |  | 0 |  | 215.9595 | 242.119 | 0 | 0 | n/c |  | 0
MeOH_BA1_01_32576.d | MeOH |  | BA1 | C:Methodslc ms methodsivan_0.80mlmin_acn_15isocratic_5min.m | 20 | 1 | Sample |  | 23 | 0/00/0000 00:00:00 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | n/c |  | 0
MeOH_BA1_01_32580.d | MeOH |  | BA1 | C:Methodslc ms methodsivan_0.80mlmin_acn_15isocratic_5min.m | 20 | 1 | Sample |  | 27 | 0/00/0000 00:00:00 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | n/c |  | 0
MeOH_BA1_02_32581.d | MeOH |  | BA1 | C:Methodslc ms methodsivan_0.80mlmin_acn_15isocratic_5min.m | 20 | 1 | Sample |  | 28 | 0/00/0000 00:00:00 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | n/c |  | 0
| Concentration | Average Area Target compound
| 0.1 | 1.1951
| 0.25 | 2.4802
| 0.5 | 5.6767
| 1 | 10.2903
| 2.5 | 25.2493
| 5 | 50.1693
| 10 | 97.0853
| 25 | 243.2073