## Calibration Densities
Calibration Densities
Specimen | Volume (cm3) | Grayscale | Mass (g) | Density (g/cm3) | Mean average grayscale values | Mean average vBMD (g/cm3)
Hydroxyapatite 1 | 4.6853 | 129.986 | 13.6816 | 2.9201
Hydroxyapatite 2 | 4.6766 | 132.526 | 13.6716 | 2.9234
Hydroxyapatite 3 | 4.6728 | 133.585 | 13.6742 | 2.9263
[5 empty] | 132.0323 | 2.9233
Polyethylene 1 | 4.9212 | 23.6715 | 4.6502 | 0.94494
Polyethylene 2 | 4.8265 | 24.0304 | 4.6505 | 0.96354
Polyethylene 3 | 4.8445 | 23.8789 | 4.6501 | 0.95989
[5 empty] | 23.8603 | 0.95612
Acrylic 1 | 3.9523 | 30.2892 | 4.796 | 1.2135
Acrylic 2 | 3.9781 | 30.108 | 4.795 | 1.2053
Acrylic 3 | 3.9642 | 30.0547 | 4.795 | 1.2096
[5 empty] | 30.1506 | 1.2095

## Four long bone baseline vBMD
Four long bone types initial baseline scans for vBMD (g/cm3)
Test condition | Test specimen | Grayscale value | Mean GS | Grayscale SD | Volumetric bone mineral density (g/cm3) | Mean vBMD (g/cm3) | vBMD SD (g/cm3) | Mean of all samples of long bone variant (g/cm3) | SD of all samples of long bone variant (g/cm3)
Fresh | TA1 | 73.9 |  |  | 1.9064 |  |  |  |  | Calibration values from phantom scans
Fresh | TA2 | 79.0685 |  |  | 1.9974 |  |  |  |  | x= | 0.0176
Fresh | TA3 | 77.5076 |  |  | 1.9699 |  |  |  |  | c= | 0.6058
Fresh | TA4 | 76.1873 |  |  | 1.9467
Fresh | TA5 | 74.4019 |  |  | 1.9153
Fresh | TA6 | 67.3324 |  |  | 1.7909
|  |  | 74.733 | 3.7457 |  | 1.9211 | 0.065925
Fresh | TB1 | 77.558 |  |  | 1.9708
Fresh | TB2 | 75.4064 |  |  | 1.933
Fresh | TA3 | 77.5076 |  |  | 1.9699
Fresh | TB4 | 69.6235 |  |  | 1.8312
Fresh | TB5 | 79.2156 |  |  | 2
Fresh | TB6 | 75.5385 |  |  | 1.9353
|  |  | 75.8083 | 3.0563 |  | 1.94 | 0.05379
Fresh | TC1 | 79.8094 |  |  | 2.0104
Fresh | TC2 | 76.3678 |  |  | 1.9499
Fresh | TC3 | 77.8593 |  |  | 1.9761
Fresh | TC4 | 81.7723 |  |  | 2.045
Fresh | TC5 | 70.5173 |  |  | 1.8469
Fresh | TC6 | 63.6082 |  |  | 1.7253
|  |  | 74.9891 | 6.1767 |  | 1.9256 | 0.10871
[8 empty] | 1.9289 | 0.076141
Fresh | FA1 | 78.6772 |  |  | 1.9905
Fresh | FA2 | 75.0125 |  |  | 1.926
Fresh | FA3 | 85.8734 |  |  | 2.1172
Fresh | FA4 | 83.6299 |  |  | 2.0777
Fresh | FA5 | 77.7434 |  |  | 1.9741
Fresh | FA6 | 78.8718 |  |  | 1.9939
|  |  | 79.968 | 3.6664 |  | 2.0132 | 0.064529
Fresh | FB1 | 77.1527 |  |  | 1.9637
Fresh | FB2 | 80.3873 |  |  | 2.0206
Fresh | FB3 | 80.557 |  |  | 2.0236
Fresh | FB4 | 86.7754 |  |  | 2.133
Fresh | FB5 | 77.5245 |  |  | 1.9702
Fresh | FB6 | 72.1736 |  |  | 1.8761
|  |  | 79.0951 | 4.4148 |  | 1.9979 | 0.0777
Fresh | FC1 | 73.397 |  |  | 1.8976
Fresh | FC2 | 83.5242 |  |  | 2.0758
Fresh | FC3 | 80.5807 |  |  | 2.024
Fresh | FC4 | 82.2766 |  |  | 2.0539
Fresh | FC5 | 62.6983 |  |  | 1.7093
Fresh | FC6 | 73.6143 |  |  | 1.9014
|  |  | 76.0152 | 7.146 |  | 1.9437 | 0.12577
[8 empty] | 1.9849 | 0.089333
Fresh | HA1 | 78.8273 |  |  | 1.9932
Fresh | HA2 | 74.7577 |  |  | 1.9215
Fresh | HA3 | 78.7324 |  |  | 1.9915
Fresh | HA4 | 79.8475 |  |  | 2.0111
Fresh | HA5 | 83.1318 |  |  | 2.0689
Fresh | HA6 | 74.1905 |  |  | 1.9116
|  |  | 78.2479 | 3.0448 |  | 1.983 | 0.053589
Fresh | HB1 | 72.55 |  |  | 1.8827
Fresh | HB2 | 79.7362 |  |  | 2.0092
Fresh | HB3 | 78.9132 |  |  | 1.9947
Fresh | HB4 | 78.3765 |  |  | 1.9852
Fresh | HB5 | 79.9126 |  |  | 2.0123
Fresh | HB6 | 73.5383 |  |  | 1.9001
|  |  | 77.1711 | 2.9759 |  | 1.964 | 0.052376
Fresh | HC1 | 76.3367 |  |  | 1.9493
Fresh | HC2 | 83.2367 |  |  | 2.0708
Fresh | HC3 | 76.7338 |  |  | 1.9563
Fresh | HC4 | 61.3834 |  |  | 1.6861
Fresh | HC5 | 78.4409 |  |  | 1.9864
Fresh | HC6 | 79.6746 |  |  | 2.0081
|  |  | 75.9677 | 6.9056 |  | 1.9428 | 0.12154
[8 empty] | 1.9633 | 0.075834
Fresh | UA1 | 75.813 |  |  | 1.9401
Fresh | UA2 | 84.1851 |  |  | 2.0875
Fresh | UA3 | 72.8672 |  |  | 1.8883
Fresh | UA4 | 78.366 |  |  | 1.985
Fresh | UA5 | 75.9964 |  |  | 1.9433
Fresh | UA6 | 75.8531 |  |  | 1.9408
|  |  | 77.1801 | 3.5145 |  | 1.9642 | 0.061854
Fresh | UB1 | 71.8325 |  |  | 1.8701
Fresh | UB2 | 79.7947 |  |  | 2.0102
Fresh | UB3 | 72.7106 |  |  | 1.8855
Fresh | UB4 | 69.454 |  |  | 1.8282
Fresh | UB5 | 77.0784 |  |  | 1.9624
Fresh | UB6 | 75.5111 |  |  | 1.9348
|  |  | 74.3969 | 3.4501 |  | 1.9152 | 0.060722
Fresh | UC1 | 76.0509 |  |  | 1.9443
Fresh | UC2 | 73.0053 |  |  | 1.8907
Fresh | UC3 | 81.2622 |  |  | 2.036
Fresh | UC4 | 85.6035 |  |  | 2.1124
Fresh | UC5 | 81.3909 |  |  | 2.0383
Fresh | UC6 | 82.407 |  |  | 2.0562
|  |  | 79.9533 | 4.1879 |  | 2.013 | 0.073706
[8 empty] | 1.9641 | 0.065428

## Four long bone vBMD post Rx
Four long bone densities following treatment with 2.4 M HCl for 1. 24 hours, 2. 48 hours, 3. Reverse osmosis water for 48 hours
Test condition | Test specimen | Grayscale value | Mean GS | Grayscale SD | Volumetric bone mineral density (g/cm3) | Mean vBMD (g/cm3) | vBMD SD (g/cm3)
R/O | TA1 | 80.3919 |  |  | 2.0207 |  |  | Calibration values from phantom scans
R/O | TA2 | 79.5995 |  |  | 2.0068 |  |  | x= | 0.0176
R/O | TB3 | 81.8838 |  |  | 2.047 |  |  | c= | 0.6058
R/O | TB4 | 77.8055 |  |  | 1.9752
R/O | TC5 | 79.0544 |  |  | 1.9972
R/O | TC6 | 80.1439 |  |  | 2.0163
|  |  | 79.8132 | 1.2506 |  | 2.0105 | 0.02201
24 hours in 2.4 M HCl | TA3 | 32.4856 |  |  | 1.1775
24 hours in 2.4 M HCl | TA4 | 37.2198 |  |  | 1.2609
24 hours in 2.4 M HCl | TB5 | 33.2254 |  |  | 1.1906
24 hours in 2.4 M HCl | TB6 | 35.5087 |  |  | 1.2308
24 hours in 2.4 M HCl | TC1 | 32.3372 |  |  | 1.1749
24 hours in 2.4 M HCl | TC2 | 30.6172 |  |  | 1.1447
|  |  | 33.5656 | 2.1838 |  | 1.1966 | 0.038434
48 hours in 2.4 M HCl | TA5 | 30.336 |  |  | 1.1397
48 hours in 2.4 M HCl | TA6 | 29.4496 |  |  | 1.1241
48 hours in 2.4 M HCl | TB1 | 31.1211 |  |  | 1.1535
48 hours in 2.4 M HCl | TB2 | 32.2677 |  |  | 1.1737
48 hours in 2.4 M HCl | TC3 | 32.8118 |  |  | 1.1833
48 hours in 2.4 M HCl | TC4 | 33.7103 |  |  | 1.1991
|  |  | 31.6161 | 1.4616 |  | 1.1622 | 0.025724
R/O | FA1 | 76.5675 |  |  | 1.9534
R/O | FA2 | 79.8208 |  |  | 2.0106
R/O | FB3 | 82.1519 |  |  | 2.0517
R/O | FB4 | 82.8858 |  |  | 2.0646
R/O | FC5 | 74.2631 |  |  | 1.9128
R/O | FC6 | 76.3828 |  |  | 1.9501
|  |  | 78.6787 | 3.17 |  | 1.9905 | 0.055792
24 hours in 2.4 M HCl | FA3 | 27.5969 |  |  | 1.0915
24 hours in 2.4 M HCl | FA4 | 34.0059 |  |  | 1.2043
24 hours in 2.4 M HCl | FB5 | 31.7315 |  |  | 1.1643
24 hours in 2.4 M HCl | FB6 | 41.3821 |  |  | 1.3341
24 hours in 2.4 M HCl | FC1 | 29.32 |  |  | 1.1218
24 hours in 2.4 M HCl | FC2 | 34.3808 |  |  | 1.2109
|  |  | 33.0695 | 4.4252 |  | 1.1878 | 0.077883
48 hours in 2.4 M HCl | FA5 | 33.5247 |  |  | 1.1958
48 hours in 2.4 M HCl | FA6 | 30.2484 |  |  | 1.1382
48 hours in 2.4 M HCl | FB1 | 31.4176 |  |  | 1.1587
48 hours in 2.4 M HCl | FB2 | 35.0494 |  |  | 1.2227
48 hours in 2.4 M HCl | FC3 | 33.5628 |  |  | 1.1965
48 hours in 2.4 M HCl | FC4 | 33.2317 |  |  | 1.1907
|  |  | 32.8391 | 1.5687 |  | 1.1838 | 0.02761
R/O | HA1 | 84.3296 |  |  | 2.09
R/O | HA2 | 79.1615 |  |  | 1.999
R/O | HB3 | 84.0257 |  |  | 2.0847
R/O | HB4 | 86.1271 |  |  | 2.1216
R/O | HC5 | 82.2945 |  |  | 2.0542
R/O | HC6 | 81.8676 |  |  | 2.0467
|  |  | 82.9677 | 2.2025 |  | 2.066 | 0.038764
24 hours in 2.4 M HCl | HA3 | 32.7876 |  |  | 1.1829
24 hours in 2.4 M HCl | HA4 | 32.5211 |  |  | 1.1782
24 hours in 2.4 M HCl | HB5 | 31.7062 |  |  | 1.1638
24 hours in 2.4 M HCl | HB6 | 35.4572 |  |  | 1.2298
24 hours in 2.4 M HCl | HC1 | 31.9401 |  |  | 1.1679
24 hours in 2.4 M HCl | HC2 | 32.3338 |  |  | 1.1749
|  |  | 30.8653 | 1.2444 |  | 1.1829 | 0.021902
48 hours in 2.4 M HCl | HA5 | 30.9402 |  |  | 1.1503
48 hours in 2.4 M HCl | HA6 | 31.1355 |  |  | 1.1538
48 hours in 2.4 M HCl | HB1 | 31.5618 |  |  | 1.1613
48 hours in 2.4 M HCl | HB2 | 29.4145 |  |  | 1.1235
48 hours in 2.4 M HCl | HC3 | 30.7319 |  |  | 1.1467
48 hours in 2.4 M HCl | HC4 | 31.4081 |  |  | 1.1586
|  |  | 32.791 | 0.70486 |  | 1.149 | 0.012406
R/O | UA1 | 76.0012 |  |  | 1.9434
R/O | UA2 | 77.9976 |  |  | 1.9786
R/O | UB3 | 72.5141 |  |  | 1.882
R/O | UB4 | 74.2645 |  |  | 1.9129
R/O | UC5 | 79.2774 |  |  | 2.0011
R/O | UC6 | 69.8882 |  |  | 1.8358
|  |  | 74.9905 | 3.192 |  | 1.9256 | 0.05618
24 hours in 2.4 M HCl | UA3 | 36.598 |  |  | 1.2499
24 hours in 2.4 M HCl | UA4 | 29.9746 |  |  | 1.1334
24 hours in 2.4 M HCl | UB5 | 33.5019 |  |  | 1.1954
24 hours in 2.4 M HCl | UB6 | 34.535 |  |  | 1.2136
24 hours in 2.4 M HCl | UC1 | 30.4976 |  |  | 1.1426
24 hours in 2.4 M HCl | UC2 | 28.9664 |  |  | 1.1156
|  |  | 32.3456 | 2.7285 |  | 1.1751 | 0.048022
48 hours in 2.4 M HCl | UA5 | 30.8845 |  |  | 1.1494
48 hours in 2.4 M HCl | UA6 | 32.5985 |  |  | 1.1795
48 hours in 2.4 M HCl | UB1 | 30.5469 |  |  | 1.1434
48 hours in 2.4 M HCl | UB2 | 30.3645 |  |  | 1.1402
48 hours in 2.4 M HCl | UC3 | 28.2232 |  |  | 1.1025
48 hours in 2.4 M HCl | UC4 | 34.1886 |  |  | 1.2075
|  |  | 31.1344 | 1.8685 |  | 1.1538 | 0.032885

## Different preparation methods
Tibial preparation techniques and 0.6 M and 1.2 M demineralisation
Test Condition | Test specimen | Grayscale value | Mean GS | Grayscale SD | Volumetric bone mineral density (g/cm3) | Mean vBMD (g/cm3) | vBMD SD (g/cm3)
R/O | 1 | 74.9882 |  |  | 1.9256 |  |  | Calibration values from phantom scans
R/O | 2 | 70.4426 |  |  | 1.8456 |  |  | x= | 0.0176
R/O | 3 | 63.1484 |  |  | 1.7172 |  |  | c= | 0.6058
R/O | 4 | 70.6876 |  |  | 1.8499
R/O | 5 | 76.6375 |  |  | 1.9546
R/O | 6 | 69.2989 |  |  | 1.8255
|  |  | 70.8672 | 4.3307 |  | 1.8531 | 0.076221
PBS | 1 | 76.0358 |  |  | 1.944
PBS | 2 | 63.413 |  |  | 1.7219
PBS | 3 | 74.3333 |  |  | 1.9141
PBS | 4 | 71.6435 |  |  | 1.8667
PBS | 5 | 69.927 |  |  | 1.8365
PBS | 6 | 75.4013 |  |  | 1.9329
|  |  | 71.7923 | 4.3051 |  | 1.8693 | 0.07577
0.6 M | 1 | 46.8129 |  |  | 1.4297
0.6 M | 2 | 46.9634 |  |  | 1.4324
0.6 M | 3 | 49.1018 |  |  | 1.47
0.6 M | 4 | 46.1318 |  |  | 1.4177
0.6 M | 5 | 51.1365 |  |  | 1.5058
0.6 M | 6 | 44.648 |  |  | 1.3916
|  |  | 47.4657 | 2.1035 |  | 1.4412 | 0.037022
1.2 M | 1 | 45.59 |  |  | 1.4082
1.2 M | 2 | 41.1467 |  |  | 1.33
1.2 M | 3 | 39.7435 |  |  | 1.3053
1.2 M | 4 | 43.162 |  |  | 1.3655
1.2 M | 5 | 46.1814 |  |  | 1.4186
1.2 M | 6 | 39.2738 |  |  | 1.297
|  |  | 42.5162 | 2.6887 |  | 1.3541 | 0.047322
2.4 M | 1 | 31.3397 |  |  | 1.1574
2.4 M | 2 | 30.2426 |  |  | 1.1381
2.4 M | 3 | 32.8249 |  |  | 1.1835
2.4 M | 4 | 32.2552 |  |  | 1.1735
2.4 M | 5 | 36.7114 |  |  | 1.2519
2.4 M | 6 | 34.7865 |  |  | 1.218
|  |  | 33.0267 | 2.1567 |  | 1.1871 | 0.037957
Dehydrated tibia | 1 | 60.1446 |  |  | 1.6643
Dehydrated tibia | 2 | 61.0908 |  |  | 1.681
Dehydrated tibia | 3 | 58.2665 |  |  | 1.6313
Dehydrated tibia | 4 | 61.1097 |  |  | 1.6813
Dehydrated tibia | 5 | 61.5804 |  |  | 1.6896
Dehydrated tibia | 6 | 57.2981 |  |  | 1.6142
|  |  | 59.915 | 1.5917 |  | 1.6603 | 0.028015
R/O Dehydrated | 1 | 87.2076 |  |  | 2.1407
R/O Dehydrated | 2 | 83.5189 |  |  | 2.0757
R/O Dehydrated | 3 | 82.5803 |  |  | 2.0592
R/O Dehydrated | 4 | 81.3721 |  |  | 2.0379
R/O Dehydrated | 5 | 86.043 |  |  | 2.1202
R/O Dehydrated | 6 | 81.9639 |  |  | 2.0484
|  |  | 83.781 | 2.1398 |  | 2.0803 | 0.037661
PBS Dehydrated | 1 | 61.3999 |  |  | 1.6864
PBS Dehydrated | 2 | 72.1913 |  |  | 1.8764
PBS Dehydrated | 3 | 70.1896 |  |  | 1.8411
PBS Dehydrated | 4 | 75.9103 |  |  | 1.9418
PBS Dehydrated | 5 | 78.1654 |  |  | 1.9815
PBS Dehydrated | 6 | 79.9036 |  |  | 2.0121
|  |  | 72.96 | 6.1362 |  | 1.8899 | 0.108
Dehydrated 0.6 M | 1 | 57.3972 |  |  | 1.616
Dehydrated 0.6 M | 2 | 56.0178 |  |  | 1.5917
Dehydrated 0.6 M | 3 | 52.2481 |  |  | 1.5254
Dehydrated 0.6 M | 4 | 51.8469 |  |  | 1.5183
Dehydrated 0.6 M | 5 | 60.7817 |  |  | 1.6756
Dehydrated 0.6 M | 6 | 53.3121 |  |  | 1.5441
|  |  | 55.2673 | 3.1661 |  | 1.5785 | 0.055724
Dehydrated 1.2 M | 1 | 43.9822 |  |  | 1.3799
Dehydrated 1.2 M | 2 | 39.7268 |  |  | 1.305
Dehydrated 1.2 M | 3 | 47.3375 |  |  | 1.4389
Dehydrated 1.2 M | 4 | 46.7813 |  |  | 1.4292
Dehydrated 1.2 M | 5 | 37.3812 |  |  | 1.2637
Dehydrated 1.2 M | 6 | 38.9118 |  |  | 1.2906
|  |  | 42.3535 | 3.8852 |  | 1.3512 | 0.068379
Dehydrated 2.4 M | 1 | 37.7389 |  |  | 1.27
Dehydrated 2.4 M | 2 | 41.61 |  |  | 1.3381
Dehydrated 2.4 M | 3 | 36.841 |  |  | 1.2542
Dehydrated 2.4 M | 4 | 31.502 |  |  | 1.1602
Dehydrated 2.4 M | 5 | 34.1995 |  |  | 1.2077
Dehydrated 2.4 M | 6 | 37.5461 |  |  | 1.2666
|  |  | 36.5729 | 3.1384 |  | 1.2495 | 0.055236

## Pullout validation - Summary
Pullout validation - Summary
Test method | Number of tests | Mean thickness (mm) | Mean insertion torque (Nm) | Mean pullout force (N) | SD for mean pullout force | Mean cortical thickness adjustment to 3.3mm (mm) | Mean adjustment for variation in cortical thickness (N) | Mean adjusted pullout force (N) | SD for mean adjusted pullout force
Fresh Tibia | 12 | 3.37 | 0.50669 | 920.675 | 161.6404 | -0.07 | -20.1588 | 900.516 | 103.64
Reverse Osmosis | 12 | 3.81 | 0.50456 | 969.24 | 231.23 | -0.51 | -129.52 | 839.718 | 160.05
PBS | 12 | 3.53 | 0.5054 | 905.78 | 190.62 | -0.23 | -58.63 | 847.141 | 87.46
0.6 M HCL | 12 | 3.43 | 0.14 | 271.4833 | 174.9476 | -0.13 | -10.764 | 260.719 | 141.99
1.2 M HCL | 12 | 2.71 | 0.1 | 115.85 | 29.6311 | 0.59 | 26.5964 | 142.446 | 11.34
2.4 M HCL | 12 | 2.81 | 0.05 | 48.2917 | 12.3569 | 0.49 | 8.401 | 56.693 | 12.26
Tibia Dehydrated | 12 | 3.8346 | 0.50207 | 775.1833 | 250.4606 | -0.53464 | -107.2459 | 667.937 | 162.79
Reverse Osmosis Dehydrated | 12 | 3.74 | 0.50131 | 595.8917 | 136.1759 | -0.44 | -68.622 | 527.27 | 124.71
PBS Dehydrated | 12 | 4.2433 | 0.503 | 1081.975 | 294.9003 | -0.94333 | -239.8331 | 842.142 | 245.5
0.6 M HCL Dehydrated | 12 | 2.86 | 0.21331 | 434.2083 | 178.6629 | 0.44 | 67.7807 | 501.989 | 101.64
1.2 M HCL Dehydrated | 12 | 3.11 | 0.076063 | 114.2833 | 27.2496 | 0.19 | 6.983 | 121.266 | 12.04
2.4 M HCL Dehydrated | 12 | 2.19 | 0.05 | 41.575 | 18.8247 | 1.11 | 19.9581 | 61.533 | 21.75

## Pullout validation Raw
Pullout validation Raw
Test method | Sample number | Mean thickness (mm) | Mean of all cortical thicknesses (mm) | Insertion torque (Nm) | Mean insertion torque for all samples (Nm) | Raw pullout force (N) | Mean raw pullout force (N) | SD of mean average pullout force (N) | Adjustment coefficient | Cortical Thickness adjustment to 3.3mm (mm) | Mean cortical thickness adjustment to 3.3mm (mm) | Adjustment for variation in cortical thickness (N) | Mean change in pullout force due to cortical adjustment (N) | Adjusted Pullout force (N) | Mean average adjusted pullout force (N) | SD of mean average adjusted pullout force (N)
Fresh Tibia | 1 | 2.925 |  | 0.504 |  | 746.2 |  |  | 273.34 | 0.375 |  | 102.5025 |  | 848.7025
Fresh Tibia | 2 | 3.36 |  | 0.504 |  | 892.4 |  |  | 273.34 | -0.06 |  | -16.4004 |  | 875.9996
Fresh Tibia | 3 | 3.17 |  | 0.504 |  | 730.7 |  |  | 273.34 | 0.13 |  | 35.5342 |  | 766.2342
Fresh Tibia | 4 | 3.295 |  | 0.504 |  | 684.7 |  |  | 273.34 | 0.005 |  | 1.3667 |  | 686.0667
Fresh Tibia | 5 | 3.855 |  | 0.504 |  | 1159.6 |  |  | 273.34 | -0.555 |  | -151.7037 |  | 1007.8963
Fresh Tibia | 6 | 2.745 |  | 0.501 |  | 881.4 |  |  | 273.34 | 0.555 |  | 151.7037 |  | 1033.1037
Fresh Tibia | 7 | 2.825 |  | 0.515 |  | 807.8 |  |  | 273.34 | 0.475 |  | 129.8365 |  | 937.6365
Fresh Tibia | 8 | 3.59 |  | 0.506 |  | 870.4 |  |  | 273.34 | -0.29 |  | -79.2686 |  | 791.1314
Fresh Tibia | 9 | 3.73 |  | 0.506 |  | 1053.2 |  |  | 273.34 | -0.43 |  | -117.5362 |  | 935.6638
Fresh Tibia | 10 | 3.23 |  | 0.506 |  | 980.7 |  |  | 273.34 | 0.07 |  | 19.1338 |  | 999.8338
Fresh Tibia | 11 | 3.615 |  | 0.52 |  | 1032.2 |  |  | 273.34 | -0.315 |  | -86.1021 |  | 946.0979
Fresh Tibia | 12 | 4.145 |  | 0.501 |  | 1208.8 |  |  | 273.34 | -0.845 |  | -230.9723 |  | 977.8277
|  |  | 3.3737 |  | 0.50625 |  | 920.675 | 161.6404 |  |  | -0.07375 |  | -20.1588 |  | 900.5162 | 103.6472
Reverse Osmosis | 1 | 3.75 |  | 0.501 |  | 754.2 |  |  | 252.73 | -0.45 |  | -113.7285 |  | 640.4715
Reverse Osmosis | 2 | 3.265 |  | 0.498 |  | 669 |  |  | 252.73 | 0.035 |  | 8.8456 |  | 677.8456
Reverse Osmosis | 3 | 3.48 |  | 0.509 |  | 662.3 |  |  | 252.73 | -0.18 |  | -45.4914 |  | 616.8086
Reverse Osmosis | 4 | 3.745 |  | 0.532 |  | 1098.3 |  |  | 252.73 | -0.445 |  | -112.4649 |  | 985.8351
Reverse Osmosis | 5 | 2.5 |  | 0.501 |  | 748.5 |  |  | 252.73 | 0.8 |  | 202.184 |  | 950.684
Reverse Osmosis | 6 | 2.65 |  | 0.498 |  | 806.9 |  |  | 252.73 | 0.65 |  | 164.2745 |  | 971.1745
Reverse Osmosis | 7 | 3.265 |  | 0.501 |  | 1038.8 |  |  | 252.73 | 0.035 |  | 8.8456 |  | 1047.6455
Reverse Osmosis | 8 | 4.54 |  | 0.504 |  | 1047 |  |  | 252.73 | -1.24 |  | -313.3852 |  | 733.6148
Reverse Osmosis | 9 | 5.005 |  | 0.506 |  | 1302.7 |  |  | 252.73 | -1.705 |  | -430.9047 |  | 871.7954
Reverse Osmosis | 10 | 4.585 |  | 0.506 |  | 1381.8 |  |  | 252.73 | -1.285 |  | -324.7581 |  | 1057.0419
Reverse Osmosis | 11 | 4.315 |  | 0.501 |  | 1132.3 |  |  | 252.73 | -1.015 |  | -256.5209 |  | 875.7791
Reverse Osmosis | 12 | 4.65 |  | 0.501 |  | 989.1 |  |  | 252.73 | -1.35 |  | -341.1855 |  | 647.9145
|  |  | 3.8125 |  | 0.50483 |  | 969.2417 | 231.2295 |  |  | -0.5125 |  | -129.5241 |  | 839.7175 | 160.0454
PBS | 1 | 2.84 |  | 0.504 |  | 778.7 |  |  | 254.01 | 0.46 |  | 116.8446 |  | 895.5446
PBS | 2 | 3 |  | 0.504 |  | 679.9 |  |  | 254.01 | 0.3 |  | 76.203 |  | 756.103
PBS | 3 | 5.09 |  | 0.506 |  | 1142.6 |  |  | 254.01 | -1.79 |  | -454.6779 |  | 687.9221
PBS | 4 | 3.65 |  | 0.504 |  | 968.9 |  |  | 254.01 | -0.35 |  | -88.9035 |  | 879.9965
PBS | 5 | 2.965 |  | 0.523 |  | 923.5 |  |  | 254.01 | 0.335 |  | 85.0933 |  | 1008.5933
PBS | 6 | 2.625 |  | 0.509 |  | 669.9 |  |  | 254.01 | 0.675 |  | 171.4567 |  | 841.3567
PBS | 7 | 2.82 |  | 0.504 |  | 737.4 |  |  | 254.01 | 0.48 |  | 121.9248 |  | 859.3248
PBS | 8 | 3.005 |  | 0.504 |  | 719.1 |  |  | 254.01 | 0.295 |  | 74.9329 |  | 794.033
PBS | 9 | 3.83 |  | 0.509 |  | 1082.2 |  |  | 254.01 | -0.53 |  | -134.6253 |  | 947.5747
PBS | 10 | 5.055 |  | 0.504 |  | 1186 |  |  | 254.01 | -1.755 |  | -445.7875 |  | 740.2124
PBS | 11 | 4.325 |  | 0.506 |  | 1171.7 |  |  | 254.01 | -1.025 |  | -260.3603 |  | 911.3397
PBS | 12 | 3.165 |  | 0.501 |  | 809.4 |  |  | 254.01 | 0.135 |  | 34.2913 |  | 843.6913
|  |  | 3.5308 |  | 0.5065 |  | 905.775 | 190.6225 |  |  | -0.23083 |  | -58.634 |  | 847.141 | 87.4568
0.6 M HCl | 1 | 3.065 |  | 0.15 |  | 269 |  |  | 83.604 | 0.235 |  | 19.6469 |  | 288.6469
0.6 M HCl | 2 | 3.365 |  | 0.141 |  | 364.3 |  |  | 83.604 | -0.065 |  | -5.4343 |  | 358.8657
0.6 M HCl | 3 | 3.295 |  | 0.158 |  | 321.3 |  |  | 83.604 | 0.005 |  | 0.41802 |  | 321.718
0.6 M HCl | 4 | 2.9 |  | 0.073 |  | 118.8 |  |  | 83.604 | 0.4 |  | 33.4416 |  | 152.2416
0.6 M HCl | 5 | 2.955 |  | 0.1 |  | 121.2 |  |  | 83.604 | 0.345 |  | 28.8434 |  | 150.0434
0.6 M HCl | 6 | 2.95 |  | 0.1 |  | 115.8 |  |  | 83.604 | 0.35 |  | 29.2614 |  | 145.0614
0.6 M HCl | 7 | 3.265 |  | 0.15 |  | 125.7 |  |  | 83.604 | 0.035 |  | 2.9261 |  | 128.6261
0.6 M HCl | 8 | 4.775 |  | 0.249 |  | 687.4 |  |  | 83.604 | -1.475 |  | -123.3159 |  | 564.0841
0.6 M HCl | 9 | 3.78 |  | 0.12 |  | 255.3 |  |  | 83.604 | -0.48 |  | -40.1299 |  | 215.1701
0.6 M HCl | 10 | 3.565 |  | 0.11 |  | 193.4 |  |  | 83.604 | -0.265 |  | -22.1551 |  | 171.2449
0.6 M HCl | 11 | 3.785 |  | 0.204 |  | 536.8 |  |  | 83.604 | -0.485 |  | -40.5479 |  | 496.2521
0.6 M HCl | 12 | 3.445 |  | 0.12 |  | 148.8 |  |  | 83.604 | -0.145 |  | -12.1226 |  | 136.6774
|  |  | 3.4288 |  | 0.13958 |  | 271.4833 | 174.9476 |  |  | -0.12875 |  | -10.764 |  | 260.7193 | 141.9942
1.2 M HCl | 1 | 2.475 |  | 0.1 |  | 108.6 |  |  | 43.41 | 0.825 |  | 35.8157 |  | 144.4157
1.2 M HCl | 2 | 2.885 |  | 0.1 |  | 123.3 |  |  | 43.41 | 0.415 |  | 18.6202 |  | 141.9202
1.2 M HCl | 3 | 2.28 |  | 0.1 |  | 94.9 |  |  | 43.41 | 1.02 |  | 45.7654 |  | 140.6654
1.2 M HCl | 4 | 2.35 |  | 0.1 |  | 79.9 |  |  | 43.41 | 0.95 |  | 42.6246 |  | 122.5246
1.2 M HCl | 5 | 2.52 |  | 0.1 |  | 104.3 |  |  | 43.41 | 0.78 |  | 34.997 |  | 139.297
1.2 M HCl | 6 | 2.67 |  | 0.1 |  | 106.6 |  |  | 43.41 | 0.63 |  | 28.2668 |  | 134.8668
1.2 M HCl | 7 | 2.655 |  | 0.1 |  | 102.9 |  |  | 43.41 | 0.645 |  | 28.9399 |  | 131.8399
1.2 M HCl | 8 | 3.265 |  | 0.1 |  | 155.4 |  |  | 43.41 | 0.035 |  | 1.5704 |  | 156.9704
1.2 M HCl | 9 | 3.8 |  | 0.1 |  | 187 |  |  | 43.41 | -0.5 |  | -22.434 |  | 164.566
1.2 M HCl | 10 | 2.325 |  | 0.1 |  | 92.3 |  |  | 43.41 | 0.975 |  | 43.7463 |  | 136.0463
1.2 M HCl | 11 | 2.285 |  | 0.1 |  | 93.8 |  |  | 43.41 | 1.015 |  | 45.541 |  | 139.341
1.2 M HCl | 12 | 2.95 |  | 0.1 |  | 141.2 |  |  | 43.41 | 0.35 |  | 15.7038 |  | 156.9038
|  |  | 2.705 |  | 0.1 |  | 115.85 | 29.6311 |  |  | 0.595 |  | 26.5964 |  | 142.4464 | 11.3428
2.4 M HCl | 1 | 2.485 |  | 0.05 |  | 49 |  |  | 17.029 | 0.815 |  | 13.8786 |  | 62.8786
2.4 M HCl | 2 | 2.125 |  | 0.05 |  | 23.1 |  |  | 17.029 | 1.175 |  | 20.0091 |  | 43.1091
2.4 M HCl | 3 | 2.425 |  | 0.05 |  | 52.8 |  |  | 17.029 | 0.875 |  | 14.9004 |  | 67.7004
2.4 M HCl | 4 | 2.385 |  | 0.05 |  | 61.5 |  |  | 17.029 | 0.915 |  | 15.5815 |  | 77.0815
2.4 M HCl | 5 | 3.32 |  | 0.05 |  | 60.5 |  |  | 17.029 | -0.02 |  | -0.34058 |  | 60.1594
2.4 M HCl | 6 | 2.59 |  | 0.05 |  | 54.4 |  |  | 17.029 | 0.71 |  | 12.0906 |  | 66.4906
2.4 M HCl | 7 | 2.635 |  | 0.05 |  | 52.3 |  |  | 17.029 | 0.665 |  | 11.3243 |  | 63.6243
2.4 M HCl | 8 | 2.92 |  | 0.05 |  | 47.7 |  |  | 17.029 | 0.38 |  | 6.471 |  | 54.171
2.4 M HCl | 9 | 2.845 |  | 0.05 |  | 31 |  |  | 17.029 | 0.455 |  | 7.7482 |  | 38.7482
2.4 M HCl | 10 | 3.455 |  | 0.05 |  | 67.1 |  |  | 17.029 | -0.155 |  | -2.6395 |  | 64.4605
2.4 M HCl | 11 | 3.17 |  | 0.05 |  | 37.7 |  |  | 17.029 | 0.13 |  | 2.2138 |  | 39.9138
2.4 M HCl | 12 | 3.325 |  | 0.05 |  | 42.4 |  |  | 17.029 | -0.025 |  | -0.42573 |  | 41.9743
|  |  | 2.8067 |  | 0.05 |  | 48.2917 | 12.3569 |  |  | 0.49333 |  | 8.401 |  | 56.6926 | 12.2562
Dehydrated Tibia | 1 | 3.115 |  | 0.495 |  | 541.3 |  |  | 184.57 | 0.185 |  | 37.4643 |  | 578.7643
Dehydrated Tibia | 2 | 2.875 |  | 0.501 |  | 725.7 |  |  | 184.57 | 0.425 |  | 86.0667 |  | 811.7668
Dehydrated Tibia | 3 | 3.84 |  | 0.501 |  | 847.7 |  |  | 184.57 | -0.54 |  | -109.3554 |  | 738.3446
Dehydrated Tibia | 4 | 3.665 |  | 0.509 |  | 785.2 |  |  | 184.57 | -0.365 |  | -73.9162 |  | 711.2839
Dehydrated Tibia | 5 | 3.855 |  | 0.498 |  | 714.2 |  |  | 184.57 | -0.555 |  | -112.3931 |  | 601.807
Dehydrated Tibia | 6 | 2.485 |  | 0.498 |  | 495 |  |  | 184.57 | 0.815 |  | 165.0456 |  | 660.0457
Dehydrated Tibia | 7 | 3.045 |  | 0.498 |  | 444.2 |  |  | 184.57 | 0.255 |  | 51.64 |  | 495.84
Dehydrated Tibia | 8 | 4.495 |  | 0.501 |  | 846.2 |  |  | 184.57 | -1.195 |  | -241.9995 |  | 604.2006
Dehydrated Tibia | 9 | 5.035 |  | 0.523 |  | 1409.5 |  |  | 184.57 | -1.735 |  | -351.3549 |  | 1058.1451
Dehydrated Tibia | 10 | 5.78 |  | 0.501 |  | 881.8 |  |  | 184.57 | -2.48 |  | -502.2248 |  | 379.5752
Dehydrated Tibia | 11 | 4.54 |  | 0.501 |  | 1003 |  |  | 184.57 | -1.24 |  | -251.1124 |  | 751.8876
Dehydrated Tibia | 12 | 3.225 |  | 0.504 |  | 608.4 |  |  | 184.57 | 0.075 |  | 15.1883 |  | 623.5883
|  |  | 3.8296 |  | 0.5025 |  | 775.1833 | 250.4606 |  |  | -0.52958 |  | -107.2459 |  | 667.9374 | 162.7932
Reverse Osmosis Dehydrated | 1 | 2.6 |  | 0.498 |  | 536.2 |  |  | 157.45 | 0.7 |  | 110.215 |  | 646.415
Reverse Osmosis Dehydrated | 2 | 3.01 |  | 0.501 |  | 441.1 |  |  | 157.45 | 0.29 |  | 45.6605 |  | 486.7605
Reverse Osmosis Dehydrated | 3 | 4.35 |  | 0.498 |  | 650.5 |  |  | 157.45 | -1.05 |  | -165.3225 |  | 485.1775
Reverse Osmosis Dehydrated | 4 | 3.88 |  | 0.501 |  | 871.4 |  |  | 157.45 | -0.58 |  | -91.321 |  | 780.079
Reverse Osmosis Dehydrated | 5 | 3.645 |  | 0.498 |  | 407.3 |  |  | 157.45 | -0.345 |  | -54.3203 |  | 352.9797
Reverse Osmosis Dehydrated | 6 | 4.095 |  | 0.498 |  | 528.2 |  |  | 157.45 | -0.795 |  | -125.1727 |  | 403.0273
Reverse Osmosis Dehydrated | 7 | 5.035 |  | 0.506 |  | 670.6 |  |  | 157.45 | -1.735 |  | -273.1758 |  | 397.4242
Reverse Osmosis Dehydrated | 8 | 4.32 |  | 0.504 |  | 700.3 |  |  | 157.45 | -1.02 |  | -160.599 |  | 539.701
Reverse Osmosis Dehydrated | 9 | 3.955 |  | 0.506 |  | 541.1 |  |  | 157.45 | -0.655 |  | -103.1298 |  | 437.9702
Reverse Osmosis Dehydrated | 10 | 3.455 |  | 0.498 |  | 532.1 |  |  | 157.45 | -0.155 |  | -24.4048 |  | 507.6952
Reverse Osmosis Dehydrated | 11 | 3.885 |  | 0.504 |  | 792.8 |  |  | 157.45 | -0.585 |  | -92.1083 |  | 700.6917
Reverse Osmosis Dehydrated | 12 | 2.6 |  | 0.501 |  | 479.1 |  |  | 157.45 | 0.7 |  | 110.215 |  | 589.315
|  |  | 3.7358 |  | 0.50108 |  | 595.8917 | 136.1759 |  |  | -0.43583 |  | -68.622 |  | 527.2697 | 124.7099
PBS Dehydrated | 1 | 4.94 |  | 0.504 |  | 1686.4 |  |  | 254.24 | -1.64 |  | -416.9536 |  | 1269.4464
PBS Dehydrated | 2 | 5.69 |  | 0.504 |  | 1287.5 |  |  | 254.24 | -2.39 |  | -607.6336 |  | 679.8664
PBS Dehydrated | 3 | 3.875 |  | 0.506 |  | 1229.7 |  |  | 254.24 | -0.575 |  | -146.188 |  | 1083.512
PBS Dehydrated | 4 | 4.535 |  | 0.506 |  | 976.7 |  |  | 254.24 | -1.235 |  | -313.9864 |  | 662.7136
PBS Dehydrated | 5 | 3.235 |  | 0.501 |  | 628.2 |  |  | 254.24 | 0.065 |  | 16.5256 |  | 644.7256
PBS Dehydrated | 6 | 4.26 |  | 0.515 |  | 1519.5 |  |  | 254.24 | -0.96 |  | -244.0704 |  | 1275.4296
PBS Dehydrated | 7 | 3.42 |  | 0.501 |  | 866.6 |  |  | 254.24 | -0.12 |  | -30.5088 |  | 836.0912
PBS Dehydrated | 8 | 3.96 |  | 0.501 |  | 921.2 |  |  | 254.24 | -0.66 |  | -167.7984 |  | 753.4016
PBS Dehydrated | 9 | 3.425 |  | 0.498 |  | 967.4 |  |  | 254.24 | -0.125 |  | -31.78 |  | 935.62
PBS Dehydrated | 10 | 3.86 |  | 0.501 |  | 936.7 |  |  | 254.24 | -0.56 |  | -142.3744 |  | 794.3256
PBS Dehydrated | 11 | 4.675 |  | 0.501 |  | 782.8 |  |  | 254.24 | -1.375 |  | -349.58 |  | 433.22
PBS Dehydrated | 12 | 5.045 |  | 0.498 |  | 1181 |  |  | 254.24 | -1.745 |  | -443.6488 |  | 737.3512
|  |  | 4.2433 |  | 0.503 |  | 1081.975 | 294.9003 |  |  | -0.94333 |  | -239.8331 |  | 842.1419 | 245.4965
0.6 M HCl Dehydrated | 1 | 3.665 |  | 0.32 |  | 685.3 |  |  | 154.78 | -0.365 |  | -56.4947 |  | 628.8053
0.6 M HCl Dehydrated | 2 | 2.125 |  | 0.192 |  | 174.5 |  |  | 154.78 | 1.175 |  | 181.8665 |  | 356.3665
0.6 M HCl Dehydrated | 3 | 2.035 |  | 0.12 |  | 140.2 |  |  | 154.78 | 1.265 |  | 195.7967 |  | 335.9967
0.6 M HCl Dehydrated | 4 | 2.635 |  | 0.204 |  | 500.7 |  |  | 154.78 | 0.665 |  | 102.9287 |  | 603.6287
0.6 M HCl Dehydrated | 5 | 4.16 |  | 0.314 |  | 700.9 |  |  | 154.78 | -0.86 |  | -133.1108 |  | 567.7892
0.6 M HCl Dehydrated | 6 | 2.74 |  | 0.201 |  | 322.2 |  |  | 154.78 | 0.56 |  | 86.6768 |  | 408.8768
0.6 M HCl Dehydrated | 7 | 3.73 |  | 0.198 |  | 471.6 |  |  | 154.78 | -0.43 |  | -66.5554 |  | 405.0446
0.6 M HCl Dehydrated | 8 | 3.26 |  | 0.198 |  | 639.4 |  |  | 154.78 | 0.04 |  | 6.1912 |  | 645.5912
0.6 M HCl Dehydrated | 9 | 3.025 |  | 0.201 |  | 489.8 |  |  | 154.78 | 0.275 |  | 42.5645 |  | 532.3645
0.6 M HCl Dehydrated | 10 | 1.765 |  | 0.204 |  | 317.6 |  |  | 154.78 | 1.535 |  | 237.5873 |  | 555.1873
0.6 M HCl Dehydrated | 11 | 1.89 |  | 0.198 |  | 304.1 |  |  | 154.78 | 1.41 |  | 218.2398 |  | 522.3398
0.6 M HCl Dehydrated | 12 | 3.315 |  | 0.201 |  | 464.2 |  |  | 154.78 | -0.015 |  | -2.3217 |  | 461.8783
|  |  | 2.8621 |  | 0.21258 |  | 434.2083 | 178.6629 |  |  | 0.43792 |  | 67.7807 |  | 501.9891 | 101.6397
1.2 M HCl dehydrated | 1 | 3.43 |  | 0.121 |  | 117.7 |  |  | 36.35 | -0.13 |  | -4.726 |  | 112.974
1.2 M HCl dehydrated | 2 | 4.06 |  | 0.1 |  | 143.9 |  |  | 36.35 | -0.76 |  | -27.629 |  | 116.271
1.2 M HCl dehydrated | 3 | 2.76 |  | 0.099 |  | 102.7 |  |  | 36.35 | 0.54 |  | 19.6312 |  | 122.3312
1.2 M HCl dehydrated | 4 | 1.81 |  | 0.045 |  | 91.9 |  |  | 36.35 | 1.49 |  | 54.1675 |  | 146.0675
1.2 M HCl dehydrated | 5 | 3.97 |  | 0.1 |  | 131.3 |  |  | 36.35 | -0.67 |  | -24.3572 |  | 106.9428
1.2 M HCl dehydrated | 6 | 1.69 |  | 0.05 |  | 58.5 |  |  | 36.35 | 1.61 |  | 58.5299 |  | 117.0299
1.2 M HCl dehydrated | 7 | 2.145 |  | 0.05 |  | 88.7 |  |  | 36.35 | 1.155 |  | 41.9889 |  | 130.6889
1.2 M HCl dehydrated | 8 | 2.94 |  | 0.082 |  | 100.7 |  |  | 36.35 | 0.36 |  | 13.0874 |  | 113.7874
1.2 M HCl dehydrated | 9 | 3.55 |  | 0.067 |  | 137.7 |  |  | 36.35 | -0.25 |  | -9.0885 |  | 128.6115
1.2 M HCl dehydrated | 10 | 4.17 |  | 0.09 |  | 148.1 |  |  | 36.35 | -0.87 |  | -31.628 |  | 116.472
1.2 M HCl dehydrated | 11 | 3.595 |  | 0.085 |  | 149.8 |  |  | 36.35 | -0.295 |  | -10.7244 |  | 139.0756
1.2 M HCl dehydrated | 12 | 3.175 |  | 0.08 |  | 100.4 |  |  | 36.35 | 0.125 |  | 4.5442 |  | 104.9443
|  |  | 3.1079 |  | 0.08075 |  | 114.2833 | 27.2496 |  |  | 0.19208 |  | 6.983 |  | 121.2663 | 12.0357
2.4 M HCl dehydrated | 1 | 2.115 |  | 0.05 |  | 25.3 |  |  | 17.99 | 1.185 |  | 21.3146 |  | 46.6146
2.4 M HCl dehydrated | 2 | 2.01 |  | 0.05 |  | 33.2 |  |  | 17.99 | 1.29 |  | 23.2032 |  | 56.4032
2.4 M HCl dehydrated | 3 | 1.585 |  | 0.05 |  | 63.6 |  |  | 17.99 | 1.715 |  | 30.8477 |  | 94.4477
2.4 M HCl dehydrated | 4 | 1.88 |  | 0.05 |  | 85.9 |  |  | 17.99 | 1.42 |  | 25.5415 |  | 111.4415
2.4 M HCl dehydrated | 5 | 2.47 |  | 0.05 |  | 56.4 |  |  | 17.99 | 0.83 |  | 14.9292 |  | 71.3292
2.4 M HCl dehydrated | 6 | 2.58 |  | 0.05 |  | 53 |  |  | 17.99 | 0.72 |  | 12.9506 |  | 65.9506
2.4 M HCl dehydrated | 7 | 2.57 |  | 0.05 |  | 34.4 |  |  | 17.99 | 0.73 |  | 13.1305 |  | 47.5305
2.4 M HCl dehydrated | 8 | 2.05 |  | 0.05 |  | 43.6 |  |  | 17.99 | 1.25 |  | 22.4837 |  | 66.0837
2.4 M HCl dehydrated | 9 | 1.73 |  | 0.05 |  | 31.4 |  |  | 17.99 | 1.57 |  | 28.2396 |  | 59.6396
2.4 M HCl dehydrated | 10 | 1.78 |  | 0.05 |  | 19.2 |  |  | 17.99 | 1.52 |  | 27.3402 |  | 46.5402
2.4 M HCl dehydrated | 11 | 2.89 |  | 0.05 |  | 26.4 |  |  | 17.99 | 0.41 |  | 7.3747 |  | 33.7747
2.4 M HCl dehydrated | 12 | 2.625 |  | 0.05 |  | 26.5 |  |  | 17.99 | 0.675 |  | 12.1412 |  | 38.6412
|  |  | 2.1904 |  | 0.05 |  | 41.575 | 18.8247 |  |  | 1.1096 |  | 19.9581 |  | 61.5331 | 21.753