Monitoring of continuous crystallisation processes by a range of synchrotron radiation techniques have been developed in a series of in situ experiments, using bespoke crystallisers optimised for operation on the beamlines at the Diamond Light Source (DLS). The first of these devices is the KRAIC-D (Kinetically Regulated Automated Input Crystalliser - Diffraction) is a segmented flow crystalliser, adapted for in-beam operation, and developed as a collaboration between Bath, Leeds and Diamond. The design of the KRAIC-D encompasses viewing windows, which facilitate X-ray penetration at set points along the length of the crystalliser. In the segmented flow employed in the KRAIC-D the solution passing a particular set point will always be at the same stage of the crystallisation process. Continuous crystallisation of the model system Carbamazepine (CBZ) in ethanol in the KRAIC-D platform on beamline I11 (high resolution powder diffraction) is presented. The effect of introducing a controlled solid interface into the crystallisation process is investigated, where CBZ form III seeds are introduced in polymorphic purity at different seeding positions (pre- and post-nucleation) throughout the length of the KRAIC-D. The video associated with Chapter 4 corresponds with a post-nucleation CBZ form III experiment where a separation of crystal habit is observed as a result of the different interaction with the flow paths in the solution slugs with the segmented flow.

The second device is the KRAIC-S (Kinetically Regulated Automated Input Crystalliser - Single Crystal) platform installed at I19 (small molecule single crystal beamline) employed to investigate the continuous crystallisation of paracetamol (PCM) in 60:40 water:isopropanol via a range of experiments including unseeded and seeded cooling crystallisations. The unseeded experiments also looked at the crystallisation at different set points along the KRAIC-S (6.7 m and 8.7 m) to investigate crystal growth and crystal rotation at different length scales. The videos associated with Chapter 5 include single crystals produced from the range of experiments investigated. Each video tracks a different single crystal in a solution slug, where through use of the slug triggering mechanism, whereby an optical trigger prompts translation of the motorised stage to artificially suspend the single crystal in the X-ray beam during data collection. These videos complement the diffraction data and can provide explanation for data collections, which do not achieve cell indexation as the single crystal is shown to move in and out of the beam in these videos.

### Details of Electronic Supplementary Information (ESI) – Videos of single crystals tracked in solution slugs

N.B videos are rotated by 180° and thus is observed as residing in the top of solution slug, when in fact the single crystals position themselves in the rear end of a solution slug at the bottom.

Unseeded PCM Form I

6.7 m

- 20190728_1517_0003_Unseeded PCM_6_7m_Set 1 Video

- 20190728_1521_0003_Unseeded PCM_6_7m_Set 2 Video

- 20190728_1521_0009_Unseeded PCM_6_7m_Set 3 Video

- 20190728_1559_0003_Unseeded PCM_6_7m_Set 4 Video

- 20190728_1614_0001_Unseeded PCM_6_7m_Set 5 Video

8.7 m

- Set 1 - No video to accompany diffraction data

- Set 2 - No video to accompany diffraction data

- 20190726_1839_0014_Unseeded PCM_8_7m_Set 3 Video

- 20190726_1928_0010_Unseeded PCM_8_7m_Set 4_Video

- 20190726_2023_0043_Unseeded PCM_8_7m_Set 5_Video

- 20190726_1405_0014_Unseeded PCM_8_7m_Video with no accompanying diffraction data

Seeded PCM Form II

- 20190727_2340_0004_Seeded PCM form II_Set 1_Get Form I_Video

- 20190727_2355_0010_Seeded PCM form II_Set 2_Get Form II_Video

- 20190728_0038_0007_Seeded PCM form II_Set 3_Get Form II_Video

- 20190728_0038_0008_Seeded PCM form II_Set 4_Get Form II_Video

- 20190727_1347_0050_Seeded PCM form II_Video with no accompanying diffraction data